## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1100-1_1_2_node_40 | 0.4 | n |  | TRUE
1 | bus_LV_1100-1_1_2_node_41 | 0.4 | n |  | TRUE
2 | bus_LV_1100-1_1_2_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_1100-1_1_2_node_47 | 0.4 | n |  | TRUE
4 | bus_LV_1100-1_1_2_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_1100-1_1_2_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_1100-1_1_2_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_1100-1_1_2_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_1100-1_1_2_node_82 | 0.4 | n |  | TRUE
9 | bus_LV_1100-1_1_2_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_1100-1_1_2_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_1100-1_1_2_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_1100-1_1_2_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_1100-1_1_2_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_1100-1_1_2_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_1100-1_1_2_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_1100-1_1_2_node_84 | 0.4 | n |  | TRUE
17 | bus_LV_1100-1_1_2_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_1100-1_1_2_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_1100-1_1_2_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_1100-1_1_2_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_1100-1_1_2_node_77 | 0.4 | n |  | TRUE
22 | bus_LV_1100-1_1_2_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_1100-1_1_2_node_116 | 0.4 | n |  | TRUE
24 | bus_LV_1100-1_1_2_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_1100-1_1_2_node_99 | 0.4 | n |  | TRUE
26 | bus_LV_1100-1_1_2_node_78 | 0.4 | n |  | TRUE
27 | bus_LV_1100-1_1_2_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_1100-1_1_2_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_1100-1_1_2_node_87 | 0.4 | n |  | TRUE
30 | bus_LV_1100-1_1_2_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_1100-1_1_2_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_1100-1_1_2_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_1100-1_1_2_node_114 | 0.4 | n |  | TRUE
34 | bus_LV_1100-1_1_2_node_101 | 0.4 | n |  | TRUE
35 | bus_LV_1100-1_1_2_node_111 | 0.4 | n |  | TRUE
36 | bus_LV_1100-1_1_2_node_115 | 0.4 | n |  | TRUE
37 | bus_LV_1100-1_1_2_node_95 | 0.4 | n |  | TRUE
38 | bus_LV_1100-1_1_2_node_102 | 0.4 | n |  | TRUE
39 | bus_LV_1100-1_1_2_node_112 | 0.4 | n |  | TRUE
40 | bus_LV_1100-1_1_2_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_1100-1_1_2_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_1100-1_1_2_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_1100-1_1_2_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_1100-1_1_2_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_1100-1_1_2_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_1100-1_1_2_node_96 | 0.4 | n |  | TRUE
47 | bus_LV_1100-1_1_2_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_1100-1_1_2_node_103 | 0.4 | n |  | TRUE
49 | bus_LV_1100-1_1_2_node_104 | 0.4 | n |  | TRUE
50 | bus_LV_1100-1_1_2_node_105 | 0.4 | n |  | TRUE
51 | bus_LV_1100-1_1_2_node_106 | 0.4 | n |  | TRUE
52 | bus_LV_1100-1_1_2_node_108 | 0.4 | n |  | TRUE
53 | bus_LV_1100-1_1_2_node_109 | 0.4 | n |  | TRUE
54 | bus_LV_1100-1_1_2_node_110 | 0.4 | n |  | TRUE
55 | bus_LV_1100-1_1_2_node_117 | 0.4 | n |  | TRUE
56 | bus_LV_1100-1_1_2_node_107 | 0.4 | n |  | TRUE
57 | bus_LV_1100-1_1_2_node_113 | 0.4 | n |  | TRUE
58 | bus_LV_1100-1_1_2_node_131 | 0.4 | n |  | TRUE
59 | bus_LV_1100-1_1_2_node_130 | 0.4 | n |  | TRUE
60 | bus_LV_1100-1_1_2_node_118 | 0.4 | n |  | TRUE
61 | bus_LV_1100-1_1_2_node_129 | 0.4 | n |  | TRUE
62 | bus_LV_1100-1_1_2_node_122 | 0.4 | n |  | TRUE
63 | bus_LV_1100-1_1_2_node_120 | 0.4 | n |  | TRUE
64 | bus_LV_1100-1_1_2_node_119 | 0.4 | n |  | TRUE
65 | bus_LV_1100-1_1_2_node_121 | 0.4 | n |  | TRUE
66 | bus_LV_1100-1_1_2_node_123 | 0.4 | n |  | TRUE
67 | bus_LV_1100-1_1_2_node_124 | 0.4 | n |  | TRUE
68 | bus_LV_1100-1_1_2_node_125 | 0.4 | n |  | TRUE
69 | bus_LV_1100-1_1_2_node_126 | 0.4 | n |  | TRUE
70 | bus_LV_1100-1_1_2_node_127 | 0.4 | n |  | TRUE
71 | bus_LV_1100-1_1_2_node_128 | 0.4 | n |  | TRUE
72 | bus_LV_1100-1_1_2_node_132 | 0.4 | n |  | TRUE
73 | bus_LV_1100-1_1_2_node_133 | 0.4 | n |  | TRUE
74 | bus_LV_1100-1_1_2_node_134 | 0.4 | n |  | TRUE
75 | bus_LV_1100-1_1_2_node_136 | 0.4 | n |  | TRUE
76 | bus_LV_1100-1_1_2_node_135 | 0.4 | n |  | TRUE
77 | bus_MV_0_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1100-1_1_2_load_40 | 0 | 0.0059531 | 0.001492 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1100-1_1_2_load_41 | 1 | 0.00056946 | 0.00014272 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1100-1_1_2_load_43 | 2 | 0.0048281 | 0.00121 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1100-1_1_2_load_47 | 3 | 0.0016419 | 0.00041149 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1100-1_1_2_load_53 | 4 | 0.0011876 | 0.00029765 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1100-1_1_2_load_82 | 8 | 0.0011954 | 0.00029959 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1100-1_1_2_load_83 | 9 | 0.0042843 | 0.0010738 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1100-1_1_2_load_66 | 10 | 0.0019212 | 0.00048149 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1100-1_1_2_load_67 | 11 | 0.00098613 | 0.00024715 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1100-1_1_2_load_68 | 12 | 0.0019387 | 0.00048588 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1100-1_1_2_load_70 | 14 | 0.0035606 | 0.00089238 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1100-1_1_2_load_81 | 15 | 0.00060131 | 0.0001507 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1100-1_1_2_load_84 | 16 | 0.0007624 | 0.00019107 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1100-1_1_2_load_73 | 18 | 0.00049695 | 0.00012455 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1100-1_1_2_load_74 | 19 | 0.00035757 | 8.9614e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1100-1_1_2_load_75 | 20 | 0.00017824 | 4.467e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1100-1_1_2_load_77 | 21 | 0.00028301 | 7.0928e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1100-1_1_2_load_80 | 22 | 0.00064736 | 0.00016224 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1100-1_1_2_load_116 | 23 | 9.4633e-05 | 2.3717e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1100-1_1_2_load_99 | 25 | 0.00015422 | 3.865e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1100-1_1_2_load_78 | 26 | 0.00057904 | 0.00014512 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1100-1_1_2_load_85 | 27 | 0.00049324 | 0.00012362 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1100-1_1_2_load_86 | 28 | 0.001378 | 0.00034537 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1100-1_1_2_load_88 | 30 | 0.00027075 | 6.7857e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1100-1_1_2_load_89 | 31 | 0.0012971 | 0.00032509 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1100-1_1_2_load_90 | 32 | 0.00042853 | 0.0001074 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1100-1_1_2_load_101 | 34 | 0.00053732 | 0.00013467 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1100-1_1_2_load_111 | 35 | 0.0028565 | 0.00071591 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1100-1_1_2_load_115 | 36 | 0.00015366 | 3.851e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1100-1_1_2_load_95 | 37 | 0.00034812 | 8.7247e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1100-1_1_2_load_102 | 38 | 6.1976e-05 | 1.5533e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1100-1_1_2_load_112 | 39 | 0.00054591 | 0.00013682 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1100-1_1_2_load_91 | 40 | 0.00024853 | 6.2288e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1100-1_1_2_load_92 | 41 | 0.0003676 | 9.213e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1100-1_1_2_load_93 | 42 | 0.00020541 | 5.1481e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1100-1_1_2_load_94 | 43 | 0.00053848 | 0.00013496 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1100-1_1_2_load_100 | 44 | 0.001534 | 0.00038445 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1100-1_1_2_load_98 | 45 | 0.00033163 | 8.3113e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1100-1_1_2_load_96 | 46 | 0.00023605 | 5.916e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1100-1_1_2_load_97 | 47 | 0.00012613 | 3.1611e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1100-1_1_2_load_103 | 48 | 0.00053343 | 0.00013369 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1100-1_1_2_load_106 | 51 | 0.0013287 | 0.00033299 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1100-1_1_2_load_108 | 52 | 0.00031504 | 7.8957e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1100-1_1_2_load_109 | 53 | 0.0013876 | 0.00034776 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1100-1_1_2_load_110 | 54 | 0.0016303 | 0.0004086 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1100-1_1_2_load_117 | 55 | 0.0016231 | 0.0004068 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1100-1_1_2_load_131 | 58 | 0.0017508 | 0.00043879 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1100-1_1_2_load_130 | 59 | 0.00035279 | 8.8417e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1100-1_1_2_load_118 | 60 | 0.00061955 | 0.00015527 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1100-1_1_2_load_129 | 61 | 0.0017635 | 0.00044198 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1100-1_1_2_load_122 | 62 | 0.00089288 | 0.00022378 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1100-1_1_2_load_120 | 63 | 0.0018082 | 0.00045317 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1100-1_1_2_load_119 | 64 | 0.00023339 | 5.8492e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1100-1_1_2_load_123 | 66 | 0.0012338 | 0.00030922 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1100-1_1_2_load_124 | 67 | 0.00077411 | 0.00019401 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1100-1_1_2_load_125 | 68 | 0.00064645 | 0.00016202 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1100-1_1_2_load_126 | 69 | 0.00065161 | 0.00016331 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1100-1_1_2_load_127 | 70 | 0.00054743 | 0.0001372 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1100-1_1_2_load_128 | 71 | 0.0014661 | 0.00036744 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1100-1_1_2_load_132 | 72 | 0.0025351 | 0.00063535 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1100-1_1_2_load_133 | 73 | 0.00051574 | 0.00012926 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1100-1_1_2_load_136 | 75 | 0.0011441 | 0.00028674 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1100-1_1_2_load_135 | 76 | 0.00084034 | 0.00021061 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1100-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0099441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1100-1_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0087338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1100-1_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.016865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1100-1_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.044155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1100-1_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0084528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1100-1_1_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.039507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1100-1_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.037481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1100-1_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.027324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1100-1_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.054349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1100-1_1_2_line_9 | NAYY 4x150 SE | 8 | 15 | 0.018001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1100-1_1_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.015763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1100-1_1_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.02126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1100-1_1_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0050209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1100-1_1_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.04032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1100-1_1_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.006539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1100-1_1_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.023722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1100-1_1_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.031297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1100-1_1_2_line_17 | NAYY 4x150 SE | 17 | 22 | 0.084106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1100-1_1_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.012501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1100-1_1_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.026195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1100-1_1_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.084996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1100-1_1_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.013403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1100-1_1_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.020428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1100-1_1_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.022793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1100-1_1_2_line_24 | NAYY 4x150 SE | 23 | 25 | 0.011162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1100-1_1_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.02923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1100-1_1_2_line_26 | NAYY 4x150 SE | 25 | 47 | 0.00063308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1100-1_1_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.01191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1100-1_1_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.017811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1100-1_1_2_line_29 | NAYY 4x150 SE | 28 | 30 | 0.023353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1100-1_1_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.019758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1100-1_1_2_line_31 | NAYY 4x150 SE | 29 | 32 | 0.020975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1100-1_1_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.017065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1100-1_1_2_line_33 | NAYY 4x150 SE | 31 | 34 | 0.0065147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1100-1_1_2_line_34 | NAYY 4x150 SE | 32 | 35 | 0.021159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1100-1_1_2_line_35 | NAYY 4x150 SE | 33 | 36 | 0.023856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1100-1_1_2_line_36 | NAYY 4x150 SE | 33 | 37 | 0.017561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1100-1_1_2_line_37 | NAYY 4x150 SE | 34 | 38 | 0.020923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1100-1_1_2_line_38 | NAYY 4x150 SE | 35 | 39 | 0.00031886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1100-1_1_2_line_39 | NAYY 4x150 SE | 37 | 42 | 0.0013167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1100-1_1_2_line_40 | NAYY 4x150 SE | 39 | 57 | 0.027594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1100-1_1_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0014016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1100-1_1_2_line_42 | NAYY 4x150 SE | 40 | 42 | 0.014252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1100-1_1_2_line_43 | NAYY 4x150 SE | 41 | 43 | 0.0081004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1100-1_1_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.0027537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1100-1_1_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.0070061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1100-1_1_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.0070243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1100-1_1_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.001393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1100-1_1_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.021141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1100-1_1_2_line_49 | NAYY 4x150 SE | 48 | 50 | 0.015294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1100-1_1_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.011059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1100-1_1_2_line_51 | NAYY 4x150 SE | 49 | 52 | 0.035183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1100-1_1_2_line_52 | NAYY 4x150 SE | 50 | 53 | 0.015883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1100-1_1_2_line_53 | NAYY 4x150 SE | 50 | 54 | 0.022265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1100-1_1_2_line_54 | NAYY 4x150 SE | 51 | 55 | 0.1403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1100-1_1_2_line_55 | NAYY 4x150 SE | 52 | 59 | 0.012947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1100-1_1_2_line_56 | NAYY 4x150 SE | 54 | 57 | 0.028706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1100-1_1_2_line_57 | NAYY 4x150 SE | 55 | 60 | 0.16261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1100-1_1_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.038298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1100-1_1_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.025015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1100-1_1_2_line_60 | NAYY 4x150 SE | 59 | 61 | 0.03124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1100-1_1_2_line_61 | NAYY 4x150 SE | 60 | 62 | 0.046063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1100-1_1_2_line_62 | NAYY 4x150 SE | 61 | 70 | 0.0017387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1100-1_1_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.019617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1100-1_1_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.023584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1100-1_1_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.077622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1100-1_1_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.087454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1100-1_1_2_line_67 | NAYY 4x150 SE | 67 | 68 | 0.010672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1100-1_1_2_line_68 | NAYY 4x150 SE | 67 | 69 | 0.042715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1100-1_1_2_line_69 | NAYY 4x150 SE | 68 | 70 | 0.027193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1100-1_1_2_line_70 | NAYY 4x150 SE | 69 | 71 | 0.024813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1100-1_1_2_line_71 | NAYY 4x150 SE | 71 | 72 | 0.049949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1100-1_1_2_line_72 | NAYY 4x150 SE | 72 | 73 | 0.0052003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1100-1_1_2_line_73 | NAYY 4x150 SE | 73 | 74 | 0.040043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1100-1_1_2_line_74 | NAYY 4x150 SE | 74 | 75 | 0.06898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1100-1_1_2_line_75 | NAYY 4x150 SE | 75 | 76 | 0.031058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1100-1_1_2_trafo_77 | 0.25 MVA 20/0.4 kV | 77 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2650761.5215 | 1231074.5955 | 2650761.5215 | 1231074.5955 | 2650761.7472 | 1231084.5371
1 | 2650761.7472 | 1231084.5371 | 2650761.7472 | 1231084.5371 | 2650767.8412 | 1231090.7935
2 | 2650779.2255 | 1231103.0525 | 2650779.165 | 1231102.4192 | 2650767.8412 | 1231090.7935
3 | 2650779.2255 | 1231103.0525 | 2650780.0131 | 1231111.2988 | 2650780.1425 | 1231121.8621 | 2650781.4541 | 1231126.1316 | 2650785.1915 | 1231130.1327 | 2650795.7239 | 1231138.3834 | 2650796.9831 | 1231139.9193
4 | 2650802.3422 | 1231146.4561 | 2650796.9831 | 1231139.9193
5 | 2650802.3422 | 1231146.4561 | 2650805.1427 | 1231159.9552 | 2650803.9664 | 1231181.5033 | 2650801.8006 | 1231185.0315
6 | 2650818.7637 | 1231116.9443 | 2650816.4331 | 1231116.7132 | 2650808.2285 | 1231144.4829 | 2650802.3422 | 1231146.4561
7 | 2650801.8006 | 1231185.0315 | 2650808.4579 | 1231196.5178 | 2650809.8162 | 1231210.4999
8 | 2650818.7637 | 1231116.9443 | 2650815.0333 | 1231138.7151 | 2650814.0811 | 1231170.9625
9 | 2650812.494 | 1231228.1079 | 2650811.3397 | 1231226.1835 | 2650809.8162 | 1231210.4999
10 | 2650820.2257 | 1231253.9978 | 2650818.4506 | 1231248.3916 | 2650816.7309 | 1231238.66
11 | 2650820.2257 | 1231253.9978 | 2650826.6434 | 1231274.2659
12 | 2650815.8572 | 1231233.7157 | 2650816.7309 | 1231238.66
13 | 2650826.6434 | 1231274.2659 | 2650827.7274 | 1231277.6894 | 2650836.3579 | 1231294.8629 | 2650846.7528 | 1231306.7482 | 2650848.1479 | 1231307.753
14 | 2650815.8572 | 1231233.7157 | 2650812.494 | 1231228.1079
15 | 2650848.1479 | 1231307.753 | 2650861.2495 | 1231317.1898 | 2650867.7082 | 1231321.1496
16 | 2650894.3901 | 1231337.5083 | 2650867.7082 | 1231321.1496
17 | 2650894.3901 | 1231337.5083 | 2650902.9127 | 1231325.6849 | 2650911.5992 | 1231317.7208 | 2650920.5835 | 1231312.1275 | 2650965.2604 | 1231297.0169
18 | 2650894.3901 | 1231337.5083 | 2650905.0478 | 1231344.0424
19 | 2650927.4886 | 1231357.5485 | 2650922.5659 | 1231354.7826 | 2650905.0478 | 1231344.0424
20 | 2650927.4886 | 1231357.5485 | 2650960.725 | 1231376.2229 | 2651000.4941 | 1231401.0311
21 | 2651011.8659 | 1231408.1249 | 2651000.4941 | 1231401.0311
22 | 2651011.8659 | 1231408.1249 | 2651029.1982 | 1231418.9369
23 | 2650986.852 | 1231289.7141 | 2650965.2604 | 1231297.0169
24 | 2651029.1982 | 1231418.9369 | 2651029.1982 | 1231418.9369 | 2651038.1315 | 1231425.6298
25 | 2650986.852 | 1231289.7141 | 2651014.6645 | 1231280.7225
26 | 2651038.6382 | 1231426.0093 | 2651038.1315 | 1231425.6298
27 | 2651071.0485 | 1231518.949 | 2651077.364 | 1231508.8519
28 | 2651058.2532 | 1231530.3903 | 2651062.7365 | 1231528.6165 | 2651065.8504 | 1231526.6865 | 2651068.7248 | 1231522.6642 | 2651071.0485 | 1231518.949
29 | 2651083.5358 | 1231487.4918 | 2651084.1882 | 1231490.1207 | 2651084.6043 | 1231495.461 | 2651082.8838 | 1231500.0269 | 2651077.364 | 1231508.8519
30 | 2651058.2532 | 1231530.3903 | 2651053.8303 | 1231530.4301 | 2651039.2627 | 1231525.6412
31 | 2651058.2532 | 1231530.3903 | 2651055.7487 | 1231538.0737 | 2651054.2556 | 1231543.5199 | 2651054.9604 | 1231547.862 | 2651056.8307 | 1231550.0097
32 | 2651078.7854 | 1231471.1067 | 2651082.4242 | 1231483.0122 | 2651083.5358 | 1231487.4918
33 | 2651033.0738 | 1231523.6067 | 2651039.2627 | 1231525.6412
34 | 2651073.9214 | 1231562.3767 | 2651058.2675 | 1231551.6595 | 2651056.8307 | 1231550.0097
35 | 2651078.7854 | 1231471.1067 | 2651086.5116 | 1231481.4796 | 2651093.9982 | 1231489.4318
36 | 2651078.7854 | 1231471.1067 | 2651068.2904 | 1231457.0272
37 | 2651033.0738 | 1231523.6067 | 2651032.7159 | 1231523.489 | 2651024.8107 | 1231521.6089 | 2651017.4976 | 1231521.3349 | 2651012.3966 | 1231521.4657
38 | 2651074.1845 | 1231562.5568 | 2651073.9214 | 1231562.3767
39 | 2651067.5035 | 1231455.9715 | 2651068.2904 | 1231457.0272
40 | 2651099.3371 | 1231570.8465 | 2651092.2292 | 1231571.3747 | 2651084.9263 | 1231569.911 | 2651074.1845 | 1231562.5568
41 | 2651058.8688 | 1231444.6374 | 2651057.9669 | 1231443.5646
42 | 2651067.5035 | 1231455.9715 | 2651060.5102 | 1231446.5898 | 2651058.8688 | 1231444.6374
43 | 2651052.7542 | 1231437.3642 | 2651057.9669 | 1231443.5646
44 | 2651052.7542 | 1231437.3642 | 2651050.9822 | 1231435.2564 | 2651050.9822 | 1231435.2564
45 | 2651050.9822 | 1231435.2564 | 2651045.3747 | 1231431.0562
46 | 2651039.753 | 1231426.8446 | 2651044.3454 | 1231430.2852 | 2651045.3747 | 1231431.0562
47 | 2651039.753 | 1231426.8446 | 2651038.6382 | 1231426.0093
48 | 2651171.2933 | 1231556.9228 | 2651157.5954 | 1231551.4793 | 2651151.9013 | 1231548.5557
49 | 2651139.5515 | 1231539.7501 | 2651145.9014 | 1231545.475 | 2651151.9013 | 1231548.5557
50 | 2651171.2933 | 1231556.9228 | 2651180.2471 | 1231550.4318
51 | 2651171.2933 | 1231556.9228 | 2651196.8011 | 1231560.1888 | 2651206.0409 | 1231562.2524
52 | 2651139.5515 | 1231539.7501 | 2651134.374 | 1231535.0804 | 2651128.5066 | 1231528.3742
53 | 2651139.5515 | 1231539.7501 | 2651122.329 | 1231553.8612
54 | 2651180.2471 | 1231550.4318 | 2651187.7078 | 1231545.0231 | 2651215.7342 | 1231522.2832 | 2651229.9593 | 1231514.0227 | 2651248.2028 | 1231509.5992 | 2651271.858 | 1231512.5605 | 2651305.8733 | 1231524.135
55 | 2651218.6771 | 1231565.0745 | 2651206.0409 | 1231562.2524
56 | 2651099.3371 | 1231570.8465 | 2651105.2545 | 1231567.851 | 2651122.329 | 1231553.8612
57 | 2651461.3932 | 1231556.7702 | 2651447.168 | 1231562.061 | 2651427.9865 | 1231562.8512 | 2651402.5072 | 1231557.1829 | 2651354.9316 | 1231540.8283 | 2651305.8733 | 1231524.135
58 | 2651099.3371 | 1231570.8465 | 2651109.7489 | 1231592.0939 | 2651113.6487 | 1231606.2141
59 | 2651113.6487 | 1231606.2141 | 2651094.9599 | 1231622.8419
60 | 2651218.6771 | 1231565.0745 | 2651221.7588 | 1231565.7627 | 2651239.0094 | 1231574.6058 | 2651245.3526 | 1231580.5562
61 | 2651500.7561 | 1231533.1287 | 2651488.1117 | 1231542.2915 | 2651466.0398 | 1231555.0419 | 2651461.3932 | 1231556.7702
62 | 2651246.6207 | 1231581.7458 | 2651245.3526 | 1231580.5562
63 | 2651500.7561 | 1231533.1287 | 2651516.6405 | 1231521.618
64 | 2651535.7378 | 1231507.7792 | 2651516.6405 | 1231521.618
65 | 2651598.5914 | 1231462.2312 | 2651565.9052 | 1231485.9184 | 2651535.7378 | 1231507.7792
66 | 2651598.5914 | 1231462.2312 | 2651655.4761 | 1231528.6567
67 | 2651268.4677 | 1231612.5765 | 2651263.2474 | 1231603.911 | 2651262.9213 | 1231603.4608
68 | 2651268.4677 | 1231612.5765 | 2651272.983 | 1231620.0718 | 2651284.5922 | 1231633.2358 | 2651297.4002 | 1231643.4998
69 | 2651246.6207 | 1231581.7458 | 2651248.3996 | 1231583.4145 | 2651262.9213 | 1231603.4608
70 | 2651317.3947 | 1231658.1704 | 2651304.7179 | 1231649.364 | 2651297.4002 | 1231643.4998
71 | 2651360.2703 | 1231683.697 | 2651345.0329 | 1231675.0837 | 2651331.1337 | 1231667.559 | 2651319.5624 | 1231659.6764 | 2651317.3947 | 1231658.1704
72 | 2651360.2703 | 1231683.697 | 2651364.7973 | 1231686.256
73 | 2651398.264 | 1231708.1311 | 2651379.6079 | 1231694.628 | 2651364.7973 | 1231686.256
74 | 2651398.264 | 1231708.1311 | 2651417.1306 | 1231721.7917 | 2651442.393 | 1231750.6951 | 2651446.0301 | 1231757.0242
75 | 2651461.0991 | 1231784.1506 | 2651459.8202 | 1231781.0207 | 2651446.0301 | 1231757.0242

## bus_geodata
| x | y | coords
0 | 2650761.5215 | 1231074.5955
1 | 2650761.7472 | 1231084.5371
2 | 2650767.8412 | 1231090.7935
3 | 2650779.2255 | 1231103.0525
4 | 2650796.9831 | 1231139.9193
5 | 2650802.3422 | 1231146.4561
6 | 2650801.8006 | 1231185.0315
7 | 2650818.7637 | 1231116.9443
8 | 2650809.8162 | 1231210.4999
9 | 2650814.0811 | 1231170.9625
10 | 2650820.2257 | 1231253.9978
11 | 2650816.7309 | 1231238.66
12 | 2650826.6434 | 1231274.2659
13 | 2650815.8572 | 1231233.7157
14 | 2650848.1479 | 1231307.753
15 | 2650812.494 | 1231228.1079
16 | 2650867.7082 | 1231321.1496
17 | 2650894.3901 | 1231337.5083
18 | 2650927.4886 | 1231357.5485
19 | 2650905.0478 | 1231344.0424
20 | 2651000.4941 | 1231401.0311
21 | 2651011.8659 | 1231408.1249
22 | 2650965.2604 | 1231297.0169
23 | 2651029.1982 | 1231418.9369
24 | 2650986.852 | 1231289.7142
25 | 2651038.1315 | 1231425.6298
26 | 2651014.6645 | 1231280.7225
27 | 2651071.0485 | 1231518.949
28 | 2651077.364 | 1231508.8519
29 | 2651058.2532 | 1231530.3903
30 | 2651083.5358 | 1231487.4918
31 | 2651039.2627 | 1231525.6412
32 | 2651056.8307 | 1231550.0097
33 | 2651078.7854 | 1231471.1067
34 | 2651033.0738 | 1231523.6067
35 | 2651073.9214 | 1231562.3767
36 | 2651093.9982 | 1231489.4318
37 | 2651068.2904 | 1231457.0272
38 | 2651012.3966 | 1231521.4657
39 | 2651074.1845 | 1231562.5568
40 | 2651058.8688 | 1231444.6374
41 | 2651057.9669 | 1231443.5646
42 | 2651067.5035 | 1231455.9715
43 | 2651052.7542 | 1231437.3642
44 | 2651050.9822 | 1231435.2564
45 | 2651045.3747 | 1231431.0562
46 | 2651039.753 | 1231426.8446
47 | 2651038.6382 | 1231426.0093
48 | 2651151.9013 | 1231548.5557
49 | 2651171.2933 | 1231556.9228
50 | 2651139.5515 | 1231539.7501
51 | 2651180.2471 | 1231550.4318
52 | 2651206.0409 | 1231562.2524
53 | 2651128.5066 | 1231528.3742
54 | 2651122.329 | 1231553.8612
55 | 2651305.8733 | 1231524.135
56 | 2651113.6487 | 1231606.2141
57 | 2651099.3371 | 1231570.8465
58 | 2651094.9599 | 1231622.8419
59 | 2651218.6771 | 1231565.0745
60 | 2651461.3932 | 1231556.7702
61 | 2651245.3526 | 1231580.5562
62 | 2651500.7561 | 1231533.1287
63 | 2651516.6405 | 1231521.618
64 | 2651535.7378 | 1231507.7792
65 | 2651598.5914 | 1231462.2312
66 | 2651655.4761 | 1231528.6567
67 | 2651268.4677 | 1231612.5765
68 | 2651262.9213 | 1231603.4608
69 | 2651297.4002 | 1231643.4998
70 | 2651246.6207 | 1231581.7458
71 | 2651317.3947 | 1231658.1704
72 | 2651360.2703 | 1231683.697
73 | 2651364.7973 | 1231686.256
74 | 2651398.264 | 1231708.1311
75 | 2651446.0301 | 1231757.0242
76 | 2651461.0991 | 1231784.1506
77 | 2651011.8659 | 1231408.1249

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98474 | -0.1072 | 0.0059531 | 0.001492
1 | 0.98482 | -0.1066 | 0.00056946 | 0.00014272
2 | 0.98491 | -0.10601 | 0.0048281 | 0.00121
3 | 0.98518 | -0.10404 | 0.0016419 | 0.00041149
4 | 0.98601 | -0.098143 | 0.0011876 | 0.00029765
5 | 0.98619 | -0.096912 | 0 | 0
6 | 0.98724 | -0.089427 | 0 | 0
7 | 0.98595 | -0.098563 | 0 | 0
8 | 0.98797 | -0.084258 | 0.0011954 | 0.00029959
9 | 0.98562 | -0.10096 | 0.0042843 | 0.0010738
10 | 0.98931 | -0.074821 | 0.0019212 | 0.00048149
11 | 0.98882 | -0.078242 | 0.00098613 | 0.00024715
12 | 0.99002 | -0.069796 | 0.0019387 | 0.00048588
13 | 0.98868 | -0.079282 | 0 | 0
14 | 0.99148 | -0.05949 | 0.0035606 | 0.00089238
15 | 0.98848 | -0.080637 | 0.00060131 | 0.0001507
16 | 0.99246 | -0.052584 | 0.0007624 | 0.00019107
17 | 0.99379 | -0.043251 | 0 | 0
18 | 0.99552 | -0.031169 | 0.00049695 | 0.00012455
19 | 0.99435 | -0.039374 | 0.00035757 | 8.9614e-05
20 | 0.99939 | -0.0042502 | 0.00017824 | 4.467e-05
21 | 1 | 0 | -0.070109 | -0.017453
22 | 0.99365 | -0.044302 | 0.00064736 | 0.00016224
23 | 0.99892 | -0.0075388 | 9.4633e-05 | 2.3717e-05
24 | 0.99363 | -0.044436 | 0 | 0
25 | 0.99832 | -0.011654 | 0.00015422 | 3.865e-05
26 | 0.9936 | -0.044607 | 0.00057904 | 0.00014512
27 | 0.9929 | -0.049617 | 0.00049324 | 0.00012362
28 | 0.99343 | -0.045889 | 0.001378 | 0.00034537
29 | 0.99212 | -0.05511 | 0 | 0
30 | 0.99452 | -0.038266 | 0.00027075 | 6.7857e-05
31 | 0.99207 | -0.05549 | 0.0012971 | 0.00032509
32 | 0.99126 | -0.061184 | 0.00042853 | 0.0001074
33 | 0.99532 | -0.032659 | 0 | 0
34 | 0.99206 | -0.05553 | 0.00053732 | 0.00013467
35 | 0.9904 | -0.06723 | 0.0028565 | 0.00071591
36 | 0.99531 | -0.032696 | 0.00015366 | 3.851e-05
37 | 0.99614 | -0.026871 | 0.00034812 | 8.7247e-05
38 | 0.99206 | -0.055543 | 6.1976e-05 | 1.5533e-05
39 | 0.99039 | -0.067312 | 0.00054591 | 0.00013682
40 | 0.99689 | -0.021663 | 0.00024853 | 6.2288e-05
41 | 0.99696 | -0.021191 | 0.0003676 | 9.213e-05
42 | 0.99621 | -0.026433 | 0.00020541 | 5.1481e-05
43 | 0.99735 | -0.018433 | 0.00053848 | 0.00013496
44 | 0.99749 | -0.017482 | 0.001534 | 0.00038445
45 | 0.99785 | -0.014953 | 0.00033163 | 8.3113e-05
46 | 0.99822 | -0.012397 | 0.00023605 | 5.916e-05
47 | 0.99829 | -0.011887 | 0.00012613 | 3.1611e-05
48 | 0.98734 | -0.088942 | 0.00053343 | 0.00013369
49 | 0.98675 | -0.093139 | 0 | 0
50 | 0.98778 | -0.085824 | 0 | 0
51 | 0.98662 | -0.094023 | 0.0013287 | 0.00033299
52 | 0.98616 | -0.09732 | 0.00031504 | 7.8957e-05
53 | 0.98775 | -0.08605 | 0.0013876 | 0.00034776
54 | 0.98846 | -0.080974 | 0.0016303 | 0.0004086
55 | 0.98532 | -0.10332 | 0.0016231 | 0.0004068
56 | 0.98931 | -0.074939 | 0 | 0
57 | 0.98941 | -0.074254 | 0 | 0
58 | 0.98925 | -0.075386 | 0.0017508 | 0.00043879
59 | 0.98595 | -0.098818 | 0.00035279 | 8.8417e-05
60 | 0.98419 | -0.11139 | 0.00061955 | 0.00015527
61 | 0.98546 | -0.10232 | 0.0017635 | 0.00044198
62 | 0.98392 | -0.11338 | 0.00089288 | 0.00022378
63 | 0.98382 | -0.11404 | 0.0018082 | 0.00045317
64 | 0.98377 | -0.11441 | 0.00023339 | 5.8492e-05
65 | 0.98363 | -0.1154 | 0 | 0
66 | 0.98348 | -0.11652 | 0.0012338 | 0.00030922
67 | 0.98497 | -0.10576 | 0.00077411 | 0.00019401
68 | 0.9851 | -0.10489 | 0.00064645 | 0.00016202
69 | 0.98453 | -0.10892 | 0.00065161 | 0.00016331
70 | 0.98543 | -0.10248 | 0.00054743 | 0.0001372
71 | 0.9843 | -0.11058 | 0.0014661 | 0.00036744
72 | 0.98393 | -0.11318 | 0.0025351 | 0.00063535
73 | 0.98391 | -0.11332 | 0.00051574 | 0.00012926
74 | 0.9838 | -0.11414 | 0 | 0
75 | 0.9836 | -0.11556 | 0.0011441 | 0.00028674
76 | 0.98356 | -0.11583 | 0.00084034 | 0.00021061
77 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0059531 | -0.001492 | 0.0059536 | 0.0014921 | 5.0213e-07 | 6.6607e-08 | 0.0089957 | 0.0089956 | 0.0089957 | 0.98474 | -0.1072 | 0.98482 | -0.1066 | 3.3317
1 | -0.0065231 | -0.0016348 | 0.0065236 | 0.0016349 | 5.2941e-07 | 9.248e-08 | 0.009856 | 0.009856 | 0.009856 | 0.98482 | -0.1066 | 0.98491 | -0.10601 | 3.6504
2 | -0.011352 | -0.0028449 | 0.011355 | 0.0028459 | 3.0955e-06 | 9.7587e-07 | 0.01715 | 0.01715 | 0.01715 | 0.98491 | -0.10601 | 0.98518 | -0.10404 | 6.352
3 | -0.012997 | -0.0032574 | 0.013007 | 0.0032609 | 1.0617e-05 | 3.5208e-06 | 0.01963 | 0.01963 | 0.01963 | 0.98518 | -0.10404 | 0.98601 | -0.098143 | 7.2704
4 | -0.014195 | -0.0035586 | 0.014197 | 0.0035594 | 2.4206e-06 | 8.2315e-07 | 0.021422 | 0.021422 | 0.021422 | 0.98601 | -0.098143 | 0.98619 | -0.096912 | 7.9342
5 | -0.018484 | -0.0046329 | 0.018503 | 0.0046397 | 1.9176e-05 | 6.8707e-06 | 0.02789 | 0.02789 | 0.02789 | 0.98619 | -0.096912 | 0.98724 | -0.089427 | 10.3296
6 | 0.0042867 | 0.0010735 | -0.0042857 | -0.0010736 | 9.784e-07 | -1.0181e-07 | 0.0064678 | 0.0064679 | 0.0064679 | 0.98619 | -0.096912 | 0.98595 | -0.098563 | 2.3955
7 | -0.018503 | -0.0046397 | 0.018517 | 0.0046445 | 1.3262e-05 | 4.7513e-06 | 0.02789 | 0.02789 | 0.02789 | 0.98724 | -0.089427 | 0.98797 | -0.084258 | 10.3296
8 | 0.0042857 | 0.0010736 | -0.0042843 | -0.0010738 | 1.4188e-06 | -1.472e-07 | 0.0064679 | 0.0064682 | 0.0064682 | 0.98595 | -0.098563 | 0.98562 | -0.10096 | 2.3956
9 | -0.019712 | -0.0049441 | 0.019722 | 0.0049477 | 9.9018e-06 | 3.5778e-06 | 0.02969 | 0.02969 | 0.02969 | 0.98797 | -0.084258 | 0.98848 | -0.080637 | 10.9963
10 | 0.021326 | 0.0053517 | -0.021316 | -0.005348 | 1.0122e-05 | 3.6908e-06 | 0.032079 | 0.032079 | 0.032079 | 0.98931 | -0.074821 | 0.98882 | -0.078242 | 11.8812
11 | -0.023247 | -0.0058332 | 0.023264 | 0.0058391 | 1.6222e-05 | 5.9661e-06 | 0.034969 | 0.034969 | 0.034969 | 0.98931 | -0.074821 | 0.99002 | -0.069796 | 12.9514
12 | 0.02033 | 0.0051008 | -0.020327 | -0.0050998 | 2.9327e-06 | 1.0636e-06 | 0.030595 | 0.030595 | 0.030595 | 0.98882 | -0.078242 | 0.98868 | -0.079282 | 11.3315
13 | -0.025202 | -0.006325 | 0.025238 | 0.0063384 | 3.6106e-05 | 1.3368e-05 | 0.037883 | 0.037882 | 0.037883 | 0.99002 | -0.069796 | 0.99148 | -0.05949 | 14.0306
14 | 0.020327 | 0.0050998 | -0.020323 | -0.0050984 | 3.8195e-06 | 1.3852e-06 | 0.030595 | 0.030595 | 0.030595 | 0.98868 | -0.079282 | 0.98848 | -0.080637 | 11.3316
15 | -0.028799 | -0.0072308 | 0.028827 | 0.0072411 | 2.7659e-05 | 1.0332e-05 | 0.043226 | 0.043226 | 0.043226 | 0.99148 | -0.05949 | 0.99246 | -0.052584 | 16.0097
16 | -0.029589 | -0.0074322 | 0.029627 | 0.0074465 | 3.8446e-05 | 1.4382e-05 | 0.044369 | 0.044369 | 0.044369 | 0.99246 | -0.052584 | 0.99379 | -0.043251 | 16.433
17 | 0.0012266 | 0.00030568 | -0.0012264 | -0.0003067 | 1.7695e-07 | -1.0215e-06 | 0.001836 | 0.0018364 | 0.0018364 | 0.99379 | -0.043251 | 0.99365 | -0.044302 | 0.68014
18 | -0.030854 | -0.0077522 | 0.030871 | 0.0077585 | 1.6654e-05 | 6.2432e-06 | 0.046205 | 0.046205 | 0.046205 | 0.99379 | -0.043251 | 0.99435 | -0.039374 | 17.1129
19 | 0.031264 | 0.0078615 | -0.031228 | -0.0078481 | 3.5709e-05 | 1.3394e-05 | 0.04674 | 0.04674 | 0.04674 | 0.99552 | -0.031169 | 0.99435 | -0.039374 | 17.3111
20 | -0.031761 | -0.007986 | 0.031881 | 0.0080309 | 0.00011958 | 4.4882e-05 | 0.047483 | 0.047482 | 0.047483 | 0.99552 | -0.031169 | 0.99939 | -0.0042502 | 17.5862
21 | -0.032059 | -0.0080756 | 0.032078 | 0.0080827 | 1.9067e-05 | 7.1578e-06 | 0.047748 | 0.047748 | 0.047748 | 0.99939 | -0.0042502 | 1 | 0 | 17.6843
22 | 0.037231 | 0.0093703 | -0.037192 | -0.0093555 | 3.9143e-05 | 1.4787e-05 | 0.055414 | 0.055414 | 0.055414 | 1 | 0 | 0.99892 | -0.0075388 | 20.5238
23 | 0.00057906 | 0.00014446 | -0.00057905 | -0.00014475 | 1.0691e-08 | -2.9113e-07 | 0.00086693 | 0.00086703 | 0.00086703 | 0.99365 | -0.044302 | 0.99363 | -0.044436 | 0.32112
24 | 0.037097 | 0.0093318 | -0.037076 | -0.0093237 | 2.128e-05 | 8.0385e-06 | 0.055273 | 0.055273 | 0.055273 | 0.99892 | -0.0075388 | 0.99832 | -0.011654 | 20.4716
25 | 0.00057905 | 0.00014475 | -0.00057904 | -0.00014512 | 1.3714e-08 | -3.7332e-07 | 0.00086703 | 0.00086717 | 0.00086717 | 0.99363 | -0.044436 | 0.9936 | -0.044607 | 0.32117
26 | 0.036922 | 0.0092851 | -0.03692 | -0.0092846 | 1.1969e-06 | 4.5206e-07 | 0.055043 | 0.055043 | 0.055043 | 0.99832 | -0.011654 | 0.99829 | -0.011887 | 20.3864
27 | -0.031007 | -0.007781 | 0.031023 | 0.007787 | 1.605e-05 | 6.0189e-06 | 0.046472 | 0.046472 | 0.046472 | 0.9929 | -0.049617 | 0.99343 | -0.045889 | 17.212
28 | 0.030514 | 0.0076573 | -0.030491 | -0.0076486 | 2.3245e-05 | 8.7103e-06 | 0.045733 | 0.045733 | 0.045733 | 0.9929 | -0.049617 | 0.99212 | -0.05511 | 16.9383
29 | -0.032401 | -0.0081323 | 0.032436 | 0.0081452 | 3.433e-05 | 1.2901e-05 | 0.048537 | 0.048536 | 0.048537 | 0.99343 | -0.045889 | 0.99452 | -0.038266 | 17.9765
30 | 0.0018965 | 0.00047472 | -0.0018964 | -0.00047494 | 9.9741e-08 | -2.1676e-07 | 0.0028443 | 0.0028444 | 0.0028444 | 0.99212 | -0.05511 | 0.99207 | -0.05549 | 1.0535
31 | 0.028594 | 0.0071739 | -0.02857 | -0.0071649 | 2.4076e-05 | 8.9895e-06 | 0.042889 | 0.042889 | 0.042889 | 0.99212 | -0.05511 | 0.99126 | -0.061184 | 15.8849
32 | -0.032706 | -0.0082131 | 0.032732 | 0.0082227 | 2.5506e-05 | 9.5883e-06 | 0.048942 | 0.048941 | 0.048942 | 0.99452 | -0.038266 | 0.99532 | -0.032659 | 18.1265
33 | 0.0005993 | 0.00014985 | -0.0005993 | -0.00014993 | 3.284e-09 | -8.2854e-08 | 0.00089878 | 0.00089881 | 0.00089881 | 0.99207 | -0.05549 | 0.99206 | -0.05553 | 0.33289
34 | 0.028142 | 0.0070575 | -0.028118 | -0.0070487 | 2.3564e-05 | 8.7905e-06 | 0.042246 | 0.042246 | 0.042246 | 0.99126 | -0.061184 | 0.9904 | -0.06723 | 15.6467
35 | 0.00015366 | 3.82e-05 | -0.00015366 | -3.851e-05 | 7.8518e-10 | -3.0975e-07 | 0.00022961 | 0.00022972 | 0.00022972 | 0.99532 | -0.032659 | 0.99531 | -0.032696 | 0.085081
36 | -0.032885 | -0.0082609 | 0.032912 | 0.0082709 | 2.6494e-05 | 9.9615e-06 | 0.049171 | 0.049171 | 0.049171 | 0.99532 | -0.032659 | 0.99614 | -0.026871 | 18.2115
37 | 6.1976e-05 | 1.5263e-05 | -6.1976e-05 | -1.5533e-05 | 1.1271e-10 | -2.7012e-07 | 9.2865e-05 | 9.296e-05 | 9.296e-05 | 0.99206 | -0.05553 | 0.99206 | -0.055543 | 0.034429
38 | 0.025261 | 0.0063328 | -0.025261 | -0.0063327 | 2.8662e-07 | 1.0614e-07 | 0.037954 | 0.037954 | 0.037954 | 0.9904 | -0.06723 | 0.99039 | -0.067312 | 14.0571
39 | -0.03326 | -0.0083581 | 0.033262 | 0.0083589 | 2.0287e-06 | 7.6312e-07 | 0.049691 | 0.049691 | 0.049691 | 0.99614 | -0.026871 | 0.99621 | -0.026433 | 18.4041
40 | 0.024715 | 0.0061959 | -0.024692 | -0.0061871 | 2.3743e-05 | 8.7773e-06 | 0.037134 | 0.037134 | 0.037134 | 0.99039 | -0.067312 | 0.98941 | -0.074254 | 13.7534
41 | -0.033738 | -0.008481 | 0.033741 | 0.0084818 | 2.2189e-06 | 8.3514e-07 | 0.050369 | 0.050369 | 0.050369 | 0.99689 | -0.021663 | 0.99696 | -0.021191 | 18.6551
42 | 0.03349 | 0.0084187 | -0.033468 | -0.0084103 | 2.2231e-05 | 8.3648e-06 | 0.049998 | 0.049998 | 0.049998 | 0.99689 | -0.021663 | 0.99621 | -0.026433 | 18.5177
43 | -0.034108 | -0.008574 | 0.034121 | 0.0085789 | 1.3105e-05 | 4.9346e-06 | 0.050917 | 0.050917 | 0.050917 | 0.99696 | -0.021191 | 0.99735 | -0.018433 | 18.8583
44 | -0.03466 | -0.0087139 | 0.034664 | 0.0087156 | 4.5965e-06 | 1.732e-06 | 0.051721 | 0.051721 | 0.051721 | 0.99735 | -0.018433 | 0.99749 | -0.017482 | 19.1558
45 | -0.036198 | -0.0091 | 0.036211 | 0.0091048 | 1.2752e-05 | 4.8133e-06 | 0.054009 | 0.054009 | 0.054009 | 0.99749 | -0.017482 | 0.99785 | -0.014953 | 20.0034
46 | -0.036543 | -0.009188 | 0.036556 | 0.0091929 | 1.3021e-05 | 4.9162e-06 | 0.054504 | 0.054504 | 0.054504 | 0.99785 | -0.014953 | 0.99822 | -0.012397 | 20.1865
47 | -0.036792 | -0.009252 | 0.036794 | 0.009253 | 2.6156e-06 | 9.878e-07 | 0.054855 | 0.054855 | 0.054855 | 0.99822 | -0.012397 | 0.99829 | -0.011887 | 20.3168
48 | 0.019345 | 0.004843 | -0.019334 | -0.004839 | 1.1212e-05 | 4.0419e-06 | 0.029153 | 0.029153 | 0.029153 | 0.98734 | -0.088942 | 0.98675 | -0.093139 | 10.7974
49 | -0.019878 | -0.0049767 | 0.019887 | 0.0049798 | 8.5644e-06 | 3.0983e-06 | 0.029957 | 0.029957 | 0.029957 | 0.98734 | -0.088942 | 0.98778 | -0.085824 | 11.0951
50 | 0.007756 | 0.0019388 | -0.007755 | -0.0019386 | 9.4373e-07 | 2.2172e-07 | 0.011694 | 0.011694 | 0.011694 | 0.98675 | -0.093139 | 0.98662 | -0.094023 | 4.3312
51 | 0.011578 | 0.0029002 | -0.011571 | -0.0028981 | 6.6919e-06 | 2.1247e-06 | 0.017459 | 0.017459 | 0.017459 | 0.98675 | -0.093139 | 0.98616 | -0.09732 | 6.4663
52 | 0.0013876 | 0.00034758 | -0.0013876 | -0.00034776 | 4.3306e-08 | -1.8665e-07 | 0.0020903 | 0.0020904 | 0.0020904 | 0.98778 | -0.085824 | 0.98775 | -0.08605 | 0.77421
53 | -0.021275 | -0.0053274 | 0.021289 | 0.0053326 | 1.4269e-05 | 5.2027e-06 | 0.032047 | 0.032047 | 0.032047 | 0.98778 | -0.085824 | 0.98846 | -0.080974 | 11.8692
54 | 0.0064264 | 0.0016056 | -0.0064181 | -0.0016042 | 8.2214e-06 | 1.3727e-06 | 0.0096904 | 0.009691 | 0.009691 | 0.98662 | -0.094023 | 0.98532 | -0.10332 | 3.5893
55 | 0.011256 | 0.0028191 | -0.011254 | -0.0028184 | 2.3304e-06 | 7.3114e-07 | 0.016984 | 0.016984 | 0.016984 | 0.98616 | -0.09732 | 0.98595 | -0.098818 | 6.2902
56 | -0.022919 | -0.0057412 | 0.02294 | 0.005749 | 2.1322e-05 | 7.8324e-06 | 0.034501 | 0.034501 | 0.034501 | 0.98846 | -0.080974 | 0.98941 | -0.074254 | 12.7782
57 | 0.004795 | 0.0011974 | -0.0047897 | -0.0011974 | 5.3188e-06 | -2.3039e-08 | 0.0072398 | 0.0072405 | 0.0072405 | 0.98532 | -0.10332 | 0.98419 | -0.11139 | 2.6817
58 | -0.0017509 | -0.00043851 | 0.0017511 | 0.00043808 | 1.6572e-07 | -4.2807e-07 | 0.0026334 | 0.0026332 | 0.0026334 | 0.98931 | -0.074939 | 0.98941 | -0.074254 | 0.97533
59 | 0.0017509 | 0.00043851 | -0.0017508 | -0.00043879 | 1.0825e-07 | -2.7955e-07 | 0.0026334 | 0.0026335 | 0.0026335 | 0.98931 | -0.074939 | 0.98925 | -0.075386 | 0.97538
60 | 0.010901 | 0.00273 | -0.010896 | -0.0027283 | 5.2758e-06 | 1.631e-06 | 0.016451 | 0.016451 | 0.016451 | 0.98595 | -0.098818 | 0.98546 | -0.10232 | 6.0931
61 | 0.0041701 | 0.0010422 | -0.004169 | -0.0010423 | 1.1422e-06 | -1.4587e-07 | 0.0063038 | 0.006304 | 0.006304 | 0.98419 | -0.11139 | 0.98392 | -0.11338 | 2.3348
62 | 0.0091321 | 0.0022864 | -0.0091319 | -0.0022863 | 2.0627e-07 | 5.7184e-08 | 0.013788 | 0.013788 | 0.013788 | 0.98546 | -0.10232 | 0.98543 | -0.10248 | 5.1068
63 | 0.0032761 | 0.00081853 | -0.0032758 | -0.00081866 | 3.0038e-07 | -1.3359e-07 | 0.0049537 | 0.0049538 | 0.0049538 | 0.98392 | -0.11338 | 0.98382 | -0.11404 | 1.8347
64 | 0.0014676 | 0.00036549 | -0.0014676 | -0.00036576 | 7.2463e-08 | -2.7159e-07 | 0.0022189 | 0.002219 | 0.002219 | 0.98382 | -0.11404 | 0.98377 | -0.11441 | 0.82187
65 | 0.0012342 | 0.00030727 | -0.001234 | -0.00030819 | 1.6869e-07 | -9.2055e-07 | 0.001866 | 0.0018664 | 0.0018664 | 0.98377 | -0.11441 | 0.98363 | -0.1154 | 0.69125
66 | 0.001234 | 0.00030819 | -0.0012338 | -0.00030922 | 1.9013e-07 | -1.0368e-06 | 0.0018664 | 0.0018668 | 0.0018668 | 0.98363 | -0.1154 | 0.98348 | -0.11652 | 0.6914
67 | -0.0079342 | -0.0019861 | 0.0079352 | 0.0019863 | 9.5665e-07 | 2.3209e-07 | 0.011985 | 0.011985 | 0.011985 | 0.98497 | -0.10576 | 0.9851 | -0.10489 | 4.4391
68 | 0.0071601 | 0.0017921 | -0.007157 | -0.0017914 | 3.1182e-06 | 6.5589e-07 | 0.010816 | 0.010816 | 0.010816 | 0.98497 | -0.10576 | 0.98453 | -0.10892 | 4.006
69 | -0.0085816 | -0.0021484 | 0.0085845 | 0.0021491 | 2.8508e-06 | 7.5015e-07 | 0.012962 | 0.012962 | 0.012962 | 0.9851 | -0.10489 | 0.98543 | -0.10248 | 4.8007
70 | 0.0065054 | 0.0016281 | -0.0065039 | -0.0016279 | 1.4966e-06 | 2.6014e-07 | 0.0098314 | 0.0098315 | 0.0098315 | 0.98453 | -0.10892 | 0.9843 | -0.11058 | 3.6413
71 | 0.0050377 | 0.0012604 | -0.0050359 | -0.0012604 | 1.8075e-06 | 6.0539e-08 | 0.0076151 | 0.0076153 | 0.0076153 | 0.9843 | -0.11058 | 0.98393 | -0.11318 | 2.8205
72 | 0.0025009 | 0.00062502 | -0.0025008 | -0.00062507 | 4.6402e-08 | -4.8202e-08 | 0.0037815 | 0.0037815 | 0.0037815 | 0.98393 | -0.11318 | 0.98391 | -0.11332 | 1.4006
73 | 0.0019851 | 0.00049581 | -0.0019849 | -0.00049624 | 2.2512e-07 | -4.2193e-07 | 0.0030015 | 0.0030017 | 0.0030017 | 0.98391 | -0.11332 | 0.9838 | -0.11414 | 1.1117
74 | 0.0019849 | 0.00049624 | -0.0019845 | -0.00049696 | 3.8787e-07 | -7.2653e-07 | 0.0030017 | 0.003002 | 0.003002 | 0.9838 | -0.11414 | 0.9836 | -0.11556 | 1.1119
75 | 0.00084037 | 0.00021023 | -0.00084034 | -0.00021061 | 3.1321e-08 | -3.8214e-07 | 0.0012712 | 0.0012713 | 0.0012713 | 0.9836 | -0.11556 | 0.98356 | -0.11583 | 0.47087

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.070392 | 0.017524

## res_load
| p_mw | q_mvar
0 | 0.0059531 | 0.001492
1 | 0.00056946 | 0.00014272
2 | 0.0048281 | 0.00121
3 | 0.0016419 | 0.00041149
4 | 0.0011876 | 0.00029765
5 | 0.0011954 | 0.00029959
6 | 0.0042843 | 0.0010738
7 | 0.0019212 | 0.00048149
8 | 0.00098613 | 0.00024715
9 | 0.0019387 | 0.00048588
10 | 0.0035606 | 0.00089238
11 | 0.00060131 | 0.0001507
12 | 0.0007624 | 0.00019107
13 | 0.00049695 | 0.00012455
14 | 0.00035757 | 8.9614e-05
15 | 0.00017824 | 4.467e-05
16 | 0.00028301 | 7.0928e-05
17 | 0.00064736 | 0.00016224
18 | 9.4633e-05 | 2.3717e-05
19 | 0.00015422 | 3.865e-05
20 | 0.00057904 | 0.00014512
21 | 0.00049324 | 0.00012362
22 | 0.001378 | 0.00034537
23 | 0.00027075 | 6.7857e-05
24 | 0.0012971 | 0.00032509
25 | 0.00042853 | 0.0001074
26 | 0.00053732 | 0.00013467
27 | 0.0028565 | 0.00071591
28 | 0.00015366 | 3.851e-05
29 | 0.00034812 | 8.7247e-05
30 | 6.1976e-05 | 1.5533e-05
31 | 0.00054591 | 0.00013682
32 | 0.00024853 | 6.2288e-05
33 | 0.0003676 | 9.213e-05
34 | 0.00020541 | 5.1481e-05
35 | 0.00053848 | 0.00013496
36 | 0.001534 | 0.00038445
37 | 0.00033163 | 8.3113e-05
38 | 0.00023605 | 5.916e-05
39 | 0.00012613 | 3.1611e-05
40 | 0.00053343 | 0.00013369
41 | 0.0013287 | 0.00033299
42 | 0.00031504 | 7.8957e-05
43 | 0.0013876 | 0.00034776
44 | 0.0016303 | 0.0004086
45 | 0.0016231 | 0.0004068
46 | 0.0017508 | 0.00043879
47 | 0.00035279 | 8.8417e-05
48 | 0.00061955 | 0.00015527
49 | 0.0017635 | 0.00044198
50 | 0.00089288 | 0.00022378
51 | 0.0018082 | 0.00045317
52 | 0.00023339 | 5.8492e-05
53 | 0.0012338 | 0.00030922
54 | 0.00077411 | 0.00019401
55 | 0.00064645 | 0.00016202
56 | 0.00065161 | 0.00016331
57 | 0.00054743 | 0.0001372
58 | 0.0014661 | 0.00036744
59 | 0.0025351 | 0.00063535
60 | 0.00051574 | 0.00012926
61 | 0.0011441 | 0.00028674
62 | 0.00084034 | 0.00021061

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1