## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1100-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1100-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1100-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1100-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1100-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1100-2_0_2_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1100-2_0_2_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1100-2_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1100-2_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1100-2_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1100-2_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1100-2_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1100-2_0_2_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_1100-2_0_2_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1100-2_0_2_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_1100-2_0_2_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1100-2_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1100-2_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1100-2_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1100-2_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1100-2_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1100-2_0_2_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1100-2_0_2_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_1100-2_0_2_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_1100-2_0_2_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_1100-2_0_2_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_1100-2_0_2_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1100-2_0_2_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1100-2_0_2_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1100-2_0_2_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_1100-2_0_2_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1100-2_0_2_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1100-2_0_2_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_1100-2_0_2_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1100-2_0_2_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1100-2_0_2_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_1100-2_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1100-2_0_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1100-2_0_2_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_1100-2_0_2_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1100-2_0_2_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1100-2_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1100-2_0_2_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_1100-2_0_2_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_1100-2_0_2_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1100-2_0_2_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_1100-2_0_2_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_1100-2_0_2_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1100-2_0_2_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_1100-2_0_2_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1100-2_0_2_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1100-2_0_2_node_45 | 0.4 | n |  | TRUE
52 | bus_MV_472_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1100-2_0_2_load_0 | 0 | 0.0010854 | 0.00027202 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1100-2_0_2_load_1 | 1 | 0.0037963 | 0.00095145 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1100-2_0_2_load_3 | 3 | 0.0013322 | 0.00033389 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1100-2_0_2_load_4 | 4 | 0.00059913 | 0.00015016 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1100-2_0_2_load_21 | 5 | 0.00090281 | 0.00022626 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1100-2_0_2_load_23 | 6 | 0.0046921 | 0.0011759 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1100-2_0_2_load_8 | 7 | 0.0047858 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1100-2_0_2_load_5 | 8 | 0.0015164 | 0.00038004 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1100-2_0_2_load_6 | 9 | 0.0034024 | 0.00085272 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1100-2_0_2_load_7 | 10 | 0.0029526 | 0.00073998 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1100-2_0_2_load_24 | 13 | 0.002641 | 0.00066189 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1100-2_0_2_load_35 | 14 | 0.0053485 | 0.0013405 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1100-2_0_2_load_48 | 15 | 0.0041661 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1100-2_0_2_load_10 | 16 | 0.0014143 | 0.00035445 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1100-2_0_2_load_11 | 17 | 0.00086911 | 0.00021782 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1100-2_0_2_load_13 | 19 | 0.0023898 | 0.00059894 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1100-2_0_2_load_14 | 20 | 0.0032084 | 0.00080411 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1100-2_0_2_load_44 | 21 | 0.0018205 | 0.00045625 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1100-2_0_2_load_42 | 22 | 0.0032604 | 0.00081714 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1100-2_0_2_load_51 | 23 | 0.0021949 | 0.00055009 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1100-2_0_2_load_50 | 24 | 0.0025575 | 0.00064098 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1100-2_0_2_load_41 | 26 | 0.0021083 | 0.0005284 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1100-2_0_2_load_40 | 27 | 0.0023029 | 0.00057715 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1100-2_0_2_load_15 | 29 | 0.0011439 | 0.00028669 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1100-2_0_2_load_16 | 30 | 0.0014937 | 0.00037437 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1100-2_0_2_load_53 | 32 | 0.0019287 | 0.00048339 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1100-2_0_2_load_18 | 33 | 0.00098291 | 0.00024634 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1100-2_0_2_load_20 | 35 | 0.00080133 | 0.00020083 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1100-2_0_2_load_38 | 36 | 0.0016333 | 0.00040934 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1100-2_0_2_load_36 | 37 | 0.0014356 | 0.0003598 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1100-2_0_2_load_49 | 38 | 0.0021936 | 0.00054977 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1100-2_0_2_load_26 | 39 | 0.00084208 | 0.00021104 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1100-2_0_2_load_39 | 40 | 0.0017388 | 0.00043579 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1100-2_0_2_load_47 | 42 | 0.0028188 | 0.00070645 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1100-2_0_2_load_27 | 43 | 0.0032385 | 0.00081166 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1100-2_0_2_load_28 | 44 | 0.0035518 | 0.00089017 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1100-2_0_2_load_30 | 46 | 0.0013564 | 0.00033993 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1100-2_0_2_load_32 | 47 | 0.0039251 | 0.00098372 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1100-2_0_2_load_33 | 48 | 0.0038639 | 0.00096838 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1100-2_0_2_load_43 | 49 | 0.001785 | 0.00044737 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1100-2_0_2_load_46 | 50 | 0.0052061 | 0.0013048 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1100-2_0_2_load_45 | 51 | 0.0045865 | 0.0011495 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1100-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1100-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1100-2_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.017016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1100-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1100-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.020861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1100-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0028205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1100-2_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1100-2_0_2_line_7 | NAYY 4x150 SE | 7 | 9 | 0.031447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1100-2_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.012115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1100-2_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0034929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1100-2_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.027031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1100-2_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.025865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1100-2_0_2_line_12 | NAYY 4x150 SE | 12 | 15 | 0.031649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1100-2_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.035408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1100-2_0_2_line_14 | NAYY 4x150 SE | 14 | 41 | 0.028919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1100-2_0_2_line_15 | NAYY 4x150 SE | 15 | 42 | 0.021875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1100-2_0_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.024088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1100-2_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.024796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1100-2_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.046853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1100-2_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.023003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1100-2_0_2_line_20 | NAYY 4x150 SE | 20 | 23 | 0.0377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1100-2_0_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.0092493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1100-2_0_2_line_22 | NAYY 4x150 SE | 22 | 49 | 0.0083047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1100-2_0_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.01525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1100-2_0_2_line_24 | NAYY 4x150 SE | 24 | 38 | 0.0013471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1100-2_0_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.010123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1100-2_0_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.018623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1100-2_0_2_line_27 | NAYY 4x150 SE | 25 | 28 | 0.031209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1100-2_0_2_line_28 | NAYY 4x150 SE | 26 | 49 | 0.026431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1100-2_0_2_line_29 | NAYY 4x150 SE | 28 | 48 | 0.017077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1100-2_0_2_line_30 | NAYY 4x150 SE | 28 | 45 | 0.006849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1100-2_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.042764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1100-2_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.034874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1100-2_0_2_line_33 | NAYY 4x150 SE | 29 | 32 | 0.050504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1100-2_0_2_line_34 | NAYY 4x150 SE | 30 | 33 | 0.0067508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1100-2_0_2_line_35 | NAYY 4x150 SE | 31 | 34 | 0.032067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1100-2_0_2_line_36 | NAYY 4x150 SE | 31 | 35 | 0.018464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1100-2_0_2_line_37 | NAYY 4x150 SE | 33 | 36 | 0.017049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1100-2_0_2_line_38 | NAYY 4x150 SE | 34 | 37 | 0.022752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1100-2_0_2_line_39 | NAYY 4x150 SE | 34 | 38 | 0.027231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1100-2_0_2_line_40 | NAYY 4x150 SE | 35 | 39 | 0.0011218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1100-2_0_2_line_41 | NAYY 4x150 SE | 36 | 40 | 0.013368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1100-2_0_2_line_42 | NAYY 4x150 SE | 37 | 41 | 0.028737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1100-2_0_2_line_43 | NAYY 4x150 SE | 40 | 50 | 0.015725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1100-2_0_2_line_44 | NAYY 4x150 SE | 41 | 48 | 0.046009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1100-2_0_2_line_45 | NAYY 4x150 SE | 42 | 51 | 0.011207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1100-2_0_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.012824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1100-2_0_2_line_47 | NAYY 4x150 SE | 43 | 45 | 0.016916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1100-2_0_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.030918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1100-2_0_2_line_49 | NAYY 4x150 SE | 45 | 47 | 0.011899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1100-2_0_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.026299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1100-2_0_2_trafo_24 | 0.25 MVA 20/0.4 kV | 52 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2651039.8704 | 1230396.2543 | 2651055.3911 | 1230384.1605
1 | 2651030.6349 | 1230403.4507 | 2651039.8704 | 1230396.2543
2 | 2651030.6349 | 1230403.4507 | 2651017.1562 | 1230413.8363
3 | 2651030.6349 | 1230403.4507 | 2651015.7351 | 1230388.3946
4 | 2651017.1562 | 1230413.8363 | 2651000.6312 | 1230426.569
5 | 2651013.7511 | 1230386.3899 | 2651015.7351 | 1230388.3946
6 | 2650982.9568 | 1230437.4601 | 2650996.3998 | 1230429.8294 | 2651000.6312 | 1230426.569
7 | 2650982.9568 | 1230437.4601 | 2650971.0843 | 1230444.1994 | 2650956.0236 | 1230453.6771
8 | 2650946.778 | 1230461.4186 | 2650952.5561 | 1230455.8591 | 2650956.0236 | 1230453.6771
9 | 2650946.778 | 1230461.4186 | 2650944.261 | 1230463.8403
10 | 2650925.3955 | 1230483.1772 | 2650933.8525 | 1230473.8548 | 2650944.261 | 1230463.8403
11 | 2650925.3955 | 1230483.1772 | 2650930.2046 | 1230503.5757 | 2650931.3681 | 1230508.3443
12 | 2650931.3681 | 1230508.3443 | 2650917.7194 | 1230506.5597 | 2650910.0771 | 1230503.0142 | 2650902.3074 | 1230497.6181
13 | 2650846.2183 | 1230436.9062 | 2650871.0069 | 1230441.2966 | 2650881.0964 | 1230443.0062
14 | 2650817.7574 | 1230431.7801 | 2650824.3518 | 1230433.0038 | 2650828.6624 | 1230433.7967 | 2650846.2183 | 1230436.9062
15 | 2650902.3074 | 1230497.6181 | 2650888.731 | 1230488.1889 | 2650883.6929 | 1230486.4038
16 | 2650741.2485 | 1230367.1567 | 2650754.5696 | 1230347.0877
17 | 2650727.5358 | 1230387.8158 | 2650741.2485 | 1230367.1567
18 | 2650780.2315 | 1230307.9189 | 2650779.6592 | 1230309.2886 | 2650754.5696 | 1230347.0877
19 | 2650727.5358 | 1230387.8158 | 2650747.168 | 1230399.8047
20 | 2650744.7456 | 1230437.4272 | 2650747.168 | 1230399.8047
21 | 2650796.4555 | 1230388.3563 | 2650789.0624 | 1230393.9144
22 | 2650796.4555 | 1230388.3563 | 2650803.0935 | 1230383.3658
23 | 2650744.7456 | 1230437.4272 | 2650759.3718 | 1230441.7453
24 | 2650760.6637 | 1230442.1267 | 2650759.3718 | 1230441.7453
25 | 2650829.6104 | 1230358.3238 | 2650822.5326 | 1230365.5615
26 | 2650829.6104 | 1230358.3238 | 2650842.1643 | 1230344.5684
27 | 2650852.4466 | 1230379.6657 | 2650829.6104 | 1230358.3238
28 | 2650822.5326 | 1230365.5615 | 2650810.752 | 1230377.6082 | 2650803.0935 | 1230383.3658
29 | 2650852.4466 | 1230379.6657 | 2650842.081 | 1230393.2373
30 | 2650852.4466 | 1230379.6657 | 2650856.9447 | 1230374.4898
31 | 2650758.1196 | 1230500.7035 | 2650758.1196 | 1230500.7035 | 2650763.2387 | 1230500.825 | 2650798.0649 | 1230486.5353
32 | 2650747.8239 | 1230469.0179 | 2650746.9443 | 1230477.1155 | 2650754.0802 | 1230497.4225 | 2650758.1196 | 1230500.7035
33 | 2650758.1196 | 1230500.7035 | 2650791.8981 | 1230538.2488
34 | 2650804.3104 | 1230483.9727 | 2650798.0649 | 1230486.5353
35 | 2650747.8239 | 1230469.0179 | 2650766.9386 | 1230464.9116 | 2650778.6355 | 1230460.2196
36 | 2650747.8239 | 1230469.0179 | 2650729.5032 | 1230471.3104
37 | 2650804.3104 | 1230483.9727 | 2650820.0838 | 1230477.5007
38 | 2650778.6355 | 1230460.2196 | 2650799.3179 | 1230450.7383
39 | 2650778.6355 | 1230460.2196 | 2650772.971 | 1230448.5639 | 2650768.6732 | 1230444.4913 | 2650760.6637 | 1230442.1267
40 | 2650728.3901 | 1230471.4497 | 2650729.5032 | 1230471.3104
41 | 2650820.0838 | 1230477.5007 | 2650823.0426 | 1230476.2867 | 2650833.0703 | 1230474.5935 | 2650833.0703 | 1230474.5935
42 | 2650817.7574 | 1230431.7801 | 2650816.2686 | 1230439.361 | 2650814.0548 | 1230443.1556 | 2650810.2305 | 1230445.7357 | 2650799.3179 | 1230450.7383
43 | 2650847.5446 | 1230480.2864 | 2650841.4299 | 1230476.644 | 2650833.0703 | 1230474.5935
44 | 2650817.7574 | 1230431.7801 | 2650819.7181 | 1230424.8146 | 2650824.2344 | 1230416.6036 | 2650842.081 | 1230393.2373
45 | 2650872.7258 | 1230485.04 | 2650879.7599 | 1230485.0102 | 2650883.6929 | 1230486.4038
46 | 2650869.9992 | 1230385.2476 | 2650872.732 | 1230387.4996 | 2650879.2676 | 1230394.0918
47 | 2650856.9447 | 1230374.4898 | 2650869.9992 | 1230385.2476
48 | 2650901.0356 | 1230416.0486 | 2650879.2676 | 1230394.0918
49 | 2650856.9447 | 1230374.4898 | 2650864.7501 | 1230365.5089
50 | 2650872.7258 | 1230485.04 | 2650861.5129 | 1230485.0876 | 2650853.9847 | 1230484.1226 | 2650847.5446 | 1230480.2864

## bus_geodata
| x | y | coords
0 | 2651039.8704 | 1230396.2543
1 | 2651055.3911 | 1230384.1605
2 | 2651030.6349 | 1230403.4507
3 | 2651017.1562 | 1230413.8363
4 | 2651015.7351 | 1230388.3946
5 | 2651000.6312 | 1230426.569
6 | 2651013.7511 | 1230386.3899
7 | 2650982.9568 | 1230437.4601
8 | 2650946.778 | 1230461.4186
9 | 2650956.0236 | 1230453.6771
10 | 2650944.261 | 1230463.8403
11 | 2650925.3955 | 1230483.1772
12 | 2650931.3681 | 1230508.3443
13 | 2650881.0964 | 1230443.0062
14 | 2650846.2183 | 1230436.9062
15 | 2650902.3074 | 1230497.6181
16 | 2650741.2485 | 1230367.1567
17 | 2650754.5696 | 1230347.0877
18 | 2650727.5358 | 1230387.8158
19 | 2650780.2315 | 1230307.9189
20 | 2650747.168 | 1230399.8047
21 | 2650789.0624 | 1230393.9144
22 | 2650796.4555 | 1230388.3563
23 | 2650744.7456 | 1230437.4272
24 | 2650759.3718 | 1230441.7453
25 | 2650829.6104 | 1230358.3238
26 | 2650822.5326 | 1230365.5615
27 | 2650842.1643 | 1230344.5684
28 | 2650852.4466 | 1230379.6657
29 | 2650758.1196 | 1230500.7035
30 | 2650798.0649 | 1230486.5353
31 | 2650747.8239 | 1230469.0179
32 | 2650791.8981 | 1230538.2488
33 | 2650804.3104 | 1230483.9727
34 | 2650778.6355 | 1230460.2196
35 | 2650729.5032 | 1230471.3104
36 | 2650820.0838 | 1230477.5007
37 | 2650799.3179 | 1230450.7383
38 | 2650760.6637 | 1230442.1267
39 | 2650728.3901 | 1230471.4497
40 | 2650833.0703 | 1230474.5935
41 | 2650817.7574 | 1230431.7801
42 | 2650883.6929 | 1230486.4038
43 | 2650869.9992 | 1230385.2476
44 | 2650879.2676 | 1230394.0918
45 | 2650856.9447 | 1230374.4898
46 | 2650901.0356 | 1230416.0486
47 | 2650864.7501 | 1230365.5089
48 | 2650842.081 | 1230393.2373
49 | 2650803.0935 | 1230383.3659
50 | 2650847.5446 | 1230480.2864
51 | 2650872.7258 | 1230485.04
52 | 2650925.3955 | 1230483.1772

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97054 | -0.2076 | 0.0010854 | 0.00027202
1 | 0.97043 | -0.2084 | 0.0037963 | 0.00095145
2 | 0.97062 | -0.207 | 0 | 0
3 | 0.97087 | -0.20516 | 0.0013322 | 0.00033389
4 | 0.97046 | -0.20819 | 0.00059913 | 0.00015016
5 | 0.97123 | -0.20262 | 0.00090281 | 0.00022626
6 | 0.97044 | -0.20833 | 0.0046921 | 0.0011759
7 | 0.97161 | -0.19989 | 0.0047858 | 0.0011994
8 | 0.97277 | -0.19154 | 0.0015164 | 0.00038004
9 | 0.9724 | -0.19418 | 0.0034024 | 0.00085272
10 | 0.97288 | -0.19073 | 0.0029526 | 0.00073998
11 | 0.97387 | -0.18358 | 0 | 0
12 | 0.97482 | -0.17676 | 0 | 0
13 | 1 | 0 | -0.10367 | -0.025988
14 | 0.9974 | -0.017952 | 0.0053485 | 0.0013405
15 | 0.97599 | -0.16844 | 0.0041661 | 0.0010441
16 | 0.98871 | -0.078589 | 0.0014143 | 0.00035445
17 | 0.9886 | -0.079392 | 0.00086911 | 0.00021782
18 | 0.98888 | -0.077404 | 0 | 0
19 | 0.98844 | -0.080536 | 0.0023898 | 0.00059894
20 | 0.98903 | -0.076305 | 0.0032084 | 0.00080411
21 | 0.99204 | -0.055512 | 0.0018205 | 0.00045625
22 | 0.99206 | -0.055341 | 0.0032604 | 0.00081714
23 | 0.98946 | -0.073269 | 0.0021949 | 0.00055009
24 | 0.98968 | -0.0717 | 0.0025575 | 0.00064098
25 | 0.99252 | -0.052152 | 0 | 0
26 | 0.99238 | -0.053073 | 0.0021083 | 0.0005284
27 | 0.99245 | -0.052587 | 0.0023029 | 0.00057715
28 | 0.99302 | -0.048585 | 0 | 0
29 | 0.98525 | -0.10274 | 0.0011439 | 0.00028669
30 | 0.98226 | -0.12379 | 0.0014937 | 0.00037437
31 | 0.98783 | -0.084572 | 0 | 0
32 | 0.98511 | -0.10374 | 0.0019287 | 0.00048339
33 | 0.98181 | -0.12702 | 0.00098291 | 0.00024634
34 | 0.99029 | -0.06741 | 0 | 0
35 | 0.98779 | -0.084882 | 0.00080133 | 0.00020083
36 | 0.98068 | -0.13502 | 0.0016333 | 0.00040934
37 | 0.99252 | -0.051861 | 0.0014356 | 0.0003598
38 | 0.98971 | -0.071527 | 0.0021936 | 0.00054977
39 | 0.98779 | -0.084892 | 0.00084208 | 0.00021104
40 | 0.97983 | -0.14107 | 0.0017388 | 0.00043579
41 | 0.99539 | -0.031904 | 0 | 0
42 | 0.97693 | -0.16174 | 0.0028188 | 0.00070645
43 | 0.9927 | -0.050819 | 0.0032385 | 0.00081166
44 | 0.99261 | -0.051457 | 0.0035518 | 0.00089017
45 | 0.9929 | -0.049423 | 0 | 0
46 | 0.99255 | -0.051882 | 0.0013564 | 0.00033993
47 | 0.99284 | -0.049896 | 0.0039251 | 0.00098372
48 | 0.99359 | -0.044549 | 0.0038639 | 0.00096838
49 | 0.99212 | -0.054913 | 0.001785 | 0.00044737
50 | 0.97886 | -0.14792 | 0.0052061 | 0.0013048
51 | 0.97745 | -0.15798 | 0.0045865 | 0.0011495
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0037968 | 0.00095137 | -0.0037963 | -0.00095145 | 4.1604e-07 | -8.3106e-08 | 0.0058211 | 0.0058212 | 0.0058212 | 0.97054 | -0.2076 | 0.97043 | -0.2084 | 2.156
1 | -0.0048821 | -0.0012234 | 0.0048825 | 0.0012234 | 4.0933e-07 | 1.2737e-08 | 0.0074852 | 0.0074851 | 0.0074852 | 0.97054 | -0.2076 | 0.97062 | -0.207 | 2.7723
2 | -0.010175 | -0.0025496 | 0.010177 | 0.0025504 | 2.5834e-06 | 7.8323e-07 | 0.015598 | 0.015598 | 0.015598 | 0.97062 | -0.207 | 0.97087 | -0.20516 | 5.7771
3 | 0.0052922 | 0.0013262 | -0.0052913 | -0.0013261 | 8.7004e-07 | 7.2867e-08 | 0.0081131 | 0.0081132 | 0.0081132 | 0.97062 | -0.207 | 0.97046 | -0.20819 | 3.0049
4 | -0.01151 | -0.0028842 | 0.011514 | 0.0028855 | 4.0506e-06 | 1.2999e-06 | 0.01764 | 0.01764 | 0.01764 | 0.97087 | -0.20516 | 0.97123 | -0.20262 | 6.5333
5 | 0.0046922 | 0.0011759 | -0.0046921 | -0.0011759 | 9.1101e-08 | 1.9039e-10 | 0.0071946 | 0.0071946 | 0.0071946 | 0.97046 | -0.20819 | 0.97044 | -0.20833 | 2.6647
6 | -0.012416 | -0.0031118 | 0.012421 | 0.0031134 | 4.6968e-06 | 1.5489e-06 | 0.019023 | 0.019023 | 0.019023 | 0.97123 | -0.20262 | 0.97161 | -0.19989 | 7.0456
7 | -0.017207 | -0.0043128 | 0.017221 | 0.0043176 | 1.3627e-05 | 4.8514e-06 | 0.026352 | 0.026352 | 0.026352 | 0.97161 | -0.19989 | 0.9724 | -0.19418 | 9.7602
8 | 0.02063 | 0.0051731 | -0.020623 | -0.0051704 | 7.5294e-06 | 2.7456e-06 | 0.031559 | 0.031559 | 0.031559 | 0.97277 | -0.19154 | 0.9724 | -0.19418 | 11.6885
9 | -0.022147 | -0.0055532 | 0.022149 | 0.0055541 | 2.5016e-06 | 9.1878e-07 | 0.033878 | 0.033878 | 0.033878 | 0.97277 | -0.19154 | 0.97288 | -0.19073 | 12.5476
10 | -0.025102 | -0.0062941 | 0.025127 | 0.0063033 | 2.4864e-05 | 9.2272e-06 | 0.038394 | 0.038394 | 0.038394 | 0.97288 | -0.19073 | 0.97387 | -0.18358 | 14.2201
11 | -0.025127 | -0.0063033 | 0.025151 | 0.0063121 | 2.3792e-05 | 8.8285e-06 | 0.038394 | 0.038394 | 0.038394 | 0.97387 | -0.18358 | 0.97482 | -0.17676 | 14.2201
12 | -0.025151 | -0.0063121 | 0.02518 | 0.0063229 | 2.9112e-05 | 1.0802e-05 | 0.038394 | 0.038394 | 0.038394 | 0.97482 | -0.17676 | 0.97599 | -0.16844 | 14.22
13 | 0.10287 | 0.025988 | -0.10261 | -0.025889 | 0.00025911 | 9.8732e-05 | 0.15315 | 0.15315 | 0.15315 | 1 | 0 | 0.9974 | -0.017952 | 28.3612
14 | 0.097266 | 0.024549 | -0.097076 | -0.024476 | 0.00019015 | 7.2382e-05 | 0.14517 | 0.14517 | 0.14517 | 0.9974 | -0.017952 | 0.99539 | -0.031904 | 26.8836
15 | -0.029346 | -0.007367 | 0.029373 | 0.0073773 | 2.7329e-05 | 1.0238e-05 | 0.044746 | 0.044746 | 0.044746 | 0.97599 | -0.16844 | 0.97693 | -0.16174 | 16.5725
16 | 0.0032596 | 0.00081613 | -0.0032593 | -0.0008163 | 3.6171e-07 | -1.6977e-07 | 0.0049055 | 0.0049056 | 0.0049056 | 0.98871 | -0.078589 | 0.9886 | -0.079392 | 1.8169
17 | -0.0046739 | -0.0011706 | 0.0046747 | 0.0011706 | 7.6552e-07 | -2.3623e-08 | 0.007034 | 0.0070339 | 0.007034 | 0.98871 | -0.078589 | 0.98888 | -0.077404 | 2.6052
18 | 0.0023902 | 0.00059848 | -0.0023898 | -0.00059894 | 3.7838e-07 | -4.551e-07 | 0.0035974 | 0.0035977 | 0.0035977 | 0.9886 | -0.079392 | 0.98844 | -0.080536 | 1.3325
19 | -0.0046747 | -0.0011706 | 0.0046754 | 0.0011705 | 7.1016e-07 | -2.202e-08 | 0.0070339 | 0.0070338 | 0.0070339 | 0.98888 | -0.077404 | 0.98903 | -0.076305 | 2.6051
20 | -0.0078838 | -0.0019746 | 0.0078871 | 0.0019754 | 3.3095e-06 | 7.8885e-07 | 0.011861 | 0.011861 | 0.011861 | 0.98903 | -0.076305 | 0.98946 | -0.073269 | 4.3929
21 | -0.0018205 | -0.00045625 | 0.0018205 | 0.00045615 | 4.3033e-08 | -1.0287e-07 | 0.0027306 | 0.0027306 | 0.0027306 | 0.99204 | -0.055512 | 0.99206 | -0.055341 | 1.0113
22 | -0.0050809 | -0.0012733 | 0.0050812 | 0.0012733 | 3.0097e-07 | 8.5218e-09 | 0.0076209 | 0.0076209 | 0.0076209 | 0.99206 | -0.055341 | 0.99212 | -0.054913 | 2.8226
23 | -0.010082 | -0.0025255 | 0.010084 | 0.0025262 | 2.1875e-06 | 6.4542e-07 | 0.015162 | 0.015161 | 0.015162 | 0.98946 | -0.073269 | 0.98968 | -0.0717 | 5.6154
24 | -0.012642 | -0.0031671 | 0.012642 | 0.0031672 | 3.0366e-07 | 9.9483e-08 | 0.019007 | 0.019007 | 0.019007 | 0.98968 | -0.0717 | 0.98971 | -0.071527 | 7.0395
25 | 0.0089775 | 0.0022497 | -0.0089763 | -0.0022494 | 1.1443e-06 | 3.0931e-07 | 0.013459 | 0.013459 | 0.013459 | 0.99252 | -0.052152 | 0.99238 | -0.053073 | 4.9849
26 | 0.002303 | 0.00057696 | -0.0023029 | -0.00057715 | 1.3853e-07 | -1.8738e-07 | 0.0034526 | 0.0034527 | 0.0034527 | 0.99252 | -0.052152 | 0.99245 | -0.052587 | 1.2788
27 | -0.01128 | -0.0028267 | 0.011286 | 0.0028284 | 5.5699e-06 | 1.7387e-06 | 0.016912 | 0.016912 | 0.016912 | 0.99252 | -0.052152 | 0.99302 | -0.048585 | 6.2637
28 | 0.006868 | 0.001721 | -0.0068663 | -0.0017207 | 1.7491e-06 | 3.3132e-07 | 0.010298 | 0.010298 | 0.010298 | 0.99238 | -0.053073 | 0.99212 | -0.054913 | 3.8141
29 | -0.023362 | -0.0058543 | 0.023375 | 0.0058591 | 1.3059e-05 | 4.8015e-06 | 0.035006 | 0.035006 | 0.035006 | 0.99302 | -0.048585 | 0.99359 | -0.044549 | 12.9654
30 | 0.012076 | 0.0030259 | -0.012074 | -0.0030254 | 1.3993e-06 | 4.496e-07 | 0.018095 | 0.018095 | 0.018095 | 0.99302 | -0.048585 | 0.9929 | -0.049423 | 6.7018
31 | 0.048192 | 0.01214 | -0.04805 | -0.012086 | 0.00014145 | 5.3861e-05 | 0.072806 | 0.072806 | 0.072806 | 0.98525 | -0.10274 | 0.98226 | -0.12379 | 26.9653
32 | -0.051265 | -0.01291 | 0.051395 | 0.012959 | 0.00013052 | 4.9756e-05 | 0.077447 | 0.077447 | 0.077447 | 0.98525 | -0.10274 | 0.98783 | -0.084572 | 28.6841
33 | 0.001929 | 0.00048285 | -0.0019287 | -0.00048339 | 2.6747e-07 | -5.402e-07 | 0.0029132 | 0.0029134 | 0.0029134 | 0.98525 | -0.10274 | 0.98511 | -0.10374 | 1.079
34 | 0.046557 | 0.011712 | -0.046536 | -0.011704 | 2.0963e-05 | 7.9773e-06 | 0.070543 | 0.070544 | 0.070544 | 0.98226 | -0.12379 | 0.98181 | -0.12702 | 26.1272
35 | -0.053039 | -0.013371 | 0.053167 | 0.01342 | 0.00012781 | 4.8748e-05 | 0.079922 | 0.079922 | 0.079922 | 0.98783 | -0.084572 | 0.99029 | -0.06741 | 29.6009
36 | 0.0016435 | 0.00041165 | -0.0016434 | -0.00041186 | 7.0609e-08 | -2.092e-07 | 0.0024756 | 0.0024756 | 0.0024756 | 0.98783 | -0.084572 | 0.98779 | -0.084882 | 0.9169
37 | 0.045553 | 0.011458 | -0.045502 | -0.011438 | 5.0731e-05 | 1.9296e-05 | 0.069054 | 0.069054 | 0.069054 | 0.98181 | -0.12702 | 0.98068 | -0.13502 | 25.5755
38 | -0.068011 | -0.01714 | 0.068159 | 0.017196 | 0.00014837 | 5.6771e-05 | 0.10223 | 0.10223 | 0.10223 | 0.99029 | -0.06741 | 0.99252 | -0.051861 | 37.8618
39 | 0.014844 | 0.0037199 | -0.014836 | -0.003717 | 8.4537e-06 | 2.9013e-06 | 0.022305 | 0.022305 | 0.022305 | 0.99029 | -0.06741 | 0.98971 | -0.071527 | 8.261
40 | 0.00084208 | 0.00021103 | -0.00084208 | -0.00021104 | 1.1264e-09 | -1.3927e-08 | 0.0012685 | 0.0012685 | 0.0012685 | 0.98779 | -0.084882 | 0.98779 | -0.084892 | 0.46982
41 | 0.043869 | 0.011029 | -0.043832 | -0.011015 | 3.6972e-05 | 1.4052e-05 | 0.066576 | 0.066576 | 0.066576 | 0.98068 | -0.13502 | 0.97983 | -0.14107 | 24.6577
42 | -0.069595 | -0.017556 | 0.06979 | 0.017631 | 0.00019537 | 7.4768e-05 | 0.10438 | 0.10438 | 0.10438 | 0.99252 | -0.051861 | 0.99539 | -0.031904 | 38.6589
43 | 0.042093 | 0.010579 | -0.042053 | -0.010564 | 4.0109e-05 | 1.5229e-05 | 0.063935 | 0.063935 | 0.063935 | 0.97983 | -0.14107 | 0.97886 | -0.14792 | 23.6797
44 | 0.027286 | 0.0068453 | -0.027239 | -0.0068275 | 4.7775e-05 | 1.7778e-05 | 0.040793 | 0.040793 | 0.040793 | 0.99539 | -0.031904 | 0.99359 | -0.044549 | 15.1085
45 | -0.032192 | -0.0080837 | 0.032209 | 0.0080901 | 1.6817e-05 | 6.3277e-06 | 0.049039 | 0.049039 | 0.049039 | 0.97693 | -0.16174 | 0.97745 | -0.15798 | 18.1626
46 | 0.0049087 | 0.0012297 | -0.0049082 | -0.0012297 | 4.3321e-07 | 8.3669e-10 | 0.0073577 | 0.0073577 | 0.0073577 | 0.9927 | -0.050819 | 0.99261 | -0.051457 | 2.7251
47 | -0.0081472 | -0.0020414 | 0.0081488 | 0.0020418 | 1.5742e-06 | 3.8672e-07 | 0.012212 | 0.012212 | 0.012212 | 0.9927 | -0.050819 | 0.9929 | -0.049423 | 4.523
48 | 0.0013564 | 0.00033956 | -0.0013564 | -0.00033993 | 7.9767e-08 | -3.6895e-07 | 0.0020333 | 0.0020334 | 0.0020334 | 0.99261 | -0.051457 | 0.99255 | -0.051882 | 0.75312
49 | 0.0039253 | 0.00098367 | -0.0039251 | -0.00098372 | 2.5695e-07 | -5.5059e-08 | 0.0058827 | 0.0058828 | 0.0058828 | 0.9929 | -0.049423 | 0.99284 | -0.049896 | 2.1788
50 | 0.036847 | 0.009259 | -0.036795 | -0.0092395 | 5.1502e-05 | 1.9478e-05 | 0.056021 | 0.056021 | 0.056021 | 0.97886 | -0.14792 | 0.97745 | -0.15798 | 20.7486

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10631 | 0.02665

## res_load
| p_mw | q_mvar
0 | 0.0010854 | 0.00027202
1 | 0.0037963 | 0.00095145
2 | 0.0013322 | 0.00033389
3 | 0.00059913 | 0.00015016
4 | 0.00090281 | 0.00022626
5 | 0.0046921 | 0.0011759
6 | 0.0047858 | 0.0011994
7 | 0.0015164 | 0.00038004
8 | 0.0034024 | 0.00085272
9 | 0.0029526 | 0.00073998
10 | 0.002641 | 0.00066189
11 | 0.0053485 | 0.0013405
12 | 0.0041661 | 0.0010441
13 | 0.0014143 | 0.00035445
14 | 0.00086911 | 0.00021782
15 | 0.0023898 | 0.00059894
16 | 0.0032084 | 0.00080411
17 | 0.0018205 | 0.00045625
18 | 0.0032604 | 0.00081714
19 | 0.0021949 | 0.00055009
20 | 0.0025575 | 0.00064098
21 | 0.0021083 | 0.0005284
22 | 0.0023029 | 0.00057715
23 | 0.0011439 | 0.00028669
24 | 0.0014937 | 0.00037437
25 | 0.0019287 | 0.00048339
26 | 0.00098291 | 0.00024634
27 | 0.00080133 | 0.00020083
28 | 0.0016333 | 0.00040934
29 | 0.0014356 | 0.0003598
30 | 0.0021936 | 0.00054977
31 | 0.00084208 | 0.00021104
32 | 0.0017388 | 0.00043579
33 | 0.0028188 | 0.00070645
34 | 0.0032385 | 0.00081166
35 | 0.0035518 | 0.00089017
36 | 0.0013564 | 0.00033993
37 | 0.0039251 | 0.00098372
38 | 0.0038639 | 0.00096838
39 | 0.001785 | 0.00044737
40 | 0.0052061 | 0.0013048
41 | 0.0045865 | 0.0011495

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1