## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1102-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1102-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1102-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1102-12_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1102-12_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1102-12_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1102-12_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1102-12_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1102-12_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1102-12_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1102-12_0_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1102-12_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_1102-12_0_3_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_1102-12_0_3_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_1102-12_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_1102-12_0_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_1102-12_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_1102-12_0_3_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1102-12_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1102-12_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1102-12_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1102-12_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1102-12_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1102-12_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_1102-12_0_3_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_1102-12_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1102-12_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1102-12_0_3_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_1102-12_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1102-12_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1102-12_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1102-12_0_3_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_1102-12_0_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_1102-12_0_3_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_1102-12_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1102-12_0_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_1102-12_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_1102-12_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1102-12_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1102-12_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1102-12_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1102-12_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1102-12_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_1102-12_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_MV_354_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1102-12_0_3_load_0 | 0 | 0.0038827 | 0.00097309 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1102-12_0_3_load_1 | 1 | 0.0047301 | 0.0011855 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1102-12_0_3_load_8 | 6 | 0.0039521 | 0.00099049 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1102-12_0_3_load_10 | 8 | 0.0034521 | 0.00086517 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1102-12_0_3_load_24 | 11 | 0.0022741 | 0.00056993 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1102-12_0_3_load_28 | 13 | 0.0066088 | 0.0016563 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1102-12_0_3_load_17 | 14 | 0.010082 | 0.0025268 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1102-12_0_3_load_23 | 15 | 0.0051692 | 0.0012955 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1102-12_0_3_load_25 | 17 | 0.012275 | 0.0030763 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1102-12_0_3_load_11 | 18 | 0.0027759 | 0.00069571 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1102-12_0_3_load_37 | 23 | 0.0014516 | 0.0003638 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1102-12_0_3_load_35 | 24 | 0.0011029 | 0.00027641 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1102-12_0_3_load_29 | 25 | 0.015927 | 0.0039918 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1102-12_0_3_load_34 | 27 | 0.0010441 | 0.00026169 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1102-12_0_3_load_18 | 28 | 0.0084406 | 0.0021154 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1102-12_0_3_load_20 | 29 | 0.0084853 | 0.0021266 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1102-12_0_3_load_45 | 31 | 0.00551 | 0.0013809 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1102-12_0_3_load_43 | 32 | 0.0050171 | 0.0012574 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1102-12_0_3_load_48 | 33 | 0.0049271 | 0.0012348 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1102-12_0_3_load_42 | 34 | 0.0046487 | 0.0011651 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1102-12_0_3_load_47 | 35 | 0.0049293 | 0.0012354 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1102-12_0_3_load_41 | 36 | 0.0013201 | 0.00033085 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1102-12_0_3_load_33 | 38 | 0.0081536 | 0.0020435 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1102-12_0_3_load_39 | 39 | 0.0011781 | 0.00029527 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1102-12_0_3_load_38 | 40 | 0.0019143 | 0.00047977 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1102-12_0_3_load_40 | 41 | 0.0016315 | 0.0004089 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1102-12_0_3_load_44 | 42 | 0.0054768 | 0.0013726 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1102-12_0_3_load_46 | 43 | 0.0050077 | 0.001255 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1102-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.004806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1102-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1102-12_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.027531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1102-12_0_3_line_3 | NAYY 4x150 SE | 3 | 7 | 0.09105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1102-12_0_3_line_4 | NAYY 4x150 SE | 3 | 6 | 0.018956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1102-12_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.023696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1102-12_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.0044156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1102-12_0_3_line_7 | NAYY 4x150 SE | 5 | 12 | 0.014461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1102-12_0_3_line_8 | NAYY 4x150 SE | 5 | 13 | 0.044294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1102-12_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.027135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1102-12_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.026702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1102-12_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.022862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1102-12_0_3_line_12 | NAYY 4x150 SE | 10 | 14 | 0.029602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1102-12_0_3_line_13 | NAYY 4x150 SE | 11 | 15 | 0.029279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1102-12_0_3_line_14 | NAYY 4x150 SE | 12 | 16 | 0.028859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1102-12_0_3_line_15 | NAYY 4x150 SE | 12 | 17 | 0.024807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1102-12_0_3_line_16 | NAYY 4x150 SE | 14 | 28 | 0.043851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1102-12_0_3_line_17 | NAYY 4x150 SE | 16 | 30 | 0.029566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1102-12_0_3_line_18 | NAYY 4x150 SE | 16 | 29 | 0.017351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1102-12_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.016062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1102-12_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.068367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1102-12_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.087325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1102-12_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.009961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1102-12_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.031503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1102-12_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.015322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1102-12_0_3_line_25 | NAYY 4x150 SE | 23 | 37 | 0.015816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1102-12_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.0070487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1102-12_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.012974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1102-12_0_3_line_28 | NAYY 4x150 SE | 26 | 37 | 0.004815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1102-12_0_3_line_29 | NAYY 4x150 SE | 26 | 38 | 0.031195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1102-12_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.036937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1102-12_0_3_line_31 | NAYY 4x150 SE | 30 | 33 | 0.012581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1102-12_0_3_line_32 | NAYY 4x150 SE | 30 | 34 | 0.016213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1102-12_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0091651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1102-12_0_3_line_34 | NAYY 4x150 SE | 32 | 42 | 0.013468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1102-12_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.010202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1102-12_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.024768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1102-12_0_3_line_37 | NAYY 4x150 SE | 35 | 43 | 0.013784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1102-12_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.012472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1102-12_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.022427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1102-12_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.014916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1102-12_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0075789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1102-12_0_3_line_42 | NAYY 4x150 SE | 42 | 43 | 0.0094907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1102-12_0_3_trafo_47 | 0.25 MVA 20/0.4 kV | 44 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2657270.0372 | 1220649.8722 | 2657274.8151 | 1220650.3911
1 | 2657256.8154 | 1220648.4363 | 2657270.0372 | 1220649.8722
2 | 2657256.8154 | 1220648.4363 | 2657257.606 | 1220634.8577 | 2657257.4794 | 1220633.0331 | 2657254.8403 | 1220627.382 | 2657260.182 | 1220624.9652
3 | 2657199.2415 | 1220651.2184 | 2657197.3715 | 1220659.4945 | 2657194.8278 | 1220662.8722 | 2657204.6225 | 1220664.4561 | 2657237.7543 | 1220637.6576 | 2657242.0287 | 1220634.9859 | 2657254.8403 | 1220627.382 | 2657260.182 | 1220624.9652
4 | 2657260.182 | 1220624.9652 | 2657277.5769 | 1220617.4315
5 | 2657303.3815 | 1220606.1354 | 2657281.6288 | 1220615.6766
6 | 2657281.6288 | 1220615.6766 | 2657277.5769 | 1220617.4315
7 | 2657310.1932 | 1220618.8977 | 2657306.0095 | 1220611.3528 | 2657303.3815 | 1220606.1354
8 | 2657303.3815 | 1220606.1354 | 2657333.6203 | 1220589.9051 | 2657342.9597 | 1220586.4018
9 | 2657199.2415 | 1220651.2184 | 2657200.6839 | 1220644.8172 | 2657203.2379 | 1220631.678 | 2657203.0651 | 1220624.492
10 | 2657308.2218 | 1220742.5554 | 2657334.8301 | 1220745.5799
11 | 2657308.2218 | 1220742.5554 | 2657309.7896 | 1220719.7471
12 | 2657334.8301 | 1220745.5799 | 2657333.0365 | 1220719.1018 | 2657333.066 | 1220716.0391
13 | 2657311.7974 | 1220690.5372 | 2657309.7896 | 1220719.7471
14 | 2657310.1932 | 1220618.8977 | 2657317.5294 | 1220618.1567 | 2657339.0992 | 1220618.1642
15 | 2657310.1932 | 1220618.8977 | 2657314.5695 | 1220629.2907 | 2657315.7558 | 1220632.9488 | 2657315.0917 | 1220642.6109
16 | 2657333.066 | 1220716.0391 | 2657333.3116 | 1220690.5312 | 2657334.394 | 1220672.221
17 | 2657365.2814 | 1220625.3095 | 2657356.3579 | 1220622.2773 | 2657351.4909 | 1220620.307 | 2657342.1782 | 1220615.1475 | 2657339.0992 | 1220618.1642
18 | 2657339.0992 | 1220618.1642 | 2657338.9508 | 1220623.3327 | 2657337.5651 | 1220635.4345
19 | 2657471.4047 | 1220519.5443 | 2657487.1913 | 1220518.9851 | 2657487.2506 | 1220518.7264
20 | 2657431.0195 | 1220561.9145 | 2657450.9786 | 1220555.8809 | 2657458.0686 | 1220554.7152 | 2657463.8139 | 1220552.1579 | 2657466.4001 | 1220549.1143 | 2657467.7402 | 1220543.1235 | 2657468.7959 | 1220534.3616 | 2657470.981 | 1220524.9213 | 2657471.4047 | 1220519.5443
21 | 2657431.0195 | 1220561.9145 | 2657451.4536 | 1220563.2679 | 2657462.4623 | 1220563.2851 | 2657463.9944 | 1220566.4797 | 2657466.3054 | 1220569.1592 | 2657469.2527 | 1220571.1444 | 2657470.5679 | 1220575.5932 | 2657472.4485 | 1220582.7713 | 2657475.6701 | 1220591.719 | 2657477.9055 | 1220609.2959 | 2657472.1491 | 1220610.6524
22 | 2657464.684 | 1220615.3166 | 2657470.8028 | 1220614.1527 | 2657472.1491 | 1220610.6524
23 | 2657464.684 | 1220615.3166 | 2657433.2113 | 1220616.6903
24 | 2657464.684 | 1220615.3166 | 2657467.8035 | 1220624.6191 | 2657466.3789 | 1220629.942
25 | 2657417.8252 | 1220620.1791 | 2657431.0973 | 1220616.7826 | 2657433.2113 | 1220616.6903
26 | 2657467.4284 | 1220636.9121 | 2657466.3789 | 1220629.942 | 2657466.3789 | 1220629.942
27 | 2657417.0061 | 1220615.4349 | 2657423.3153 | 1220614.1838 | 2657429.8521 | 1220613.9195
28 | 2657417.8252 | 1220620.1791 | 2657417.0061 | 1220615.4349
29 | 2657391.7349 | 1220608.2314 | 2657399.1274 | 1220618.9648 | 2657417.0061 | 1220615.4349
30 | 2657334.394 | 1220672.221 | 2657335.5048 | 1220653.4293 | 2657337.5651 | 1220635.4345
31 | 2657365.2814 | 1220625.3095 | 2657367.0448 | 1220633.6317 | 2657367.5342 | 1220637.6764
32 | 2657365.2814 | 1220625.3095 | 2657380.9297 | 1220627.2614 | 2657381.3711 | 1220627.222
33 | 2657373.1732 | 1220684.2818 | 2657374.2741 | 1220693.3806
34 | 2657373.1732 | 1220684.2818 | 2657371.5555 | 1220670.9114
35 | 2657367.5342 | 1220637.6764 | 2657368.7597 | 1220647.8048
36 | 2657405.7404 | 1220623.2627 | 2657394.9853 | 1220626.0071 | 2657381.3711 | 1220627.222
37 | 2657370.4155 | 1220661.4895 | 2657368.7597 | 1220647.8048
38 | 2657417.8252 | 1220620.1791 | 2657405.7404 | 1220623.2627
39 | 2657417.8252 | 1220620.1791 | 2657419.4024 | 1220627.3543 | 2657421.1524 | 1220642.3328
40 | 2657422.8833 | 1220657.1481 | 2657421.1524 | 1220642.3328
41 | 2657422.8833 | 1220657.1481 | 2657423.7628 | 1220664.6758
42 | 2657370.4155 | 1220661.4895 | 2657371.5555 | 1220670.9114

## bus_geodata
| x | y | coords
0 | 2657270.0372 | 1220649.8722
1 | 2657274.8151 | 1220650.3911
2 | 2657256.8154 | 1220648.4363
3 | 2657260.182 | 1220624.9652
4 | 2657281.6288 | 1220615.6766
5 | 2657303.3815 | 1220606.1354
6 | 2657277.5769 | 1220617.4315
7 | 2657199.2415 | 1220651.2184
8 | 2657203.0651 | 1220624.492
9 | 2657308.2218 | 1220742.5554
10 | 2657334.8301 | 1220745.5799
11 | 2657309.7896 | 1220719.7471
12 | 2657310.1932 | 1220618.8977
13 | 2657342.9597 | 1220586.4018
14 | 2657333.066 | 1220716.0391
15 | 2657311.7974 | 1220690.5372
16 | 2657339.0992 | 1220618.1642
17 | 2657315.0917 | 1220642.6109
18 | 2657487.2506 | 1220518.7264
19 | 2657471.4047 | 1220519.5443
20 | 2657431.0195 | 1220561.9145
21 | 2657472.1491 | 1220610.6524
22 | 2657464.684 | 1220615.3166
23 | 2657433.2113 | 1220616.6903
24 | 2657466.3789 | 1220629.942
25 | 2657429.8521 | 1220613.9195
26 | 2657417.0061 | 1220615.4349
27 | 2657467.4284 | 1220636.9121
28 | 2657334.394 | 1220672.221
29 | 2657337.5651 | 1220635.4345
30 | 2657365.2814 | 1220625.3095
31 | 2657374.2741 | 1220693.3806
32 | 2657373.1732 | 1220684.2818
33 | 2657367.5342 | 1220637.6764
34 | 2657381.3711 | 1220627.222
35 | 2657368.7597 | 1220647.8048
36 | 2657405.7404 | 1220623.2627
37 | 2657417.8252 | 1220620.1791
38 | 2657391.7349 | 1220608.2314
39 | 2657421.1524 | 1220642.3328
40 | 2657422.8833 | 1220657.1481
41 | 2657423.7628 | 1220664.6758
42 | 2657371.5555 | 1220670.9114
43 | 2657370.4155 | 1220661.4895
44 | 2657365.2814 | 1220625.3095

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99182 | -0.057399 | 0.0038827 | 0.00097309
1 | 0.99178 | -0.05763 | 0.0047301 | 0.0011855
2 | 0.99198 | -0.056237 | 0 | 0
3 | 0.99232 | -0.053832 | 0 | 0
4 | 0.99275 | -0.050795 | 0 | 0
5 | 0.9933 | -0.046949 | 0 | 0
6 | 0.99265 | -0.051512 | 0.0039521 | 0.00099049
7 | 0.99187 | -0.057026 | 0 | 0
8 | 0.99174 | -0.057976 | 0.0034521 | 0.00086517
9 | 0.99127 | -0.061249 | 0 | 0
10 | 0.99156 | -0.059229 | 0 | 0
11 | 0.99102 | -0.062979 | 0.0022741 | 0.00056993
12 | 0.99377 | -0.043637 | 0 | 0
13 | 0.99288 | -0.049912 | 0.0066088 | 0.0016563
14 | 0.99187 | -0.05699 | 0.010082 | 0.0025268
15 | 0.99081 | -0.064517 | 0.0051692 | 0.0012955
16 | 0.99521 | -0.033464 | 0 | 0
17 | 0.99333 | -0.046716 | 0.012275 | 0.0030763
18 | 0.99419 | -0.040755 | 0.0027759 | 0.00069571
19 | 0.99425 | -0.040305 | 0 | 0
20 | 0.99453 | -0.038386 | 0 | 0
21 | 0.99487 | -0.03593 | 0 | 0
22 | 0.99491 | -0.035649 | 0 | 0
23 | 0.99513 | -0.034079 | 0.0014516 | 0.0003638
24 | 0.99487 | -0.035981 | 0.0011029 | 0.00027641
25 | 0.99482 | -0.036312 | 0.015927 | 0.0039918
26 | 0.99511 | -0.034228 | 0 | 0
27 | 0.99485 | -0.036055 | 0.0010441 | 0.00026169
28 | 0.99298 | -0.049197 | 0.0084406 | 0.0021154
29 | 0.99436 | -0.039497 | 0.0084853 | 0.0021266
30 | 0.99816 | -0.012848 | 0 | 0
31 | 0.9991 | -0.0063322 | 0.00551 | 0.0013809
32 | 0.99917 | -0.0058273 | 0.0050171 | 0.0012574
33 | 0.99916 | -0.0058864 | 0.0049271 | 0.0012348
34 | 0.9972 | -0.019544 | 0.0046487 | 0.0011651
35 | 1 | 0 | -0.13795 | -0.034457
36 | 0.99591 | -0.028637 | 0.0013201 | 0.00033085
37 | 0.99528 | -0.03306 | 0 | 0
38 | 0.99475 | -0.036793 | 0.0081536 | 0.0020435
39 | 0.99513 | -0.034128 | 0.0011781 | 0.00029527
40 | 0.99505 | -0.034661 | 0.0019143 | 0.00047977
41 | 0.99503 | -0.034786 | 0.0016315 | 0.0004089
42 | 0.99937 | -0.0044101 | 0.0054768 | 0.0013726
43 | 0.99959 | -0.0028923 | 0.0050077 | 0.001255
44 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0047302 | 0.0011855 | -0.0047301 | -0.0011855 | 1.5104e-07 | -3.9299e-09 | 0.0070967 | 0.0070968 | 0.0070968 | 0.99182 | -0.057399 | 0.99178 | -0.05763 | 2.6284
1 | -0.0086129 | -0.0021586 | 0.0086143 | 0.0021589 | 1.3857e-06 | 3.613e-07 | 0.012922 | 0.012922 | 0.012922 | 0.99182 | -0.057399 | 0.99198 | -0.056237 | 4.7859
2 | -0.0086143 | -0.0021589 | 0.0086172 | 0.0021597 | 2.8684e-06 | 7.4771e-07 | 0.012922 | 0.012922 | 0.012922 | 0.99198 | -0.056237 | 0.99232 | -0.053832 | 4.7859
3 | 0.003454 | 0.0008644 | -0.0034525 | -0.00086499 | 1.524e-06 | -5.8954e-07 | 0.005179 | 0.0051794 | 0.0051794 | 0.99232 | -0.053832 | 0.99187 | -0.057026 | 1.9183
4 | -0.012071 | -0.0030241 | 0.012075 | 0.0030253 | 3.8755e-06 | 1.2456e-06 | 0.018101 | 0.018101 | 0.018101 | 0.99232 | -0.053832 | 0.99265 | -0.051512 | 6.704
5 | -0.016029 | -0.0040164 | 0.016037 | 0.0040193 | 8.5346e-06 | 2.976e-06 | 0.024025 | 0.024025 | 0.024025 | 0.99275 | -0.050795 | 0.9933 | -0.046949 | 8.8981
6 | 0.016029 | 0.0040164 | -0.016027 | -0.0040158 | 1.5904e-06 | 5.5459e-07 | 0.024025 | 0.024025 | 0.024025 | 0.99275 | -0.050795 | 0.99265 | -0.051512 | 8.8981
7 | -0.022649 | -0.0056761 | 0.022659 | 0.0056799 | 1.0388e-05 | 3.8081e-06 | 0.033929 | 0.033929 | 0.033929 | 0.9933 | -0.046949 | 0.99377 | -0.043637 | 12.5663
8 | 0.0066115 | 0.0016568 | -0.0066088 | -0.0016563 | 2.7114e-06 | 4.6973e-07 | 0.0099043 | 0.0099045 | 0.0099045 | 0.9933 | -0.046949 | 0.99288 | -0.049912 | 3.6683
9 | 0.0034525 | 0.00086499 | -0.0034521 | -0.00086517 | 4.5424e-07 | -1.7547e-07 | 0.0051794 | 0.0051795 | 0.0051795 | 0.99187 | -0.057026 | 0.99174 | -0.057976 | 1.9183
10 | -0.0074461 | -0.0018659 | 0.0074482 | 0.0018663 | 2.0817e-06 | 4.5632e-07 | 0.011177 | 0.011177 | 0.011177 | 0.99127 | -0.061249 | 0.99156 | -0.059229 | 4.1398
11 | 0.0074461 | 0.0018659 | -0.0074444 | -0.0018655 | 1.7823e-06 | 3.9087e-07 | 0.011177 | 0.011178 | 0.011178 | 0.99127 | -0.061249 | 0.99102 | -0.062979 | 4.1398
12 | -0.0074482 | -0.0018663 | 0.0074505 | 0.0018669 | 2.3077e-06 | 5.0562e-07 | 0.011177 | 0.011177 | 0.011177 | 0.99156 | -0.059229 | 0.99187 | -0.05699 | 4.1398
13 | 0.0051703 | 0.0012956 | -0.0051692 | -0.0012955 | 1.1011e-06 | 4.6317e-08 | 0.0077631 | 0.0077632 | 0.0077632 | 0.99102 | -0.062979 | 0.99081 | -0.064517 | 2.8753
14 | -0.034939 | -0.0087579 | 0.034988 | 0.0087765 | 4.9288e-05 | 1.8582e-05 | 0.052316 | 0.052316 | 0.052316 | 0.99377 | -0.043637 | 0.99521 | -0.033464 | 19.3764
15 | 0.01228 | 0.003078 | -0.012274 | -0.0030763 | 5.2336e-06 | 1.6916e-06 | 0.018387 | 0.018387 | 0.018387 | 0.99377 | -0.043637 | 0.99333 | -0.046716 | 6.8101
16 | -0.017533 | -0.0043937 | 0.017552 | 0.0044004 | 1.893e-05 | 6.7143e-06 | 0.026303 | 0.026302 | 0.026303 | 0.99187 | -0.05699 | 0.99298 | -0.049197 | 9.7417
17 | -0.06953 | -0.017443 | 0.069729 | 0.017519 | 0.00019941 | 7.6311e-05 | 0.10396 | 0.10396 | 0.10396 | 0.99521 | -0.033464 | 0.99816 | -0.012848 | 38.5054
18 | 0.034541 | 0.0086663 | -0.034512 | -0.0086554 | 2.8883e-05 | 1.0883e-05 | 0.051649 | 0.051649 | 0.051649 | 0.99521 | -0.033464 | 0.99436 | -0.039497 | 19.1291
19 | -0.0027759 | -0.00069571 | 0.0027761 | 0.00069557 | 1.7301e-07 | -1.4175e-07 | 0.0041547 | 0.0041547 | 0.0041547 | 0.99419 | -0.040755 | 0.99425 | -0.040305 | 1.5388
20 | -0.0027761 | -0.00069557 | 0.0027768 | 0.00069496 | 7.3633e-07 | -6.0369e-07 | 0.0041547 | 0.0041544 | 0.0041547 | 0.99425 | -0.040305 | 0.99453 | -0.038386 | 1.5388
21 | -0.0027768 | -0.00069496 | 0.0027778 | 0.00069419 | 9.4034e-07 | -7.7185e-07 | 0.0041544 | 0.004154 | 0.0041544 | 0.99453 | -0.038386 | 0.99487 | -0.03593 | 1.5386
22 | -0.0027778 | -0.00069419 | 0.0027779 | 0.0006941 | 1.0725e-07 | -8.8099e-08 | 0.004154 | 0.0041539 | 0.004154 | 0.99487 | -0.03593 | 0.99491 | -0.035649 | 1.5385
23 | -0.004925 | -0.0012319 | 0.0049261 | 0.0012319 | 1.0663e-06 | 9.296e-10 | 0.0073651 | 0.007365 | 0.0073651 | 0.99491 | -0.035649 | 0.99513 | -0.034079 | 2.7278
24 | 0.0021471 | 0.00053785 | -0.002147 | -0.00053801 | 9.8592e-08 | -1.6104e-07 | 0.0032112 | 0.0032113 | 0.0032113 | 0.99491 | -0.035649 | 0.99487 | -0.035981 | 1.1894
25 | -0.0063776 | -0.0015957 | 0.0063785 | 0.0015959 | 8.9734e-07 | 1.3963e-07 | 0.0095355 | 0.0095354 | 0.0095355 | 0.99513 | -0.034079 | 0.99528 | -0.03306 | 3.5317
26 | 0.0010441 | 0.0002616 | -0.0010441 | -0.00026169 | 1.0727e-08 | -8.7399e-08 | 0.0015617 | 0.0015617 | 0.0015617 | 0.99487 | -0.035981 | 0.99485 | -0.036055 | 0.57842
27 | -0.015927 | -0.0039918 | 0.015932 | 0.0039934 | 4.5949e-06 | 1.5988e-06 | 0.023824 | 0.023824 | 0.023824 | 0.99482 | -0.036312 | 0.99511 | -0.034228 | 8.8235
28 | -0.024088 | -0.0060376 | 0.024092 | 0.006039 | 3.8983e-06 | 1.4368e-06 | 0.03602 | 0.03602 | 0.03602 | 0.99511 | -0.034228 | 0.99528 | -0.03306 | 13.3408
29 | 0.0081565 | 0.0020442 | -0.0081536 | -0.0020435 | 2.8957e-06 | 7.0862e-07 | 0.012197 | 0.012197 | 0.012197 | 0.99511 | -0.034228 | 0.99475 | -0.036793 | 4.5173
30 | -0.025992 | -0.0065158 | 0.026027 | 0.0065288 | 3.4969e-05 | 1.2971e-05 | 0.038951 | 0.038951 | 0.038951 | 0.99298 | -0.049197 | 0.99436 | -0.039497 | 14.4263
31 | -0.111 | -0.027874 | 0.11111 | 0.027915 | 0.00010751 | 4.1019e-05 | 0.16549 | 0.16549 | 0.16549 | 0.99816 | -0.012848 | 0.99916 | -0.0058864 | 30.6468
32 | 0.041271 | 0.010355 | -0.041232 | -0.01034 | 3.83e-05 | 1.4519e-05 | 0.061528 | 0.061529 | 0.061529 | 0.99816 | -0.012848 | 0.9972 | -0.019544 | 22.7883
33 | -0.00551 | -0.0013809 | 0.0055104 | 0.001381 | 3.8514e-07 | 2.81e-08 | 0.0082063 | 0.0082063 | 0.0082063 | 0.9991 | -0.0063322 | 0.99917 | -0.0058273 | 3.0394
34 | -0.010527 | -0.0026384 | 0.01053 | 0.002639 | 2.0657e-06 | 6.1807e-07 | 0.015678 | 0.015678 | 0.015678 | 0.99917 | -0.0058273 | 0.99937 | -0.0044101 | 5.8067
35 | -0.11603 | -0.029149 | 0.11613 | 0.029186 | 9.5081e-05 | 3.6302e-05 | 0.17283 | 0.17283 | 0.17283 | 0.99916 | -0.0058864 | 1 | 0 | 32.0057
36 | 0.036584 | 0.009175 | -0.036537 | -0.0091576 | 4.6061e-05 | 1.7393e-05 | 0.054592 | 0.054592 | 0.054592 | 0.9972 | -0.019544 | 0.99591 | -0.028637 | 20.2192
37 | 0.021026 | 0.0052709 | -0.021017 | -0.0052678 | 8.4199e-06 | 3.0577e-06 | 0.031287 | 0.031287 | 0.031287 | 1 | 0 | 0.99959 | -0.0028923 | 11.5879
38 | 0.035217 | 0.0088267 | -0.035196 | -0.0088186 | 2.1548e-05 | 8.1257e-06 | 0.052619 | 0.05262 | 0.05262 | 0.99591 | -0.028637 | 0.99528 | -0.03306 | 19.4887
39 | 0.0047249 | 0.0011837 | -0.0047242 | -0.0011837 | 6.9833e-07 | -2.2823e-08 | 0.007064 | 0.0070641 | 0.0070641 | 0.99528 | -0.03306 | 0.99513 | -0.034128 | 2.6163
40 | 0.0035461 | 0.00088848 | -0.0035458 | -0.00088857 | 2.6169e-07 | -9.3121e-08 | 0.0053024 | 0.0053025 | 0.0053025 | 0.99513 | -0.034128 | 0.99505 | -0.034661 | 1.9639
41 | 0.0016315 | 0.00040881 | -0.0016315 | -0.0004089 | 2.8152e-08 | -8.7618e-08 | 0.0024398 | 0.0024398 | 0.0024398 | 0.99505 | -0.034661 | 0.99503 | -0.034786 | 0.90364
42 | -0.016006 | -0.0040116 | 0.01601 | 0.0040128 | 3.3638e-06 | 1.1694e-06 | 0.023833 | 0.023833 | 0.023833 | 0.99937 | -0.0044101 | 0.99959 | -0.0028923 | 8.8269

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14288 | 0.035692

## res_load
| p_mw | q_mvar
0 | 0.0038827 | 0.00097309
1 | 0.0047301 | 0.0011855
2 | 0.0039521 | 0.00099049
3 | 0.0034521 | 0.00086517
4 | 0.0022741 | 0.00056993
5 | 0.0066088 | 0.0016563
6 | 0.010082 | 0.0025268
7 | 0.0051692 | 0.0012955
8 | 0.012275 | 0.0030763
9 | 0.0027759 | 0.00069571
10 | 0.0014516 | 0.0003638
11 | 0.0011029 | 0.00027641
12 | 0.015927 | 0.0039918
13 | 0.0010441 | 0.00026169
14 | 0.0084406 | 0.0021154
15 | 0.0084853 | 0.0021266
16 | 0.00551 | 0.0013809
17 | 0.0050171 | 0.0012574
18 | 0.0049271 | 0.0012348
19 | 0.0046487 | 0.0011651
20 | 0.0049293 | 0.0012354
21 | 0.0013201 | 0.00033085
22 | 0.0081536 | 0.0020435
23 | 0.0011781 | 0.00029527
24 | 0.0019143 | 0.00047977
25 | 0.0016315 | 0.0004089
26 | 0.0054768 | 0.0013726
27 | 0.0050077 | 0.001255

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1