## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1102-13_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1102-13_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1102-13_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1102-13_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1102-13_0_6_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_1102-13_0_6_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_1102-13_0_6_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_1102-13_0_6_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_1102-13_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1102-13_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1102-13_0_6_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_1102-13_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1102-13_0_6_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_1102-13_0_6_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1102-13_0_6_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_1102-13_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1102-13_0_6_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_1102-13_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1102-13_0_6_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1102-13_0_6_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1102-13_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1102-13_0_6_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1102-13_0_6_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_1102-13_0_6_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_1102-13_0_6_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_1102-13_0_6_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_1102-13_0_6_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1102-13_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1102-13_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1102-13_0_6_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1102-13_0_6_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_1102-13_0_6_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_1102-13_0_6_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_1102-13_0_6_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_1102-13_0_6_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1102-13_0_6_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_1102-13_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1102-13_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1102-13_0_6_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_1102-13_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1102-13_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1102-13_0_6_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_1102-13_0_6_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1102-13_0_6_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_1102-13_0_6_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_1102-13_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1102-13_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1102-13_0_6_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1102-13_0_6_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1102-13_0_6_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_1102-13_0_6_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_1102-13_0_6_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_1102-13_0_6_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_1102-13_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_MV_354_0_node_232 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1102-13_0_6_load_0 | 0 | 0.035133 | 0.0088052 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1102-13_0_6_load_60 | 5 | 0.0072706 | 0.0018222 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1102-13_0_6_load_46 | 6 | 0.0018561 | 0.00046519 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1102-13_0_6_load_40 | 10 | 0.0025192 | 0.00063137 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1102-13_0_6_load_35 | 12 | 0.0060745 | 0.0015224 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1102-13_0_6_load_34 | 13 | 0.0017701 | 0.00044363 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1102-13_0_6_load_58 | 14 | 0.0017682 | 0.00044315 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1102-13_0_6_load_33 | 16 | 0.0011813 | 0.00029606 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1102-13_0_6_load_31 | 18 | 0.0014423 | 0.00036148 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1102-13_0_6_load_32 | 19 | 0.0041958 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1102-13_0_6_load_53 | 22 | 0.0027302 | 0.00068425 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1102-13_0_6_load_47 | 23 | 0.010102 | 0.0025319 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1102-13_0_6_load_45 | 25 | 0.0078722 | 0.001973 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1102-13_0_6_load_44 | 26 | 0.0044139 | 0.0011062 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1102-13_0_6_load_29 | 29 | 0.0011802 | 0.00029579 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1102-13_0_6_load_12 | 30 | 0.016806 | 0.004212 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1102-13_0_6_load_50 | 33 | 0.010743 | 0.0026926 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1102-13_0_6_load_51 | 35 | 0.003187 | 0.00079874 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1102-13_0_6_load_41 | 38 | 0.0021624 | 0.00054196 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1102-13_0_6_load_37 | 39 | 0.008235 | 0.0020639 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1102-13_0_6_load_36 | 40 | 0.0021055 | 0.00052768 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1102-13_0_6_load_59 | 41 | 0.064463 | 0.016156 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1102-13_0_6_load_52 | 44 | 0.0034231 | 0.00085791 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1102-13_0_6_load_30 | 45 | 0.0012545 | 0.0003144 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1102-13_0_6_load_42 | 46 | 0.0024126 | 0.00060466 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1102-13_0_6_load_54 | 48 | 0.0038059 | 0.00095384 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1102-13_0_6_load_39 | 50 | 0.0020199 | 0.00050622 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1102-13_0_6_load_57 | 51 | 0.020675 | 0.0051817 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1102-13_0_6_load_56 | 52 | 0.0074692 | 0.001872 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1102-13_0_6_load_43 | 53 | 0.0019724 | 0.00049432 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1102-13_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1102-13_0_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.031406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1102-13_0_6_line_2 | NAYY 4x150 SE | 2 | 6 | 0.017577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1102-13_0_6_line_3 | NAYY 4x150 SE | 2 | 7 | 0.016641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1102-13_0_6_line_4 | NAYY 4x150 SE | 3 | 4 | 0.07239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1102-13_0_6_line_5 | NAYY 4x150 SE | 3 | 5 | 0.00059991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1102-13_0_6_line_6 | NAYY 4x150 SE | 4 | 16 | 0.018184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1102-13_0_6_line_7 | NAYY 4x150 SE | 5 | 20 | 0.02052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1102-13_0_6_line_8 | NAYY 4x150 SE | 6 | 21 | 0.02803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1102-13_0_6_line_9 | NAYY 4x150 SE | 7 | 22 | 0.015637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1102-13_0_6_line_10 | NAYY 4x150 SE | 8 | 9 | 0.069371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_1102-13_0_6_line_11 | NAYY 4x150 SE | 8 | 10 | 0.030998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_1102-13_0_6_line_12 | NAYY 4x150 SE | 9 | 14 | 0.034935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_1102-13_0_6_line_13 | NAYY 4x150 SE | 9 | 11 | 0.077382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1102-13_0_6_line_14 | NAYY 4x150 SE | 10 | 27 | 0.0084161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_1102-13_0_6_line_15 | NAYY 4x150 SE | 11 | 12 | 0.026996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1102-13_0_6_line_16 | NAYY 4x150 SE | 11 | 13 | 0.048875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1102-13_0_6_line_17 | NAYY 4x150 SE | 14 | 28 | 0.0069406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1102-13_0_6_line_18 | NAYY 4x150 SE | 15 | 16 | 0.007533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1102-13_0_6_line_19 | NAYY 4x150 SE | 15 | 17 | 0.033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1102-13_0_6_line_20 | NAYY 4x150 SE | 15 | 18 | 0.011659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1102-13_0_6_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0081985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1102-13_0_6_line_22 | NAYY 4x150 SE | 18 | 29 | 0.020027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1102-13_0_6_line_23 | NAYY 4x150 SE | 20 | 24 | 0.006066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1102-13_0_6_line_24 | NAYY 4x150 SE | 21 | 27 | 0.24666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1102-13_0_6_line_25 | NAYY 4x150 SE | 21 | 26 | 0.013757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1102-13_0_6_line_26 | NAYY 4x150 SE | 22 | 44 | 0.013922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1102-13_0_6_line_27 | NAYY 4x150 SE | 23 | 24 | 0.017779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1102-13_0_6_line_28 | NAYY 4x150 SE | 24 | 43 | 0.01595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1102-13_0_6_line_29 | NAYY 4x150 SE | 25 | 26 | 0.02034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1102-13_0_6_line_30 | NAYY 4x150 SE | 28 | 41 | 0.050549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1102-13_0_6_line_31 | NAYY 4x150 SE | 28 | 37 | 0.15012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1102-13_0_6_line_32 | NAYY 4x150 SE | 29 | 45 | 0.019873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1102-13_0_6_line_33 | NAYY 4x150 SE | 30 | 31 | 0.02357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1102-13_0_6_line_34 | NAYY 4x150 SE | 31 | 32 | 0.046091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1102-13_0_6_line_35 | NAYY 4x150 SE | 32 | 33 | 0.029362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1102-13_0_6_line_36 | NAYY 4x150 SE | 33 | 34 | 0.016384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1102-13_0_6_line_37 | NAYY 4x150 SE | 34 | 35 | 0.02412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1102-13_0_6_line_38 | NAYY 4x150 SE | 35 | 43 | 0.01292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1102-13_0_6_line_39 | NAYY 4x150 SE | 36 | 37 | 0.082936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1102-13_0_6_line_40 | NAYY 4x150 SE | 36 | 38 | 0.015452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1102-13_0_6_line_41 | NAYY 4x150 SE | 37 | 39 | 0.029569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1102-13_0_6_line_42 | NAYY 4x150 SE | 37 | 40 | 0.014023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1102-13_0_6_line_43 | NAYY 4x150 SE | 38 | 46 | 0.032138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1102-13_0_6_line_44 | NAYY 4x150 SE | 39 | 47 | 0.042584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1102-13_0_6_line_45 | NAYY 4x150 SE | 42 | 43 | 0.002924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1102-13_0_6_line_46 | NAYY 4x150 SE | 42 | 44 | 0.010375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1102-13_0_6_line_47 | NAYY 4x150 SE | 46 | 53 | 0.0139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1102-13_0_6_line_48 | NAYY 4x150 SE | 47 | 50 | 0.0042163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1102-13_0_6_line_49 | NAYY 4x150 SE | 48 | 49 | 0.014929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1102-13_0_6_line_50 | NAYY 4x150 SE | 49 | 51 | 0.0049148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1102-13_0_6_line_51 | NAYY 4x150 SE | 49 | 52 | 0.017998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1102-13_0_6_line_52 | NAYY 4x150 SE | 50 | 52 | 0.00047464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1102-13_0_6_trafo_6 | 0.25 MVA 20/0.4 kV | 54 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2657018.6485 | 1220752.7284 | 2657014.9733 | 1220753.0601 | 2656991.9469 | 1220742.3215
1 | 2657018.6485 | 1220752.7284 | 2657047.6881 | 1220764.8916
2 | 2657047.6881 | 1220764.8916 | 2657049.6268 | 1220776.3506 | 2657050.6699 | 1220782.2142
3 | 2657062.585 | 1220772.3945 | 2657047.6881 | 1220764.8916
4 | 2657034.5452 | 1220717.6254 | 2657029.1681 | 1220715.0502 | 2657002.6221 | 1220702.3105 | 2656994.3903 | 1220698.3515 | 2656985.6297 | 1220694.154 | 2656979.2502 | 1220690.8688 | 2656969.2287 | 1220686.0255
5 | 2657035.0874 | 1220717.8823 | 2657034.5452 | 1220717.6254
6 | 2656969.2287 | 1220686.0255 | 2656970.2923 | 1220681.1215 | 2656968.75 | 1220671.8233 | 2656969.6105 | 1220668.1833
7 | 2657053.6306 | 1220726.6693 | 2657035.0874 | 1220717.8823
8 | 2657056.105 | 1220809.7111 | 2657051.7289 | 1220788.167 | 2657050.6699 | 1220782.2142
9 | 2657062.585 | 1220772.3945 | 2657067.3002 | 1220759.3315 | 2657066.2973 | 1220757.8988 | 2657066.2973 | 1220757.8988
10 | 2656930.0776 | 1220978.3548 | 2656942.9859 | 1220961.3231 | 2656955.0872 | 1220970.7557 | 2656961.0851 | 1220947.2874 | 2656967.9073 | 1220942.3273
11 | 2656967.9073 | 1220942.3273 | 2656979.8779 | 1220953.5376 | 2656991.599 | 1220962.2394
12 | 2656930.0776 | 1220978.3548 | 2656935.9095 | 1220984.1363 | 2656954.8855 | 1221002.9515
13 | 2656873.5848 | 1220925.4936 | 2656879.1955 | 1220930.617 | 2656913.3635 | 1220961.7848 | 2656923.3364 | 1220971.6751 | 2656930.0776 | 1220978.3548
14 | 2656998.3565 | 1220967.2561 | 2656991.599 | 1220962.2394
15 | 2656873.5848 | 1220925.4936 | 2656875.3298 | 1220923.1088 | 2656889.5212 | 1220903.7038
16 | 2656873.5848 | 1220925.4936 | 2656862.3107 | 1220915.213 | 2656853.3316 | 1220919.619 | 2656837.8258 | 1220937.4308
17 | 2656959.2722 | 1221008.3301 | 2656954.8855 | 1221002.9515
18 | 2656971.3435 | 1220660.8524 | 2656969.6105 | 1220668.1833
19 | 2656971.3435 | 1220660.8524 | 2656951.0208 | 1220661.3584 | 2656946.3037 | 1220656.388 | 2656940.4854 | 1220656.2991
20 | 2656971.3435 | 1220660.8524 | 2656978.6861 | 1220653.0844 | 2656979.3207 | 1220652.3512
21 | 2656940.4854 | 1220656.2991 | 2656938.3236 | 1220648.3907
22 | 2656991.9402 | 1220636.8557 | 2656990.1477 | 1220639.8414 | 2656979.3207 | 1220652.3512
23 | 2657059.0903 | 1220729.3455 | 2657053.6306 | 1220726.6693
24 | 2656998.3565 | 1220967.2561 | 2657024.1375 | 1220993.1967 | 2657028.8362 | 1220988.9612 | 2657038.2421 | 1220981.1909 | 2657046.6885 | 1220974.5788 | 2657051.676 | 1220972.6698 | 2657050.4405 | 1220968.5887 | 2657058.4043 | 1220966.4303 | 2657063.0163 | 1220963.3281 | 2657065.9803 | 1220958.8315 | 2657067.6798 | 1220954.067 | 2657067.794 | 1220949.2763 | 2657066.3945 | 1220944.1041 | 2657063.7677 | 1220938.7534 | 2657058.9091 | 1220928.0002 | 2657060.9405 | 1220925.0178 | 2657059.9116 | 1220912.0555 | 2657058.8703 | 1220901.1721 | 2657057.9313 | 1220848.7306 | 2657057.8166 | 1220844.8604 | 2657057.2178 | 1220824.2197 | 2657056.105 | 1220809.7111
25 | 2657056.105 | 1220809.7111 | 2657042.3538 | 1220809.295
26 | 2657072.9816 | 1220747.3414 | 2657070.7009 | 1220754.3944 | 2657067.747 | 1220754.6663 | 2657066.2973 | 1220757.8988
27 | 2657059.0903 | 1220729.3455 | 2657053.6598 | 1220746.275
28 | 2657059.0903 | 1220729.3455 | 2657073.577 | 1220736.1106
29 | 2657042.3538 | 1220809.295 | 2657029.2253 | 1220808.8978 | 2657022.0448 | 1220809.4959
30 | 2656959.2722 | 1221008.3301 | 2656947.8121 | 1221019.1162 | 2656946.3811 | 1221027.541 | 2656937.7949 | 1221030.5386 | 2656920.6736 | 1221032.7764
31 | 2656954.933 | 1221065.4129 | 2656952.1548 | 1221062.4067 | 2656945.3634 | 1221066.5333 | 2656923.6802 | 1221084.1148 | 2656920.1052 | 1221081.1343 | 2656977.6582 | 1221030.9199 | 2656959.2722 | 1221008.3301
32 | 2656991.9402 | 1220636.8557 | 2657002.1689 | 1220619.8178
33 | 2657065.7153 | 1220642.077 | 2657068.9749 | 1220626.532 | 2657072.6725 | 1220619.7924
34 | 2657101.1388 | 1220668.1881 | 2657088.9499 | 1220665.4696 | 2657077.2194 | 1220658.464 | 2657065.7153 | 1220642.077
35 | 2657101.1388 | 1220668.1881 | 2657097.8996 | 1220676.8513 | 2657091.2134 | 1220684.1918 | 2657082.1183 | 1220688.7742
36 | 2657089.8172 | 1220703.2124 | 2657086.6044 | 1220698.0451 | 2657082.1183 | 1220688.7742
37 | 2657089.8172 | 1220703.2124 | 2657087.7478 | 1220704.6046 | 2657078.8768 | 1220724.3275
38 | 2657073.577 | 1220736.1106 | 2657078.8768 | 1220724.3275
39 | 2656891.4771 | 1221112.5804 | 2656917.7893 | 1221089.2839 | 2656923.6802 | 1221084.1148 | 2656945.3634 | 1221066.5333 | 2656952.1548 | 1221062.4067 | 2656954.933 | 1221065.4129
40 | 2656891.4771 | 1221112.5804 | 2656880.3252 | 1221101.8851
41 | 2656954.933 | 1221065.4129 | 2656974.4971 | 1221087.5841
42 | 2656954.933 | 1221065.4129 | 2656959.0443 | 1221063.0952 | 2656965.8285 | 1221058.9242 | 2656967.0401 | 1221058.3523
43 | 2656880.3252 | 1221101.8851 | 2656865.9627 | 1221088.1106 | 2656864.6048 | 1221080.1594 | 2656861.6771 | 1221077.1877
44 | 2657002.6724 | 1221119.5141 | 2656974.4971 | 1221087.5841
45 | 2657076.1739 | 1220737.4696 | 2657073.577 | 1220736.1106
46 | 2657076.1739 | 1220737.4696 | 2657072.9816 | 1220747.3414
47 | 2656851.9219 | 1221067.2859 | 2656861.6771 | 1221077.1877
48 | 2657002.6724 | 1221119.5141 | 2657005.9359 | 1221122.1837
49 | 2657020.2338 | 1221133.8799 | 2657026.6433 | 1221147.3625
50 | 2657020.2338 | 1221133.8799 | 2657019.3137 | 1221129.052
51 | 2657020.2338 | 1221133.8799 | 2657006.3033 | 1221122.4843
52 | 2657006.3033 | 1221122.4843 | 2657005.9359 | 1221122.1837

## bus_geodata
| x | y | coords
0 | 2656991.9469 | 1220742.3215
1 | 2657018.6485 | 1220752.7284
2 | 2657047.6881 | 1220764.8916
3 | 2657034.5452 | 1220717.6254
4 | 2656969.2287 | 1220686.0255
5 | 2657035.0874 | 1220717.8823
6 | 2657050.6699 | 1220782.2142
7 | 2657062.585 | 1220772.3945
8 | 2656967.9073 | 1220942.3273
9 | 2656930.0776 | 1220978.3548
10 | 2656991.599 | 1220962.2394
11 | 2656873.5848 | 1220925.4936
12 | 2656889.5212 | 1220903.7038
13 | 2656837.8258 | 1220937.4308
14 | 2656954.8855 | 1221002.9515
15 | 2656971.3435 | 1220660.8524
16 | 2656969.6105 | 1220668.1833
17 | 2656940.4854 | 1220656.2991
18 | 2656979.3207 | 1220652.3512
19 | 2656938.3236 | 1220648.3907
20 | 2657053.6306 | 1220726.6693
21 | 2657056.105 | 1220809.7111
22 | 2657066.2973 | 1220757.8988
23 | 2657053.6598 | 1220746.275
24 | 2657059.0903 | 1220729.3455
25 | 2657022.0448 | 1220809.4959
26 | 2657042.3538 | 1220809.295
27 | 2656998.3565 | 1220967.2561
28 | 2656959.2722 | 1221008.3301
29 | 2656991.9402 | 1220636.8557
30 | 2657072.6725 | 1220619.7924
31 | 2657065.7153 | 1220642.077
32 | 2657101.1388 | 1220668.1881
33 | 2657082.1183 | 1220688.7742
34 | 2657089.8172 | 1220703.2124
35 | 2657078.8768 | 1220724.3275
36 | 2656891.4771 | 1221112.5804
37 | 2656954.933 | 1221065.4129
38 | 2656880.3252 | 1221101.8851
39 | 2656974.4971 | 1221087.5841
40 | 2656967.0401 | 1221058.3523
41 | 2656920.6736 | 1221032.7764
42 | 2657076.1739 | 1220737.4696
43 | 2657073.577 | 1220736.1106
44 | 2657072.9816 | 1220747.3414
45 | 2657002.1689 | 1220619.8178
46 | 2656861.6771 | 1221077.1877
47 | 2657002.6724 | 1221119.5141
48 | 2657026.6433 | 1221147.3625
49 | 2657020.2338 | 1221133.8799
50 | 2657005.9359 | 1221122.1837
51 | 2657019.3137 | 1221129.052
52 | 2657006.3033 | 1221122.4843
53 | 2656851.9219 | 1221067.2859
54 | 2656976.2956 | 1220913.245

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97783 | -0.15508 | 0.035133 | 0.0088052
1 | 0.97932 | -0.14443 | 0 | 0
2 | 0.98093 | -0.13296 | 0 | 0
3 | 0.97429 | -0.18029 | 0 | 0
4 | 0.97331 | -0.18735 | 0 | 0
5 | 0.9743 | -0.18023 | 0.0072706 | 0.0018222
6 | 0.98219 | -0.12398 | 0.0018561 | 0.00046519
7 | 0.97938 | -0.14395 | 0 | 0
8 | 1 | 0 | -0.24559 | -0.061926
9 | 0.99582 | -0.028973 | 0 | 0
10 | 0.99826 | -0.011926 | 0.0025192 | 0.00063137
11 | 0.99495 | -0.035096 | 0 | 0
12 | 0.99471 | -0.03675 | 0.0060745 | 0.0015224
13 | 0.99482 | -0.035969 | 0.0017701 | 0.00044363
14 | 0.99384 | -0.042728 | 0.0017682 | 0.00044315
15 | 0.97298 | -0.18977 | 0 | 0
16 | 0.97307 | -0.18913 | 0.0011813 | 0.00029606
17 | 0.97277 | -0.19123 | 0 | 0
18 | 0.97291 | -0.19024 | 0.0014423 | 0.00036148
19 | 0.97272 | -0.19159 | 0.0041958 | 0.0010516
20 | 0.9748 | -0.17666 | 0 | 0
21 | 0.98425 | -0.10942 | 0 | 0
22 | 0.97792 | -0.15431 | 0.0027302 | 0.00068425
23 | 0.97468 | -0.1775 | 0.010102 | 0.0025319
24 | 0.97495 | -0.17561 | 0 | 0
25 | 0.98378 | -0.11282 | 0.0078722 | 0.001973
26 | 0.98401 | -0.11117 | 0.0044139 | 0.0011062
27 | 0.9978 | -0.015101 | 0 | 0
28 | 0.99326 | -0.046776 | 0 | 0
29 | 0.97284 | -0.19076 | 0.0011802 | 0.00029579
30 | 0.97091 | -0.20464 | 0.016806 | 0.004212
31 | 0.97149 | -0.20045 | 0 | 0
32 | 0.97262 | -0.19226 | 0 | 0
33 | 0.97335 | -0.18706 | 0.010743 | 0.0026926
34 | 0.97401 | -0.1823 | 0 | 0
35 | 0.97499 | -0.17532 | 0.003187 | 0.00079874
36 | 0.98135 | -0.13057 | 0 | 0
37 | 0.98214 | -0.12493 | 0 | 0
38 | 0.98121 | -0.13161 | 0.0021624 | 0.00054196
39 | 0.98032 | -0.13787 | 0.008235 | 0.0020639
40 | 0.9821 | -0.12524 | 0.0021055 | 0.00052768
41 | 0.98857 | -0.079898 | 0.064463 | 0.016156
42 | 0.97581 | -0.16939 | 0 | 0
43 | 0.97557 | -0.17115 | 0 | 0
44 | 0.97668 | -0.16315 | 0.0034231 | 0.00085791
45 | 0.9728 | -0.19102 | 0.0012545 | 0.0003144
46 | 0.981 | -0.13308 | 0.0024126 | 0.00060466
47 | 0.97821 | -0.15293 | 0 | 0
48 | 0.97726 | -0.15978 | 0.0038059 | 0.00095384
49 | 0.97734 | -0.15918 | 0 | 0
50 | 0.97801 | -0.15442 | 0.0020199 | 0.00050622
51 | 0.97719 | -0.16025 | 0.020675 | 0.0051817
52 | 0.97798 | -0.15458 | 0.0074692 | 0.001872
53 | 0.98096 | -0.13336 | 0.0019724 | 0.00049432
54 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035133 | -0.0088052 | 0.035185 | 0.0088248 | 5.19e-05 | 1.9596e-05 | 0.053464 | 0.053464 | 0.053464 | 0.97783 | -0.15508 | 0.97932 | -0.14443 | 19.8016
1 | -0.035185 | -0.0088248 | 0.035241 | 0.008846 | 5.6017e-05 | 2.1149e-05 | 0.053464 | 0.053464 | 0.053464 | 0.97932 | -0.14443 | 0.98093 | -0.13296 | 19.8015
2 | -0.099234 | -0.024942 | 0.099358 | 0.024989 | 0.00012431 | 4.7369e-05 | 0.15056 | 0.15056 | 0.15056 | 0.98093 | -0.13296 | 0.98219 | -0.12398 | 27.8812
3 | 0.063993 | 0.016096 | -0.063895 | -0.016059 | 9.7894e-05 | 3.7442e-05 | 0.097095 | 0.097095 | 0.097095 | 0.98093 | -0.13296 | 0.97938 | -0.14395 | 35.961
4 | 0.0092677 | 0.0023222 | -0.0092587 | -0.0023196 | 9.0498e-06 | 2.5801e-06 | 0.014154 | 0.014154 | 0.014154 | 0.97429 | -0.18029 | 0.97331 | -0.18735 | 5.2424
5 | -0.0092677 | -0.0023222 | 0.0092678 | 0.0023222 | 7.4996e-08 | 2.1374e-08 | 0.014154 | 0.014154 | 0.014154 | 0.97429 | -0.18029 | 0.9743 | -0.18023 | 5.2423
6 | 0.0092587 | 0.0023196 | -0.0092564 | -0.0023189 | 2.2733e-06 | 6.484e-07 | 0.014154 | 0.014155 | 0.014155 | 0.97331 | -0.18735 | 0.97307 | -0.18913 | 5.2424
7 | -0.016538 | -0.0041444 | 0.016547 | 0.0041472 | 8.1689e-06 | 2.8862e-06 | 0.025258 | 0.025258 | 0.025258 | 0.9743 | -0.18023 | 0.9748 | -0.17666 | 9.3549
8 | -0.10121 | -0.025455 | 0.10142 | 0.025533 | 0.00020572 | 7.841e-05 | 0.15337 | 0.15337 | 0.15337 | 0.98219 | -0.12398 | 0.98425 | -0.10942 | 28.402
9 | 0.063895 | 0.016059 | -0.063803 | -0.016023 | 9.1986e-05 | 3.5183e-05 | 0.097095 | 0.097095 | 0.097095 | 0.97938 | -0.14395 | 0.97792 | -0.15431 | 35.9611
10 | 0.12679 | 0.032012 | -0.12627 | -0.031817 | 0.00051405 | 0.00019499 | 0.18875 | 0.18875 | 0.18875 | 1 | 0 | 0.99582 | -0.028973 | 23.3021
11 | 0.118 | 0.029914 | -0.1178 | -0.029839 | 0.00019905 | 7.534e-05 | 0.1757 | 0.1757 | 0.1757 | 1 | 0 | 0.99826 | -0.011926 | 21.6918
12 | 0.11842 | 0.02985 | -0.11819 | -0.029764 | 0.00022768 | 8.621e-05 | 0.17701 | 0.17701 | 0.17701 | 0.99582 | -0.028973 | 0.99384 | -0.042728 | 21.8535
13 | 0.0078528 | 0.0019672 | -0.0078462 | -0.0019657 | 6.6484e-06 | 1.5512e-06 | 0.011734 | 0.011734 | 0.011734 | 0.99582 | -0.028973 | 0.99495 | -0.035096 | 4.346
14 | 0.11528 | 0.029207 | -0.11523 | -0.029188 | 5.1757e-05 | 1.9577e-05 | 0.17195 | 0.17195 | 0.17195 | 0.99826 | -0.011926 | 0.9978 | -0.015101 | 21.2282
15 | 0.0060759 | 0.0015226 | -0.0060745 | -0.0015224 | 1.3909e-06 | 1.8446e-07 | 0.0090868 | 0.0090869 | 0.0090869 | 0.99495 | -0.035096 | 0.99471 | -0.03675 | 3.3655
16 | 0.0017703 | 0.00044307 | -0.0017701 | -0.00044363 | 2.1377e-07 | -5.5245e-07 | 0.0026474 | 0.0026476 | 0.0026476 | 0.99495 | -0.035096 | 0.99482 | -0.035969 | 0.9806
17 | 0.11643 | 0.029321 | -0.11636 | -0.029296 | 6.5838e-05 | 2.5143e-05 | 0.17437 | 0.17437 | 0.17437 | 0.99384 | -0.042728 | 0.99326 | -0.046776 | 32.2901
18 | -0.0080744 | -0.0020227 | 0.0080751 | 0.0020229 | 7.1673e-07 | 1.821e-07 | 0.012348 | 0.012348 | 0.012348 | 0.97298 | -0.18977 | 0.97307 | -0.18913 | 4.5734
19 | 0.0041969 | 0.0010515 | -0.004196 | -0.0010515 | 8.4831e-07 | -8.35e-08 | 0.0064183 | 0.0064185 | 0.0064185 | 0.97298 | -0.18977 | 0.97277 | -0.19123 | 2.3772
20 | 0.0038775 | 0.00097122 | -0.0038773 | -0.00097127 | 2.5582e-07 | -4.64e-08 | 0.0059298 | 0.0059299 | 0.0059299 | 0.97298 | -0.18977 | 0.97291 | -0.19024 | 2.1963
21 | 0.004196 | 0.0010515 | -0.0041958 | -0.0010516 | 2.1076e-07 | -2.0716e-08 | 0.0064185 | 0.0064185 | 0.0064185 | 0.97277 | -0.19123 | 0.97272 | -0.19159 | 2.3772
22 | 0.0024349 | 0.00060978 | -0.0024347 | -0.00060996 | 1.733e-07 | -1.8202e-07 | 0.0037239 | 0.003724 | 0.003724 | 0.97291 | -0.19024 | 0.97284 | -0.19076 | 1.3793
23 | -0.016547 | -0.0041472 | 0.016549 | 0.0041481 | 2.4148e-06 | 8.5315e-07 | 0.025258 | 0.025258 | 0.025258 | 0.9748 | -0.17666 | 0.97495 | -0.17561 | 9.3549
24 | -0.11371 | -0.028614 | 0.11523 | 0.029188 | 0.0015169 | 0.00057391 | 0.17195 | 0.17195 | 0.17195 | 0.98425 | -0.10942 | 0.9978 | -0.015101 | 21.2286
25 | 0.012291 | 0.0030806 | -0.012288 | -0.0030796 | 2.9641e-06 | 9.6524e-07 | 0.018582 | 0.018582 | 0.018582 | 0.98425 | -0.10942 | 0.98401 | -0.11117 | 6.8821
26 | 0.061073 | 0.015339 | -0.060998 | -0.015311 | 7.5039e-05 | 2.8687e-05 | 0.092941 | 0.092941 | 0.092941 | 0.97792 | -0.15431 | 0.97668 | -0.16315 | 34.4225
27 | -0.010102 | -0.0025319 | 0.010105 | 0.0025327 | 2.6389e-06 | 7.9331e-07 | 0.015423 | 0.015423 | 0.015423 | 0.97468 | -0.1775 | 0.97495 | -0.17561 | 5.7122
28 | -0.026654 | -0.0066808 | 0.02667 | 0.0066869 | 1.6471e-05 | 6.136e-06 | 0.040681 | 0.040681 | 0.040681 | 0.97495 | -0.17561 | 0.97557 | -0.17115 | 15.067
29 | -0.0078722 | -0.001973 | 0.007874 | 0.0019734 | 1.7995e-06 | 4.3379e-07 | 0.011907 | 0.011907 | 0.011907 | 0.98378 | -0.11282 | 0.98401 | -0.11117 | 4.4101
30 | 0.06476 | 0.01627 | -0.064463 | -0.016156 | 0.00029698 | 0.00011357 | 0.097032 | 0.097032 | 0.097032 | 0.99326 | -0.046776 | 0.98857 | -0.079898 | 35.9378
31 | 0.051599 | 0.013026 | -0.051039 | -0.012812 | 0.00056023 | 0.00021355 | 0.077335 | 0.077335 | 0.077335 | 0.99326 | -0.046776 | 0.98214 | -0.12493 | 28.6427
32 | 0.0012545 | 0.00031417 | -0.0012545 | -0.0003144 | 4.5657e-08 | -2.2917e-07 | 0.0019188 | 0.0019189 | 0.0019189 | 0.97284 | -0.19076 | 0.9728 | -0.19102 | 0.71069
33 | -0.016806 | -0.004212 | 0.016816 | 0.0042155 | 9.7578e-06 | 3.4613e-06 | 0.025757 | 0.025757 | 0.025757 | 0.97091 | -0.20464 | 0.97149 | -0.20045 | 9.5397
34 | -0.016816 | -0.0042155 | 0.016835 | 0.0042223 | 1.9081e-05 | 6.7674e-06 | 0.025757 | 0.025757 | 0.025757 | 0.97149 | -0.20045 | 0.97262 | -0.19226 | 9.5397
35 | -0.016835 | -0.0042223 | 0.016847 | 0.0042266 | 1.2155e-05 | 4.3104e-06 | 0.025757 | 0.025757 | 0.025757 | 0.97262 | -0.19226 | 0.97335 | -0.18706 | 9.5396
36 | -0.027591 | -0.0069191 | 0.027609 | 0.0069259 | 1.819e-05 | 6.7924e-06 | 0.042181 | 0.042181 | 0.042181 | 0.97335 | -0.18706 | 0.97401 | -0.1823 | 15.6226
37 | -0.027609 | -0.0069259 | 0.027636 | 0.0069359 | 2.6779e-05 | 9.9991e-06 | 0.042181 | 0.042181 | 0.042181 | 0.97401 | -0.1823 | 0.97499 | -0.17532 | 15.6226
38 | -0.030823 | -0.0077347 | 0.03084 | 0.0077414 | 1.7843e-05 | 6.7016e-06 | 0.047045 | 0.047045 | 0.047045 | 0.97499 | -0.17532 | 0.97557 | -0.17115 | 17.424
39 | -0.0065494 | -0.0016409 | 0.0065545 | 0.0016418 | 5.1034e-06 | 9.1413e-07 | 0.0099305 | 0.0099302 | 0.0099305 | 0.98135 | -0.13057 | 0.98214 | -0.12493 | 3.678
40 | 0.0065494 | 0.0016409 | -0.0065484 | -0.0016407 | 9.5084e-07 | 1.7051e-07 | 0.0099305 | 0.0099306 | 0.0099306 | 0.98135 | -0.13057 | 0.98121 | -0.13161 | 3.678
41 | 0.042379 | 0.010643 | -0.042303 | -0.010614 | 7.6084e-05 | 2.889e-05 | 0.064215 | 0.064215 | 0.064215 | 0.98214 | -0.12493 | 0.98032 | -0.13787 | 23.7835
42 | 0.0021056 | 0.00052754 | -0.0021055 | -0.00052768 | 8.9048e-08 | -1.4321e-07 | 0.00319 | 0.0031901 | 0.0031901 | 0.98214 | -0.12493 | 0.9821 | -0.12524 | 1.1815
43 | 0.004386 | 0.0010988 | -0.0043851 | -0.0010988 | 8.8719e-07 | -6.4619e-08 | 0.0066512 | 0.0066514 | 0.0066514 | 0.98121 | -0.13161 | 0.981 | -0.13308 | 2.4635
44 | 0.034068 | 0.0085503 | -0.033997 | -0.0085235 | 7.1068e-05 | 2.6798e-05 | 0.051716 | 0.051716 | 0.051716 | 0.98032 | -0.13787 | 0.97821 | -0.15293 | 19.154
45 | 0.057525 | 0.014434 | -0.057511 | -0.014428 | 1.4042e-05 | 5.3641e-06 | 0.087726 | 0.087726 | 0.087726 | 0.97581 | -0.16939 | 0.97557 | -0.17115 | 32.4909
46 | -0.057525 | -0.014434 | 0.057575 | 0.014453 | 4.9823e-05 | 1.9033e-05 | 0.087726 | 0.087725 | 0.087726 | 0.97581 | -0.16939 | 0.97668 | -0.16315 | 32.4909
47 | 0.0019724 | 0.00049417 | -0.0019724 | -0.00049432 | 7.7638e-08 | -1.4563e-07 | 0.0029918 | 0.0029919 | 0.0029919 | 0.981 | -0.13308 | 0.98096 | -0.13336 | 1.1081
48 | 0.033997 | 0.0085235 | -0.03399 | -0.0085208 | 7.0366e-06 | 2.6535e-06 | 0.051716 | 0.051716 | 0.051716 | 0.97821 | -0.15293 | 0.97801 | -0.15442 | 19.154
49 | -0.0038059 | -0.00095384 | 0.0038062 | 0.00095378 | 3.1283e-07 | -6.6743e-08 | 0.005795 | 0.0057949 | 0.005795 | 0.97726 | -0.15978 | 0.97734 | -0.15918 | 2.1463
50 | 0.020678 | 0.0051828 | -0.020675 | -0.0051817 | 3.0398e-06 | 1.1076e-06 | 0.031483 | 0.031483 | 0.031483 | 0.97734 | -0.15918 | 0.97719 | -0.16025 | 11.6605
51 | -0.024485 | -0.0061366 | 0.0245 | 0.0061424 | 1.5607e-05 | 5.7769e-06 | 0.037278 | 0.037278 | 0.037278 | 0.97734 | -0.15918 | 0.97798 | -0.15458 | 13.8068
52 | 0.03197 | 0.0080146 | -0.031969 | -0.0080144 | 7.0078e-07 | 2.6358e-07 | 0.048643 | 0.048643 | 0.048643 | 0.97801 | -0.15442 | 0.97798 | -0.15458 | 18.0158

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24559 | 0.061926

## res_load
| p_mw | q_mvar
0 | 0.035133 | 0.0088052
1 | 0.0072706 | 0.0018222
2 | 0.0018561 | 0.00046519
3 | 0.0025192 | 0.00063137
4 | 0.0060745 | 0.0015224
5 | 0.0017701 | 0.00044363
6 | 0.0017682 | 0.00044315
7 | 0.0011813 | 0.00029606
8 | 0.0014423 | 0.00036148
9 | 0.0041958 | 0.0010516
10 | 0.0027302 | 0.00068425
11 | 0.010102 | 0.0025319
12 | 0.0078722 | 0.001973
13 | 0.0044139 | 0.0011062
14 | 0.0011802 | 0.00029579
15 | 0.016806 | 0.004212
16 | 0.010743 | 0.0026926
17 | 0.003187 | 0.00079874
18 | 0.0021624 | 0.00054196
19 | 0.008235 | 0.0020639
20 | 0.0021055 | 0.00052768
21 | 0.064463 | 0.016156
22 | 0.0034231 | 0.00085791
23 | 0.0012545 | 0.0003144
24 | 0.0024126 | 0.00060466
25 | 0.0038059 | 0.00095384
26 | 0.0020199 | 0.00050622
27 | 0.020675 | 0.0051817
28 | 0.0074692 | 0.001872
29 | 0.0019724 | 0.00049432

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1