## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1102-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1102-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1102-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1102-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1102-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1102-19_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1102-19_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1102-19_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1102-19_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1102-19_0_3_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_1102-19_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1102-19_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1102-19_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1102-19_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1102-19_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1102-19_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_1102-19_0_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_1102-19_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1102-19_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1102-19_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1102-19_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1102-19_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1102-19_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_1102-19_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1102-19_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1102-19_0_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1102-19_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1102-19_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1102-19_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1102-19_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1102-19_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_1102-19_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1102-19_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1102-19_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_1102-19_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1102-19_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1102-19_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1102-19_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1102-19_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1102-19_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_1102-19_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_MV_354_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1102-19_0_3_load_0 | 0 | 0.0034235 | 0.00085801 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1102-19_0_3_load_1 | 1 | 0.0013521 | 0.00033887 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1102-19_0_3_load_2 | 2 | 0.0025516 | 0.00063949 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1102-19_0_3_load_3 | 3 | 0.0010044 | 0.00025172 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1102-19_0_3_load_5 | 6 | 0.0027427 | 0.00068738 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1102-19_0_3_load_14 | 7 | 0.016983 | 0.0042564 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1102-19_0_3_load_15 | 8 | 0.054986 | 0.013781 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1102-19_0_3_load_8 | 12 | 0.0025084 | 0.00062868 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1102-19_0_3_load_9 | 14 | 0.00033664 | 8.4369e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1102-19_0_3_load_41 | 16 | 0.00038219 | 9.5785e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1102-19_0_3_load_13 | 19 | 0.0043511 | 0.0010905 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1102-19_0_3_load_26 | 21 | 0.0010988 | 0.00027538 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1102-19_0_3_load_23 | 22 | 0.0008996 | 0.00022546 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1102-19_0_3_load_17 | 24 | 0.0069964 | 0.0017535 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1102-19_0_3_load_36 | 25 | 0.00043664 | 0.00010943 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1102-19_0_3_load_21 | 26 | 0.019514 | 0.0048908 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1102-19_0_3_load_31 | 28 | 0.00069943 | 0.00017529 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1102-19_0_3_load_34 | 31 | 0.00244 | 0.00061151 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1102-19_0_3_load_35 | 32 | 0.0019834 | 0.00049709 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1102-19_0_3_load_27 | 34 | 0.0084615 | 0.0021206 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1102-19_0_3_load_28 | 36 | 0.0011012 | 0.00027598 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1102-19_0_3_load_40 | 37 | 0.0069737 | 0.0017478 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1102-19_0_3_load_39 | 38 | 0.00999 | 0.0025037 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1102-19_0_3_load_24 | 39 | 0.00055158 | 0.00013824 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1102-19_0_3_load_29 | 40 | 0.00061123 | 0.00015319 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1102-19_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0020591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_1102-19_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.041725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_1102-19_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0032746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_1102-19_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.025222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_1102-19_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.072019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_1102-19_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.028807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_1102-19_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.016761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_1102-19_0_3_line_7 | NAYY 4x150 SE | 6 | 10 | 0.03962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_1102-19_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.087971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1102-19_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.23938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1102-19_0_3_line_10 | NAYY 4x150 SE | 9 | 25 | 0.021426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1102-19_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.045908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_1102-19_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.06099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1102-19_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.012569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1102-19_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.052999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_1102-19_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.008335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1102-19_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.20704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1102-19_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.022021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_1102-19_0_3_line_18 | NAYY 4x150 SE | 15 | 21 | 0.043178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1102-19_0_3_line_19 | NAYY 4x150 SE | 15 | 22 | 0.051484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1102-19_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.055512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_1102-19_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.060302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1102-19_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.017165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_1102-19_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.004294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1102-19_0_3_line_24 | NAYY 4x150 SE | 20 | 24 | 0.0082416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1102-19_0_3_line_25 | NAYY 4x150 SE | 22 | 39 | 0.030522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1102-19_0_3_line_26 | NAYY 4x150 SE | 23 | 35 | 0.039228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1102-19_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.029433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1102-19_0_3_line_28 | NAYY 4x150 SE | 25 | 32 | 0.049665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1102-19_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.060162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_1102-19_0_3_line_30 | NAYY 4x150 SE | 27 | 33 | 0.012693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1102-19_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.031091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1102-19_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.034202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1102-19_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.022748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1102-19_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0025693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1102-19_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.040206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1102-19_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0015114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1102-19_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.041131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1102-19_0_3_line_38 | NAYY 4x150 SE | 35 | 38 | 0.072029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1102-19_0_3_line_39 | NAYY 4x150 SE | 36 | 40 | 0.015326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1102-19_0_3_trafo_21 | 0.25 MVA 20/0.4 kV | 41 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2658553.645 | 1219920.8448 | 2658555.4172 | 1219919.7964
1 | 2658553.645 | 1219920.8448 | 2658517.733 | 1219942.0886
2 | 2658558.2356 | 1219918.1292 | 2658555.4172 | 1219919.7964
3 | 2658496.0249 | 1219954.93 | 2658517.733 | 1219942.0886
4 | 2658558.2356 | 1219918.1292 | 2658630.2367 | 1219919.7381
5 | 2658496.0249 | 1219954.93 | 2658481.527 | 1219930.0367
6 | 2658630.2367 | 1219919.7381 | 2658644.1513 | 1219910.3931
7 | 2658461.5873 | 1219895.7998 | 2658481.527 | 1219930.0367
8 | 2658717.1812 | 1219861.3465 | 2658644.1513 | 1219910.3931
9 | 2658644.1513 | 1219910.3931 | 2658773.8267 | 1220111.6049
10 | 2658773.8267 | 1220111.6049 | 2658760.7458 | 1220128.5738
11 | 2658438.4693 | 1219856.1041 | 2658461.5873 | 1219895.7998
12 | 2658461.5873 | 1219895.7998 | 2658514.4339 | 1219865.3524
13 | 2658438.4693 | 1219856.1041 | 2658427.6463 | 1219862.5464
14 | 2658438.4693 | 1219856.1041 | 2658484.0119 | 1219828.9975
15 | 2658427.6463 | 1219862.5464 | 2658429.3123 | 1219854.3799
16 | 2658427.6463 | 1219862.5464 | 2658231.7889 | 1219929.6711
17 | 2658502.9344 | 1219817.7349 | 2658484.0119 | 1219828.9975
18 | 2658429.3123 | 1219854.3799 | 2658466.6765 | 1219832.7416
19 | 2658429.3123 | 1219854.3799 | 2658435.3227 | 1219824.9205 | 2658436.2483 | 1219811.0099 | 2658436.743 | 1219803.5495
20 | 2658502.9344 | 1219817.7349 | 2658550.7381 | 1219789.2867
21 | 2658550.7381 | 1219789.2867 | 2658564.1554 | 1219812.2773 | 2658569.7118 | 1219826.7408 | 2658554.2264 | 1219836.2821
22 | 2658550.7381 | 1219789.2867 | 2658565.5077 | 1219780.4708
23 | 2658563.2521 | 1219776.8131 | 2658565.5077 | 1219780.4708
24 | 2658565.5077 | 1219780.4708 | 2658572.5924 | 1219776.2599
25 | 2658436.743 | 1219803.5495 | 2658437.6643 | 1219789.655 | 2658436.5776 | 1219773.0933
26 | 2658563.2521 | 1219776.8131 | 2658556.8286 | 1219766.4102 | 2658542.6445 | 1219743.4344
27 | 2658597.8934 | 1219761.2217 | 2658572.5924 | 1219776.2599
28 | 2658760.7458 | 1220128.5738 | 2658748.947 | 1220143.8797 | 2658725.6675 | 1220163.3358
29 | 2658597.8934 | 1219761.2217 | 2658628.5476 | 1219812.9883
30 | 2658597.8934 | 1219761.2217 | 2658608.7265 | 1219754.5574
31 | 2658673.4442 | 1220191.4431 | 2658666.0106 | 1220175.0376 | 2658673.8456 | 1220164.5637
32 | 2658673.4442 | 1220191.4431 | 2658704.3802 | 1220176.672
33 | 2658704.3802 | 1220176.672 | 2658716.8141 | 1220170.7352 | 2658723.6961 | 1220164.9835
34 | 2658723.6961 | 1220164.9835 | 2658725.6675 | 1220163.3358
35 | 2658608.7265 | 1219754.5574 | 2658642.9771 | 1219733.5003
36 | 2658642.9771 | 1219733.5003 | 2658644.2646 | 1219732.7087
37 | 2658542.6445 | 1219743.4344 | 2658506.6809 | 1219763.3945
38 | 2658542.6445 | 1219743.4344 | 2658510.504 | 1219691.3865 | 2658501.2498 | 1219697.0642
39 | 2658644.2646 | 1219732.7087 | 2658657.3207 | 1219724.6819

## bus_geodata
| x | y | coords
0 | 2658553.6449 | 1219920.8448
1 | 2658555.4172 | 1219919.7964
2 | 2658517.733 | 1219942.0886
3 | 2658558.2356 | 1219918.1292
4 | 2658496.0249 | 1219954.93
5 | 2658630.2367 | 1219919.7381
6 | 2658481.527 | 1219930.0367
7 | 2658644.1513 | 1219910.3931
8 | 2658717.1812 | 1219861.3465
9 | 2658773.8267 | 1220111.6049
10 | 2658461.5873 | 1219895.7998
11 | 2658438.4693 | 1219856.1041
12 | 2658514.4339 | 1219865.3524
13 | 2658427.6463 | 1219862.5464
14 | 2658484.0119 | 1219828.9975
15 | 2658429.3123 | 1219854.3799
16 | 2658231.7889 | 1219929.6711
17 | 2658502.9344 | 1219817.7349
18 | 2658550.7381 | 1219789.2867
19 | 2658554.2264 | 1219836.2821
20 | 2658565.5077 | 1219780.4708
21 | 2658466.6765 | 1219832.7416
22 | 2658436.743 | 1219803.5495
23 | 2658563.2521 | 1219776.8131
24 | 2658572.5924 | 1219776.2599
25 | 2658760.7458 | 1220128.5738
26 | 2658628.5476 | 1219812.9883
27 | 2658597.8934 | 1219761.2217
28 | 2658673.8456 | 1220164.5637
29 | 2658673.4442 | 1220191.4431
30 | 2658704.3802 | 1220176.672
31 | 2658723.6961 | 1220164.9835
32 | 2658725.6675 | 1220163.3358
33 | 2658608.7265 | 1219754.5574
34 | 2658642.9771 | 1219733.5003
35 | 2658542.6445 | 1219743.4344
36 | 2658644.2646 | 1219732.7087
37 | 2658506.6809 | 1219763.3945
38 | 2658501.2498 | 1219697.0642
39 | 2658436.5776 | 1219773.0933
40 | 2658657.3207 | 1219724.6819
41 | 2658648.686 | 1219846.9967

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97937 | -0.14414 | 0.0034235 | 0.00085801
1 | 0.97929 | -0.14471 | 0.0013521 | 0.00033887
2 | 0.98107 | -0.13209 | 0.0025516 | 0.00063949
3 | 0.97917 | -0.14561 | 0.0010044 | 0.00025172
4 | 0.98213 | -0.12461 | 0 | 0
5 | 0.97644 | -0.16505 | 0 | 0
6 | 0.98333 | -0.11608 | 0.0027427 | 0.00068738
7 | 0.97581 | -0.16959 | 0.016983 | 0.0042564
8 | 0.97226 | -0.19504 | 0.054986 | 0.013781
9 | 0.97386 | -0.18363 | 0 | 0
10 | 0.98505 | -0.10401 | 0 | 0
11 | 0.98709 | -0.089675 | 0 | 0
12 | 0.98482 | -0.10558 | 0.0025084 | 0.00062868
13 | 0.98703 | -0.090056 | 0 | 0
14 | 0.98952 | -0.072666 | 0.00033664 | 8.4369e-05
15 | 0.987 | -0.090275 | 0 | 0
16 | 0.98692 | -0.090888 | 0.00038219 | 9.5785e-05
17 | 0.99053 | -0.065598 | 0 | 0
18 | 0.99308 | -0.047841 | 0 | 0
19 | 0.99271 | -0.050499 | 0.0043511 | 0.0010905
20 | 0.99391 | -0.042117 | 0 | 0
21 | 0.98693 | -0.090762 | 0.0010988 | 0.00027538
22 | 0.98689 | -0.091043 | 0.0008996 | 0.00022546
23 | 0.9938 | -0.042853 | 0 | 0
24 | 0.99437 | -0.038901 | 0.0069964 | 0.0017535
25 | 0.97368 | -0.18489 | 0.00043664 | 0.00010943
26 | 1 | 0 | -0.13628 | -0.034268
27 | 0.99612 | -0.026748 | 0 | 0
28 | 0.97321 | -0.18831 | 0.00069943 | 0.00017529
29 | 0.97324 | -0.18808 | 0 | 0
30 | 0.97328 | -0.18783 | 0 | 0
31 | 0.9733 | -0.18766 | 0.00244 | 0.00061151
32 | 0.97331 | -0.18758 | 0.0019834 | 0.00049709
33 | 0.99594 | -0.028048 | 0 | 0
34 | 0.99535 | -0.032168 | 0.0084615 | 0.0021206
35 | 0.99285 | -0.049589 | 0 | 0
36 | 0.99535 | -0.032194 | 0.0011012 | 0.00027598
37 | 0.99244 | -0.052495 | 0.0069737 | 0.0017478
38 | 0.99181 | -0.056885 | 0.00999 | 0.0025037
39 | 0.98687 | -0.091216 | 0.00055158 | 0.00013824
40 | 0.99534 | -0.032288 | 0.00061123 | 0.00015319
41 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.080369 | 0.020196 | -0.080362 | -0.020194 | 6.3881e-06 | 2.3792e-06 | 0.12213 | 0.12213 | 0.12213 | 0.97937 | -0.14414 | 0.97929 | -0.14471 | 15.0776
1 | -0.083792 | -0.021054 | 0.083933 | 0.021107 | 0.00014071 | 5.254e-05 | 0.12733 | 0.12733 | 0.12733 | 0.97937 | -0.14414 | 0.98107 | -0.13209 | 15.7197
2 | 0.07901 | 0.019855 | -0.079001 | -0.019852 | 9.8201e-06 | 3.6534e-06 | 0.12007 | 0.12007 | 0.12007 | 0.97929 | -0.14471 | 0.97917 | -0.14561 | 14.8239
3 | -0.086485 | -0.021746 | 0.086575 | 0.02178 | 9.0303e-05 | 3.3775e-05 | 0.1312 | 0.1312 | 0.1312 | 0.98107 | -0.13209 | 0.98213 | -0.12461 | 16.1974
4 | 0.077996 | 0.0196 | -0.077786 | -0.019522 | 0.00021052 | 7.826e-05 | 0.11855 | 0.11855 | 0.11855 | 0.97917 | -0.14561 | 0.97644 | -0.16505 | 14.6356
5 | -0.086575 | -0.02178 | 0.086678 | 0.021819 | 0.00010314 | 3.8574e-05 | 0.1312 | 0.1312 | 0.1312 | 0.98213 | -0.12461 | 0.98333 | -0.11608 | 16.1974
6 | 0.077786 | 0.019522 | -0.077737 | -0.019503 | 4.8996e-05 | 1.8216e-05 | 0.11855 | 0.11855 | 0.11855 | 0.97644 | -0.16505 | 0.97581 | -0.16959 | 14.6356
7 | -0.089421 | -0.022506 | 0.089572 | 0.022563 | 0.00015097 | 5.6554e-05 | 0.13535 | 0.13535 | 0.13535 | 0.98333 | -0.11608 | 0.98505 | -0.10401 | 16.7097
8 | 0.05518 | 0.013853 | -0.054986 | -0.013781 | 0.00019438 | 7.257e-05 | 0.084153 | 0.084154 | 0.084154 | 0.97581 | -0.16959 | 0.97226 | -0.19504 | 15.5841
9 | 0.0055732 | 0.0013936 | -0.0055624 | -0.0013925 | 1.0787e-05 | 1.1645e-06 | 0.0084975 | 0.0084985 | 0.0084985 | 0.97581 | -0.16959 | 0.97386 | -0.18363 | 3.1476
10 | 0.0055624 | 0.0013925 | -0.0055614 | -0.0013924 | 9.6563e-07 | 1.0486e-07 | 0.0084985 | 0.0084986 | 0.0084986 | 0.97386 | -0.18363 | 0.97368 | -0.18489 | 3.1476
11 | -0.092081 | -0.023191 | 0.092266 | 0.02326 | 0.00018486 | 6.9343e-05 | 0.13914 | 0.13914 | 0.13914 | 0.98505 | -0.10401 | 0.98709 | -0.089675 | 17.1775
12 | 0.002509 | 0.00062811 | -0.0025084 | -0.00062868 | 5.4666e-07 | -5.6597e-07 | 0.0037898 | 0.0037901 | 0.0037901 | 0.98505 | -0.10401 | 0.98482 | -0.10558 | 1.4038
13 | 0.0029327 | 0.00073055 | -0.0029325 | -0.00073065 | 1.5318e-07 | -1.0174e-07 | 0.0044194 | 0.0044194 | 0.0044194 | 0.98709 | -0.089675 | 0.98703 | -0.090056 | 1.6368
14 | -0.095198 | -0.023991 | 0.095425 | 0.024076 | 0.00022718 | 8.5341e-05 | 0.14356 | 0.14356 | 0.14356 | 0.98709 | -0.089675 | 0.98952 | -0.072666 | 17.7231
15 | 0.0025503 | 0.0006375 | -0.0025502 | -0.00063757 | 7.6858e-08 | -7.6968e-08 | 0.0038441 | 0.0038442 | 0.0038442 | 0.98703 | -0.090056 | 0.987 | -0.090275 | 1.4238
16 | 0.00038223 | 9.3156e-05 | -0.00038219 | -9.5785e-05 | 4.2829e-08 | -2.6295e-06 | 0.00057531 | 0.00057624 | 0.00057624 | 0.98703 | -0.090056 | 0.98692 | -0.090888 | 0.21342
17 | -0.095762 | -0.02416 | 0.095857 | 0.024196 | 9.5059e-05 | 3.5712e-05 | 0.14406 | 0.14406 | 0.14406 | 0.98952 | -0.072666 | 0.99053 | -0.065598 | 17.7855
18 | 0.0010989 | 0.00027486 | -0.0010988 | -0.00027538 | 7.3936e-08 | -5.2335e-07 | 0.0016565 | 0.0016567 | 0.0016567 | 0.987 | -0.090275 | 0.98693 | -0.090762 | 0.61358
19 | 0.0014513 | 0.00036271 | -0.0014512 | -0.00036331 | 1.5377e-07 | -5.9878e-07 | 0.0021877 | 0.0021879 | 0.0021879 | 0.987 | -0.090275 | 0.98689 | -0.091043 | 0.81034
20 | -0.095857 | -0.024196 | 0.096097 | 0.024286 | 0.00023963 | 9.0017e-05 | 0.14406 | 0.14406 | 0.14406 | 0.99053 | -0.065598 | 0.99308 | -0.047841 | 17.7854
21 | 0.0043528 | 0.0010903 | -0.0043511 | -0.0010905 | 1.6006e-06 | -1.6431e-07 | 0.0065219 | 0.0065222 | 0.0065222 | 0.99308 | -0.047841 | 0.99271 | -0.050499 | 2.4156
22 | -0.10045 | -0.025377 | 0.10053 | 0.025407 | 8.0958e-05 | 3.0471e-05 | 0.15058 | 0.15058 | 0.15058 | 0.99308 | -0.047841 | 0.99391 | -0.042117 | 18.5905
23 | 0.016994 | 0.0042612 | -0.016992 | -0.0042606 | 1.7346e-06 | 6.115e-07 | 0.025443 | 0.025443 | 0.025443 | 0.99391 | -0.042117 | 0.9938 | -0.042853 | 9.4234
24 | -0.11752 | -0.029668 | 0.11758 | 0.029688 | 5.3116e-05 | 2.0109e-05 | 0.17603 | 0.17603 | 0.17603 | 0.99391 | -0.042117 | 0.99437 | -0.038901 | 21.7316
25 | 0.00055159 | 0.00013785 | -0.00055158 | -0.00013824 | 1.3172e-08 | -3.8493e-07 | 0.00083154 | 0.00083167 | 0.00083167 | 0.98689 | -0.091043 | 0.98687 | -0.091216 | 0.30803
26 | 0.016992 | 0.0042606 | -0.016977 | -0.004255 | 1.5846e-05 | 5.5869e-06 | 0.025443 | 0.025443 | 0.025443 | 0.9938 | -0.042853 | 0.99285 | -0.049589 | 9.4235
27 | -0.12457 | -0.031442 | 0.12479 | 0.031523 | 0.00021293 | 8.0748e-05 | 0.1865 | 0.1865 | 0.1865 | 0.99437 | -0.038901 | 0.99612 | -0.026748 | 23.0242
28 | 0.0051248 | 0.0012829 | -0.0051229 | -0.0012828 | 1.9007e-06 | 1.1356e-07 | 0.0078313 | 0.0078316 | 0.0078316 | 0.97368 | -0.18489 | 0.97331 | -0.18758 | 2.9006
29 | 0.13548 | 0.034268 | -0.13497 | -0.034074 | 0.00050911 | 0.00019345 | 0.2017 | 0.2017 | 0.2017 | 1 | 0 | 0.99612 | -0.026748 | 24.9018
30 | 0.010182 | 0.0025518 | -0.01018 | -0.0025513 | 1.8322e-06 | 5.3948e-07 | 0.015209 | 0.015209 | 0.015209 | 0.99612 | -0.026748 | 0.99594 | -0.028048 | 5.6331
31 | -0.00069943 | -0.00017529 | 0.00069945 | 0.00017492 | 2.2185e-08 | -3.7781e-07 | 0.0010694 | 0.0010693 | 0.0010694 | 0.97321 | -0.18831 | 0.97324 | -0.18808 | 0.39608
32 | -0.00069945 | -0.00017492 | 0.00069948 | 0.0001745 | 2.4398e-08 | -4.1565e-07 | 0.0010693 | 0.0010691 | 0.0010693 | 0.97324 | -0.18808 | 0.97328 | -0.18783 | 0.39603
33 | -0.00069948 | -0.0001745 | 0.00069949 | 0.00017422 | 1.6223e-08 | -2.7646e-07 | 0.0010691 | 0.001069 | 0.0010691 | 0.97328 | -0.18783 | 0.9733 | -0.18766 | 0.39597
34 | -0.0031394 | -0.00078573 | 0.0031395 | 0.00078572 | 3.6928e-08 | -1.7729e-08 | 0.0047993 | 0.0047993 | 0.0047993 | 0.9733 | -0.18766 | 0.97331 | -0.18758 | 1.7775
35 | 0.01018 | 0.0025513 | -0.010174 | -0.0025496 | 5.8036e-06 | 1.7093e-06 | 0.015209 | 0.015209 | 0.015209 | 0.99594 | -0.028048 | 0.99535 | -0.032168 | 5.6331
36 | 0.0017124 | 0.00042895 | -0.0017124 | -0.00042897 | 6.1804e-09 | -1.7268e-08 | 0.0025599 | 0.0025599 | 0.0025599 | 0.99535 | -0.032168 | 0.99535 | -0.032194 | 0.94812
37 | 0.0069765 | 0.0017483 | -0.0069737 | -0.0017478 | 2.806e-06 | 5.4751e-07 | 0.010456 | 0.010456 | 0.010456 | 0.99285 | -0.049589 | 0.99244 | -0.052495 | 3.8726
38 | 0.01 | 0.0025067 | -0.00999 | -0.0025037 | 1.0096e-05 | 2.9527e-06 | 0.014988 | 0.014988 | 0.014988 | 0.99285 | -0.049589 | 0.99181 | -0.056885 | 5.5511
39 | 0.00061124 | 0.00015299 | -0.00061123 | -0.00015319 | 7.985e-09 | -1.9613e-07 | 0.00091371 | 0.00091378 | 0.00091378 | 0.99535 | -0.032194 | 0.99534 | -0.032288 | 0.33844

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15579 | 0.039159

## res_load
| p_mw | q_mvar
0 | 0.0034235 | 0.00085801
1 | 0.0013521 | 0.00033887
2 | 0.0025516 | 0.00063949
3 | 0.0010044 | 0.00025172
4 | 0.0027427 | 0.00068738
5 | 0.016983 | 0.0042564
6 | 0.054986 | 0.013781
7 | 0.0025084 | 0.00062868
8 | 0.00033664 | 8.4369e-05
9 | 0.00038219 | 9.5785e-05
10 | 0.0043511 | 0.0010905
11 | 0.0010988 | 0.00027538
12 | 0.0008996 | 0.00022546
13 | 0.0069964 | 0.0017535
14 | 0.00043664 | 0.00010943
15 | 0.019514 | 0.0048908
16 | 0.00069943 | 0.00017529
17 | 0.00244 | 0.00061151
18 | 0.0019834 | 0.00049709
19 | 0.0084615 | 0.0021206
20 | 0.0011012 | 0.00027598
21 | 0.0069737 | 0.0017478
22 | 0.00999 | 0.0025037
23 | 0.00055158 | 0.00013824
24 | 0.00061123 | 0.00015319

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1