## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1104-21_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1104-21_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1104-21_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1104-21_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1104-21_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1104-21_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1104-21_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1104-21_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_1104-21_0_3_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_1104-21_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1104-21_0_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_1104-21_0_3_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_1104-21_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_1104-21_0_3_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_1104-21_0_3_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_1104-21_0_3_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_1104-21_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1104-21_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1104-21_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1104-21_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1104-21_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1104-21_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1104-21_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1104-21_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1104-21_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1104-21_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1104-21_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1104-21_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1104-21_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1104-21_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1104-21_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1104-21_0_3_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_1104-21_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1104-21_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1104-21_0_3_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_1104-21_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1104-21_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1104-21_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1104-21_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1104-21_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1104-21_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1104-21_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1104-21_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1104-21_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1104-21_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1104-21_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1104-21_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1104-21_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1104-21_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1104-21_0_3_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1104-21_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_1104-21_0_3_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_1104-21_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1104-21_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1104-21_0_3_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_1104-21_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1104-21_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_1104-21_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_1104-21_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_1104-21_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_1104-21_0_3_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_1104-21_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_1104-21_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_1104-21_0_3_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_1104-21_0_3_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_1104-21_0_3_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_1104-21_0_3_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_1104-21_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_1104-21_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_1104-21_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_1104-21_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_1104-21_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_1104-21_0_3_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_1104-21_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_MV_472_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1104-21_0_3_load_0 | 0 | 0.067469 | 0.016909 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1104-21_0_3_load_1 | 1 | 0.0039734 | 0.00099582 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1104-21_0_3_load_4 | 4 | 0.0040219 | 0.001008 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1104-21_0_3_load_5 | 5 | 0.0046104 | 0.0011555 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1104-21_0_3_load_13 | 7 | 0.0053865 | 0.00135 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1104-21_0_3_load_63 | 8 | 0.0017165 | 0.00043021 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1104-21_0_3_load_14 | 9 | 0.0031623 | 0.00079255 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1104-21_0_3_load_45 | 11 | 0.0066974 | 0.0016785 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1104-21_0_3_load_21 | 12 | 0.00078193 | 0.00019597 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1104-21_0_3_load_65 | 13 | 0.0039366 | 0.00098661 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1104-21_0_3_load_64 | 14 | 0.0033883 | 0.00084919 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1104-21_0_3_load_62 | 15 | 0.0048771 | 0.0012223 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1104-21_0_3_load_7 | 16 | 0.00088771 | 0.00022248 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1104-21_0_3_load_8 | 17 | 0.0025517 | 0.00063953 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1104-21_0_3_load_10 | 19 | 0.0025025 | 0.00062719 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1104-21_0_3_load_11 | 20 | 0.0006644 | 0.00016651 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1104-21_0_3_load_12 | 21 | 0.00058349 | 0.00014624 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1104-21_0_3_load_15 | 22 | 0.0016664 | 0.00041765 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1104-21_0_3_load_16 | 23 | 0.0008121 | 0.00020353 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1104-21_0_3_load_17 | 24 | 0.0020694 | 0.00051863 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1104-21_0_3_load_18 | 25 | 0.0014867 | 0.00037261 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1104-21_0_3_load_19 | 26 | 0.0007988 | 0.0002002 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1104-21_0_3_load_20 | 27 | 0.0016142 | 0.00040457 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1104-21_0_3_load_22 | 28 | 0.0010425 | 0.00026128 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1104-21_0_3_load_24 | 29 | 0.0029009 | 0.00072702 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1104-21_0_3_load_46 | 31 | 0.0009087 | 0.00022774 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1104-21_0_3_load_26 | 32 | 0.00035052 | 8.7848e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1104-21_0_3_load_27 | 33 | 0.001729 | 0.00043333 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1104-21_0_3_load_40 | 34 | 0.0008622 | 0.00021609 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1104-21_0_3_load_34 | 36 | 0.00030987 | 7.766e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1104-21_0_3_load_33 | 38 | 0.005092 | 0.0012762 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1104-21_0_3_load_30 | 39 | 0.00088105 | 0.00022081 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1104-21_0_3_load_39 | 42 | 0.00050788 | 0.00012729 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1104-21_0_3_load_38 | 43 | 0.0019561 | 0.00049025 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1104-21_0_3_load_41 | 44 | 0.0003947 | 9.8921e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1104-21_0_3_load_37 | 45 | 0.0071718 | 0.0017974 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1104-21_0_3_load_42 | 46 | 0.001195 | 0.00029949 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1104-21_0_3_load_43 | 47 | 0.002368 | 0.00059348 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1104-21_0_3_load_69 | 51 | 0.0042832 | 0.0010735 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1104-21_0_3_load_70 | 54 | 0.0014546 | 0.00036456 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1104-21_0_3_load_49 | 55 | 0.003601 | 0.00090249 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1104-21_0_3_load_57 | 56 | 0.017737 | 0.0044453 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1104-21_0_3_load_54 | 58 | 0.001937 | 0.00048545 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1104-21_0_3_load_51 | 59 | 0.0018052 | 0.00045242 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1104-21_0_3_load_71 | 60 | 0.0030624 | 0.00076751 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1104-21_0_3_load_55 | 62 | 0.0014238 | 0.00035684 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1104-21_0_3_load_77 | 65 | 0.0034981 | 0.00087671 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1104-21_0_3_load_76 | 66 | 0.0034378 | 0.00086159 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1104-21_0_3_load_61 | 69 | 0.0037702 | 0.00094491 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1104-21_0_3_load_66 | 71 | 0.0052808 | 0.0013235 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1104-21_0_3_load_74 | 72 | 0.0028924 | 0.00072489 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1104-21_0_3_load_67 | 73 | 0.0051468 | 0.0012899 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1104-21_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.050636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_1104-21_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.048957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_1104-21_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_1104-21_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1104-21_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0058571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_1104-21_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.020466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_1104-21_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.019427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1104-21_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.013713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_1104-21_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.01837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1104-21_0_3_line_9 | NAYY 4x150 SE | 8 | 15 | 0.0079732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_1104-21_0_3_line_10 | NAYY 4x150 SE | 9 | 22 | 0.028676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1104-21_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.040515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1104-21_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.025394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1104-21_0_3_line_13 | NAYY 4x150 SE | 11 | 31 | 0.0038287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1104-21_0_3_line_14 | NAYY 4x150 SE | 12 | 26 | 0.020224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1104-21_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.028872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1104-21_0_3_line_16 | NAYY 4x150 SE | 14 | 67 | 0.0042712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1104-21_0_3_line_17 | NAYY 4x150 SE | 15 | 69 | 0.017371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_1104-21_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.063905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1104-21_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.018901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1104-21_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.018493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1104-21_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.012217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1104-21_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.032157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1104-21_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.026333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1104-21_0_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.022872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1104-21_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.027758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1104-21_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.026224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1104-21_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0048047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1104-21_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0079419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1104-21_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.033457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1104-21_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.021695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1104-21_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.033196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1104-21_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.06389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1104-21_0_3_line_33 | NAYY 4x150 SE | 31 | 52 | 0.025823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1104-21_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0032783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1104-21_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.038911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1104-21_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.16854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1104-21_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.021094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1104-21_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.024606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1104-21_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.0011467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1104-21_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.048853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1104-21_0_3_line_41 | NAYY 4x150 SE | 41 | 42 | 0.039023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1104-21_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.024725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1104-21_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0076698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1104-21_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.015594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1104-21_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.024589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1104-21_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.012704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1104-21_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.033218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1104-21_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.012528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1104-21_0_3_line_49 | NAYY 4x150 SE | 48 | 50 | 0.047035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1104-21_0_3_line_50 | NAYY 4x150 SE | 49 | 51 | 0.028866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1104-21_0_3_line_51 | NAYY 4x150 SE | 49 | 52 | 0.011965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1104-21_0_3_line_52 | NAYY 4x150 SE | 50 | 53 | 0.013748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1104-21_0_3_line_53 | NAYY 4x150 SE | 50 | 54 | 0.022581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1104-21_0_3_line_54 | NAYY 4x150 SE | 52 | 55 | 0.059536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1104-21_0_3_line_55 | NAYY 4x150 SE | 53 | 58 | 0.017671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1104-21_0_3_line_56 | NAYY 4x150 SE | 53 | 59 | 0.025112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1104-21_0_3_line_57 | NAYY 4x150 SE | 54 | 60 | 0.025778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1104-21_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.046219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1104-21_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.021013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_1104-21_0_3_line_60 | NAYY 4x150 SE | 57 | 67 | 0.014036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_1104-21_0_3_line_61 | NAYY 4x150 SE | 57 | 68 | 0.030894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1104-21_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.03173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1104-21_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.020681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1104-21_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.011329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1104-21_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.0033917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1104-21_0_3_line_66 | NAYY 4x150 SE | 63 | 65 | 0.006271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1104-21_0_3_line_67 | NAYY 4x150 SE | 64 | 66 | 0.003385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1104-21_0_3_line_68 | NAYY 4x150 SE | 67 | 69 | 0.033265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_1104-21_0_3_line_69 | NAYY 4x150 SE | 68 | 70 | 0.001959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1104-21_0_3_line_70 | NAYY 4x150 SE | 68 | 71 | 0.018234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1104-21_0_3_line_71 | NAYY 4x150 SE | 70 | 72 | 0.01204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1104-21_0_3_line_72 | NAYY 4x150 SE | 71 | 73 | 0.011935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1104-21_0_3_trafo_5 | 0.25 MVA 20/0.4 kV | 74 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2648108.5367 | 1232212.6756 | 2648127.8056 | 1232165.8496
1 | 2648089.9067 | 1232257.9491 | 2648108.5367 | 1232212.6756
2 | 2648132.4964 | 1232154.4503 | 2648127.8056 | 1232165.8496
3 | 2648089.9067 | 1232257.9491 | 2648107.8332 | 1232265.9893
4 | 2648089.9067 | 1232257.9491 | 2648087.6505 | 1232263.3543
5 | 2648114.5674 | 1232144.877 | 2648119.5137 | 1232147.4742 | 2648128.0999 | 1232153.1584 | 2648132.4964 | 1232154.4503
6 | 2648107.8332 | 1232265.9893 | 2648125.5587 | 1232273.9392
7 | 2648114.5674 | 1232144.877 | 2648108.4322 | 1232157.1413
8 | 2648125.5587 | 1232273.9392 | 2648142.3202 | 1232281.4569
9 | 2648108.4322 | 1232157.1413 | 2648107.8868 | 1232158.2315 | 2648103.6889 | 1232162.3446 | 2648103.3295 | 1232163.1447
10 | 2648142.3202 | 1232281.4569 | 2648168.4847 | 1232293.1918
11 | 2648059.6617 | 1232330.4061 | 2648056.2771 | 1232328.5331 | 2648034.7102 | 1232316.6181 | 2648024.5415 | 1232310.2326
12 | 2648059.6617 | 1232330.4061 | 2648049.8798 | 1232353.8408
13 | 2648021.2991 | 1232308.1965 | 2648024.5415 | 1232310.2326
14 | 2648042.0895 | 1232372.5043 | 2648049.8798 | 1232353.8408
15 | 2648082.0289 | 1232141.3707 | 2648068.1692 | 1232166.6991
16 | 2648066.1189 | 1232170.446 | 2648068.1692 | 1232166.6991
17 | 2648095.5782 | 1232178.639 | 2648097.9673 | 1232175.0841 | 2648103.3295 | 1232163.1447
18 | 2648237.3457 | 1232231.5246 | 2648232.3289 | 1232250.3195 | 2648223.7318 | 1232276.8222 | 2648217.3568 | 1232292.1385
19 | 2648210.094 | 1232309.5879 | 2648217.3568 | 1232292.1385
20 | 2648210.094 | 1232309.5879 | 2648196.3146 | 1232305.6738 | 2648192.5114 | 1232303.968
21 | 2648210.094 | 1232309.5879 | 2648222.3081 | 1232309.8553
22 | 2648210.094 | 1232309.5879 | 2648193.6942 | 1232337.2481
23 | 2648168.4847 | 1232293.1918 | 2648192.5114 | 1232303.968
24 | 2648222.3081 | 1232309.8553 | 2648223.0018 | 1232309.8705 | 2648245.1548 | 1232310.927
25 | 2648193.6942 | 1232337.2481 | 2648190.7407 | 1232342.2295 | 2648182.588 | 1232362.6278
26 | 2648182.588 | 1232362.6278 | 2648178.6842 | 1232372.3954 | 2648173.0903 | 1232387.0707
27 | 2648042.0895 | 1232372.5043 | 2648040.2388 | 1232376.9383
28 | 2648037.1796 | 1232384.2673 | 2648040.2388 | 1232376.9383
29 | 2648037.1796 | 1232384.2673 | 2648034.2277 | 1232391.3392 | 2648024.2924 | 1232415.143
30 | 2648015.9362 | 1232435.1637 | 2648024.2924 | 1232415.143
31 | 2648015.9362 | 1232435.1637 | 2648003.1491 | 1232465.7983
32 | 2648015.9362 | 1232435.1637 | 2647989.8888 | 1232424.9248 | 2647984.6661 | 1232417.2 | 2647993.7246 | 1232392.213
33 | 2647999.43 | 1232294.4637 | 2648021.2991 | 1232308.1965
34 | 2647994.842 | 1232389.131 | 2647993.7246 | 1232392.213
35 | 2647913.7504 | 1232496.9011 | 2647912.7252 | 1232483.1841 | 2647912.1255 | 1232466.4687 | 2647914.9282 | 1232458.5189
36 | 2647913.7504 | 1232496.9011 | 2647747.3025 | 1232523.3684
37 | 2647921.9417 | 1232438.6251 | 2647914.9282 | 1232458.5189
38 | 2647747.3025 | 1232523.3684 | 2647723.9757 | 1232515.5362
39 | 2647922.3229 | 1232437.5437 | 2647921.9417 | 1232438.6251
40 | 2647936.8204 | 1232390.8865 | 2647922.3229 | 1232437.5437
41 | 2647936.8204 | 1232390.8865 | 2647950.959 | 1232354.5153
42 | 2647936.8204 | 1232390.8865 | 2647913.6843 | 1232382.1673
43 | 2647950.959 | 1232354.5153 | 2647951.8828 | 1232352.139 | 2647953.6181 | 1232347.3217
44 | 2647899.0924 | 1232376.6682 | 2647913.6843 | 1232382.1673
45 | 2647953.6181 | 1232347.3217 | 2647961.9518 | 1232324.1883
46 | 2647961.9518 | 1232324.1883 | 2647963.5162 | 1232319.8457 | 2647966.4783 | 1232312.3199
47 | 2647978.6445 | 1232281.41 | 2647966.4783 | 1232312.3199
48 | 2647978.6445 | 1232281.41 | 2647989.2746 | 1232288.0889
49 | 2647978.6445 | 1232281.41 | 2647939.5126 | 1232255.1446
50 | 2647989.2746 | 1232288.0889 | 2648003.8806 | 1232263.1911
51 | 2647999.43 | 1232294.4637 | 2647989.2746 | 1232288.0889
52 | 2647928.0727 | 1232247.4698 | 2647939.5126 | 1232255.1446
53 | 2647939.5126 | 1232255.1446 | 2647952.4675 | 1232236.6494
54 | 2647999.43 | 1232294.4637 | 2648027.5846 | 1232242.0054
55 | 2647928.0727 | 1232247.4698 | 2647913.7627 | 1232237.1025
56 | 2647928.0727 | 1232247.4698 | 2647919.0351 | 1232270.8989
57 | 2647952.4675 | 1232236.6494 | 2647967.2564 | 1232215.5359
58 | 2648027.5846 | 1232242.0054 | 2648049.4415 | 1232201.2811
59 | 2648059.3786 | 1232182.766 | 2648049.4415 | 1232201.2811
60 | 2648059.3786 | 1232182.766 | 2648066.1189 | 1232170.446
61 | 2648059.3786 | 1232182.766 | 2648032.808 | 1232166.8747
62 | 2647895.8005 | 1232280.4307 | 2647902.884 | 1232280.8992 | 2647911.3484 | 1232283.847 | 2647914.9257 | 1232281.5521 | 2647919.0351 | 1232270.8989
63 | 2647895.8005 | 1232280.4307 | 2647885.4628 | 1232298.3428
64 | 2647892.3437 | 1232269.6405 | 2647895.8005 | 1232280.4307
65 | 2647883.7674 | 1232301.2804 | 2647885.4628 | 1232298.3428
66 | 2647892.3437 | 1232269.6405 | 2647895.6879 | 1232264.3308
67 | 2647883.7674 | 1232301.2804 | 2647880.4804 | 1232300.4312
68 | 2648066.1189 | 1232170.446 | 2648093.5527 | 1232181.6526 | 2648095.5782 | 1232178.639
69 | 2648032.808 | 1232166.8747 | 2648031.12 | 1232165.8715
70 | 2648032.808 | 1232166.8747 | 2648022.167 | 1232181.6815
71 | 2648031.12 | 1232165.8715 | 2648037.0882 | 1232155.4149
72 | 2648014.5777 | 1232188.0409 | 2648016.634 | 1232189.3806 | 2648022.167 | 1232181.6815

## bus_geodata
| x | y | coords
0 | 2648108.5367 | 1232212.6756
1 | 2648127.8056 | 1232165.8496
2 | 2648089.9067 | 1232257.9491
3 | 2648132.4964 | 1232154.4503
4 | 2648107.8332 | 1232265.9893
5 | 2648087.6505 | 1232263.3543
6 | 2648114.5675 | 1232144.877
7 | 2648125.5587 | 1232273.9392
8 | 2648108.4322 | 1232157.1413
9 | 2648142.3202 | 1232281.4569
10 | 2648059.6617 | 1232330.4061
11 | 2648024.5415 | 1232310.2326
12 | 2648049.8798 | 1232353.8408
13 | 2648082.0289 | 1232141.3707
14 | 2648068.1692 | 1232166.6991
15 | 2648103.3295 | 1232163.1447
16 | 2648237.3457 | 1232231.5246
17 | 2648217.3568 | 1232292.1385
18 | 2648210.094 | 1232309.5879
19 | 2648192.5114 | 1232303.968
20 | 2648222.3081 | 1232309.8553
21 | 2648193.6942 | 1232337.2481
22 | 2648168.4847 | 1232293.1918
23 | 2648245.1548 | 1232310.927
24 | 2648182.588 | 1232362.6278
25 | 2648173.0903 | 1232387.0707
26 | 2648042.0895 | 1232372.5043
27 | 2648040.2388 | 1232376.9383
28 | 2648037.1796 | 1232384.2673
29 | 2648024.2924 | 1232415.143
30 | 2648015.9362 | 1232435.1637
31 | 2648021.2991 | 1232308.1965
32 | 2648003.1491 | 1232465.7983
33 | 2647993.7246 | 1232392.213
34 | 2647994.842 | 1232389.131
35 | 2647913.7504 | 1232496.9011
36 | 2647914.9282 | 1232458.5189
37 | 2647747.3025 | 1232523.3684
38 | 2647921.9417 | 1232438.6251
39 | 2647723.9757 | 1232515.5362
40 | 2647922.3229 | 1232437.5437
41 | 2647936.8204 | 1232390.8865
42 | 2647950.959 | 1232354.5153
43 | 2647913.6843 | 1232382.1673
44 | 2647953.6181 | 1232347.3217
45 | 2647899.0924 | 1232376.6682
46 | 2647961.9518 | 1232324.1883
47 | 2647966.4783 | 1232312.3199
48 | 2647978.6445 | 1232281.41
49 | 2647989.2746 | 1232288.0889
50 | 2647939.5126 | 1232255.1446
51 | 2648003.8806 | 1232263.1911
52 | 2647999.43 | 1232294.4637
53 | 2647928.0727 | 1232247.4698
54 | 2647952.4675 | 1232236.6494
55 | 2648027.5846 | 1232242.0054
56 | 2648049.4415 | 1232201.2811
57 | 2648059.3786 | 1232182.766
58 | 2647913.7627 | 1232237.1025
59 | 2647919.0351 | 1232270.8989
60 | 2647967.2564 | 1232215.5359
61 | 2647895.8005 | 1232280.4307
62 | 2647885.4628 | 1232298.3428
63 | 2647892.3437 | 1232269.6405
64 | 2647883.7674 | 1232301.2804
65 | 2647895.6879 | 1232264.3308
66 | 2647880.4804 | 1232300.4312
67 | 2648066.1189 | 1232170.446
68 | 2648032.808 | 1232166.8747
69 | 2648095.5782 | 1232178.639
70 | 2648031.12 | 1232165.8715
71 | 2648022.167 | 1232181.6815
72 | 2648037.0882 | 1232155.4149
73 | 2648014.5777 | 1232188.0409
74 | 2648089.9067 | 1232257.9491

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99511 | -0.033936 | 0.067469 | 0.016909
1 | 0.99229 | -0.053546 | 0.0039734 | 0.00099582
2 | 0.99941 | -0.0040605 | 0 | 0
3 | 0.99163 | -0.05817 | 0 | 0
4 | 0.99869 | -0.0091344 | 0.0040219 | 0.001008
5 | 1 | 0 | -0.21155 | -0.053152
6 | 0.99053 | -0.065862 | 0 | 0
7 | 0.99808 | -0.013375 | 0.0053865 | 0.00135
8 | 0.98979 | -0.071025 | 0.0017165 | 0.00043021
9 | 0.99765 | -0.016398 | 0.0031623 | 0.00079255
10 | 0.97476 | -0.17754 | 0 | 0
11 | 0.97535 | -0.17324 | 0.0066974 | 0.0016785
12 | 0.97438 | -0.18023 | 0.00078193 | 0.00019597
13 | 0.98666 | -0.093047 | 0.0039366 | 0.00098661
14 | 0.98682 | -0.091881 | 0.0033883 | 0.00084919
15 | 0.98937 | -0.073984 | 0.0048771 | 0.0012223
16 | 0.99626 | -0.026186 | 0.00088771 | 0.00022248
17 | 0.99634 | -0.025614 | 0.0025517 | 0.00063953
18 | 0.99644 | -0.024959 | 0 | 0
19 | 0.99668 | -0.023272 | 0.0025025 | 0.00062719
20 | 0.99641 | -0.025141 | 0.0006644 | 0.00016651
21 | 0.99625 | -0.026299 | 0.00058349 | 0.00014624
22 | 0.99711 | -0.02021 | 0.0016664 | 0.00041765
23 | 0.99638 | -0.025328 | 0.0008121 | 0.00020353
24 | 0.9961 | -0.027293 | 0.0020694 | 0.00051863
25 | 0.99605 | -0.027686 | 0.0014867 | 0.00037261
26 | 0.97411 | -0.18221 | 0.0007988 | 0.0002002
27 | 0.97405 | -0.18264 | 0.0016142 | 0.00040457
28 | 0.97397 | -0.18322 | 0.0010425 | 0.00026128
29 | 0.97368 | -0.18528 | 0.0029009 | 0.00072702
30 | 0.97359 | -0.18596 | 0 | 0
31 | 0.97545 | -0.17257 | 0.0009087 | 0.00022774
32 | 0.97357 | -0.18608 | 0.00035052 | 8.7848e-05
33 | 0.97335 | -0.1877 | 0.001729 | 0.00043333
34 | 0.97334 | -0.18773 | 0.0008622 | 0.00021609
35 | 0.97124 | -0.20287 | 0 | 0
36 | 0.97129 | -0.2025 | 0.00030987 | 7.766e-05
37 | 0.97102 | -0.20446 | 0 | 0
38 | 0.97133 | -0.20223 | 0.005092 | 0.0012762
39 | 0.97099 | -0.20469 | 0.00088105 | 0.00022081
40 | 0.97134 | -0.20216 | 0 | 0
41 | 0.97179 | -0.1989 | 0 | 0
42 | 0.97267 | -0.19253 | 0.00050788 | 0.00012729
43 | 0.97146 | -0.20128 | 0.0019561 | 0.00049025
44 | 0.97285 | -0.19124 | 0.0003947 | 9.8921e-05
45 | 0.97129 | -0.20247 | 0.0071718 | 0.0017974
46 | 0.97344 | -0.18701 | 0.001195 | 0.00029949
47 | 0.97376 | -0.18466 | 0.002368 | 0.00059348
48 | 0.97473 | -0.1777 | 0 | 0
49 | 0.9754 | -0.1729 | 0 | 0
50 | 0.97359 | -0.18593 | 0 | 0
51 | 0.97522 | -0.17419 | 0.0042832 | 0.0010735
52 | 0.97612 | -0.16777 | 0 | 0
53 | 0.97334 | -0.18769 | 0 | 0
54 | 0.97344 | -0.18701 | 0.0014546 | 0.00036456
55 | 0.98121 | -0.13144 | 0.003601 | 0.00090249
56 | 0.98541 | -0.10178 | 0.017737 | 0.0044453
57 | 0.98623 | -0.096034 | 0 | 0
58 | 0.97329 | -0.18805 | 0.001937 | 0.00048545
59 | 0.97297 | -0.19038 | 0.0018052 | 0.00045242
60 | 0.97332 | -0.18784 | 0.0030624 | 0.00076751
61 | 0.97258 | -0.19318 | 0 | 0
62 | 0.97243 | -0.19424 | 0.0014238 | 0.00035684
63 | 0.97252 | -0.1936 | 0 | 0
64 | 0.97242 | -0.19436 | 0 | 0
65 | 0.97249 | -0.19383 | 0.0034981 | 0.00087671
66 | 0.9724 | -0.19449 | 0.0034378 | 0.00086159
67 | 0.98687 | -0.091561 | 0 | 0
68 | 0.98564 | -0.10026 | 0 | 0
69 | 0.98849 | -0.08015 | 0.0037702 | 0.00094491
70 | 0.98563 | -0.10032 | 0 | 0
71 | 0.98536 | -0.10222 | 0.0052808 | 0.0013235
72 | 0.98558 | -0.10068 | 0.0028924 | 0.00072489
73 | 0.98527 | -0.10285 | 0.0051468 | 0.0012899
74 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.11654 | 0.029421 | -0.11622 | -0.0293 | 0.00032014 | 0.00012116 | 0.17434 | 0.17434 | 0.17434 | 0.99511 | -0.033936 | 0.99229 | -0.053546 | 21.524
1 | -0.18401 | -0.04633 | 0.18478 | 0.046625 | 0.00077139 | 0.00029477 | 0.27523 | 0.27523 | 0.27523 | 0.99511 | -0.033936 | 0.99941 | -0.0040605 | 33.9792
2 | 0.11225 | 0.028304 | -0.11218 | -0.028276 | 7.2698e-05 | 2.7483e-05 | 0.16839 | 0.16839 | 0.16839 | 0.99229 | -0.053546 | 0.99163 | -0.05817 | 20.7884
3 | 0.025849 | 0.0064811 | -0.025831 | -0.0064744 | 1.816e-05 | 6.7272e-06 | 0.038487 | 0.038487 | 0.038487 | 0.99941 | -0.0040605 | 0.99869 | -0.0091344 | 14.2544
4 | -0.21063 | -0.053106 | 0.21075 | 0.053152 | 0.0001199 | 4.5886e-05 | 0.31372 | 0.31372 | 0.31372 | 0.99941 | -0.0040605 | 1 | 0 | 38.7306
5 | 0.11218 | 0.028276 | -0.11206 | -0.028231 | 0.0001207 | 4.5633e-05 | 0.16839 | 0.16839 | 0.16839 | 0.99163 | -0.05817 | 0.99053 | -0.065862 | 20.7885
6 | 0.021809 | 0.0054664 | -0.021796 | -0.0054617 | 1.28e-05 | 4.669e-06 | 0.032495 | 0.032495 | 0.032495 | 0.99869 | -0.0091344 | 0.99808 | -0.013375 | 12.0351
7 | 0.11206 | 0.028231 | -0.11197 | -0.0282 | 8.0876e-05 | 3.0577e-05 | 0.16839 | 0.16839 | 0.16839 | 0.99053 | -0.065862 | 0.98979 | -0.071025 | 20.7885
8 | 0.016409 | 0.0041118 | -0.016403 | -0.0041094 | 6.8606e-06 | 2.3987e-06 | 0.024464 | 0.024464 | 0.024464 | 0.99808 | -0.013375 | 0.99765 | -0.016398 | 9.0608
9 | 0.11026 | 0.02777 | -0.11021 | -0.027753 | 4.5593e-05 | 1.7228e-05 | 0.16581 | 0.16581 | 0.16581 | 0.98979 | -0.071025 | 0.98937 | -0.073984 | 20.4699
10 | 0.01324 | 0.0033168 | -0.013233 | -0.0033145 | 6.9779e-06 | 2.3096e-06 | 0.019748 | 0.019748 | 0.019748 | 0.99765 | -0.016398 | 0.99711 | -0.02021 | 7.3139
11 | -0.01009 | -0.0025275 | 0.010096 | 0.0025293 | 5.9976e-06 | 1.8014e-06 | 0.015402 | 0.015402 | 0.015402 | 0.97476 | -0.17754 | 0.97535 | -0.17324 | 5.7046
12 | 0.01009 | 0.0025275 | -0.010086 | -0.0025263 | 3.7593e-06 | 1.1294e-06 | 0.015402 | 0.015403 | 0.015403 | 0.97476 | -0.17754 | 0.97438 | -0.18023 | 5.7047
13 | -0.016793 | -0.0042078 | 0.016795 | 0.0042084 | 1.5682e-06 | 5.5536e-07 | 0.02562 | 0.02562 | 0.02562 | 0.97535 | -0.17324 | 0.97545 | -0.17257 | 9.4889
14 | 0.0093043 | 0.0023304 | -0.0093018 | -0.0023296 | 2.5477e-06 | 7.2805e-07 | 0.014208 | 0.014209 | 0.014209 | 0.97438 | -0.18023 | 0.97411 | -0.18221 | 5.2624
15 | -0.0039366 | -0.00098661 | 0.0039373 | 0.00098648 | 6.3502e-07 | -1.2457e-07 | 0.005937 | 0.0059368 | 0.005937 | 0.98666 | -0.093047 | 0.98682 | -0.091881 | 2.1989
16 | -0.0073256 | -0.0018357 | 0.0073259 | 0.0018357 | 3.252e-07 | 7.0505e-08 | 0.011046 | 0.011046 | 0.011046 | 0.98682 | -0.091881 | 0.98687 | -0.091561 | 4.0911
17 | 0.10534 | 0.02653 | -0.10524 | -0.026496 | 9.074e-05 | 3.4231e-05 | 0.15847 | 0.15847 | 0.15847 | 0.98937 | -0.073984 | 0.98849 | -0.08015 | 19.5644
18 | -0.00088771 | -0.00022248 | 0.00088778 | 0.00022168 | 7.0087e-08 | -8.0525e-07 | 0.0013259 | 0.0013256 | 0.0013259 | 0.99626 | -0.026186 | 0.99634 | -0.025614 | 0.49107
19 | -0.0034395 | -0.0008612 | 0.0034398 | 0.00086108 | 3.1117e-07 | -1.2649e-07 | 0.0051366 | 0.0051365 | 0.0051366 | 0.99634 | -0.025614 | 0.99644 | -0.024959 | 1.9024
20 | -0.0090573 | -0.0022676 | 0.0090594 | 0.0022681 | 2.1108e-06 | 5.709e-07 | 0.013525 | 0.013525 | 0.013525 | 0.99644 | -0.024959 | 0.99668 | -0.023272 | 5.0092
21 | 0.0014766 | 0.00036961 | -0.0014765 | -0.00036976 | 3.7061e-08 | -1.4488e-07 | 0.0022048 | 0.0022049 | 0.0022049 | 0.99644 | -0.024959 | 0.99641 | -0.025141 | 0.81663
22 | 0.0041409 | 0.0010369 | -0.0041402 | -0.001037 | 7.6723e-07 | -1.237e-07 | 0.0061835 | 0.0061836 | 0.0061836 | 0.99644 | -0.024959 | 0.99625 | -0.026299 | 2.2902
23 | -0.011562 | -0.0028953 | 0.011567 | 0.0028969 | 4.8956e-06 | 1.5396e-06 | 0.017261 | 0.017261 | 0.017261 | 0.99668 | -0.023272 | 0.99711 | -0.02021 | 6.3929
24 | 0.00081212 | 0.00020324 | -0.0008121 | -0.00020353 | 2.0991e-08 | -2.8983e-07 | 0.0012127 | 0.0012128 | 0.0012128 | 0.99641 | -0.025141 | 0.99638 | -0.025328 | 0.44919
25 | 0.0035567 | 0.00089076 | -0.0035562 | -0.00089093 | 4.8879e-07 | -1.7339e-07 | 0.0053121 | 0.0053122 | 0.0053122 | 0.99625 | -0.026299 | 0.9961 | -0.027293 | 1.9675
26 | 0.0014868 | 0.0003723 | -0.0014867 | -0.00037261 | 8.072e-08 | -3.103e-07 | 0.0022209 | 0.0022211 | 0.0022211 | 0.9961 | -0.027293 | 0.99605 | -0.027686 | 0.82261
27 | 0.008503 | 0.0021294 | -0.0085025 | -0.0021293 | 5.0578e-07 | 1.3472e-07 | 0.012988 | 0.012988 | 0.012988 | 0.97411 | -0.18221 | 0.97405 | -0.18264 | 4.8105
28 | 0.0068882 | 0.0017247 | -0.0068877 | -0.0017246 | 5.487e-07 | 1.1219e-07 | 0.010522 | 0.010522 | 0.010522 | 0.97405 | -0.18264 | 0.97397 | -0.18322 | 3.8972
29 | 0.0058452 | 0.0014633 | -0.0058435 | -0.0014631 | 1.6647e-06 | 2.2403e-07 | 0.0089296 | 0.0089297 | 0.0089297 | 0.97397 | -0.18322 | 0.97368 | -0.18528 | 3.3073
30 | 0.0029426 | 0.0007361 | -0.0029424 | -0.00073626 | 2.7372e-07 | -1.6453e-07 | 0.0044966 | 0.0044966 | 0.0044966 | 0.97368 | -0.18528 | 0.97359 | -0.18596 | 1.6654
31 | 0.00035052 | 8.7437e-05 | -0.00035052 | -8.7848e-05 | 5.9436e-09 | -4.1052e-07 | 0.00053558 | 0.00053573 | 0.00053573 | 0.97359 | -0.18596 | 0.97357 | -0.18608 | 0.19842
32 | 0.0025918 | 0.00064883 | -0.0025912 | -0.00064938 | 6.2557e-07 | -5.537e-07 | 0.0039611 | 0.0039614 | 0.0039614 | 0.97359 | -0.18596 | 0.97335 | -0.1877 | 1.4672
33 | -0.017704 | -0.0044361 | 0.017715 | 0.0044403 | 1.1752e-05 | 4.1975e-06 | 0.027006 | 0.027006 | 0.027006 | 0.97545 | -0.17257 | 0.97612 | -0.16777 | 10.0023
34 | 0.0008622 | 0.00021605 | -0.0008622 | -0.00021609 | 3.5541e-09 | -3.9379e-08 | 0.0013181 | 0.0013181 | 0.0013181 | 0.97335 | -0.1877 | 0.97334 | -0.18773 | 0.48818
35 | -0.00088127 | -0.00021851 | 0.00088131 | 0.00021804 | 4.4201e-08 | -4.6456e-07 | 0.0013493 | 0.0013492 | 0.0013493 | 0.97124 | -0.20287 | 0.97129 | -0.2025 | 0.49975
36 | 0.00088127 | 0.00021851 | -0.00088108 | -0.00022052 | 1.9158e-07 | -2.0116e-06 | 0.0013493 | 0.0013501 | 0.0013501 | 0.97124 | -0.20287 | 0.97102 | -0.20446 | 0.50003
37 | -0.0011912 | -0.0002957 | 0.0011912 | 0.00029546 | 4.3783e-08 | -2.4424e-07 | 0.0018239 | 0.0018238 | 0.0018239 | 0.97129 | -0.2025 | 0.97133 | -0.20223 | 0.67551
38 | 0.00088108 | 0.00022052 | -0.00088105 | -0.00022081 | 2.7989e-08 | -2.9361e-07 | 0.0013501 | 0.0013502 | 0.0013502 | 0.97102 | -0.20446 | 0.97099 | -0.20469 | 0.50007
39 | -0.0062832 | -0.0015716 | 0.0062833 | 0.0015716 | 6.6278e-08 | 1.1298e-08 | 0.0096244 | 0.0096244 | 0.0096244 | 0.97133 | -0.20223 | 0.97134 | -0.20216 | 3.5646
40 | -0.0062833 | -0.0015716 | 0.0062861 | 0.0015721 | 2.8236e-06 | 4.8104e-07 | 0.0096244 | 0.0096241 | 0.0096244 | 0.97134 | -0.20216 | 0.97179 | -0.1989 | 3.5646
41 | -0.015418 | -0.0038609 | 0.015432 | 0.0038656 | 1.357e-05 | 4.7355e-06 | 0.023607 | 0.023607 | 0.023607 | 0.97179 | -0.1989 | 0.97267 | -0.19253 | 8.7435
42 | 0.0091321 | 0.0022888 | -0.0091291 | -0.0022879 | 3.0167e-06 | 8.5406e-07 | 0.013983 | 0.013983 | 0.013983 | 0.97179 | -0.1989 | 0.97146 | -0.20128 | 5.179
43 | -0.01594 | -0.0039929 | 0.015943 | 0.0039939 | 2.8457e-06 | 9.9928e-07 | 0.024384 | 0.024384 | 0.024384 | 0.97267 | -0.19253 | 0.97285 | -0.19124 | 9.0312
44 | 0.007173 | 0.0017977 | -0.0071718 | -0.0017974 | 1.1746e-06 | 2.5875e-07 | 0.010987 | 0.010987 | 0.010987 | 0.97146 | -0.20128 | 0.97129 | -0.20247 | 4.0693
45 | -0.016337 | -0.0040928 | 0.016347 | 0.0040962 | 9.5803e-06 | 3.3792e-06 | 0.024988 | 0.024988 | 0.024988 | 0.97285 | -0.19124 | 0.97344 | -0.18701 | 9.2548
46 | -0.017542 | -0.0043957 | 0.017547 | 0.0043978 | 5.6997e-06 | 2.0342e-06 | 0.026814 | 0.026814 | 0.026814 | 0.97344 | -0.18701 | 0.97376 | -0.18466 | 9.9313
47 | -0.019915 | -0.0049912 | 0.019935 | 0.0049982 | 1.9198e-05 | 6.97e-06 | 0.030433 | 0.030433 | 0.030433 | 0.97376 | -0.18466 | 0.97473 | -0.1777 | 11.2715
48 | -0.036585 | -0.0091724 | 0.036609 | 0.0091817 | 2.4385e-05 | 9.2228e-06 | 0.055851 | 0.055851 | 0.055851 | 0.97473 | -0.1777 | 0.9754 | -0.1729 | 20.6856
49 | 0.01665 | 0.0041742 | -0.016631 | -0.0041675 | 1.8963e-05 | 6.7078e-06 | 0.025418 | 0.025419 | 0.025419 | 0.97473 | -0.1777 | 0.97359 | -0.18593 | 9.4143
50 | 0.0042839 | 0.0010734 | -0.0042832 | -0.0010735 | 7.6931e-07 | -6.4343e-08 | 0.0065352 | 0.0065354 | 0.0065354 | 0.9754 | -0.1729 | 0.97522 | -0.17419 | 2.4205
51 | -0.040893 | -0.010255 | 0.040922 | 0.010266 | 2.9059e-05 | 1.1027e-05 | 0.062386 | 0.062386 | 0.062386 | 0.9754 | -0.1729 | 0.97612 | -0.16777 | 23.1061
52 | 0.012113 | 0.0030357 | -0.01211 | -0.0030347 | 2.9403e-06 | 9.5998e-07 | 0.018513 | 0.018513 | 0.018513 | 0.97359 | -0.18593 | 0.97334 | -0.18769 | 6.8568
53 | 0.0045181 | 0.0011319 | -0.0045174 | -0.0011319 | 6.7187e-07 | -2.2349e-08 | 0.0069052 | 0.0069053 | 0.0069053 | 0.97359 | -0.18593 | 0.97344 | -0.18701 | 2.5575
54 | -0.058638 | -0.014706 | 0.058934 | 0.01482 | 0.00029687 | 0.00011343 | 0.089392 | 0.089392 | 0.089392 | 0.97612 | -0.16777 | 0.98121 | -0.13144 | 33.1083
55 | 0.0019371 | 0.00048527 | -0.001937 | -0.00048545 | 9.6697e-08 | -1.8243e-07 | 0.0029613 | 0.0029614 | 0.0029614 | 0.97334 | -0.18769 | 0.97329 | -0.18805 | 1.0968
56 | 0.010173 | 0.0025494 | -0.010169 | -0.0025483 | 3.7901e-06 | 1.1457e-06 | 0.015552 | 0.015552 | 0.015552 | 0.97334 | -0.18769 | 0.97297 | -0.19038 | 5.7601
57 | 0.0030628 | 0.00076733 | -0.0030624 | -0.00076751 | 3.5257e-07 | -1.8481e-07 | 0.0046817 | 0.0046818 | 0.0046818 | 0.97344 | -0.18701 | 0.97332 | -0.18784 | 1.734
58 | -0.062535 | -0.015722 | 0.062795 | 0.015822 | 0.00025948 | 9.9214e-05 | 0.094853 | 0.094853 | 0.094853 | 0.98121 | -0.13144 | 0.98541 | -0.10178 | 35.1307
59 | -0.080532 | -0.020267 | 0.080597 | 0.020291 | 6.4667e-05 | 2.4068e-05 | 0.12164 | 0.12164 | 0.12164 | 0.98541 | -0.10178 | 0.98623 | -0.096034 | 15.0169
60 | -0.093928 | -0.023633 | 0.093987 | 0.023655 | 5.8662e-05 | 2.2025e-05 | 0.14175 | 0.14175 | 0.14175 | 0.98623 | -0.096034 | 0.98687 | -0.091561 | 17.5001
61 | 0.013331 | 0.0033417 | -0.013323 | -0.0033391 | 7.7995e-06 | 2.6058e-06 | 0.020114 | 0.020114 | 0.020114 | 0.98623 | -0.096034 | 0.98564 | -0.10026 | 7.4498
62 | 0.0083641 | 0.0020959 | -0.0083608 | -0.002095 | 3.2397e-06 | 8.5213e-07 | 0.012792 | 0.012792 | 0.012792 | 0.97297 | -0.19038 | 0.97258 | -0.19318 | 4.7377
63 | 0.0048624 | 0.0012184 | -0.0048617 | -0.0012184 | 7.1421e-07 | 1.8088e-08 | 0.0074393 | 0.0074394 | 0.0074394 | 0.97258 | -0.19318 | 0.97243 | -0.19424 | 2.7553
64 | 0.0034984 | 0.00087661 | -0.0034982 | -0.00087667 | 2.0252e-07 | -6.2687e-08 | 0.0053524 | 0.0053524 | 0.0053524 | 0.97258 | -0.19318 | 0.97252 | -0.1936 | 1.9824
65 | 0.0034379 | 0.00086155 | -0.0034378 | -0.00086157 | 5.8572e-08 | -1.9549e-08 | 0.0052607 | 0.0052607 | 0.0052607 | 0.97243 | -0.19424 | 0.97242 | -0.19436 | 1.9484
66 | 0.0034982 | 0.00087667 | -0.0034981 | -0.00087671 | 1.1211e-07 | -3.4692e-08 | 0.0053524 | 0.0053525 | 0.0053525 | 0.97252 | -0.1936 | 0.97249 | -0.19383 | 1.9824
67 | 0.0034378 | 0.00086157 | -0.0034378 | -0.00086159 | 5.8456e-08 | -1.9509e-08 | 0.0052607 | 0.0052607 | 0.0052607 | 0.97242 | -0.19436 | 0.9724 | -0.19449 | 1.9484
68 | -0.10131 | -0.02549 | 0.10147 | 0.025551 | 0.00016154 | 6.0854e-05 | 0.1528 | 0.1528 | 0.1528 | 0.98687 | -0.091561 | 0.98849 | -0.08015 | 18.8637
69 | 0.0028925 | 0.00072478 | -0.0028925 | -0.00072479 | 2.331e-08 | -1.6002e-08 | 0.0043668 | 0.0043668 | 0.0043668 | 0.98564 | -0.10026 | 0.98563 | -0.10032 | 1.6173
70 | 0.010431 | 0.0026143 | -0.010428 | -0.0026134 | 2.8216e-06 | 8.5289e-07 | 0.015748 | 0.015748 | 0.015748 | 0.98564 | -0.10026 | 0.98536 | -0.10222 | 5.8325
71 | 0.0028925 | 0.00072479 | -0.0028924 | -0.00072489 | 1.4327e-07 | -9.8338e-08 | 0.0043668 | 0.0043668 | 0.0043668 | 0.98563 | -0.10032 | 0.98558 | -0.10068 | 1.6174
72 | 0.0051472 | 0.0012899 | -0.0051468 | -0.0012899 | 4.4998e-07 | 2.105e-08 | 0.0077729 | 0.007773 | 0.007773 | 0.98536 | -0.10222 | 0.98527 | -0.10285 | 2.8789

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21616 | 0.054307

## res_load
| p_mw | q_mvar
0 | 0.067469 | 0.016909
1 | 0.0039734 | 0.00099582
2 | 0.0040219 | 0.001008
3 | 0.0046104 | 0.0011555
4 | 0.0053865 | 0.00135
5 | 0.0017165 | 0.00043021
6 | 0.0031623 | 0.00079255
7 | 0.0066974 | 0.0016785
8 | 0.00078193 | 0.00019597
9 | 0.0039366 | 0.00098661
10 | 0.0033883 | 0.00084919
11 | 0.0048771 | 0.0012223
12 | 0.00088771 | 0.00022248
13 | 0.0025517 | 0.00063953
14 | 0.0025025 | 0.00062719
15 | 0.0006644 | 0.00016651
16 | 0.00058349 | 0.00014624
17 | 0.0016664 | 0.00041765
18 | 0.0008121 | 0.00020353
19 | 0.0020694 | 0.00051863
20 | 0.0014867 | 0.00037261
21 | 0.0007988 | 0.0002002
22 | 0.0016142 | 0.00040457
23 | 0.0010425 | 0.00026128
24 | 0.0029009 | 0.00072702
25 | 0.0009087 | 0.00022774
26 | 0.00035052 | 8.7848e-05
27 | 0.001729 | 0.00043333
28 | 0.0008622 | 0.00021609
29 | 0.00030987 | 7.766e-05
30 | 0.005092 | 0.0012762
31 | 0.00088105 | 0.00022081
32 | 0.00050788 | 0.00012729
33 | 0.0019561 | 0.00049025
34 | 0.0003947 | 9.8921e-05
35 | 0.0071718 | 0.0017974
36 | 0.001195 | 0.00029949
37 | 0.002368 | 0.00059348
38 | 0.0042832 | 0.0010735
39 | 0.0014546 | 0.00036456
40 | 0.003601 | 0.00090249
41 | 0.017737 | 0.0044453
42 | 0.001937 | 0.00048545
43 | 0.0018052 | 0.00045242
44 | 0.0030624 | 0.00076751
45 | 0.0014238 | 0.00035684
46 | 0.0034981 | 0.00087671
47 | 0.0034378 | 0.00086159
48 | 0.0037702 | 0.00094491
49 | 0.0052808 | 0.0013235
50 | 0.0028924 | 0.00072489
51 | 0.0051468 | 0.0012899

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1