## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1104-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1104-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1104-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1104-3_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1104-3_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1104-3_0_3_node_57 | 0.4 | n |  | TRUE
6 | bus_LV_1104-3_0_3_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_1104-3_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1104-3_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1104-3_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1104-3_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1104-3_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1104-3_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1104-3_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1104-3_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1104-3_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1104-3_0_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_1104-3_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1104-3_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1104-3_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1104-3_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1104-3_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1104-3_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1104-3_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1104-3_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1104-3_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1104-3_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1104-3_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_1104-3_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1104-3_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1104-3_0_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_1104-3_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1104-3_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1104-3_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1104-3_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1104-3_0_3_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_1104-3_0_3_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_1104-3_0_3_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_1104-3_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1104-3_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1104-3_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1104-3_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1104-3_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1104-3_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1104-3_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1104-3_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1104-3_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_1104-3_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1104-3_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1104-3_0_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_1104-3_0_3_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_1104-3_0_3_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_1104-3_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1104-3_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_1104-3_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_1104-3_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_1104-3_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1104-3_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_1104-3_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_1104-3_0_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_1104-3_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_1104-3_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_1104-3_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_1104-3_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_1104-3_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_1104-3_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_1104-3_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_MV_472_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1104-3_0_3_load_0 | 0 | 0.00080274 | 0.00020119 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1104-3_0_3_load_1 | 1 | 0.0024006 | 0.00060164 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1104-3_0_3_load_2 | 2 | 0.00054341 | 0.00013619 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1104-3_0_3_load_3 | 4 | 0.0056176 | 0.0014079 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1104-3_0_3_load_57 | 5 | 0.00039776 | 9.9688e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1104-3_0_3_load_58 | 6 | 0.00059413 | 0.0001489 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1104-3_0_3_load_4 | 7 | 0.0091532 | 0.002294 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1104-3_0_3_load_6 | 8 | 0.011566 | 0.0028986 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1104-3_0_3_load_7 | 9 | 0.0014165 | 0.000355 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1104-3_0_3_load_10 | 12 | 0.001817 | 0.00045538 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1104-3_0_3_load_13 | 14 | 0.0011373 | 0.00028504 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1104-3_0_3_load_15 | 15 | 0.0050683 | 0.0012702 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1104-3_0_3_load_25 | 16 | 0.0027396 | 0.00068661 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1104-3_0_3_load_12 | 17 | 0.00057091 | 0.00014308 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1104-3_0_3_load_14 | 18 | 0.0024092 | 0.0006038 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1104-3_0_3_load_23 | 19 | 0.0019658 | 0.00049268 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1104-3_0_3_load_17 | 20 | 0.0017893 | 0.00044845 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1104-3_0_3_load_18 | 21 | 0.00055298 | 0.00013859 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1104-3_0_3_load_19 | 22 | 0.00069739 | 0.00017478 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1104-3_0_3_load_20 | 23 | 0.0018926 | 0.00047434 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1104-3_0_3_load_24 | 26 | 0.0013417 | 0.00033627 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1104-3_0_3_load_28 | 27 | 0.0016169 | 0.00040523 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1104-3_0_3_load_26 | 28 | 0.0021244 | 0.00053242 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1104-3_0_3_load_32 | 29 | 0.0011274 | 0.00028255 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1104-3_0_3_load_68 | 30 | 0.0018316 | 0.00045905 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1104-3_0_3_load_27 | 32 | 0.0067397 | 0.0016891 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1104-3_0_3_load_30 | 33 | 0.0008889 | 0.00022278 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1104-3_0_3_load_31 | 34 | 0.0035615 | 0.00089259 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1104-3_0_3_load_33 | 38 | 0.0016122 | 0.00040405 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1104-3_0_3_load_34 | 39 | 0.00075473 | 0.00018915 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1104-3_0_3_load_35 | 40 | 0.00067869 | 0.00017009 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1104-3_0_3_load_36 | 41 | 0.00037768 | 9.4656e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1104-3_0_3_load_37 | 42 | 0.00081643 | 0.00020462 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1104-3_0_3_load_42 | 43 | 0.00094049 | 0.00023571 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1104-3_0_3_load_39 | 44 | 0.00069712 | 0.00017471 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1104-3_0_3_load_49 | 45 | 0.00046584 | 0.00011675 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1104-3_0_3_load_38 | 46 | 0.0012684 | 0.00031789 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1104-3_0_3_load_41 | 48 | 0.00071582 | 0.0001794 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1104-3_0_3_load_65 | 49 | 0.00038206 | 9.5752e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1104-3_0_3_load_66 | 50 | 0.0021574 | 0.0005407 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1104-3_0_3_load_62 | 51 | 0.0021483 | 0.00053842 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1104-3_0_3_load_43 | 52 | 0.0017539 | 0.00043957 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1104-3_0_3_load_46 | 55 | 0.0046017 | 0.0011533 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1104-3_0_3_load_47 | 56 | 0.00095598 | 0.00023959 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1104-3_0_3_load_67 | 59 | 0.0047858 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1104-3_0_3_load_53 | 60 | 0.0012696 | 0.00031819 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1104-3_0_3_load_50 | 61 | 0.0010269 | 0.00025737 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1104-3_0_3_load_51 | 62 | 0.0014825 | 0.00037154 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1104-3_0_3_load_52 | 63 | 0.002183 | 0.00054712 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1104-3_0_3_load_55 | 64 | 0.0029332 | 0.00073513 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1104-3_0_3_load_59 | 66 | 0.001513 | 0.00037918 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1104-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1104-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1104-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.21962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1104-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1104-3_0_3_line_4 | NAYY 4x150 SE | 3 | 7 | 0.081437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1104-3_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.13628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1104-3_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0059184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1104-3_0_3_line_7 | NAYY 4x150 SE | 6 | 51 | 0.061975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1104-3_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.043673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1104-3_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.065064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1104-3_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.039147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1104-3_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.038071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1104-3_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.057961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1104-3_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.043914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1104-3_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.048535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1104-3_0_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.024734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1104-3_0_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.034298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1104-3_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.012517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1104-3_0_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.05275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1104-3_0_3_line_19 | NAYY 4x150 SE | 19 | 24 | 0.022613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1104-3_0_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.02085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_1104-3_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.02468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1104-3_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.019414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_1104-3_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.020336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_1104-3_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.016653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1104-3_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.017371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1104-3_0_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.040115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_1104-3_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.0166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1104-3_0_3_line_28 | NAYY 4x150 SE | 27 | 31 | 0.014402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1104-3_0_3_line_29 | NAYY 4x150 SE | 28 | 32 | 0.011317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1104-3_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0066126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1104-3_0_3_line_31 | NAYY 4x150 SE | 30 | 37 | 0.010902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1104-3_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.037618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1104-3_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.022429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_1104-3_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.046143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_1104-3_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.011621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_1104-3_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.01433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1104-3_0_3_line_37 | NAYY 4x150 SE | 36 | 59 | 0.020939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_1104-3_0_3_line_38 | NAYY 4x150 SE | 36 | 65 | 0.048293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1104-3_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.022756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_1104-3_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.023988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_1104-3_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.022508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_1104-3_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.0052597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_1104-3_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.015901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_1104-3_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.040981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_1104-3_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.013507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1104-3_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.043059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_1104-3_0_3_line_47 | NAYY 4x150 SE | 45 | 51 | 0.025899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1104-3_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.026744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_1104-3_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.084395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_1104-3_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.067052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_1104-3_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0079693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_1104-3_0_3_line_52 | NAYY 4x150 SE | 50 | 58 | 0.013915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_1104-3_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.0032143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_1104-3_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.039812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_1104-3_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.07212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1104-3_0_3_line_56 | NAYY 4x150 SE | 53 | 56 | 0.042528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_1104-3_0_3_line_57 | NAYY 4x150 SE | 54 | 57 | 0.021199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_1104-3_0_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.007066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_1104-3_0_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.040825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_1104-3_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.019272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1104-3_0_3_line_61 | NAYY 4x150 SE | 60 | 62 | 0.010754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1104-3_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.013856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1104-3_0_3_line_63 | NAYY 4x150 SE | 61 | 63 | 0.013396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1104-3_0_3_line_64 | NAYY 4x150 SE | 64 | 65 | 0.005107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1104-3_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.026065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1104-3_0_3_trafo_20 | 0.25 MVA 20/0.4 kV | 67 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2649308.5541 | 1234241.9041 | 2649312.3234 | 1234260.2086 | 2649313.2604 | 1234269.5223 | 2649312.6196 | 1234273.0152
1 | 2649308.5541 | 1234241.9041 | 2649305.7371 | 1234228.2236
2 | 2649312.6196 | 1234273.0152 | 2649522.5636 | 1234337.4828
3 | 2649305.7371 | 1234228.2236 | 2649302.7623 | 1234213.7774 | 2649301.6562 | 1234203.8619
4 | 2649522.5636 | 1234337.4828 | 2649553.9606 | 1234380.2161 | 2649570.4124 | 1234403.3772
5 | 2649165.9307 | 1234191.5971 | 2649301.6562 | 1234203.8619
6 | 2649165.9307 | 1234191.5971 | 2649165.9307 | 1234191.5971 | 2649161.3383 | 1234195.3304
7 | 2649115.1776 | 1234169.4829 | 2649122.5298 | 1234182.1213 | 2649128.3448 | 1234191.075 | 2649135.2344 | 1234196.4131 | 2649142.6859 | 1234199.699 | 2649152.0562 | 1234199.7876 | 2649158.5386 | 1234197.6065 | 2649161.3383 | 1234195.3304
8 | 2649387.4398 | 1233888.0341 | 2649348.9701 | 1233908.7085
9 | 2649298.0439 | 1233948.5356 | 2649324.8539 | 1233923.2752 | 2649333.931 | 1233916.7908 | 2649348.9701 | 1233908.7085
10 | 2649421.9227 | 1233869.5023 | 2649387.4398 | 1233888.0341
11 | 2649298.0439 | 1233948.5356 | 2649303.4918 | 1233954.2956 | 2649306.9116 | 1233958.1597 | 2649307.8872 | 1233962.8375 | 2649304.4821 | 1233981.8325 | 2649304.4784 | 1233982.7388
12 | 2649270.0843 | 1233998.358 | 2649276.878 | 1233978.7573 | 2649282.4783 | 1233967.0407 | 2649292.0167 | 1233954.2115 | 2649298.0439 | 1233948.5356
13 | 2649421.9227 | 1233869.5023 | 2649460.6032 | 1233848.7118
14 | 2649270.0843 | 1233998.358 | 2649276.5616 | 1234009.6077 | 2649289.6474 | 1234042.6657
15 | 2649270.0843 | 1233998.358 | 2649261.805 | 1233994.4647 | 2649250.1739 | 1233990.3768 | 2649247.0248 | 1233989.5469
16 | 2649491.0298 | 1233832.9397 | 2649487.0049 | 1233834.5212 | 2649460.6032 | 1233848.7118
17 | 2649289.6474 | 1234042.6657 | 2649294.2542 | 1234054.3037
18 | 2649195.3271 | 1233979.2179 | 2649234.8861 | 1233986.3477 | 2649247.0248 | 1233989.5469
19 | 2649173.0727 | 1233975.2069 | 2649195.3271 | 1233979.2179
20 | 2649163.952 | 1234019.2884 | 2649162.8143 | 1234024.7871 | 2649162.5413 | 1234033.079 | 2649163.5795 | 1234039.9398
21 | 2649168.9524 | 1233995.1208 | 2649163.952 | 1234019.2884
22 | 2649169.6424 | 1234058.3483 | 2649163.8906 | 1234041.9958 | 2649163.5795 | 1234039.9398
23 | 2649173.0727 | 1233975.2069 | 2649168.9524 | 1233995.1208
24 | 2649173.0727 | 1233975.2069 | 2649161.1979 | 1233971.284 | 2649157.8348 | 1233968.788
25 | 2649173.0727 | 1233975.2069 | 2649180.6069 | 1233959.5553
26 | 2649157.8348 | 1233968.788 | 2649153.2829 | 1233965.426 | 2649146.9208 | 1233958.5245 | 2649134.3859 | 1233936.8139
27 | 2649188.8538 | 1233945.2517 | 2649185.3654 | 1233949.6701 | 2649180.6069 | 1233959.5553
28 | 2649129.5584 | 1233923.392 | 2649131.6665 | 1233932.1039 | 2649134.3859 | 1233936.8139
29 | 2649199.8108 | 1233945.7426 | 2649194.1698 | 1233944.0949 | 2649188.8538 | 1233945.2517
30 | 2649109.1416 | 1233986.9641 | 2649115.7532 | 1233987.0728
31 | 2649098.2406 | 1233986.7849 | 2649109.1416 | 1233986.9641
32 | 2649129.5584 | 1233923.392 | 2649131.4765 | 1233912.0451 | 2649139.1437 | 1233887.0861
33 | 2649129.5584 | 1233923.392 | 2649114.6059 | 1233940.1092
34 | 2649087.4868 | 1233977.279 | 2649090.5997 | 1233971.5677 | 2649105.1855 | 1233950.6414 | 2649114.6059 | 1233940.1092
35 | 2649081.9144 | 1233987.4839 | 2649087.4868 | 1233977.279
36 | 2649087.4868 | 1233977.279 | 2649098.2406 | 1233986.7849
37 | 2649081.9144 | 1233987.4839 | 2649075.7769 | 1233995.5384 | 2649066.399 | 1234000.92
38 | 2649081.9144 | 1233987.4839 | 2649085.2942 | 1233998.0297 | 2649096.6665 | 1234033.4684
39 | 2649034.6609 | 1234137.8144 | 2649039.9433 | 1234132.041 | 2649054.4534 | 1234128.5205
40 | 2649034.6609 | 1234137.8144 | 2649032.9464 | 1234139.6882 | 2649028.6299 | 1234146.3346 | 2649024.2817 | 1234156.8277 | 2649023.7295 | 1234158.9206
41 | 2649054.4534 | 1234128.5205 | 2649056.8725 | 1234127.9336 | 2649068.2634 | 1234129.006 | 2649076.4787 | 1234131.473
42 | 2649022.3875 | 1234164.0062 | 2649023.7295 | 1234158.9206
43 | 2649076.4787 | 1234131.473 | 2649080.9413 | 1234132.8131 | 2649090.105 | 1234139.3242
44 | 2649022.3875 | 1234164.0062 | 2649022.2032 | 1234164.7045 | 2649019.0427 | 1234176.208 | 2649015.5981 | 1234204.3267
45 | 2649099.5836 | 1234148.9206 | 2649091.0103 | 1234139.9674 | 2649090.105 | 1234139.3242
46 | 2649008.9525 | 1234246.6859 | 2649010.9918 | 1234241.928 | 2649015.5981 | 1234204.3267
47 | 2649115.1776 | 1234169.4829 | 2649112.1182 | 1234164.2238 | 2649104.4889 | 1234154.0432 | 2649099.5836 | 1234148.9206
48 | 2648986.7066 | 1234256.9153 | 2648996.6748 | 1234256.9975 | 2649002.9847 | 1234254.6146 | 2649007.8814 | 1234249.1848 | 2649008.9525 | 1234246.6859
49 | 2648986.7066 | 1234256.9153 | 2648980.4787 | 1234251.1937 | 2648976.6802 | 1234243.6798 | 2648972.7074 | 1234230.6832 | 2648969.5688 | 1234217.4934 | 2648969.2343 | 1234209.3966 | 2648972.3821 | 1234196.67 | 2648977.3549 | 1234184.77 | 2648978.5088 | 1234178.6185
50 | 2648978.5088 | 1234178.6185 | 2648979.4768 | 1234173.458 | 2648980.1757 | 1234162.1232 | 2648971.4905 | 1234112.431
51 | 2648970.1184 | 1234104.5807 | 2648971.4905 | 1234112.431
52 | 2648968.3798 | 1234090.7806 | 2648969.5133 | 1234101.1187 | 2648970.1184 | 1234104.5807
53 | 2648978.8989 | 1234042.4252 | 2648980.0618 | 1234039.4287
54 | 2649005.4026 | 1234010.9457 | 2648997.6629 | 1234014.1173 | 2648990.0932 | 1234020.5368 | 2648983.7249 | 1234029.9904 | 2648980.0618 | 1234039.4287
55 | 2648978.8989 | 1234042.4252 | 2648983.2844 | 1234043.9401 | 2648988.7697 | 1234043.3516 | 2648997.662 | 1234039.0109 | 2649004.1538 | 1234036.6296 | 2649009.4554 | 1234036.2842 | 2649013.8845 | 1234038.9335 | 2649016.4885 | 1234042.6017 | 2649017.2659 | 1234047.4668 | 2649014.7886 | 1234052.305 | 2649001.2693 | 1234066.9696
56 | 2648978.8989 | 1234042.4252 | 2648973.0674 | 1234063.902 | 2648969.4874 | 1234079.4602 | 2648969.0679 | 1234083.7482
57 | 2649005.4026 | 1234010.9457 | 2649017.207 | 1234007.8077 | 2649026.1718 | 1234006.6141
58 | 2648968.3798 | 1234090.7806 | 2648969.0679 | 1234083.7482
59 | 2649026.1718 | 1234006.6141 | 2649033.0375 | 1234005.7035 | 2649058.2538 | 1234003.6879 | 2649066.399 | 1234000.92
60 | 2648968.3798 | 1234090.7806 | 2648951.1394 | 1234082.169
61 | 2648941.5186 | 1234077.3634 | 2648951.1394 | 1234082.169
62 | 2648929.1231 | 1234071.1718 | 2648941.5186 | 1234077.3634
63 | 2648929.1231 | 1234071.1718 | 2648917.1387 | 1234065.1856
64 | 2649096.6665 | 1234033.4684 | 2649098.2248 | 1234038.3318
65 | 2649096.6665 | 1234033.4684 | 2649106.5117 | 1234035.6622 | 2649110.3233 | 1234037.9173 | 2649113.1317 | 1234041.5762 | 2649116.1302 | 1234047.8827

## bus_geodata
| x | y | coords
0 | 2649308.5541 | 1234241.9041
1 | 2649312.6196 | 1234273.0152
2 | 2649305.7371 | 1234228.2236
3 | 2649522.5636 | 1234337.4828
4 | 2649301.6562 | 1234203.8619
5 | 2649165.9307 | 1234191.5971
6 | 2649161.3383 | 1234195.3304
7 | 2649570.4124 | 1234403.3772
8 | 2649348.9701 | 1233908.7085
9 | 2649387.4398 | 1233888.0341
10 | 2649298.0439 | 1233948.5356
11 | 2649421.9227 | 1233869.5023
12 | 2649304.4784 | 1233982.7388
13 | 2649270.0843 | 1233998.358
14 | 2649460.6032 | 1233848.7118
15 | 2649289.6474 | 1234042.6657
16 | 2649247.0248 | 1233989.5469
17 | 2649491.0298 | 1233832.9397
18 | 2649294.2542 | 1234054.3037
19 | 2649195.3271 | 1233979.2179
20 | 2649163.952 | 1234019.2884
21 | 2649163.5795 | 1234039.9398
22 | 2649168.9524 | 1233995.1208
23 | 2649169.6424 | 1234058.3483
24 | 2649173.0727 | 1233975.2069
25 | 2649157.8348 | 1233968.788
26 | 2649180.6069 | 1233959.5553
27 | 2649134.3859 | 1233936.8139
28 | 2649188.8538 | 1233945.2517
29 | 2649115.7532 | 1233987.0728
30 | 2649109.1416 | 1233986.9641
31 | 2649129.5584 | 1233923.392
32 | 2649199.8108 | 1233945.7426
33 | 2649139.1437 | 1233887.0861
34 | 2649114.6059 | 1233940.1092
35 | 2649087.4868 | 1233977.279
36 | 2649081.9144 | 1233987.4839
37 | 2649098.2406 | 1233986.7849
38 | 2649034.6609 | 1234137.8144
39 | 2649054.4534 | 1234128.5205
40 | 2649023.7295 | 1234158.9206
41 | 2649076.4787 | 1234131.473
42 | 2649022.3875 | 1234164.0062
43 | 2649090.105 | 1234139.3242
44 | 2649015.5981 | 1234204.3267
45 | 2649099.5836 | 1234148.9206
46 | 2649008.9525 | 1234246.6859
47 | 2648986.7066 | 1234256.9153
48 | 2648978.5088 | 1234178.6185
49 | 2648971.4905 | 1234112.431
50 | 2648970.1184 | 1234104.5807
51 | 2649115.1776 | 1234169.4829
52 | 2648980.0618 | 1234039.4287
53 | 2648978.8989 | 1234042.4252
54 | 2649005.4026 | 1234010.9457
55 | 2649001.2693 | 1234066.9696
56 | 2648969.0679 | 1234083.7482
57 | 2649026.1718 | 1234006.6141
58 | 2648968.3798 | 1234090.7806
59 | 2649066.399 | 1234000.92
60 | 2648951.1394 | 1234082.169
61 | 2648929.1231 | 1234071.1718
62 | 2648941.5186 | 1234077.3634
63 | 2648917.1387 | 1234065.1856
64 | 2649098.2248 | 1234038.3318
65 | 2649096.6665 | 1234033.4684
66 | 2649116.1302 | 1234047.8827
67 | 2649172.8173 | 1234067.3747

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97465 | -0.17881 | 0.00080274 | 0.00020119
1 | 0.97412 | -0.18266 | 0.0024006 | 0.00060164
2 | 0.97491 | -0.177 | 0.00054341 | 0.00013619
3 | 0.97116 | -0.20391 | 0 | 0
4 | 0.97537 | -0.17364 | 0.0056176 | 0.0014079
5 | 0.97907 | -0.14721 | 0.00039776 | 9.9688e-05
6 | 0.97924 | -0.14604 | 0.00059413 | 0.0001489
7 | 0.97007 | -0.21181 | 0.0091532 | 0.002294
8 | 0.98914 | -0.076184 | 0.011566 | 0.0028986
9 | 0.98894 | -0.077582 | 0.0014165 | 0.000355
10 | 0.99052 | -0.066435 | 0 | 0
11 | 0.98885 | -0.078268 | 0 | 0
12 | 0.99042 | -0.067139 | 0.001817 | 0.00045538
13 | 0.99189 | -0.056699 | 0 | 0
14 | 0.98874 | -0.079036 | 0.0011373 | 0.00028504
15 | 0.99137 | -0.060384 | 0.0050683 | 0.0012702
16 | 0.99275 | -0.050677 | 0.0027396 | 0.00068661
17 | 0.98871 | -0.079237 | 0.00057091 | 0.00014308
18 | 0.99133 | -0.060691 | 0.0024092 | 0.0006038
19 | 0.99478 | -0.036408 | 0.0019658 | 0.00049268
20 | 0.99795 | -0.014236 | 0.0017893 | 0.00044845
21 | 0.99901 | -0.0068754 | 0.00055298 | 0.00013859
22 | 0.99672 | -0.02282 | 0.00069739 | 0.00017478
23 | 1 | 0 | -0.10816 | -0.027041
24 | 0.99571 | -0.029861 | 0 | 0
25 | 0.9952 | -0.033458 | 0 | 0
26 | 0.99546 | -0.031646 | 0.0013417 | 0.00033627
27 | 0.99395 | -0.042136 | 0.0016169 | 0.00040523
28 | 0.99525 | -0.033129 | 0.0021244 | 0.00053242
29 | 0.99144 | -0.059769 | 0.0011274 | 0.00028255
30 | 0.99145 | -0.059693 | 0.0018316 | 0.00045905
31 | 0.99352 | -0.045179 | 0 | 0
32 | 0.99514 | -0.033898 | 0.0067397 | 0.0016891
33 | 0.99347 | -0.045518 | 0.0008889 | 0.00022278
34 | 0.99285 | -0.049854 | 0.0035615 | 0.00089259
35 | 0.99156 | -0.058934 | 0 | 0
36 | 0.99125 | -0.061108 | 0 | 0
37 | 0.9915 | -0.059365 | 0 | 0
38 | 0.98306 | -0.11889 | 0.0016122 | 0.00040405
39 | 0.98279 | -0.1208 | 0.00075473 | 0.00018915
40 | 0.98336 | -0.11676 | 0.00067869 | 0.00017009
41 | 0.98254 | -0.12262 | 0.00037768 | 9.4656e-05
42 | 0.98343 | -0.11628 | 0.00081643 | 0.00020462
43 | 0.98227 | -0.12452 | 0.00094049 | 0.00023571
44 | 0.98398 | -0.11242 | 0.00069712 | 0.00017471
45 | 0.98183 | -0.12762 | 0.00046584 | 0.00011675
46 | 0.98456 | -0.10826 | 0.0012684 | 0.00031789
47 | 0.98494 | -0.10557 | 0 | 0
48 | 0.98615 | -0.097071 | 0.00071582 | 0.0001794
49 | 0.98712 | -0.090167 | 0.00038206 | 9.5752e-05
50 | 0.98724 | -0.089336 | 0.0021574 | 0.0005407
51 | 0.98101 | -0.13345 | 0.0021483 | 0.00053842
52 | 0.98848 | -0.080626 | 0.0017539 | 0.00043957
53 | 0.98841 | -0.08111 | 0 | 0
54 | 0.98936 | -0.074397 | 0 | 0
55 | 0.98793 | -0.084505 | 0.0046017 | 0.0011533
56 | 0.98759 | -0.086852 | 0.00095598 | 0.00023959
57 | 0.98983 | -0.071084 | 0 | 0
58 | 0.98746 | -0.087784 | 0 | 0
59 | 0.99074 | -0.064712 | 0.0047858 | 0.0011994
60 | 0.9873 | -0.088961 | 0.0012696 | 0.00031819
61 | 0.98716 | -0.089934 | 0.0010269 | 0.00025737
62 | 0.98722 | -0.089478 | 0.0014825 | 0.00037154
63 | 0.98712 | -0.090234 | 0.002183 | 0.00054712
64 | 0.99092 | -0.063445 | 0.0029332 | 0.00073513
65 | 0.99094 | -0.063292 | 0 | 0
66 | 0.99088 | -0.063694 | 0.001513 | 0.00037918
67 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.011597 | 0.0029081 | -0.011591 | -0.0029061 | 6.1818e-06 | 1.984e-06 | 0.017706 | 0.017706 | 0.017706 | 0.97465 | -0.17881 | 0.97412 | -0.18266 | 6.5578
1 | -0.0124 | -0.0031093 | 0.012403 | 0.0031103 | 3.1237e-06 | 1.0273e-06 | 0.018931 | 0.018931 | 0.018931 | 0.97465 | -0.17881 | 0.97491 | -0.177 | 7.0116
2 | 0.0091902 | 0.0023045 | -0.0091632 | -0.0022968 | 2.7012e-05 | 7.6635e-06 | 0.014039 | 0.01404 | 0.01404 | 0.97412 | -0.18266 | 0.97116 | -0.20391 | 5.2
3 | -0.012946 | -0.0032465 | 0.012952 | 0.0032485 | 6.0248e-06 | 2.0088e-06 | 0.019761 | 0.019761 | 0.019761 | 0.97491 | -0.177 | 0.97537 | -0.17364 | 7.3188
4 | 0.0091632 | 0.0022968 | -0.0091532 | -0.002294 | 1.0017e-05 | 2.8463e-06 | 0.01404 | 0.01404 | 0.01404 | 0.97116 | -0.20391 | 0.97007 | -0.21181 | 5.2001
5 | -0.01857 | -0.0046564 | 0.018638 | 0.004681 | 6.8252e-05 | 2.4544e-05 | 0.028331 | 0.02833 | 0.028331 | 0.97537 | -0.17364 | 0.97907 | -0.14721 | 10.4929
6 | -0.019036 | -0.0047807 | 0.019039 | 0.0047818 | 3.0919e-06 | 1.1147e-06 | 0.028935 | 0.028935 | 0.028935 | 0.97907 | -0.14721 | 0.97924 | -0.14604 | 10.7165
7 | -0.019633 | -0.0049307 | 0.019668 | 0.0049432 | 3.4429e-05 | 1.2461e-05 | 0.029837 | 0.029837 | 0.029837 | 0.97924 | -0.14604 | 0.98101 | -0.13345 | 11.0509
8 | 0.0031256 | 0.00078142 | -0.003125 | -0.00078175 | 6.0238e-07 | -3.2879e-07 | 0.0047014 | 0.0047016 | 0.0047016 | 0.98914 | -0.076184 | 0.98894 | -0.077582 | 1.7413
9 | -0.014691 | -0.0036801 | 0.014711 | 0.0036868 | 1.983e-05 | 6.7905e-06 | 0.0221 | 0.0221 | 0.0221 | 0.98914 | -0.076184 | 0.99052 | -0.066435 | 8.1853
10 | 0.0017086 | 0.00042676 | -0.0017084 | -0.0004272 | 1.6139e-07 | -4.4016e-07 | 0.0025703 | 0.0025705 | 0.0025705 | 0.98894 | -0.077582 | 0.98885 | -0.078268 | 0.95204
11 | 0.0018172 | 0.00045496 | -0.001817 | -0.00045538 | 1.7703e-07 | -4.219e-07 | 0.0027297 | 0.0027299 | 0.0027299 | 0.99052 | -0.066435 | 0.99042 | -0.067139 | 1.0111
12 | -0.016528 | -0.0041418 | 0.016551 | 0.0041496 | 2.2298e-05 | 7.829e-06 | 0.02483 | 0.024829 | 0.02483 | 0.99052 | -0.066435 | 0.99189 | -0.056699 | 9.1962
13 | 0.0017084 | 0.0004272 | -0.0017082 | -0.00042769 | 1.8107e-07 | -4.9363e-07 | 0.0025705 | 0.0025707 | 0.0025707 | 0.98885 | -0.078268 | 0.98874 | -0.079036 | 0.95211
14 | 0.0074815 | 0.0018748 | -0.0074776 | -0.0018739 | 3.815e-06 | 8.4118e-07 | 0.011223 | 0.011224 | 0.011224 | 0.99189 | -0.056699 | 0.99137 | -0.060384 | 4.1569
15 | -0.024032 | -0.0060244 | 0.024052 | 0.0060318 | 2.0061e-05 | 7.3964e-06 | 0.036053 | 0.036053 | 0.036053 | 0.99189 | -0.056699 | 0.99275 | -0.050677 | 13.3529
16 | 0.00057092 | 0.00014265 | -0.00057091 | -0.00014308 | 1.5797e-08 | -4.338e-07 | 0.00085907 | 0.00085922 | 0.00085922 | 0.98874 | -0.079036 | 0.98871 | -0.079237 | 0.31823
17 | 0.0024093 | 0.00060368 | -0.0024092 | -0.0006038 | 1.0214e-07 | -1.221e-07 | 0.0036162 | 0.0036163 | 0.0036163 | 0.99137 | -0.060384 | 0.99133 | -0.060691 | 1.3394
18 | -0.026792 | -0.0067184 | 0.026845 | 0.0067381 | 5.3085e-05 | 1.9734e-05 | 0.040159 | 0.040159 | 0.040159 | 0.99275 | -0.050677 | 0.99478 | -0.036408 | 14.8738
19 | -0.028811 | -0.0072308 | 0.028837 | 0.0072406 | 2.6211e-05 | 9.7873e-06 | 0.043099 | 0.043099 | 0.043099 | 0.99478 | -0.036408 | 0.99571 | -0.029861 | 15.9627
20 | -0.10659 | -0.026822 | 0.1067 | 0.026863 | 0.0001096 | 4.1337e-05 | 0.15897 | 0.15897 | 0.15897 | 0.99795 | -0.014236 | 0.99901 | -0.0068754 | 19.6263
21 | 0.1048 | 0.026374 | -0.10468 | -0.026326 | 0.00012541 | 4.727e-05 | 0.1563 | 0.15631 | 0.15631 | 0.99795 | -0.014236 | 0.99672 | -0.02282 | 19.2969
22 | -0.10725 | -0.027002 | 0.10736 | 0.027041 | 0.00010311 | 3.8895e-05 | 0.1598 | 0.1598 | 0.1598 | 0.99901 | -0.0068754 | 1 | 0 | 19.7279
23 | 0.10398 | 0.026151 | -0.10388 | -0.026113 | 0.00010197 | 3.8424e-05 | 0.15526 | 0.15526 | 0.15526 | 0.99672 | -0.02282 | 0.99571 | -0.029861 | 19.1684
24 | 0.064829 | 0.016313 | -0.064797 | -0.016301 | 3.2528e-05 | 1.1861e-05 | 0.096905 | 0.096906 | 0.096906 | 0.99571 | -0.029861 | 0.9952 | -0.033458 | 11.9637
25 | 0.010211 | 0.0025592 | -0.010208 | -0.0025584 | 2.5239e-06 | 7.4486e-07 | 0.015259 | 0.015259 | 0.015259 | 0.99571 | -0.029861 | 0.99546 | -0.031646 | 5.6517
26 | 0.064797 | 0.016301 | -0.064718 | -0.016273 | 7.8355e-05 | 2.8575e-05 | 0.096906 | 0.096906 | 0.096906 | 0.9952 | -0.033458 | 0.99395 | -0.042136 | 11.9637
27 | 0.0088666 | 0.0022222 | -0.0088648 | -0.0022217 | 1.8197e-06 | 4.8411e-07 | 0.013254 | 0.013254 | 0.013254 | 0.99546 | -0.031646 | 0.99525 | -0.033129 | 4.9089
28 | 0.063101 | 0.015868 | -0.063075 | -0.015858 | 2.6744e-05 | 9.7262e-06 | 0.094486 | 0.094486 | 0.094486 | 0.99395 | -0.042136 | 0.99352 | -0.045179 | 11.6649
29 | 0.0067404 | 0.0016893 | -0.0067397 | -0.0016891 | 7.1722e-07 | 1.2881e-07 | 0.010078 | 0.010078 | 0.010078 | 0.99525 | -0.033129 | 0.99514 | -0.033898 | 3.7325
30 | -0.0011274 | -0.00028255 | 0.0011274 | 0.00028247 | 1.1813e-08 | -8.0731e-08 | 0.001692 | 0.001692 | 0.001692 | 0.99144 | -0.059769 | 0.99145 | -0.059693 | 0.62668
31 | -0.002959 | -0.00074151 | 0.0029591 | 0.00074142 | 1.3417e-07 | -8.9e-08 | 0.004441 | 0.0044409 | 0.004441 | 0.99145 | -0.059693 | 0.9915 | -0.059365 | 1.6448
32 | 0.00088894 | 0.00022231 | -0.0008889 | -0.00022278 | 4.1604e-08 | -4.7112e-07 | 0.0013312 | 0.0013314 | 0.0013314 | 0.99352 | -0.045179 | 0.99347 | -0.045518 | 0.49311
33 | 0.062186 | 0.015636 | -0.062145 | -0.015621 | 4.0483e-05 | 1.47e-05 | 0.093155 | 0.093155 | 0.093155 | 0.99352 | -0.045179 | 0.99285 | -0.049854 | 11.5006
34 | 0.058584 | 0.014728 | -0.05851 | -0.014702 | 7.4017e-05 | 2.668e-05 | 0.087817 | 0.087818 | 0.087818 | 0.99285 | -0.049854 | 0.99156 | -0.058934 | 10.8417
35 | 0.05555 | 0.01396 | -0.055534 | -0.013954 | 1.6804e-05 | 6.0133e-06 | 0.083377 | 0.083377 | 0.083377 | 0.99156 | -0.058934 | 0.99125 | -0.061108 | 10.2935
36 | 0.0029593 | 0.00074131 | -0.0029591 | -0.00074142 | 1.7635e-07 | -1.17e-07 | 0.0044409 | 0.0044409 | 0.0044409 | 0.99156 | -0.058934 | 0.9915 | -0.059365 | 1.6448
37 | 0.051086 | 0.01284 | -0.05106 | -0.012831 | 2.5622e-05 | 9.0454e-06 | 0.076701 | 0.076701 | 0.076701 | 0.99125 | -0.061108 | 0.99074 | -0.064712 | 9.4693
38 | 0.0044476 | 0.0011139 | -0.0044463 | -0.001114 | 1.3432e-06 | -1.057e-07 | 0.0066763 | 0.0066765 | 0.0066765 | 0.99125 | -0.061108 | 0.99094 | -0.063292 | 2.4728
39 | 0.024401 | 0.0061329 | -0.024394 | -0.0061313 | 6.4591e-06 | 1.6189e-06 | 0.03694 | 0.036941 | 0.036941 | 0.98306 | -0.11889 | 0.98279 | -0.1208 | 4.5606
40 | -0.026013 | -0.0065369 | 0.02602 | 0.006539 | 7.7377e-06 | 2.0634e-06 | 0.039381 | 0.03938 | 0.039381 | 0.98306 | -0.11889 | 0.98336 | -0.11676 | 4.8618
41 | 0.023639 | 0.0059421 | -0.023633 | -0.0059407 | 5.9996e-06 | 1.4521e-06 | 0.035798 | 0.035798 | 0.035798 | 0.98279 | -0.1208 | 0.98254 | -0.12262 | 4.4195
42 | -0.026699 | -0.0067091 | 0.026701 | 0.0067096 | 1.7862e-06 | 4.8682e-07 | 0.040407 | 0.040407 | 0.040407 | 0.98336 | -0.11676 | 0.98343 | -0.11628 | 4.9885
43 | 0.023256 | 0.005846 | -0.023249 | -0.0058441 | 6.1561e-06 | 1.9651e-06 | 0.035226 | 0.035226 | 0.035226 | 0.98254 | -0.12262 | 0.98227 | -0.12452 | 6.5234
44 | -0.027517 | -0.0069142 | 0.027532 | 0.0069183 | 1.4781e-05 | 4.1243e-06 | 0.041642 | 0.041642 | 0.041642 | 0.98343 | -0.11628 | 0.98398 | -0.11242 | 5.141
45 | 0.022309 | 0.0056083 | -0.022299 | -0.0056048 | 9.6295e-06 | 3.5328e-06 | 0.033802 | 0.033802 | 0.033802 | 0.98227 | -0.12452 | 0.98183 | -0.12762 | 12.5191
46 | -0.028229 | -0.007093 | 0.028246 | 0.0070977 | 1.6327e-05 | 4.6377e-06 | 0.042696 | 0.042696 | 0.042696 | 0.98398 | -0.11242 | 0.98456 | -0.10826 | 5.2711
47 | 0.021834 | 0.0054881 | -0.021816 | -0.0054816 | 1.7701e-05 | 6.4809e-06 | 0.033096 | 0.033096 | 0.033096 | 0.98183 | -0.12762 | 0.98101 | -0.13345 | 12.2577
48 | -0.029514 | -0.0074156 | 0.029525 | 0.0074188 | 1.1071e-05 | 3.2374e-06 | 0.044613 | 0.044612 | 0.044613 | 0.98456 | -0.10826 | 0.98494 | -0.10557 | 5.5077
49 | -0.029525 | -0.0074188 | 0.02956 | 0.007429 | 3.4936e-05 | 1.0211e-05 | 0.044612 | 0.044611 | 0.044612 | 0.98494 | -0.10557 | 0.98615 | -0.097071 | 5.5077
50 | -0.030276 | -0.0076084 | 0.030305 | 0.0076171 | 2.9116e-05 | 8.6295e-06 | 0.045691 | 0.04569 | 0.045691 | 0.98615 | -0.097071 | 0.98712 | -0.090167 | 5.6409
51 | -0.030687 | -0.0077128 | 0.03069 | 0.0077139 | 3.5482e-06 | 1.059e-06 | 0.046266 | 0.046266 | 0.046266 | 0.98712 | -0.090167 | 0.98724 | -0.089336 | 5.7119
52 | -0.032848 | -0.0082546 | 0.032855 | 0.0082568 | 7.0967e-06 | 2.1956e-06 | 0.049518 | 0.049518 | 0.049518 | 0.98724 | -0.089336 | 0.98746 | -0.087784 | 6.1133
53 | 0.044418 | 0.011157 | -0.044415 | -0.011156 | 2.99e-06 | 1.0264e-06 | 0.066874 | 0.066874 | 0.066874 | 0.98848 | -0.080626 | 0.98841 | -0.08111 | 8.2561
54 | -0.046172 | -0.011597 | 0.046212 | 0.01161 | 4.0016e-05 | 1.3858e-05 | 0.069515 | 0.069514 | 0.069515 | 0.98848 | -0.080626 | 0.98936 | -0.074397 | 8.5821
55 | 0.0046039 | 0.0011532 | -0.0046017 | -0.0011533 | 2.1619e-06 | -9.2424e-08 | 0.0069308 | 0.0069311 | 0.0069311 | 0.98841 | -0.08111 | 0.98793 | -0.084505 | 2.5671
56 | 0.039811 | 0.010003 | -0.03978 | -0.0099921 | 3.1785e-05 | 1.0591e-05 | 0.059944 | 0.059944 | 0.059944 | 0.98841 | -0.08111 | 0.98759 | -0.086852 | 7.4005
57 | -0.046212 | -0.01161 | 0.046234 | 0.011618 | 2.1307e-05 | 7.3779e-06 | 0.069514 | 0.069514 | 0.069514 | 0.98936 | -0.074397 | 0.98983 | -0.071084 | 8.582
58 | 0.038824 | 0.0097525 | -0.038819 | -0.0097509 | 5.0304e-06 | 1.6636e-06 | 0.058504 | 0.058504 | 0.058504 | 0.98759 | -0.086852 | 0.98746 | -0.087784 | 7.2227
59 | -0.046234 | -0.011618 | 0.046275 | 0.011632 | 4.1033e-05 | 1.4206e-05 | 0.069514 | 0.069513 | 0.069514 | 0.98983 | -0.071084 | 0.99074 | -0.064712 | 8.582
60 | 0.0059636 | 0.0014941 | -0.0059626 | -0.001494 | 9.7114e-07 | 1.2703e-07 | 0.0089864 | 0.0089865 | 0.0089865 | 0.98746 | -0.087784 | 0.9873 | -0.088961 | 3.3283
61 | 0.004693 | 0.0011758 | -0.0046927 | -0.0011758 | 3.3572e-07 | -8.3927e-09 | 0.007073 | 0.0070731 | 0.0070731 | 0.9873 | -0.088961 | 0.98722 | -0.089478 | 2.6197
62 | -0.00321 | -0.00080435 | 0.0032102 | 0.00080425 | 2.0242e-07 | -9.9297e-08 | 0.0048386 | 0.0048386 | 0.0048386 | 0.98716 | -0.089934 | 0.98722 | -0.089478 | 1.7921
63 | 0.0021831 | 0.00054698 | -0.002183 | -0.00054712 | 9.0521e-08 | -1.3644e-07 | 0.0032907 | 0.0032908 | 0.0032908 | 0.98716 | -0.089934 | 0.98712 | -0.090234 | 1.2188
64 | -0.0029332 | -0.00073513 | 0.0029333 | 0.00073509 | 6.1825e-08 | -4.2011e-08 | 0.0044046 | 0.0044046 | 0.0044046 | 0.99092 | -0.063445 | 0.99094 | -0.063292 | 1.6313
65 | 0.001513 | 0.00037888 | -0.001513 | -0.00037918 | 8.3955e-08 | -3.0348e-07 | 0.0022719 | 0.002272 | 0.002272 | 0.99094 | -0.063292 | 0.99088 | -0.063694 | 0.84149

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11005 | 0.027515

## res_load
| p_mw | q_mvar
0 | 0.00080274 | 0.00020119
1 | 0.0024006 | 0.00060164
2 | 0.00054341 | 0.00013619
3 | 0.0056176 | 0.0014079
4 | 0.00039776 | 9.9688e-05
5 | 0.00059413 | 0.0001489
6 | 0.0091532 | 0.002294
7 | 0.011566 | 0.0028986
8 | 0.0014165 | 0.000355
9 | 0.001817 | 0.00045538
10 | 0.0011373 | 0.00028504
11 | 0.0050683 | 0.0012702
12 | 0.0027396 | 0.00068661
13 | 0.00057091 | 0.00014308
14 | 0.0024092 | 0.0006038
15 | 0.0019658 | 0.00049268
16 | 0.0017893 | 0.00044845
17 | 0.00055298 | 0.00013859
18 | 0.00069739 | 0.00017478
19 | 0.0018926 | 0.00047434
20 | 0.0013417 | 0.00033627
21 | 0.0016169 | 0.00040523
22 | 0.0021244 | 0.00053242
23 | 0.0011274 | 0.00028255
24 | 0.0018316 | 0.00045905
25 | 0.0067397 | 0.0016891
26 | 0.0008889 | 0.00022278
27 | 0.0035615 | 0.00089259
28 | 0.0016122 | 0.00040405
29 | 0.00075473 | 0.00018915
30 | 0.00067869 | 0.00017009
31 | 0.00037768 | 9.4656e-05
32 | 0.00081643 | 0.00020462
33 | 0.00094049 | 0.00023571
34 | 0.00069712 | 0.00017471
35 | 0.00046584 | 0.00011675
36 | 0.0012684 | 0.00031789
37 | 0.00071582 | 0.0001794
38 | 0.00038206 | 9.5752e-05
39 | 0.0021574 | 0.0005407
40 | 0.0021483 | 0.00053842
41 | 0.0017539 | 0.00043957
42 | 0.0046017 | 0.0011533
43 | 0.00095598 | 0.00023959
44 | 0.0047858 | 0.0011994
45 | 0.0012696 | 0.00031819
46 | 0.0010269 | 0.00025737
47 | 0.0014825 | 0.00037154
48 | 0.002183 | 0.00054712
49 | 0.0029332 | 0.00073513
50 | 0.001513 | 0.00037918

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1