## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1104-5_1_4_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_1104-5_1_4_node_129 | 0.4 | n |  | TRUE
2 | bus_LV_1104-5_1_4_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_1104-5_1_4_node_131 | 0.4 | n |  | TRUE
4 | bus_LV_1104-5_1_4_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_1104-5_1_4_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_1104-5_1_4_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_1104-5_1_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_1104-5_1_4_node_133 | 0.4 | n |  | TRUE
9 | bus_LV_1104-5_1_4_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_1104-5_1_4_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_1104-5_1_4_node_136 | 0.4 | n |  | TRUE
12 | bus_LV_1104-5_1_4_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_1104-5_1_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1104-5_1_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1104-5_1_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1104-5_1_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1104-5_1_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1104-5_1_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1104-5_1_4_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1104-5_1_4_node_113 | 0.4 | n |  | TRUE
21 | bus_LV_1104-5_1_4_node_115 | 0.4 | n |  | TRUE
22 | bus_LV_1104-5_1_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1104-5_1_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1104-5_1_4_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_1104-5_1_4_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_1104-5_1_4_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_1104-5_1_4_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_1104-5_1_4_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_1104-5_1_4_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_1104-5_1_4_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_1104-5_1_4_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_1104-5_1_4_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_1104-5_1_4_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_1104-5_1_4_node_114 | 0.4 | n |  | TRUE
35 | bus_LV_1104-5_1_4_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_1104-5_1_4_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_1104-5_1_4_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_1104-5_1_4_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_1104-5_1_4_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_1104-5_1_4_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_1104-5_1_4_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_1104-5_1_4_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_1104-5_1_4_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_1104-5_1_4_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_1104-5_1_4_node_120 | 0.4 | n |  | TRUE
46 | bus_LV_1104-5_1_4_node_117 | 0.4 | n |  | TRUE
47 | bus_LV_1104-5_1_4_node_118 | 0.4 | n |  | TRUE
48 | bus_LV_1104-5_1_4_node_122 | 0.4 | n |  | TRUE
49 | bus_LV_1104-5_1_4_node_121 | 0.4 | n |  | TRUE
50 | bus_MV_472_0_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1104-5_1_4_load_128 | 0 | 0.00025212 | 6.3186e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1104-5_1_4_load_129 | 1 | 0.00029083 | 7.2889e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1104-5_1_4_load_130 | 2 | 0.0003271 | 8.1978e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1104-5_1_4_load_131 | 3 | 0.0085667 | 0.002147 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1104-5_1_4_load_51 | 4 | 0.00033575 | 8.4147e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1104-5_1_4_load_32 | 5 | 0.00029154 | 7.3067e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1104-5_1_4_load_132 | 6 | 0.0013367 | 0.00033501 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1104-5_1_4_load_31 | 7 | 0.003147 | 0.00078872 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1104-5_1_4_load_133 | 8 | 0.0018473 | 0.00046298 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1104-5_1_4_load_135 | 9 | 0.00014453 | 3.6223e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1104-5_1_4_load_76 | 10 | 0.00020821 | 5.2181e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1104-5_1_4_load_10 | 13 | 0.001399 | 0.00035063 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1104-5_1_4_load_11 | 14 | 0.0022375 | 0.00056077 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1104-5_1_4_load_13 | 16 | 0.00039524 | 9.9056e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1104-5_1_4_load_14 | 17 | 0.00010893 | 2.73e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1104-5_1_4_load_15 | 18 | 0.00011797 | 2.9566e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1104-5_1_4_load_113 | 20 | 0.00031464 | 7.8855e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1104-5_1_4_load_115 | 21 | 0.00090656 | 0.00022721 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1104-5_1_4_load_22 | 22 | 0.00033172 | 8.3137e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1104-5_1_4_load_63 | 24 | 0.00037525 | 9.4048e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1104-5_1_4_load_65 | 25 | 0.00012554 | 3.1463e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1104-5_1_4_load_66 | 26 | 0.00023566 | 5.9062e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1104-5_1_4_load_67 | 27 | 0.00013839 | 3.4683e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1104-5_1_4_load_68 | 28 | 0.0014324 | 0.000359 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1104-5_1_4_load_69 | 29 | 0.00035196 | 8.8208e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1104-5_1_4_load_71 | 31 | 0.00012968 | 3.2502e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1104-5_1_4_load_73 | 33 | 0.00027534 | 6.9007e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1104-5_1_4_load_114 | 34 | 0.00040292 | 0.00010098 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1104-5_1_4_load_75 | 35 | 0.0010642 | 0.00026671 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1104-5_1_4_load_77 | 36 | 0.00017457 | 4.3752e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1104-5_1_4_load_74 | 37 | 7.0839e-05 | 1.7754e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1104-5_1_4_load_78 | 38 | 0.00022305 | 5.5903e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1104-5_1_4_load_79 | 39 | 0.00019978 | 5.007e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1104-5_1_4_load_80 | 40 | 0.00029236 | 7.3273e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1104-5_1_4_load_81 | 41 | 0.000459 | 0.00011504 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1104-5_1_4_load_82 | 42 | 0.00011362 | 2.8477e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1104-5_1_4_load_83 | 43 | 0.00035557 | 8.9113e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1104-5_1_4_load_117 | 46 | 0.064691 | 0.016213 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1104-5_1_4_load_122 | 48 | 0.016125 | 0.0040412 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1104-5_1_4_load_121 | 49 | 0.0044998 | 0.0011277 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1104-5_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1104-5_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0032796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1104-5_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0082371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1104-5_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0033559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1104-5_1_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1104-5_1_4_line_5 | NAYY 4x150 SE | 4 | 19 | 0.025042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1104-5_1_4_line_6 | NAYY 4x150 SE | 5 | 23 | 0.0076212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1104-5_1_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.027531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1104-5_1_4_line_8 | NAYY 4x150 SE | 6 | 8 | 0.0071613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1104-5_1_4_line_9 | NAYY 4x150 SE | 7 | 23 | 0.031717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1104-5_1_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.31603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1104-5_1_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.22668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1104-5_1_4_line_12 | NAYY 4x150 SE | 10 | 37 | 0.023395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1104-5_1_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.28055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1104-5_1_4_line_14 | NAYY 4x150 SE | 12 | 25 | 0.13608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1104-5_1_4_line_15 | NAYY 4x150 SE | 12 | 24 | 0.226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1104-5_1_4_line_16 | NAYY 4x150 SE | 13 | 14 | 0.0033516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1104-5_1_4_line_17 | NAYY 4x150 SE | 13 | 15 | 0.073169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1104-5_1_4_line_18 | NAYY 4x150 SE | 14 | 16 | 0.1296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1104-5_1_4_line_19 | NAYY 4x150 SE | 15 | 17 | 0.030792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1104-5_1_4_line_20 | NAYY 4x150 SE | 15 | 18 | 0.026851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1104-5_1_4_line_21 | NAYY 4x150 SE | 16 | 19 | 0.026789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1104-5_1_4_line_22 | NAYY 4x150 SE | 17 | 20 | 0.0081702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1104-5_1_4_line_23 | NAYY 4x150 SE | 18 | 21 | 0.026978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1104-5_1_4_line_24 | NAYY 4x150 SE | 20 | 34 | 0.016264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1104-5_1_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.031604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1104-5_1_4_line_26 | NAYY 4x150 SE | 26 | 27 | 0.00022335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1104-5_1_4_line_27 | NAYY 4x150 SE | 26 | 28 | 0.034828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1104-5_1_4_line_28 | NAYY 4x150 SE | 27 | 29 | 0.21576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1104-5_1_4_line_29 | NAYY 4x150 SE | 28 | 30 | 0.032456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1104-5_1_4_line_30 | NAYY 4x150 SE | 29 | 31 | 0.0098592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1104-5_1_4_line_31 | NAYY 4x150 SE | 30 | 32 | 0.008289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1104-5_1_4_line_32 | NAYY 4x150 SE | 30 | 33 | 0.053312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1104-5_1_4_line_33 | NAYY 4x150 SE | 31 | 34 | 0.0018083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1104-5_1_4_line_34 | NAYY 4x150 SE | 32 | 35 | 0.0311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1104-5_1_4_line_35 | NAYY 4x150 SE | 33 | 36 | 0.018544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1104-5_1_4_line_36 | NAYY 4x150 SE | 35 | 37 | 0.018327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1104-5_1_4_line_37 | NAYY 4x150 SE | 36 | 38 | 0.0044866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1104-5_1_4_line_38 | NAYY 4x150 SE | 38 | 39 | 0.02889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1104-5_1_4_line_39 | NAYY 4x150 SE | 39 | 40 | 0.023302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1104-5_1_4_line_40 | NAYY 4x150 SE | 40 | 41 | 0.002185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1104-5_1_4_line_41 | NAYY 4x150 SE | 41 | 42 | 0.0071554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1104-5_1_4_line_42 | NAYY 4x150 SE | 42 | 43 | 0.025909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1104-5_1_4_line_43 | NAYY 4x150 SE | 43 | 44 | 0.10938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_1104-5_1_4_line_44 | NAYY 4x150 SE | 44 | 45 | 0.3045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_1104-5_1_4_line_45 | NAYY 4x150 SE | 45 | 48 | 0.027783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1104-5_1_4_line_46 | NAYY 4x150 SE | 45 | 47 | 0.079405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_1104-5_1_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.054307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1104-5_1_4_line_48 | NAYY 4x150 SE | 48 | 49 | 0.091776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1104-5_1_4_trafo_84 | 0.25 MVA 20/0.4 kV | 50 | 44 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2647476.1579 | 1230388.0651 | 2647471.9483 | 1230410.8794
1 | 2647476.1579 | 1230388.0651 | 2647476.753 | 1230384.84
2 | 2647470.4537 | 1230418.9797 | 2647471.9483 | 1230410.8794
3 | 2647477.3619 | 1230381.5399 | 2647476.753 | 1230384.84
4 | 2647470.4537 | 1230418.9797 | 2647466.3072 | 1230441.4522
5 | 2647481.9059 | 1230356.9135 | 2647477.3619 | 1230381.5399
6 | 2647464.9243 | 1230448.9469 | 2647466.3072 | 1230441.4522
7 | 2647521.9019 | 1230465.1932 | 2647495.4257 | 1230457.6439
8 | 2647521.9019 | 1230465.1932 | 2647528.7887 | 1230467.1569
9 | 2647464.9243 | 1230448.9469 | 2647495.4257 | 1230457.6439
10 | 2647470.8048 | 1229698.8311 | 2647229.4633 | 1229494.7937
11 | 2647154.0318 | 1229704.7205 | 2647162.3689 | 1229688.8767 | 2647180.6731 | 1229660.8709 | 2647185.6557 | 1229647.7356 | 2647189.6623 | 1229628.7332 | 2647191.1888 | 1229590.0545 | 2647193.1232 | 1229577.3063 | 2647197.9125 | 1229562.7685 | 2647229.4633 | 1229494.7937
12 | 2647475.36 | 1229721.7785 | 2647470.8048 | 1229698.8311
13 | 2647106.9432 | 1229981.2873 | 2647154.0318 | 1229704.7205
14 | 2647106.9432 | 1229981.2873 | 2647110.6129 | 1229989.4548 | 2647116.1247 | 1230011.779 | 2647119.2955 | 1230021.7215 | 2647125.8672 | 1230038.3839 | 2647133.6614 | 1230054.6558 | 2647143.0072 | 1230080.6461 | 2647149.1307 | 1230103.1754 | 2647147.8582 | 1230109.8584
15 | 2647106.9432 | 1229981.2873 | 2647101.1934 | 1230005.2568 | 2647099.9029 | 1230018.0434 | 2647098.7986 | 1230078.1056 | 2647085.6733 | 1230169.748 | 2647080.2761 | 1230205.1847
16 | 2647459.4093 | 1230199.1869 | 2647459.7978 | 1230202.5159
17 | 2647461.2507 | 1230126.2486 | 2647458.4816 | 1230154.3219 | 2647457.8798 | 1230186.0814 | 2647459.4093 | 1230199.1869
18 | 2647481.7017 | 1230330.1447 | 2647480.3739 | 1230314.4636 | 2647463.9596 | 1230230.0575 | 2647461.5877 | 1230217.8532 | 2647459.7978 | 1230202.5159
19 | 2647461.2507 | 1230126.2486 | 2647462.4614 | 1230116.9191 | 2647465.2207 | 1230095.7133
20 | 2647461.2507 | 1230126.2486 | 2647483.9641 | 1230124.7289 | 2647488.0415 | 1230124.4567
21 | 2647481.9059 | 1230356.9135 | 2647482.1459 | 1230335.3908 | 2647481.7017 | 1230330.1447
22 | 2647465.2207 | 1230095.7133 | 2647466.2749 | 1230087.6114
23 | 2647488.0415 | 1230124.4567 | 2647514.9597 | 1230122.6602
24 | 2647468.3735 | 1230071.4828 | 2647466.2749 | 1230087.6114
25 | 2647464.9243 | 1230448.9469 | 2647459.1468 | 1230480.0182
26 | 2647492.9961 | 1229845.5719 | 2647492.9807 | 1229845.349
27 | 2647492.9807 | 1229845.349 | 2647490.8359 | 1229814.3227 | 2647490.3996 | 1229810.6211
28 | 2647492.9961 | 1229845.5719 | 2647493.1176 | 1229847.3282 | 2647492.5822 | 1229862.1999 | 2647491.9481 | 1229879.9504 | 2647489.711 | 1229909.6622 | 2647477.3557 | 1229998.9418 | 2647471.0359 | 1230050.4903 | 2647469.9662 | 1230059.2428 | 2647469.879 | 1230059.9128
29 | 2647486.6005 | 1229778.3886 | 2647490.3996 | 1229810.6211
30 | 2647468.6068 | 1230069.6896 | 2647469.879 | 1230059.9128
31 | 2647486.6005 | 1229778.3886 | 2647484.9837 | 1229770.2595
32 | 2647486.6005 | 1229778.3886 | 2647496.8909 | 1229777.9593 | 2647507.9606 | 1229779.5376 | 2647519.028 | 1229781.416 | 2647530.1073 | 1229781.8047 | 2647539.4104 | 1229779.7889
33 | 2647468.3735 | 1230071.4828 | 2647468.6068 | 1230069.6896
34 | 2647484.9837 | 1229770.2595 | 2647478.9283 | 1229739.7544
35 | 2647552.3924 | 1229766.7511 | 2647546.041 | 1229774.7609 | 2647539.4104 | 1229779.7889
36 | 2647475.36 | 1229721.7785 | 2647478.9283 | 1229739.7544
37 | 2647552.3924 | 1229766.7511 | 2647554.768 | 1229762.9451
38 | 2647554.768 | 1229762.9451 | 2647569.0821 | 1229740.0122 | 2647570.1264 | 1229738.4775
39 | 2647570.1264 | 1229738.4775 | 2647581.8141 | 1229721.3022 | 2647583.1907 | 1229719.1824
40 | 2647584.3808 | 1229717.35 | 2647583.1907 | 1229719.1824
41 | 2647584.3808 | 1229717.35 | 2647588.2779 | 1229711.349
42 | 2647588.2779 | 1229711.349 | 2647590.3044 | 1229708.2286 | 2647597.2691 | 1229699.3232 | 2647603.9284 | 1229690.7155 | 2647603.9284 | 1229690.7155
43 | 2647710.3722 | 1229676.937 | 2647703.4557 | 1229680.7617 | 2647687.8724 | 1229681.8375 | 2647648.9211 | 1229682.715 | 2647630.5203 | 1229682.7899 | 2647624.0584 | 1229682.816 | 2647611.7582 | 1229685.4081 | 2647603.9284 | 1229690.7155
44 | 2647710.3722 | 1229676.937 | 2647840.0037 | 1229401.4052
45 | 2647840.0037 | 1229401.4052 | 2647843.5224 | 1229373.8455
46 | 2647919.4413 | 1229407.0589 | 2647840.0037 | 1229401.4052
47 | 2647919.4413 | 1229407.0589 | 2647915.0567 | 1229404.9667 | 2647913.6496 | 1229400.964 | 2647913.2 | 1229395.6459 | 2647919.7027 | 1229356.311
48 | 2647765.5064 | 1229352.8134 | 2647837.1711 | 1229357.9997 | 2647841.1534 | 1229359.2436 | 2647843.8408 | 1229362.3116 | 2647844.5556 | 1229365.7528 | 2647843.5224 | 1229373.8455

## bus_geodata
| x | y | coords
0 | 2647476.1579 | 1230388.0651
1 | 2647471.9483 | 1230410.8794
2 | 2647476.753 | 1230384.84
3 | 2647470.4537 | 1230418.9797
4 | 2647477.3619 | 1230381.5399
5 | 2647466.3072 | 1230441.4522
6 | 2647521.9019 | 1230465.1932
7 | 2647495.4257 | 1230457.6439
8 | 2647528.7887 | 1230467.1569
9 | 2647229.4633 | 1229494.7937
10 | 2647470.8048 | 1229698.8311
11 | 2647154.0318 | 1229704.7205
12 | 2647106.9432 | 1229981.2873
13 | 2647459.4093 | 1230199.1869
14 | 2647459.7978 | 1230202.5159
15 | 2647461.2507 | 1230126.2486
16 | 2647481.7017 | 1230330.1447
17 | 2647465.2207 | 1230095.7133
18 | 2647488.0415 | 1230124.4567
19 | 2647481.9059 | 1230356.9135
20 | 2647466.2749 | 1230087.6114
21 | 2647514.9597 | 1230122.6602
22 | 2647459.1468 | 1230480.0182
23 | 2647464.9243 | 1230448.9469
24 | 2647080.2761 | 1230205.1847
25 | 2647147.8582 | 1230109.8584
26 | 2647492.9807 | 1229845.349
27 | 2647492.9961 | 1229845.5719
28 | 2647490.3996 | 1229810.6211
29 | 2647469.879 | 1230059.9128
30 | 2647486.6005 | 1229778.3886
31 | 2647468.6068 | 1230069.6896
32 | 2647484.9837 | 1229770.2595
33 | 2647539.4104 | 1229779.7889
34 | 2647468.3735 | 1230071.4828
35 | 2647478.9283 | 1229739.7544
36 | 2647552.3924 | 1229766.7511
37 | 2647475.36 | 1229721.7785
38 | 2647554.768 | 1229762.9451
39 | 2647570.1264 | 1229738.4775
40 | 2647583.1907 | 1229719.1824
41 | 2647584.3808 | 1229717.35
42 | 2647588.2779 | 1229711.349
43 | 2647603.9284 | 1229690.7155
44 | 2647710.3722 | 1229676.937
45 | 2647840.0037 | 1229401.4052
46 | 2647919.7027 | 1229356.311
47 | 2647919.4413 | 1229407.0589
48 | 2647843.5224 | 1229373.8455
49 | 2647765.5064 | 1229352.8134
50 | 2647693.0549 | 1229872.5317

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97225 | -0.19539 | 0.00025212 | 6.3186e-05
1 | 0.97171 | -0.19927 | 0.00029083 | 7.2889e-05
2 | 0.97232 | -0.19483 | 0.0003271 | 8.1978e-05
3 | 0.97152 | -0.20062 | 0.0085667 | 0.002147
4 | 0.97241 | -0.19425 | 0.00033575 | 8.4147e-05
5 | 0.97129 | -0.2023 | 0.00029154 | 7.3067e-05
6 | 0.97079 | -0.2059 | 0.0013367 | 0.00033501
7 | 0.97092 | -0.20497 | 0.003147 | 0.00078872
8 | 0.97077 | -0.20604 | 0.0018473 | 0.00046298
9 | 0.99065 | -0.065496 | 0.00014453 | 3.6223e-05
10 | 0.99094 | -0.063105 | 0.00020821 | 5.2181e-05
11 | 0.99048 | -0.066818 | 0 | 0
12 | 0.99028 | -0.068385 | 0 | 0
13 | 0.97703 | -0.1611 | 0.001399 | 0.00035063
14 | 0.97693 | -0.16178 | 0.0022375 | 0.00056077
15 | 0.97926 | -0.14523 | 0 | 0
16 | 0.97368 | -0.1851 | 0.00039524 | 9.9056e-05
17 | 0.98024 | -0.13824 | 0.00010893 | 2.73e-05
18 | 0.97922 | -0.14552 | 0.00011797 | 2.9566e-05
19 | 0.97302 | -0.18983 | 0 | 0
20 | 0.9805 | -0.13638 | 0.00031464 | 7.8855e-05
21 | 0.97918 | -0.14577 | 0.00090656 | 0.00022721
22 | 0.9712 | -0.20295 | 0.00033172 | 8.3137e-05
23 | 0.97121 | -0.20284 | 0 | 0
24 | 0.99016 | -0.069273 | 0.00037525 | 9.4048e-05
25 | 0.99026 | -0.068568 | 0.00012554 | 3.1463e-05
26 | 0.98872 | -0.078442 | 0.00023566 | 5.9062e-05
27 | 0.98872 | -0.078495 | 0.00013839 | 3.4683e-05
28 | 0.98992 | -0.070082 | 0.0014324 | 0.000359
29 | 0.98142 | -0.12987 | 0.00035196 | 8.8208e-05
30 | 0.9911 | -0.061837 | 0 | 0
31 | 0.98109 | -0.1322 | 0.00012968 | 3.2502e-05
32 | 0.99108 | -0.062015 | 0 | 0
33 | 0.9932 | -0.047195 | 0.00027534 | 6.9007e-05
34 | 0.98103 | -0.13263 | 0.00040292 | 0.00010098
35 | 0.99099 | -0.062681 | 0.0010642 | 0.00026671
36 | 0.99393 | -0.042065 | 0.00017457 | 4.3752e-05
37 | 0.99097 | -0.062875 | 7.0839e-05 | 1.7754e-05
38 | 0.99411 | -0.040816 | 0.00022305 | 5.5903e-05
39 | 0.99527 | -0.032725 | 0.00019978 | 5.007e-05
40 | 0.99622 | -0.026164 | 0.00029236 | 7.3273e-05
41 | 0.99631 | -0.025543 | 0.000459 | 0.00011504
42 | 0.99661 | -0.023477 | 0.00011362 | 2.8477e-05
43 | 0.99769 | -0.015978 | 0.00035557 | 8.9113e-05
44 | 1 | 0 | -0.11797 | -0.029706
45 | 0.98099 | -0.13224 | 0 | 0
46 | 0.97207 | -0.1959 | 0.064691 | 0.016213
47 | 0.97722 | -0.15899 | 0 | 0
48 | 0.98015 | -0.13819 | 0.016125 | 0.0040412
49 | 0.97955 | -0.14249 | 0.0044998 | 0.0011277
50 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.015828 | 0.0039669 | -0.015819 | -0.003964 | 8.4949e-06 | 2.9797e-06 | 0.024224 | 0.024224 | 0.024224 | 0.97225 | -0.19539 | 0.97171 | -0.19927 | 8.972
1 | -0.01608 | -0.0040301 | 0.016081 | 0.0040306 | 1.2394e-06 | 4.3603e-07 | 0.02461 | 0.02461 | 0.02461 | 0.97225 | -0.19539 | 0.97232 | -0.19483 | 9.1148
2 | 0.015528 | 0.0038911 | -0.015525 | -0.00389 | 2.9063e-06 | 1.0158e-06 | 0.023779 | 0.023779 | 0.023779 | 0.97171 | -0.19927 | 0.97152 | -0.20062 | 8.807
3 | -0.016408 | -0.0041125 | 0.016409 | 0.004113 | 1.3204e-06 | 4.6622e-07 | 0.025111 | 0.025111 | 0.025111 | 0.97232 | -0.19483 | 0.97241 | -0.19425 | 9.3002
4 | 0.0069588 | 0.001743 | -0.0069571 | -0.0017427 | 1.6198e-06 | 3.4009e-07 | 0.010658 | 0.010658 | 0.010658 | 0.97152 | -0.20062 | 0.97129 | -0.2023 | 3.9474
5 | -0.016745 | -0.0041971 | 0.016755 | 0.0042008 | 1.026e-05 | 3.6354e-06 | 0.025624 | 0.025624 | 0.025624 | 0.97241 | -0.19425 | 0.97302 | -0.18983 | 9.4905
6 | 0.0066656 | 0.0016696 | -0.0066651 | -0.0016695 | 4.9588e-07 | 9.6405e-08 | 0.010211 | 0.010211 | 0.010211 | 0.97129 | -0.2023 | 0.97121 | -0.20284 | 3.782
7 | -0.0031841 | -0.00079792 | 0.0031845 | 0.00079774 | 4.0919e-07 | -1.8306e-07 | 0.0048805 | 0.0048804 | 0.0048805 | 0.97079 | -0.2059 | 0.97092 | -0.20497 | 1.8076
8 | 0.0018474 | 0.00046291 | -0.0018473 | -0.00046298 | 3.583e-08 | -7.4761e-08 | 0.0028316 | 0.0028316 | 0.0028316 | 0.97079 | -0.2059 | 0.97077 | -0.20604 | 1.0487
9 | -0.0063315 | -0.0015865 | 0.0063334 | 0.0015868 | 1.8635e-06 | 3.2435e-07 | 0.0097035 | 0.0097033 | 0.0097035 | 0.97092 | -0.20497 | 0.97121 | -0.20284 | 3.5939
10 | -0.00064555 | -0.00015063 | 0.00064573 | 0.00014664 | 1.8371e-07 | -3.9995e-06 | 0.00096584 | 0.00096451 | 0.00096584 | 0.99065 | -0.065496 | 0.99094 | -0.063105 | 0.35772
11 | 0.00050102 | 0.00011441 | -0.00050094 | -0.0001173 | 7.9407e-08 | -2.8875e-06 | 0.00074878 | 0.00074974 | 0.00074974 | 0.99065 | -0.065496 | 0.99048 | -0.066818 | 0.27768
12 | -0.00085394 | -0.00019882 | 0.00085396 | 0.00019852 | 2.3808e-08 | -2.9224e-07 | 0.0012771 | 0.001277 | 0.0012771 | 0.99094 | -0.063105 | 0.99097 | -0.062875 | 0.473
13 | 0.00050094 | 0.0001173 | -0.00050084 | -0.00012087 | 9.8562e-08 | -3.5722e-06 | 0.00074974 | 0.00075096 | 0.00075096 | 0.99048 | -0.066818 | 0.99028 | -0.068385 | 0.27813
14 | 0.00012554 | 2.9714e-05 | -0.00012554 | -3.1463e-05 | 3.0121e-09 | -1.7496e-06 | 0.00018804 | 0.00018864 | 0.00018864 | 0.99028 | -0.068385 | 0.99026 | -0.068568 | 0.069868
15 | 0.0003753 | 9.1158e-05 | -0.00037525 | -9.4048e-05 | 4.4767e-08 | -2.89e-06 | 0.00056292 | 0.00056393 | 0.00056393 | 0.99028 | -0.068385 | 0.99016 | -0.069273 | 0.20886
16 | 0.019457 | 0.0048849 | -0.019455 | -0.0048843 | 1.8368e-06 | 6.645e-07 | 0.029636 | 0.029636 | 0.029636 | 0.97703 | -0.1611 | 0.97693 | -0.16178 | 10.9762
17 | -0.020856 | -0.0052356 | 0.020902 | 0.0052524 | 4.6073e-05 | 1.6802e-05 | 0.031766 | 0.031766 | 0.031766 | 0.97703 | -0.1611 | 0.97926 | -0.14523 | 11.7653
18 | 0.017217 | 0.0043235 | -0.017162 | -0.0043037 | 5.563e-05 | 1.9779e-05 | 0.026228 | 0.026228 | 0.026228 | 0.97693 | -0.16178 | 0.97368 | -0.1851 | 9.7141
19 | -0.021926 | -0.0055085 | 0.021948 | 0.0055163 | 2.1336e-05 | 7.8182e-06 | 0.033323 | 0.033323 | 0.033323 | 0.97926 | -0.14523 | 0.98024 | -0.13824 | 12.3417
20 | 0.0010246 | 0.00025612 | -0.0010246 | -0.00025645 | 4.0605e-08 | -3.2217e-07 | 0.0015567 | 0.0015568 | 0.0015568 | 0.97926 | -0.14523 | 0.97922 | -0.14552 | 0.5766
21 | 0.016766 | 0.0042047 | -0.016755 | -0.0042008 | 1.0976e-05 | 3.8885e-06 | 0.025624 | 0.025624 | 0.025624 | 0.97368 | -0.1851 | 0.97302 | -0.18983 | 9.4905
22 | -0.022057 | -0.0055436 | 0.022062 | 0.0055457 | 5.7173e-06 | 2.096e-06 | 0.033488 | 0.033488 | 0.033488 | 0.98024 | -0.13824 | 0.9805 | -0.13638 | 12.4029
23 | 0.0009066 | 0.00022688 | -0.00090656 | -0.00022721 | 3.1948e-08 | -3.2707e-07 | 0.0013775 | 0.0013777 | 0.0013777 | 0.97922 | -0.14552 | 0.97918 | -0.14577 | 0.51025
24 | -0.022377 | -0.0056246 | 0.022389 | 0.0056289 | 1.1708e-05 | 4.298e-06 | 0.033965 | 0.033965 | 0.033965 | 0.9805 | -0.13638 | 0.98103 | -0.13263 | 12.5798
25 | -0.00033172 | -8.3137e-05 | 0.00033172 | 8.2747e-05 | 5.0927e-09 | -3.8913e-07 | 0.00050824 | 0.0005081 | 0.00050824 | 0.9712 | -0.20295 | 0.97121 | -0.20284 | 0.18824
26 | 0.023588 | 0.0059503 | -0.023588 | -0.0059503 | 1.7578e-07 | 6.4745e-08 | 0.035514 | 0.035514 | 0.035514 | 0.98872 | -0.078442 | 0.98872 | -0.078495 | 13.1533
27 | -0.023824 | -0.0060094 | 0.023852 | 0.0060197 | 2.796e-05 | 1.0307e-05 | 0.035869 | 0.035869 | 0.035869 | 0.98872 | -0.078442 | 0.98992 | -0.070082 | 13.2847
28 | 0.02345 | 0.0059156 | -0.023282 | -0.0058538 | 0.00016782 | 6.1801e-05 | 0.035306 | 0.035307 | 0.035307 | 0.98872 | -0.078495 | 0.98142 | -0.12987 | 13.0766
29 | -0.025284 | -0.0063787 | 0.025314 | 0.0063895 | 2.9278e-05 | 1.0843e-05 | 0.038022 | 0.038022 | 0.038022 | 0.98992 | -0.070082 | 0.9911 | -0.061837 | 14.0821
30 | 0.02293 | 0.0057656 | -0.022923 | -0.0057628 | 7.439e-06 | 2.7366e-06 | 0.034773 | 0.034773 | 0.034773 | 0.98142 | -0.12987 | 0.98109 | -0.1322 | 12.8789
31 | 0.0019892 | 0.00048234 | -0.0019892 | -0.00048243 | 4.5962e-08 | -8.9139e-08 | 0.0029809 | 0.002981 | 0.002981 | 0.9911 | -0.061837 | 0.99108 | -0.062015 | 1.1041
32 | -0.027303 | -0.0068719 | 0.027359 | 0.0068927 | 5.5927e-05 | 2.0822e-05 | 0.041002 | 0.041002 | 0.041002 | 0.9911 | -0.061837 | 0.9932 | -0.047195 | 15.186
33 | 0.022793 | 0.0057303 | -0.022792 | -0.0057298 | 1.349e-06 | 4.9603e-07 | 0.034576 | 0.034576 | 0.034576 | 0.98109 | -0.1322 | 0.98103 | -0.13263 | 12.8061
34 | 0.0019892 | 0.00048243 | -0.001989 | -0.00048276 | 1.7246e-07 | -3.344e-07 | 0.002981 | 0.0029811 | 0.0029811 | 0.99108 | -0.062015 | 0.99099 | -0.062681 | 1.1041
35 | -0.027634 | -0.0069617 | 0.027654 | 0.0069691 | 1.9847e-05 | 7.3932e-06 | 0.041415 | 0.041415 | 0.041415 | 0.9932 | -0.047195 | 0.99393 | -0.042065 | 15.3387
36 | 0.00092483 | 0.00021605 | -0.0009248 | -0.00021628 | 2.1883e-08 | -2.277e-07 | 0.0013833 | 0.0013834 | 0.0013834 | 0.99099 | -0.062681 | 0.99097 | -0.062875 | 0.51235
37 | -0.027829 | -0.0070129 | 0.027834 | 0.0070147 | 4.8626e-06 | 1.8121e-06 | 0.041676 | 0.041676 | 0.041676 | 0.99393 | -0.042065 | 0.99411 | -0.040816 | 15.4355
38 | -0.028057 | -0.0070706 | 0.028088 | 0.0070824 | 3.1815e-05 | 1.1861e-05 | 0.04201 | 0.04201 | 0.04201 | 0.99411 | -0.040816 | 0.99527 | -0.032725 | 15.5592
39 | -0.028288 | -0.0071325 | 0.028314 | 0.0071422 | 2.6028e-05 | 9.7075e-06 | 0.042308 | 0.042308 | 0.042308 | 0.99527 | -0.032725 | 0.99622 | -0.026164 | 15.6697
40 | -0.028607 | -0.0072155 | 0.028609 | 0.0072164 | 2.4912e-06 | 9.2969e-07 | 0.042745 | 0.042745 | 0.042745 | 0.99622 | -0.026164 | 0.99631 | -0.025543 | 15.8314
41 | -0.029068 | -0.0073315 | 0.029076 | 0.0073346 | 8.4218e-06 | 3.1459e-06 | 0.04343 | 0.04343 | 0.04343 | 0.99631 | -0.025543 | 0.99661 | -0.023477 | 16.0853
42 | -0.02919 | -0.0073631 | 0.029221 | 0.0073746 | 3.0733e-05 | 1.1483e-05 | 0.0436 | 0.0436 | 0.0436 | 0.99661 | -0.023477 | 0.99769 | -0.015978 | 16.1482
43 | -0.029576 | -0.0074637 | 0.029643 | 0.0074864 | 6.6458e-05 | 2.2697e-05 | 0.04413 | 0.044129 | 0.04413 | 0.99769 | -0.015978 | 1 | 0 | 8.1723
44 | 0.087524 | 0.02222 | -0.08591 | -0.021607 | 0.001614 | 0.00061292 | 0.13034 | 0.13034 | 0.13034 | 1 | 0 | 0.98099 | -0.13224 | 24.1371
45 | 0.020644 | 0.005175 | -0.020627 | -0.0051689 | 1.7001e-05 | 6.1882e-06 | 0.031315 | 0.031315 | 0.031315 | 0.98099 | -0.13224 | 0.98015 | -0.13819 | 11.598
46 | 0.065266 | 0.016432 | -0.065023 | -0.01634 | 0.00024294 | 9.1442e-05 | 0.099026 | 0.099027 | 0.099027 | 0.98099 | -0.13224 | 0.97722 | -0.15899 | 18.3383
47 | -0.064691 | -0.016213 | 0.065023 | 0.01634 | 0.00033231 | 0.00012714 | 0.099027 | 0.099027 | 0.099027 | 0.97207 | -0.1959 | 0.97722 | -0.15899 | 36.6767
48 | 0.0045024 | 0.0011276 | -0.0044998 | -0.0011277 | 2.6756e-06 | -1.2692e-07 | 0.0068351 | 0.0068355 | 0.0068355 | 0.98015 | -0.13819 | 0.97955 | -0.14249 | 2.5317

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11797 | 0.029706

## res_load
| p_mw | q_mvar
0 | 0.00025212 | 6.3186e-05
1 | 0.00029083 | 7.2889e-05
2 | 0.0003271 | 8.1978e-05
3 | 0.0085667 | 0.002147
4 | 0.00033575 | 8.4147e-05
5 | 0.00029154 | 7.3067e-05
6 | 0.0013367 | 0.00033501
7 | 0.003147 | 0.00078872
8 | 0.0018473 | 0.00046298
9 | 0.00014453 | 3.6223e-05
10 | 0.00020821 | 5.2181e-05
11 | 0.001399 | 0.00035063
12 | 0.0022375 | 0.00056077
13 | 0.00039524 | 9.9056e-05
14 | 0.00010893 | 2.73e-05
15 | 0.00011797 | 2.9566e-05
16 | 0.00031464 | 7.8855e-05
17 | 0.00090656 | 0.00022721
18 | 0.00033172 | 8.3137e-05
19 | 0.00037525 | 9.4048e-05
20 | 0.00012554 | 3.1463e-05
21 | 0.00023566 | 5.9062e-05
22 | 0.00013839 | 3.4683e-05
23 | 0.0014324 | 0.000359
24 | 0.00035196 | 8.8208e-05
25 | 0.00012968 | 3.2502e-05
26 | 0.00027534 | 6.9007e-05
27 | 0.00040292 | 0.00010098
28 | 0.0010642 | 0.00026671
29 | 0.00017457 | 4.3752e-05
30 | 7.0839e-05 | 1.7754e-05
31 | 0.00022305 | 5.5903e-05
32 | 0.00019978 | 5.007e-05
33 | 0.00029236 | 7.3273e-05
34 | 0.000459 | 0.00011504
35 | 0.00011362 | 2.8477e-05
36 | 0.00035557 | 8.9113e-05
37 | 0.064691 | 0.016213
38 | 0.016125 | 0.0040412
39 | 0.0044998 | 0.0011277

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1