## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1125-11_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1125-11_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1125-11_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1125-11_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1125-11_0_2_node_67 | 0.4 | n |  | TRUE
5 | bus_LV_1125-11_0_2_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_1125-11_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1125-11_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1125-11_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1125-11_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1125-11_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1125-11_0_2_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_1125-11_0_2_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_1125-11_0_2_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1125-11_0_2_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_1125-11_0_2_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_1125-11_0_2_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_1125-11_0_2_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_1125-11_0_2_node_86 | 0.4 | n |  | TRUE
19 | bus_LV_1125-11_0_2_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_1125-11_0_2_node_101 | 0.4 | n |  | TRUE
21 | bus_LV_1125-11_0_2_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_1125-11_0_2_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_1125-11_0_2_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_1125-11_0_2_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_1125-11_0_2_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_1125-11_0_2_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1125-11_0_2_node_9 | 0.4 | n |  | TRUE
28 | bus_LV_1125-11_0_2_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_1125-11_0_2_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_1125-11_0_2_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_1125-11_0_2_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_1125-11_0_2_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_1125-11_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1125-11_0_2_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_1125-11_0_2_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_1125-11_0_2_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1125-11_0_2_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_1125-11_0_2_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_1125-11_0_2_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_1125-11_0_2_node_16 | 0.4 | n |  | TRUE
41 | bus_LV_1125-11_0_2_node_17 | 0.4 | n |  | TRUE
42 | bus_LV_1125-11_0_2_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_1125-11_0_2_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_1125-11_0_2_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_1125-11_0_2_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_1125-11_0_2_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1125-11_0_2_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_1125-11_0_2_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_1125-11_0_2_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_1125-11_0_2_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_1125-11_0_2_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_1125-11_0_2_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_1125-11_0_2_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_1125-11_0_2_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_1125-11_0_2_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_1125-11_0_2_node_80 | 0.4 | n |  | TRUE
57 | bus_MV_130_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1125-11_0_2_load_0 | 0 | 0.0019411 | 0.00048648 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1125-11_0_2_load_1 | 1 | 0.00082061 | 0.00020566 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1125-11_0_2_load_2 | 2 | 0.0077757 | 0.0019488 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1125-11_0_2_load_3 | 3 | 0.0067382 | 0.0016888 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1125-11_0_2_load_67 | 4 | 0.00019334 | 4.8457e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1125-11_0_2_load_68 | 5 | 0.0016861 | 0.00042258 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1125-11_0_2_load_4 | 6 | 0.0014518 | 0.00036386 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1125-11_0_2_load_6 | 8 | 0.010548 | 0.0026437 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1125-11_0_2_load_60 | 12 | 0.0055992 | 0.0014033 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1125-11_0_2_load_21 | 13 | 0.0013728 | 0.00034405 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1125-11_0_2_load_74 | 14 | 0.0046496 | 0.0011653 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1125-11_0_2_load_86 | 18 | 0.0060789 | 0.0015235 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1125-11_0_2_load_101 | 20 | 0.0029061 | 0.00072834 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1125-11_0_2_load_64 | 23 | 0.0080834 | 0.0020259 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1125-11_0_2_load_57 | 24 | 0.0038994 | 0.00097727 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1125-11_0_2_load_61 | 25 | 0.0021483 | 0.00053841 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1125-11_0_2_load_9 | 27 | 0.0034745 | 0.00087078 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1125-11_0_2_load_12 | 30 | 0.001567 | 0.00039273 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1125-11_0_2_load_14 | 31 | 0.0028719 | 0.00071978 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1125-11_0_2_load_19 | 33 | 0.0013361 | 0.00033486 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1125-11_0_2_load_71 | 35 | 0.0011242 | 0.00028176 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1125-11_0_2_load_55 | 38 | 0.0046985 | 0.0011775 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1125-11_0_2_load_70 | 39 | 0.0011944 | 0.00029935 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1125-11_0_2_load_16 | 40 | 0.0020475 | 0.00051314 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1125-11_0_2_load_17 | 41 | 0.0022297 | 0.00055881 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1125-11_0_2_load_18 | 42 | 0.0015028 | 0.00037664 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1125-11_0_2_load_22 | 43 | 0.0013864 | 0.00034746 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1125-11_0_2_load_66 | 44 | 0.00054625 | 0.0001369 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1125-11_0_2_load_65 | 45 | 0.0011359 | 0.00028469 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1125-11_0_2_load_53 | 46 | 0.0051668 | 0.0012949 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1125-11_0_2_load_75 | 47 | 0.0037012 | 0.00092761 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1125-11_0_2_load_59 | 48 | 0.0052778 | 0.0013227 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1125-11_0_2_load_62 | 49 | 0.0032161 | 0.00080604 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1125-11_0_2_load_63 | 50 | 0.00061638 | 0.00015448 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1125-11_0_2_load_72 | 51 | 0.0007531 | 0.00018874 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1125-11_0_2_load_73 | 52 | 0.0062164 | 0.001558 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1125-11_0_2_load_69 | 53 | 0.001923 | 0.00048194 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1125-11_0_2_load_80 | 56 | 0.0060809 | 0.001524 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1125-11_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.038172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1125-11_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1125-11_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0045468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1125-11_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.015886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1125-11_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.020577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1125-11_0_2_line_5 | NAYY 4x150 SE | 5 | 11 | 0.052401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1125-11_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.01346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1125-11_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0091875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1125-11_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.07345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1125-11_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.042758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1125-11_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.038372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1125-11_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.026248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1125-11_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.013025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1125-11_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.023706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1125-11_0_2_line_14 | NAYY 4x150 SE | 11 | 15 | 0.031246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1125-11_0_2_line_15 | NAYY 4x150 SE | 12 | 25 | 0.024864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1125-11_0_2_line_16 | NAYY 4x150 SE | 13 | 26 | 0.01009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1125-11_0_2_line_17 | NAYY 4x150 SE | 14 | 47 | 0.032801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1125-11_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.03311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1125-11_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.028345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1125-11_0_2_line_20 | NAYY 4x150 SE | 15 | 18 | 0.024704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1125-11_0_2_line_21 | NAYY 4x150 SE | 16 | 20 | 0.012572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1125-11_0_2_line_22 | NAYY 4x150 SE | 17 | 24 | 0.01732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1125-11_0_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.015119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1125-11_0_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.043237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1125-11_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.0073065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1125-11_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.01266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1125-11_0_2_line_27 | NAYY 4x150 SE | 23 | 45 | 0.017057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1125-11_0_2_line_28 | NAYY 4x150 SE | 25 | 49 | 0.010073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1125-11_0_2_line_29 | NAYY 4x150 SE | 26 | 33 | 0.023403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1125-11_0_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.006854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1125-11_0_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.011967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1125-11_0_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.010496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1125-11_0_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.012539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1125-11_0_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.025135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1125-11_0_2_line_35 | NAYY 4x150 SE | 29 | 32 | 0.042778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1125-11_0_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.041906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1125-11_0_2_line_37 | NAYY 4x150 SE | 32 | 35 | 0.043997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1125-11_0_2_line_38 | NAYY 4x150 SE | 33 | 36 | 0.011666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1125-11_0_2_line_39 | NAYY 4x150 SE | 34 | 37 | 0.036188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1125-11_0_2_line_40 | NAYY 4x150 SE | 34 | 38 | 0.020833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1125-11_0_2_line_41 | NAYY 4x150 SE | 35 | 39 | 0.017554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1125-11_0_2_line_42 | NAYY 4x150 SE | 36 | 43 | 0.01577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1125-11_0_2_line_43 | NAYY 4x150 SE | 36 | 42 | 0.014416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1125-11_0_2_line_44 | NAYY 4x150 SE | 37 | 44 | 0.073667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1125-11_0_2_line_45 | NAYY 4x150 SE | 38 | 46 | 0.044917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1125-11_0_2_line_46 | NAYY 4x150 SE | 39 | 53 | 0.020464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1125-11_0_2_line_47 | NAYY 4x150 SE | 40 | 41 | 0.0019324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1125-11_0_2_line_48 | NAYY 4x150 SE | 41 | 42 | 0.024667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1125-11_0_2_line_49 | NAYY 4x150 SE | 45 | 48 | 0.026052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1125-11_0_2_line_50 | NAYY 4x150 SE | 47 | 54 | 0.0026395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1125-11_0_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.029404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1125-11_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.005856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1125-11_0_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.010644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1125-11_0_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.004785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1125-11_0_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.020071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1125-11_0_2_trafo_57 | 0.25 MVA 20/0.4 kV | 57 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2643949.052 | 1228882.3754 | 2643973.133 | 1228870.4751 | 2643983.9862 | 1228867.2885
1 | 2643949.052 | 1228882.3754 | 2643944.4053 | 1228884.6717 | 2643924.3423 | 1228899.2216 | 2643924.3423 | 1228899.2216
2 | 2643924.3423 | 1228899.2216 | 2643921.6129 | 1228902.8581
3 | 2643912.0771 | 1228915.5634 | 2643912.0771 | 1228915.5634 | 2643921.6129 | 1228902.8581
4 | 2643912.0771 | 1228915.5634 | 2643902.873 | 1228933.9668
5 | 2643883.2902 | 1228982.0034 | 2643884.7869 | 1228970.1293 | 2643902.873 | 1228933.9668
6 | 2643771.6009 | 1228990.6865 | 2643770.6991 | 1228984.5427 | 2643767.7893 | 1228979.4737 | 2643766.6951 | 1228978.5921
7 | 2643758.5264 | 1228974.9918 | 2643763.4587 | 1228975.9842 | 2643766.6951 | 1228978.5921
8 | 2643845.0253 | 1228984.8565 | 2643787.9025 | 1228988.8942 | 2643771.6009 | 1228990.6865
9 | 2643734.5884 | 1229000.4427 | 2643733.8495 | 1228995.8456 | 2643771.6009 | 1228990.6865
10 | 2643845.0253 | 1228984.8565 | 2643869.9253 | 1228983.1278 | 2643883.2902 | 1228982.0034
11 | 2643845.0253 | 1228984.8565 | 2643843.9797 | 1228970.4733 | 2643842.1146 | 1228958.7944
12 | 2643734.5884 | 1229000.4427 | 2643734.8627 | 1229002.2903 | 2643736.5121 | 1229013.3247
13 | 2643883.2902 | 1228982.0034 | 2643889.4295 | 1228981.6373 | 2643898.3944 | 1228981.3032 | 2643906.9732 | 1228980.9837
14 | 2643883.2902 | 1228982.0034 | 2643869.9253 | 1228983.1278 | 2643870.0395 | 1228988.1873 | 2643881.8702 | 1228987.5742 | 2643882.794 | 1228987.6477
15 | 2643842.1146 | 1228958.7944 | 2643840.7498 | 1228950.2481 | 2643833.6918 | 1228935.6562
16 | 2643738.0038 | 1229023.3042 | 2643736.5121 | 1229013.3247
17 | 2643906.9732 | 1228980.9837 | 2643913.096 | 1228980.7557 | 2643925.1851 | 1228979.0105 | 2643939.6018 | 1228977.8947
18 | 2643874.2463 | 1229017.7033 | 2643873.2632 | 1229014.3718 | 2643873.2667 | 1229010.8251 | 2643874.4175 | 1229001.6724 | 2643875.8468 | 1228995.8571 | 2643877.0313 | 1228993.4532 | 2643879.2559 | 1228990.7346 | 2643882.794 | 1228987.6477
19 | 2643854.508 | 1228989.3069 | 2643870.0395 | 1228988.1873 | 2643881.8702 | 1228987.5742 | 2643882.794 | 1228987.6477
20 | 2643882.794 | 1228987.6477 | 2643889.3808 | 1228988.241 | 2643894.887 | 1228988.4484 | 2643903.1379 | 1228987.3419 | 2643907.2919 | 1228986.4163
21 | 2643874.2463 | 1229017.7033 | 2643875.1995 | 1229020.9679 | 2643875.0867 | 1229029.0721 | 2643874.9598 | 1229030.1309
22 | 2643854.508 | 1228989.3069 | 2643837.2331 | 1228990.5507
23 | 2643871.4631 | 1229044.7884 | 2643874.3601 | 1229035.1371 | 2643874.9598 | 1229030.1309
24 | 2643859.1955 | 1229086.1792 | 2643859.3978 | 1229085.4581 | 2643865.7762 | 1229063.9584 | 2643869.5312 | 1229048.899 | 2643871.4631 | 1229044.7884
25 | 2643852.071 | 1229084.5591 | 2643855.5425 | 1229085.3518 | 2643859.1955 | 1229086.1792
26 | 2643852.071 | 1229084.5591 | 2643855.4136 | 1229072.3478
27 | 2643855.4136 | 1229072.3478 | 2643859.9169 | 1229055.8962
28 | 2643833.6918 | 1228935.6562 | 2643829.3058 | 1228926.5885
29 | 2643738.0038 | 1229023.3042 | 2643761.3251 | 1229021.3538
30 | 2643738.0038 | 1229023.3042 | 2643739.0146 | 1229030.0825
31 | 2643739.0146 | 1229030.0825 | 2643740.7842 | 1229041.9179
32 | 2643742.3362 | 1229052.2984 | 2643740.7842 | 1229041.9179
33 | 2643739.0146 | 1229030.0825 | 2643750.5232 | 1229035.1368
34 | 2643742.3362 | 1229052.2984 | 2643767.4583 | 1229050.2151
35 | 2643749.4505 | 1229094.4768 | 2643742.9355 | 1229056.3164 | 2643742.3362 | 1229052.2984
36 | 2643749.4505 | 1229094.4768 | 2643758.1128 | 1229130.107 | 2643757.0448 | 1229135.2357
37 | 2643749.4505 | 1229094.4768 | 2643724.787 | 1229098.109 | 2643705.8416 | 1229100.2639
38 | 2643772.9506 | 1229020.3815 | 2643761.3251 | 1229021.3538
39 | 2643757.0448 | 1229135.2357 | 2643756.346 | 1229138.5659 | 2643740.4229 | 1229167.2444
40 | 2643757.0448 | 1229135.2357 | 2643764.0852 | 1229134.8983 | 2643777.3864 | 1229131.281
41 | 2643705.8416 | 1229100.2639 | 2643688.3997 | 1229102.2478
42 | 2643772.9506 | 1229020.3815 | 2643774.1558 | 1229029.5627 | 2643775.807 | 1229031.6761 | 2643777.8439 | 1229032.8474 | 2643779.3197 | 1229033.0473
43 | 2643772.9506 | 1229020.3815 | 2643787.3169 | 1229019.1831
44 | 2643740.4229 | 1229167.2444 | 2643667.578 | 1229156.2727
45 | 2643820.0571 | 1229120.0402 | 2643810.3953 | 1229119.6184 | 2643802.7281 | 1229120.696 | 2643781.241 | 1229130.2327 | 2643777.3864 | 1229131.281
46 | 2643668.0671 | 1229104.5605 | 2643688.3997 | 1229102.2478
47 | 2643813.8242 | 1229016.9719 | 2643811.8985 | 1229017.1325
48 | 2643787.3169 | 1229019.1831 | 2643811.8985 | 1229017.1325
49 | 2643863.7121 | 1229030.1843 | 2643863.2704 | 1229038.0128 | 2643860.9154 | 1229052.2487 | 2643859.9169 | 1229055.8962
50 | 2643942.2334 | 1228977.6911 | 2643939.6018 | 1228977.8947
51 | 2643816.5024 | 1228900.1187 | 2643829.3058 | 1228926.5885
52 | 2643816.5024 | 1228900.1187 | 2643813.9525 | 1228894.847
53 | 2643813.9525 | 1228894.847 | 2643809.3179 | 1228885.2653
54 | 2643942.2334 | 1228977.6911 | 2643942.9484 | 1228982.4215
55 | 2643942.9484 | 1228982.4215 | 2643945.4142 | 1229000.4064 | 2643945.7962 | 1229002.2855

## bus_geodata
| x | y | coords
0 | 2643949.052 | 1228882.3754
1 | 2643983.9862 | 1228867.2885
2 | 2643924.3423 | 1228899.2216
3 | 2643921.6129 | 1228902.8581
4 | 2643912.0771 | 1228915.5634
5 | 2643902.873 | 1228933.9668
6 | 2643766.6951 | 1228978.5921
7 | 2643771.6009 | 1228990.6865
8 | 2643758.5264 | 1228974.9918
9 | 2643845.0253 | 1228984.8565
10 | 2643734.5884 | 1229000.4427
11 | 2643883.2902 | 1228982.0034
12 | 2643842.1146 | 1228958.7944
13 | 2643736.5121 | 1229013.3247
14 | 2643906.9732 | 1228980.9837
15 | 2643882.794 | 1228987.6477
16 | 2643874.2463 | 1229017.7033
17 | 2643854.508 | 1228989.3069
18 | 2643907.2919 | 1228986.4163
19 | 2643871.4631 | 1229044.7884
20 | 2643874.9598 | 1229030.1309
21 | 2643859.1955 | 1229086.1792
22 | 2643852.071 | 1229084.5591
23 | 2643855.4136 | 1229072.3478
24 | 2643837.2331 | 1228990.5507
25 | 2643833.6918 | 1228935.6562
26 | 2643738.0038 | 1229023.3042
27 | 2643740.7842 | 1229041.9179
28 | 2643739.0146 | 1229030.0825
29 | 2643742.3362 | 1229052.2984
30 | 2643750.5232 | 1229035.1368
31 | 2643767.4583 | 1229050.2151
32 | 2643749.4505 | 1229094.4768
33 | 2643761.3251 | 1229021.3538
34 | 2643757.0448 | 1229135.2357
35 | 2643705.8416 | 1229100.2639
36 | 2643772.9506 | 1229020.3815
37 | 2643740.4229 | 1229167.2444
38 | 2643777.3864 | 1229131.281
39 | 2643688.3997 | 1229102.2478
40 | 2643813.8242 | 1229016.9719
41 | 2643811.8985 | 1229017.1325
42 | 2643787.3169 | 1229019.1831
43 | 2643779.3197 | 1229033.0473
44 | 2643667.578 | 1229156.2727
45 | 2643859.9169 | 1229055.8962
46 | 2643820.0571 | 1229120.0402
47 | 2643939.6018 | 1228977.8947
48 | 2643863.7121 | 1229030.1843
49 | 2643829.3058 | 1228926.5885
50 | 2643816.5024 | 1228900.1187
51 | 2643813.9525 | 1228894.847
52 | 2643809.3179 | 1228885.2653
53 | 2643668.0671 | 1229104.5605
54 | 2643942.2334 | 1228977.6911
55 | 2643942.9484 | 1228982.4215
56 | 2643945.7962 | 1229002.2855
57 | 2643854.508 | 1228989.3069

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98912 | -0.076024 | 0.0019411 | 0.00048648
1 | 0.98908 | -0.076344 | 0.00082061 | 0.00020566
2 | 0.98924 | -0.075178 | 0.0077757 | 0.0019488
3 | 0.98931 | -0.074689 | 0.0067382 | 0.0016888
4 | 0.98971 | -0.071891 | 0.00019334 | 4.8457e-05
5 | 0.99022 | -0.068228 | 0.0016861 | 0.00042258
6 | 0.98318 | -0.1179 | 0.0014518 | 0.00036386
7 | 0.98341 | -0.11624 | 0 | 0
8 | 0.98304 | -0.1189 | 0.010548 | 0.0026437
9 | 0.98816 | -0.082666 | 0 | 0
10 | 0.98139 | -0.1306 | 0 | 0
11 | 0.99167 | -0.05802 | 0 | 0
12 | 0.98746 | -0.087649 | 0.0055992 | 0.0014033
13 | 0.98078 | -0.13499 | 0.0013728 | 0.00034405
14 | 0.99118 | -0.061495 | 0.0046496 | 0.0011653
15 | 0.99604 | -0.027496 | 0 | 0
16 | 0.99521 | -0.033303 | 0 | 0
17 | 0.9985 | -0.010403 | 0 | 0
18 | 0.99582 | -0.029008 | 0.0060789 | 0.0015235
19 | 0.99458 | -0.037722 | 0 | 0
20 | 0.9949 | -0.03551 | 0.0029061 | 0.00072834
21 | 0.99368 | -0.044055 | 0 | 0
22 | 0.99353 | -0.045127 | 0 | 0
23 | 0.99327 | -0.046983 | 0.0080834 | 0.0020259
24 | 1 | 0 | -0.12245 | -0.030683
25 | 0.98699 | -0.090947 | 0.0021483 | 0.00053841
26 | 0.98032 | -0.13825 | 0 | 0
27 | 0.97973 | -0.14248 | 0.0034745 | 0.00087078
28 | 0.9801 | -0.13986 | 0 | 0
29 | 0.97946 | -0.14439 | 0 | 0
30 | 0.98007 | -0.14006 | 0.001567 | 0.00039273
31 | 0.97936 | -0.14514 | 0.0028719 | 0.00071978
32 | 0.97855 | -0.15093 | 0 | 0
33 | 0.98003 | -0.14032 | 0.0013361 | 0.00033486
34 | 0.97791 | -0.15549 | 0 | 0
35 | 0.97828 | -0.15288 | 0.0011242 | 0.00028176
36 | 0.97991 | -0.14119 | 0 | 0
37 | 0.97788 | -0.1557 | 0 | 0
38 | 0.97761 | -0.15764 | 0.0046985 | 0.0011775
39 | 0.9782 | -0.15345 | 0.0011944 | 0.00029935
40 | 0.97963 | -0.14319 | 0.0020475 | 0.00051314
41 | 0.97964 | -0.14315 | 0.0022297 | 0.00055881
42 | 0.97979 | -0.14205 | 0.0015028 | 0.00037664
43 | 0.97988 | -0.14142 | 0.0013864 | 0.00034746
44 | 0.97783 | -0.15612 | 0.00054625 | 0.0001369
45 | 0.99311 | -0.048091 | 0.0011359 | 0.00028469
46 | 0.97728 | -0.16006 | 0.0051668 | 0.0012949
47 | 0.99072 | -0.064758 | 0.0037012 | 0.00092761
48 | 0.99291 | -0.049483 | 0.0052778 | 0.0013227
49 | 0.98684 | -0.092063 | 0.0032161 | 0.00080604
50 | 0.98651 | -0.09435 | 0.00061638 | 0.00015448
51 | 0.98646 | -0.094769 | 0.0007531 | 0.00018874
52 | 0.98636 | -0.095448 | 0.0062164 | 0.001558
53 | 0.97814 | -0.15386 | 0.001923 | 0.00048194
54 | 0.99069 | -0.064921 | 0 | 0
55 | 0.99065 | -0.065217 | 0 | 0
56 | 0.99048 | -0.066458 | 0.0060809 | 0.001524
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00082064 | 0.00020519 | -0.00082061 | -0.00020566 | 3.6299e-08 | -4.7597e-07 | 0.0012344 | 0.0012346 | 0.0012346 | 0.98912 | -0.076024 | 0.98908 | -0.076344 | 0.45725
1 | -0.0027617 | -0.00069167 | 0.0027621 | 0.00069141 | 3.2274e-07 | -2.6055e-07 | 0.0041545 | 0.0041544 | 0.0041545 | 0.98912 | -0.076024 | 0.98924 | -0.075178 | 1.5387
2 | -0.010538 | -0.0026402 | 0.010538 | 0.0026404 | 7.1282e-07 | 2.1578e-07 | 0.015851 | 0.015851 | 0.015851 | 0.98924 | -0.075178 | 0.98931 | -0.074689 | 5.8706
3 | -0.017277 | -0.0043292 | 0.017283 | 0.0043315 | 6.6935e-06 | 2.3704e-06 | 0.025986 | 0.025985 | 0.025986 | 0.98931 | -0.074689 | 0.98971 | -0.071891 | 9.6243
4 | -0.017477 | -0.00438 | 0.017486 | 0.0043831 | 8.8651e-06 | 3.1451e-06 | 0.026276 | 0.026276 | 0.026276 | 0.98971 | -0.071891 | 0.99022 | -0.068228 | 9.7319
5 | -0.019172 | -0.0048057 | 0.019199 | 0.0048155 | 2.714e-05 | 9.7632e-06 | 0.02881 | 0.02881 | 0.02881 | 0.99022 | -0.068228 | 0.99167 | -0.05802 | 10.6703
6 | -0.012002 | -0.003008 | 0.012004 | 0.0030089 | 2.7711e-06 | 8.9506e-07 | 0.018164 | 0.018164 | 0.018164 | 0.98318 | -0.1179 | 0.98341 | -0.11624 | 6.7275
7 | 0.01055 | 0.0026441 | -0.010548 | -0.0026437 | 1.4616e-06 | 4.4565e-07 | 0.015967 | 0.015967 | 0.015967 | 0.98318 | -0.1179 | 0.98304 | -0.1189 | 5.9137
8 | -0.044593 | -0.011189 | 0.044802 | 0.011268 | 0.0002087 | 7.9331e-05 | 0.067479 | 0.067479 | 0.067479 | 0.98341 | -0.11624 | 0.98816 | -0.082666 | 24.9923
9 | 0.032589 | 0.0081801 | -0.032524 | -0.0081557 | 6.4889e-05 | 2.4416e-05 | 0.049315 | 0.049315 | 0.049315 | 0.98341 | -0.11624 | 0.98139 | -0.1306 | 18.2649
10 | -0.063375 | -0.015925 | 0.063593 | 0.016008 | 0.00021814 | 8.3406e-05 | 0.095448 | 0.095448 | 0.095448 | 0.98816 | -0.082666 | 0.99167 | -0.05802 | 35.3511
11 | 0.018573 | 0.0046567 | -0.01856 | -0.0046521 | 1.2813e-05 | 4.5919e-06 | 0.027969 | 0.027969 | 0.027969 | 0.98816 | -0.082666 | 0.98746 | -0.087649 | 10.359
12 | 0.032524 | 0.0081557 | -0.032504 | -0.0081483 | 1.9766e-05 | 7.4379e-06 | 0.049315 | 0.049315 | 0.049315 | 0.98139 | -0.1306 | 0.98078 | -0.13499 | 18.265
13 | 0.014445 | 0.0036208 | -0.014438 | -0.0036184 | 6.9494e-06 | 2.3671e-06 | 0.021674 | 0.021675 | 0.021675 | 0.99167 | -0.05802 | 0.99118 | -0.061495 | 8.0276
14 | -0.097237 | -0.024445 | 0.097652 | 0.024604 | 0.00041522 | 0.0001593 | 0.14593 | 0.14593 | 0.14593 | 0.99167 | -0.05802 | 0.99604 | -0.027496 | 54.0488
15 | 0.012961 | 0.0032488 | -0.012955 | -0.0032469 | 5.9188e-06 | 1.9586e-06 | 0.019532 | 0.019532 | 0.019532 | 0.98746 | -0.087649 | 0.98699 | -0.090947 | 7.234
16 | 0.031131 | 0.0078042 | -0.031117 | -0.007799 | 1.4047e-05 | 5.2753e-06 | 0.047233 | 0.047233 | 0.047233 | 0.98078 | -0.13499 | 0.98032 | -0.13825 | 17.4936
17 | 0.009788 | 0.0024531 | -0.0097836 | -0.0024518 | 4.4195e-06 | 1.2773e-06 | 0.014694 | 0.014694 | 0.014694 | 0.99118 | -0.061495 | 0.99072 | -0.064758 | 5.4424
18 | 0.017448 | 0.0043766 | -0.017434 | -0.0043716 | 1.4039e-05 | 4.9689e-06 | 0.026067 | 0.026067 | 0.026067 | 0.99604 | -0.027496 | 0.99521 | -0.033303 | 9.6545
19 | -0.12118 | -0.030504 | 0.12147 | 0.030615 | 0.00028999 | 0.00011079 | 0.18108 | 0.18108 | 0.18108 | 0.99604 | -0.027496 | 0.9985 | -0.010403 | 33.5337
20 | 0.0060802 | 0.0015237 | -0.0060789 | -0.0015235 | 1.2719e-06 | 1.6772e-07 | 0.0090833 | 0.0090834 | 0.0090834 | 0.99604 | -0.027496 | 0.99582 | -0.029008 | 3.3642
21 | 0.017434 | 0.0043716 | -0.017428 | -0.0043697 | 5.3307e-06 | 1.887e-06 | 0.026067 | 0.026067 | 0.026067 | 0.99521 | -0.033303 | 0.9949 | -0.03551 | 9.6545
22 | -0.12147 | -0.030615 | 0.12165 | 0.030683 | 0.00017719 | 6.7696e-05 | 0.18108 | 0.18108 | 0.18108 | 0.9985 | -0.010403 | 1 | 0 | 33.5336
23 | -0.014518 | -0.0036399 | 0.014522 | 0.0036414 | 4.4509e-06 | 1.5156e-06 | 0.021721 | 0.021721 | 0.021721 | 0.99458 | -0.037722 | 0.9949 | -0.03551 | 8.0447
24 | 0.014518 | 0.0036399 | -0.014505 | -0.0036355 | 1.2729e-05 | 4.3352e-06 | 0.021721 | 0.021721 | 0.021721 | 0.99458 | -0.037722 | 0.99368 | -0.044055 | 8.0448
25 | 0.014505 | 0.0036355 | -0.014503 | -0.0036348 | 2.151e-06 | 7.3269e-07 | 0.021721 | 0.021721 | 0.021721 | 0.99368 | -0.044055 | 0.99353 | -0.045127 | 8.0448
26 | 0.014503 | 0.0036348 | -0.014499 | -0.0036335 | 3.7273e-06 | 1.2697e-06 | 0.021721 | 0.021721 | 0.021721 | 0.99353 | -0.045127 | 0.99327 | -0.046983 | 8.0448
27 | 0.0064157 | 0.0016076 | -0.0064147 | -0.0016075 | 9.8322e-07 | 1.5742e-07 | 0.0096113 | 0.0096114 | 0.0096114 | 0.99327 | -0.046983 | 0.99311 | -0.048091 | 3.5598
28 | 0.010807 | 0.0027085 | -0.010805 | -0.002708 | 1.6685e-06 | 5.1304e-07 | 0.016293 | 0.016293 | 0.016293 | 0.98699 | -0.090947 | 0.98684 | -0.092063 | 6.0345
29 | 0.0085071 | 0.0021316 | -0.0085047 | -0.0021309 | 2.4349e-06 | 6.4154e-07 | 0.012913 | 0.012913 | 0.012913 | 0.98032 | -0.13825 | 0.98003 | -0.14032 | 4.7825
30 | 0.02261 | 0.0056674 | -0.022605 | -0.0056655 | 5.0376e-06 | 1.8511e-06 | 0.03432 | 0.03432 | 0.03432 | 0.98032 | -0.13825 | 0.9801 | -0.13986 | 12.7111
31 | -0.021031 | -0.0052702 | 0.021038 | 0.0052729 | 7.6185e-06 | 2.7794e-06 | 0.031941 | 0.031941 | 0.031941 | 0.97973 | -0.14248 | 0.9801 | -0.13986 | 11.83
32 | 0.017556 | 0.0043994 | -0.017551 | -0.0043977 | 4.6564e-06 | 1.6588e-06 | 0.026664 | 0.026664 | 0.026664 | 0.97973 | -0.14248 | 0.97946 | -0.14439 | 9.8756
33 | 0.0015671 | 0.00039259 | -0.001567 | -0.00039273 | 4.4288e-08 | -1.4098e-07 | 0.0023791 | 0.0023792 | 0.0023792 | 0.9801 | -0.13986 | 0.98007 | -0.14006 | 0.88117
34 | 0.0028722 | 0.00071958 | -0.0028719 | -0.00071978 | 2.9863e-07 | -2.0146e-07 | 0.0043635 | 0.0043636 | 0.0043636 | 0.97946 | -0.14439 | 0.97936 | -0.14514 | 1.6161
35 | 0.014679 | 0.0036782 | -0.014666 | -0.0036736 | 1.3275e-05 | 4.568e-06 | 0.022301 | 0.022301 | 0.022301 | 0.97946 | -0.14439 | 0.97855 | -0.15093 | 8.2596
36 | 0.010423 | 0.002611 | -0.010416 | -0.002609 | 6.5685e-06 | 2.0002e-06 | 0.015849 | 0.015849 | 0.015849 | 0.97855 | -0.15093 | 0.97791 | -0.15549 | 5.87
37 | 0.0042431 | 0.0010626 | -0.004242 | -0.0010627 | 1.1429e-06 | -1.1299e-07 | 0.0064519 | 0.0064521 | 0.0064521 | 0.97855 | -0.15093 | 0.97828 | -0.15288 | 2.3897
38 | 0.0071686 | 0.0017961 | -0.0071678 | -0.0017959 | 8.6238e-07 | 1.847e-07 | 0.010884 | 0.010884 | 0.010884 | 0.98003 | -0.14032 | 0.97991 | -0.14119 | 4.0312
39 | 0.0005463 | 0.00013554 | -0.00054628 | -0.00013599 | 1.5588e-08 | -4.4801e-07 | 0.00083077 | 0.00083093 | 0.00083093 | 0.97791 | -0.15549 | 0.97788 | -0.1557 | 0.30775
40 | 0.00987 | 0.0024734 | -0.009867 | -0.0024726 | 2.9321e-06 | 8.6644e-07 | 0.015018 | 0.015018 | 0.015018 | 0.97791 | -0.15549 | 0.97761 | -0.15764 | 5.5624
41 | 0.0031177 | 0.00078095 | -0.0031175 | -0.00078107 | 2.4633e-07 | -1.2564e-07 | 0.0047421 | 0.0047422 | 0.0047422 | 0.97828 | -0.15288 | 0.9782 | -0.15345 | 1.7564
42 | 0.0013864 | 0.00034728 | -0.0013864 | -0.00034746 | 4.3616e-08 | -1.8188e-07 | 0.0021053 | 0.0021053 | 0.0021053 | 0.97991 | -0.14119 | 0.97988 | -0.14142 | 0.77975
43 | 0.0057813 | 0.0014486 | -0.0057806 | -0.0014485 | 6.933e-07 | 8.5069e-08 | 0.0087789 | 0.008779 | 0.008779 | 0.97991 | -0.14119 | 0.97979 | -0.14205 | 3.2515
44 | 0.00054628 | 0.00013599 | -0.00054625 | -0.0001369 | 3.1751e-08 | -9.1191e-07 | 0.00083093 | 0.00083126 | 0.00083126 | 0.97788 | -0.1557 | 0.97783 | -0.15612 | 0.30787
45 | 0.0051686 | 0.001295 | -0.0051668 | -0.0012949 | 1.7346e-06 | 1.0418e-07 | 0.0078669 | 0.0078671 | 0.0078671 | 0.97761 | -0.15764 | 0.97728 | -0.16006 | 2.9137
46 | 0.0019231 | 0.00048172 | -0.001923 | -0.00048194 | 1.0927e-07 | -2.1485e-07 | 0.0029253 | 0.0029253 | 0.0029253 | 0.9782 | -0.15345 | 0.97814 | -0.15386 | 1.0835
47 | -0.0020475 | -0.00051314 | 0.0020475 | 0.00051312 | 1.1663e-08 | -1.9844e-08 | 0.00311 | 0.00311 | 0.00311 | 0.97963 | -0.14319 | 0.97964 | -0.14315 | 1.1518
48 | -0.0042771 | -0.0010719 | 0.0042778 | 0.0010719 | 6.4966e-07 | -6.0748e-08 | 0.0064968 | 0.0064966 | 0.0064968 | 0.97964 | -0.14315 | 0.97979 | -0.14205 | 2.4062
49 | 0.0052788 | 0.0013228 | -0.0052778 | -0.0013227 | 1.017e-06 | 5.4125e-08 | 0.0079094 | 0.0079095 | 0.0079095 | 0.99311 | -0.048091 | 0.99291 | -0.049483 | 2.9294
50 | 0.0060824 | 0.0015242 | -0.0060822 | -0.0015242 | 1.3745e-07 | 1.888e-08 | 0.0091354 | 0.0091354 | 0.0091354 | 0.99072 | -0.064758 | 0.99069 | -0.064921 | 3.3835
51 | 0.0075893 | 0.0019019 | -0.0075869 | -0.0019014 | 2.4028e-06 | 5.486e-07 | 0.011444 | 0.011444 | 0.011444 | 0.98684 | -0.092063 | 0.98651 | -0.09435 | 4.2384
52 | 0.0069705 | 0.0017469 | -0.0069701 | -0.0017468 | 4.0394e-07 | 8.0598e-08 | 0.010514 | 0.010514 | 0.010514 | 0.98651 | -0.09435 | 0.98646 | -0.094769 | 3.8941
53 | 0.006217 | 0.0015581 | -0.0062164 | -0.001558 | 5.8412e-07 | 8.8793e-08 | 0.009378 | 0.009378 | 0.009378 | 0.98646 | -0.094769 | 0.98636 | -0.095448 | 3.4733
54 | 0.0060822 | 0.0015242 | -0.006082 | -0.0015242 | 2.4919e-07 | 3.423e-08 | 0.0091354 | 0.0091354 | 0.0091354 | 0.99069 | -0.064921 | 0.99065 | -0.065217 | 3.3835
55 | 0.006082 | 0.0015242 | -0.0060809 | -0.001524 | 1.0452e-06 | 1.4364e-07 | 0.0091354 | 0.0091355 | 0.0091355 | 0.99065 | -0.065217 | 0.99048 | -0.066458 | 3.3835

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12635 | 0.03166

## res_load
| p_mw | q_mvar
0 | 0.0019411 | 0.00048648
1 | 0.00082061 | 0.00020566
2 | 0.0077757 | 0.0019488
3 | 0.0067382 | 0.0016888
4 | 0.00019334 | 4.8457e-05
5 | 0.0016861 | 0.00042258
6 | 0.0014518 | 0.00036386
7 | 0.010548 | 0.0026437
8 | 0.0055992 | 0.0014033
9 | 0.0013728 | 0.00034405
10 | 0.0046496 | 0.0011653
11 | 0.0060789 | 0.0015235
12 | 0.0029061 | 0.00072834
13 | 0.0080834 | 0.0020259
14 | 0.0038994 | 0.00097727
15 | 0.0021483 | 0.00053841
16 | 0.0034745 | 0.00087078
17 | 0.001567 | 0.00039273
18 | 0.0028719 | 0.00071978
19 | 0.0013361 | 0.00033486
20 | 0.0011242 | 0.00028176
21 | 0.0046985 | 0.0011775
22 | 0.0011944 | 0.00029935
23 | 0.0020475 | 0.00051314
24 | 0.0022297 | 0.00055881
25 | 0.0015028 | 0.00037664
26 | 0.0013864 | 0.00034746
27 | 0.00054625 | 0.0001369
28 | 0.0011359 | 0.00028469
29 | 0.0051668 | 0.0012949
30 | 0.0037012 | 0.00092761
31 | 0.0052778 | 0.0013227
32 | 0.0032161 | 0.00080604
33 | 0.00061638 | 0.00015448
34 | 0.0007531 | 0.00018874
35 | 0.0062164 | 0.001558
36 | 0.001923 | 0.00048194
37 | 0.0060809 | 0.001524

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1