## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1125-11_1_1_node_23 | 0.4 | n |  | TRUE
1 | bus_LV_1125-11_1_1_node_24 | 0.4 | n |  | TRUE
2 | bus_LV_1125-11_1_1_node_25 | 0.4 | n |  | TRUE
3 | bus_LV_1125-11_1_1_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_1125-11_1_1_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_1125-11_1_1_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_1125-11_1_1_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_1125-11_1_1_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1125-11_1_1_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_1125-11_1_1_node_87 | 0.4 | n |  | TRUE
10 | bus_LV_1125-11_1_1_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1125-11_1_1_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1125-11_1_1_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_1125-11_1_1_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1125-11_1_1_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_1125-11_1_1_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1125-11_1_1_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_1125-11_1_1_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_1125-11_1_1_node_104 | 0.4 | n |  | TRUE
19 | bus_LV_1125-11_1_1_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_1125-11_1_1_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_1125-11_1_1_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_1125-11_1_1_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_1125-11_1_1_node_78 | 0.4 | n |  | TRUE
24 | bus_LV_1125-11_1_1_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_1125-11_1_1_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_1125-11_1_1_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_1125-11_1_1_node_96 | 0.4 | n |  | TRUE
28 | bus_LV_1125-11_1_1_node_105 | 0.4 | n |  | TRUE
29 | bus_LV_1125-11_1_1_node_88 | 0.4 | n |  | TRUE
30 | bus_LV_1125-11_1_1_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_1125-11_1_1_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_1125-11_1_1_node_94 | 0.4 | n |  | TRUE
33 | bus_LV_1125-11_1_1_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_1125-11_1_1_node_97 | 0.4 | n |  | TRUE
35 | bus_LV_1125-11_1_1_node_98 | 0.4 | n |  | TRUE
36 | bus_LV_1125-11_1_1_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_1125-11_1_1_node_107 | 0.4 | n |  | TRUE
38 | bus_MV_130_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1125-11_1_1_load_23 | 0 | 0.0059841 | 0.0014997 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1125-11_1_1_load_24 | 1 | 0.0044653 | 0.0011191 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1125-11_1_1_load_27 | 4 | 0.0077397 | 0.0019397 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1125-11_1_1_load_28 | 5 | 0.0051064 | 0.0012798 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1125-11_1_1_load_29 | 7 | 0.0030272 | 0.00075869 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1125-11_1_1_load_77 | 8 | 0.0015318 | 0.00038392 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1125-11_1_1_load_87 | 9 | 0.0048008 | 0.0012032 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1125-11_1_1_load_52 | 14 | 0.0024186 | 0.00060616 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1125-11_1_1_load_48 | 15 | 0.0014633 | 0.00036673 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1125-11_1_1_load_104 | 18 | 0.011345 | 0.0028434 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1125-11_1_1_load_47 | 19 | 0.0064925 | 0.0016272 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1125-11_1_1_load_46 | 20 | 0.0071436 | 0.0017903 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1125-11_1_1_load_49 | 21 | 0.0021799 | 0.00054632 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1125-11_1_1_load_51 | 22 | 0.0070983 | 0.001779 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1125-11_1_1_load_78 | 23 | 0.0022282 | 0.00055844 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1125-11_1_1_load_84 | 26 | 0.0059285 | 0.0014858 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1125-11_1_1_load_96 | 27 | 0.00092474 | 0.00023176 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1125-11_1_1_load_88 | 29 | 0.0011868 | 0.00029744 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1125-11_1_1_load_89 | 30 | 0.0016907 | 0.00042374 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1125-11_1_1_load_93 | 31 | 0.00021141 | 5.2983e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1125-11_1_1_load_94 | 32 | 0.0037856 | 0.00094877 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1125-11_1_1_load_97 | 34 | 0.00075745 | 0.00018983 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1125-11_1_1_load_98 | 35 | 0.0016136 | 0.00040441 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1125-11_1_1_load_106 | 36 | 0.0055003 | 0.0013785 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1125-11_1_1_load_107 | 37 | 0.0050573 | 0.0012675 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1125-11_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0070596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1125-11_1_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0099005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1125-11_1_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1125-11_1_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.027015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1125-11_1_1_line_4 | NAYY 4x150 SE | 2 | 5 | 0.034495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1125-11_1_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.01009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1125-11_1_1_line_6 | NAYY 4x150 SE | 3 | 7 | 0.022461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1125-11_1_1_line_7 | NAYY 4x150 SE | 4 | 8 | 0.027592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1125-11_1_1_line_8 | NAYY 4x150 SE | 5 | 9 | 0.016897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1125-11_1_1_line_9 | NAYY 4x150 SE | 6 | 19 | 0.022465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1125-11_1_1_line_10 | NAYY 4x150 SE | 6 | 20 | 0.012206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1125-11_1_1_line_11 | NAYY 4x150 SE | 7 | 10 | 0.049933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1125-11_1_1_line_12 | NAYY 4x150 SE | 8 | 23 | 0.025355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1125-11_1_1_line_13 | NAYY 4x150 SE | 9 | 29 | 0.026451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1125-11_1_1_line_14 | NAYY 4x150 SE | 10 | 11 | 0.020589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1125-11_1_1_line_15 | NAYY 4x150 SE | 11 | 12 | 0.036449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1125-11_1_1_line_16 | NAYY 4x150 SE | 12 | 13 | 0.017989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1125-11_1_1_line_17 | NAYY 4x150 SE | 12 | 14 | 0.017199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1125-11_1_1_line_18 | NAYY 4x150 SE | 13 | 15 | 0.047657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1125-11_1_1_line_19 | NAYY 4x150 SE | 16 | 17 | 0.046307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1125-11_1_1_line_20 | NAYY 4x150 SE | 16 | 18 | 0.041151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1125-11_1_1_line_21 | NAYY 4x150 SE | 17 | 22 | 0.044626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1125-11_1_1_line_22 | NAYY 4x150 SE | 17 | 21 | 0.0099346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1125-11_1_1_line_23 | NAYY 4x150 SE | 18 | 25 | 0.041852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1125-11_1_1_line_24 | NAYY 4x150 SE | 19 | 21 | 0.013301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1125-11_1_1_line_25 | NAYY 4x150 SE | 24 | 25 | 0.031166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1125-11_1_1_line_26 | NAYY 4x150 SE | 24 | 26 | 0.020051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1125-11_1_1_line_27 | NAYY 4x150 SE | 24 | 27 | 0.055115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1125-11_1_1_line_28 | NAYY 4x150 SE | 25 | 28 | 0.017062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1125-11_1_1_line_29 | NAYY 4x150 SE | 27 | 32 | 0.057411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1125-11_1_1_line_30 | NAYY 4x150 SE | 28 | 36 | 0.033079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1125-11_1_1_line_31 | NAYY 4x150 SE | 28 | 37 | 0.050972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1125-11_1_1_line_32 | NAYY 4x150 SE | 29 | 30 | 0.020461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1125-11_1_1_line_33 | NAYY 4x150 SE | 31 | 32 | 0.014691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1125-11_1_1_line_34 | NAYY 4x150 SE | 31 | 33 | 0.030308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1125-11_1_1_line_35 | NAYY 4x150 SE | 33 | 34 | 0.044391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1125-11_1_1_line_36 | NAYY 4x150 SE | 33 | 35 | 0.017722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1125-11_1_1_trafo_106 | 0.25 MVA 20/0.4 kV | 38 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2643942.7745 | 1229172.9982 | 2643949.7485 | 1229174.0938
1 | 2643959.529 | 1229175.6303 | 2643949.7485 | 1229174.0938
2 | 2643925.591 | 1229170.2987 | 2643942.7745 | 1229172.9982
3 | 2643959.529 | 1229175.6303 | 2643985.9569 | 1229181.2322
4 | 2643959.529 | 1229175.6303 | 2643961.3574 | 1229170.1515 | 2643963.9792 | 1229164.9565 | 2643966.9142 | 1229161.4427 | 2643970.956 | 1229157.8481 | 2643976.6708 | 1229154.4215 | 2643982.3417 | 1229151.7951
5 | 2643925.591 | 1229170.2987 | 2643919.8264 | 1229162.0066
6 | 2643925.591 | 1229170.2987 | 2643917.5136 | 1229172.5627 | 2643910.0399 | 1229178.2222 | 2643907.0972 | 1229181.8834
7 | 2644012.9225 | 1229187.0635 | 2644011.2664 | 1229186.5972 | 2643985.9569 | 1229181.2322
8 | 2643998.8003 | 1229148.0896 | 2643987.8392 | 1229150.1014 | 2643982.3417 | 1229151.7951
9 | 2643919.8264 | 1229162.0066 | 2643906.6396 | 1229143.8192
10 | 2643919.8264 | 1229162.0066 | 2643912.0896 | 1229171.4479
11 | 2643872.7449 | 1229217.1825 | 2643876.8501 | 1229215.2449 | 2643882.8233 | 1229211.6867 | 2643887.5379 | 1229206.2181 | 2643907.0972 | 1229181.8834
12 | 2644012.9225 | 1229187.0635 | 2644037.329 | 1229193.9353
13 | 2643998.8003 | 1229148.0896 | 2644011.1893 | 1229145.8158 | 2644024.9492 | 1229144.1934
14 | 2643870.0563 | 1229200.6302 | 2643866.1972 | 1229202.0693 | 2643872.7449 | 1229217.1825
15 | 2643851.7643 | 1229176.5249 | 2643855.4225 | 1229175.618 | 2643866.1972 | 1229202.0693 | 2643870.0563 | 1229200.6302
16 | 2643851.7643 | 1229176.5249 | 2643855.4225 | 1229175.618 | 2643853.4742 | 1229169.6332 | 2643852.5476 | 1229165.8352 | 2643856.5571 | 1229165.5868
17 | 2643851.7643 | 1229176.5249 | 2643847.4401 | 1229159.8779
18 | 2643856.5571 | 1229165.5868 | 2643854.8004 | 1229159.2922 | 2643852.4973 | 1229146.9675 | 2643851.9205 | 1229136.8348 | 2643851.9039 | 1229124.6938 | 2643852.4315 | 1229118.8941 | 2643852.4973 | 1229118.4286
19 | 2643863.2166 | 1229089.4998 | 2643890.0008 | 1229120.8722 | 2643893.0007 | 1229125.008
20 | 2643863.2166 | 1229089.4998 | 2643873.1774 | 1229076.354 | 2643897.8332 | 1229076.0308
21 | 2643893.0007 | 1229125.008 | 2643921.1071 | 1229116.7991 | 2643925.849 | 1229114.8329 | 2643934.7596 | 1229109.8437
22 | 2643893.0007 | 1229125.008 | 2643898.8322 | 1229133.051
23 | 2643939.5765 | 1229073.7977 | 2643922.562 | 1229075.7066 | 2643897.8332 | 1229076.0308
24 | 2643898.8322 | 1229133.051 | 2643906.6396 | 1229143.8192
25 | 2643949.1282 | 1229044.261 | 2643946.9492 | 1229052.0831 | 2643942.8379 | 1229062.0033 | 2643939.5744 | 1229072.0299 | 2643939.5765 | 1229073.7977
26 | 2643949.1282 | 1229044.261 | 2643929.0776 | 1229044.3972
27 | 2643949.1282 | 1229044.261 | 2643980.8547 | 1228999.1936
28 | 2643941.3534 | 1229090.6768 | 2643939.6046 | 1229082.3031 | 2643939.5765 | 1229073.7977
29 | 2643980.8547 | 1228999.1936 | 2643981.5382 | 1229013.5146 | 2643982.3783 | 1229020.8031 | 2643984.2225 | 1229023.4406 | 2643987.0346 | 1229024.2841 | 2643994.9836 | 1229024.0316 | 2644001.7894 | 1229022.67 | 2644010.5433 | 1229018.0763 | 2644015.1314 | 1229016.6548
30 | 2643941.3534 | 1229090.6768 | 2643944.1442 | 1229100.5479 | 2643949.7212 | 1229107.5713 | 2643956.3814 | 1229111.534 | 2643962.2079 | 1229113.4893
31 | 2643992.4539 | 1229090.543 | 2643972.062 | 1229091.2372 | 2643950.1915 | 1229091.0756 | 2643941.3534 | 1229090.6768
32 | 2644024.9492 | 1229144.1934 | 2644026.3618 | 1229144.0268 | 2644045.3907 | 1229143.4082
33 | 2644023.4073 | 1229006.6314 | 2644023.2944 | 1229010.8216 | 2644021.8669 | 1229013.3015 | 2644019.0252 | 1229015.4485 | 2644015.1314 | 1229016.6548
34 | 2644018.841 | 1228976.8565 | 2644019.567 | 1228986.2455 | 2644021.0121 | 1228989.5805 | 2644023.472 | 1229004.23 | 2644023.4073 | 1229006.6314
35 | 2644018.841 | 1228976.8565 | 2644063.1132 | 1228973.6087
36 | 2644018.841 | 1228976.8565 | 2644001.1667 | 1228978.1497

## bus_geodata
| x | y | coords
0 | 2643949.7485 | 1229174.0938
1 | 2643942.7745 | 1229172.9982
2 | 2643959.529 | 1229175.6303
3 | 2643925.591 | 1229170.2987
4 | 2643985.9569 | 1229181.2322
5 | 2643982.3417 | 1229151.7951
6 | 2643919.8264 | 1229162.0066
7 | 2643907.0972 | 1229181.8834
8 | 2644012.9225 | 1229187.0635
9 | 2643998.8003 | 1229148.0896
10 | 2643872.7449 | 1229217.1825
11 | 2643870.0563 | 1229200.6302
12 | 2643851.7643 | 1229176.5249
13 | 2643856.5571 | 1229165.5868
14 | 2643847.4401 | 1229159.8779
15 | 2643852.4973 | 1229118.4286
16 | 2643863.2166 | 1229089.4998
17 | 2643893.0007 | 1229125.008
18 | 2643897.8332 | 1229076.0308
19 | 2643906.6396 | 1229143.8192
20 | 2643912.0896 | 1229171.4479
21 | 2643898.8322 | 1229133.051
22 | 2643934.7596 | 1229109.8437
23 | 2644037.329 | 1229193.9353
24 | 2643949.1282 | 1229044.261
25 | 2643939.5765 | 1229073.7977
26 | 2643929.0776 | 1229044.3972
27 | 2643980.8547 | 1228999.1936
28 | 2643941.3534 | 1229090.6768
29 | 2644024.9492 | 1229144.1934
30 | 2644045.3907 | 1229143.4082
31 | 2644023.4073 | 1229006.6314
32 | 2644015.1314 | 1229016.6548
33 | 2644018.841 | 1228976.8565
34 | 2644063.1132 | 1228973.6087
35 | 2644001.1667 | 1228978.1497
36 | 2643962.2079 | 1229113.4893
37 | 2643992.4539 | 1229090.543
38 | 2643941.3534 | 1229090.6768

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97506 | -0.17516 | 0.0059841 | 0.0014997
1 | 0.97537 | -0.17292 | 0.0044653 | 0.0011191
2 | 0.97471 | -0.17769 | 0 | 0
3 | 0.97626 | -0.16658 | 0 | 0
4 | 0.97425 | -0.18096 | 0.0077397 | 0.0019397
5 | 0.97406 | -0.18233 | 0.0051064 | 0.0012798
6 | 0.97687 | -0.16218 | 0 | 0
7 | 0.97603 | -0.16821 | 0.0030272 | 0.00075869
8 | 0.9741 | -0.18205 | 0.0015318 | 0.00038392
9 | 0.97387 | -0.18369 | 0.0048008 | 0.0012032
10 | 0.97575 | -0.17025 | 0 | 0
11 | 0.97563 | -0.17109 | 0 | 0
12 | 0.97542 | -0.17258 | 0 | 0
13 | 0.97538 | -0.17286 | 0 | 0
14 | 0.97536 | -0.17302 | 0.0024186 | 0.00060616
15 | 0.97528 | -0.17359 | 0.0014633 | 0.00036673
16 | 0.98475 | -0.1062 | 0 | 0
17 | 0.98038 | -0.13713 | 0 | 0
18 | 0.98863 | -0.078943 | 0.011345 | 0.0028434
19 | 0.97847 | -0.15073 | 0.0064925 | 0.0016272
20 | 0.97674 | -0.16309 | 0.0071436 | 0.0017903
21 | 0.97955 | -0.14307 | 0.0021799 | 0.00054632
22 | 0.97992 | -0.14042 | 0.0070983 | 0.001779
23 | 0.97402 | -0.18264 | 0.0022282 | 0.00055844
24 | 0.99267 | -0.050809 | 0 | 0
25 | 0.99326 | -0.04663 | 0 | 0
26 | 0.9925 | -0.052014 | 0.0059285 | 0.0014858
27 | 0.99209 | -0.054893 | 0.00092474 | 0.00023176
28 | 0.99547 | -0.031266 | 0 | 0
29 | 0.97376 | -0.1845 | 0.0011868 | 0.00029744
30 | 0.97371 | -0.18486 | 0.0016907 | 0.00042374
31 | 0.99151 | -0.058996 | 0.00021141 | 5.2983e-05
32 | 0.99156 | -0.05861 | 0.0037856 | 0.00094877
33 | 0.99141 | -0.059728 | 0 | 0
34 | 0.99136 | -0.060071 | 0.00075745 | 0.00018983
35 | 0.99136 | -0.060019 | 0.0016136 | 0.00040441
36 | 1 | 0 | -0.096775 | -0.024281
37 | 0.9951 | -0.033865 | 0.0050573 | 0.0012675
38 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.030293 | -0.0075931 | 0.030302 | 0.0075966 | 9.4147e-06 | 3.5329e-06 | 0.04623 | 0.04623 | 0.04623 | 0.97506 | -0.17516 | 0.97537 | -0.17292 | 17.1221
1 | 0.024309 | 0.0060933 | -0.0243 | -0.0060902 | 8.5023e-06 | 3.1467e-06 | 0.037098 | 0.037098 | 0.037098 | 0.97506 | -0.17516 | 0.97471 | -0.17769 | 13.7399
2 | -0.034768 | -0.0087157 | 0.034798 | 0.0087273 | 3.0537e-05 | 1.1528e-05 | 0.053042 | 0.053042 | 0.053042 | 0.97537 | -0.17292 | 0.97626 | -0.16658 | 19.6452
3 | 0.011506 | 0.0028834 | -0.0115 | -0.0028817 | 5.2009e-06 | 1.6638e-06 | 0.017565 | 0.017565 | 0.017565 | 0.97471 | -0.17769 | 0.97425 | -0.18096 | 6.5055
4 | 0.012795 | 0.0032068 | -0.012787 | -0.0032041 | 8.2126e-06 | 2.729e-06 | 0.019533 | 0.019533 | 0.019533 | 0.97471 | -0.17769 | 0.97406 | -0.18233 | 7.2345
5 | -0.041712 | -0.010458 | 0.041737 | 0.010467 | 2.545e-05 | 9.6624e-06 | 0.063578 | 0.063578 | 0.063578 | 0.97626 | -0.16658 | 0.97687 | -0.16218 | 23.5476
6 | 0.0069133 | 0.0017306 | -0.0069117 | -0.0017302 | 1.556e-06 | 3.1768e-07 | 0.010537 | 0.010537 | 0.010537 | 0.97626 | -0.16658 | 0.97603 | -0.16821 | 3.9025
7 | 0.0037608 | 0.00094198 | -0.0037602 | -0.00094211 | 5.6804e-07 | -1.2506e-07 | 0.0057438 | 0.0057439 | 0.0057439 | 0.97425 | -0.18096 | 0.9741 | -0.18205 | 2.1274
8 | 0.0076802 | 0.0019243 | -0.0076787 | -0.0019239 | 1.4513e-06 | 3.4791e-07 | 0.011732 | 0.011732 | 0.011732 | 0.97406 | -0.18233 | 0.97387 | -0.18369 | 4.3454
9 | -0.048882 | -0.012258 | 0.048959 | 0.012288 | 7.7723e-05 | 2.9612e-05 | 0.074461 | 0.074461 | 0.074461 | 0.97687 | -0.16218 | 0.97847 | -0.15073 | 27.5782
10 | 0.0071445 | 0.0017905 | -0.0071436 | -0.0017903 | 9.021e-07 | 1.9416e-07 | 0.010883 | 0.010883 | 0.010883 | 0.97687 | -0.16218 | 0.97674 | -0.16309 | 4.0307
11 | 0.0038845 | 0.00097155 | -0.0038834 | -0.00097175 | 1.0926e-06 | -2.0366e-07 | 0.0059215 | 0.0059217 | 0.0059217 | 0.97603 | -0.16821 | 0.97575 | -0.17025 | 2.1932
12 | 0.0022284 | 0.00055819 | -0.0022282 | -0.00055844 | 1.8333e-07 | -2.451e-07 | 0.0034039 | 0.003404 | 0.003404 | 0.9741 | -0.18205 | 0.97402 | -0.18264 | 1.2607
13 | 0.0028779 | 0.00072075 | -0.0028776 | -0.00072096 | 3.1914e-07 | -2.0634e-07 | 0.0043971 | 0.0043972 | 0.0043972 | 0.97387 | -0.18369 | 0.97376 | -0.1845 | 1.6286
14 | 0.0038834 | 0.00097175 | -0.003883 | -0.00097184 | 4.5053e-07 | -8.386e-08 | 0.0059217 | 0.0059218 | 0.0059218 | 0.97575 | -0.17025 | 0.97563 | -0.17109 | 2.1933
15 | 0.003883 | 0.00097184 | -0.0038822 | -0.00097198 | 7.9762e-07 | -1.4829e-07 | 0.0059218 | 0.005922 | 0.005922 | 0.97563 | -0.17109 | 0.97542 | -0.17258 | 2.1933
16 | 0.0014635 | 0.00036599 | -0.0014634 | -0.00036619 | 5.5937e-08 | -2.0303e-07 | 0.0022322 | 0.0022323 | 0.0022323 | 0.97542 | -0.17258 | 0.97538 | -0.17286 | 0.82679
17 | 0.0024187 | 0.000606 | -0.0024186 | -0.00060616 | 1.4612e-07 | -1.5848e-07 | 0.0036897 | 0.0036898 | 0.0036898 | 0.97542 | -0.17258 | 0.97536 | -0.17302 | 1.3666
18 | 0.0014634 | 0.00036619 | -0.0014633 | -0.00036673 | 1.4821e-07 | -5.3776e-07 | 0.0022323 | 0.0022325 | 0.0022325 | 0.97538 | -0.17286 | 0.97528 | -0.17359 | 0.82686
19 | 0.06512 | 0.016389 | -0.06484 | -0.016282 | 0.00027992 | 0.00010708 | 0.098424 | 0.098424 | 0.098424 | 0.98475 | -0.1062 | 0.98038 | -0.13713 | 36.4535
20 | -0.06512 | -0.016389 | 0.065368 | 0.016484 | 0.00024876 | 9.5149e-05 | 0.098424 | 0.098424 | 0.098424 | 0.98475 | -0.1062 | 0.98863 | -0.078943 | 36.4534
21 | 0.0071015 | 0.0017797 | -0.0070983 | -0.001779 | 3.2352e-06 | 6.8186e-07 | 0.010779 | 0.010779 | 0.010779 | 0.98038 | -0.13713 | 0.97992 | -0.14042 | 3.9921
22 | 0.057738 | 0.014502 | -0.057691 | -0.014484 | 4.7621e-05 | 1.8191e-05 | 0.087646 | 0.087646 | 0.087646 | 0.98038 | -0.13713 | 0.97955 | -0.14307 | 32.4615
23 | -0.076714 | -0.019327 | 0.077062 | 0.019461 | 0.00034839 | 0.00013346 | 0.1155 | 0.1155 | 0.1155 | 0.98863 | -0.078943 | 0.99326 | -0.04663 | 42.7778
24 | -0.055452 | -0.013915 | 0.055511 | 0.013937 | 5.903e-05 | 2.2537e-05 | 0.084335 | 0.084335 | 0.084335 | 0.97847 | -0.15073 | 0.97955 | -0.14307 | 31.2351
25 | -0.01323 | -0.0033139 | 0.013238 | 0.0033164 | 7.6484e-06 | 2.5386e-06 | 0.019831 | 0.019831 | 0.019831 | 0.99267 | -0.050809 | 0.99326 | -0.04663 | 7.345
26 | 0.0059295 | 0.0014859 | -0.0059285 | -0.0014858 | 9.8847e-07 | 1.2101e-07 | 0.0088883 | 0.0088884 | 0.0088884 | 0.99267 | -0.050809 | 0.9925 | -0.052014 | 3.292
27 | 0.0073007 | 0.001828 | -0.0072966 | -0.0018271 | 4.1186e-06 | 8.7199e-07 | 0.010943 | 0.010943 | 0.010943 | 0.99267 | -0.050809 | 0.99209 | -0.054893 | 4.0531
28 | -0.0903 | -0.022777 | 0.090495 | 0.022852 | 0.00019499 | 7.4774e-05 | 0.13533 | 0.13533 | 0.13533 | 0.99326 | -0.04663 | 0.99547 | -0.031266 | 50.1226
29 | 0.0063719 | 0.0015953 | -0.0063686 | -0.0015948 | 3.2718e-06 | 5.1745e-07 | 0.0095565 | 0.0095567 | 0.0095567 | 0.99209 | -0.054893 | 0.99156 | -0.05861 | 3.5395
30 | -0.095554 | -0.024119 | 0.095975 | 0.024281 | 0.00042146 | 0.00016167 | 0.14289 | 0.14289 | 0.14289 | 0.99547 | -0.031266 | 1 | 0 | 52.9234
31 | 0.0050591 | 0.0012675 | -0.0050573 | -0.0012675 | 1.819e-06 | 3.7176e-08 | 0.0075622 | 0.0075624 | 0.0075624 | 0.99547 | -0.031266 | 0.9951 | -0.033865 | 2.8009
32 | 0.0016908 | 0.00042352 | -0.0016907 | -0.00042374 | 8.5234e-08 | -2.2174e-07 | 0.0025837 | 0.0025838 | 0.0025838 | 0.97376 | -0.1845 | 0.97371 | -0.18486 | 0.95695
33 | -0.0025828 | -0.00064617 | 0.002583 | 0.00064603 | 1.377e-07 | -1.3652e-07 | 0.0038758 | 0.0038757 | 0.0038758 | 0.99151 | -0.058996 | 0.99156 | -0.05861 | 1.4355
34 | 0.0023714 | 0.00059319 | -0.0023712 | -0.00059349 | 2.395e-07 | -2.9875e-07 | 0.0035585 | 0.0035587 | 0.0035587 | 0.99151 | -0.058996 | 0.99141 | -0.059728 | 1.318
35 | 0.00075748 | 0.00018928 | -0.00075745 | -0.00018983 | 3.5798e-08 | -5.5862e-07 | 0.0011367 | 0.0011369 | 0.0011369 | 0.99141 | -0.059728 | 0.99136 | -0.060071 | 0.42108
36 | 0.0016137 | 0.00040421 | -0.0016136 | -0.00040441 | 6.4867e-08 | -2.0356e-07 | 0.0024219 | 0.002422 | 0.002422 | 0.99141 | -0.059728 | 0.99136 | -0.060019 | 0.89705

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10228 | 0.02566

## res_load
| p_mw | q_mvar
0 | 0.0059841 | 0.0014997
1 | 0.0044653 | 0.0011191
2 | 0.0077397 | 0.0019397
3 | 0.0051064 | 0.0012798
4 | 0.0030272 | 0.00075869
5 | 0.0015318 | 0.00038392
6 | 0.0048008 | 0.0012032
7 | 0.0024186 | 0.00060616
8 | 0.0014633 | 0.00036673
9 | 0.011345 | 0.0028434
10 | 0.0064925 | 0.0016272
11 | 0.0071436 | 0.0017903
12 | 0.0021799 | 0.00054632
13 | 0.0070983 | 0.001779
14 | 0.0022282 | 0.00055844
15 | 0.0059285 | 0.0014858
16 | 0.00092474 | 0.00023176
17 | 0.0011868 | 0.00029744
18 | 0.0016907 | 0.00042374
19 | 0.00021141 | 5.2983e-05
20 | 0.0037856 | 0.00094877
21 | 0.00075745 | 0.00018983
22 | 0.0016136 | 0.00040441
23 | 0.0055003 | 0.0013785
24 | 0.0050573 | 0.0012675

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1