## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1125-18_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1125-18_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1125-18_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1125-18_0_2_node_69 | 0.4 | n |  | TRUE
4 | bus_LV_1125-18_0_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_1125-18_0_2_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_1125-18_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1125-18_0_2_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_1125-18_0_2_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_1125-18_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1125-18_0_2_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_1125-18_0_2_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_1125-18_0_2_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1125-18_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1125-18_0_2_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_1125-18_0_2_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_1125-18_0_2_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_1125-18_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1125-18_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1125-18_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1125-18_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1125-18_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1125-18_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1125-18_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1125-18_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1125-18_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1125-18_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1125-18_0_2_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_1125-18_0_2_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_1125-18_0_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1125-18_0_2_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_1125-18_0_2_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1125-18_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1125-18_0_2_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1125-18_0_2_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1125-18_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1125-18_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1125-18_0_2_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1125-18_0_2_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_1125-18_0_2_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_1125-18_0_2_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1125-18_0_2_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_1125-18_0_2_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_1125-18_0_2_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_1125-18_0_2_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1125-18_0_2_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_1125-18_0_2_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_1125-18_0_2_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_1125-18_0_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1125-18_0_2_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_1125-18_0_2_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_1125-18_0_2_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1125-18_0_2_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_1125-18_0_2_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_1125-18_0_2_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_1125-18_0_2_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_1125-18_0_2_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_1125-18_0_2_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_1125-18_0_2_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_1125-18_0_2_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_1125-18_0_2_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_1125-18_0_2_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_1125-18_0_2_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_1125-18_0_2_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_1125-18_0_2_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_1125-18_0_2_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_1125-18_0_2_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_1125-18_0_2_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_1125-18_0_2_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_1125-18_0_2_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_1125-18_0_2_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_1125-18_0_2_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_1125-18_0_2_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_1125-18_0_2_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_1125-18_0_2_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_1125-18_0_2_node_77 | 0.4 | n |  | TRUE
76 | bus_MV_130_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1125-18_0_2_load_0 | 0 | 0.00028696 | 7.192e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1125-18_0_2_load_1 | 1 | 8.5924e-05 | 2.1535e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1125-18_0_2_load_2 | 2 | 0.00048347 | 0.00012117 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1125-18_0_2_load_69 | 3 | 0.0036362 | 0.00091133 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1125-18_0_2_load_47 | 5 | 0.0022166 | 0.00055553 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1125-18_0_2_load_7 | 6 | 0.0003153 | 7.9021e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1125-18_0_2_load_70 | 7 | 0.0030026 | 0.00075252 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1125-18_0_2_load_63 | 8 | 0.0036258 | 0.00090872 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1125-18_0_2_load_3 | 10 | 0.00038599 | 9.6737e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1125-18_0_2_load_4 | 11 | 0.0011919 | 0.00029871 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1125-18_0_2_load_14 | 12 | 0.0036834 | 0.00092314 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1125-18_0_2_load_9 | 13 | 0.00019811 | 4.965e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1125-18_0_2_load_16 | 14 | 0.00016633 | 4.1687e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1125-18_0_2_load_5 | 15 | 0.00028747 | 7.2047e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1125-18_0_2_load_6 | 16 | 7.4223e-05 | 1.8602e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1125-18_0_2_load_10 | 18 | 0.00029651 | 7.4314e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1125-18_0_2_load_12 | 20 | 8.2478e-05 | 2.0671e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1125-18_0_2_load_21 | 22 | 0.0023009 | 0.00057667 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1125-18_0_2_load_22 | 23 | 0.003179 | 0.00079674 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1125-18_0_2_load_17 | 24 | 0.020947 | 0.0052499 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1125-18_0_2_load_18 | 25 | 0.001343 | 0.0003366 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1125-18_0_2_load_20 | 26 | 0.0032018 | 0.00080244 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1125-18_0_2_load_72 | 27 | 0.0050259 | 0.0012596 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1125-18_0_2_load_62 | 28 | 0.0021427 | 0.00053702 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1125-18_0_2_load_31 | 29 | 0.0032784 | 0.00082164 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1125-18_0_2_load_73 | 30 | 0.0030466 | 0.00076354 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1125-18_0_2_load_30 | 32 | 0.0011381 | 0.00028524 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1125-18_0_2_load_23 | 33 | 0.0014701 | 0.00036845 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1125-18_0_2_load_25 | 35 | 0.0011503 | 0.0002883 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1125-18_0_2_load_26 | 36 | 0.0013986 | 0.00035052 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1125-18_0_2_load_27 | 37 | 0.0023696 | 0.00059388 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1125-18_0_2_load_61 | 38 | 0.0022894 | 0.00057378 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1125-18_0_2_load_42 | 39 | 0.0022157 | 0.0005553 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1125-18_0_2_load_66 | 41 | 0.0022422 | 0.00056195 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1125-18_0_2_load_71 | 43 | 0.0021229 | 0.00053204 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1125-18_0_2_load_32 | 44 | 0.0010921 | 0.00027371 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1125-18_0_2_load_65 | 45 | 0.0015385 | 0.00038558 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1125-18_0_2_load_41 | 48 | 0.0017687 | 0.00044329 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1125-18_0_2_load_60 | 49 | 0.0017078 | 0.00042801 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1125-18_0_2_load_64 | 50 | 0.0041403 | 0.0010377 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1125-18_0_2_load_48 | 51 | 0.0027522 | 0.00068977 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1125-18_0_2_load_59 | 52 | 0.0038919 | 0.00097539 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1125-18_0_2_load_39 | 53 | 0.0016968 | 0.00042525 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1125-18_0_2_load_34 | 55 | 0.0029202 | 0.00073186 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1125-18_0_2_load_35 | 56 | 0.0020665 | 0.00051792 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1125-18_0_2_load_36 | 57 | 0.0028471 | 0.00071355 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1125-18_0_2_load_37 | 58 | 0.002029 | 0.00050851 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1125-18_0_2_load_43 | 59 | 0.0029277 | 0.00073376 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1125-18_0_2_load_40 | 61 | 0.0015642 | 0.00039202 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1125-18_0_2_load_44 | 62 | 0.0022601 | 0.00056642 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1125-18_0_2_load_45 | 63 | 0.0021717 | 0.00054428 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1125-18_0_2_load_49 | 64 | 0.0014591 | 0.0003657 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1125-18_0_2_load_50 | 65 | 0.0016362 | 0.00041006 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1125-18_0_2_load_51 | 66 | 0.0021097 | 0.00052874 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1125-18_0_2_load_53 | 67 | 0.002247 | 0.00056316 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1125-18_0_2_load_58 | 69 | 0.0023376 | 0.00058586 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1125-18_0_2_load_54 | 70 | 0.0017771 | 0.00044539 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1125-18_0_2_load_55 | 71 | 0.0017988 | 0.00045082 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1125-18_0_2_load_57 | 72 | 0.0019196 | 0.00048111 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1125-18_0_2_load_67 | 73 | 0.0013727 | 0.00034402 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1125-18_0_2_load_68 | 74 | 0.0012886 | 0.00032296 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1125-18_0_2_load_77 | 75 | 0.0054176 | 0.0013578 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1125-18_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1125-18_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0056399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1125-18_0_2_line_2 | NAYY 4x150 SE | 2 | 6 | 0.039728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1125-18_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.22421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1125-18_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.018811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1125-18_0_2_line_5 | NAYY 4x150 SE | 4 | 12 | 0.0083614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1125-18_0_2_line_6 | NAYY 4x150 SE | 5 | 63 | 0.023703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1125-18_0_2_line_7 | NAYY 4x150 SE | 6 | 9 | 0.066344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1125-18_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0043888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1125-18_0_2_line_9 | NAYY 4x150 SE | 8 | 31 | 0.034892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1125-18_0_2_line_10 | NAYY 4x150 SE | 9 | 21 | 0.16231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1125-18_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.011796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1125-18_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.22321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1125-18_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.19644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1125-18_0_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.10703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1125-18_0_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.075196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1125-18_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.022788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1125-18_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.085466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1125-18_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.036347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1125-18_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0079141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1125-18_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.0072934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1125-18_0_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.014664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1125-18_0_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.013683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1125-18_0_2_line_23 | NAYY 4x150 SE | 21 | 24 | 0.017677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1125-18_0_2_line_24 | NAYY 4x150 SE | 22 | 28 | 0.019663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1125-18_0_2_line_25 | NAYY 4x150 SE | 23 | 29 | 0.019038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1125-18_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.020372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1125-18_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.020248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1125-18_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.011997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1125-18_0_2_line_29 | NAYY 4x150 SE | 27 | 30 | 0.008227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1125-18_0_2_line_30 | NAYY 4x150 SE | 28 | 31 | 0.01478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1125-18_0_2_line_31 | NAYY 4x150 SE | 29 | 32 | 0.0067128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1125-18_0_2_line_32 | NAYY 4x150 SE | 31 | 57 | 0.0082763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1125-18_0_2_line_33 | NAYY 4x150 SE | 32 | 44 | 0.025702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1125-18_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.012086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1125-18_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.053909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1125-18_0_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.033597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1125-18_0_2_line_37 | NAYY 4x150 SE | 34 | 37 | 0.036108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1125-18_0_2_line_38 | NAYY 4x150 SE | 35 | 40 | 0.015596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1125-18_0_2_line_39 | NAYY 4x150 SE | 36 | 41 | 0.0092631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1125-18_0_2_line_40 | NAYY 4x150 SE | 37 | 42 | 0.06249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1125-18_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.028795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1125-18_0_2_line_42 | NAYY 4x150 SE | 39 | 61 | 0.024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1125-18_0_2_line_43 | NAYY 4x150 SE | 40 | 43 | 0.027961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1125-18_0_2_line_44 | NAYY 4x150 SE | 40 | 44 | 0.01047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1125-18_0_2_line_45 | NAYY 4x150 SE | 41 | 45 | 0.0032742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1125-18_0_2_line_46 | NAYY 4x150 SE | 42 | 46 | 0.007262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1125-18_0_2_line_47 | NAYY 4x150 SE | 45 | 73 | 0.006768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1125-18_0_2_line_48 | NAYY 4x150 SE | 46 | 75 | 0.034739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1125-18_0_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.034585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1125-18_0_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.058351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1125-18_0_2_line_51 | NAYY 4x150 SE | 48 | 53 | 0.023537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1125-18_0_2_line_52 | NAYY 4x150 SE | 49 | 54 | 0.014409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1125-18_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.023286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1125-18_0_2_line_54 | NAYY 4x150 SE | 50 | 52 | 0.044626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1125-18_0_2_line_55 | NAYY 4x150 SE | 51 | 60 | 0.01319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1125-18_0_2_line_56 | NAYY 4x150 SE | 52 | 69 | 0.030127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1125-18_0_2_line_57 | NAYY 4x150 SE | 53 | 61 | 0.022747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1125-18_0_2_line_58 | NAYY 4x150 SE | 54 | 68 | 0.024956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1125-18_0_2_line_59 | NAYY 4x150 SE | 54 | 65 | 0.034557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1125-18_0_2_line_60 | NAYY 4x150 SE | 55 | 56 | 0.014339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1125-18_0_2_line_61 | NAYY 4x150 SE | 55 | 57 | 0.0091504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1125-18_0_2_line_62 | NAYY 4x150 SE | 56 | 58 | 0.005997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1125-18_0_2_line_63 | NAYY 4x150 SE | 58 | 59 | 0.015371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1125-18_0_2_line_64 | NAYY 4x150 SE | 59 | 60 | 0.042344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1125-18_0_2_line_65 | NAYY 4x150 SE | 60 | 62 | 0.015552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1125-18_0_2_line_66 | NAYY 4x150 SE | 62 | 63 | 0.023552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1125-18_0_2_line_67 | NAYY 4x150 SE | 64 | 65 | 0.021566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1125-18_0_2_line_68 | NAYY 4x150 SE | 64 | 66 | 0.02214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1125-18_0_2_line_69 | NAYY 4x150 SE | 66 | 67 | 0.019107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1125-18_0_2_line_70 | NAYY 4x150 SE | 67 | 69 | 0.0046389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1125-18_0_2_line_71 | NAYY 4x150 SE | 68 | 70 | 0.047812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1125-18_0_2_line_72 | NAYY 4x150 SE | 70 | 71 | 0.019671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1125-18_0_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.00085402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1125-18_0_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.02047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1125-18_0_2_trafo_35 | 0.25 MVA 20/0.4 kV | 76 | 56 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2642366.4736 | 1229150.0542 | 2642351.0922 | 1229159.5442
1 | 2642351.0922 | 1229159.5442 | 2642346.2924 | 1229162.5057
2 | 2642346.2924 | 1229162.5057 | 2642344.404 | 1229163.6708 | 2642333.6325 | 1229168.8196 | 2642308.4637 | 1229164.3072
3 | 2642189.8358 | 1229306.7507 | 2642381.572 | 1229422.9734
4 | 2642189.8358 | 1229306.7507 | 2642175.7464 | 1229319.2144
5 | 2642381.572 | 1229422.9734 | 2642389.6153 | 1229420.6887
6 | 2642175.7464 | 1229319.2144 | 2642157.9934 | 1229334.9191
7 | 2642260.8116 | 1229123.3074 | 2642284.7669 | 1229156.2757 | 2642291.7236 | 1229161.306 | 2642308.4637 | 1229164.3072
8 | 2642165.2359 | 1229273.7324 | 2642160.8617 | 1229273.3736
9 | 2642126.0861 | 1229270.5213 | 2642160.8617 | 1229273.3736
10 | 2642132.5979 | 1229222.8379 | 2642260.8116 | 1229123.3074
11 | 2642602.3008 | 1229352.943 | 2642605.7542 | 1229341.664
12 | 2642602.3008 | 1229352.943 | 2642389.6153 | 1229420.6887
13 | 2642605.7542 | 1229341.664 | 2642794.9499 | 1229394.502
14 | 2642794.9499 | 1229394.502 | 2642798.2254 | 1229501.4863
15 | 2642794.9499 | 1229394.502 | 2642808.279 | 1229382.4015 | 2642820.3524 | 1229370.0362 | 2642836.6666 | 1229358.9467 | 2642846.2354 | 1229348.309 | 2642848.1046 | 1229342.7369
16 | 2642848.1046 | 1229342.7369 | 2642850.0676 | 1229336.8851 | 2642849.8929 | 1229326.4329 | 2642851.1457 | 1229320.3997
17 | 2642848.1046 | 1229342.7369 | 2642922.6999 | 1229384.4489
18 | 2642922.6999 | 1229384.4489 | 2642929.5033 | 1229387.5221 | 2642932.2517 | 1229387.7309 | 2642939.8618 | 1229387.1299 | 2642952.1009 | 1229384.3943 | 2642953.9104 | 1229382.4394 | 2642954.2679 | 1229379.0844
19 | 2642954.2679 | 1229379.0844 | 2642952.422 | 1229371.3885
20 | 2642954.2679 | 1229379.0844 | 2642961.4546 | 1229377.841
21 | 2642132.5979 | 1229222.8379 | 2642134.0504 | 1229228.4739 | 2642134.3208 | 1229235.2244 | 2642134.0036 | 1229237.2884
22 | 2642132.5979 | 1229222.8379 | 2642122.181 | 1229231.7101
23 | 2642132.5979 | 1229222.8379 | 2642123.4346 | 1229209.5315 | 2642122.1109 | 1229208.7839
24 | 2642131.0168 | 1229256.723 | 2642134.0036 | 1229237.2884
25 | 2642107.6875 | 1229244.0544 | 2642122.181 | 1229231.7101
26 | 2642122.1109 | 1229208.7839 | 2642115.1421 | 1229204.8477 | 2642107.3551 | 1229195.2379
27 | 2642094.6073 | 1229179.5061 | 2642107.3551 | 1229195.2379
28 | 2642087.0545 | 1229170.1852 | 2642094.6073 | 1229179.5061
29 | 2642087.0545 | 1229170.1852 | 2642081.875 | 1229163.7932
30 | 2642126.0861 | 1229270.5213 | 2642130.2944 | 1229261.4232 | 2642131.0168 | 1229256.723
31 | 2642102.577 | 1229248.4071 | 2642107.6875 | 1229244.0544
32 | 2642126.0861 | 1229270.5213 | 2642125.2176 | 1229278.7519
33 | 2642102.577 | 1229248.4071 | 2642083.0101 | 1229265.0725
34 | 2642026.1064 | 1229273.2274 | 2642021.0667 | 1229284.2121
35 | 2642026.1064 | 1229273.2274 | 2642041.2622 | 1229291.8793 | 2642046.1214 | 1229295.716 | 2642051.0074 | 1229295.7505 | 2642057.5992 | 1229291.3166 | 2642063.263 | 1229282.0572
36 | 2642026.1064 | 1229273.2274 | 2642052.3018 | 1229252.1901
37 | 2642026.1064 | 1229273.2274 | 2641997.4191 | 1229251.299
38 | 2642075.0395 | 1229271.8611 | 2642063.47 | 1229281.7188 | 2642063.263 | 1229282.0572
39 | 2642059.5242 | 1229246.3899 | 2642052.3018 | 1229252.1901
40 | 2641947.7722 | 1229213.3491 | 2641997.4191 | 1229251.299
41 | 2642001.4636 | 1229399.11 | 2642013.46 | 1229372.9327
42 | 2642001.4636 | 1229399.11 | 2641991.465 | 1229420.9278
43 | 2642075.0395 | 1229271.8611 | 2642092.4676 | 1229293.7645
44 | 2642075.0395 | 1229271.8611 | 2642083.0101 | 1229265.0725
45 | 2642062.077 | 1229244.3397 | 2642059.5242 | 1229246.3899
46 | 2641947.7722 | 1229213.3491 | 2641941.8551 | 1229209.1159
47 | 2642062.077 | 1229244.3397 | 2642067.354 | 1229240.1019
48 | 2641941.8551 | 1229209.1159 | 2641959.8525 | 1229179.4021
49 | 2641956.8461 | 1229493.9753 | 2641963.4756 | 1229482.0035 | 2641972.1829 | 1229463.0033
50 | 2641956.8461 | 1229493.9753 | 2641973.7673 | 1229491.0594 | 2641995.6594 | 1229486.8668 | 2642013.6866 | 1229486.0935 | 2642014.5213 | 1229486.2377
51 | 2641981.9885 | 1229441.6065 | 2641972.1829 | 1229463.0033
52 | 2642028.7205 | 1229488.6901 | 2642014.5213 | 1229486.2377
53 | 2642109.7988 | 1229392.0235 | 2642121.8678 | 1229372.1092
54 | 2642109.7988 | 1229392.0235 | 2642074.3511 | 1229364.9137
55 | 2642128.7041 | 1229360.8289 | 2642121.8678 | 1229372.1092
56 | 2642074.3511 | 1229364.9137 | 2642061.5586 | 1229391.3397 | 2642061.3186 | 1229392.0689
57 | 2641981.9885 | 1229441.6065 | 2641991.465 | 1229420.9278
58 | 2642028.7205 | 1229488.6901 | 2642039.0906 | 1229494.1334 | 2642049.3026 | 1229502.6441
59 | 2642028.7205 | 1229488.6901 | 2642031.7223 | 1229481.985 | 2642040.2297 | 1229456.1387
60 | 2642124.2574 | 1229287.8518 | 2642122.7528 | 1229302.1112
61 | 2642124.2574 | 1229287.8518 | 2642125.2176 | 1229278.7519
62 | 2642122.7528 | 1229302.1112 | 2642122.1235 | 1229308.075
63 | 2642122.1235 | 1229308.075 | 2642120.5106 | 1229323.3609
64 | 2642128.7041 | 1229360.8289 | 2642117.882 | 1229349.6566 | 2642116.7162 | 1229345.2678 | 2642119.9551 | 1229328.6249 | 2642120.5106 | 1229323.3609
65 | 2642128.7041 | 1229360.8289 | 2642140.3527 | 1229350.5244
66 | 2642140.3527 | 1229350.5244 | 2642157.9934 | 1229334.9191
67 | 2642046.9723 | 1229435.6542 | 2642040.2297 | 1229456.1387
68 | 2642046.9723 | 1229435.6542 | 2642053.8943 | 1229414.6245
69 | 2642059.8682 | 1229396.4752 | 2642053.8943 | 1229414.6245
70 | 2642059.8682 | 1229396.4752 | 2642061.3186 | 1229392.0689
71 | 2642049.3026 | 1229502.6441 | 2642054.1257 | 1229497.6306 | 2642056.3961 | 1229492.588 | 2642066.3958 | 1229458.7076
72 | 2642066.3958 | 1229458.7076 | 2642071.9641 | 1229439.8412
73 | 2642071.9641 | 1229439.8412 | 2642072.2059 | 1229439.0222
74 | 2642083.314 | 1229227.2845 | 2642067.354 | 1229240.1019

## bus_geodata
| x | y | coords
0 | 2642366.4736 | 1229150.0542
1 | 2642351.0922 | 1229159.5442
2 | 2642346.2924 | 1229162.5057
3 | 2642189.8358 | 1229306.7507
4 | 2642381.572 | 1229422.9734
5 | 2642175.7464 | 1229319.2144
6 | 2642308.4637 | 1229164.3072
7 | 2642165.2359 | 1229273.7324
8 | 2642160.8617 | 1229273.3736
9 | 2642260.8116 | 1229123.3074
10 | 2642602.3008 | 1229352.943
11 | 2642605.7542 | 1229341.664
12 | 2642389.6153 | 1229420.6887
13 | 2642794.9499 | 1229394.502
14 | 2642798.2254 | 1229501.4863
15 | 2642851.1457 | 1229320.3997
16 | 2642848.1046 | 1229342.7369
17 | 2642922.6999 | 1229384.4489
18 | 2642952.422 | 1229371.3885
19 | 2642954.2679 | 1229379.0844
20 | 2642961.4546 | 1229377.841
21 | 2642132.5979 | 1229222.8379
22 | 2642134.0036 | 1229237.2884
23 | 2642122.181 | 1229231.7101
24 | 2642122.1109 | 1229208.7839
25 | 2642107.3551 | 1229195.2379
26 | 2642094.6073 | 1229179.5061
27 | 2642087.0545 | 1229170.1852
28 | 2642131.0168 | 1229256.723
29 | 2642107.6875 | 1229244.0544
30 | 2642081.875 | 1229163.7932
31 | 2642126.0861 | 1229270.5213
32 | 2642102.577 | 1229248.4071
33 | 2642021.0667 | 1229284.2121
34 | 2642026.1064 | 1229273.2274
35 | 2642063.263 | 1229282.0572
36 | 2642052.3018 | 1229252.1901
37 | 2641997.4191 | 1229251.299
38 | 2642013.46 | 1229372.9327
39 | 2642001.4636 | 1229399.11
40 | 2642075.0395 | 1229271.8611
41 | 2642059.5242 | 1229246.3899
42 | 2641947.7722 | 1229213.3491
43 | 2642092.4676 | 1229293.7645
44 | 2642083.0101 | 1229265.0725
45 | 2642062.077 | 1229244.3397
46 | 2641941.8551 | 1229209.1159
47 | 2641956.8461 | 1229493.9753
48 | 2641972.1829 | 1229463.0033
49 | 2642014.5213 | 1229486.2377
50 | 2642109.7988 | 1229392.0235
51 | 2642121.8678 | 1229372.1092
52 | 2642074.3511 | 1229364.9137
53 | 2641981.9885 | 1229441.6065
54 | 2642028.7205 | 1229488.6901
55 | 2642124.2574 | 1229287.8518
56 | 2642122.7528 | 1229302.1112
57 | 2642125.2176 | 1229278.7519
58 | 2642122.1235 | 1229308.075
59 | 2642120.5106 | 1229323.3609
60 | 2642128.7041 | 1229360.8289
61 | 2641991.465 | 1229420.9278
62 | 2642140.3527 | 1229350.5244
63 | 2642157.9934 | 1229334.9191
64 | 2642046.9723 | 1229435.6542
65 | 2642040.2297 | 1229456.1387
66 | 2642053.8943 | 1229414.6245
67 | 2642059.8682 | 1229396.4752
68 | 2642049.3026 | 1229502.6441
69 | 2642061.3186 | 1229392.0689
70 | 2642066.3958 | 1229458.7076
71 | 2642071.9641 | 1229439.8412
72 | 2642072.2059 | 1229439.0222
73 | 2642067.354 | 1229240.1019
74 | 2642083.314 | 1229227.2845
75 | 2641959.8525 | 1229179.4021
76 | 2642126.0861 | 1229270.5213

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99131 | -0.060914 | 0.00028696 | 7.192e-05
1 | 0.99131 | -0.060861 | 8.5924e-05 | 2.1535e-05
2 | 0.99132 | -0.06084 | 0.00048347 | 0.00012117
3 | 0.9934 | -0.046282 | 0.0036362 | 0.00091133
4 | 0.99135 | -0.060943 | 0 | 0
5 | 0.99367 | -0.044361 | 0.0022166 | 0.00055553
6 | 0.99137 | -0.060493 | 0.0003153 | 7.9021e-05
7 | 0.99607 | -0.027395 | 0.0030026 | 0.00075252
8 | 0.99609 | -0.027262 | 0.0036258 | 0.00090872
9 | 0.99148 | -0.059697 | 0 | 0
10 | 0.99041 | -0.067722 | 0.00038599 | 9.6737e-05
11 | 0.99037 | -0.068004 | 0.0011919 | 0.00029871
12 | 0.99127 | -0.06149 | 0.0036834 | 0.00092314
13 | 0.99006 | -0.070298 | 0.00019811 | 4.965e-05
14 | 0.99003 | -0.070485 | 0.00016633 | 4.1687e-05
15 | 0.98997 | -0.070947 | 0.00028747 | 7.2047e-05
16 | 0.98998 | -0.07088 | 7.4223e-05 | 1.8602e-05
17 | 0.98993 | -0.071217 | 0 | 0
18 | 0.98991 | -0.071383 | 0.00029651 | 7.4314e-05
19 | 0.98991 | -0.071359 | 0 | 0
20 | 0.98991 | -0.071365 | 8.2478e-05 | 2.0671e-05
21 | 0.99175 | -0.057733 | 0 | 0
22 | 0.9931 | -0.048242 | 0.0023009 | 0.00057667
23 | 0.99118 | -0.061775 | 0.003179 | 0.00079674
24 | 0.9909 | -0.06376 | 0.020947 | 0.0052499
25 | 0.99053 | -0.066375 | 0.001343 | 0.0003366
26 | 0.9902 | -0.068698 | 0.0032018 | 0.00080244
27 | 0.99006 | -0.069684 | 0.0050259 | 0.0012596
28 | 0.99497 | -0.0351 | 0.0021427 | 0.00053702
29 | 0.99047 | -0.066791 | 0.0032784 | 0.00082164
30 | 0.99002 | -0.06994 | 0.0030466 | 0.00076354
31 | 0.99642 | -0.024936 | 0 | 0
32 | 0.99025 | -0.068337 | 0.0011381 | 0.00028524
33 | 0.98737 | -0.08867 | 0.0014701 | 0.00036845
34 | 0.9874 | -0.088488 | 0 | 0
35 | 0.98873 | -0.079052 | 0.0011503 | 0.0002883
36 | 0.98702 | -0.091188 | 0.0013986 | 0.00035052
37 | 0.98699 | -0.091372 | 0.0023696 | 0.00059388
38 | 0.98492 | -0.10614 | 0.0022894 | 0.00057378
39 | 0.98501 | -0.10546 | 0.0022157 | 0.0005553
40 | 0.98914 | -0.076144 | 0 | 0
41 | 0.98693 | -0.091799 | 0.0022422 | 0.00056195
42 | 0.9865 | -0.094847 | 0 | 0
43 | 0.98906 | -0.076749 | 0.0021229 | 0.00053204
44 | 0.98945 | -0.073965 | 0.0010921 | 0.00027371
45 | 0.98691 | -0.09194 | 0.0015385 | 0.00038558
46 | 0.98645 | -0.095251 | 0 | 0
47 | 0.98611 | -0.09766 | 0 | 0
48 | 0.98563 | -0.10105 | 0.0017687 | 0.00044329
49 | 0.98691 | -0.091945 | 0.0017078 | 0.00042801
50 | 0.99307 | -0.048455 | 0.0041403 | 0.0010377
51 | 0.99423 | -0.040309 | 0.0027522 | 0.00068977
52 | 0.99111 | -0.062239 | 0.0038919 | 0.00097539
53 | 0.98537 | -0.10293 | 0.0016968 | 0.00042525
54 | 0.98715 | -0.090282 | 0 | 0
55 | 0.99834 | -0.01157 | 0.0029202 | 0.00073186
56 | 1 | 0 | -0.14161 | -0.035427
57 | 0.99731 | -0.018706 | 0.0028471 | 0.00071355
58 | 0.99949 | -0.0035378 | 0.002029 | 0.00050851
59 | 0.99823 | -0.012309 | 0.0029277 | 0.00073376
60 | 0.99494 | -0.035337 | 0 | 0
61 | 0.98517 | -0.10435 | 0.0015642 | 0.00039202
62 | 0.99457 | -0.037965 | 0.0022601 | 0.00056642
63 | 0.99408 | -0.041411 | 0.0021717 | 0.00054428
64 | 0.98856 | -0.080296 | 0.0014591 | 0.0003657
65 | 0.98798 | -0.084353 | 0.0016362 | 0.00041006
66 | 0.98919 | -0.075807 | 0.0021097 | 0.00052874
67 | 0.9898 | -0.071526 | 0.002247 | 0.00056316
68 | 0.98695 | -0.091689 | 0 | 0
69 | 0.98996 | -0.070381 | 0.0023376 | 0.00058586
70 | 0.98657 | -0.094385 | 0.0017771 | 0.00044539
71 | 0.98646 | -0.095135 | 0.0017988 | 0.00045082
72 | 0.98646 | -0.095152 | 0.0019196 | 0.00048111
73 | 0.98689 | -0.092125 | 0.0013727 | 0.00034402
74 | 0.98685 | -0.092396 | 0.0012886 | 0.00032296
75 | 0.98618 | -0.097182 | 0.0054176 | 0.0013578
76 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00028696 | -7.192e-05 | 0.00028697 | 7.1688e-05 | 2.0922e-09 | -2.322e-07 | 0.00043075 | 0.00043067 | 0.00043075 | 0.99131 | -0.060914 | 0.99131 | -0.060861 | 0.15954
1 | -0.00037289 | -9.3222e-05 | 0.00037289 | 9.315e-05 | 1.1022e-09 | -7.2288e-08 | 0.00055965 | 0.00055962 | 0.00055965 | 0.99131 | -0.060861 | 0.99132 | -0.06084 | 0.20728
2 | -0.00085637 | -0.00021432 | 0.00085641 | 0.00021382 | 4.095e-08 | -4.9646e-07 | 0.0012853 | 0.0012852 | 0.0012853 | 0.99132 | -0.06084 | 0.99137 | -0.060493 | 0.47605
3 | 0.0063824 | 0.0015888 | -0.0063696 | -0.0015867 | 1.2778e-05 | 2.0179e-06 | 0.0095564 | 0.0095574 | 0.0095574 | 0.9934 | -0.046282 | 0.99135 | -0.060943 | 3.5398
4 | -0.010019 | -0.0025001 | 0.010021 | 0.0025009 | 2.6421e-06 | 7.726e-07 | 0.015003 | 0.015003 | 0.015003 | 0.9934 | -0.046282 | 0.99367 | -0.044361 | 5.5567
5 | 0.0063696 | 0.0015867 | -0.0063691 | -0.0015867 | 4.7659e-07 | 7.5506e-08 | 0.0095574 | 0.0095574 | 0.0095574 | 0.99135 | -0.060943 | 0.99127 | -0.06149 | 3.5398
6 | -0.012238 | -0.0030564 | 0.012243 | 0.003058 | 4.9652e-06 | 1.6025e-06 | 0.018322 | 0.018322 | 0.018322 | 0.99367 | -0.044361 | 0.99408 | -0.041411 | 6.7861
7 | -0.0011717 | -0.00029284 | 0.0011718 | 0.00029204 | 1.2798e-07 | -8.0629e-07 | 0.0017584 | 0.0017581 | 0.0017584 | 0.99137 | -0.060493 | 0.99148 | -0.059697 | 0.65126
8 | -0.0030026 | -0.00075252 | 0.0030027 | 0.00075249 | 5.5101e-08 | -3.5935e-08 | 0.0044855 | 0.0044855 | 0.0044855 | 0.99607 | -0.027395 | 0.99609 | -0.027262 | 1.6613
9 | -0.0066285 | -0.0016612 | 0.0066306 | 0.0016616 | 2.1348e-06 | 3.6673e-07 | 0.009902 | 0.0099018 | 0.009902 | 0.99609 | -0.027262 | 0.99642 | -0.024936 | 3.6674
10 | -0.0011718 | -0.00029204 | 0.0011721 | 0.00029006 | 3.1293e-07 | -1.9735e-06 | 0.0017581 | 0.0017574 | 0.0017581 | 0.99148 | -0.059697 | 0.99175 | -0.057733 | 0.65115
11 | 0.0022975 | 0.0005688 | -0.0022974 | -0.00056892 | 8.7578e-08 | -1.1811e-07 | 0.0034493 | 0.0034494 | 0.0034494 | 0.99041 | -0.067722 | 0.99037 | -0.068004 | 1.2776
12 | -0.0026835 | -0.00066554 | 0.0026857 | 0.00066353 | 2.2607e-06 | -2.0055e-06 | 0.0040293 | 0.0040283 | 0.0040293 | 0.99041 | -0.067722 | 0.99127 | -0.06149 | 1.4923
13 | 0.0011056 | 0.00027021 | -0.0011052 | -0.00027261 | 3.3741e-07 | -2.3971e-06 | 0.0016587 | 0.0016596 | 0.0016596 | 0.99037 | -0.068004 | 0.99006 | -0.070298 | 0.61465
14 | 0.00016634 | 4.0312e-05 | -0.00016633 | -4.1687e-05 | 4.1662e-09 | -1.3748e-06 | 0.00024952 | 0.00025 | 0.00025 | 0.99006 | -0.070298 | 0.99003 | -0.070485 | 0.092592
15 | 0.00074077 | 0.00018265 | -0.00074072 | -0.00018359 | 5.807e-08 | -9.4459e-07 | 0.0011123 | 0.0011126 | 0.0011126 | 0.99006 | -0.070298 | 0.98998 | -0.07088 | 0.41209
16 | -0.00028747 | -7.2047e-05 | 0.00028748 | 7.1755e-05 | 2.6543e-09 | -2.9197e-07 | 0.0004321 | 0.000432 | 0.0004321 | 0.98997 | -0.070947 | 0.98998 | -0.07088 | 0.16004
17 | 0.00037902 | 9.3233e-05 | -0.000379 | -9.4325e-05 | 1.7283e-08 | -1.0922e-06 | 0.00056908 | 0.00056946 | 0.00056946 | 0.98998 | -0.07088 | 0.98993 | -0.071217 | 0.21091
18 | 0.000379 | 9.4325e-05 | -0.00037899 | -9.4789e-05 | 7.3571e-09 | -4.6445e-07 | 0.00056946 | 0.00056963 | 0.00056963 | 0.98993 | -0.071217 | 0.98991 | -0.071359 | 0.21097
19 | -0.00029651 | -7.4314e-05 | 0.00029652 | 7.4212e-05 | 9.8102e-10 | -1.0137e-07 | 0.00044572 | 0.00044568 | 0.00044572 | 0.98991 | -0.071383 | 0.98991 | -0.071359 | 0.16508
20 | 8.2478e-05 | 2.0577e-05 | -8.2478e-05 | -2.0671e-05 | 6.9941e-11 | -9.3737e-08 | 0.00012395 | 0.00012398 | 0.00012398 | 0.98991 | -0.071359 | 0.98991 | -0.071365 | 0.045918
21 | -0.063936 | -0.016033 | 0.064021 | 0.016065 | 8.4213e-05 | 3.22e-05 | 0.095933 | 0.095933 | 0.095933 | 0.99175 | -0.057733 | 0.9931 | -0.048242 | 35.5307
22 | 0.029162 | 0.0073174 | -0.029146 | -0.0073113 | 1.6349e-05 | 6.1114e-06 | 0.043758 | 0.043758 | 0.043758 | 0.99175 | -0.057733 | 0.99118 | -0.061775 | 16.2066
23 | 0.033602 | 0.0084255 | -0.033574 | -0.0084149 | 2.8038e-05 | 1.0556e-05 | 0.050418 | 0.050418 | 0.050418 | 0.99175 | -0.057733 | 0.9909 | -0.06376 | 18.6733
24 | -0.066321 | -0.016642 | 0.066443 | 0.016688 | 0.00012118 | 4.6353e-05 | 0.09938 | 0.09938 | 0.09938 | 0.9931 | -0.048242 | 0.99497 | -0.0351 | 36.8076
25 | 0.025967 | 0.0065146 | -0.025949 | -0.0065079 | 1.8055e-05 | 6.6992e-06 | 0.038985 | 0.038985 | 0.038985 | 0.99118 | -0.061775 | 0.99047 | -0.066791 | 14.439
26 | 0.012627 | 0.003165 | -0.012622 | -0.0031635 | 4.5706e-06 | 1.4956e-06 | 0.018962 | 0.018962 | 0.018962 | 0.9909 | -0.06376 | 0.99053 | -0.066375 | 7.0228
27 | 0.011279 | 0.0028269 | -0.011275 | -0.0028258 | 3.6275e-06 | 1.1347e-06 | 0.016944 | 0.016944 | 0.016944 | 0.99053 | -0.066375 | 0.9902 | -0.068698 | 6.2756
28 | 0.0080737 | 0.0020234 | -0.0080726 | -0.0020231 | 1.102e-06 | 2.6953e-07 | 0.012133 | 0.012133 | 0.012133 | 0.9902 | -0.068698 | 0.99006 | -0.069684 | 4.4936
29 | 0.0030467 | 0.00076348 | -0.0030466 | -0.00076354 | 1.0764e-07 | -6.4394e-08 | 0.004579 | 0.004579 | 0.004579 | 0.99006 | -0.069684 | 0.99002 | -0.06994 | 1.6959
30 | -0.068585 | -0.017225 | 0.068682 | 0.017262 | 9.7054e-05 | 3.7136e-05 | 0.10258 | 0.10258 | 0.10258 | 0.99497 | -0.0351 | 0.99642 | -0.024936 | 37.9944
31 | 0.02267 | 0.0056862 | -0.022665 | -0.0056845 | 4.8593e-06 | 1.7826e-06 | 0.03406 | 0.03406 | 0.03406 | 0.99047 | -0.066791 | 0.99025 | -0.068337 | 12.6148
32 | -0.075313 | -0.018924 | 0.075378 | 0.018949 | 6.5347e-05 | 2.5026e-05 | 0.11249 | 0.11249 | 0.11249 | 0.99642 | -0.024936 | 0.99731 | -0.018706 | 41.6617
33 | 0.021527 | 0.0053992 | -0.02151 | -0.0053931 | 1.6784e-05 | 6.1251e-06 | 0.03235 | 0.03235 | 0.03235 | 0.99025 | -0.068337 | 0.98945 | -0.073965 | 11.9815
34 | -0.0014701 | -0.00036845 | 0.0014702 | 0.00036831 | 3.7018e-08 | -1.4034e-07 | 0.0022156 | 0.0022155 | 0.0022156 | 0.98737 | -0.08867 | 0.9874 | -0.088488 | 0.82058
35 | -0.017109 | -0.0042865 | 0.017131 | 0.0042945 | 2.2362e-05 | 7.9102e-06 | 0.025783 | 0.025783 | 0.025783 | 0.9874 | -0.088488 | 0.98873 | -0.079052 | 9.5493
36 | 0.0078443 | 0.0019655 | -0.0078413 | -0.0019648 | 2.9296e-06 | 6.9722e-07 | 0.011821 | 0.011821 | 0.011821 | 0.9874 | -0.088488 | 0.98702 | -0.091188 | 4.3783
37 | 0.0077946 | 0.0019527 | -0.0077915 | -0.001952 | 3.1088e-06 | 7.3404e-07 | 0.011746 | 0.011746 | 0.011746 | 0.9874 | -0.088488 | 0.98699 | -0.091372 | 4.3505
38 | -0.018282 | -0.0045828 | 0.018289 | 0.0045854 | 7.3673e-06 | 2.6335e-06 | 0.027514 | 0.027514 | 0.027514 | 0.98873 | -0.079052 | 0.98914 | -0.076144 | 10.1903
39 | 0.0064427 | 0.0016143 | -0.0064422 | -0.0016142 | 5.453e-07 | 9.1349e-08 | 0.0097128 | 0.0097129 | 0.0097129 | 0.98702 | -0.091188 | 0.98693 | -0.091799 | 3.5974
40 | 0.0054219 | 0.0013581 | -0.0054193 | -0.0013579 | 2.6054e-06 | 2.0384e-07 | 0.008174 | 0.0081743 | 0.0081743 | 0.98699 | -0.091372 | 0.9865 | -0.094847 | 3.0275
41 | -0.0022894 | -0.00057378 | 0.0022896 | 0.00057349 | 2.1495e-07 | -2.8382e-07 | 0.0034588 | 0.0034587 | 0.0034588 | 0.98492 | -0.10614 | 0.98501 | -0.10546 | 1.281
42 | -0.0045053 | -0.0011288 | 0.004506 | 0.0011288 | 6.9366e-07 | -3.8748e-08 | 0.0068058 | 0.0068057 | 0.0068058 | 0.98501 | -0.10546 | 0.98517 | -0.10435 | 2.5207
43 | 0.002123 | 0.00053175 | -0.0021229 | -0.00053204 | 1.7797e-07 | -2.9043e-07 | 0.0031937 | 0.0031938 | 0.0031938 | 0.98914 | -0.076144 | 0.98906 | -0.076749 | 1.1829
44 | -0.020412 | -0.0051171 | 0.020418 | 0.0051194 | 6.1604e-06 | 2.235e-06 | 0.030708 | 0.030707 | 0.030708 | 0.98914 | -0.076144 | 0.98945 | -0.073965 | 11.3732
45 | 0.0042 | 0.0010522 | -0.0041999 | -0.0010523 | 8.1922e-08 | -1.033e-08 | 0.0063322 | 0.0063322 | 0.0063322 | 0.98693 | -0.091799 | 0.98691 | -0.09194 | 2.3453
46 | 0.0054193 | 0.0013579 | -0.005419 | -0.0013579 | 3.0279e-07 | 2.3744e-08 | 0.0081743 | 0.0081743 | 0.0081743 | 0.9865 | -0.094847 | 0.98645 | -0.095251 | 3.0275
47 | 0.0026614 | 0.00066668 | -0.0026613 | -0.00066674 | 6.7999e-08 | -6.0327e-08 | 0.0040126 | 0.0040126 | 0.0040126 | 0.98691 | -0.09194 | 0.98689 | -0.092125 | 1.4862
48 | 0.005419 | 0.0013579 | -0.0054176 | -0.0013578 | 1.4485e-06 | 1.1375e-07 | 0.0081743 | 0.0081745 | 0.0081745 | 0.98645 | -0.095251 | 0.98618 | -0.097182 | 3.0276
49 | 0.0095434 | 0.0023912 | -0.0095389 | -0.00239 | 4.4754e-06 | 1.2803e-06 | 0.014401 | 0.014401 | 0.014401 | 0.98611 | -0.09766 | 0.98563 | -0.10105 | 5.3336
50 | -0.0095434 | -0.0023912 | 0.0095509 | 0.0023934 | 7.5506e-06 | 2.1591e-06 | 0.014401 | 0.0144 | 0.014401 | 0.98611 | -0.09766 | 0.98691 | -0.091945 | 5.3335
51 | 0.0077701 | 0.0019467 | -0.0077681 | -0.0019462 | 2.021e-06 | 4.774e-07 | 0.01173 | 0.01173 | 0.01173 | 0.98563 | -0.10105 | 0.98537 | -0.10293 | 4.3446
52 | -0.011259 | -0.0028214 | 0.011261 | 0.0028222 | 2.5909e-06 | 8.1235e-07 | 0.016975 | 0.016975 | 0.016975 | 0.98691 | -0.091945 | 0.98715 | -0.090282 | 6.2871
53 | -0.034724 | -0.0087186 | 0.034764 | 0.0087334 | 3.9345e-05 | 1.4831e-05 | 0.052036 | 0.052036 | 0.052036 | 0.99307 | -0.048455 | 0.99423 | -0.040309 | 19.2727
54 | 0.030584 | 0.0076809 | -0.030525 | -0.007659 | 5.8495e-05 | 2.1922e-05 | 0.045832 | 0.045832 | 0.045832 | 0.99307 | -0.048455 | 0.99111 | -0.062239 | 16.975
55 | -0.037516 | -0.0094232 | 0.037542 | 0.009433 | 2.5955e-05 | 9.8113e-06 | 0.056155 | 0.056155 | 0.056155 | 0.99423 | -0.040309 | 0.99494 | -0.035337 | 20.7982
56 | 0.026633 | 0.0066836 | -0.026603 | -0.0066724 | 3.0063e-05 | 1.1175e-05 | 0.039989 | 0.03999 | 0.03999 | 0.99111 | -0.062239 | 0.98996 | -0.070381 | 14.8109
57 | 0.0060714 | 0.0015209 | -0.0060702 | -0.0015208 | 1.1931e-06 | 1.6919e-07 | 0.0091682 | 0.0091683 | 0.0091683 | 0.98537 | -0.10293 | 0.98517 | -0.10435 | 3.3957
58 | 0.0054991 | 0.0013775 | -0.005498 | -0.0013774 | 1.07e-06 | 9.2544e-08 | 0.008289 | 0.0082891 | 0.0082891 | 0.98715 | -0.090282 | 0.98695 | -0.091689 | 3.07
59 | -0.01676 | -0.0041997 | 0.016774 | 0.0042045 | 1.3763e-05 | 4.8514e-06 | 0.025264 | 0.025264 | 0.025264 | 0.98715 | -0.090282 | 0.98798 | -0.084353 | 9.3571
60 | -0.081223 | -0.020424 | 0.081355 | 0.020474 | 0.00013118 | 5.0268e-05 | 0.12109 | 0.12109 | 0.12109 | 0.99834 | -0.01157 | 1 | 0 | 44.847
61 | 0.078303 | 0.019692 | -0.078225 | -0.019663 | 7.7808e-05 | 2.9807e-05 | 0.11673 | 0.11673 | 0.11673 | 0.99834 | -0.01157 | 0.99731 | -0.018706 | 43.235
62 | 0.059459 | 0.014953 | -0.05943 | -0.014941 | 2.9305e-05 | 1.1193e-05 | 0.088494 | 0.088494 | 0.088494 | 1 | 0 | 0.99949 | -0.0035378 | 32.7755
63 | 0.057401 | 0.014433 | -0.057331 | -0.014406 | 7.0071e-05 | 2.6749e-05 | 0.085473 | 0.085473 | 0.085473 | 0.99949 | -0.0035378 | 0.99823 | -0.012309 | 31.6568
64 | 0.054403 | 0.013672 | -0.054229 | -0.013606 | 0.00017383 | 6.6304e-05 | 0.081109 | 0.081109 | 0.081109 | 0.99823 | -0.012309 | 0.99494 | -0.035337 | 30.0405
65 | 0.016687 | 0.0041731 | -0.016681 | -0.004171 | 6.0432e-06 | 2.1224e-06 | 0.024954 | 0.024954 | 0.024954 | 0.99494 | -0.035337 | 0.99457 | -0.037965 | 9.2423
66 | 0.014421 | 0.0036046 | -0.014414 | -0.0036023 | 6.8397e-06 | 2.3252e-06 | 0.021573 | 0.021573 | 0.021573 | 0.99457 | -0.037965 | 0.99408 | -0.041411 | 7.99
67 | 0.018421 | 0.0046183 | -0.01841 | -0.0046146 | 1.0346e-05 | 3.7031e-06 | 0.027728 | 0.027728 | 0.027728 | 0.98856 | -0.080296 | 0.98798 | -0.084353 | 10.2697
68 | -0.01988 | -0.004984 | 0.019892 | 0.0049885 | 1.2371e-05 | 4.474e-06 | 0.029924 | 0.029924 | 0.029924 | 0.98856 | -0.080296 | 0.98919 | -0.075807 | 11.0831
69 | -0.022002 | -0.0055172 | 0.022015 | 0.005522 | 1.3061e-05 | 4.7781e-06 | 0.033098 | 0.033098 | 0.033098 | 0.98919 | -0.075807 | 0.9898 | -0.071526 | 12.2585
70 | -0.024262 | -0.0060852 | 0.024266 | 0.0060866 | 3.8514e-06 | 1.4217e-06 | 0.036476 | 0.036476 | 0.036476 | 0.9898 | -0.071526 | 0.98996 | -0.070381 | 13.5096
71 | 0.005498 | 0.0013774 | -0.0054959 | -0.0013772 | 2.05e-06 | 1.7769e-07 | 0.0082891 | 0.0082893 | 0.0082893 | 0.98695 | -0.091689 | 0.98657 | -0.094385 | 3.0701
72 | 0.0037188 | 0.00093181 | -0.0037184 | -0.00093191 | 3.8617e-07 | -1.0263e-07 | 0.0056089 | 0.005609 | 0.005609 | 0.98657 | -0.094385 | 0.98646 | -0.095135 | 2.0774
73 | 0.0019196 | 0.0004811 | -0.0019196 | -0.00048111 | 4.4683e-09 | -9.1843e-09 | 0.0028956 | 0.0028957 | 0.0028957 | 0.98646 | -0.095135 | 0.98646 | -0.095152 | 1.0725
74 | 0.0012887 | 0.00032272 | -0.0012886 | -0.00032296 | 4.8223e-08 | -2.4299e-07 | 0.001943 | 0.0019431 | 0.0019431 | 0.98689 | -0.092125 | 0.98685 | -0.092396 | 0.71966

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14368 | 0.035945

## res_load
| p_mw | q_mvar
0 | 0.00028696 | 7.192e-05
1 | 8.5924e-05 | 2.1535e-05
2 | 0.00048347 | 0.00012117
3 | 0.0036362 | 0.00091133
4 | 0.0022166 | 0.00055553
5 | 0.0003153 | 7.9021e-05
6 | 0.0030026 | 0.00075252
7 | 0.0036258 | 0.00090872
8 | 0.00038599 | 9.6737e-05
9 | 0.0011919 | 0.00029871
10 | 0.0036834 | 0.00092314
11 | 0.00019811 | 4.965e-05
12 | 0.00016633 | 4.1687e-05
13 | 0.00028747 | 7.2047e-05
14 | 7.4223e-05 | 1.8602e-05
15 | 0.00029651 | 7.4314e-05
16 | 8.2478e-05 | 2.0671e-05
17 | 0.0023009 | 0.00057667
18 | 0.003179 | 0.00079674
19 | 0.020947 | 0.0052499
20 | 0.001343 | 0.0003366
21 | 0.0032018 | 0.00080244
22 | 0.0050259 | 0.0012596
23 | 0.0021427 | 0.00053702
24 | 0.0032784 | 0.00082164
25 | 0.0030466 | 0.00076354
26 | 0.0011381 | 0.00028524
27 | 0.0014701 | 0.00036845
28 | 0.0011503 | 0.0002883
29 | 0.0013986 | 0.00035052
30 | 0.0023696 | 0.00059388
31 | 0.0022894 | 0.00057378
32 | 0.0022157 | 0.0005553
33 | 0.0022422 | 0.00056195
34 | 0.0021229 | 0.00053204
35 | 0.0010921 | 0.00027371
36 | 0.0015385 | 0.00038558
37 | 0.0017687 | 0.00044329
38 | 0.0017078 | 0.00042801
39 | 0.0041403 | 0.0010377
40 | 0.0027522 | 0.00068977
41 | 0.0038919 | 0.00097539
42 | 0.0016968 | 0.00042525
43 | 0.0029202 | 0.00073186
44 | 0.0020665 | 0.00051792
45 | 0.0028471 | 0.00071355
46 | 0.002029 | 0.00050851
47 | 0.0029277 | 0.00073376
48 | 0.0015642 | 0.00039202
49 | 0.0022601 | 0.00056642
50 | 0.0021717 | 0.00054428
51 | 0.0014591 | 0.0003657
52 | 0.0016362 | 0.00041006
53 | 0.0021097 | 0.00052874
54 | 0.002247 | 0.00056316
55 | 0.0023376 | 0.00058586
56 | 0.0017771 | 0.00044539
57 | 0.0017988 | 0.00045082
58 | 0.0019196 | 0.00048111
59 | 0.0013727 | 0.00034402
60 | 0.0012886 | 0.00032296
61 | 0.0054176 | 0.0013578

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1