## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1125-20_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1125-20_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1125-20_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1125-20_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1125-20_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1125-20_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1125-20_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1125-20_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1125-20_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1125-20_0_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1125-20_0_2_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1125-20_0_2_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_1125-20_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1125-20_0_2_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_1125-20_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1125-20_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1125-20_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1125-20_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1125-20_0_2_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_1125-20_0_2_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_1125-20_0_2_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_1125-20_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1125-20_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1125-20_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1125-20_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1125-20_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1125-20_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1125-20_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1125-20_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1125-20_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1125-20_0_2_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1125-20_0_2_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1125-20_0_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1125-20_0_2_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1125-20_0_2_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_1125-20_0_2_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_1125-20_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1125-20_0_2_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1125-20_0_2_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1125-20_0_2_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1125-20_0_2_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1125-20_0_2_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1125-20_0_2_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_1125-20_0_2_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1125-20_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1125-20_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1125-20_0_2_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1125-20_0_2_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_1125-20_0_2_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_1125-20_0_2_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1125-20_0_2_node_50 | 0.4 | n |  | TRUE
51 | bus_MV_130_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1125-20_0_2_load_0 | 0 | 0.0017501 | 0.00043862 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1125-20_0_2_load_4 | 4 | 0.001438 | 0.00036039 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1125-20_0_2_load_5 | 5 | 0.0070386 | 0.001764 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1125-20_0_2_load_6 | 6 | 0.00054609 | 0.00013686 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1125-20_0_2_load_12 | 7 | 0.0012544 | 0.00031439 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1125-20_0_2_load_9 | 8 | 0.0011276 | 0.00028261 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1125-20_0_2_load_21 | 9 | 0.0022038 | 0.00055233 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1125-20_0_2_load_15 | 10 | 0.00052147 | 0.00013069 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1125-20_0_2_load_7 | 12 | 0.00136 | 0.00034086 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1125-20_0_2_load_13 | 14 | 0.0005907 | 0.00014804 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1125-20_0_2_load_8 | 15 | 0.0024568 | 0.00061574 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1125-20_0_2_load_11 | 17 | 0.0014866 | 0.00037258 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1125-20_0_2_load_43 | 18 | 0.0031208 | 0.00078214 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1125-20_0_2_load_38 | 20 | 0.0050597 | 0.0012681 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1125-20_0_2_load_14 | 21 | 0.00060846 | 0.00015249 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1125-20_0_2_load_16 | 22 | 0.00062758 | 0.00015729 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1125-20_0_2_load_17 | 23 | 0.0020985 | 0.00052592 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1125-20_0_2_load_18 | 24 | 0.0052468 | 0.001315 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1125-20_0_2_load_20 | 26 | 0.00041349 | 0.00010363 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1125-20_0_2_load_26 | 28 | 0.0051654 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1125-20_0_2_load_33 | 29 | 0.0031905 | 0.00079962 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1125-20_0_2_load_32 | 30 | 0.0056628 | 0.0014192 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1125-20_0_2_load_31 | 31 | 0.0012068 | 0.00030245 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1125-20_0_2_load_34 | 32 | 0.0025201 | 0.0006316 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1125-20_0_2_load_23 | 33 | 0.00039644 | 9.9357e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1125-20_0_2_load_37 | 34 | 0.0056501 | 0.001416 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1125-20_0_2_load_30 | 36 | 0.00063626 | 0.00015946 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1125-20_0_2_load_35 | 37 | 0.0091169 | 0.0022849 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1125-20_0_2_load_27 | 38 | 0.0039754 | 0.00099632 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1125-20_0_2_load_44 | 42 | 0.0038985 | 0.00097706 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1125-20_0_2_load_42 | 43 | 0.0025471 | 0.00063836 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1125-20_0_2_load_39 | 44 | 0.0028619 | 0.00071727 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1125-20_0_2_load_40 | 45 | 0.0056648 | 0.0014197 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1125-20_0_2_load_53 | 46 | 0.0075154 | 0.0018835 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1125-20_0_2_load_54 | 47 | 0.003479 | 0.00087192 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1125-20_0_2_load_51 | 48 | 0.00070714 | 0.00017723 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1125-20_0_2_load_48 | 49 | 0.00080328 | 0.00020132 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1125-20_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0084181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1125-20_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1125-20_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1125-20_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.014756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1125-20_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.03482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1125-20_0_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.022809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1125-20_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.027753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1125-20_0_2_line_7 | NAYY 4x150 SE | 3 | 8 | 0.0042613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1125-20_0_2_line_8 | NAYY 4x150 SE | 4 | 9 | 0.013119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1125-20_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.019346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1125-20_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.010576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1125-20_0_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.027742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1125-20_0_2_line_12 | NAYY 4x150 SE | 9 | 13 | 0.017085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1125-20_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.02068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1125-20_0_2_line_14 | NAYY 4x150 SE | 11 | 20 | 0.023649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1125-20_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.026783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1125-20_0_2_line_16 | NAYY 4x150 SE | 13 | 33 | 0.0090229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1125-20_0_2_line_17 | NAYY 4x150 SE | 14 | 21 | 0.020557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1125-20_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.011985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1125-20_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.015238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1125-20_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.026391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1125-20_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.015348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1125-20_0_2_line_22 | NAYY 4x150 SE | 19 | 44 | 0.0051876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1125-20_0_2_line_23 | NAYY 4x150 SE | 20 | 34 | 0.0058117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1125-20_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.021139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1125-20_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0089972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1125-20_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.011377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1125-20_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.014519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1125-20_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.009954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1125-20_0_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.020529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1125-20_0_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.012948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1125-20_0_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.058875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1125-20_0_2_line_32 | NAYY 4x150 SE | 27 | 31 | 0.01355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1125-20_0_2_line_33 | NAYY 4x150 SE | 28 | 32 | 0.027463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1125-20_0_2_line_34 | NAYY 4x150 SE | 29 | 33 | 0.0096645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1125-20_0_2_line_35 | NAYY 4x150 SE | 30 | 35 | 0.01604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1125-20_0_2_line_36 | NAYY 4x150 SE | 31 | 36 | 0.014833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1125-20_0_2_line_37 | NAYY 4x150 SE | 32 | 37 | 0.0097613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1125-20_0_2_line_38 | NAYY 4x150 SE | 35 | 40 | 0.058923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1125-20_0_2_line_39 | NAYY 4x150 SE | 35 | 41 | 0.057489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1125-20_0_2_line_40 | NAYY 4x150 SE | 36 | 39 | 0.018883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1125-20_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.054816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1125-20_0_2_line_42 | NAYY 4x150 SE | 40 | 46 | 0.040945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1125-20_0_2_line_43 | NAYY 4x150 SE | 41 | 47 | 0.076706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1125-20_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.032458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1125-20_0_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.00048849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1125-20_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.020291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1125-20_0_2_line_47 | NAYY 4x150 SE | 46 | 48 | 0.082668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1125-20_0_2_line_48 | NAYY 4x150 SE | 48 | 50 | 0.027391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1125-20_0_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.049706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1125-20_0_2_trafo_16 | 0.25 MVA 20/0.4 kV | 51 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2641438.1146 | 1229022.1508 | 2641431.8837 | 1229016.4903
1 | 2641417.3214 | 1229003.2611 | 2641431.8837 | 1229016.4903
2 | 2641438.1146 | 1229022.1508 | 2641460.4367 | 1229041.2402
3 | 2641438.1146 | 1229022.1508 | 2641428.2948 | 1229033.1644
4 | 2641417.3214 | 1229003.2611 | 2641403.1923 | 1228989.0874 | 2641393.4642 | 1228977.9248
5 | 2641417.3214 | 1229003.2611 | 2641401.7788 | 1229019.9551
6 | 2641460.4367 | 1229041.2402 | 2641441.911 | 1229061.9047
7 | 2641460.4367 | 1229041.2402 | 2641463.6719 | 1229044.0137
8 | 2641428.2948 | 1229033.1644 | 2641419.5643 | 1229042.9563
9 | 2641388.5962 | 1229034.1143 | 2641401.7788 | 1229019.9551
10 | 2641434.8511 | 1229069.7796 | 2641441.911 | 1229061.9047
11 | 2641484.7333 | 1229062.0694 | 2641463.6719 | 1229044.0137
12 | 2641409.3297 | 1229056.4605 | 2641411.3673 | 1229052.1498 | 2641419.5643 | 1229042.9563
13 | 2641388.5962 | 1229034.1143 | 2641374.5042 | 1229049.2502
14 | 2641434.8511 | 1229069.7796 | 2641452.6759 | 1229085.322
15 | 2641484.7333 | 1229062.0694 | 2641505.0672 | 1229079.5014
16 | 2641409.3297 | 1229056.4605 | 2641405.8601 | 1229058.6155 | 2641402.5924 | 1229062.3184
17 | 2641374.5042 | 1229049.2502 | 2641360.4966 | 1229064.2955
18 | 2641514.1696 | 1229087.2986 | 2641510.3966 | 1229084.0703 | 2641505.0672 | 1229079.5014
19 | 2641514.1696 | 1229087.2986 | 2641504.856 | 1229099.3586
20 | 2641504.856 | 1229099.3586 | 2641498.7804 | 1229107.2258 | 2641486.3325 | 1229117.9809
21 | 2641474.7185 | 1229128.0154 | 2641486.3325 | 1229117.9809
22 | 2641474.7185 | 1229128.0154 | 2641470.6223 | 1229131.1985
23 | 2641457.0563 | 1229089.1414 | 2641452.6759 | 1229085.322
24 | 2641358.0831 | 1229112.7553 | 2641372.0704 | 1229096.9052
25 | 2641378.0236 | 1229090.1591 | 2641372.0704 | 1229096.9052
26 | 2641350.2362 | 1229120.9896 | 2641356.4396 | 1229114.6176 | 2641358.0831 | 1229112.7553
27 | 2641387.6301 | 1229079.2732 | 2641378.0236 | 1229090.1591
28 | 2641341.1896 | 1229116.7797 | 2641350.2362 | 1229120.9896
29 | 2641350.2362 | 1229120.9896 | 2641365.0791 | 1229135.1717
30 | 2641387.6301 | 1229079.2732 | 2641396.1976 | 1229069.5648
31 | 2641341.1896 | 1229116.7797 | 2641338.9187 | 1229131.7732 | 2641318.6374 | 1229170.4935
32 | 2641341.1896 | 1229116.7797 | 2641331.5764 | 1229107.2311
33 | 2641384.9355 | 1229154.1439 | 2641365.0791 | 1229135.1717
34 | 2641402.5924 | 1229062.3184 | 2641396.1976 | 1229069.5648
35 | 2641311.195 | 1229184.7023 | 2641318.6374 | 1229170.4935
36 | 2641331.5764 | 1229107.2311 | 2641321.0529 | 1229096.7783
37 | 2641384.9355 | 1229154.1439 | 2641391.9931 | 1229160.8873
38 | 2641283.9462 | 1229236.9455 | 2641308.2845 | 1229190.3633 | 2641311.195 | 1229184.7023
39 | 2641350.7913 | 1229217.6975 | 2641327.0157 | 1229198.5095 | 2641318.5354 | 1229193.492 | 2641308.2845 | 1229190.3633 | 2641311.195 | 1229184.7023
40 | 2641307.6554 | 1229083.4709 | 2641321.0529 | 1229096.7783
41 | 2641307.6554 | 1229083.4709 | 2641307.8088 | 1229079.9253 | 2641307.3779 | 1229076.5202 | 2641306.1743 | 1229073.0986 | 2641304.3697 | 1229070.0509 | 2641300.8093 | 1229065.6457 | 2641298.1916 | 1229062.9481 | 2641292.4943 | 1229057.5275 | 2641291.9566 | 1229056.4008 | 2641291.7997 | 1229054.9989 | 2641292.297 | 1229053.2012 | 2641293.118 | 1229051.7171 | 2641294.7907 | 1229049.7608 | 2641304.5725 | 1229038.9429
42 | 2641247.1714 | 1229218.7238 | 2641283.9462 | 1229236.9455
43 | 2641350.7913 | 1229217.6975 | 2641370.3621 | 1229192.24 | 2641371.214 | 1229187.3874 | 2641370.63 | 1229183.1362 | 2641357.9022 | 1229172.3078 | 2641354.2019 | 1229168.4242 | 2641354.2983 | 1229164.3779 | 2641358.1527 | 1229155.8883
44 | 2641438.3462 | 1229173.2473 | 2641457.2352 | 1229146.8521
45 | 2641457.2352 | 1229146.8521 | 2641457.5194 | 1229146.4549
46 | 2641470.6223 | 1229131.1985 | 2641465.6999 | 1229135.0235 | 2641457.5194 | 1229146.4549
47 | 2641247.1714 | 1229218.7238 | 2641165.7227 | 1229204.5805
48 | 2641147.8987 | 1229183.7819 | 2641165.7227 | 1229204.5805
49 | 2641147.8987 | 1229183.7819 | 2641172.9419 | 1229152.3579 | 2641178.6653 | 1229144.7463

## bus_geodata
| x | y | coords
0 | 2641431.8837 | 1229016.4903
1 | 2641438.1146 | 1229022.1508
2 | 2641417.3214 | 1229003.2611
3 | 2641460.4367 | 1229041.2402
4 | 2641428.2948 | 1229033.1644
5 | 2641393.4642 | 1228977.9248
6 | 2641401.7788 | 1229019.9551
7 | 2641441.911 | 1229061.9047
8 | 2641463.6719 | 1229044.0137
9 | 2641419.5643 | 1229042.9563
10 | 2641388.5962 | 1229034.1143
11 | 2641434.8511 | 1229069.7796
12 | 2641484.7333 | 1229062.0694
13 | 2641409.3297 | 1229056.4605
14 | 2641374.5042 | 1229049.2502
15 | 2641505.0672 | 1229079.5014
16 | 2641514.1696 | 1229087.2986
17 | 2641504.856 | 1229099.3586
18 | 2641486.3325 | 1229117.9809
19 | 2641474.7185 | 1229128.0154
20 | 2641452.6759 | 1229085.322
21 | 2641360.4966 | 1229064.2955
22 | 2641372.0704 | 1229096.9052
23 | 2641358.0831 | 1229112.7553
24 | 2641378.0236 | 1229090.1591
25 | 2641350.2362 | 1229120.9896
26 | 2641387.6301 | 1229079.2732
27 | 2641341.1896 | 1229116.7797
28 | 2641365.0791 | 1229135.1717
29 | 2641396.1976 | 1229069.5648
30 | 2641318.6374 | 1229170.4935
31 | 2641331.5764 | 1229107.2311
32 | 2641384.9355 | 1229154.1439
33 | 2641402.5924 | 1229062.3184
34 | 2641457.0563 | 1229089.1414
35 | 2641311.195 | 1229184.7023
36 | 2641321.0529 | 1229096.7783
37 | 2641391.9931 | 1229160.8873
38 | 2641304.5725 | 1229038.9429
39 | 2641307.6554 | 1229083.4709
40 | 2641283.9462 | 1229236.9455
41 | 2641350.7913 | 1229217.6975
42 | 2641438.3462 | 1229173.2473
43 | 2641457.2352 | 1229146.8521
44 | 2641470.6223 | 1229131.1985
45 | 2641457.5194 | 1229146.4549
46 | 2641247.1714 | 1229218.7238
47 | 2641358.1527 | 1229155.8883
48 | 2641165.7227 | 1229204.5805
49 | 2641178.6653 | 1229144.7463
50 | 2641147.8987 | 1229183.7819
51 | 2641350.2362 | 1229120.9896

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99233 | -0.053616 | 0.0017501 | 0.00043862
1 | 0.99246 | -0.052671 | 0 | 0
2 | 0.99207 | -0.055474 | 0 | 0
3 | 0.99092 | -0.063537 | 0 | 0
4 | 0.99347 | -0.045564 | 0.001438 | 0.00036039
5 | 0.99171 | -0.057961 | 0.0070386 | 0.001764
6 | 0.99199 | -0.056 | 0.00054609 | 0.00013686
7 | 0.99044 | -0.066915 | 0.0012544 | 0.00031439
8 | 0.99077 | -0.0646 | 0.0011276 | 0.00028261
9 | 0.9944 | -0.039067 | 0.0022038 | 0.00055233
10 | 0.99194 | -0.056339 | 0.00052147 | 0.00013069
11 | 0.99028 | -0.068068 | 0 | 0
12 | 0.98983 | -0.07121 | 0.00136 | 0.00034086
13 | 0.99566 | -0.030244 | 0 | 0
14 | 0.99191 | -0.056591 | 0.0005907 | 0.00014804
15 | 0.98898 | -0.077231 | 0.0024568 | 0.00061574
16 | 0.98864 | -0.079628 | 0 | 0
17 | 0.98821 | -0.082677 | 0.0014866 | 0.00037258
18 | 0.98752 | -0.087563 | 0.0031208 | 0.00078214
19 | 0.98719 | -0.089916 | 0 | 0
20 | 0.98991 | -0.070647 | 0.0050597 | 0.0012681
21 | 0.99189 | -0.056718 | 0.00060846 | 0.00015249
22 | 1 | 0 | -0.10481 | -0.026145
23 | 0.9987 | -0.0090735 | 0.0020985 | 0.00052592
24 | 0.99922 | -0.0054354 | 0.0052468 | 0.001315
25 | 0.99804 | -0.013727 | 0 | 0
26 | 0.99806 | -0.013461 | 0.00041349 | 0.00010363
27 | 0.9977 | -0.016126 | 0 | 0
28 | 0.99755 | -0.017186 | 0.0051654 | 0.0012946
29 | 0.99704 | -0.02058 | 0.0031905 | 0.00079962
30 | 0.99617 | -0.026892 | 0.0056628 | 0.0014192
31 | 0.99758 | -0.016917 | 0.0012068 | 0.00030245
32 | 0.99709 | -0.020393 | 0.0025201 | 0.0006316
33 | 0.99632 | -0.025593 | 0.00039644 | 9.9357e-05
34 | 0.98987 | -0.070982 | 0.0056501 | 0.001416
35 | 0.99588 | -0.028916 | 0 | 0
36 | 0.99749 | -0.017605 | 0.00063626 | 0.00015946
37 | 0.99696 | -0.021287 | 0.0091169 | 0.0022849
38 | 0.99707 | -0.020547 | 0.0039754 | 0.00099632
39 | 0.99738 | -0.018359 | 0 | 0
40 | 0.99512 | -0.034285 | 0 | 0
41 | 0.99559 | -0.030935 | 0 | 0
42 | 0.98653 | -0.094561 | 0.0038985 | 0.00097706
43 | 0.98672 | -0.093263 | 0.0025471 | 0.00063836
44 | 0.98708 | -0.090712 | 0.0028619 | 0.00071727
45 | 0.98672 | -0.093231 | 0.0056648 | 0.0014197
46 | 0.99459 | -0.038019 | 0.0075154 | 0.0018835
47 | 0.99521 | -0.033626 | 0.003479 | 0.00087192
48 | 0.99441 | -0.039288 | 0.00070714 | 0.00017723
49 | 0.99432 | -0.039916 | 0.00080328 | 0.00020132
50 | 0.99438 | -0.039512 | 0 | 0
51 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011061 | -0.0027709 | 0.011062 | 0.0027714 | 1.4449e-06 | 4.4696e-07 | 0.016585 | 0.016585 | 0.016585 | 0.99233 | -0.053616 | 0.99246 | -0.052671 | 6.1426
1 | 0.0093104 | 0.0023323 | -0.009308 | -0.0023317 | 2.3928e-06 | 6.662e-07 | 0.013961 | 0.013961 | 0.013961 | 0.99233 | -0.053616 | 0.99207 | -0.055474 | 5.1707
2 | 0.036637 | 0.0091984 | -0.036582 | -0.0091776 | 5.5222e-05 | 2.0861e-05 | 0.054936 | 0.054937 | 0.054937 | 0.99246 | -0.052671 | 0.99092 | -0.063537 | 20.3469
3 | -0.047699 | -0.01197 | 0.047746 | 0.011988 | 4.71e-05 | 1.7924e-05 | 0.071522 | 0.071521 | 0.071522 | 0.99246 | -0.052671 | 0.99347 | -0.045564 | 26.4894
4 | 0.007041 | 0.0017645 | -0.0070386 | -0.001764 | 2.4234e-06 | 4.8263e-07 | 0.010561 | 0.010561 | 0.010561 | 0.99207 | -0.055474 | 0.99171 | -0.057961 | 3.9115
5 | 0.002267 | 0.00056713 | -0.0022669 | -0.00056736 | 1.6453e-07 | -2.3121e-07 | 0.0034 | 0.0034001 | 0.0034001 | 0.99207 | -0.055474 | 0.99199 | -0.056 | 1.2593
6 | 0.011976 | 0.003002 | -0.01197 | -0.0030002 | 5.6007e-06 | 1.7968e-06 | 0.017983 | 0.017984 | 0.017984 | 0.99092 | -0.063537 | 0.99044 | -0.066915 | 6.6606
7 | 0.024606 | 0.0061755 | -0.024603 | -0.0061742 | 3.631e-06 | 1.3417e-06 | 0.036953 | 0.036953 | 0.036953 | 0.99092 | -0.063537 | 0.99077 | -0.0646 | 13.6864
8 | -0.049184 | -0.012348 | 0.049229 | 0.012365 | 4.4434e-05 | 1.692e-05 | 0.073675 | 0.073675 | 0.073675 | 0.99347 | -0.045564 | 0.9944 | -0.039067 | 27.2871
9 | 0.0017208 | 0.0004305 | -0.0017207 | -0.00043072 | 8.0415e-08 | -2.1881e-07 | 0.0025809 | 0.002581 | 0.002581 | 0.99199 | -0.056 | 0.99194 | -0.056339 | 0.95593
10 | 0.010716 | 0.0026858 | -0.010714 | -0.0026853 | 1.7105e-06 | 5.2178e-07 | 0.016099 | 0.016099 | 0.016099 | 0.99044 | -0.066915 | 0.99028 | -0.068068 | 5.9626
11 | 0.023475 | 0.0058916 | -0.023454 | -0.0058837 | 2.1521e-05 | 7.9206e-06 | 0.03526 | 0.03526 | 0.03526 | 0.99077 | -0.0646 | 0.98983 | -0.07121 | 13.0592
12 | -0.051432 | -0.012917 | 0.051496 | 0.012941 | 6.3165e-05 | 2.4072e-05 | 0.076973 | 0.076973 | 0.076973 | 0.9944 | -0.039067 | 0.99566 | -0.030244 | 28.5085
13 | 0.0011992 | 0.00030003 | -0.0011992 | -0.00030028 | 4.1755e-08 | -2.5089e-07 | 0.0017987 | 0.0017988 | 0.0017988 | 0.99194 | -0.056339 | 0.99191 | -0.056591 | 0.66624
14 | 0.010714 | 0.0026853 | -0.01071 | -0.0026842 | 3.8248e-06 | 1.1669e-06 | 0.016099 | 0.016099 | 0.016099 | 0.99028 | -0.068068 | 0.98991 | -0.070647 | 5.9626
15 | 0.022094 | 0.0055428 | -0.022075 | -0.0055361 | 1.8438e-05 | 6.7477e-06 | 0.033215 | 0.033215 | 0.033215 | 0.98983 | -0.07121 | 0.98898 | -0.077231 | 12.302
16 | -0.051496 | -0.012941 | 0.051529 | 0.012954 | 3.3358e-05 | 1.2713e-05 | 0.076973 | 0.076973 | 0.076973 | 0.99566 | -0.030244 | 0.99632 | -0.025593 | 28.5085
17 | 0.00060847 | 0.00015223 | -0.00060846 | -0.00015249 | 1.0687e-08 | -2.6123e-07 | 0.0009127 | 0.00091279 | 0.00091279 | 0.99191 | -0.056591 | 0.99189 | -0.056718 | 0.33807
18 | 0.019618 | 0.0049203 | -0.019612 | -0.004918 | 6.5168e-06 | 2.3527e-06 | 0.029519 | 0.029519 | 0.029519 | 0.98898 | -0.077231 | 0.98864 | -0.079628 | 10.9329
19 | 0.019612 | 0.004918 | -0.019603 | -0.004915 | 8.2852e-06 | 2.9913e-06 | 0.029519 | 0.029519 | 0.029519 | 0.98864 | -0.079628 | 0.98821 | -0.082677 | 10.9329
20 | 0.018117 | 0.0045424 | -0.018105 | -0.004538 | 1.2256e-05 | 4.3759e-06 | 0.02728 | 0.027281 | 0.027281 | 0.98821 | -0.082677 | 0.98752 | -0.087563 | 10.1039
21 | 0.014984 | 0.0037559 | -0.014979 | -0.0037542 | 4.8823e-06 | 1.6815e-06 | 0.022578 | 0.022578 | 0.022578 | 0.98752 | -0.087563 | 0.98719 | -0.089916 | 8.3623
22 | 0.014979 | 0.0037542 | -0.014977 | -0.0037536 | 1.6502e-06 | 5.6836e-07 | 0.022578 | 0.022578 | 0.022578 | 0.98719 | -0.089916 | 0.98708 | -0.090712 | 8.3623
23 | 0.0056504 | 0.0014161 | -0.0056501 | -0.001416 | 2.6161e-07 | 2.5909e-08 | 0.0084935 | 0.0084935 | 0.0084935 | 0.98991 | -0.070647 | 0.98987 | -0.070982 | 3.1457
24 | 0.043037 | 0.010797 | -0.042983 | -0.010777 | 5.4104e-05 | 2.0532e-05 | 0.064044 | 0.064044 | 0.064044 | 1 | 0 | 0.9987 | -0.0090735 | 23.72
25 | 0.060976 | 0.015348 | -0.06093 | -0.01533 | 4.6243e-05 | 1.7668e-05 | 0.090756 | 0.090756 | 0.090756 | 1 | 0 | 0.99922 | -0.0054354 | 33.6135
26 | 0.040884 | 0.010251 | -0.040858 | -0.010241 | 2.6344e-05 | 9.9836e-06 | 0.060917 | 0.060917 | 0.060917 | 0.9987 | -0.0090735 | 0.99804 | -0.013727 | 22.562
27 | 0.055683 | 0.014015 | -0.05562 | -0.013991 | 6.2326e-05 | 2.3781e-05 | 0.082943 | 0.082943 | 0.082943 | 0.99922 | -0.0054354 | 0.99806 | -0.013461 | 30.7196
28 | 0.024041 | 0.0060252 | -0.024033 | -0.0060222 | 7.9803e-06 | 2.9393e-06 | 0.035844 | 0.035844 | 0.035844 | 0.99804 | -0.013727 | 0.9977 | -0.016126 | 13.2756
29 | 0.016817 | 0.0042159 | -0.016809 | -0.004213 | 8.0534e-06 | 2.8293e-06 | 0.025073 | 0.025073 | 0.025073 | 0.99804 | -0.013727 | 0.99755 | -0.017186 | 9.2864
30 | 0.055207 | 0.013888 | -0.055152 | -0.013867 | 5.4761e-05 | 2.0893e-05 | 0.082326 | 0.082327 | 0.082327 | 0.99806 | -0.013461 | 0.99704 | -0.02058 | 30.4913
31 | 0.018212 | 0.0045643 | -0.018185 | -0.0045546 | 2.7106e-05 | 9.6576e-06 | 0.027163 | 0.027163 | 0.027163 | 0.9977 | -0.016126 | 0.99617 | -0.026892 | 10.0603
32 | 0.0058211 | 0.0014579 | -0.0058205 | -0.0014579 | 6.3724e-07 | 6.8171e-08 | 0.0086815 | 0.0086816 | 0.0086816 | 0.9977 | -0.016126 | 0.99758 | -0.016917 | 3.2154
33 | 0.011643 | 0.0029185 | -0.011638 | -0.0029168 | 5.1695e-06 | 1.6299e-06 | 0.017368 | 0.017368 | 0.017368 | 0.99755 | -0.017186 | 0.99709 | -0.020393 | 6.4327
34 | 0.051962 | 0.013067 | -0.051925 | -0.013054 | 3.6282e-05 | 1.3829e-05 | 0.077565 | 0.077565 | 0.077565 | 0.99704 | -0.02058 | 0.99632 | -0.025593 | 28.7278
35 | 0.012522 | 0.0031354 | -0.012519 | -0.0031343 | 3.5016e-06 | 1.138e-06 | 0.018704 | 0.018704 | 0.018704 | 0.99617 | -0.026892 | 0.99588 | -0.028916 | 6.9275
36 | 0.0046137 | 0.0011554 | -0.0046132 | -0.0011554 | 4.383e-07 | -2.5057e-08 | 0.0068815 | 0.0068816 | 0.0068816 | 0.99758 | -0.016917 | 0.99749 | -0.017605 | 2.5487
37 | 0.009118 | 0.0022852 | -0.0091169 | -0.0022849 | 1.1278e-06 | 3.0648e-07 | 0.013607 | 0.013607 | 0.013607 | 0.99709 | -0.020393 | 0.99696 | -0.021287 | 5.0398
38 | 0.0090375 | 0.0022632 | -0.0090308 | -0.0022614 | 6.704e-06 | 1.8124e-06 | 0.013503 | 0.013503 | 0.013503 | 0.99588 | -0.028916 | 0.99512 | -0.034285 | 5.0012
39 | 0.0034813 | 0.00087105 | -0.0034803 | -0.00087143 | 9.7049e-07 | -3.7453e-07 | 0.0052011 | 0.0052014 | 0.0052014 | 0.99588 | -0.028916 | 0.99559 | -0.030935 | 1.9264
40 | 0.003977 | 0.00099598 | -0.0039766 | -0.00099606 | 4.147e-07 | -8.6965e-08 | 0.0059324 | 0.0059325 | 0.0059325 | 0.99749 | -0.017605 | 0.99738 | -0.018359 | 2.1972
41 | -0.0039754 | -0.00099632 | 0.0039766 | 0.00099606 | 1.2039e-06 | -2.5212e-07 | 0.0059328 | 0.0059325 | 0.0059328 | 0.99707 | -0.020547 | 0.99738 | -0.018359 | 2.1973
42 | 0.0090308 | 0.0022614 | -0.0090262 | -0.0022601 | 4.6588e-06 | 1.2602e-06 | 0.013503 | 0.013503 | 0.013503 | 0.99512 | -0.034285 | 0.99459 | -0.038019 | 5.0013
43 | 0.0034803 | 0.00087143 | -0.003479 | -0.00087192 | 1.295e-06 | -4.99e-07 | 0.0052014 | 0.0052018 | 0.0052018 | 0.99559 | -0.030935 | 0.99521 | -0.033626 | 1.9266
44 | -0.0038985 | -0.00097706 | 0.0038992 | 0.00097691 | 7.0029e-07 | -1.4516e-07 | 0.0058802 | 0.0058801 | 0.0058802 | 0.98653 | -0.094561 | 0.98672 | -0.093263 | 2.1779
45 | -0.0064463 | -0.0016153 | 0.0064463 | 0.0016153 | 2.8806e-08 | 4.8397e-09 | 0.0097212 | 0.0097212 | 0.0097212 | 0.98672 | -0.093263 | 0.98672 | -0.093231 | 3.6004
46 | 0.012115 | 0.0030364 | -0.012111 | -0.003035 | 4.2234e-06 | 1.3651e-06 | 0.018264 | 0.018264 | 0.018264 | 0.98708 | -0.090712 | 0.98672 | -0.093231 | 6.7644
47 | 0.0015107 | 0.0003766 | -0.0015105 | -0.00037757 | 2.6341e-07 | -9.7133e-07 | 0.0022595 | 0.0022599 | 0.0022599 | 0.99459 | -0.038019 | 0.99441 | -0.039288 | 0.83701
48 | 0.00080335 | 0.00020035 | -0.00080332 | -0.00020069 | 2.4688e-08 | -3.4584e-07 | 0.0012018 | 0.0012019 | 0.0012019 | 0.99441 | -0.039288 | 0.99438 | -0.039512 | 0.44515
49 | -0.00080328 | -0.00020132 | 0.00080332 | 0.00020069 | 4.4813e-08 | -6.2752e-07 | 0.0012021 | 0.0012019 | 0.0012021 | 0.99432 | -0.039916 | 0.99438 | -0.039512 | 0.44523

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10544 | 0.026303

## res_load
| p_mw | q_mvar
0 | 0.0017501 | 0.00043862
1 | 0.001438 | 0.00036039
2 | 0.0070386 | 0.001764
3 | 0.00054609 | 0.00013686
4 | 0.0012544 | 0.00031439
5 | 0.0011276 | 0.00028261
6 | 0.0022038 | 0.00055233
7 | 0.00052147 | 0.00013069
8 | 0.00136 | 0.00034086
9 | 0.0005907 | 0.00014804
10 | 0.0024568 | 0.00061574
11 | 0.0014866 | 0.00037258
12 | 0.0031208 | 0.00078214
13 | 0.0050597 | 0.0012681
14 | 0.00060846 | 0.00015249
15 | 0.00062758 | 0.00015729
16 | 0.0020985 | 0.00052592
17 | 0.0052468 | 0.001315
18 | 0.00041349 | 0.00010363
19 | 0.0051654 | 0.0012946
20 | 0.0031905 | 0.00079962
21 | 0.0056628 | 0.0014192
22 | 0.0012068 | 0.00030245
23 | 0.0025201 | 0.0006316
24 | 0.00039644 | 9.9357e-05
25 | 0.0056501 | 0.001416
26 | 0.00063626 | 0.00015946
27 | 0.0091169 | 0.0022849
28 | 0.0039754 | 0.00099632
29 | 0.0038985 | 0.00097706
30 | 0.0025471 | 0.00063836
31 | 0.0028619 | 0.00071727
32 | 0.0056648 | 0.0014197
33 | 0.0075154 | 0.0018835
34 | 0.003479 | 0.00087192
35 | 0.00070714 | 0.00017723
36 | 0.00080328 | 0.00020132

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1