## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1125-22_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1125-22_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1125-22_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1125-22_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1125-22_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1125-22_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1125-22_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1125-22_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_1125-22_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1125-22_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1125-22_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1125-22_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1125-22_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1125-22_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1125-22_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1125-22_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1125-22_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1125-22_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1125-22_0_3_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_1125-22_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1125-22_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_1125-22_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1125-22_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1125-22_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1125-22_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1125-22_0_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_1125-22_0_3_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_1125-22_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1125-22_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1125-22_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1125-22_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1125-22_0_3_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_1125-22_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1125-22_0_3_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_1125-22_0_3_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_1125-22_0_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_1125-22_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_1125-22_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1125-22_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1125-22_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1125-22_0_3_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_1125-22_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1125-22_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1125-22_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1125-22_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1125-22_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1125-22_0_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_1125-22_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1125-22_0_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_1125-22_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1125-22_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1125-22_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1125-22_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_1125-22_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_1125-22_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_MV_130_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1125-22_0_3_load_0 | 0 | 0.0033585 | 0.00084172 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1125-22_0_3_load_1 | 1 | 0.0029546 | 0.00074049 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1125-22_0_3_load_3 | 3 | 0.0070439 | 0.0017654 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1125-22_0_3_load_4 | 4 | 0.0032082 | 0.00080404 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1125-22_0_3_load_14 | 6 | 0.0068736 | 0.0017227 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1125-22_0_3_load_13 | 7 | 0.005806 | 0.0014551 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1125-22_0_3_load_6 | 8 | 0.01294 | 0.003243 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1125-22_0_3_load_7 | 9 | 0.0041562 | 0.0010416 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1125-22_0_3_load_9 | 11 | 0.0046641 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1125-22_0_3_load_12 | 14 | 0.016095 | 0.0040337 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1125-22_0_3_load_18 | 16 | 0.0099586 | 0.0024959 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1125-22_0_3_load_15 | 17 | 0.0066157 | 0.0016581 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1125-22_0_3_load_22 | 20 | 0.0028856 | 0.00072321 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1125-22_0_3_load_19 | 21 | 0.0035949 | 0.00090096 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1125-22_0_3_load_16 | 23 | 0.0054552 | 0.0013672 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1125-22_0_3_load_23 | 24 | 0.0027786 | 0.00069637 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1125-22_0_3_load_33 | 25 | 0.0047917 | 0.0012009 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1125-22_0_3_load_56 | 26 | 0.0053835 | 0.0013492 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1125-22_0_3_load_24 | 27 | 0.0020502 | 0.00051383 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1125-22_0_3_load_26 | 30 | 0.0074305 | 0.0018623 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1125-22_0_3_load_57 | 31 | 0.0022806 | 0.00057157 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1125-22_0_3_load_27 | 32 | 0.0052206 | 0.0013084 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1125-22_0_3_load_49 | 33 | 0.0029136 | 0.00073021 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1125-22_0_3_load_45 | 34 | 0.0030305 | 0.00075952 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1125-22_0_3_load_47 | 35 | 0.0036853 | 0.00092362 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1125-22_0_3_load_44 | 36 | 0.0015406 | 0.00038611 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1125-22_0_3_load_32 | 37 | 0.0042844 | 0.0010738 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1125-22_0_3_load_34 | 38 | 0.0078282 | 0.0019619 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1125-22_0_3_load_35 | 39 | 0.0029507 | 0.00073952 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1125-22_0_3_load_42 | 40 | 0.002581 | 0.00064686 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1125-22_0_3_load_40 | 41 | 0.0017492 | 0.00043838 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1125-22_0_3_load_36 | 42 | 0.0031637 | 0.00079291 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1125-22_0_3_load_51 | 46 | 0.0094458 | 0.0023673 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1125-22_0_3_load_43 | 47 | 0.0012437 | 0.00031169 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1125-22_0_3_load_50 | 48 | 0.018205 | 0.0045625 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1125-22_0_3_load_41 | 49 | 0.0041078 | 0.0010295 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1125-22_0_3_load_46 | 50 | 0.0014814 | 0.00037126 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1125-22_0_3_load_53 | 52 | 0.0042982 | 0.0010772 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1125-22_0_3_load_54 | 53 | 0.0083702 | 0.0020978 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1125-22_0_3_load_58 | 54 | 0.0039888 | 0.00099969 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1125-22_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1125-22_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0051669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1125-22_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0070894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1125-22_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1125-22_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.032959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1125-22_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.021691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1125-22_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.035486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1125-22_0_3_line_7 | NAYY 4x150 SE | 7 | 13 | 0.010343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1125-22_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.02517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1125-22_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.023125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1125-22_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.032027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1125-22_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.004927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1125-22_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.065058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1125-22_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.027877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1125-22_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.088209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1125-22_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.025764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1125-22_0_3_line_16 | NAYY 4x150 SE | 12 | 17 | 0.036703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1125-22_0_3_line_17 | NAYY 4x150 SE | 14 | 18 | 0.027561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1125-22_0_3_line_18 | NAYY 4x150 SE | 15 | 19 | 0.085599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1125-22_0_3_line_19 | NAYY 4x150 SE | 16 | 20 | 0.028141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1125-22_0_3_line_20 | NAYY 4x150 SE | 17 | 23 | 0.036077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1125-22_0_3_line_21 | NAYY 4x150 SE | 18 | 22 | 0.004285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1125-22_0_3_line_22 | NAYY 4x150 SE | 19 | 26 | 0.085269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1125-22_0_3_line_23 | NAYY 4x150 SE | 20 | 24 | 0.002543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1125-22_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.017745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1125-22_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.022159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1125-22_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.0099272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1125-22_0_3_line_27 | NAYY 4x150 SE | 25 | 37 | 0.022004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1125-22_0_3_line_28 | NAYY 4x150 SE | 26 | 31 | 0.021515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1125-22_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.007262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1125-22_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.01896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1125-22_0_3_line_31 | NAYY 4x150 SE | 29 | 33 | 0.019898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1125-22_0_3_line_32 | NAYY 4x150 SE | 29 | 34 | 0.015653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1125-22_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.030495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1125-22_0_3_line_34 | NAYY 4x150 SE | 31 | 54 | 5.2298e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1125-22_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.010395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1125-22_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.018274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1125-22_0_3_line_37 | NAYY 4x150 SE | 35 | 50 | 0.021796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1125-22_0_3_line_38 | NAYY 4x150 SE | 36 | 45 | 0.015054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1125-22_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0032848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1125-22_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.024374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1125-22_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0088786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1125-22_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0044875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1125-22_0_3_line_43 | NAYY 4x150 SE | 41 | 49 | 0.011136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1125-22_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.016878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1125-22_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.01064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1125-22_0_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.071656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1125-22_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.018316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1125-22_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.012284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1125-22_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.019369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1125-22_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.0068322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1125-22_0_3_line_51 | NAYY 4x150 SE | 48 | 51 | 0.02286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1125-22_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.026768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1125-22_0_3_line_53 | NAYY 4x150 SE | 51 | 53 | 0.063844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1125-22_0_3_trafo_18 | 0.25 MVA 20/0.4 kV | 55 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2641925.333 | 1229057.2211 | 2641949.5255 | 1229041.0148
1 | 2641953.8183 | 1229038.1391 | 2641949.5255 | 1229041.0148
2 | 2641919.4431 | 1229061.1667 | 2641925.333 | 1229057.2211
3 | 2641953.8183 | 1229038.1391 | 2641970.4671 | 1229026.9856
4 | 2641972.2317 | 1229065.508 | 2641953.8183 | 1229038.1391
5 | 2641972.2317 | 1229065.508 | 2641953.3253 | 1229076.1408
6 | 2641953.3253 | 1229076.1408 | 2641938.1033 | 1229084.7015 | 2641928.3932 | 1229091.9265 | 2641925.0104 | 1229096.7834
7 | 2641926.3169 | 1229107.0434 | 2641925.0104 | 1229096.7834
8 | 2641852.8484 | 1229115.8214 | 2641837.3657 | 1229095.9763
9 | 2641867.0731 | 1229134.0543 | 2641852.8484 | 1229115.8214
10 | 2641837.3657 | 1229095.9763 | 2641817.6652 | 1229070.7246
11 | 2641867.0731 | 1229134.0543 | 2641869.7866 | 1229137.0863 | 2641870.3578 | 1229137.7352
12 | 2641926.3169 | 1229107.0434 | 2641901.736 | 1229116.3428 | 2641879.1496 | 1229127.5018 | 2641867.0731 | 1229134.0543
13 | 2641867.0731 | 1229134.0543 | 2641845.0527 | 1229151.1485
14 | 2641763.4066 | 1229001.1775 | 2641817.6652 | 1229070.7246
15 | 2641870.3578 | 1229137.7352 | 2641871.4252 | 1229138.9212 | 2641875.9202 | 1229143.9448 | 2641881.4374 | 1229150.1208 | 2641886.8934 | 1229157.4612
16 | 2641870.3578 | 1229137.7352 | 2641877.7179 | 1229132.8729 | 2641885.5519 | 1229128.4808 | 2641897.0708 | 1229122.5804 | 2641902.6032 | 1229120.3681
17 | 2641824.7384 | 1229169.7676 | 2641843.9238 | 1229152.0248 | 2641845.0527 | 1229151.1485
18 | 2641763.4066 | 1229001.1775 | 2641791.9188 | 1228986.613 | 2641806.1917 | 1228976.9517 | 2641835.3923 | 1228955.0211
19 | 2641886.8934 | 1229157.4612 | 2641890.0603 | 1229161.7219 | 2641898.1094 | 1229174.1196 | 2641903.5018 | 1229180.0978
20 | 2641902.6032 | 1229120.3681 | 2641912.835 | 1229116.2764 | 2641936.3827 | 1229107.7095
21 | 2641824.7384 | 1229169.7676 | 2641827.2975 | 1229173.21
22 | 2641835.3923 | 1228955.0211 | 2641875.42 | 1229000.8197 | 2641856.9797 | 1229016.8654
23 | 2641905.205 | 1229181.9861 | 2641903.5018 | 1229180.0978
24 | 2641827.2975 | 1229173.21 | 2641840.2262 | 1229161.0556
25 | 2641827.2975 | 1229173.21 | 2641837.7445 | 1229192.7515
26 | 2641905.205 | 1229181.9861 | 2641906.4458 | 1229183.3617 | 2641912.976 | 1229188.1113
27 | 2641850.4934 | 1229210.4026 | 2641848.9141 | 1229209.4176 | 2641841.9682 | 1229200.6522 | 2641837.7445 | 1229192.7515
28 | 2641856.9797 | 1229016.8654 | 2641851.6678 | 1229021.4876 | 2641861.2386 | 1229032.3449
29 | 2641947.7722 | 1229213.3491 | 2641941.8551 | 1229209.1159
30 | 2641941.8551 | 1229209.1159 | 2641951.6777 | 1229192.8987
31 | 2641947.7722 | 1229213.3491 | 2641963.5809 | 1229225.4332
32 | 2641947.7722 | 1229213.3491 | 2641937.2197 | 1229224.9109
33 | 2641951.6777 | 1229192.8987 | 2641959.8525 | 1229179.4021 | 2641960.5896 | 1229175.8496 | 2641959.2081 | 1229169.7917 | 2641960.7785 | 1229165.1777
34 | 2641861.2732 | 1229032.3841 | 2641861.2386 | 1229032.3449
35 | 2641963.5809 | 1229225.4332 | 2641971.8392 | 1229231.7458
36 | 2641923.7354 | 1229237.1529 | 2641931.8921 | 1229230.7479 | 2641937.2197 | 1229224.9109
37 | 2641989.1555 | 1229244.9823 | 2641971.8392 | 1229231.7458
38 | 2641911.8953 | 1229246.4502 | 2641923.7354 | 1229237.1529
39 | 2641850.4934 | 1229210.4026 | 2641853.2804 | 1229212.1411
40 | 2641874.5874 | 1229223.9397 | 2641860.5599 | 1229216.6817 | 2641853.2804 | 1229212.1411
41 | 2641874.5874 | 1229223.9397 | 2641882.473 | 1229228.0198
42 | 2641886.4586 | 1229230.082 | 2641882.473 | 1229228.0198
43 | 2641886.4586 | 1229230.082 | 2641887.3107 | 1229230.5228 | 2641895.8515 | 1229236.056
44 | 2641865.4448 | 1229292.2405 | 2641879.3426 | 1229301.8174
45 | 2641858.916 | 1229300.6553 | 2641865.4448 | 1229292.2405
46 | 2641911.8953 | 1229246.4502 | 2641892.549 | 1229262.3127 | 2641864.1518 | 1229283.2814 | 2641861.8681 | 1229285.9337 | 2641861.8339 | 1229288.6351 | 2641863.313 | 1229290.5244 | 2641865.4448 | 1229292.2405
47 | 2641858.916 | 1229300.6553 | 2641844.0211 | 1229289.996
48 | 2641911.8953 | 1229246.4502 | 2641901.5854 | 1229239.7708
49 | 2641828.2664 | 1229278.7292 | 2641831.0191 | 1229280.6914 | 2641844.0211 | 1229289.996
50 | 2641895.8515 | 1229236.056 | 2641901.5854 | 1229239.7708
51 | 2641809.6798 | 1229265.4209 | 2641819.0942 | 1229272.1912 | 2641828.2664 | 1229278.7292
52 | 2641809.6798 | 1229265.4209 | 2641825.1515 | 1229243.5494
53 | 2641809.6798 | 1229265.4209 | 2641791.5742 | 1229291.2875 | 2641787.9786 | 1229296.2765 | 2641784.2504 | 1229301.8093 | 2641785.8335 | 1229305.078 | 2641786.8475 | 1229309.5434 | 2641787.2982 | 1229314.4051 | 2641786.8574 | 1229317.8486 | 2641787.2358 | 1229320.7071

## bus_geodata
| x | y | coords
0 | 2641949.5255 | 1229041.0148
1 | 2641925.333 | 1229057.2211
2 | 2641953.8183 | 1229038.1391
3 | 2641919.4431 | 1229061.1667
4 | 2641970.4671 | 1229026.9856
5 | 2641972.2317 | 1229065.508
6 | 2641953.3253 | 1229076.1408
7 | 2641925.0104 | 1229096.7834
8 | 2641852.8484 | 1229115.8214
9 | 2641837.3657 | 1229095.9763
10 | 2641867.0731 | 1229134.0543
11 | 2641817.6652 | 1229070.7246
12 | 2641870.3578 | 1229137.7352
13 | 2641926.3169 | 1229107.0434
14 | 2641845.0527 | 1229151.1485
15 | 2641763.4066 | 1229001.1775
16 | 2641886.8934 | 1229157.4612
17 | 2641902.6032 | 1229120.3681
18 | 2641824.7384 | 1229169.7676
19 | 2641835.3923 | 1228955.0211
20 | 2641903.5018 | 1229180.0978
21 | 2641840.2262 | 1229161.0556
22 | 2641827.2975 | 1229173.21
23 | 2641936.3827 | 1229107.7095
24 | 2641905.205 | 1229181.9861
25 | 2641837.7445 | 1229192.7515
26 | 2641856.9797 | 1229016.8654
27 | 2641912.976 | 1229188.1113
28 | 2641941.8551 | 1229209.1159
29 | 2641947.7722 | 1229213.3491
30 | 2641951.6777 | 1229192.8987
31 | 2641861.2386 | 1229032.3449
32 | 2641960.7785 | 1229165.1777
33 | 2641963.5809 | 1229225.4332
34 | 2641937.2197 | 1229224.9109
35 | 2641971.8392 | 1229231.7458
36 | 2641923.7354 | 1229237.1529
37 | 2641850.4934 | 1229210.4026
38 | 2641853.2804 | 1229212.1411
39 | 2641874.5874 | 1229223.9397
40 | 2641882.473 | 1229228.0198
41 | 2641886.4586 | 1229230.082
42 | 2641879.3426 | 1229301.8174
43 | 2641865.4448 | 1229292.2405
44 | 2641858.916 | 1229300.6553
45 | 2641911.8953 | 1229246.4502
46 | 2641844.0211 | 1229289.996
47 | 2641901.5854 | 1229239.7708
48 | 2641828.2664 | 1229278.7292
49 | 2641895.8515 | 1229236.056
50 | 2641989.1555 | 1229244.9823
51 | 2641809.6798 | 1229265.4209
52 | 2641825.1515 | 1229243.5494
53 | 2641787.2358 | 1229320.7071
54 | 2641861.2732 | 1229032.3841
55 | 2641870.3578 | 1229137.7352

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98999 | -0.069999 | 0.0033585 | 0.00084172
1 | 0.98957 | -0.072966 | 0.0029546 | 0.00074049
2 | 0.99009 | -0.069296 | 0 | 0
3 | 0.98949 | -0.073475 | 0.0070439 | 0.0017654
4 | 0.98999 | -0.069951 | 0.0032082 | 0.00080404
5 | 0.99087 | -0.06374 | 0 | 0
6 | 0.99139 | -0.060087 | 0.0068736 | 0.0017227
7 | 0.99259 | -0.051646 | 0.005806 | 0.0014551
8 | 0.99465 | -0.03716 | 0.01294 | 0.003243
9 | 0.99391 | -0.042371 | 0.0041562 | 0.0010416
10 | 0.99576 | -0.029366 | 0 | 0
11 | 0.99316 | -0.047664 | 0.0046641 | 0.0011689
12 | 0.9964 | -0.024886 | 0 | 0
13 | 0.99302 | -0.048582 | 0 | 0
14 | 0.99336 | -0.045971 | 0.016095 | 0.0040337
15 | 0.99167 | -0.0581 | 0 | 0
16 | 1 | 0 | -0.20424 | -0.05137
17 | 0.99577 | -0.029345 | 0.0066157 | 0.0016581
18 | 0.99132 | -0.060214 | 0 | 0
19 | 0.99024 | -0.06825 | 0 | 0
20 | 0.99969 | -0.002168 | 0.0028856 | 0.00072321
21 | 0.9909 | -0.063082 | 0.0035949 | 0.00090096
22 | 0.991 | -0.062433 | 0 | 0
23 | 0.99549 | -0.031327 | 0.0054552 | 0.0013672
24 | 0.99967 | -0.0022907 | 0.0027786 | 0.00069637
25 | 0.98941 | -0.073527 | 0.0047917 | 0.0012009
26 | 0.9888 | -0.078384 | 0.0053835 | 0.0013492
27 | 0.99964 | -0.002494 | 0.0020502 | 0.00051383
28 | 0.97661 | -0.16399 | 0 | 0
29 | 0.97674 | -0.16302 | 0 | 0
30 | 0.97626 | -0.1665 | 0.0074305 | 0.0018623
31 | 0.98861 | -0.079761 | 0.0022806 | 0.00057157
32 | 0.97602 | -0.16817 | 0.0052206 | 0.0013084
33 | 0.97651 | -0.16471 | 0.0029136 | 0.00073021
34 | 0.97721 | -0.15963 | 0.0030305 | 0.00075952
35 | 0.97643 | -0.16527 | 0.0036853 | 0.00092362
36 | 0.97785 | -0.15509 | 0.0015406 | 0.00038611
37 | 0.9864 | -0.094583 | 0.0042844 | 0.0010738
38 | 0.98597 | -0.097593 | 0.0078282 | 0.0019619
39 | 0.98307 | -0.11804 | 0.0029507 | 0.00073952
40 | 0.98205 | -0.12524 | 0.002581 | 0.00064686
41 | 0.98155 | -0.12877 | 0.0017492 | 0.00043838
42 | 0.97375 | -0.18433 | 0.0031637 | 0.00079291
43 | 0.97383 | -0.18377 | 0 | 0
44 | 0.9732 | -0.18829 | 0 | 0
45 | 0.9784 | -0.15112 | 0 | 0
46 | 0.97212 | -0.19608 | 0.0094458 | 0.0023673
47 | 0.97964 | -0.14231 | 0.0012437 | 0.00031169
48 | 0.97124 | -0.2024 | 0.018205 | 0.0045625
49 | 0.98034 | -0.13734 | 0.0041078 | 0.0010295
50 | 0.97638 | -0.16561 | 0.0014814 | 0.00037126
51 | 0.97082 | -0.20547 | 0 | 0
52 | 0.97065 | -0.20669 | 0.0042982 | 0.0010772
53 | 0.97003 | -0.21114 | 0.0083702 | 0.0020978
54 | 0.98861 | -0.079763 | 0.0039888 | 0.00099969
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010003 | 0.0025072 | -0.009999 | -0.002506 | 4.1077e-06 | 1.2056e-06 | 0.015035 | 0.015036 | 0.015036 | 0.98999 | -0.069999 | 0.98957 | -0.072966 | 5.5687
1 | -0.013362 | -0.0033489 | 0.013363 | 0.0033493 | 1.3005e-06 | 4.3373e-07 | 0.020083 | 0.020083 | 0.020083 | 0.98999 | -0.069999 | 0.99009 | -0.069296 | 7.4383
2 | 0.0070444 | 0.0017655 | -0.0070439 | -0.0017654 | 4.9637e-07 | 9.9842e-08 | 0.010593 | 0.010593 | 0.010593 | 0.98957 | -0.072966 | 0.98949 | -0.073475 | 3.9232
3 | 0.0032084 | 0.00080389 | -0.0032082 | -0.00080404 | 2.9075e-07 | -1.4586e-07 | 0.0048219 | 0.004822 | 0.004822 | 0.99009 | -0.069296 | 0.98999 | -0.069951 | 1.7859
4 | -0.016571 | -0.0041532 | 0.016584 | 0.0041577 | 1.2757e-05 | 4.4823e-06 | 0.024905 | 0.024905 | 0.024905 | 0.99009 | -0.069296 | 0.99087 | -0.06374 | 9.2242
5 | -0.016584 | -0.0041577 | 0.016593 | 0.0041606 | 8.3955e-06 | 2.9495e-06 | 0.024905 | 0.024905 | 0.024905 | 0.99087 | -0.06374 | 0.99139 | -0.060087 | 9.2242
6 | -0.023466 | -0.0058833 | 0.023494 | 0.0058934 | 2.7471e-05 | 1.0108e-05 | 0.035222 | 0.035222 | 0.035222 | 0.99139 | -0.060087 | 0.99259 | -0.051646 | 13.0452
7 | -0.0293 | -0.0073486 | 0.029312 | 0.0073532 | 1.2453e-05 | 4.6558e-06 | 0.043926 | 0.043926 | 0.043926 | 0.99259 | -0.051646 | 0.99302 | -0.048582 | 16.2688
8 | 0.020551 | 0.0051566 | -0.020536 | -0.0051513 | 1.4848e-05 | 5.3844e-06 | 0.030747 | 0.030747 | 0.030747 | 0.99465 | -0.03716 | 0.99391 | -0.042371 | 11.3878
9 | -0.033491 | -0.0083996 | 0.033527 | 0.0084132 | 3.6227e-05 | 1.3633e-05 | 0.050105 | 0.050105 | 0.050105 | 0.99465 | -0.03716 | 0.99576 | -0.029366 | 18.5573
10 | 0.01638 | 0.0041096 | -0.016368 | -0.0041054 | 1.202e-05 | 4.2084e-06 | 0.024525 | 0.024525 | 0.024525 | 0.99391 | -0.042371 | 0.99316 | -0.047664 | 9.0832
11 | -0.18285 | -0.046103 | 0.18297 | 0.046147 | 0.00011485 | 4.4047e-05 | 0.27334 | 0.27334 | 0.27334 | 0.99576 | -0.029366 | 0.9964 | -0.024886 | 50.6188
12 | 0.02939 | 0.0073825 | -0.029312 | -0.0073532 | 7.8329e-05 | 2.9282e-05 | 0.043925 | 0.043926 | 0.043926 | 0.99576 | -0.029366 | 0.99302 | -0.048582 | 16.2688
13 | 0.11993 | 0.030307 | -0.11965 | -0.0302 | 0.00027965 | 0.00010683 | 0.17931 | 0.17931 | 0.17931 | 0.99576 | -0.029366 | 0.99336 | -0.045971 | 33.2058
14 | 0.011704 | 0.0029365 | -0.011687 | -0.0029311 | 1.6928e-05 | 5.3709e-06 | 0.017537 | 0.017537 | 0.017537 | 0.99316 | -0.047664 | 0.99167 | -0.0581 | 6.4952
15 | -0.19505 | -0.049175 | 0.19573 | 0.049437 | 0.00068248 | 0.00026182 | 0.29138 | 0.29138 | 0.29138 | 0.9964 | -0.024886 | 1 | 0 | 53.9595
16 | 0.01208 | 0.0030278 | -0.012072 | -0.0030254 | 7.4536e-06 | 2.389e-06 | 0.01804 | 0.01804 | 0.01804 | 0.9964 | -0.024886 | 0.99577 | -0.029345 | 6.6816
17 | 0.10356 | 0.026167 | -0.10335 | -0.026088 | 0.00020713 | 7.8955e-05 | 0.1552 | 0.1552 | 0.1552 | 0.99336 | -0.045971 | 0.99132 | -0.060214 | 28.7413
18 | 0.011687 | 0.0029311 | -0.01167 | -0.0029259 | 1.6428e-05 | 5.2156e-06 | 0.017537 | 0.017537 | 0.017537 | 0.99167 | -0.0581 | 0.99024 | -0.06825 | 6.4953
19 | 0.0077168 | 0.0019338 | -0.0077145 | -0.0019333 | 2.3154e-06 | 5.2145e-07 | 0.011483 | 0.011483 | 0.011483 | 1 | 0 | 0.99969 | -0.002168 | 4.2529
20 | 0.0054567 | 0.0013673 | -0.0054552 | -0.0013672 | 1.4969e-06 | 1.0654e-07 | 0.0081541 | 0.0081543 | 0.0081543 | 0.99577 | -0.029345 | 0.99549 | -0.031327 | 3.0201
21 | 0.10335 | 0.026088 | -0.10332 | -0.026075 | 3.2204e-05 | 1.2276e-05 | 0.1552 | 0.1552 | 0.1552 | 0.99132 | -0.060214 | 0.991 | -0.062433 | 28.7413
22 | 0.01167 | 0.0029259 | -0.011654 | -0.0029207 | 1.6365e-05 | 5.1989e-06 | 0.017537 | 0.017538 | 0.017538 | 0.99024 | -0.06825 | 0.9888 | -0.078384 | 6.4955
23 | 0.0048289 | 0.0012101 | -0.0048288 | -0.0012101 | 8.1978e-08 | -1.8107e-09 | 0.0071876 | 0.0071876 | 0.0071876 | 0.99969 | -0.002168 | 0.99967 | -0.0022907 | 2.6621
24 | -0.0035949 | -0.00090096 | 0.0035952 | 0.00090085 | 3.2267e-07 | -1.045e-07 | 0.0053983 | 0.0053982 | 0.0053983 | 0.9909 | -0.063082 | 0.991 | -0.062433 | 1.9994
25 | 0.099725 | 0.025175 | -0.09957 | -0.025115 | 0.00015515 | 5.9103e-05 | 0.1498 | 0.1498 | 0.1498 | 0.991 | -0.062433 | 0.98941 | -0.073527 | 27.7416
26 | 0.0020502 | 0.00051372 | -0.0020502 | -0.00051383 | 5.7693e-08 | -1.0796e-07 | 0.0030518 | 0.0030518 | 0.0030518 | 0.99967 | -0.0022907 | 0.99964 | -0.002494 | 1.1303
27 | 0.094778 | 0.023915 | -0.094499 | -0.023807 | 0.0002792 | 0.0001071 | 0.1426 | 0.1426 | 0.1426 | 0.98941 | -0.073527 | 0.9864 | -0.094583 | 52.8143
28 | 0.0062706 | 0.0015714 | -0.0062694 | -0.0015713 | 1.1955e-06 | 1.8388e-07 | 0.0094364 | 0.0094365 | 0.0094365 | 0.9888 | -0.078384 | 0.98861 | -0.079761 | 3.495
29 | -0.012657 | -0.0031722 | 0.012658 | 0.0031728 | 1.6852e-06 | 5.5729e-07 | 0.019285 | 0.019285 | 0.019285 | 0.97661 | -0.16399 | 0.97674 | -0.16302 | 7.1424
30 | 0.012657 | 0.0031722 | -0.012652 | -0.0031708 | 4.3999e-06 | 1.4551e-06 | 0.019285 | 0.019285 | 0.019285 | 0.97661 | -0.16399 | 0.97626 | -0.1665 | 7.1425
31 | 0.0080826 | 0.0020253 | -0.0080807 | -0.0020249 | 1.8826e-06 | 4.7508e-07 | 0.012313 | 0.012313 | 0.012313 | 0.97674 | -0.16302 | 0.97651 | -0.16471 | 4.5605
32 | -0.020741 | -0.0051981 | 0.020751 | 0.0052017 | 9.7523e-06 | 3.5549e-06 | 0.031598 | 0.031598 | 0.031598 | 0.97674 | -0.16302 | 0.97721 | -0.15963 | 11.7029
33 | 0.0052218 | 0.0013085 | -0.0052206 | -0.0013084 | 1.2054e-06 | 8.2414e-08 | 0.007959 | 0.0079591 | 0.0079591 | 0.97626 | -0.1665 | 0.97602 | -0.16817 | 2.9478
34 | 0.0039888 | 0.00099969 | -0.0039888 | -0.00099969 | 1.1754e-09 | -2.1833e-10 | 0.0060038 | 0.0060038 | 0.0060038 | 0.98861 | -0.079761 | 0.98861 | -0.079763 | 2.2236
35 | 0.0051671 | 0.0012947 | -0.0051667 | -0.0012946 | 4.0211e-07 | 2.463e-08 | 0.0078736 | 0.0078737 | 0.0078737 | 0.97651 | -0.16471 | 0.97643 | -0.16527 | 2.9162
36 | -0.023781 | -0.0059612 | 0.023796 | 0.0059667 | 1.4953e-05 | 5.522e-06 | 0.036212 | 0.036212 | 0.036212 | 0.97721 | -0.15963 | 0.97785 | -0.15509 | 13.412
37 | 0.0014814 | 0.00037102 | -0.0014814 | -0.00037126 | 6.9317e-08 | -2.4595e-07 | 0.0022575 | 0.0022576 | 0.0022576 | 0.97643 | -0.16527 | 0.97638 | -0.16561 | 0.83615
38 | -0.025337 | -0.0063528 | 0.025351 | 0.006358 | 1.3965e-05 | 5.1822e-06 | 0.038557 | 0.038557 | 0.038557 | 0.97785 | -0.15509 | 0.9784 | -0.15112 | 14.2802
39 | 0.090214 | 0.022734 | -0.090176 | -0.022719 | 3.7987e-05 | 1.4568e-05 | 0.13614 | 0.13614 | 0.13614 | 0.9864 | -0.094583 | 0.98597 | -0.097593 | 50.4205
40 | 0.082348 | 0.020757 | -0.082113 | -0.020667 | 0.00023507 | 9.0101e-05 | 0.12432 | 0.12432 | 0.12432 | 0.98597 | -0.097593 | 0.98307 | -0.11804 | 46.0449
41 | 0.079162 | 0.019928 | -0.079083 | -0.019897 | 7.9587e-05 | 3.0498e-05 | 0.11986 | 0.11986 | 0.11986 | 0.98307 | -0.11804 | 0.98205 | -0.12524 | 44.3908
42 | 0.076502 | 0.01925 | -0.076464 | -0.019236 | 3.7643e-05 | 1.4422e-05 | 0.11594 | 0.11594 | 0.11594 | 0.98205 | -0.12524 | 0.98155 | -0.12877 | 42.9423
43 | 0.074715 | 0.018797 | -0.074626 | -0.018763 | 8.9189e-05 | 3.4163e-05 | 0.11329 | 0.11329 | 0.11329 | 0.98155 | -0.12877 | 0.98034 | -0.13734 | 41.9602
44 | -0.0031637 | -0.00079291 | 0.003164 | 0.00079279 | 2.4616e-07 | -1.153e-07 | 0.0048346 | 0.0048345 | 0.0048346 | 0.97375 | -0.18433 | 0.97383 | -0.18377 | 1.7906
45 | 0.040428 | 0.010145 | -0.040402 | -0.010135 | 2.5339e-05 | 9.6135e-06 | 0.061778 | 0.061778 | 0.061778 | 0.97383 | -0.18377 | 0.9732 | -0.18829 | 22.8807
46 | -0.043592 | -0.010937 | 0.04379 | 0.011013 | 0.0001984 | 7.5412e-05 | 0.066612 | 0.066612 | 0.066612 | 0.97383 | -0.18377 | 0.9784 | -0.15112 | 24.6712
47 | 0.040402 | 0.010135 | -0.040359 | -0.010118 | 4.362e-05 | 1.655e-05 | 0.061778 | 0.061778 | 0.061778 | 0.9732 | -0.18829 | 0.97212 | -0.19608 | 22.8807
48 | -0.069141 | -0.017371 | 0.069225 | 0.017403 | 8.4783e-05 | 3.2454e-05 | 0.10517 | 0.10517 | 0.10517 | 0.9784 | -0.15112 | 0.97964 | -0.14231 | 38.9513
49 | 0.030913 | 0.0077512 | -0.030886 | -0.007741 | 2.7062e-05 | 1.0169e-05 | 0.047319 | 0.047319 | 0.047319 | 0.97212 | -0.19608 | 0.97124 | -0.2024 | 17.5257
50 | -0.070469 | -0.017715 | 0.070518 | 0.017734 | 4.8863e-05 | 1.8707e-05 | 0.10706 | 0.10706 | 0.10706 | 0.97964 | -0.14231 | 0.98034 | -0.13734 | 39.651
51 | 0.012681 | 0.0031785 | -0.012676 | -0.0031767 | 5.3844e-06 | 1.7882e-06 | 0.019429 | 0.019429 | 0.019429 | 0.97124 | -0.2024 | 0.97082 | -0.20547 | 7.1958
52 | 0.0042989 | 0.0010772 | -0.0042982 | -0.0010772 | 7.2521e-07 | -5.1994e-08 | 0.0065891 | 0.0065892 | 0.0065892 | 0.97082 | -0.20547 | 0.97065 | -0.20669 | 2.4405
53 | 0.0083768 | 0.0020995 | -0.0083702 | -0.0020978 | 6.5676e-06 | 1.7372e-06 | 0.012839 | 0.01284 | 0.01284 | 0.97082 | -0.20547 | 0.97003 | -0.21114 | 4.7555

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.2142 | 0.053866

## res_load
| p_mw | q_mvar
0 | 0.0033585 | 0.00084172
1 | 0.0029546 | 0.00074049
2 | 0.0070439 | 0.0017654
3 | 0.0032082 | 0.00080404
4 | 0.0068736 | 0.0017227
5 | 0.005806 | 0.0014551
6 | 0.01294 | 0.003243
7 | 0.0041562 | 0.0010416
8 | 0.0046641 | 0.0011689
9 | 0.016095 | 0.0040337
10 | 0.0099586 | 0.0024959
11 | 0.0066157 | 0.0016581
12 | 0.0028856 | 0.00072321
13 | 0.0035949 | 0.00090096
14 | 0.0054552 | 0.0013672
15 | 0.0027786 | 0.00069637
16 | 0.0047917 | 0.0012009
17 | 0.0053835 | 0.0013492
18 | 0.0020502 | 0.00051383
19 | 0.0074305 | 0.0018623
20 | 0.0022806 | 0.00057157
21 | 0.0052206 | 0.0013084
22 | 0.0029136 | 0.00073021
23 | 0.0030305 | 0.00075952
24 | 0.0036853 | 0.00092362
25 | 0.0015406 | 0.00038611
26 | 0.0042844 | 0.0010738
27 | 0.0078282 | 0.0019619
28 | 0.0029507 | 0.00073952
29 | 0.002581 | 0.00064686
30 | 0.0017492 | 0.00043838
31 | 0.0031637 | 0.00079291
32 | 0.0094458 | 0.0023673
33 | 0.0012437 | 0.00031169
34 | 0.018205 | 0.0045625
35 | 0.0041078 | 0.0010295
36 | 0.0014814 | 0.00037126
37 | 0.0042982 | 0.0010772
38 | 0.0083702 | 0.0020978
39 | 0.0039888 | 0.00099969

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1