## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1125-27_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1125-27_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1125-27_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1125-27_0_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1125-27_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1125-27_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1125-27_0_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_1125-27_0_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_1125-27_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1125-27_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_1125-27_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_1125-27_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1125-27_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1125-27_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1125-27_0_3_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_1125-27_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1125-27_0_3_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_1125-27_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1125-27_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1125-27_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1125-27_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1125-27_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1125-27_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1125-27_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1125-27_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1125-27_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1125-27_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1125-27_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1125-27_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1125-27_0_3_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_1125-27_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1125-27_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1125-27_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1125-27_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1125-27_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1125-27_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1125-27_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1125-27_0_3_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_1125-27_0_3_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_1125-27_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1125-27_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1125-27_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1125-27_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1125-27_0_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_1125-27_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_1125-27_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_1125-27_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_MV_130_0_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1125-27_0_3_load_0 | 0 | 0.056605 | 0.014187 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1125-27_0_3_load_3 | 4 | 0.0013341 | 0.00033436 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1125-27_0_3_load_47 | 6 | 0.0034006 | 0.00085228 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1125-27_0_3_load_45 | 7 | 0.0010454 | 0.00026201 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1125-27_0_3_load_21 | 8 | 0.0019909 | 0.00049897 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1125-27_0_3_load_20 | 9 | 0.0041637 | 0.0010435 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1125-27_0_3_load_4 | 10 | 0.0015655 | 0.00039235 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1125-27_0_3_load_22 | 12 | 0.0020339 | 0.00050975 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1125-27_0_3_load_11 | 13 | 0.0017937 | 0.00044954 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1125-27_0_3_load_9 | 15 | 0.0054591 | 0.0013682 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1125-27_0_3_load_46 | 16 | 0.0028311 | 0.00070955 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1125-27_0_3_load_8 | 17 | 0.0035012 | 0.00087749 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1125-27_0_3_load_13 | 20 | 0.0043757 | 0.0010966 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1125-27_0_3_load_24 | 22 | 0.010588 | 0.0026537 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1125-27_0_3_load_18 | 23 | 0.0021359 | 0.00053531 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1125-27_0_3_load_14 | 24 | 0.005287 | 0.001325 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1125-27_0_3_load_25 | 25 | 0.0052146 | 0.0013069 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1125-27_0_3_load_19 | 26 | 0.0080247 | 0.0020112 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1125-27_0_3_load_15 | 27 | 0.00092491 | 0.0002318 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1125-27_0_3_load_48 | 29 | 0.0035705 | 0.00089486 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1125-27_0_3_load_27 | 30 | 0.0022842 | 0.00057246 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1125-27_0_3_load_26 | 31 | 0.0096303 | 0.0024136 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1125-27_0_3_load_29 | 34 | 0.0022217 | 0.00055682 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1125-27_0_3_load_37 | 35 | 0.0028853 | 0.00072312 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1125-27_0_3_load_44 | 37 | 0.002728 | 0.0006837 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1125-27_0_3_load_49 | 38 | 0.002693 | 0.00067492 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1125-27_0_3_load_38 | 41 | 0.0011269 | 0.00028242 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1125-27_0_3_load_28 | 42 | 0.0016866 | 0.0004227 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1125-27_0_3_load_51 | 43 | 0.00085763 | 0.00021494 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1125-27_0_3_load_50 | 44 | 0.005152 | 0.0012912 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1125-27_0_3_load_42 | 45 | 0.0022728 | 0.00056962 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1125-27_0_3_load_41 | 46 | 0.0063179 | 0.0015834 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1125-27_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.034889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1125-27_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.02718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1125-27_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.015173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1125-27_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1125-27_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.015179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1125-27_0_3_line_5 | NAYY 4x150 SE | 3 | 9 | 0.063202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1125-27_0_3_line_6 | NAYY 4x150 SE | 3 | 5 | 0.02151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1125-27_0_3_line_7 | NAYY 4x150 SE | 4 | 10 | 0.024724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1125-27_0_3_line_8 | NAYY 4x150 SE | 5 | 6 | 0.003171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1125-27_0_3_line_9 | NAYY 4x150 SE | 5 | 7 | 0.019231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1125-27_0_3_line_10 | NAYY 4x150 SE | 7 | 16 | 0.013478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1125-27_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.02302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1125-27_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.030253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1125-27_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.018609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1125-27_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0099266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1125-27_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.04231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1125-27_0_3_line_16 | NAYY 4x150 SE | 14 | 28 | 0.0089264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1125-27_0_3_line_17 | NAYY 4x150 SE | 14 | 29 | 0.016284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1125-27_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.02579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1125-27_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.044314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1125-27_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.004709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1125-27_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.012943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1125-27_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.021174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1125-27_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.026229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1125-27_0_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.012697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1125-27_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.030284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1125-27_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.025023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1125-27_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.021388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1125-27_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.026852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1125-27_0_3_line_29 | NAYY 4x150 SE | 25 | 31 | 0.01423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1125-27_0_3_line_30 | NAYY 4x150 SE | 28 | 35 | 0.019059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1125-27_0_3_line_31 | NAYY 4x150 SE | 28 | 33 | 0.033129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1125-27_0_3_line_32 | NAYY 4x150 SE | 29 | 36 | 0.02018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1125-27_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.023374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1125-27_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.002139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1125-27_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.015381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1125-27_0_3_line_36 | NAYY 4x150 SE | 33 | 43 | 0.027177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1125-27_0_3_line_37 | NAYY 4x150 SE | 34 | 42 | 0.0013401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1125-27_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.037434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1125-27_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.015753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1125-27_0_3_line_40 | NAYY 4x150 SE | 37 | 45 | 0.0029358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1125-27_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.030841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1125-27_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.024239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1125-27_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.014985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1125-27_0_3_line_44 | NAYY 4x150 SE | 40 | 44 | 0.012815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1125-27_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.041314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1125-27_0_3_trafo_1 | 0.25 MVA 20/0.4 kV | 47 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2641432.2047 | 1229655.3671 | 2641423.0559 | 1229673.5813 | 2641435.8994 | 1229680.3258
1 | 2641443.2632 | 1229630.5287 | 2641432.2047 | 1229655.3671
2 | 2641443.2632 | 1229630.5287 | 2641450.608 | 1229638.596 | 2641453.4873 | 1229641.7402
3 | 2641443.2632 | 1229630.5287 | 2641441.0756 | 1229628.1231 | 2641432.2198 | 1229615.978
4 | 2641453.4873 | 1229641.7402 | 2641465.0327 | 1229631.8478
5 | 2641453.4873 | 1229641.7402 | 2641458.0355 | 1229646.7416 | 2641479.7929 | 1229666.0718 | 2641501.2365 | 1229683.0282
6 | 2641453.4873 | 1229641.7402 | 2641450.608 | 1229638.596 | 2641463.8882 | 1229627.5928
7 | 2641432.2198 | 1229615.978 | 2641417.6533 | 1229596.0012
8 | 2641463.8882 | 1229627.5928 | 2641461.8675 | 1229625.1438
9 | 2641463.8882 | 1229627.5928 | 2641477.0305 | 1229613.5534
10 | 2641475.3739 | 1229600.178 | 2641477.0305 | 1229613.5534
11 | 2641404.0906 | 1229577.4011 | 2641417.6533 | 1229596.0012
12 | 2641404.0906 | 1229577.4011 | 2641421.5803 | 1229561.2906 | 2641426.2467 | 1229556.8026
13 | 2641404.0906 | 1229577.4011 | 2641394.8622 | 1229587.4542 | 2641391.2784 | 1229590.8863
14 | 2641433.4012 | 1229549.9214 | 2641426.2467 | 1229556.8026
15 | 2641363.4393 | 1229622.4128 | 2641365.5984 | 1229619.1371 | 2641377.6698 | 1229603.3001 | 2641379.1754 | 1229602.4767 | 2641391.2784 | 1229590.8863
16 | 2641427.059 | 1229543.64 | 2641427.7962 | 1229544.379 | 2641430.106 | 1229546.652 | 2641432.3855 | 1229548.9137 | 2641433.4012 | 1229549.9214
17 | 2641433.4012 | 1229549.9214 | 2641445.1375 | 1229538.6332
18 | 2641363.4393 | 1229622.4128 | 2641360.0326 | 1229627.5814 | 2641354.5178 | 1229636.304 | 2641350.3047 | 1229644.5722
19 | 2641333.6238 | 1229685.6116 | 2641348.658 | 1229647.8037 | 2641350.3047 | 1229644.5722
20 | 2641333.6238 | 1229685.6116 | 2641329.2733 | 1229683.7802
21 | 2641333.6238 | 1229685.6116 | 2641345.5427 | 1229690.6568
22 | 2641321.3346 | 1229703.415 | 2641326.3451 | 1229690.931 | 2641329.2733 | 1229683.7802
23 | 2641329.2733 | 1229683.7802 | 2641339.2186 | 1229659.51
24 | 2641345.5427 | 1229690.6568 | 2641357.2355 | 1229695.6064
25 | 2641321.3346 | 1229703.415 | 2641310.4071 | 1229731.6591
26 | 2641339.2186 | 1229659.51 | 2641343.529 | 1229648.9911 | 2641346.5165 | 1229643.1304 | 2641349.8306 | 1229636.8775
27 | 2641357.2355 | 1229695.6064 | 2641358.0574 | 1229695.9543 | 2641350.364 | 1229714.9515
28 | 2641310.4071 | 1229731.6591 | 2641308.8078 | 1229735.7926 | 2641300.3758 | 1229756.566
29 | 2641356.7768 | 1229624.4704 | 2641354.8064 | 1229627.4895 | 2641349.8306 | 1229636.8775
30 | 2641427.059 | 1229543.64 | 2641435.6524 | 1229535.5838 | 2641440.8626 | 1229530.4996
31 | 2641427.059 | 1229543.64 | 2641420.7912 | 1229549.5112 | 2641418.3898 | 1229550.6062 | 2641415.1527 | 1229550.9506 | 2641412.8158 | 1229550.4007 | 2641405.3236 | 1229545.0008 | 2641402.6704 | 1229543.0811 | 2641399.6029 | 1229540.8362
32 | 2641459.6817 | 1229524.6443 | 2641445.1375 | 1229538.6332
33 | 2641356.7768 | 1229624.4704 | 2641363.2364 | 1229614.5734 | 2641370.6078 | 1229605.6749
34 | 2641399.6029 | 1229540.8362 | 2641398.1451 | 1229542.4048
35 | 2641398.1451 | 1229542.4048 | 2641385.552 | 1229533.573
36 | 2641399.6029 | 1229540.8362 | 2641418.1194 | 1229520.8971
37 | 2641384.4548 | 1229532.8036 | 2641385.552 | 1229533.573
38 | 2641459.6817 | 1229524.6443 | 2641480.4791 | 1229550.2606 | 2641483.771 | 1229553.2375
39 | 2641459.6817 | 1229524.6443 | 2641471.0389 | 1229513.728
40 | 2641485.9485 | 1229555.2067 | 2641483.771 | 1229553.2375
41 | 2641492.0873 | 1229491.1939 | 2641486.1701 | 1229497.8456 | 2641472.6009 | 1229512.2266 | 2641471.0389 | 1229513.728
42 | 2641474.6445 | 1229497.2538 | 2641483.7259 | 1229487.689 | 2641485.3219 | 1229485.8545 | 2641488.7045 | 1229488.5353 | 2641492.0873 | 1229491.1939
43 | 2641474.6445 | 1229497.2538 | 2641471.0501 | 1229501.0422 | 2641464.063 | 1229507.8604
44 | 2641492.0873 | 1229491.1939 | 2641498.233 | 1229496.3288 | 2641499.9126 | 1229497.7191 | 2641501.6822 | 1229495.7791
45 | 2641519.6248 | 1229578.9795 | 2641493.1785 | 1229561.745 | 2641485.9485 | 1229555.2067

## bus_geodata
| x | y | coords
0 | 2641435.8994 | 1229680.3258
1 | 2641432.2047 | 1229655.3671
2 | 2641443.2632 | 1229630.5287
3 | 2641453.4873 | 1229641.7402
4 | 2641432.2198 | 1229615.978
5 | 2641463.8882 | 1229627.5928
6 | 2641461.8675 | 1229625.1438
7 | 2641477.0305 | 1229613.5534
8 | 2641465.0327 | 1229631.8478
9 | 2641501.2365 | 1229683.0282
10 | 2641417.6533 | 1229596.0012
11 | 2641404.0906 | 1229577.4011
12 | 2641426.2467 | 1229556.8026
13 | 2641391.2784 | 1229590.8863
14 | 2641433.4012 | 1229549.9214
15 | 2641363.4393 | 1229622.4128
16 | 2641475.3739 | 1229600.178
17 | 2641350.3047 | 1229644.5722
18 | 2641333.6238 | 1229685.6116
19 | 2641329.2733 | 1229683.7802
20 | 2641345.5427 | 1229690.6568
21 | 2641321.3346 | 1229703.415
22 | 2641339.2186 | 1229659.51
23 | 2641357.2355 | 1229695.6064
24 | 2641310.4071 | 1229731.6591
25 | 2641349.8306 | 1229636.8775
26 | 2641350.364 | 1229714.9515
27 | 2641300.3758 | 1229756.566
28 | 2641427.059 | 1229543.64
29 | 2641445.1375 | 1229538.6332
30 | 2641370.6078 | 1229605.6749
31 | 2641356.7768 | 1229624.4704
32 | 2641398.1451 | 1229542.4048
33 | 2641399.6029 | 1229540.8362
34 | 2641385.552 | 1229533.573
35 | 2641440.8626 | 1229530.4996
36 | 2641459.6817 | 1229524.6443
37 | 2641483.771 | 1229553.2375
38 | 2641471.0389 | 1229513.728
39 | 2641474.6445 | 1229497.2538
40 | 2641492.0873 | 1229491.1939
41 | 2641464.063 | 1229507.8604
42 | 2641384.4548 | 1229532.8036
43 | 2641418.1194 | 1229520.8971
44 | 2641501.6822 | 1229495.7791
45 | 2641485.9485 | 1229555.2067
46 | 2641519.6248 | 1229578.9795
47 | 2641443.2632 | 1229630.5287

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99718 | -0.019767 | 0.056605 | 0.014187
1 | 1 | 0 | -0.16845 | -0.042264
2 | 0.99785 | -0.014841 | 0 | 0
3 | 0.99756 | -0.016887 | 0 | 0
4 | 0.99531 | -0.03243 | 0.0013341 | 0.00033436
5 | 0.99734 | -0.018458 | 0 | 0
6 | 0.99732 | -0.018566 | 0.0034006 | 0.00085228
7 | 0.99723 | -0.019207 | 0.0010454 | 0.00026201
8 | 0.99752 | -0.01719 | 0.0019909 | 0.00049897
9 | 0.99718 | -0.019529 | 0.0041637 | 0.0010435
10 | 0.99192 | -0.056024 | 0.0015655 | 0.00039235
11 | 0.98882 | -0.077769 | 0 | 0
12 | 0.98735 | -0.088154 | 0.0020339 | 0.00050975
13 | 0.98721 | -0.089042 | 0.0017937 | 0.00044954
14 | 0.9869 | -0.091361 | 0 | 0
15 | 0.98367 | -0.11403 | 0.0054591 | 0.0013682
16 | 0.99717 | -0.01959 | 0.0028311 | 0.00070955
17 | 0.98172 | -0.12788 | 0.0035012 | 0.00087749
18 | 0.97859 | -0.15021 | 0 | 0
19 | 0.97835 | -0.15187 | 0 | 0
20 | 0.97831 | -0.15217 | 0.0043757 | 0.0010966
21 | 0.97816 | -0.15324 | 0 | 0
22 | 0.97729 | -0.15946 | 0.010588 | 0.0026537
23 | 0.97812 | -0.15351 | 0.0021359 | 0.00053531
24 | 0.97789 | -0.15521 | 0.005287 | 0.001325
25 | 0.97667 | -0.16395 | 0.0052146 | 0.0013069
26 | 0.97787 | -0.1553 | 0.0080247 | 0.0020112
27 | 0.97785 | -0.15547 | 0.00092491 | 0.0002318
28 | 0.9868 | -0.092062 | 0 | 0
29 | 0.98634 | -0.095349 | 0.0035705 | 0.00089486
30 | 0.97634 | -0.16628 | 0.0022842 | 0.00057246
31 | 0.97642 | -0.16572 | 0.0096303 | 0.0024136
32 | 0.98656 | -0.093769 | 0 | 0
33 | 0.98657 | -0.093683 | 0 | 0
34 | 0.98647 | -0.094385 | 0.0022217 | 0.00055682
35 | 0.98672 | -0.092626 | 0.0028853 | 0.00072312
36 | 0.98574 | -0.099555 | 0 | 0
37 | 0.98513 | -0.10391 | 0.002728 | 0.0006837
38 | 0.98554 | -0.10101 | 0.002693 | 0.00067492
39 | 0.98522 | -0.10328 | 0 | 0
40 | 0.98526 | -0.103 | 0 | 0
41 | 0.9852 | -0.10346 | 0.0011269 | 0.00028242
42 | 0.98647 | -0.094408 | 0.0016866 | 0.0004227
43 | 0.98654 | -0.093922 | 0.00085763 | 0.00021494
44 | 0.98516 | -0.10368 | 0.005152 | 0.0012912
45 | 0.98509 | -0.10417 | 0.0022728 | 0.00056962
46 | 0.98472 | -0.10686 | 0.0063179 | 0.0015834
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.056605 | -0.014187 | 0.056761 | 0.014246 | 0.00015533 | 5.9287e-05 | 0.084468 | 0.084468 | 0.084468 | 0.99718 | -0.019767 | 1 | 0 | 31.2844
1 | 0.11089 | 0.028018 | -0.11066 | -0.02793 | 0.0002311 | 8.8175e-05 | 0.16508 | 0.16508 | 0.16508 | 1 | 0 | 0.99785 | -0.014841 | 30.5709
2 | 0.013439 | 0.0033673 | -0.013436 | -0.003366 | 3.8027e-06 | 1.2644e-06 | 0.020041 | 0.020041 | 0.020041 | 0.99785 | -0.014841 | 0.99756 | -0.016887 | 7.4225
3 | 0.097217 | 0.024563 | -0.096977 | -0.024471 | 0.00024 | 9.2069e-05 | 0.14504 | 0.14504 | 0.14504 | 0.99785 | -0.014841 | 0.99531 | -0.03243 | 53.7194
4 | 0.001991 | 0.00049881 | -0.0019909 | -0.00049897 | 8.3542e-08 | -1.6603e-07 | 0.0029698 | 0.0029699 | 0.0029699 | 0.99756 | -0.016887 | 0.99752 | -0.01719 | 1.1
5 | 0.0041652 | 0.0010433 | -0.0041637 | -0.0010435 | 1.5224e-06 | -2.3929e-07 | 0.0062129 | 0.0062131 | 0.0062131 | 0.99756 | -0.016887 | 0.99718 | -0.019529 | 2.3012
6 | 0.0072793 | 0.0018239 | -0.0072778 | -0.0018236 | 1.5825e-06 | 3.2788e-07 | 0.010858 | 0.010858 | 0.010858 | 0.99756 | -0.016887 | 0.99734 | -0.018458 | 4.0216
7 | 0.095643 | 0.024137 | -0.095327 | -0.024015 | 0.00031569 | 0.0001211 | 0.14305 | 0.14305 | 0.14305 | 0.99531 | -0.03243 | 0.99192 | -0.056024 | 52.9807
8 | 0.0034007 | 0.00085225 | -0.0034006 | -0.00085228 | 5.0938e-08 | -2.1788e-08 | 0.0050738 | 0.0050738 | 0.0050738 | 0.99734 | -0.018458 | 0.99732 | -0.018566 | 1.8792
9 | 0.0038771 | 0.00097134 | -0.0038767 | -0.00097143 | 4.0153e-07 | -9.6492e-08 | 0.0057845 | 0.0057846 | 0.0057846 | 0.99734 | -0.018458 | 0.99723 | -0.019207 | 2.1424
10 | 0.0028313 | 0.00070943 | -0.0028311 | -0.00070955 | 1.501e-07 | -1.181e-07 | 0.0042246 | 0.0042247 | 0.0042247 | 0.99723 | -0.019207 | 0.99717 | -0.01959 | 1.5647
11 | 0.093762 | 0.023623 | -0.093478 | -0.023514 | 0.00028436 | 0.00010907 | 0.1407 | 0.1407 | 0.1407 | 0.99192 | -0.056024 | 0.98882 | -0.077769 | 52.111
12 | 0.03365 | 0.0084426 | -0.033601 | -0.0084244 | 4.8413e-05 | 1.8233e-05 | 0.050641 | 0.050641 | 0.050641 | 0.98882 | -0.077769 | 0.98735 | -0.088154 | 18.7559
13 | 0.059828 | 0.015071 | -0.059734 | -0.015035 | 9.4179e-05 | 3.5984e-05 | 0.090059 | 0.090059 | 0.090059 | 0.98882 | -0.077769 | 0.98721 | -0.089042 | 33.3552
14 | 0.031567 | 0.0079147 | -0.031553 | -0.0079094 | 1.402e-05 | 5.2655e-06 | 0.047576 | 0.047576 | 0.047576 | 0.98735 | -0.088154 | 0.9869 | -0.091361 | 17.6206
15 | 0.05794 | 0.014586 | -0.057738 | -0.014509 | 0.00020147 | 7.6949e-05 | 0.087355 | 0.087356 | 0.087356 | 0.98721 | -0.089042 | 0.98367 | -0.11403 | 32.3539
16 | 0.0076537 | 0.0019172 | -0.007653 | -0.001917 | 7.4173e-07 | 1.7123e-07 | 0.01154 | 0.01154 | 0.01154 | 0.9869 | -0.091361 | 0.9868 | -0.092062 | 4.274
17 | 0.0239 | 0.0059922 | -0.023887 | -0.0059874 | 1.3195e-05 | 4.8671e-06 | 0.036036 | 0.036036 | 0.036036 | 0.9869 | -0.091361 | 0.98634 | -0.095349 | 13.3467
18 | 0.052279 | 0.013141 | -0.052179 | -0.013102 | 0.00010068 | 3.8398e-05 | 0.079098 | 0.079098 | 0.079098 | 0.98367 | -0.11403 | 0.98172 | -0.12788 | 29.2954
19 | 0.048678 | 0.012225 | -0.048527 | -0.012167 | 0.00015057 | 5.7352e-05 | 0.073791 | 0.073791 | 0.073791 | 0.98172 | -0.12788 | 0.97859 | -0.15021 | 27.33
20 | 0.033983 | 0.0085219 | -0.033975 | -0.008519 | 7.8465e-06 | 2.9588e-06 | 0.051675 | 0.051675 | 0.051675 | 0.97859 | -0.15021 | 0.97835 | -0.15187 | 19.139
21 | 0.014544 | 0.0036456 | -0.01454 | -0.0036442 | 3.9501e-06 | 1.3567e-06 | 0.022116 | 0.022116 | 0.022116 | 0.97859 | -0.15021 | 0.97831 | -0.15217 | 8.191
22 | 0.0062148 | 0.001557 | -0.0062136 | -0.0015568 | 1.1805e-06 | 1.8818e-07 | 0.0094521 | 0.0094522 | 0.0094522 | 0.97835 | -0.15187 | 0.97816 | -0.15324 | 3.5008
23 | 0.02776 | 0.006962 | -0.027731 | -0.0069511 | 2.9179e-05 | 1.0894e-05 | 0.042223 | 0.042223 | 0.042223 | 0.97835 | -0.15187 | 0.97729 | -0.15946 | 15.6382
24 | 0.010165 | 0.0025476 | -0.010163 | -0.002547 | 1.8938e-06 | 5.6898e-07 | 0.01546 | 0.01546 | 0.01546 | 0.97831 | -0.15217 | 0.97812 | -0.15351 | 5.7261
25 | 0.0062136 | 0.0015568 | -0.0062119 | -0.0015565 | 1.6884e-06 | 2.6935e-07 | 0.0094522 | 0.0094524 | 0.0094524 | 0.97816 | -0.15324 | 0.97789 | -0.15521 | 3.5009
26 | 0.017143 | 0.0042974 | -0.017132 | -0.0042937 | 1.0638e-05 | 3.7782e-06 | 0.026102 | 0.026102 | 0.026102 | 0.97729 | -0.15946 | 0.97667 | -0.16395 | 9.6674
27 | 0.0080267 | 0.0020117 | -0.0080247 | -0.0020112 | 1.9901e-06 | 4.9702e-07 | 0.012211 | 0.012211 | 0.012211 | 0.97812 | -0.15351 | 0.97787 | -0.1553 | 4.5226
28 | 0.00092494 | 0.00023148 | -0.00092491 | -0.0002318 | 3.3188e-08 | -3.2409e-07 | 0.0014073 | 0.0014075 | 0.0014075 | 0.97789 | -0.15521 | 0.97785 | -0.15547 | 0.52128
29 | 0.011918 | 0.0029868 | -0.011915 | -0.0029858 | 2.9275e-06 | 9.4792e-07 | 0.018157 | 0.018157 | 0.018157 | 0.97667 | -0.16395 | 0.97642 | -0.16572 | 6.7249
30 | 0.0028855 | 0.00072296 | -0.0028853 | -0.00072312 | 2.2515e-07 | -1.5687e-07 | 0.004351 | 0.0043511 | 0.0043511 | 0.9868 | -0.092062 | 0.98672 | -0.092626 | 1.6115
31 | 0.0047675 | 0.001194 | -0.0047664 | -0.001194 | 1.0683e-06 | -1.2245e-08 | 0.0071886 | 0.0071888 | 0.0071888 | 0.9868 | -0.092062 | 0.98657 | -0.093683 | 2.6625
32 | 0.020316 | 0.0050925 | -0.020304 | -0.0050882 | 1.1829e-05 | 4.2922e-06 | 0.03065 | 0.03065 | 0.03065 | 0.98634 | -0.095349 | 0.98574 | -0.099555 | 11.3517
33 | -0.0022842 | -0.00057246 | 0.0022843 | 0.00057224 | 1.7675e-07 | -2.2435e-07 | 0.0034812 | 0.0034811 | 0.0034812 | 0.97634 | -0.16628 | 0.97642 | -0.16572 | 1.2893
34 | -0.0039087 | -0.00097944 | 0.0039087 | 0.00097943 | 4.6389e-08 | -9.4714e-09 | 0.0058953 | 0.0058953 | 0.0058953 | 0.98656 | -0.093769 | 0.98657 | -0.093683 | 2.1835
35 | 0.0039087 | 0.00097944 | -0.0039083 | -0.00097951 | 3.3358e-07 | -6.8087e-08 | 0.0058953 | 0.0058954 | 0.0058954 | 0.98656 | -0.093769 | 0.98647 | -0.094385 | 2.1835
36 | 0.00085766 | 0.00021461 | -0.00085763 | -0.00021494 | 2.8375e-08 | -3.3611e-07 | 0.0012935 | 0.0012936 | 0.0012936 | 0.98657 | -0.093683 | 0.98654 | -0.093922 | 0.4791
37 | 0.0016866 | 0.00042268 | -0.0016866 | -0.0004227 | 5.4125e-09 | -1.5027e-08 | 0.0025441 | 0.0025441 | 0.0025441 | 0.98647 | -0.094385 | 0.98647 | -0.094408 | 0.94226
38 | 0.011328 | 0.0028393 | -0.011321 | -0.0028372 | 6.8308e-06 | 2.1503e-06 | 0.0171 | 0.017101 | 0.017101 | 0.98574 | -0.099555 | 0.98513 | -0.10391 | 6.3335
39 | 0.0089759 | 0.0022489 | -0.0089741 | -0.0022484 | 1.8046e-06 | 4.9329e-07 | 0.013549 | 0.013549 | 0.013549 | 0.98574 | -0.099555 | 0.98554 | -0.10101 | 5.0183
40 | 0.0085934 | 0.0021535 | -0.0085931 | -0.0021534 | 3.0864e-07 | 8.1331e-08 | 0.01298 | 0.01298 | 0.01298 | 0.98513 | -0.10391 | 0.98509 | -0.10417 | 4.8074
41 | 0.0062812 | 0.0015735 | -0.0062794 | -0.0015732 | 1.7308e-06 | 2.7281e-07 | 0.0094834 | 0.0094835 | 0.0094835 | 0.98554 | -0.10101 | 0.98526 | -0.103 | 3.5124
42 | -0.0011269 | -0.00028224 | 0.001127 | 0.00028195 | 4.381e-08 | -2.9184e-07 | 0.001702 | 0.0017018 | 0.001702 | 0.98522 | -0.10328 | 0.98526 | -0.103 | 0.63035
43 | 0.0011269 | 0.00028224 | -0.0011269 | -0.00028242 | 2.7086e-08 | -1.804e-07 | 0.001702 | 0.001702 | 0.001702 | 0.98522 | -0.10328 | 0.9852 | -0.10346 | 0.63038
44 | 0.0051525 | 0.0012912 | -0.005152 | -0.0012912 | 4.8422e-07 | 2.3053e-08 | 0.0077817 | 0.0077817 | 0.0077817 | 0.98526 | -0.103 | 0.98516 | -0.10368 | 2.8821
45 | 0.0063202 | 0.0015838 | -0.0063179 | -0.0015834 | 2.3497e-06 | 3.7796e-07 | 0.0095468 | 0.009547 | 0.009547 | 0.98509 | -0.10417 | 0.98472 | -0.10686 | 3.5359

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16845 | 0.042264

## res_load
| p_mw | q_mvar
0 | 0.056605 | 0.014187
1 | 0.0013341 | 0.00033436
2 | 0.0034006 | 0.00085228
3 | 0.0010454 | 0.00026201
4 | 0.0019909 | 0.00049897
5 | 0.0041637 | 0.0010435
6 | 0.0015655 | 0.00039235
7 | 0.0020339 | 0.00050975
8 | 0.0017937 | 0.00044954
9 | 0.0054591 | 0.0013682
10 | 0.0028311 | 0.00070955
11 | 0.0035012 | 0.00087749
12 | 0.0043757 | 0.0010966
13 | 0.010588 | 0.0026537
14 | 0.0021359 | 0.00053531
15 | 0.005287 | 0.001325
16 | 0.0052146 | 0.0013069
17 | 0.0080247 | 0.0020112
18 | 0.00092491 | 0.0002318
19 | 0.0035705 | 0.00089486
20 | 0.0022842 | 0.00057246
21 | 0.0096303 | 0.0024136
22 | 0.0022217 | 0.00055682
23 | 0.0028853 | 0.00072312
24 | 0.002728 | 0.0006837
25 | 0.002693 | 0.00067492
26 | 0.0011269 | 0.00028242
27 | 0.0016866 | 0.0004227
28 | 0.00085763 | 0.00021494
29 | 0.005152 | 0.0012912
30 | 0.0022728 | 0.00056962
31 | 0.0063179 | 0.0015834

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1