## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1125-28_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1125-28_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1125-28_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1125-28_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1125-28_0_3_node_31 | 0.4 | n |  | TRUE
5 | bus_LV_1125-28_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1125-28_0_3_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1125-28_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_1125-28_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1125-28_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1125-28_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1125-28_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1125-28_0_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1125-28_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1125-28_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_1125-28_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_1125-28_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1125-28_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1125-28_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1125-28_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1125-28_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1125-28_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1125-28_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1125-28_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1125-28_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1125-28_0_3_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_1125-28_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1125-28_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1125-28_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1125-28_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1125-28_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1125-28_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_1125-28_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1125-28_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1125-28_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1125-28_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1125-28_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_MV_130_0_node_155 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1125-28_0_3_load_0 | 0 | 0.0022941 | 0.00057496 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1125-28_0_3_load_2 | 2 | 0.0022371 | 0.00056066 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1125-28_0_3_load_3 | 3 | 0.0023362 | 0.00058551 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1125-28_0_3_load_31 | 4 | 0.0010584 | 0.00026526 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1125-28_0_3_load_21 | 5 | 0.00083908 | 0.00021029 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1125-28_0_3_load_19 | 7 | 0.00070233 | 0.00017602 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1125-28_0_3_load_4 | 9 | 0.0019052 | 0.00047749 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1125-28_0_3_load_5 | 10 | 0.0055176 | 0.0013828 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1125-28_0_3_load_14 | 12 | 0.0019718 | 0.00049419 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1125-28_0_3_load_17 | 14 | 0.006355 | 0.0015927 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1125-28_0_3_load_25 | 15 | 0.0012599 | 0.00031575 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1125-28_0_3_load_8 | 17 | 0.0029708 | 0.00074456 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1125-28_0_3_load_9 | 18 | 0.0027221 | 0.00068222 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1125-28_0_3_load_12 | 21 | 0.031628 | 0.0079267 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1125-28_0_3_load_13 | 22 | 0.015078 | 0.0037789 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1125-28_0_3_load_27 | 23 | 0.0015618 | 0.00039142 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1125-28_0_3_load_29 | 24 | 0.026507 | 0.0066433 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1125-28_0_3_load_40 | 25 | 0.057151 | 0.014323 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1125-28_0_3_load_22 | 26 | 0.02883 | 0.0072256 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1125-28_0_3_load_39 | 27 | 0.00055316 | 0.00013864 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1125-28_0_3_load_23 | 28 | 0.0014741 | 0.00036946 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1125-28_0_3_load_18 | 29 | 0.00055528 | 0.00013917 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1125-28_0_3_load_20 | 30 | 0.028935 | 0.0072518 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1125-28_0_3_load_33 | 31 | 0.0018752 | 0.00046998 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1125-28_0_3_load_24 | 32 | 0.0010443 | 0.00026172 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1125-28_0_3_load_26 | 33 | 0.00092221 | 0.00023113 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1125-28_0_3_load_32 | 34 | 0.0023617 | 0.00059189 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1125-28_0_3_load_37 | 35 | 0.0022358 | 0.00056034 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1125-28_0_3_load_36 | 36 | 0.0022311 | 0.00055917 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1125-28_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1125-28_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.022681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1125-28_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1125-28_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.097421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1125-28_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.082606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1125-28_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.018484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1125-28_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.018439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1125-28_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.024225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1125-28_0_3_line_8 | NAYY 4x150 SE | 6 | 31 | 0.022396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1125-28_0_3_line_9 | NAYY 4x150 SE | 7 | 29 | 0.0053333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1125-28_0_3_line_10 | NAYY 4x150 SE | 8 | 34 | 0.013212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1125-28_0_3_line_11 | NAYY 4x150 SE | 8 | 33 | 0.01306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1125-28_0_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.01268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1125-28_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.015962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1125-28_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.014135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1125-28_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.010239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1125-28_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.015537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1125-28_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.00687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1125-28_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0060633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1125-28_0_3_line_19 | NAYY 4x150 SE | 15 | 28 | 0.0048734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1125-28_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.032009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1125-28_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.049049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1125-28_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.016255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1125-28_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.020126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1125-28_0_3_line_24 | NAYY 4x150 SE | 19 | 22 | 0.028507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1125-28_0_3_line_25 | NAYY 4x150 SE | 20 | 23 | 0.026017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1125-28_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.010022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1125-28_0_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.02107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1125-28_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.018533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1125-28_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0079742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1125-28_0_3_line_30 | NAYY 4x150 SE | 26 | 30 | 0.0060088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1125-28_0_3_line_31 | NAYY 4x150 SE | 28 | 32 | 0.02418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1125-28_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.020646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1125-28_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.0017017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1125-28_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.02442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1125-28_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.023852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1125-28_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 37 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2641536.2781 | 1229706.5796 | 2641525.7977 | 1229730.6124
1 | 2641536.2781 | 1229706.5796 | 2641517.4125 | 1229693.9889
2 | 2641536.2781 | 1229706.5796 | 2641548.1266 | 1229714.6267
3 | 2641575.7969 | 1229616.0014 | 2641517.4125 | 1229693.9889
4 | 2641625.9771 | 1229742.2486 | 2641548.1266 | 1229714.6267
5 | 2641560.504 | 1229605.6196 | 2641575.7969 | 1229616.0014
6 | 2641620.1486 | 1229759.7427 | 2641625.9771 | 1229742.2486
7 | 2641625.9771 | 1229742.2486 | 2641631.8709 | 1229724.5584 | 2641633.9053 | 1229719.3635
8 | 2641620.1486 | 1229759.7427 | 2641628.88 | 1229760.1151 | 2641639.9984 | 1229768.0455
9 | 2641635.85 | 1229714.3974 | 2641633.9053 | 1229719.3635
10 | 2641560.504 | 1229605.6196 | 2641549.435 | 1229598.4061
11 | 2641560.504 | 1229605.6196 | 2641566.4761 | 1229594.0053
12 | 2641547.3833 | 1229509.5207 | 2641557.2566 | 1229517.4762
13 | 2641569.6856 | 1229527.491 | 2641557.2566 | 1229517.4762
14 | 2641569.6856 | 1229527.491 | 2641582.892 | 1229532.5308
15 | 2641588.6963 | 1229540.9654 | 2641582.892 | 1229532.5308
16 | 2641576.533 | 1229557.9465 | 2641585.6262 | 1229549.9384 | 2641586.7335 | 1229546.7022
17 | 2641576.533 | 1229557.9465 | 2641575.8172 | 1229564.7791
18 | 2641588.6963 | 1229540.9654 | 2641586.7335 | 1229546.7022
19 | 2641575.8172 | 1229564.7791 | 2641575.5752 | 1229567.0899 | 2641574.7814 | 1229569.5132
20 | 2641679.6796 | 1229564.7418 | 2641674.8095 | 1229594.3451 | 2641674.2931 | 1229596.2853
21 | 2641661.677 | 1229643.6836 | 2641674.2931 | 1229596.2853
22 | 2641682.3182 | 1229548.7028 | 2641679.6796 | 1229564.7418
23 | 2641655.9817 | 1229662.989 | 2641661.677 | 1229643.6836
24 | 2641661.677 | 1229643.6836 | 2641687.141 | 1229656.4995
25 | 2641682.3182 | 1229548.7028 | 2641657.1548 | 1229542.091
26 | 2641655.9817 | 1229662.989 | 2641652.3273 | 1229672.3208
27 | 2641705.9424 | 1229666.009 | 2641701.3068 | 1229663.629 | 2641687.141 | 1229656.4995
28 | 2641645.5693 | 1229689.5781 | 2641652.3273 | 1229672.3208
29 | 2641713.0363 | 1229669.6512 | 2641705.9424 | 1229666.009
30 | 2641643.3783 | 1229695.1732 | 2641645.5693 | 1229689.5781
31 | 2641567.2543 | 1229592.4919 | 2641574.7814 | 1229569.5132
32 | 2641643.3783 | 1229695.1732 | 2641635.85 | 1229714.3974
33 | 2641566.4761 | 1229594.0053 | 2641567.2543 | 1229592.4919 | 2641567.2543 | 1229592.4919
34 | 2641528.9762 | 1229585.0736 | 2641549.435 | 1229598.4061
35 | 2641508.9931 | 1229572.0511 | 2641528.9762 | 1229585.0736

## bus_geodata
| x | y | coords
0 | 2641525.7977 | 1229730.6124
1 | 2641536.2781 | 1229706.5796
2 | 2641517.4125 | 1229693.9889
3 | 2641548.1266 | 1229714.6267
4 | 2641575.7969 | 1229616.0014
5 | 2641625.9771 | 1229742.2486
6 | 2641620.1486 | 1229759.7427
7 | 2641633.9053 | 1229719.3635
8 | 2641560.504 | 1229605.6196
9 | 2641547.3833 | 1229509.5207
10 | 2641557.2566 | 1229517.4762
11 | 2641569.6856 | 1229527.491
12 | 2641582.892 | 1229532.5308
13 | 2641576.533 | 1229557.9465
14 | 2641586.7335 | 1229546.7022
15 | 2641575.8172 | 1229564.7791
16 | 2641588.6963 | 1229540.9654
17 | 2641674.2931 | 1229596.2853
18 | 2641679.6796 | 1229564.7418
19 | 2641661.677 | 1229643.6836
20 | 2641682.3182 | 1229548.7028
21 | 2641655.9817 | 1229662.9891
22 | 2641687.141 | 1229656.4995
23 | 2641657.1548 | 1229542.091
24 | 2641652.3273 | 1229672.3208
25 | 2641705.9424 | 1229666.009
26 | 2641645.5693 | 1229689.5781
27 | 2641713.0363 | 1229669.6512
28 | 2641574.7814 | 1229569.5132
29 | 2641635.85 | 1229714.3974
30 | 2641643.3783 | 1229695.1732
31 | 2641639.9984 | 1229768.0455
32 | 2641567.2543 | 1229592.4919
33 | 2641566.4761 | 1229594.0053
34 | 2641549.435 | 1229598.4061
35 | 2641528.9762 | 1229585.0736
36 | 2641508.9931 | 1229572.0511
37 | 2641661.677 | 1229643.6836

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98815 | -0.082865 | 0.0022941 | 0.00057496
1 | 0.98823 | -0.08225 | 0 | 0
2 | 0.98723 | -0.089351 | 0.0022371 | 0.00056066
3 | 0.98892 | -0.077437 | 0.0023362 | 0.00058551
4 | 0.98322 | -0.11776 | 0.0010584 | 0.00026526
5 | 0.99314 | -0.047853 | 0.00083908 | 0.00021029
6 | 0.99309 | -0.048204 | 0 | 0
7 | 0.99447 | -0.038559 | 0.00070233 | 0.00017602
8 | 0.98248 | -0.12297 | 0 | 0
9 | 0.98018 | -0.13939 | 0.0019052 | 0.00047749
10 | 0.98022 | -0.13914 | 0.0055176 | 0.0013828
11 | 0.98039 | -0.13791 | 0 | 0
12 | 0.98054 | -0.13682 | 0.0019718 | 0.00049419
13 | 0.98112 | -0.13269 | 0 | 0
14 | 0.98076 | -0.13523 | 0.006355 | 0.0015927
15 | 0.98128 | -0.13157 | 0.0012599 | 0.00031575
16 | 0.98068 | -0.13582 | 0 | 0
17 | 0.99718 | -0.019692 | 0.0029708 | 0.00074456
18 | 0.99698 | -0.02107 | 0.0027221 | 0.00068222
19 | 0.99769 | -0.016118 | 0 | 0
20 | 0.99695 | -0.021326 | 0 | 0
21 | 1 | 0 | -0.20565 | -0.051512
22 | 0.99471 | -0.036984 | 0.015078 | 0.0037789
23 | 0.99689 | -0.021734 | 0.0015618 | 0.00039142
24 | 0.99911 | -0.0061819 | 0.026507 | 0.0066433
25 | 0.99297 | -0.04927 | 0.057151 | 0.014323
26 | 0.99653 | -0.024201 | 0.02883 | 0.0072256
27 | 0.99296 | -0.049315 | 0.00055316 | 0.00013864
28 | 0.9814 | -0.13071 | 0.0014741 | 0.00036946
29 | 0.99477 | -0.036478 | 0.00055528 | 0.00013917
30 | 0.99594 | -0.02832 | 0.028935 | 0.0072518
31 | 0.99303 | -0.048629 | 0.0018752 | 0.00046998
32 | 0.98205 | -0.12608 | 0.0010443 | 0.00026172
33 | 0.9821 | -0.12574 | 0.00092221 | 0.00023113
34 | 0.98235 | -0.12391 | 0.0023617 | 0.00059189
35 | 0.98219 | -0.12504 | 0.0022358 | 0.00056034
36 | 0.98212 | -0.12559 | 0.0022311 | 0.00055917
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0022941 | -0.00057496 | 0.0022943 | 0.0005747 | 1.9525e-07 | -2.608e-07 | 0.0034546 | 0.0034545 | 0.0034546 | 0.98815 | -0.082865 | 0.98823 | -0.08225 | 1.2795
1 | 0.030773 | 0.0077351 | -0.030743 | -0.0077237 | 3.0398e-05 | 1.1401e-05 | 0.046345 | 0.046345 | 0.046345 | 0.98823 | -0.08225 | 0.98723 | -0.089351 | 17.1647
2 | -0.033068 | -0.0083098 | 0.03309 | 0.0083182 | 2.2164e-05 | 8.3412e-06 | 0.049799 | 0.049799 | 0.049799 | 0.98823 | -0.08225 | 0.98892 | -0.077437 | 18.4441
3 | 0.028506 | 0.0071631 | -0.028394 | -0.0071211 | 0.00011226 | 4.1937e-05 | 0.042973 | 0.042973 | 0.042973 | 0.98723 | -0.089351 | 0.98322 | -0.11776 | 15.916
4 | -0.035426 | -0.0089037 | 0.035573 | 0.008959 | 0.00014651 | 5.5287e-05 | 0.053314 | 0.053314 | 0.053314 | 0.98892 | -0.077437 | 0.99314 | -0.047853 | 19.746
5 | 0.027335 | 0.0068559 | -0.027316 | -0.0068485 | 1.9742e-05 | 7.3587e-06 | 0.041372 | 0.041372 | 0.041372 | 0.98322 | -0.11776 | 0.98248 | -0.12297 | 15.3228
6 | 0.0018754 | 0.00046953 | -0.0018753 | -0.00046973 | 9.0844e-08 | -2.0365e-07 | 0.0028098 | 0.0028099 | 0.0028099 | 0.99314 | -0.047853 | 0.99309 | -0.048204 | 1.0407
7 | -0.038287 | -0.0096388 | 0.038337 | 0.0096576 | 4.9772e-05 | 1.8829e-05 | 0.057381 | 0.057381 | 0.057381 | 0.99314 | -0.047853 | 0.99447 | -0.038559 | 21.2522
8 | 0.0018753 | 0.00046973 | -0.0018752 | -0.00046998 | 1.1034e-07 | -2.4732e-07 | 0.0028099 | 0.00281 | 0.00281 | 0.99309 | -0.048204 | 0.99303 | -0.048629 | 1.0407
9 | -0.039039 | -0.0098336 | 0.039051 | 0.0098379 | 1.1363e-05 | 4.301e-06 | 0.058432 | 0.058432 | 0.058432 | 0.99447 | -0.038559 | 0.99477 | -0.036478 | 21.6414
10 | 0.0068303 | 0.0017113 | -0.0068294 | -0.0017111 | 8.8223e-07 | 1.7203e-07 | 0.010345 | 0.010345 | 0.010345 | 0.98248 | -0.12297 | 0.98235 | -0.12391 | 3.8314
11 | 0.020485 | 0.0051372 | -0.020477 | -0.0051344 | 7.8451e-06 | 2.852e-06 | 0.031027 | 0.031027 | 0.031027 | 0.98248 | -0.12297 | 0.9821 | -0.12574 | 11.4915
12 | -0.0019052 | -0.00047749 | 0.0019053 | 0.00047736 | 6.6187e-08 | -1.3437e-07 | 0.0028923 | 0.0028923 | 0.0028923 | 0.98018 | -0.13939 | 0.98022 | -0.13914 | 1.0712
13 | -0.0074228 | -0.0018602 | 0.0074241 | 0.0018605 | 1.2646e-06 | 2.8516e-07 | 0.011268 | 0.011268 | 0.011268 | 0.98022 | -0.13914 | 0.98039 | -0.13791 | 4.1734
14 | -0.0074241 | -0.0018605 | 0.0074252 | 0.0018607 | 1.1199e-06 | 2.5247e-07 | 0.011268 | 0.011268 | 0.011268 | 0.98039 | -0.13791 | 0.98054 | -0.13682 | 4.1734
15 | -0.0093971 | -0.0023549 | 0.0093984 | 0.0023553 | 1.2993e-06 | 3.7055e-07 | 0.01426 | 0.01426 | 0.01426 | 0.98054 | -0.13682 | 0.98068 | -0.13582 | 5.2816
16 | 0.01576 | 0.0039501 | -0.015754 | -0.0039482 | 5.539e-06 | 1.9342e-06 | 0.023902 | 0.023902 | 0.023902 | 0.98112 | -0.13269 | 0.98076 | -0.13523 | 8.8526
17 | -0.01576 | -0.0039501 | 0.015762 | 0.003951 | 2.4491e-06 | 8.552e-07 | 0.023902 | 0.023902 | 0.023902 | 0.98112 | -0.13269 | 0.98128 | -0.13157 | 8.8526
18 | 0.0093991 | 0.0023555 | -0.0093984 | -0.0023553 | 7.694e-07 | 2.1941e-07 | 0.01426 | 0.01426 | 0.01426 | 0.98076 | -0.13523 | 0.98068 | -0.13582 | 5.2816
19 | -0.017022 | -0.0042668 | 0.017024 | 0.0042675 | 2.0262e-06 | 7.1773e-07 | 0.025812 | 0.025812 | 0.025812 | 0.98128 | -0.13157 | 0.9814 | -0.13071 | 9.5602
20 | 0.0042848 | 0.001073 | -0.004284 | -0.0010731 | 8.1651e-07 | -1.0345e-07 | 0.0063936 | 0.0063938 | 0.0063938 | 0.99718 | -0.019692 | 0.99698 | -0.02107 | 2.3681
21 | -0.0072556 | -0.0018176 | 0.0072592 | 0.0018183 | 3.5875e-06 | 7.3964e-07 | 0.010827 | 0.010827 | 0.010827 | 0.99718 | -0.019692 | 0.99769 | -0.016118 | 4.0099
22 | 0.0015619 | 0.00039092 | -0.0015619 | -0.00039111 | 5.5114e-08 | -1.9076e-07 | 0.002331 | 0.0023311 | 0.0023311 | 0.99698 | -0.02107 | 0.99695 | -0.021326 | 0.86337
23 | -0.080352 | -0.020178 | 0.080532 | 0.020247 | 0.00018041 | 6.9124e-05 | 0.11986 | 0.11986 | 0.11986 | 0.99769 | -0.016118 | 1 | 0 | 44.3908
24 | 0.073092 | 0.018359 | -0.072881 | -0.018278 | 0.00021146 | 8.0959e-05 | 0.10903 | 0.10903 | 0.10903 | 0.99769 | -0.016118 | 0.99471 | -0.036984 | 40.3811
25 | 0.0015619 | 0.00039111 | -0.0015618 | -0.00039142 | 8.8224e-08 | -3.053e-07 | 0.0023311 | 0.0023312 | 0.0023312 | 0.99695 | -0.021326 | 0.99689 | -0.021734 | 0.86341
26 | 0.12431 | 0.031265 | -0.12421 | -0.031224 | 0.00010704 | 4.0906e-05 | 0.18502 | 0.18502 | 0.18502 | 1 | 0 | 0.99911 | -0.0061819 | 34.2631
27 | 0.057803 | 0.0145 | -0.057704 | -0.014462 | 9.8311e-05 | 3.7539e-05 | 0.086473 | 0.086473 | 0.086473 | 0.99471 | -0.036984 | 0.99297 | -0.04927 | 32.0271
28 | 0.097701 | 0.024581 | -0.097456 | -0.024487 | 0.00024498 | 9.3979e-05 | 0.14554 | 0.14554 | 0.14554 | 0.99911 | -0.0061819 | 0.99653 | -0.024201 | 53.9049
29 | 0.00055317 | 0.00013853 | -0.00055316 | -0.00013864 | 3.4191e-09 | -1.0183e-07 | 0.00082891 | 0.00082895 | 0.00082895 | 0.99297 | -0.04927 | 0.99296 | -0.049315 | 0.30702
30 | 0.068625 | 0.017261 | -0.068586 | -0.017246 | 3.9388e-05 | 1.5071e-05 | 0.10249 | 0.10249 | 0.10249 | 0.99653 | -0.024201 | 0.99594 | -0.02832 | 37.9605
31 | -0.018498 | -0.0046369 | 0.01851 | 0.0046412 | 1.187e-05 | 4.2595e-06 | 0.028048 | 0.028047 | 0.028048 | 0.9814 | -0.13071 | 0.98205 | -0.12608 | 10.388
32 | -0.039606 | -0.0099771 | 0.039651 | 0.0099942 | 4.5245e-05 | 1.7134e-05 | 0.059262 | 0.059262 | 0.059262 | 0.99477 | -0.036478 | 0.99594 | -0.02832 | 21.949
33 | -0.019554 | -0.0049029 | 0.019555 | 0.0049032 | 9.3225e-07 | 3.3703e-07 | 0.02963 | 0.02963 | 0.02963 | 0.98205 | -0.12608 | 0.9821 | -0.12574 | 10.974
34 | 0.0044677 | 0.0011192 | -0.004467 | -0.0011193 | 6.9785e-07 | -4.0707e-08 | 0.0067673 | 0.0067674 | 0.0067674 | 0.98235 | -0.12391 | 0.98219 | -0.12504 | 2.5065
35 | 0.0022313 | 0.00055893 | -0.0022311 | -0.00055917 | 1.7007e-07 | -2.3644e-07 | 0.0033803 | 0.0033804 | 0.0033804 | 0.98219 | -0.12504 | 0.98212 | -0.12559 | 1.252

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23727 | 0.059439

## res_load
| p_mw | q_mvar
0 | 0.0022941 | 0.00057496
1 | 0.0022371 | 0.00056066
2 | 0.0023362 | 0.00058551
3 | 0.0010584 | 0.00026526
4 | 0.00083908 | 0.00021029
5 | 0.00070233 | 0.00017602
6 | 0.0019052 | 0.00047749
7 | 0.0055176 | 0.0013828
8 | 0.0019718 | 0.00049419
9 | 0.006355 | 0.0015927
10 | 0.0012599 | 0.00031575
11 | 0.0029708 | 0.00074456
12 | 0.0027221 | 0.00068222
13 | 0.031628 | 0.0079267
14 | 0.015078 | 0.0037789
15 | 0.0015618 | 0.00039142
16 | 0.026507 | 0.0066433
17 | 0.057151 | 0.014323
18 | 0.02883 | 0.0072256
19 | 0.00055316 | 0.00013864
20 | 0.0014741 | 0.00036946
21 | 0.00055528 | 0.00013917
22 | 0.028935 | 0.0072518
23 | 0.0018752 | 0.00046998
24 | 0.0010443 | 0.00026172
25 | 0.00092221 | 0.00023113
26 | 0.0023617 | 0.00059189
27 | 0.0022358 | 0.00056034
28 | 0.0022311 | 0.00055917

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1