## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1125-30_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1125-30_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1125-30_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1125-30_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1125-30_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1125-30_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1125-30_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1125-30_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_1125-30_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1125-30_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1125-30_0_3_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_1125-30_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1125-30_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1125-30_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1125-30_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1125-30_0_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_1125-30_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1125-30_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1125-30_0_3_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_1125-30_0_3_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1125-30_0_3_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1125-30_0_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1125-30_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1125-30_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1125-30_0_3_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_1125-30_0_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_1125-30_0_3_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_1125-30_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_1125-30_0_3_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_1125-30_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_1125-30_0_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_1125-30_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1125-30_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1125-30_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1125-30_0_3_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_1125-30_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1125-30_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1125-30_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1125-30_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_1125-30_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1125-30_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1125-30_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_1125-30_0_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_1125-30_0_3_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_1125-30_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_1125-30_0_3_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_1125-30_0_3_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_1125-30_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_1125-30_0_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_1125-30_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1125-30_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1125-30_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_MV_130_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1125-30_0_3_load_0 | 0 | 0.0024093 | 0.00060383 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1125-30_0_3_load_9 | 4 | 0.0026755 | 0.00067055 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1125-30_0_3_load_10 | 5 | 0.00597 | 0.0014962 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1125-30_0_3_load_21 | 7 | 0.0034393 | 0.00086197 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1125-30_0_3_load_18 | 9 | 0.017102 | 0.0042861 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1125-30_0_3_load_44 | 10 | 0.0040142 | 0.001006 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1125-30_0_3_load_22 | 12 | 0.0016513 | 0.00041386 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1125-30_0_3_load_27 | 15 | 0.0075261 | 0.0018862 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1125-30_0_3_load_11 | 16 | 0.0093705 | 0.0023485 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1125-30_0_3_load_59 | 18 | 0.0062182 | 0.0015584 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1125-30_0_3_load_25 | 21 | 0.0039453 | 0.00098878 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1125-30_0_3_load_26 | 22 | 0.0078322 | 0.0019629 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1125-30_0_3_load_54 | 25 | 0.0039236 | 0.00098336 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1125-30_0_3_load_53 | 26 | 0.019351 | 0.0048498 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1125-30_0_3_load_13 | 27 | 0.0044735 | 0.0011212 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1125-30_0_3_load_12 | 28 | 0.0036645 | 0.00091842 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1125-30_0_3_load_32 | 31 | 0.0014607 | 0.00036609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1125-30_0_3_load_30 | 32 | 0.0020224 | 0.00050685 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1125-30_0_3_load_43 | 34 | 0.002717 | 0.00068095 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1125-30_0_3_load_29 | 35 | 0.0014419 | 0.00036136 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1125-30_0_3_load_42 | 38 | 0.010577 | 0.0026508 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1125-30_0_3_load_39 | 39 | 0.005985 | 0.0015 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1125-30_0_3_load_38 | 40 | 0.005567 | 0.0013952 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1125-30_0_3_load_48 | 41 | 0.0045166 | 0.001132 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1125-30_0_3_load_56 | 42 | 0.0024073 | 0.00060332 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1125-30_0_3_load_55 | 43 | 0.0019297 | 0.00048362 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1125-30_0_3_load_57 | 46 | 0.0026105 | 0.00065424 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1125-30_0_3_load_58 | 48 | 0.0030071 | 0.00075364 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1125-30_0_3_load_49 | 49 | 0.0060329 | 0.001512 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1125-30_0_3_load_45 | 50 | 0.0060786 | 0.0015235 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1125-30_0_3_load_46 | 51 | 0.0010507 | 0.00026334 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1125-30_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0062875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1125-30_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1125-30_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0083657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1125-30_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.030792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1125-30_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1125-30_0_3_line_5 | NAYY 4x150 SE | 3 | 8 | 0.010932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1125-30_0_3_line_6 | NAYY 4x150 SE | 4 | 16 | 0.020054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1125-30_0_3_line_7 | NAYY 4x150 SE | 5 | 14 | 0.037694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1125-30_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.047779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1125-30_0_3_line_9 | NAYY 4x150 SE | 6 | 8 | 0.0083033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1125-30_0_3_line_10 | NAYY 4x150 SE | 6 | 9 | 0.030403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1125-30_0_3_line_11 | NAYY 4x150 SE | 7 | 11 | 0.016531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1125-30_0_3_line_12 | NAYY 4x150 SE | 8 | 10 | 0.014547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1125-30_0_3_line_13 | NAYY 4x150 SE | 10 | 20 | 0.005824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1125-30_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.055204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1125-30_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.004549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1125-30_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.003687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1125-30_0_3_line_17 | NAYY 4x150 SE | 14 | 27 | 0.00021047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1125-30_0_3_line_18 | NAYY 4x150 SE | 15 | 22 | 0.018806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1125-30_0_3_line_19 | NAYY 4x150 SE | 16 | 28 | 0.003076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1125-30_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.012785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1125-30_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.019264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1125-30_0_3_line_22 | NAYY 4x150 SE | 17 | 20 | 0.003772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1125-30_0_3_line_23 | NAYY 4x150 SE | 19 | 35 | 0.025978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1125-30_0_3_line_24 | NAYY 4x150 SE | 19 | 33 | 0.014555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1125-30_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.018078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1125-30_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.005605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1125-30_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.045036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1125-30_0_3_line_28 | NAYY 4x150 SE | 24 | 41 | 0.023863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1125-30_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.0087966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1125-30_0_3_line_30 | NAYY 4x150 SE | 25 | 29 | 0.054774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1125-30_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.082602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1125-30_0_3_line_32 | NAYY 4x150 SE | 30 | 40 | 0.027749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1125-30_0_3_line_33 | NAYY 4x150 SE | 30 | 37 | 0.021596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1125-30_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.023679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1125-30_0_3_line_35 | NAYY 4x150 SE | 32 | 35 | 0.015436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1125-30_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.00596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1125-30_0_3_line_37 | NAYY 4x150 SE | 34 | 37 | 0.015827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1125-30_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.004646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1125-30_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0056819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1125-30_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.036727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1125-30_0_3_line_41 | NAYY 4x150 SE | 41 | 51 | 0.022929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1125-30_0_3_line_42 | NAYY 4x150 SE | 42 | 43 | 0.019217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1125-30_0_3_line_43 | NAYY 4x150 SE | 43 | 46 | 0.021279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1125-30_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.011522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1125-30_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.034166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1125-30_0_3_line_46 | NAYY 4x150 SE | 44 | 47 | 0.066343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1125-30_0_3_line_47 | NAYY 4x150 SE | 45 | 48 | 0.023063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1125-30_0_3_line_48 | NAYY 4x150 SE | 47 | 49 | 0.028363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1125-30_0_3_line_49 | NAYY 4x150 SE | 47 | 50 | 0.015367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1125-30_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.035999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1125-30_0_3_trafo_38 | 0.25 MVA 20/0.4 kV | 52 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2641557.7604 | 1229379.1494 | 2641554.3175 | 1229384.4105
1 | 2641542.3695 | 1229402.6676 | 2641554.3175 | 1229384.4105
2 | 2641557.7604 | 1229379.1494 | 2641561.0859 | 1229381.3518 | 2641564.7432 | 1229383.7566
3 | 2641542.3695 | 1229402.6676 | 2641521.7163 | 1229387.8255 | 2641517.5977 | 1229384.3972
4 | 2641542.3695 | 1229402.6676 | 2641535.8177 | 1229413.1173
5 | 2641564.7432 | 1229383.7566 | 2641566.6437 | 1229381.7242 | 2641571.3566 | 1229375.0752
6 | 2641517.5977 | 1229384.3972 | 2641502.1846 | 1229371.5675
7 | 2641515.7944 | 1229445.0529 | 2641535.8177 | 1229413.1173
8 | 2641564.6027 | 1229370.2473 | 2641582.37 | 1229348.1799 | 2641596.6039 | 1229334.9271
9 | 2641564.6027 | 1229370.2473 | 2641565.3187 | 1229370.7748 | 2641567.67 | 1229372.5256 | 2641571.3566 | 1229375.0752
10 | 2641564.6027 | 1229370.2473 | 2641554.2914 | 1229360.636 | 2641542.8483 | 1229349.0181
11 | 2641609.5263 | 1229324.6329 | 2641598.5125 | 1229333.1501 | 2641596.6039 | 1229334.9271
12 | 2641571.3566 | 1229375.0752 | 2641577.5839 | 1229379.388 | 2641582.985 | 1229383.7963
13 | 2641587.3134 | 1229387.6833 | 2641585.2369 | 1229385.6342 | 2641582.985 | 1229383.7963
14 | 2641609.5263 | 1229324.6329 | 2641569.0018 | 1229287.1459
15 | 2641519.6025 | 1229447.5588 | 2641515.7944 | 1229445.0529
16 | 2641519.6025 | 1229447.5588 | 2641522.6867 | 1229449.5926
17 | 2641515.7944 | 1229445.0529 | 2641515.6826 | 1229445.2312
18 | 2641522.6867 | 1229449.5926 | 2641532.9186 | 1229433.8137
19 | 2641499.8205 | 1229369.5996 | 2641502.1846 | 1229371.5675
20 | 2641585.1404 | 1229390.77 | 2641577.7947 | 1229401.2474
21 | 2641599.0923 | 1229404.0757 | 2641598.1822 | 1229403.1354 | 2641595.2789 | 1229400.1578 | 2641592.5186 | 1229397.3145 | 2641585.1404 | 1229390.77
22 | 2641585.1404 | 1229390.77 | 2641587.3134 | 1229387.6833
23 | 2641599.0923 | 1229404.0757 | 2641597.3481 | 1229406.5095 | 2641584.4806 | 1229425.5536
24 | 2641599.0923 | 1229404.0757 | 2641600.7173 | 1229405.6992 | 2641601.4262 | 1229405.0704 | 2641603.3395 | 1229403.3716 | 2641609.6224 | 1229409.4638
25 | 2641532.9186 | 1229433.8137 | 2641535.2609 | 1229430.2017 | 2641542.4356 | 1229418.445
26 | 2641780.2606 | 1229399.6195 | 2641776.1881 | 1229403.4822
27 | 2641776.1881 | 1229403.4822 | 2641762.415 | 1229416.5714 | 2641744.9301 | 1229435.8616
28 | 2641780.2606 | 1229399.6195 | 2641787.3876 | 1229406.307 | 2641798.8962 | 1229414.4354
29 | 2641780.2606 | 1229399.6195 | 2641775.3118 | 1229392.3469
30 | 2641709.6876 | 1229477.3949 | 2641711.4547 | 1229472.7933 | 2641744.9301 | 1229435.8616
31 | 2641643.1349 | 1229436.7038 | 2641661.0967 | 1229447.4583 | 2641692.9945 | 1229476.9665 | 2641700.4591 | 1229479.7984 | 2641702.3197 | 1229478.0548 | 2641704.6527 | 1229477.0038 | 2641707.1997 | 1229476.777 | 2641709.6876 | 1229477.3949
32 | 2641643.1349 | 1229436.7038 | 2641647.2524 | 1229431.8074 | 2641652.8074 | 1229428.244 | 2641660.4502 | 1229420.7818 | 2641661.1006 | 1229418.774 | 2641661.0083 | 1229416.8166 | 2641661.0083 | 1229416.8166
33 | 2641643.1349 | 1229436.7038 | 2641632.1793 | 1229430.4344 | 2641625.4259 | 1229424.4613
34 | 2641578.9936 | 1229439.8087 | 2641578.7027 | 1229440.4224 | 2641576.4755 | 1229448.0115 | 2641575.2679 | 1229453.8845 | 2641574.1563 | 1229462.911
35 | 2641578.9936 | 1229439.8087 | 2641582.3164 | 1229432.7985 | 2641583.6678 | 1229430.2063 | 2641584.3508 | 1229427.8763 | 2641584.4806 | 1229425.5536 | 2641584.4806 | 1229425.5536
36 | 2641609.6224 | 1229409.4638 | 2641613.9307 | 1229413.582
37 | 2641625.4259 | 1229424.4613 | 2641620.2027 | 1229419.5773 | 2641613.9307 | 1229413.582
38 | 2641624.2052 | 1229428.9444 | 2641625.4259 | 1229424.4613
39 | 2641624.2052 | 1229428.9444 | 2641623.902 | 1229430.0541 | 2641624.0458 | 1229432.2342 | 2641625.4982 | 1229434.0774
40 | 2641661.0083 | 1229416.8166 | 2641659.169 | 1229414.4244 | 2641653.728 | 1229410.3616 | 2641652.7309 | 1229408.8648 | 2641652.6833 | 1229407.0189 | 2641666.1181 | 1229388.0141
41 | 2641817.625 | 1229427.6634 | 2641798.8962 | 1229414.4354
42 | 2641854.3603 | 1229496.8853 | 2641835.1705 | 1229495.8596
43 | 2641854.3603 | 1229496.8853 | 2641875.6087 | 1229498.021
44 | 2641909.7414 | 1229499.5136 | 2641921.2893 | 1229499.0724
45 | 2641909.7414 | 1229499.5136 | 2641884.8634 | 1229498.5156 | 2641875.6087 | 1229498.021
46 | 2641859.6402 | 1229457.2127 | 2641871.984 | 1229466.4163 | 2641875.3083 | 1229468.7522 | 2641901.7142 | 1229487.3051 | 2641907.6728 | 1229496.3637 | 2641909.7414 | 1229499.5136
47 | 2641921.2893 | 1229499.0724 | 2641915.3113 | 1229521.3468
48 | 2641859.6402 | 1229457.2127 | 2641877.7554 | 1229435.3488
49 | 2641859.6402 | 1229457.2127 | 2641847.0361 | 1229448.4221
50 | 2641847.0361 | 1229448.4221 | 2641845.4529 | 1229447.3179 | 2641817.625 | 1229427.6634

## bus_geodata
| x | y | coords
0 | 2641554.3175 | 1229384.4105
1 | 2641557.7604 | 1229379.1494
2 | 2641542.3695 | 1229402.6676
3 | 2641564.7432 | 1229383.7566
4 | 2641517.5977 | 1229384.3972
5 | 2641535.8177 | 1229413.1173
6 | 2641564.6027 | 1229370.2473
7 | 2641596.6039 | 1229334.9271
8 | 2641571.3566 | 1229375.0752
9 | 2641542.8483 | 1229349.0181
10 | 2641582.985 | 1229383.7963
11 | 2641609.5263 | 1229324.6329
12 | 2641569.0018 | 1229287.1459
13 | 2641519.6025 | 1229447.5588
14 | 2641515.7944 | 1229445.0529
15 | 2641522.6867 | 1229449.5926
16 | 2641502.1846 | 1229371.5675
17 | 2641585.1404 | 1229390.77
18 | 2641577.7947 | 1229401.2474
19 | 2641599.0923 | 1229404.0757
20 | 2641587.3134 | 1229387.6833
21 | 2641542.4356 | 1229418.445
22 | 2641532.9186 | 1229433.8137
23 | 2641776.1881 | 1229403.4822
24 | 2641780.2606 | 1229399.6195
25 | 2641744.9301 | 1229435.8616
26 | 2641775.3118 | 1229392.3469
27 | 2641515.6826 | 1229445.2312
28 | 2641499.8205 | 1229369.5996
29 | 2641709.6876 | 1229477.3949
30 | 2641643.1349 | 1229436.7038
31 | 2641574.1563 | 1229462.911
32 | 2641578.9936 | 1229439.8087
33 | 2641609.6224 | 1229409.4638
34 | 2641613.9307 | 1229413.582
35 | 2641584.4806 | 1229425.5536
36 | 2641624.2052 | 1229428.9444
37 | 2641625.4259 | 1229424.4613
38 | 2641625.4982 | 1229434.0774
39 | 2641666.1181 | 1229388.0141
40 | 2641661.0083 | 1229416.8166
41 | 2641798.8962 | 1229414.4354
42 | 2641835.1705 | 1229495.8596
43 | 2641854.3603 | 1229496.8853
44 | 2641909.7414 | 1229499.5136
45 | 2641921.2893 | 1229499.0724
46 | 2641875.6087 | 1229498.021
47 | 2641859.6402 | 1229457.2127
48 | 2641915.3113 | 1229521.3468
49 | 2641877.7554 | 1229435.3488
50 | 2641847.0361 | 1229448.4221
51 | 2641817.625 | 1229427.6634
52 | 2641643.1349 | 1229436.7038

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98281 | -0.12031 | 0.0024093 | 0.00060383
1 | 0.98325 | -0.1172 | 0 | 0
2 | 0.98137 | -0.13058 | 0 | 0
3 | 0.98383 | -0.11307 | 0 | 0
4 | 0.98067 | -0.1356 | 0.0026755 | 0.00067055
5 | 0.98084 | -0.13439 | 0.00597 | 0.0014962
6 | 0.98433 | -0.10958 | 0 | 0
7 | 0.98398 | -0.11209 | 0.0034393 | 0.00086197
8 | 0.9846 | -0.10768 | 0 | 0
9 | 0.98358 | -0.11494 | 0.017102 | 0.0042861
10 | 0.98608 | -0.097197 | 0.0040142 | 0.001006
11 | 0.98394 | -0.11237 | 0 | 0
12 | 0.98381 | -0.11331 | 0.0016513 | 0.00041386
13 | 0.97941 | -0.14461 | 0 | 0
14 | 0.97953 | -0.1437 | 0 | 0
15 | 0.9793 | -0.14535 | 0.0075261 | 0.0018862
16 | 0.98029 | -0.13831 | 0.0093705 | 0.0023485
17 | 0.98711 | -0.089905 | 0 | 0
18 | 0.98699 | -0.09072 | 0.0062182 | 0.0015584
19 | 0.98935 | -0.074091 | 0 | 0
20 | 0.9867 | -0.09277 | 0 | 0
21 | 0.97888 | -0.1484 | 0.0039453 | 0.00098878
22 | 0.97898 | -0.14766 | 0.0078322 | 0.0019629
23 | 0.98377 | -0.11353 | 0 | 0
24 | 0.98338 | -0.11625 | 0 | 0
25 | 0.98684 | -0.091765 | 0.0039236 | 0.00098336
26 | 0.98314 | -0.11801 | 0.019351 | 0.0048498
27 | 0.97953 | -0.14371 | 0.0044735 | 0.0011212
28 | 0.98027 | -0.13843 | 0.0036645 | 0.00091842
29 | 0.99089 | -0.063284 | 0 | 0
30 | 0.99699 | -0.020767 | 0 | 0
31 | 0.98904 | -0.076299 | 0.0014607 | 0.00036609
32 | 0.98909 | -0.075946 | 0.0020224 | 0.00050685
33 | 0.99115 | -0.061461 | 0 | 0
34 | 0.99189 | -0.056302 | 0.002717 | 0.00068095
35 | 0.98917 | -0.075397 | 0.0014419 | 0.00036136
36 | 0.99384 | -0.042701 | 0 | 0
37 | 0.99391 | -0.042205 | 0 | 0
38 | 0.99375 | -0.043309 | 0.010577 | 0.0026508
39 | 0.99969 | -0.0021951 | 0.005985 | 0.0015
40 | 1 | 0 | -0.1587 | -0.039894
41 | 0.98242 | -0.12307 | 0.0045166 | 0.001132
42 | 0.97863 | -0.15016 | 0.0024073 | 0.00060332
43 | 0.9787 | -0.14967 | 0.0019297 | 0.00048362
44 | 0.97918 | -0.14624 | 0 | 0
45 | 0.97913 | -0.1466 | 0 | 0
46 | 0.97883 | -0.14871 | 0.0026105 | 0.00065424
47 | 0.98014 | -0.13936 | 0 | 0
48 | 0.97903 | -0.14732 | 0.0030071 | 0.00075364
49 | 0.97989 | -0.14114 | 0.0060329 | 0.001512
50 | 0.9805 | -0.13681 | 0.0060786 | 0.0015235
51 | 0.98165 | -0.12856 | 0.0010507 | 0.00026334
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.048003 | -0.012047 | 0.048023 | 0.012055 | 2.0727e-05 | 7.8922e-06 | 0.072684 | 0.072684 | 0.072684 | 0.98281 | -0.12031 | 0.98325 | -0.1172 | 26.9198
1 | 0.045593 | 0.011443 | -0.045529 | -0.011418 | 6.4889e-05 | 2.4681e-05 | 0.069036 | 0.069036 | 0.069036 | 0.98281 | -0.12031 | 0.98137 | -0.13058 | 25.5688
2 | -0.048023 | -0.012055 | 0.048051 | 0.012065 | 2.7578e-05 | 1.0501e-05 | 0.072684 | 0.072684 | 0.072684 | 0.98325 | -0.1172 | 0.98383 | -0.11307 | 26.9198
3 | 0.015726 | 0.0039429 | -0.015716 | -0.0039391 | 1.0926e-05 | 3.8134e-06 | 0.023846 | 0.023846 | 0.023846 | 0.98137 | -0.13058 | 0.98067 | -0.1356 | 8.8319
4 | 0.029802 | 0.0074753 | -0.029786 | -0.0074694 | 1.5717e-05 | 5.8891e-06 | 0.04519 | 0.04519 | 0.04519 | 0.98137 | -0.13058 | 0.98084 | -0.13439 | 16.737
5 | -0.048051 | -0.012065 | 0.048087 | 0.012079 | 3.6039e-05 | 1.3722e-05 | 0.072684 | 0.072683 | 0.072684 | 0.98383 | -0.11307 | 0.9846 | -0.10768 | 26.9198
6 | 0.01304 | 0.0032685 | -0.013035 | -0.0032669 | 4.8991e-06 | 1.6314e-06 | 0.019786 | 0.019786 | 0.019786 | 0.98067 | -0.1356 | 0.98029 | -0.13831 | 7.3283
7 | 0.023816 | 0.0059732 | -0.023786 | -0.0059618 | 3.0709e-05 | 1.1336e-05 | 0.036133 | 0.036133 | 0.036133 | 0.98084 | -0.13439 | 0.97953 | -0.1437 | 13.3827
8 | 0.0050927 | 0.0012751 | -0.0050909 | -0.001275 | 1.7669e-06 | 7.2454e-08 | 0.0076982 | 0.0076984 | 0.0076984 | 0.98433 | -0.10958 | 0.98398 | -0.11209 | 2.8513
9 | -0.022207 | -0.0055657 | 0.022213 | 0.0055679 | 5.8392e-06 | 2.1403e-06 | 0.033571 | 0.033571 | 0.033571 | 0.98433 | -0.10958 | 0.9846 | -0.10768 | 12.4336
10 | 0.017115 | 0.0042906 | -0.017102 | -0.0042861 | 1.2699e-05 | 4.4982e-06 | 0.025873 | 0.025873 | 0.025873 | 0.98433 | -0.10958 | 0.98358 | -0.11494 | 9.5825
11 | 0.0016516 | 0.00041306 | -0.0016515 | -0.00041324 | 6.4334e-08 | -1.8522e-07 | 0.0024973 | 0.0024974 | 0.0024974 | 0.98398 | -0.11209 | 0.98394 | -0.11237 | 0.92496
12 | -0.0703 | -0.017647 | 0.070403 | 0.017686 | 0.00010248 | 3.923e-05 | 0.10625 | 0.10625 | 0.10625 | 0.9846 | -0.10768 | 0.98608 | -0.097197 | 39.3534
13 | -0.074417 | -0.018692 | 0.074463 | 0.018709 | 4.5841e-05 | 1.7557e-05 | 0.11231 | 0.11231 | 0.11231 | 0.98608 | -0.097197 | 0.9867 | -0.09277 | 41.5969
14 | 0.0016515 | 0.00041324 | -0.0016513 | -0.00041386 | 2.1487e-07 | -6.1842e-07 | 0.0024974 | 0.0024977 | 0.0024977 | 0.98394 | -0.11237 | 0.98381 | -0.11331 | 0.92506
15 | -0.01931 | -0.0048398 | 0.019312 | 0.0048407 | 2.4431e-06 | 8.8241e-07 | 0.029337 | 0.029337 | 0.029337 | 0.97941 | -0.14461 | 0.97953 | -0.1437 | 10.8657
16 | 0.01931 | 0.0048398 | -0.019308 | -0.0048391 | 1.9802e-06 | 7.1521e-07 | 0.029337 | 0.029337 | 0.029337 | 0.97941 | -0.14461 | 0.9793 | -0.14535 | 10.8657
17 | 0.0044735 | 0.0011212 | -0.0044735 | -0.0011212 | 6.0648e-09 | -3.1649e-10 | 0.0067958 | 0.0067958 | 0.0067958 | 0.97953 | -0.1437 | 0.97953 | -0.14371 | 2.517
18 | 0.011782 | 0.0029529 | -0.011778 | -0.0029517 | 3.7608e-06 | 1.2099e-06 | 0.017902 | 0.017902 | 0.017902 | 0.9793 | -0.14535 | 0.97898 | -0.14766 | 6.6304
19 | 0.0036646 | 0.0009184 | -0.0036645 | -0.00091842 | 5.9392e-08 | -1.5936e-08 | 0.0055626 | 0.0055626 | 0.0055626 | 0.98029 | -0.13831 | 0.98027 | -0.13843 | 2.0602
20 | 0.0062189 | 0.0015585 | -0.0062182 | -0.0015584 | 7.0112e-07 | 1.0625e-07 | 0.0093746 | 0.0093746 | 0.0093746 | 0.98711 | -0.089905 | 0.98699 | -0.09072 | 3.4721
21 | -0.080711 | -0.020279 | 0.080889 | 0.020348 | 0.000178 | 6.8214e-05 | 0.12169 | 0.12169 | 0.12169 | 0.98711 | -0.089905 | 0.98935 | -0.074091 | 45.0689
22 | 0.074492 | 0.018721 | -0.074463 | -0.018709 | 2.969e-05 | 1.1371e-05 | 0.11231 | 0.11231 | 0.11231 | 0.98711 | -0.089905 | 0.9867 | -0.09277 | 41.5969
23 | 0.0049261 | 0.0012339 | -0.0049253 | -0.0012339 | 8.898e-07 | 8.7004e-09 | 0.0074088 | 0.0074089 | 0.0074089 | 0.98935 | -0.074091 | 0.98917 | -0.075397 | 2.7441
24 | -0.085815 | -0.021582 | 0.085967 | 0.02164 | 0.00015136 | 5.8027e-05 | 0.12909 | 0.12909 | 0.12909 | 0.98935 | -0.074091 | 0.99115 | -0.061461 | 47.8129
25 | -0.0039453 | -0.00098878 | 0.0039457 | 0.0009887 | 4.0573e-07 | -7.1229e-08 | 0.0059973 | 0.0059972 | 0.0059973 | 0.97888 | -0.1484 | 0.97898 | -0.14766 | 2.2212
26 | 0.047096 | 0.011814 | -0.047078 | -0.011808 | 1.775e-05 | 6.7559e-06 | 0.07124 | 0.07124 | 0.07124 | 0.98377 | -0.11353 | 0.98338 | -0.11625 | 26.3852
27 | -0.047096 | -0.011814 | 0.047239 | 0.011869 | 0.00014262 | 5.4282e-05 | 0.07124 | 0.07124 | 0.07124 | 0.98377 | -0.11353 | 0.98684 | -0.091765 | 26.3852
28 | 0.027723 | 0.0069561 | -0.027696 | -0.0069463 | 2.6206e-05 | 9.777e-06 | 0.041952 | 0.041952 | 0.041952 | 0.98338 | -0.11625 | 0.98242 | -0.12307 | 15.5377
29 | 0.019356 | 0.0048515 | -0.019351 | -0.0048498 | 4.7086e-06 | 1.6994e-06 | 0.029288 | 0.029288 | 0.029288 | 0.98338 | -0.11625 | 0.98314 | -0.11801 | 10.8475
30 | -0.051162 | -0.012852 | 0.051366 | 0.01293 | 0.00020347 | 7.7555e-05 | 0.077156 | 0.077156 | 0.077156 | 0.98684 | -0.091765 | 0.99089 | -0.063284 | 28.5763
31 | -0.051366 | -0.01293 | 0.051673 | 0.013046 | 0.00030684 | 0.00011694 | 0.077156 | 0.077155 | 0.077156 | 0.99089 | -0.063284 | 0.99699 | -0.020767 | 28.5762
32 | -0.15147 | -0.038224 | 0.15191 | 0.038394 | 0.00044284 | 0.0001696 | 0.22616 | 0.22616 | 0.22616 | 0.99699 | -0.020767 | 1 | 0 | 41.8821
33 | 0.099799 | 0.025178 | -0.099499 | -0.025063 | 0.00029921 | 0.0001148 | 0.14901 | 0.14901 | 0.14901 | 0.99699 | -0.020767 | 0.99391 | -0.042205 | 55.1882
34 | -0.0014607 | -0.00036609 | 0.0014608 | 0.00036581 | 7.1356e-08 | -2.7645e-07 | 0.0021976 | 0.0021975 | 0.0021976 | 0.98904 | -0.076299 | 0.98909 | -0.075946 | 0.81394
35 | -0.0034831 | -0.00087266 | 0.0034834 | 0.00087257 | 2.6447e-07 | -9.6409e-08 | 0.00524 | 0.00524 | 0.00524 | 0.98909 | -0.075946 | 0.98917 | -0.075397 | 1.9407
36 | -0.085967 | -0.02164 | 0.086029 | 0.021663 | 6.1979e-05 | 2.3761e-05 | 0.12909 | 0.12909 | 0.12909 | 0.99115 | -0.061461 | 0.99189 | -0.056302 | 47.8129
37 | -0.088746 | -0.022344 | 0.088921 | 0.022411 | 0.00017515 | 6.7161e-05 | 0.13317 | 0.13317 | 0.13317 | 0.99189 | -0.056302 | 0.99391 | -0.042205 | 49.3225
38 | -0.010578 | -0.0026511 | 0.010579 | 0.0026513 | 7.2717e-07 | 2.1947e-07 | 0.015838 | 0.015838 | 0.015838 | 0.99384 | -0.042701 | 0.99391 | -0.042205 | 5.8658
39 | 0.010578 | 0.0026511 | -0.010577 | -0.0026508 | 8.8931e-07 | 2.6842e-07 | 0.015838 | 0.015838 | 0.015838 | 0.99384 | -0.042701 | 0.99375 | -0.043309 | 5.8658
40 | -0.005985 | -0.0015 | 0.0059869 | 0.0015002 | 1.8188e-06 | 2.1785e-07 | 0.0089086 | 0.0089084 | 0.0089086 | 0.99969 | -0.0021951 | 1 | 0 | 3.2995
41 | 0.02318 | 0.0058144 | -0.023162 | -0.0058079 | 1.7638e-05 | 6.4938e-06 | 0.035111 | 0.035111 | 0.035111 | 0.98242 | -0.12307 | 0.98165 | -0.12856 | 13.004
42 | -0.0024073 | -0.00060332 | 0.0024074 | 0.00060314 | 1.6066e-07 | -1.7968e-07 | 0.0036603 | 0.0036602 | 0.0036603 | 0.97863 | -0.15016 | 0.9787 | -0.14967 | 1.3557
43 | -0.0043371 | -0.0010868 | 0.0043377 | 0.0010867 | 5.7735e-07 | -4.5376e-08 | 0.0065941 | 0.006594 | 0.0065941 | 0.9787 | -0.14967 | 0.97883 | -0.14871 | 2.4423
44 | 0.0030075 | 0.00075338 | -0.0030074 | -0.00075347 | 1.5018e-07 | -8.7164e-08 | 0.0045703 | 0.0045703 | 0.0045703 | 0.97918 | -0.14624 | 0.97913 | -0.1466 | 1.6927
45 | 0.0069506 | 0.0017415 | -0.0069482 | -0.001741 | 2.3785e-06 | 4.8519e-07 | 0.010562 | 0.010562 | 0.010562 | 0.97918 | -0.14624 | 0.97883 | -0.14871 | 3.912
46 | -0.0099581 | -0.0024948 | 0.0099675 | 0.0024976 | 9.4797e-06 | 2.8107e-06 | 0.015133 | 0.015132 | 0.015133 | 0.97918 | -0.14624 | 0.98014 | -0.13936 | 5.6046
47 | 0.0030074 | 0.00075347 | -0.0030071 | -0.00075364 | 3.006e-07 | -1.7442e-07 | 0.0045703 | 0.0045704 | 0.0045704 | 0.97913 | -0.1466 | 0.97903 | -0.14732 | 1.6927
48 | 0.0060344 | 0.0015122 | -0.0060329 | -0.001512 | 1.4854e-06 | 2.1392e-07 | 0.0091611 | 0.0091612 | 0.0091612 | 0.98014 | -0.13936 | 0.97989 | -0.14114 | 3.393
49 | -0.016002 | -0.0040098 | 0.016008 | 0.0040118 | 5.659e-06 | 1.9828e-06 | 0.024293 | 0.024293 | 0.024293 | 0.98014 | -0.13936 | 0.9805 | -0.13681 | 8.9975
50 | -0.022086 | -0.0055353 | 0.022111 | 0.0055445 | 2.5237e-05 | 9.252e-06 | 0.033518 | 0.033518 | 0.033518 | 0.9805 | -0.13681 | 0.98165 | -0.12856 | 12.4142

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16427 | 0.041289

## res_load
| p_mw | q_mvar
0 | 0.0024093 | 0.00060383
1 | 0.0026755 | 0.00067055
2 | 0.00597 | 0.0014962
3 | 0.0034393 | 0.00086197
4 | 0.017102 | 0.0042861
5 | 0.0040142 | 0.001006
6 | 0.0016513 | 0.00041386
7 | 0.0075261 | 0.0018862
8 | 0.0093705 | 0.0023485
9 | 0.0062182 | 0.0015584
10 | 0.0039453 | 0.00098878
11 | 0.0078322 | 0.0019629
12 | 0.0039236 | 0.00098336
13 | 0.019351 | 0.0048498
14 | 0.0044735 | 0.0011212
15 | 0.0036645 | 0.00091842
16 | 0.0014607 | 0.00036609
17 | 0.0020224 | 0.00050685
18 | 0.002717 | 0.00068095
19 | 0.0014419 | 0.00036136
20 | 0.010577 | 0.0026508
21 | 0.005985 | 0.0015
22 | 0.005567 | 0.0013952
23 | 0.0045166 | 0.001132
24 | 0.0024073 | 0.00060332
25 | 0.0019297 | 0.00048362
26 | 0.0026105 | 0.00065424
27 | 0.0030071 | 0.00075364
28 | 0.0060329 | 0.001512
29 | 0.0060786 | 0.0015235
30 | 0.0010507 | 0.00026334

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1