## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1125-31_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1125-31_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1125-31_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1125-31_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1125-31_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1125-31_0_3_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_1125-31_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1125-31_0_3_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_1125-31_0_3_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_1125-31_0_3_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_1125-31_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1125-31_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1125-31_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1125-31_0_3_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_1125-31_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1125-31_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1125-31_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1125-31_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1125-31_0_3_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_1125-31_0_3_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_1125-31_0_3_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_1125-31_0_3_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_1125-31_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1125-31_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1125-31_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1125-31_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1125-31_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1125-31_0_3_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_1125-31_0_3_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_1125-31_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_1125-31_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1125-31_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1125-31_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1125-31_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1125-31_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1125-31_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1125-31_0_3_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_1125-31_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_1125-31_0_3_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_1125-31_0_3_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_1125-31_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1125-31_0_3_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_1125-31_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_1125-31_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_1125-31_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_1125-31_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_1125-31_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_1125-31_0_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_1125-31_0_3_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1125-31_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1125-31_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1125-31_0_3_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_1125-31_0_3_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_1125-31_0_3_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_1125-31_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_1125-31_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_1125-31_0_3_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_1125-31_0_3_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_1125-31_0_3_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_1125-31_0_3_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_1125-31_0_3_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_1125-31_0_3_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_1125-31_0_3_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_1125-31_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_1125-31_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_1125-31_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_1125-31_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_1125-31_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_1125-31_0_3_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_1125-31_0_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_1125-31_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_MV_130_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1125-31_0_3_load_0 | 0 | 0.0024299 | 0.00060899 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1125-31_0_3_load_1 | 1 | 0.0017322 | 0.00043414 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1125-31_0_3_load_2 | 2 | 0.001234 | 0.00030927 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1125-31_0_3_load_3 | 3 | 0.0011205 | 0.00028082 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1125-31_0_3_load_4 | 4 | 0.0011888 | 0.00029795 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1125-31_0_3_load_72 | 5 | 0.0032173 | 0.00080632 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1125-31_0_3_load_13 | 6 | 0.0019283 | 0.00048329 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1125-31_0_3_load_65 | 8 | 0.0014421 | 0.00036143 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1125-31_0_3_load_55 | 9 | 0.0017165 | 0.00043018 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1125-31_0_3_load_5 | 10 | 0.00061836 | 0.00015498 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1125-31_0_3_load_10 | 14 | 0.0011607 | 0.0002909 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1125-31_0_3_load_12 | 15 | 0.0030448 | 0.00076311 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1125-31_0_3_load_9 | 16 | 0.0015568 | 0.00039016 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1125-31_0_3_load_11 | 17 | 0.0023592 | 0.00059128 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1125-31_0_3_load_68 | 18 | 0.0012797 | 0.00032073 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1125-31_0_3_load_48 | 19 | 0.0041086 | 0.0010297 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1125-31_0_3_load_57 | 20 | 0.0037843 | 0.00094844 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1125-31_0_3_load_14 | 22 | 0.0059247 | 0.0014849 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1125-31_0_3_load_15 | 23 | 0.0037734 | 0.0009457 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1125-31_0_3_load_16 | 24 | 0.0043591 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1125-31_0_3_load_17 | 25 | 0.004238 | 0.0010622 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1125-31_0_3_load_18 | 26 | 0.0025877 | 0.00064853 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1125-31_0_3_load_41 | 27 | 0.0028668 | 0.00071849 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1125-31_0_3_load_56 | 28 | 0.0044683 | 0.0011199 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1125-31_0_3_load_40 | 29 | 0.0051281 | 0.0012852 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1125-31_0_3_load_19 | 31 | 0.0030452 | 0.00076319 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1125-31_0_3_load_20 | 32 | 0.003281 | 0.00082229 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1125-31_0_3_load_22 | 33 | 0.002165 | 0.0005426 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1125-31_0_3_load_60 | 36 | 0.0043311 | 0.0010855 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1125-31_0_3_load_61 | 38 | 0.0099726 | 0.0024994 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1125-31_0_3_load_59 | 39 | 0.0029504 | 0.00073945 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1125-31_0_3_load_44 | 40 | 0.0041424 | 0.0010382 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1125-31_0_3_load_62 | 41 | 0.0021714 | 0.0005442 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1125-31_0_3_load_25 | 42 | 0.0021898 | 0.00054882 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1125-31_0_3_load_26 | 43 | 0.0022438 | 0.00056235 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1125-31_0_3_load_27 | 44 | 0.0024573 | 0.00061587 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1125-31_0_3_load_29 | 46 | 0.003435 | 0.0008609 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1125-31_0_3_load_52 | 47 | 0.0023025 | 0.00057707 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1125-31_0_3_load_54 | 48 | 0.0045813 | 0.0011482 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1125-31_0_3_load_30 | 51 | 0.0022175 | 0.00055575 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1125-31_0_3_load_31 | 52 | 0.0014785 | 0.00037056 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1125-31_0_3_load_33 | 54 | 0.0028753 | 0.00072063 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1125-31_0_3_load_34 | 55 | 0.0018975 | 0.00047555 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1125-31_0_3_load_35 | 56 | 0.0017754 | 0.00044496 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1125-31_0_3_load_38 | 57 | 0.0027322 | 0.00068476 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1125-31_0_3_load_67 | 58 | 0.0019658 | 0.00049268 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1125-31_0_3_load_36 | 59 | 0.0043994 | 0.0011026 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1125-31_0_3_load_37 | 60 | 0.0015858 | 0.00039745 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1125-31_0_3_load_39 | 61 | 0.004005 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1125-31_0_3_load_42 | 62 | 0.0035527 | 0.0008904 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1125-31_0_3_load_43 | 63 | 0.0017751 | 0.00044488 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1125-31_0_3_load_47 | 64 | 0.0019783 | 0.00049582 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1125-31_0_3_load_49 | 65 | 0.0017495 | 0.00043847 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1125-31_0_3_load_53 | 66 | 0.0024326 | 0.00060968 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1125-31_0_3_load_58 | 67 | 0.003137 | 0.0007862 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1125-31_0_3_load_63 | 68 | 0.0034017 | 0.00085255 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1125-31_0_3_load_66 | 69 | 0.0021179 | 0.00053079 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1125-31_0_3_load_71 | 70 | 0.002804 | 0.00070275 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1125-31_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1125-31_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1125-31_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1125-31_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0054057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1125-31_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.040475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1125-31_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.22635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1125-31_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.013555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1125-31_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.035341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1125-31_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.046497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1125-31_0_3_line_9 | NAYY 4x150 SE | 8 | 63 | 0.032273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1125-31_0_3_line_10 | NAYY 4x150 SE | 9 | 45 | 0.013688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1125-31_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.010145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1125-31_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.020825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1125-31_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.11627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1125-31_0_3_line_14 | NAYY 4x150 SE | 12 | 17 | 0.051175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1125-31_0_3_line_15 | NAYY 4x150 SE | 13 | 18 | 0.0057238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1125-31_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.13422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1125-31_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.011091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1125-31_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.017194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1125-31_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.053741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1125-31_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.013171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1125-31_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.036949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1125-31_0_3_line_22 | NAYY 4x150 SE | 20 | 61 | 0.020419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1125-31_0_3_line_23 | NAYY 4x150 SE | 21 | 64 | 0.023904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1125-31_0_3_line_24 | NAYY 4x150 SE | 21 | 40 | 0.06045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1125-31_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.023575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1125-31_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.00069393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1125-31_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0056503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1125-31_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.023341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1125-31_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1125-31_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0042239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1125-31_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.003317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1125-31_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.017147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1125-31_0_3_line_33 | NAYY 4x150 SE | 29 | 62 | 0.01369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1125-31_0_3_line_34 | NAYY 4x150 SE | 30 | 37 | 0.044932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1125-31_0_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.040351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1125-31_0_3_line_36 | NAYY 4x150 SE | 31 | 32 | 0.000146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1125-31_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.018702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1125-31_0_3_line_38 | NAYY 4x150 SE | 33 | 36 | 0.017548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1125-31_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.083448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1125-31_0_3_line_40 | NAYY 4x150 SE | 35 | 38 | 0.038205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1125-31_0_3_line_41 | NAYY 4x150 SE | 36 | 39 | 0.0073948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1125-31_0_3_line_42 | NAYY 4x150 SE | 37 | 40 | 0.041233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1125-31_0_3_line_43 | NAYY 4x150 SE | 38 | 41 | 0.019321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1125-31_0_3_line_44 | NAYY 4x150 SE | 39 | 67 | 0.020945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1125-31_0_3_line_45 | NAYY 4x150 SE | 41 | 68 | 0.00088643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1125-31_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.012105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1125-31_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.031721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1125-31_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.039739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1125-31_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.0082846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1125-31_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.016146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1125-31_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.0080333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1125-31_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.036439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1125-31_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.021883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1125-31_0_3_line_54 | NAYY 4x150 SE | 49 | 65 | 0.040917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1125-31_0_3_line_55 | NAYY 4x150 SE | 50 | 66 | 0.011359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1125-31_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.025417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1125-31_0_3_line_57 | NAYY 4x150 SE | 51 | 53 | 0.012833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1125-31_0_3_line_58 | NAYY 4x150 SE | 52 | 54 | 0.010999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1125-31_0_3_line_59 | NAYY 4x150 SE | 53 | 55 | 0.017362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1125-31_0_3_line_60 | NAYY 4x150 SE | 53 | 56 | 0.016715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1125-31_0_3_line_61 | NAYY 4x150 SE | 54 | 57 | 0.020299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1125-31_0_3_line_62 | NAYY 4x150 SE | 56 | 58 | 0.019239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1125-31_0_3_line_63 | NAYY 4x150 SE | 57 | 59 | 0.017276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1125-31_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.012623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1125-31_0_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.0071153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1125-31_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.03081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1125-31_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.0042846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1125-31_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.0065911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1125-31_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.049793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1125-31_0_3_trafo_42 | 0.25 MVA 20/0.4 kV | 71 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2641942.6506 | 1229824.6769 | 2641941.5891 | 1229842.1387 | 2641941.4254 | 1229852.1577
1 | 2641942.6506 | 1229824.6769 | 2641943.926 | 1229803.698
2 | 2641941.4254 | 1229852.1577 | 2641941.4026 | 1229853.5555 | 2641941.478 | 1229857.9032 | 2641942.3015 | 1229864.6465 | 2641943.5825 | 1229870.9706 | 2641946.4411 | 1229881.7197
3 | 2641944.254 | 1229798.3023 | 2641943.926 | 1229803.698
4 | 2641946.4411 | 1229881.7197 | 2641905.9656 | 1229881.7345
5 | 2641946.4411 | 1229881.7197 | 2641951.5185 | 1230108.013
6 | 2641945.0766 | 1229784.7722 | 2641944.254 | 1229798.3023
7 | 2641945.0766 | 1229784.7722 | 2641947.6783 | 1229749.5268
8 | 2641945.0766 | 1229784.7722 | 2641902.0998 | 1229767.0242
9 | 2641950.0543 | 1229717.3414 | 2641947.6783 | 1229749.5268
10 | 2641889.4486 | 1229761.7996 | 2641902.0998 | 1229767.0242
11 | 2642179.1974 | 1229882.9651 | 2642169.1004 | 1229883.9556
12 | 2642179.1974 | 1229882.9651 | 2642179.4119 | 1229881.5546 | 2642197.6248 | 1229874.735
13 | 2642179.1974 | 1229882.9651 | 2642231.583 | 1229986.7675
14 | 2642197.6248 | 1229874.735 | 2642181.0741 | 1229872.5386 | 2642165.2422 | 1229873.6604 | 2642146.8117 | 1229876.2252
15 | 2642231.583 | 1229986.7675 | 2642230.5267 | 1229989.3838 | 2642228.8962 | 1229991.7849
16 | 2642089.4718 | 1229748.565 | 2642129.6344 | 1229876.6324
17 | 2642078.578 | 1229750.6466 | 2642089.4718 | 1229748.565
18 | 2642129.6344 | 1229876.6324 | 2642145.1718 | 1229876.4534 | 2642146.8117 | 1229876.2252
19 | 2642041.7969 | 1229711.4647 | 2642078.578 | 1229750.6466
20 | 2642041.7969 | 1229711.4647 | 2642036.3813 | 1229712.4604 | 2642031.5074 | 1229711.8367 | 2642028.9028 | 1229710.9516
21 | 2642056.8784 | 1229678.3174 | 2642045.6613 | 1229708.101 | 2642041.7969 | 1229711.4647
22 | 2642028.9028 | 1229710.9516 | 2642009.5697 | 1229704.3814
23 | 2642056.8784 | 1229678.3174 | 2642078.9159 | 1229687.5774
24 | 2642056.8784 | 1229678.3174 | 2642028.343 | 1229666.5197 | 2642023.7705 | 1229662.8851 | 2642020.8934 | 1229657.328 | 2642021.4203 | 1229639.8628
25 | 2641963.7148 | 1229619.3539 | 2641961.0107 | 1229625.2636 | 2641959.0155 | 1229633.1989 | 2641957.8002 | 1229642.0089
26 | 2641964.0035 | 1229618.7229 | 2641963.7148 | 1229619.3539
27 | 2641957.0281 | 1229647.6062 | 2641957.8002 | 1229642.0089
28 | 2641973.7153 | 1229597.4978 | 2641964.0035 | 1229618.7229
29 | 2641953.9809 | 1229669.6971 | 2641957.0281 | 1229647.6062
30 | 2641975.4728 | 1229593.6569 | 2641973.7153 | 1229597.4978
31 | 2641953.5276 | 1229672.9829 | 2641953.9809 | 1229669.6971
32 | 2641982.6073 | 1229578.0644 | 2641975.4728 | 1229593.6569
33 | 2641953.5276 | 1229672.9829 | 2641953.0999 | 1229676.0837 | 2641952.3224 | 1229686.6151
34 | 2641982.6073 | 1229578.0644 | 2642022.6638 | 1229598.6487
35 | 2641950.0725 | 1229554.3093 | 2641960.2629 | 1229563.7425 | 2641982.6073 | 1229578.0644
36 | 2641914.3993 | 1229591.797 | 2641914.5049 | 1229591.6962
37 | 2641914.3993 | 1229591.797 | 2641908.9105 | 1229597.0347 | 2641902.7948 | 1229603.8403 | 2641901.9641 | 1229605.6217
38 | 2641894.548 | 1229621.5251 | 2641901.9641 | 1229605.6217
39 | 2641921.2893 | 1229499.0724 | 2641940.8971 | 1229497.5985 | 2641946.468 | 1229497.1819 | 2641950.2653 | 1229509.772 | 2641952.953 | 1229528.2579 | 2641952.6456 | 1229543.921 | 2641950.0725 | 1229554.3093
40 | 2641921.2893 | 1229499.0724 | 2641911.3863 | 1229535.9718
41 | 2641894.548 | 1229621.5251 | 2641891.4228 | 1229628.227
42 | 2642022.6638 | 1229598.6487 | 2642021.4203 | 1229639.8628
43 | 2641911.3863 | 1229535.9718 | 2641911.0592 | 1229537.1906 | 2641908.896 | 1229542.1006 | 2641900.5387 | 1229551.6549
44 | 2641882.5711 | 1229647.2094 | 2641891.4228 | 1229628.227
45 | 2641899.9551 | 1229552.3221 | 2641900.5387 | 1229551.6549
46 | 2641904.3342 | 1229712.1394 | 2641900.8586 | 1229723.7343
47 | 2641904.3342 | 1229712.1394 | 2641907.3835 | 1229701.9666 | 2641909.3937 | 1229690.8183 | 2641907.5448 | 1229681.2215 | 2641907.5448 | 1229681.2215
48 | 2641889.4486 | 1229761.7996 | 2641900.8586 | 1229723.7343
49 | 2641902.6932 | 1229674.5061 | 2641907.5448 | 1229681.2215
50 | 2641889.4486 | 1229761.7996 | 2641874.3943 | 1229755.9619
51 | 2641902.6932 | 1229674.5061 | 2641902.0308 | 1229673.5891 | 2641895.7795 | 1229670.6633
52 | 2641840.4204 | 1229742.7875 | 2641874.3943 | 1229755.9619
53 | 2641875.9598 | 1229661.387 | 2641895.7795 | 1229670.6633
54 | 2641840.4204 | 1229742.7875 | 2641856.7924 | 1229705.2886
55 | 2641875.9598 | 1229661.387 | 2641880.7603 | 1229651.0925
56 | 2641974.7712 | 1229763.0886 | 2641973.4878 | 1229760.4352 | 2641975.0659 | 1229738.0211
57 | 2641985.8937 | 1229765.0144 | 2641982.513 | 1229766.4025 | 2641978.2709 | 1229766.417 | 2641975.317 | 1229764.2171 | 2641974.7712 | 1229763.0886
58 | 2641975.8383 | 1229727.0491 | 2641975.0659 | 1229738.0211
59 | 2641985.8937 | 1229765.0144 | 2641991.3795 | 1229772.3131 | 2641991.6698 | 1229778.4078 | 2641992.4228 | 1229780.4003
60 | 2641985.8937 | 1229765.0144 | 2641995.2075 | 1229751.1351
61 | 2641975.8383 | 1229727.0491 | 2641977.2173 | 1229707.462 | 2641977.5766 | 1229706.9041
62 | 2642005.9283 | 1229735.1595 | 2641995.2075 | 1229751.1351
63 | 2641990.8812 | 1229698.0303 | 2641990.8812 | 1229698.0303 | 2641984.4227 | 1229698.6741 | 2641980.4954 | 1229702.3709 | 2641977.5766 | 1229706.9041
64 | 2641990.8812 | 1229698.0303 | 2642002.8329 | 1229702.092
65 | 2642002.8329 | 1229702.092 | 2642009.5697 | 1229704.3814
66 | 2641952.3224 | 1229686.6151 | 2641950.0543 | 1229717.3414
67 | 2641882.5711 | 1229647.2094 | 2641880.7603 | 1229651.0925
68 | 2641895.6156 | 1229557.2832 | 2641899.9551 | 1229552.3221
69 | 2641895.6156 | 1229557.2832 | 2641847.2329 | 1229569.0501

## bus_geodata
| x | y | coords
0 | 2641942.6506 | 1229824.6769
1 | 2641941.4254 | 1229852.1577
2 | 2641943.926 | 1229803.698
3 | 2641946.4411 | 1229881.7196
4 | 2641944.254 | 1229798.3023
5 | 2641905.9656 | 1229881.7345
6 | 2641951.5185 | 1230108.013
7 | 2641945.0766 | 1229784.7722
8 | 2641947.6783 | 1229749.5268
9 | 2641902.0998 | 1229767.0242
10 | 2642169.1004 | 1229883.9556
11 | 2642179.1974 | 1229882.9651
12 | 2642197.6248 | 1229874.735
13 | 2642231.583 | 1229986.7675
14 | 2642089.4718 | 1229748.565
15 | 2642129.6344 | 1229876.6324
16 | 2642078.578 | 1229750.6466
17 | 2642146.8117 | 1229876.2252
18 | 2642228.8962 | 1229991.7849
19 | 2642041.7969 | 1229711.4647
20 | 2642028.9028 | 1229710.9516
21 | 2642056.8784 | 1229678.3174
22 | 2641963.7148 | 1229619.3539
23 | 2641957.8002 | 1229642.0089
24 | 2641964.0035 | 1229618.7229
25 | 2641957.0281 | 1229647.6062
26 | 2641973.7153 | 1229597.4978
27 | 2641953.9809 | 1229669.6971
28 | 2641975.4728 | 1229593.6569
29 | 2641953.5276 | 1229672.9829
30 | 2641982.6073 | 1229578.0644
31 | 2641914.5049 | 1229591.6962
32 | 2641914.3993 | 1229591.797
33 | 2641901.9641 | 1229605.6217
34 | 2641950.0725 | 1229554.3093
35 | 2641921.2893 | 1229499.0724
36 | 2641894.548 | 1229621.5251
37 | 2642022.6638 | 1229598.6487
38 | 2641911.3863 | 1229535.9718
39 | 2641891.4228 | 1229628.227
40 | 2642021.4203 | 1229639.8628
41 | 2641900.5387 | 1229551.6549
42 | 2641904.3342 | 1229712.1394
43 | 2641900.8586 | 1229723.7343
44 | 2641907.5448 | 1229681.2215
45 | 2641889.4486 | 1229761.7996
46 | 2641902.6932 | 1229674.5061
47 | 2641874.3943 | 1229755.9619
48 | 2641895.7795 | 1229670.6633
49 | 2641840.4204 | 1229742.7875
50 | 2641875.9598 | 1229661.387
51 | 2641974.7712 | 1229763.0886
52 | 2641975.0659 | 1229738.0211
53 | 2641985.8937 | 1229765.0144
54 | 2641975.8383 | 1229727.0491
55 | 2641992.4228 | 1229780.4003
56 | 2641995.2075 | 1229751.1351
57 | 2641977.5766 | 1229706.9041
58 | 2642005.9283 | 1229735.1595
59 | 2641990.8812 | 1229698.0303
60 | 2642002.8329 | 1229702.092
61 | 2642009.5697 | 1229704.3814
62 | 2641952.3224 | 1229686.6151
63 | 2641950.0543 | 1229717.3414
64 | 2642078.9159 | 1229687.5774
65 | 2641856.7924 | 1229705.2886
66 | 2641880.7603 | 1229651.0925
67 | 2641882.5711 | 1229647.2094
68 | 2641899.9551 | 1229552.3221
69 | 2641895.6156 | 1229557.2832
70 | 2641847.2329 | 1229569.0501
71 | 2641945.0766 | 1229784.7722

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99132 | -0.060518 | 0.0024299 | 0.00060899
1 | 0.99101 | -0.062762 | 0.0017322 | 0.00043414
2 | 0.99164 | -0.058286 | 0.001234 | 0.00030927
3 | 0.99073 | -0.064689 | 0.0011205 | 0.00028082
4 | 0.99173 | -0.057644 | 0.0011888 | 0.00029795
5 | 0.99055 | -0.066014 | 0.0032173 | 0.00080632
6 | 0.99011 | -0.069154 | 0.0019283 | 0.00048329
7 | 0.99198 | -0.055872 | 0 | 0
8 | 0.99478 | -0.036235 | 0.0014421 | 0.00036143
9 | 0.98915 | -0.075759 | 0.0017165 | 0.00043018
10 | 0.97168 | -0.1994 | 0.00061836 | 0.00015498
11 | 0.97168 | -0.19933 | 0 | 0
12 | 0.97174 | -0.19891 | 0 | 0
13 | 0.97147 | -0.20091 | 0 | 0
14 | 0.97343 | -0.18672 | 0.0011607 | 0.0002909
15 | 0.97199 | -0.1971 | 0.0030448 | 0.00076311
16 | 0.97357 | -0.18573 | 0.0015568 | 0.00039016
17 | 0.97189 | -0.19787 | 0.0023592 | 0.00059128
18 | 0.97146 | -0.20099 | 0.0012797 | 0.00032073
19 | 0.97436 | -0.18004 | 0.0041086 | 0.0010297
20 | 0.9738 | -0.18402 | 0.0037843 | 0.00094844
21 | 0.97668 | -0.16342 | 0 | 0
22 | 0.99171 | -0.057413 | 0.0059247 | 0.0014849
23 | 0.99469 | -0.036691 | 0.0037734 | 0.0009457
24 | 0.99163 | -0.057983 | 0.0043591 | 0.0010925
25 | 0.99543 | -0.031528 | 0.004238 | 0.0010622
26 | 0.98902 | -0.076176 | 0.0025877 | 0.00064853
27 | 0.99851 | -0.010281 | 0.0028668 | 0.00071849
28 | 0.98857 | -0.079367 | 0.0044683 | 0.0011199
29 | 0.99898 | -0.0070362 | 0.0051281 | 0.0012852
30 | 0.98683 | -0.091565 | 0 | 0
31 | 0.98139 | -0.13077 | 0.0030452 | 0.00076319
32 | 0.98139 | -0.13076 | 0.003281 | 0.00082229
33 | 0.98156 | -0.12954 | 0.002165 | 0.0005426
34 | 0.98563 | -0.10005 | 0 | 0
35 | 0.98315 | -0.11765 | 0 | 0
36 | 0.98178 | -0.12799 | 0.0043311 | 0.0010855
37 | 0.9836 | -0.11422 | 0 | 0
38 | 0.98201 | -0.12574 | 0.0099726 | 0.0024994
39 | 0.98192 | -0.12701 | 0.0029504 | 0.00073945
40 | 0.98065 | -0.13514 | 0.0041424 | 0.0010382
41 | 0.98172 | -0.12784 | 0.0021714 | 0.0005442
42 | 0.98566 | -0.10038 | 0.0021898 | 0.00054882
43 | 0.98626 | -0.096151 | 0.0022438 | 0.00056235
44 | 0.9842 | -0.11077 | 0.0024573 | 0.00061587
45 | 0.98835 | -0.081395 | 0 | 0
46 | 0.98385 | -0.11327 | 0.003435 | 0.0008609
47 | 0.98825 | -0.082065 | 0.0023025 | 0.00057707
48 | 0.98354 | -0.11542 | 0.0045813 | 0.0011482
49 | 0.98816 | -0.082719 | 0 | 0
50 | 0.98287 | -0.12025 | 0 | 0
51 | 0.97129 | -0.20209 | 0.0022175 | 0.00055575
52 | 0.97159 | -0.19997 | 0.0014785 | 0.00037056
53 | 0.97119 | -0.20285 | 0 | 0
54 | 0.97174 | -0.19889 | 0.0028753 | 0.00072063
55 | 0.97114 | -0.2032 | 0.0018975 | 0.00047555
56 | 0.97109 | -0.20351 | 0.0017754 | 0.00044496
57 | 0.9721 | -0.19626 | 0.0027322 | 0.00068476
58 | 0.97104 | -0.20391 | 0.0019658 | 0.00049268
59 | 0.97248 | -0.19354 | 0.0043994 | 0.0011026
60 | 0.97284 | -0.19096 | 0.0015858 | 0.00039745
61 | 0.97306 | -0.18939 | 0.004005 | 0.0010037
62 | 1 | 0 | -0.16435 | -0.041322
63 | 0.99741 | -0.017931 | 0.0017751 | 0.00044488
64 | 0.97661 | -0.16391 | 0.0019783 | 0.00049582
65 | 0.98806 | -0.083451 | 0.0017495 | 0.00043847
66 | 0.98251 | -0.12275 | 0.0024326 | 0.00060968
67 | 0.9824 | -0.12359 | 0.003137 | 0.0007862
68 | 0.98171 | -0.12792 | 0.0034017 | 0.00085255
69 | 0.98166 | -0.12825 | 0.0021179 | 0.00053079
70 | 0.98146 | -0.1297 | 0.002804 | 0.00070275
71 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0080043 | 0.0020027 | -0.0080018 | -0.0020021 | 2.4779e-06 | 5.9843e-07 | 0.012014 | 0.012014 | 0.012014 | 0.99132 | -0.060518 | 0.99101 | -0.062762 | 4.4495
1 | -0.010434 | -0.0026117 | 0.010437 | 0.0026126 | 3.2166e-06 | 9.661e-07 | 0.015661 | 0.015661 | 0.015661 | 0.99132 | -0.060518 | 0.99164 | -0.058286 | 5.8003
2 | 0.0062695 | 0.0015679 | -0.0062679 | -0.0015677 | 1.6649e-06 | 2.5245e-07 | 0.0094126 | 0.0094128 | 0.0094128 | 0.99101 | -0.062762 | 0.99073 | -0.064689 | 3.4862
3 | -0.011671 | -0.0029219 | 0.011672 | 0.0029222 | 1.0345e-06 | 3.2814e-07 | 0.017512 | 0.017512 | 0.017512 | 0.99164 | -0.058286 | 0.99173 | -0.057644 | 6.4861
4 | 0.0032179 | 0.00080603 | -0.0032173 | -0.00080632 | 5.8993e-07 | -2.9422e-07 | 0.0048329 | 0.004833 | 0.004833 | 0.99073 | -0.064689 | 0.99055 | -0.066014 | 1.79
5 | 0.0019295 | 0.00048083 | -0.0019283 | -0.00048329 | 1.1858e-06 | -2.4568e-06 | 0.002897 | 0.0028981 | 0.0028981 | 0.99073 | -0.064689 | 0.99011 | -0.069154 | 1.0734
6 | -0.012861 | -0.0032202 | 0.012864 | 0.0032212 | 3.1494e-06 | 1.0364e-06 | 0.019296 | 0.019296 | 0.019296 | 0.99173 | -0.057644 | 0.99198 | -0.055872 | 7.1468
7 | -0.055227 | -0.01388 | 0.055378 | 0.013938 | 0.0001514 | 5.7772e-05 | 0.082857 | 0.082856 | 0.082857 | 0.99198 | -0.055872 | 0.99478 | -0.036235 | 30.6876
8 | 0.042362 | 0.010659 | -0.042245 | -0.010614 | 0.00011722 | 4.4484e-05 | 0.06356 | 0.063561 | 0.063561 | 0.99198 | -0.055872 | 0.98915 | -0.075759 | 23.541
9 | -0.05682 | -0.014299 | 0.056966 | 0.014355 | 0.00014555 | 5.5559e-05 | 0.085014 | 0.085013 | 0.085014 | 0.99478 | -0.036235 | 0.99741 | -0.017931 | 31.4865
10 | 0.040529 | 0.010184 | -0.040497 | -0.010172 | 3.1759e-05 | 1.2039e-05 | 0.060979 | 0.060979 | 0.060979 | 0.98915 | -0.075759 | 0.98835 | -0.081395 | 22.5847
11 | -0.00061836 | -0.00015498 | 0.00061837 | 0.00015485 | 5.6766e-09 | -1.2349e-07 | 0.00094695 | 0.00094691 | 0.00094695 | 0.97168 | -0.1994 | 0.97168 | -0.19933 | 0.35072
12 | -0.0018984 | -0.00047418 | 0.0018985 | 0.00047397 | 1.0978e-07 | -2.1575e-07 | 0.0029066 | 0.0029065 | 0.0029066 | 0.97168 | -0.19933 | 0.97174 | -0.19891 | 1.0765
13 | 0.00128 | 0.00031933 | -0.0012797 | -0.00032067 | 2.787e-07 | -1.3327e-06 | 0.0019597 | 0.0019602 | 0.0019602 | 0.97168 | -0.19933 | 0.97147 | -0.20091 | 0.726
14 | -0.0018985 | -0.00047397 | 0.0018988 | 0.00047344 | 2.6974e-07 | -5.3032e-07 | 0.0029065 | 0.0029063 | 0.0029065 | 0.97174 | -0.19891 | 0.97189 | -0.19787 | 1.0765
15 | 0.0012797 | 0.00032067 | -0.0012797 | -0.00032073 | 1.3724e-08 | -6.5589e-08 | 0.0019602 | 0.0019602 | 0.0019602 | 0.97147 | -0.20091 | 0.97146 | -0.20099 | 0.72601
16 | 0.0073137 | 0.0018301 | -0.0073033 | -0.0018278 | 1.0467e-05 | 2.3597e-06 | 0.011179 | 0.01118 | 0.01118 | 0.97343 | -0.18672 | 0.97199 | -0.1971 | 4.1406
17 | -0.0084745 | -0.002121 | 0.0084756 | 0.0021214 | 1.1612e-06 | 3.0872e-07 | 0.012953 | 0.012953 | 0.012953 | 0.97343 | -0.18672 | 0.97357 | -0.18573 | 4.7975
18 | 0.0042584 | 0.0010647 | -0.004258 | -0.0010647 | 4.5587e-07 | -3.7759e-08 | 0.0065183 | 0.0065184 | 0.0065184 | 0.97199 | -0.1971 | 0.97189 | -0.19787 | 2.4142
19 | -0.010032 | -0.0025115 | 0.01004 | 0.0025139 | 7.8834e-06 | 2.3633e-06 | 0.015333 | 0.015332 | 0.015333 | 0.97357 | -0.18573 | 0.97436 | -0.18004 | 5.6788
20 | 0.028778 | 0.0072181 | -0.028762 | -0.0072122 | 1.5876e-05 | 5.9421e-06 | 0.043951 | 0.043951 | 0.043951 | 0.97436 | -0.18004 | 0.9738 | -0.18402 | 16.2781
21 | -0.042927 | -0.010762 | 0.043026 | 0.010799 | 9.9091e-05 | 3.7651e-05 | 0.065558 | 0.065558 | 0.065558 | 0.97436 | -0.18004 | 0.97668 | -0.16342 | 24.2806
22 | 0.024977 | 0.0062637 | -0.024959 | -0.0062568 | 1.8562e-05 | 6.8853e-06 | 0.038168 | 0.038168 | 0.038168 | 0.9738 | -0.18402 | 0.97306 | -0.18939 | 14.1364
23 | 0.0019785 | 0.00049557 | -0.0019783 | -0.00049582 | 1.3552e-07 | -2.47e-07 | 0.0030142 | 0.0030143 | 0.0030143 | 0.97668 | -0.16342 | 0.97661 | -0.16391 | 1.1164
24 | -0.045004 | -0.011295 | 0.045181 | 0.011362 | 0.00017737 | 6.7458e-05 | 0.068572 | 0.068571 | 0.068572 | 0.97668 | -0.16342 | 0.98065 | -0.13514 | 25.3969
25 | -0.087891 | -0.022164 | 0.088147 | 0.022262 | 0.00025603 | 9.8167e-05 | 0.13193 | 0.13193 | 0.13193 | 0.99171 | -0.057413 | 0.99469 | -0.036691 | 48.8613
26 | 0.081967 | 0.020679 | -0.08196 | -0.020676 | 6.5549e-06 | 2.5122e-06 | 0.12304 | 0.12304 | 0.12304 | 0.99171 | -0.057413 | 0.99163 | -0.057983 | 45.5688
27 | -0.091921 | -0.023207 | 0.091987 | 0.023233 | 6.6728e-05 | 2.5591e-05 | 0.13757 | 0.13757 | 0.13757 | 0.99469 | -0.036691 | 0.99543 | -0.031528 | 50.9519
28 | 0.077601 | 0.019584 | -0.077403 | -0.019508 | 0.00019766 | 7.5724e-05 | 0.11649 | 0.11649 | 0.11649 | 0.99163 | -0.057983 | 0.98902 | -0.076176 | 43.1462
29 | -0.096225 | -0.024295 | 0.096514 | 0.024406 | 0.00028817 | 0.00011054 | 0.14391 | 0.14391 | 0.14391 | 0.99543 | -0.031528 | 0.99851 | -0.010281 | 53.2983
30 | 0.074816 | 0.018859 | -0.074782 | -0.018847 | 3.3419e-05 | 1.2799e-05 | 0.1126 | 0.1126 | 0.1126 | 0.98902 | -0.076176 | 0.98857 | -0.079367 | 41.7042
31 | -0.09938 | -0.025124 | 0.099426 | 0.025142 | 4.5446e-05 | 1.7436e-05 | 0.14818 | 0.14818 | 0.14818 | 0.99851 | -0.010281 | 0.99898 | -0.0070362 | 54.8805
32 | 0.070314 | 0.017727 | -0.070194 | -0.017681 | 0.00011994 | 4.5912e-05 | 0.10588 | 0.10588 | 0.10588 | 0.98857 | -0.079367 | 0.98683 | -0.091565 | 39.2132
33 | -0.10455 | -0.026427 | 0.10466 | 0.026466 | 0.0001037 | 3.9526e-05 | 0.15582 | 0.15582 | 0.15582 | 0.99898 | -0.0070362 | 1 | 0 | 28.8548
34 | 0.049625 | 0.012515 | -0.049468 | -0.012456 | 0.00015711 | 5.9855e-05 | 0.074857 | 0.074857 | 0.074857 | 0.98683 | -0.091565 | 0.9836 | -0.11422 | 27.7248
35 | 0.020569 | 0.0051656 | -0.020545 | -0.0051567 | 2.4227e-05 | 8.8031e-06 | 0.031019 | 0.031019 | 0.031019 | 0.98683 | -0.091565 | 0.98563 | -0.10005 | 11.4886
36 | -0.0030452 | -0.00076319 | 0.0030452 | 0.00076319 | 1.9424e-09 | -1.098e-09 | 0.0046172 | 0.0046172 | 0.0046172 | 0.98139 | -0.13077 | 0.98139 | -0.13076 | 1.7101
37 | -0.0063262 | -0.0015855 | 0.0063272 | 0.0015857 | 1.0737e-06 | 1.7661e-07 | 0.0095919 | 0.0095918 | 0.0095919 | 0.98139 | -0.13076 | 0.98156 | -0.12954 | 3.5526
38 | -0.0084922 | -0.0021283 | 0.008494 | 0.0021287 | 1.8148e-06 | 4.7613e-07 | 0.012874 | 0.012874 | 0.012874 | 0.98156 | -0.12954 | 0.98178 | -0.12799 | 4.7681
39 | 0.020545 | 0.0051567 | -0.020494 | -0.0051385 | 5.0104e-05 | 1.821e-05 | 0.031019 | 0.03102 | 0.03102 | 0.98563 | -0.10005 | 0.98315 | -0.11765 | 11.4887
40 | 0.020494 | 0.0051385 | -0.020471 | -0.0051302 | 2.2939e-05 | 8.3389e-06 | 0.03102 | 0.03102 | 0.03102 | 0.98315 | -0.11765 | 0.98201 | -0.12574 | 11.4888
41 | -0.012825 | -0.0032142 | 0.012827 | 0.0032148 | 1.7435e-06 | 5.7705e-07 | 0.019438 | 0.019438 | 0.019438 | 0.98178 | -0.12799 | 0.98192 | -0.12701 | 7.1993
42 | 0.049468 | 0.012456 | -0.049324 | -0.012401 | 0.00014418 | 5.493e-05 | 0.074857 | 0.074857 | 0.074857 | 0.9836 | -0.11422 | 0.98065 | -0.13514 | 27.7248
43 | 0.010499 | 0.0026308 | -0.010496 | -0.0026299 | 3.0512e-06 | 9.2919e-07 | 0.015909 | 0.015909 | 0.015909 | 0.98201 | -0.12574 | 0.98172 | -0.12784 | 5.8921
44 | -0.015777 | -0.0039542 | 0.015785 | 0.0039568 | 7.4712e-06 | 2.6085e-06 | 0.023909 | 0.023909 | 0.023909 | 0.98192 | -0.12701 | 0.9824 | -0.12359 | 8.8553
45 | 0.0083245 | 0.0020857 | -0.0083244 | -0.0020857 | 8.8057e-08 | 2.2661e-08 | 0.012617 | 0.012617 | 0.012617 | 0.98172 | -0.12784 | 0.98171 | -0.12792 | 4.6731
46 | -0.034106 | -0.0085592 | 0.034126 | 0.0085667 | 2.0027e-05 | 7.5484e-06 | 0.051492 | 0.051492 | 0.051492 | 0.98566 | -0.10038 | 0.98626 | -0.096151 | 19.0712
47 | 0.031916 | 0.0080104 | -0.03187 | -0.0079931 | 4.596e-05 | 1.7273e-05 | 0.048186 | 0.048186 | 0.048186 | 0.98566 | -0.10038 | 0.9842 | -0.11077 | 17.8468
48 | -0.03637 | -0.0091291 | 0.036444 | 0.0091573 | 7.4676e-05 | 2.8213e-05 | 0.054877 | 0.054877 | 0.054877 | 0.98626 | -0.096151 | 0.98835 | -0.081395 | 20.325
49 | 0.029413 | 0.0073772 | -0.029402 | -0.0073734 | 1.0224e-05 | 3.827e-06 | 0.044471 | 0.044471 | 0.044471 | 0.9842 | -0.11077 | 0.98385 | -0.11327 | 16.4708
50 | 0.0040528 | 0.0010146 | -0.0040524 | -0.0010147 | 3.7507e-07 | -6.2647e-08 | 0.0061013 | 0.0061013 | 0.0061013 | 0.98835 | -0.081395 | 0.98825 | -0.082065 | 2.2598
51 | 0.025967 | 0.0065125 | -0.02596 | -0.0065096 | 7.7327e-06 | 2.8721e-06 | 0.039276 | 0.039276 | 0.039276 | 0.98385 | -0.11327 | 0.98354 | -0.11542 | 14.5466
52 | 0.0017499 | 0.00043761 | -0.0017497 | -0.00043802 | 1.5782e-07 | -4.0615e-07 | 0.0026344 | 0.0026346 | 0.0026346 | 0.98825 | -0.082065 | 0.98816 | -0.082719 | 0.97578
53 | 0.021378 | 0.0053614 | -0.021364 | -0.0053562 | 1.4286e-05 | 5.217e-06 | 0.032345 | 0.032345 | 0.032345 | 0.98354 | -0.11542 | 0.98287 | -0.12025 | 11.9796
54 | 0.0017497 | 0.00043802 | -0.0017495 | -0.00043847 | 1.7723e-07 | -4.5595e-07 | 0.0026346 | 0.0026348 | 0.0026348 | 0.98816 | -0.082719 | 0.98806 | -0.083451 | 0.97585
55 | 0.021364 | 0.0053562 | -0.021357 | -0.0053535 | 7.4152e-06 | 2.7081e-06 | 0.032345 | 0.032345 | 0.032345 | 0.98287 | -0.12025 | 0.98251 | -0.12275 | 11.9796
56 | -0.0078573 | -0.0019686 | 0.0078596 | 0.0019691 | 2.298e-06 | 5.6917e-07 | 0.012037 | 0.012037 | 0.012037 | 0.97129 | -0.20209 | 0.97159 | -0.19997 | 4.4582
57 | 0.0056398 | 0.0014128 | -0.0056392 | -0.0014127 | 5.9779e-07 | 7.1101e-08 | 0.00864 | 0.00864 | 0.00864 | 0.97129 | -0.20209 | 0.97119 | -0.20285 | 3.2
58 | -0.0093382 | -0.0023397 | 0.0093396 | 0.0023401 | 1.4038e-06 | 4.0368e-07 | 0.014301 | 0.014301 | 0.014301 | 0.97159 | -0.19997 | 0.97174 | -0.19889 | 5.2968
59 | 0.0018975 | 0.00047537 | -0.0018975 | -0.00047555 | 9.1574e-08 | -1.7961e-07 | 0.0029073 | 0.0029074 | 0.0029074 | 0.97119 | -0.20285 | 0.97114 | -0.2032 | 1.0768
60 | 0.0037417 | 0.00093737 | -0.0037413 | -0.00093745 | 3.4278e-07 | -7.4973e-08 | 0.0057327 | 0.0057328 | 0.0057328 | 0.97119 | -0.20285 | 0.97109 | -0.20351 | 2.1233
61 | -0.012215 | -0.0030607 | 0.012219 | 0.0030622 | 4.4315e-06 | 1.4529e-06 | 0.018704 | 0.018704 | 0.018704 | 0.97174 | -0.19889 | 0.9721 | -0.19626 | 6.9276
62 | 0.0019659 | 0.00049249 | -0.0019658 | -0.00049268 | 1.0894e-07 | -1.9611e-07 | 0.0030123 | 0.0030124 | 0.0030124 | 0.97109 | -0.20351 | 0.97104 | -0.20391 | 1.1157
63 | -0.014952 | -0.0037469 | 0.014957 | 0.0037489 | 5.6465e-06 | 1.9575e-06 | 0.022887 | 0.022886 | 0.022887 | 0.9721 | -0.19626 | 0.97248 | -0.19354 | 8.4765
64 | -0.019357 | -0.0048515 | 0.019364 | 0.004854 | 6.9098e-06 | 2.5009e-06 | 0.029618 | 0.029618 | 0.029618 | 0.97248 | -0.19354 | 0.97284 | -0.19096 | 10.9697
65 | -0.020949 | -0.0052514 | 0.020954 | 0.0052531 | 4.5589e-06 | 1.6651e-06 | 0.032044 | 0.032044 | 0.032044 | 0.97284 | -0.19096 | 0.97306 | -0.18939 | 11.8681
66 | 0.058889 | 0.014856 | -0.058741 | -0.014799 | 0.00014774 | 5.6419e-05 | 0.087661 | 0.087662 | 0.087662 | 1 | 0 | 0.99741 | -0.017931 | 32.4673
67 | 0.018924 | 0.0047438 | -0.018922 | -0.004743 | 2.1962e-06 | 7.9043e-07 | 0.028661 | 0.028661 | 0.028661 | 0.98251 | -0.12275 | 0.9824 | -0.12359 | 10.6151
68 | 0.0049227 | 0.0012331 | -0.0049224 | -0.0012331 | 2.2897e-07 | 4.7317e-09 | 0.0074613 | 0.0074613 | 0.0074613 | 0.98171 | -0.12792 | 0.98166 | -0.12825 | 2.7634
69 | 0.0028046 | 0.00070233 | -0.002804 | -0.00070275 | 5.6151e-07 | -4.1341e-07 | 0.004251 | 0.0042512 | 0.0042512 | 0.98166 | -0.12825 | 0.98146 | -0.1297 | 1.5745

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1679 | 0.042213

## res_load
| p_mw | q_mvar
0 | 0.0024299 | 0.00060899
1 | 0.0017322 | 0.00043414
2 | 0.001234 | 0.00030927
3 | 0.0011205 | 0.00028082
4 | 0.0011888 | 0.00029795
5 | 0.0032173 | 0.00080632
6 | 0.0019283 | 0.00048329
7 | 0.0014421 | 0.00036143
8 | 0.0017165 | 0.00043018
9 | 0.00061836 | 0.00015498
10 | 0.0011607 | 0.0002909
11 | 0.0030448 | 0.00076311
12 | 0.0015568 | 0.00039016
13 | 0.0023592 | 0.00059128
14 | 0.0012797 | 0.00032073
15 | 0.0041086 | 0.0010297
16 | 0.0037843 | 0.00094844
17 | 0.0059247 | 0.0014849
18 | 0.0037734 | 0.0009457
19 | 0.0043591 | 0.0010925
20 | 0.004238 | 0.0010622
21 | 0.0025877 | 0.00064853
22 | 0.0028668 | 0.00071849
23 | 0.0044683 | 0.0011199
24 | 0.0051281 | 0.0012852
25 | 0.0030452 | 0.00076319
26 | 0.003281 | 0.00082229
27 | 0.002165 | 0.0005426
28 | 0.0043311 | 0.0010855
29 | 0.0099726 | 0.0024994
30 | 0.0029504 | 0.00073945
31 | 0.0041424 | 0.0010382
32 | 0.0021714 | 0.0005442
33 | 0.0021898 | 0.00054882
34 | 0.0022438 | 0.00056235
35 | 0.0024573 | 0.00061587
36 | 0.003435 | 0.0008609
37 | 0.0023025 | 0.00057707
38 | 0.0045813 | 0.0011482
39 | 0.0022175 | 0.00055575
40 | 0.0014785 | 0.00037056
41 | 0.0028753 | 0.00072063
42 | 0.0018975 | 0.00047555
43 | 0.0017754 | 0.00044496
44 | 0.0027322 | 0.00068476
45 | 0.0019658 | 0.00049268
46 | 0.0043994 | 0.0011026
47 | 0.0015858 | 0.00039745
48 | 0.004005 | 0.0010037
49 | 0.0035527 | 0.0008904
50 | 0.0017751 | 0.00044488
51 | 0.0019783 | 0.00049582
52 | 0.0017495 | 0.00043847
53 | 0.0024326 | 0.00060968
54 | 0.003137 | 0.0007862
55 | 0.0034017 | 0.00085255
56 | 0.0021179 | 0.00053079
57 | 0.002804 | 0.00070275

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1