## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1125-9_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1125-9_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1125-9_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1125-9_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1125-9_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1125-9_0_7_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_1125-9_0_7_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_1125-9_0_7_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1125-9_0_7_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_1125-9_0_7_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_1125-9_0_7_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1125-9_0_7_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_1125-9_0_7_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1125-9_0_7_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_1125-9_0_7_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_1125-9_0_7_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_1125-9_0_7_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_1125-9_0_7_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_1125-9_0_7_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1125-9_0_7_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_1125-9_0_7_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_1125-9_0_7_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_1125-9_0_7_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_1125-9_0_7_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_1125-9_0_7_node_5 | 0.4 | n |  | TRUE
25 | bus_LV_1125-9_0_7_node_6 | 0.4 | n |  | TRUE
26 | bus_LV_1125-9_0_7_node_7 | 0.4 | n |  | TRUE
27 | bus_LV_1125-9_0_7_node_8 | 0.4 | n |  | TRUE
28 | bus_LV_1125-9_0_7_node_9 | 0.4 | n |  | TRUE
29 | bus_LV_1125-9_0_7_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_1125-9_0_7_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_1125-9_0_7_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_1125-9_0_7_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_1125-9_0_7_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_1125-9_0_7_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1125-9_0_7_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1125-9_0_7_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1125-9_0_7_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_1125-9_0_7_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_1125-9_0_7_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_1125-9_0_7_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_1125-9_0_7_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1125-9_0_7_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_1125-9_0_7_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1125-9_0_7_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1125-9_0_7_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1125-9_0_7_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_1125-9_0_7_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1125-9_0_7_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_1125-9_0_7_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1125-9_0_7_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_1125-9_0_7_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_1125-9_0_7_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_1125-9_0_7_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_1125-9_0_7_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_1125-9_0_7_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_1125-9_0_7_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_1125-9_0_7_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_1125-9_0_7_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_1125-9_0_7_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_1125-9_0_7_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_1125-9_0_7_node_62 | 0.4 | n |  | TRUE
62 | bus_MV_130_0_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1125-9_0_7_load_0 | 0 | 0.0045078 | 0.0011298 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1125-9_0_7_load_3 | 3 | 0.00020471 | 5.1306e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1125-9_0_7_load_38 | 5 | 0.00020574 | 5.1562e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1125-9_0_7_load_55 | 8 | 0.00063789 | 0.00015987 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1125-9_0_7_load_10 | 12 | 0.00027867 | 6.9842e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1125-9_0_7_load_64 | 14 | 0.038229 | 0.0095812 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1125-9_0_7_load_41 | 16 | 0.0035409 | 0.00088744 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1125-9_0_7_load_25 | 18 | 0.00013788 | 3.4556e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1125-9_0_7_load_35 | 20 | 0.0013204 | 0.00033093 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1125-9_0_7_load_39 | 21 | 0.0055257 | 0.0013849 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1125-9_0_7_load_37 | 22 | 0.00062712 | 0.00015717 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1125-9_0_7_load_36 | 23 | 0.00031261 | 7.8349e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1125-9_0_7_load_5 | 24 | 0.0004504 | 0.00011288 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1125-9_0_7_load_6 | 25 | 0.0014753 | 0.00036974 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1125-9_0_7_load_8 | 27 | 0.00034947 | 8.7586e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1125-9_0_7_load_9 | 28 | 0.00018868 | 4.7287e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1125-9_0_7_load_13 | 29 | 0.0038548 | 0.00096611 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1125-9_0_7_load_14 | 30 | 0.0026771 | 0.00067095 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1125-9_0_7_load_15 | 31 | 0.012581 | 0.0031531 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1125-9_0_7_load_16 | 32 | 0.0046587 | 0.0011676 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1125-9_0_7_load_44 | 34 | 0.0030997 | 0.00077685 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1125-9_0_7_load_31 | 35 | 0.088268 | 0.022122 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1125-9_0_7_load_42 | 36 | 0.0097174 | 0.0024354 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1125-9_0_7_load_18 | 37 | 0.0031643 | 0.00079306 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1125-9_0_7_load_20 | 39 | 0.0047504 | 0.0011906 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1125-9_0_7_load_22 | 40 | 0.001227 | 0.0003075 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1125-9_0_7_load_33 | 41 | 0.00016132 | 4.0431e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1125-9_0_7_load_32 | 42 | 0.0010483 | 0.00026272 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1125-9_0_7_load_34 | 43 | 0.00026956 | 6.7558e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1125-9_0_7_load_43 | 44 | 0.02733 | 0.0068494 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1125-9_0_7_load_40 | 45 | 0.0015719 | 0.00039396 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1125-9_0_7_load_56 | 46 | 0.0032823 | 0.00082261 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1125-9_0_7_load_46 | 47 | 0.0022999 | 0.00057641 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1125-9_0_7_load_48 | 49 | 0.0028451 | 0.00071304 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1125-9_0_7_load_49 | 50 | 0.00053035 | 0.00013292 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1125-9_0_7_load_60 | 51 | 0.0023706 | 0.00059414 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1125-9_0_7_load_63 | 52 | 0.00077221 | 0.00019353 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1125-9_0_7_load_54 | 53 | 0.00065178 | 0.00016335 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1125-9_0_7_load_51 | 57 | 0.00031792 | 7.9678e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1125-9_0_7_load_52 | 58 | 0.001986 | 0.00049775 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1125-9_0_7_load_61 | 60 | 0.00099193 | 0.0002486 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1125-9_0_7_load_62 | 61 | 0.002385 | 0.00059773 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1125-9_0_7_line_0 | NAYY 4x150 SE | 0 | 1 | 0.22909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1125-9_0_7_line_1 | NAYY 4x150 SE | 1 | 2 | 0.066135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1125-9_0_7_line_2 | NAYY 4x150 SE | 2 | 3 | 0.010033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1125-9_0_7_line_3 | NAYY 4x150 SE | 2 | 4 | 0.12206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1125-9_0_7_line_4 | NAYY 4x150 SE | 3 | 5 | 0.020221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1125-9_0_7_line_5 | NAYY 4x150 SE | 4 | 6 | 0.32713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1125-9_0_7_line_6 | NAYY 4x150 SE | 5 | 7 | 0.044437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1125-9_0_7_line_7 | NAYY 4x150 SE | 6 | 8 | 0.24167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_1125-9_0_7_line_8 | NAYY 4x150 SE | 6 | 9 | 0.35181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_1125-9_0_7_line_9 | NAYY 4x150 SE | 7 | 20 | 0.063084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1125-9_0_7_line_10 | NAYY 4x150 SE | 7 | 17 | 0.13821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1125-9_0_7_line_11 | NAYY 4x150 SE | 8 | 46 | 0.008157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_1125-9_0_7_line_12 | NAYY 4x150 SE | 9 | 21 | 0.090278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_1125-9_0_7_line_13 | NAYY 4x150 SE | 10 | 11 | 0.11454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1125-9_0_7_line_14 | NAYY 4x150 SE | 10 | 12 | 0.027363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1125-9_0_7_line_15 | NAYY 4x150 SE | 11 | 16 | 0.062665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1125-9_0_7_line_16 | NAYY 4x150 SE | 11 | 13 | 0.2981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_1125-9_0_7_line_17 | NAYY 4x150 SE | 12 | 26 | 0.10368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1125-9_0_7_line_18 | NAYY 4x150 SE | 13 | 14 | 0.025665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1125-9_0_7_line_19 | NAYY 4x150 SE | 13 | 15 | 0.024786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_1125-9_0_7_line_20 | NAYY 4x150 SE | 15 | 44 | 0.040527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_1125-9_0_7_line_21 | NAYY 4x150 SE | 16 | 45 | 0.073556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1125-9_0_7_line_22 | NAYY 4x150 SE | 17 | 18 | 0.09543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1125-9_0_7_line_23 | NAYY 4x150 SE | 17 | 19 | 0.025458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1125-9_0_7_line_24 | NAYY 4x150 SE | 18 | 41 | 0.053095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1125-9_0_7_line_25 | NAYY 4x150 SE | 19 | 39 | 0.030323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1125-9_0_7_line_26 | NAYY 4x150 SE | 20 | 43 | 0.012032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1125-9_0_7_line_27 | NAYY 4x150 SE | 21 | 45 | 0.1294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1125-9_0_7_line_28 | NAYY 4x150 SE | 22 | 23 | 0.055729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1125-9_0_7_line_29 | NAYY 4x150 SE | 23 | 43 | 0.01555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1125-9_0_7_line_30 | NAYY 4x150 SE | 24 | 25 | 0.019681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1125-9_0_7_line_31 | NAYY 4x150 SE | 24 | 26 | 0.026014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1125-9_0_7_line_32 | NAYY 4x150 SE | 25 | 27 | 0.005029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1125-9_0_7_line_33 | NAYY 4x150 SE | 26 | 28 | 0.036898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1125-9_0_7_line_34 | NAYY 4x150 SE | 29 | 30 | 0.0013595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1125-9_0_7_line_35 | NAYY 4x150 SE | 29 | 31 | 0.010268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1125-9_0_7_line_36 | NAYY 4x150 SE | 30 | 32 | 0.0030595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1125-9_0_7_line_37 | NAYY 4x150 SE | 31 | 33 | 0.089749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1125-9_0_7_line_38 | NAYY 4x150 SE | 32 | 37 | 0.012844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1125-9_0_7_line_39 | NAYY 4x150 SE | 33 | 38 | 0.036161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1125-9_0_7_line_40 | NAYY 4x150 SE | 34 | 35 | 0.086348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1125-9_0_7_line_41 | NAYY 4x150 SE | 34 | 36 | 0.036979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_1125-9_0_7_line_42 | NAYY 4x150 SE | 35 | 38 | 0.017504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1125-9_0_7_line_43 | NAYY 4x150 SE | 36 | 44 | 0.030558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_1125-9_0_7_line_44 | NAYY 4x150 SE | 39 | 40 | 0.06843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1125-9_0_7_line_45 | NAYY 4x150 SE | 41 | 42 | 0.011733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1125-9_0_7_line_46 | NAYY 4x150 SE | 46 | 59 | 0.093289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_1125-9_0_7_line_47 | NAYY 4x150 SE | 47 | 48 | 0.036234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1125-9_0_7_line_48 | NAYY 4x150 SE | 47 | 49 | 0.026274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1125-9_0_7_line_49 | NAYY 4x150 SE | 48 | 50 | 0.028501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1125-9_0_7_line_50 | NAYY 4x150 SE | 50 | 55 | 0.071698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1125-9_0_7_line_51 | NAYY 4x150 SE | 51 | 52 | 0.0075725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1125-9_0_7_line_52 | NAYY 4x150 SE | 51 | 53 | 0.40648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_1125-9_0_7_line_53 | NAYY 4x150 SE | 51 | 54 | 0.021467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_1125-9_0_7_line_54 | NAYY 4x150 SE | 53 | 58 | 0.0071153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1125-9_0_7_line_55 | NAYY 4x150 SE | 54 | 60 | 0.039195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1125-9_0_7_line_56 | NAYY 4x150 SE | 54 | 59 | 0.20047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_1125-9_0_7_line_57 | NAYY 4x150 SE | 55 | 56 | 0.09674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1125-9_0_7_line_58 | NAYY 4x150 SE | 56 | 57 | 0.033805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1125-9_0_7_line_59 | NAYY 4x150 SE | 57 | 58 | 0.03734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1125-9_0_7_line_60 | NAYY 4x150 SE | 60 | 61 | 0.022452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1125-9_0_7_trafo_27 | 0.25 MVA 20/0.4 kV | 62 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2640532.6724 | 1230161.3091 | 2640531.3541 | 1230169.1383 | 2640529.1592 | 1230182.2314 | 2640516.186 | 1230266.473 | 2640497.8222 | 1230379.3845 | 2640496.54 | 1230387.5243
1 | 2640531.8316 | 1230097.942 | 2640537.0902 | 1230104.3373 | 2640539.4396 | 1230111.9246 | 2640538.9567 | 1230123.8843 | 2640532.6724 | 1230161.3091
2 | 2640531.8316 | 1230097.942 | 2640527.1818 | 1230098.8998 | 2640522.1017 | 1230097.4421 | 2640522.1017 | 1230097.4421
3 | 2640553.7488 | 1229978.4508 | 2640540.2418 | 1230053.116 | 2640534.5588 | 1230094.5473 | 2640531.8316 | 1230097.942
4 | 2640504.6671 | 1230087.1979 | 2640522.1017 | 1230097.4421
5 | 2640550.833 | 1229676.0998 | 2640559.7986 | 1229682.1424 | 2640576.483 | 1229698.2105 | 2640583.5683 | 1229715.6028 | 2640584.282 | 1229727.5706 | 2640567.9716 | 1229773.321 | 2640568.6223 | 1229795.6503 | 2640571.5312 | 1229804.5201 | 2640577.8553 | 1229811.3229 | 2640573.9565 | 1229815.4322 | 2640572.1783 | 1229821.813 | 2640571.9664 | 1229828.4489 | 2640578.0136 | 1229851.4154 | 2640579.3509 | 1229860.797 | 2640568.4794 | 1229929.91 | 2640563.5536 | 1229948.0099 | 2640553.7488 | 1229978.4508
6 | 2640469.3336 | 1230099.0952 | 2640486.6449 | 1230081.9023 | 2640490.9054 | 1230080.2636 | 2640495.7793 | 1230081.9756 | 2640504.6671 | 1230087.1979
7 | 2640550.833 | 1229676.0998 | 2640526.0782 | 1229663.7792 | 2640504.1165 | 1229649.5321 | 2640457.3501 | 1229622.4307 | 2640438.1981 | 1229610.4598 | 2640418.2322 | 1229593.4026 | 2640402.5348 | 1229572.4387 | 2640385.9794 | 1229552.8699 | 2640375.288 | 1229544.3365 | 2640365.4182 | 1229539.7557 | 2640356.8995 | 1229538.895
8 | 2640550.833 | 1229676.0998 | 2640559.7986 | 1229682.1424 | 2640576.483 | 1229698.2105 | 2640583.5683 | 1229715.6028 | 2640584.282 | 1229727.5706 | 2640567.9716 | 1229773.321 | 2640568.6223 | 1229795.6503 | 2640571.5312 | 1229804.5201 | 2640577.8553 | 1229811.3229 | 2640582.5052 | 1229813.7006 | 2640588.3401 | 1229814.4853 | 2640631.9587 | 1229815.2833 | 2640642.5749 | 1229816.9457 | 2640654.6355 | 1229822.298 | 2640667.1485 | 1229834.6022 | 2640673.571 | 1229844.719 | 2640677.3 | 1229858.8087 | 2640681.9189 | 1229886.7576 | 2640635.635 | 1229890.3325
9 | 2640469.3336 | 1230099.0952 | 2640437.6279 | 1230085.5158 | 2640418.7062 | 1230074.4249 | 2640413.5907 | 1230070.16
10 | 2640469.3336 | 1230099.0952 | 2640460.1349 | 1230112.9301 | 2640455.737 | 1230128.0985 | 2640456.6541 | 1230140.2678 | 2640461.218 | 1230155.2637 | 2640443.8402 | 1230164.4512 | 2640420.5609 | 1230180.4919 | 2640397.8709 | 1230200.1167
11 | 2640356.8995 | 1229538.895 | 2640350.4371 | 1229538.2421 | 2640348.8055 | 1229537.9273
12 | 2640635.635 | 1229890.3325 | 2640635.8447 | 1229908.4229 | 2640634.8326 | 1229932.3864 | 2640618.8141 | 1229977.8485
13 | 2640729.8333 | 1230015.6759 | 2640735.335 | 1230030.8007 | 2640743.5649 | 1230056.7842 | 2640762.9458 | 1230094.7515 | 2640775.5939 | 1230120.365
14 | 2640775.5939 | 1230120.365 | 2640752.769 | 1230135.4567
15 | 2640729.8333 | 1230015.6759 | 2640718.7245 | 1230019.6357 | 2640706.0591 | 1230029.6775 | 2640676.7497 | 1230048.2678
16 | 2640729.8333 | 1230015.6759 | 2640735.335 | 1230030.8007 | 2640743.5649 | 1230056.7842 | 2640745.4133 | 1230055.6517 | 2640776.9712 | 1230034.3546 | 2640795.0741 | 1230081.9303 | 2640817.7498 | 1230152.963 | 2640821.9906 | 1230186.2126 | 2640820.8919 | 1230227.1193 | 2640819.9814 | 1230241.6887
17 | 2640666.2841 | 1230192.6397 | 2640752.769 | 1230135.4567
18 | 2640819.9814 | 1230241.6887 | 2640845.1364 | 1230247.1313
19 | 2640819.9814 | 1230241.6887 | 2640818.0098 | 1230255.2614 | 2640818.9375 | 1230261.3604 | 2640820.9899 | 1230265.8106
20 | 2640820.9899 | 1230265.8106 | 2640824.9366 | 1230270.1625 | 2640831.4924 | 1230273.9877 | 2640857.2257 | 1230282.3624
21 | 2640676.7497 | 1230048.2678 | 2640638.9295 | 1230072.2563 | 2640610.7303 | 1230077.9591
22 | 2640397.8709 | 1230200.1167 | 2640389.9516 | 1230196.2495 | 2640375.8637 | 1230187.2372 | 2640349.3661 | 1230161.8752 | 2640339.8636 | 1230154.673 | 2640327.9401 | 1230150.3785 | 2640319.3476 | 1230149.7244
23 | 2640383.5486 | 1230221.1881 | 2640397.8709 | 1230200.1167
24 | 2640319.3476 | 1230149.7244 | 2640313.5106 | 1230149.28 | 2640302.9653 | 1230151.7546 | 2640275.9846 | 1230166.3588 | 2640270.6233 | 1230168.3793
25 | 2640383.5486 | 1230221.1881 | 2640396.7841 | 1230230.7727 | 2640399.8576 | 1230234.3736 | 2640401.3782 | 1230239.109 | 2640401.2134 | 1230243.2994 | 2640401.2047 | 1230243.3793
26 | 2640404.3494 | 1230062.4553 | 2640413.5907 | 1230070.16
27 | 2640618.8141 | 1229977.8485 | 2640618.6808 | 1229978.2267 | 2640599.6996 | 1230009.1496 | 2640591.5457 | 1230081.8389 | 2640610.7303 | 1230077.9591
28 | 2640444.13 | 1230034.3567 | 2640441.0206 | 1230035.4858 | 2640413.2641 | 1230041.501 | 2640402.3578 | 1230044.6733 | 2640392.4046 | 1230052.4995 | 2640392.4046 | 1230052.4995
29 | 2640404.3494 | 1230062.4553 | 2640401.443 | 1230060.0322 | 2640392.4046 | 1230052.4995
30 | 2640642.5253 | 1230192.7013 | 2640625.0411 | 1230183.6646
31 | 2640666.2841 | 1230192.6397 | 2640662.1974 | 1230195.4469 | 2640656.7013 | 1230197.2327 | 2640651.2856 | 1230197.229 | 2640642.5253 | 1230192.7013
32 | 2640625.0411 | 1230183.6646 | 2640620.5736 | 1230181.3556
33 | 2640666.2841 | 1230192.6397 | 2640660.4919 | 1230229.0802
34 | 2640987.3169 | 1230467.3316 | 2640986.7689 | 1230468.5757
35 | 2640991.4556 | 1230457.9344 | 2640987.3169 | 1230467.3316
36 | 2640985.5357 | 1230471.3757 | 2640986.7689 | 1230468.5757
37 | 2641027.6323 | 1230375.7994 | 2640995.161 | 1230449.5213 | 2640991.4556 | 1230457.9344
38 | 2640985.5357 | 1230471.3757 | 2640980.3589 | 1230483.1298
39 | 2640995.6458 | 1230359.391 | 2641003.1626 | 1230365.5355 | 2641027.6323 | 1230375.7994
40 | 2640896.956 | 1230327.0922 | 2640979.1997 | 1230353.3976
41 | 2640896.956 | 1230327.0922 | 2640894.6035 | 1230314.5127 | 2640891.4099 | 1230306.3968 | 2640883.2523 | 1230293.2646
42 | 2640995.6458 | 1230359.391 | 2640979.1997 | 1230353.3976
43 | 2640883.2523 | 1230293.2646 | 2640879.154 | 1230286.6671 | 2640875.7156 | 1230284.4087 | 2640860.0747 | 1230283.2895 | 2640857.2257 | 1230282.3624
44 | 2640396.4858 | 1230311.5095 | 2640395.7717 | 1230297.3292 | 2640396.3105 | 1230288.2495 | 2640401.2047 | 1230243.3793
45 | 2640259.3364 | 1230165.9729 | 2640264.3761 | 1230168.1258 | 2640270.6233 | 1230168.3793 | 2640270.6233 | 1230168.3793
46 | 2640283.7712 | 1229483.9349 | 2640288.4381 | 1229505.1129 | 2640294.0259 | 1229515.5905 | 2640302.4698 | 1229521.5624 | 2640333.7705 | 1229535.0271 | 2640348.8055 | 1229537.9273
47 | 2639545.9563 | 1229595.657 | 2639544.6806 | 1229585.8647 | 2639543.9524 | 1229571.1953 | 2639539.9573 | 1229560.2287
48 | 2639539.9573 | 1229560.2287 | 2639533.4071 | 1229550.7571 | 2639523.5092 | 1229539.8104
49 | 2639545.9563 | 1229595.657 | 2639572.34 | 1229606.4363
50 | 2639637.8426 | 1229635.5593 | 2639590.6042 | 1229613.8983 | 2639572.34 | 1229606.4363
51 | 2640090.6117 | 1229373.8506 | 2640088.4521 | 1229381.1087
52 | 2640088.4521 | 1229381.1087 | 2639693.0115 | 1229475.2128
53 | 2640106.5341 | 1229392.4486 | 2640098.5818 | 1229388.7928 | 2640088.4521 | 1229381.1087
54 | 2639692.5114 | 1229482.3105 | 2639693.0115 | 1229475.2128
55 | 2640106.5341 | 1229392.4486 | 2640105.5524 | 1229404.3493 | 2640109.6633 | 1229423.8334 | 2640115.3157 | 1229428.517
56 | 2640106.5341 | 1229392.4486 | 2640116.6312 | 1229397.0861 | 2640143.4297 | 1229407.7066 | 2640155.5591 | 1229413.1473 | 2640161.4447 | 1229421.0808 | 2640181.7113 | 1229435.3152 | 2640283.7712 | 1229483.9349
57 | 2639683.4915 | 1229550.2109 | 2639637.8426 | 1229635.5593
58 | 2639683.4915 | 1229550.2109 | 2639695.704 | 1229518.6886
59 | 2639695.704 | 1229518.6886 | 2639697.3427 | 1229514.459 | 2639692.9772 | 1229500.0099 | 2639692.4451 | 1229483.2516 | 2639692.5114 | 1229482.3105
60 | 2640133.8746 | 1229440.6292 | 2640126.8166 | 1229438.0467 | 2640115.3157 | 1229428.517

## bus_geodata
| x | y | coords
0 | 2640496.54 | 1230387.5243
1 | 2640532.6724 | 1230161.3091
2 | 2640531.8316 | 1230097.942
3 | 2640522.1017 | 1230097.4421
4 | 2640553.7488 | 1229978.4508
5 | 2640504.6671 | 1230087.1979
6 | 2640550.833 | 1229676.0998
7 | 2640469.3336 | 1230099.0952
8 | 2640356.8995 | 1229538.895
9 | 2640635.635 | 1229890.3325
10 | 2640775.5939 | 1230120.365
11 | 2640729.8333 | 1230015.6759
12 | 2640752.769 | 1230135.4567
13 | 2640819.9814 | 1230241.6887
14 | 2640845.1364 | 1230247.1313
15 | 2640820.9899 | 1230265.8106
16 | 2640676.7497 | 1230048.2678
17 | 2640397.8709 | 1230200.1167
18 | 2640319.3476 | 1230149.7244
19 | 2640383.5486 | 1230221.1881
20 | 2640413.5907 | 1230070.16
21 | 2640618.8141 | 1229977.8485
22 | 2640444.13 | 1230034.3567
23 | 2640392.4046 | 1230052.4995
24 | 2640642.5253 | 1230192.7013
25 | 2640625.0411 | 1230183.6646
26 | 2640666.2841 | 1230192.6397
27 | 2640620.5736 | 1230181.3556
28 | 2640660.4919 | 1230229.0802
29 | 2640987.3169 | 1230467.3316
30 | 2640986.7689 | 1230468.5757
31 | 2640991.4556 | 1230457.9344
32 | 2640985.5357 | 1230471.3757
33 | 2641027.6323 | 1230375.7994
34 | 2640896.956 | 1230327.0922
35 | 2640979.1997 | 1230353.3976
36 | 2640883.2523 | 1230293.2646
37 | 2640980.3589 | 1230483.1298
38 | 2640995.6458 | 1230359.391
39 | 2640401.2047 | 1230243.3793
40 | 2640396.4858 | 1230311.5095
41 | 2640270.6233 | 1230168.3793
42 | 2640259.3364 | 1230165.9729
43 | 2640404.3494 | 1230062.4553
44 | 2640857.2257 | 1230282.3624
45 | 2640610.7303 | 1230077.9591
46 | 2640348.8055 | 1229537.9273
47 | 2639539.9573 | 1229560.2287
48 | 2639545.9563 | 1229595.657
49 | 2639523.5092 | 1229539.8104
50 | 2639572.34 | 1229606.4363
51 | 2640088.4521 | 1229381.1087
52 | 2640090.6117 | 1229373.8506
53 | 2639693.0115 | 1229475.2128
54 | 2640106.5341 | 1229392.4486
55 | 2639637.8426 | 1229635.5593
56 | 2639683.4915 | 1229550.2109
57 | 2639695.704 | 1229518.6886
58 | 2639692.5114 | 1229482.3105
59 | 2640283.7712 | 1229483.9349
60 | 2640115.3157 | 1229428.517
61 | 2640133.8746 | 1229440.6292
62 | 2640820.9899 | 1230265.8106

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97243 | -0.19595 | 0.0045078 | 0.0011298
1 | 0.97394 | -0.18504 | 0 | 0
2 | 0.97438 | -0.18189 | 0 | 0
3 | 0.97423 | -0.18298 | 0.00020471 | 5.1306e-05
4 | 0.97702 | -0.16287 | 0 | 0
5 | 0.97393 | -0.18513 | 0.00020574 | 5.1562e-05
6 | 0.98057 | -0.13747 | 0 | 0
7 | 0.97329 | -0.18976 | 0 | 0
8 | 0.97832 | -0.15366 | 0.00063789 | 0.00015987
9 | 0.98637 | -0.095937 | 0 | 0
10 | 0.99271 | -0.051074 | 0 | 0
11 | 0.99316 | -0.047863 | 0 | 0
12 | 0.99261 | -0.05184 | 0.00027867 | 6.9842e-05
13 | 1 | 0 | -0.24489 | -0.061504
14 | 0.9986 | -0.0098063 | 0.038229 | 0.0095812
15 | 0.99814 | -0.012839 | 0 | 0
16 | 0.99181 | -0.05741 | 0.0035409 | 0.00088744
17 | 0.9718 | -0.20049 | 0 | 0
18 | 0.97161 | -0.20186 | 0.00013788 | 3.4556e-05
19 | 0.97158 | -0.20211 | 0 | 0
20 | 0.97305 | -0.19145 | 0.0013204 | 0.00033093
21 | 0.98786 | -0.085338 | 0.0055257 | 0.0013849
22 | 0.97296 | -0.19213 | 0.00062712 | 0.00015717
23 | 0.97301 | -0.19176 | 0.00031261 | 7.8349e-05
24 | 0.99215 | -0.055043 | 0.0004504 | 0.00011288
25 | 0.9921 | -0.055408 | 0.0014753 | 0.00036974
26 | 0.99224 | -0.054442 | 0 | 0
27 | 0.9921 | -0.055426 | 0.00034947 | 8.7586e-05
28 | 0.99223 | -0.054514 | 0.00018868 | 4.7287e-05
29 | 0.97804 | -0.15442 | 0.0038548 | 0.00096611
30 | 0.97802 | -0.15457 | 0.0026771 | 0.00067095
31 | 0.97826 | -0.15288 | 0.012581 | 0.0031531
32 | 0.97799 | -0.15482 | 0.0046587 | 0.0011676
33 | 0.98178 | -0.12776 | 0 | 0
34 | 0.9911 | -0.061896 | 0.0030997 | 0.00077685
35 | 0.98389 | -0.11281 | 0.088268 | 0.022122
36 | 0.99322 | -0.047107 | 0.0097174 | 0.0024354
37 | 0.97793 | -0.15524 | 0.0031643 | 0.00079306
38 | 0.9832 | -0.11768 | 0 | 0
39 | 0.97131 | -0.20402 | 0.0047504 | 0.0011906
40 | 0.97119 | -0.20492 | 0.001227 | 0.0003075
41 | 0.97152 | -0.20254 | 0.00016132 | 4.0431e-05
42 | 0.9715 | -0.20267 | 0.0010483 | 0.00026272
43 | 0.97303 | -0.19161 | 0.00026956 | 6.7558e-05
44 | 0.99511 | -0.033934 | 0.02733 | 0.0068494
45 | 0.99034 | -0.06776 | 0.0015719 | 0.00039396
46 | 0.97825 | -0.15418 | 0.0032823 | 0.00082261
47 | 0.97079 | -0.20798 | 0.0022999 | 0.00057641
48 | 0.97107 | -0.20601 | 0 | 0
49 | 0.97068 | -0.20877 | 0.0028451 | 0.00071304
50 | 0.97128 | -0.20445 | 0.00053035 | 0.00013292
51 | 0.97595 | -0.17075 | 0.0023706 | 0.00059414
52 | 0.97594 | -0.17081 | 0.00077221 | 0.00019353
53 | 0.97338 | -0.18932 | 0.00065178 | 0.00016335
54 | 0.97607 | -0.16985 | 0 | 0
55 | 0.97188 | -0.20014 | 0 | 0
56 | 0.97269 | -0.19433 | 0 | 0
57 | 0.97297 | -0.19229 | 0.00031792 | 7.9678e-05
58 | 0.9733 | -0.18992 | 0.001986 | 0.00049775
59 | 0.97756 | -0.15916 | 0 | 0
60 | 0.97588 | -0.17124 | 0.00099193 | 0.0002486
61 | 0.9758 | -0.1718 | 0.002385 | 0.00059773
62 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0045078 | -0.0011298 | 0.0045146 | 0.0011295 | 6.8005e-06 | -2.3083e-07 | 0.0068978 | 0.0068968 | 0.0068978 | 0.97243 | -0.19595 | 0.97394 | -0.18504 | 2.5548
1 | -0.0045146 | -0.0011295 | 0.0045166 | 0.0011295 | 1.9629e-06 | -6.8431e-08 | 0.0068968 | 0.0068965 | 0.0068968 | 0.97394 | -0.18504 | 0.97438 | -0.18189 | 2.5544
2 | 0.010291 | 0.0025746 | -0.010289 | -0.0025741 | 1.5458e-06 | 4.6961e-07 | 0.015714 | 0.015714 | 0.015714 | 0.97438 | -0.18189 | 0.97423 | -0.18298 | 5.82
3 | -0.014807 | -0.0037041 | 0.014846 | 0.0037175 | 3.8936e-05 | 1.3451e-05 | 0.02261 | 0.02261 | 0.02261 | 0.97438 | -0.18189 | 0.97702 | -0.16287 | 8.3742
4 | 0.010085 | 0.0025228 | -0.010082 | -0.0025219 | 2.993e-06 | 8.9945e-07 | 0.015401 | 0.015401 | 0.015401 | 0.97423 | -0.18298 | 0.97393 | -0.18513 | 5.7042
5 | -0.014846 | -0.0037175 | 0.014898 | 0.0037294 | 5.217e-05 | 1.1842e-05 | 0.02261 | 0.022607 | 0.02261 | 0.97702 | -0.16287 | 0.98057 | -0.13747 | 4.187
6 | 0.0098758 | 0.0024704 | -0.0098695 | -0.0024685 | 6.3117e-06 | 1.875e-06 | 0.015087 | 0.015087 | 0.015087 | 0.97393 | -0.18513 | 0.97329 | -0.18976 | 5.5879
7 | 0.019187 | 0.0047878 | -0.019144 | -0.0047806 | 4.2598e-05 | 7.2594e-06 | 0.029109 | 0.029112 | 0.029112 | 0.98057 | -0.13747 | 0.97832 | -0.15366 | 3.5941
8 | -0.034086 | -0.0085172 | 0.034281 | 0.0085791 | 0.0001957 | 6.1875e-05 | 0.051716 | 0.051711 | 0.051716 | 0.98057 | -0.13747 | 0.98637 | -0.095937 | 6.3847
9 | 0.0025304 | 0.00063244 | -0.0025298 | -0.000633 | 5.8898e-07 | -5.5728e-07 | 0.0038679 | 0.0038682 | 0.0038682 | 0.97329 | -0.18976 | 0.97305 | -0.19145 | 1.4327
10 | 0.0073392 | 0.001836 | -0.0073283 | -0.0018336 | 1.0856e-05 | 2.4605e-06 | 0.011219 | 0.01122 | 0.01122 | 0.97329 | -0.18976 | 0.9718 | -0.20049 | 4.1555
11 | 0.018507 | 0.0046207 | -0.018505 | -0.0046205 | 1.3437e-06 | 2.0956e-07 | 0.028142 | 0.028142 | 0.028142 | 0.97832 | -0.15366 | 0.97825 | -0.15418 | 3.4743
12 | -0.034281 | -0.0085791 | 0.034331 | 0.0085949 | 5.0212e-05 | 1.585e-05 | 0.051711 | 0.05171 | 0.051711 | 0.98637 | -0.095937 | 0.98786 | -0.085338 | 6.3841
13 | -0.002744 | -0.00068507 | 0.0027452 | 0.00068405 | 1.2084e-06 | -1.0168e-06 | 0.0041121 | 0.0041116 | 0.0041121 | 0.99271 | -0.051074 | 0.99316 | -0.047863 | 1.523
14 | 0.002744 | 0.00068507 | -0.0027437 | -0.00068531 | 2.8873e-07 | -2.4268e-07 | 0.0041121 | 0.0041122 | 0.0041122 | 0.99271 | -0.051074 | 0.99261 | -0.05184 | 1.523
15 | 0.045186 | 0.011334 | -0.045127 | -0.011314 | 5.9748e-05 | 2.055e-05 | 0.067704 | 0.067705 | 0.067705 | 0.99316 | -0.047863 | 0.99181 | -0.05741 | 8.3586
16 | -0.047931 | -0.012018 | 0.048251 | 0.01213 | 0.00031977 | 0.00011133 | 0.071816 | 0.071811 | 0.071816 | 0.99316 | -0.047863 | 1 | 0 | 8.8661
17 | 0.002465 | 0.00061547 | -0.0024641 | -0.00061647 | 8.8315e-07 | -1e-06 | 0.0036944 | 0.0036949 | 0.0036949 | 0.99261 | -0.05184 | 0.99224 | -0.054442 | 1.3685
18 | 0.038281 | 0.0096008 | -0.038229 | -0.0095812 | 5.197e-05 | 1.9652e-05 | 0.056966 | 0.056966 | 0.056966 | 1 | 0 | 0.9986 | -0.0098063 | 21.0984
19 | 0.15756 | 0.039774 | -0.15727 | -0.039666 | 0.00028362 | 0.00010811 | 0.23455 | 0.23455 | 0.23455 | 1 | 0 | 0.99814 | -0.012839 | 28.9567
20 | 0.15727 | 0.039666 | -0.15681 | -0.039489 | 0.00046374 | 0.00017678 | 0.23455 | 0.23455 | 0.23455 | 0.99814 | -0.012839 | 0.99511 | -0.033934 | 28.9567
21 | 0.041586 | 0.010426 | -0.041526 | -0.010406 | 5.956e-05 | 2.0064e-05 | 0.062392 | 0.062393 | 0.062393 | 0.99181 | -0.05741 | 0.99034 | -0.06776 | 7.7029
22 | 0.0013479 | 0.00033587 | -0.0013476 | -0.00033696 | 2.5352e-07 | -1.0846e-06 | 0.0020631 | 0.0020636 | 0.0020636 | 0.9718 | -0.20049 | 0.97161 | -0.20186 | 0.76428
23 | 0.0059804 | 0.0014977 | -0.0059791 | -0.0014975 | 1.332e-06 | 1.9695e-07 | 0.0091568 | 0.0091569 | 0.0091569 | 0.9718 | -0.20049 | 0.97158 | -0.20211 | 3.3914
24 | 0.0012097 | 0.0003024 | -0.0012096 | -0.00030302 | 1.137e-07 | -6.1379e-07 | 0.0018524 | 0.0018526 | 0.0018526 | 0.97161 | -0.20186 | 0.97152 | -0.20254 | 0.68616
25 | 0.0059791 | 0.0014975 | -0.0059775 | -0.0014973 | 1.5866e-06 | 2.348e-07 | 0.0091569 | 0.009157 | 0.009157 | 0.97158 | -0.20211 | 0.97131 | -0.20402 | 3.3915
26 | 0.0012094 | 0.00030207 | -0.0012093 | -0.00030221 | 2.5669e-08 | -1.3958e-07 | 0.001849 | 0.0018491 | 0.0018491 | 0.97305 | -0.19145 | 0.97303 | -0.19161 | 0.68484
27 | -0.039857 | -0.0099798 | 0.039954 | 0.010012 | 9.7002e-05 | 3.2326e-05 | 0.060033 | 0.060032 | 0.060033 | 0.98786 | -0.085338 | 0.99034 | -0.06776 | 7.4115
28 | -0.00062712 | -0.00015717 | 0.00062715 | 0.00015649 | 3.198e-08 | -6.7985e-07 | 0.0009591 | 0.00095885 | 0.0009591 | 0.97296 | -0.19213 | 0.97301 | -0.19176 | 0.35522
29 | -0.00093976 | -0.00023484 | 0.00093978 | 0.00023465 | 2.0033e-08 | -1.8544e-07 | 0.0014369 | 0.0014369 | 0.0014369 | 0.97301 | -0.19176 | 0.97303 | -0.19161 | 0.53219
30 | 0.0018248 | 0.00045704 | -0.0018247 | -0.00045726 | 9.1986e-08 | -2.1878e-07 | 0.0027367 | 0.0027368 | 0.0027368 | 0.99215 | -0.055043 | 0.9921 | -0.055408 | 1.0136
31 | -0.0022752 | -0.00056992 | 0.0022754 | 0.00056966 | 1.89e-07 | -2.6329e-07 | 0.0034123 | 0.0034121 | 0.0034123 | 0.99215 | -0.055043 | 0.99224 | -0.054442 | 1.2638
32 | 0.00034947 | 8.7521e-05 | -0.00034947 | -8.7586e-05 | 8.6215e-10 | -6.4607e-08 | 0.00052414 | 0.00052416 | 0.00052416 | 0.9921 | -0.055408 | 0.9921 | -0.055426 | 0.19413
33 | 0.00018868 | 4.6811e-05 | -0.00018868 | -4.7287e-05 | 1.8423e-09 | -4.7588e-07 | 0.00028279 | 0.00028295 | 0.00028295 | 0.99224 | -0.054442 | 0.99223 | -0.054514 | 0.1048
34 | 0.010501 | 0.0026316 | -0.010501 | -0.0026316 | 2.1652e-07 | 6.6218e-08 | 0.015976 | 0.015976 | 0.015976 | 0.97804 | -0.15442 | 0.97802 | -0.15457 | 5.9171
35 | -0.014356 | -0.0035977 | 0.014359 | 0.0035988 | 3.0565e-06 | 1.0467e-06 | 0.021841 | 0.021841 | 0.021841 | 0.97804 | -0.15442 | 0.97826 | -0.15288 | 8.0892
36 | 0.0078235 | 0.0019606 | -0.0078232 | -0.0019605 | 2.7049e-07 | 6.5641e-08 | 0.011903 | 0.011903 | 0.011903 | 0.97802 | -0.15457 | 0.97799 | -0.15482 | 4.4085
37 | -0.02694 | -0.0067519 | 0.027034 | 0.0067869 | 9.4039e-05 | 3.5038e-05 | 0.040978 | 0.040977 | 0.040978 | 0.97826 | -0.15288 | 0.98178 | -0.12776 | 15.177
38 | 0.0031645 | 0.00079297 | -0.0031643 | -0.00079306 | 1.858e-07 | -8.9693e-08 | 0.0048148 | 0.0048149 | 0.0048149 | 0.97799 | -0.15482 | 0.97793 | -0.15524 | 1.7833
39 | -0.027034 | -0.0067869 | 0.027072 | 0.006801 | 3.7889e-05 | 1.4115e-05 | 0.040977 | 0.040977 | 0.040977 | 0.98178 | -0.12776 | 0.9832 | -0.11768 | 15.1768
40 | 0.11618 | 0.029243 | -0.11536 | -0.02893 | 0.00082009 | 0.00031321 | 0.17447 | 0.17447 | 0.17447 | 0.9911 | -0.061896 | 0.98389 | -0.11281 | 32.3097
41 | -0.11928 | -0.03002 | 0.11952 | 0.030113 | 0.00024679 | 9.3487e-05 | 0.17913 | 0.17912 | 0.17913 | 0.9911 | -0.061896 | 0.99322 | -0.047107 | 22.1143
42 | 0.02709 | 0.0068079 | -0.027072 | -0.006801 | 1.8341e-05 | 6.8319e-06 | 0.040977 | 0.040977 | 0.040977 | 0.98389 | -0.11281 | 0.9832 | -0.11768 | 15.1768
43 | -0.12924 | -0.032549 | 0.12948 | 0.032639 | 0.00023843 | 9.0516e-05 | 0.19368 | 0.19368 | 0.19368 | 0.99322 | -0.047107 | 0.99511 | -0.033934 | 23.9115
44 | 0.0012271 | 0.00030671 | -0.001227 | -0.0003075 | 1.5088e-07 | -7.8885e-07 | 0.0018796 | 0.0018799 | 0.0018799 | 0.97131 | -0.20402 | 0.97119 | -0.20492 | 0.69625
45 | 0.0010483 | 0.00026258 | -0.0010483 | -0.00026272 | 1.8873e-08 | -1.3802e-07 | 0.0016055 | 0.0016056 | 0.0016056 | 0.97152 | -0.20254 | 0.9715 | -0.20267 | 0.59467
46 | 0.015223 | 0.0037979 | -0.015213 | -0.0037974 | 1.0399e-05 | 4.8854e-07 | 0.02315 | 0.023151 | 0.023151 | 0.97825 | -0.15418 | 0.97756 | -0.15916 | 2.8581
47 | -0.0051453 | -0.0012892 | 0.0051467 | 0.0012893 | 1.4062e-06 | 9.2734e-08 | 0.0078865 | 0.0078863 | 0.0078865 | 0.97079 | -0.20798 | 0.97107 | -0.20601 | 2.9209
48 | 0.0028454 | 0.00071284 | -0.0028451 | -0.00071304 | 3.1185e-07 | -2.0488e-07 | 0.0043613 | 0.0043614 | 0.0043614 | 0.97079 | -0.20798 | 0.97068 | -0.20877 | 1.6153
49 | -0.0051467 | -0.0012893 | 0.0051478 | 0.0012894 | 1.1061e-06 | 7.2749e-08 | 0.0078863 | 0.0078862 | 0.0078863 | 0.97107 | -0.20601 | 0.97128 | -0.20445 | 2.9209
50 | -0.0056781 | -0.0014223 | 0.0056815 | 0.0014227 | 3.3852e-06 | 4.1407e-07 | 0.0086987 | 0.0086984 | 0.0086987 | 0.97128 | -0.20445 | 0.97188 | -0.20014 | 3.2217
51 | 0.00077221 | 0.00019344 | -0.00077221 | -0.00019353 | 6.5501e-09 | -9.2105e-08 | 0.0011773 | 0.0011774 | 0.0011774 | 0.97595 | -0.17075 | 0.97594 | -0.17081 | 0.43607
52 | 0.0086682 | 0.0021631 | -0.008646 | -0.0021647 | 2.2147e-05 | -1.614e-06 | 0.013213 | 0.013217 | 0.013217 | 0.97595 | -0.17075 | 0.97338 | -0.18932 | 2.4475
53 | -0.011811 | -0.0029507 | 0.011812 | 0.0029504 | 1.4474e-06 | -2.4814e-07 | 0.018005 | 0.018004 | 0.018005 | 0.97595 | -0.17075 | 0.97607 | -0.16985 | 2.2228
54 | 0.0079943 | 0.0020014 | -0.0079936 | -0.0020012 | 6.6303e-07 | 1.6657e-07 | 0.01222 | 0.01222 | 0.01222 | 0.97338 | -0.18932 | 0.9733 | -0.18992 | 4.526
55 | 0.0033777 | 0.00084588 | -0.0033771 | -0.00084612 | 6.4847e-07 | -2.4039e-07 | 0.0051491 | 0.0051493 | 0.0051493 | 0.97607 | -0.16985 | 0.97588 | -0.17124 | 1.9071
56 | -0.01519 | -0.0037963 | 0.015213 | 0.0037974 | 2.235e-05 | 1.068e-06 | 0.023153 | 0.023151 | 0.023153 | 0.97607 | -0.16985 | 0.97756 | -0.15916 | 2.8585
57 | -0.0056815 | -0.0014227 | 0.0056861 | 0.0014233 | 4.5672e-06 | 5.5682e-07 | 0.0086984 | 0.0086979 | 0.0086984 | 0.97188 | -0.20014 | 0.97269 | -0.19433 | 3.2216
58 | -0.0056861 | -0.0014233 | 0.0056877 | 0.0014235 | 1.5959e-06 | 1.9407e-07 | 0.0086979 | 0.0086978 | 0.0086979 | 0.97269 | -0.19433 | 0.97297 | -0.19229 | 3.2215
59 | -0.0060056 | -0.0015032 | 0.0060076 | 0.0015035 | 1.9653e-06 | 2.9196e-07 | 0.009184 | 0.0091838 | 0.009184 | 0.97297 | -0.19229 | 0.9733 | -0.18992 | 3.4015
60 | 0.0023852 | 0.00059752 | -0.002385 | -0.00059773 | 1.853e-07 | -2.0922e-07 | 0.0036368 | 0.0036369 | 0.0036369 | 0.97588 | -0.17124 | 0.9758 | -0.1718 | 1.347

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24489 | 0.061504

## res_load
| p_mw | q_mvar
0 | 0.0045078 | 0.0011298
1 | 0.00020471 | 5.1306e-05
2 | 0.00020574 | 5.1562e-05
3 | 0.00063789 | 0.00015987
4 | 0.00027867 | 6.9842e-05
5 | 0.038229 | 0.0095812
6 | 0.0035409 | 0.00088744
7 | 0.00013788 | 3.4556e-05
8 | 0.0013204 | 0.00033093
9 | 0.0055257 | 0.0013849
10 | 0.00062712 | 0.00015717
11 | 0.00031261 | 7.8349e-05
12 | 0.0004504 | 0.00011288
13 | 0.0014753 | 0.00036974
14 | 0.00034947 | 8.7586e-05
15 | 0.00018868 | 4.7287e-05
16 | 0.0038548 | 0.00096611
17 | 0.0026771 | 0.00067095
18 | 0.012581 | 0.0031531
19 | 0.0046587 | 0.0011676
20 | 0.0030997 | 0.00077685
21 | 0.088268 | 0.022122
22 | 0.0097174 | 0.0024354
23 | 0.0031643 | 0.00079306
24 | 0.0047504 | 0.0011906
25 | 0.001227 | 0.0003075
26 | 0.00016132 | 4.0431e-05
27 | 0.0010483 | 0.00026272
28 | 0.00026956 | 6.7558e-05
29 | 0.02733 | 0.0068494
30 | 0.0015719 | 0.00039396
31 | 0.0032823 | 0.00082261
32 | 0.0022999 | 0.00057641
33 | 0.0028451 | 0.00071304
34 | 0.00053035 | 0.00013292
35 | 0.0023706 | 0.00059414
36 | 0.00077221 | 0.00019353
37 | 0.00065178 | 0.00016335
38 | 0.00031792 | 7.9678e-05
39 | 0.001986 | 0.00049775
40 | 0.00099193 | 0.0002486
41 | 0.002385 | 0.00059773

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1