## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1139-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1139-10_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1139-10_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1139-10_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1139-10_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1139-10_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1139-10_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1139-10_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1139-10_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1139-10_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1139-10_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1139-10_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1139-10_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1139-10_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1139-10_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1139-10_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1139-10_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_1139-10_0_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1139-10_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1139-10_0_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1139-10_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1139-10_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1139-10_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1139-10_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1139-10_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1139-10_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1139-10_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1139-10_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1139-10_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1139-10_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1139-10_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_MV_475_1_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1139-10_0_3_load_0 | 0 | 0.0067557 | 0.0016931 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1139-10_0_3_load_3 | 2 | 0.001607 | 0.00040275 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1139-10_0_3_load_5 | 4 | 0.095437 | 0.023919 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1139-10_0_3_load_13 | 5 | 0.0046731 | 0.0011712 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1139-10_0_3_load_6 | 6 | 0.00051938 | 0.00013017 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1139-10_0_3_load_14 | 7 | 0.0010925 | 0.00027379 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1139-10_0_3_load_7 | 8 | 0.0017883 | 0.00044819 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1139-10_0_3_load_8 | 12 | 0.033156 | 0.0083097 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1139-10_0_3_load_12 | 13 | 0.0007868 | 0.00019719 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1139-10_0_3_load_15 | 14 | 0.0011615 | 0.00029109 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1139-10_0_3_load_22 | 16 | 0.0039477 | 0.00098938 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1139-10_0_3_load_29 | 19 | 0.0039026 | 0.00097808 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1139-10_0_3_load_17 | 20 | 0.0050205 | 0.0012583 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1139-10_0_3_load_18 | 21 | 0.0054369 | 0.0013626 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1139-10_0_3_load_21 | 23 | 0.00082747 | 0.00020738 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1139-10_0_3_load_25 | 25 | 0.0048105 | 0.0012056 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1139-10_0_3_load_23 | 26 | 0.00050953 | 0.0001277 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1139-10_0_3_load_26 | 27 | 0.00092812 | 0.00023261 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1139-10_0_3_load_28 | 28 | 0.0039233 | 0.00098327 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1139-10_0_3_load_27 | 29 | 0.00055805 | 0.00013986 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1139-10_0_3_load_32 | 30 | 0.0051072 | 0.00128 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1139-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1139-10_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.040134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1139-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.054802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1139-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.046433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1139-10_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.036274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1139-10_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.030638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1139-10_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.024758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1139-10_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.030321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1139-10_0_3_line_8 | NAYY 4x150 SE | 7 | 14 | 0.021146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1139-10_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.015405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1139-10_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.083062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1139-10_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.017182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1139-10_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.031733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1139-10_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.026445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1139-10_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.033103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1139-10_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.014947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1139-10_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.035615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1139-10_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.020121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1139-10_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.053587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1139-10_0_3_line_19 | NAYY 4x150 SE | 18 | 23 | 0.038542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1139-10_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.014966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1139-10_0_3_line_21 | NAYY 4x150 SE | 19 | 30 | 0.043169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1139-10_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.024276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1139-10_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.011065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1139-10_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.057896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1139-10_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.045333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1139-10_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.025565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1139-10_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.060561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1139-10_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.00039064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1139-10_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.018932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1139-10_0_3_trafo_3 | 0.25 MVA 20/0.4 kV | 31 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2634779.1937 | 1231099.571 | 2634793.8267 | 1231101.8801 | 2634803.0859 | 1231103.6464 | 2634814.78 | 1231105.5352
1 | 2634779.1937 | 1231099.571 | 2634783.0081 | 1231070.1863 | 2634783.8677 | 1231064.3544 | 2634784.7173 | 1231059.8258
2 | 2634759.6754 | 1231150.4994 | 2634766.41 | 1231137.175 | 2634771.1485 | 1231127.1965 | 2634773.5937 | 1231120.8847 | 2634776.1605 | 1231113.195 | 2634777.8502 | 1231106.5674 | 2634779.1937 | 1231099.571
3 | 2634797.5174 | 1231015.2093 | 2634792.8617 | 1231029.9081 | 2634788.0149 | 1231046.7234 | 2634785.0637 | 1231057.9797 | 2634784.7173 | 1231059.8258
4 | 2634759.6754 | 1231150.4994 | 2634743.2311 | 1231139.341 | 2634736.8768 | 1231132.9333 | 2634735.5359 | 1231125.679
5 | 2634797.5174 | 1231015.2093 | 2634805.0835 | 1230991.3225 | 2634806.4906 | 1230988.9848 | 2634808.6674 | 1230987.1409 | 2634808.6674 | 1230987.1409
6 | 2634735.5359 | 1231125.679 | 2634733.2355 | 1231113.2333 | 2634730.0575 | 1231101.5569
7 | 2634838.4378 | 1230989.7726 | 2634817.1542 | 1230986.3344 | 2634813.257 | 1230985.8224 | 2634810.6799 | 1230986.1854 | 2634808.6674 | 1230987.1409
8 | 2634722.5523 | 1231081.9975 | 2634723.6124 | 1231082.9808 | 2634727.7194 | 1231092.9664 | 2634730.0575 | 1231101.5569
9 | 2634853.6459 | 1230992.2294 | 2634838.4378 | 1230989.7726
10 | 2634853.6459 | 1230992.2294 | 2634862.7198 | 1230993.3498 | 2634870.7853 | 1230993.3638 | 2634879.5221 | 1230992.5478 | 2634885.5437 | 1230991.1155 | 2634893.3376 | 1230988.3706 | 2634891.7867 | 1230985.5153 | 2634889.1868 | 1230980.7305 | 2634884.0161 | 1230970.0825 | 2634880.7609 | 1230963.3927 | 2634877.1731 | 1230956.5897 | 2634873.3752 | 1230950.7528
11 | 2634853.6459 | 1230992.2294 | 2634852.4831 | 1230999.3936 | 2634850.9867 | 1231009.202
12 | 2634873.3752 | 1230950.7528 | 2634868.7432 | 1230954.1277 | 2634864.7727 | 1230957.0618 | 2634861.6042 | 1230958.8443 | 2634858.5072 | 1230960.0381 | 2634856.0204 | 1230960.5127 | 2634853.824 | 1230960.5332 | 2634851.9869 | 1230959.9776 | 2634850.1977 | 1230959.011 | 2634847.1466 | 1230956.2581 | 2634846.2379 | 1230955.3007
13 | 2634850.9867 | 1231009.202 | 2634846.2367 | 1231010.7529 | 2634843.8514 | 1231012.0064 | 2634840.8633 | 1231014.0235 | 2634837.6422 | 1231017.0287 | 2634835.8117 | 1231019.2193 | 2634832.7817 | 1231026.5031
14 | 2634691.8 | 1231073.4228 | 2634701.1615 | 1231074.5558 | 2634710.3881 | 1231075.4435 | 2634716.6524 | 1231076.5251 | 2634722.5523 | 1231081.9975
15 | 2634691.8 | 1231073.4228 | 2634692.5617 | 1231058.4951
16 | 2634689.6391 | 1231108.932 | 2634689.4451 | 1231103.2496 | 2634690.1779 | 1231089.2675 | 2634691.8 | 1231073.4228
17 | 2634693.5871 | 1231038.4006 | 2634692.5617 | 1231058.4951
18 | 2634689.6391 | 1231108.932 | 2634649.1337 | 1231107.0283 | 2634638.0995 | 1231113.9712
19 | 2634693.5871 | 1231038.4006 | 2634694.5897 | 1230999.8716
20 | 2634693.5871 | 1231038.4006 | 2634678.66 | 1231037.3147
21 | 2634638.0995 | 1231113.9712 | 2634649.7624 | 1231155.535
22 | 2634654.4482 | 1231035.5534 | 2634678.66 | 1231037.3147
23 | 2634643.4127 | 1231034.7506 | 2634654.4482 | 1231035.5534
24 | 2634643.4127 | 1231034.7506 | 2634585.9102 | 1231026.7003
25 | 2634643.4127 | 1231034.7506 | 2634642.893 | 1231080.0809
26 | 2634694.5897 | 1230999.8716 | 2634695.2547 | 1230974.3151
27 | 2634585.9102 | 1231026.7003 | 2634582.0675 | 1231040.2529 | 2634579.8288 | 1231052.7809 | 2634578.3536 | 1231064.2238 | 2634577.1879 | 1231086.4027
28 | 2634642.893 | 1231080.0809 | 2634642.8885 | 1231080.4715
29 | 2634577.1879 | 1231086.4027 | 2634576.1942 | 1231105.3086

## bus_geodata
| x | y | coords
0 | 2634814.78 | 1231105.5352
1 | 2634779.1937 | 1231099.571
2 | 2634784.7173 | 1231059.8258
3 | 2634759.6754 | 1231150.4994
4 | 2634797.5174 | 1231015.2093
5 | 2634735.5359 | 1231125.679
6 | 2634808.6674 | 1230987.1409
7 | 2634730.0575 | 1231101.5569
8 | 2634838.4378 | 1230989.7726
9 | 2634853.6459 | 1230992.2294
10 | 2634873.3752 | 1230950.7528
11 | 2634850.9867 | 1231009.202
12 | 2634832.7817 | 1231026.5031
13 | 2634846.2379 | 1230955.3007
14 | 2634722.5523 | 1231081.9975
15 | 2634691.8 | 1231073.4228
16 | 2634692.5617 | 1231058.4951
17 | 2634689.6391 | 1231108.932
18 | 2634693.5871 | 1231038.4006
19 | 2634638.0995 | 1231113.9712
20 | 2634678.66 | 1231037.3147
21 | 2634654.4482 | 1231035.5534
22 | 2634643.4127 | 1231034.7506
23 | 2634694.5897 | 1230999.8716
24 | 2634585.9102 | 1231026.7003
25 | 2634642.893 | 1231080.0809
26 | 2634695.2547 | 1230974.3151
27 | 2634577.1879 | 1231086.4027
28 | 2634642.8885 | 1231080.4715
29 | 2634576.1942 | 1231105.3086
30 | 2634649.7624 | 1231155.535
31 | 2634783.2159 | 1231068.777

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99683 | -0.022018 | 0.0067557 | 0.0016931
1 | 0.99718 | -0.01957 | 0 | 0
2 | 1 | 0 | -0.18248 | -0.045701
3 | 0.99387 | -0.042725 | 0 | 0
4 | 0.99562 | -0.030654 | 0.095437 | 0.023919
5 | 0.99167 | -0.058135 | 0.0046731 | 0.0011712
6 | 0.99402 | -0.041861 | 0.00051938 | 0.00013017
7 | 0.99034 | -0.067513 | 0.0010925 | 0.00027379
8 | 0.99246 | -0.052827 | 0.0017883 | 0.00044819
9 | 0.9917 | -0.058132 | 0 | 0
10 | 0.99161 | -0.058801 | 0 | 0
11 | 0.99088 | -0.063918 | 0 | 0
12 | 0.98962 | -0.072843 | 0.033156 | 0.0083097
13 | 0.99157 | -0.059055 | 0.0007868 | 0.00019719
14 | 0.98923 | -0.075308 | 0.0011615 | 0.00029109
15 | 0.98756 | -0.08715 | 0 | 0
16 | 0.987 | -0.091128 | 0.0039477 | 0.00098938
17 | 0.98709 | -0.090439 | 0 | 0
18 | 0.98636 | -0.095675 | 0 | 0
19 | 0.9864 | -0.095392 | 0.0039026 | 0.00097808
20 | 0.98591 | -0.098855 | 0.0050205 | 0.0012583
21 | 0.98536 | -0.10276 | 0.0054369 | 0.0013626
22 | 0.98519 | -0.10393 | 0 | 0
23 | 0.98628 | -0.096206 | 0.00082747 | 0.00020738
24 | 0.98507 | -0.10482 | 0 | 0
25 | 0.98462 | -0.108 | 0.0048105 | 0.0012056
26 | 0.98626 | -0.09634 | 0.00050953 | 0.0001277
27 | 0.98494 | -0.10575 | 0.00092812 | 0.00023261
28 | 0.98462 | -0.10802 | 0.0039233 | 0.00098327
29 | 0.98492 | -0.10586 | 0.00055805 | 0.00013986
30 | 0.98608 | -0.097655 | 0.0051072 | 0.00128
31 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0067557 | -0.0016931 | 0.006758 | 0.0016936 | 2.29e-06 | 4.1016e-07 | 0.010085 | 0.010084 | 0.010085 | 0.99683 | -0.022018 | 0.99718 | -0.01957 | 3.735
1 | -0.049094 | -0.012354 | 0.049229 | 0.012406 | 0.00013447 | 5.1195e-05 | 0.073277 | 0.073277 | 0.073277 | 0.99718 | -0.01957 | 1 | 0 | 27.1396
2 | 0.042336 | 0.010661 | -0.0422 | -0.010609 | 0.00013656 | 5.181e-05 | 0.063193 | 0.063193 | 0.063193 | 0.99718 | -0.01957 | 0.99387 | -0.042725 | 23.4048
3 | 0.13245 | 0.033295 | -0.13189 | -0.033079 | 0.00056297 | 0.00021532 | 0.19713 | 0.19713 | 0.19713 | 1 | 0 | 0.99562 | -0.030654 | 36.5055
4 | 0.0422 | 0.010609 | -0.042109 | -0.010575 | 9.0389e-05 | 3.4296e-05 | 0.063193 | 0.063193 | 0.063193 | 0.99387 | -0.042725 | 0.99167 | -0.058135 | 23.4048
5 | 0.036455 | 0.0091608 | -0.036398 | -0.0091393 | 5.677e-05 | 2.1437e-05 | 0.054493 | 0.054493 | 0.054493 | 0.99562 | -0.030654 | 0.99402 | -0.041861 | 20.1826
6 | 0.037436 | 0.0094036 | -0.037387 | -0.0093852 | 4.8761e-05 | 1.8435e-05 | 0.056181 | 0.056181 | 0.056181 | 0.99167 | -0.058135 | 0.99034 | -0.067513 | 20.8078
7 | 0.035879 | 0.0090092 | -0.035824 | -0.0089886 | 5.4591e-05 | 2.0604e-05 | 0.053715 | 0.053716 | 0.053716 | 0.99402 | -0.041861 | 0.99246 | -0.052827 | 19.8947
8 | 0.036295 | 0.0091114 | -0.036256 | -0.0090965 | 3.925e-05 | 1.4824e-05 | 0.05454 | 0.05454 | 0.05454 | 0.99034 | -0.067513 | 0.98923 | -0.075308 | 20.1999
9 | 0.034036 | 0.0085404 | -0.034011 | -0.0085309 | 2.5037e-05 | 9.4306e-06 | 0.051034 | 0.051034 | 0.051034 | 0.99246 | -0.052827 | 0.9917 | -0.058132 | 18.9016
10 | 0.0007869 | 0.00019575 | -0.00078683 | -0.00019679 | 7.2217e-08 | -1.0438e-06 | 0.0011802 | 0.0011806 | 0.0011806 | 0.9917 | -0.058132 | 0.99161 | -0.058801 | 0.43725
11 | 0.033224 | 0.0083352 | -0.033197 | -0.0083252 | 2.6648e-05 | 1.0028e-05 | 0.049854 | 0.049854 | 0.049854 | 0.9917 | -0.058132 | 0.99088 | -0.063918 | 18.4646
12 | 0.00078683 | 0.00019679 | -0.0007868 | -0.00019719 | 2.7602e-08 | -3.9873e-07 | 0.0011806 | 0.0011807 | 0.0011807 | 0.99161 | -0.058801 | 0.99157 | -0.059055 | 0.43731
13 | 0.033197 | 0.0083252 | -0.033156 | -0.0083097 | 4.1015e-05 | 1.5435e-05 | 0.049854 | 0.049854 | 0.049854 | 0.99088 | -0.063918 | 0.98962 | -0.072843 | 18.4646
14 | 0.035094 | 0.0088055 | -0.035037 | -0.0087837 | 5.7571e-05 | 2.1718e-05 | 0.052793 | 0.052793 | 0.052793 | 0.98923 | -0.075308 | 0.98756 | -0.08715 | 19.5529
15 | 0.026015 | 0.0065228 | -0.026001 | -0.0065175 | 1.4332e-05 | 5.3211e-06 | 0.039199 | 0.039199 | 0.039199 | 0.98756 | -0.08715 | 0.987 | -0.091128 | 14.5183
16 | 0.0090216 | 0.0022609 | -0.0090175 | -0.0022598 | 4.1065e-06 | 1.124e-06 | 0.013593 | 0.013594 | 0.013594 | 0.98756 | -0.08715 | 0.98709 | -0.090439 | 5.0347
17 | 0.022053 | 0.0055281 | -0.022039 | -0.005523 | 1.3879e-05 | 5.081e-06 | 0.033248 | 0.033248 | 0.033248 | 0.987 | -0.091128 | 0.98636 | -0.095675 | 12.314
18 | 0.0090175 | 0.0022598 | -0.0090113 | -0.0022581 | 6.179e-06 | 1.692e-06 | 0.013594 | 0.013594 | 0.013594 | 0.98709 | -0.090439 | 0.9864 | -0.095392 | 5.0348
19 | 0.0013371 | 0.00033431 | -0.001337 | -0.00033476 | 9.7839e-08 | -4.5427e-07 | 0.0020169 | 0.002017 | 0.002017 | 0.98636 | -0.095675 | 0.98628 | -0.096206 | 0.74705
20 | 0.020702 | 0.0051887 | -0.020693 | -0.0051854 | 9.1092e-06 | 3.3126e-06 | 0.031231 | 0.031231 | 0.031231 | 0.98636 | -0.095675 | 0.98591 | -0.098855 | 11.5671
21 | 0.0051088 | 0.00128 | -0.0051072 | -0.00128 | 1.5999e-06 | 6.4487e-08 | 0.0077066 | 0.0077068 | 0.0077068 | 0.9864 | -0.095392 | 0.98608 | -0.097655 | 2.8544
22 | 0.015672 | 0.0039271 | -0.015664 | -0.0039242 | 8.4754e-06 | 2.9504e-06 | 0.023654 | 0.023654 | 0.023654 | 0.98591 | -0.098855 | 0.98536 | -0.10276 | 8.7607
23 | 0.010227 | 0.0025616 | -0.010225 | -0.0025611 | 1.6467e-06 | 4.9242e-07 | 0.015443 | 0.015443 | 0.015443 | 0.98536 | -0.10276 | 0.98519 | -0.10393 | 5.7198
24 | 0.0014866 | 0.00037087 | -0.0014864 | -0.00037154 | 1.8205e-07 | -6.6712e-07 | 0.0022447 | 0.0022449 | 0.0022449 | 0.98519 | -0.10393 | 0.98507 | -0.10482 | 0.83145
25 | 0.0087387 | 0.0021902 | -0.0087338 | -0.0021889 | 4.9281e-06 | 1.3185e-06 | 0.013199 | 0.013199 | 0.013199 | 0.98519 | -0.10393 | 0.98462 | -0.108 | 4.8885
26 | 0.00050954 | 0.00012738 | -0.00050953 | -0.0001277 | 9.4261e-09 | -3.2263e-07 | 0.00076863 | 0.00076875 | 0.00076875 | 0.98628 | -0.096206 | 0.98626 | -0.09634 | 0.28472
27 | 0.0014864 | 0.00037154 | -0.0014862 | -0.00037223 | 1.9047e-07 | -6.976e-07 | 0.0022449 | 0.0022452 | 0.0022452 | 0.98507 | -0.10482 | 0.98494 | -0.10575 | 0.83155
28 | 0.0039233 | 0.00098327 | -0.0039233 | -0.00098327 | 8.5694e-09 | -1.6728e-09 | 0.0059291 | 0.0059291 | 0.0059291 | 0.98462 | -0.108 | 0.98462 | -0.10802 | 2.196
29 | 0.00055806 | 0.00013962 | -0.00055805 | -0.00013986 | 8.3965e-09 | -2.3772e-07 | 0.00084302 | 0.0008431 | 0.0008431 | 0.98494 | -0.10575 | 0.98492 | -0.10586 | 0.31226

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18409 | 0.046103

## res_load
| p_mw | q_mvar
0 | 0.0067557 | 0.0016931
1 | 0.001607 | 0.00040275
2 | 0.095437 | 0.023919
3 | 0.0046731 | 0.0011712
4 | 0.00051938 | 0.00013017
5 | 0.0010925 | 0.00027379
6 | 0.0017883 | 0.00044819
7 | 0.033156 | 0.0083097
8 | 0.0007868 | 0.00019719
9 | 0.0011615 | 0.00029109
10 | 0.0039477 | 0.00098938
11 | 0.0039026 | 0.00097808
12 | 0.0050205 | 0.0012583
13 | 0.0054369 | 0.0013626
14 | 0.00082747 | 0.00020738
15 | 0.0048105 | 0.0012056
16 | 0.00050953 | 0.0001277
17 | 0.00092812 | 0.00023261
18 | 0.0039233 | 0.00098327
19 | 0.00055805 | 0.00013986
20 | 0.0051072 | 0.00128

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1