## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1139-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1139-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1139-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1139-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1139-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1139-2_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1139-2_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1139-2_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1139-2_0_2_node_102 | 0.4 | n |  | TRUE
9 | bus_LV_1139-2_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1139-2_0_2_node_100 | 0.4 | n |  | TRUE
11 | bus_LV_1139-2_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1139-2_0_2_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1139-2_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1139-2_0_2_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_1139-2_0_2_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_1139-2_0_2_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_1139-2_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1139-2_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1139-2_0_2_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_1139-2_0_2_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1139-2_0_2_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_1139-2_0_2_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_1139-2_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1139-2_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1139-2_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1139-2_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1139-2_0_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1139-2_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1139-2_0_2_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1139-2_0_2_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_1139-2_0_2_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_1139-2_0_2_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_1139-2_0_2_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_1139-2_0_2_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_1139-2_0_2_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_1139-2_0_2_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_1139-2_0_2_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_1139-2_0_2_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_1139-2_0_2_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_1139-2_0_2_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_1139-2_0_2_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_1139-2_0_2_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_1139-2_0_2_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_1139-2_0_2_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_1139-2_0_2_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_1139-2_0_2_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_1139-2_0_2_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_1139-2_0_2_node_104 | 0.4 | n |  | TRUE
49 | bus_LV_1139-2_0_2_node_103 | 0.4 | n |  | TRUE
50 | bus_LV_1139-2_0_2_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_1139-2_0_2_node_101 | 0.4 | n |  | TRUE
52 | bus_MV_475_1_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1139-2_0_2_load_0 | 0 | 0.00063576 | 0.00015934 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1139-2_0_2_load_1 | 1 | 0.00021301 | 5.3384e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1139-2_0_2_load_2 | 2 | 0.00018499 | 4.6364e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1139-2_0_2_load_4 | 4 | 9.4602e-05 | 2.3709e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1139-2_0_2_load_5 | 5 | 0.00017076 | 4.2795e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1139-2_0_2_load_7 | 7 | 0.00023185 | 5.8108e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1139-2_0_2_load_102 | 8 | 0.00011373 | 2.8504e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1139-2_0_2_load_9 | 9 | 0.00015355 | 3.8482e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1139-2_0_2_load_100 | 10 | 7.8121e-05 | 1.9579e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1139-2_0_2_load_10 | 11 | 2.5975e-05 | 6.5099e-06 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1139-2_0_2_load_31 | 12 | 0.0020679 | 0.00051828 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1139-2_0_2_load_32 | 14 | 0.0020133 | 0.00050458 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1139-2_0_2_load_33 | 15 | 0.0040783 | 0.0010221 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1139-2_0_2_load_30 | 16 | 0.005429 | 0.0013606 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1139-2_0_2_load_16 | 17 | 5.07e-05 | 1.2707e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1139-2_0_2_load_56 | 21 | 0.0026717 | 0.00066958 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1139-2_0_2_load_55 | 22 | 0.004758 | 0.0011925 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1139-2_0_2_load_21 | 23 | 0.010285 | 0.0025777 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1139-2_0_2_load_22 | 24 | 0.00061227 | 0.00015345 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1139-2_0_2_load_24 | 26 | 0.0066619 | 0.0016696 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1139-2_0_2_load_26 | 27 | 0.0010931 | 0.00027396 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1139-2_0_2_load_27 | 28 | 0.0010484 | 0.00026275 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1139-2_0_2_load_28 | 29 | 0.00076949 | 0.00019285 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1139-2_0_2_load_83 | 33 | 0.0016017 | 0.00040143 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1139-2_0_2_load_84 | 34 | 0.00067825 | 0.00016998 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1139-2_0_2_load_59 | 35 | 0.007408 | 0.0018566 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1139-2_0_2_load_62 | 36 | 0.00097986 | 0.00024558 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1139-2_0_2_load_73 | 37 | 0.0045988 | 0.0011526 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1139-2_0_2_load_74 | 38 | 0.0014736 | 0.00036932 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1139-2_0_2_load_86 | 39 | 0.018521 | 0.0046417 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1139-2_0_2_load_88 | 40 | 0.0013718 | 0.0003438 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1139-2_0_2_load_89 | 41 | 0.0012933 | 0.00032414 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1139-2_0_2_load_93 | 42 | 5.4559e-05 | 1.3674e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1139-2_0_2_load_94 | 43 | 6.2471e-05 | 1.5657e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1139-2_0_2_load_95 | 44 | 0.00021993 | 5.5119e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1139-2_0_2_load_97 | 47 | 0.00010259 | 2.5711e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1139-2_0_2_load_104 | 48 | 0.0001146 | 2.8721e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1139-2_0_2_load_99 | 50 | 0.00038736 | 9.7081e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1139-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1139-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.042264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1139-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1139-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1139-2_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.023497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1139-2_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.38314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1139-2_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.018413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1139-2_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.077368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1139-2_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.021404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1139-2_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.016585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1139-2_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0034494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1139-2_0_2_line_11 | NAYY 4x150 SE | 10 | 50 | 0.023183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1139-2_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.48054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1139-2_0_2_line_13 | NAYY 4x150 SE | 12 | 16 | 0.015934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1139-2_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.044444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1139-2_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.054783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1139-2_0_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.01213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1139-2_0_2_line_17 | NAYY 4x150 SE | 15 | 33 | 0.0092584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1139-2_0_2_line_18 | NAYY 4x150 SE | 16 | 28 | 0.007065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1139-2_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.066816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1139-2_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.23902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1139-2_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.010133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1139-2_0_2_line_22 | NAYY 4x150 SE | 20 | 27 | 0.15449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1139-2_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.030697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1139-2_0_2_line_24 | NAYY 4x150 SE | 22 | 32 | 0.024627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1139-2_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.020338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1139-2_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.078543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1139-2_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0034165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1139-2_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.12849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1139-2_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.021264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1139-2_0_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.014892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1139-2_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.007269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1139-2_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.011921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1139-2_0_2_line_33 | NAYY 4x150 SE | 31 | 37 | 0.0094338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1139-2_0_2_line_34 | NAYY 4x150 SE | 31 | 38 | 0.048605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1139-2_0_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0032662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1139-2_0_2_line_36 | NAYY 4x150 SE | 34 | 41 | 0.013696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1139-2_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.018024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1139-2_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0040467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1139-2_0_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.025312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1139-2_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.0044652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1139-2_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.017845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1139-2_0_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.017145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1139-2_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.016243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1139-2_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.025402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1139-2_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.071265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1139-2_0_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.016961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1139-2_0_2_line_47 | NAYY 4x150 SE | 46 | 48 | 0.22022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1139-2_0_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.02065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1139-2_0_2_line_49 | NAYY 4x150 SE | 49 | 51 | 0.005767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1139-2_0_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.021279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1139-2_0_2_trafo_32 | 0.25 MVA 20/0.4 kV | 52 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2631012.2678 | 1230747.6199 | 2631025.8519 | 1230735.0968
1 | 2630981.1937 | 1230776.2669 | 2631012.2678 | 1230747.6199
2 | 2631037.9881 | 1230723.9085 | 2631025.8519 | 1230735.0968
3 | 2630981.1937 | 1230776.2669 | 2630969.8401 | 1230783.706
4 | 2630981.1937 | 1230776.2669 | 2630966.2196 | 1230758.1587
5 | 2631037.9881 | 1230723.9085 | 2631068.4822 | 1230695.8282 | 2631101.42 | 1230663.9473 | 2631136.9374 | 1230626.9103 | 2631166.8891 | 1230595.5701 | 2631175.6389 | 1230590.8242 | 2631186.8583 | 1230587.4364 | 2631199.5904 | 1230587.3363 | 2631211.4563 | 1230589.2108 | 2631251.7279 | 1230597.5159 | 2631272.7806 | 1230599.4276 | 2631301.3759 | 1230597.1765 | 2631324.2657 | 1230592.5051 | 2631345.8069 | 1230583.6241 | 2631361.0415 | 1230575.7328
6 | 2630954.439 | 1230793.797 | 2630969.8401 | 1230783.706
7 | 2631361.0415 | 1230575.7328 | 2631383.1304 | 1230557.8049 | 2631397.5352 | 1230542.1269 | 2631407.9612 | 1230526.9504 | 2631412.6511 | 1230519.0178
8 | 2630954.439 | 1230793.797 | 2630936.5361 | 1230805.5273
9 | 2631421.0914 | 1230504.7416 | 2631412.6511 | 1230519.0178
10 | 2630933.6509 | 1230807.4177 | 2630936.5361 | 1230805.5273
11 | 2631432.8895 | 1230484.7858 | 2631421.0914 | 1230504.7416
12 | 2631030.4937 | 1231278.1022 | 2630933.6509 | 1230807.4177
13 | 2631046.3608 | 1231279.5601 | 2631039.4408 | 1231278.8771 | 2631030.4937 | 1231278.1022
14 | 2630987.208 | 1231285.1645 | 2630997.3467 | 1231281.0703 | 2631007.749 | 1231278.7119 | 2631016.282 | 1231277.589 | 2631023.8704 | 1231277.5285 | 2631030.4937 | 1231278.1022
15 | 2630987.208 | 1231285.1645 | 2630982.1821 | 1231287.5954 | 2630977.1603 | 1231290.6934 | 2630969.0578 | 1231296.4214 | 2630953.8428 | 1231309.7282 | 2630943.9327 | 1231318.3928
16 | 2630943.9327 | 1231318.3928 | 2630942.1121 | 1231319.9846 | 2630934.9038 | 1231326.4926
17 | 2630934.9038 | 1231326.4926 | 2630928.0317 | 1231332.697
18 | 2631046.3608 | 1231279.5601 | 2631053.3916 | 1231280.2539
19 | 2631532.6803 | 1231170.1466 | 2631534.7085 | 1231158.9727 | 2631539.1644 | 1231149.8463 | 2631552.5592 | 1231131.6395 | 2631557.4625 | 1231122.4154 | 2631557.4342 | 1231110.1619
20 | 2631438.777 | 1231383.247 | 2631454.774 | 1231355.3923 | 2631474.8946 | 1231313.951 | 2631511.2651 | 1231265.7028 | 2631523.5916 | 1231243.2432 | 2631531.5911 | 1231224.2072 | 2631533.8182 | 1231209.7991 | 2631532.6803 | 1231170.1466
21 | 2631438.777 | 1231383.247 | 2631431.1913 | 1231389.9889
22 | 2631431.1913 | 1231389.9889 | 2631423.5099 | 1231383.3221 | 2631371.6459 | 1231335.5416 | 2631358.2881 | 1231326.777 | 2631343.0176 | 1231318.8473 | 2631321.3512 | 1231311.74 | 2631303.8108 | 1231308.6315
23 | 2630839.1155 | 1231409.9825 | 2630836.7909 | 1231411.6609 | 2630826.692 | 1231418.3572 | 2630821.0397 | 1231421.8745 | 2630813.1803 | 1231426.3726
24 | 2630858.4758 | 1231394.7852 | 2630847.6302 | 1231403.8345 | 2630839.1155 | 1231409.9825
25 | 2631098.1927 | 1231284.6754 | 2631077.9532 | 1231282.678
26 | 2631176.3564 | 1231292.3895 | 2631098.1927 | 1231284.6754
27 | 2631077.9532 | 1231282.678 | 2631074.5533 | 1231282.3424
28 | 2631176.3564 | 1231292.3895 | 2631302.8603 | 1231308.463 | 2631303.8108 | 1231308.6315
29 | 2631074.5533 | 1231282.3424 | 2631053.3916 | 1231280.2539
30 | 2630867.5429 | 1231387.0163 | 2630876.4705 | 1231398.9359
31 | 2630867.5429 | 1231387.0163 | 2630872.9599 | 1231382.1525
32 | 2630867.5429 | 1231387.0163 | 2630861.693 | 1231392.1113 | 2630858.4758 | 1231394.7852
33 | 2630872.9599 | 1231382.1525 | 2630879.9823 | 1231375.8532
34 | 2630872.9599 | 1231382.1525 | 2630867.064 | 1231375.6736 | 2630853.9067 | 1231360.2626 | 2630848.0921 | 1231354.1732 | 2630845.1921 | 1231348.2435 | 2630842.9864 | 1231344.2518
35 | 2630928.0317 | 1231332.697 | 2630925.6074 | 1231334.8858
36 | 2630915.4318 | 1231344.0536 | 2630918.7386 | 1231341.0872 | 2630925.6074 | 1231334.8858
37 | 2630830.2307 | 1231355.0813 | 2630829.7078 | 1231352.2324 | 2630830.341 | 1231348.4 | 2630832.2023 | 1231345.7969 | 2630835.6019 | 1231342.9795 | 2630839.2228 | 1231342.7648
38 | 2630842.9864 | 1231344.2518 | 2630839.2228 | 1231342.7648 | 2630839.2228 | 1231342.7648
39 | 2630879.9823 | 1231375.8532 | 2630898.8244 | 1231358.9511
40 | 2630898.8244 | 1231358.9511 | 2630902.1482 | 1231355.9694
41 | 2630902.1482 | 1231355.9694 | 2630915.4318 | 1231344.0536
42 | 2631684.2516 | 1230236.9192 | 2631681.6704 | 1230237.2569 | 2631675.173 | 1230237 | 2631667.136 | 1230236.7897
43 | 2631667.136 | 1230236.7897 | 2631666.6381 | 1230236.7767 | 2631662.3664 | 1230238.1548 | 2631658.2754 | 1230242.6024 | 2631653.5255 | 1230244.7505
44 | 2631630.3806 | 1230255.2175 | 2631653.5255 | 1230244.7505
45 | 2631570.1887 | 1230290.842 | 2631578.6446 | 1230280.2582 | 2631586.3927 | 1230274.6069 | 2631607.581 | 1230264.0018 | 2631630.3806 | 1230255.2175
46 | 2631630.3806 | 1230255.2175 | 2631638.7776 | 1230269.9538
47 | 2631570.1887 | 1230290.842 | 2631566.9345 | 1230297.4732 | 2631565.5919 | 1230306.416 | 2631562.2338 | 1230371.1933 | 2631560.3629 | 1230384.0801 | 2631551.5694 | 1230396.9302 | 2631540.1043 | 1230402.2727 | 2631514.821 | 1230403.9288 | 2631494.3355 | 1230409.2236 | 2631477.7297 | 1230419.9313 | 2631466.5343 | 1230431.5792 | 2631458.2924 | 1230444.4418
48 | 2631447.1517 | 1230461.8286 | 2631458.2924 | 1230444.4418
49 | 2631447.1517 | 1230461.8286 | 2631443.7189 | 1230466.4689
50 | 2631443.7189 | 1230466.4689 | 2631432.8895 | 1230484.7858

## bus_geodata
| x | y | coords
0 | 2631012.2678 | 1230747.6199
1 | 2631025.8519 | 1230735.0968
2 | 2630981.1937 | 1230776.2669
3 | 2631037.9881 | 1230723.9085
4 | 2630969.8401 | 1230783.706
5 | 2630966.2196 | 1230758.1587
6 | 2631361.0415 | 1230575.7328
7 | 2630954.439 | 1230793.797
8 | 2631412.6511 | 1230519.0178
9 | 2630936.5361 | 1230805.5273
10 | 2631421.0914 | 1230504.7416
11 | 2630933.6509 | 1230807.4177
12 | 2631030.4937 | 1231278.1022
13 | 2630987.208 | 1231285.1645
14 | 2630943.9327 | 1231318.3928
15 | 2630934.9038 | 1231326.4926
16 | 2631046.3608 | 1231279.5601
17 | 2631557.4342 | 1231110.1619
18 | 2631532.6803 | 1231170.1466
19 | 2631438.777 | 1231383.247
20 | 2631431.1913 | 1231389.9889
21 | 2630813.1803 | 1231426.3726
22 | 2630839.1155 | 1231409.9825
23 | 2631098.1927 | 1231284.6754
24 | 2631077.9532 | 1231282.678
25 | 2631176.3564 | 1231292.3895
26 | 2631074.5533 | 1231282.3424
27 | 2631303.8108 | 1231308.6315
28 | 2631053.3916 | 1231280.2539
29 | 2630876.4705 | 1231398.9359
30 | 2630867.5429 | 1231387.0163
31 | 2630872.9599 | 1231382.1525
32 | 2630858.4758 | 1231394.7852
33 | 2630928.0317 | 1231332.697
34 | 2630925.6074 | 1231334.8858
35 | 2630830.2307 | 1231355.0813
36 | 2630839.2228 | 1231342.7648
37 | 2630879.9823 | 1231375.8532
38 | 2630842.9864 | 1231344.2518
39 | 2630898.8244 | 1231358.9511
40 | 2630902.1482 | 1231355.9694
41 | 2630915.4318 | 1231344.0536
42 | 2631684.2516 | 1230236.9192
43 | 2631667.136 | 1230236.7897
44 | 2631653.5255 | 1230244.7505
45 | 2631630.3806 | 1230255.2175
46 | 2631570.1887 | 1230290.842
47 | 2631638.7776 | 1230269.9538
48 | 2631458.2924 | 1230444.4418
49 | 2631447.1517 | 1230461.8286
50 | 2631432.8896 | 1230484.7858
51 | 2631443.7189 | 1230466.4689
52 | 2630987.208 | 1231285.1645

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99344 | -0.046946 | 0.00063576 | 0.00015934
1 | 0.9934 | -0.047214 | 0.00021301 | 5.3384e-05
2 | 0.99356 | -0.046059 | 0.00018499 | 4.6364e-05
3 | 0.99338 | -0.047418 | 0 | 0
4 | 0.9936 | -0.045724 | 9.4602e-05 | 2.3709e-05
5 | 0.99355 | -0.0461 | 0.00017076 | 4.2795e-05
6 | 0.99275 | -0.052084 | 0 | 0
7 | 0.99367 | -0.045253 | 0.00023185 | 5.8108e-05
8 | 0.99263 | -0.053009 | 0.00011373 | 2.8504e-05
9 | 0.99375 | -0.044655 | 0.00015355 | 3.8482e-05
10 | 0.9926 | -0.053188 | 7.8121e-05 | 1.9579e-05
11 | 0.99376 | -0.044553 | 2.5975e-05 | 6.5099e-06
12 | 0.99572 | -0.030155 | 0.0020679 | 0.00051828
13 | 0.99764 | -0.016618 | 0 | 0
14 | 1 | 0 | -0.081468 | -0.020233
15 | 0.99913 | -0.0060859 | 0.0040783 | 0.0010221
16 | 0.99515 | -0.034207 | 0.005429 | 0.0013606
17 | 0.99361 | -0.045282 | 5.07e-05 | 1.2707e-05
18 | 0.99362 | -0.045246 | 0 | 0
19 | 0.99363 | -0.04508 | 0 | 0
20 | 0.99363 | -0.045072 | 0 | 0
21 | 0.99444 | -0.038985 | 0.0026717 | 0.00066958
22 | 0.99456 | -0.038157 | 0.004758 | 0.0011925
23 | 0.99398 | -0.042424 | 0.010285 | 0.0025777
24 | 0.99432 | -0.040063 | 0.00061227 | 0.00015345
25 | 0.99386 | -0.043381 | 0 | 0
26 | 0.99438 | -0.039646 | 0.0066619 | 0.0016696
27 | 0.99364 | -0.044933 | 0.0010931 | 0.00027396
28 | 0.99495 | -0.035619 | 0.0010484 | 0.00026275
29 | 0.99493 | -0.035532 | 0.00076949 | 0.00019285
30 | 0.99495 | -0.035416 | 0 | 0
31 | 0.99503 | -0.034815 | 0 | 0
32 | 0.99482 | -0.03631 | 0 | 0
33 | 0.99852 | -0.01036 | 0.0016017 | 0.00040143
34 | 0.99831 | -0.011817 | 0.00067825 | 0.00016998
35 | 0.9941 | -0.041343 | 0.007408 | 0.0018566
36 | 0.9943 | -0.039995 | 0.00097986 | 0.00024558
37 | 0.99528 | -0.033096 | 0.0045988 | 0.0011526
38 | 0.99434 | -0.039652 | 0.0014736 | 0.00036932
39 | 0.9961 | -0.027318 | 0.018521 | 0.0046417
40 | 0.99636 | -0.025468 | 0.0013718 | 0.0003438
41 | 0.99745 | -0.017839 | 0.0012933 | 0.00032414
42 | 0.99234 | -0.055183 | 5.4559e-05 | 1.3674e-05
43 | 0.99234 | -0.055173 | 6.2471e-05 | 1.5657e-05
44 | 0.99234 | -0.055154 | 0.00021993 | 5.5119e-05
45 | 0.99235 | -0.055066 | 0 | 0
46 | 0.9924 | -0.05474 | 0 | 0
47 | 0.99235 | -0.055083 | 0.00010259 | 2.5711e-05
48 | 0.99254 | -0.053704 | 0.0001146 | 2.8721e-05
49 | 0.99255 | -0.053581 | 0 | 0
50 | 0.99257 | -0.053418 | 0.00038736 | 9.7081e-05
51 | 0.99256 | -0.053546 | 0 | 0
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0013474 | 0.00032555 | -0.0013474 | -0.00032577 | 4.6766e-08 | -2.2122e-07 | 0.002014 | 0.0020141 | 0.0020141 | 0.99344 | -0.046946 | 0.9934 | -0.047214 | 0.74596
1 | -0.0019832 | -0.00048489 | 0.0019834 | 0.00048443 | 2.3203e-07 | -4.5805e-07 | 0.0029663 | 0.0029661 | 0.0029663 | 0.99344 | -0.046946 | 0.99356 | -0.046059 | 1.0986
2 | 0.0011344 | 0.00027239 | -0.0011343 | -0.00027259 | 2.9595e-08 | -2.0232e-07 | 0.001695 | 0.0016951 | 0.0016951 | 0.9934 | -0.047214 | 0.99338 | -0.047418 | 0.62782
3 | -0.0023392 | -0.00057329 | 0.0023393 | 0.00057315 | 1.0368e-07 | -1.3592e-07 | 0.0034987 | 0.0034987 | 0.0034987 | 0.99356 | -0.046059 | 0.9936 | -0.045724 | 1.2958
4 | 0.00017076 | 4.2491e-05 | -0.00017076 | -4.2795e-05 | 9.5853e-10 | -3.0394e-07 | 0.00025563 | 0.00025574 | 0.00025574 | 0.99356 | -0.046059 | 0.99355 | -0.0461 | 0.094717
5 | 0.0011343 | 0.00027259 | -0.0011337 | -0.00027728 | 6.8766e-07 | -4.6926e-06 | 0.0016951 | 0.0016968 | 0.0016968 | 0.99338 | -0.047418 | 0.99275 | -0.052084 | 0.62845
6 | -0.0024339 | -0.00059686 | 0.002434 | 0.00059668 | 1.5226e-07 | -1.7993e-07 | 0.0036404 | 0.0036403 | 0.0036404 | 0.9936 | -0.045724 | 0.99367 | -0.045253 | 1.3483
7 | 0.0011337 | 0.00027728 | -0.0011335 | -0.00027823 | 1.3903e-07 | -9.4675e-07 | 0.0016968 | 0.0016972 | 0.0016972 | 0.99275 | -0.052084 | 0.99263 | -0.053009 | 0.62858
8 | -0.0026659 | -0.00065479 | 0.0026661 | 0.00065459 | 2.1235e-07 | -1.956e-07 | 0.0039875 | 0.0039874 | 0.0039875 | 0.99367 | -0.045253 | 0.99375 | -0.044655 | 1.4768
9 | 0.0010198 | 0.00024973 | -0.0010198 | -0.00024993 | 2.4121e-08 | -2.051e-07 | 0.0015267 | 0.0015267 | 0.0015267 | 0.99263 | -0.053009 | 0.9926 | -0.053188 | 0.56546
10 | -0.0028196 | -0.00069307 | 0.0028197 | 0.00069304 | 3.8282e-08 | -2.9966e-08 | 0.0042173 | 0.0042173 | 0.0042173 | 0.99375 | -0.044655 | 0.99376 | -0.044553 | 1.562
11 | 0.00094164 | 0.00023035 | -0.00094161 | -0.00023064 | 2.8747e-08 | -2.8859e-07 | 0.0014096 | 0.0014097 | 0.0014097 | 0.9926 | -0.053188 | 0.99257 | -0.053418 | 0.52213
12 | -0.0028456 | -0.00069955 | 0.0028511 | 0.0006954 | 5.4292e-06 | -4.1501e-06 | 0.0042562 | 0.004254 | 0.0042562 | 0.99376 | -0.044553 | 0.99572 | -0.030155 | 1.5764
13 | 0.025214 | 0.0063139 | -0.0252 | -0.0063087 | 1.4115e-05 | 5.2217e-06 | 0.037678 | 0.037678 | 0.037678 | 0.99572 | -0.030155 | 0.99515 | -0.034207 | 13.9547
14 | -0.030133 | -0.0075276 | 0.030189 | 0.0075486 | 5.6214e-05 | 2.1041e-05 | 0.045022 | 0.045022 | 0.045022 | 0.99572 | -0.030155 | 0.99764 | -0.016618 | 16.6748
15 | -0.030189 | -0.0075486 | 0.030258 | 0.0075746 | 6.929e-05 | 2.5933e-05 | 0.045022 | 0.045022 | 0.045022 | 0.99764 | -0.016618 | 1 | 0 | 16.6747
16 | 0.05041 | 0.012658 | -0.050367 | -0.012642 | 4.2597e-05 | 1.6225e-05 | 0.075019 | 0.075019 | 0.075019 | 1 | 0 | 0.99913 | -0.0060859 | 27.7848
17 | 0.046289 | 0.01162 | -0.046261 | -0.011609 | 2.7462e-05 | 1.0441e-05 | 0.068945 | 0.068945 | 0.068945 | 0.99913 | -0.0060859 | 0.99852 | -0.01036 | 25.5352
18 | 0.01977 | 0.004948 | -0.019767 | -0.0049467 | 3.8521e-06 | 1.3898e-06 | 0.02956 | 0.02956 | 0.02956 | 0.99515 | -0.034207 | 0.99495 | -0.035619 | 10.9481
19 | -5.07e-05 | -1.2707e-05 | 5.07e-05 | 1.1841e-05 | 2.3941e-10 | -8.6532e-07 | 7.5928e-05 | 7.5632e-05 | 7.5928e-05 | 0.99361 | -0.045282 | 0.99362 | -0.045246 | 0.028121
20 | -5.07e-05 | -1.1841e-05 | 5.0701e-05 | 8.7458e-06 | 8.4237e-10 | -3.0956e-06 | 7.5632e-05 | 7.4738e-05 | 7.5632e-05 | 0.99362 | -0.045246 | 0.99363 | -0.04508 | 0.028012
21 | -5.0701e-05 | -8.7458e-06 | 5.0701e-05 | 8.6145e-06 | 3.5308e-11 | -1.3124e-07 | 7.4738e-05 | 7.4705e-05 | 7.4738e-05 | 0.99363 | -0.04508 | 0.99363 | -0.045072 | 0.027681
22 | -5.0701e-05 | -8.6145e-06 | 5.0702e-05 | 6.6137e-06 | 5.347e-10 | -2.0009e-06 | 7.4705e-05 | 7.4274e-05 | 7.4705e-05 | 0.99363 | -0.045072 | 0.99364 | -0.044933 | 0.027669
23 | -0.0026717 | -0.00066958 | 0.002672 | 0.0006693 | 3.0612e-07 | -2.8057e-07 | 0.0039977 | 0.0039976 | 0.0039977 | 0.99444 | -0.038985 | 0.99456 | -0.038157 | 1.4806
24 | -0.00743 | -0.0018618 | 0.0074319 | 0.0018622 | 1.899e-06 | 4.107e-07 | 0.011116 | 0.011116 | 0.011116 | 0.99456 | -0.038157 | 0.99482 | -0.03631 | 4.1171
25 | -0.011429 | -0.0028557 | 0.011433 | 0.0028569 | 3.7138e-06 | 1.1647e-06 | 0.017107 | 0.017107 | 0.017107 | 0.99398 | -0.042424 | 0.99432 | -0.040063 | 6.3358
26 | 0.0011442 | 0.00027804 | -0.0011441 | -0.000279 | 1.4332e-07 | -9.6282e-07 | 0.0017099 | 0.0017102 | 0.0017102 | 0.99398 | -0.042424 | 0.99386 | -0.043381 | 0.63341
27 | -0.012045 | -0.0030103 | 0.012046 | 0.0030105 | 6.9249e-07 | 2.2202e-07 | 0.018023 | 0.018023 | 0.018023 | 0.99432 | -0.040063 | 0.99438 | -0.039646 | 6.6752
28 | 0.0011441 | 0.000279 | -0.0011438 | -0.00028058 | 2.3458e-07 | -1.5744e-06 | 0.0017102 | 0.0017108 | 0.0017108 | 0.99386 | -0.043381 | 0.99364 | -0.044933 | 0.63362
29 | -0.018708 | -0.0046802 | 0.018718 | 0.0046839 | 1.0397e-05 | 3.7228e-06 | 0.027992 | 0.027992 | 0.027992 | 0.99438 | -0.039646 | 0.99495 | -0.035619 | 10.3674
30 | -0.00076949 | -0.00019285 | 0.0007695 | 0.00019266 | 1.2307e-08 | -1.8867e-07 | 0.0011508 | 0.0011508 | 0.0011508 | 0.99493 | -0.035532 | 0.99495 | -0.035416 | 0.42624
31 | -0.0082023 | -0.002055 | 0.008203 | 0.0020552 | 6.8254e-07 | 1.681e-07 | 0.012267 | 0.012267 | 0.012267 | 0.99495 | -0.035416 | 0.99503 | -0.034815 | 4.5433
32 | 0.0074328 | 0.0018624 | -0.0074319 | -0.0018622 | 9.1919e-07 | 1.9874e-07 | 0.011116 | 0.011116 | 0.011116 | 0.99495 | -0.035416 | 0.99482 | -0.03631 | 4.1171
33 | -0.018073 | -0.004529 | 0.018077 | 0.0045306 | 4.2999e-06 | 1.5312e-06 | 0.027027 | 0.027027 | 0.027027 | 0.99503 | -0.034815 | 0.99528 | -0.033096 | 10.0099
34 | 0.0098698 | 0.0024738 | -0.0098632 | -0.0024719 | 6.6074e-06 | 1.9104e-06 | 0.01476 | 0.01476 | 0.01476 | 0.99503 | -0.034815 | 0.99434 | -0.039652 | 5.4667
35 | 0.04466 | 0.011208 | -0.04465 | -0.011204 | 9.0288e-06 | 3.4299e-06 | 0.066558 | 0.066558 | 0.066558 | 0.99852 | -0.01036 | 0.99831 | -0.011817 | 24.6512
36 | 0.043972 | 0.011035 | -0.043936 | -0.011021 | 3.672e-05 | 1.3944e-05 | 0.065547 | 0.065547 | 0.065547 | 0.99831 | -0.011817 | 0.99745 | -0.017839 | 24.2768
37 | -0.007408 | -0.0018566 | 0.0074094 | 0.0018569 | 1.3828e-06 | 2.9814e-07 | 0.011089 | 0.011088 | 0.011089 | 0.9941 | -0.041343 | 0.9943 | -0.039995 | 4.1069
38 | -0.0083892 | -0.0021025 | 0.0083896 | 0.0021026 | 3.9803e-07 | 1.006e-07 | 0.012555 | 0.012555 | 0.012555 | 0.9943 | -0.039995 | 0.99434 | -0.039652 | 4.65
39 | -0.022676 | -0.0056831 | 0.022694 | 0.0056898 | 1.8154e-05 | 6.6531e-06 | 0.033902 | 0.033902 | 0.033902 | 0.99528 | -0.033096 | 0.9961 | -0.027318 | 12.5564
40 | -0.041215 | -0.010332 | 0.041225 | 0.010336 | 1.0562e-05 | 4.0042e-06 | 0.061569 | 0.061569 | 0.061569 | 0.9961 | -0.027318 | 0.99636 | -0.025468 | 22.8034
41 | -0.042597 | -0.010679 | 0.042642 | 0.010696 | 4.5067e-05 | 1.7101e-05 | 0.063618 | 0.063618 | 0.063618 | 0.99636 | -0.025468 | 0.99745 | -0.017839 | 23.5622
42 | -5.4559e-05 | -1.3674e-05 | 5.4559e-05 | 1.3452e-05 | 7.1547e-11 | -2.2147e-07 | 8.1812e-05 | 8.1735e-05 | 8.1812e-05 | 0.99234 | -0.055183 | 0.99234 | -0.055173 | 0.030301
43 | -0.00011703 | -2.9109e-05 | 0.00011703 | 2.8899e-05 | 3.1172e-10 | -2.0972e-07 | 0.00017541 | 0.00017534 | 0.00017541 | 0.99234 | -0.055173 | 0.99234 | -0.055154 | 0.064967
44 | -0.00033696 | -8.4019e-05 | 0.00033696 | 8.3692e-05 | 4.0433e-09 | -3.2661e-07 | 0.00050512 | 0.000505 | 0.00050512 | 0.99234 | -0.055154 | 0.99235 | -0.055066 | 0.18708
45 | -0.00043955 | -0.00010918 | 0.00043957 | 0.00010827 | 1.9288e-08 | -9.1332e-07 | 0.00065876 | 0.00065844 | 0.00065876 | 0.99235 | -0.055066 | 0.9924 | -0.05474 | 0.24398
46 | 0.00010259 | 2.5492e-05 | -0.00010259 | -2.5711e-05 | 2.5032e-10 | -2.1903e-07 | 0.00015375 | 0.00015383 | 0.00015383 | 0.99235 | -0.055066 | 0.99235 | -0.055083 | 0.056975
47 | -0.00043957 | -0.00010827 | 0.00043963 | 0.00010545 | 5.9488e-08 | -2.8229e-06 | 0.00065844 | 0.00065746 | 0.00065844 | 0.9924 | -0.05474 | 0.99254 | -0.053704 | 0.24387
48 | -0.00055423 | -0.00013417 | 0.00055424 | 0.00013391 | 8.86e-09 | -2.6348e-07 | 0.00082926 | 0.00082917 | 0.00082926 | 0.99254 | -0.053704 | 0.99255 | -0.053581 | 0.30713
49 | -0.00055424 | -0.00013391 | 0.00055424 | 0.00013383 | 2.474e-09 | -7.3585e-08 | 0.00082917 | 0.00082914 | 0.00082917 | 0.99255 | -0.053581 | 0.99256 | -0.053546 | 0.3071
50 | 0.00055425 | 0.00013356 | -0.00055424 | -0.00013383 | 9.1272e-09 | -2.7152e-07 | 0.00082905 | 0.00082914 | 0.00082914 | 0.99257 | -0.053418 | 0.99256 | -0.053546 | 0.30709

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.083481 | 0.020737

## res_load
| p_mw | q_mvar
0 | 0.00063576 | 0.00015934
1 | 0.00021301 | 5.3384e-05
2 | 0.00018499 | 4.6364e-05
3 | 9.4602e-05 | 2.3709e-05
4 | 0.00017076 | 4.2795e-05
5 | 0.00023185 | 5.8108e-05
6 | 0.00011373 | 2.8504e-05
7 | 0.00015355 | 3.8482e-05
8 | 7.8121e-05 | 1.9579e-05
9 | 2.5975e-05 | 6.5099e-06
10 | 0.0020679 | 0.00051828
11 | 0.0020133 | 0.00050458
12 | 0.0040783 | 0.0010221
13 | 0.005429 | 0.0013606
14 | 5.07e-05 | 1.2707e-05
15 | 0.0026717 | 0.00066958
16 | 0.004758 | 0.0011925
17 | 0.010285 | 0.0025777
18 | 0.00061227 | 0.00015345
19 | 0.0066619 | 0.0016696
20 | 0.0010931 | 0.00027396
21 | 0.0010484 | 0.00026275
22 | 0.00076949 | 0.00019285
23 | 0.0016017 | 0.00040143
24 | 0.00067825 | 0.00016998
25 | 0.007408 | 0.0018566
26 | 0.00097986 | 0.00024558
27 | 0.0045988 | 0.0011526
28 | 0.0014736 | 0.00036932
29 | 0.018521 | 0.0046417
30 | 0.0013718 | 0.0003438
31 | 0.0012933 | 0.00032414
32 | 5.4559e-05 | 1.3674e-05
33 | 6.2471e-05 | 1.5657e-05
34 | 0.00021993 | 5.5119e-05
35 | 0.00010259 | 2.5711e-05
36 | 0.0001146 | 2.8721e-05
37 | 0.00038736 | 9.7081e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1