## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1139-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1139-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1139-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1139-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1139-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1139-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1139-3_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1139-3_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1139-3_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1139-3_0_4_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1139-3_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1139-3_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1139-3_0_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1139-3_0_4_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_1139-3_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1139-3_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1139-3_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1139-3_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1139-3_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1139-3_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1139-3_0_4_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_1139-3_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_1139-3_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1139-3_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1139-3_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1139-3_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1139-3_0_4_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_1139-3_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1139-3_0_4_node_115 | 0.4 | n |  | TRUE
29 | bus_LV_1139-3_0_4_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1139-3_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_1139-3_0_4_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_1139-3_0_4_node_83 | 0.4 | n |  | TRUE
33 | bus_LV_1139-3_0_4_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_1139-3_0_4_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_1139-3_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1139-3_0_4_node_97 | 0.4 | n |  | TRUE
37 | bus_LV_1139-3_0_4_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_1139-3_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1139-3_0_4_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_1139-3_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1139-3_0_4_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_1139-3_0_4_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_1139-3_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_1139-3_0_4_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_1139-3_0_4_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_1139-3_0_4_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_1139-3_0_4_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_1139-3_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_1139-3_0_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_1139-3_0_4_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_1139-3_0_4_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_1139-3_0_4_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_1139-3_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1139-3_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_1139-3_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1139-3_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1139-3_0_4_node_95 | 0.4 | n |  | TRUE
58 | bus_LV_1139-3_0_4_node_92 | 0.4 | n |  | TRUE
59 | bus_LV_1139-3_0_4_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_1139-3_0_4_node_89 | 0.4 | n |  | TRUE
61 | bus_LV_1139-3_0_4_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_1139-3_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_1139-3_0_4_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_1139-3_0_4_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_1139-3_0_4_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_1139-3_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_1139-3_0_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_1139-3_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_1139-3_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_1139-3_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_1139-3_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_1139-3_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_1139-3_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_1139-3_0_4_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_1139-3_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_1139-3_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_1139-3_0_4_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_1139-3_0_4_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_1139-3_0_4_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_1139-3_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_1139-3_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_1139-3_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_1139-3_0_4_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_1139-3_0_4_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_1139-3_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_1139-3_0_4_node_93 | 0.4 | n |  | TRUE
87 | bus_LV_1139-3_0_4_node_100 | 0.4 | n |  | TRUE
88 | bus_LV_1139-3_0_4_node_99 | 0.4 | n |  | TRUE
89 | bus_LV_1139-3_0_4_node_96 | 0.4 | n |  | TRUE
90 | bus_LV_1139-3_0_4_node_98 | 0.4 | n |  | TRUE
91 | bus_MV_475_1_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1139-3_0_4_load_0 | 0 | 0.0062877 | 0.0015759 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1139-3_0_4_load_1 | 1 | 0.0063055 | 0.0015803 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1139-3_0_4_load_4 | 4 | 0.0078922 | 0.001978 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1139-3_0_4_load_5 | 5 | 0.0068481 | 0.0017163 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1139-3_0_4_load_7 | 7 | 0.0046066 | 0.0011545 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1139-3_0_4_load_8 | 8 | 0.0022903 | 0.00057401 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1139-3_0_4_load_18 | 9 | 0.0064776 | 0.0016234 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1139-3_0_4_load_19 | 10 | 0.0065092 | 0.0016314 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1139-3_0_4_load_9 | 11 | 0.0045769 | 0.0011471 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1139-3_0_4_load_20 | 12 | 0.0063936 | 0.0016024 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1139-3_0_4_load_40 | 13 | 0.00045835 | 0.00011487 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1139-3_0_4_load_10 | 14 | 0.0047076 | 0.0011798 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1139-3_0_4_load_15 | 19 | 0.0035811 | 0.00089751 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1139-3_0_4_load_78 | 20 | 0.0042298 | 0.0010601 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1139-3_0_4_load_64 | 21 | 0.0037738 | 0.00094581 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1139-3_0_4_load_22 | 23 | 0.0054724 | 0.0013715 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1139-3_0_4_load_17 | 25 | 0.0081111 | 0.0020328 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1139-3_0_4_load_80 | 26 | 0.0054103 | 0.001356 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1139-3_0_4_load_115 | 28 | 0.014766 | 0.0037008 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1139-3_0_4_load_79 | 31 | 0.00027012 | 6.7699e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1139-3_0_4_load_83 | 32 | 0.013412 | 0.0033615 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1139-3_0_4_load_88 | 34 | 4.6704e-05 | 1.1705e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1139-3_0_4_load_97 | 36 | 0.0015749 | 0.00039471 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1139-3_0_4_load_94 | 37 | 0.0032599 | 0.00081701 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1139-3_0_4_load_86 | 39 | 0.00012597 | 3.1572e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1139-3_0_4_load_85 | 41 | 0.00063869 | 0.00016007 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1139-3_0_4_load_87 | 42 | 8.7955e-05 | 2.2044e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1139-3_0_4_load_61 | 44 | 0.0016553 | 0.00041486 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1139-3_0_4_load_68 | 47 | 0.0048211 | 0.0012083 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1139-3_0_4_load_65 | 49 | 0.0036856 | 0.0009237 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1139-3_0_4_load_67 | 52 | 0.0045334 | 0.0011362 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1139-3_0_4_load_45 | 53 | 0.0021317 | 0.00053425 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1139-3_0_4_load_51 | 55 | 0.0014507 | 0.00036359 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1139-3_0_4_load_47 | 56 | 0.0026589 | 0.00066639 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1139-3_0_4_load_95 | 57 | 0.00084701 | 0.00021228 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1139-3_0_4_load_92 | 58 | 0.00034621 | 8.6769e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1139-3_0_4_load_89 | 60 | 8.5283e-05 | 2.1374e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1139-3_0_4_load_84 | 61 | 0.00010794 | 2.7052e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1139-3_0_4_load_41 | 62 | 0.0010835 | 0.00027155 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1139-3_0_4_load_42 | 63 | 0.0016683 | 0.00041811 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1139-3_0_4_load_44 | 64 | 0.0019731 | 0.00049451 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1139-3_0_4_load_46 | 65 | 0.0014033 | 0.00035171 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1139-3_0_4_load_69 | 66 | 0.0021867 | 0.00054804 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1139-3_0_4_load_72 | 67 | 0.0020427 | 0.00051194 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1139-3_0_4_load_48 | 68 | 0.0022743 | 0.00056999 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1139-3_0_4_load_50 | 69 | 0.0023183 | 0.00058102 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1139-3_0_4_load_52 | 70 | 0.0020405 | 0.00051139 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1139-3_0_4_load_70 | 72 | 0.0015064 | 0.00037753 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1139-3_0_4_load_57 | 73 | 0.0013233 | 0.00033164 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1139-3_0_4_load_54 | 74 | 0.0028991 | 0.00072658 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1139-3_0_4_load_73 | 75 | 0.0020796 | 0.00052119 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1139-3_0_4_load_60 | 76 | 0.00061258 | 0.00015353 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1139-3_0_4_load_55 | 77 | 0.0015169 | 0.00038017 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1139-3_0_4_load_56 | 78 | 0.0020389 | 0.00051099 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1139-3_0_4_load_59 | 79 | 0.0021183 | 0.00053089 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1139-3_0_4_load_71 | 80 | 0.0017709 | 0.00044384 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1139-3_0_4_load_76 | 82 | 0.0014049 | 0.00035211 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1139-3_0_4_load_75 | 83 | 0.0014621 | 0.00036644 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1139-3_0_4_load_74 | 85 | 0.00053883 | 0.00013504 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1139-3_0_4_load_93 | 86 | 0.00035239 | 8.8317e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1139-3_0_4_load_100 | 87 | 8.4008e-05 | 2.1054e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1139-3_0_4_load_99 | 88 | 0.0026822 | 0.00067223 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1139-3_0_4_load_96 | 89 | 8.4613e-05 | 2.1206e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1139-3_0_4_load_98 | 90 | 0.00011006 | 2.7584e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1139-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1139-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1139-3_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1139-3_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0054182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_1139-3_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.034457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_1139-3_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.024987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1139-3_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.031431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_1139-3_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 2.3736e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1139-3_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.01833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1139-3_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0035017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1139-3_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.012061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_1139-3_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.00065555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1139-3_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.011659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1139-3_0_4_line_13 | NAYY 4x150 SE | 11 | 14 | 0.020253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_1139-3_0_4_line_14 | NAYY 4x150 SE | 12 | 15 | 0.016767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1139-3_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.008842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1139-3_0_4_line_16 | NAYY 4x150 SE | 15 | 25 | 0.043148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1139-3_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.042409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_1139-3_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.049458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_1139-3_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.024872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_1139-3_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.061605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_1139-3_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.021062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1139-3_0_4_line_22 | NAYY 4x150 SE | 20 | 26 | 0.029941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_1139-3_0_4_line_23 | NAYY 4x150 SE | 21 | 49 | 0.023811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1139-3_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.022688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1139-3_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.62212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_1139-3_0_4_line_26 | NAYY 4x150 SE | 23 | 50 | 0.011502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_1139-3_0_4_line_27 | NAYY 4x150 SE | 24 | 30 | 0.66079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1139-3_0_4_line_28 | NAYY 4x150 SE | 24 | 31 | 0.11182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1139-3_0_4_line_29 | NAYY 4x150 SE | 26 | 50 | 0.039193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_1139-3_0_4_line_30 | NAYY 4x150 SE | 27 | 28 | 0.019781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1139-3_0_4_line_31 | NAYY 4x150 SE | 27 | 29 | 0.034785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_1139-3_0_4_line_32 | NAYY 4x150 SE | 29 | 32 | 0.002804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_1139-3_0_4_line_33 | NAYY 4x150 SE | 30 | 33 | 0.33912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1139-3_0_4_line_34 | NAYY 4x150 SE | 30 | 34 | 0.18048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1139-3_0_4_line_35 | NAYY 4x150 SE | 32 | 51 | 0.035524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_1139-3_0_4_line_36 | NAYY 4x150 SE | 33 | 41 | 0.30049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1139-3_0_4_line_37 | NAYY 4x150 SE | 34 | 60 | 0.010165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1139-3_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.08333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1139-3_0_4_line_39 | NAYY 4x150 SE | 35 | 37 | 0.013987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1139-3_0_4_line_40 | NAYY 4x150 SE | 37 | 57 | 0.0136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1139-3_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0044235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1139-3_0_4_line_42 | NAYY 4x150 SE | 38 | 40 | 0.074145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1139-3_0_4_line_43 | NAYY 4x150 SE | 39 | 61 | 0.019655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1139-3_0_4_line_44 | NAYY 4x150 SE | 40 | 42 | 0.02221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1139-3_0_4_line_45 | NAYY 4x150 SE | 41 | 61 | 0.0010269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1139-3_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0072333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1139-3_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.034389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1139-3_0_4_line_48 | NAYY 4x150 SE | 43 | 46 | 0.014535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1139-3_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.035659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1139-3_0_4_line_50 | NAYY 4x150 SE | 46 | 48 | 0.004094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1139-3_0_4_line_51 | NAYY 4x150 SE | 47 | 52 | 0.026437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1139-3_0_4_line_52 | NAYY 4x150 SE | 48 | 55 | 0.017302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1139-3_0_4_line_53 | NAYY 4x150 SE | 48 | 56 | 0.010604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1139-3_0_4_line_54 | NAYY 4x150 SE | 49 | 84 | 0.0060002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1139-3_0_4_line_55 | NAYY 4x150 SE | 50 | 51 | 0.029561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_1139-3_0_4_line_56 | NAYY 4x150 SE | 52 | 84 | 0.016938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1139-3_0_4_line_57 | NAYY 4x150 SE | 53 | 54 | 0.017041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1139-3_0_4_line_58 | NAYY 4x150 SE | 54 | 62 | 0.01451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1139-3_0_4_line_59 | NAYY 4x150 SE | 55 | 71 | 0.036003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1139-3_0_4_line_60 | NAYY 4x150 SE | 56 | 68 | 0.025575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1139-3_0_4_line_61 | NAYY 4x150 SE | 57 | 89 | 0.0028702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1139-3_0_4_line_62 | NAYY 4x150 SE | 58 | 59 | 0.026461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1139-3_0_4_line_63 | NAYY 4x150 SE | 59 | 86 | 0.030735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1139-3_0_4_line_64 | NAYY 4x150 SE | 59 | 60 | 0.031646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1139-3_0_4_line_65 | NAYY 4x150 SE | 62 | 63 | 0.02385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1139-3_0_4_line_66 | NAYY 4x150 SE | 63 | 64 | 0.00097324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1139-3_0_4_line_67 | NAYY 4x150 SE | 64 | 65 | 0.023702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1139-3_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.00099555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1139-3_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.024958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1139-3_0_4_line_70 | NAYY 4x150 SE | 67 | 85 | 0.012822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1139-3_0_4_line_71 | NAYY 4x150 SE | 68 | 69 | 0.001332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1139-3_0_4_line_72 | NAYY 4x150 SE | 69 | 70 | 0.02031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1139-3_0_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0031865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1139-3_0_4_line_74 | NAYY 4x150 SE | 71 | 73 | 0.015979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1139-3_0_4_line_75 | NAYY 4x150 SE | 71 | 74 | 0.017372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1139-3_0_4_line_76 | NAYY 4x150 SE | 72 | 75 | 0.023755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1139-3_0_4_line_77 | NAYY 4x150 SE | 73 | 76 | 0.008395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1139-3_0_4_line_78 | NAYY 4x150 SE | 74 | 77 | 0.02633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_1139-3_0_4_line_79 | NAYY 4x150 SE | 75 | 82 | 9.3078e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_1139-3_0_4_line_80 | NAYY 4x150 SE | 77 | 78 | 0.0011023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_1139-3_0_4_line_81 | NAYY 4x150 SE | 78 | 79 | 0.025557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_1139-3_0_4_line_82 | NAYY 4x150 SE | 79 | 80 | 0.021646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_1139-3_0_4_line_83 | NAYY 4x150 SE | 81 | 82 | 0.019449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_1139-3_0_4_line_84 | NAYY 4x150 SE | 81 | 83 | 0.036067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_1139-3_0_4_line_85 | NAYY 4x150 SE | 83 | 85 | 0.021438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_1139-3_0_4_line_86 | NAYY 4x150 SE | 86 | 87 | 0.01456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_1139-3_0_4_line_87 | NAYY 4x150 SE | 87 | 88 | 0.0065289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_1139-3_0_4_line_88 | NAYY 4x150 SE | 88 | 90 | 0.025777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_1139-3_0_4_line_89 | NAYY 4x150 SE | 89 | 90 | 0.014813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1139-3_0_4_trafo_5 | 0.25 MVA 20/0.4 kV | 91 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2630403.6938 | 1230560.6476 | 2630403.6916 | 1230560.6037 | 2630407.169 | 1230555.9631 | 2630406.663 | 1230544.9482
1 | 2630404.4275 | 1230575.1942 | 2630403.6938 | 1230560.6476
2 | 2630406.058 | 1230531.776 | 2630406.663 | 1230544.9482
3 | 2630404.4275 | 1230575.1942 | 2630401.4581 | 1230579.7262 | 2630401.4581 | 1230579.7262
4 | 2630404.4275 | 1230575.1942 | 2630438.8519 | 1230573.7021
5 | 2630406.058 | 1230531.776 | 2630431.0462 | 1230529.8803
6 | 2630403.1231 | 1230611.1129 | 2630402.1341 | 1230594.1829 | 2630401.4581 | 1230579.7262
7 | 2630438.8757 | 1230573.7011 | 2630438.8519 | 1230573.7021
8 | 2630431.0462 | 1230529.8803 | 2630429.9732 | 1230511.5815
9 | 2630431.0462 | 1230529.8803 | 2630434.5479 | 1230529.8638
10 | 2630403.1231 | 1230611.1129 | 2630403.8265 | 1230623.1536 | 2630403.8265 | 1230623.1536
11 | 2630439.5306 | 1230573.6727 | 2630438.8757 | 1230573.7011
12 | 2630429.2907 | 1230499.942 | 2630429.9732 | 1230511.5815
13 | 2630408.3356 | 1230642.2709 | 2630407.2107 | 1230627.8515 | 2630403.8265 | 1230623.1536
14 | 2630456.2816 | 1230572.9466 | 2630439.5306 | 1230573.6727
15 | 2630409.0233 | 1230651.0861 | 2630408.3356 | 1230642.2709
16 | 2630456.2816 | 1230572.9466 | 2630457.6228 | 1230593.5438 | 2630453.8619 | 1230597.3491 | 2630454.2178 | 1230606.2452 | 2630448.3973 | 1230612.0972
17 | 2630409.0233 | 1230651.0861 | 2630394.6492 | 1230662.7865 | 2630372.2931 | 1230671.4221
18 | 2630372.2931 | 1230671.4221 | 2630374.019 | 1230681.9929 | 2630376.2048 | 1230692.9552 | 2630379.774 | 1230707.3933 | 2630383.1652 | 1230719.6292
19 | 2630372.2931 | 1230671.4221 | 2630370.9707 | 1230660.4532 | 2630369.8463 | 1230647.773 | 2630369.7833 | 1230646.6814
20 | 2630383.1652 | 1230719.6292 | 2630431.9925 | 1230682.0649
21 | 2630368.5707 | 1230625.6543 | 2630369.7833 | 1230646.6814
22 | 2630431.9925 | 1230682.0649 | 2630455.723 | 1230663.8083
23 | 2630368.5707 | 1230625.6543 | 2630367.1997 | 1230601.8831
24 | 2630466.2635 | 1230612.9665 | 2630472.1554 | 1230618.9781 | 2630478.4138 | 1230625.8921 | 2630481.3893 | 1230629.8411
25 | 2630466.2635 | 1230612.9665 | 2630478.3508 | 1230601.2212 | 2630518.8252 | 1230559.8255 | 2630596.5551 | 1230483.2443 | 2630612.644 | 1230469.6298 | 2630636.2047 | 1230456.7209 | 2630653.303 | 1230450.0937 | 2630680.1709 | 1230445.0846 | 2630695.9119 | 1230444.6432 | 2630705.2898 | 1230444.3802 | 2630723.6251 | 1230446.0981 | 2630741.7672 | 1230451.495 | 2630754.0735 | 1230456.1502 | 2630799.1758 | 1230479.6976 | 2630810.5073 | 1230486.8384 | 2630813.9649 | 1230491.926 | 2630800.9248 | 1230501.7646 | 2630813.5962 | 1230539.7533 | 2630817.1375 | 1230552.068 | 2630822.6231 | 1230575.0548 | 2630831.3739 | 1230632.9576 | 2630838.5289 | 1230664.0692 | 2630843.5664 | 1230678.493
26 | 2630486.7867 | 1230639.9101 | 2630483.9053 | 1230633.1802 | 2630481.3893 | 1230629.8411
27 | 2630843.5664 | 1230678.493 | 2630838.5289 | 1230664.0692 | 2630831.3739 | 1230632.9576 | 2630822.6231 | 1230575.0548 | 2630817.1375 | 1230552.068 | 2630813.5962 | 1230539.7533 | 2630800.9248 | 1230501.7646 | 2630813.9649 | 1230491.926 | 2630810.5073 | 1230486.8384 | 2630816.9203 | 1230482.858 | 2630824.8809 | 1230476.9178 | 2630911.8257 | 1230412.0512 | 2630931.4604 | 1230396.9217 | 2630935.0269 | 1230394.183 | 2631057.0503 | 1230300.1942 | 2631119.2589 | 1230253.446 | 2631094.2379 | 1230219.2834 | 2631090.4689 | 1230208.5572 | 2631089.0561 | 1230193.3739
28 | 2630843.5664 | 1230678.493 | 2630871.7253 | 1230675.5815 | 2630883.8482 | 1230676.0669 | 2630897.429 | 1230683.1417 | 2630924.7749 | 1230702.5843 | 2630937.6152 | 1230721.074
29 | 2630486.7867 | 1230639.9101 | 2630455.723 | 1230663.8083
30 | 2630495.0091 | 1230714.3309 | 2630511.0128 | 1230702.7049
31 | 2630495.0091 | 1230714.3309 | 2630474.1502 | 1230686.4516
32 | 2630474.1502 | 1230686.4516 | 2630476.3831 | 1230684.7554
33 | 2631331.353 | 1230161.1907 | 2631325.9438 | 1230159.9615 | 2631312.9814 | 1230134.5667 | 2631242.6934 | 1230176.0006 | 2631180.9308 | 1230218.2471 | 2631123.6295 | 1230260.6287 | 2631119.2589 | 1230253.446 | 2631094.2379 | 1230219.2834 | 2631090.4689 | 1230208.5572 | 2631089.0561 | 1230193.3739
34 | 2631089.0561 | 1230193.3739 | 2631091.3858 | 1230179.4776 | 2631117.3667 | 1230103.9451 | 2631123.2948 | 1230084.1863 | 2631127.4502 | 1230065.9191 | 2631130.5456 | 1230037.4402 | 2631129.9597 | 1230018.9467
35 | 2630504.775 | 1230663.4055 | 2630486.3762 | 1230677.1641 | 2630476.3831 | 1230684.7554
36 | 2631331.353 | 1230161.1907 | 2631337.9776 | 1230160.325 | 2631344.6163 | 1230156.7578 | 2631378.4401 | 1230132.9436 | 2631411.6421 | 1230113.618 | 2631434.2591 | 1230105.0432 | 2631451.4246 | 1230101.8319 | 2631468.2708 | 1230103.1216 | 2631482.9797 | 1230110.3927 | 2631498.5395 | 1230125.7732 | 2631514.37 | 1230148.6598 | 2631530.7574 | 1230179.343 | 2631542.0639 | 1230204.0068 | 2631551.6858 | 1230221.4343
37 | 2631129.9597 | 1230018.9467 | 2631129.6378 | 1230008.7868
38 | 2631024.6568 | 1229967.1894 | 2631020.0169 | 1229921.4819 | 2631022.1189 | 1229909.1297 | 2631031.3861 | 1229886.0636
39 | 2631024.6568 | 1229967.1894 | 2631032.7856 | 1229978.572
40 | 2631032.7856 | 1229978.572 | 2631043.3986 | 1229987.0769 | 2631043.3986 | 1229987.0769
41 | 2631563.8204 | 1230243.4127 | 2631561.6823 | 1230239.5402
42 | 2631563.8204 | 1230243.4127 | 2631571.2838 | 1230251.4572 | 2631577.3517 | 1230255.5474 | 2631587.4902 | 1230259.0366 | 2631597.6406 | 1230261.7254 | 2631607.581 | 1230264.0018 | 2631630.3806 | 1230255.2175
43 | 2631552.1821 | 1230222.3332 | 2631561.6823 | 1230239.5402
44 | 2631630.3806 | 1230255.2175 | 2631650.6172 | 1230246.0658
45 | 2631552.1821 | 1230222.3332 | 2631551.6858 | 1230221.4343
46 | 2630326.7212 | 1230554.1963 | 2630324.6556 | 1230561.1283
47 | 2630326.7212 | 1230554.1963 | 2630332.407 | 1230542.7405 | 2630337.6748 | 1230534.529 | 2630344.6764 | 1230524.9477
48 | 2630326.7212 | 1230554.1963 | 2630318.6009 | 1230548.4959 | 2630314.8198 | 1230545.8528
49 | 2630344.6764 | 1230524.9477 | 2630356.5073 | 1230533.7578 | 2630361.6348 | 1230539.6987 | 2630362.8271 | 1230552.7048
50 | 2630310.7238 | 1230545.5652 | 2630314.8198 | 1230545.8528
51 | 2630365.2727 | 1230579.0285 | 2630363.8374 | 1230563.7245 | 2630362.8271 | 1230552.7048
52 | 2630310.7238 | 1230545.5652 | 2630311.4313 | 1230558.3432 | 2630311.8569 | 1230562.8272
53 | 2630310.7238 | 1230545.5652 | 2630300.1468 | 1230544.8118
54 | 2630366.8543 | 1230595.8928 | 2630367.1997 | 1230601.8831
55 | 2630504.775 | 1230663.4055 | 2630486.7867 | 1230639.9101
56 | 2630366.8543 | 1230595.8928 | 2630365.2727 | 1230579.0285
57 | 2630309.1906 | 1230491.1798 | 2630310.936 | 1230508.1313
58 | 2630309.1906 | 1230491.1798 | 2630294.7295 | 1230489.9895
59 | 2630312.8765 | 1230598.7752 | 2630313.0127 | 1230575.0058 | 2630311.8569 | 1230562.8272
60 | 2630300.1468 | 1230544.8118 | 2630274.636 | 1230542.9946
61 | 2631043.3986 | 1229987.0769 | 2631046.249 | 1229987.4138
62 | 2631127.9142 | 1229977.1898 | 2631138.0174 | 1229970.205 | 2631145.927 | 1229958.4376
63 | 2631127.9142 | 1229977.1898 | 2631119.2687 | 1229967.6054 | 2631111.2979 | 1229965.1623 | 2631101.8104 | 1229965.4065
64 | 2631127.9142 | 1229977.1898 | 2631129.4144 | 1230001.7348 | 2631129.6378 | 1230008.7868
65 | 2630294.7295 | 1230489.9895 | 2630270.9603 | 1230488.033
66 | 2630269.9903 | 1230487.9532 | 2630270.9603 | 1230488.033
67 | 2630269.9903 | 1230487.9532 | 2630246.3678 | 1230486.0087
68 | 2630245.3756 | 1230485.9271 | 2630246.3678 | 1230486.0087
69 | 2630245.3756 | 1230485.9271 | 2630220.5019 | 1230483.8797
70 | 2630220.5019 | 1230483.8797 | 2630207.7228 | 1230482.8278
71 | 2630274.636 | 1230542.9946 | 2630273.3074 | 1230542.9
72 | 2630273.3074 | 1230542.9 | 2630253.0483 | 1230541.457
73 | 2630249.8698 | 1230541.2305 | 2630253.0483 | 1230541.457
74 | 2630312.8765 | 1230598.7752 | 2630314.3453 | 1230614.6861
75 | 2630312.8765 | 1230598.7752 | 2630295.535 | 1230597.7505
76 | 2630249.8698 | 1230541.2305 | 2630226.1747 | 1230539.5428
77 | 2630314.3453 | 1230614.6861 | 2630315.1171 | 1230623.0455
78 | 2630295.535 | 1230597.7505 | 2630269.2506 | 1230596.1975
79 | 2630226.1747 | 1230539.5428 | 2630226.0818 | 1230539.5361
80 | 2630268.1502 | 1230596.1325 | 2630269.2506 | 1230596.1975
81 | 2630268.1502 | 1230596.1325 | 2630242.6374 | 1230594.625
82 | 2630242.6374 | 1230594.625 | 2630221.0291 | 1230593.3483
83 | 2630206.6818 | 1230538.1543 | 2630226.0818 | 1230539.5361
84 | 2630206.6818 | 1230538.1543 | 2630204.0282 | 1230528.257 | 2630203.3036 | 1230521.7939 | 2630204.0697 | 1230502.4921
85 | 2630204.0697 | 1230502.4921 | 2630204.7278 | 1230485.9126 | 2630206.5465 | 1230482.731 | 2630207.7228 | 1230482.8278
86 | 2631101.8104 | 1229965.4065 | 2631098.7299 | 1229965.4858 | 2631087.829 | 1229969.0805
87 | 2631082.1073 | 1229972.0835 | 2631085.1556 | 1229969.9621 | 2631087.829 | 1229969.0805
88 | 2631060.5745 | 1229986.101 | 2631063.7023 | 1229984.8925 | 2631082.1073 | 1229972.0835
89 | 2631060.5745 | 1229986.101 | 2631054.6172 | 1229988.4029 | 2631046.249 | 1229987.4138

## bus_geodata
| x | y | coords
0 | 2630403.6938 | 1230560.6476
1 | 2630406.663 | 1230544.9482
2 | 2630404.4275 | 1230575.1942
3 | 2630406.058 | 1230531.776
4 | 2630401.4581 | 1230579.7262
5 | 2630438.8519 | 1230573.7021
6 | 2630431.0462 | 1230529.8803
7 | 2630403.1231 | 1230611.1129
8 | 2630438.8757 | 1230573.7011
9 | 2630429.9732 | 1230511.5815
10 | 2630434.5479 | 1230529.8638
11 | 2630403.8265 | 1230623.1536
12 | 2630439.5306 | 1230573.6727
13 | 2630429.2907 | 1230499.942
14 | 2630408.3356 | 1230642.2709
15 | 2630456.2816 | 1230572.9466
16 | 2630409.0233 | 1230651.0861
17 | 2630372.2931 | 1230671.4221
18 | 2630383.1652 | 1230719.6292
19 | 2630369.7833 | 1230646.6814
20 | 2630431.9925 | 1230682.0649
21 | 2630368.5707 | 1230625.6543
22 | 2630466.2635 | 1230612.9665
23 | 2630481.3893 | 1230629.8411
24 | 2630843.5664 | 1230678.4929
25 | 2630448.3973 | 1230612.0972
26 | 2630455.723 | 1230663.8083
27 | 2630495.0091 | 1230714.3309
28 | 2630511.0128 | 1230702.7049
29 | 2630474.1502 | 1230686.4516
30 | 2631089.0561 | 1230193.3739
31 | 2630937.6152 | 1230721.074
32 | 2630476.3831 | 1230684.7554
33 | 2631331.353 | 1230161.1907
34 | 2631129.9597 | 1230018.9467
35 | 2631024.6568 | 1229967.1894
36 | 2631031.3861 | 1229886.0636
37 | 2631032.7856 | 1229978.572
38 | 2631563.8204 | 1230243.4127
39 | 2631561.6823 | 1230239.5402
40 | 2631630.3806 | 1230255.2175
41 | 2631551.6858 | 1230221.4343
42 | 2631650.6172 | 1230246.0658
43 | 2630326.7212 | 1230554.1963
44 | 2630324.6556 | 1230561.1283
45 | 2630344.6764 | 1230524.9477
46 | 2630314.8198 | 1230545.8528
47 | 2630362.8271 | 1230552.7048
48 | 2630310.7238 | 1230545.5652
49 | 2630367.1997 | 1230601.8831
50 | 2630486.7867 | 1230639.9102
51 | 2630504.775 | 1230663.4055
52 | 2630365.2727 | 1230579.0285
53 | 2630310.936 | 1230508.1313
54 | 2630309.1906 | 1230491.1798
55 | 2630311.8569 | 1230562.8272
56 | 2630300.1468 | 1230544.8118
57 | 2631043.3986 | 1229987.0769
58 | 2631145.927 | 1229958.4376
59 | 2631127.9142 | 1229977.1898
60 | 2631129.6378 | 1230008.7868
61 | 2631552.1822 | 1230222.3332
62 | 2630294.7295 | 1230489.9895
63 | 2630270.9603 | 1230488.033
64 | 2630269.9903 | 1230487.9532
65 | 2630246.3678 | 1230486.0087
66 | 2630245.3756 | 1230485.9271
67 | 2630220.5019 | 1230483.8797
68 | 2630274.636 | 1230542.9946
69 | 2630273.3074 | 1230542.9
70 | 2630253.0483 | 1230541.457
71 | 2630312.8765 | 1230598.7752
72 | 2630249.8698 | 1230541.2305
73 | 2630314.3453 | 1230614.6861
74 | 2630295.535 | 1230597.7505
75 | 2630226.1747 | 1230539.5428
76 | 2630315.1171 | 1230623.0455
77 | 2630269.2506 | 1230596.1975
78 | 2630268.1502 | 1230596.1325
79 | 2630242.6374 | 1230594.625
80 | 2630221.0291 | 1230593.3483
81 | 2630206.6818 | 1230538.1543
82 | 2630226.0818 | 1230539.5361
83 | 2630204.0697 | 1230502.4921
84 | 2630366.8543 | 1230595.8928
85 | 2630207.7228 | 1230482.8278
86 | 2631101.8104 | 1229965.4065
87 | 2631087.829 | 1229969.0805
88 | 2631082.1073 | 1229972.0835
89 | 2631046.249 | 1229987.4138
90 | 2631060.5745 | 1229986.101
91 | 2630456.2816 | 1230572.9466

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99669 | -0.023016 | 0.0062877 | 0.0015759
1 | 0.99621 | -0.026366 | 0.0063055 | 0.0015803
2 | 0.99723 | -0.019207 | 0 | 0
3 | 0.99596 | -0.028151 | 0 | 0
4 | 0.99687 | -0.021764 | 0.0078922 | 0.001978
5 | 1 | 0 | -0.18647 | -0.046771
6 | 0.99548 | -0.031533 | 0 | 0
7 | 0.99485 | -0.035801 | 0.0046066 | 0.0011545
8 | 1 | -3.98e-06 | 0.0022903 | 0.00057401
9 | 0.9953 | -0.032814 | 0.0064776 | 0.0016234
10 | 0.99545 | -0.031763 | 0.0065092 | 0.0016314
11 | 0.99411 | -0.041016 | 0.0045769 | 0.0011471
12 | 0.99999 | -9.8919e-05 | 0.0063936 | 0.0016024
13 | 0.99529 | -0.032868 | 0.00045835 | 0.00011487
14 | 0.9929 | -0.049476 | 0.0047076 | 0.0011798
15 | 0.99979 | -0.0014574 | 0 | 0
16 | 0.99239 | -0.053036 | 0 | 0
17 | 0.98995 | -0.070157 | 0 | 0
18 | 0.98866 | -0.079334 | 0 | 0
19 | 0.98917 | -0.075618 | 0.0035811 | 0.00089751
20 | 0.98706 | -0.090794 | 0.0042298 | 0.0010601
21 | 0.98855 | -0.079991 | 0.0037738 | 0.00094581
22 | 0.98529 | -0.1035 | 0 | 0
23 | 0.98541 | -0.10262 | 0.0054724 | 0.0013715
24 | 0.98205 | -0.12728 | 0 | 0
25 | 0.99929 | -0.0049544 | 0.0081111 | 0.0020328
26 | 0.98634 | -0.095943 | 0.0054103 | 0.001356
27 | 0.98434 | -0.11017 | 0 | 0
28 | 0.98392 | -0.11318 | 0.014766 | 0.0037008
29 | 0.98459 | -0.1084 | 0 | 0
30 | 0.9787 | -0.15166 | 0 | 0
31 | 0.98201 | -0.1276 | 0.00027012 | 6.7699e-05
32 | 0.98461 | -0.10826 | 0.013412 | 0.0033615
33 | 0.97823 | -0.15525 | 0 | 0
34 | 0.97745 | -0.16062 | 4.6704e-05 | 1.1705e-05
35 | 0.97571 | -0.1731 | 0 | 0
36 | 0.97552 | -0.17448 | 0.0015749 | 0.00039471
37 | 0.97575 | -0.17287 | 0.0032599 | 0.00081701
38 | 0.9778 | -0.15839 | 0 | 0
39 | 0.9778 | -0.15839 | 0.00012597 | 3.1572e-05
40 | 0.97779 | -0.15847 | 0 | 0
41 | 0.97781 | -0.15834 | 0.00063869 | 0.00016007
42 | 0.97779 | -0.15849 | 8.7955e-05 | 2.2044e-05
43 | 0.97835 | -0.15207 | 0 | 0
44 | 0.97834 | -0.1522 | 0.0016553 | 0.00041486
45 | 0.98057 | -0.13626 | 0 | 0
46 | 0.97745 | -0.15852 | 0 | 0
47 | 0.98288 | -0.11993 | 0.0048211 | 0.0012083
48 | 0.97719 | -0.16034 | 0 | 0
49 | 0.98656 | -0.093943 | 0.0036856 | 0.0009237
50 | 0.9855 | -0.10197 | 0 | 0
51 | 0.98509 | -0.10482 | 0 | 0
52 | 0.98477 | -0.10657 | 0.0045334 | 0.0011362
53 | 0.97169 | -0.19987 | 0.0021317 | 0.00053425
54 | 0.97174 | -0.19948 | 0 | 0
55 | 0.97685 | -0.16283 | 0.0014507 | 0.00036359
56 | 0.97675 | -0.16354 | 0.0026589 | 0.00066639
57 | 0.97584 | -0.17218 | 0.00084701 | 0.00021228
58 | 0.97687 | -0.16481 | 0.00034621 | 8.6769e-05
59 | 0.97688 | -0.16472 | 0 | 0
60 | 0.97731 | -0.16162 | 8.5283e-05 | 2.1374e-05
61 | 0.97781 | -0.15834 | 0.00010794 | 2.7052e-05
62 | 0.97179 | -0.19915 | 0.0010835 | 0.00027155
63 | 0.9719 | -0.19834 | 0.0016683 | 0.00041811
64 | 0.97191 | -0.19829 | 0.0019731 | 0.00049451
65 | 0.97215 | -0.19657 | 0.0014033 | 0.00035171
66 | 0.97216 | -0.19649 | 0.0021867 | 0.00054804
67 | 0.97254 | -0.19373 | 0.0020427 | 0.00051194
68 | 0.97577 | -0.17054 | 0.0022743 | 0.00056999
69 | 0.97572 | -0.17087 | 0.0023183 | 0.00058102
70 | 0.97508 | -0.17546 | 0.0020405 | 0.00051139
71 | 0.9762 | -0.16746 | 0 | 0
72 | 0.97499 | -0.17611 | 0.0015064 | 0.00037753
73 | 0.97616 | -0.16779 | 0.0013233 | 0.00033164
74 | 0.97594 | -0.16935 | 0.0028991 | 0.00072658
75 | 0.97437 | -0.1806 | 0.0020796 | 0.00052119
76 | 0.97615 | -0.16784 | 0.00061258 | 0.00015353
77 | 0.97565 | -0.1714 | 0.0015169 | 0.00038017
78 | 0.97564 | -0.17147 | 0.0020389 | 0.00051099
79 | 0.9755 | -0.17251 | 0.0021183 | 0.00053089
80 | 0.97544 | -0.17292 | 0.0017709 | 0.00044384
81 | 0.97395 | -0.18359 | 0 | 0
82 | 0.97436 | -0.18062 | 0.0014049 | 0.00035211
83 | 0.97319 | -0.1891 | 0.0014621 | 0.00036644
84 | 0.98609 | -0.09724 | 0 | 0
85 | 0.97278 | -0.19204 | 0.00053883 | 0.00013504
86 | 0.97648 | -0.16762 | 0.00035239 | 8.8317e-05
87 | 0.97629 | -0.16894 | 8.4008e-05 | 2.1054e-05
88 | 0.97621 | -0.16952 | 0.0026822 | 0.00067223
89 | 0.97587 | -0.17201 | 8.4613e-05 | 2.1206e-05
90 | 0.97599 | -0.17111 | 0.00011006 | 2.7584e-05
91 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.019771 | 0.0049566 | -0.019762 | -0.0049533 | 9.1717e-06 | 3.3078e-06 | 0.029518 | 0.029518 | 0.029518 | 0.99669 | -0.023016 | 0.99621 | -0.026366 | 10.9325
1 | -0.026059 | -0.0065325 | 0.026072 | 0.0065376 | 1.3756e-05 | 5.101e-06 | 0.038905 | 0.038905 | 0.038905 | 0.99669 | -0.023016 | 0.99723 | -0.019207 | 14.4092
2 | 0.013456 | 0.003373 | -0.013453 | -0.0033719 | 3.324e-06 | 1.1068e-06 | 0.020099 | 0.020099 | 0.020099 | 0.99621 | -0.026366 | 0.99596 | -0.028151 | 7.4442
3 | 0.14234 | 0.03585 | -0.14229 | -0.035831 | 5.0871e-05 | 1.9354e-05 | 0.21246 | 0.21246 | 0.21246 | 0.99723 | -0.019207 | 0.99687 | -0.021764 | 26.2296
4 | -0.16842 | -0.042388 | 0.16887 | 0.04256 | 0.00045284 | 0.00017282 | 0.25136 | 0.25136 | 0.25136 | 0.99723 | -0.019207 | 1 | 0 | 31.0327
5 | 0.013453 | 0.0033719 | -0.013447 | -0.0033698 | 6.299e-06 | 2.0977e-06 | 0.020099 | 0.0201 | 0.0201 | 0.99596 | -0.028151 | 0.99548 | -0.031533 | 7.4443
6 | 0.1344 | 0.033853 | -0.13414 | -0.033753 | 0.00026329 | 0.00010004 | 0.20068 | 0.20068 | 0.20068 | 0.99687 | -0.021764 | 0.99485 | -0.035801 | 24.7753
7 | 0.016801 | 0.0042106 | -0.016801 | -0.0042106 | 9.2568e-09 | 3.2474e-09 | 0.025 | 0.025 | 0.025 | 1 | 0 | 1 | -3.98e-06 | 9.2591
8 | 0.0069372 | 0.0017384 | -0.006936 | -0.0017382 | 1.2299e-06 | 2.3477e-07 | 0.010369 | 0.01037 | 0.01037 | 0.99548 | -0.031533 | 0.9953 | -0.032814 | 3.8406
9 | 0.0065094 | 0.0016314 | -0.0065092 | -0.0016314 | 2.0687e-07 | 3.4042e-08 | 0.0097301 | 0.0097301 | 0.0097301 | 0.99548 | -0.031533 | 0.99545 | -0.031763 | 3.6037
10 | 0.12953 | 0.032598 | -0.12944 | -0.032562 | 9.4214e-05 | 3.5767e-05 | 0.19379 | 0.19379 | 0.19379 | 0.99485 | -0.035801 | 0.99411 | -0.041016 | 23.9246
11 | 0.01451 | 0.0036366 | -0.01451 | -0.0036365 | 1.9071e-07 | 6.4748e-08 | 0.021592 | 0.021592 | 0.021592 | 1 | -3.98e-06 | 0.99999 | -9.8919e-05 | 7.9969
12 | 0.00045835 | 0.00011472 | -0.00045835 | -0.00011487 | 3.4162e-09 | -1.5021e-07 | 0.00068521 | 0.00068526 | 0.00068526 | 0.9953 | -0.032814 | 0.99529 | -0.032868 | 0.2538
13 | 0.12486 | 0.031415 | -0.12471 | -0.03136 | 0.00014722 | 5.5834e-05 | 0.18694 | 0.18694 | 0.18694 | 0.99411 | -0.041016 | 0.9929 | -0.049476 | 23.0789
14 | 0.0081166 | 0.0020342 | -0.0081151 | -0.0020338 | 1.5262e-06 | 3.6708e-07 | 0.012078 | 0.012078 | 0.012078 | 0.99999 | -9.8919e-05 | 0.99979 | -0.0014574 | 4.4733
15 | 0.12001 | 0.03018 | -0.11995 | -0.030157 | 5.9511e-05 | 2.2546e-05 | 0.17988 | 0.17988 | 0.17988 | 0.9929 | -0.049476 | 0.99239 | -0.053036 | 22.2079
16 | 0.0081151 | 0.0020338 | -0.0081111 | -0.0020328 | 3.9276e-06 | 9.4507e-07 | 0.012078 | 0.012078 | 0.012078 | 0.99979 | -0.0014574 | 0.99929 | -0.0049544 | 4.4733
17 | 0.11995 | 0.030157 | -0.11966 | -0.030049 | 0.00028544 | 0.00010814 | 0.17988 | 0.17988 | 0.17988 | 0.99239 | -0.053036 | 0.98995 | -0.070157 | 22.208
18 | 0.054355 | 0.013591 | -0.054286 | -0.013566 | 6.8651e-05 | 2.4499e-05 | 0.081691 | 0.081691 | 0.081691 | 0.98995 | -0.070157 | 0.98866 | -0.079334 | 10.0853
19 | 0.065305 | 0.016458 | -0.065256 | -0.01644 | 4.9882e-05 | 1.8227e-05 | 0.098194 | 0.098194 | 0.098194 | 0.98995 | -0.070157 | 0.98917 | -0.075618 | 12.1228
20 | 0.054286 | 0.013566 | -0.054201 | -0.013536 | 8.5514e-05 | 3.0524e-05 | 0.081691 | 0.081692 | 0.081692 | 0.98866 | -0.079334 | 0.98706 | -0.090794 | 10.0854
21 | 0.061674 | 0.015542 | -0.061637 | -0.015529 | 3.7734e-05 | 1.3702e-05 | 0.092807 | 0.092808 | 0.092808 | 0.98917 | -0.075618 | 0.98855 | -0.079991 | 11.4577
22 | 0.049971 | 0.012476 | -0.049936 | -0.012463 | 3.5326e-05 | 1.244e-05 | 0.075315 | 0.075316 | 0.075316 | 0.98706 | -0.090794 | 0.98634 | -0.095943 | 9.2983
23 | 0.057863 | 0.014583 | -0.05775 | -0.01454 | 0.00011279 | 4.3075e-05 | 0.087127 | 0.087127 | 0.087127 | 0.98855 | -0.079991 | 0.98656 | -0.093943 | 32.2693
24 | -0.0108 | -0.0026519 | 0.010801 | 0.0026515 | 1.2524e-06 | -3.8527e-07 | 0.016291 | 0.016291 | 0.016291 | 0.98529 | -0.1035 | 0.98541 | -0.10262 | 2.0112
25 | 0.0108 | 0.0026519 | -0.010766 | -0.0026624 | 3.436e-05 | -1.0477e-05 | 0.016291 | 0.016299 | 0.016299 | 0.98529 | -0.1035 | 0.98205 | -0.12728 | 2.0123
26 | -0.016274 | -0.0040231 | 0.016275 | 0.0040232 | 1.4424e-06 | 1.1515e-07 | 0.024554 | 0.024554 | 0.024554 | 0.98541 | -0.10262 | 0.9855 | -0.10197 | 3.0314
27 | 0.010495 | 0.0025961 | -0.010461 | -0.0026078 | 3.4725e-05 | -1.1641e-05 | 0.015891 | 0.015899 | 0.015899 | 0.98205 | -0.12728 | 0.9787 | -0.15166 | 1.9629
28 | 0.00027013 | 6.6289e-05 | -0.00027012 | -6.7699e-05 | 1.1675e-08 | -1.4102e-06 | 0.00040881 | 0.00040931 | 0.00040931 | 0.98205 | -0.12728 | 0.98201 | -0.1276 | 0.1516
29 | 0.044525 | 0.011107 | -0.044489 | -0.011095 | 3.6763e-05 | 1.264e-05 | 0.067154 | 0.067154 | 0.067154 | 0.98634 | -0.095943 | 0.9855 | -0.10197 | 8.2906
30 | 0.014773 | 0.0037029 | -0.014766 | -0.0037008 | 6.1557e-06 | 2.1162e-06 | 0.022332 | 0.022332 | 0.022332 | 0.98434 | -0.11017 | 0.98392 | -0.11318 | 8.271
31 | -0.014773 | -0.0037029 | 0.014776 | 0.003703 | 3.6082e-06 | 6.0908e-08 | 0.022332 | 0.022331 | 0.022332 | 0.98434 | -0.11017 | 0.98459 | -0.1084 | 2.757
32 | -0.014776 | -0.003703 | 0.014777 | 0.003703 | 2.9085e-07 | 4.8781e-09 | 0.022331 | 0.022331 | 0.022331 | 0.98459 | -0.1084 | 0.98461 | -0.10826 | 2.7569
33 | 0.00096141 | 0.00023151 | -0.00096096 | -0.0002356 | 4.5054e-07 | -4.0862e-06 | 0.0014584 | 0.0014599 | 0.0014599 | 0.9787 | -0.15166 | 0.97823 | -0.15525 | 0.5407
34 | 0.0094993 | 0.0023762 | -0.0094875 | -0.0023763 | 1.1744e-05 | -1.31e-08 | 0.014441 | 0.014443 | 0.014443 | 0.9787 | -0.15166 | 0.97745 | -0.16062 | 2.6746
35 | -0.028189 | -0.0070645 | 0.028202 | 0.0070683 | 1.341e-05 | 3.8015e-06 | 0.042601 | 0.042601 | 0.042601 | 0.98461 | -0.10826 | 0.98509 | -0.10482 | 5.2594
36 | 0.00096096 | 0.0002356 | -0.00096056 | -0.00023922 | 3.9998e-07 | -3.6169e-06 | 0.0014599 | 0.0014612 | 0.0014612 | 0.97823 | -0.15525 | 0.97781 | -0.15834 | 0.54119
37 | 0.0094408 | 0.0023646 | -0.0094395 | -0.0023642 | 1.3101e-06 | 3.7649e-07 | 0.014372 | 0.014372 | 0.014372 | 0.97745 | -0.16062 | 0.97731 | -0.16162 | 5.3228
38 | 0.0015752 | 0.00039379 | -0.0015749 | -0.00039471 | 3.0004e-07 | -9.2517e-07 | 0.002402 | 0.0024023 | 0.0024023 | 0.97571 | -0.1731 | 0.97552 | -0.17448 | 0.88975
39 | -0.0015752 | -0.00039379 | 0.0015753 | 0.00039363 | 5.0354e-08 | -1.5534e-07 | 0.002402 | 0.0024019 | 0.002402 | 0.97571 | -0.1731 | 0.97575 | -0.17287 | 0.88961
40 | -0.0048352 | -0.0012106 | 0.0048357 | 0.0012107 | 4.6138e-07 | 7.5583e-09 | 0.0073733 | 0.0073732 | 0.0073733 | 0.97575 | -0.17287 | 0.97584 | -0.17218 | 2.7308
41 | -8.7956e-05 | -2.0836e-05 | 8.7957e-05 | 2.078e-05 | 4.9127e-11 | -5.5466e-08 | 0.00013343 | 0.00013341 | 0.00013343 | 0.9778 | -0.15839 | 0.9778 | -0.15839 | 0.049418
42 | 8.7956e-05 | 2.0836e-05 | -8.7956e-05 | -2.1765e-05 | 8.2568e-10 | -9.2969e-07 | 0.00013343 | 0.00013375 | 0.00013375 | 0.9778 | -0.15839 | 0.97779 | -0.15847 | 0.049538
43 | -0.00021393 | -5.2352e-05 | 0.00021393 | 5.2106e-05 | 1.296e-09 | -2.4605e-07 | 0.00032511 | 0.00032502 | 0.00032511 | 0.9778 | -0.15839 | 0.97781 | -0.15834 | 0.12041
44 | 8.7956e-05 | 2.1765e-05 | -8.7955e-05 | -2.2044e-05 | 2.4811e-10 | -2.7848e-07 | 0.00013375 | 0.00013385 | 0.00013385 | 0.97779 | -0.15847 | 0.97779 | -0.15849 | 0.049575
45 | 0.00032187 | 7.9144e-05 | -0.00032187 | -7.9157e-05 | 1.5337e-10 | -1.2821e-08 | 0.00048927 | 0.00048928 | 0.00048928 | 0.97781 | -0.15834 | 0.97781 | -0.15834 | 0.18121
46 | 0.0016553 | 0.00041478 | -0.0016553 | -0.00041486 | 2.861e-08 | -7.9826e-08 | 0.0025176 | 0.0025177 | 0.0025177 | 0.97835 | -0.15207 | 0.97834 | -0.1522 | 0.93247
47 | -0.044324 | -0.011125 | 0.044421 | 0.011162 | 9.7539e-05 | 3.7082e-05 | 0.06742 | 0.06742 | 0.06742 | 0.97835 | -0.15207 | 0.98057 | -0.13626 | 24.9703
48 | 0.042669 | 0.01071 | -0.04263 | -0.010695 | 3.8204e-05 | 1.4512e-05 | 0.064902 | 0.064902 | 0.064902 | 0.97835 | -0.15207 | 0.97745 | -0.15852 | 24.0379
49 | -0.044421 | -0.011162 | 0.044523 | 0.0112 | 0.00010114 | 3.8449e-05 | 0.06742 | 0.06742 | 0.06742 | 0.98057 | -0.13626 | 0.98288 | -0.11993 | 24.9703
50 | 0.04263 | 0.010695 | -0.04262 | -0.010691 | 1.0761e-05 | 4.0875e-06 | 0.064902 | 0.064902 | 0.064902 | 0.97745 | -0.15852 | 0.97719 | -0.16034 | 24.0379
51 | -0.049344 | -0.012409 | 0.049436 | 0.012444 | 9.2099e-05 | 3.5087e-05 | 0.074718 | 0.074718 | 0.074718 | 0.98288 | -0.11993 | 0.98477 | -0.10657 | 27.6735
52 | 0.013749 | 0.0034461 | -0.013744 | -0.0034445 | 4.7323e-06 | 1.6034e-06 | 0.020936 | 0.020936 | 0.020936 | 0.97719 | -0.16034 | 0.97685 | -0.16283 | 7.7542
53 | 0.028871 | 0.0072453 | -0.028858 | -0.0072405 | 1.279e-05 | 4.7866e-06 | 0.043966 | 0.043966 | 0.043966 | 0.97719 | -0.16034 | 0.97675 | -0.16354 | 16.2838
54 | 0.054064 | 0.013616 | -0.05404 | -0.013607 | 2.4911e-05 | 9.5047e-06 | 0.081568 | 0.081568 | 0.081568 | 0.98656 | -0.093943 | 0.98609 | -0.09724 | 30.2105
55 | 0.028214 | 0.0070715 | -0.028202 | -0.0070683 | 1.1159e-05 | 3.1623e-06 | 0.0426 | 0.042601 | 0.042601 | 0.9855 | -0.10197 | 0.98509 | -0.10482 | 5.2593
56 | -0.053969 | -0.01358 | 0.05404 | 0.013607 | 7.0323e-05 | 2.6832e-05 | 0.081568 | 0.081568 | 0.081568 | 0.98477 | -0.10657 | 0.98609 | -0.09724 | 30.2105
57 | -0.0021317 | -0.00053425 | 0.0021318 | 0.00053408 | 1.1331e-07 | -1.6752e-07 | 0.0032644 | 0.0032643 | 0.0032644 | 0.97169 | -0.19987 | 0.97174 | -0.19948 | 1.209
58 | -0.0021318 | -0.00053408 | 0.0021319 | 0.00053394 | 9.6479e-08 | -1.4266e-07 | 0.0032643 | 0.0032643 | 0.0032643 | 0.97174 | -0.19948 | 0.97179 | -0.19915 | 1.209
59 | 0.012293 | 0.0030809 | -0.012286 | -0.0030784 | 7.8783e-06 | 2.5797e-06 | 0.018726 | 0.018727 | 0.018727 | 0.97685 | -0.16283 | 0.9762 | -0.16746 | 6.9358
60 | 0.026199 | 0.0065741 | -0.026174 | -0.0065646 | 2.5427e-05 | 9.4597e-06 | 0.039915 | 0.039916 | 0.039916 | 0.97675 | -0.16354 | 0.97577 | -0.17054 | 14.7835
61 | -0.0056827 | -0.0014229 | 0.0056828 | 0.001423 | 1.3447e-07 | 1.5859e-08 | 0.0086648 | 0.0086648 | 0.0086648 | 0.97584 | -0.17218 | 0.97587 | -0.17201 | 3.2092
62 | -0.00034621 | -8.6769e-05 | 0.00034622 | 8.644e-05 | 4.5912e-09 | -3.2952e-07 | 0.00052737 | 0.00052725 | 0.00052737 | 0.97687 | -0.16481 | 0.97688 | -0.16472 | 0.19532
63 | 0.009004 | 0.0022552 | -0.0090004 | -0.0022542 | 3.6074e-06 | 1.0028e-06 | 0.013715 | 0.013715 | 0.013715 | 0.97688 | -0.16472 | 0.97648 | -0.16762 | 5.0796
64 | -0.0093502 | -0.0023417 | 0.0093542 | 0.0023428 | 4.0054e-06 | 1.1441e-06 | 0.014242 | 0.014242 | 0.014242 | 0.97688 | -0.16472 | 0.97731 | -0.16162 | 5.2748
65 | -0.0032154 | -0.00080549 | 0.0032157 | 0.00080533 | 3.6072e-07 | -1.5678e-07 | 0.0049233 | 0.0049232 | 0.0049233 | 0.97179 | -0.19915 | 0.9719 | -0.19834 | 1.8234
66 | -0.004884 | -0.0012234 | 0.004884 | 0.0012234 | 3.3955e-08 | 9.9879e-10 | 0.0074774 | 0.0074774 | 0.0074774 | 0.9719 | -0.19834 | 0.97191 | -0.19829 | 2.7694
67 | -0.0068572 | -0.001718 | 0.0068588 | 0.0017183 | 1.6301e-06 | 3.3315e-07 | 0.010498 | 0.010498 | 0.010498 | 0.97191 | -0.19829 | 0.97215 | -0.19657 | 3.8883
68 | -0.0082621 | -0.00207 | 0.0082622 | 0.00207 | 9.935e-08 | 2.5868e-08 | 0.012646 | 0.012646 | 0.012646 | 0.97215 | -0.19657 | 0.97216 | -0.19649 | 4.6838
69 | -0.010449 | -0.0026181 | 0.010453 | 0.0026193 | 3.9835e-06 | 1.2225e-06 | 0.015993 | 0.015993 | 0.015993 | 0.97216 | -0.19649 | 0.97254 | -0.19373 | 5.9234
70 | -0.012496 | -0.0031312 | 0.012499 | 0.0031322 | 2.9245e-06 | 9.6567e-07 | 0.019118 | 0.019118 | 0.019118 | 0.97254 | -0.19373 | 0.97278 | -0.19204 | 7.0809
71 | 0.023899 | 0.0059947 | -0.023898 | -0.0059942 | 1.1041e-06 | 4.0802e-07 | 0.036447 | 0.036447 | 0.036447 | 0.97577 | -0.17054 | 0.97572 | -0.17087 | 13.499
72 | 0.02158 | 0.0054132 | -0.021566 | -0.0054082 | 1.3728e-05 | 5.0265e-06 | 0.032912 | 0.032912 | 0.032912 | 0.97572 | -0.17087 | 0.97508 | -0.17546 | 12.1896
73 | 0.019526 | 0.0048968 | -0.019524 | -0.0048962 | 1.7656e-06 | 6.3931e-07 | 0.029798 | 0.029798 | 0.029798 | 0.97508 | -0.17546 | 0.97499 | -0.17611 | 11.0363
74 | 0.0019359 | 0.0004849 | -0.0019359 | -0.00048507 | 8.682e-08 | -1.6637e-07 | 0.0029508 | 0.0029509 | 0.0029509 | 0.9762 | -0.16746 | 0.97616 | -0.16779 | 1.0929
75 | 0.01035 | 0.0025935 | -0.010347 | -0.0025926 | 2.6978e-06 | 8.2048e-07 | 0.015776 | 0.015776 | 0.015776 | 0.9762 | -0.16746 | 0.97594 | -0.16935 | 5.8429
76 | 0.018018 | 0.0045186 | -0.018006 | -0.0045146 | 1.1209e-05 | 4.0152e-06 | 0.027499 | 0.027499 | 0.027499 | 0.97499 | -0.17611 | 0.97437 | -0.1806 | 10.1849
77 | 0.00061259 | 0.00015342 | -0.00061258 | -0.00015353 | 4.5677e-09 | -1.0319e-07 | 0.00093377 | 0.0009338 | 0.0009338 | 0.97616 | -0.16779 | 0.97615 | -0.16784 | 0.34585
78 | 0.0074478 | 0.001866 | -0.0074457 | -0.0018656 | 2.1186e-06 | 4.8595e-07 | 0.011356 | 0.011356 | 0.011356 | 0.97594 | -0.16935 | 0.97565 | -0.1714 | 4.2058
79 | 0.015927 | 0.0039934 | -0.015927 | -0.0039934 | 3.4362e-08 | 1.2057e-08 | 0.024323 | 0.024323 | 0.024323 | 0.97437 | -0.1806 | 0.97436 | -0.18062 | 9.0087
80 | 0.0059288 | 0.0014854 | -0.0059287 | -0.0014854 | 5.6236e-08 | 7.8639e-09 | 0.0090421 | 0.0090421 | 0.0090421 | 0.97565 | -0.1714 | 0.97564 | -0.17147 | 3.3489
81 | 0.0038899 | 0.00097439 | -0.0038893 | -0.00097449 | 5.6129e-07 | -1.0323e-07 | 0.0059325 | 0.0059326 | 0.0059326 | 0.97564 | -0.17147 | 0.9755 | -0.17251 | 2.1973
82 | 0.001771 | 0.0004436 | -0.0017709 | -0.00044384 | 9.8573e-08 | -2.3231e-07 | 0.0027014 | 0.0027015 | 0.0027015 | 0.9755 | -0.17251 | 0.97544 | -0.17292 | 1.0006
83 | -0.014516 | -0.0036393 | 0.014522 | 0.0036413 | 5.9693e-06 | 2.0538e-06 | 0.022178 | 0.022178 | 0.022178 | 0.97395 | -0.18359 | 0.97436 | -0.18062 | 8.214
84 | 0.014516 | 0.0036393 | -0.014505 | -0.0036354 | 1.107e-05 | 3.8092e-06 | 0.022178 | 0.022178 | 0.022178 | 0.97395 | -0.18359 | 0.97319 | -0.1891 | 8.2141
85 | 0.013043 | 0.003269 | -0.013037 | -0.0032672 | 5.3201e-06 | 1.78e-06 | 0.019943 | 0.019943 | 0.019943 | 0.97319 | -0.1891 | 0.97278 | -0.19204 | 7.3862
86 | 0.008648 | 0.0021659 | -0.0086464 | -0.0021655 | 1.5777e-06 | 4.2472e-07 | 0.013178 | 0.013178 | 0.013178 | 0.97648 | -0.16762 | 0.97629 | -0.16894 | 4.8807
87 | 0.0085624 | 0.0021444 | -0.0085617 | -0.0021442 | 6.938e-07 | 1.8521e-07 | 0.01305 | 0.01305 | 0.01305 | 0.97629 | -0.16894 | 0.97621 | -0.16952 | 4.8333
88 | 0.0058795 | 0.001472 | -0.0058782 | -0.0014718 | 1.2917e-06 | 1.7462e-07 | 0.0089614 | 0.0089615 | 0.0089615 | 0.97621 | -0.16952 | 0.97599 | -0.17111 | 3.3191
89 | -0.0057674 | -0.0014442 | 0.0057681 | 0.0014442 | 7.1479e-07 | 8.9826e-08 | 0.0087938 | 0.0087937 | 0.0087938 | 0.97587 | -0.17201 | 0.97599 | -0.17111 | 3.257

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19332 | 0.048487

## res_load
| p_mw | q_mvar
0 | 0.0062877 | 0.0015759
1 | 0.0063055 | 0.0015803
2 | 0.0078922 | 0.001978
3 | 0.0068481 | 0.0017163
4 | 0.0046066 | 0.0011545
5 | 0.0022903 | 0.00057401
6 | 0.0064776 | 0.0016234
7 | 0.0065092 | 0.0016314
8 | 0.0045769 | 0.0011471
9 | 0.0063936 | 0.0016024
10 | 0.00045835 | 0.00011487
11 | 0.0047076 | 0.0011798
12 | 0.0035811 | 0.00089751
13 | 0.0042298 | 0.0010601
14 | 0.0037738 | 0.00094581
15 | 0.0054724 | 0.0013715
16 | 0.0081111 | 0.0020328
17 | 0.0054103 | 0.001356
18 | 0.014766 | 0.0037008
19 | 0.00027012 | 6.7699e-05
20 | 0.013412 | 0.0033615
21 | 4.6704e-05 | 1.1705e-05
22 | 0.0015749 | 0.00039471
23 | 0.0032599 | 0.00081701
24 | 0.00012597 | 3.1572e-05
25 | 0.00063869 | 0.00016007
26 | 8.7955e-05 | 2.2044e-05
27 | 0.0016553 | 0.00041486
28 | 0.0048211 | 0.0012083
29 | 0.0036856 | 0.0009237
30 | 0.0045334 | 0.0011362
31 | 0.0021317 | 0.00053425
32 | 0.0014507 | 0.00036359
33 | 0.0026589 | 0.00066639
34 | 0.00084701 | 0.00021228
35 | 0.00034621 | 8.6769e-05
36 | 8.5283e-05 | 2.1374e-05
37 | 0.00010794 | 2.7052e-05
38 | 0.0010835 | 0.00027155
39 | 0.0016683 | 0.00041811
40 | 0.0019731 | 0.00049451
41 | 0.0014033 | 0.00035171
42 | 0.0021867 | 0.00054804
43 | 0.0020427 | 0.00051194
44 | 0.0022743 | 0.00056999
45 | 0.0023183 | 0.00058102
46 | 0.0020405 | 0.00051139
47 | 0.0015064 | 0.00037753
48 | 0.0013233 | 0.00033164
49 | 0.0028991 | 0.00072658
50 | 0.0020796 | 0.00052119
51 | 0.00061258 | 0.00015353
52 | 0.0015169 | 0.00038017
53 | 0.0020389 | 0.00051099
54 | 0.0021183 | 0.00053089
55 | 0.0017709 | 0.00044384
56 | 0.0014049 | 0.00035211
57 | 0.0014621 | 0.00036644
58 | 0.00053883 | 0.00013504
59 | 0.00035239 | 8.8317e-05
60 | 8.4008e-05 | 2.1054e-05
61 | 0.0026822 | 0.00067223
62 | 8.4613e-05 | 2.1206e-05
63 | 0.00011006 | 2.7584e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1