## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1139-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1139-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1139-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1139-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1139-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1139-4_0_4_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_1139-4_0_4_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_1139-4_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1139-4_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1139-4_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_1139-4_0_4_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_1139-4_0_4_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_1139-4_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1139-4_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_1139-4_0_4_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_1139-4_0_4_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_1139-4_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1139-4_0_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1139-4_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1139-4_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1139-4_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1139-4_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1139-4_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1139-4_0_4_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_1139-4_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1139-4_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1139-4_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1139-4_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_1139-4_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1139-4_0_4_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_1139-4_0_4_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_1139-4_0_4_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_1139-4_0_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_1139-4_0_4_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_1139-4_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1139-4_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_1139-4_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1139-4_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1139-4_0_4_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_1139-4_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1139-4_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1139-4_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1139-4_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1139-4_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_1139-4_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_1139-4_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1139-4_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1139-4_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_1139-4_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_1139-4_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1139-4_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_1139-4_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1139-4_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_1139-4_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_MV_475_1_node_275 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1139-4_0_4_load_0 | 0 | 0.0052537 | 0.0013167 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1139-4_0_4_load_1 | 1 | 0.00136 | 0.00034086 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1139-4_0_4_load_2 | 2 | 0.00059199 | 0.00014837 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1139-4_0_4_load_3 | 3 | 0.0069367 | 0.0017385 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1139-4_0_4_load_37 | 5 | 0.0015056 | 0.00037734 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1139-4_0_4_load_52 | 6 | 0.0018671 | 0.00046794 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1139-4_0_4_load_51 | 11 | 0.0017893 | 0.00044843 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1139-4_0_4_load_56 | 14 | 0.0028151 | 0.00070553 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1139-4_0_4_load_54 | 15 | 0.075982 | 0.019043 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1139-4_0_4_load_24 | 20 | 0.0040881 | 0.0010246 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1139-4_0_4_load_45 | 23 | 0.0011123 | 0.00027877 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1139-4_0_4_load_25 | 26 | 0.0011601 | 0.00029076 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1139-4_0_4_load_34 | 28 | 0.0014418 | 0.00036134 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1139-4_0_4_load_53 | 29 | 0.0013099 | 0.00032829 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1139-4_0_4_load_48 | 30 | 0.0015385 | 0.00038558 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1139-4_0_4_load_57 | 31 | 0.0025037 | 0.00062748 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1139-4_0_4_load_41 | 32 | 0.0012178 | 0.00030522 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1139-4_0_4_load_55 | 33 | 0.00176 | 0.00044109 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1139-4_0_4_load_21 | 34 | 0.095088 | 0.023831 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1139-4_0_4_load_44 | 35 | 0.0021413 | 0.00053666 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1139-4_0_4_load_26 | 36 | 0.001472 | 0.00036892 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1139-4_0_4_load_49 | 38 | 0.0012864 | 0.00032239 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1139-4_0_4_load_40 | 39 | 0.001435 | 0.00035965 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1139-4_0_4_load_27 | 40 | 0.0014766 | 0.00037006 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1139-4_0_4_load_38 | 41 | 0.002299 | 0.00057619 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1139-4_0_4_load_39 | 42 | 0.001862 | 0.00046667 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1139-4_0_4_load_28 | 43 | 0.001405 | 0.00035212 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1139-4_0_4_load_32 | 45 | 0.0019548 | 0.00048992 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1139-4_0_4_load_33 | 46 | 0.0020599 | 0.00051625 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1139-4_0_4_load_31 | 47 | 0.001275 | 0.00031955 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1139-4_0_4_load_50 | 48 | 0.0029003 | 0.00072689 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1139-4_0_4_load_36 | 49 | 0.0016662 | 0.00041758 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1139-4_0_4_load_47 | 50 | 0.0010151 | 0.00025441 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1139-4_0_4_load_46 | 51 | 0.0015562 | 0.00039001 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1139-4_0_4_load_42 | 52 | 0.00076415 | 0.00019152 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1139-4_0_4_load_43 | 53 | 0.001065 | 0.00026691 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1139-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1139-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1139-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.011253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1139-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1139-4_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.048458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1139-4_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.02216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1139-4_0_4_line_6 | NAYY 4x150 SE | 5 | 10 | 0.024459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1139-4_0_4_line_7 | NAYY 4x150 SE | 6 | 11 | 0.0051812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1139-4_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.21533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1139-4_0_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.092002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1139-4_0_4_line_10 | NAYY 4x150 SE | 8 | 15 | 0.020655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1139-4_0_4_line_11 | NAYY 4x150 SE | 9 | 32 | 0.038145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1139-4_0_4_line_12 | NAYY 4x150 SE | 10 | 49 | 0.010188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1139-4_0_4_line_13 | NAYY 4x150 SE | 10 | 47 | 0.021286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1139-4_0_4_line_14 | NAYY 4x150 SE | 11 | 53 | 0.024693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1139-4_0_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.14528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1139-4_0_4_line_16 | NAYY 4x150 SE | 12 | 14 | 0.04295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1139-4_0_4_line_17 | NAYY 4x150 SE | 13 | 33 | 0.051463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1139-4_0_4_line_18 | NAYY 4x150 SE | 14 | 19 | 0.063658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1139-4_0_4_line_19 | NAYY 4x150 SE | 15 | 16 | 0.012212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1139-4_0_4_line_20 | NAYY 4x150 SE | 16 | 17 | 0.074662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1139-4_0_4_line_21 | NAYY 4x150 SE | 17 | 19 | 0.055638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1139-4_0_4_line_22 | NAYY 4x150 SE | 17 | 34 | 0.014284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1139-4_0_4_line_23 | NAYY 4x150 SE | 18 | 19 | 0.044297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1139-4_0_4_line_24 | NAYY 4x150 SE | 18 | 20 | 0.015157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1139-4_0_4_line_25 | NAYY 4x150 SE | 21 | 22 | 0.03705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1139-4_0_4_line_26 | NAYY 4x150 SE | 21 | 23 | 0.038527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1139-4_0_4_line_27 | NAYY 4x150 SE | 22 | 30 | 0.040215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1139-4_0_4_line_28 | NAYY 4x150 SE | 23 | 35 | 0.0057476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1139-4_0_4_line_29 | NAYY 4x150 SE | 24 | 25 | 0.025258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1139-4_0_4_line_30 | NAYY 4x150 SE | 24 | 26 | 0.020466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1139-4_0_4_line_31 | NAYY 4x150 SE | 25 | 31 | 0.013148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1139-4_0_4_line_32 | NAYY 4x150 SE | 26 | 36 | 0.014387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1139-4_0_4_line_33 | NAYY 4x150 SE | 27 | 28 | 0.017464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1139-4_0_4_line_34 | NAYY 4x150 SE | 27 | 29 | 0.035807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1139-4_0_4_line_35 | NAYY 4x150 SE | 28 | 37 | 0.034043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1139-4_0_4_line_36 | NAYY 4x150 SE | 30 | 38 | 0.024642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1139-4_0_4_line_37 | NAYY 4x150 SE | 32 | 39 | 0.00029854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1139-4_0_4_line_38 | NAYY 4x150 SE | 35 | 51 | 0.018858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_1139-4_0_4_line_39 | NAYY 4x150 SE | 36 | 40 | 0.010975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1139-4_0_4_line_40 | NAYY 4x150 SE | 37 | 46 | 0.015006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1139-4_0_4_line_41 | NAYY 4x150 SE | 37 | 43 | 0.014807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1139-4_0_4_line_42 | NAYY 4x150 SE | 38 | 45 | 0.024414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1139-4_0_4_line_43 | NAYY 4x150 SE | 39 | 52 | 0.026173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_1139-4_0_4_line_44 | NAYY 4x150 SE | 40 | 41 | 0.0091536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1139-4_0_4_line_45 | NAYY 4x150 SE | 41 | 42 | 0.019616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1139-4_0_4_line_46 | NAYY 4x150 SE | 42 | 48 | 0.0021019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1139-4_0_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.041572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1139-4_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.044983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1139-4_0_4_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1139-4_0_4_line_50 | NAYY 4x150 SE | 49 | 50 | 0.023617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_1139-4_0_4_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0069514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_1139-4_0_4_line_52 | NAYY 4x150 SE | 52 | 53 | 0.0077716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1139-4_0_4_trafo_8 | 0.25 MVA 20/0.4 kV | 54 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2630241.267 | 1230897.5517 | 2630252.3141 | 1230897.2824 | 2630252.5132 | 1230912.1184
1 | 2630241.267 | 1230897.5517 | 2630237.2185 | 1230897.6504 | 2630233.3478 | 1230897.7975 | 2630216.9483 | 1230898.4147 | 2630214.4416 | 1230896.9011 | 2630213.6931 | 1230874.2723 | 2630212.796 | 1230854.0555 | 2630199.9955 | 1230852.8454 | 2630199.5039 | 1230829.851
2 | 2630252.6642 | 1230923.3702 | 2630252.5132 | 1230912.1184
3 | 2630203.2507 | 1230818.7856 | 2630199.3405 | 1230822.2123 | 2630199.5039 | 1230829.851
4 | 2630203.2507 | 1230818.7856 | 2630201.9339 | 1230815.6103 | 2630202.8308 | 1230811.9793 | 2630208.1852 | 1230801.5445 | 2630218.7406 | 1230784.0652 | 2630220.6507 | 1230780.7729 | 2630221.6899 | 1230777.465 | 2630222.1277 | 1230775.6581
5 | 2630203.2507 | 1230818.7856 | 2630207.7114 | 1230820.298 | 2630218.0668 | 1230821.3067 | 2630225.1094 | 1230821.1031
6 | 2630221.4099 | 1230752.0704 | 2630223.116 | 1230754.6473 | 2630224.2162 | 1230757.2322 | 2630222.5563 | 1230773.8895 | 2630222.1277 | 1230775.6581
7 | 2630230.2884 | 1230820.9534 | 2630225.1094 | 1230821.1031
8 | 2630338.9295 | 1230902.0148 | 2630342.306 | 1230957.2212 | 2630347.1012 | 1230956.9789 | 2630347.345 | 1230967.0863 | 2630347.5892 | 1230977.127 | 2630346.9282 | 1230993.8671 | 2630346.3314 | 1230998.0444 | 2630345.3841 | 1231005.5998 | 2630344.0825 | 1231011.3411 | 2630342.4263 | 1231018.3035 | 2630337.1608 | 1231033.586 | 2630336.1402 | 1231036.2047 | 2630336.2101 | 1231038.8288 | 2630337.1921 | 1231042.3026 | 2630339.0349 | 1231044.7691 | 2630342.0392 | 1231048.1865 | 2630339.0017 | 1231055.7423 | 2630356.2884 | 1231062.2454 | 2630357.6349 | 1231086.3003 | 2630358.5843 | 1231096.1445
9 | 2630327.2538 | 1230816.8257 | 2630333.4511 | 1230816.4014 | 2630335.1861 | 1230845.9838 | 2630338.7406 | 1230897.4889 | 2630338.9295 | 1230902.0148
10 | 2630358.5843 | 1231096.1445 | 2630359.8116 | 1231107.9468 | 2630360.1835 | 1231112.2291 | 2630360.6638 | 1231116.6938
11 | 2630327.2538 | 1230816.8257 | 2630313.4554 | 1230818.2118 | 2630289.1977 | 1230819.1918
12 | 2630221.4099 | 1230752.0704 | 2630226.1968 | 1230751.9835 | 2630231.5573 | 1230752.6402
13 | 2630221.4099 | 1230752.0704 | 2630217.3421 | 1230747.736 | 2630213.2077 | 1230744.6131 | 2630209.7787 | 1230741.2603 | 2630205.4018 | 1230738.1585
14 | 2630254.9709 | 1230820.2393 | 2630251.7586 | 1230820.3327 | 2630230.2884 | 1230820.9534
15 | 2630334.6809 | 1231346.2642 | 2630336.2972 | 1231372.3773 | 2630361.9947 | 1231371.7635 | 2630361.9017 | 1231390.0075 | 2630379.6094 | 1231389.4975 | 2630391.2478 | 1231389.6681 | 2630391.1037 | 1231379.3388 | 2630391.1161 | 1231376.904 | 2630393.3572 | 1231375.5035 | 2630423.7377 | 1231374.3246
16 | 2630334.6809 | 1231346.2642 | 2630332.1624 | 1231303.388
17 | 2630423.7377 | 1231374.3246 | 2630433.0616 | 1231373.9609 | 2630432.7545 | 1231365.8989 | 2630442.8531 | 1231365.1055 | 2630441.5592 | 1231341.2066
18 | 2630335.2037 | 1231240.7358 | 2630329.4896 | 1231257.8838 | 2630332.1624 | 1231303.388
19 | 2630361.7269 | 1231128.8583 | 2630361.0439 | 1231120.2273 | 2630360.6638 | 1231116.6938
20 | 2630338.145 | 1231185.1836 | 2630342.4478 | 1231129.9495 | 2630361.7269 | 1231128.8583
21 | 2630338.145 | 1231185.1836 | 2630335.2037 | 1231240.7358
22 | 2630338.145 | 1231185.1836 | 2630323.8669 | 1231184.7755
23 | 2630379.5908 | 1231238.8387 | 2630335.2037 | 1231240.7358
24 | 2630379.5908 | 1231238.8387 | 2630394.7378 | 1231238.2877
25 | 2630322.2821 | 1230723.8437 | 2630322.9786 | 1230732.8194 | 2630324.8885 | 1230760.8017
26 | 2630324.8885 | 1230760.8017 | 2630308.6945 | 1230759.6519 | 2630291.0319 | 1230758.3724 | 2630286.4651 | 1230757.988
27 | 2630322.2821 | 1230723.8437 | 2630318.1847 | 1230722.3775 | 2630314.4836 | 1230720.4241 | 2630309.7221 | 1230716.9978 | 2630300.3368 | 1230709.8679 | 2630295.3852 | 1230706.5852 | 2630289.3544 | 1230704.0418 | 2630287.8981 | 1230703.5421
28 | 2630280.7378 | 1230757.5061 | 2630286.4651 | 1230757.988
29 | 2630319.9543 | 1230678.293 | 2630317.8937 | 1230653.1227
30 | 2630317.8937 | 1230653.1227 | 2630297.4769 | 1230651.7082
31 | 2630319.9543 | 1230678.293 | 2630306.8087 | 1230679.3267
32 | 2630283.1245 | 1230650.7138 | 2630297.4769 | 1230651.7082
33 | 2630208.4959 | 1230592.6077 | 2630207.9091 | 1230610.0623
34 | 2630208.4959 | 1230592.6077 | 2630244.2407 | 1230594.7198
35 | 2630206.7653 | 1230644.0859 | 2630207.9091 | 1230610.0623
36 | 2630287.8981 | 1230703.5421 | 2630279.3898 | 1230700.6224 | 2630268.0723 | 1230698.13 | 2630264.1188 | 1230697.2132
37 | 2630289.1977 | 1230819.1918 | 2630288.8994 | 1230819.2039
38 | 2630280.7378 | 1230757.5061 | 2630269.2369 | 1230756.5382 | 2630261.9504 | 1230755.8733
39 | 2630283.1245 | 1230650.7138 | 2630272.1758 | 1230649.9552
40 | 2630206.7653 | 1230644.0859 | 2630209.3099 | 1230645.5997 | 2630221.3265 | 1230646.4322
41 | 2630206.7653 | 1230644.0859 | 2630203.771 | 1230658.5873
42 | 2630264.1188 | 1230697.2132 | 2630257.3379 | 1230695.6406 | 2630245.8659 | 1230693.7479 | 2630240.0691 | 1230693.1633
43 | 2630262.7392 | 1230820.0133 | 2630284.6172 | 1230819.3769 | 2630288.8994 | 1230819.2039
44 | 2630263.0441 | 1230649.3226 | 2630272.1758 | 1230649.9552
45 | 2630243.4751 | 1230647.9668 | 2630263.0441 | 1230649.3226
46 | 2630243.4751 | 1230647.9668 | 2630241.3783 | 1230647.8215
47 | 2630196.2144 | 1230699.455 | 2630198.221 | 1230686.1126 | 2630199.6741 | 1230678.8489 | 2630200.608 | 1230673.9061 | 2630203.771 | 1230658.5873
48 | 2630196.2144 | 1230699.455 | 2630200.0716 | 1230697.54 | 2630205.1336 | 1230695.4867 | 2630215.0577 | 1230693.4802 | 2630222.9691 | 1230692.5976 | 2630234.4886 | 1230692.6005 | 2630240.0691 | 1230693.1633
49 | 2630221.3265 | 1230646.4322 | 2630241.3783 | 1230647.8215
50 | 2630255.0277 | 1230755.2416 | 2630246.2694 | 1230754.4425 | 2630231.5573 | 1230752.6402
51 | 2630255.0277 | 1230755.2416 | 2630261.9504 | 1230755.8733
52 | 2630262.7392 | 1230820.0133 | 2630254.9709 | 1230820.2393

## bus_geodata
| x | y | coords
0 | 2630241.267 | 1230897.5517
1 | 2630252.5132 | 1230912.1184
2 | 2630199.5039 | 1230829.851
3 | 2630252.6642 | 1230923.3702
4 | 2630203.2507 | 1230818.7856
5 | 2630222.1277 | 1230775.6581
6 | 2630225.1094 | 1230821.1031
7 | 2630338.9295 | 1230902.0148
8 | 2630358.5843 | 1231096.1445
9 | 2630327.2538 | 1230816.8257
10 | 2630221.4099 | 1230752.0704
11 | 2630230.2884 | 1230820.9534
12 | 2630334.6809 | 1231346.2642
13 | 2630423.7377 | 1231374.3246
14 | 2630332.1624 | 1231303.388
15 | 2630360.6638 | 1231116.6938
16 | 2630361.7269 | 1231128.8583
17 | 2630338.145 | 1231185.1836
18 | 2630379.5908 | 1231238.8387
19 | 2630335.2037 | 1231240.7358
20 | 2630394.7378 | 1231238.2877
21 | 2630324.8885 | 1230760.8017
22 | 2630322.2821 | 1230723.8437
23 | 2630286.4651 | 1230757.988
24 | 2630317.8937 | 1230653.1227
25 | 2630319.9543 | 1230678.293
26 | 2630297.4769 | 1230651.7082
27 | 2630208.4959 | 1230592.6077
28 | 2630207.9091 | 1230610.0623
29 | 2630244.2407 | 1230594.7198
30 | 2630287.8981 | 1230703.5421
31 | 2630306.8087 | 1230679.3267
32 | 2630289.1977 | 1230819.1918
33 | 2630441.5592 | 1231341.2066
34 | 2630323.8669 | 1231184.7755
35 | 2630280.7378 | 1230757.5061
36 | 2630283.1245 | 1230650.7138
37 | 2630206.7653 | 1230644.0859
38 | 2630264.1188 | 1230697.2132
39 | 2630288.8994 | 1230819.2039
40 | 2630272.1758 | 1230649.9552
41 | 2630263.0441 | 1230649.3226
42 | 2630243.4751 | 1230647.9668
43 | 2630203.771 | 1230658.5873
44 | 2630196.2144 | 1230699.455
45 | 2630240.0691 | 1230693.1633
46 | 2630221.3265 | 1230646.4322
47 | 2630205.4018 | 1230738.1585
48 | 2630241.3783 | 1230647.8215
49 | 2630231.5573 | 1230752.6402
50 | 2630255.0277 | 1230755.2416
51 | 2630261.9504 | 1230755.8733
52 | 2630262.7392 | 1230820.0133
53 | 2630254.9709 | 1230820.2393
54 | 2630357.6349 | 1231086.3003

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97993 | -0.14047 | 0.0052537 | 0.0013167
1 | 0.97961 | -0.1427 | 0.00136 | 0.00034086
2 | 0.98202 | -0.12556 | 0.00059199 | 0.00014837
3 | 0.9795 | -0.14351 | 0.0069367 | 0.0017385
4 | 0.98228 | -0.12368 | 0 | 0
5 | 0.98104 | -0.13247 | 0.0015056 | 0.00037734
6 | 0.98307 | -0.11805 | 0.0018671 | 0.00046794
7 | 0.99101 | -0.062217 | 0 | 0
8 | 1 | 0 | -0.24039 | -0.060366
9 | 0.98717 | -0.089131 | 0 | 0
10 | 0.98044 | -0.13672 | 0 | 0
11 | 0.98327 | -0.11668 | 0.0017893 | 0.00044843
12 | 0.98962 | -0.072804 | 0 | 0
13 | 0.98925 | -0.075428 | 0 | 0
14 | 0.98973 | -0.072025 | 0.0028151 | 0.00070553
15 | 0.99733 | -0.018581 | 0.075982 | 0.019043
16 | 0.99642 | -0.024947 | 0 | 0
17 | 0.99084 | -0.064117 | 0 | 0
18 | 0.98988 | -0.070887 | 0 | 0
19 | 0.99014 | -0.069042 | 0 | 0
20 | 0.98979 | -0.071519 | 0.0040881 | 0.0010246
21 | 0.97833 | -0.15172 | 0 | 0
22 | 0.97766 | -0.1565 | 0 | 0
23 | 0.97903 | -0.14676 | 0.0011123 | 0.00027877
24 | 0.97029 | -0.20939 | 0 | 0
25 | 0.9702 | -0.21006 | 0 | 0
26 | 0.97037 | -0.20884 | 0.0011601 | 0.00029076
27 | 0.97149 | -0.20077 | 0 | 0
28 | 0.97152 | -0.20053 | 0.0014418 | 0.00036134
29 | 0.97142 | -0.20127 | 0.0013099 | 0.00032829
30 | 0.97621 | -0.16689 | 0.0015385 | 0.00038558
31 | 0.97015 | -0.21041 | 0.0025037 | 0.00062748
32 | 0.98558 | -0.10035 | 0.0012178 | 0.00030522
33 | 0.98912 | -0.076354 | 0.00176 | 0.00044109
34 | 0.98888 | -0.077952 | 0.095088 | 0.023831
35 | 0.97914 | -0.14599 | 0.0021413 | 0.00053666
36 | 0.97045 | -0.20828 | 0.001472 | 0.00036892
37 | 0.97166 | -0.19954 | 0 | 0
38 | 0.97537 | -0.17287 | 0.0012864 | 0.00032239
39 | 0.98556 | -0.10044 | 0.001435 | 0.00035965
40 | 0.97053 | -0.20768 | 0.0014766 | 0.00037006
41 | 0.97062 | -0.20704 | 0.002299 | 0.00057619
42 | 0.97088 | -0.20519 | 0.001862 | 0.00046667
43 | 0.97206 | -0.19664 | 0.001405 | 0.00035212
44 | 0.97328 | -0.18791 | 0 | 0
45 | 0.97459 | -0.17848 | 0.0019548 | 0.00048992
46 | 0.97131 | -0.20204 | 0.0020599 | 0.00051625
47 | 0.9804 | -0.137 | 0.001275 | 0.00031955
48 | 0.97091 | -0.20495 | 0.0029003 | 0.00072689
49 | 0.9802 | -0.13842 | 0.0016662 | 0.00041758
50 | 0.97967 | -0.14217 | 0.0010151 | 0.00025441
51 | 0.97952 | -0.14324 | 0.0015562 | 0.00039001
52 | 0.98452 | -0.1078 | 0.00076415 | 0.00019152
53 | 0.98422 | -0.10995 | 0.001065 | 0.00026691
54 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0083001 | 0.0020802 | -0.0082975 | -0.0020795 | 2.5661e-06 | 6.6093e-07 | 0.012604 | 0.012604 | 0.012604 | 0.97993 | -0.14047 | 0.97961 | -0.1427 | 4.6681
1 | -0.013554 | -0.0033969 | 0.013582 | 0.0034063 | 2.8017e-05 | 9.4375e-06 | 0.020581 | 0.020581 | 0.020581 | 0.97993 | -0.14047 | 0.98202 | -0.12556 | 7.6227
2 | 0.0069374 | 0.0017386 | -0.0069367 | -0.0017385 | 7.7974e-07 | 1.5825e-07 | 0.010538 | 0.010538 | 0.010538 | 0.97961 | -0.1427 | 0.9795 | -0.14351 | 3.9029
3 | -0.014174 | -0.0035547 | 0.014177 | 0.0035559 | 3.6959e-06 | 1.259e-06 | 0.021478 | 0.021478 | 0.021478 | 0.98202 | -0.12556 | 0.98228 | -0.12368 | 7.9548
4 | 0.035226 | 0.0088555 | -0.035183 | -0.0088401 | 4.3067e-05 | 1.5339e-05 | 0.053372 | 0.053372 | 0.053372 | 0.98228 | -0.12368 | 0.98104 | -0.13247 | 9.8837
5 | -0.049403 | -0.012411 | 0.049442 | 0.012426 | 3.8735e-05 | 1.4337e-05 | 0.07485 | 0.074849 | 0.07485 | 0.98228 | -0.12368 | 0.98307 | -0.11805 | 13.861
6 | 0.033677 | 0.0084628 | -0.033657 | -0.0084558 | 1.9918e-05 | 7.0435e-06 | 0.051088 | 0.051089 | 0.051089 | 0.98104 | -0.13247 | 0.98044 | -0.13672 | 9.4609
7 | -0.051309 | -0.012894 | 0.051319 | 0.012897 | 9.7533e-06 | 3.6199e-06 | 0.077675 | 0.077675 | 0.077675 | 0.98307 | -0.11805 | 0.98327 | -0.11668 | 14.3843
8 | -0.058022 | -0.01463 | 0.058532 | 0.014821 | 0.00051027 | 0.00019066 | 0.087152 | 0.08715 | 0.087152 | 0.99101 | -0.062217 | 1 | 0 | 16.1392
9 | 0.058022 | 0.01463 | -0.057804 | -0.014549 | 0.00021803 | 8.1495e-05 | 0.087152 | 0.087153 | 0.087153 | 0.99101 | -0.062217 | 0.98717 | -0.089131 | 16.1394
10 | 0.18105 | 0.045545 | -0.18059 | -0.045366 | 0.00046795 | 0.00017944 | 0.26947 | 0.26947 | 0.26947 | 1 | 0 | 0.99733 | -0.018581 | 49.9019
11 | 0.057804 | 0.014549 | -0.057713 | -0.014515 | 9.0398e-05 | 3.3795e-05 | 0.087153 | 0.087153 | 0.087153 | 0.98717 | -0.089131 | 0.98558 | -0.10035 | 16.1394
12 | 0.032382 | 0.0081364 | -0.032374 | -0.0081338 | 7.6801e-06 | 2.697e-06 | 0.049154 | 0.049154 | 0.049154 | 0.98044 | -0.13672 | 0.9802 | -0.13842 | 9.1025
13 | 0.0012751 | 0.0003193 | -0.001275 | -0.00031955 | 4.9739e-08 | -2.493e-07 | 0.0019351 | 0.0019352 | 0.0019352 | 0.98044 | -0.13672 | 0.9804 | -0.137 | 0.71673
14 | -0.053108 | -0.013346 | 0.053158 | 0.013364 | 4.978e-05 | 1.8519e-05 | 0.080383 | 0.080383 | 0.080383 | 0.98327 | -0.11668 | 0.98422 | -0.10995 | 14.8858
15 | 0.0017608 | 0.0004389 | -0.0017602 | -0.00044052 | 6.3523e-07 | -1.6216e-06 | 0.0026468 | 0.0026474 | 0.0026474 | 0.98962 | -0.072804 | 0.98925 | -0.075428 | 0.98054
16 | -0.0017608 | -0.0004389 | 0.001761 | 0.00043842 | 1.8774e-07 | -4.7969e-07 | 0.0026468 | 0.0026466 | 0.0026468 | 0.98962 | -0.072804 | 0.98973 | -0.072025 | 0.98029
17 | 0.0017602 | 0.00044052 | -0.00176 | -0.00044109 | 2.251e-07 | -5.7405e-07 | 0.0026474 | 0.0026477 | 0.0026477 | 0.98925 | -0.075428 | 0.98912 | -0.076354 | 0.98062
18 | -0.0045761 | -0.0011439 | 0.004578 | 0.0011438 | 1.8796e-06 | -9.5494e-08 | 0.006879 | 0.0068787 | 0.006879 | 0.98973 | -0.072025 | 0.99014 | -0.069042 | 2.5478
19 | 0.1046 | 0.026323 | -0.10451 | -0.026287 | 9.2849e-05 | 3.5393e-05 | 0.15611 | 0.15611 | 0.15611 | 0.99733 | -0.018581 | 0.99642 | -0.024947 | 28.9086
20 | 0.10451 | 0.026287 | -0.10394 | -0.026071 | 0.00056767 | 0.0002164 | 0.15611 | 0.15611 | 0.15611 | 0.99642 | -0.024947 | 0.99084 | -0.064117 | 28.9087
21 | 0.0086733 | 0.0021697 | -0.0086675 | -0.0021682 | 5.8892e-06 | 1.5489e-06 | 0.013024 | 0.013024 | 0.013024 | 0.99084 | -0.064117 | 0.99014 | -0.069042 | 4.8238
22 | 0.09527 | 0.023901 | -0.095088 | -0.023831 | 0.00018248 | 6.9999e-05 | 0.14308 | 0.14308 | 0.14308 | 0.99084 | -0.064117 | 0.98888 | -0.077952 | 52.9937
23 | -0.0040884 | -0.0010245 | 0.0040895 | 0.0010243 | 1.044e-06 | -1.6806e-07 | 0.0061458 | 0.0061456 | 0.0061458 | 0.98988 | -0.070887 | 0.99014 | -0.069042 | 2.2762
24 | 0.0040884 | 0.0010245 | -0.0040881 | -0.0010246 | 3.5723e-07 | -5.7431e-08 | 0.0061458 | 0.0061458 | 0.0061458 | 0.98988 | -0.070887 | 0.98979 | -0.071519 | 2.2762
25 | 0.024832 | 0.006239 | -0.024816 | -0.0062336 | 1.6495e-05 | 5.4143e-06 | 0.037775 | 0.037775 | 0.037775 | 0.97833 | -0.15172 | 0.97766 | -0.1565 | 6.9953
26 | -0.024832 | -0.006239 | 0.024849 | 0.0062446 | 1.7152e-05 | 5.6286e-06 | 0.037775 | 0.037774 | 0.037775 | 0.97833 | -0.15172 | 0.97903 | -0.14676 | 6.9953
27 | 0.024816 | 0.0062336 | -0.02478 | -0.0062203 | 3.5808e-05 | 1.3269e-05 | 0.037775 | 0.037775 | 0.037775 | 0.97766 | -0.1565 | 0.97621 | -0.16689 | 13.9908
28 | -0.025962 | -0.0065234 | 0.025964 | 0.0065243 | 2.7929e-06 | 9.2963e-07 | 0.039465 | 0.039465 | 0.039465 | 0.97903 | -0.14676 | 0.97914 | -0.14599 | 7.3083
29 | 0.002504 | 0.00062714 | -0.0025038 | -0.00062736 | 2.324e-07 | -2.2256e-07 | 0.0038399 | 0.00384 | 0.00384 | 0.97029 | -0.20939 | 0.9702 | -0.21006 | 1.4222
30 | -0.002504 | -0.00062714 | 0.0025042 | 0.00062696 | 1.883e-07 | -1.8038e-07 | 0.0038399 | 0.0038398 | 0.0038399 | 0.97029 | -0.20939 | 0.97037 | -0.20884 | 1.4222
31 | 0.0025038 | 0.00062736 | -0.0025037 | -0.00062748 | 1.2098e-07 | -1.1583e-07 | 0.00384 | 0.0038401 | 0.0038401 | 0.9702 | -0.21006 | 0.97015 | -0.21041 | 1.4223
32 | -0.0036644 | -0.00091772 | 0.0036646 | 0.00091765 | 2.8343e-07 | -6.8729e-08 | 0.0056189 | 0.0056188 | 0.0056189 | 0.97037 | -0.20884 | 0.97045 | -0.20828 | 2.0811
33 | -0.00131 | -0.00032789 | 0.00131 | 0.00032769 | 4.3867e-08 | -1.9938e-07 | 0.0020064 | 0.0020063 | 0.0020064 | 0.97149 | -0.20077 | 0.97152 | -0.20053 | 0.74309
34 | 0.00131 | 0.00032789 | -0.0013099 | -0.00032829 | 8.9951e-08 | -4.0873e-07 | 0.0020064 | 0.0020065 | 0.0020065 | 0.97149 | -0.20077 | 0.97142 | -0.20127 | 0.74315
35 | -0.0027518 | -0.00068903 | 0.0027522 | 0.00068875 | 3.7731e-07 | -2.7648e-07 | 0.0042145 | 0.0042144 | 0.0042145 | 0.97152 | -0.20053 | 0.97166 | -0.19954 | 1.5609
36 | 0.023241 | 0.0058348 | -0.023222 | -0.0058276 | 1.9302e-05 | 7.1162e-06 | 0.03543 | 0.03543 | 0.03543 | 0.97621 | -0.16689 | 0.97537 | -0.17287 | 13.1223
37 | 0.056495 | 0.01421 | -0.056495 | -0.014209 | 6.7797e-07 | 2.5315e-07 | 0.085314 | 0.085314 | 0.085314 | 0.98558 | -0.10035 | 0.98556 | -0.10044 | 15.7989
38 | -0.028106 | -0.007061 | 0.028116 | 0.0070647 | 1.0737e-05 | 3.6552e-06 | 0.042719 | 0.042719 | 0.042719 | 0.97914 | -0.14599 | 0.97952 | -0.14324 | 7.9109
39 | -0.0051366 | -0.0012866 | 0.0051371 | 0.0012866 | 4.248e-07 | 2.7773e-08 | 0.0078759 | 0.0078758 | 0.0078759 | 0.97045 | -0.20828 | 0.97053 | -0.20768 | 2.917
40 | 0.015749 | 0.0039473 | -0.015744 | -0.0039454 | 5.447e-06 | 1.9092e-06 | 0.024119 | 0.024119 | 0.024119 | 0.97166 | -0.19954 | 0.97131 | -0.20204 | 8.9328
41 | -0.018501 | -0.0046361 | 0.018509 | 0.0046387 | 7.4173e-06 | 2.6693e-06 | 0.028333 | 0.028333 | 0.028333 | 0.97166 | -0.19954 | 0.97206 | -0.19664 | 10.4937
42 | 0.021936 | 0.0055053 | -0.021919 | -0.005499 | 1.7064e-05 | 6.2586e-06 | 0.033468 | 0.033468 | 0.033468 | 0.97537 | -0.17287 | 0.97459 | -0.17848 | 12.3955
43 | 0.05506 | 0.01385 | -0.055003 | -0.013829 | 5.6456e-05 | 2.1047e-05 | 0.083148 | 0.083148 | 0.083148 | 0.98556 | -0.10044 | 0.98452 | -0.1078 | 15.3978
44 | -0.0066136 | -0.0016567 | 0.0066142 | 0.0016568 | 5.8725e-07 | 1.1274e-07 | 0.01014 | 0.01014 | 0.01014 | 0.97053 | -0.20768 | 0.97062 | -0.20704 | 3.7554
45 | -0.0089133 | -0.002233 | 0.0089155 | 0.0022336 | 2.2854e-06 | 6.3648e-07 | 0.013664 | 0.013664 | 0.013664 | 0.97062 | -0.20704 | 0.97088 | -0.20519 | 5.0608
46 | -0.010778 | -0.0027003 | 0.010778 | 0.0027004 | 3.5786e-07 | 1.1164e-07 | 0.016518 | 0.016518 | 0.016518 | 0.97088 | -0.20519 | 0.97091 | -0.20495 | 6.1178
47 | -0.019914 | -0.0049908 | 0.019938 | 0.0049996 | 2.4105e-05 | 8.7553e-06 | 0.030484 | 0.030483 | 0.030484 | 0.97206 | -0.19664 | 0.97328 | -0.18791 | 11.2902
48 | -0.019938 | -0.0049996 | 0.019964 | 0.0050091 | 2.6083e-05 | 9.472e-06 | 0.030483 | 0.030483 | 0.030483 | 0.97328 | -0.18791 | 0.97459 | -0.17848 | 11.2901
49 | 0.013684 | 0.0034291 | -0.013678 | -0.0034273 | 5.5117e-06 | 1.8712e-06 | 0.020963 | 0.020963 | 0.020963 | 0.97131 | -0.20204 | 0.97091 | -0.20495 | 7.7641
50 | 0.030708 | 0.0077162 | -0.030692 | -0.0077106 | 1.6018e-05 | 5.5656e-06 | 0.046624 | 0.046625 | 0.046625 | 0.9802 | -0.13842 | 0.97967 | -0.14217 | 8.6342
51 | 0.029677 | 0.0074562 | -0.029673 | -0.0074547 | 4.4081e-06 | 1.5204e-06 | 0.045083 | 0.045083 | 0.045083 | 0.97967 | -0.14217 | 0.97952 | -0.14324 | 8.3487
52 | 0.054239 | 0.013637 | -0.054223 | -0.013631 | 1.6301e-05 | 6.0721e-06 | 0.081993 | 0.081993 | 0.081993 | 0.98452 | -0.1078 | 0.98422 | -0.10995 | 15.1839

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24039 | 0.060366

## res_load
| p_mw | q_mvar
0 | 0.0052537 | 0.0013167
1 | 0.00136 | 0.00034086
2 | 0.00059199 | 0.00014837
3 | 0.0069367 | 0.0017385
4 | 0.0015056 | 0.00037734
5 | 0.0018671 | 0.00046794
6 | 0.0017893 | 0.00044843
7 | 0.0028151 | 0.00070553
8 | 0.075982 | 0.019043
9 | 0.0040881 | 0.0010246
10 | 0.0011123 | 0.00027877
11 | 0.0011601 | 0.00029076
12 | 0.0014418 | 0.00036134
13 | 0.0013099 | 0.00032829
14 | 0.0015385 | 0.00038558
15 | 0.0025037 | 0.00062748
16 | 0.0012178 | 0.00030522
17 | 0.00176 | 0.00044109
18 | 0.095088 | 0.023831
19 | 0.0021413 | 0.00053666
20 | 0.001472 | 0.00036892
21 | 0.0012864 | 0.00032239
22 | 0.001435 | 0.00035965
23 | 0.0014766 | 0.00037006
24 | 0.002299 | 0.00057619
25 | 0.001862 | 0.00046667
26 | 0.001405 | 0.00035212
27 | 0.0019548 | 0.00048992
28 | 0.0020599 | 0.00051625
29 | 0.001275 | 0.00031955
30 | 0.0029003 | 0.00072689
31 | 0.0016662 | 0.00041758
32 | 0.0010151 | 0.00025441
33 | 0.0015562 | 0.00039001
34 | 0.00076415 | 0.00019152
35 | 0.001065 | 0.00026691

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1