## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1139-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1139-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1139-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1139-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1139-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1139-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1139-5_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1139-5_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1139-5_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_1139-5_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1139-5_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1139-5_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1139-5_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_1139-5_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1139-5_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1139-5_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1139-5_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1139-5_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1139-5_0_3_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_1139-5_0_3_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_1139-5_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1139-5_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_1139-5_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_1139-5_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1139-5_0_3_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_1139-5_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1139-5_0_3_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_1139-5_0_3_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_1139-5_0_3_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_1139-5_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1139-5_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1139-5_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1139-5_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1139-5_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1139-5_0_3_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_1139-5_0_3_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_1139-5_0_3_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_1139-5_0_3_node_82 | 0.4 | n |  | TRUE
38 | bus_LV_1139-5_0_3_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_1139-5_0_3_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_1139-5_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_1139-5_0_3_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_1139-5_0_3_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_1139-5_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1139-5_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1139-5_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1139-5_0_3_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_1139-5_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1139-5_0_3_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_1139-5_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_1139-5_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_1139-5_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_1139-5_0_3_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_1139-5_0_3_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_1139-5_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_1139-5_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_1139-5_0_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_1139-5_0_3_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_1139-5_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_1139-5_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1139-5_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_1139-5_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_1139-5_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_1139-5_0_3_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_1139-5_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_1139-5_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_1139-5_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_1139-5_0_3_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_1139-5_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_1139-5_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1139-5_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_1139-5_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_1139-5_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_1139-5_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_1139-5_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_1139-5_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_1139-5_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_1139-5_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_1139-5_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_1139-5_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_1139-5_0_3_node_83 | 0.4 | n |  | TRUE
81 | bus_MV_475_1_node_276 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1139-5_0_3_load_0 | 0 | 0.0039898 | 0.00099994 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1139-5_0_3_load_1 | 1 | 0.010954 | 0.0027453 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1139-5_0_3_load_3 | 3 | 0.0012121 | 0.00030378 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1139-5_0_3_load_14 | 6 | 0.0024346 | 0.00061016 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1139-5_0_3_load_12 | 7 | 0.00029503 | 7.3941e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1139-5_0_3_load_18 | 8 | 0.0096638 | 0.002422 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1139-5_0_3_load_16 | 9 | 0.0030425 | 0.00076252 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1139-5_0_3_load_11 | 11 | 0.00041872 | 0.00010494 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1139-5_0_3_load_6 | 13 | 0.0043472 | 0.0010895 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1139-5_0_3_load_13 | 16 | 0.00056041 | 0.00014045 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1139-5_0_3_load_46 | 18 | 0.0044372 | 0.0011121 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1139-5_0_3_load_47 | 19 | 0.0047037 | 0.0011789 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1139-5_0_3_load_30 | 22 | 0.0015204 | 0.00038105 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1139-5_0_3_load_19 | 23 | 0.015169 | 0.0038016 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1139-5_0_3_load_43 | 24 | 0.0028578 | 0.00071623 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1139-5_0_3_load_22 | 25 | 0.0029342 | 0.00073538 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1139-5_0_3_load_57 | 26 | 0.0017598 | 0.00044106 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1139-5_0_3_load_44 | 28 | 0.0020724 | 0.00051939 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1139-5_0_3_load_24 | 29 | 0.0029372 | 0.00073612 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1139-5_0_3_load_25 | 30 | 0.0016991 | 0.00042583 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1139-5_0_3_load_26 | 31 | 0.0018161 | 0.00045516 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1139-5_0_3_load_81 | 34 | 0.0024822 | 0.00062211 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1139-5_0_3_load_79 | 35 | 0.0033574 | 0.00084145 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1139-5_0_3_load_82 | 37 | 0.0024993 | 0.00062639 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1139-5_0_3_load_84 | 38 | 0.0015499 | 0.00038844 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1139-5_0_3_load_80 | 39 | 0.002448 | 0.00061353 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1139-5_0_3_load_45 | 40 | 0.0021368 | 0.00053554 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1139-5_0_3_load_68 | 41 | 0.0024456 | 0.00061291 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1139-5_0_3_load_70 | 42 | 0.002492 | 0.00062455 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1139-5_0_3_load_29 | 43 | 0.0014644 | 0.00036702 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1139-5_0_3_load_76 | 46 | 0.001498 | 0.00037543 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1139-5_0_3_load_35 | 47 | 0.0021475 | 0.00053821 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1139-5_0_3_load_77 | 48 | 0.0022439 | 0.00056237 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1139-5_0_3_load_34 | 49 | 0.0024664 | 0.00061813 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1139-5_0_3_load_36 | 50 | 0.0019322 | 0.00048426 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1139-5_0_3_load_38 | 51 | 0.0027484 | 0.00068881 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1139-5_0_3_load_65 | 52 | 0.0021434 | 0.00053719 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1139-5_0_3_load_66 | 53 | 0.0042866 | 0.0010743 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1139-5_0_3_load_39 | 54 | 0.0020839 | 0.00052227 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1139-5_0_3_load_40 | 55 | 0.0012607 | 0.00031596 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1139-5_0_3_load_41 | 56 | 0.0016476 | 0.00041293 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1139-5_0_3_load_48 | 58 | 0.0012054 | 0.00030211 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1139-5_0_3_load_49 | 59 | 0.0006666 | 0.00016707 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1139-5_0_3_load_50 | 60 | 0.002717 | 0.00068095 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1139-5_0_3_load_55 | 62 | 0.00251 | 0.00062907 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1139-5_0_3_load_53 | 63 | 0.0017139 | 0.00042953 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1139-5_0_3_load_52 | 64 | 0.0028765 | 0.00072093 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1139-5_0_3_load_56 | 65 | 0.0035028 | 0.00087789 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1139-5_0_3_load_63 | 66 | 0.0017119 | 0.00042904 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1139-5_0_3_load_64 | 67 | 0.0055116 | 0.0013813 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1139-5_0_3_load_58 | 68 | 0.0031119 | 0.00077991 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1139-5_0_3_load_59 | 69 | 0.0035076 | 0.00087908 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1139-5_0_3_load_60 | 70 | 0.0012243 | 0.00030684 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1139-5_0_3_load_61 | 71 | 0.0015914 | 0.00039884 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1139-5_0_3_load_62 | 72 | 0.0034362 | 0.0008612 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1139-5_0_3_load_67 | 73 | 0.0017892 | 0.00044842 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1139-5_0_3_load_71 | 74 | 0.0017817 | 0.00044655 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1139-5_0_3_load_72 | 75 | 0.0013655 | 0.00034224 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1139-5_0_3_load_73 | 76 | 0.0024636 | 0.00061743 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1139-5_0_3_load_74 | 77 | 0.0042601 | 0.0010677 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1139-5_0_3_load_75 | 78 | 0.0024105 | 0.00060413 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1139-5_0_3_load_78 | 79 | 0.0028721 | 0.00071983 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1139-5_0_3_load_83 | 80 | 0.0011302 | 0.00028324 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1139-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.003127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1139-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0092887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1139-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0068832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1139-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.009376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1139-5_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.049401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1139-5_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.022565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1139-5_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.011795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1139-5_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.023866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1139-5_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0058777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1139-5_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0062021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1139-5_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.017181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1139-5_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.052378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1139-5_0_3_line_12 | NAYY 4x150 SE | 10 | 14 | 0.042035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1139-5_0_3_line_13 | NAYY 4x150 SE | 11 | 15 | 0.0013723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1139-5_0_3_line_14 | NAYY 4x150 SE | 12 | 20 | 0.046879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1139-5_0_3_line_15 | NAYY 4x150 SE | 12 | 23 | 0.048315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1139-5_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.052857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1139-5_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.01559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1139-5_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0049315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1139-5_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.039171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1139-5_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.032551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1139-5_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0051832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1139-5_0_3_line_22 | NAYY 4x150 SE | 20 | 24 | 0.021873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1139-5_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.025665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1139-5_0_3_line_24 | NAYY 4x150 SE | 22 | 43 | 0.025833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1139-5_0_3_line_25 | NAYY 4x150 SE | 24 | 28 | 0.021613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1139-5_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0062075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1139-5_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.039639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1139-5_0_3_line_28 | NAYY 4x150 SE | 27 | 65 | 0.016265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1139-5_0_3_line_29 | NAYY 4x150 SE | 27 | 64 | 0.0083664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1139-5_0_3_line_30 | NAYY 4x150 SE | 28 | 40 | 0.0048006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1139-5_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.020409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1139-5_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.013173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1139-5_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.013155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1139-5_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.014092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1139-5_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.017803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1139-5_0_3_line_36 | NAYY 4x150 SE | 32 | 35 | 0.013701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1139-5_0_3_line_37 | NAYY 4x150 SE | 33 | 36 | 0.013735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1139-5_0_3_line_38 | NAYY 4x150 SE | 33 | 37 | 0.021446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1139-5_0_3_line_39 | NAYY 4x150 SE | 34 | 38 | 0.010837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1139-5_0_3_line_40 | NAYY 4x150 SE | 35 | 39 | 0.03218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1139-5_0_3_line_41 | NAYY 4x150 SE | 36 | 40 | 0.023884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1139-5_0_3_line_42 | NAYY 4x150 SE | 36 | 41 | 0.018504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1139-5_0_3_line_43 | NAYY 4x150 SE | 37 | 42 | 0.022118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1139-5_0_3_line_44 | NAYY 4x150 SE | 38 | 78 | 0.011417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1139-5_0_3_line_45 | NAYY 4x150 SE | 39 | 57 | 0.0081451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1139-5_0_3_line_46 | NAYY 4x150 SE | 41 | 71 | 0.023734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1139-5_0_3_line_47 | NAYY 4x150 SE | 42 | 61 | 0.016119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1139-5_0_3_line_48 | NAYY 4x150 SE | 44 | 45 | 0.035332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1139-5_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.025231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1139-5_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.02685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1139-5_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.024449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1139-5_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.0061429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1139-5_0_3_line_53 | NAYY 4x150 SE | 48 | 79 | 0.023889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1139-5_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.028527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1139-5_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.031918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1139-5_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.034138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1139-5_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.020056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1139-5_0_3_line_58 | NAYY 4x150 SE | 53 | 73 | 0.006213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1139-5_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.033032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1139-5_0_3_line_60 | NAYY 4x150 SE | 54 | 56 | 0.0076822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1139-5_0_3_line_61 | NAYY 4x150 SE | 55 | 57 | 0.018858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1139-5_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.012501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1139-5_0_3_line_63 | NAYY 4x150 SE | 58 | 60 | 0.010724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1139-5_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.018104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1139-5_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.0053548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1139-5_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.013956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1139-5_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.010836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1139-5_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.0044559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1139-5_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.015114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1139-5_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.015937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1139-5_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.014464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1139-5_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0048413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1139-5_0_3_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0079566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1139-5_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.017107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1139-5_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.001336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1139-5_0_3_line_76 | NAYY 4x150 SE | 74 | 76 | 0.019635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1139-5_0_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.010891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1139-5_0_3_line_78 | NAYY 4x150 SE | 76 | 78 | 0.010315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_1139-5_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.010438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1139-5_0_3_trafo_69 | 0.25 MVA 20/0.4 kV | 81 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2630326.2086 | 1231412.115 | 2630328.4382 | 1231414.3076
1 | 2630318.6972 | 1231406.7198 | 2630324.4264 | 1231410.3623 | 2630326.2086 | 1231412.115
2 | 2630328.4382 | 1231414.3076 | 2630328.5857 | 1231414.4526 | 2630329.9078 | 1231420.9967
3 | 2630323.1844 | 1231398.482 | 2630318.6972 | 1231406.7198
4 | 2630288.435 | 1231442.7322 | 2630293.7959 | 1231432.4421 | 2630299.0996 | 1231421.4735 | 2630314.0249 | 1231406.7071 | 2630318.6972 | 1231406.7198
5 | 2630350.409 | 1231427.5002 | 2630348.5936 | 1231427.6626 | 2630337.1104 | 1231426.7591 | 2630329.9078 | 1231420.9967 | 2630329.9078 | 1231420.9967
6 | 2630323.1844 | 1231398.482 | 2630325.5551 | 1231395.4256 | 2630330.4054 | 1231389.1556
7 | 2630288.435 | 1231442.7322 | 2630300.9447 | 1231459.1726 | 2630303.1313 | 1231461.5185
8 | 2630288.435 | 1231442.7322 | 2630285.8741 | 1231437.4418
9 | 2630356.5865 | 1231426.9474 | 2630350.409 | 1231427.5002
10 | 2630336.1914 | 1231373.7456 | 2630335.5107 | 1231382.5573 | 2630332.7512 | 1231386.1232 | 2630330.4054 | 1231389.1556
11 | 2630349.1444 | 1231483.0104 | 2630336.6127 | 1231481.3121 | 2630326.3911 | 1231478.0581 | 2630322.2178 | 1231476.7249 | 2630310.6905 | 1231469.6286 | 2630303.1313 | 1231461.5185
12 | 2630356.5865 | 1231426.9474 | 2630363.6644 | 1231424.482 | 2630362.9076 | 1231418.4411 | 2630361.9017 | 1231390.0075
13 | 2630336.2972 | 1231372.3773 | 2630336.1914 | 1231373.7456
14 | 2630349.1444 | 1231483.0104 | 2630355.304 | 1231482.3969 | 2630361.3295 | 1231481.3826 | 2630368.6392 | 1231479.4854 | 2630373.4718 | 1231477.7423 | 2630385.5798 | 1231473.4348 | 2630393.8825 | 1231469.8638
15 | 2630349.1444 | 1231483.0104 | 2630348.0166 | 1231531.3118
16 | 2630361.9017 | 1231390.0075 | 2630379.6094 | 1231389.4975 | 2630391.2478 | 1231389.6681 | 2630391.1037 | 1231379.3388 | 2630391.1161 | 1231376.904 | 2630393.3572 | 1231375.5035 | 2630401.446 | 1231375.1896
17 | 2630336.2972 | 1231372.3773 | 2630335.3341 | 1231356.8169
18 | 2630428.6894 | 1231455.9553 | 2630424.11 | 1231457.7852
19 | 2630428.6894 | 1231455.9553 | 2630464.946 | 1231441.1281
20 | 2630393.8825 | 1231469.8638 | 2630424.11 | 1231457.7852
21 | 2630469.7435 | 1231439.1661 | 2630464.946 | 1231441.1281
22 | 2630393.8825 | 1231469.8638 | 2630395.4863 | 1231474.6194 | 2630400.1651 | 1231480.7692 | 2630406.9048 | 1231486.9231
23 | 2630469.7435 | 1231439.1661 | 2630493.514 | 1231429.4884
24 | 2630493.514 | 1231429.4884 | 2630496.5234 | 1231428.2632 | 2630517.4127 | 1231419.6794
25 | 2630406.9048 | 1231486.9231 | 2630419.8303 | 1231498.7251 | 2630422.44 | 1231501.9003
26 | 2630363.1448 | 1231620.6346 | 2630367.8309 | 1231620.0783 | 2630369.2872 | 1231619.7703
27 | 2630408.6578 | 1231620.8204 | 2630405.5841 | 1231620.6713 | 2630384.3556 | 1231618.2726 | 2630380.8955 | 1231618.1771 | 2630377.2748 | 1231618.3921 | 2630372.5536 | 1231619.0795 | 2630369.2872 | 1231619.7703
28 | 2630408.6578 | 1231620.8204 | 2630406.946 | 1231636.9952
29 | 2630408.6578 | 1231620.8204 | 2630409.7826 | 1231612.53
30 | 2630425.4881 | 1231505.609 | 2630422.44 | 1231501.9003
31 | 2630475.5078 | 1231574.4508 | 2630468.2515 | 1231566.414 | 2630464.1781 | 1231561.857 | 2630462.334 | 1231558.9186
32 | 2630455.3317 | 1231547.7606 | 2630462.334 | 1231558.9186
33 | 2630485.3249 | 1231583.1894 | 2630476.6623 | 1231575.7294 | 2630475.5078 | 1231574.4508
34 | 2630447.841 | 1231535.8242 | 2630455.3317 | 1231547.7606
35 | 2630485.3249 | 1231583.1894 | 2630483.4405 | 1231585.9148 | 2630476.0367 | 1231598.3701
36 | 2630485.3249 | 1231583.1894 | 2630496.5743 | 1231591.01
37 | 2630440.3805 | 1231524.279 | 2630447.841 | 1231535.8242
38 | 2630447.841 | 1231535.8242 | 2630444.1737 | 1231537.7178 | 2630432.5262 | 1231550.5348
39 | 2630473.2901 | 1231608.79 | 2630473.5743 | 1231606.4657 | 2630474.2571 | 1231603.2562 | 2630475.6724 | 1231598.983 | 2630476.0367 | 1231598.3701
40 | 2630496.5743 | 1231591.01 | 2630522.9963 | 1231609.3785
41 | 2630440.3805 | 1231524.279 | 2630430.961 | 1231512.268 | 2630425.4881 | 1231505.609
42 | 2630440.3805 | 1231524.279 | 2630446.6565 | 1231523.1104 | 2630457.7265 | 1231518.1751
43 | 2630432.5262 | 1231550.5348 | 2630420.5203 | 1231563.7461 | 2630417.9434 | 1231567.1461
44 | 2630473.2901 | 1231608.79 | 2630471.9044 | 1231620.1228
45 | 2630529.6474 | 1231614.0798 | 2630526.0863 | 1231611.5267 | 2630522.9963 | 1231609.3785
46 | 2630457.7265 | 1231518.1751 | 2630479.4033 | 1231508.5109
47 | 2630413.8355 | 1231582.6569 | 2630415.9812 | 1231571.7723 | 2630417.9434 | 1231567.1461
48 | 2630648.4128 | 1231398.1691 | 2630662.6504 | 1231411.2503 | 2630675.055 | 1231421.4427
49 | 2630648.4128 | 1231398.1691 | 2630625.0893 | 1231407.7928
50 | 2630675.055 | 1231421.4427 | 2630650.52 | 1231432.3501
51 | 2630625.0893 | 1231407.7928 | 2630602.4887 | 1231417.1183
52 | 2630650.52 | 1231432.3501 | 2630644.9068 | 1231434.8455
53 | 2630580.4055 | 1231426.2302 | 2630602.4887 | 1231417.1183
54 | 2630618.8393 | 1231446.4341 | 2630644.9068 | 1231434.8455
55 | 2630589.6735 | 1231459.4001 | 2630618.8393 | 1231446.4341
56 | 2630589.6735 | 1231459.4001 | 2630558.4795 | 1231473.2679
57 | 2630540.1576 | 1231481.4249 | 2630549.4398 | 1231477.2866 | 2630558.4795 | 1231473.2679
58 | 2630540.1576 | 1231481.4249 | 2630534.483 | 1231483.9548
59 | 2630522.1372 | 1231664.9149 | 2630528.1209 | 1231632.4293
60 | 2630520.7456 | 1231672.4699 | 2630522.1372 | 1231664.9149
61 | 2630529.6474 | 1231614.0798 | 2630530.9263 | 1231617.1994 | 2630528.1209 | 1231632.4293
62 | 2630388.7176 | 1231566.4868 | 2630389.5064 | 1231567.5679 | 2630393.7863 | 1231571.7367 | 2630397.8243 | 1231574.9935
63 | 2630389.4409 | 1231556.672 | 2630387.4384 | 1231561.7649 | 2630387.1451 | 1231564.3316 | 2630388.7176 | 1231566.4868
64 | 2630413.8355 | 1231582.6569 | 2630411.2954 | 1231581.8212 | 2630407.2332 | 1231580.9888 | 2630403.4695 | 1231579.5465 | 2630397.8243 | 1231574.9935
65 | 2630413.8355 | 1231582.6569 | 2630413.1156 | 1231587.963
66 | 2630411.2393 | 1231601.7927 | 2630413.1156 | 1231587.963
67 | 2630409.7826 | 1231612.53 | 2630411.2393 | 1231601.7927
68 | 2630406.477 | 1231641.4264 | 2630406.946 | 1231636.9952
69 | 2630404.8864 | 1231656.4563 | 2630406.477 | 1231641.4264
70 | 2630498.3807 | 1231500.0503 | 2630483.8251 | 1231506.5396
71 | 2630498.3807 | 1231500.0503 | 2630511.5917 | 1231494.1604
72 | 2630483.8251 | 1231506.5396 | 2630479.4033 | 1231508.5109
73 | 2630518.8588 | 1231490.9205 | 2630511.5917 | 1231494.1604
74 | 2630534.483 | 1231483.9548 | 2630518.8588 | 1231490.9205
75 | 2630468.2693 | 1231649.8507 | 2630468.1072 | 1231651.1769
76 | 2630468.2693 | 1231649.8507 | 2630470.6525 | 1231630.3611
77 | 2630466.7853 | 1231661.9872 | 2630468.1072 | 1231651.1769
78 | 2630471.9044 | 1231620.1228 | 2630470.6525 | 1231630.3611
79 | 2630570.7563 | 1231430.2117 | 2630580.4055 | 1231426.2302

## bus_geodata
| x | y | coords
0 | 2630326.2086 | 1231412.115
1 | 2630328.4382 | 1231414.3076
2 | 2630318.6972 | 1231406.7198
3 | 2630329.9078 | 1231420.9967
4 | 2630323.1844 | 1231398.482
5 | 2630288.435 | 1231442.7322
6 | 2630350.409 | 1231427.5002
7 | 2630330.4054 | 1231389.1556
8 | 2630303.1313 | 1231461.5185
9 | 2630285.8741 | 1231437.4418
10 | 2630356.5865 | 1231426.9474
11 | 2630336.1914 | 1231373.7456
12 | 2630349.1444 | 1231483.0104
13 | 2630401.446 | 1231375.1896
14 | 2630361.9017 | 1231390.0075
15 | 2630336.2972 | 1231372.3773
16 | 2630335.3341 | 1231356.8169
17 | 2630428.6894 | 1231455.9553
18 | 2630424.11 | 1231457.7852
19 | 2630464.946 | 1231441.1281
20 | 2630393.8825 | 1231469.8638
21 | 2630469.7435 | 1231439.1661
22 | 2630493.514 | 1231429.4884
23 | 2630348.0166 | 1231531.3118
24 | 2630406.9048 | 1231486.9231
25 | 2630363.1448 | 1231620.6346
26 | 2630369.2872 | 1231619.7703
27 | 2630408.6578 | 1231620.8204
28 | 2630422.44 | 1231501.9003
29 | 2630462.334 | 1231558.9186
30 | 2630475.5078 | 1231574.4508
31 | 2630455.3317 | 1231547.7606
32 | 2630485.3249 | 1231583.1894
33 | 2630447.841 | 1231535.8242
34 | 2630476.0367 | 1231598.3701
35 | 2630496.5743 | 1231591.01
36 | 2630440.3805 | 1231524.279
37 | 2630432.5262 | 1231550.5348
38 | 2630473.2901 | 1231608.79
39 | 2630522.9963 | 1231609.3785
40 | 2630425.4881 | 1231505.609
41 | 2630457.7265 | 1231518.1751
42 | 2630417.9434 | 1231567.1461
43 | 2630517.4127 | 1231419.6794
44 | 2630648.4128 | 1231398.1691
45 | 2630675.055 | 1231421.4427
46 | 2630625.0893 | 1231407.7928
47 | 2630650.52 | 1231432.3501
48 | 2630602.4887 | 1231417.1183
49 | 2630644.9068 | 1231434.8455
50 | 2630618.8393 | 1231446.4341
51 | 2630589.6735 | 1231459.4001
52 | 2630558.4795 | 1231473.2679
53 | 2630540.1576 | 1231481.4249
54 | 2630522.1372 | 1231664.9149
55 | 2630528.1209 | 1231632.4293
56 | 2630520.7456 | 1231672.4699
57 | 2630529.6474 | 1231614.0798
58 | 2630388.7176 | 1231566.4868
59 | 2630397.8243 | 1231574.9935
60 | 2630389.4409 | 1231556.672
61 | 2630413.8355 | 1231582.6569
62 | 2630413.1156 | 1231587.963
63 | 2630411.2393 | 1231601.7927
64 | 2630409.7826 | 1231612.53
65 | 2630406.946 | 1231636.9952
66 | 2630406.477 | 1231641.4264
67 | 2630404.8864 | 1231656.4563
68 | 2630498.3807 | 1231500.0503
69 | 2630483.8251 | 1231506.5396
70 | 2630511.5917 | 1231494.1604
71 | 2630479.4033 | 1231508.5109
72 | 2630518.8588 | 1231490.9205
73 | 2630534.483 | 1231483.9548
74 | 2630468.2693 | 1231649.8507
75 | 2630468.1072 | 1231651.1769
76 | 2630470.6525 | 1231630.3611
77 | 2630466.7853 | 1231661.9872
78 | 2630471.9044 | 1231620.1228
79 | 2630580.4055 | 1231426.2302
80 | 2630570.7563 | 1231430.2117
81 | 2630447.841 | 1231535.8242

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98363 | -0.11498 | 0.0039898 | 0.00099994
1 | 0.98354 | -0.1156 | 0.010954 | 0.0027453
2 | 0.98393 | -0.11279 | 0 | 0
3 | 0.98346 | -0.11616 | 0.0012121 | 0.00030378
4 | 0.98392 | -0.11291 | 0 | 0
5 | 0.98567 | -0.10047 | 0 | 0
6 | 0.98324 | -0.11775 | 0.0024346 | 0.00061016
7 | 0.9839 | -0.11306 | 0.00029503 | 7.3941e-05
8 | 0.98661 | -0.093785 | 0.0096638 | 0.002422
9 | 0.98564 | -0.10065 | 0.0030425 | 0.00076252
10 | 0.9832 | -0.11803 | 0 | 0
11 | 0.98387 | -0.11324 | 0.00041872 | 0.00010494
12 | 0.98941 | -0.074 | 0 | 0
13 | 0.9826 | -0.12229 | 0.0043472 | 0.0010895
14 | 0.98293 | -0.11992 | 0 | 0
15 | 0.98387 | -0.11325 | 0 | 0
16 | 0.98386 | -0.11334 | 0.00056041 | 0.00014045
17 | 0.99232 | -0.053562 | 0 | 0
18 | 0.99237 | -0.053177 | 0.0044372 | 0.0011121
19 | 0.99189 | -0.056619 | 0.0047037 | 0.0011789
20 | 0.99294 | -0.049176 | 0 | 0
21 | 0.99187 | -0.056776 | 0 | 0
22 | 0.99176 | -0.057554 | 0.0015204 | 0.00038105
23 | 0.98835 | -0.081481 | 0.015169 | 0.0038016
24 | 0.99497 | -0.034976 | 0.0028578 | 0.00071623
25 | 0.99483 | -0.036274 | 0.0029342 | 0.00073538
26 | 0.99485 | -0.03609 | 0.0017598 | 0.00044106
27 | 0.99512 | -0.034213 | 0 | 0
28 | 0.99706 | -0.02038 | 0.0020724 | 0.00051939
29 | 0.99743 | -0.017955 | 0.0029372 | 0.00073612
30 | 0.99659 | -0.023863 | 0.0016991 | 0.00042583
31 | 0.99803 | -0.013759 | 0.0018161 | 0.00045516
32 | 0.99608 | -0.027451 | 0 | 0
33 | 0.99871 | -0.0090194 | 0 | 0
34 | 0.99566 | -0.030375 | 0.0024822 | 0.00062211
35 | 0.99587 | -0.028941 | 0.0033574 | 0.00084145
36 | 1 | 0 | -0.17968 | -0.044995
37 | 0.99772 | -0.015919 | 0.0024993 | 0.00062639
38 | 0.99545 | -0.031885 | 0.0015499 | 0.00038844
39 | 0.99553 | -0.031354 | 0.002448 | 0.00061353
40 | 0.99754 | -0.017047 | 0.0021368 | 0.00053554
41 | 0.99892 | -0.0075079 | 0.0024456 | 0.00061291
42 | 0.99679 | -0.022494 | 0.002492 | 0.00062455
43 | 0.9917 | -0.057939 | 0.0014644 | 0.00036702
44 | 0.99151 | -0.059607 | 0 | 0
45 | 0.9919 | -0.056827 | 0 | 0
46 | 0.99123 | -0.061593 | 0.001498 | 0.00037543
47 | 0.9922 | -0.054715 | 0.0021475 | 0.00053821
48 | 0.99101 | -0.063146 | 0.0022439 | 0.00056237
49 | 0.99229 | -0.054098 | 0.0024664 | 0.00061813
50 | 0.9928 | -0.050522 | 0.0019322 | 0.00048426
51 | 0.99345 | -0.0459 | 0.0027484 | 0.00068881
52 | 0.99429 | -0.040016 | 0.0021434 | 0.00053719
53 | 0.99484 | -0.036129 | 0.0042866 | 0.0010743
54 | 0.99516 | -0.033955 | 0.0020839 | 0.00052227
55 | 0.99533 | -0.032713 | 0.0012607 | 0.00031596
56 | 0.99514 | -0.034083 | 0.0016476 | 0.00041293
57 | 0.99547 | -0.031764 | 0 | 0
58 | 0.99597 | -0.028218 | 0.0012054 | 0.00030211
59 | 0.99604 | -0.027725 | 0.0006666 | 0.00016707
60 | 0.99593 | -0.028512 | 0.002717 | 0.00068095
61 | 0.99616 | -0.026889 | 0 | 0
62 | 0.99599 | -0.028102 | 0.00251 | 0.00062907
63 | 0.99559 | -0.030915 | 0.0017139 | 0.00042953
64 | 0.9953 | -0.032913 | 0.0028765 | 0.00072093
65 | 0.99487 | -0.035972 | 0.0035028 | 0.00087789
66 | 0.99482 | -0.036297 | 0.0017119 | 0.00042904
67 | 0.9947 | -0.037137 | 0.0055116 | 0.0013813
68 | 0.99662 | -0.023645 | 0.0031119 | 0.00077991
69 | 0.99737 | -0.018355 | 0.0035076 | 0.00087908
70 | 0.996 | -0.028 | 0.0012243 | 0.00030684
71 | 0.99763 | -0.016579 | 0.0015914 | 0.00039884
72 | 0.99567 | -0.0303 | 0.0034362 | 0.0008612
73 | 0.99505 | -0.034657 | 0.0017892 | 0.00044842
74 | 0.99489 | -0.035791 | 0.0017817 | 0.00044655
75 | 0.99488 | -0.035867 | 0.0013655 | 0.00034224
76 | 0.9951 | -0.034324 | 0.0024636 | 0.00061743
77 | 0.99482 | -0.036335 | 0.0042601 | 0.0010677
78 | 0.99525 | -0.033298 | 0.0024105 | 0.00060413
79 | 0.99087 | -0.064118 | 0.0028721 | 0.00071983
80 | 0.99085 | -0.064238 | 0.0011302 | 0.00028324
81 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.018954 | 0.0047496 | -0.018953 | -0.004749 | 1.6043e-06 | 5.7734e-07 | 0.028673 | 0.028674 | 0.028674 | 0.98363 | -0.11498 | 0.98354 | -0.1156 | 10.6198
1 | -0.022944 | -0.0057495 | 0.022951 | 0.0057521 | 6.9828e-06 | 2.5677e-06 | 0.034709 | 0.034709 | 0.034709 | 0.98363 | -0.11498 | 0.98393 | -0.11279 | 12.8553
2 | 0.0079986 | 0.0020036 | -0.007998 | -0.0020035 | 6.2894e-07 | 1.5455e-07 | 0.012101 | 0.012101 | 0.012101 | 0.98354 | -0.1156 | 0.98346 | -0.11616 | 4.4818
3 | 0.0012742 | 0.00031866 | -0.0012742 | -0.00031877 | 2.1721e-08 | -1.1073e-07 | 0.0019268 | 0.0019268 | 0.0019268 | 0.98393 | -0.11279 | 0.98392 | -0.11291 | 0.71365
4 | -0.024225 | -0.0060707 | 0.024267 | 0.006086 | 4.1375e-05 | 1.5285e-05 | 0.036636 | 0.036636 | 0.036636 | 0.98393 | -0.11279 | 0.98567 | -0.10047 | 13.5689
5 | 0.0067859 | 0.0016997 | -0.0067844 | -0.0016994 | 1.4843e-06 | 2.8462e-07 | 0.010267 | 0.010267 | 0.010267 | 0.98346 | -0.11616 | 0.98324 | -0.11775 | 3.8026
6 | 0.0012742 | 0.00031877 | -0.0012742 | -0.00031891 | 2.7327e-08 | -1.3929e-07 | 0.0019268 | 0.0019269 | 0.0019269 | 0.98392 | -0.11291 | 0.9839 | -0.11306 | 0.71367
7 | -0.027309 | -0.0068485 | 0.027335 | 0.0068579 | 2.5314e-05 | 9.4316e-06 | 0.041229 | 0.041229 | 0.041229 | 0.98567 | -0.10047 | 0.98661 | -0.093785 | 15.27
8 | 0.0030426 | 0.00076247 | -0.0030425 | -0.00076252 | 7.7378e-08 | -4.5153e-08 | 0.0045932 | 0.0045932 | 0.0045932 | 0.98567 | -0.10047 | 0.98564 | -0.10065 | 1.7012
9 | 0.0043499 | 0.0010893 | -0.0043497 | -0.0010893 | 1.677e-07 | -1.4159e-08 | 0.0065827 | 0.0065828 | 0.0065828 | 0.98324 | -0.11775 | 0.9832 | -0.11803 | 2.4381
10 | 0.00097917 | 0.00024497 | -0.00097914 | -0.00024518 | 2.3507e-08 | -2.0915e-07 | 0.0014807 | 0.0014808 | 0.0014808 | 0.9839 | -0.11306 | 0.98387 | -0.11324 | 0.54844
11 | -0.036998 | -0.0092799 | 0.0371 | 0.0093184 | 0.00010178 | 3.8475e-05 | 0.055804 | 0.055804 | 0.055804 | 0.98661 | -0.093785 | 0.98941 | -0.074 | 20.6681
12 | 0.0043497 | 0.0010893 | -0.0043486 | -0.0010894 | 1.1366e-06 | -9.578e-08 | 0.0065828 | 0.0065829 | 0.0065829 | 0.9832 | -0.11803 | 0.98293 | -0.11992 | 2.4381
13 | 0.00056042 | 0.00014024 | -0.00056042 | -0.00014026 | 6.1509e-10 | -1.7191e-08 | 0.00084751 | 0.00084752 | 0.00084752 | 0.98387 | -0.11324 | 0.98387 | -0.11325 | 0.3139
14 | -0.052285 | -0.013125 | 0.052465 | 0.013194 | 0.00018091 | 6.8976e-05 | 0.078641 | 0.07864 | 0.078641 | 0.98941 | -0.074 | 0.99294 | -0.049176 | 29.1262
15 | 0.015184 | 0.0038071 | -0.015169 | -0.0038016 | 1.5723e-05 | 5.4277e-06 | 0.022837 | 0.022837 | 0.022837 | 0.98941 | -0.074 | 0.98835 | -0.081481 | 8.4583
16 | -0.0043472 | -0.0010895 | 0.0043486 | 0.0010894 | 1.4294e-06 | -1.2e-07 | 0.0065832 | 0.0065829 | 0.0065832 | 0.9826 | -0.12229 | 0.98293 | -0.11992 | 2.4382
17 | 0.00056042 | 0.00014026 | -0.00056041 | -0.00014045 | 6.9883e-09 | -1.953e-07 | 0.00084752 | 0.00084759 | 0.00084759 | 0.98387 | -0.11325 | 0.98386 | -0.11334 | 0.31392
18 | -0.0076923 | -0.0019271 | 0.0076927 | 0.0019272 | 4.0942e-07 | 9.3757e-08 | 0.011535 | 0.011535 | 0.011535 | 0.99232 | -0.053562 | 0.99237 | -0.053177 | 4.2721
19 | 0.0076923 | 0.0019271 | -0.0076891 | -0.0019264 | 3.2521e-06 | 7.4499e-07 | 0.011535 | 0.011535 | 0.011535 | 0.99232 | -0.053562 | 0.99189 | -0.056619 | 4.2721
20 | -0.01213 | -0.0030393 | 0.012137 | 0.0030415 | 6.7192e-06 | 2.1635e-06 | 0.018188 | 0.018188 | 0.018188 | 0.99237 | -0.053177 | 0.99294 | -0.049176 | 6.7363
21 | 0.0029853 | 0.00074752 | -0.0029853 | -0.00074756 | 6.4865e-08 | -4.1952e-08 | 0.0044783 | 0.0044783 | 0.0044783 | 0.99189 | -0.056619 | 0.99187 | -0.056776 | 1.6586
22 | -0.064602 | -0.016236 | 0.06473 | 0.016285 | 0.00012796 | 4.8934e-05 | 0.096828 | 0.096828 | 0.096828 | 0.99294 | -0.049176 | 0.99497 | -0.034976 | 35.8623
23 | 0.0029853 | 0.00074756 | -0.0029849 | -0.00074777 | 3.2119e-07 | -2.0768e-07 | 0.0044783 | 0.0044784 | 0.0044784 | 0.99187 | -0.056776 | 0.99176 | -0.057554 | 1.6587
24 | 0.0014645 | 0.00036672 | -0.0014644 | -0.00036702 | 7.7828e-08 | -3.034e-07 | 0.0021972 | 0.0021973 | 0.0021973 | 0.99176 | -0.057554 | 0.9917 | -0.057939 | 0.81382
25 | -0.067588 | -0.017001 | 0.067726 | 0.017054 | 0.00013785 | 5.274e-05 | 0.1011 | 0.1011 | 0.1011 | 0.99497 | -0.034976 | 0.99706 | -0.02038 | 37.4452
26 | -0.0029342 | -0.00073538 | 0.0029343 | 0.00073533 | 7.4611e-08 | -5.1903e-08 | 0.0043889 | 0.0043888 | 0.0043889 | 0.99483 | -0.036274 | 0.99485 | -0.03609 | 1.6255
27 | -0.0046941 | -0.0011764 | 0.0046954 | 0.0011763 | 1.2193e-06 | -4.5879e-08 | 0.0070211 | 0.0070209 | 0.0070211 | 0.99485 | -0.03609 | 0.99512 | -0.034213 | 2.6004
28 | 0.01073 | 0.0026892 | -0.010727 | -0.0026884 | 2.6128e-06 | 7.9365e-07 | 0.016045 | 0.016045 | 0.016045 | 0.99512 | -0.034213 | 0.99487 | -0.035972 | 5.9425
29 | -0.015425 | -0.0038655 | 0.015428 | 0.0038665 | 2.7775e-06 | 9.5954e-07 | 0.023065 | 0.023065 | 0.023065 | 0.99512 | -0.034213 | 0.9953 | -0.032913 | 8.5428
30 | -0.069798 | -0.017573 | 0.069831 | 0.017586 | 3.2521e-05 | 1.2446e-05 | 0.10419 | 0.10419 | 0.10419 | 0.99706 | -0.02038 | 0.99754 | -0.017047 | 38.5907
31 | 0.028869 | 0.0072401 | -0.028845 | -0.0072313 | 2.3624e-05 | 8.82e-06 | 0.04307 | 0.04307 | 0.04307 | 0.99743 | -0.017955 | 0.99659 | -0.023863 | 15.9517
32 | -0.031806 | -0.0079762 | 0.031825 | 0.0079832 | 1.8509e-05 | 6.9467e-06 | 0.047451 | 0.047451 | 0.047451 | 0.99743 | -0.017955 | 0.99803 | -0.013759 | 17.5746
33 | 0.027146 | 0.0068054 | -0.027133 | -0.0068004 | 1.3486e-05 | 5.0156e-06 | 0.040533 | 0.040533 | 0.040533 | 0.99659 | -0.023863 | 0.99608 | -0.027451 | 15.0122
34 | -0.033641 | -0.0084383 | 0.033663 | 0.0084466 | 2.2124e-05 | 8.3248e-06 | 0.050159 | 0.050159 | 0.050159 | 0.99803 | -0.013759 | 0.99871 | -0.0090194 | 18.5774
35 | 0.016329 | 0.0040933 | -0.016322 | -0.004091 | 6.6104e-06 | 2.3108e-06 | 0.024393 | 0.024393 | 0.024393 | 0.99608 | -0.027451 | 0.99566 | -0.030375 | 9.0346
36 | 0.010804 | 0.0027071 | -0.010802 | -0.0027064 | 2.2269e-06 | 6.7822e-07 | 0.016139 | 0.01614 | 0.01614 | 0.99608 | -0.027451 | 0.99587 | -0.028941 | 5.9776
37 | -0.065864 | -0.016527 | 0.065946 | 0.016559 | 8.2547e-05 | 3.1569e-05 | 0.09814 | 0.09814 | 0.09814 | 0.99871 | -0.0090194 | 1 | 0 | 36.3481
38 | 0.032201 | 0.0080807 | -0.03217 | -0.0080692 | 3.0808e-05 | 1.1569e-05 | 0.047981 | 0.047981 | 0.047981 | 0.99871 | -0.0090194 | 0.99772 | -0.015919 | 17.7707
39 | 0.01384 | 0.0034689 | -0.013837 | -0.0034679 | 2.8932e-06 | 9.7183e-07 | 0.020684 | 0.020684 | 0.020684 | 0.99566 | -0.030375 | 0.99545 | -0.031885 | 7.6607
40 | 0.0074443 | 0.001865 | -0.0074418 | -0.0018644 | 2.4843e-06 | 5.3696e-07 | 0.011123 | 0.011123 | 0.011123 | 0.99587 | -0.028941 | 0.99553 | -0.031354 | 4.1197
41 | 0.072139 | 0.018187 | -0.071967 | -0.018121 | 0.00017185 | 6.5783e-05 | 0.10738 | 0.10738 | 0.10738 | 1 | 0 | 0.99754 | -0.017047 | 39.7712
42 | 0.040796 | 0.010249 | -0.040754 | -0.010233 | 4.2563e-05 | 1.6128e-05 | 0.060714 | 0.060714 | 0.060714 | 1 | 0 | 0.99892 | -0.0075079 | 22.4867
43 | 0.029671 | 0.0074428 | -0.029644 | -0.0074327 | 2.7028e-05 | 1.0107e-05 | 0.044253 | 0.044254 | 0.044254 | 0.99772 | -0.015919 | 0.99679 | -0.022494 | 16.3902
44 | 0.012287 | 0.0030795 | -0.012285 | -0.0030787 | 2.4034e-06 | 7.7598e-07 | 0.018367 | 0.018367 | 0.018367 | 0.99545 | -0.031885 | 0.99525 | -0.033298 | 6.8026
45 | 0.0049938 | 0.0012509 | -0.0049935 | -0.0012509 | 2.8316e-07 | 3.0097e-09 | 0.007464 | 0.0074641 | 0.0074641 | 0.99553 | -0.031354 | 0.99547 | -0.031764 | 2.7645
46 | 0.038308 | 0.0096202 | -0.03826 | -0.009602 | 4.8237e-05 | 1.8242e-05 | 0.057071 | 0.057071 | 0.057071 | 0.99892 | -0.0075079 | 0.99763 | -0.016579 | 21.1375
47 | 0.027152 | 0.0068081 | -0.027135 | -0.006802 | 1.6525e-05 | 6.146e-06 | 0.040533 | 0.040534 | 0.040534 | 0.99679 | -0.022494 | 0.99616 | -0.026889 | 15.0124
48 | -0.0077482 | -0.0019413 | 0.0077512 | 0.001942 | 2.981e-06 | 6.9065e-07 | 0.011628 | 0.011628 | 0.011628 | 0.99151 | -0.059607 | 0.9919 | -0.056827 | 4.3067
49 | 0.0077482 | 0.0019413 | -0.0077461 | -0.0019408 | 2.1288e-06 | 4.9344e-07 | 0.011628 | 0.011628 | 0.011628 | 0.99151 | -0.059607 | 0.99123 | -0.061593 | 4.3067
50 | -0.0077512 | -0.001942 | 0.0077534 | 0.0019426 | 2.2653e-06 | 5.2459e-07 | 0.011628 | 0.011628 | 0.011628 | 0.9919 | -0.056827 | 0.9922 | -0.054715 | 4.3066
51 | 0.0062481 | 0.0015654 | -0.0062468 | -0.0015652 | 1.3421e-06 | 2.0113e-07 | 0.0093794 | 0.0093795 | 0.0093795 | 0.99123 | -0.061593 | 0.99101 | -0.063146 | 3.4739
52 | -0.0099009 | -0.0024808 | 0.0099018 | 0.002481 | 8.4511e-07 | 2.457e-07 | 0.014848 | 0.014848 | 0.014848 | 0.9922 | -0.054715 | 0.99229 | -0.054098 | 5.4994
53 | 0.0040029 | 0.0010028 | -0.0040023 | -0.0010029 | 5.3849e-07 | -1.0064e-07 | 0.0060102 | 0.0060103 | 0.0060103 | 0.99101 | -0.063146 | 0.99087 | -0.064118 | 2.2261
54 | -0.012368 | -0.0030991 | 0.012374 | 0.0031011 | 6.1233e-06 | 1.9864e-06 | 0.018547 | 0.018547 | 0.018547 | 0.99229 | -0.054098 | 0.9928 | -0.050522 | 6.8692
55 | -0.014307 | -0.0035854 | 0.014316 | 0.0035885 | 9.1576e-06 | 3.1091e-06 | 0.021443 | 0.021443 | 0.021443 | 0.9928 | -0.050522 | 0.99345 | -0.0459 | 7.9418
56 | -0.017064 | -0.0042773 | 0.017078 | 0.0042822 | 1.3916e-05 | 4.9099e-06 | 0.025559 | 0.025559 | 0.025559 | 0.99345 | -0.0459 | 0.99429 | -0.040016 | 9.4664
57 | -0.019221 | -0.0048194 | 0.019232 | 0.0048231 | 1.0356e-05 | 3.7229e-06 | 0.028767 | 0.028767 | 0.028767 | 0.99429 | -0.040016 | 0.99484 | -0.036129 | 10.6544
58 | -0.023518 | -0.0058975 | 0.023523 | 0.0058992 | 4.7977e-06 | 1.7646e-06 | 0.035178 | 0.035178 | 0.035178 | 0.99484 | -0.036129 | 0.99505 | -0.034657 | 13.029
59 | -0.0037315 | -0.00093512 | 0.0037322 | 0.00093493 | 6.4167e-07 | -1.8245e-07 | 0.0055796 | 0.0055794 | 0.0055796 | 0.99516 | -0.033955 | 0.99533 | -0.032713 | 2.0665
60 | 0.0016477 | 0.00041284 | -0.0016476 | -0.00041293 | 2.9095e-08 | -8.8618e-08 | 0.0024636 | 0.0024637 | 0.0024637 | 0.99516 | -0.033955 | 0.99514 | -0.034083 | 0.91247
61 | -0.0049929 | -0.0012509 | 0.0049935 | 0.0012509 | 6.5559e-07 | 7.0199e-09 | 0.0074642 | 0.0074641 | 0.0074642 | 0.99533 | -0.032713 | 0.99547 | -0.031764 | 2.7645
62 | -0.0039226 | -0.00098297 | 0.0039229 | 0.00098291 | 2.679e-07 | -5.9653e-08 | 0.0058604 | 0.0058604 | 0.0058604 | 0.99597 | -0.028218 | 0.99604 | -0.027725 | 2.1705
63 | 0.0027171 | 0.00068086 | -0.002717 | -0.00068095 | 1.1027e-07 | -9.7137e-08 | 0.0040595 | 0.0040595 | 0.0040595 | 0.99597 | -0.028218 | 0.99593 | -0.028512 | 1.5035
64 | -0.0045895 | -0.00115 | 0.00459 | 0.0011499 | 5.3103e-07 | -3.1417e-08 | 0.0068562 | 0.0068562 | 0.0068562 | 0.99604 | -0.027725 | 0.99616 | -0.026889 | 2.5393
65 | 0.022545 | 0.005652 | -0.022541 | -0.0056506 | 3.7897e-06 | 1.3879e-06 | 0.033677 | 0.033677 | 0.033677 | 0.99616 | -0.026889 | 0.99599 | -0.028102 | 12.4731
66 | 0.020031 | 0.0050216 | -0.020023 | -0.0050187 | 7.8e-06 | 2.8184e-06 | 0.029927 | 0.029927 | 0.029927 | 0.99599 | -0.028102 | 0.99559 | -0.030915 | 11.0842
67 | 0.01831 | 0.0045892 | -0.018305 | -0.0045874 | 5.0636e-06 | 1.8067e-06 | 0.027366 | 0.027366 | 0.027366 | 0.99559 | -0.030915 | 0.9953 | -0.032913 | 10.1355
68 | 0.0072244 | 0.0018105 | -0.0072241 | -0.0018104 | 3.2465e-07 | 6.7007e-08 | 0.010806 | 0.010806 | 0.010806 | 0.99487 | -0.035972 | 0.99482 | -0.036297 | 4.002
69 | 0.0055122 | 0.0013814 | -0.0055116 | -0.0013813 | 6.4111e-07 | 5.0371e-08 | 0.0082449 | 0.008245 | 0.008245 | 0.99482 | -0.036297 | 0.9947 | -0.037137 | 3.0537
70 | -0.033127 | -0.0083115 | 0.033152 | 0.0083206 | 2.4332e-05 | 9.1505e-06 | 0.049465 | 0.049464 | 0.049465 | 0.99662 | -0.023645 | 0.99737 | -0.018355 | 18.3202
71 | 0.030015 | 0.0075316 | -0.029997 | -0.0075248 | 1.813e-05 | 6.7847e-06 | 0.044818 | 0.044818 | 0.044818 | 0.99662 | -0.023645 | 0.996 | -0.028 | 16.5994
72 | -0.036659 | -0.0091997 | 0.036668 | 0.0092031 | 9.0382e-06 | 3.413e-06 | 0.054698 | 0.054698 | 0.054698 | 0.99737 | -0.018355 | 0.99763 | -0.016579 | 20.2584
73 | 0.028773 | 0.0072179 | -0.028764 | -0.0072145 | 9.1756e-06 | 3.4255e-06 | 0.042989 | 0.042989 | 0.042989 | 0.996 | -0.028 | 0.99567 | -0.0303 | 15.9219
74 | 0.025328 | 0.0063533 | -0.025312 | -0.0063476 | 1.5296e-05 | 5.6606e-06 | 0.037854 | 0.037854 | 0.037854 | 0.99567 | -0.0303 | 0.99505 | -0.034657 | 14.02
75 | 0.005626 | 0.0014099 | -0.0056259 | -0.0014099 | 5.9026e-08 | 5.3535e-09 | 0.0084144 | 0.0084144 | 0.0084144 | 0.99489 | -0.035791 | 0.99488 | -0.035867 | 3.1165
76 | -0.0074077 | -0.0018564 | 0.0074092 | 0.0018568 | 1.5039e-06 | 3.2342e-07 | 0.011079 | 0.011079 | 0.011079 | 0.99489 | -0.035791 | 0.9951 | -0.034324 | 4.1034
77 | 0.0042604 | 0.0010676 | -0.0042601 | -0.0010677 | 2.7593e-07 | -3.5284e-08 | 0.006372 | 0.0063721 | 0.0063721 | 0.99488 | -0.035867 | 0.99482 | -0.036335 | 2.36
78 | -0.0098728 | -0.0024742 | 0.0098742 | 0.0024746 | 1.4028e-06 | 4.0551e-07 | 0.014763 | 0.014763 | 0.014763 | 0.9951 | -0.034324 | 0.99525 | -0.033298 | 5.4678
79 | 0.0011302 | 0.00028312 | -0.0011302 | -0.00028324 | 1.8762e-08 | -1.2724e-07 | 0.0016972 | 0.0016972 | 0.0016972 | 0.99087 | -0.064118 | 0.99085 | -0.064238 | 0.6286

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17968 | 0.044995

## res_load
| p_mw | q_mvar
0 | 0.0039898 | 0.00099994
1 | 0.010954 | 0.0027453
2 | 0.0012121 | 0.00030378
3 | 0.0024346 | 0.00061016
4 | 0.00029503 | 7.3941e-05
5 | 0.0096638 | 0.002422
6 | 0.0030425 | 0.00076252
7 | 0.00041872 | 0.00010494
8 | 0.0043472 | 0.0010895
9 | 0.00056041 | 0.00014045
10 | 0.0044372 | 0.0011121
11 | 0.0047037 | 0.0011789
12 | 0.0015204 | 0.00038105
13 | 0.015169 | 0.0038016
14 | 0.0028578 | 0.00071623
15 | 0.0029342 | 0.00073538
16 | 0.0017598 | 0.00044106
17 | 0.0020724 | 0.00051939
18 | 0.0029372 | 0.00073612
19 | 0.0016991 | 0.00042583
20 | 0.0018161 | 0.00045516
21 | 0.0024822 | 0.00062211
22 | 0.0033574 | 0.00084145
23 | 0.0024993 | 0.00062639
24 | 0.0015499 | 0.00038844
25 | 0.002448 | 0.00061353
26 | 0.0021368 | 0.00053554
27 | 0.0024456 | 0.00061291
28 | 0.002492 | 0.00062455
29 | 0.0014644 | 0.00036702
30 | 0.001498 | 0.00037543
31 | 0.0021475 | 0.00053821
32 | 0.0022439 | 0.00056237
33 | 0.0024664 | 0.00061813
34 | 0.0019322 | 0.00048426
35 | 0.0027484 | 0.00068881
36 | 0.0021434 | 0.00053719
37 | 0.0042866 | 0.0010743
38 | 0.0020839 | 0.00052227
39 | 0.0012607 | 0.00031596
40 | 0.0016476 | 0.00041293
41 | 0.0012054 | 0.00030211
42 | 0.0006666 | 0.00016707
43 | 0.002717 | 0.00068095
44 | 0.00251 | 0.00062907
45 | 0.0017139 | 0.00042953
46 | 0.0028765 | 0.00072093
47 | 0.0035028 | 0.00087789
48 | 0.0017119 | 0.00042904
49 | 0.0055116 | 0.0013813
50 | 0.0031119 | 0.00077991
51 | 0.0035076 | 0.00087908
52 | 0.0012243 | 0.00030684
53 | 0.0015914 | 0.00039884
54 | 0.0034362 | 0.0008612
55 | 0.0017892 | 0.00044842
56 | 0.0017817 | 0.00044655
57 | 0.0013655 | 0.00034224
58 | 0.0024636 | 0.00061743
59 | 0.0042601 | 0.0010677
60 | 0.0024105 | 0.00060413
61 | 0.0028721 | 0.00071983
62 | 0.0011302 | 0.00028324

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1