## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1140-12_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1140-12_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1140-12_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1140-12_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1140-12_0_2_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1140-12_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1140-12_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1140-12_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1140-12_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1140-12_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1140-12_0_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1140-12_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1140-12_0_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1140-12_0_2_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_1140-12_0_2_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_1140-12_0_2_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_1140-12_0_2_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_1140-12_0_2_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_1140-12_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1140-12_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1140-12_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1140-12_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1140-12_0_2_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_1140-12_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1140-12_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1140-12_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1140-12_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1140-12_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1140-12_0_2_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1140-12_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1140-12_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1140-12_0_2_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1140-12_0_2_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1140-12_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1140-12_0_2_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1140-12_0_2_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_1140-12_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1140-12_0_2_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1140-12_0_2_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_1140-12_0_2_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1140-12_0_2_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_1140-12_0_2_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_1140-12_0_2_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1140-12_0_2_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1140-12_0_2_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_1140-12_0_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1140-12_0_2_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_1140-12_0_2_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1140-12_0_2_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_1140-12_0_2_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1140-12_0_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1140-12_0_2_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1140-12_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_1140-12_0_2_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1140-12_0_2_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1140-12_0_2_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1140-12_0_2_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_1140-12_0_2_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_1140-12_0_2_node_54 | 0.4 | n |  | TRUE
59 | bus_MV_475_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1140-12_0_2_load_0 | 0 | 0.002015 | 0.00050501 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1140-12_0_2_load_1 | 1 | 0.0024315 | 0.00060939 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1140-12_0_2_load_2 | 2 | 0.0022648 | 0.0005676 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1140-12_0_2_load_7 | 4 | 0.0024238 | 0.00060745 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1140-12_0_2_load_5 | 5 | 0.0029485 | 0.00073896 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1140-12_0_2_load_8 | 6 | 0.0024082 | 0.00060356 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1140-12_0_2_load_6 | 7 | 0.0068979 | 0.0017288 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1140-12_0_2_load_9 | 8 | 0.0021641 | 0.00054238 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1140-12_0_2_load_10 | 9 | 0.0033755 | 0.00084599 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1140-12_0_2_load_13 | 12 | 0.002257 | 0.00056565 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1140-12_0_2_load_38 | 13 | 0.0013009 | 0.00032604 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1140-12_0_2_load_37 | 14 | 0.0018833 | 0.000472 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1140-12_0_2_load_52 | 15 | 0.00088932 | 0.00022288 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1140-12_0_2_load_49 | 16 | 0.0035464 | 0.0008888 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1140-12_0_2_load_36 | 17 | 0.0052767 | 0.0013225 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1140-12_0_2_load_14 | 18 | 0.0018951 | 0.00047496 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1140-12_0_2_load_15 | 19 | 0.0021491 | 0.00053863 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1140-12_0_2_load_16 | 20 | 0.001656 | 0.00041503 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1140-12_0_2_load_17 | 21 | 0.006575 | 0.0016478 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1140-12_0_2_load_35 | 22 | 0.00064981 | 0.00016286 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1140-12_0_2_load_18 | 23 | 0.0028023 | 0.00070232 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1140-12_0_2_load_19 | 24 | 0.0028125 | 0.00070487 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1140-12_0_2_load_20 | 25 | 0.0013265 | 0.00033246 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1140-12_0_2_load_21 | 26 | 0.0043443 | 0.0010888 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1140-12_0_2_load_22 | 27 | 0.0015194 | 0.00038081 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1140-12_0_2_load_32 | 28 | 0.0021172 | 0.00053062 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1140-12_0_2_load_33 | 29 | 0.0017568 | 0.00044029 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1140-12_0_2_load_34 | 31 | 0.0029869 | 0.00074859 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1140-12_0_2_load_23 | 32 | 0.002111 | 0.00052907 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1140-12_0_2_load_60 | 35 | 0.004028 | 0.0010095 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1140-12_0_2_load_40 | 37 | 0.0055201 | 0.0013835 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1140-12_0_2_load_57 | 38 | 0.0017485 | 0.00043822 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1140-12_0_2_load_39 | 39 | 0.0067607 | 0.0016944 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1140-12_0_2_load_55 | 40 | 0.0019677 | 0.00049316 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1140-12_0_2_load_27 | 41 | 0.0023292 | 0.00058374 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1140-12_0_2_load_28 | 42 | 0.001782 | 0.00044662 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1140-12_0_2_load_30 | 43 | 0.016908 | 0.0042374 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1140-12_0_2_load_31 | 44 | 0.0024916 | 0.00062445 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1140-12_0_2_load_43 | 45 | 0.012878 | 0.0032276 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1140-12_0_2_load_47 | 46 | 0.0025559 | 0.00064056 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1140-12_0_2_load_45 | 48 | 0.0042786 | 0.0010723 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1140-12_0_2_load_50 | 49 | 0.0045983 | 0.0011524 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1140-12_0_2_load_42 | 50 | 0.0027661 | 0.00069325 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1140-12_0_2_load_51 | 51 | 0.0010292 | 0.00025793 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1140-12_0_2_load_44 | 52 | 0.0038998 | 0.00097739 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1140-12_0_2_load_46 | 53 | 0.0028094 | 0.0007041 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1140-12_0_2_load_48 | 54 | 0.002808 | 0.00070376 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1140-12_0_2_load_59 | 56 | 0.0015432 | 0.00038677 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1140-12_0_2_load_53 | 57 | 0.0010653 | 0.00026699 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1140-12_0_2_load_54 | 58 | 0.0016351 | 0.0004098 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1140-12_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0024798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1140-12_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.030767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1140-12_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.055212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1140-12_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.020407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1140-12_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1140-12_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.013928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1140-12_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0041159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1140-12_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0047181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1140-12_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.016847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1140-12_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.031426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1140-12_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.004133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1140-12_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.018642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1140-12_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.037858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1140-12_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.011151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1140-12_0_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.016473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1140-12_0_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.0080776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1140-12_0_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.016631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1140-12_0_2_line_17 | NAYY 4x150 SE | 16 | 49 | 0.0032368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1140-12_0_2_line_18 | NAYY 4x150 SE | 17 | 22 | 0.0049311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1140-12_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.017785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1140-12_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0017946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1140-12_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.014979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1140-12_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.00015162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1140-12_0_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.028751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1140-12_0_2_line_24 | NAYY 4x150 SE | 23 | 25 | 4.3317e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1140-12_0_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.0066182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1140-12_0_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.024763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1140-12_0_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.026789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1140-12_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.0021252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1140-12_0_2_line_29 | NAYY 4x150 SE | 28 | 30 | 0.014582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1140-12_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.0048018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1140-12_0_2_line_31 | NAYY 4x150 SE | 30 | 44 | 0.01528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1140-12_0_2_line_32 | NAYY 4x150 SE | 30 | 41 | 0.018771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1140-12_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.063721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1140-12_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.036575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1140-12_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.016407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1140-12_0_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.047852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1140-12_0_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.026897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1140-12_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.011042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1140-12_0_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.032524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1140-12_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.017743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1140-12_0_2_line_41 | NAYY 4x150 SE | 39 | 47 | 0.027908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1140-12_0_2_line_42 | NAYY 4x150 SE | 40 | 57 | 0.010512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1140-12_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.00043202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1140-12_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.035303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1140-12_0_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.022627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1140-12_0_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.015685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1140-12_0_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.029693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1140-12_0_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.016715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1140-12_0_2_line_49 | NAYY 4x150 SE | 47 | 50 | 0.001413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1140-12_0_2_line_50 | NAYY 4x150 SE | 48 | 52 | 0.0096456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1140-12_0_2_line_51 | NAYY 4x150 SE | 49 | 51 | 0.010202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1140-12_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.007649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1140-12_0_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.015079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1140-12_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.00041778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1140-12_0_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.022787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1140-12_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.19075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1140-12_0_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.014424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1140-12_0_2_trafo_30 | 0.25 MVA 20/0.4 kV | 59 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2639398.0455 | 1231343.1946 | 2639400.2273 | 1231344.3731
1 | 2639398.0455 | 1231343.1946 | 2639370.975 | 1231328.5727
2 | 2639440.1129 | 1231380.5683 | 2639435.6065 | 1231372.6558 | 2639424.7211 | 1231359.4199 | 2639418.4658 | 1231353.7083 | 2639412.1842 | 1231350.8315 | 2639400.2273 | 1231344.3731
3 | 2639440.1129 | 1231380.5683 | 2639458.1462 | 1231371.0153
4 | 2639440.1129 | 1231380.5683 | 2639436.7995 | 1231382.3252 | 2639426.0455 | 1231389.3686
5 | 2639470.4537 | 1231364.4955 | 2639458.1462 | 1231371.0153
6 | 2639426.0455 | 1231389.3686 | 2639422.6024 | 1231391.6237
7 | 2639470.4537 | 1231364.4955 | 2639474.623 | 1231362.2869
8 | 2639474.623 | 1231362.2869 | 2639489.5098 | 1231354.4007
9 | 2639516.471 | 1231338.3264 | 2639502.7112 | 1231347.4073 | 2639489.5098 | 1231354.4007
10 | 2639519.6165 | 1231335.6345 | 2639516.471 | 1231338.3264
11 | 2639516.471 | 1231338.3264 | 2639527.3512 | 1231353.4636 | 2639527.3512 | 1231353.4636
12 | 2639519.6165 | 1231335.6345 | 2639527.9106 | 1231328.5407 | 2639535.4735 | 1231322.0759 | 2639546.0703 | 1231308.7893
13 | 2639519.6165 | 1231335.6345 | 2639510.1273 | 1231329.778
14 | 2639527.3512 | 1231353.4636 | 2639536.8663 | 1231366.911
15 | 2639546.0703 | 1231308.7893 | 2639546.455 | 1231308.3069 | 2639550.4344 | 1231301.9961
16 | 2639510.1273 | 1231329.778 | 2639495.9745 | 1231321.0432
17 | 2639550.4344 | 1231301.9961 | 2639552.1608 | 1231299.2582
18 | 2639491.7782 | 1231318.4533 | 2639495.9745 | 1231321.0432
19 | 2639478.9023 | 1231310.5066 | 2639463.768 | 1231301.1661
20 | 2639462.2409 | 1231300.2236 | 2639463.768 | 1231301.1661
21 | 2639478.9023 | 1231310.5066 | 2639491.6492 | 1231318.3737
22 | 2639491.7782 | 1231318.4533 | 2639491.6492 | 1231318.3737
23 | 2639453.8193 | 1231252.7759 | 2639438.0475 | 1231276.8148
24 | 2639438.0238 | 1231276.851 | 2639438.0475 | 1231276.8148
25 | 2639453.8193 | 1231252.7759 | 2639457.4498 | 1231247.2425
26 | 2639424.4397 | 1231297.5553 | 2639438.0238 | 1231276.851
27 | 2639472.1455 | 1231224.8439 | 2639457.4498 | 1231247.2425
28 | 2639424.4397 | 1231297.5553 | 2639423.2739 | 1231299.3322
29 | 2639480.1446 | 1231212.6519 | 2639472.1455 | 1231224.8439
30 | 2639420.6398 | 1231303.347 | 2639423.2739 | 1231299.3322
31 | 2639480.1446 | 1231212.6519 | 2639467.6514 | 1231203.855
32 | 2639480.1446 | 1231212.6519 | 2639495.0274 | 1231224.0914
33 | 2639664.719 | 1231241.8416 | 2639697.5964 | 1231260.7392 | 2639706.5506 | 1231267.1251 | 2639712.177 | 1231276.2572 | 2639713.9527 | 1231279.9254
34 | 2639635.638 | 1231238.4903 | 2639656.9299 | 1231250.3839 | 2639660.3524 | 1231249.3394 | 2639664.719 | 1231241.8416
35 | 2639626.1957 | 1231251.9246 | 2639635.638 | 1231238.4903
36 | 2639610.3101 | 1231210.571 | 2639641.747 | 1231228.636 | 2639635.638 | 1231238.4903
37 | 2639610.3101 | 1231210.571 | 2639593.9396 | 1231231.9121
38 | 2639610.3101 | 1231210.571 | 2639613.2708 | 1231207.222 | 2639616.2026 | 1231201.3398
39 | 2639574.4036 | 1231257.9148 | 2639589.0038 | 1231238.3465 | 2639593.9396 | 1231231.9121
40 | 2639623.1728 | 1231185.0408 | 2639619.0277 | 1231195.6643 | 2639617.3082 | 1231199.1216 | 2639616.2026 | 1231201.3398
41 | 2639560.7004 | 1231282.0298 | 2639566.9895 | 1231267.8517 | 2639574.4036 | 1231257.9148
42 | 2639623.1728 | 1231185.0408 | 2639625.1375 | 1231179.9952 | 2639626.3412 | 1231175.0418
43 | 2639495.0274 | 1231224.0914 | 2639495.3699 | 1231224.3547
44 | 2639519.3839 | 1231250.0288 | 2639517.455 | 1231248.355 | 2639501.0382 | 1231228.7116 | 2639495.3699 | 1231224.3547
45 | 2639519.3839 | 1231250.0288 | 2639531.8516 | 1231260.8472 | 2639536.6941 | 1231264.5899
46 | 2639454.3691 | 1231195.5157 | 2639466.5161 | 1231203.0556 | 2639467.6514 | 1231203.855
47 | 2639560.7004 | 1231282.0298 | 2639551.019 | 1231275.6615 | 2639536.6941 | 1231264.5899
48 | 2639454.3691 | 1231195.5157 | 2639440.1678 | 1231186.7006
49 | 2639560.7004 | 1231282.0298 | 2639560.118 | 1231283.3171
50 | 2639431.9726 | 1231181.6137 | 2639440.1678 | 1231186.7006
51 | 2639552.1608 | 1231299.2582 | 2639554.7976 | 1231295.0764 | 2639556.965 | 1231290.286
52 | 2639560.118 | 1231283.3171 | 2639556.965 | 1231290.286
53 | 2639431.9726 | 1231181.6137 | 2639419.1611 | 1231173.6613
54 | 2639419.1611 | 1231173.6613 | 2639418.8061 | 1231173.441
55 | 2639399.9489 | 1231160.655 | 2639415.2976 | 1231171.2632 | 2639418.8061 | 1231173.441
56 | 2639399.9489 | 1231160.655 | 2639485.5551 | 1230990.1938
57 | 2639626.3412 | 1231175.0418 | 2639629.7471 | 1231161.0262

## bus_geodata
| x | y | coords
0 | 2639398.0455 | 1231343.1946
1 | 2639400.2273 | 1231344.3731
2 | 2639370.975 | 1231328.5727
3 | 2639440.1129 | 1231380.5683
4 | 2639458.1462 | 1231371.0153
5 | 2639426.0455 | 1231389.3686
6 | 2639470.4537 | 1231364.4955
7 | 2639422.6024 | 1231391.6237
8 | 2639474.623 | 1231362.2869
9 | 2639489.5098 | 1231354.4007
10 | 2639516.471 | 1231338.3264
11 | 2639519.6165 | 1231335.6345
12 | 2639527.3512 | 1231353.4636
13 | 2639546.0703 | 1231308.7893
14 | 2639510.1273 | 1231329.778
15 | 2639536.8663 | 1231366.911
16 | 2639550.4344 | 1231301.9961
17 | 2639495.9745 | 1231321.0432
18 | 2639463.768 | 1231301.1661
19 | 2639478.9023 | 1231310.5066
20 | 2639462.2409 | 1231300.2236
21 | 2639491.6492 | 1231318.3737
22 | 2639491.7782 | 1231318.4533
23 | 2639438.0475 | 1231276.8148
24 | 2639453.8193 | 1231252.7759
25 | 2639438.0238 | 1231276.851
26 | 2639457.4498 | 1231247.2425
27 | 2639424.4397 | 1231297.5553
28 | 2639472.1455 | 1231224.8439
29 | 2639423.2739 | 1231299.3322
30 | 2639480.1446 | 1231212.6519
31 | 2639420.6398 | 1231303.347
32 | 2639713.9527 | 1231279.9254
33 | 2639664.719 | 1231241.8416
34 | 2639635.638 | 1231238.4903
35 | 2639626.1957 | 1231251.9246
36 | 2639610.3101 | 1231210.571
37 | 2639593.9396 | 1231231.9121
38 | 2639616.2026 | 1231201.3398
39 | 2639574.4036 | 1231257.9148
40 | 2639623.1728 | 1231185.0408
41 | 2639495.0274 | 1231224.0914
42 | 2639495.3699 | 1231224.3547
43 | 2639519.3839 | 1231250.0288
44 | 2639467.6514 | 1231203.855
45 | 2639536.6941 | 1231264.5899
46 | 2639454.3691 | 1231195.5157
47 | 2639560.7004 | 1231282.0298
48 | 2639440.1678 | 1231186.7006
49 | 2639552.1608 | 1231299.2582
50 | 2639560.118 | 1231283.3171
51 | 2639556.965 | 1231290.286
52 | 2639431.9726 | 1231181.6137
53 | 2639419.1611 | 1231173.6613
54 | 2639418.8061 | 1231173.441
55 | 2639399.9489 | 1231160.655
56 | 2639485.5551 | 1230990.1938
57 | 2639626.3412 | 1231175.0418
58 | 2639629.7471 | 1231161.0262
59 | 2639560.7004 | 1231282.0298

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98409 | -0.11177 | 0.002015 | 0.00050501
1 | 0.98411 | -0.11166 | 0.0024315 | 0.00060939
2 | 0.98399 | -0.11249 | 0.0022648 | 0.0005676
3 | 0.98464 | -0.10784 | 0 | 0
4 | 0.98513 | -0.10436 | 0.0024238 | 0.00060745
5 | 0.98441 | -0.10953 | 0.0029485 | 0.00073896
6 | 0.98552 | -0.10165 | 0.0024082 | 0.00060356
7 | 0.98437 | -0.10982 | 0.0068979 | 0.0017288
8 | 0.98566 | -0.10061 | 0.0021641 | 0.00054238
9 | 0.98624 | -0.096531 | 0.0033755 | 0.00084599
10 | 0.98746 | -0.087853 | 0 | 0
11 | 0.98764 | -0.08658 | 0 | 0
12 | 0.98738 | -0.088454 | 0.002257 | 0.00056565
13 | 0.99039 | -0.067192 | 0.0013009 | 0.00032604
14 | 0.98732 | -0.088873 | 0.0018833 | 0.000472
15 | 0.98736 | -0.088604 | 0.00088932 | 0.00022288
16 | 0.99099 | -0.062962 | 0.0035464 | 0.0008888
17 | 0.98688 | -0.091974 | 0.0052767 | 0.0013225
18 | 0.98657 | -0.09417 | 0.0018951 | 0.00047496
19 | 0.98666 | -0.093523 | 0.0021491 | 0.00053863
20 | 0.98657 | -0.094201 | 0.001656 | 0.00041503
21 | 0.98679 | -0.092647 | 0.006575 | 0.0016478
22 | 0.98679 | -0.092628 | 0.00064981 | 0.00016286
23 | 0.99503 | -0.034856 | 0.0028023 | 0.00070232
24 | 0.99546 | -0.031844 | 0.0028125 | 0.00070487
25 | 0.99503 | -0.034859 | 0.0013265 | 0.00033246
26 | 0.99558 | -0.030963 | 0.0043443 | 0.0010888
27 | 0.99481 | -0.036423 | 0.0015194 | 0.00038081
28 | 0.99625 | -0.026231 | 0.0021172 | 0.00053062
29 | 0.99479 | -0.036525 | 0.0017568 | 0.00044029
30 | 0.99667 | -0.023347 | 0 | 0
31 | 0.99477 | -0.036669 | 0.0029869 | 0.00074859
32 | 0.98987 | -0.070972 | 0.002111 | 0.00052907
33 | 0.99006 | -0.0696 | 0 | 0
34 | 0.99017 | -0.068811 | 0 | 0
35 | 0.99008 | -0.069484 | 0.004028 | 0.0010095
36 | 0.99059 | -0.065816 | 0 | 0
37 | 0.99108 | -0.062377 | 0.0055201 | 0.0013835
38 | 0.99049 | -0.066537 | 0.0017485 | 0.00043822
39 | 0.99193 | -0.0564 | 0.0067607 | 0.0016944
40 | 0.99037 | -0.06738 | 0.0019677 | 0.00049316
41 | 0.99774 | -0.015794 | 0.0023292 | 0.00058374
42 | 0.99777 | -0.01561 | 0.001782 | 0.00044662
43 | 1 | 0 | -0.14735 | -0.036882
44 | 0.99622 | -0.026482 | 0.0024916 | 0.00062445
45 | 0.9967 | -0.022926 | 0.012878 | 0.0032276
46 | 0.99582 | -0.02931 | 0.0025559 | 0.00064056
47 | 0.99292 | -0.049368 | 0 | 0
48 | 0.99545 | -0.031895 | 0.0042786 | 0.0010723
49 | 0.99125 | -0.061152 | 0.0045983 | 0.0011524
50 | 0.99279 | -0.050276 | 0.0027661 | 0.00069325
51 | 0.99212 | -0.054978 | 0.0010292 | 0.00025793
52 | 0.9953 | -0.032972 | 0.0038998 | 0.00097739
53 | 0.99514 | -0.034064 | 0.0028094 | 0.0007041
54 | 0.99514 | -0.034082 | 0.002808 | 0.00070376
55 | 0.99509 | -0.034441 | 0 | 0
56 | 0.99467 | -0.037427 | 0.0015432 | 0.00038677
57 | 0.99033 | -0.067669 | 0.0010653 | 0.00026699
58 | 0.9903 | -0.067909 | 0.0016351 | 0.0004098
59 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00428 | -0.0010723 | 0.0042801 | 0.0010723 | 6.4806e-08 | -6.5813e-09 | 0.0064715 | 0.0064715 | 0.0064715 | 0.98409 | -0.11177 | 0.98411 | -0.11166 | 2.3969
1 | 0.002265 | 0.0005673 | -0.0022648 | -0.0005676 | 2.2518e-07 | -3.0425e-07 | 0.0034247 | 0.0034248 | 0.0034248 | 0.98409 | -0.11177 | 0.98399 | -0.11249 | 1.2685
2 | -0.0067116 | -0.0016817 | 0.0067151 | 0.0016824 | 3.5479e-06 | 6.627e-07 | 0.010148 | 0.010148 | 0.010148 | 0.98411 | -0.11166 | 0.98464 | -0.10784 | 3.7585
3 | -0.016564 | -0.0041508 | 0.016572 | 0.0041536 | 7.9791e-06 | 2.8092e-06 | 0.025032 | 0.025032 | 0.025032 | 0.98464 | -0.10784 | 0.98513 | -0.10436 | 9.2711
4 | 0.009849 | 0.0024685 | -0.0098467 | -0.0024678 | 2.2955e-06 | 6.7173e-07 | 0.014884 | 0.014884 | 0.014884 | 0.98464 | -0.10784 | 0.98441 | -0.10953 | 5.5126
5 | -0.018996 | -0.0047611 | 0.019003 | 0.0047637 | 7.155e-06 | 2.5745e-06 | 0.028693 | 0.028693 | 0.028693 | 0.98513 | -0.10436 | 0.98552 | -0.10165 | 10.627
6 | 0.0068982 | 0.0017288 | -0.0068979 | -0.0017288 | 2.7925e-07 | 5.5078e-08 | 0.010427 | 0.010427 | 0.010427 | 0.98441 | -0.10953 | 0.98437 | -0.10982 | 3.8619
7 | -0.021411 | -0.0053672 | 0.021414 | 0.0053683 | 3.0771e-06 | 1.1234e-06 | 0.032329 | 0.032329 | 0.032329 | 0.98552 | -0.10165 | 0.98566 | -0.10061 | 11.9737
8 | -0.023578 | -0.0059107 | 0.023592 | 0.0059156 | 1.332e-05 | 4.9082e-06 | 0.035596 | 0.035596 | 0.035596 | 0.98566 | -0.10061 | 0.98624 | -0.096531 | 13.1837
9 | -0.026967 | -0.0067616 | 0.027 | 0.0067737 | 3.2465e-05 | 1.2085e-05 | 0.040689 | 0.040689 | 0.040689 | 0.98624 | -0.096531 | 0.98746 | -0.087853 | 15.0699
10 | -0.030146 | -0.0075619 | 0.030152 | 0.0075639 | 5.3228e-06 | 1.9943e-06 | 0.04543 | 0.04543 | 0.04543 | 0.98746 | -0.087853 | 0.98764 | -0.08658 | 16.826
11 | 0.0031466 | 0.00078819 | -0.0031463 | -0.00078833 | 2.6152e-07 | -1.3787e-07 | 0.0047415 | 0.0047415 | 0.0047415 | 0.98746 | -0.087853 | 0.98738 | -0.088454 | 1.7561
12 | -0.050253 | -0.012603 | 0.050389 | 0.012655 | 0.00013543 | 5.1603e-05 | 0.075716 | 0.075716 | 0.075716 | 0.98764 | -0.08658 | 0.99039 | -0.067192 | 28.043
13 | 0.020101 | 0.0050392 | -0.020095 | -0.0050369 | 6.3824e-06 | 2.3121e-06 | 0.030286 | 0.030286 | 0.030286 | 0.98764 | -0.08658 | 0.98732 | -0.088873 | 11.2171
14 | 0.00088933 | 0.00022268 | -0.00088932 | -0.00022288 | 1.8464e-08 | -2.0359e-07 | 0.0013402 | 0.0013403 | 0.0013403 | 0.98738 | -0.088454 | 0.98736 | -0.088604 | 0.49639
15 | -0.051689 | -0.012981 | 0.05172 | 0.012992 | 3.0408e-05 | 1.1591e-05 | 0.077671 | 0.077671 | 0.077671 | 0.99039 | -0.067192 | 0.99099 | -0.062962 | 28.7669
16 | 0.018212 | 0.0045649 | -0.018204 | -0.0045621 | 7.8185e-06 | 2.7945e-06 | 0.027448 | 0.027448 | 0.027448 | 0.98732 | -0.088873 | 0.98688 | -0.091974 | 10.1659
17 | -0.055266 | -0.013881 | 0.05528 | 0.013886 | 1.3913e-05 | 5.3093e-06 | 0.082996 | 0.082996 | 0.082996 | 0.99099 | -0.062962 | 0.99125 | -0.061152 | 30.7391
18 | 0.012927 | 0.0032397 | -0.012926 | -0.0032393 | 1.169e-06 | 3.8663e-07 | 0.019492 | 0.019492 | 0.019492 | 0.98688 | -0.091974 | 0.98679 | -0.092628 | 7.2191
19 | -0.0035511 | -0.00088996 | 0.0035514 | 0.00088986 | 3.1835e-07 | -1.0468e-07 | 0.005356 | 0.0053559 | 0.005356 | 0.98657 | -0.09417 | 0.98666 | -0.093523 | 1.9837
20 | 0.001656 | 0.00041501 | -0.001656 | -0.00041503 | 6.9858e-09 | -2.0228e-08 | 0.0024977 | 0.0024977 | 0.0024977 | 0.98657 | -0.09417 | 0.98657 | -0.094201 | 0.92507
21 | -0.0057006 | -0.0014285 | 0.0057012 | 0.0014286 | 6.9083e-07 | 7.4372e-08 | 0.0085971 | 0.008597 | 0.0085971 | 0.98666 | -0.093523 | 0.98679 | -0.092647 | 3.1841
22 | -0.012276 | -0.0030764 | 0.012276 | 0.0030764 | 3.2423e-08 | 1.0533e-08 | 0.018512 | 0.018512 | 0.018512 | 0.98679 | -0.092647 | 0.98679 | -0.092628 | 6.8562
23 | -0.010393 | -0.0026046 | 0.010398 | 0.0026059 | 4.3341e-06 | 1.2933e-06 | 0.015543 | 0.015543 | 0.015543 | 0.99503 | -0.034856 | 0.99546 | -0.031844 | 5.7566
24 | 0.0075912 | 0.0019023 | -0.0075912 | -0.0019023 | 3.483e-09 | 7.7866e-10 | 0.011352 | 0.011352 | 0.011352 | 0.99503 | -0.034856 | 0.99503 | -0.034859 | 4.2045
25 | -0.01321 | -0.0033108 | 0.013212 | 0.0033113 | 1.6103e-06 | 5.3331e-07 | 0.019747 | 0.019747 | 0.019747 | 0.99546 | -0.031844 | 0.99558 | -0.030963 | 7.3136
26 | 0.0062646 | 0.0015699 | -0.0062633 | -0.0015697 | 1.3562e-06 | 2.0003e-07 | 0.0093684 | 0.0093685 | 0.0093685 | 0.99503 | -0.034859 | 0.99481 | -0.036423 | 3.4698
27 | -0.017556 | -0.0044001 | 0.017568 | 0.0044042 | 1.151e-05 | 4.0782e-06 | 0.02624 | 0.02624 | 0.02624 | 0.99558 | -0.030963 | 0.99625 | -0.026231 | 9.7185
28 | 0.0047438 | 0.0011888 | -0.0047438 | -0.0011888 | 6.6771e-08 | -1.911e-09 | 0.0070957 | 0.0070958 | 0.0070958 | 0.99481 | -0.036423 | 0.99479 | -0.036525 | 2.6281
29 | -0.019685 | -0.0049348 | 0.019693 | 0.0049377 | 7.8659e-06 | 2.8354e-06 | 0.029402 | 0.029402 | 0.029402 | 0.99625 | -0.026231 | 0.99667 | -0.023347 | 10.8896
30 | 0.002987 | 0.00074855 | -0.0029869 | -0.00074859 | 5.9814e-08 | -3.9335e-08 | 0.0044679 | 0.0044679 | 0.0044679 | 0.99479 | -0.036525 | 0.99477 | -0.036669 | 1.6548
31 | 0.020411 | 0.0051152 | -0.020402 | -0.0051119 | 8.8542e-06 | 3.2064e-06 | 0.030474 | 0.030474 | 0.030474 | 0.99667 | -0.023347 | 0.99622 | -0.026482 | 11.2866
32 | -0.040104 | -0.010053 | 0.040146 | 0.010069 | 4.1993e-05 | 1.5906e-05 | 0.059876 | 0.059876 | 0.059876 | 0.99667 | -0.023347 | 0.99774 | -0.015794 | 22.1762
33 | -0.002111 | -0.00052907 | 0.0021114 | 0.0005284 | 4.0038e-07 | -6.6529e-07 | 0.0031734 | 0.0031731 | 0.0031734 | 0.98987 | -0.070972 | 0.99006 | -0.0696 | 1.1753
34 | -0.0021114 | -0.0005284 | 0.0021116 | 0.00052802 | 2.2978e-07 | -3.8202e-07 | 0.0031731 | 0.0031729 | 0.0031731 | 0.99006 | -0.0696 | 0.99017 | -0.068811 | 1.1752
35 | 0.0040284 | 0.0010095 | -0.004028 | -0.0010095 | 3.7521e-07 | -6.6707e-08 | 0.0060538 | 0.0060539 | 0.0060539 | 0.99017 | -0.068811 | 0.99008 | -0.069484 | 2.2422
36 | -0.00614 | -0.0015375 | 0.0061426 | 0.0015378 | 2.5419e-06 | 3.619e-07 | 0.0092267 | 0.0092265 | 0.0092267 | 0.99017 | -0.068811 | 0.99059 | -0.065816 | 3.4173
37 | -0.012561 | -0.0031458 | 0.012567 | 0.0031478 | 5.9743e-06 | 1.9514e-06 | 0.018867 | 0.018867 | 0.018867 | 0.99059 | -0.065816 | 0.99108 | -0.062377 | 6.9878
38 | 0.006418 | 0.001608 | -0.0064174 | -0.0016079 | 6.4041e-07 | 1.0417e-07 | 0.0096406 | 0.0096406 | 0.0096406 | 0.99059 | -0.065816 | 0.99049 | -0.066537 | 3.5706
39 | -0.018087 | -0.0045312 | 0.018102 | 0.0045366 | 1.4965e-05 | 5.3364e-06 | 0.027155 | 0.027155 | 0.027155 | 0.99108 | -0.062377 | 0.99193 | -0.0564 | 10.0574
40 | 0.0046688 | 0.0011697 | -0.0046683 | -0.0011697 | 5.4467e-07 | -1.8857e-08 | 0.0070138 | 0.0070139 | 0.0070139 | 0.99049 | -0.066537 | 0.99037 | -0.06738 | 2.5977
41 | -0.024862 | -0.006231 | 0.024887 | 0.0062399 | 2.4225e-05 | 8.9565e-06 | 0.037297 | 0.037296 | 0.037297 | 0.99193 | -0.0564 | 0.99292 | -0.049368 | 13.8136
42 | 0.0027006 | 0.00067653 | -0.0027005 | -0.00067662 | 1.0799e-07 | -9.3729e-08 | 0.0040575 | 0.0040575 | 0.0040575 | 0.99037 | -0.06738 | 0.99033 | -0.067669 | 1.5028
43 | -0.042475 | -0.010652 | 0.042476 | 0.010653 | 1.0819e-06 | 4.1046e-07 | 0.063349 | 0.063349 | 0.063349 | 0.99774 | -0.015794 | 0.99777 | -0.01561 | 23.4627
44 | -0.044258 | -0.011099 | 0.044354 | 0.011136 | 9.598e-05 | 3.6453e-05 | 0.066007 | 0.066007 | 0.066007 | 0.99777 | -0.01561 | 1 | 0 | 24.447
45 | 0.10219 | 0.025746 | -0.10187 | -0.025621 | 0.00032669 | 0.00012535 | 0.15211 | 0.15211 | 0.15211 | 1 | 0 | 0.9967 | -0.022926 | 56.3372
46 | 0.017911 | 0.0044875 | -0.017904 | -0.004485 | 7.0049e-06 | 2.4901e-06 | 0.026752 | 0.026752 | 0.026752 | 0.99622 | -0.026482 | 0.99582 | -0.02931 | 9.9083
47 | 0.088987 | 0.022393 | -0.08866 | -0.022268 | 0.00032718 | 0.00012545 | 0.13288 | 0.13288 | 0.13288 | 0.9967 | -0.022926 | 0.99292 | -0.049368 | 49.2163
48 | 0.015348 | 0.0038444 | -0.015342 | -0.0038426 | 5.4855e-06 | 1.8924e-06 | 0.022933 | 0.022933 | 0.022933 | 0.99582 | -0.02931 | 0.99545 | -0.031895 | 8.4938
49 | 0.063773 | 0.016028 | -0.063765 | -0.016025 | 8.0562e-06 | 3.0803e-06 | 0.095588 | 0.095588 | 0.095588 | 0.99292 | -0.049368 | 0.99279 | -0.050276 | 35.4028
50 | 0.011064 | 0.0027702 | -0.011062 | -0.0027697 | 1.6461e-06 | 5.0775e-07 | 0.016538 | 0.016538 | 0.016538 | 0.99545 | -0.031895 | 0.9953 | -0.032972 | 6.1251
51 | -0.059878 | -0.015039 | 0.05993 | 0.015059 | 5.1446e-05 | 1.9655e-05 | 0.089898 | 0.089898 | 0.089898 | 0.99125 | -0.061152 | 0.99212 | -0.054978 | 33.2957
52 | 0.060999 | 0.015332 | -0.060959 | -0.015317 | 3.991e-05 | 1.5251e-05 | 0.091442 | 0.091442 | 0.091442 | 0.99279 | -0.050276 | 0.99212 | -0.054978 | 33.8673
53 | 0.0071624 | 0.0017923 | -0.0071614 | -0.0017921 | 1.0787e-06 | 2.1896e-07 | 0.010707 | 0.010707 | 0.010707 | 0.9953 | -0.032972 | 0.99514 | -0.034064 | 3.9657
54 | 0.004352 | 0.001088 | -0.004352 | -0.001088 | 1.1036e-08 | -1.1832e-09 | 0.0065065 | 0.0065065 | 0.0065065 | 0.99514 | -0.034064 | 0.99514 | -0.034082 | 2.4098
55 | 0.0015439 | 0.00038427 | -0.0015439 | -0.00038453 | 7.5726e-08 | -2.6691e-07 | 0.0023077 | 0.0023078 | 0.0023078 | 0.99514 | -0.034082 | 0.99509 | -0.034441 | 0.85473
56 | 0.0015439 | 0.00038453 | -0.0015432 | -0.00038677 | 6.3416e-07 | -2.233e-06 | 0.0023078 | 0.0023086 | 0.0023086 | 0.99509 | -0.034441 | 0.99467 | -0.037427 | 0.85505
57 | 0.0016352 | 0.00040963 | -0.0016351 | -0.0004098 | 5.4327e-08 | -1.6468e-07 | 0.0024568 | 0.0024569 | 0.0024569 | 0.99033 | -0.067669 | 0.9903 | -0.067909 | 0.90996

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16425 | 0.04112

## res_load
| p_mw | q_mvar
0 | 0.002015 | 0.00050501
1 | 0.0024315 | 0.00060939
2 | 0.0022648 | 0.0005676
3 | 0.0024238 | 0.00060745
4 | 0.0029485 | 0.00073896
5 | 0.0024082 | 0.00060356
6 | 0.0068979 | 0.0017288
7 | 0.0021641 | 0.00054238
8 | 0.0033755 | 0.00084599
9 | 0.002257 | 0.00056565
10 | 0.0013009 | 0.00032604
11 | 0.0018833 | 0.000472
12 | 0.00088932 | 0.00022288
13 | 0.0035464 | 0.0008888
14 | 0.0052767 | 0.0013225
15 | 0.0018951 | 0.00047496
16 | 0.0021491 | 0.00053863
17 | 0.001656 | 0.00041503
18 | 0.006575 | 0.0016478
19 | 0.00064981 | 0.00016286
20 | 0.0028023 | 0.00070232
21 | 0.0028125 | 0.00070487
22 | 0.0013265 | 0.00033246
23 | 0.0043443 | 0.0010888
24 | 0.0015194 | 0.00038081
25 | 0.0021172 | 0.00053062
26 | 0.0017568 | 0.00044029
27 | 0.0029869 | 0.00074859
28 | 0.002111 | 0.00052907
29 | 0.004028 | 0.0010095
30 | 0.0055201 | 0.0013835
31 | 0.0017485 | 0.00043822
32 | 0.0067607 | 0.0016944
33 | 0.0019677 | 0.00049316
34 | 0.0023292 | 0.00058374
35 | 0.001782 | 0.00044662
36 | 0.016908 | 0.0042374
37 | 0.0024916 | 0.00062445
38 | 0.012878 | 0.0032276
39 | 0.0025559 | 0.00064056
40 | 0.0042786 | 0.0010723
41 | 0.0045983 | 0.0011524
42 | 0.0027661 | 0.00069325
43 | 0.0010292 | 0.00025793
44 | 0.0038998 | 0.00097739
45 | 0.0028094 | 0.0007041
46 | 0.002808 | 0.00070376
47 | 0.0015432 | 0.00038677
48 | 0.0010653 | 0.00026699
49 | 0.0016351 | 0.0004098

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1