## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1140-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1140-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1140-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1140-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1140-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1140-15_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1140-15_0_3_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_1140-15_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1140-15_0_3_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_1140-15_0_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1140-15_0_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1140-15_0_3_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_1140-15_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1140-15_0_3_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_1140-15_0_3_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_1140-15_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1140-15_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_1140-15_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1140-15_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_1140-15_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_1140-15_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1140-15_0_3_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_1140-15_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1140-15_0_3_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_1140-15_0_3_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_1140-15_0_3_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_1140-15_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1140-15_0_3_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_1140-15_0_3_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_1140-15_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_1140-15_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1140-15_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1140-15_0_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_1140-15_0_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1140-15_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1140-15_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1140-15_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1140-15_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1140-15_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1140-15_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1140-15_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1140-15_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1140-15_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_1140-15_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1140-15_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1140-15_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1140-15_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1140-15_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_1140-15_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1140-15_0_3_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1140-15_0_3_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1140-15_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_1140-15_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_1140-15_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_1140-15_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_1140-15_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_1140-15_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_1140-15_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_1140-15_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1140-15_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_1140-15_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_1140-15_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_1140-15_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_1140-15_0_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_1140-15_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_1140-15_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_1140-15_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_1140-15_0_3_node_68 | 0.4 | n |  | TRUE
68 | bus_MV_475_0_node_288 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1140-15_0_3_load_0 | 0 | 0.0020909 | 0.00052402 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1140-15_0_3_load_3 | 3 | 0.016242 | 0.0040706 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1140-15_0_3_load_64 | 6 | 0.0019827 | 0.0004969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1140-15_0_3_load_56 | 8 | 0.00099227 | 0.00024869 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1140-15_0_3_load_23 | 9 | 0.00024018 | 6.0194e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1140-15_0_3_load_30 | 10 | 0.00058973 | 0.0001478 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1140-15_0_3_load_69 | 11 | 0.0017006 | 0.00042621 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1140-15_0_3_load_62 | 13 | 0.00079518 | 0.00019929 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1140-15_0_3_load_57 | 14 | 0.00075655 | 0.00018961 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1140-15_0_3_load_22 | 16 | 0.00086935 | 0.00021788 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1140-15_0_3_load_28 | 17 | 0.00073717 | 0.00018475 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1140-15_0_3_load_7 | 18 | 0.0036885 | 0.00092443 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1140-15_0_3_load_11 | 20 | 0.011037 | 0.002766 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1140-15_0_3_load_47 | 21 | 0.012095 | 0.0030314 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1140-15_0_3_load_55 | 23 | 0.009021 | 0.0022609 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1140-15_0_3_load_45 | 25 | 0.024842 | 0.0062259 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1140-15_0_3_load_12 | 27 | 0.00703 | 0.0017619 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1140-15_0_3_load_65 | 28 | 0.0049909 | 0.0012508 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1140-15_0_3_load_15 | 29 | 0.00079111 | 0.00019827 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1140-15_0_3_load_42 | 32 | 0.0028458 | 0.00071322 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1140-15_0_3_load_40 | 33 | 0.0042154 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1140-15_0_3_load_18 | 34 | 0.00042866 | 0.00010743 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1140-15_0_3_load_19 | 35 | 0.00058997 | 0.00014786 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1140-15_0_3_load_20 | 36 | 0.001315 | 0.00032956 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1140-15_0_3_load_21 | 37 | 0.00059231 | 0.00014845 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1140-15_0_3_load_24 | 38 | 0.00078696 | 0.00019723 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1140-15_0_3_load_25 | 39 | 0.00077334 | 0.00019382 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1140-15_0_3_load_27 | 40 | 0.0027087 | 0.00067888 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1140-15_0_3_load_29 | 41 | 0.0023098 | 0.00057889 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1140-15_0_3_load_32 | 43 | 0.0026271 | 0.0006584 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1140-15_0_3_load_33 | 44 | 0.0081646 | 0.0020462 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1140-15_0_3_load_34 | 45 | 0.0060479 | 0.0015157 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1140-15_0_3_load_35 | 46 | 0.0051934 | 0.0013016 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1140-15_0_3_load_36 | 47 | 0.0062543 | 0.0015675 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1140-15_0_3_load_37 | 48 | 0.002315 | 0.0005802 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1140-15_0_3_load_48 | 49 | 0.001346 | 0.00033734 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1140-15_0_3_load_54 | 50 | 0.010018 | 0.0025107 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1140-15_0_3_load_41 | 51 | 0.0020817 | 0.00052172 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1140-15_0_3_load_38 | 52 | 0.0027616 | 0.00069211 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1140-15_0_3_load_39 | 53 | 0.0046575 | 0.0011673 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1140-15_0_3_load_43 | 54 | 0.0043903 | 0.0011003 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1140-15_0_3_load_44 | 55 | 0.0039827 | 0.00099816 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1140-15_0_3_load_46 | 56 | 0.0041637 | 0.0010435 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1140-15_0_3_load_53 | 58 | 0.01035 | 0.002594 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1140-15_0_3_load_50 | 59 | 0.0034307 | 0.00085981 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1140-15_0_3_load_49 | 60 | 0.0023525 | 0.00058959 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1140-15_0_3_load_51 | 61 | 0.010348 | 0.0025934 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1140-15_0_3_load_58 | 62 | 0.0019792 | 0.00049602 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1140-15_0_3_load_63 | 63 | 0.0012001 | 0.00030078 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1140-15_0_3_load_59 | 64 | 0.00098145 | 0.00024597 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1140-15_0_3_load_60 | 65 | 0.001901 | 0.00047643 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1140-15_0_3_load_61 | 66 | 0.008327 | 0.0020869 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1140-15_0_3_load_68 | 67 | 0.0083269 | 0.0020869 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1140-15_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1140-15_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.026885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1140-15_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1140-15_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.003586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1140-15_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.040812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1140-15_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.014231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1140-15_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.027628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1140-15_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.023676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1140-15_0_3_line_8 | NAYY 4x150 SE | 5 | 11 | 0.042447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1140-15_0_3_line_9 | NAYY 4x150 SE | 5 | 12 | 0.031346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1140-15_0_3_line_10 | NAYY 4x150 SE | 6 | 13 | 0.012542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1140-15_0_3_line_11 | NAYY 4x150 SE | 7 | 9 | 0.040189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1140-15_0_3_line_12 | NAYY 4x150 SE | 7 | 10 | 0.019642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1140-15_0_3_line_13 | NAYY 4x150 SE | 8 | 14 | 0.019721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1140-15_0_3_line_14 | NAYY 4x150 SE | 9 | 16 | 0.022064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1140-15_0_3_line_15 | NAYY 4x150 SE | 10 | 17 | 0.012068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1140-15_0_3_line_16 | NAYY 4x150 SE | 12 | 15 | 0.025674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1140-15_0_3_line_17 | NAYY 4x150 SE | 13 | 66 | 0.014788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1140-15_0_3_line_18 | NAYY 4x150 SE | 14 | 62 | 0.018804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1140-15_0_3_line_19 | NAYY 4x150 SE | 15 | 21 | 0.02676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1140-15_0_3_line_20 | NAYY 4x150 SE | 15 | 19 | 0.025809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1140-15_0_3_line_21 | NAYY 4x150 SE | 16 | 36 | 0.00061882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1140-15_0_3_line_22 | NAYY 4x150 SE | 17 | 40 | 0.00097816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1140-15_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.015686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1140-15_0_3_line_24 | NAYY 4x150 SE | 19 | 20 | 0.016879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1140-15_0_3_line_25 | NAYY 4x150 SE | 20 | 22 | 0.016881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1140-15_0_3_line_26 | NAYY 4x150 SE | 21 | 25 | 0.01068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1140-15_0_3_line_27 | NAYY 4x150 SE | 22 | 26 | 0.009641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1140-15_0_3_line_28 | NAYY 4x150 SE | 22 | 27 | 0.027262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1140-15_0_3_line_29 | NAYY 4x150 SE | 23 | 24 | 4.1887e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1140-15_0_3_line_30 | NAYY 4x150 SE | 24 | 28 | 0.019934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1140-15_0_3_line_31 | NAYY 4x150 SE | 24 | 31 | 0.095879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1140-15_0_3_line_32 | NAYY 4x150 SE | 25 | 54 | 0.046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1140-15_0_3_line_33 | NAYY 4x150 SE | 26 | 28 | 0.046107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1140-15_0_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.097082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1140-15_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.10228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1140-15_0_3_line_36 | NAYY 4x150 SE | 31 | 32 | 0.077842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1140-15_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.0023095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1140-15_0_3_line_38 | NAYY 4x150 SE | 33 | 52 | 0.0049961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1140-15_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.00016062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1140-15_0_3_line_40 | NAYY 4x150 SE | 34 | 36 | 0.019009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1140-15_0_3_line_41 | NAYY 4x150 SE | 35 | 37 | 0.00018925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1140-15_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.0099506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1140-15_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.0076391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1140-15_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.010175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1140-15_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.06534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1140-15_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.027531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1140-15_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.017266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1140-15_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.023456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1140-15_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0059178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1140-15_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0085493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1140-15_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.011426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1140-15_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0054438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1140-15_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.0077498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1140-15_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0011535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1140-15_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0033298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1140-15_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.024906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1140-15_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.016458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1140-15_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.023247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1140-15_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.010529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1140-15_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.01278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1140-15_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.021512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1140-15_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.007102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1140-15_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.00040744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1140-15_0_3_line_64 | NAYY 4x150 SE | 64 | 65 | 0.020178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1140-15_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.0052738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1140-15_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.038749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1140-15_0_3_trafo_9 | 0.25 MVA 20/0.4 kV | 68 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2640105.6744 | 1232404.5192 | 2640110.561 | 1232391.6846
1 | 2640120.1272 | 1232366.5596 | 2640110.561 | 1232391.6846
2 | 2640105.6744 | 1232404.5192 | 2640088.4255 | 1232401.0447
3 | 2640121.0592 | 1232363.0971 | 2640120.1272 | 1232366.5596
4 | 2640156.3697 | 1232384.9489 | 2640135.6704 | 1232372.3903 | 2640127.7326 | 1232369.4127 | 2640120.1272 | 1232366.5596
5 | 2640088.4255 | 1232401.0447 | 2640074.4746 | 1232398.2345
6 | 2640128.6965 | 1232336.5432 | 2640121.0592 | 1232363.0971
7 | 2640121.0592 | 1232363.0971 | 2640098.9297 | 1232354.6803
8 | 2640156.3697 | 1232384.9489 | 2640153.5034 | 1232392.3008 | 2640147.705 | 1232407.7935 | 2640144.1595 | 1232417.0532 | 2640141.4935 | 1232423.9061 | 2640141.2087 | 1232424.6046
9 | 2640156.3697 | 1232384.9489 | 2640158.8054 | 1232386.4329 | 2640159.4312 | 1232386.8152 | 2640170.9208 | 1232412.0862
10 | 2640062.1793 | 1232395.7578 | 2640074.4746 | 1232398.2345
11 | 2640128.6965 | 1232336.5432 | 2640098.4452 | 1232310.0852
12 | 2640128.6965 | 1232336.5432 | 2640134.4177 | 1232317.7534
13 | 2640098.9297 | 1232354.6803 | 2640080.4968 | 1232347.6694
14 | 2640098.4452 | 1232310.0852 | 2640081.8374 | 1232295.5598
15 | 2640137.9331 | 1232306.2083 | 2640134.4177 | 1232317.7534
16 | 2640185.4255 | 1232428.1497 | 2640177.1464 | 1232410.7163 | 2640170.9208 | 1232412.0862
17 | 2640062.1793 | 1232395.7578 | 2640047.6826 | 1232392.8376
18 | 2640080.4968 | 1232347.6694 | 2640062.9216 | 1232340.9847
19 | 2640185.4255 | 1232428.1497 | 2640198.5063 | 1232424.0911 | 2640209.9723 | 1232417.8293
20 | 2640185.4255 | 1232428.1497 | 2640167.6269 | 1232446.8857
21 | 2640081.8374 | 1232295.5598 | 2640081.3716 | 1232295.1524
22 | 2640137.9331 | 1232306.2083 | 2640138.218 | 1232305.2725
23 | 2640167.6269 | 1232446.8857 | 2640157.6688 | 1232434.7665
24 | 2640167.6269 | 1232446.8857 | 2640166.4983 | 1232448.0677 | 2640162.4393 | 1232462.7621
25 | 2640159.8207 | 1232479.3754 | 2640160.7937 | 1232468.7198 | 2640162.4393 | 1232462.7621
26 | 2640219.3456 | 1232412.7104 | 2640209.9723 | 1232417.8293
27 | 2640158.9458 | 1232488.9755 | 2640159.8207 | 1232479.3754
28 | 2640159.8207 | 1232479.3754 | 2640134.4531 | 1232469.3891
29 | 2640218.8461 | 1232480.8176 | 2640218.8686 | 1232480.853
30 | 2640218.8686 | 1232480.853 | 2640202.0365 | 1232491.5319
31 | 2640293.833 | 1232531.3027 | 2640280.4176 | 1232531.1228 | 2640268.4811 | 1232529.4632 | 2640254.4281 | 1232522.8196 | 2640220.7565 | 1232483.8231 | 2640218.8686 | 1232480.853
32 | 2640226.9982 | 1232370.2308 | 2640225.2115 | 1232409.5069 | 2640219.3456 | 1232412.7104
33 | 2640158.9458 | 1232488.9755 | 2640182.5084 | 1232490.0797 | 2640194.3681 | 1232496.3971 | 2640202.0365 | 1232491.5319
34 | 2640394.2506 | 1232517.1969 | 2640402.9296 | 1232442.2314 | 2640405.958 | 1232420.8284
35 | 2640394.2506 | 1232517.1969 | 2640343.3512 | 1232516.6624 | 2640321.6085 | 1232522.9856 | 2640306.3013 | 1232528.2408 | 2640293.833 | 1232531.3027
36 | 2640293.833 | 1232531.3027 | 2640281.2886 | 1232496.4404 | 2640274.4161 | 1232456.2323
37 | 2640274.2601 | 1232453.9405 | 2640274.2169 | 1232455.0668 | 2640274.4161 | 1232456.2323
38 | 2640274.452 | 1232448.9481 | 2640274.2601 | 1232453.9405
39 | 2640067.0635 | 1232282.6384 | 2640066.9426 | 1232282.5326
40 | 2640081.3716 | 1232295.1524 | 2640067.0635 | 1232282.6384
41 | 2640066.9426 | 1232282.5326 | 2640066.8001 | 1232282.408
42 | 2640059.3101 | 1232275.8572 | 2640066.8001 | 1232282.408
43 | 2640059.3101 | 1232275.8572 | 2640053.5599 | 1232270.8281
44 | 2640138.218 | 1232305.2725 | 2640141.1817 | 1232295.539
45 | 2640157.5595 | 1232232.2952 | 2640144.0748 | 1232286.0377 | 2640141.1817 | 1232295.539
46 | 2640157.5595 | 1232232.2952 | 2640166.6182 | 1232235.2582 | 2640183.7282 | 1232240.8478
47 | 2640276.2505 | 1232402.1395 | 2640275.5876 | 1232419.3928
48 | 2640276.2505 | 1232402.1395 | 2640277.1511 | 1232378.7005
49 | 2640275.5876 | 1232419.3928 | 2640275.3603 | 1232425.3063
50 | 2640277.4793 | 1232370.1575 | 2640277.1511 | 1232378.7005
51 | 2640274.9216 | 1232436.7239 | 2640275.3603 | 1232425.3063
52 | 2640277.6883 | 1232364.7178 | 2640277.4793 | 1232370.1575
53 | 2640274.9216 | 1232436.7239 | 2640274.6241 | 1232444.4681
54 | 2640274.5798 | 1232445.6207 | 2640274.6241 | 1232444.4681
55 | 2640274.452 | 1232448.9481 | 2640274.5798 | 1232445.6207
56 | 2640226.9982 | 1232370.2308 | 2640228.13 | 1232345.35
57 | 2640228.13 | 1232345.35 | 2640228.878 | 1232328.9087
58 | 2640229.9344 | 1232305.6853 | 2640228.878 | 1232328.9087
59 | 2640229.9344 | 1232305.6853 | 2640219.4186 | 1232305.1668
60 | 2640229.9344 | 1232305.6853 | 2640242.6871 | 1232306.5165
61 | 2640243.345 | 1232285.0144 | 2640242.6871 | 1232306.5165 | 2640242.6871 | 1232306.5165
62 | 2640243.5622 | 1232277.9157 | 2640243.345 | 1232285.0144
63 | 2640062.5408 | 1232340.8399 | 2640062.9216 | 1232340.9847
64 | 2640042.5127 | 1232391.7962 | 2640022.7321 | 1232387.8117
65 | 2640042.5127 | 1232391.7962 | 2640047.6826 | 1232392.8376
66 | 2640047.6826 | 1232392.8376 | 2640037.6518 | 1232430.266

## bus_geodata
| x | y | coords
0 | 2640110.561 | 1232391.6846
1 | 2640105.6744 | 1232404.5192
2 | 2640120.1272 | 1232366.5596
3 | 2640088.4255 | 1232401.0447
4 | 2640121.0592 | 1232363.0971
5 | 2640156.3697 | 1232384.9489
6 | 2640074.4746 | 1232398.2345
7 | 2640128.6965 | 1232336.5432
8 | 2640098.9297 | 1232354.6803
9 | 2640098.4452 | 1232310.0852
10 | 2640134.4177 | 1232317.7534
11 | 2640141.2087 | 1232424.6046
12 | 2640170.9208 | 1232412.0862
13 | 2640062.1793 | 1232395.7578
14 | 2640080.4968 | 1232347.6694
15 | 2640185.4255 | 1232428.1497
16 | 2640081.8374 | 1232295.5598
17 | 2640137.9331 | 1232306.2083
18 | 2640157.6688 | 1232434.7665
19 | 2640167.6269 | 1232446.8857
20 | 2640162.4393 | 1232462.7621
21 | 2640209.9723 | 1232417.8293
22 | 2640159.8207 | 1232479.3754
23 | 2640218.8461 | 1232480.8176
24 | 2640218.8686 | 1232480.853
25 | 2640219.3456 | 1232412.7104
26 | 2640158.9458 | 1232488.9755
27 | 2640134.4531 | 1232469.3891
28 | 2640202.0365 | 1232491.5319
29 | 2640405.958 | 1232420.8284
30 | 2640394.2506 | 1232517.1969
31 | 2640293.833 | 1232531.3027
32 | 2640274.4161 | 1232456.2323
33 | 2640274.2601 | 1232453.9405
34 | 2640067.0635 | 1232282.6384
35 | 2640066.9426 | 1232282.5326
36 | 2640081.3716 | 1232295.1524
37 | 2640066.8001 | 1232282.408
38 | 2640059.3101 | 1232275.8572
39 | 2640053.5599 | 1232270.8281
40 | 2640138.218 | 1232305.2725
41 | 2640141.1817 | 1232295.539
42 | 2640157.5595 | 1232232.2952
43 | 2640183.7282 | 1232240.8478
44 | 2640276.2505 | 1232402.1395
45 | 2640275.5876 | 1232419.3928
46 | 2640277.1511 | 1232378.7005
47 | 2640275.3603 | 1232425.3063
48 | 2640277.4793 | 1232370.1575
49 | 2640274.9216 | 1232436.7239
50 | 2640277.6883 | 1232364.7178
51 | 2640274.6241 | 1232444.4681
52 | 2640274.452 | 1232448.9481
53 | 2640274.5798 | 1232445.6207
54 | 2640226.9982 | 1232370.2308
55 | 2640228.13 | 1232345.35
56 | 2640228.878 | 1232328.9087
57 | 2640229.9344 | 1232305.6853
58 | 2640219.4186 | 1232305.1668
59 | 2640242.6871 | 1232306.5165
60 | 2640243.345 | 1232285.0144
61 | 2640243.5622 | 1232277.9157
62 | 2640062.9216 | 1232340.9847
63 | 2640062.5408 | 1232340.8399
64 | 2640042.5127 | 1232391.7962
65 | 2640022.7321 | 1232387.8117
66 | 2640047.6826 | 1232392.8376
67 | 2640037.6518 | 1232430.266
68 | 2640177.1464 | 1232410.7163

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99211 | -0.055229 | 0.0020909 | 0.00052402
1 | 0.99134 | -0.060604 | 0 | 0
2 | 0.99368 | -0.044162 | 0 | 0
3 | 0.99037 | -0.067502 | 0.016242 | 0.0040706
4 | 0.99358 | -0.04487 | 0 | 0
5 | 0.99721 | -0.019419 | 0 | 0
6 | 0.98991 | -0.070736 | 0.0019827 | 0.0004969
7 | 0.993 | -0.048948 | 0 | 0
8 | 0.99341 | -0.046051 | 0.00099227 | 0.00024869
9 | 0.99268 | -0.051228 | 0.00024018 | 6.0194e-05
10 | 0.99275 | -0.050735 | 0.00058973 | 0.0001478
11 | 0.99711 | -0.020145 | 0.0017006 | 0.00042621
12 | 1 | 0 | -0.23419 | -0.058894
13 | 0.98954 | -0.073335 | 0.00079518 | 0.00019929
14 | 0.9933 | -0.046836 | 0.00075655 | 0.00018961
15 | 0.99687 | -0.021657 | 0 | 0
16 | 0.99251 | -0.052426 | 0.00086935 | 0.00021788
17 | 0.9926 | -0.05176 | 0.00073717 | 0.00018475
18 | 0.99505 | -0.034252 | 0.0036885 | 0.00092443
19 | 0.99513 | -0.033669 | 0 | 0
20 | 0.99404 | -0.041233 | 0.011037 | 0.002766
21 | 0.99394 | -0.042135 | 0.012095 | 0.0030314
22 | 0.99308 | -0.047872 | 0 | 0
23 | 0.98829 | -0.08126 | 0.009021 | 0.0022609
24 | 0.98829 | -0.081257 | 0 | 0
25 | 0.99296 | -0.049033 | 0.024842 | 0.0062259
26 | 0.99259 | -0.051325 | 0 | 0
27 | 0.99281 | -0.049812 | 0.00703 | 0.0017619
28 | 0.9902 | -0.067888 | 0.0049909 | 0.0012508
29 | 0.98008 | -0.13895 | 0.00079111 | 0.00019827
30 | 0.9802 | -0.13814 | 0 | 0
31 | 0.98031 | -0.13729 | 0 | 0
32 | 0.97393 | -0.18279 | 0.0028458 | 0.00071322
33 | 0.97375 | -0.18408 | 0.0042154 | 0.0010565
34 | 0.99242 | -0.053065 | 0.00042866 | 0.00010743
35 | 0.99242 | -0.05307 | 0.00058997 | 0.00014786
36 | 0.9925 | -0.052454 | 0.001315 | 0.00032956
37 | 0.99242 | -0.053074 | 0.00059231 | 0.00014845
38 | 0.99239 | -0.053231 | 0.00078696 | 0.00019723
39 | 0.99239 | -0.053291 | 0.00077334 | 0.00019382
40 | 0.99259 | -0.051836 | 0.0027087 | 0.00067888
41 | 0.99252 | -0.052346 | 0.0023098 | 0.00057889
42 | 0.99227 | -0.054089 | 0 | 0
43 | 0.99217 | -0.054823 | 0.0026271 | 0.0006584
44 | 0.97109 | -0.20324 | 0.0081646 | 0.0020462
45 | 0.97174 | -0.19855 | 0.0060479 | 0.0015157
46 | 0.97048 | -0.2076 | 0.0051934 | 0.0013016
47 | 0.97201 | -0.19656 | 0.0062543 | 0.0015675
48 | 0.97033 | -0.20871 | 0.002315 | 0.0005802
49 | 0.97265 | -0.19198 | 0.001346 | 0.00033734
50 | 0.97025 | -0.20929 | 0.010018 | 0.0025107
51 | 0.9731 | -0.18877 | 0.0020817 | 0.00052172
52 | 0.97339 | -0.18664 | 0.0027616 | 0.00069211
53 | 0.97317 | -0.18826 | 0.0046575 | 0.0011673
54 | 0.99037 | -0.067255 | 0.0043903 | 0.0011003
55 | 0.98913 | -0.076045 | 0.0039827 | 0.00099816
56 | 0.9884 | -0.081195 | 0.0041637 | 0.0010435
57 | 0.98751 | -0.087491 | 0 | 0
58 | 0.98735 | -0.088607 | 0.01035 | 0.002594
59 | 0.98721 | -0.089602 | 0.0034307 | 0.00085981
60 | 0.98682 | -0.092401 | 0.0023525 | 0.00058959
61 | 0.98671 | -0.093155 | 0.010348 | 0.0025934
62 | 0.99321 | -0.047441 | 0.0019792 | 0.00049602
63 | 0.99321 | -0.047446 | 0.0012001 | 0.00030078
64 | 0.9891 | -0.076437 | 0.00098145 | 0.00024597
65 | 0.98905 | -0.076829 | 0.001901 | 0.00047643
66 | 0.98912 | -0.076282 | 0.008327 | 0.0020869
67 | 0.98866 | -0.079576 | 0.0083269 | 0.0020869
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.038651 | 0.0096978 | -0.038622 | -0.0096869 | 2.8803e-05 | 1.0901e-05 | 0.057975 | 0.057975 | 0.057975 | 0.99211 | -0.055229 | 0.99134 | -0.060604 | 21.4722
1 | -0.040742 | -0.010222 | 0.040805 | 0.010246 | 6.2651e-05 | 2.3749e-05 | 0.061111 | 0.061111 | 0.061111 | 0.99211 | -0.055229 | 0.99368 | -0.044162 | 22.6337
2 | 0.038622 | 0.0096869 | -0.038585 | -0.009673 | 3.6903e-05 | 1.3967e-05 | 0.057975 | 0.057975 | 0.057975 | 0.99134 | -0.060604 | 0.99037 | -0.067502 | 21.4723
3 | 0.019516 | 0.0048894 | -0.019514 | -0.0048887 | 1.911e-06 | 6.8857e-07 | 0.029224 | 0.029224 | 0.029224 | 0.99368 | -0.044162 | 0.99358 | -0.04487 | 10.8236
4 | -0.06032 | -0.015135 | 0.060528 | 0.015214 | 0.00020782 | 7.9399e-05 | 0.090335 | 0.090334 | 0.090335 | 0.99368 | -0.044162 | 0.99721 | -0.019419 | 33.4573
5 | 0.022343 | 0.0056024 | -0.022333 | -0.0055987 | 1.0009e-05 | 3.6664e-06 | 0.033572 | 0.033572 | 0.033572 | 0.99037 | -0.067502 | 0.98991 | -0.070736 | 12.434
6 | 0.014584 | 0.0036539 | -0.014576 | -0.0036511 | 8.2242e-06 | 2.8055e-06 | 0.021841 | 0.021841 | 0.021841 | 0.99358 | -0.04487 | 0.993 | -0.048948 | 8.0894
7 | 0.0049296 | 0.0012349 | -0.0049288 | -0.0012349 | 8.0522e-07 | 3.1135e-09 | 0.0073825 | 0.0073827 | 0.0073827 | 0.99358 | -0.04487 | 0.99341 | -0.046051 | 2.7343
8 | 0.0017007 | 0.00042572 | -0.0017006 | -0.00042621 | 1.7058e-07 | -4.8811e-07 | 0.0025376 | 0.0025378 | 0.0025378 | 0.99721 | -0.019419 | 0.99711 | -0.020145 | 0.93994
9 | -0.062229 | -0.01564 | 0.062398 | 0.015705 | 0.00016871 | 6.4477e-05 | 0.092872 | 0.092872 | 0.092872 | 0.99721 | -0.019419 | 1 | 0 | 34.3971
10 | 0.020351 | 0.0051018 | -0.020343 | -0.0050991 | 7.3242e-06 | 2.6558e-06 | 0.030591 | 0.030592 | 0.030592 | 0.98991 | -0.070736 | 0.98954 | -0.073335 | 11.3302
11 | 0.0055987 | 0.0014023 | -0.0055969 | -0.0014021 | 1.7651e-06 | 1.5914e-07 | 0.0083894 | 0.0083896 | 0.0083896 | 0.993 | -0.048948 | 0.99268 | -0.051228 | 3.1072
12 | 0.0089772 | 0.0022488 | -0.008975 | -0.0022482 | 2.2179e-06 | 5.9901e-07 | 0.013452 | 0.013452 | 0.013452 | 0.993 | -0.048948 | 0.99275 | -0.050735 | 4.9823
13 | 0.0039366 | 0.00098618 | -0.0039361 | -0.00098627 | 4.2785e-07 | -9.0744e-08 | 0.0058964 | 0.0058964 | 0.0058964 | 0.99341 | -0.046051 | 0.9933 | -0.046836 | 2.1839
14 | 0.0053568 | 0.0013419 | -0.0053559 | -0.0013419 | 8.8766e-07 | 5.6221e-08 | 0.0080295 | 0.0080296 | 0.0080296 | 0.99268 | -0.051228 | 0.99251 | -0.052426 | 2.9739
15 | 0.0083853 | 0.0021004 | -0.0083841 | -0.0021001 | 1.1895e-06 | 3.015e-07 | 0.012568 | 0.012568 | 0.012568 | 0.99275 | -0.050735 | 0.9926 | -0.05176 | 4.6549
16 | 0.171 | 0.043189 | -0.17048 | -0.04299 | 0.00051909 | 0.00019898 | 0.25456 | 0.25456 | 0.25456 | 1 | 0 | 0.99687 | -0.021657 | 47.1415
17 | 0.019548 | 0.0048998 | -0.01954 | -0.004897 | 7.9737e-06 | 2.8769e-06 | 0.029396 | 0.029396 | 0.029396 | 0.98954 | -0.073335 | 0.98912 | -0.076282 | 10.8874
18 | 0.0031796 | 0.00079666 | -0.0031793 | -0.0007968 | 2.662e-07 | -1.4099e-07 | 0.0047631 | 0.0047632 | 0.0047632 | 0.9933 | -0.046836 | 0.99321 | -0.047441 | 1.7641
19 | 0.076433 | 0.019217 | -0.076216 | -0.019134 | 0.00021744 | 8.3284e-05 | 0.11411 | 0.11411 | 0.11411 | 0.99687 | -0.021657 | 0.99394 | -0.042135 | 42.2639
20 | 0.094045 | 0.023773 | -0.093886 | -0.023712 | 0.00015885 | 6.0424e-05 | 0.14045 | 0.14045 | 0.14045 | 0.99687 | -0.021657 | 0.99513 | -0.033669 | 26.0096
21 | 0.0044865 | 0.001124 | -0.0044865 | -0.001124 | 1.747e-08 | -1.278e-09 | 0.0067263 | 0.0067263 | 0.0067263 | 0.99251 | -0.052426 | 0.9925 | -0.052454 | 2.4912
22 | 0.0076469 | 0.0019153 | -0.0076468 | -0.0019153 | 8.0205e-08 | 1.8205e-08 | 0.011463 | 0.011463 | 0.011463 | 0.9926 | -0.05176 | 0.99259 | -0.051836 | 4.2456
23 | -0.0036885 | -0.00092443 | 0.0036888 | 0.00092434 | 2.9779e-07 | -8.9235e-08 | 0.0055159 | 0.0055158 | 0.0055159 | 0.99505 | -0.034252 | 0.99513 | -0.033669 | 2.0429
24 | 0.090197 | 0.022788 | -0.090102 | -0.022752 | 9.5887e-05 | 3.6441e-05 | 0.13494 | 0.13494 | 0.13494 | 0.99513 | -0.033669 | 0.99404 | -0.041233 | 24.9882
25 | 0.079065 | 0.019986 | -0.078991 | -0.019958 | 7.3852e-05 | 2.7967e-05 | 0.11842 | 0.11842 | 0.11842 | 0.99404 | -0.041233 | 0.99308 | -0.047872 | 21.9288
26 | 0.06412 | 0.016103 | -0.064059 | -0.016079 | 6.1424e-05 | 2.3486e-05 | 0.096005 | 0.096005 | 0.096005 | 0.99394 | -0.042135 | 0.99296 | -0.049033 | 35.5573
27 | 0.071959 | 0.018195 | -0.071924 | -0.018182 | 3.5007e-05 | 1.3215e-05 | 0.10788 | 0.10788 | 0.10788 | 0.99308 | -0.047872 | 0.99259 | -0.051325 | 19.9776
28 | 0.0070319 | 0.0017623 | -0.00703 | -0.0017619 | 1.8886e-06 | 3.7374e-07 | 0.010536 | 0.010537 | 0.010537 | 0.99308 | -0.047872 | 0.99281 | -0.049812 | 3.9024
29 | -0.009021 | -0.0022609 | 0.009021 | 0.0022609 | 4.8211e-09 | 1.318e-09 | 0.013582 | 0.013582 | 0.013582 | 0.98829 | -0.08126 | 0.98829 | -0.081257 | 5.0306
30 | -0.06664 | -0.01682 | 0.066766 | 0.016868 | 0.00012533 | 4.7949e-05 | 0.10038 | 0.10038 | 0.10038 | 0.98829 | -0.081257 | 0.9902 | -0.067888 | 37.1776
31 | 0.057619 | 0.014559 | -0.057169 | -0.014387 | 0.00045073 | 0.00017214 | 0.086797 | 0.086798 | 0.086798 | 0.98829 | -0.081257 | 0.98031 | -0.13729 | 32.1472
32 | 0.039217 | 0.0098533 | -0.039118 | -0.0098157 | 9.9169e-05 | 3.7548e-05 | 0.058778 | 0.058778 | 0.058778 | 0.99296 | -0.049033 | 0.99037 | -0.067255 | 21.7697
33 | 0.071924 | 0.018182 | -0.071757 | -0.018119 | 0.00016742 | 6.3202e-05 | 0.10788 | 0.10788 | 0.10788 | 0.99259 | -0.051325 | 0.9902 | -0.067888 | 19.9777
34 | -0.00079111 | -0.00019827 | 0.00079119 | 0.00019708 | 8.7362e-08 | -1.19e-06 | 0.0012011 | 0.0012007 | 0.0012011 | 0.98008 | -0.13895 | 0.9802 | -0.13814 | 0.44485
35 | -0.00079119 | -0.00019708 | 0.00079128 | 0.00019583 | 9.1971e-08 | -1.254e-06 | 0.0012007 | 0.0012002 | 0.0012007 | 0.9802 | -0.13814 | 0.98031 | -0.13729 | 0.44469
36 | 0.056377 | 0.014191 | -0.056022 | -0.014055 | 0.00035589 | 0.00013591 | 0.085597 | 0.085598 | 0.085598 | 0.98031 | -0.13729 | 0.97393 | -0.18279 | 31.7029
37 | 0.053176 | 0.013342 | -0.053166 | -0.013339 | 9.5136e-06 | 3.6304e-06 | 0.08125 | 0.08125 | 0.08125 | 0.97393 | -0.18279 | 0.97375 | -0.18408 | 30.0925
38 | 0.048951 | 0.012282 | -0.048933 | -0.012275 | 1.7447e-05 | 6.6481e-06 | 0.074808 | 0.074808 | 0.074808 | 0.97375 | -0.18408 | 0.97339 | -0.18664 | 27.7067
39 | 0.0027426 | 0.00068714 | -0.0027426 | -0.00068714 | 1.6947e-09 | -1.4237e-09 | 0.0041122 | 0.0041122 | 0.0041122 | 0.99242 | -0.053065 | 0.99242 | -0.05307 | 1.523
40 | -0.0031713 | -0.00079457 | 0.0031716 | 0.00079443 | 2.6817e-07 | -1.4249e-07 | 0.0047549 | 0.0047548 | 0.0047549 | 0.99242 | -0.053065 | 0.9925 | -0.052454 | 1.7611
41 | 0.0021527 | 0.00053928 | -0.0021527 | -0.00053928 | 1.2306e-09 | -1.9722e-09 | 0.0032276 | 0.0032276 | 0.0032276 | 0.99242 | -0.05307 | 0.99242 | -0.053074 | 1.1954
42 | 0.0015603 | 0.00039084 | -0.0015603 | -0.00039095 | 3.3984e-08 | -1.155e-07 | 0.0023395 | 0.0023395 | 0.0023395 | 0.99242 | -0.053074 | 0.99239 | -0.053231 | 0.86649
43 | 0.00077335 | 0.00019372 | -0.00077334 | -0.00019382 | 6.4093e-09 | -9.6235e-08 | 0.0011595 | 0.0011596 | 0.0011596 | 0.99239 | -0.053231 | 0.99239 | -0.053291 | 0.42947
44 | 0.0049381 | 0.0012364 | -0.0049377 | -0.0012364 | 3.479e-07 | 2.302e-09 | 0.0074024 | 0.0074024 | 0.0074024 | 0.99259 | -0.051836 | 0.99252 | -0.052346 | 2.7416
45 | 0.002628 | 0.00065755 | -0.0026273 | -0.00065815 | 6.3283e-07 | -6.0084e-07 | 0.0039395 | 0.0039398 | 0.0039398 | 0.99252 | -0.052346 | 0.99227 | -0.054089 | 1.4592
46 | 0.0026273 | 0.00065815 | -0.0026271 | -0.0006584 | 2.6667e-07 | -2.5302e-07 | 0.0039398 | 0.00394 | 0.00394 | 0.99227 | -0.054089 | 0.99217 | -0.054823 | 1.4592
47 | -0.025704 | -0.0064434 | 0.025721 | 0.0064496 | 1.6714e-05 | 6.2149e-06 | 0.039387 | 0.039387 | 0.039387 | 0.97109 | -0.20324 | 0.97174 | -0.19855 | 14.5879
48 | 0.017539 | 0.0043971 | -0.017529 | -0.0043933 | 1.0573e-05 | 3.7764e-06 | 0.026876 | 0.026877 | 0.026877 | 0.97109 | -0.20324 | 0.97048 | -0.2076 | 9.9543
49 | -0.031769 | -0.0079653 | 0.031777 | 0.0079686 | 8.7394e-06 | 3.288e-06 | 0.048648 | 0.048648 | 0.048648 | 0.97174 | -0.19855 | 0.97201 | -0.19656 | 18.0179
50 | 0.012335 | 0.0030918 | -0.012334 | -0.0030911 | 1.9084e-06 | 6.2838e-07 | 0.018914 | 0.018914 | 0.018914 | 0.97048 | -0.2076 | 0.97033 | -0.20871 | 7.0051
51 | -0.038032 | -0.0095361 | 0.038056 | 0.0095452 | 2.4169e-05 | 9.1542e-06 | 0.058223 | 0.058223 | 0.058223 | 0.97201 | -0.19656 | 0.97265 | -0.19198 | 21.564
52 | 0.010019 | 0.0025109 | -0.010018 | -0.0025107 | 8.0182e-07 | 2.4115e-07 | 0.015364 | 0.015364 | 0.015364 | 0.97033 | -0.20871 | 0.97025 | -0.20929 | 5.6903
53 | -0.039402 | -0.0098826 | 0.039419 | 0.0098892 | 1.7573e-05 | 6.6627e-06 | 0.060282 | 0.060282 | 0.060282 | 0.97265 | -0.19198 | 0.9731 | -0.18877 | 22.3266
54 | -0.041501 | -0.010411 | 0.041504 | 0.010412 | 2.8992e-06 | 1.1007e-06 | 0.063465 | 0.063465 | 0.063465 | 0.9731 | -0.18877 | 0.97317 | -0.18826 | 23.5056
55 | 0.046172 | 0.011583 | -0.046161 | -0.011579 | 1.0353e-05 | 3.9404e-06 | 0.070587 | 0.070587 | 0.070587 | 0.97339 | -0.18664 | 0.97317 | -0.18826 | 26.1432
56 | 0.034728 | 0.0087154 | -0.034685 | -0.0086995 | 4.2319e-05 | 1.5956e-05 | 0.052182 | 0.052182 | 0.052182 | 0.99037 | -0.067255 | 0.98913 | -0.076045 | 19.3266
57 | 0.030703 | 0.0077013 | -0.030681 | -0.0076931 | 2.1912e-05 | 8.2164e-06 | 0.04619 | 0.04619 | 0.04619 | 0.98913 | -0.076045 | 0.9884 | -0.081195 | 17.1076
58 | 0.026517 | 0.0066496 | -0.026494 | -0.006641 | 2.312e-05 | 8.5946e-06 | 0.039922 | 0.039922 | 0.039922 | 0.9884 | -0.081195 | 0.98751 | -0.087491 | 14.786
59 | 0.010352 | 0.0025945 | -0.01035 | -0.002594 | 1.5986e-06 | 4.8016e-07 | 0.015599 | 0.015599 | 0.015599 | 0.98751 | -0.087491 | 0.98735 | -0.088607 | 5.7773
60 | 0.016142 | 0.0040464 | -0.016137 | -0.0040448 | 4.718e-06 | 1.6512e-06 | 0.024323 | 0.024324 | 0.024324 | 0.98751 | -0.087491 | 0.98721 | -0.089602 | 9.0087
61 | 0.012706 | 0.003185 | -0.012702 | -0.0031834 | 4.924e-06 | 1.6189e-06 | 0.019152 | 0.019153 | 0.019153 | 0.98721 | -0.089602 | 0.98682 | -0.092401 | 7.0935
62 | 0.010349 | 0.0025938 | -0.010348 | -0.0025934 | 1.0792e-06 | 3.2436e-07 | 0.015605 | 0.015605 | 0.015605 | 0.98682 | -0.092401 | 0.98671 | -0.093155 | 5.7797
63 | 0.0012001 | 0.00030078 | -0.0012001 | -0.00030078 | 8.2186e-10 | -4.9569e-09 | 0.001798 | 0.001798 | 0.001798 | 0.99321 | -0.047441 | 0.99321 | -0.047446 | 0.66594
64 | 0.0019011 | 0.00047621 | -0.001901 | -0.00047643 | 1.0299e-07 | -2.1936e-07 | 0.0028599 | 0.00286 | 0.00286 | 0.9891 | -0.076437 | 0.98905 | -0.076829 | 1.0593
65 | -0.0028825 | -0.00072218 | 0.0028826 | 0.00072214 | 6.1882e-08 | -4.3889e-08 | 0.0043364 | 0.0043364 | 0.0043364 | 0.9891 | -0.076437 | 0.98912 | -0.076282 | 1.6061
66 | 0.0083307 | 0.0020879 | -0.0083269 | -0.0020869 | 3.7978e-06 | 9.6357e-07 | 0.012533 | 0.012533 | 0.012533 | 0.98912 | -0.076282 | 0.98866 | -0.079576 | 4.6418

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23419 | 0.058894

## res_load
| p_mw | q_mvar
0 | 0.0020909 | 0.00052402
1 | 0.016242 | 0.0040706
2 | 0.0019827 | 0.0004969
3 | 0.00099227 | 0.00024869
4 | 0.00024018 | 6.0194e-05
5 | 0.00058973 | 0.0001478
6 | 0.0017006 | 0.00042621
7 | 0.00079518 | 0.00019929
8 | 0.00075655 | 0.00018961
9 | 0.00086935 | 0.00021788
10 | 0.00073717 | 0.00018475
11 | 0.0036885 | 0.00092443
12 | 0.011037 | 0.002766
13 | 0.012095 | 0.0030314
14 | 0.009021 | 0.0022609
15 | 0.024842 | 0.0062259
16 | 0.00703 | 0.0017619
17 | 0.0049909 | 0.0012508
18 | 0.00079111 | 0.00019827
19 | 0.0028458 | 0.00071322
20 | 0.0042154 | 0.0010565
21 | 0.00042866 | 0.00010743
22 | 0.00058997 | 0.00014786
23 | 0.001315 | 0.00032956
24 | 0.00059231 | 0.00014845
25 | 0.00078696 | 0.00019723
26 | 0.00077334 | 0.00019382
27 | 0.0027087 | 0.00067888
28 | 0.0023098 | 0.00057889
29 | 0.0026271 | 0.0006584
30 | 0.0081646 | 0.0020462
31 | 0.0060479 | 0.0015157
32 | 0.0051934 | 0.0013016
33 | 0.0062543 | 0.0015675
34 | 0.002315 | 0.0005802
35 | 0.001346 | 0.00033734
36 | 0.010018 | 0.0025107
37 | 0.0020817 | 0.00052172
38 | 0.0027616 | 0.00069211
39 | 0.0046575 | 0.0011673
40 | 0.0043903 | 0.0011003
41 | 0.0039827 | 0.00099816
42 | 0.0041637 | 0.0010435
43 | 0.01035 | 0.002594
44 | 0.0034307 | 0.00085981
45 | 0.0023525 | 0.00058959
46 | 0.010348 | 0.0025934
47 | 0.0019792 | 0.00049602
48 | 0.0012001 | 0.00030078
49 | 0.00098145 | 0.00024597
50 | 0.001901 | 0.00047643
51 | 0.008327 | 0.0020869
52 | 0.0083269 | 0.0020869

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1