## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1140-22_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1140-22_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1140-22_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1140-22_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1140-22_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1140-22_0_2_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1140-22_0_2_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1140-22_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1140-22_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1140-22_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1140-22_0_2_node_93 | 0.4 | n |  | TRUE
11 | bus_LV_1140-22_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1140-22_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1140-22_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1140-22_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1140-22_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1140-22_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1140-22_0_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1140-22_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1140-22_0_2_node_113 | 0.4 | n |  | TRUE
20 | bus_LV_1140-22_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1140-22_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1140-22_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1140-22_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1140-22_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1140-22_0_2_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_1140-22_0_2_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_1140-22_0_2_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_1140-22_0_2_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_1140-22_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1140-22_0_2_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1140-22_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1140-22_0_2_node_80 | 0.4 | n |  | TRUE
33 | bus_LV_1140-22_0_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1140-22_0_2_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_1140-22_0_2_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_1140-22_0_2_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_1140-22_0_2_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_1140-22_0_2_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_1140-22_0_2_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_1140-22_0_2_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_1140-22_0_2_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_1140-22_0_2_node_111 | 0.4 | n |  | TRUE
43 | bus_LV_1140-22_0_2_node_112 | 0.4 | n |  | TRUE
44 | bus_LV_1140-22_0_2_node_114 | 0.4 | n |  | TRUE
45 | bus_LV_1140-22_0_2_node_115 | 0.4 | n |  | TRUE
46 | bus_LV_1140-22_0_2_node_120 | 0.4 | n |  | TRUE
47 | bus_MV_475_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1140-22_0_2_load_0 | 0 | 0.0016536 | 0.00041444 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1140-22_0_2_load_1 | 1 | 0.0019448 | 0.00048742 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1140-22_0_2_load_2 | 2 | 0.0041063 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1140-22_0_2_load_4 | 4 | 0.0036886 | 0.00092444 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1140-22_0_2_load_23 | 6 | 0.0028043 | 0.00070283 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1140-22_0_2_load_5 | 7 | 0.0012146 | 0.00030442 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1140-22_0_2_load_6 | 8 | 0.0047955 | 0.0012019 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1140-22_0_2_load_7 | 9 | 0.00067803 | 0.00016993 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1140-22_0_2_load_93 | 10 | 0.003115 | 0.00078069 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1140-22_0_2_load_8 | 11 | 0.0023829 | 0.00059721 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1140-22_0_2_load_10 | 12 | 0.0027615 | 0.00069209 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1140-22_0_2_load_11 | 13 | 0.0028085 | 0.00070387 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1140-22_0_2_load_12 | 14 | 0.0026677 | 0.00066859 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1140-22_0_2_load_13 | 15 | 0.0046211 | 0.0011582 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1140-22_0_2_load_14 | 16 | 0.0016734 | 0.0004194 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1140-22_0_2_load_17 | 18 | 0.0013846 | 0.00034702 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1140-22_0_2_load_113 | 19 | 0.0010114 | 0.00025348 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1140-22_0_2_load_18 | 21 | 0.0021841 | 0.0005474 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1140-22_0_2_load_19 | 22 | 0.003163 | 0.00079273 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1140-22_0_2_load_107 | 25 | 0.0017745 | 0.00044473 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1140-22_0_2_load_36 | 26 | 0.003144 | 0.00078797 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1140-22_0_2_load_47 | 28 | 0.002641 | 0.00066189 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1140-22_0_2_load_28 | 30 | 0.001315 | 0.00032958 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1140-22_0_2_load_29 | 31 | 0.0026499 | 0.00066412 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1140-22_0_2_load_80 | 32 | 0.0021516 | 0.00053923 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1140-22_0_2_load_35 | 33 | 0.0015072 | 0.00037774 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1140-22_0_2_load_48 | 34 | 0.0019389 | 0.00048593 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1140-22_0_2_load_49 | 35 | 0.001509 | 0.00037818 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1140-22_0_2_load_71 | 36 | 0.0015788 | 0.00039569 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1140-22_0_2_load_63 | 37 | 0.0025126 | 0.00062972 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1140-22_0_2_load_62 | 38 | 0.0013584 | 0.00034046 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1140-22_0_2_load_64 | 39 | 0.0013592 | 0.00034065 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1140-22_0_2_load_85 | 40 | 0.0028106 | 0.00070441 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1140-22_0_2_load_86 | 41 | 0.0045002 | 0.0011279 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1140-22_0_2_load_111 | 42 | 0.0017826 | 0.00044675 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1140-22_0_2_load_112 | 43 | 0.0019298 | 0.00048365 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1140-22_0_2_load_114 | 44 | 0.001932 | 0.00048421 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1140-22_0_2_load_115 | 45 | 0.0018382 | 0.00046071 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1140-22_0_2_load_120 | 46 | 0.00098958 | 0.00024801 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1140-22_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1140-22_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1140-22_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1140-22_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1140-22_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.047543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1140-22_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0032646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1140-22_0_2_line_6 | NAYY 4x150 SE | 5 | 19 | 0.01361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1140-22_0_2_line_7 | NAYY 4x150 SE | 5 | 17 | 0.019764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1140-22_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.014437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1140-22_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.011039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1140-22_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.20096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1140-22_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.029518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1140-22_0_2_line_12 | NAYY 4x150 SE | 10 | 14 | 0.15532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1140-22_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.02207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1140-22_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0021852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1140-22_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.015085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1140-22_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0076775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1140-22_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.016605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1140-22_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.007146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1140-22_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.033545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1140-22_0_2_line_20 | NAYY 4x150 SE | 19 | 44 | 0.0032596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1140-22_0_2_line_21 | NAYY 4x150 SE | 20 | 24 | 0.016383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1140-22_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.016977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1140-22_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0063106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1140-22_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.031478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1140-22_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.01063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1140-22_0_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.010672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1140-22_0_2_line_27 | NAYY 4x150 SE | 24 | 27 | 0.002945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1140-22_0_2_line_28 | NAYY 4x150 SE | 24 | 28 | 0.02592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1140-22_0_2_line_29 | NAYY 4x150 SE | 25 | 42 | 0.017978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1140-22_0_2_line_30 | NAYY 4x150 SE | 26 | 33 | 0.0010741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1140-22_0_2_line_31 | NAYY 4x150 SE | 27 | 37 | 0.017433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1140-22_0_2_line_32 | NAYY 4x150 SE | 27 | 31 | 0.012853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1140-22_0_2_line_33 | NAYY 4x150 SE | 28 | 34 | 0.010111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1140-22_0_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.014641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1140-22_0_2_line_35 | NAYY 4x150 SE | 29 | 31 | 0.016671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1140-22_0_2_line_36 | NAYY 4x150 SE | 30 | 32 | 0.022604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1140-22_0_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0016553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1140-22_0_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0056646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1140-22_0_2_line_39 | NAYY 4x150 SE | 36 | 40 | 0.012617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1140-22_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.031581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1140-22_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0079451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1140-22_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.00053251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1140-22_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.035145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1140-22_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.018951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1140-22_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.16646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1140-22_0_2_trafo_11 | 0.25 MVA 20/0.4 kV | 47 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2641490.3663 | 1232989.3366 | 2641486.108 | 1232977.4142
1 | 2641490.3663 | 1232989.3366 | 2641493.8408 | 1232999.0648
2 | 2641481.5849 | 1232964.1462 | 2641483.7492 | 1232970.8099 | 2641486.108 | 1232977.4142
3 | 2641493.8408 | 1232999.0648 | 2641499.2956 | 1233014.3372
4 | 2641481.5849 | 1232964.1462 | 2641474.1792 | 1232964.3502 | 2641467.6491 | 1232964.9162 | 2641457.9674 | 1232966.8722 | 2641449.075 | 1232969.6341 | 2641442.1932 | 1232972.866 | 2641436.1883 | 1232976.293
5 | 2641500.3937 | 1233017.4116 | 2641499.2956 | 1233014.3372
6 | 2641436.1883 | 1232976.293 | 2641432.3817 | 1232963.2262
7 | 2641419.1366 | 1232986.3695 | 2641436.1883 | 1232976.293
8 | 2641698.4381 | 1233120.9195 | 2641698.6491 | 1233124.1637 | 2641700.1735 | 1233134.5809 | 2641700.3303 | 1233135.2201
9 | 2641698.4381 | 1233120.9195 | 2641698.1571 | 1233116.6 | 2641698.2443 | 1233109.8899
10 | 2641506.1407 | 1233186.9478 | 2641700.3303 | 1233135.2201
11 | 2641698.2443 | 1233109.8899 | 2641698.6279 | 1233080.3739
12 | 2641439.5025 | 1233046.6443 | 2641506.1407 | 1233186.9478
13 | 2641438.803 | 1233044.5741 | 2641431.7382 | 1233023.6652
14 | 2641438.803 | 1233044.5741 | 2641439.5025 | 1233046.6443
15 | 2641426.9095 | 1233009.3742 | 2641431.7382 | 1233023.6652
16 | 2641426.9095 | 1233009.3742 | 2641424.4519 | 1233002.1007
17 | 2641419.1366 | 1232986.3695 | 2641424.4519 | 1233002.1007
18 | 2641419.1366 | 1232986.3695 | 2641412.9517 | 1232989.9488
19 | 2641383.1418 | 1233005.2641 | 2641391.7766 | 1233001.4218 | 2641401.9571 | 1232996.3117 | 2641412.9517 | 1232989.9488
20 | 2641432.3817 | 1232963.2262 | 2641431.4699 | 1232960.0966
21 | 2641383.1418 | 1233005.2641 | 2641367.6516 | 1233010.7265
22 | 2641383.1418 | 1233005.2641 | 2641388.0767 | 1233021.5076
23 | 2641389.9112 | 1233027.5457 | 2641388.0767 | 1233021.5076
24 | 2641397.9862 | 1233057.7558 | 2641398.2821 | 1233056.5682 | 2641398.1811 | 1233054.7664 | 2641389.9112 | 1233027.5457
25 | 2641397.9862 | 1233057.7558 | 2641397.2989 | 1233058.596 | 2641394.9723 | 1233060.0363 | 2641391.5627 | 1233061.5135 | 2641388.5999 | 1233062.3987
26 | 2641397.9862 | 1233057.7558 | 2641402.7848 | 1233067.2881
27 | 2641367.6516 | 1233010.7265 | 2641364.844 | 1233011.6409
28 | 2641367.6516 | 1233010.7265 | 2641367.7799 | 1232984.8065
29 | 2641388.5999 | 1233062.3987 | 2641380.4711 | 1233064.8273 | 2641379.1413 | 1233065.5407 | 2641378.4759 | 1233066.5033 | 2641378.059 | 1233067.6678 | 2641377.9513 | 1233069.0013 | 2641378.3418 | 1233070.5494 | 2641379.5894 | 1233072.8803
30 | 2641403.2677 | 1233068.2475 | 2641402.7848 | 1233067.2881
31 | 2641364.844 | 1233011.6409 | 2641367.6917 | 1233028.8396
32 | 2641364.844 | 1233011.6409 | 2641352.5252 | 1233015.3062
33 | 2641367.7799 | 1232984.8065 | 2641367.8299 | 1232974.6958
34 | 2641336.5462 | 1233020.0606 | 2641340.1857 | 1233034.242
35 | 2641336.5462 | 1233020.0606 | 2641352.5252 | 1233015.3062
36 | 2641345.0623 | 1233056.1423 | 2641342.4755 | 1233047.0854 | 2641342.6619 | 1233045.33 | 2641340.8995 | 1233038.5691 | 2641340.991 | 1233037.3801 | 2641340.1857 | 1233034.242
37 | 2641367.8299 | 1232974.6958 | 2641367.8381 | 1232973.0405
38 | 2641367.8381 | 1232973.0405 | 2641367.8661 | 1232967.376
39 | 2641367.9285 | 1232954.7589 | 2641367.8661 | 1232967.376
40 | 2641367.9043 | 1233058.3198 | 2641370.0554 | 1233056.961 | 2641371.2443 | 1233055.8353 | 2641371.708 | 1233054.4821 | 2641371.6446 | 1233052.7139 | 2641367.6917 | 1233028.8396
41 | 2641367.9043 | 1233058.3198 | 2641361.1871 | 1233062.5629
42 | 2641367.9311 | 1232954.2264 | 2641367.9285 | 1232954.7589
43 | 2641362.5129 | 1233095.3437 | 2641382.0031 | 1233084.0277 | 2641382.9948 | 1233082.9451 | 2641383.4941 | 1233081.9034 | 2641383.5407 | 1233080.6585 | 2641383.222 | 1233079.6668 | 2641379.5894 | 1233072.8803
44 | 2641426.1694 | 1232941.9017 | 2641431.4699 | 1232960.0966
45 | 2641426.1694 | 1232941.9017 | 2641512.9928 | 1232799.8736

## bus_geodata
| x | y | coords
0 | 2641490.3663 | 1232989.3366
1 | 2641486.108 | 1232977.4142
2 | 2641493.8408 | 1232999.0648
3 | 2641481.5849 | 1232964.1462
4 | 2641499.2956 | 1233014.3372
5 | 2641436.1883 | 1232976.293
6 | 2641500.3937 | 1233017.4116
7 | 2641698.4381 | 1233120.9195
8 | 2641700.3303 | 1233135.2201
9 | 2641698.2443 | 1233109.8899
10 | 2641506.1407 | 1233186.9478
11 | 2641698.6279 | 1233080.3739
12 | 2641438.803 | 1233044.5741
13 | 2641431.7382 | 1233023.6652
14 | 2641439.5025 | 1233046.6443
15 | 2641426.9095 | 1233009.3742
16 | 2641424.4519 | 1233002.1007
17 | 2641419.1366 | 1232986.3695
18 | 2641412.9517 | 1232989.9488
19 | 2641432.3817 | 1232963.2262
20 | 2641383.1418 | 1233005.2641
21 | 2641388.0767 | 1233021.5076
22 | 2641389.9112 | 1233027.5457
23 | 2641397.9862 | 1233057.7558
24 | 2641367.6516 | 1233010.7265
25 | 2641388.5999 | 1233062.3986
26 | 2641402.7848 | 1233067.2881
27 | 2641364.844 | 1233011.6409
28 | 2641367.7799 | 1232984.8065
29 | 2641336.5462 | 1233020.0606
30 | 2641340.1857 | 1233034.242
31 | 2641352.5252 | 1233015.3062
32 | 2641345.0623 | 1233056.1423
33 | 2641403.2677 | 1233068.2475
34 | 2641367.8299 | 1232974.6958
35 | 2641367.8381 | 1232973.0405
36 | 2641367.8661 | 1232967.376
37 | 2641367.6917 | 1233028.8396
38 | 2641367.9043 | 1233058.3198
39 | 2641361.1871 | 1233062.5629
40 | 2641367.9285 | 1232954.7589
41 | 2641367.9311 | 1232954.2264
42 | 2641379.5894 | 1233072.8803
43 | 2641362.5129 | 1233095.3437
44 | 2641431.4699 | 1232960.0966
45 | 2641426.1694 | 1232941.9017
46 | 2641512.9928 | 1232799.8736
47 | 2641431.7382 | 1233023.6652

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99424 | -0.040374 | 0.0016536 | 0.00041444
1 | 0.99446 | -0.038808 | 0.0019448 | 0.00048742
2 | 0.99408 | -0.04148 | 0.0041063 | 0.0010291
3 | 0.99474 | -0.036799 | 0 | 0
4 | 0.99393 | -0.042543 | 0.0036886 | 0.00092444
5 | 0.99571 | -0.029994 | 0 | 0
6 | 0.99392 | -0.042636 | 0.0028043 | 0.00070283
7 | 0.99398 | -0.042249 | 0.0012146 | 0.00030442
8 | 0.99407 | -0.041625 | 0.0047955 | 0.0012019
9 | 0.99393 | -0.042591 | 0.00067803 | 0.00016993
10 | 0.99669 | -0.023232 | 0.003115 | 0.00078069
11 | 0.99383 | -0.043302 | 0.0023829 | 0.00059721
12 | 0.99944 | -0.0038913 | 0.0027615 | 0.00069209
13 | 1 | 0 | -0.08836 | -0.021994
14 | 0.9994 | -0.0042165 | 0.0026677 | 0.00066859
15 | 0.9985 | -0.010483 | 0.0046211 | 0.0011582
16 | 0.99778 | -0.015475 | 0.0016734 | 0.0004194
17 | 0.99628 | -0.026017 | 0 | 0
18 | 0.99584 | -0.029125 | 0.0013846 | 0.00034702
19 | 0.9956 | -0.030787 | 0.0010114 | 0.00025348
20 | 0.99382 | -0.04328 | 0 | 0
21 | 0.99344 | -0.045939 | 0.0021841 | 0.0005474
22 | 0.99332 | -0.046789 | 0.003163 | 0.00079273
23 | 0.99287 | -0.050021 | 0 | 0
24 | 0.9932 | -0.047643 | 0 | 0
25 | 0.99278 | -0.050612 | 0.0017745 | 0.00044473
26 | 0.99279 | -0.050524 | 0.003144 | 0.00078797
27 | 0.99315 | -0.047982 | 0 | 0
28 | 0.99264 | -0.051575 | 0.002641 | 0.00066189
29 | 0.99296 | -0.049364 | 0 | 0
30 | 0.99289 | -0.049878 | 0.001315 | 0.00032958
31 | 0.99304 | -0.048778 | 0.0026499 | 0.00066412
32 | 0.99282 | -0.050371 | 0.0021516 | 0.00053923
33 | 0.99279 | -0.05054 | 0.0015072 | 0.00037774
34 | 0.99247 | -0.052839 | 0.0019389 | 0.00048593
35 | 0.99244 | -0.053013 | 0.001509 | 0.00037818
36 | 0.99237 | -0.053524 | 0.0015788 | 0.00039569
37 | 0.99302 | -0.048905 | 0.0025126 | 0.00062972
38 | 0.9929 | -0.049775 | 0.0013584 | 0.00034046
39 | 0.99288 | -0.049884 | 0.0013592 | 0.00034065
40 | 0.99224 | -0.054459 | 0.0028106 | 0.00070441
41 | 0.99223 | -0.054483 | 0.0045002 | 0.0011279
42 | 0.99269 | -0.051289 | 0.0017826 | 0.00044675
43 | 0.99259 | -0.051976 | 0.0019298 | 0.00048365
44 | 0.99558 | -0.030944 | 0.001932 | 0.00048421
45 | 0.9955 | -0.031487 | 0.0018382 | 0.00046071
46 | 0.99527 | -0.03316 | 0.00098958 | 0.00024801
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012255 | -0.0030715 | 0.012258 | 0.0030723 | 2.6577e-06 | 8.5798e-07 | 0.018342 | 0.018342 | 0.018342 | 0.99424 | -0.040374 | 0.99446 | -0.038808 | 6.7933
1 | 0.010602 | 0.002657 | -0.0106 | -0.0026565 | 1.6229e-06 | 4.9024e-07 | 0.015867 | 0.015867 | 0.015867 | 0.99424 | -0.040374 | 0.99408 | -0.04148 | 5.8767
2 | -0.014203 | -0.0035597 | 0.014207 | 0.0035611 | 3.951e-06 | 1.3377e-06 | 0.021252 | 0.021252 | 0.021252 | 0.99446 | -0.038808 | 0.99474 | -0.036799 | 7.8711
3 | 0.0064939 | 0.0016274 | -0.0064929 | -0.0016272 | 9.5619e-07 | 1.5755e-07 | 0.0097205 | 0.0097206 | 0.0097206 | 0.99408 | -0.04148 | 0.99393 | -0.042543 | 3.6002
4 | -0.014207 | -0.0035611 | 0.01422 | 0.0035656 | 1.3399e-05 | 4.5355e-06 | 0.021252 | 0.021252 | 0.021252 | 0.99474 | -0.036799 | 0.99571 | -0.029994 | 7.8711
5 | 0.0028044 | 0.0007028 | -0.0028043 | -0.00070283 | 3.5908e-08 | -2.85e-08 | 0.0041984 | 0.0041984 | 0.0041984 | 0.99393 | -0.042543 | 0.99392 | -0.042636 | 1.555
6 | 0.0057724 | 0.0014442 | -0.0057717 | -0.0014442 | 6.3185e-07 | 6.6014e-08 | 0.0086255 | 0.0086256 | 0.0086256 | 0.99571 | -0.029994 | 0.9956 | -0.030787 | 3.1947
7 | -0.019993 | -0.0050098 | 0.020004 | 0.0050138 | 1.1009e-05 | 3.9769e-06 | 0.029877 | 0.029877 | 0.029877 | 0.99571 | -0.029994 | 0.99628 | -0.026017 | 11.0656
8 | -0.0042759 | -0.0010712 | 0.0042763 | 0.0010711 | 3.6912e-07 | -4.5183e-08 | 0.006401 | 0.0064009 | 0.006401 | 0.99398 | -0.042249 | 0.99407 | -0.041625 | 2.3707
9 | 0.0030613 | 0.00076676 | -0.0030612 | -0.00076685 | 1.4467e-07 | -8.7443e-08 | 0.0045827 | 0.0045827 | 0.0045827 | 0.99398 | -0.042249 | 0.99393 | -0.042591 | 1.6973
10 | -0.0090718 | -0.002273 | 0.0090949 | 0.0022793 | 2.3122e-05 | 6.2808e-06 | 0.013579 | 0.013578 | 0.013579 | 0.99407 | -0.041625 | 0.99669 | -0.023232 | 5.0294
11 | 0.0023831 | 0.00059692 | -0.0023829 | -0.00059721 | 2.3445e-07 | -2.9236e-07 | 0.0035676 | 0.0035678 | 0.0035678 | 0.99393 | -0.042591 | 0.99383 | -0.043302 | 1.3214
12 | -0.01221 | -0.00306 | 0.012242 | 0.0030703 | 3.2205e-05 | 1.0357e-05 | 0.018229 | 0.018228 | 0.018229 | 0.99669 | -0.023232 | 0.9994 | -0.0042165 | 6.7514
13 | -0.017672 | -0.0044312 | 0.017681 | 0.0044346 | 9.5341e-06 | 3.3776e-06 | 0.026312 | 0.026311 | 0.026312 | 0.99944 | -0.0038913 | 1 | 0 | 9.745
14 | 0.01491 | 0.0037391 | -0.01491 | -0.0037389 | 6.7204e-07 | 2.2984e-07 | 0.0222 | 0.0222 | 0.0222 | 0.99944 | -0.0038913 | 0.9994 | -0.0042165 | 8.2223
15 | 0.069878 | 0.01756 | -0.069776 | -0.017521 | 0.0001018 | 3.8957e-05 | 0.104 | 0.104 | 0.104 | 1 | 0 | 0.9985 | -0.010483 | 38.5171
16 | 0.065155 | 0.016363 | -0.06511 | -0.016345 | 4.5178e-05 | 1.7276e-05 | 0.097109 | 0.097109 | 0.097109 | 0.9985 | -0.010483 | 0.99778 | -0.015475 | 35.9665
17 | 0.063437 | 0.015926 | -0.063344 | -0.01589 | 9.2754e-05 | 3.5458e-05 | 0.094614 | 0.094614 | 0.094614 | 0.99778 | -0.015475 | 0.99628 | -0.026017 | 35.0422
18 | 0.04334 | 0.010877 | -0.043321 | -0.01087 | 1.8688e-05 | 7.0945e-06 | 0.064737 | 0.064737 | 0.064737 | 0.99628 | -0.026017 | 0.99584 | -0.029125 | 23.9766
19 | 0.041937 | 0.010523 | -0.041855 | -0.010491 | 8.2207e-05 | 3.1182e-05 | 0.062668 | 0.062668 | 0.062668 | 0.99584 | -0.029125 | 0.99382 | -0.04328 | 23.2104
20 | 0.0047604 | 0.0011907 | -0.0047603 | -0.0011907 | 1.0294e-07 | -2.7959e-09 | 0.007114 | 0.007114 | 0.007114 | 0.9956 | -0.030787 | 0.99558 | -0.030944 | 2.6348
21 | 0.026356 | 0.0066071 | -0.02634 | -0.0066011 | 1.592e-05 | 5.9111e-06 | 0.039463 | 0.039463 | 0.039463 | 0.99382 | -0.04328 | 0.9932 | -0.047643 | 14.6159
22 | 0.015498 | 0.0038843 | -0.015493 | -0.0038823 | 5.7044e-06 | 1.9741e-06 | 0.023205 | 0.023205 | 0.023205 | 0.99382 | -0.04328 | 0.99344 | -0.045939 | 8.5946
23 | 0.013309 | 0.003335 | -0.013307 | -0.0033344 | 1.5647e-06 | 5.2011e-07 | 0.019934 | 0.019934 | 0.019934 | 0.99344 | -0.045939 | 0.99332 | -0.046789 | 7.3829
24 | 0.010144 | 0.0025417 | -0.010139 | -0.0025404 | 4.5355e-06 | 1.3372e-06 | 0.015196 | 0.015196 | 0.015196 | 0.99332 | -0.046789 | 0.99287 | -0.050021 | 5.628
25 | 0.0054878 | 0.0013747 | -0.0054874 | -0.0013746 | 4.4867e-07 | 3.5102e-08 | 0.0082244 | 0.0082245 | 0.0082245 | 0.99287 | -0.050021 | 0.99278 | -0.050612 | 3.0461
26 | 0.0046516 | 0.0011657 | -0.0046513 | -0.0011657 | 3.2364e-07 | -1.3531e-08 | 0.0069713 | 0.0069714 | 0.0069714 | 0.99287 | -0.050021 | 0.99279 | -0.050524 | 2.582
27 | 0.01135 | 0.0028432 | -0.011349 | -0.0028431 | 5.3131e-07 | 1.6624e-07 | 0.017004 | 0.017004 | 0.017004 | 0.9932 | -0.047643 | 0.99315 | -0.047982 | 6.2976
28 | 0.014991 | 0.0037579 | -0.014983 | -0.0037551 | 8.1587e-06 | 2.8027e-06 | 0.022459 | 0.022459 | 0.022459 | 0.9932 | -0.047643 | 0.99264 | -0.051575 | 8.3183
29 | 0.0037129 | 0.00092992 | -0.0037125 | -0.00093002 | 3.4741e-07 | -9.8829e-08 | 0.0055648 | 0.0055649 | 0.0055649 | 0.99278 | -0.050612 | 0.99269 | -0.051289 | 2.0611
30 | 0.0015072 | 0.00037773 | -0.0015072 | -0.00037774 | 3.4203e-09 | -1.2574e-08 | 0.002259 | 0.002259 | 0.002259 | 0.99279 | -0.050524 | 0.99279 | -0.05054 | 0.83667
31 | 0.0052313 | 0.0013105 | -0.0052306 | -0.0013104 | 6.6824e-07 | 3.1459e-08 | 0.0078377 | 0.0078378 | 0.0078378 | 0.99315 | -0.047982 | 0.99302 | -0.048905 | 2.9029
32 | 0.0061178 | 0.0015326 | -0.0061171 | -0.0015325 | 6.738e-07 | 9.2856e-08 | 0.0091659 | 0.009166 | 0.009166 | 0.99315 | -0.047982 | 0.99304 | -0.048778 | 3.3948
33 | 0.012342 | 0.0030932 | -0.012339 | -0.0030925 | 2.1594e-06 | 6.9988e-07 | 0.018501 | 0.018501 | 0.018501 | 0.99264 | -0.051575 | 0.99247 | -0.052839 | 6.8521
34 | 0.003467 | 0.00086848 | -0.0034667 | -0.00086857 | 2.466e-07 | -9.4523e-08 | 0.0051954 | 0.0051954 | 0.0051954 | 0.99296 | -0.049364 | 0.99289 | -0.049878 | 1.9242
35 | -0.003467 | -0.00086848 | 0.0034673 | 0.00086837 | 2.8079e-07 | -1.0767e-07 | 0.0051954 | 0.0051953 | 0.0051954 | 0.99296 | -0.049364 | 0.99304 | -0.048778 | 1.9242
36 | 0.0021517 | 0.00053899 | -0.0021516 | -0.00053923 | 1.4667e-07 | -2.3591e-07 | 0.0032246 | 0.0032247 | 0.0032247 | 0.99289 | -0.049878 | 0.99282 | -0.050371 | 1.1943
37 | 0.0104 | 0.0026066 | -0.0104 | -0.0026065 | 2.5116e-07 | 7.521e-08 | 0.015594 | 0.015594 | 0.015594 | 0.99247 | -0.052839 | 0.99244 | -0.053013 | 5.7754
38 | 0.0088913 | 0.0022283 | -0.0088907 | -0.0022282 | 6.2818e-07 | 1.6842e-07 | 0.013331 | 0.013331 | 0.013331 | 0.99244 | -0.053013 | 0.99237 | -0.053524 | 4.9375
39 | 0.0073118 | 0.0018325 | -0.0073109 | -0.0018323 | 9.4639e-07 | 2.0101e-07 | 0.010964 | 0.010964 | 0.010964 | 0.99237 | -0.053524 | 0.99224 | -0.054459 | 4.0607
40 | 0.002718 | 0.00068073 | -0.0027177 | -0.00068101 | 3.2688e-07 | -2.8278e-07 | 0.0040727 | 0.0040728 | 0.0040728 | 0.99302 | -0.048905 | 0.9929 | -0.049775 | 1.5085
41 | 0.0013592 | 0.00034056 | -0.0013592 | -0.00034065 | 2.0572e-08 | -9.4845e-08 | 0.002037 | 0.002037 | 0.002037 | 0.9929 | -0.049775 | 0.99288 | -0.049884 | 0.75445
42 | 0.0045003 | 0.0011279 | -0.0045002 | -0.0011279 | 1.5135e-08 | -1.0571e-09 | 0.0067488 | 0.0067488 | 0.0067488 | 0.99224 | -0.054459 | 0.99223 | -0.054483 | 2.4996
43 | 0.00193 | 0.00048327 | -0.0019298 | -0.00048365 | 1.8354e-07 | -3.8373e-07 | 0.0028928 | 0.002893 | 0.002893 | 0.99269 | -0.051289 | 0.99259 | -0.051976 | 1.0715
44 | 0.0028283 | 0.00070648 | -0.002828 | -0.00070664 | 2.1123e-07 | -1.6517e-07 | 0.0042264 | 0.0042264 | 0.0042264 | 0.99558 | -0.030944 | 0.9955 | -0.031487 | 1.5653
45 | 0.0009898 | 0.00024593 | -0.00098958 | -0.00024801 | 2.2726e-07 | -2.0764e-06 | 0.0014787 | 0.0014795 | 0.0014795 | 0.9955 | -0.031487 | 0.99527 | -0.03316 | 0.54797

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.091168 | 0.022698

## res_load
| p_mw | q_mvar
0 | 0.0016536 | 0.00041444
1 | 0.0019448 | 0.00048742
2 | 0.0041063 | 0.0010291
3 | 0.0036886 | 0.00092444
4 | 0.0028043 | 0.00070283
5 | 0.0012146 | 0.00030442
6 | 0.0047955 | 0.0012019
7 | 0.00067803 | 0.00016993
8 | 0.003115 | 0.00078069
9 | 0.0023829 | 0.00059721
10 | 0.0027615 | 0.00069209
11 | 0.0028085 | 0.00070387
12 | 0.0026677 | 0.00066859
13 | 0.0046211 | 0.0011582
14 | 0.0016734 | 0.0004194
15 | 0.0013846 | 0.00034702
16 | 0.0010114 | 0.00025348
17 | 0.0021841 | 0.0005474
18 | 0.003163 | 0.00079273
19 | 0.0017745 | 0.00044473
20 | 0.003144 | 0.00078797
21 | 0.002641 | 0.00066189
22 | 0.001315 | 0.00032958
23 | 0.0026499 | 0.00066412
24 | 0.0021516 | 0.00053923
25 | 0.0015072 | 0.00037774
26 | 0.0019389 | 0.00048593
27 | 0.001509 | 0.00037818
28 | 0.0015788 | 0.00039569
29 | 0.0025126 | 0.00062972
30 | 0.0013584 | 0.00034046
31 | 0.0013592 | 0.00034065
32 | 0.0028106 | 0.00070441
33 | 0.0045002 | 0.0011279
34 | 0.0017826 | 0.00044675
35 | 0.0019298 | 0.00048365
36 | 0.001932 | 0.00048421
37 | 0.0018382 | 0.00046071
38 | 0.00098958 | 0.00024801

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1