## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1140-23_1_1_node_57 | 0.4 | n |  | TRUE
1 | bus_LV_1140-23_1_1_node_58 | 0.4 | n |  | TRUE
2 | bus_LV_1140-23_1_1_node_59 | 0.4 | n |  | TRUE
3 | bus_LV_1140-23_1_1_node_60 | 0.4 | n |  | TRUE
4 | bus_LV_1140-23_1_1_node_61 | 0.4 | n |  | TRUE
5 | bus_LV_1140-23_1_1_node_62 | 0.4 | n |  | TRUE
6 | bus_LV_1140-23_1_1_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_1140-23_1_1_node_68 | 0.4 | n |  | TRUE
8 | bus_LV_1140-23_1_1_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_1140-23_1_1_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_1140-23_1_1_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_1140-23_1_1_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_1140-23_1_1_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_1140-23_1_1_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_1140-23_1_1_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_1140-23_1_1_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_1140-23_1_1_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_1140-23_1_1_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_1140-23_1_1_node_89 | 0.4 | n |  | TRUE
19 | bus_LV_1140-23_1_1_node_90 | 0.4 | n |  | TRUE
20 | bus_LV_1140-23_1_1_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_1140-23_1_1_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_1140-23_1_1_node_76 | 0.4 | n |  | TRUE
23 | bus_LV_1140-23_1_1_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_1140-23_1_1_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_1140-23_1_1_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_1140-23_1_1_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_1140-23_1_1_node_91 | 0.4 | n |  | TRUE
28 | bus_LV_1140-23_1_1_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_1140-23_1_1_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_1140-23_1_1_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_1140-23_1_1_node_85 | 0.4 | n |  | TRUE
32 | bus_LV_1140-23_1_1_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_1140-23_1_1_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_1140-23_1_1_node_87 | 0.4 | n |  | TRUE
35 | bus_MV_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1140-23_1_1_load_57 | 0 | 0.0031167 | 0.00078111 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1140-23_1_1_load_58 | 1 | 0.00048791 | 0.00012228 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1140-23_1_1_load_59 | 2 | 0.0014077 | 0.00035282 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1140-23_1_1_load_60 | 3 | 0.00036125 | 9.0537e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1140-23_1_1_load_61 | 4 | 0.00082125 | 0.00020583 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1140-23_1_1_load_62 | 5 | 0.00082489 | 0.00020674 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1140-23_1_1_load_64 | 8 | 0.00061477 | 0.00015408 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1140-23_1_1_load_65 | 9 | 0.00060677 | 0.00015207 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1140-23_1_1_load_66 | 10 | 0.0027824 | 0.00069733 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1140-23_1_1_load_88 | 12 | 0.0044453 | 0.0011141 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1140-23_1_1_load_69 | 13 | 0.00054872 | 0.00013752 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1140-23_1_1_load_70 | 14 | 0.00065487 | 0.00016413 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1140-23_1_1_load_71 | 15 | 0.00062263 | 0.00015604 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1140-23_1_1_load_73 | 17 | 0.0018979 | 0.00047565 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1140-23_1_1_load_89 | 18 | 0.0018795 | 0.00047104 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1140-23_1_1_load_90 | 19 | 0.00056987 | 0.00014282 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1140-23_1_1_load_74 | 20 | 0.0079956 | 0.0020039 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1140-23_1_1_load_75 | 21 | 0.00096791 | 0.00024258 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1140-23_1_1_load_77 | 23 | 0.0019292 | 0.0004835 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1140-23_1_1_load_78 | 24 | 0.0039853 | 0.00099881 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1140-23_1_1_load_81 | 26 | 0.011275 | 0.0028258 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1140-23_1_1_load_80 | 28 | 0.0019593 | 0.00049105 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1140-23_1_1_load_82 | 29 | 0.0042134 | 0.001056 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1140-23_1_1_load_83 | 30 | 0.0011563 | 0.00028979 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1140-23_1_1_load_85 | 31 | 0.0070998 | 0.0017794 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1140-23_1_1_load_84 | 32 | 0.0014995 | 0.0003758 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1140-23_1_1_load_86 | 33 | 0.0027676 | 0.00069364 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1140-23_1_1_load_87 | 34 | 0.0017667 | 0.00044277 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1140-23_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1140-23_1_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1140-23_1_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0053973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1140-23_1_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.012475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1140-23_1_1_line_4 | NAYY 4x150 SE | 3 | 5 | 0.019728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1140-23_1_1_line_5 | NAYY 4x150 SE | 5 | 6 | 0.065486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1140-23_1_1_line_6 | NAYY 4x150 SE | 6 | 7 | 0.11668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1140-23_1_1_line_7 | NAYY 4x150 SE | 7 | 10 | 0.007838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1140-23_1_1_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0013056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1140-23_1_1_line_9 | NAYY 4x150 SE | 8 | 10 | 0.042368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1140-23_1_1_line_10 | NAYY 4x150 SE | 9 | 11 | 0.13473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1140-23_1_1_line_11 | NAYY 4x150 SE | 11 | 12 | 0.16761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1140-23_1_1_line_12 | NAYY 4x150 SE | 12 | 18 | 0.016828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1140-23_1_1_line_13 | NAYY 4x150 SE | 12 | 34 | 0.01554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1140-23_1_1_line_14 | NAYY 4x150 SE | 13 | 14 | 0.031998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1140-23_1_1_line_15 | NAYY 4x150 SE | 13 | 15 | 0.032269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1140-23_1_1_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0094628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1140-23_1_1_line_17 | NAYY 4x150 SE | 15 | 17 | 0.016807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1140-23_1_1_line_18 | NAYY 4x150 SE | 16 | 18 | 0.019034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1140-23_1_1_line_19 | NAYY 4x150 SE | 17 | 19 | 0.010878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1140-23_1_1_line_20 | NAYY 4x150 SE | 19 | 27 | 0.020981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1140-23_1_1_line_21 | NAYY 4x150 SE | 20 | 21 | 0.025885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1140-23_1_1_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0029915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1140-23_1_1_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0026818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1140-23_1_1_line_24 | NAYY 4x150 SE | 22 | 24 | 0.036141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1140-23_1_1_line_25 | NAYY 4x150 SE | 22 | 25 | 0.013944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1140-23_1_1_line_26 | NAYY 4x150 SE | 25 | 26 | 0.061271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1140-23_1_1_line_27 | NAYY 4x150 SE | 25 | 27 | 0.040836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1140-23_1_1_line_28 | NAYY 4x150 SE | 26 | 28 | 0.0033753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1140-23_1_1_line_29 | NAYY 4x150 SE | 28 | 29 | 0.12653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1140-23_1_1_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0096416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1140-23_1_1_line_31 | NAYY 4x150 SE | 30 | 31 | 0.010952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1140-23_1_1_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0011795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1140-23_1_1_line_33 | NAYY 4x150 SE | 32 | 33 | 0.021295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1140-23_1_1_trafo_78 | 0.25 MVA 20/0.4 kV | 35 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2641081.0755 | 1233895.549 | 2641089.044 | 1233914.2772
1 | 2641081.0755 | 1233895.549 | 2641078.3339 | 1233889.1055 | 2641077.5693 | 1233886.1261
2 | 2641089.044 | 1233914.2772 | 2641089.939 | 1233916.3805 | 2641091.6127 | 1233919.0035
3 | 2641077.5693 | 1233886.1261 | 2641074.4687 | 1233874.0427
4 | 2641091.6127 | 1233919.0035 | 2641098.768 | 1233930.2169 | 2641102.8556 | 1233935.1753
5 | 2641154.5946 | 1233972.8407 | 2641134.32 | 1233964.5397 | 2641119.2688 | 1233955.0853 | 2641102.8556 | 1233935.1753
6 | 2641261.3877 | 1233926.9183 | 2641237.4895 | 1233942.3067 | 2641222.2261 | 1233950.3726 | 2641166.3133 | 1233969.4196 | 2641154.5946 | 1233972.8407
7 | 2641261.3877 | 1233926.9183 | 2641268.8157 | 1233924.4163
8 | 2641307.6289 | 1233910.367 | 2641308.7747 | 1233909.741
9 | 2641307.6289 | 1233910.367 | 2641298.9169 | 1233915.1269 | 2641282.3163 | 1233923.8838 | 2641271.737 | 1233923.4324 | 2641268.8157 | 1233924.4163
10 | 2641426.0534 | 1233845.1336 | 2641384.7137 | 1233860.5111 | 2641352.9858 | 1233880.5141 | 2641326.3249 | 1233900.1523 | 2641308.7747 | 1233909.741
11 | 2641589.3204 | 1233807.2463 | 2641426.0534 | 1233845.1336
12 | 2641592.6249 | 1233823.7463 | 2641589.3204 | 1233807.2463
13 | 2641586.1694 | 1233792.0309 | 2641586.8101 | 1233794.7125 | 2641589.3204 | 1233807.2463
14 | 2641637.7346 | 1233841.5452 | 2641626.9797 | 1233840.6445 | 2641605.8098 | 1233841.8647
15 | 2641637.7346 | 1233841.5452 | 2641646.3924 | 1233842.2703 | 2641665.3478 | 1233845.4272 | 2641669.5496 | 1233846.6078
16 | 2641596.3626 | 1233842.4092 | 2641605.8098 | 1233841.8647
17 | 2641685.7299 | 1233851.154 | 2641669.5496 | 1233846.6078
18 | 2641596.3626 | 1233842.4092 | 2641592.6249 | 1233823.7463
19 | 2641696.2025 | 1233854.0965 | 2641685.7299 | 1233851.154
20 | 2641716.8701 | 1233855.8949 | 2641708.5561 | 1233856.2368 | 2641704.1045 | 1233856.3168 | 2641696.2025 | 1233854.0965
21 | 2641741.4246 | 1233896.4305 | 2641735.964 | 1233921.7331
22 | 2641742.0557 | 1233893.5063 | 2641741.4246 | 1233896.4305
23 | 2641735.964 | 1233921.7331 | 2641735.3983 | 1233924.3545
24 | 2641705.8792 | 1233895.7651 | 2641742.0557 | 1233893.5063
25 | 2641748.2296 | 1233880.9973 | 2641742.0557 | 1233893.5063
26 | 2641748.2296 | 1233880.9973 | 2641776.3139 | 1233896.0039 | 2641801.0625 | 1233911.9282
27 | 2641716.8701 | 1233855.8949 | 2641720.0312 | 1233861.7318 | 2641725.9424 | 1233867.2323 | 2641748.2296 | 1233880.9973
28 | 2641803.7158 | 1233914.0103 | 2641801.5056 | 1233912.2133 | 2641801.0625 | 1233911.9282
29 | 2641803.7158 | 1233914.0103 | 2641826.5694 | 1233932.5912 | 2641855.6652 | 1233952.2304 | 2641896.4183 | 1233972.9303 | 2641910.2853 | 1233981.4285
30 | 2641918.5059 | 1233986.4665 | 2641910.2853 | 1233981.4285
31 | 2641918.5059 | 1233986.4665 | 2641927.2147 | 1233991.8036 | 2641927.8225 | 1233992.2228
32 | 2641928.7934 | 1233992.8926 | 2641927.8225 | 1233992.2228
33 | 2641928.7934 | 1233992.8926 | 2641946.3222 | 1234004.9841

## bus_geodata
| x | y | coords
0 | 2641081.0755 | 1233895.549
1 | 2641089.044 | 1233914.2772
2 | 2641077.5693 | 1233886.1261
3 | 2641091.6127 | 1233919.0035
4 | 2641074.4687 | 1233874.0427
5 | 2641102.8556 | 1233935.1753
6 | 2641154.5946 | 1233972.8407
7 | 2641261.3877 | 1233926.9183
8 | 2641307.6289 | 1233910.367
9 | 2641308.7747 | 1233909.741
10 | 2641268.8157 | 1233924.4163
11 | 2641426.0534 | 1233845.1336
12 | 2641589.3204 | 1233807.2463
13 | 2641637.7346 | 1233841.5452
14 | 2641605.8098 | 1233841.8647
15 | 2641669.5496 | 1233846.6078
16 | 2641596.3626 | 1233842.4092
17 | 2641685.7299 | 1233851.154
18 | 2641592.6249 | 1233823.7463
19 | 2641696.2025 | 1233854.0965
20 | 2641741.4246 | 1233896.4305
21 | 2641735.964 | 1233921.7331
22 | 2641742.0557 | 1233893.5063
23 | 2641735.3983 | 1233924.3545
24 | 2641705.8792 | 1233895.7651
25 | 2641748.2296 | 1233880.9973
26 | 2641801.0625 | 1233911.9282
27 | 2641716.8701 | 1233855.8949
28 | 2641803.7158 | 1233914.0103
29 | 2641910.2853 | 1233981.4285
30 | 2641918.5059 | 1233986.4665
31 | 2641927.8225 | 1233992.2228
32 | 2641928.7934 | 1233992.8926
33 | 2641946.3222 | 1234004.9841
34 | 2641586.1694 | 1233792.0309
35 | 2641705.8792 | 1233895.7651

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98179 | -0.1284 | 0.0031167 | 0.00078111
1 | 0.98194 | -0.12728 | 0.00048791 | 0.00012228
2 | 0.98175 | -0.12864 | 0.0014077 | 0.00035282
3 | 0.98199 | -0.12695 | 0.00036125 | 9.0537e-05
4 | 0.98174 | -0.12874 | 0.00082125 | 0.00020583
5 | 0.98217 | -0.12569 | 0.00082489 | 0.00020674
6 | 0.98283 | -0.12093 | 0 | 0
7 | 0.98402 | -0.11245 | 0 | 0
8 | 0.9847 | -0.10759 | 0.00061477 | 0.00015408
9 | 0.98472 | -0.10745 | 0.00060677 | 0.00015207
10 | 0.9841 | -0.11188 | 0.0027824 | 0.00069733
11 | 0.98688 | -0.092153 | 0 | 0
12 | 0.98956 | -0.073187 | 0.0044453 | 0.0011141
13 | 0.99168 | -0.058214 | 0.00054872 | 0.00013752
14 | 0.99077 | -0.064661 | 0.00065487 | 0.00016413
15 | 0.99263 | -0.051545 | 0.00062263 | 0.00015604
16 | 0.9905 | -0.066507 | 0 | 0
17 | 0.99314 | -0.047969 | 0.0018979 | 0.00047565
18 | 0.98998 | -0.070222 | 0.0018795 | 0.00047104
19 | 0.99349 | -0.045448 | 0.00056987 | 0.00014282
20 | 0.99661 | -0.023627 | 0.0079956 | 0.0020039
21 | 0.9965 | -0.024381 | 0.00096791 | 0.00024258
22 | 0.99666 | -0.023299 | 0 | 0
23 | 0.9965 | -0.024433 | 0.0019292 | 0.0004835
24 | 1 | 0 | -0.065673 | -0.016325
25 | 0.99558 | -0.0308 | 0 | 0
26 | 0.99294 | -0.049352 | 0.011275 | 0.0028258
27 | 0.9942 | -0.04047 | 0 | 0
28 | 0.99285 | -0.049991 | 0.0019593 | 0.00049105
29 | 0.9898 | -0.071511 | 0.0042134 | 0.001056
30 | 0.98963 | -0.072742 | 0.0011563 | 0.00028979
31 | 0.98945 | -0.074011 | 0.0070998 | 0.0017794
32 | 0.98944 | -0.074062 | 0.0014995 | 0.0003758
33 | 0.98936 | -0.074663 | 0.0027676 | 0.00069364
34 | 0.98952 | -0.073467 | 0.0017667 | 0.00044277
35 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0053458 | -0.0013395 | 0.0053466 | 0.0013396 | 8.3368e-07 | 6.3227e-08 | 0.0081021 | 0.008102 | 0.0081021 | 0.98179 | -0.1284 | 0.98194 | -0.12728 | 3.0008
1 | 0.0022291 | 0.00055839 | -0.002229 | -0.00055849 | 7.1778e-08 | -9.9837e-08 | 0.0033784 | 0.0033784 | 0.0033784 | 0.98179 | -0.1284 | 0.98175 | -0.12864 | 1.2513
2 | -0.0058345 | -0.0014618 | 0.0058348 | 0.0014619 | 2.6327e-07 | 3.2979e-08 | 0.0088413 | 0.0088413 | 0.0088413 | 0.98194 | -0.12728 | 0.98199 | -0.12695 | 3.2746
3 | 0.00082127 | 0.00020567 | -0.00082125 | -0.00020583 | 1.2061e-08 | -1.531e-07 | 0.0012447 | 0.0012448 | 0.0012448 | 0.98175 | -0.12864 | 0.98174 | -0.12874 | 0.46103
4 | -0.006196 | -0.0015524 | 0.0061971 | 0.0015526 | 1.0851e-06 | 1.6773e-07 | 0.0093887 | 0.0093886 | 0.0093887 | 0.98199 | -0.12695 | 0.98217 | -0.12569 | 3.4773
5 | -0.007022 | -0.0017593 | 0.0070266 | 0.0017603 | 4.6245e-06 | 9.4935e-07 | 0.010638 | 0.010638 | 0.010638 | 0.98217 | -0.12569 | 0.98283 | -0.12093 | 3.9401
6 | -0.0070266 | -0.0017603 | 0.0070349 | 0.001762 | 8.2393e-06 | 1.6885e-06 | 0.010638 | 0.010638 | 0.010638 | 0.98283 | -0.12093 | 0.98402 | -0.11245 | 3.94
7 | -0.0070349 | -0.001762 | 0.0070354 | 0.0017621 | 5.5344e-07 | 1.1328e-07 | 0.010638 | 0.010638 | 0.010638 | 0.98402 | -0.11245 | 0.9841 | -0.11188 | 3.9398
8 | -0.010438 | -0.0026152 | 0.010439 | 0.0026152 | 2.027e-07 | 6.1352e-08 | 0.015773 | 0.015773 | 0.015773 | 0.9847 | -0.10759 | 0.98472 | -0.10745 | 5.842
9 | 0.0098236 | 0.0024611 | -0.0098178 | -0.0024594 | 5.8257e-06 | 1.702e-06 | 0.014844 | 0.014845 | 0.014845 | 0.9847 | -0.10759 | 0.9841 | -0.11188 | 5.498
10 | -0.011045 | -0.0027673 | 0.011069 | 0.0027746 | 2.3418e-05 | 7.2892e-06 | 0.01669 | 0.01669 | 0.01669 | 0.98472 | -0.10745 | 0.98688 | -0.092153 | 6.1816
11 | -0.011069 | -0.0027746 | 0.011098 | 0.0027837 | 2.9131e-05 | 9.0567e-06 | 0.01669 | 0.016689 | 0.01669 | 0.98688 | -0.092153 | 0.98956 | -0.073187 | 6.1814
12 | -0.01731 | -0.0043403 | 0.017317 | 0.0043429 | 7.1146e-06 | 2.5201e-06 | 0.02603 | 0.02603 | 0.02603 | 0.98956 | -0.073187 | 0.98998 | -0.070222 | 9.6407
13 | 0.0017667 | 0.00044259 | -0.0017667 | -0.00044277 | 6.8437e-08 | -1.7331e-07 | 0.0026566 | 0.0026567 | 0.0026567 | 0.98956 | -0.073187 | 0.98952 | -0.073467 | 0.98395
14 | 0.019884 | 0.0049898 | -0.019866 | -0.0049834 | 1.7777e-05 | 6.4247e-06 | 0.029838 | 0.029838 | 0.029838 | 0.99168 | -0.058214 | 0.99077 | -0.064661 | 11.0512
15 | -0.020433 | -0.0051273 | 0.020452 | 0.0051342 | 1.893e-05 | 6.8641e-06 | 0.030661 | 0.030661 | 0.030661 | 0.99168 | -0.058214 | 0.99263 | -0.051545 | 11.3561
16 | 0.019211 | 0.0048192 | -0.019206 | -0.0048175 | 4.9163e-06 | 1.7691e-06 | 0.028855 | 0.028855 | 0.028855 | 0.99077 | -0.064661 | 0.9905 | -0.066507 | 10.687
17 | -0.021074 | -0.0052902 | 0.021085 | 0.005294 | 1.0469e-05 | 3.8091e-06 | 0.031595 | 0.031595 | 0.031595 | 0.99263 | -0.051545 | 0.99314 | -0.047969 | 11.7017
18 | 0.019206 | 0.0048175 | -0.019196 | -0.0048139 | 9.8887e-06 | 3.5585e-06 | 0.028855 | 0.028855 | 0.028855 | 0.9905 | -0.066507 | 0.98998 | -0.070222 | 10.687
19 | -0.022983 | -0.0057697 | 0.022991 | 0.0057726 | 8.0504e-06 | 2.9555e-06 | 0.034438 | 0.034438 | 0.034438 | 0.99314 | -0.047969 | 0.99349 | -0.045448 | 12.7549
20 | -0.02356 | -0.0059154 | 0.023577 | 0.0059214 | 1.6307e-05 | 5.9999e-06 | 0.035292 | 0.035292 | 0.035292 | 0.99349 | -0.045448 | 0.9942 | -0.04047 | 13.071
21 | 0.0028974 | 0.00072583 | -0.0028971 | -0.00072605 | 3.0228e-07 | -2.21e-07 | 0.004326 | 0.0043261 | 0.0043261 | 0.99661 | -0.023627 | 0.9965 | -0.024381 | 1.6023
22 | -0.010893 | -0.0027297 | 0.010894 | 0.0027299 | 4.9377e-07 | 1.5093e-07 | 0.016264 | 0.016264 | 0.016264 | 0.99661 | -0.023627 | 0.99666 | -0.023299 | 6.0237
23 | 0.0019292 | 0.00048347 | -0.0019292 | -0.0004835 | 1.3887e-08 | -2.9596e-08 | 0.0028808 | 0.0028808 | 0.0028808 | 0.9965 | -0.024381 | 0.9965 | -0.024433 | 1.067
24 | -0.064662 | -0.016244 | 0.064873 | 0.016325 | 0.00021025 | 8.0392e-05 | 0.096555 | 0.096555 | 0.096555 | 0.99666 | -0.023299 | 1 | 0 | 35.7611
25 | 0.053769 | 0.013514 | -0.053713 | -0.013493 | 5.6093e-05 | 2.1393e-05 | 0.080291 | 0.080291 | 0.080291 | 0.99666 | -0.023299 | 0.99558 | -0.0308 | 29.7374
26 | 0.030104 | 0.0075597 | -0.030027 | -0.0075308 | 7.7422e-05 | 2.8983e-05 | 0.045 | 0.045 | 0.045 | 0.99558 | -0.0308 | 0.99294 | -0.049352 | 16.6667
27 | 0.023608 | 0.0059331 | -0.023577 | -0.0059214 | 3.1737e-05 | 1.1676e-05 | 0.035291 | 0.035292 | 0.035292 | 0.99558 | -0.0308 | 0.9942 | -0.04047 | 13.0709
28 | 0.018752 | 0.004705 | -0.01875 | -0.0047044 | 1.6635e-06 | 5.9615e-07 | 0.028103 | 0.028103 | 0.028103 | 0.99294 | -0.049352 | 0.99285 | -0.049991 | 10.4087
29 | 0.016791 | 0.0042133 | -0.016741 | -0.0041957 | 5.0009e-05 | 1.7603e-05 | 0.025167 | 0.025168 | 0.025168 | 0.99285 | -0.049991 | 0.9898 | -0.071511 | 9.3213
30 | 0.012528 | 0.0031397 | -0.012525 | -0.003139 | 2.134e-06 | 6.9685e-07 | 0.018833 | 0.018833 | 0.018833 | 0.9898 | -0.071511 | 0.98963 | -0.072742 | 6.9753
31 | 0.011369 | 0.0028493 | -0.011367 | -0.0028486 | 1.9972e-06 | 6.2746e-07 | 0.017095 | 0.017095 | 0.017095 | 0.98963 | -0.072742 | 0.98945 | -0.074011 | 6.3314
32 | 0.0042674 | 0.0010692 | -0.0042673 | -0.0010693 | 3.0311e-08 | -3.4906e-09 | 0.0064175 | 0.0064175 | 0.0064175 | 0.98945 | -0.074011 | 0.98944 | -0.074062 | 2.3769
33 | 0.0027679 | 0.00069345 | -0.0027676 | -0.00069364 | 2.3024e-07 | -1.8493e-07 | 0.0041625 | 0.0041626 | 0.0041626 | 0.98944 | -0.074062 | 0.98936 | -0.074663 | 1.5417

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.069658 | 0.017323

## res_load
| p_mw | q_mvar
0 | 0.0031167 | 0.00078111
1 | 0.00048791 | 0.00012228
2 | 0.0014077 | 0.00035282
3 | 0.00036125 | 9.0537e-05
4 | 0.00082125 | 0.00020583
5 | 0.00082489 | 0.00020674
6 | 0.00061477 | 0.00015408
7 | 0.00060677 | 0.00015207
8 | 0.0027824 | 0.00069733
9 | 0.0044453 | 0.0011141
10 | 0.00054872 | 0.00013752
11 | 0.00065487 | 0.00016413
12 | 0.00062263 | 0.00015604
13 | 0.0018979 | 0.00047565
14 | 0.0018795 | 0.00047104
15 | 0.00056987 | 0.00014282
16 | 0.0079956 | 0.0020039
17 | 0.00096791 | 0.00024258
18 | 0.0019292 | 0.0004835
19 | 0.0039853 | 0.00099881
20 | 0.011275 | 0.0028258
21 | 0.0019593 | 0.00049105
22 | 0.0042134 | 0.001056
23 | 0.0011563 | 0.00028979
24 | 0.0070998 | 0.0017794
25 | 0.0014995 | 0.0003758
26 | 0.0027676 | 0.00069364
27 | 0.0017667 | 0.00044277

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1