## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1140-26_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1140-26_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1140-26_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1140-26_0_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_1140-26_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_1140-26_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1140-26_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1140-26_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1140-26_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1140-26_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1140-26_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1140-26_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1140-26_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1140-26_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1140-26_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1140-26_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1140-26_0_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_1140-26_0_3_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_1140-26_0_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_1140-26_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1140-26_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1140-26_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1140-26_0_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_1140-26_0_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_1140-26_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1140-26_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1140-26_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1140-26_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1140-26_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1140-26_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1140-26_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1140-26_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1140-26_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1140-26_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1140-26_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1140-26_0_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_1140-26_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_MV_475_0_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1140-26_0_3_load_0 | 0 | 0.0014374 | 0.00036024 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1140-26_0_3_load_1 | 1 | 0.0014469 | 0.00036262 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1140-26_0_3_load_17 | 4 | 0.0018381 | 0.00046068 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1140-26_0_3_load_15 | 5 | 0.0035455 | 0.00088859 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1140-26_0_3_load_8 | 6 | 0.0030364 | 0.000761 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1140-26_0_3_load_6 | 7 | 0.0034131 | 0.00085541 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1140-26_0_3_load_5 | 8 | 0.0034941 | 0.00087571 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1140-26_0_3_load_7 | 9 | 0.0028691 | 0.00071907 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1140-26_0_3_load_9 | 10 | 0.0030102 | 0.00075442 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1140-26_0_3_load_10 | 11 | 0.0025693 | 0.00064393 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1140-26_0_3_load_11 | 12 | 0.0052978 | 0.0013277 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1140-26_0_3_load_14 | 15 | 0.0023391 | 0.00058623 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1140-26_0_3_load_36 | 16 | 0.002325 | 0.00058269 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1140-26_0_3_load_39 | 17 | 0.0023629 | 0.0005922 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1140-26_0_3_load_37 | 18 | 0.0028032 | 0.00070254 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1140-26_0_3_load_24 | 19 | 0.0018019 | 0.00045159 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1140-26_0_3_load_27 | 20 | 0.0016873 | 0.00042287 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1140-26_0_3_load_23 | 21 | 0.0017416 | 0.00043648 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1140-26_0_3_load_40 | 22 | 0.0014719 | 0.0003689 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1140-26_0_3_load_38 | 23 | 0.090149 | 0.022594 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1140-26_0_3_load_19 | 24 | 0.0017873 | 0.00044793 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1140-26_0_3_load_20 | 25 | 0.0065156 | 0.001633 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1140-26_0_3_load_22 | 27 | 0.0042686 | 0.0010698 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1140-26_0_3_load_25 | 28 | 0.0012673 | 0.00031761 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1140-26_0_3_load_28 | 29 | 0.0037367 | 0.0009365 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1140-26_0_3_load_31 | 30 | 0.0026978 | 0.00067613 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1140-26_0_3_load_30 | 31 | 0.0015065 | 0.00037757 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1140-26_0_3_load_43 | 35 | 0.0058411 | 0.0014639 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1140-26_0_3_load_41 | 36 | 0.035045 | 0.0087832 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1140-26_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1140-26_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.054096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1140-26_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.047126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1140-26_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.010917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1140-26_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1140-26_0_3_line_5 | NAYY 4x150 SE | 4 | 20 | 0.020142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1140-26_0_3_line_6 | NAYY 4x150 SE | 5 | 10 | 0.0052479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1140-26_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.0077743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1140-26_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.025814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1140-26_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0030653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1140-26_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.026868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1140-26_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.00026424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1140-26_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1140-26_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.018037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1140-26_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.00083695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1140-26_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0087406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1140-26_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.020692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1140-26_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.021153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1140-26_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.01951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1140-26_0_3_line_19 | NAYY 4x150 SE | 18 | 23 | 0.056526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1140-26_0_3_line_20 | NAYY 4x150 SE | 18 | 33 | 0.0656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1140-26_0_3_line_21 | NAYY 4x150 SE | 19 | 26 | 0.0068992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1140-26_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.013958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1140-26_0_3_line_23 | NAYY 4x150 SE | 21 | 26 | 0.014312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1140-26_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0075174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1140-26_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.013394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1140-26_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.026675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1140-26_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0088082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1140-26_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.028434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1140-26_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.074062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1140-26_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.040404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1140-26_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.023435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1140-26_0_3_line_32 | NAYY 4x150 SE | 32 | 33 | 0.00473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1140-26_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.03699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1140-26_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.010816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1140-26_0_3_line_35 | NAYY 4x150 SE | 34 | 36 | 0.02846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1140-26_0_3_trafo_38 | 0.25 MVA 20/0.4 kV | 37 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2640717.4468 | 1232834.2022 | 2640719.0359 | 1232810.438
1 | 2640722.6451 | 1232756.4624 | 2640719.0359 | 1232810.438
2 | 2640675.5201 | 1232756.7514 | 2640719.6163 | 1232756.5084 | 2640722.6451 | 1232756.4624
3 | 2640675.5201 | 1232756.7514 | 2640664.6216 | 1232756.1143
4 | 2640675.5201 | 1232756.7514 | 2640674.3983 | 1232776.2296
5 | 2640644.5135 | 1232754.9388 | 2640664.6216 | 1232756.1143
6 | 2640674.0965 | 1232781.4688 | 2640674.3983 | 1232776.2296
7 | 2640670.8911 | 1232837.1234 | 2640670.4441 | 1232844.8848
8 | 2640672.3754 | 1232811.3522 | 2640670.8911 | 1232837.1234
9 | 2640672.3754 | 1232811.3522 | 2640672.5517 | 1232808.292
10 | 2640674.0965 | 1232781.4688 | 2640672.5517 | 1232808.292
11 | 2640566.4193 | 1232767.296 | 2640566.4455 | 1232767.0331
12 | 2640568.8127 | 1232746.6721 | 2640567.2201 | 1232759.2691 | 2640566.4455 | 1232767.0331
13 | 2640568.8127 | 1232746.6721 | 2640550.8293 | 1232744.715
14 | 2640568.8127 | 1232746.6721 | 2640569.6416 | 1232746.7877
15 | 2640550.8293 | 1232744.715 | 2640553.2575 | 1232736.3184
16 | 2640569.6416 | 1232746.7877 | 2640590.1355 | 1232749.6438
17 | 2640559.1339 | 1232715.9981 | 2640553.2575 | 1232736.3184
18 | 2640609.4587 | 1232752.3368 | 2640590.1355 | 1232749.6438
19 | 2640559.1339 | 1232715.9981 | 2640615.5236 | 1232719.9227
20 | 2640569.0672 | 1232657.2069 | 2640566.3468 | 1232660.8796 | 2640572.9111 | 1232666.4278 | 2640573.1261 | 1232668.2081 | 2640564.8138 | 1232709.1214 | 2640559.1339 | 1232715.9981
21 | 2640616.2918 | 1232753.2891 | 2640609.4587 | 1232752.3368
22 | 2640644.5135 | 1232754.9388 | 2640630.5792 | 1232754.1243
23 | 2640616.2918 | 1232753.2891 | 2640630.5792 | 1232754.1243
24 | 2640623.0229 | 1232720.4446 | 2640615.5236 | 1232719.9227
25 | 2640610.8692 | 1232792.9896 | 2640612.6818 | 1232779.7191
26 | 2640616.2918 | 1232753.2891 | 2640612.6818 | 1232779.7191
27 | 2640610.8692 | 1232792.9896 | 2640609.6772 | 1232801.7168
28 | 2640609.6772 | 1232801.7168 | 2640605.8292 | 1232829.8893
29 | 2640520.1369 | 1232698.3888 | 2640482.051 | 1232634.8701
30 | 2640551.4275 | 1232672.9513 | 2640544.7001 | 1232679.7994 | 2640520.1369 | 1232698.3888
31 | 2640565.431 | 1232654.1691 | 2640557.8329 | 1232664.7573 | 2640551.6763 | 1232672.698 | 2640551.4275 | 1232672.9513
32 | 2640569.0672 | 1232657.2069 | 2640565.431 | 1232654.1691
33 | 2640591.1509 | 1232627.5168 | 2640565.431 | 1232654.1691
34 | 2640569.0672 | 1232657.2069 | 2640577.3785 | 1232664.1568
35 | 2640591.1509 | 1232627.5168 | 2640616.4617 | 1232614.5039

## bus_geodata
| x | y | coords
0 | 2640717.4468 | 1232834.2022
1 | 2640719.0359 | 1232810.438
2 | 2640722.6451 | 1232756.4624
3 | 2640675.5201 | 1232756.7514
4 | 2640664.6216 | 1232756.1143
5 | 2640674.3983 | 1232776.2296
6 | 2640670.4441 | 1232844.8848
7 | 2640670.8911 | 1232837.1234
8 | 2640672.3754 | 1232811.3522
9 | 2640672.5517 | 1232808.292
10 | 2640674.0966 | 1232781.4688
11 | 2640566.4455 | 1232767.0331
12 | 2640566.4193 | 1232767.296
13 | 2640568.8127 | 1232746.6721
14 | 2640550.8293 | 1232744.715
15 | 2640569.6416 | 1232746.7877
16 | 2640553.2575 | 1232736.3184
17 | 2640590.1355 | 1232749.6438
18 | 2640559.1339 | 1232715.9981
19 | 2640609.4587 | 1232752.3368
20 | 2640644.5135 | 1232754.9388
21 | 2640630.5792 | 1232754.1243
22 | 2640623.0229 | 1232720.4446
23 | 2640615.5236 | 1232719.9227
24 | 2640612.6818 | 1232779.7191
25 | 2640610.8692 | 1232792.9896
26 | 2640616.2918 | 1232753.2891
27 | 2640609.6772 | 1232801.7168
28 | 2640605.8292 | 1232829.8893
29 | 2640482.051 | 1232634.8701
30 | 2640520.1369 | 1232698.3888
31 | 2640551.4275 | 1232672.9513
32 | 2640565.431 | 1232654.1691
33 | 2640569.0672 | 1232657.2069
34 | 2640591.1509 | 1232627.5168
35 | 2640577.3785 | 1232664.1568
36 | 2640616.4617 | 1232614.5039
37 | 2640559.1339 | 1232715.9981

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98594 | -0.098653 | 0.0014374 | 0.00036024
1 | 0.98599 | -0.098301 | 0.0014469 | 0.00036262
2 | 0.98622 | -0.096697 | 0 | 0
3 | 0.98641 | -0.095298 | 0 | 0
4 | 0.98676 | -0.092805 | 0.0018381 | 0.00046068
5 | 0.98587 | -0.099178 | 0.0035455 | 0.00088859
6 | 0.98493 | -0.10584 | 0.0030364 | 0.000761
7 | 0.98496 | -0.1056 | 0.0034131 | 0.00085541
8 | 0.9852 | -0.10388 | 0.0034941 | 0.00087571
9 | 0.98525 | -0.10357 | 0.0028691 | 0.00071907
10 | 0.98575 | -0.10003 | 0.0030102 | 0.00075442
11 | 0.99137 | -0.060261 | 0.0025693 | 0.00064393
12 | 0.99137 | -0.060275 | 0.0052978 | 0.0013277
13 | 0.9916 | -0.058623 | 0 | 0
14 | 0.99305 | -0.048428 | 0 | 0
15 | 0.99154 | -0.05903 | 0.0023391 | 0.00058623
16 | 0.99376 | -0.043498 | 0.002325 | 0.00058269
17 | 0.99018 | -0.068613 | 0.0023629 | 0.0005922
18 | 0.99553 | -0.0311 | 0.0028032 | 0.00070254
19 | 0.98897 | -0.077202 | 0.0018019 | 0.00045159
20 | 0.98747 | -0.08783 | 0.0016873 | 0.00042287
21 | 0.98799 | -0.084146 | 0.0017416 | 0.00043648
22 | 0.99998 | -0.00011046 | 0.0014719 | 0.0003689
23 | 1 | 0 | -0.11323 | -0.028337
24 | 0.98802 | -0.083891 | 0.0017873 | 0.00044793
25 | 0.98779 | -0.085542 | 0.0065156 | 0.001633
26 | 0.98856 | -0.080117 | 0 | 0
27 | 0.98772 | -0.086041 | 0.0042686 | 0.0010698
28 | 0.98767 | -0.08641 | 0.0012673 | 0.00031761
29 | 0.98957 | -0.072959 | 0.0037367 | 0.0009365
30 | 0.98997 | -0.070137 | 0.0026978 | 0.00067613
31 | 0.99035 | -0.067486 | 0.0015065 | 0.00037757
32 | 0.99061 | -0.06559 | 0 | 0
33 | 0.99091 | -0.063522 | 0 | 0
34 | 0.98874 | -0.078801 | 0 | 0
35 | 0.99082 | -0.064164 | 0.0058411 | 0.0014639
36 | 0.9873 | -0.088999 | 0.035045 | 0.0087832
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0014374 | -0.00036024 | 0.0014375 | 0.00035997 | 6.9939e-08 | -2.7686e-07 | 0.0021694 | 0.0021693 | 0.0021694 | 0.98594 | -0.098653 | 0.98599 | -0.098301 | 0.80347
1 | -0.0028843 | -0.00072259 | 0.002885 | 0.00072214 | 6.3954e-07 | -4.4414e-07 | 0.0043528 | 0.0043526 | 0.0043528 | 0.98599 | -0.098301 | 0.98622 | -0.096697 | 1.6122
2 | -0.002885 | -0.00072214 | 0.0028855 | 0.00072176 | 5.5708e-07 | -3.8719e-07 | 0.0043526 | 0.0043524 | 0.0043526 | 0.98622 | -0.096697 | 0.98641 | -0.095298 | 1.6121
3 | -0.022275 | -0.0055828 | 0.022282 | 0.0055856 | 7.6916e-06 | 2.8189e-06 | 0.033602 | 0.033602 | 0.033602 | 0.98641 | -0.095298 | 0.98676 | -0.092805 | 12.4451
4 | 0.019389 | 0.004861 | -0.019379 | -0.0048572 | 1.0416e-05 | 3.7571e-06 | 0.029249 | 0.029249 | 0.029249 | 0.98641 | -0.095298 | 0.98587 | -0.099178 | 10.8331
5 | -0.02412 | -0.0060463 | 0.024137 | 0.0060524 | 1.6629e-05 | 6.1383e-06 | 0.036373 | 0.036373 | 0.036373 | 0.98676 | -0.092805 | 0.98747 | -0.08783 | 13.4717
6 | 0.015833 | 0.0039687 | -0.015831 | -0.003968 | 1.8702e-06 | 6.5241e-07 | 0.023898 | 0.023898 | 0.023898 | 0.98587 | -0.099178 | 0.98575 | -0.10003 | 8.8511
7 | -0.0030364 | -0.000761 | 0.0030365 | 0.00076094 | 1.0209e-07 | -5.968e-08 | 0.0045874 | 0.0045874 | 0.0045874 | 0.98493 | -0.10584 | 0.98496 | -0.1056 | 1.699
8 | -0.0064497 | -0.0016164 | 0.0064512 | 0.0016166 | 1.5293e-06 | 2.5955e-07 | 0.0097437 | 0.0097436 | 0.0097437 | 0.98496 | -0.1056 | 0.9852 | -0.10388 | 3.6088
9 | -0.0099453 | -0.0024923 | 0.0099457 | 0.0024924 | 4.3157e-07 | 1.2695e-07 | 0.015021 | 0.015021 | 0.015021 | 0.9852 | -0.10388 | 0.98525 | -0.10357 | 5.5633
10 | -0.012815 | -0.0032115 | 0.012821 | 0.0032136 | 6.28e-06 | 2.0731e-06 | 0.019354 | 0.019354 | 0.019354 | 0.98525 | -0.10357 | 0.98575 | -0.10003 | 7.1682
11 | 0.0052978 | 0.0013277 | -0.0052978 | -0.0013277 | 1.0426e-08 | 6.0279e-10 | 0.0079518 | 0.0079518 | 0.0079518 | 0.99137 | -0.060261 | 0.99137 | -0.060275 | 2.9451
12 | -0.0078671 | -0.0019717 | 0.0078689 | 0.0019721 | 1.7836e-06 | 4.2163e-07 | 0.011808 | 0.011808 | 0.011808 | 0.99137 | -0.060261 | 0.9916 | -0.058623 | 4.3734
13 | -0.055948 | -0.014046 | 0.056028 | 0.014076 | 7.9351e-05 | 3.0287e-05 | 0.083966 | 0.083966 | 0.083966 | 0.9916 | -0.058623 | 0.99305 | -0.048428 | 31.0984
14 | 0.048079 | 0.012074 | -0.048077 | -0.012073 | 2.7192e-06 | 1.0351e-06 | 0.072157 | 0.072157 | 0.072157 | 0.9916 | -0.058623 | 0.99154 | -0.05903 | 26.725
15 | -0.056028 | -0.014076 | 0.056066 | 0.014091 | 3.8453e-05 | 1.4676e-05 | 0.083966 | 0.083965 | 0.083966 | 0.99305 | -0.048428 | 0.99376 | -0.043498 | 31.0983
16 | 0.045738 | 0.011487 | -0.045677 | -0.011463 | 6.0846e-05 | 2.3136e-05 | 0.068647 | 0.068647 | 0.068647 | 0.99154 | -0.05903 | 0.99018 | -0.068613 | 25.4249
17 | -0.058391 | -0.014674 | 0.058492 | 0.014712 | 0.00010094 | 3.8547e-05 | 0.087447 | 0.087447 | 0.087447 | 0.99376 | -0.043498 | 0.99553 | -0.0311 | 32.3877
18 | 0.043314 | 0.010871 | -0.043262 | -0.010852 | 5.1589e-05 | 1.9591e-05 | 0.065096 | 0.065096 | 0.065096 | 0.99018 | -0.068613 | 0.98897 | -0.077202 | 24.1098
19 | -0.11048 | -0.027785 | 0.11096 | 0.027968 | 0.00048109 | 0.00018356 | 0.16516 | 0.16516 | 0.16516 | 0.99553 | -0.0311 | 1 | 0 | 30.5858
20 | 0.049181 | 0.01237 | -0.04896 | -0.012286 | 0.0002213 | 8.4267e-05 | 0.073527 | 0.073527 | 0.073527 | 0.99553 | -0.0311 | 0.99091 | -0.063522 | 27.2323
21 | 0.04146 | 0.0104 | -0.041444 | -0.010394 | 1.6755e-05 | 6.3558e-06 | 0.062385 | 0.062385 | 0.062385 | 0.98897 | -0.077202 | 0.98856 | -0.080117 | 23.1057
22 | -0.025824 | -0.0064753 | 0.025838 | 0.0064802 | 1.3191e-05 | 4.8946e-06 | 0.038916 | 0.038916 | 0.038916 | 0.98747 | -0.08783 | 0.98799 | -0.084146 | 14.4133
23 | -0.027579 | -0.0069166 | 0.027595 | 0.0069224 | 1.541e-05 | 5.7434e-06 | 0.041539 | 0.041539 | 0.041539 | 0.98799 | -0.084146 | 0.98856 | -0.080117 | 15.3848
24 | -0.0014719 | -0.0003689 | 0.0014719 | 0.00036881 | 2.2503e-08 | -8.9967e-08 | 0.0021903 | 0.0021902 | 0.0021903 | 0.99998 | -0.00011046 | 1 | 0 | 0.81121
25 | 0.012055 | 0.003021 | -0.012052 | -0.0030201 | 2.7547e-06 | 8.8801e-07 | 0.018155 | 0.018155 | 0.018155 | 0.98802 | -0.083891 | 0.98779 | -0.085542 | 6.7241
26 | -0.013842 | -0.0034689 | 0.013849 | 0.0034713 | 7.2338e-06 | 2.4404e-06 | 0.020847 | 0.020847 | 0.020847 | 0.98802 | -0.083891 | 0.98856 | -0.080117 | 7.721
27 | 0.0055364 | 0.0013871 | -0.005536 | -0.0013871 | 3.8229e-07 | 3.4291e-08 | 0.0083399 | 0.0083399 | 0.0083399 | 0.98779 | -0.085542 | 0.98772 | -0.086041 | 3.0889
28 | 0.0012673 | 0.00031727 | -0.0012673 | -0.00031761 | 6.4674e-08 | -3.3904e-07 | 0.0019091 | 0.0019093 | 0.0019093 | 0.98772 | -0.086041 | 0.98767 | -0.08641 | 0.70714
29 | -0.0037367 | -0.0009365 | 0.0037381 | 0.00093611 | 1.459e-06 | -3.9072e-07 | 0.0056188 | 0.0056185 | 0.0056188 | 0.98957 | -0.072959 | 0.98997 | -0.070137 | 2.0811
30 | -0.006436 | -0.0016122 | 0.0064383 | 0.0016126 | 2.3593e-06 | 3.8771e-07 | 0.0096735 | 0.0096734 | 0.0096735 | 0.98997 | -0.070137 | 0.99035 | -0.067486 | 3.5828
31 | -0.0079448 | -0.0019902 | 0.0079469 | 0.0019907 | 2.0837e-06 | 4.9979e-07 | 0.011937 | 0.011937 | 0.011937 | 0.99035 | -0.067486 | 0.99061 | -0.06559 | 4.4211
32 | -0.043106 | -0.010817 | 0.043119 | 0.010822 | 1.2376e-05 | 4.6992e-06 | 0.064755 | 0.064755 | 0.064755 | 0.99061 | -0.06559 | 0.99091 | -0.063522 | 23.9834
33 | 0.035159 | 0.0088262 | -0.035095 | -0.0088019 | 6.4393e-05 | 2.4291e-05 | 0.052818 | 0.052819 | 0.052819 | 0.99061 | -0.06559 | 0.98874 | -0.078801 | 19.5624
34 | 0.0058416 | 0.001464 | -0.0058411 | -0.0014639 | 5.1935e-07 | 6.0434e-08 | 0.0087721 | 0.0087722 | 0.0087722 | 0.99091 | -0.063522 | 0.99082 | -0.064164 | 3.249
35 | 0.035095 | 0.0088019 | -0.035045 | -0.0087832 | 4.9544e-05 | 1.8691e-05 | 0.052819 | 0.052819 | 0.052819 | 0.98874 | -0.078801 | 0.9873 | -0.088999 | 19.5625

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20338 | 0.050931

## res_load
| p_mw | q_mvar
0 | 0.0014374 | 0.00036024
1 | 0.0014469 | 0.00036262
2 | 0.0018381 | 0.00046068
3 | 0.0035455 | 0.00088859
4 | 0.0030364 | 0.000761
5 | 0.0034131 | 0.00085541
6 | 0.0034941 | 0.00087571
7 | 0.0028691 | 0.00071907
8 | 0.0030102 | 0.00075442
9 | 0.0025693 | 0.00064393
10 | 0.0052978 | 0.0013277
11 | 0.0023391 | 0.00058623
12 | 0.002325 | 0.00058269
13 | 0.0023629 | 0.0005922
14 | 0.0028032 | 0.00070254
15 | 0.0018019 | 0.00045159
16 | 0.0016873 | 0.00042287
17 | 0.0017416 | 0.00043648
18 | 0.0014719 | 0.0003689
19 | 0.090149 | 0.022594
20 | 0.0017873 | 0.00044793
21 | 0.0065156 | 0.001633
22 | 0.0042686 | 0.0010698
23 | 0.0012673 | 0.00031761
24 | 0.0037367 | 0.0009365
25 | 0.0026978 | 0.00067613
26 | 0.0015065 | 0.00037757
27 | 0.0058411 | 0.0014639
28 | 0.035045 | 0.0087832

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1