## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1140-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1140-2_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1140-2_0_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_1140-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1140-2_0_4_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_1140-2_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1140-2_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1140-2_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1140-2_0_4_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_1140-2_0_4_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_1140-2_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1140-2_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1140-2_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1140-2_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1140-2_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1140-2_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1140-2_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1140-2_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1140-2_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1140-2_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1140-2_0_4_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1140-2_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1140-2_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1140-2_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1140-2_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1140-2_0_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1140-2_0_4_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_1140-2_0_4_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1140-2_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1140-2_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1140-2_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1140-2_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1140-2_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_1140-2_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1140-2_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1140-2_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1140-2_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_MV_475_0_node_294 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1140-2_0_4_load_0 | 0 | 0.016103 | 0.0040359 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1140-2_0_4_load_17 | 4 | 0.011994 | 0.0030059 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1140-2_0_4_load_15 | 5 | 0.0090711 | 0.0022734 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1140-2_0_4_load_20 | 6 | 0.011038 | 0.0027665 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1140-2_0_4_load_41 | 8 | 0.011042 | 0.0027675 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1140-2_0_4_load_19 | 10 | 0.0028996 | 0.0007267 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1140-2_0_4_load_7 | 11 | 0.0071593 | 0.0017943 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1140-2_0_4_load_8 | 12 | 0.0071086 | 0.0017816 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1140-2_0_4_load_9 | 13 | 0.0014885 | 0.00037305 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1140-2_0_4_load_10 | 14 | 0.0035978 | 0.00090168 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1140-2_0_4_load_11 | 15 | 0.0015107 | 0.00037862 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1140-2_0_4_load_12 | 16 | 0.0019171 | 0.00048046 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1140-2_0_4_load_18 | 17 | 0.004352 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1140-2_0_4_load_13 | 18 | 0.0030454 | 0.00076325 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1140-2_0_4_load_14 | 19 | 0.0070533 | 0.0017677 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1140-2_0_4_load_26 | 20 | 0.0034045 | 0.00085324 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1140-2_0_4_load_25 | 21 | 0.018251 | 0.0045741 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1140-2_0_4_load_22 | 23 | 0.011042 | 0.0027675 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1140-2_0_4_load_23 | 24 | 0.015906 | 0.0039864 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1140-2_0_4_load_37 | 26 | 0.015906 | 0.0039864 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1140-2_0_4_load_33 | 27 | 0.011047 | 0.0027686 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1140-2_0_4_load_28 | 29 | 0.004003 | 0.0010032 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1140-2_0_4_load_40 | 31 | 0.010959 | 0.0027466 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1140-2_0_4_load_39 | 32 | 0.011049 | 0.0027692 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1140-2_0_4_load_30 | 33 | 0.011039 | 0.0027667 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1140-2_0_4_load_31 | 34 | 0.010946 | 0.0027433 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1140-2_0_4_load_34 | 36 | 0.011054 | 0.0027703 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1140-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.086005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1140-2_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.13818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1140-2_0_4_line_2 | NAYY 4x150 SE | 2 | 6 | 0.023975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1140-2_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.067742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1140-2_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.020403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1140-2_0_4_line_5 | NAYY 4x150 SE | 5 | 7 | 0.0023463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1140-2_0_4_line_6 | NAYY 4x150 SE | 6 | 10 | 0.0011938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1140-2_0_4_line_7 | NAYY 4x150 SE | 7 | 17 | 0.022677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1140-2_0_4_line_8 | NAYY 4x150 SE | 7 | 14 | 0.03934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1140-2_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.014466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1140-2_0_4_line_10 | NAYY 4x150 SE | 9 | 23 | 0.029953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1140-2_0_4_line_11 | NAYY 4x150 SE | 10 | 22 | 0.014343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1140-2_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.002709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1140-2_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0054589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1140-2_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0014119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1140-2_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.010126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1140-2_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 4.2566e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1140-2_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0050406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1140-2_0_4_line_18 | NAYY 4x150 SE | 17 | 20 | 0.015334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1140-2_0_4_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0060169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1140-2_0_4_line_20 | NAYY 4x150 SE | 20 | 21 | 0.035453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1140-2_0_4_line_21 | NAYY 4x150 SE | 21 | 28 | 0.0052045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1140-2_0_4_line_22 | NAYY 4x150 SE | 22 | 23 | 0.02833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1140-2_0_4_line_23 | NAYY 4x150 SE | 22 | 24 | 0.024516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1140-2_0_4_line_24 | NAYY 4x150 SE | 24 | 25 | 0.010329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1140-2_0_4_line_25 | NAYY 4x150 SE | 25 | 26 | 0.026838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1140-2_0_4_line_26 | NAYY 4x150 SE | 25 | 27 | 0.019581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1140-2_0_4_line_27 | NAYY 4x150 SE | 26 | 30 | 0.014605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1140-2_0_4_line_28 | NAYY 4x150 SE | 27 | 34 | 0.016309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1140-2_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.037931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1140-2_0_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1140-2_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.018371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1140-2_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.016315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1140-2_0_4_line_33 | NAYY 4x150 SE | 33 | 34 | 0.016304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1140-2_0_4_line_34 | NAYY 4x150 SE | 33 | 35 | 0.016386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1140-2_0_4_line_35 | NAYY 4x150 SE | 35 | 36 | 0.025393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1140-2_0_4_trafo_29 | 0.25 MVA 20/0.4 kV | 37 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2640137.294 | 1232802.6583 | 2640201.0649 | 1232820.6445 | 2640220.5524 | 1232823.8317
1 | 2640111.522 | 1232898.0552 | 2640117.8387 | 1232872.9932 | 2640098.5422 | 1232867.0817 | 2640100.7198 | 1232859.6473 | 2640116.9982 | 1232802.3101 | 2640135.6772 | 1232807.7506 | 2640137.294 | 1232802.6583
2 | 2640111.522 | 1232898.0552 | 2640134.5147 | 1232904.8486
3 | 2640342.0464 | 1232905.4072 | 2640391.0352 | 1232905.8509 | 2640409.6853 | 1232907.7969
4 | 2640342.0464 | 1232905.4072 | 2640342.2135 | 1232925.8097
5 | 2640342.2328 | 1232928.156 | 2640342.2135 | 1232925.8097
6 | 2640134.5147 | 1232904.8486 | 2640135.6595 | 1232905.1869
7 | 2640342.2328 | 1232928.156 | 2640319.5567 | 1232928.0055
8 | 2640342.2328 | 1232928.156 | 2640342.4342 | 1232953.1396 | 2640342.7479 | 1232967.4919
9 | 2640133.5537 | 1232965.3346 | 2640119.4678 | 1232962.0404
10 | 2640133.5537 | 1232965.3346 | 2640141.7052 | 1232936.5117
11 | 2640149.4149 | 1232909.2511 | 2640135.6595 | 1232905.1869
12 | 2640342.838 | 1232971.6119 | 2640342.7788 | 1232968.9035
13 | 2640342.838 | 1232971.6119 | 2640342.9572 | 1232977.0694
14 | 2640342.7479 | 1232967.4919 | 2640342.7788 | 1232968.9035
15 | 2640342.9572 | 1232977.0694 | 2640343.1785 | 1232987.1934
16 | 2640343.1785 | 1232987.1934 | 2640343.1794 | 1232987.2359
17 | 2640343.2896 | 1232992.2753 | 2640343.1794 | 1232987.2359
18 | 2640319.5567 | 1232928.0055 | 2640304.2228 | 1232927.9037
19 | 2640343.1022 | 1232998.2863 | 2640343.324 | 1232993.8488 | 2640343.2896 | 1232992.2753
20 | 2640268.771 | 1232927.6684 | 2640304.2228 | 1232927.9037
21 | 2640263.5666 | 1232927.6339 | 2640268.771 | 1232927.6684
22 | 2640149.4149 | 1232909.2511 | 2640141.7052 | 1232936.5117
23 | 2640149.4149 | 1232909.2511 | 2640173.0047 | 1232915.9265
24 | 2640182.9431 | 1232918.7389 | 2640173.0047 | 1232915.9265
25 | 2640182.9431 | 1232918.7389 | 2640208.766 | 1232926.0485
26 | 2640182.9431 | 1232918.7389 | 2640177.2072 | 1232937.4608
27 | 2640222.8187 | 1232930.0265 | 2640208.766 | 1232926.0485
28 | 2640172.4296 | 1232953.0549 | 2640177.2072 | 1232937.4608
29 | 2640263.5666 | 1232927.6339 | 2640254.0285 | 1232964.3478
30 | 2640263.5666 | 1232927.6339 | 2640234.666 | 1232917.899 | 2640229.9293 | 1232932.0424 | 2640222.8187 | 1232930.0265
31 | 2640222.8187 | 1232930.0265 | 2640218.0297 | 1232947.7623
32 | 2640213.7765 | 1232963.5136 | 2640218.0297 | 1232947.7623
33 | 2640167.6536 | 1232968.6438 | 2640172.4296 | 1232953.0549
34 | 2640162.8536 | 1232984.3108 | 2640167.6536 | 1232968.6438
35 | 2640162.8536 | 1232984.3108 | 2640187.4269 | 1232990.7117

## bus_geodata
| x | y | coords
0 | 2640220.5524 | 1232823.8317
1 | 2640137.294 | 1232802.6583
2 | 2640111.522 | 1232898.0552
3 | 2640342.0464 | 1232905.4072
4 | 2640409.6853 | 1232907.7969
5 | 2640342.2135 | 1232925.8097
6 | 2640134.5147 | 1232904.8486
7 | 2640342.2328 | 1232928.156
8 | 2640119.4678 | 1232962.0404
9 | 2640133.5537 | 1232965.3346
10 | 2640135.6595 | 1232905.1869
11 | 2640342.838 | 1232971.6119
12 | 2640342.7788 | 1232968.9035
13 | 2640342.9572 | 1232977.0694
14 | 2640342.7479 | 1232967.4919
15 | 2640343.1785 | 1232987.1934
16 | 2640343.1794 | 1232987.2359
17 | 2640319.5567 | 1232928.0055
18 | 2640343.2896 | 1232992.2753
19 | 2640343.1022 | 1232998.2863
20 | 2640304.2228 | 1232927.9037
21 | 2640268.771 | 1232927.6684
22 | 2640149.4149 | 1232909.2511
23 | 2640141.7052 | 1232936.5117
24 | 2640173.0047 | 1232915.9265
25 | 2640182.9431 | 1232918.7389
26 | 2640208.766 | 1232926.0485
27 | 2640177.2072 | 1232937.4608
28 | 2640263.5666 | 1232927.6339
29 | 2640254.0285 | 1232964.3478
30 | 2640222.8187 | 1232930.0264
31 | 2640218.0297 | 1232947.7623
32 | 2640213.7765 | 1232963.5136
33 | 2640167.6536 | 1232968.6438
34 | 2640172.4296 | 1232953.0549
35 | 2640162.8536 | 1232984.3108
36 | 2640187.4269 | 1232990.7117
37 | 2640182.9431 | 1232918.7389

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98721 | -0.089822 | 0.016103 | 0.0040359
1 | 0.98921 | -0.075664 | 0 | 0
2 | 0.99243 | -0.053022 | 0 | 0
3 | 0.98636 | -0.095543 | 0 | 0
4 | 0.98519 | -0.10389 | 0.011994 | 0.0030059
5 | 0.98671 | -0.093032 | 0.0090711 | 0.0022734
6 | 0.99298 | -0.049107 | 0.011038 | 0.0027665
7 | 0.98679 | -0.092525 | 0 | 0
8 | 0.99205 | -0.05572 | 0.011042 | 0.0027675
9 | 0.99228 | -0.0541 | 0 | 0
10 | 0.99303 | -0.048779 | 0.0028996 | 0.0007267
11 | 0.98477 | -0.10685 | 0.0071593 | 0.0017943
12 | 0.98485 | -0.10624 | 0.0071086 | 0.0017816
13 | 0.98465 | -0.1077 | 0.0014885 | 0.00037305
14 | 0.98491 | -0.10581 | 0.0035978 | 0.00090168
15 | 0.98445 | -0.10911 | 0.0015107 | 0.00037862
16 | 0.98445 | -0.10911 | 0.0019171 | 0.00048046
17 | 0.98856 | -0.080006 | 0.004352 | 0.0010907
18 | 0.98438 | -0.10964 | 0.0030454 | 0.00076325
19 | 0.98431 | -0.11007 | 0.0070533 | 0.0017677
20 | 0.98985 | -0.070885 | 0.0034045 | 0.00085324
21 | 0.99301 | -0.048667 | 0.018251 | 0.0045741
22 | 0.99365 | -0.044417 | 0 | 0
23 | 0.99275 | -0.050748 | 0.011042 | 0.0027675
24 | 0.99549 | -0.031515 | 0.015906 | 0.0039864
25 | 0.9965 | -0.024441 | 0 | 0
26 | 0.99866 | -0.0093467 | 0.015906 | 0.0039864
27 | 0.99526 | -0.03313 | 0.011047 | 0.0027686
28 | 0.99361 | -0.044457 | 0 | 0
29 | 0.9934 | -0.045993 | 0.004003 | 0.0010032
30 | 1 | 0 | -0.23663 | -0.059338
31 | 0.99942 | -0.0040379 | 0.010959 | 0.0027466
32 | 0.99917 | -0.0058398 | 0.011049 | 0.0027692
33 | 0.99397 | -0.042202 | 0.011039 | 0.0027667
34 | 0.99449 | -0.038564 | 0.010946 | 0.0027433
35 | 0.99371 | -0.044033 | 0 | 0
36 | 0.99331 | -0.046871 | 0.011054 | 0.0027703
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.016103 | -0.0040359 | 0.016135 | 0.004047 | 3.1618e-05 | 1.1059e-05 | 0.024272 | 0.024272 | 0.024272 | 0.98721 | -0.089822 | 0.98921 | -0.075664 | 8.9898
1 | -0.016135 | -0.004047 | 0.016186 | 0.0040647 | 5.0795e-05 | 1.7757e-05 | 0.024272 | 0.024271 | 0.024272 | 0.98921 | -0.075664 | 0.99243 | -0.053022 | 8.9897
2 | -0.016186 | -0.0040647 | 0.016195 | 0.0040678 | 8.8133e-06 | 3.0798e-06 | 0.024271 | 0.024271 | 0.024271 | 0.99243 | -0.053022 | 0.99298 | -0.049107 | 8.9894
3 | 0.012007 | 0.0030103 | -0.011994 | -0.0030059 | 1.3871e-05 | 4.4714e-06 | 0.018115 | 0.018115 | 0.018115 | 0.98636 | -0.095543 | 0.98519 | -0.10389 | 6.7092
4 | -0.012007 | -0.0030103 | 0.012012 | 0.0030117 | 4.1777e-06 | 1.3463e-06 | 0.018115 | 0.018115 | 0.018115 | 0.98636 | -0.095543 | 0.98671 | -0.093032 | 6.7091
5 | -0.021083 | -0.0052851 | 0.021084 | 0.0052857 | 1.48e-06 | 5.3927e-07 | 0.031794 | 0.031794 | 0.031794 | 0.98671 | -0.093032 | 0.98679 | -0.092525 | 11.7757
6 | -0.027233 | -0.0068343 | 0.027234 | 0.0068348 | 1.2408e-06 | 4.6178e-07 | 0.040813 | 0.040813 | 0.040813 | 0.99298 | -0.049107 | 0.99303 | -0.048779 | 15.1159
7 | -0.054035 | -0.013552 | 0.054129 | 0.013588 | 9.3953e-05 | 3.5846e-05 | 0.081484 | 0.081484 | 0.081484 | 0.98679 | -0.092525 | 0.98856 | -0.080006 | 30.1794
8 | 0.03295 | 0.0082666 | -0.03289 | -0.0082438 | 6.0613e-05 | 2.2811e-05 | 0.04969 | 0.04969 | 0.04969 | 0.98679 | -0.092525 | 0.98491 | -0.10581 | 18.4039
9 | -0.011042 | -0.0027675 | 0.011045 | 0.0027682 | 2.4763e-06 | 7.6561e-07 | 0.016563 | 0.016563 | 0.016563 | 0.99205 | -0.05572 | 0.99228 | -0.0541 | 6.1344
10 | -0.011045 | -0.0027682 | 0.01105 | 0.0027698 | 5.1274e-06 | 1.585e-06 | 0.016563 | 0.016563 | 0.016563 | 0.99228 | -0.0541 | 0.99275 | -0.050748 | 6.1344
11 | -0.030134 | -0.0075615 | 0.030152 | 0.0075683 | 1.8251e-05 | 6.8341e-06 | 0.045158 | 0.045158 | 0.045158 | 0.99303 | -0.048779 | 0.99365 | -0.044417 | 16.7251
12 | -0.02218 | -0.0055592 | 0.022182 | 0.0055599 | 1.8987e-06 | 6.9582e-07 | 0.033515 | 0.033515 | 0.033515 | 0.98477 | -0.10685 | 0.98485 | -0.10624 | 12.4128
13 | 0.01502 | 0.0037649 | -0.015019 | -0.0037643 | 1.7547e-06 | 6.0545e-07 | 0.022697 | 0.022697 | 0.022697 | 0.98477 | -0.10685 | 0.98465 | -0.1077 | 8.4062
14 | -0.02929 | -0.0073415 | 0.029292 | 0.0073421 | 1.7255e-06 | 6.457e-07 | 0.044255 | 0.044255 | 0.044255 | 0.98485 | -0.10624 | 0.98491 | -0.10581 | 16.3907
15 | 0.01353 | 0.0033912 | -0.013528 | -0.0033904 | 2.6418e-06 | 8.8732e-07 | 0.020447 | 0.020447 | 0.020447 | 0.98465 | -0.1077 | 0.98445 | -0.10911 | 7.5731
16 | 0.012017 | 0.0030117 | -0.012017 | -0.0030117 | 8.764e-09 | 2.8288e-09 | 0.018164 | 0.018164 | 0.018164 | 0.98445 | -0.10911 | 0.98445 | -0.10911 | 6.7273
17 | 0.0101 | 0.0025313 | -0.010099 | -0.0025311 | 7.3304e-07 | 2.1785e-07 | 0.015266 | 0.015266 | 0.015266 | 0.98445 | -0.10911 | 0.98438 | -0.10964 | 5.6541
18 | -0.058481 | -0.014679 | 0.058555 | 0.014707 | 7.4158e-05 | 2.8325e-05 | 0.088035 | 0.088035 | 0.088035 | 0.98856 | -0.080006 | 0.98985 | -0.070885 | 32.6056
19 | 0.0070537 | 0.0017678 | -0.0070533 | -0.0017677 | 4.2686e-07 | 8.7691e-08 | 0.010663 | 0.010663 | 0.010663 | 0.98438 | -0.10964 | 0.98431 | -0.11007 | 3.9491
20 | -0.061959 | -0.01556 | 0.062151 | 0.015634 | 0.00019197 | 7.3376e-05 | 0.093153 | 0.093153 | 0.093153 | 0.98985 | -0.070885 | 0.99301 | -0.048667 | 34.5011
21 | -0.080402 | -0.020208 | 0.080449 | 0.020226 | 4.7158e-05 | 1.807e-05 | 0.1205 | 0.1205 | 0.1205 | 0.99301 | -0.048667 | 0.99361 | -0.044457 | 44.6302
22 | 0.022112 | 0.0055444 | -0.022092 | -0.0055373 | 1.9384e-05 | 7.0889e-06 | 0.033114 | 0.033114 | 0.033114 | 0.99365 | -0.044417 | 0.99275 | -0.050748 | 12.2644
23 | -0.052264 | -0.013113 | 0.052358 | 0.013148 | 9.3723e-05 | 3.5729e-05 | 0.078272 | 0.078271 | 0.078272 | 0.99365 | -0.044417 | 0.99549 | -0.031515 | 28.9895
24 | -0.068264 | -0.017135 | 0.068331 | 0.017161 | 6.7116e-05 | 2.568e-05 | 0.10205 | 0.10205 | 0.10205 | 0.99549 | -0.031515 | 0.9965 | -0.024441 | 37.7951
25 | -0.11251 | -0.028245 | 0.11275 | 0.028336 | 0.0002364 | 9.0222e-05 | 0.16803 | 0.16803 | 0.16803 | 0.9965 | -0.024441 | 0.99866 | -0.0093467 | 31.1159
26 | 0.044182 | 0.011085 | -0.044129 | -0.011065 | 5.319e-05 | 2.0203e-05 | 0.065979 | 0.065979 | 0.065979 | 0.9965 | -0.024441 | 0.99526 | -0.03313 | 24.4367
27 | -0.12866 | -0.032322 | 0.12882 | 0.032386 | 0.0001675 | 6.404e-05 | 0.19173 | 0.19173 | 0.19173 | 0.99866 | -0.0093467 | 1 | 0 | 35.5047
28 | 0.033082 | 0.008296 | -0.033057 | -0.0082867 | 2.4899e-05 | 9.3649e-06 | 0.049463 | 0.049463 | 0.049463 | 0.99526 | -0.03313 | 0.99449 | -0.038564 | 18.3197
29 | 0.0040038 | 0.0010031 | -0.004003 | -0.0010032 | 8.5095e-07 | -1.639e-07 | 0.0059959 | 0.0059961 | 0.0059961 | 0.99361 | -0.044457 | 0.9934 | -0.045993 | 2.2208
30 | -0.084453 | -0.021229 | 0.084979 | 0.021431 | 0.00052621 | 0.0002017 | 0.1265 | 0.1265 | 0.1265 | 0.99361 | -0.044457 | 1 | 0 | 46.8509
31 | 0.022023 | 0.0055211 | -0.022011 | -0.0055166 | 1.2311e-05 | 4.4943e-06 | 0.032771 | 0.032772 | 0.032772 | 1 | 0 | 0.99942 | -0.0040379 | 12.1376
32 | 0.011052 | 0.00277 | -0.011049 | -0.0027692 | 2.7567e-06 | 8.4652e-07 | 0.016455 | 0.016455 | 0.016455 | 0.99942 | -0.0040379 | 0.99917 | -0.0058398 | 6.0945
33 | -0.0221 | -0.0055393 | 0.022111 | 0.0055434 | 1.1137e-05 | 4.0718e-06 | 0.033085 | 0.033085 | 0.033085 | 0.99397 | -0.042202 | 0.99449 | -0.038564 | 12.2538
34 | 0.011061 | 0.0027726 | -0.011058 | -0.0027717 | 2.8036e-06 | 8.6597e-07 | 0.016559 | 0.016559 | 0.016559 | 0.99397 | -0.042202 | 0.99371 | -0.044033 | 6.1329
35 | 0.011058 | 0.0027717 | -0.011054 | -0.0027703 | 4.3448e-06 | 1.3422e-06 | 0.016559 | 0.016559 | 0.016559 | 0.99371 | -0.044033 | 0.99331 | -0.046871 | 6.133

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23663 | 0.059338

## res_load
| p_mw | q_mvar
0 | 0.016103 | 0.0040359
1 | 0.011994 | 0.0030059
2 | 0.0090711 | 0.0022734
3 | 0.011038 | 0.0027665
4 | 0.011042 | 0.0027675
5 | 0.0028996 | 0.0007267
6 | 0.0071593 | 0.0017943
7 | 0.0071086 | 0.0017816
8 | 0.0014885 | 0.00037305
9 | 0.0035978 | 0.00090168
10 | 0.0015107 | 0.00037862
11 | 0.0019171 | 0.00048046
12 | 0.004352 | 0.0010907
13 | 0.0030454 | 0.00076325
14 | 0.0070533 | 0.0017677
15 | 0.0034045 | 0.00085324
16 | 0.018251 | 0.0045741
17 | 0.011042 | 0.0027675
18 | 0.015906 | 0.0039864
19 | 0.015906 | 0.0039864
20 | 0.011047 | 0.0027686
21 | 0.004003 | 0.0010032
22 | 0.010959 | 0.0027466
23 | 0.011049 | 0.0027692
24 | 0.011039 | 0.0027667
25 | 0.010946 | 0.0027433
26 | 0.011054 | 0.0027703

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1