## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1140-38_1_2_node_47 | 0.4 | n |  | TRUE
1 | bus_LV_1140-38_1_2_node_46 | 0.4 | n |  | TRUE
2 | bus_LV_1140-38_1_2_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_1140-38_1_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1140-38_1_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1140-38_1_2_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_1140-38_1_2_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1140-38_1_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1140-38_1_2_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1140-38_1_2_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_1140-38_1_2_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_1140-38_1_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1140-38_1_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1140-38_1_2_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1140-38_1_2_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_1140-38_1_2_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_1140-38_1_2_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_1140-38_1_2_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_1140-38_1_2_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_1140-38_1_2_node_94 | 0.4 | n |  | TRUE
20 | bus_LV_1140-38_1_2_node_93 | 0.4 | n |  | TRUE
21 | bus_LV_1140-38_1_2_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_1140-38_1_2_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_1140-38_1_2_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_1140-38_1_2_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_1140-38_1_2_node_97 | 0.4 | n |  | TRUE
26 | bus_LV_1140-38_1_2_node_98 | 0.4 | n |  | TRUE
27 | bus_LV_1140-38_1_2_node_99 | 0.4 | n |  | TRUE
28 | bus_LV_1140-38_1_2_node_79 | 0.4 | n |  | TRUE
29 | bus_LV_1140-38_1_2_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_1140-38_1_2_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_1140-38_1_2_node_100 | 0.4 | n |  | TRUE
32 | bus_LV_1140-38_1_2_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_1140-38_1_2_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_1140-38_1_2_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_1140-38_1_2_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_1140-38_1_2_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_1140-38_1_2_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_1140-38_1_2_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_1140-38_1_2_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_1140-38_1_2_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_1140-38_1_2_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_1140-38_1_2_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_1140-38_1_2_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_1140-38_1_2_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_1140-38_1_2_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_1140-38_1_2_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_1140-38_1_2_node_95 | 0.4 | n |  | TRUE
48 | bus_LV_1140-38_1_2_node_82 | 0.4 | n |  | TRUE
49 | bus_LV_1140-38_1_2_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_1140-38_1_2_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_1140-38_1_2_node_92 | 0.4 | n |  | TRUE
52 | bus_MV_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1140-38_1_2_load_47 | 0 | 0.0012861 | 0.00032232 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1140-38_1_2_load_46 | 1 | 0.0027653 | 0.00069305 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1140-38_1_2_load_6 | 2 | 0.00037196 | 9.3223e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1140-38_1_2_load_7 | 3 | 0.00060318 | 0.00015117 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1140-38_1_2_load_8 | 4 | 0.00061203 | 0.00015339 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1140-38_1_2_load_14 | 5 | 0.0012995 | 0.00032568 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1140-38_1_2_load_9 | 6 | 0.0003133 | 7.8519e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1140-38_1_2_load_10 | 7 | 0.00034875 | 8.7404e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1140-38_1_2_load_13 | 8 | 0.00020621 | 5.1682e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1140-38_1_2_load_11 | 11 | 0.0011026 | 0.00027635 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1140-38_1_2_load_55 | 14 | 0.00078479 | 0.00019669 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1140-38_1_2_load_56 | 15 | 0.00051394 | 0.00012881 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1140-38_1_2_load_53 | 16 | 0.00049801 | 0.00012481 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1140-38_1_2_load_63 | 17 | 0.0061376 | 0.0015382 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1140-38_1_2_load_64 | 18 | 0.0015315 | 0.00038384 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1140-38_1_2_load_94 | 19 | 0.00091729 | 0.0002299 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1140-38_1_2_load_65 | 21 | 0.0025494 | 0.00063893 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1140-38_1_2_load_67 | 23 | 0.0021391 | 0.0005361 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1140-38_1_2_load_68 | 24 | 0.00042111 | 0.00010554 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1140-38_1_2_load_97 | 25 | 0.0033857 | 0.00084853 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1140-38_1_2_load_79 | 28 | 0.00063567 | 0.00015931 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1140-38_1_2_load_83 | 29 | 0.0012722 | 0.00031883 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1140-38_1_2_load_96 | 30 | 0.00049914 | 0.0001251 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1140-38_1_2_load_100 | 31 | 0.00081539 | 0.00020436 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1140-38_1_2_load_78 | 33 | 0.00027991 | 7.0152e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1140-38_1_2_load_81 | 34 | 0.00033496 | 8.3948e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1140-38_1_2_load_69 | 35 | 0.0018667 | 0.00046785 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1140-38_1_2_load_70 | 36 | 0.0012816 | 0.00032119 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1140-38_1_2_load_71 | 37 | 0.0060515 | 0.0015167 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1140-38_1_2_load_72 | 38 | 0.0002293 | 5.7468e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1140-38_1_2_load_75 | 41 | 0.0048706 | 0.0012207 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1140-38_1_2_load_73 | 42 | 0.0057268 | 0.0014353 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1140-38_1_2_load_74 | 43 | 0.0025033 | 0.0006274 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1140-38_1_2_load_76 | 44 | 0.0031167 | 0.00078111 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1140-38_1_2_load_89 | 45 | 0.0043852 | 0.001099 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1140-38_1_2_load_85 | 46 | 0.00039585 | 9.9209e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1140-38_1_2_load_95 | 47 | 0.00056603 | 0.00014186 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1140-38_1_2_load_82 | 48 | 0.0011719 | 0.0002937 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1140-38_1_2_load_86 | 49 | 0.00043343 | 0.00010863 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1140-38_1_2_load_92 | 51 | 0.0033857 | 0.00084854 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1140-38_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.042308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1140-38_1_2_line_1 | NAYY 4x150 SE | 1 | 7 | 0.022077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1140-38_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.024098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1140-38_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00064786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1140-38_1_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.062519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1140-38_1_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.044507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1140-38_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.002118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1140-38_1_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0099934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1140-38_1_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.052438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1140-38_1_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.023118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1140-38_1_2_line_10 | NAYY 4x150 SE | 10 | 16 | 0.003683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1140-38_1_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.022521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1140-38_1_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.061558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1140-38_1_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.020127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1140-38_1_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.037989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1140-38_1_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.077192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1140-38_1_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.0015841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1140-38_1_2_line_17 | NAYY 4x150 SE | 17 | 18 | 0.023856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1140-38_1_2_line_18 | NAYY 4x150 SE | 18 | 19 | 0.029744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1140-38_1_2_line_19 | NAYY 4x150 SE | 19 | 20 | 0.0051486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1140-38_1_2_line_20 | NAYY 4x150 SE | 20 | 50 | 0.008301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1140-38_1_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.010759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1140-38_1_2_line_22 | NAYY 4x150 SE | 22 | 23 | 0.037152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1140-38_1_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.013165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1140-38_1_2_line_24 | NAYY 4x150 SE | 23 | 28 | 0.0444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1140-38_1_2_line_25 | NAYY 4x150 SE | 24 | 29 | 0.058938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1140-38_1_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.010669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1140-38_1_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.014397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1140-38_1_2_line_28 | NAYY 4x150 SE | 26 | 51 | 0.028792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1140-38_1_2_line_29 | NAYY 4x150 SE | 27 | 31 | 0.004626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1140-38_1_2_line_30 | NAYY 4x150 SE | 28 | 33 | 0.018243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1140-38_1_2_line_31 | NAYY 4x150 SE | 29 | 34 | 0.024916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1140-38_1_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.04477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1140-38_1_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.067226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1140-38_1_2_line_34 | NAYY 4x150 SE | 32 | 40 | 0.023319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1140-38_1_2_line_35 | NAYY 4x150 SE | 32 | 47 | 0.026569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1140-38_1_2_line_36 | NAYY 4x150 SE | 34 | 48 | 0.018038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1140-38_1_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.038221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1140-38_1_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.06848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1140-38_1_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.021508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1140-38_1_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.017766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1140-38_1_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.030846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1140-38_1_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.016941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1140-38_1_2_line_43 | NAYY 4x150 SE | 40 | 46 | 0.037362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1140-38_1_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.013987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1140-38_1_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.023516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1140-38_1_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.019344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1140-38_1_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.011633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1140-38_1_2_line_48 | NAYY 4x150 SE | 46 | 49 | 0.0067348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1140-38_1_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.098728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1140-38_1_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.03055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1140-38_1_2_trafo_99 | 0.25 MVA 20/0.4 kV | 52 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2638068.363 | 1228972.0918 | 2638065.9963 | 1228965.4353 | 2638054.1796 | 1228943.8243 | 2638046.8964 | 1228936.1055
1 | 2638046.8964 | 1228936.1055 | 2638045.9473 | 1228935.0997 | 2638029.2212 | 1228922.9139
2 | 2638026.9857 | 1228921.2852 | 2638017.0656 | 1228914.0579 | 2638008.4656 | 1228905.9425 | 2638008.4656 | 1228905.9425
3 | 2638026.9857 | 1228921.2852 | 2638027.5094 | 1228921.6667
4 | 2638026.9857 | 1228921.2852 | 2638063.497 | 1228870.5351
5 | 2638008.4656 | 1228905.9425 | 2638000.5841 | 1228892.0837 | 2637989.5684 | 1228865.7295
6 | 2638027.5094 | 1228921.6667 | 2638029.2212 | 1228922.9139
7 | 2638055.4361 | 1228864.6283 | 2638055.4361 | 1228864.6283 | 2638063.497 | 1228870.5351
8 | 2637974.2661 | 1228815.9136 | 2637975.3775 | 1228825.7711 | 2637979.0335 | 1228840.5257 | 2637989.5684 | 1228865.7295
9 | 2637974.2661 | 1228815.9136 | 2637974.4742 | 1228792.8008
10 | 2637974.4742 | 1228792.8008 | 2637974.4519 | 1228789.1178
11 | 2638024.4797 | 1228696.3386 | 2638029.9587 | 1228706.8022 | 2638031.2358 | 1228717.4351
12 | 2637965.4691 | 1228712.761 | 2638011.6337 | 1228701.7266 | 2638020.53 | 1228699.0929 | 2638024.4797 | 1228696.3386
13 | 2637965.4691 | 1228712.761 | 2637960.7609 | 1228693.1927
14 | 2637965.4691 | 1228712.761 | 2637947.7722 | 1228716.1281 | 2637939.1845 | 1228717.9078 | 2637928.2111 | 1228720.1728
15 | 2637965.4691 | 1228712.761 | 2637969.8859 | 1228730.6112 | 2637973.4098 | 1228754.2037 | 2637974.3118 | 1228766.0055 | 2637974.4519 | 1228789.1178
16 | 2637960.7609 | 1228693.1927 | 2637960.3904 | 1228691.6525
17 | 2637960.3904 | 1228691.6525 | 2637958.6642 | 1228684.4781 | 2637954.8954 | 1228668.4385
18 | 2637954.8954 | 1228668.4385 | 2637953.4788 | 1228662.4093 | 2637948.0108 | 1228639.5022
19 | 2637946.8153 | 1228634.4942 | 2637948.0108 | 1228639.5022
20 | 2637944.8818 | 1228626.4214 | 2637946.8153 | 1228634.4942
21 | 2638108.3048 | 1228569.608 | 2638097.5822 | 1228570.4905
22 | 2638108.3048 | 1228569.608 | 2638139.2136 | 1228566.5596 | 2638144.9772 | 1228564.5824
23 | 2638108.3048 | 1228569.608 | 2638105.5638 | 1228556.7319
24 | 2638144.9772 | 1228564.5824 | 2638146.7536 | 1228563.973 | 2638152.9029 | 1228556.1298 | 2638157.0157 | 1228548.0512 | 2638159.7313 | 1228536.9285 | 2638161.7201 | 1228525.0525
25 | 2638105.5638 | 1228556.7319 | 2638093.2927 | 1228499.0855
26 | 2637969.4836 | 1228581.095 | 2637971.0141 | 1228578.7144 | 2637972.0876 | 1228574.3297 | 2637972.0847 | 1228571.0049
27 | 2637972.0719 | 1228556.6076 | 2637972.0847 | 1228571.0049
28 | 2637967.376 | 1228609.8102 | 2637969.4836 | 1228581.095
29 | 2637972.0711 | 1228551.9826 | 2637972.0719 | 1228556.6076
30 | 2638164.7333 | 1228507.0603 | 2638161.7201 | 1228525.0525
31 | 2638088.1052 | 1228474.7157 | 2638093.2927 | 1228499.0855
32 | 2637986.4416 | 1228509.5816 | 2637972.0711 | 1228551.9826
33 | 2637960.172 | 1228463.5193 | 2637962.6076 | 1228466.5366 | 2637964.0701 | 1228468.8807 | 2637964.9625 | 1228471.5103 | 2637965.5673 | 1228475.2831 | 2637966.7191 | 1228482.3837 | 2637967.5349 | 1228485.1461 | 2637968.4358 | 1228486.4415 | 2637969.6277 | 1228487.2607 | 2637973.8138 | 1228489.033 | 2637989.1994 | 1228494.1564 | 2637990.3689 | 1228494.9199 | 2637991.15 | 1228495.9922 | 2637992.2517 | 1228499.0678 | 2637992.2138 | 1228505.0045 | 2637991.8929 | 1228506.6146 | 2637991.1496 | 1228507.9329 | 2637989.5283 | 1228509.1121 | 2637986.4416 | 1228509.5816
34 | 2637936.847 | 1228461.814 | 2637960.172 | 1228463.5193
35 | 2637960.172 | 1228463.5193 | 2637964.1024 | 1228462.6327 | 2637966.5264 | 1228461.5252 | 2637970.2227 | 1228459.3141 | 2637972.5388 | 1228458.495 | 2637975.7975 | 1228458.3713 | 2637982.0016 | 1228458.5554 | 2637985.6363 | 1228458.7966
36 | 2638088.1052 | 1228474.7157 | 2638084.3496 | 1228457.0728
37 | 2637880.4385 | 1228477.632 | 2637884.1627 | 1228471.996 | 2637894.7953 | 1228460.8679 | 2637906.6528 | 1228450.0146
38 | 2637854.6534 | 1228540.8393 | 2637875.1277 | 1228485.6691 | 2637880.4385 | 1228477.632
39 | 2637906.6528 | 1228450.0146 | 2637921.1641 | 1228436.7321 | 2637922.7954 | 1228435.8899
40 | 2637939.5355 | 1228431.0902 | 2637930.7574 | 1228431.7791 | 2637922.7954 | 1228435.8899
41 | 2637939.5355 | 1228431.0902 | 2637936.847 | 1228461.814
42 | 2637939.5355 | 1228431.0902 | 2637941.0545 | 1228414.2169
43 | 2637936.847 | 1228461.814 | 2637935.719 | 1228474.7481 | 2637933.7859 | 1228499.0503
44 | 2637942.4434 | 1228400.3018 | 2637942.0633 | 1228403.0113 | 2637941.0545 | 1228414.2169
45 | 2637942.4434 | 1228400.3018 | 2637943.7461 | 1228391.0147 | 2637946.4939 | 1228377.146
46 | 2637946.4939 | 1228377.146 | 2637946.4939 | 1228377.146 | 2637949.4957 | 1228367.4147 | 2637952.8732 | 1228358.9004
47 | 2637958.6235 | 1228348.8147 | 2637953.6001 | 1228357.0679 | 2637952.8732 | 1228358.9004
48 | 2637933.7859 | 1228499.0503 | 2637933.2519 | 1228505.7639
49 | 2637985.6363 | 1228458.7966 | 2638084.3496 | 1228457.0728
50 | 2637944.8818 | 1228626.4214 | 2637951.1841 | 1228625.4277 | 2637957.6861 | 1228622.8342 | 2637962.103 | 1228620.472 | 2637964.1986 | 1228618.5731 | 2637965.901 | 1228615.382 | 2637966.9618 | 1228611.7977 | 2637967.376 | 1228609.8102

## bus_geodata
| x | y | coords
0 | 2638068.363 | 1228972.0918
1 | 2638046.8964 | 1228936.1055
2 | 2638026.9857 | 1228921.2852
3 | 2638008.4656 | 1228905.9425
4 | 2638027.5094 | 1228921.6667
5 | 2638063.497 | 1228870.5351
6 | 2637989.5684 | 1228865.7295
7 | 2638029.2212 | 1228922.9139
8 | 2638055.4361 | 1228864.6283
9 | 2637974.2661 | 1228815.9136
10 | 2637974.4742 | 1228792.8008
11 | 2638031.2358 | 1228717.4351
12 | 2638024.4797 | 1228696.3386
13 | 2637965.4691 | 1228712.761
14 | 2637960.7609 | 1228693.1927
15 | 2637928.2111 | 1228720.1728
16 | 2637974.4519 | 1228789.1178
17 | 2637960.3904 | 1228691.6525
18 | 2637954.8954 | 1228668.4385
19 | 2637948.0108 | 1228639.5022
20 | 2637946.8153 | 1228634.4942
21 | 2638097.5822 | 1228570.4905
22 | 2638108.3048 | 1228569.608
23 | 2638144.9772 | 1228564.5824
24 | 2638105.5638 | 1228556.7319
25 | 2637972.0847 | 1228571.0049
26 | 2637969.4836 | 1228581.095
27 | 2637972.0719 | 1228556.6076
28 | 2638161.7201 | 1228525.0525
29 | 2638093.2927 | 1228499.0855
30 | 2637986.4416 | 1228509.5816
31 | 2637972.0711 | 1228551.9826
32 | 2637960.172 | 1228463.5193
33 | 2638164.7333 | 1228507.0603
34 | 2638088.1052 | 1228474.7157
35 | 2637880.4385 | 1228477.632
36 | 2637906.6528 | 1228450.0146
37 | 2637854.6534 | 1228540.8393
38 | 2637922.7954 | 1228435.8899
39 | 2637939.5355 | 1228431.0902
40 | 2637936.847 | 1228461.814
41 | 2637941.0545 | 1228414.2169
42 | 2637942.4434 | 1228400.3018
43 | 2637946.4939 | 1228377.146
44 | 2637952.8732 | 1228358.9004
45 | 2637958.6235 | 1228348.8147
46 | 2637933.7859 | 1228499.0503
47 | 2637985.6363 | 1228458.7966
48 | 2638084.3496 | 1228457.0728
49 | 2637933.2519 | 1228505.7639
50 | 2637944.8818 | 1228626.4214
51 | 2637967.376 | 1228609.8102
52 | 2637972.0719 | 1228556.6076

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99254 | -0.052436 | 0.0012861 | 0.00032232
1 | 0.99262 | -0.051884 | 0.0027653 | 0.00069305
2 | 0.99277 | -0.05085 | 0.00037196 | 9.3223e-05
3 | 0.99301 | -0.049165 | 0.00060318 | 0.00015117
4 | 0.99276 | -0.050883 | 0.00061203 | 0.00015339
5 | 0.99263 | -0.051805 | 0.0012995 | 0.00032568
6 | 0.99349 | -0.045783 | 0.0003133 | 7.8519e-05
7 | 0.99275 | -0.050977 | 0.00034875 | 8.7404e-05
8 | 0.99263 | -0.051826 | 0.00020621 | 5.1682e-05
9 | 0.99407 | -0.041635 | 0 | 0
10 | 0.99433 | -0.039806 | 0 | 0
11 | 0.99516 | -0.033964 | 0.0011026 | 0.00027635
12 | 0.9952 | -0.033714 | 0 | 0
13 | 0.99529 | -0.033026 | 0 | 0
14 | 0.99558 | -0.031006 | 0.00078479 | 0.00019669
15 | 0.99527 | -0.033224 | 0.00051394 | 0.00012881
16 | 0.99437 | -0.039515 | 0.00049801 | 0.00012481
17 | 0.99561 | -0.030834 | 0.0061376 | 0.0015382
18 | 0.99618 | -0.026779 | 0.0015315 | 0.00038384
19 | 0.99696 | -0.021271 | 0.00091729 | 0.0002299
20 | 0.99711 | -0.020271 | 0 | 0
21 | 0.99048 | -0.066784 | 0.0025494 | 0.00063893
22 | 0.99052 | -0.066505 | 0 | 0
23 | 0.99036 | -0.067663 | 0.0021391 | 0.0005361
24 | 0.99063 | -0.065753 | 0.00042111 | 0.00010554
25 | 0.99946 | -0.0037562 | 0.0033857 | 0.00084853
26 | 0.99912 | -0.006181 | 0 | 0
27 | 1 | 0 | -0.068914 | -0.01712
28 | 0.9903 | -0.068078 | 0.00063567 | 0.00015931
29 | 0.99114 | -0.062135 | 0.0012722 | 0.00031883
30 | 0.9971 | -0.020212 | 0.00049914 | 0.0001251
31 | 0.99972 | -0.0019222 | 0.00081539 | 0.00020436
32 | 0.9932 | -0.047515 | 0 | 0
33 | 0.99029 | -0.06813 | 0.00027991 | 7.0152e-05
34 | 0.9914 | -0.060283 | 0.00033496 | 8.3948e-05
35 | 0.98987 | -0.071029 | 0.0018667 | 0.00046785
36 | 0.99031 | -0.067944 | 0.0012816 | 0.00032119
37 | 0.98928 | -0.075255 | 0.0060515 | 0.0015167
38 | 0.99059 | -0.065929 | 0.0002293 | 5.7468e-05
39 | 0.99083 | -0.064223 | 0 | 0
40 | 0.99217 | -0.054811 | 0 | 0
41 | 0.99033 | -0.067774 | 0.0048706 | 0.0012207
42 | 0.99002 | -0.070015 | 0.0057268 | 0.0014353
43 | 0.98968 | -0.072413 | 0.0025033 | 0.0006274
44 | 0.98947 | -0.073892 | 0.0031167 | 0.00078111
45 | 0.98939 | -0.074412 | 0.0043852 | 0.001099
46 | 0.99212 | -0.055126 | 0.00039585 | 9.9209e-05
47 | 0.99285 | -0.050044 | 0.00056603 | 0.00014186
48 | 0.9916 | -0.058882 | 0.0011719 | 0.0002937
49 | 0.99212 | -0.055156 | 0.00043343 | 0.00010863
50 | 0.99734 | -0.018659 | 0 | 0
51 | 0.99818 | -0.012733 | 0.0033857 | 0.00084854
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0012861 | -0.00032232 | 0.0012862 | 0.00032181 | 9.8131e-08 | -5.091e-07 | 0.0019281 | 0.0019279 | 0.0019281 | 0.99254 | -0.052436 | 0.99262 | -0.051884 | 0.7141
1 | -0.0040515 | -0.0010149 | 0.004052 | 0.0010148 | 5.0812e-07 | -8.9987e-08 | 0.0060732 | 0.0060731 | 0.0060732 | 0.99262 | -0.051884 | 0.99275 | -0.050977 | 2.2494
2 | -0.0068907 | -0.0017253 | 0.0068923 | 0.0017256 | 1.6038e-06 | 3.0518e-07 | 0.010328 | 0.010327 | 0.010328 | 0.99277 | -0.05085 | 0.99301 | -0.049165 | 3.825
3 | 0.0050128 | 0.0012556 | -0.0050128 | -0.0012556 | 2.282e-08 | 4.0002e-10 | 0.0075132 | 0.0075132 | 0.0075132 | 0.99277 | -0.05085 | 0.99276 | -0.050883 | 2.7827
4 | 0.0015059 | 0.0003765 | -0.0015057 | -0.00037723 | 1.9872e-07 | -7.3185e-07 | 0.0022568 | 0.0022571 | 0.0022571 | 0.99277 | -0.05085 | 0.99263 | -0.051805 | 0.83595
5 | -0.0074955 | -0.0018768 | 0.007499 | 0.0018775 | 3.5032e-06 | 7.7133e-07 | 0.011231 | 0.011231 | 0.011231 | 0.99301 | -0.049165 | 0.99349 | -0.045783 | 4.1597
6 | 0.0044008 | 0.0011022 | -0.0044007 | -0.0011022 | 5.7499e-08 | -5.2709e-09 | 0.0065959 | 0.0065959 | 0.0065959 | 0.99276 | -0.050883 | 0.99275 | -0.050977 | 2.4429
7 | 0.00020621 | 5.1553e-05 | -0.00020621 | -5.1682e-05 | 5.9581e-10 | -1.2895e-07 | 0.00030908 | 0.00030913 | 0.00030913 | 0.99263 | -0.051805 | 0.99263 | -0.051826 | 0.11449
8 | -0.0078123 | -0.001956 | 0.0078167 | 0.0019571 | 4.4793e-06 | 1.0434e-06 | 0.0117 | 0.0117 | 0.0117 | 0.99349 | -0.045783 | 0.99407 | -0.041635 | 4.3334
9 | -0.0078167 | -0.0019571 | 0.0078187 | 0.0019575 | 1.9747e-06 | 4.5973e-07 | 0.0117 | 0.0117 | 0.0117 | 0.99407 | -0.041635 | 0.99433 | -0.039806 | 4.3334
10 | -0.0078187 | -0.0019575 | 0.007819 | 0.0019576 | 3.146e-07 | 7.3225e-08 | 0.0117 | 0.0117 | 0.0117 | 0.99433 | -0.039806 | 0.99437 | -0.039515 | 4.3333
11 | -0.0011026 | -0.00027635 | 0.0011027 | 0.00027607 | 3.8197e-08 | -2.7792e-07 | 0.0016487 | 0.0016486 | 0.0016487 | 0.99516 | -0.033964 | 0.9952 | -0.033714 | 0.61063
12 | -0.0011027 | -0.00027607 | 0.0011028 | 0.00027531 | 1.0438e-07 | -7.5979e-07 | 0.0016486 | 0.0016483 | 0.0016486 | 0.9952 | -0.033714 | 0.99529 | -0.033026 | 0.6106
13 | -0.0099412 | -0.0024879 | 0.009944 | 0.0024887 | 2.7738e-06 | 8.052e-07 | 0.014861 | 0.014861 | 0.014861 | 0.99529 | -0.033026 | 0.99558 | -0.031006 | 5.5042
14 | 0.00051395 | 0.00012832 | -0.00051394 | -0.00012881 | 1.3993e-08 | -4.8832e-07 | 0.00076822 | 0.00076839 | 0.00076839 | 0.99529 | -0.033026 | 0.99527 | -0.033224 | 0.28459
15 | 0.0083245 | 0.0020843 | -0.008317 | -0.0020824 | 7.4601e-06 | 1.867e-06 | 0.012445 | 0.012445 | 0.012445 | 0.99529 | -0.033026 | 0.99437 | -0.039515 | 4.6093
16 | -0.010729 | -0.0026854 | 0.010729 | 0.0026855 | 2.5413e-07 | 7.7145e-08 | 0.016034 | 0.016034 | 0.016034 | 0.99558 | -0.031006 | 0.99561 | -0.030834 | 5.9386
17 | -0.016867 | -0.0042237 | 0.016876 | 0.0042271 | 9.4587e-06 | 3.3276e-06 | 0.025207 | 0.025207 | 0.025207 | 0.99561 | -0.030834 | 0.99618 | -0.026779 | 9.3361
18 | -0.018408 | -0.0046109 | 0.018422 | 0.0046159 | 1.4031e-05 | 5.009e-06 | 0.027495 | 0.027495 | 0.027495 | 0.99618 | -0.026779 | 0.99696 | -0.021271 | 10.1834
19 | -0.019339 | -0.0048458 | 0.019342 | 0.0048468 | 2.6766e-06 | 9.6233e-07 | 0.028864 | 0.028864 | 0.028864 | 0.99696 | -0.021271 | 0.99711 | -0.020271 | 10.6904
20 | -0.019342 | -0.0048468 | 0.019346 | 0.0048483 | 4.3155e-06 | 1.5515e-06 | 0.028864 | 0.028864 | 0.028864 | 0.99711 | -0.020271 | 0.99734 | -0.018659 | 10.6904
21 | -0.0025494 | -0.00063893 | 0.0025495 | 0.00063883 | 9.8476e-08 | -1.006e-07 | 0.0038299 | 0.0038299 | 0.0038299 | 0.99048 | -0.066784 | 0.99052 | -0.066505 | 1.4185
22 | 0.0030552 | 0.00076449 | -0.0030547 | -0.00076478 | 4.8828e-07 | -2.9033e-07 | 0.0045892 | 0.0045894 | 0.0045894 | 0.99052 | -0.066505 | 0.99036 | -0.067663 | 1.6998
23 | -0.0056046 | -0.0014033 | 0.0056052 | 0.0014034 | 5.8227e-07 | 5.4481e-08 | 0.0084191 | 0.0084191 | 0.0084191 | 0.99052 | -0.066505 | 0.99063 | -0.065753 | 3.1182
24 | 0.00091563 | 0.00022868 | -0.00091558 | -0.00022923 | 5.2424e-08 | -5.5112e-07 | 0.0013755 | 0.0013757 | 0.0013757 | 0.99036 | -0.067663 | 0.9903 | -0.068078 | 0.50951
25 | -0.0060263 | -0.0015089 | 0.0060293 | 0.0015093 | 3.0132e-06 | 3.9972e-07 | 0.0090516 | 0.0090514 | 0.0090516 | 0.99063 | -0.065753 | 0.99114 | -0.062135 | 3.3525
26 | 0.022776 | 0.0057129 | -0.022768 | -0.0057101 | 7.6558e-06 | 2.8047e-06 | 0.033911 | 0.033911 | 0.033911 | 0.99946 | -0.0037562 | 0.99912 | -0.006181 | 12.5596
27 | -0.026162 | -0.0065615 | 0.026175 | 0.0065665 | 1.3631e-05 | 5.0537e-06 | 0.038951 | 0.038951 | 0.038951 | 0.99946 | -0.0037562 | 1 | 0 | 14.4265
28 | 0.022768 | 0.0057101 | -0.022748 | -0.0057026 | 2.0661e-05 | 7.5697e-06 | 0.033911 | 0.033911 | 0.033911 | 0.99912 | -0.006181 | 0.99818 | -0.012733 | 12.5596
29 | 0.041939 | 0.010553 | -0.041928 | -0.010549 | 1.1247e-05 | 4.2652e-06 | 0.062421 | 0.062421 | 0.062421 | 1 | 0 | 0.99972 | -0.0019222 | 23.1188
30 | 0.00027991 | 6.9918e-05 | -0.00027991 | -7.0152e-05 | 2.0133e-09 | -2.3393e-07 | 0.00042051 | 0.0004206 | 0.0004206 | 0.9903 | -0.068078 | 0.99029 | -0.06813 | 0.15578
31 | -0.0073015 | -0.0018281 | 0.0073034 | 0.0018285 | 1.868e-06 | 3.9727e-07 | 0.010961 | 0.010961 | 0.010961 | 0.99114 | -0.062135 | 0.9914 | -0.060283 | 4.0597
32 | -0.041008 | -0.010305 | 0.041112 | 0.010345 | 0.00010466 | 3.9668e-05 | 0.061207 | 0.061207 | 0.061207 | 0.9971 | -0.020212 | 0.99972 | -0.0019222 | 22.6694
33 | 0.040509 | 0.01018 | -0.040355 | -0.010122 | 0.00015335 | 5.8109e-05 | 0.060463 | 0.060463 | 0.060463 | 0.9971 | -0.020212 | 0.9932 | -0.047515 | 22.3936
34 | 0.030963 | 0.0077696 | -0.030932 | -0.0077579 | 3.1318e-05 | 1.1744e-05 | 0.046393 | 0.046393 | 0.046393 | 0.9932 | -0.047515 | 0.99217 | -0.054811 | 17.1825
35 | 0.0093918 | 0.0023522 | -0.0093885 | -0.0023512 | 3.2821e-06 | 9.1863e-07 | 0.01407 | 0.01407 | 0.01407 | 0.9932 | -0.047515 | 0.99285 | -0.050044 | 5.2112
36 | -0.0076383 | -0.0019125 | 0.0076398 | 0.0019128 | 1.4793e-06 | 3.363e-07 | 0.011464 | 0.011464 | 0.011464 | 0.9914 | -0.060283 | 0.9916 | -0.058882 | 4.2459
37 | -0.0079218 | -0.001985 | 0.0079252 | 0.0019858 | 3.382e-06 | 8.0923e-07 | 0.011908 | 0.011908 | 0.011908 | 0.98987 | -0.071029 | 0.99031 | -0.067944 | 4.4104
38 | 0.0060551 | 0.0015171 | -0.0060515 | -0.0015166 | 3.5403e-06 | 4.8189e-07 | 0.0091021 | 0.0091024 | 0.0091024 | 0.98987 | -0.071029 | 0.98928 | -0.075255 | 3.3712
39 | -0.0092067 | -0.002307 | 0.0092093 | 0.0023077 | 2.5684e-06 | 7.1103e-07 | 0.013834 | 0.013834 | 0.013834 | 0.99031 | -0.067944 | 0.99059 | -0.065929 | 5.1236
40 | -0.0094386 | -0.0023651 | 0.0094408 | 0.0023658 | 2.2284e-06 | 6.2832e-07 | 0.014178 | 0.014178 | 0.014178 | 0.99059 | -0.065929 | 0.99083 | -0.064223 | 5.2511
41 | -0.030064 | -0.0075359 | 0.030103 | 0.0075506 | 3.9236e-05 | 1.4693e-05 | 0.045149 | 0.045149 | 0.045149 | 0.99083 | -0.064223 | 0.99217 | -0.054811 | 16.722
42 | 0.020623 | 0.0051701 | -0.020613 | -0.0051665 | 1.0141e-05 | 3.6821e-06 | 0.030971 | 0.030972 | 0.030972 | 0.99083 | -0.064223 | 0.99033 | -0.067774 | 11.4709
43 | 0.00082932 | 0.00020728 | -0.00082928 | -0.00020775 | 3.606e-08 | -4.6863e-07 | 0.0012436 | 0.0012438 | 0.0012438 | 0.99217 | -0.054811 | 0.99212 | -0.055126 | 0.46065
44 | 0.015742 | 0.0039458 | -0.015737 | -0.0039441 | 4.883e-06 | 1.6982e-06 | 0.023653 | 0.023653 | 0.023653 | 0.99033 | -0.067774 | 0.99002 | -0.070015 | 8.7605
45 | 0.01001 | 0.0025088 | -0.010007 | -0.0025078 | 3.3219e-06 | 9.7536e-07 | 0.015046 | 0.015046 | 0.015046 | 0.99002 | -0.070015 | 0.98968 | -0.072413 | 5.5725
46 | 0.0075037 | 0.0018804 | -0.0075021 | -0.0018801 | 1.5364e-06 | 3.424e-07 | 0.011282 | 0.011282 | 0.011282 | 0.98968 | -0.072413 | 0.98947 | -0.073892 | 4.1785
47 | 0.0043855 | 0.001099 | -0.0043851 | -0.001099 | 3.1574e-07 | -2.7973e-08 | 0.0065951 | 0.0065951 | 0.0065951 | 0.98947 | -0.073892 | 0.98939 | -0.074412 | 2.4426
48 | 0.00043343 | 0.00010854 | -0.00043343 | -0.00010863 | 1.7759e-09 | -8.6286e-08 | 0.00065004 | 0.00065007 | 0.00065007 | 0.99212 | -0.055126 | 0.99212 | -0.055156 | 0.24077
49 | 0.0088224 | 0.0022094 | -0.0088117 | -0.0022065 | 1.077e-05 | 2.8673e-06 | 0.013222 | 0.013222 | 0.013222 | 0.99285 | -0.050044 | 0.9916 | -0.058882 | 4.8972
50 | -0.019346 | -0.0048483 | 0.019362 | 0.004854 | 1.5882e-05 | 5.7095e-06 | 0.028864 | 0.028864 | 0.028864 | 0.99734 | -0.018659 | 0.99818 | -0.012733 | 10.6904

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.068914 | 0.01712

## res_load
| p_mw | q_mvar
0 | 0.0012861 | 0.00032232
1 | 0.0027653 | 0.00069305
2 | 0.00037196 | 9.3223e-05
3 | 0.00060318 | 0.00015117
4 | 0.00061203 | 0.00015339
5 | 0.0012995 | 0.00032568
6 | 0.0003133 | 7.8519e-05
7 | 0.00034875 | 8.7404e-05
8 | 0.00020621 | 5.1682e-05
9 | 0.0011026 | 0.00027635
10 | 0.00078479 | 0.00019669
11 | 0.00051394 | 0.00012881
12 | 0.00049801 | 0.00012481
13 | 0.0061376 | 0.0015382
14 | 0.0015315 | 0.00038384
15 | 0.00091729 | 0.0002299
16 | 0.0025494 | 0.00063893
17 | 0.0021391 | 0.0005361
18 | 0.00042111 | 0.00010554
19 | 0.0033857 | 0.00084853
20 | 0.00063567 | 0.00015931
21 | 0.0012722 | 0.00031883
22 | 0.00049914 | 0.0001251
23 | 0.00081539 | 0.00020436
24 | 0.00027991 | 7.0152e-05
25 | 0.00033496 | 8.3948e-05
26 | 0.0018667 | 0.00046785
27 | 0.0012816 | 0.00032119
28 | 0.0060515 | 0.0015167
29 | 0.0002293 | 5.7468e-05
30 | 0.0048706 | 0.0012207
31 | 0.0057268 | 0.0014353
32 | 0.0025033 | 0.0006274
33 | 0.0031167 | 0.00078111
34 | 0.0043852 | 0.001099
35 | 0.00039585 | 9.9209e-05
36 | 0.00056603 | 0.00014186
37 | 0.0011719 | 0.0002937
38 | 0.00043343 | 0.00010863
39 | 0.0033857 | 0.00084854

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1