## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1142-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1142-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1142-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1142-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1142-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1142-1_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1142-1_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1142-1_0_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1142-1_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1142-1_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1142-1_0_2_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1142-1_0_2_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_1142-1_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1142-1_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1142-1_0_2_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1142-1_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1142-1_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1142-1_0_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1142-1_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1142-1_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1142-1_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1142-1_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1142-1_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1142-1_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1142-1_0_2_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1142-1_0_2_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_1142-1_0_2_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_1142-1_0_2_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_1142-1_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1142-1_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1142-1_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1142-1_0_2_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1142-1_0_2_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1142-1_0_2_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_1142-1_0_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1142-1_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1142-1_0_2_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1142-1_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1142-1_0_2_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1142-1_0_2_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1142-1_0_2_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1142-1_0_2_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1142-1_0_2_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_1142-1_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1142-1_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1142-1_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1142-1_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_1142-1_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1142-1_0_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1142-1_0_2_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1142-1_0_2_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1142-1_0_2_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_1142-1_0_2_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1142-1_0_2_node_54 | 0.4 | n |  | TRUE
54 | bus_MV_476_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1142-1_0_2_load_0 | 0 | 0.00061388 | 0.00015385 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1142-1_0_2_load_1 | 1 | 0.00051842 | 0.00012993 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1142-1_0_2_load_2 | 2 | 0.00048373 | 0.00012123 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1142-1_0_2_load_3 | 3 | 0.0010912 | 0.00027349 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1142-1_0_2_load_4 | 4 | 0.00046391 | 0.00011627 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1142-1_0_2_load_5 | 6 | 0.001343 | 0.00033658 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1142-1_0_2_load_7 | 8 | 0.00098246 | 0.00024623 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1142-1_0_2_load_6 | 9 | 0.0013534 | 0.0003392 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1142-1_0_2_load_21 | 10 | 0.0016178 | 0.00040546 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1142-1_0_2_load_8 | 12 | 0.0016278 | 0.00040796 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1142-1_0_2_load_10 | 13 | 0.0092428 | 0.0023165 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1142-1_0_2_load_23 | 14 | 0.0045633 | 0.0011437 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1142-1_0_2_load_15 | 15 | 0.00049827 | 0.00012488 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1142-1_0_2_load_12 | 16 | 0.0015957 | 0.00039992 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1142-1_0_2_load_24 | 17 | 0.0012774 | 0.00032015 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1142-1_0_2_load_13 | 18 | 0.0002178 | 5.4585e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1142-1_0_2_load_14 | 19 | 0.00046878 | 0.00011749 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1142-1_0_2_load_16 | 20 | 0.0051682 | 0.0012953 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1142-1_0_2_load_17 | 21 | 0.0016265 | 0.00040763 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1142-1_0_2_load_18 | 22 | 0.0012631 | 0.00031657 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1142-1_0_2_load_20 | 23 | 0.0036014 | 0.0009026 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1142-1_0_2_load_25 | 24 | 0.0010712 | 0.00026848 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1142-1_0_2_load_50 | 26 | 0.0032087 | 0.00080417 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1142-1_0_2_load_48 | 27 | 0.001296 | 0.00032481 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1142-1_0_2_load_26 | 28 | 0.00073682 | 0.00018466 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1142-1_0_2_load_27 | 29 | 0.0015551 | 0.00038975 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1142-1_0_2_load_38 | 31 | 0.0024035 | 0.00060237 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1142-1_0_2_load_36 | 32 | 0.0080997 | 0.00203 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1142-1_0_2_load_30 | 34 | 0.0017396 | 0.00043598 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1142-1_0_2_load_31 | 35 | 0.0017873 | 0.00044794 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1142-1_0_2_load_33 | 37 | 0.0017267 | 0.00043275 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1142-1_0_2_load_35 | 39 | 0.0012316 | 0.00030866 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1142-1_0_2_load_44 | 40 | 0.00073847 | 0.00018508 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1142-1_0_2_load_47 | 41 | 0.0018432 | 0.00046195 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1142-1_0_2_load_55 | 42 | 0.0005475 | 0.00013722 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1142-1_0_2_load_39 | 43 | 0.0019798 | 0.00049618 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1142-1_0_2_load_40 | 45 | 0.0026099 | 0.00065409 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1142-1_0_2_load_45 | 46 | 0.0022962 | 0.00057548 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1142-1_0_2_load_46 | 47 | 0.0020618 | 0.00051674 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1142-1_0_2_load_41 | 48 | 0.003265 | 0.00081828 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1142-1_0_2_load_43 | 49 | 0.00065037 | 0.000163 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1142-1_0_2_load_53 | 51 | 0.00099792 | 0.0002501 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1142-1_0_2_load_51 | 52 | 0.0013376 | 0.00033524 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1142-1_0_2_load_54 | 53 | 0.00071677 | 0.00017964 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1142-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0047577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1142-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1142-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1142-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1142-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1142-1_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.021977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1142-1_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.039439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1142-1_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.013007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1142-1_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0016591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1142-1_0_2_line_9 | NAYY 4x150 SE | 7 | 15 | 0.054489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1142-1_0_2_line_10 | NAYY 4x150 SE | 7 | 16 | 0.029197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1142-1_0_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0027517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1142-1_0_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.014983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1142-1_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.019124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1142-1_0_2_line_14 | NAYY 4x150 SE | 11 | 23 | 0.012118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1142-1_0_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.026668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1142-1_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.002546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1142-1_0_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.026316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1142-1_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.016782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1142-1_0_2_line_19 | NAYY 4x150 SE | 17 | 24 | 0.02369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1142-1_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.014274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1142-1_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.019189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1142-1_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0026356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1142-1_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.032783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1142-1_0_2_line_24 | NAYY 4x150 SE | 24 | 25 | 0.037578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1142-1_0_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.011972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1142-1_0_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.020836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1142-1_0_2_line_27 | NAYY 4x150 SE | 26 | 52 | 0.044028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1142-1_0_2_line_28 | NAYY 4x150 SE | 27 | 31 | 0.0083755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1142-1_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.027837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1142-1_0_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.03081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1142-1_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.018918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1142-1_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.021276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1142-1_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.0040592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1142-1_0_2_line_34 | NAYY 4x150 SE | 33 | 43 | 0.019017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1142-1_0_2_line_35 | NAYY 4x150 SE | 33 | 37 | 0.051886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1142-1_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.025936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1142-1_0_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.013782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1142-1_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.029053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1142-1_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.008613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1142-1_0_2_line_40 | NAYY 4x150 SE | 36 | 39 | 0.034163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1142-1_0_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.021714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1142-1_0_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.037709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1142-1_0_2_line_43 | NAYY 4x150 SE | 39 | 42 | 0.041196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1142-1_0_2_line_44 | NAYY 4x150 SE | 40 | 44 | 0.012807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1142-1_0_2_line_45 | NAYY 4x150 SE | 43 | 46 | 0.0046463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1142-1_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.059639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1142-1_0_2_line_47 | NAYY 4x150 SE | 45 | 48 | 0.00070575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1142-1_0_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.015942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1142-1_0_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.0063812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1142-1_0_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.024335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1142-1_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.036616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1142-1_0_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.03252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1142-1_0_2_trafo_25 | 0.25 MVA 20/0.4 kV | 54 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2633249.7517 | 1228732.7017 | 2633253.7613 | 1228735.2628
1 | 2633249.7517 | 1228732.7017 | 2633233.15 | 1228722.0978
2 | 2633253.7613 | 1228735.2628 | 2633271.4012 | 1228746.5298 | 2633271.5487 | 1228746.5987
3 | 2633212.5593 | 1228708.946 | 2633233.15 | 1228722.0978
4 | 2633297.7138 | 1228755.9048 | 2633284.7685 | 1228752.7749 | 2633271.5487 | 1228746.5987
5 | 2633212.5593 | 1228708.946 | 2633194.0381 | 1228697.1161
6 | 2633297.7138 | 1228755.9048 | 2633288.2266 | 1228794.1861
7 | 2633297.7138 | 1228755.9048 | 2633310.7163 | 1228755.5556
8 | 2633192.6399 | 1228696.223 | 2633194.0381 | 1228697.1161
9 | 2633288.2266 | 1228794.1861 | 2633274.6215 | 1228846.949
10 | 2633288.2266 | 1228794.1861 | 2633260.4362 | 1228785.2317
11 | 2633310.7163 | 1228755.5556 | 2633313.1336 | 1228755.4907 | 2633313.4521 | 1228755.3913
12 | 2633192.6399 | 1228696.223 | 2633186.517 | 1228692.3122 | 2633179.3794 | 1228689.3762
13 | 2633161.6936 | 1228682.1011 | 2633179.3794 | 1228689.3762
14 | 2633161.6936 | 1228682.1011 | 2633150.138 | 1228678.4525
15 | 2633313.4521 | 1228755.3913 | 2633338.9077 | 1228747.4434
16 | 2633341.3381 | 1228746.6846 | 2633338.9077 | 1228747.4434
17 | 2633341.3381 | 1228746.6846 | 2633366.4581 | 1228738.8416
18 | 2633260.4362 | 1228785.2317 | 2633252.9021 | 1228782.8041 | 2633244.3168 | 1228780.5904
19 | 2633366.4581 | 1228738.8416 | 2633389.0715 | 1228731.7812
20 | 2633230.4948 | 1228777.0266 | 2633244.3168 | 1228780.5904
21 | 2633211.9137 | 1228772.2356 | 2633230.4948 | 1228777.0266
22 | 2633118.9238 | 1228668.4435 | 2633116.4474 | 1228667.5415
23 | 2633118.9238 | 1228668.4435 | 2633122.0863 | 1228669.5954 | 2633150.138 | 1228678.4525
24 | 2633426.0301 | 1228727.773 | 2633419.2627 | 1228726.7567 | 2633398.0672 | 1228728.9725 | 2633389.0715 | 1228731.7812
25 | 2633426.0301 | 1228727.773 | 2633428.775 | 1228716.1197
26 | 2633426.0301 | 1228727.773 | 2633446.6351 | 1228730.8684
27 | 2633399.1794 | 1228692.7901 | 2633418.6961 | 1228698.125 | 2633425.1916 | 1228701.697 | 2633429.1408 | 1228705.388 | 2633430.1048 | 1228710.4743 | 2633428.775 | 1228716.1197
28 | 2633446.6351 | 1228730.8684 | 2633454.5521 | 1228733.6017
29 | 2633500.6591 | 1228688.3644 | 2633487.2624 | 1228712.7663
30 | 2633472.435 | 1228739.7743 | 2633487.2624 | 1228712.7663
31 | 2633472.435 | 1228739.7743 | 2633470.7942 | 1228739.2092 | 2633454.5521 | 1228733.6017
32 | 2633472.435 | 1228739.7743 | 2633491.771 | 1228748.6501
33 | 2633495.4602 | 1228750.3435 | 2633491.771 | 1228748.6501
34 | 2633495.4602 | 1228750.3435 | 2633487.3421 | 1228767.5407
35 | 2633495.4602 | 1228750.3435 | 2633505.2762 | 1228754.857 | 2633537.4652 | 1228776.7514 | 2633539.0889 | 1228778.1652
36 | 2633580.5608 | 1228814.2753 | 2633561.0004 | 1228797.2438
37 | 2633590.955 | 1228823.3256 | 2633580.5608 | 1228814.2753
38 | 2633539.0889 | 1228778.1652 | 2633561.0004 | 1228797.2438
39 | 2633598.5152 | 1228827.493 | 2633590.955 | 1228823.3256
40 | 2633590.955 | 1228823.3256 | 2633585.5393 | 1228829.8324 | 2633585.3747 | 1228833.5003 | 2633589.5996 | 1228850.0453 | 2633589.7157 | 1228854.9934
41 | 2633598.5152 | 1228827.493 | 2633599.3492 | 1228823.3396 | 2633599.9942 | 1228820.486 | 2633601.9644 | 1228816.3724 | 2633603.4414 | 1228815.091 | 2633605.261 | 1228813.5226 | 2633609.2987 | 1228812.2335 | 2633610.6937 | 1228812.2649
42 | 2633562.2174 | 1228844.2319 | 2633576.7272 | 1228859.5785 | 2633579.7631 | 1228861.2856 | 2633583.5901 | 1228861.0959 | 2633587.8509 | 1228859.2188 | 2633589.7157 | 1228854.9934 | 2633589.7157 | 1228854.9934
43 | 2633589.7157 | 1228854.9934 | 2633607.4838 | 1228892.1607
44 | 2633622.4104 | 1228816.7102 | 2633618.4847 | 1228814.2532 | 2633613.8968 | 1228812.3372 | 2633610.6937 | 1228812.2649
45 | 2633487.3421 | 1228767.5407 | 2633485.3587 | 1228771.7424
46 | 2633622.4104 | 1228816.7102 | 2633627.0499 | 1228808.1423 | 2633647.011 | 1228785.6969 | 2633657.9345 | 1228771.172 | 2633658.7229 | 1228769.6841
47 | 2633659.0532 | 1228769.0604 | 2633658.7229 | 1228769.6841
48 | 2633478.5533 | 1228786.1591 | 2633485.3587 | 1228771.7424
49 | 2633662.0406 | 1228763.4217 | 2633659.0532 | 1228769.0604
50 | 2633670.4787 | 1228740.7133 | 2633665.9447 | 1228756.0526 | 2633662.0406 | 1228763.4217
51 | 2633670.4787 | 1228740.7133 | 2633663.041 | 1228733.6448 | 2633649.1807 | 1228724.8611 | 2633640.4037 | 1228720.1818
52 | 2633640.4037 | 1228720.1818 | 2633611.7075 | 1228704.8828

## bus_geodata
| x | y | coords
0 | 2633249.7517 | 1228732.7017
1 | 2633253.7613 | 1228735.2628
2 | 2633233.15 | 1228722.0978
3 | 2633271.5487 | 1228746.5987
4 | 2633212.5593 | 1228708.946
5 | 2633297.7138 | 1228755.9048
6 | 2633194.0381 | 1228697.1161
7 | 2633288.2266 | 1228794.1861
8 | 2633310.7163 | 1228755.5556
9 | 2633192.6399 | 1228696.223
10 | 2633179.3794 | 1228689.3762
11 | 2633161.6936 | 1228682.1011
12 | 2633313.4521 | 1228755.3913
13 | 2633338.9077 | 1228747.4434
14 | 2633341.3381 | 1228746.6846
15 | 2633274.6215 | 1228846.949
16 | 2633260.4362 | 1228785.2317
17 | 2633366.458 | 1228738.8416
18 | 2633244.3168 | 1228780.5904
19 | 2633230.4948 | 1228777.0266
20 | 2633211.9137 | 1228772.2356
21 | 2633116.4474 | 1228667.5415
22 | 2633118.9238 | 1228668.4435
23 | 2633150.138 | 1228678.4525
24 | 2633389.0715 | 1228731.7812
25 | 2633426.0301 | 1228727.773
26 | 2633428.775 | 1228716.1197
27 | 2633446.6351 | 1228730.8684
28 | 2633500.6591 | 1228688.3644
29 | 2633487.2624 | 1228712.7663
30 | 2633472.435 | 1228739.7743
31 | 2633454.5521 | 1228733.6017
32 | 2633491.771 | 1228748.6501
33 | 2633495.4602 | 1228750.3435
34 | 2633580.5608 | 1228814.2753
35 | 2633561.0004 | 1228797.2438
36 | 2633590.955 | 1228823.3256
37 | 2633539.0889 | 1228778.1652
38 | 2633598.5152 | 1228827.493
39 | 2633589.7157 | 1228854.9934
40 | 2633610.6937 | 1228812.2649
41 | 2633562.2174 | 1228844.2319
42 | 2633607.4838 | 1228892.1607
43 | 2633487.3421 | 1228767.5407
44 | 2633622.4104 | 1228816.7102
45 | 2633658.7229 | 1228769.6841
46 | 2633485.3587 | 1228771.7424
47 | 2633478.5533 | 1228786.1591
48 | 2633659.0532 | 1228769.0604
49 | 2633662.0406 | 1228763.4217
50 | 2633670.4787 | 1228740.7133
51 | 2633640.4037 | 1228720.1818
52 | 2633399.1794 | 1228692.7901
53 | 2633611.7075 | 1228704.8828
54 | 2633389.0715 | 1228731.7812

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99462 | -0.037745 | 0.00061388 | 0.00015385
1 | 0.9947 | -0.037151 | 0.00051842 | 0.00012993
2 | 0.99428 | -0.040085 | 0.00048373 | 0.00012123
3 | 0.99509 | -0.034407 | 0.0010912 | 0.00027349
4 | 0.99389 | -0.042868 | 0.00046391 | 0.00011627
5 | 0.99565 | -0.030473 | 0 | 0
6 | 0.99355 | -0.04527 | 0.001343 | 0.00033658
7 | 0.9952 | -0.033636 | 0 | 0
8 | 0.99606 | -0.027598 | 0.00098246 | 0.00024623
9 | 0.99353 | -0.045429 | 0.0013534 | 0.0003392
10 | 0.99335 | -0.046659 | 0.0016178 | 0.00040546
11 | 0.99317 | -0.047916 | 0 | 0
12 | 0.99615 | -0.026963 | 0.0016278 | 0.00040796
13 | 0.99709 | -0.020378 | 0.0092428 | 0.0023165
14 | 0.99721 | -0.019513 | 0.0045633 | 0.0011437
15 | 0.99516 | -0.033911 | 0.00049827 | 0.00012488
16 | 0.99489 | -0.035831 | 0.0015957 | 0.00039992
17 | 0.99866 | -0.0093904 | 0.0012774 | 0.00032015
18 | 0.99475 | -0.036822 | 0.0002178 | 5.4585e-05
19 | 0.99463 | -0.037634 | 0.00046878 | 0.00011749
20 | 0.99449 | -0.038635 | 0.0051682 | 0.0012953
21 | 0.99292 | -0.049715 | 0.0016265 | 0.00040763
22 | 0.99292 | -0.049672 | 0.0012631 | 0.00031657
23 | 0.99306 | -0.048712 | 0.0036014 | 0.0009026
24 | 1 | 0 | -0.083708 | -0.020825
25 | 0.99769 | -0.016125 | 0 | 0
26 | 0.99761 | -0.016671 | 0.0032087 | 0.00080417
27 | 0.99655 | -0.024144 | 0.001296 | 0.00032481
28 | 0.99503 | -0.034781 | 0.00073682 | 0.00018466
29 | 0.99506 | -0.034574 | 0.0015551 | 0.00038975
30 | 0.99516 | -0.033861 | 0 | 0
31 | 0.9961 | -0.027263 | 0.0024035 | 0.00060237
32 | 0.99417 | -0.040802 | 0.0080997 | 0.00203
33 | 0.99403 | -0.041795 | 0 | 0
34 | 0.99149 | -0.059727 | 0.0017396 | 0.00043598
35 | 0.99203 | -0.055945 | 0.0017873 | 0.00044794
36 | 0.99124 | -0.061495 | 0 | 0
37 | 0.9927 | -0.051186 | 0.0017267 | 0.00043275
38 | 0.99113 | -0.062283 | 0 | 0
39 | 0.99106 | -0.062756 | 0.0012316 | 0.00030866
40 | 0.99085 | -0.064268 | 0.00073847 | 0.00018508
41 | 0.99096 | -0.063463 | 0.0018432 | 0.00046195
42 | 0.99103 | -0.062986 | 0.0005475 | 0.00013722
43 | 0.99386 | -0.043014 | 0.0019798 | 0.00049618
44 | 0.9907 | -0.065343 | 0 | 0
45 | 0.98999 | -0.070351 | 0.0026099 | 0.00065409
46 | 0.99383 | -0.043218 | 0.0022962 | 0.00057548
47 | 0.99378 | -0.043551 | 0.0020618 | 0.00051674
48 | 0.98998 | -0.070392 | 0.003265 | 0.00081828
49 | 0.98996 | -0.070546 | 0.00065037 | 0.000163
50 | 0.9899 | -0.070973 | 0 | 0
51 | 0.98981 | -0.071614 | 0.00099792 | 0.0002501
52 | 0.99753 | -0.017263 | 0.0013376 | 0.00033524
53 | 0.98978 | -0.071852 | 0.00071677 | 0.00017964
54 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012382 | -0.0031035 | 0.012383 | 0.0031038 | 1.0188e-06 | 3.301e-07 | 0.018525 | 0.018525 | 0.018525 | 0.99462 | -0.037745 | 0.9947 | -0.037151 | 6.8611
1 | 0.011769 | 0.0029496 | -0.011765 | -0.0029484 | 3.8105e-06 | 1.21e-06 | 0.017607 | 0.017607 | 0.017607 | 0.99462 | -0.037745 | 0.99428 | -0.040085 | 6.521
2 | -0.012902 | -0.0032337 | 0.012907 | 0.0032353 | 4.9032e-06 | 1.6119e-06 | 0.0193 | 0.0193 | 0.0193 | 0.9947 | -0.037151 | 0.99509 | -0.034407 | 7.1483
3 | 0.011281 | 0.0028272 | -0.011277 | -0.0028258 | 4.3455e-06 | 1.3546e-06 | 0.016883 | 0.016883 | 0.016883 | 0.99428 | -0.040085 | 0.99389 | -0.042868 | 6.2529
4 | -0.013998 | -0.0035088 | 0.014006 | 0.0035114 | 7.6307e-06 | 2.5721e-06 | 0.020932 | 0.020932 | 0.020932 | 0.99509 | -0.034407 | 0.99565 | -0.030473 | 7.7527
5 | 0.010813 | 0.0027095 | -0.010809 | -0.0027085 | 3.5938e-06 | 1.0975e-06 | 0.016188 | 0.016188 | 0.016188 | 0.99389 | -0.042868 | 0.99355 | -0.04527 | 5.9957
6 | 0.0079567 | 0.0019929 | -0.0079532 | -0.0019921 | 3.4798e-06 | 8.2569e-07 | 0.011891 | 0.011891 | 0.011891 | 0.99565 | -0.030473 | 0.9952 | -0.033636 | 4.4041
7 | -0.021962 | -0.0055043 | 0.021971 | 0.0055075 | 8.7443e-06 | 3.194e-06 | 0.032823 | 0.032823 | 0.032823 | 0.99565 | -0.030473 | 0.99606 | -0.027598 | 12.1567
8 | 0.0094661 | 0.0023719 | -0.0094659 | -0.0023718 | 2.0807e-07 | 5.8543e-08 | 0.014177 | 0.014177 | 0.014177 | 0.99355 | -0.04527 | 0.99353 | -0.045429 | 5.2507
9 | 0.00049829 | 0.00012418 | -0.00049827 | -0.00012488 | 1.8867e-08 | -7.0072e-07 | 0.00074479 | 0.00074504 | 0.00074504 | 0.9952 | -0.033636 | 0.99516 | -0.033911 | 0.27594
10 | 0.0074549 | 0.0018679 | -0.0074527 | -0.0018674 | 2.2636e-06 | 4.9136e-07 | 0.011146 | 0.011147 | 0.011147 | 0.9952 | -0.033636 | 0.99489 | -0.035831 | 4.1283
11 | -0.022954 | -0.0057538 | 0.022956 | 0.0057545 | 2.019e-06 | 7.4073e-07 | 0.034291 | 0.034291 | 0.034291 | 0.99606 | -0.027598 | 0.99615 | -0.026963 | 12.7003
12 | 0.0081125 | 0.0020326 | -0.0081111 | -0.0020323 | 1.3802e-06 | 3.3685e-07 | 0.01215 | 0.01215 | 0.01215 | 0.99353 | -0.045429 | 0.99335 | -0.046659 | 4.5
13 | 0.0064933 | 0.0016268 | -0.0064922 | -0.0016266 | 1.129e-06 | 1.867e-07 | 0.0097266 | 0.0097267 | 0.0097267 | 0.99335 | -0.046659 | 0.99317 | -0.047916 | 3.6025
14 | 0.0064922 | 0.0016266 | -0.0064914 | -0.0016265 | 7.1539e-07 | 1.1835e-07 | 0.0097267 | 0.0097267 | 0.0097267 | 0.99317 | -0.047916 | 0.99306 | -0.048712 | 3.6025
15 | -0.024583 | -0.0061625 | 0.024606 | 0.0061708 | 2.244e-05 | 8.2833e-06 | 0.036722 | 0.036722 | 0.036722 | 0.99615 | -0.026963 | 0.99709 | -0.020378 | 13.6008
16 | -0.033849 | -0.0084872 | 0.033853 | 0.0084888 | 4.0542e-06 | 1.5261e-06 | 0.050516 | 0.050516 | 0.050516 | 0.99709 | -0.020378 | 0.99721 | -0.019513 | 18.7095
17 | -0.038416 | -0.0096324 | 0.03847 | 0.0096528 | 5.3962e-05 | 2.0411e-05 | 0.057325 | 0.057325 | 0.057325 | 0.99721 | -0.019513 | 0.99866 | -0.0093904 | 21.2315
18 | 0.005857 | 0.0014675 | -0.0058562 | -0.0014674 | 8.0356e-07 | 9.1175e-08 | 0.0087599 | 0.00876 | 0.00876 | 0.99489 | -0.035831 | 0.99475 | -0.036822 | 3.2444
19 | -0.039747 | -0.009973 | 0.039799 | 0.0099926 | 5.1857e-05 | 1.9635e-05 | 0.059228 | 0.059228 | 0.059228 | 0.99866 | -0.0093904 | 1 | 0 | 21.9364
20 | 0.0056384 | 0.0014129 | -0.0056377 | -0.0014128 | 6.3361e-07 | 5.8413e-08 | 0.0084342 | 0.0084342 | 0.0084342 | 0.99475 | -0.036822 | 0.99463 | -0.037634 | 3.1238
21 | 0.0051689 | 0.0012953 | -0.0051682 | -0.0012953 | 7.1602e-07 | 2.6379e-08 | 0.0077329 | 0.007733 | 0.007733 | 0.99463 | -0.037634 | 0.99449 | -0.038635 | 2.8641
22 | -0.0016265 | -0.00040763 | 0.0016265 | 0.0004076 | 9.7712e-09 | -3.0331e-08 | 0.0024375 | 0.0024375 | 0.0024375 | 0.99292 | -0.049715 | 0.99292 | -0.049672 | 0.90277
23 | -0.0028896 | -0.00072418 | 0.00289 | 0.0007239 | 3.836e-07 | -2.7654e-07 | 0.0043304 | 0.0043303 | 0.0043304 | 0.99292 | -0.049672 | 0.99306 | -0.048712 | 1.6039
24 | 0.043109 | 0.010833 | -0.043013 | -0.010796 | 9.6519e-05 | 3.6631e-05 | 0.064157 | 0.064157 | 0.064157 | 1 | 0 | 0.99769 | -0.016125 | 23.7619
25 | 0.0045468 | 0.0011389 | -0.0045464 | -0.0011389 | 3.4353e-07 | -2.4203e-08 | 0.0067811 | 0.0067812 | 0.0067812 | 0.99769 | -0.016125 | 0.99761 | -0.016671 | 2.5115
26 | 0.038466 | 0.0096571 | -0.038423 | -0.0096409 | 4.2802e-05 | 1.6191e-05 | 0.057376 | 0.057376 | 0.057376 | 0.99769 | -0.016125 | 0.99655 | -0.024144 | 21.2504
27 | 0.0013378 | 0.00033471 | -0.0013376 | -0.00033524 | 1.0937e-07 | -5.3275e-07 | 0.0019952 | 0.0019954 | 0.0019954 | 0.99761 | -0.016671 | 0.99753 | -0.017263 | 0.73902
28 | 0.037127 | 0.009316 | -0.037111 | -0.00931 | 1.6064e-05 | 6.0695e-06 | 0.055441 | 0.055441 | 0.055441 | 0.99655 | -0.024144 | 0.9961 | -0.027263 | 20.5337
29 | -0.00073682 | -0.00018466 | 0.00073684 | 0.00018431 | 2.1088e-08 | -3.5349e-07 | 0.0011019 | 0.0011017 | 0.0011019 | 0.99503 | -0.034781 | 0.99506 | -0.034574 | 0.4081
30 | -0.002292 | -0.00057406 | 0.0022922 | 0.00057375 | 2.2582e-07 | -3.1341e-07 | 0.0034273 | 0.0034271 | 0.0034273 | 0.99506 | -0.034574 | 0.99516 | -0.033861 | 1.2694
31 | -0.034676 | -0.0086957 | 0.034707 | 0.0087076 | 3.1738e-05 | 1.1961e-05 | 0.051851 | 0.051851 | 0.051851 | 0.99516 | -0.033861 | 0.9961 | -0.027263 | 19.204
32 | 0.032384 | 0.0081219 | -0.032352 | -0.0081102 | 3.1131e-05 | 1.1697e-05 | 0.048424 | 0.048424 | 0.048424 | 0.99516 | -0.033861 | 0.99417 | -0.040802 | 17.9347
33 | 0.024253 | 0.0060802 | -0.024249 | -0.006079 | 3.3377e-06 | 1.2311e-06 | 0.036301 | 0.036301 | 0.036301 | 0.99417 | -0.040802 | 0.99403 | -0.041795 | 13.4446
34 | 0.0063391 | 0.0015884 | -0.006338 | -0.0015882 | 1.0685e-06 | 1.6449e-07 | 0.0094891 | 0.0094892 | 0.0094892 | 0.99403 | -0.041795 | 0.99386 | -0.043014 | 3.5145
35 | 0.01791 | 0.0044906 | -0.017887 | -0.0044823 | 2.3275e-05 | 8.28e-06 | 0.026811 | 0.026812 | 0.026812 | 0.99403 | -0.041795 | 0.9927 | -0.051186 | 9.9302
36 | -0.014355 | -0.0035954 | 0.014362 | 0.0035979 | 7.5109e-06 | 2.5541e-06 | 0.021543 | 0.021543 | 0.021543 | 0.99149 | -0.059727 | 0.99203 | -0.055945 | 7.9788
37 | 0.012615 | 0.0031594 | -0.012612 | -0.0031584 | 3.0825e-06 | 1.0079e-06 | 0.018932 | 0.018932 | 0.018932 | 0.99149 | -0.059727 | 0.99124 | -0.061495 | 7.0119
38 | -0.01615 | -0.0040459 | 0.01616 | 0.0040496 | 1.0638e-05 | 3.7161e-06 | 0.024224 | 0.024223 | 0.024224 | 0.99203 | -0.055945 | 0.9927 | -0.051186 | 8.9717
39 | 0.0089891 | 0.0022517 | -0.0089881 | -0.0022514 | 9.7859e-07 | 2.6537e-07 | 0.013494 | 0.013494 | 0.013494 | 0.99124 | -0.061495 | 0.99113 | -0.062283 | 4.9977
40 | 0.0036231 | 0.00090669 | -0.0036225 | -0.00090689 | 6.3052e-07 | -1.9779e-07 | 0.0054384 | 0.0054386 | 0.0054386 | 0.99124 | -0.061495 | 0.99106 | -0.062756 | 2.0143
41 | 0.0089881 | 0.0022514 | -0.0089857 | -0.0022508 | 2.4672e-06 | 6.6915e-07 | 0.013494 | 0.013494 | 0.013494 | 0.99113 | -0.062283 | 0.99085 | -0.064268 | 4.9977
42 | 0.0018434 | 0.00046154 | -0.0018432 | -0.00046195 | 1.8024e-07 | -4.1654e-07 | 0.0027676 | 0.0027677 | 0.0027677 | 0.99106 | -0.062756 | 0.99096 | -0.063463 | 1.0251
43 | 0.00054752 | 0.00013669 | -0.0005475 | -0.00013722 | 1.7368e-08 | -5.2415e-07 | 0.00082188 | 0.00082206 | 0.00082206 | 0.99106 | -0.062756 | 0.99103 | -0.062986 | 0.30447
44 | 0.0082472 | 0.0020657 | -0.008246 | -0.0020654 | 1.2258e-06 | 3.0652e-07 | 0.012385 | 0.012385 | 0.012385 | 0.99085 | -0.064268 | 0.9907 | -0.065343 | 4.587
45 | 0.0043582 | 0.001092 | -0.0043581 | -0.0010921 | 1.2344e-07 | -1.273e-08 | 0.0065251 | 0.0065251 | 0.0065251 | 0.99386 | -0.043014 | 0.99383 | -0.043218 | 2.4167
46 | 0.008246 | 0.0020654 | -0.0082403 | -0.002064 | 5.7083e-06 | 1.4281e-06 | 0.012385 | 0.012385 | 0.012385 | 0.9907 | -0.065343 | 0.98999 | -0.070351 | 4.5871
47 | 0.0056304 | 0.0014099 | -0.0056304 | -0.0014099 | 3.1537e-08 | 3.0552e-09 | 0.0084624 | 0.0084624 | 0.0084624 | 0.98999 | -0.070351 | 0.98998 | -0.070392 | 3.1342
48 | 0.0020619 | 0.00051657 | -0.0020618 | -0.00051674 | 9.4811e-08 | -1.701e-07 | 0.0030871 | 0.0030872 | 0.0030872 | 0.99383 | -0.043218 | 0.99378 | -0.043551 | 1.1434
49 | 0.0023654 | 0.00059158 | -0.0023653 | -0.00059164 | 5.0321e-08 | -6.2692e-08 | 0.0035549 | 0.0035549 | 0.0035549 | 0.98998 | -0.070392 | 0.98996 | -0.070546 | 1.3166
50 | 0.001715 | 0.00042864 | -0.0017149 | -0.00042892 | 1.0087e-07 | -2.7406e-07 | 0.0025774 | 0.0025775 | 0.0025775 | 0.98996 | -0.070546 | 0.9899 | -0.070973 | 0.95462
51 | 0.0017149 | 0.00042892 | -0.0017147 | -0.00042933 | 1.518e-07 | -4.123e-07 | 0.0025775 | 0.0025776 | 0.0025776 | 0.9899 | -0.070973 | 0.98981 | -0.071614 | 0.95468
52 | 0.00071679 | 0.00017923 | -0.00071677 | -0.00017964 | 2.356e-08 | -4.0891e-07 | 0.0010774 | 0.0010776 | 0.0010776 | 0.98981 | -0.071614 | 0.98978 | -0.071852 | 0.3991

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.08478 | 0.021094

## res_load
| p_mw | q_mvar
0 | 0.00061388 | 0.00015385
1 | 0.00051842 | 0.00012993
2 | 0.00048373 | 0.00012123
3 | 0.0010912 | 0.00027349
4 | 0.00046391 | 0.00011627
5 | 0.001343 | 0.00033658
6 | 0.00098246 | 0.00024623
7 | 0.0013534 | 0.0003392
8 | 0.0016178 | 0.00040546
9 | 0.0016278 | 0.00040796
10 | 0.0092428 | 0.0023165
11 | 0.0045633 | 0.0011437
12 | 0.00049827 | 0.00012488
13 | 0.0015957 | 0.00039992
14 | 0.0012774 | 0.00032015
15 | 0.0002178 | 5.4585e-05
16 | 0.00046878 | 0.00011749
17 | 0.0051682 | 0.0012953
18 | 0.0016265 | 0.00040763
19 | 0.0012631 | 0.00031657
20 | 0.0036014 | 0.0009026
21 | 0.0010712 | 0.00026848
22 | 0.0032087 | 0.00080417
23 | 0.001296 | 0.00032481
24 | 0.00073682 | 0.00018466
25 | 0.0015551 | 0.00038975
26 | 0.0024035 | 0.00060237
27 | 0.0080997 | 0.00203
28 | 0.0017396 | 0.00043598
29 | 0.0017873 | 0.00044794
30 | 0.0017267 | 0.00043275
31 | 0.0012316 | 0.00030866
32 | 0.00073847 | 0.00018508
33 | 0.0018432 | 0.00046195
34 | 0.0005475 | 0.00013722
35 | 0.0019798 | 0.00049618
36 | 0.0026099 | 0.00065409
37 | 0.0022962 | 0.00057548
38 | 0.0020618 | 0.00051674
39 | 0.003265 | 0.00081828
40 | 0.00065037 | 0.000163
41 | 0.00099792 | 0.0002501
42 | 0.0013376 | 0.00033524
43 | 0.00071677 | 0.00017964

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1