## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2008-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2008-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2008-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2008-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2008-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2008-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2008-1_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2008-1_0_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2008-1_0_2_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_2008-1_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2008-1_0_2_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_2008-1_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2008-1_0_2_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_2008-1_0_2_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_2008-1_0_2_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_2008-1_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2008-1_0_2_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2008-1_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2008-1_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2008-1_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2008-1_0_2_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_2008-1_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2008-1_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2008-1_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2008-1_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2008-1_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2008-1_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2008-1_0_2_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_2008-1_0_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2008-1_0_2_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_2008-1_0_2_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_2008-1_0_2_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_2008-1_0_2_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_2008-1_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2008-1_0_2_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2008-1_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2008-1_0_2_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_2008-1_0_2_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_2008-1_0_2_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_2008-1_0_2_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2008-1_0_2_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_2008-1_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2008-1_0_2_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2008-1_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2008-1_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2008-1_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2008-1_0_2_node_41 | 0.4 | n |  | TRUE
47 | bus_MV_454_1_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2008-1_0_2_load_0 | 0 | 0.0030291 | 0.00075916 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2008-1_0_2_load_1 | 1 | 0.0041576 | 0.001042 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2008-1_0_2_load_3 | 3 | 0.0052695 | 0.0013207 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2008-1_0_2_load_4 | 4 | 0.0025683 | 0.00064368 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2008-1_0_2_load_5 | 5 | 0.0034648 | 0.00086837 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2008-1_0_2_load_6 | 6 | 0.0015978 | 0.00040046 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2008-1_0_2_load_12 | 9 | 0.0014998 | 0.0003759 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2008-1_0_2_load_21 | 10 | 0.0028703 | 0.00071937 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2008-1_0_2_load_8 | 11 | 0.0035494 | 0.00088956 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2008-1_0_2_load_35 | 12 | 0.0053608 | 0.0013435 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2008-1_0_2_load_36 | 13 | 0.0089327 | 0.0022387 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2008-1_0_2_load_31 | 14 | 0.0031959 | 0.00080096 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2008-1_0_2_load_13 | 15 | 0.0019427 | 0.00048689 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2008-1_0_2_load_7 | 16 | 0.0027123 | 0.00067977 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2008-1_0_2_load_9 | 17 | 0.0016436 | 0.00041193 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2008-1_0_2_load_11 | 18 | 0.001552 | 0.00038898 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2008-1_0_2_load_14 | 19 | 0.0014774 | 0.00037028 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2008-1_0_2_load_30 | 20 | 0.0012348 | 0.00030946 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2008-1_0_2_load_15 | 21 | 0.0018204 | 0.00045625 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2008-1_0_2_load_16 | 22 | 0.0029305 | 0.00073446 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2008-1_0_2_load_17 | 23 | 0.0020788 | 0.00052099 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2008-1_0_2_load_18 | 24 | 0.0012052 | 0.00030206 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2008-1_0_2_load_19 | 25 | 0.0016085 | 0.00040314 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2008-1_0_2_load_20 | 26 | 0.0011459 | 0.00028719 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2008-1_0_2_load_45 | 27 | 0.0012467 | 0.00031244 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2008-1_0_2_load_22 | 28 | 0.0012113 | 0.00030358 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2008-1_0_2_load_42 | 29 | 0.0022481 | 0.00056343 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2008-1_0_2_load_43 | 30 | 0.0013475 | 0.00033772 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2008-1_0_2_load_44 | 31 | 0.002874 | 0.0007203 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2008-1_0_2_load_46 | 32 | 0.0027745 | 0.00069534 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2008-1_0_2_load_29 | 34 | 0.0016992 | 0.00042587 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2008-1_0_2_load_26 | 35 | 0.0013664 | 0.00034246 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2008-1_0_2_load_23 | 36 | 0.00128 | 0.00032079 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2008-1_0_2_load_24 | 37 | 0.0015131 | 0.00037922 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2008-1_0_2_load_25 | 38 | 0.0014866 | 0.00037258 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2008-1_0_2_load_27 | 39 | 0.0014412 | 0.00036119 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2008-1_0_2_load_32 | 40 | 0.0025223 | 0.00063216 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2008-1_0_2_load_34 | 41 | 0.0045865 | 0.0011495 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2008-1_0_2_load_38 | 43 | 0.0052583 | 0.0013178 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2008-1_0_2_load_40 | 45 | 0.0009551 | 0.00023937 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2008-1_0_2_load_41 | 46 | 0.0011559 | 0.00028969 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2008-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.041698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2008-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2008-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.027273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2008-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2008-1_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.024263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2008-1_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.032862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2008-1_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.017781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2008-1_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.017075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2008-1_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0069206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2008-1_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.017446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2008-1_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.053406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2008-1_0_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.051825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2008-1_0_2_line_12 | NAYY 4x150 SE | 8 | 13 | 0.027479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2008-1_0_2_line_13 | NAYY 4x150 SE | 8 | 14 | 0.033561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2008-1_0_2_line_14 | NAYY 4x150 SE | 9 | 15 | 0.028392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2008-1_0_2_line_15 | NAYY 4x150 SE | 10 | 20 | 0.0041133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2008-1_0_2_line_16 | NAYY 4x150 SE | 11 | 16 | 0.013568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2008-1_0_2_line_17 | NAYY 4x150 SE | 13 | 42 | 0.035316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2008-1_0_2_line_18 | NAYY 4x150 SE | 14 | 40 | 0.035213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2008-1_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.01465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2008-1_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.03203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2008-1_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.018022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2008-1_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.010014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2008-1_0_2_line_23 | NAYY 4x150 SE | 20 | 34 | 0.032851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2008-1_0_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.016637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2008-1_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.030115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2008-1_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.015305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2008-1_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.03757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2008-1_0_2_line_28 | NAYY 4x150 SE | 24 | 27 | 0.10054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2008-1_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.011194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2008-1_0_2_line_30 | NAYY 4x150 SE | 27 | 30 | 0.01617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2008-1_0_2_line_31 | NAYY 4x150 SE | 28 | 33 | 0.022649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2008-1_0_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.021768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2008-1_0_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.026978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2008-1_0_2_line_34 | NAYY 4x150 SE | 30 | 32 | 0.1459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2008-1_0_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0012789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2008-1_0_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.012132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2008-1_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.035092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2008-1_0_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0012514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2008-1_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.02649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2008-1_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0089565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2008-1_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.004598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2008-1_0_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.04262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2008-1_0_2_line_43 | NAYY 4x150 SE | 42 | 44 | 0.012752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2008-1_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.038109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2008-1_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.010323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2008-1_0_2_trafo_21 | 0.25 MVA 20/0.4 kV | 47 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2553946.3035 | 1186781.8051 | 2553951.1849 | 1186775.1019 | 2553958.021 | 1186765.1661 | 2553962.0369 | 1186758.5648 | 2553963.9844 | 1186751.8795 | 2553964.5584 | 1186747.1614 | 2553964.535 | 1186745.2591
1 | 2553930.2524 | 1186806.2804 | 2553936.6986 | 1186796.2585 | 2553944.2238 | 1186784.6608 | 2553946.3035 | 1186781.8051
2 | 2553964.535 | 1186745.2591 | 2553964.4974 | 1186742.2147 | 2553964.0626 | 1186730.3449 | 2553963.7403 | 1186717.9984
3 | 2553930.2524 | 1186806.2804 | 2553929.1207 | 1186801.0084 | 2553927.7063 | 1186796.6836 | 2553923.5361 | 1186789.4491
4 | 2553930.2524 | 1186806.2804 | 2553930.9529 | 1186812.0337 | 2553931.5249 | 1186816.943 | 2553932.5169 | 1186821.9048 | 2553933.6173 | 1186826.0764 | 2553935.0967 | 1186829.9541
5 | 2553962.6603 | 1186685.1563 | 2553963.1206 | 1186694.2546 | 2553963.7403 | 1186717.9984
6 | 2553913.5824 | 1186774.8028 | 2553917.3228 | 1186778.9873 | 2553920.4524 | 1186784.0993 | 2553923.5361 | 1186789.4491
7 | 2553943.6412 | 1186844.6537 | 2553939.2288 | 1186838.4176 | 2553936.1715 | 1186832.7714 | 2553935.0967 | 1186829.9541
8 | 2553962.6603 | 1186685.1563 | 2553962.4454 | 1186680.9081 | 2553962.2423 | 1186678.2488
9 | 2553913.5824 | 1186774.8028 | 2553908.2079 | 1186770.4641 | 2553899.4162 | 1186764.6524
10 | 2553913.5824 | 1186774.8028 | 2553917.599 | 1186768.3016 | 2553922.0331 | 1186760.5409 | 2553924.54 | 1186756.1525 | 2553925.4533 | 1186753.8776 | 2553926.8 | 1186749.4203 | 2553927.1772 | 1186743.9255 | 2553928.4109 | 1186724.8087
11 | 2553943.6412 | 1186844.6537 | 2553932.2588 | 1186859.6608 | 2553923.3498 | 1186871.8695 | 2553913.3184 | 1186886.6655
12 | 2553943.6412 | 1186844.6537 | 2553950.2435 | 1186850.9174 | 2553957.3303 | 1186860.6459 | 2553961.5373 | 1186865.3925
13 | 2553943.6412 | 1186844.6537 | 2553951.2116 | 1186838.9256 | 2553959.2848 | 1186832.1041 | 2553968.1455 | 1186823.5089 | 2553968.9505 | 1186822.682
14 | 2553962.2423 | 1186678.2488 | 2553961.7156 | 1186671.3529 | 2553960.394 | 1186658.2782 | 2553959.5113 | 1186649.9907
15 | 2553899.4162 | 1186764.6524 | 2553895.9848 | 1186762.3842
16 | 2553928.4109 | 1186724.8087 | 2553929.1877 | 1186712.7707 | 2553929.2747 | 1186711.2684
17 | 2553984.3321 | 1186892.3219 | 2553978.9417 | 1186884.8927 | 2553970.1993 | 1186875.1658 | 2553961.5373 | 1186865.3925
18 | 2553968.9505 | 1186822.682 | 2553977.3278 | 1186814.0774 | 2553987.794 | 1186801.9346 | 2553991.5899 | 1186795.8485
19 | 2553930.0066 | 1186696.6378 | 2553929.8812 | 1186700.7921 | 2553929.2747 | 1186711.2684
20 | 2553930.0066 | 1186696.6378 | 2553930.2276 | 1186689.3165 | 2553930.0808 | 1186677.211 | 2553930.133 | 1186669.1396 | 2553930.0381 | 1186664.6131
21 | 2553930.0381 | 1186664.6131 | 2553929.6601 | 1186646.5945
22 | 2553929.0509 | 1186636.5995 | 2553929.6503 | 1186646.1307 | 2553929.6601 | 1186646.5945
23 | 2553868.3632 | 1186744.621 | 2553873.7968 | 1186747.7171 | 2553895.9848 | 1186762.3842
24 | 2553929.0509 | 1186636.5995 | 2553928.0066 | 1186619.9957
25 | 2553822.9788 | 1186702.1428 | 2553832.0538 | 1186673.4273
26 | 2553837.0134 | 1186658.9526 | 2553834.2112 | 1186666.6007 | 2553832.0538 | 1186673.4273
27 | 2553822.9788 | 1186702.1428 | 2553822.5851 | 1186703.3884 | 2553818.8171 | 1186715.3796 | 2553818.9705 | 1186717.4574 | 2553820.1361 | 1186719.2049 | 2553821.6662 | 1186720.7161 | 2553837.2296 | 1186728.4073
28 | 2553822.9788 | 1186702.1428 | 2553727.3804 | 1186733.2634
29 | 2553847.2648 | 1186733.3666 | 2553837.2296 | 1186728.4073
30 | 2553727.3804 | 1186733.2634 | 2553723.568 | 1186748.9776
31 | 2553867.252 | 1186743.9878 | 2553859.564 | 1186739.4447 | 2553847.2648 | 1186733.3666
32 | 2553718.4359 | 1186770.132 | 2553723.568 | 1186748.9776
33 | 2553718.4359 | 1186770.132 | 2553712.0753 | 1186796.3498
34 | 2553723.568 | 1186748.9776 | 2553580.1013 | 1186722.4611
35 | 2553867.252 | 1186743.9878 | 2553868.3632 | 1186744.621
36 | 2553867.252 | 1186743.9878 | 2553869.5989 | 1186732.0847
37 | 2553876.3871 | 1186697.6557 | 2553869.5989 | 1186732.0847
38 | 2553876.6292 | 1186696.428 | 2553876.3871 | 1186697.6557
39 | 2553876.6292 | 1186696.428 | 2553881.7535 | 1186670.4382
40 | 2553883.4861 | 1186661.6508 | 2553881.7535 | 1186670.4382
41 | 2553993.6072 | 1186791.7244 | 2553992.1276 | 1186794.9863 | 2553991.5899 | 1186795.8485
42 | 2553942.726 | 1186902.0922 | 2553969.7474 | 1186895.7361 | 2553984.3321 | 1186892.3219
43 | 2553989.6162 | 1186903.7763 | 2553987.8683 | 1186897.7421 | 2553985.0493 | 1186893.3058 | 2553984.3321 | 1186892.3219
44 | 2553989.6162 | 1186903.7763 | 2553981.3194 | 1186940.9717
45 | 2553981.3194 | 1186940.9717 | 2553972.6218 | 1186946.5323

## bus_geodata
| x | y | coords
0 | 2553946.3035 | 1186781.8051
1 | 2553964.535 | 1186745.2591
2 | 2553930.2524 | 1186806.2804
3 | 2553963.7403 | 1186717.9984
4 | 2553923.5361 | 1186789.4491
5 | 2553935.0967 | 1186829.9541
6 | 2553962.6603 | 1186685.1563
7 | 2553913.5824 | 1186774.8028
8 | 2553943.6412 | 1186844.6537
9 | 2553962.2423 | 1186678.2488
10 | 2553899.4162 | 1186764.6524
11 | 2553928.4109 | 1186724.8086
12 | 2553913.3184 | 1186886.6655
13 | 2553961.5373 | 1186865.3925
14 | 2553968.9505 | 1186822.682
15 | 2553959.5113 | 1186649.9907
16 | 2553929.2747 | 1186711.2684
17 | 2553930.0066 | 1186696.6378
18 | 2553930.0381 | 1186664.6131
19 | 2553929.6601 | 1186646.5945
20 | 2553895.9848 | 1186762.3842
21 | 2553929.0509 | 1186636.5995
22 | 2553928.0066 | 1186619.9957
23 | 2553832.0538 | 1186673.4273
24 | 2553822.9788 | 1186702.1428
25 | 2553837.0134 | 1186658.9526
26 | 2553837.2296 | 1186728.4073
27 | 2553727.3804 | 1186733.2634
28 | 2553847.2648 | 1186733.3666
29 | 2553718.4359 | 1186770.132
30 | 2553723.568 | 1186748.9776
31 | 2553712.0753 | 1186796.3498
32 | 2553580.1013 | 1186722.4611
33 | 2553867.252 | 1186743.9878
34 | 2553868.3632 | 1186744.621
35 | 2553869.5989 | 1186732.0847
36 | 2553876.6292 | 1186696.428
37 | 2553876.3871 | 1186697.6557
38 | 2553881.7535 | 1186670.4382
39 | 2553883.4861 | 1186661.6508
40 | 2553991.5899 | 1186795.8485
41 | 2553993.6072 | 1186791.7244
42 | 2553984.3321 | 1186892.3219
43 | 2553942.726 | 1186902.0922
44 | 2553989.6162 | 1186903.7763
45 | 2553981.3194 | 1186940.9717
46 | 2553972.6218 | 1186946.5323
47 | 2553899.4162 | 1186764.6524

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99468 | -0.03725 | 0.0030291 | 0.00075916
1 | 0.99381 | -0.043346 | 0.0041576 | 0.001042
2 | 0.99541 | -0.032083 | 0 | 0
3 | 0.99341 | -0.04619 | 0.0052695 | 0.0013207
4 | 0.9968 | -0.022335 | 0.0025683 | 0.00064368
5 | 0.99418 | -0.040761 | 0.0034648 | 0.00086837
6 | 0.99317 | -0.047867 | 0.0015978 | 0.00040046
7 | 0.99822 | -0.012428 | 0 | 0
8 | 0.9934 | -0.046282 | 0 | 0
9 | 0.99314 | -0.048109 | 0.0014998 | 0.0003759
10 | 1 | 0 | -0.10025 | -0.024977
11 | 0.99702 | -0.020836 | 0.0035494 | 0.00088956
12 | 0.993 | -0.049094 | 0.0053608 | 0.0013435
13 | 0.99275 | -0.050819 | 0.0089327 | 0.0022387
14 | 0.9929 | -0.049783 | 0.0031959 | 0.00080096
15 | 0.99306 | -0.048667 | 0.0019427 | 0.00048689
16 | 0.99679 | -0.022491 | 0.0027123 | 0.00067977
17 | 0.99659 | -0.023879 | 0.0016436 | 0.00041193
18 | 0.99623 | -0.026386 | 0.001552 | 0.00038898
19 | 0.99607 | -0.027516 | 0.0014774 | 0.00037028
20 | 0.99984 | -0.001142 | 0.0012348 | 0.00030946
21 | 0.996 | -0.027994 | 0.0018204 | 0.00045625
22 | 0.99593 | -0.028485 | 0.0029305 | 0.00073446
23 | 0.99672 | -0.02301 | 0.0020788 | 0.00052099
24 | 0.99688 | -0.021894 | 0.0012052 | 0.00030206
25 | 0.99668 | -0.023258 | 0.0016085 | 0.00040314
26 | 0.99771 | -0.016081 | 0.0011459 | 0.00028719
27 | 0.99537 | -0.032528 | 0.0012467 | 0.00031244
28 | 0.99797 | -0.014222 | 0.0012113 | 0.00030358
29 | 0.99499 | -0.035162 | 0.0022481 | 0.00056343
30 | 0.99515 | -0.034037 | 0.0013475 | 0.00033772
31 | 0.99488 | -0.035944 | 0.002874 | 0.0007203
32 | 0.99457 | -0.038129 | 0.0027745 | 0.00069534
33 | 0.99855 | -0.010188 | 0 | 0
34 | 0.99859 | -0.00987 | 0.0016992 | 0.00042587
35 | 0.99842 | -0.01105 | 0.0013664 | 0.00034246
36 | 0.99813 | -0.013115 | 0.00128 | 0.00032079
37 | 0.99814 | -0.013063 | 0.0015131 | 0.00037922
38 | 0.99802 | -0.013893 | 0.0014866 | 0.00037258
39 | 0.998 | -0.014022 | 0.0014412 | 0.00036119
40 | 0.99254 | -0.052319 | 0.0025223 | 0.00063216
41 | 0.99251 | -0.052532 | 0.0045865 | 0.0011495
42 | 0.99238 | -0.05346 | 0 | 0
43 | 0.99206 | -0.055733 | 0.0052583 | 0.0013178
44 | 0.99234 | -0.053733 | 0 | 0
45 | 0.99222 | -0.05455 | 0.0009551 | 0.00023937
46 | 0.99221 | -0.054671 | 0.0011559 | 0.00028969
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.014485 | 0.0036309 | -0.014473 | -0.0036268 | 1.2218e-05 | 4.1586e-06 | 0.02167 | 0.02167 | 0.02167 | 0.99468 | -0.03725 | 0.99381 | -0.043346 | 8.0259
1 | -0.017514 | -0.0043901 | 0.017527 | 0.0043945 | 1.254e-05 | 4.4429e-06 | 0.026201 | 0.026201 | 0.026201 | 0.99468 | -0.03725 | 0.99541 | -0.032083 | 9.7042
2 | 0.010315 | 0.0025848 | -0.010311 | -0.0025836 | 4.0597e-06 | 1.2082e-06 | 0.015445 | 0.015445 | 0.015445 | 0.99381 | -0.043346 | 0.99341 | -0.04619 | 5.7204
3 | -0.053051 | -0.013306 | 0.053123 | 0.013333 | 7.1794e-05 | 2.7375e-05 | 0.079308 | 0.079308 | 0.079308 | 0.99541 | -0.032083 | 0.9968 | -0.022335 | 29.3732
4 | 0.035524 | 0.0089111 | -0.035481 | -0.008895 | 4.27e-05 | 1.6108e-05 | 0.053107 | 0.053107 | 0.053107 | 0.99541 | -0.032083 | 0.99418 | -0.040761 | 19.6692
5 | 0.0050419 | 0.0012629 | -0.0050407 | -0.0012629 | 1.1695e-06 | 2.4445e-08 | 0.0075519 | 0.007552 | 0.007552 | 0.99341 | -0.04619 | 0.99317 | -0.047867 | 2.7971
6 | -0.055691 | -0.013977 | 0.055768 | 0.014006 | 7.6699e-05 | 2.9267e-05 | 0.083142 | 0.083141 | 0.083142 | 0.9968 | -0.022335 | 0.99822 | -0.012428 | 30.7932
7 | 0.032016 | 0.0080267 | -0.031992 | -0.0080175 | 2.4468e-05 | 9.1897e-06 | 0.047921 | 0.047921 | 0.047921 | 0.99418 | -0.040761 | 0.9934 | -0.046282 | 17.7485
8 | 0.0034428 | 0.00086244 | -0.0034427 | -0.00086248 | 1.149e-07 | -4.5364e-08 | 0.0051581 | 0.0051581 | 0.0051581 | 0.99317 | -0.047867 | 0.99314 | -0.048109 | 1.9104
9 | -0.07148 | -0.017946 | 0.071604 | 0.017993 | 0.00012363 | 4.732e-05 | 0.10656 | 0.10656 | 0.10656 | 0.99822 | -0.012428 | 1 | 0 | 39.4684
10 | 0.015713 | 0.0039396 | -0.015695 | -0.0039332 | 1.8284e-05 | 6.335e-06 | 0.023423 | 0.023423 | 0.023423 | 0.99822 | -0.012428 | 0.99702 | -0.020836 | 8.6754
11 | 0.0053628 | 0.0013437 | -0.0053608 | -0.0013435 | 2.0868e-06 | 1.3193e-07 | 0.0080329 | 0.0080332 | 0.0080332 | 0.9934 | -0.046282 | 0.993 | -0.049094 | 2.9752
12 | 0.016317 | 0.0040892 | -0.016307 | -0.0040856 | 1.0243e-05 | 3.5842e-06 | 0.024441 | 0.024441 | 0.024441 | 0.9934 | -0.046282 | 0.99275 | -0.050819 | 9.0523
13 | 0.010312 | 0.0025846 | -0.010307 | -0.0025831 | 4.997e-06 | 1.4876e-06 | 0.015447 | 0.015447 | 0.015447 | 0.9934 | -0.046282 | 0.9929 | -0.049783 | 5.7211
14 | 0.0019429 | 0.00048658 | -0.0019427 | -0.00048689 | 1.5012e-07 | -3.0962e-07 | 0.0029109 | 0.002911 | 0.002911 | 0.99314 | -0.048109 | 0.99306 | -0.048667 | 1.0782
15 | 0.02785 | 0.0069843 | -0.027845 | -0.0069827 | 4.4082e-06 | 1.6415e-06 | 0.041442 | 0.041442 | 0.041442 | 1 | 0 | 0.99984 | -0.001142 | 15.349
16 | 0.012145 | 0.0030437 | -0.012142 | -0.0030428 | 2.7817e-06 | 8.9298e-07 | 0.018126 | 0.018126 | 0.018126 | 0.99702 | -0.020836 | 0.99679 | -0.022491 | 6.7134
17 | 0.0073739 | 0.0018469 | -0.0073713 | -0.0018463 | 2.692e-06 | 5.7891e-07 | 0.011052 | 0.011052 | 0.011052 | 0.99275 | -0.050819 | 0.99238 | -0.05346 | 4.0935
18 | 0.0071114 | 0.0017821 | -0.007109 | -0.0017816 | 2.4958e-06 | 5.0466e-07 | 0.010658 | 0.010658 | 0.010658 | 0.9929 | -0.049783 | 0.99254 | -0.052319 | 3.9473
19 | 0.0094301 | 0.002363 | -0.0094283 | -0.0023625 | 1.8116e-06 | 5.0584e-07 | 0.014077 | 0.014077 | 0.014077 | 0.99679 | -0.022491 | 0.99659 | -0.023879 | 5.2138
20 | 0.0077846 | 0.0019506 | -0.0077819 | -0.00195 | 2.7002e-06 | 6.2134e-07 | 0.011623 | 0.011623 | 0.011623 | 0.99659 | -0.023879 | 0.99623 | -0.026386 | 4.3049
21 | 0.0062299 | 0.001561 | -0.0062289 | -0.0015608 | 9.7375e-07 | 1.3989e-07 | 0.0093051 | 0.0093052 | 0.0093052 | 0.99623 | -0.026386 | 0.99607 | -0.027516 | 3.4464
22 | 0.0047515 | 0.0011906 | -0.0047512 | -0.0011906 | 3.1483e-07 | -9.2495e-09 | 0.0070981 | 0.0070981 | 0.0070981 | 0.99607 | -0.027516 | 0.996 | -0.027994 | 2.6289
23 | 0.02661 | 0.0066732 | -0.026578 | -0.0066613 | 3.2154e-05 | 1.1936e-05 | 0.039605 | 0.039605 | 0.039605 | 0.99984 | -0.001142 | 0.99859 | -0.00987 | 14.6684
24 | 0.0029307 | 0.00073431 | -0.0029305 | -0.00073445 | 1.9901e-07 | -1.3996e-07 | 0.0043784 | 0.0043785 | 0.0043785 | 0.996 | -0.027994 | 0.99593 | -0.028485 | 1.6217
25 | -0.0036874 | -0.00092395 | 0.0036879 | 0.00092378 | 5.6945e-07 | -1.7355e-07 | 0.0055049 | 0.0055047 | 0.0055049 | 0.99672 | -0.02301 | 0.99688 | -0.021894 | 2.0388
26 | 0.0016086 | 0.00040296 | -0.0016085 | -0.00040314 | 5.5076e-08 | -1.7828e-07 | 0.0024014 | 0.0024015 | 0.0024015 | 0.99672 | -0.02301 | 0.99668 | -0.023258 | 0.88945
27 | -0.015404 | -0.0038587 | 0.015416 | 0.003863 | 1.2394e-05 | 4.2765e-06 | 0.022992 | 0.022992 | 0.022992 | 0.99688 | -0.021894 | 0.99771 | -0.016081 | 8.5157
28 | 0.010511 | 0.0026329 | -0.010495 | -0.0026283 | 1.5442e-05 | 4.6304e-06 | 0.015689 | 0.015689 | 0.015689 | 0.99688 | -0.021894 | 0.99537 | -0.032528 | 5.8108
29 | -0.016562 | -0.0041502 | 0.016567 | 0.0041517 | 4.2619e-06 | 1.493e-06 | 0.024701 | 0.024701 | 0.024701 | 0.99771 | -0.016081 | 0.99797 | -0.014222 | 9.1486
30 | 0.0092487 | 0.0023158 | -0.0092468 | -0.0023153 | 1.9287e-06 | 5.3167e-07 | 0.013826 | 0.013826 | 0.013826 | 0.99537 | -0.032528 | 0.99515 | -0.034037 | 5.1206
31 | -0.017778 | -0.0044553 | 0.017788 | 0.0044588 | 9.9304e-06 | 3.5233e-06 | 0.026507 | 0.026507 | 0.026507 | 0.99797 | -0.014222 | 0.99855 | -0.010188 | 9.8176
32 | -0.0051224 | -0.0012835 | 0.0051232 | 0.0012835 | 7.9711e-07 | 2.3806e-08 | 0.0076605 | 0.0076604 | 0.0076605 | 0.99499 | -0.035162 | 0.99515 | -0.034037 | 2.8372
33 | 0.0028743 | 0.00072007 | -0.002874 | -0.0007203 | 3.1106e-07 | -2.3072e-07 | 0.0042985 | 0.0042986 | 0.0042986 | 0.99499 | -0.035162 | 0.99488 | -0.035944 | 1.5921
34 | 0.002776 | 0.00069405 | -0.0027745 | -0.00069534 | 1.5684e-06 | -1.2912e-06 | 0.0041503 | 0.004151 | 0.004151 | 0.99515 | -0.034037 | 0.99457 | -0.038129 | 1.5374
35 | -0.024878 | -0.006235 | 0.024879 | 0.0062354 | 1.0968e-06 | 4.0513e-07 | 0.037073 | 0.037073 | 0.037073 | 0.99855 | -0.010188 | 0.99859 | -0.00987 | 13.7306
36 | 0.0070901 | 0.0017762 | -0.0070893 | -0.0017761 | 8.4508e-07 | 1.6634e-07 | 0.010565 | 0.010565 | 0.010565 | 0.99855 | -0.010188 | 0.99842 | -0.01105 | 3.9131
37 | 0.0057228 | 0.0014336 | -0.0057212 | -0.0014334 | 1.5929e-06 | 1.5385e-07 | 0.0085289 | 0.008529 | 0.008529 | 0.99842 | -0.01105 | 0.99814 | -0.013063 | 3.1589
38 | -0.0042081 | -0.0010542 | 0.0042081 | 0.0010542 | 3.0729e-08 | -4.5366e-09 | 0.0062733 | 0.0062733 | 0.0062733 | 0.99813 | -0.013115 | 0.99814 | -0.013063 | 2.3234
39 | 0.0029281 | 0.00073344 | -0.0029278 | -0.00073366 | 3.1497e-07 | -2.2505e-07 | 0.0043651 | 0.0043652 | 0.0043652 | 0.99813 | -0.013115 | 0.99802 | -0.013893 | 1.6168
40 | 0.0014412 | 0.00036109 | -0.0014412 | -0.00036119 | 2.5805e-08 | -1.0711e-07 | 0.0021488 | 0.0021488 | 0.0021488 | 0.99802 | -0.013893 | 0.998 | -0.014022 | 0.79585
41 | 0.0045866 | 0.0011495 | -0.0045865 | -0.0011495 | 1.3566e-07 | -7.2463e-09 | 0.0068762 | 0.0068763 | 0.0068763 | 0.99254 | -0.052319 | 0.99251 | -0.052532 | 2.5468
42 | 0.0052599 | 0.0013179 | -0.0052583 | -0.0013178 | 1.6543e-06 | 8.5799e-08 | 0.0078869 | 0.0078871 | 0.0078871 | 0.99238 | -0.05346 | 0.99206 | -0.055733 | 2.9211
43 | 0.0021113 | 0.0005284 | -0.0021112 | -0.00052853 | 7.9738e-08 | -1.3408e-07 | 0.0031655 | 0.0031656 | 0.0031656 | 0.99238 | -0.05346 | 0.99234 | -0.053733 | 1.1724
44 | 0.0021112 | 0.00052853 | -0.002111 | -0.00052893 | 2.3832e-07 | -4.0062e-07 | 0.0031656 | 0.0031658 | 0.0031658 | 0.99234 | -0.053733 | 0.99222 | -0.05455 | 1.1725
45 | 0.0011559 | 0.00028957 | -0.0011559 | -0.00028969 | 1.9356e-08 | -1.2589e-07 | 0.0017334 | 0.0017335 | 0.0017335 | 0.99222 | -0.05455 | 0.99221 | -0.054671 | 0.64203

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10312 | 0.025697

## res_load
| p_mw | q_mvar
0 | 0.0030291 | 0.00075916
1 | 0.0041576 | 0.001042
2 | 0.0052695 | 0.0013207
3 | 0.0025683 | 0.00064368
4 | 0.0034648 | 0.00086837
5 | 0.0015978 | 0.00040046
6 | 0.0014998 | 0.0003759
7 | 0.0028703 | 0.00071937
8 | 0.0035494 | 0.00088956
9 | 0.0053608 | 0.0013435
10 | 0.0089327 | 0.0022387
11 | 0.0031959 | 0.00080096
12 | 0.0019427 | 0.00048689
13 | 0.0027123 | 0.00067977
14 | 0.0016436 | 0.00041193
15 | 0.001552 | 0.00038898
16 | 0.0014774 | 0.00037028
17 | 0.0012348 | 0.00030946
18 | 0.0018204 | 0.00045625
19 | 0.0029305 | 0.00073446
20 | 0.0020788 | 0.00052099
21 | 0.0012052 | 0.00030206
22 | 0.0016085 | 0.00040314
23 | 0.0011459 | 0.00028719
24 | 0.0012467 | 0.00031244
25 | 0.0012113 | 0.00030358
26 | 0.0022481 | 0.00056343
27 | 0.0013475 | 0.00033772
28 | 0.002874 | 0.0007203
29 | 0.0027745 | 0.00069534
30 | 0.0016992 | 0.00042587
31 | 0.0013664 | 0.00034246
32 | 0.00128 | 0.00032079
33 | 0.0015131 | 0.00037922
34 | 0.0014866 | 0.00037258
35 | 0.0014412 | 0.00036119
36 | 0.0025223 | 0.00063216
37 | 0.0045865 | 0.0011495
38 | 0.0052583 | 0.0013178
39 | 0.0009551 | 0.00023937
40 | 0.0011559 | 0.00028969

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1