## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2008-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2008-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2008-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2008-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2008-2_0_3_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_2008-2_0_3_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_2008-2_0_3_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_2008-2_0_3_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_2008-2_0_3_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_2008-2_0_3_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_2008-2_0_3_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_2008-2_0_3_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_2008-2_0_3_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_2008-2_0_3_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_2008-2_0_3_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_2008-2_0_3_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_2008-2_0_3_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_2008-2_0_3_node_4 | 0.4 | n |  | TRUE
18 | bus_LV_2008-2_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2008-2_0_3_node_5 | 0.4 | n |  | TRUE
20 | bus_LV_2008-2_0_3_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_2008-2_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2008-2_0_3_node_6 | 0.4 | n |  | TRUE
23 | bus_LV_2008-2_0_3_node_7 | 0.4 | n |  | TRUE
24 | bus_LV_2008-2_0_3_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_2008-2_0_3_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_2008-2_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2008-2_0_3_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_2008-2_0_3_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_2008-2_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2008-2_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_2008-2_0_3_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_2008-2_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2008-2_0_3_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_2008-2_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2008-2_0_3_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_2008-2_0_3_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_2008-2_0_3_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2008-2_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2008-2_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_2008-2_0_3_node_16 | 0.4 | n |  | TRUE
41 | bus_LV_2008-2_0_3_node_17 | 0.4 | n |  | TRUE
42 | bus_LV_2008-2_0_3_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_2008-2_0_3_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_2008-2_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_2008-2_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_2008-2_0_3_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_2008-2_0_3_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_2008-2_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2008-2_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_2008-2_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_2008-2_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_2008-2_0_3_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_2008-2_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_2008-2_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_2008-2_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_2008-2_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_2008-2_0_3_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_2008-2_0_3_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_2008-2_0_3_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_2008-2_0_3_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_2008-2_0_3_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_2008-2_0_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_2008-2_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_2008-2_0_3_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_2008-2_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_2008-2_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_2008-2_0_3_node_46 | 0.4 | n |  | TRUE
68 | bus_MV_454_1_node_261 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2008-2_0_3_load_0 | 0 | 0.0035016 | 0.00087758 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2008-2_0_3_load_1 | 1 | 0.0014127 | 0.00035406 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2008-2_0_3_load_2 | 2 | 0.0016315 | 0.00040889 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2008-2_0_3_load_55 | 4 | 0.0024618 | 0.00061697 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2008-2_0_3_load_56 | 5 | 0.0013647 | 0.00034202 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2008-2_0_3_load_57 | 6 | 0.0013263 | 0.00033241 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2008-2_0_3_load_60 | 8 | 0.0051036 | 0.0012791 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2008-2_0_3_load_54 | 9 | 0.0030114 | 0.00075474 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2008-2_0_3_load_58 | 10 | 0.003719 | 0.00093206 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2008-2_0_3_load_61 | 11 | 0.0021529 | 0.00053957 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2008-2_0_3_load_66 | 12 | 0.0038717 | 0.00097035 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2008-2_0_3_load_62 | 13 | 0.0048511 | 0.0012158 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2008-2_0_3_load_63 | 14 | 0.0040544 | 0.0010161 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2008-2_0_3_load_64 | 15 | 0.010217 | 0.0025605 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2008-2_0_3_load_8 | 18 | 0.0032099 | 0.00080448 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2008-2_0_3_load_5 | 19 | 0.0034915 | 0.00087506 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2008-2_0_3_load_13 | 21 | 0.0033479 | 0.00083905 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2008-2_0_3_load_6 | 22 | 0.0031464 | 0.00078855 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2008-2_0_3_load_7 | 23 | 0.0039278 | 0.00098439 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2008-2_0_3_load_9 | 24 | 0.0039838 | 0.00099845 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2008-2_0_3_load_10 | 25 | 0.003293 | 0.0008253 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2008-2_0_3_load_14 | 26 | 0.0027918 | 0.00069969 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2008-2_0_3_load_11 | 27 | 0.0015244 | 0.00038206 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2008-2_0_3_load_19 | 29 | 0.0043873 | 0.0010996 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2008-2_0_3_load_23 | 30 | 0.0015742 | 0.00039454 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2008-2_0_3_load_52 | 31 | 0.0019742 | 0.00049477 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2008-2_0_3_load_15 | 33 | 0.0021792 | 0.00054616 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2008-2_0_3_load_49 | 35 | 0.0015271 | 0.00038272 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2008-2_0_3_load_50 | 36 | 0.0020137 | 0.00050469 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2008-2_0_3_load_51 | 37 | 0.0061816 | 0.0015493 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2008-2_0_3_load_26 | 38 | 0.0052314 | 0.0013111 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2008-2_0_3_load_24 | 39 | 0.0034958 | 0.00087612 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2008-2_0_3_load_16 | 40 | 0.0030601 | 0.00076694 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2008-2_0_3_load_17 | 41 | 0.0031272 | 0.00078375 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2008-2_0_3_load_21 | 42 | 0.0030794 | 0.00077177 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2008-2_0_3_load_48 | 44 | 0.0035938 | 0.00090068 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2008-2_0_3_load_47 | 45 | 0.0025739 | 0.00064509 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2008-2_0_3_load_27 | 46 | 0.0018199 | 0.00045612 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2008-2_0_3_load_25 | 47 | 0.0033926 | 0.00085026 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2008-2_0_3_load_42 | 48 | 0.0045009 | 0.001128 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2008-2_0_3_load_41 | 49 | 0.0033727 | 0.00084528 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2008-2_0_3_load_28 | 50 | 0.0030006 | 0.00075202 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2008-2_0_3_load_29 | 51 | 0.0017087 | 0.00042823 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2008-2_0_3_load_30 | 52 | 0.0025905 | 0.00064924 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2008-2_0_3_load_31 | 53 | 0.0033379 | 0.00083655 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2008-2_0_3_load_40 | 54 | 0.0025143 | 0.00063013 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2008-2_0_3_load_32 | 55 | 0.0033464 | 0.0008387 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2008-2_0_3_load_39 | 56 | 0.0021769 | 0.00054557 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2008-2_0_3_load_38 | 58 | 0.0031673 | 0.0007938 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2008-2_0_3_load_34 | 59 | 0.0027844 | 0.00069784 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2008-2_0_3_load_37 | 60 | 0.00051362 | 0.00012872 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2008-2_0_3_load_36 | 61 | 0.00024107 | 6.0419e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2008-2_0_3_load_68 | 62 | 0.00057113 | 0.00014314 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2008-2_0_3_load_43 | 63 | 0.0010717 | 0.00026861 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2008-2_0_3_load_69 | 66 | 0.0015093 | 0.00037827 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2008-2_0_3_load_46 | 67 | 0.0020058 | 0.00050271 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2008-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0016258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2008-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.08248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2008-2_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.029435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2008-2_0_3_line_3 | NAYY 4x150 SE | 3 | 17 | 0.040949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2008-2_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.015742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2008-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0090931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2008-2_0_3_line_6 | NAYY 4x150 SE | 5 | 10 | 0.0099974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2008-2_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.030435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2008-2_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.020595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2008-2_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.015005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2008-2_0_3_line_10 | NAYY 4x150 SE | 8 | 12 | 0.041679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2008-2_0_3_line_11 | NAYY 4x150 SE | 9 | 20 | 0.052187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2008-2_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.014069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2008-2_0_3_line_13 | NAYY 4x150 SE | 12 | 16 | 0.014395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2008-2_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.00011668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2008-2_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.00705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2008-2_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.029376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2008-2_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.027716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2008-2_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.025158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2008-2_0_3_line_19 | NAYY 4x150 SE | 18 | 21 | 0.033432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2008-2_0_3_line_20 | NAYY 4x150 SE | 19 | 22 | 0.022679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2008-2_0_3_line_21 | NAYY 4x150 SE | 20 | 30 | 0.02041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2008-2_0_3_line_22 | NAYY 4x150 SE | 20 | 31 | 0.012783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2008-2_0_3_line_23 | NAYY 4x150 SE | 21 | 26 | 0.027049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2008-2_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0058447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2008-2_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.019699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2008-2_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0041452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2008-2_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.022342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2008-2_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.016057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2008-2_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.041967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_2008-2_0_3_line_30 | NAYY 4x150 SE | 28 | 32 | 0.039015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2008-2_0_3_line_31 | NAYY 4x150 SE | 28 | 33 | 0.018743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2008-2_0_3_line_32 | NAYY 4x150 SE | 29 | 34 | 0.0044287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2008-2_0_3_line_33 | NAYY 4x150 SE | 30 | 34 | 0.035625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2008-2_0_3_line_34 | NAYY 4x150 SE | 31 | 36 | 0.026775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2008-2_0_3_line_35 | NAYY 4x150 SE | 32 | 38 | 0.011681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2008-2_0_3_line_36 | NAYY 4x150 SE | 32 | 39 | 0.015689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2008-2_0_3_line_37 | NAYY 4x150 SE | 33 | 40 | 0.020792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2008-2_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.00092821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2008-2_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.019873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2008-2_0_3_line_40 | NAYY 4x150 SE | 38 | 46 | 0.011112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2008-2_0_3_line_41 | NAYY 4x150 SE | 39 | 47 | 0.017422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2008-2_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.019391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2008-2_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.046177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2008-2_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.022135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2008-2_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.022263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2008-2_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.010536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2008-2_0_3_line_47 | NAYY 4x150 SE | 45 | 67 | 0.010036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2008-2_0_3_line_48 | NAYY 4x150 SE | 46 | 50 | 0.014428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2008-2_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.024939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2008-2_0_3_line_50 | NAYY 4x150 SE | 49 | 54 | 0.023578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2008-2_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.026268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2008-2_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0018302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2008-2_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.035763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2008-2_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.098756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2008-2_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.029887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2008-2_0_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.025583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2008-2_0_3_line_57 | NAYY 4x150 SE | 55 | 57 | 0.01803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2008-2_0_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.023977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2008-2_0_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.025157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2008-2_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.021376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2008-2_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.032027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2008-2_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.067977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2008-2_0_3_line_63 | NAYY 4x150 SE | 62 | 66 | 0.045408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2008-2_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.021443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2008-2_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.010745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2008-2_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.006229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2008-2_0_3_trafo_20 | 0.25 MVA 20/0.4 kV | 68 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2553966.2051 | 1186984.5453 | 2553964.9981 | 1186983.4561
1 | 2553904.3139 | 1186927.5954 | 2553964.9981 | 1186983.4561
2 | 2553876.1212 | 1186936.0579 | 2553902.6644 | 1186928.082 | 2553904.3139 | 1186927.5954
3 | 2553845.508 | 1186915.961 | 2553851.968 | 1186918.6126 | 2553870.6282 | 1186939.0797 | 2553876.1212 | 1186936.0579
4 | 2553856.4969 | 1187101.1445 | 2553850.0531 | 1187112.1445 | 2553848.7387 | 1187114.8339
5 | 2553856.4969 | 1187101.1445 | 2553861.0931 | 1187093.2986
6 | 2553855.3777 | 1187121.5287 | 2553849.9251 | 1187118.2933 | 2553848.7387 | 1187114.8339 | 2553848.7387 | 1187114.8339
7 | 2553876.4766 | 1187067.038 | 2553861.0931 | 1187093.2986
8 | 2553876.4766 | 1187067.038 | 2553894.1954 | 1187077.5356
9 | 2553876.4766 | 1187067.038 | 2553864.1592 | 1187058.4687
10 | 2553930.0534 | 1187098.78 | 2553894.1954 | 1187077.5356
11 | 2553817.6712 | 1187034.8968 | 2553832.3622 | 1187041.3312 | 2553861.02 | 1187056.2848 | 2553864.1592 | 1187058.4687
12 | 2553867.4771 | 1187128.7079 | 2553855.3777 | 1187121.5287
13 | 2553942.4379 | 1187106.1173 | 2553930.0534 | 1187098.78
14 | 2553926.7935 | 1187131.1184 | 2553926.8554 | 1187131.0195
15 | 2553923.0538 | 1187137.0948 | 2553926.7935 | 1187131.1184
16 | 2553942.4379 | 1187106.1173 | 2553926.8554 | 1187131.0195
17 | 2553845.508 | 1186915.961 | 2553841.6534 | 1186911.8107 | 2553827.3403 | 1186897.0466 | 2553826.1768 | 1186896.1173
18 | 2553845.508 | 1186915.961 | 2553833.291 | 1186915.7219 | 2553822.4404 | 1186922.7692
19 | 2553797.1567 | 1186898.129 | 2553813.4615 | 1186889.1162 | 2553819.5787 | 1186890.8476 | 2553826.1768 | 1186896.1173
20 | 2553822.4404 | 1186922.7692 | 2553803.4207 | 1186935.1221
21 | 2553817.6712 | 1187034.8968 | 2553798.9731 | 1187026.714
22 | 2553817.6712 | 1187034.8968 | 2553811.1329 | 1187045.8816
23 | 2553773.4838 | 1186911.2148 | 2553797.1567 | 1186898.129
24 | 2553798.5191 | 1186938.3056 | 2553803.4207 | 1186935.1221
25 | 2553798.5191 | 1186938.3056 | 2553781.9984 | 1186949.0356
26 | 2553778.522 | 1186951.2934 | 2553781.9984 | 1186949.0356
27 | 2553759.0396 | 1186962.2104 | 2553775.3444 | 1186953.3572 | 2553778.522 | 1186951.2934
28 | 2553743.773 | 1186967.1869 | 2553759.0396 | 1186962.2104
29 | 2553759.0396 | 1186962.2104 | 2553770.8424 | 1187002.4833
30 | 2553722.6804 | 1186936.122 | 2553724.9511 | 1186944.598 | 2553726.1691 | 1186947.2011 | 2553730.9173 | 1186957.3699 | 2553743.773 | 1186967.1869
31 | 2553743.773 | 1186967.1869 | 2553725.5335 | 1186970.5299 | 2553725.334 | 1186970.5444
32 | 2553775.2157 | 1187001.7847 | 2553770.8424 | 1187002.4833
33 | 2553775.2157 | 1187001.7847 | 2553781.9053 | 1187014.3954 | 2553791.4358 | 1187023.4156 | 2553798.9731 | 1187026.714
34 | 2553797.4382 | 1187068.8894 | 2553811.1329 | 1187045.8816
35 | 2553722.6804 | 1186936.122 | 2553711.3215 | 1186933.3974
36 | 2553722.6804 | 1186936.122 | 2553732.8391 | 1186935.5875 | 2553737.2015 | 1186932.2117
37 | 2553704.5966 | 1186972.0503 | 2553725.334 | 1186970.5444
38 | 2553796.9634 | 1187069.687 | 2553797.4382 | 1187068.8894
39 | 2553786.7989 | 1187086.7639 | 2553796.9634 | 1187069.687
40 | 2553700.2942 | 1186932.0251 | 2553711.3215 | 1186933.3974 | 2553711.3215 | 1186933.3974
41 | 2553749.4263 | 1186919.8505 | 2553739.8773 | 1186930.1412 | 2553737.2015 | 1186932.2117
42 | 2553685.2562 | 1186973.4547 | 2553704.5966 | 1186972.0503
43 | 2553685.2562 | 1186973.4547 | 2553658.7961 | 1187011.2991
44 | 2553636.7508 | 1187013.286 | 2553658.7961 | 1187011.2991
45 | 2553636.7508 | 1187013.286 | 2553634.4777 | 1186999.5961 | 2553629.3076 | 1186992.9936
46 | 2553629.3076 | 1186992.9936 | 2553628.9833 | 1186992.5793 | 2553619.8171 | 1186988.5568
47 | 2553610.6268 | 1186984.5236 | 2553619.8171 | 1186988.5568
48 | 2553700.2942 | 1186932.0251 | 2553685.9765 | 1186930.2433
49 | 2553677.1772 | 1186824.5868 | 2553694.9277 | 1186821.5298 | 2553700.3384 | 1186817.2049
50 | 2553653.9344 | 1186828.454 | 2553654.5053 | 1186828.4914 | 2553677.1772 | 1186824.5868
51 | 2553685.9765 | 1186930.2433 | 2553665.9114 | 1186927.7463 | 2553659.882 | 1186927.2685
52 | 2553658.0575 | 1186927.124 | 2553659.882 | 1186927.2685
53 | 2553658.0575 | 1186927.124 | 2553650.7036 | 1186926.5413 | 2553635.8586 | 1186925.8783 | 2553622.3323 | 1186925.874
54 | 2553658.0575 | 1186927.124 | 2553653.9344 | 1186828.454
55 | 2553622.3323 | 1186925.874 | 2553592.4454 | 1186925.8643
56 | 2553628.4056 | 1186826.7817 | 2553653.9344 | 1186828.454
57 | 2553574.4158 | 1186925.7998 | 2553583.6406 | 1186925.8615 | 2553592.4454 | 1186925.8643
58 | 2553604.4802 | 1186825.2144 | 2553628.4056 | 1186826.7817
59 | 2553574.4158 | 1186925.7998 | 2553596.6722 | 1186937.6445
60 | 2553583.1499 | 1186823.8171 | 2553604.4802 | 1186825.2144
61 | 2553555.5786 | 1186828.3257 | 2553557.7094 | 1186822.1506 | 2553583.1499 | 1186823.8171
62 | 2553555.5786 | 1186828.3257 | 2553546.3077 | 1186760.9835
63 | 2553547.8546 | 1186715.6021 | 2553546.3077 | 1186760.9835
64 | 2553561.1962 | 1186712.2411 | 2553580.0597 | 1186722.4386
65 | 2553561.1962 | 1186712.2411 | 2553550.6496 | 1186710.0329
66 | 2553547.8546 | 1186715.6021 | 2553550.6496 | 1186710.0329

## bus_geodata
| x | y | coords
0 | 2553964.9981 | 1186983.4561
1 | 2553966.2051 | 1186984.5453
2 | 2553904.3139 | 1186927.5954
3 | 2553876.1212 | 1186936.0579
4 | 2553856.4969 | 1187101.1445
5 | 2553848.7387 | 1187114.8339
6 | 2553861.0931 | 1187093.2986
7 | 2553876.4766 | 1187067.038
8 | 2553894.1954 | 1187077.5356
9 | 2553864.1592 | 1187058.4687
10 | 2553855.3777 | 1187121.5287
11 | 2553867.4771 | 1187128.7079
12 | 2553930.0534 | 1187098.78
13 | 2553926.7935 | 1187131.1184
14 | 2553926.8554 | 1187131.0195
15 | 2553923.0538 | 1187137.0948
16 | 2553942.4379 | 1187106.1173
17 | 2553845.508 | 1186915.961
18 | 2553826.1768 | 1186896.1173
19 | 2553822.4404 | 1186922.7692
20 | 2553817.6712 | 1187034.8968
21 | 2553797.1567 | 1186898.129
22 | 2553803.4207 | 1186935.1221
23 | 2553798.5191 | 1186938.3056
24 | 2553781.9984 | 1186949.0356
25 | 2553778.522 | 1186951.2934
26 | 2553773.4838 | 1186911.2148
27 | 2553759.0396 | 1186962.2104
28 | 2553743.773 | 1186967.1869
29 | 2553770.8424 | 1187002.4833
30 | 2553798.9731 | 1187026.714
31 | 2553811.1329 | 1187045.8816
32 | 2553722.6804 | 1186936.122
33 | 2553725.334 | 1186970.5444
34 | 2553775.2157 | 1187001.7847
35 | 2553796.9634 | 1187069.687
36 | 2553797.4382 | 1187068.8894
37 | 2553786.7989 | 1187086.7639
38 | 2553711.3215 | 1186933.3974
39 | 2553737.2015 | 1186932.2117
40 | 2553704.5966 | 1186972.0503
41 | 2553685.2562 | 1186973.4547
42 | 2553658.7961 | 1187011.2991
43 | 2553636.7508 | 1187013.286
44 | 2553629.3076 | 1186992.9936
45 | 2553619.8171 | 1186988.5568
46 | 2553700.2942 | 1186932.0251
47 | 2553749.4263 | 1186919.8505
48 | 2553700.3384 | 1186817.2049
49 | 2553677.1772 | 1186824.5868
50 | 2553685.9765 | 1186930.2433
51 | 2553659.882 | 1186927.2685
52 | 2553658.0575 | 1186927.124
53 | 2553622.3323 | 1186925.874
54 | 2553653.9344 | 1186828.454
55 | 2553592.4454 | 1186925.8643
56 | 2553628.4056 | 1186826.7817
57 | 2553574.4158 | 1186925.7998
58 | 2553604.4802 | 1186825.2144
59 | 2553596.6722 | 1186937.6445
60 | 2553583.1499 | 1186823.8171
61 | 2553555.5786 | 1186828.3257
62 | 2553546.3077 | 1186760.9835
63 | 2553580.0597 | 1186722.4386
64 | 2553561.1962 | 1186712.2411
65 | 2553550.6496 | 1186710.0329
66 | 2553547.8546 | 1186715.6021
67 | 2553610.6268 | 1186984.5236
68 | 2553817.6712 | 1187034.8968

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99182 | -0.057317 | 0.0035016 | 0.00087758
1 | 0.99182 | -0.05734 | 0.0014127 | 0.00035406
2 | 0.99241 | -0.053204 | 0.0016315 | 0.00040889
3 | 0.99268 | -0.051249 | 0 | 0
4 | 0.99096 | -0.063304 | 0.0024618 | 0.00061697
5 | 0.99079 | -0.064463 | 0.0013647 | 0.00034202
6 | 0.99108 | -0.062408 | 0.0013263 | 0.00033241
7 | 0.99157 | -0.058998 | 0 | 0
8 | 0.99073 | -0.064879 | 0.0051036 | 0.0012791
9 | 0.99241 | -0.053042 | 0.0030114 | 0.00075474
10 | 0.99071 | -0.06506 | 0.003719 | 0.00093206
11 | 0.99067 | -0.065368 | 0.0021529 | 0.00053957
12 | 0.98935 | -0.07464 | 0.0038717 | 0.00097035
13 | 0.98814 | -0.083204 | 0.0048511 | 0.0012158
14 | 0.98814 | -0.083186 | 0.0040544 | 0.0010161
15 | 0.98804 | -0.08394 | 0.010217 | 0.0025605
16 | 0.98895 | -0.077449 | 0 | 0
17 | 0.99307 | -0.04853 | 0 | 0
18 | 0.9927 | -0.051155 | 0.0032099 | 0.00080448
19 | 0.99364 | -0.044479 | 0.0034915 | 0.00087506
20 | 0.99558 | -0.030819 | 0 | 0
21 | 0.9924 | -0.053236 | 0.0033479 | 0.00083905
22 | 0.99427 | -0.040031 | 0.0031464 | 0.00078855
23 | 0.99446 | -0.0387 | 0.0039278 | 0.00098439
24 | 0.99521 | -0.033438 | 0.0039838 | 0.00099845
25 | 0.99539 | -0.032165 | 0.003293 | 0.0008253
26 | 0.99229 | -0.054002 | 0.0027918 | 0.00069969
27 | 0.99647 | -0.024573 | 0.0015244 | 0.00038206
28 | 0.99486 | -0.035897 | 0 | 0
29 | 0.99965 | -0.002426 | 0.0043873 | 0.0010996
30 | 0.99716 | -0.019767 | 0.0015742 | 0.00039454
31 | 0.99537 | -0.032326 | 0.0019742 | 0.00049477
32 | 0.99202 | -0.055784 | 0 | 0
33 | 0.99433 | -0.03961 | 0.0021792 | 0.00054616
34 | 1 | 0 | -0.16726 | -0.041891
35 | 0.99498 | -0.035022 | 0.0015271 | 0.00038272
36 | 0.99499 | -0.03495 | 0.0020137 | 0.00050469
37 | 0.99481 | -0.036261 | 0.0061816 | 0.0015493
38 | 0.99129 | -0.060943 | 0.0052314 | 0.0013111
39 | 0.99187 | -0.056881 | 0.0034958 | 0.00087612
40 | 0.99381 | -0.043275 | 0.0030601 | 0.00076694
41 | 0.99341 | -0.046096 | 0.0031272 | 0.00078375
42 | 0.99266 | -0.051359 | 0.0030794 | 0.00077177
43 | 0.9924 | -0.053193 | 0 | 0
44 | 0.99214 | -0.055038 | 0.0035938 | 0.00090068
45 | 0.99207 | -0.055528 | 0.0025739 | 0.00064509
46 | 0.99068 | -0.065266 | 0.0018199 | 0.00045612
47 | 0.99178 | -0.057481 | 0.0033926 | 0.00085026
48 | 0.98533 | -0.10313 | 0.0045009 | 0.001128
49 | 0.98549 | -0.10198 | 0.0033727 | 0.00084528
50 | 0.98992 | -0.07062 | 0.0030006 | 0.00075202
51 | 0.98865 | -0.079582 | 0.0017087 | 0.00042823
52 | 0.98857 | -0.080175 | 0.0025905 | 0.00064924
53 | 0.98808 | -0.083638 | 0.0033379 | 0.00083655
54 | 0.98576 | -0.10007 | 0.0025143 | 0.00063013
55 | 0.98781 | -0.085514 | 0.0033464 | 0.0008387
56 | 0.98542 | -0.10251 | 0.0021769 | 0.00054557
57 | 0.98774 | -0.086028 | 0 | 0
58 | 0.98517 | -0.10426 | 0.0031673 | 0.0007938
59 | 0.98764 | -0.086745 | 0.0027844 | 0.00069784
60 | 0.98505 | -0.10512 | 0.00051362 | 0.00012872
61 | 0.98489 | -0.10624 | 0.00024107 | 6.0419e-05
62 | 0.98458 | -0.10846 | 0.00057113 | 0.00014314
63 | 0.98435 | -0.11009 | 0.0010717 | 0.00026861
64 | 0.98439 | -0.10986 | 0 | 0
65 | 0.9844 | -0.10974 | 0 | 0
66 | 0.98441 | -0.10967 | 0.0015093 | 0.00037827
67 | 0.99204 | -0.055732 | 0.0020058 | 0.00050271
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0014127 | 0.00035404 | -0.0014127 | -0.00035406 | 4.5573e-09 | -1.9229e-08 | 0.0021195 | 0.0021195 | 0.0021195 | 0.99182 | -0.057317 | 0.99182 | -0.05734 | 0.78499
1 | -0.0049143 | -0.0012316 | 0.0049171 | 0.0012316 | 2.7976e-06 | 1.0903e-08 | 0.0073728 | 0.0073725 | 0.0073728 | 0.99182 | -0.057317 | 0.99241 | -0.053204 | 2.7307
2 | -0.0065486 | -0.0016405 | 0.0065504 | 0.0016408 | 1.7708e-06 | 3.0063e-07 | 0.0098187 | 0.0098186 | 0.0098187 | 0.99241 | -0.053204 | 0.99268 | -0.051249 | 3.6366
3 | -0.0065504 | -0.0016408 | 0.0065528 | 0.0016412 | 2.4633e-06 | 4.1783e-07 | 0.0098186 | 0.0098184 | 0.0098186 | 0.99268 | -0.051249 | 0.99307 | -0.04853 | 3.6365
4 | 0.0072383 | 0.0018138 | -0.0072371 | -0.0018136 | 1.1604e-06 | 2.4354e-07 | 0.010869 | 0.010869 | 0.010869 | 0.99096 | -0.063304 | 0.99079 | -0.064463 | 4.0255
5 | -0.0097 | -0.0024308 | 0.0097012 | 0.0024311 | 1.2038e-06 | 3.4582e-07 | 0.014565 | 0.014565 | 0.014565 | 0.99096 | -0.063304 | 0.99108 | -0.062408 | 5.3946
6 | 0.0058725 | 0.0014715 | -0.005872 | -0.0014715 | 4.8524e-07 | 5.7886e-08 | 0.0088194 | 0.0088195 | 0.0088195 | 0.99079 | -0.064463 | 0.99071 | -0.06506 | 3.2665
7 | -0.011028 | -0.0027635 | 0.011033 | 0.0027651 | 5.2059e-06 | 1.6099e-06 | 0.016557 | 0.016557 | 0.016557 | 0.99108 | -0.062408 | 0.99157 | -0.058998 | 6.1321
8 | 0.028175 | 0.0070704 | -0.028152 | -0.0070618 | 2.2979e-05 | 8.5725e-06 | 0.042285 | 0.042285 | 0.042285 | 0.99157 | -0.058998 | 0.99073 | -0.064879 | 15.6611
9 | -0.039208 | -0.0098355 | 0.03924 | 0.0098478 | 3.2418e-05 | 1.2275e-05 | 0.058842 | 0.058842 | 0.058842 | 0.99157 | -0.058998 | 0.99241 | -0.053042 | 21.7932
10 | 0.023049 | 0.0057827 | -0.023017 | -0.0057713 | 3.1171e-05 | 1.1453e-05 | 0.03462 | 0.03462 | 0.03462 | 0.99073 | -0.064879 | 0.98935 | -0.07464 | 12.8222
11 | -0.042252 | -0.010603 | 0.042383 | 0.010652 | 0.00013072 | 4.9599e-05 | 0.063357 | 0.063357 | 0.063357 | 0.99241 | -0.053042 | 0.99558 | -0.030819 | 23.4655
12 | 0.002153 | 0.00053942 | -0.0021529 | -0.00053957 | 9.1802e-08 | -1.4584e-07 | 0.0032337 | 0.0032337 | 0.0032337 | 0.99071 | -0.06506 | 0.99067 | -0.065368 | 1.1977
13 | 0.019146 | 0.0048009 | -0.019138 | -0.0047982 | 7.4486e-06 | 2.6801e-06 | 0.028797 | 0.028797 | 0.028797 | 0.98935 | -0.07464 | 0.98895 | -0.077449 | 10.6655
14 | -0.015069 | -0.0037766 | 0.015069 | 0.0037766 | 3.7489e-08 | 1.2924e-08 | 0.022692 | 0.022692 | 0.022692 | 0.98814 | -0.083204 | 0.98814 | -0.083186 | 8.4043
15 | 0.010218 | 0.0025608 | -0.010217 | -0.0025605 | 1.0415e-06 | 3.1028e-07 | 0.015387 | 0.015387 | 0.015387 | 0.98814 | -0.083204 | 0.98804 | -0.08394 | 5.6987
16 | -0.019123 | -0.0047928 | 0.019138 | 0.0047982 | 1.5201e-05 | 5.4698e-06 | 0.028797 | 0.028797 | 0.028797 | 0.98814 | -0.083186 | 0.98895 | -0.077449 | 10.6655
17 | 0.009355 | 0.0023442 | -0.0093516 | -0.0023432 | 3.3983e-06 | 9.4858e-07 | 0.014017 | 0.014018 | 0.014018 | 0.99307 | -0.04853 | 0.9927 | -0.051155 | 5.1917
18 | -0.015908 | -0.0039854 | 0.015917 | 0.0039885 | 8.9189e-06 | 3.1047e-06 | 0.023836 | 0.023836 | 0.023836 | 0.99307 | -0.04853 | 0.99364 | -0.044479 | 8.8281
19 | 0.0061417 | 0.0015387 | -0.0061399 | -0.0015385 | 1.768e-06 | 2.4793e-07 | 0.009206 | 0.0092062 | 0.0092062 | 0.9927 | -0.051155 | 0.9924 | -0.053236 | 3.4097
20 | -0.019408 | -0.0048636 | 0.01942 | 0.0048679 | 1.1955e-05 | 4.304e-06 | 0.029064 | 0.029064 | 0.029064 | 0.99364 | -0.044479 | 0.99427 | -0.040031 | 10.7646
21 | -0.054086 | -0.013586 | 0.05417 | 0.013617 | 8.325e-05 | 3.1754e-05 | 0.080849 | 0.080849 | 0.080849 | 0.99558 | -0.030819 | 0.99716 | -0.019767 | 29.9442
22 | 0.011704 | 0.0029334 | -0.011701 | -0.0029326 | 2.4409e-06 | 7.7261e-07 | 0.017493 | 0.017493 | 0.017493 | 0.99558 | -0.030819 | 0.99537 | -0.032326 | 6.4788
23 | 0.0027921 | 0.00069945 | -0.0027918 | -0.00069969 | 2.9582e-07 | -2.3568e-07 | 0.0041864 | 0.0041865 | 0.0041865 | 0.9924 | -0.053236 | 0.99229 | -0.054002 | 1.5505
24 | -0.022567 | -0.0056564 | 0.022571 | 0.005658 | 4.16e-06 | 1.5242e-06 | 0.033773 | 0.033773 | 0.033773 | 0.99427 | -0.040031 | 0.99446 | -0.0387 | 12.5086
25 | -0.026499 | -0.0066424 | 0.026518 | 0.0066495 | 1.9325e-05 | 7.177e-06 | 0.03965 | 0.03965 | 0.03965 | 0.99446 | -0.0387 | 0.99521 | -0.033438 | 14.6853
26 | -0.030502 | -0.007648 | 0.030507 | 0.00765 | 5.3801e-06 | 2.0154e-06 | 0.045607 | 0.045607 | 0.045607 | 0.99521 | -0.033438 | 0.99539 | -0.032165 | 16.8914
27 | -0.0338 | -0.0084753 | 0.033836 | 0.0084887 | 3.5596e-05 | 1.34e-05 | 0.050529 | 0.050529 | 0.050529 | 0.99539 | -0.032165 | 0.99647 | -0.024573 | 18.7146
28 | 0.070453 | 0.017712 | -0.070342 | -0.017669 | 0.00011094 | 4.2461e-05 | 0.10522 | 0.10522 | 0.10522 | 0.99647 | -0.024573 | 0.99486 | -0.035897 | 38.9722
29 | -0.10581 | -0.026582 | 0.10614 | 0.026707 | 0.00032699 | 0.00012467 | 0.15803 | 0.15803 | 0.15803 | 0.99647 | -0.024573 | 0.99965 | -0.002426 | 29.2649
30 | 0.050685 | 0.01274 | -0.050545 | -0.012687 | 0.00013997 | 5.3328e-05 | 0.075823 | 0.075823 | 0.075823 | 0.99486 | -0.035897 | 0.99202 | -0.055784 | 28.0827
31 | 0.019657 | 0.0049292 | -0.019647 | -0.0049256 | 1.0111e-05 | 3.6455e-06 | 0.029402 | 0.029402 | 0.029402 | 0.99486 | -0.035897 | 0.99433 | -0.03961 | 10.8896
32 | -0.11053 | -0.027807 | 0.11056 | 0.027821 | 3.7418e-05 | 1.4275e-05 | 0.16456 | 0.16456 | 0.16456 | 0.99965 | -0.002426 | 1 | 0 | 30.4742
33 | -0.055744 | -0.014012 | 0.055898 | 0.014071 | 0.00015387 | 5.8716e-05 | 0.083198 | 0.083198 | 0.083198 | 0.99716 | -0.019767 | 1 | 0 | 30.8142
34 | 0.0097271 | 0.0024379 | -0.0097236 | -0.0024369 | 3.533e-06 | 1.0109e-06 | 0.014542 | 0.014542 | 0.014542 | 0.99537 | -0.032326 | 0.99499 | -0.03495 | 5.3858
35 | 0.043655 | 0.01096 | -0.043624 | -0.010948 | 3.1261e-05 | 1.1873e-05 | 0.065489 | 0.065489 | 0.065489 | 0.99202 | -0.055784 | 0.99129 | -0.060943 | 24.2552
36 | 0.0068897 | 0.0017265 | -0.0068886 | -0.0017263 | 1.0455e-06 | 1.9961e-07 | 0.010334 | 0.010334 | 0.010334 | 0.99202 | -0.055784 | 0.99187 | -0.056881 | 3.8275
37 | 0.017467 | 0.0043794 | -0.017459 | -0.0043763 | 8.8658e-06 | 3.1404e-06 | 0.026141 | 0.026141 | 0.026141 | 0.99433 | -0.03961 | 0.99381 | -0.043275 | 9.6818
38 | -0.0077098 | -0.0019321 | 0.0077099 | 0.0019322 | 7.7001e-08 | 1.756e-08 | 0.01153 | 0.01153 | 0.01153 | 0.99498 | -0.035022 | 0.99499 | -0.03495 | 4.2704
39 | 0.0061827 | 0.0015494 | -0.0061816 | -0.0015493 | 1.0602e-06 | 1.4971e-07 | 0.0092463 | 0.0092464 | 0.0092464 | 0.99498 | -0.035022 | 0.99481 | -0.036261 | 3.4246
40 | 0.038393 | 0.0096371 | -0.03837 | -0.0096283 | 2.3035e-05 | 8.7164e-06 | 0.057636 | 0.057636 | 0.057636 | 0.99129 | -0.060943 | 0.99068 | -0.065266 | 21.3468
41 | 0.0033929 | 0.00085015 | -0.0033926 | -0.00085026 | 2.8165e-07 | -1.1651e-07 | 0.00509 | 0.0050901 | 0.0050901 | 0.99187 | -0.056881 | 0.99178 | -0.057481 | 1.8852
42 | 0.014398 | 0.0036094 | -0.014393 | -0.0036074 | 5.624e-06 | 1.9119e-06 | 0.021559 | 0.021559 | 0.021559 | 0.99381 | -0.043275 | 0.99341 | -0.046096 | 7.9848
43 | 0.011266 | 0.0028237 | -0.011257 | -0.0028211 | 8.2053e-06 | 2.5585e-06 | 0.016875 | 0.016875 | 0.016875 | 0.99341 | -0.046096 | 0.99266 | -0.051359 | 6.25
44 | 0.008178 | 0.0020494 | -0.008176 | -0.0020489 | 2.0757e-06 | 5.1228e-07 | 0.012259 | 0.012259 | 0.012259 | 0.99266 | -0.051359 | 0.9924 | -0.053193 | 4.5404
45 | 0.008176 | 0.0020489 | -0.0081739 | -0.0020484 | 2.0878e-06 | 5.1542e-07 | 0.012259 | 0.012259 | 0.012259 | 0.9924 | -0.053193 | 0.99214 | -0.055038 | 4.5404
46 | 0.0045801 | 0.0011477 | -0.0045798 | -0.0011477 | 3.1023e-07 | -1.6734e-08 | 0.0068692 | 0.0068693 | 0.0068693 | 0.99214 | -0.055038 | 0.99207 | -0.055528 | 2.5442
47 | 0.0020059 | 0.0005026 | -0.0020058 | -0.00050271 | 5.6689e-08 | -1.0778e-07 | 0.0030086 | 0.0030087 | 0.0030087 | 0.99207 | -0.055528 | 0.99204 | -0.055732 | 1.1143
48 | 0.03655 | 0.0091722 | -0.036523 | -0.009162 | 2.7138e-05 | 1.0252e-05 | 0.054903 | 0.054903 | 0.054903 | 0.99068 | -0.065266 | 0.98992 | -0.07062 | 20.3344
49 | -0.0045009 | -0.001128 | 0.0045017 | 0.001128 | 7.1897e-07 | -4.1173e-08 | 0.0067972 | 0.0067971 | 0.0067972 | 0.98533 | -0.10313 | 0.98549 | -0.10198 | 2.5175
50 | -0.0078744 | -0.0019733 | 0.0078765 | 0.0019738 | 2.0798e-06 | 4.9943e-07 | 0.01189 | 0.01189 | 0.01189 | 0.98549 | -0.10198 | 0.98576 | -0.10007 | 4.4036
51 | 0.033522 | 0.00841 | -0.03348 | -0.0083943 | 4.1624e-05 | 1.5672e-05 | 0.050392 | 0.050393 | 0.050393 | 0.98992 | -0.07062 | 0.98865 | -0.079582 | 18.6639
52 | 0.031772 | 0.0079661 | -0.031769 | -0.0079651 | 2.6117e-06 | 9.8102e-07 | 0.047821 | 0.047821 | 0.047821 | 0.98865 | -0.079582 | 0.98857 | -0.080175 | 17.7114
53 | 0.0094753 | 0.0023742 | -0.0094708 | -0.0023729 | 4.5395e-06 | 1.2877e-06 | 0.014262 | 0.014263 | 0.014263 | 0.98857 | -0.080175 | 0.98808 | -0.083638 | 5.2824
54 | 0.019703 | 0.0049416 | -0.019649 | -0.004922 | 5.4209e-05 | 1.9587e-05 | 0.029659 | 0.02966 | 0.02966 | 0.98857 | -0.080175 | 0.98576 | -0.10007 | 10.985
55 | 0.0061329 | 0.0015364 | -0.0061313 | -0.0015362 | 1.5908e-06 | 2.2916e-07 | 0.0092358 | 0.0092359 | 0.0092359 | 0.98808 | -0.083638 | 0.98781 | -0.085514 | 3.4207
56 | 0.0092583 | 0.0023181 | -0.0092552 | -0.0023172 | 3.1177e-06 | 8.7309e-07 | 0.013975 | 0.013975 | 0.013975 | 0.98576 | -0.10007 | 0.98542 | -0.10251 | 5.1759
57 | 0.0027849 | 0.00069747 | -0.0027847 | -0.00069763 | 1.9799e-07 | -1.5464e-07 | 0.0041949 | 0.004195 | 0.004195 | 0.98781 | -0.085514 | 0.98774 | -0.086028 | 1.5537
58 | 0.0070784 | 0.0017716 | -0.0070766 | -0.0017713 | 1.709e-06 | 3.5194e-07 | 0.010688 | 0.010688 | 0.010688 | 0.98542 | -0.10251 | 0.98517 | -0.10426 | 3.9585
59 | 0.0027847 | 0.00069763 | -0.0027844 | -0.00069784 | 2.7626e-07 | -2.1571e-07 | 0.004195 | 0.0041951 | 0.0041951 | 0.98774 | -0.086028 | 0.98764 | -0.086745 | 1.5538
60 | 0.0039093 | 0.00097749 | -0.0039089 | -0.00097758 | 4.6494e-07 | -9.3326e-08 | 0.0059039 | 0.005904 | 0.005904 | 0.98517 | -0.10426 | 0.98505 | -0.10512 | 2.1867
61 | 0.0033953 | 0.00084886 | -0.0033947 | -0.00084907 | 5.2558e-07 | -2.055e-07 | 0.0051281 | 0.0051283 | 0.0051283 | 0.98505 | -0.10512 | 0.98489 | -0.10624 | 1.8994
62 | 0.0031537 | 0.00078865 | -0.0031527 | -0.00078914 | 9.6279e-07 | -4.945e-07 | 0.0047641 | 0.0047644 | 0.0047644 | 0.98489 | -0.10624 | 0.98458 | -0.10846 | 1.7646
63 | 0.0025816 | 0.000646 | -0.0025811 | -0.00064641 | 4.3126e-07 | -4.1152e-07 | 0.0039012 | 0.0039014 | 0.0039014 | 0.98458 | -0.10846 | 0.98441 | -0.10967 | 1.445
64 | -0.0010717 | -0.00026861 | 0.0010718 | 0.00026835 | 3.512e-08 | -2.5909e-07 | 0.0016201 | 0.00162 | 0.0016201 | 0.98435 | -0.11009 | 0.98439 | -0.10986 | 0.60005
65 | -0.0010718 | -0.00026835 | 0.0010718 | 0.00026822 | 1.7596e-08 | -1.2983e-07 | 0.00162 | 0.00162 | 0.00162 | 0.98439 | -0.10986 | 0.9844 | -0.10974 | 0.60001
66 | -0.0010718 | -0.00026822 | 0.0010718 | 0.00026814 | 1.02e-08 | -7.5268e-08 | 0.00162 | 0.00162 | 0.00162 | 0.9844 | -0.10974 | 0.98441 | -0.10967 | 0.59999

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16726 | 0.041891

## res_load
| p_mw | q_mvar
0 | 0.0035016 | 0.00087758
1 | 0.0014127 | 0.00035406
2 | 0.0016315 | 0.00040889
3 | 0.0024618 | 0.00061697
4 | 0.0013647 | 0.00034202
5 | 0.0013263 | 0.00033241
6 | 0.0051036 | 0.0012791
7 | 0.0030114 | 0.00075474
8 | 0.003719 | 0.00093206
9 | 0.0021529 | 0.00053957
10 | 0.0038717 | 0.00097035
11 | 0.0048511 | 0.0012158
12 | 0.0040544 | 0.0010161
13 | 0.010217 | 0.0025605
14 | 0.0032099 | 0.00080448
15 | 0.0034915 | 0.00087506
16 | 0.0033479 | 0.00083905
17 | 0.0031464 | 0.00078855
18 | 0.0039278 | 0.00098439
19 | 0.0039838 | 0.00099845
20 | 0.003293 | 0.0008253
21 | 0.0027918 | 0.00069969
22 | 0.0015244 | 0.00038206
23 | 0.0043873 | 0.0010996
24 | 0.0015742 | 0.00039454
25 | 0.0019742 | 0.00049477
26 | 0.0021792 | 0.00054616
27 | 0.0015271 | 0.00038272
28 | 0.0020137 | 0.00050469
29 | 0.0061816 | 0.0015493
30 | 0.0052314 | 0.0013111
31 | 0.0034958 | 0.00087612
32 | 0.0030601 | 0.00076694
33 | 0.0031272 | 0.00078375
34 | 0.0030794 | 0.00077177
35 | 0.0035938 | 0.00090068
36 | 0.0025739 | 0.00064509
37 | 0.0018199 | 0.00045612
38 | 0.0033926 | 0.00085026
39 | 0.0045009 | 0.001128
40 | 0.0033727 | 0.00084528
41 | 0.0030006 | 0.00075202
42 | 0.0017087 | 0.00042823
43 | 0.0025905 | 0.00064924
44 | 0.0033379 | 0.00083655
45 | 0.0025143 | 0.00063013
46 | 0.0033464 | 0.0008387
47 | 0.0021769 | 0.00054557
48 | 0.0031673 | 0.0007938
49 | 0.0027844 | 0.00069784
50 | 0.00051362 | 0.00012872
51 | 0.00024107 | 6.0419e-05
52 | 0.00057113 | 0.00014314
53 | 0.0010717 | 0.00026861
54 | 0.0015093 | 0.00037827
55 | 0.0020058 | 0.00050271

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1