## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2011-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2011-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2011-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2011-1_0_3_node_69 | 0.4 | n |  | TRUE
4 | bus_LV_2011-1_0_3_node_70 | 0.4 | n |  | TRUE
5 | bus_LV_2011-1_0_3_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_2011-1_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2011-1_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_2011-1_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2011-1_0_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_2011-1_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_2011-1_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2011-1_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_2011-1_0_3_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_2011-1_0_3_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_2011-1_0_3_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_2011-1_0_3_node_90 | 0.4 | n |  | TRUE
17 | bus_LV_2011-1_0_3_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_2011-1_0_3_node_87 | 0.4 | n |  | TRUE
19 | bus_LV_2011-1_0_3_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_2011-1_0_3_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_2011-1_0_3_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_2011-1_0_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_2011-1_0_3_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_2011-1_0_3_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_2011-1_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2011-1_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2011-1_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2011-1_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2011-1_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_2011-1_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2011-1_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2011-1_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2011-1_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2011-1_0_3_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_2011-1_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2011-1_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2011-1_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_2011-1_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_2011-1_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_2011-1_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2011-1_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2011-1_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2011-1_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2011-1_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_2011-1_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_2011-1_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2011-1_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2011-1_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_2011-1_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_2011-1_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_2011-1_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_2011-1_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2011-1_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2011-1_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2011-1_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2011-1_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_2011-1_0_3_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_2011-1_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_2011-1_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_2011-1_0_3_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_2011-1_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_2011-1_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2011-1_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2011-1_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_2011-1_0_3_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_2011-1_0_3_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_2011-1_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_2011-1_0_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_2011-1_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_2011-1_0_3_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_2011-1_0_3_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_2011-1_0_3_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_2011-1_0_3_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_2011-1_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_2011-1_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_2011-1_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_2011-1_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_2011-1_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_2011-1_0_3_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_2011-1_0_3_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_2011-1_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_2011-1_0_3_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_2011-1_0_3_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_2011-1_0_3_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_2011-1_0_3_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_2011-1_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_2011-1_0_3_node_73 | 0.4 | n |  | TRUE
88 | bus_MV_454_2_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2011-1_0_3_load_0 | 0 | 0.0020864 | 0.00052291 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2011-1_0_3_load_2 | 2 | 0.0026477 | 0.00066358 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2011-1_0_3_load_70 | 4 | 0.0021222 | 0.00053188 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2011-1_0_3_load_68 | 5 | 0.0015436 | 0.00038687 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2011-1_0_3_load_11 | 8 | 0.0025654 | 0.00064294 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2011-1_0_3_load_15 | 9 | 0.0081963 | 0.0020542 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2011-1_0_3_load_13 | 10 | 0.0070964 | 0.0017785 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2011-1_0_3_load_5 | 12 | 0.0060319 | 0.0015117 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2011-1_0_3_load_78 | 13 | 0.0041911 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2011-1_0_3_load_33 | 14 | 0.0042071 | 0.0010544 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2011-1_0_3_load_64 | 15 | 0.0011098 | 0.00027815 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2011-1_0_3_load_90 | 16 | 0.0035658 | 0.00089367 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2011-1_0_3_load_87 | 18 | 0.001443 | 0.00036166 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2011-1_0_3_load_6 | 19 | 0.0023724 | 0.00059459 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2011-1_0_3_load_7 | 20 | 0.0038136 | 0.00095578 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2011-1_0_3_load_35 | 22 | 0.0027397 | 0.00068664 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2011-1_0_3_load_8 | 23 | 0.0074955 | 0.0018786 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2011-1_0_3_load_9 | 24 | 0.0030945 | 0.00077555 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2011-1_0_3_load_16 | 26 | 0.0014164 | 0.00035499 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2011-1_0_3_load_17 | 27 | 0.018086 | 0.0045327 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2011-1_0_3_load_23 | 28 | 0.0070926 | 0.0017776 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2011-1_0_3_load_37 | 29 | 0.0087225 | 0.0021861 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2011-1_0_3_load_18 | 30 | 0.0010051 | 0.00025191 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2011-1_0_3_load_21 | 33 | 0.0021491 | 0.0005386 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2011-1_0_3_load_39 | 34 | 0.0020978 | 0.00052576 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2011-1_0_3_load_20 | 35 | 0.0025682 | 0.00064365 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2011-1_0_3_load_38 | 36 | 0.0011033 | 0.0002765 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2011-1_0_3_load_24 | 37 | 0.0099584 | 0.0024958 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2011-1_0_3_load_25 | 38 | 0.0032892 | 0.00082436 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2011-1_0_3_load_26 | 39 | 0.0075576 | 0.0018941 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2011-1_0_3_load_27 | 40 | 0.0069124 | 0.0017324 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2011-1_0_3_load_28 | 41 | 0.0038115 | 0.00095525 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2011-1_0_3_load_29 | 42 | 0.0052999 | 0.0013283 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2011-1_0_3_load_30 | 43 | 0.0023054 | 0.00057778 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2011-1_0_3_load_32 | 45 | 0.0016253 | 0.00040734 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2011-1_0_3_load_34 | 46 | 0.0032657 | 0.00081847 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2011-1_0_3_load_42 | 47 | 0.0024502 | 0.00061408 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2011-1_0_3_load_45 | 50 | 0.0032795 | 0.00082191 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2011-1_0_3_load_43 | 51 | 0.0025956 | 0.00065051 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2011-1_0_3_load_48 | 52 | 0.0016572 | 0.00041532 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2011-1_0_3_load_47 | 55 | 0.0013702 | 0.0003434 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2011-1_0_3_load_67 | 56 | 0.0016727 | 0.00041922 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2011-1_0_3_load_66 | 57 | 0.0019926 | 0.0004994 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2011-1_0_3_load_49 | 58 | 0.0015633 | 0.0003918 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2011-1_0_3_load_62 | 60 | 0.0011912 | 0.00029854 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2011-1_0_3_load_50 | 61 | 0.0024186 | 0.00060616 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2011-1_0_3_load_52 | 63 | 0.0015229 | 0.00038167 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2011-1_0_3_load_53 | 64 | 0.0025948 | 0.00065033 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2011-1_0_3_load_76 | 65 | 0.0018121 | 0.00045415 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2011-1_0_3_load_77 | 66 | 0.0028277 | 0.00070868 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2011-1_0_3_load_54 | 67 | 0.0020955 | 0.00052517 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2011-1_0_3_load_55 | 68 | 0.0023955 | 0.00060037 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2011-1_0_3_load_56 | 69 | 0.0019312 | 0.00048401 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2011-1_0_3_load_58 | 70 | 0.0012448 | 0.00031196 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2011-1_0_3_load_59 | 71 | 0.0014043 | 0.00035196 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2011-1_0_3_load_61 | 73 | 0.0030044 | 0.00075298 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2011-1_0_3_load_63 | 74 | 0.0020024 | 0.00050185 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2011-1_0_3_load_71 | 75 | 0.0022942 | 0.00057499 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2011-1_0_3_load_72 | 76 | 0.0014248 | 0.00035708 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2011-1_0_3_load_74 | 77 | 0.00032944 | 8.2566e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2011-1_0_3_load_75 | 78 | 0.00062321 | 0.00015619 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2011-1_0_3_load_79 | 80 | 0.0011082 | 0.00027775 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2011-1_0_3_load_80 | 81 | 0.0017012 | 0.00042637 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2011-1_0_3_load_81 | 82 | 0.00014232 | 3.567e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2011-1_0_3_load_82 | 83 | 0.00035351 | 8.8598e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2011-1_0_3_load_83 | 84 | 0.0021757 | 0.00054529 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2011-1_0_3_load_85 | 85 | 0.00014305 | 3.5852e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2011-1_0_3_load_84 | 86 | 0.00099707 | 0.00024989 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2011-1_0_3_load_73 | 87 | 0.0028953 | 0.00072564 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2011-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.053755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2011-1_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.080379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2011-1_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.034749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2011-1_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.094073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2011-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2011-1_0_3_line_5 | NAYY 4x150 SE | 4 | 77 | 0.16811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2011-1_0_3_line_6 | NAYY 4x150 SE | 5 | 59 | 0.009064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2011-1_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.035104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2011-1_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.018253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2011-1_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.025346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2011-1_0_3_line_10 | NAYY 4x150 SE | 7 | 10 | 0.031663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2011-1_0_3_line_11 | NAYY 4x150 SE | 8 | 11 | 0.067575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2011-1_0_3_line_12 | NAYY 4x150 SE | 10 | 25 | 0.01132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2011-1_0_3_line_13 | NAYY 4x150 SE | 11 | 24 | 0.022646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2011-1_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.25942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2011-1_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2011-1_0_3_line_16 | NAYY 4x150 SE | 14 | 44 | 0.013252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2011-1_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.046842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2011-1_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.20084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2011-1_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.084991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2011-1_0_3_line_20 | NAYY 4x150 SE | 18 | 79 | 0.057404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2011-1_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.031305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2011-1_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.003629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2011-1_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.018846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2011-1_0_3_line_24 | NAYY 4x150 SE | 22 | 46 | 0.0028007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2011-1_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0056774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2011-1_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.015582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2011-1_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.05337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2011-1_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.025181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2011-1_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0068673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2011-1_0_3_line_30 | NAYY 4x150 SE | 28 | 32 | 0.034103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2011-1_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.018366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2011-1_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.018733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_2011-1_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.039705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_2011-1_0_3_line_34 | NAYY 4x150 SE | 32 | 37 | 0.037149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2011-1_0_3_line_35 | NAYY 4x150 SE | 32 | 35 | 0.018083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_2011-1_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.00249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_2011-1_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.018987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_2011-1_0_3_line_38 | NAYY 4x150 SE | 36 | 48 | 0.014465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_2011-1_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.015489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2011-1_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0049438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2011-1_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.00029073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2011-1_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.018622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2011-1_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.013426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2011-1_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.010649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2011-1_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.024678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2011-1_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.022419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2011-1_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.02536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2011-1_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.018161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_2011-1_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.019181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2011-1_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.029366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2011-1_0_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.020385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2011-1_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.00393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2011-1_0_3_line_53 | NAYY 4x150 SE | 51 | 53 | 0.044047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2011-1_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.005385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2011-1_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.014689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2011-1_0_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.036604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2011-1_0_3_line_57 | NAYY 4x150 SE | 54 | 57 | 0.017835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2011-1_0_3_line_58 | NAYY 4x150 SE | 55 | 58 | 0.0025689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2011-1_0_3_line_59 | NAYY 4x150 SE | 56 | 59 | 0.013625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2011-1_0_3_line_60 | NAYY 4x150 SE | 57 | 60 | 0.0024014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2011-1_0_3_line_61 | NAYY 4x150 SE | 58 | 61 | 0.030505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2011-1_0_3_line_62 | NAYY 4x150 SE | 59 | 68 | 0.020924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2011-1_0_3_line_63 | NAYY 4x150 SE | 60 | 72 | 0.052922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2011-1_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.016159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2011-1_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.051708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2011-1_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.0070091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2011-1_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.014631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2011-1_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.044177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2011-1_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0033075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2011-1_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.012768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2011-1_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.00098397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2011-1_0_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.019669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2011-1_0_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.021388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2011-1_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.0021734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2011-1_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.015605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2011-1_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0059277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2011-1_0_3_line_77 | NAYY 4x150 SE | 76 | 87 | 0.01891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2011-1_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.020934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2011-1_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.062059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2011-1_0_3_line_80 | NAYY 4x150 SE | 79 | 85 | 0.018066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2011-1_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.074092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2011-1_0_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.052731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2011-1_0_3_line_83 | NAYY 4x150 SE | 81 | 83 | 0.0088397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_2011-1_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.0016757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_2011-1_0_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.014143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_2011-1_0_3_line_86 | NAYY 4x150 SE | 84 | 86 | 0.0068318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2011-1_0_3_trafo_42 | 0.25 MVA 20/0.4 kV | 88 | 47 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2558022.8626 | 1185111.7654 | 2558076.2905 | 1185117.6868
1 | 2558022.8626 | 1185111.7654 | 2558014.6845 | 1185136.136 | 2558013.3087 | 1185140.1923 | 2558010.5797 | 1185148.2492 | 2557992.4252 | 1185185.9936
2 | 2557977.363 | 1185217.3088 | 2557992.4252 | 1185185.9936
3 | 2557977.363 | 1185217.3088 | 2557935.7689 | 1185301.6865
4 | 2557977.363 | 1185217.3088 | 2557997.1093 | 1185227.1289
5 | 2557935.7689 | 1185301.6865 | 2557890.0199 | 1185463.4504
6 | 2558005.225 | 1185231.1649 | 2557997.1093 | 1185227.1289
7 | 2558252.1028 | 1185201.1635 | 2558263.9302 | 1185168.1074
8 | 2558263.9302 | 1185168.1074 | 2558245.7489 | 1185166.497
9 | 2558252.1028 | 1185201.1635 | 2558248.5866 | 1185205.8239 | 2558241.094 | 1185212.6466 | 2558233.3003 | 1185217.8556
10 | 2558252.1028 | 1185201.1635 | 2558269.0429 | 1185227.914
11 | 2558184.8699 | 1185171.1617 | 2558188.9003 | 1185161.4616 | 2558245.7489 | 1185166.497
12 | 2558275.0994 | 1185237.478 | 2558269.0429 | 1185227.914
13 | 2558184.8699 | 1185171.1617 | 2558162.2428 | 1185172.0884
14 | 2558186.5122 | 1185400.3534 | 2558225.3715 | 1185656.8458
15 | 2558186.5122 | 1185400.3534 | 2558184.212 | 1185382.1986
16 | 2558182.5463 | 1185369.0516 | 2558184.212 | 1185382.1986
17 | 2557983.1921 | 1185880.8973 | 2557936.5095 | 1185884.7573
18 | 2557918.0146 | 1185684.7682 | 2557936.5095 | 1185884.7573
19 | 2557918.0146 | 1185684.7682 | 2557907.2668 | 1185651.8594 | 2557896.8649 | 1185602.5732
20 | 2557886.0319 | 1185546.2074 | 2557892.069 | 1185579.8608 | 2557896.6797 | 1185601.6957 | 2557896.8649 | 1185602.5732
21 | 2558114.4669 | 1185387.777 | 2558114.1145 | 1185383.3497 | 2558114.3158 | 1185369.6186 | 2558116.7725 | 1185356.7194
22 | 2558117.4515 | 1185353.1544 | 2558116.7725 | 1185356.7194
23 | 2558117.4515 | 1185353.1544 | 2558135.8704 | 1185357.1414
24 | 2558138.6077 | 1185357.734 | 2558135.8704 | 1185357.1414
25 | 2558156.5702 | 1185172.3207 | 2558162.2428 | 1185172.0884
26 | 2558275.0994 | 1185237.478 | 2558270.8031 | 1185240.8098 | 2558272.2551 | 1185243.2788 | 2558266.0896 | 1185247.152
27 | 2558275.0994 | 1185237.478 | 2558280.7377 | 1185243.8087 | 2558315.5851 | 1185272.1112
28 | 2558266.0896 | 1185247.152 | 2558249.5814 | 1185257.5226 | 2558244.3999 | 1185259.7712 | 2558244.3633 | 1185259.7787
29 | 2558320.9157 | 1185276.4406 | 2558315.5851 | 1185272.1112
30 | 2558215.2135 | 1185276.8622 | 2558239.4006 | 1185260.7955 | 2558244.3633 | 1185259.7787
31 | 2558189.5228 | 1185247.1147 | 2558204.7922 | 1185236.9092
32 | 2558189.5228 | 1185247.1147 | 2558201.7669 | 1185261.2922
33 | 2558189.5228 | 1185247.1147 | 2558160.2887 | 1185265.0178 | 2558156.042 | 1185268.3927
34 | 2558215.2135 | 1185276.8622 | 2558239.64 | 1185304.851
35 | 2558215.2135 | 1185276.8622 | 2558203.3944 | 1185263.1767
36 | 2558203.3944 | 1185263.1767 | 2558201.7669 | 1185261.2922
37 | 2558141.4867 | 1185280.5563 | 2558144.7075 | 1185277.4003 | 2558156.042 | 1185268.3927
38 | 2558131.155 | 1185290.6802 | 2558141.4867 | 1185280.5563
39 | 2558239.64 | 1185304.851 | 2558239.64 | 1185304.851 | 2558228.2227 | 1185315.3176
40 | 2558228.2227 | 1185315.3176 | 2558224.5786 | 1185318.6584
41 | 2558224.3642 | 1185318.8549 | 2558224.5786 | 1185318.6584
42 | 2558210.6376 | 1185331.4387 | 2558224.3642 | 1185318.8549
43 | 2558210.6376 | 1185331.4387 | 2558200.7411 | 1185340.5112
44 | 2558192.8916 | 1185347.7072 | 2558200.7411 | 1185340.5112
45 | 2558182.5463 | 1185369.0516 | 2558183.0716 | 1185363.4115 | 2558184.4839 | 1185358.0321 | 2558186.4189 | 1185354.2721 | 2558191.1387 | 1185349.3141 | 2558192.8916 | 1185347.7072
46 | 2558182.5463 | 1185369.0516 | 2558160.2031 | 1185367.2139
47 | 2558160.2031 | 1185367.2139 | 2558151.4066 | 1185366.4904 | 2558149.9654 | 1185365.5778 | 2558148.3033 | 1185362.5322 | 2558146.653 | 1185360.098 | 2558143.4691 | 1185358.7863 | 2558138.6077 | 1185357.734
48 | 2558131.155 | 1185290.6802 | 2558128.8109 | 1185308.6894
49 | 2558131.155 | 1185290.6802 | 2558113.7733 | 1185282.4642
50 | 2558113.7733 | 1185282.4642 | 2558095.7286 | 1185305.6324
51 | 2558113.7733 | 1185282.4642 | 2558095.3422 | 1185273.7546
52 | 2558093.3138 | 1185308.7329 | 2558095.7286 | 1185305.6324
53 | 2558055.5177 | 1185254.9357 | 2558095.3422 | 1185273.7546
54 | 2558055.5177 | 1185254.9357 | 2558050.64 | 1185252.6242
55 | 2558055.5177 | 1185254.9357 | 2558048.9193 | 1185268.0595
56 | 2558050.64 | 1185252.6242 | 2558017.5443 | 1185236.986
57 | 2558050.64 | 1185252.6242 | 2558056.2275 | 1185235.6866
58 | 2558048.9193 | 1185268.0595 | 2558047.7654 | 1185270.3547
59 | 2558005.225 | 1185231.1649 | 2558017.5443 | 1185236.986
60 | 2558056.9798 | 1185233.4061 | 2558056.2275 | 1185235.6866
61 | 2558047.7654 | 1185270.3547 | 2558034.0623 | 1185297.6092
62 | 2558005.225 | 1185231.1649 | 2557996.5112 | 1185250.1877
63 | 2558073.559 | 1185183.1481 | 2558056.9798 | 1185233.4061
64 | 2558026.8038 | 1185312.0459 | 2558034.0623 | 1185297.6092
65 | 2558026.8038 | 1185312.0459 | 2557977.5252 | 1185296.3823
66 | 2558026.8038 | 1185312.0459 | 2558023.9773 | 1185318.4598
67 | 2558018.077 | 1185331.8485 | 2558023.9773 | 1185318.4598
68 | 2558048.8756 | 1185354.5473 | 2558017.9945 | 1185342.1241 | 2558016.2721 | 1185335.9439 | 2558018.077 | 1185331.8485
69 | 2557995.1337 | 1185253.1947 | 2557996.5112 | 1185250.1877
70 | 2557989.8164 | 1185264.8025 | 2557995.1337 | 1185253.1947
71 | 2558093.3586 | 1185189.0221 | 2558092.4153 | 1185188.7423
72 | 2558073.559 | 1185183.1481 | 2558092.4153 | 1185188.7423
73 | 2558113.8629 | 1185195.1053 | 2558093.3586 | 1185189.0221
74 | 2558073.559 | 1185183.1481 | 2558071.4872 | 1185182.4913
75 | 2558056.6118 | 1185177.7759 | 2558071.4872 | 1185182.4913
76 | 2558056.6118 | 1185177.7759 | 2558050.9612 | 1185175.9847
77 | 2558032.9357 | 1185170.2707 | 2558050.9612 | 1185175.9847
78 | 2557887.9769 | 1185484.2849 | 2557890.0199 | 1185463.4504
79 | 2557886.0319 | 1185546.2074 | 2557885.335 | 1185511.2267 | 2557887.9769 | 1185484.2849
80 | 2557886.0319 | 1185546.2074 | 2557870.2648 | 1185555.0262
81 | 2557785.5419 | 1185602.4135 | 2557785.5419 | 1185602.4135 | 2557850.2063 | 1185566.2453
82 | 2557785.5419 | 1185602.4135 | 2557765.412 | 1185553.6756
83 | 2557850.2063 | 1185566.2453 | 2557857.9212 | 1185561.9303
84 | 2557764.7723 | 1185552.1268 | 2557765.412 | 1185553.6756
85 | 2557857.9212 | 1185561.9303 | 2557870.2648 | 1185555.0262
86 | 2557764.7723 | 1185552.1268 | 2557762.1642 | 1185545.8123

## bus_geodata
| x | y | coords
0 | 2558076.2905 | 1185117.6868
1 | 2558022.8626 | 1185111.7654
2 | 2557992.4252 | 1185185.9936
3 | 2557977.363 | 1185217.3088
4 | 2557935.7689 | 1185301.6865
5 | 2557997.1093 | 1185227.1289
6 | 2558263.9302 | 1185168.1074
7 | 2558252.1028 | 1185201.1635
8 | 2558245.7489 | 1185166.497
9 | 2558233.3003 | 1185217.8556
10 | 2558269.0429 | 1185227.914
11 | 2558184.8699 | 1185171.1617
12 | 2558225.3715 | 1185656.8458
13 | 2558186.5122 | 1185400.3534
14 | 2558184.212 | 1185382.1986
15 | 2557983.1921 | 1185880.8973
16 | 2557936.5095 | 1185884.7573
17 | 2557918.0146 | 1185684.7682
18 | 2557896.8649 | 1185602.5732
19 | 2558114.4669 | 1185387.777
20 | 2558116.7725 | 1185356.7194
21 | 2558117.4515 | 1185353.1544
22 | 2558135.8704 | 1185357.1414
23 | 2558156.5702 | 1185172.3207
24 | 2558162.2428 | 1185172.0884
25 | 2558275.0994 | 1185237.478
26 | 2558266.0896 | 1185247.152
27 | 2558315.5851 | 1185272.1112
28 | 2558244.3633 | 1185259.7787
29 | 2558320.9157 | 1185276.4406
30 | 2558204.7922 | 1185236.9092
31 | 2558189.5228 | 1185247.1147
32 | 2558215.2135 | 1185276.8622
33 | 2558201.7669 | 1185261.2922
34 | 2558156.042 | 1185268.3927
35 | 2558203.3944 | 1185263.1767
36 | 2558141.4867 | 1185280.5563
37 | 2558239.6399 | 1185304.851
38 | 2558228.2227 | 1185315.3176
39 | 2558224.5786 | 1185318.6584
40 | 2558224.3642 | 1185318.8549
41 | 2558210.6376 | 1185331.4387
42 | 2558200.7411 | 1185340.5112
43 | 2558192.8916 | 1185347.7072
44 | 2558182.5463 | 1185369.0516
45 | 2558160.2031 | 1185367.2139
46 | 2558138.6077 | 1185357.734
47 | 2558128.8109 | 1185308.6894
48 | 2558131.155 | 1185290.6802
49 | 2558113.7733 | 1185282.4642
50 | 2558095.7286 | 1185305.6324
51 | 2558095.3422 | 1185273.7546
52 | 2558093.3138 | 1185308.7329
53 | 2558055.5177 | 1185254.9357
54 | 2558050.64 | 1185252.6242
55 | 2558048.9193 | 1185268.0595
56 | 2558017.5443 | 1185236.986
57 | 2558056.2275 | 1185235.6866
58 | 2558047.7654 | 1185270.3547
59 | 2558005.225 | 1185231.1649
60 | 2558056.9798 | 1185233.4061
61 | 2558034.0623 | 1185297.6092
62 | 2558026.8038 | 1185312.0459
63 | 2557977.5252 | 1185296.3823
64 | 2558023.9773 | 1185318.4598
65 | 2558018.077 | 1185331.8485
66 | 2558048.8756 | 1185354.5473
67 | 2557995.1337 | 1185253.1947
68 | 2557996.5112 | 1185250.1877
69 | 2557989.8164 | 1185264.8025
70 | 2558092.4153 | 1185188.7423
71 | 2558093.3586 | 1185189.0221
72 | 2558073.559 | 1185183.1481
73 | 2558113.8629 | 1185195.1053
74 | 2558071.4872 | 1185182.4913
75 | 2558056.6118 | 1185177.7759
76 | 2558050.9612 | 1185175.9847
77 | 2557890.0199 | 1185463.4504
78 | 2557887.9769 | 1185484.2849
79 | 2557886.0319 | 1185546.2074
80 | 2557785.5419 | 1185602.4135
81 | 2557850.2063 | 1185566.2453
82 | 2557765.412 | 1185553.6756
83 | 2557857.9212 | 1185561.9303
84 | 2557764.7723 | 1185552.1268
85 | 2557870.2648 | 1185555.0262
86 | 2557762.1643 | 1185545.8123
87 | 2558032.9357 | 1185170.2707
88 | 2558131.155 | 1185290.6802

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98629 | -0.09614 | 0.0020864 | 0.00052291
1 | 0.98645 | -0.094988 | 0 | 0
2 | 0.9867 | -0.093261 | 0.0026477 | 0.00066358
3 | 0.98693 | -0.09157 | 0 | 0
4 | 0.98477 | -0.10693 | 0.0021222 | 0.00053188
5 | 0.98759 | -0.086906 | 0.0015436 | 0.00038687
6 | 0.98157 | -0.12923 | 0 | 0
7 | 0.98224 | -0.12445 | 0 | 0
8 | 0.98122 | -0.13172 | 0.0025654 | 0.00064294
9 | 0.98194 | -0.1266 | 0.0081963 | 0.0020542
10 | 0.98323 | -0.11746 | 0.0070964 | 0.0017785
11 | 0.98018 | -0.13915 | 0 | 0
12 | 0.97876 | -0.14941 | 0.0060319 | 0.0015117
13 | 0.98103 | -0.13312 | 0.0041911 | 0.0010504
14 | 0.98131 | -0.13117 | 0.0042071 | 0.0010544
15 | 0.97732 | -0.16018 | 0.0011098 | 0.00027815
16 | 0.9774 | -0.15963 | 0.0035658 | 0.00089367
17 | 0.97877 | -0.14981 | 0 | 0
18 | 0.97935 | -0.14565 | 0.001443 | 0.00036166
19 | 0.98034 | -0.13808 | 0.0023724 | 0.00059459
20 | 0.98045 | -0.13731 | 0.0038136 | 0.00095578
21 | 0.98048 | -0.13708 | 0 | 0
22 | 0.98065 | -0.13587 | 0.0027397 | 0.00068664
23 | 0.97977 | -0.14209 | 0.0074955 | 0.0018786
24 | 0.97983 | -0.14165 | 0.0030945 | 0.00077555
25 | 0.98369 | -0.11413 | 0 | 0
26 | 0.98494 | -0.10526 | 0.0014164 | 0.00035499
27 | 0.98162 | -0.12892 | 0.018086 | 0.0045327
28 | 0.98702 | -0.0906 | 0.0070926 | 0.0017776
29 | 0.98153 | -0.12954 | 0.0087225 | 0.0021861
30 | 0.99326 | -0.046788 | 0.0010051 | 0.00025191
31 | 0.99328 | -0.046601 | 0 | 0
32 | 0.99017 | -0.068382 | 0 | 0
33 | 0.99205 | -0.055199 | 0.0021491 | 0.0005386
34 | 0.99591 | -0.028312 | 0.0020978 | 0.00052576
35 | 0.99189 | -0.056325 | 0.0025682 | 0.00064365
36 | 0.99719 | -0.019466 | 0.0011033 | 0.0002765
37 | 0.98654 | -0.093974 | 0.0099584 | 0.0024958
38 | 0.98525 | -0.10311 | 0.0032892 | 0.00082436
39 | 0.98486 | -0.10587 | 0.0075576 | 0.0018941
40 | 0.98484 | -0.10601 | 0.0069124 | 0.0017324
41 | 0.98377 | -0.11362 | 0.0038115 | 0.00095525
42 | 0.98307 | -0.1186 | 0.0052999 | 0.0013283
43 | 0.9826 | -0.12196 | 0.0023054 | 0.00057778
44 | 0.98159 | -0.12919 | 0 | 0
45 | 0.98113 | -0.1324 | 0.0016253 | 0.00040734
46 | 0.98069 | -0.13561 | 0.0032657 | 0.00081847
47 | 1 | 0 | -0.21334 | -0.053656
48 | 0.99816 | -0.012689 | 0 | 0
49 | 0.99625 | -0.026056 | 0 | 0
50 | 0.99604 | -0.027515 | 0.0032795 | 0.00082191
51 | 0.99435 | -0.039303 | 0.0025956 | 0.00065051
52 | 0.99603 | -0.02758 | 0.0016572 | 0.00041532
53 | 0.99042 | -0.066933 | 0 | 0
54 | 0.99005 | -0.069551 | 0 | 0
55 | 0.99012 | -0.069045 | 0.0013702 | 0.0003434
56 | 0.98845 | -0.080862 | 0.0016727 | 0.00041922
57 | 0.9896 | -0.072725 | 0.0019926 | 0.0004994
58 | 0.99007 | -0.069379 | 0.0015633 | 0.0003918
59 | 0.98788 | -0.084848 | 0 | 0
60 | 0.98955 | -0.073104 | 0.0011912 | 0.00029854
61 | 0.98958 | -0.072856 | 0.0024186 | 0.00060616
62 | 0.98938 | -0.0743 | 0 | 0
63 | 0.98927 | -0.075105 | 0.0015229 | 0.00038167
64 | 0.98931 | -0.074818 | 0.0025948 | 0.00065033
65 | 0.98921 | -0.075511 | 0.0018121 | 0.00045415
66 | 0.98903 | -0.076786 | 0.0028277 | 0.00070868
67 | 0.98767 | -0.08636 | 0.0020955 | 0.00052517
68 | 0.98769 | -0.086223 | 0.0023955 | 0.00060037
69 | 0.98763 | -0.086612 | 0.0019312 | 0.00048401
70 | 0.9883 | -0.081952 | 0.0012448 | 0.00031196
71 | 0.98829 | -0.081996 | 0.0014043 | 0.00035196
72 | 0.98846 | -0.080815 | 0 | 0
73 | 0.9882 | -0.082653 | 0.0030044 | 0.00075298
74 | 0.98843 | -0.081007 | 0.0020024 | 0.00050185
75 | 0.98828 | -0.082062 | 0.0022942 | 0.00057499
76 | 0.98824 | -0.082324 | 0.0014248 | 0.00035708
77 | 0.98142 | -0.13082 | 0.00032944 | 8.2566e-05
78 | 0.98101 | -0.13373 | 0.00062321 | 0.00015619
79 | 0.97986 | -0.14197 | 0 | 0
80 | 0.979 | -0.14816 | 0.0011082 | 0.00027775
81 | 0.97947 | -0.14474 | 0.0017012 | 0.00042637
82 | 0.97874 | -0.14998 | 0.00014232 | 3.567e-05
83 | 0.97955 | -0.14417 | 0.00035351 | 8.8598e-05
84 | 0.97873 | -0.15003 | 0.0021757 | 0.00054529
85 | 0.97968 | -0.14322 | 0.00014305 | 3.5852e-05
86 | 0.97872 | -0.15011 | 0.00099707 | 0.00024989
87 | 0.98816 | -0.082883 | 0.0028953 | 0.00072564
88 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0020864 | -0.00052291 | 0.0020868 | 0.00052235 | 3.3234e-07 | -5.5832e-07 | 0.0031478 | 0.0031475 | 0.0031478 | 0.98629 | -0.09614 | 0.98645 | -0.094988 | 1.1658
1 | -0.0020868 | -0.00052235 | 0.0020873 | 0.00052152 | 4.9685e-07 | -8.353e-07 | 0.0031475 | 0.0031472 | 0.0031475 | 0.98645 | -0.094988 | 0.9867 | -0.093261 | 1.1658
2 | -0.004735 | -0.0011851 | 0.0047361 | 0.0011851 | 1.1054e-06 | -1.8777e-08 | 0.0071401 | 0.00714 | 0.0071401 | 0.9867 | -0.093261 | 0.98693 | -0.09157 | 2.6445
3 | 0.015932 | 0.003997 | -0.015898 | -0.0039852 | 3.3874e-05 | 1.1829e-05 | 0.024022 | 0.024022 | 0.024022 | 0.98693 | -0.09157 | 0.98477 | -0.10693 | 8.8971
4 | -0.020668 | -0.0051821 | 0.020681 | 0.0051869 | 1.3363e-05 | 4.8576e-06 | 0.031162 | 0.031162 | 0.031162 | 0.98693 | -0.09157 | 0.98759 | -0.086906 | 11.5414
5 | 0.013775 | 0.0034533 | -0.01373 | -0.0034379 | 4.5453e-05 | 1.535e-05 | 0.020815 | 0.020816 | 0.020816 | 0.98477 | -0.10693 | 0.98142 | -0.13082 | 7.7097
6 | -0.022225 | -0.0055738 | 0.022231 | 0.0055761 | 6.3426e-06 | 2.3234e-06 | 0.033487 | 0.033487 | 0.033487 | 0.98759 | -0.086906 | 0.98788 | -0.084848 | 12.4027
7 | -0.013175 | -0.0033031 | 0.013184 | 0.003306 | 8.7382e-06 | 2.9168e-06 | 0.019973 | 0.019973 | 0.019973 | 0.98157 | -0.12923 | 0.98224 | -0.12445 | 7.3974
8 | 0.013175 | 0.0033031 | -0.01317 | -0.0033016 | 4.5435e-06 | 1.5169e-06 | 0.019973 | 0.019973 | 0.019973 | 0.98157 | -0.12923 | 0.98122 | -0.13172 | 7.3974
9 | 0.0081987 | 0.0020548 | -0.0081963 | -0.0020542 | 2.4399e-06 | 6.1769e-07 | 0.01242 | 0.01242 | 0.01242 | 0.98224 | -0.12445 | 0.98194 | -0.1266 | 4.6002
10 | -0.021382 | -0.0053608 | 0.021403 | 0.0053684 | 2.0732e-05 | 7.5727e-06 | 0.032393 | 0.032393 | 0.032393 | 0.98224 | -0.12445 | 0.98323 | -0.11746 | 11.9975
11 | 0.010605 | 0.0026587 | -0.010594 | -0.0026553 | 1.0907e-05 | 3.3423e-06 | 0.016083 | 0.016083 | 0.016083 | 0.98122 | -0.13172 | 0.98018 | -0.13915 | 5.9567
12 | -0.0285 | -0.0071469 | 0.028513 | 0.0071519 | 1.3142e-05 | 4.911e-06 | 0.043133 | 0.043133 | 0.043133 | 0.98323 | -0.11746 | 0.98369 | -0.11413 | 15.9751
13 | 0.010594 | 0.0026553 | -0.01059 | -0.0026542 | 3.6552e-06 | 1.1205e-06 | 0.016083 | 0.016083 | 0.016083 | 0.98018 | -0.13915 | 0.97983 | -0.14165 | 5.9567
14 | -0.0060319 | -0.0015117 | 0.0060455 | 0.0015137 | 1.3611e-05 | 1.9672e-06 | 0.0091704 | 0.0091692 | 0.0091704 | 0.97876 | -0.14941 | 0.98103 | -0.13312 | 3.3964
15 | -0.010237 | -0.0025641 | 0.010239 | 0.0025649 | 2.7527e-06 | 8.276e-07 | 0.015526 | 0.015526 | 0.015526 | 0.98103 | -0.13312 | 0.98131 | -0.13117 | 5.7504
16 | -0.014446 | -0.0036193 | 0.01445 | 0.0036207 | 3.968e-06 | 1.3587e-06 | 0.021905 | 0.021905 | 0.021905 | 0.98131 | -0.13117 | 0.98159 | -0.12919 | 8.1131
17 | -0.0011098 | -0.00027815 | 0.0011099 | 0.0002776 | 8.3449e-08 | -5.5493e-07 | 0.0016898 | 0.0016896 | 0.0016898 | 0.97732 | -0.16018 | 0.9774 | -0.15963 | 0.62584
18 | -0.0046757 | -0.0011713 | 0.004682 | 0.0011712 | 6.3493e-06 | -7.8659e-08 | 0.0071182 | 0.0071173 | 0.0071182 | 0.9774 | -0.15963 | 0.97877 | -0.14981 | 2.6364
19 | -0.004682 | -0.0011712 | 0.0046847 | 0.0011711 | 2.6864e-06 | -3.5599e-08 | 0.0071173 | 0.0071169 | 0.0071173 | 0.97877 | -0.14981 | 0.97935 | -0.14565 | 2.636
20 | -0.0061278 | -0.0015328 | 0.0061309 | 0.0015333 | 3.1043e-06 | 4.7126e-07 | 0.0093094 | 0.0093092 | 0.0093094 | 0.97935 | -0.14565 | 0.97986 | -0.14197 | 3.4479
21 | -0.0023724 | -0.00059459 | 0.0023727 | 0.00059429 | 2.533e-07 | -2.9733e-07 | 0.003601 | 0.0036009 | 0.003601 | 0.98034 | -0.13808 | 0.98045 | -0.13731 | 1.3337
22 | -0.0061863 | -0.0015501 | 0.0061865 | 0.0015501 | 1.9961e-07 | 3.1006e-08 | 0.0093887 | 0.0093887 | 0.0093887 | 0.98045 | -0.13731 | 0.98048 | -0.13708 | 3.4773
23 | -0.0061865 | -0.0015501 | 0.0061875 | 0.0015503 | 1.0366e-06 | 1.6096e-07 | 0.0093887 | 0.0093886 | 0.0093887 | 0.98048 | -0.13708 | 0.98065 | -0.13587 | 3.4773
24 | -0.0089273 | -0.0022369 | 0.0089276 | 0.002237 | 3.2067e-07 | 8.7998e-08 | 0.013546 | 0.013546 | 0.013546 | 0.98065 | -0.13587 | 0.98069 | -0.13561 | 5.017
25 | -0.0074955 | -0.0018786 | 0.007496 | 0.0018787 | 4.5909e-07 | 1.0507e-07 | 0.011384 | 0.011384 | 0.011384 | 0.97977 | -0.14209 | 0.97983 | -0.14165 | 4.2162
26 | -0.055377 | -0.013891 | 0.055445 | 0.013917 | 6.8235e-05 | 2.6046e-05 | 0.083772 | 0.083772 | 0.083772 | 0.98369 | -0.11413 | 0.98494 | -0.10526 | 31.0265
27 | 0.026864 | 0.0067394 | -0.026809 | -0.006719 | 5.5001e-05 | 2.0478e-05 | 0.040639 | 0.040639 | 0.040639 | 0.98369 | -0.11413 | 0.98162 | -0.12892 | 15.0516
28 | -0.056861 | -0.014272 | 0.056977 | 0.014317 | 0.00011597 | 4.4284e-05 | 0.085912 | 0.085911 | 0.085912 | 0.98494 | -0.10526 | 0.98702 | -0.0906 | 31.8191
29 | 0.0087233 | 0.0021863 | -0.0087225 | -0.0021861 | 7.4931e-07 | 2.0139e-07 | 0.013224 | 0.013224 | 0.013224 | 0.98162 | -0.12892 | 0.98153 | -0.12954 | 4.8976
30 | -0.06407 | -0.016094 | 0.064268 | 0.01617 | 0.00019859 | 7.5945e-05 | 0.096604 | 0.096604 | 0.096604 | 0.98702 | -0.0906 | 0.99017 | -0.068382 | 35.7793
31 | -0.0010051 | -0.00025191 | 0.0010051 | 0.00025168 | 2.5983e-08 | -2.2772e-07 | 0.0015058 | 0.0015057 | 0.0015058 | 0.99326 | -0.046788 | 0.99328 | -0.046601 | 0.5577
32 | 0.13725 | 0.034573 | -0.13709 | -0.034511 | 0.00016484 | 6.2672e-05 | 0.20568 | 0.20568 | 0.20568 | 0.99328 | -0.046601 | 0.99205 | -0.055199 | 25.3926
33 | -0.13826 | -0.034825 | 0.13861 | 0.03496 | 0.00035451 | 0.0001348 | 0.20719 | 0.20718 | 0.20719 | 0.99328 | -0.046601 | 0.99591 | -0.028312 | 25.5784
34 | 0.06786 | 0.017065 | -0.067619 | -0.016973 | 0.00024117 | 9.2282e-05 | 0.102 | 0.102 | 0.102 | 0.99017 | -0.068382 | 0.98654 | -0.093974 | 37.7777
35 | -0.13213 | -0.033235 | 0.13235 | 0.03332 | 0.00022253 | 8.5123e-05 | 0.1986 | 0.1986 | 0.1986 | 0.99017 | -0.068382 | 0.99189 | -0.056325 | 36.7785
36 | 0.13494 | 0.033972 | -0.13492 | -0.033964 | 2.1228e-05 | 8.0684e-06 | 0.20246 | 0.20246 | 0.20246 | 0.99205 | -0.055199 | 0.99189 | -0.056325 | 24.9946
37 | -0.14071 | -0.035485 | 0.14089 | 0.035552 | 0.0001747 | 6.6448e-05 | 0.21032 | 0.21032 | 0.21032 | 0.99591 | -0.028312 | 0.99719 | -0.019466 | 25.9653
38 | -0.14199 | -0.035828 | 0.14213 | 0.03588 | 0.00013518 | 5.1425e-05 | 0.21197 | 0.21196 | 0.21197 | 0.99719 | -0.019466 | 0.99816 | -0.012689 | 26.1685
39 | 0.057661 | 0.014477 | -0.057587 | -0.014449 | 7.312e-05 | 2.7926e-05 | 0.086979 | 0.08698 | 0.08698 | 0.98654 | -0.093974 | 0.98525 | -0.10311 | 32.2147
40 | 0.054298 | 0.013625 | -0.054277 | -0.013617 | 2.0749e-05 | 7.9174e-06 | 0.082012 | 0.082012 | 0.082012 | 0.98525 | -0.10311 | 0.98486 | -0.10587 | 30.3748
41 | 0.04672 | 0.011723 | -0.046719 | -0.011722 | 9.0407e-07 | 3.4402e-07 | 0.070593 | 0.070593 | 0.070593 | 0.98486 | -0.10587 | 0.98484 | -0.10601 | 26.1456
42 | 0.039807 | 0.0099898 | -0.039765 | -0.0099739 | 4.2041e-05 | 1.5933e-05 | 0.060149 | 0.060149 | 0.060149 | 0.98484 | -0.10601 | 0.98377 | -0.11362 | 22.2775
43 | 0.035953 | 0.0090186 | -0.035928 | -0.0090093 | 2.4778e-05 | 9.3597e-06 | 0.054384 | 0.054384 | 0.054384 | 0.98377 | -0.11362 | 0.98307 | -0.1186 | 20.1423
44 | 0.030628 | 0.007681 | -0.030614 | -0.0076757 | 1.4283e-05 | 5.3585e-06 | 0.046362 | 0.046362 | 0.046362 | 0.98307 | -0.1186 | 0.9826 | -0.12196 | 17.1712
45 | 0.028309 | 0.0070979 | -0.028281 | -0.0070873 | 2.8303e-05 | 1.0573e-05 | 0.042871 | 0.042871 | 0.042871 | 0.9826 | -0.12196 | 0.98159 | -0.12919 | 15.8782
46 | 0.01383 | 0.0034666 | -0.013824 | -0.0034646 | 6.1492e-06 | 2.0818e-06 | 0.020966 | 0.020966 | 0.020966 | 0.98159 | -0.12919 | 0.98113 | -0.1324 | 7.7651
47 | 0.012199 | 0.0030572 | -0.012193 | -0.0030555 | 5.4166e-06 | 1.7632e-06 | 0.018501 | 0.018501 | 0.018501 | 0.98113 | -0.1324 | 0.98069 | -0.13561 | 6.8522
48 | 0.21254 | 0.053656 | -0.21216 | -0.053511 | 0.00037815 | 0.00014473 | 0.3164 | 0.3164 | 0.3164 | 1 | 0 | 0.99816 | -0.012689 | 39.0612
49 | 0.070034 | 0.017632 | -0.069903 | -0.017582 | 0.00013053 | 4.9954e-05 | 0.10443 | 0.10443 | 0.10443 | 0.99816 | -0.012689 | 0.99625 | -0.026056 | 38.6782
50 | 0.0049376 | 0.0012372 | -0.0049366 | -0.0012372 | 9.9666e-07 | 1.033e-09 | 0.0073748 | 0.007375 | 0.007375 | 0.99625 | -0.026056 | 0.99604 | -0.027515 | 2.7315
51 | 0.064966 | 0.016344 | -0.064846 | -0.016299 | 0.00011983 | 4.5822e-05 | 0.097056 | 0.097056 | 0.097056 | 0.99625 | -0.026056 | 0.99435 | -0.039303 | 35.9468
52 | 0.0016572 | 0.00041528 | -0.0016572 | -0.00041532 | 1.503e-08 | -4.5369e-08 | 0.0024757 | 0.0024757 | 0.0024757 | 0.99604 | -0.027515 | 0.99603 | -0.02758 | 0.91693
53 | 0.06225 | 0.015648 | -0.062012 | -0.015557 | 0.0002386 | 9.1201e-05 | 0.093172 | 0.093172 | 0.093172 | 0.99435 | -0.039303 | 0.99042 | -0.066933 | 34.5083
54 | 0.047889 | 0.012018 | -0.047871 | -0.012011 | 1.7397e-05 | 6.622e-06 | 0.071954 | 0.071954 | 0.071954 | 0.99042 | -0.066933 | 0.99005 | -0.069551 | 26.6497
55 | 0.014123 | 0.003539 | -0.014119 | -0.0035376 | 4.1268e-06 | 1.3982e-06 | 0.021218 | 0.021218 | 0.021218 | 0.99042 | -0.066933 | 0.99012 | -0.069045 | 7.8587
56 | 0.030391 | 0.0076287 | -0.030343 | -0.0076109 | 4.7663e-05 | 1.7862e-05 | 0.045681 | 0.045681 | 0.045681 | 0.99005 | -0.069551 | 0.98845 | -0.080862 | 16.9188
57 | 0.017481 | 0.0043826 | -0.017473 | -0.0043798 | 7.6825e-06 | 2.7255e-06 | 0.026273 | 0.026273 | 0.026273 | 0.99005 | -0.069551 | 0.9896 | -0.072725 | 9.7309
58 | 0.012749 | 0.0031942 | -0.012748 | -0.0031941 | 5.8843e-07 | 1.9328e-07 | 0.019159 | 0.019159 | 0.019159 | 0.99012 | -0.069045 | 0.99007 | -0.069379 | 7.096
59 | 0.02867 | 0.0071916 | -0.028655 | -0.0071857 | 1.584e-05 | 5.9177e-06 | 0.043163 | 0.043163 | 0.043163 | 0.98845 | -0.080862 | 0.98788 | -0.084848 | 15.9862
60 | 0.01548 | 0.0038804 | -0.015479 | -0.0038802 | 8.119e-07 | 2.8142e-07 | 0.023277 | 0.023277 | 0.023277 | 0.9896 | -0.072725 | 0.98955 | -0.073104 | 8.6212
61 | 0.011185 | 0.0028023 | -0.011179 | -0.0028006 | 5.3789e-06 | 1.6767e-06 | 0.01681 | 0.01681 | 0.01681 | 0.99007 | -0.069379 | 0.98958 | -0.072856 | 6.2259
62 | 0.0064235 | 0.0016096 | -0.0064223 | -0.0016094 | 1.2223e-06 | 2.0227e-07 | 0.0096755 | 0.0096756 | 0.0096756 | 0.98788 | -0.084848 | 0.98769 | -0.086223 | 3.5835
63 | 0.014288 | 0.0035816 | -0.014273 | -0.0035764 | 1.5245e-05 | 5.1845e-06 | 0.021486 | 0.021486 | 0.021486 | 0.98955 | -0.073104 | 0.98846 | -0.080815 | 7.9579
64 | 0.0087609 | 0.0021944 | -0.0087591 | -0.0021939 | 1.7497e-06 | 4.6542e-07 | 0.013173 | 0.013173 | 0.013173 | 0.98958 | -0.072856 | 0.98938 | -0.0743 | 4.8789
65 | 0.001523 | 0.00038107 | -0.0015229 | -0.00038167 | 1.6928e-07 | -5.9885e-07 | 0.0022904 | 0.0022907 | 0.0022907 | 0.98938 | -0.0743 | 0.98927 | -0.075105 | 0.84839
66 | 0.0072361 | 0.0018129 | -0.0072355 | -0.0018128 | 5.1799e-07 | 1.0922e-07 | 0.010883 | 0.010883 | 0.010883 | 0.98938 | -0.0743 | 0.98931 | -0.074818 | 4.0307
67 | 0.0046407 | 0.0011624 | -0.0046403 | -0.0011625 | 4.448e-07 | -1.6773e-08 | 0.0069799 | 0.0069799 | 0.0069799 | 0.98931 | -0.074818 | 0.98921 | -0.075511 | 2.5852
68 | 0.0028282 | 0.0007083 | -0.0028277 | -0.00070868 | 4.989e-07 | -3.7515e-07 | 0.0042541 | 0.0042543 | 0.0042543 | 0.98921 | -0.075511 | 0.98903 | -0.076786 | 1.5757
69 | -0.0040268 | -0.001009 | 0.0040268 | 0.001009 | 7.5958e-08 | -1.3114e-08 | 0.0060666 | 0.0060666 | 0.0060666 | 0.98767 | -0.08636 | 0.98769 | -0.086223 | 2.2469
70 | 0.0019313 | 0.00048388 | -0.0019312 | -0.00048401 | 6.7451e-08 | -1.3745e-07 | 0.0029096 | 0.0029097 | 0.0029097 | 0.98767 | -0.08636 | 0.98763 | -0.086612 | 1.0777
71 | 0.0044091 | 0.0011048 | -0.004409 | -0.0011048 | 2.7058e-08 | -2.2018e-09 | 0.0066384 | 0.0066384 | 0.0066384 | 0.9883 | -0.081952 | 0.98829 | -0.081996 | 2.4587
72 | -0.0056538 | -0.0014167 | 0.0056547 | 0.0014168 | 8.8934e-07 | 8.9979e-08 | 0.0085125 | 0.0085124 | 0.0085125 | 0.9883 | -0.081952 | 0.98846 | -0.080815 | 3.1528
73 | 0.0030047 | 0.00075281 | -0.0030044 | -0.00075298 | 2.7314e-07 | -1.6898e-07 | 0.0045239 | 0.004524 | 0.004524 | 0.98829 | -0.081996 | 0.9882 | -0.082653 | 1.6756
74 | 0.0086183 | 0.0021596 | -0.0086181 | -0.0021596 | 2.2828e-07 | 5.9941e-08 | 0.012974 | 0.012974 | 0.012974 | 0.98846 | -0.080815 | 0.98843 | -0.081007 | 4.8051
75 | 0.0066157 | 0.0016577 | -0.0066147 | -0.0016575 | 9.6586e-07 | 1.715e-07 | 0.0099594 | 0.0099594 | 0.0099594 | 0.98843 | -0.081007 | 0.98828 | -0.082062 | 3.6887
76 | 0.0043205 | 0.0010826 | -0.0043203 | -0.0010826 | 1.5652e-07 | -1.5751e-08 | 0.0065051 | 0.0065051 | 0.0065051 | 0.98828 | -0.082062 | 0.98824 | -0.082324 | 2.4093
77 | 0.0028956 | 0.00072549 | -0.0028953 | -0.00072564 | 2.2429e-07 | -1.56e-07 | 0.0043598 | 0.0043599 | 0.0043599 | 0.98824 | -0.082324 | 0.98816 | -0.082883 | 1.6148
78 | 0.013401 | 0.0033554 | -0.013395 | -0.0033536 | 5.3921e-06 | 1.8094e-06 | 0.020317 | 0.020317 | 0.020317 | 0.98142 | -0.13082 | 0.98101 | -0.13373 | 7.5247
79 | 0.012772 | 0.0031974 | -0.012757 | -0.0031926 | 1.4532e-05 | 4.8065e-06 | 0.019372 | 0.019372 | 0.019372 | 0.98101 | -0.13373 | 0.97986 | -0.14197 | 7.1747
80 | 0.0066266 | 0.0016593 | -0.0066254 | -0.0016591 | 1.1415e-06 | 2.1151e-07 | 0.010063 | 0.010063 | 0.010063 | 0.97986 | -0.14197 | 0.97968 | -0.14322 | 3.7269
81 | -0.0044242 | -0.0011082 | 0.0044263 | 0.001108 | 2.0904e-06 | -1.2808e-07 | 0.0067243 | 0.006724 | 0.0067243 | 0.979 | -0.14816 | 0.97947 | -0.14474 | 2.4905
82 | 0.003316 | 0.00083041 | -0.0033152 | -0.00083075 | 8.3582e-07 | -3.414e-07 | 0.0050399 | 0.0050401 | 0.0050401 | 0.979 | -0.14816 | 0.97874 | -0.14998 | 1.8667
83 | -0.0061275 | -0.0015344 | 0.006128 | 0.0015345 | 4.7795e-07 | 7.2558e-08 | 0.0093085 | 0.0093085 | 0.0093085 | 0.97947 | -0.14474 | 0.97955 | -0.14417 | 3.4476
84 | 0.0031728 | 0.00079508 | -0.0031728 | -0.00079509 | 2.433e-08 | -1.1701e-08 | 0.0048237 | 0.0048237 | 0.0048237 | 0.97874 | -0.14998 | 0.97873 | -0.15003 | 1.7866
85 | -0.0064815 | -0.0016231 | 0.0064824 | 0.0016232 | 8.5547e-07 | 1.5096e-07 | 0.0098455 | 0.0098454 | 0.0098455 | 0.97955 | -0.14417 | 0.97968 | -0.14322 | 3.6465
86 | 0.00099708 | 0.00024981 | -0.00099707 | -0.00024989 | 9.7962e-09 | -8.2088e-08 | 0.0015159 | 0.0015159 | 0.0015159 | 0.97873 | -0.15003 | 0.97872 | -0.15011 | 0.56145

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21579 | 0.05427

## res_load
| p_mw | q_mvar
0 | 0.0020864 | 0.00052291
1 | 0.0026477 | 0.00066358
2 | 0.0021222 | 0.00053188
3 | 0.0015436 | 0.00038687
4 | 0.0025654 | 0.00064294
5 | 0.0081963 | 0.0020542
6 | 0.0070964 | 0.0017785
7 | 0.0060319 | 0.0015117
8 | 0.0041911 | 0.0010504
9 | 0.0042071 | 0.0010544
10 | 0.0011098 | 0.00027815
11 | 0.0035658 | 0.00089367
12 | 0.001443 | 0.00036166
13 | 0.0023724 | 0.00059459
14 | 0.0038136 | 0.00095578
15 | 0.0027397 | 0.00068664
16 | 0.0074955 | 0.0018786
17 | 0.0030945 | 0.00077555
18 | 0.0014164 | 0.00035499
19 | 0.018086 | 0.0045327
20 | 0.0070926 | 0.0017776
21 | 0.0087225 | 0.0021861
22 | 0.0010051 | 0.00025191
23 | 0.0021491 | 0.0005386
24 | 0.0020978 | 0.00052576
25 | 0.0025682 | 0.00064365
26 | 0.0011033 | 0.0002765
27 | 0.0099584 | 0.0024958
28 | 0.0032892 | 0.00082436
29 | 0.0075576 | 0.0018941
30 | 0.0069124 | 0.0017324
31 | 0.0038115 | 0.00095525
32 | 0.0052999 | 0.0013283
33 | 0.0023054 | 0.00057778
34 | 0.0016253 | 0.00040734
35 | 0.0032657 | 0.00081847
36 | 0.0024502 | 0.00061408
37 | 0.0032795 | 0.00082191
38 | 0.0025956 | 0.00065051
39 | 0.0016572 | 0.00041532
40 | 0.0013702 | 0.0003434
41 | 0.0016727 | 0.00041922
42 | 0.0019926 | 0.0004994
43 | 0.0015633 | 0.0003918
44 | 0.0011912 | 0.00029854
45 | 0.0024186 | 0.00060616
46 | 0.0015229 | 0.00038167
47 | 0.0025948 | 0.00065033
48 | 0.0018121 | 0.00045415
49 | 0.0028277 | 0.00070868
50 | 0.0020955 | 0.00052517
51 | 0.0023955 | 0.00060037
52 | 0.0019312 | 0.00048401
53 | 0.0012448 | 0.00031196
54 | 0.0014043 | 0.00035196
55 | 0.0030044 | 0.00075298
56 | 0.0020024 | 0.00050185
57 | 0.0022942 | 0.00057499
58 | 0.0014248 | 0.00035708
59 | 0.00032944 | 8.2566e-05
60 | 0.00062321 | 0.00015619
61 | 0.0011082 | 0.00027775
62 | 0.0017012 | 0.00042637
63 | 0.00014232 | 3.567e-05
64 | 0.00035351 | 8.8598e-05
65 | 0.0021757 | 0.00054529
66 | 0.00014305 | 3.5852e-05
67 | 0.00099707 | 0.00024989
68 | 0.0028953 | 0.00072564

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1