## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2011-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2011-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2011-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2011-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2011-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2011-2_0_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_2011-2_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2011-2_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2011-2_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2011-2_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2011-2_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2011-2_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2011-2_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_2011-2_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2011-2_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2011-2_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2011-2_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_2011-2_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_2011-2_0_4_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_2011-2_0_4_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_2011-2_0_4_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_2011-2_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_2011-2_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_2011-2_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_2011-2_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_2011-2_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_2011-2_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_2011-2_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2011-2_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_2011-2_0_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_2011-2_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_2011-2_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_2011-2_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_2011-2_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2011-2_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_2011-2_0_4_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_2011-2_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_2011-2_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_MV_454_2_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2011-2_0_4_load_0 | 0 | 0.0024304 | 0.00060912 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2011-2_0_4_load_1 | 1 | 0.0027051 | 0.00067795 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2011-2_0_4_load_35 | 5 | 0.0013194 | 0.00033067 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2011-2_0_4_load_9 | 7 | 0.011206 | 0.0028084 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2011-2_0_4_load_8 | 8 | 0.00097131 | 0.00024343 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2011-2_0_4_load_5 | 9 | 0.0052187 | 0.0013079 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2011-2_0_4_load_6 | 10 | 0.010626 | 0.0026632 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2011-2_0_4_load_16 | 11 | 0.0044385 | 0.0011124 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2011-2_0_4_load_17 | 12 | 0.0023267 | 0.00058312 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2011-2_0_4_load_12 | 13 | 0.0019727 | 0.00049441 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2011-2_0_4_load_13 | 14 | 0.0056376 | 0.0014129 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2011-2_0_4_load_19 | 17 | 0.04121 | 0.010328 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2011-2_0_4_load_21 | 18 | 0.0012591 | 0.00031557 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2011-2_0_4_load_26 | 20 | 0.0030519 | 0.00076487 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2011-2_0_4_load_27 | 21 | 0.0023913 | 0.00059931 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2011-2_0_4_load_20 | 22 | 0.045039 | 0.011288 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2011-2_0_4_load_28 | 23 | 0.0031484 | 0.00078907 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2011-2_0_4_load_32 | 24 | 0.0025806 | 0.00064677 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2011-2_0_4_load_24 | 27 | 0.00080332 | 0.00020133 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2011-2_0_4_load_25 | 28 | 0.016285 | 0.0040813 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2011-2_0_4_load_40 | 29 | 0.0025179 | 0.00063104 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2011-2_0_4_load_29 | 30 | 0.0024659 | 0.00061802 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2011-2_0_4_load_30 | 31 | 0.0074456 | 0.001866 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2011-2_0_4_load_31 | 32 | 0.0018414 | 0.00046151 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2011-2_0_4_load_33 | 33 | 0.0012523 | 0.00031386 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2011-2_0_4_load_36 | 34 | 0.0013205 | 0.00033094 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2011-2_0_4_load_37 | 35 | 0.0021664 | 0.00054296 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2011-2_0_4_load_39 | 36 | 0.00045409 | 0.00011381 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2011-2_0_4_load_38 | 37 | 0.00099362 | 0.00024903 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2011-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.06373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2011-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.08588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2011-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.095874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2011-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.15495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2011-2_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.015389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2011-2_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.022746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2011-2_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.052742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2011-2_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.019107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2011-2_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.017247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2011-2_0_4_line_9 | NAYY 4x150 SE | 8 | 11 | 0.0096364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2011-2_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.024204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2011-2_0_4_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0022034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2011-2_0_4_line_12 | NAYY 4x150 SE | 12 | 20 | 0.011493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2011-2_0_4_line_13 | NAYY 4x150 SE | 13 | 14 | 0.046036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2011-2_0_4_line_14 | NAYY 4x150 SE | 14 | 15 | 0.018317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2011-2_0_4_line_15 | NAYY 4x150 SE | 15 | 16 | 0.047104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2011-2_0_4_line_16 | NAYY 4x150 SE | 15 | 17 | 0.0054222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2011-2_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0099757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2011-2_0_4_line_18 | NAYY 4x150 SE | 16 | 19 | 0.015018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_2011-2_0_4_line_19 | NAYY 4x150 SE | 18 | 22 | 0.0091948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2011-2_0_4_line_20 | NAYY 4x150 SE | 19 | 23 | 0.034133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2011-2_0_4_line_21 | NAYY 4x150 SE | 19 | 24 | 0.016698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2011-2_0_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0065375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2011-2_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.012664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2011-2_0_4_line_24 | NAYY 4x150 SE | 22 | 25 | 0.013122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2011-2_0_4_line_25 | NAYY 4x150 SE | 24 | 31 | 0.0052648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2011-2_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.015695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2011-2_0_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.022905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2011-2_0_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.029939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2011-2_0_4_line_29 | NAYY 4x150 SE | 27 | 29 | 0.017375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2011-2_0_4_line_30 | NAYY 4x150 SE | 30 | 31 | 0.030675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2011-2_0_4_line_31 | NAYY 4x150 SE | 30 | 32 | 0.0025768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2011-2_0_4_line_32 | NAYY 4x150 SE | 32 | 33 | 1.0806e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2011-2_0_4_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0093305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2011-2_0_4_line_34 | NAYY 4x150 SE | 34 | 35 | 0.019686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2011-2_0_4_line_35 | NAYY 4x150 SE | 35 | 36 | 0.039837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2011-2_0_4_line_36 | NAYY 4x150 SE | 36 | 37 | 0.018812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2011-2_0_4_trafo_34 | 0.25 MVA 20/0.4 kV | 38 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2558108.2198 | 1185121.2256 | 2558161.8187 | 1185127.166 | 2558171.5616 | 1185128.2479
1 | 2558022.8626 | 1185111.7654 | 2558108.2198 | 1185121.2256
2 | 2558267.2796 | 1185133.0095 | 2558188.093 | 1185130.0837 | 2558171.5616 | 1185128.2479
3 | 2558022.8626 | 1185111.7654 | 2558024.1125 | 1185102.8407 | 2558026.8743 | 1185083.144 | 2558037.7624 | 1185011.0508 | 2558040.7537 | 1184992.5087 | 2558062.3288 | 1184992.3794 | 2558075.1059 | 1184992.512
4 | 2558267.2796 | 1185133.0095 | 2558271.5188 | 1185118.2164
5 | 2558075.1059 | 1184992.512 | 2558097.9185 | 1184992.5409
6 | 2558075.1059 | 1184992.512 | 2558075.1386 | 1184988.4763 | 2558075.3803 | 1184965.2843 | 2558075.5469 | 1184939.772
7 | 2558097.9185 | 1184992.5409 | 2558117.0251 | 1184992.596
8 | 2558097.9185 | 1184992.5409 | 2558097.6712 | 1184998.6349 | 2558095.9171 | 1185009.6444
9 | 2558126.6615 | 1184992.6238 | 2558117.0251 | 1184992.596
10 | 2558095.9171 | 1185009.6444 | 2558092.1088 | 1185033.5471
11 | 2558126.6615 | 1184992.6238 | 2558128.8649 | 1184992.6301
12 | 2558140.3581 | 1184992.6632 | 2558128.8649 | 1184992.6301
13 | 2558148.8251 | 1184925.7088 | 2558147.2976 | 1184947.793 | 2558149.8089 | 1184952.1889 | 2558168.6441 | 1184952.0175
14 | 2558186.9599 | 1184951.8509 | 2558168.6441 | 1184952.0175
15 | 2558186.9599 | 1184951.8509 | 2558186.9092 | 1184955.5199 | 2558188.6648 | 1184962.0889 | 2558196.6212 | 1184972.4278 | 2558204.5585 | 1184981.1325 | 2558208.7268 | 1184992.2093
16 | 2558186.9599 | 1184951.8509 | 2558186.9882 | 1184949.3494 | 2558187.9068 | 1184946.5771
17 | 2558208.7268 | 1184992.2093 | 2558218.6302 | 1184991.0102
18 | 2558208.7268 | 1184992.2093 | 2558193.6899 | 1184993.0705
19 | 2558218.6302 | 1184991.0102 | 2558227.7583 | 1184989.9049
20 | 2558193.6899 | 1184993.0705 | 2558176.6071 | 1184992.7677 | 2558159.5594 | 1184992.7185
21 | 2558193.6899 | 1184993.0705 | 2558193.3116 | 1185009.7647
22 | 2558140.3581 | 1184992.6632 | 2558146.8956 | 1184992.6821
23 | 2558159.5594 | 1184992.7185 | 2558146.8956 | 1184992.6821
24 | 2558240.7851 | 1184988.3276 | 2558227.7583 | 1184989.9049
25 | 2558193.1924 | 1185015.0281 | 2558193.3116 | 1185009.7647
26 | 2558256.3377 | 1184985.9065 | 2558240.7851 | 1184988.3276
27 | 2558240.7851 | 1184988.3276 | 2558241.6889 | 1185006.2643 | 2558243.5603 | 1185010.8426
28 | 2558256.3377 | 1184985.9065 | 2558255.0082 | 1184955.9968
29 | 2558255.2205 | 1185023.7236 | 2558243.5603 | 1185010.8426
30 | 2558186.5057 | 1185044.7885 | 2558193.0368 | 1185021.8906 | 2558193.1924 | 1185015.0281
31 | 2558186.5057 | 1185044.7885 | 2558185.7988 | 1185047.2665
32 | 2558185.7959 | 1185047.2769 | 2558185.7988 | 1185047.2665
33 | 2558185.7959 | 1185047.2769 | 2558183.2366 | 1185056.2496
34 | 2558177.8368 | 1185075.1809 | 2558183.2366 | 1185056.2496
35 | 2558177.8368 | 1185075.1809 | 2558176.6039 | 1185079.5034 | 2558177.2977 | 1185082.6669 | 2558180.1694 | 1185084.0587 | 2558208.6671 | 1185088.9374
36 | 2558227.2098 | 1185092.1118 | 2558208.6671 | 1185088.9374

## bus_geodata
| x | y | coords
0 | 2558108.2198 | 1185121.2256
1 | 2558171.5616 | 1185128.2479
2 | 2558022.8626 | 1185111.7654
3 | 2558267.2796 | 1185133.0095
4 | 2558075.1059 | 1184992.512
5 | 2558271.5188 | 1185118.2164
6 | 2558097.9185 | 1184992.5409
7 | 2558075.5469 | 1184939.772
8 | 2558117.0251 | 1184992.596
9 | 2558095.9171 | 1185009.6444
10 | 2558092.1088 | 1185033.5471
11 | 2558126.6615 | 1184992.6238
12 | 2558128.8649 | 1184992.6301
13 | 2558148.8251 | 1184925.7088
14 | 2558168.6441 | 1184952.0175
15 | 2558186.9599 | 1184951.8509
16 | 2558208.7268 | 1184992.2093
17 | 2558187.9068 | 1184946.5771
18 | 2558218.6302 | 1184991.0102
19 | 2558193.6899 | 1184993.0705
20 | 2558140.3581 | 1184992.6632
21 | 2558146.8956 | 1184992.6821
22 | 2558227.7583 | 1184989.9049
23 | 2558159.5594 | 1184992.7185
24 | 2558193.3116 | 1185009.7647
25 | 2558240.7851 | 1184988.3276
26 | 2558256.3377 | 1184985.9065
27 | 2558243.5603 | 1185010.8426
28 | 2558255.0082 | 1184955.9968
29 | 2558255.2205 | 1185023.7236
30 | 2558186.5057 | 1185044.7885
31 | 2558193.1924 | 1185015.0281
32 | 2558185.7988 | 1185047.2665
33 | 2558185.7959 | 1185047.2769
34 | 2558183.2366 | 1185056.2496
35 | 2558177.8368 | 1185075.1809
36 | 2558208.6671 | 1185088.9374
37 | 2558227.2098 | 1185092.1118
38 | 2558208.7268 | 1184992.2093

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99129 | -0.061248 | 0.0024304 | 0.00060912
1 | 0.99092 | -0.063863 | 0.0027051 | 0.00067795
2 | 0.99208 | -0.055604 | 0 | 0
3 | 0.99073 | -0.065155 | 0 | 0
4 | 0.99352 | -0.045426 | 0 | 0
5 | 0.99071 | -0.065361 | 0.0013194 | 0.00033067
6 | 0.9941 | -0.041356 | 0 | 0
7 | 0.99267 | -0.051408 | 0.011206 | 0.0028084
8 | 0.99502 | -0.034886 | 0.00097131 | 0.00024343
9 | 0.99371 | -0.044117 | 0.0052187 | 0.0013079
10 | 0.99334 | -0.046718 | 0.010626 | 0.0026632
11 | 0.99549 | -0.031534 | 0.0044385 | 0.0011124
12 | 0.99562 | -0.030669 | 0.0023267 | 0.00058312
13 | 0.99514 | -0.03402 | 0.0019727 | 0.00049441
14 | 0.99527 | -0.033104 | 0.0056376 | 0.0014129
15 | 0.99547 | -0.031698 | 0 | 0
16 | 0.99877 | -0.0086101 | 0 | 0
17 | 0.99515 | -0.03395 | 0.04121 | 0.010328
18 | 0.99783 | -0.015195 | 0.0012591 | 0.00031557
19 | 1 | 0 | -0.18664 | -0.046665
20 | 0.9963 | -0.025894 | 0.0030519 | 0.00076487
21 | 0.99671 | -0.02298 | 0.0023913 | 0.00059931
22 | 0.99698 | -0.021159 | 0.045039 | 0.011288
23 | 0.99756 | -0.017038 | 0.0031484 | 0.00078907
24 | 0.99951 | -0.0034237 | 0.0025806 | 0.00064677
25 | 0.99661 | -0.023744 | 0 | 0
26 | 0.99624 | -0.026314 | 0 | 0
27 | 0.9965 | -0.02451 | 0.00080332 | 0.00020133
28 | 0.99554 | -0.031221 | 0.016285 | 0.0040813
29 | 0.99644 | -0.024949 | 0.0025179 | 0.00063104
30 | 0.99892 | -0.0075895 | 0.0024659 | 0.00061802
31 | 0.99938 | -0.004368 | 0.0074456 | 0.001866
32 | 0.99889 | -0.0077967 | 0.0018414 | 0.00046151
33 | 0.99889 | -0.0077973 | 0.0012523 | 0.00031386
34 | 0.99882 | -0.0082587 | 0.0013205 | 0.00033094
35 | 0.99872 | -0.0089718 | 0.0021664 | 0.00054296
36 | 0.99864 | -0.0095504 | 0.00045409 | 0.00011381
37 | 0.99861 | -0.0097377 | 0.00099362 | 0.00024903
38 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0040262 | 0.001007 | -0.0040247 | -0.0010073 | 1.4523e-06 | -2.627e-07 | 0.006043 | 0.0060433 | 0.0060433 | 0.99129 | -0.061248 | 0.99092 | -0.063863 | 2.2383
1 | -0.0064566 | -0.0016162 | 0.0064616 | 0.001617 | 5.0329e-06 | 8.2772e-07 | 0.0096913 | 0.0096909 | 0.0096913 | 0.99129 | -0.061248 | 0.99208 | -0.055604 | 3.5894
2 | 0.0013197 | 0.00032934 | -0.0013194 | -0.00033049 | 2.3488e-07 | -1.1445e-06 | 0.0019812 | 0.0019816 | 0.0019816 | 0.99092 | -0.063863 | 0.99073 | -0.065155 | 0.73394
3 | -0.0064616 | -0.001617 | 0.0064707 | 0.0016185 | 9.0796e-06 | 1.4885e-06 | 0.0096909 | 0.0096902 | 0.0096909 | 0.99208 | -0.055604 | 0.99352 | -0.045426 | 3.5892
4 | 0.0013194 | 0.00033049 | -0.0013194 | -0.00033067 | 3.7709e-08 | -1.8365e-07 | 0.0019816 | 0.0019817 | 0.0019817 | 0.99073 | -0.065155 | 0.99071 | -0.065361 | 0.73397
5 | -0.017686 | -0.0044297 | 0.017696 | 0.0044333 | 9.9576e-06 | 3.5351e-06 | 0.026487 | 0.026487 | 0.026487 | 0.99352 | -0.045426 | 0.9941 | -0.041356 | 9.81
6 | 0.011215 | 0.0028113 | -0.011206 | -0.0028084 | 9.2855e-06 | 2.8889e-06 | 0.016797 | 0.016797 | 0.016797 | 0.99352 | -0.045426 | 0.99267 | -0.051408 | 6.2212
7 | -0.03355 | -0.0084076 | 0.03358 | 0.0084189 | 3.0069e-05 | 1.1317e-05 | 0.050219 | 0.050219 | 0.050219 | 0.9941 | -0.041356 | 0.99502 | -0.034886 | 18.5998
8 | 0.015855 | 0.0039744 | -0.015849 | -0.0039722 | 6.0617e-06 | 2.1079e-06 | 0.023732 | 0.023733 | 0.023733 | 0.9941 | -0.041356 | 0.99371 | -0.044117 | 8.7898
9 | -0.034552 | -0.0086624 | 0.034568 | 0.0086684 | 1.6055e-05 | 6.0498e-06 | 0.051672 | 0.051672 | 0.051672 | 0.99502 | -0.034886 | 0.99549 | -0.031534 | 19.1378
10 | 0.01063 | 0.0026643 | -0.010626 | -0.0026632 | 3.8269e-06 | 1.1584e-06 | 0.015918 | 0.015918 | 0.015918 | 0.99371 | -0.044117 | 0.99334 | -0.046718 | 5.8955
11 | -0.039006 | -0.0097808 | 0.039011 | 0.0097826 | 4.6742e-06 | 1.7691e-06 | 0.058306 | 0.058306 | 0.058306 | 0.99549 | -0.031534 | 0.99562 | -0.030669 | 21.5949
12 | -0.041337 | -0.010366 | 0.041365 | 0.010376 | 2.7376e-05 | 1.038e-05 | 0.061784 | 0.061784 | 0.061784 | 0.99562 | -0.030669 | 0.9963 | -0.025894 | 22.8828
13 | -0.0019727 | -0.00049441 | 0.001973 | 0.00049391 | 2.4993e-07 | -5.0205e-07 | 0.0029498 | 0.0029495 | 0.0029498 | 0.99514 | -0.03402 | 0.99527 | -0.033104 | 1.0925
14 | -0.0076106 | -0.0019068 | 0.0076121 | 0.0019072 | 1.4797e-06 | 3.3104e-07 | 0.011378 | 0.011378 | 0.011378 | 0.99527 | -0.033104 | 0.99547 | -0.031698 | 4.2142
15 | -0.048835 | -0.01224 | 0.048992 | 0.0123 | 0.00015663 | 5.9627e-05 | 0.072998 | 0.072998 | 0.072998 | 0.99547 | -0.031698 | 0.99877 | -0.0086101 | 27.0364
16 | 0.041223 | 0.010333 | -0.04121 | -0.010328 | 1.2847e-05 | 4.8708e-06 | 0.06162 | 0.06162 | 0.06162 | 0.99547 | -0.031698 | 0.99515 | -0.03395 | 22.8223
17 | 0.066042 | 0.016569 | -0.065981 | -0.016546 | 6.0271e-05 | 2.3051e-05 | 0.098398 | 0.098399 | 0.098399 | 0.99877 | -0.0086101 | 0.99783 | -0.015195 | 36.4439
18 | -0.11503 | -0.028869 | 0.11517 | 0.028921 | 0.00013765 | 5.2548e-05 | 0.1714 | 0.1714 | 0.1714 | 0.99877 | -0.0086101 | 1 | 0 | 31.7401
19 | 0.064722 | 0.01623 | -0.064669 | -0.01621 | 5.3453e-05 | 2.0439e-05 | 0.096521 | 0.096521 | 0.096521 | 0.99783 | -0.015195 | 0.99698 | -0.021159 | 35.7485
20 | 0.050132 | 0.012596 | -0.050013 | -0.012551 | 0.00011856 | 4.5153e-05 | 0.074608 | 0.074608 | 0.074608 | 1 | 0 | 0.99756 | -0.017038 | 27.6326
21 | 0.020538 | 0.0051479 | -0.020529 | -0.0051444 | 9.7322e-06 | 3.5242e-06 | 0.030562 | 0.030562 | 0.030562 | 1 | 0 | 0.99951 | -0.0034237 | 11.3191
22 | -0.044417 | -0.011141 | 0.044435 | 0.011148 | 1.7954e-05 | 6.8204e-06 | 0.066342 | 0.066342 | 0.066342 | 0.9963 | -0.025894 | 0.99671 | -0.02298 | 24.571
23 | -0.046826 | -0.011747 | 0.046865 | 0.011762 | 3.8623e-05 | 1.469e-05 | 0.069912 | 0.069912 | 0.069912 | 0.99671 | -0.02298 | 0.99756 | -0.017038 | 25.8932
24 | 0.01963 | 0.0049218 | -0.019623 | -0.0049192 | 7.0291e-06 | 2.5324e-06 | 0.029299 | 0.029299 | 0.029299 | 0.99698 | -0.021159 | 0.99661 | -0.023744 | 10.8516
25 | 0.017948 | 0.0044976 | -0.017946 | -0.0044968 | 2.3454e-06 | 8.331e-07 | 0.02672 | 0.02672 | 0.02672 | 0.99951 | -0.0034237 | 0.99938 | -0.004368 | 9.8962
26 | 0.016302 | 0.0040872 | -0.016296 | -0.0040852 | 5.8022e-06 | 2.0272e-06 | 0.02434 | 0.02434 | 0.02434 | 0.99661 | -0.023744 | 0.99624 | -0.026314 | 9.0149
27 | 0.0033217 | 0.00083204 | -0.0033213 | -0.0008322 | 3.5155e-07 | -1.6322e-07 | 0.0049594 | 0.0049595 | 0.0049595 | 0.99661 | -0.023744 | 0.9965 | -0.02451 | 1.8369
28 | 0.016296 | 0.0040852 | -0.016285 | -0.0040813 | 1.1068e-05 | 3.8674e-06 | 0.02434 | 0.02434 | 0.02434 | 0.99624 | -0.026314 | 0.99554 | -0.031221 | 9.0149
29 | 0.002518 | 0.00063087 | -0.0025179 | -0.00063104 | 1.5328e-07 | -1.6739e-07 | 0.0037599 | 0.00376 | 0.00376 | 0.9965 | -0.02451 | 0.99644 | -0.024949 | 1.3926
30 | -0.010495 | -0.0026293 | 0.0105 | 0.0026307 | 4.6784e-06 | 1.3976e-06 | 0.015634 | 0.015634 | 0.015634 | 0.99892 | -0.0075895 | 0.99938 | -0.004368 | 5.7903
31 | 0.0080294 | 0.0020113 | -0.0080292 | -0.0020113 | 2.3002e-07 | 5.4737e-08 | 0.01196 | 0.01196 | 0.01196 | 0.99892 | -0.0075895 | 0.99889 | -0.0077967 | 4.4298
32 | 0.0061877 | 0.0015498 | -0.0061877 | -0.0015498 | 5.7286e-10 | 8.5883e-11 | 0.0092173 | 0.0092173 | 0.0092173 | 0.99889 | -0.0077967 | 0.99889 | -0.0077973 | 3.4138
33 | 0.0049354 | 0.0012359 | -0.0049351 | -0.0012359 | 3.1469e-07 | -1.0952e-09 | 0.0073518 | 0.0073519 | 0.0073519 | 0.99889 | -0.0077973 | 0.99882 | -0.0082587 | 2.7229
34 | 0.0036147 | 0.00090496 | -0.0036143 | -0.00090508 | 3.5619e-07 | -1.2064e-07 | 0.0053847 | 0.0053848 | 0.0053848 | 0.99882 | -0.0082587 | 0.99872 | -0.0089718 | 1.9944
35 | 0.0014479 | 0.00036212 | -0.0014477 | -0.0003626 | 1.1566e-07 | -4.7677e-07 | 0.0021569 | 0.0021571 | 0.0021571 | 0.99872 | -0.0089718 | 0.99864 | -0.0095504 | 0.79893
36 | 0.00099365 | 0.00024879 | -0.00099362 | -0.00024903 | 2.5732e-08 | -2.3623e-07 | 0.0014805 | 0.0014806 | 0.0014806 | 0.99864 | -0.0095504 | 0.99861 | -0.0097377 | 0.54836

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18664 | 0.046665

## res_load
| p_mw | q_mvar
0 | 0.0024304 | 0.00060912
1 | 0.0027051 | 0.00067795
2 | 0.0013194 | 0.00033067
3 | 0.011206 | 0.0028084
4 | 0.00097131 | 0.00024343
5 | 0.0052187 | 0.0013079
6 | 0.010626 | 0.0026632
7 | 0.0044385 | 0.0011124
8 | 0.0023267 | 0.00058312
9 | 0.0019727 | 0.00049441
10 | 0.0056376 | 0.0014129
11 | 0.04121 | 0.010328
12 | 0.0012591 | 0.00031557
13 | 0.0030519 | 0.00076487
14 | 0.0023913 | 0.00059931
15 | 0.045039 | 0.011288
16 | 0.0031484 | 0.00078907
17 | 0.0025806 | 0.00064677
18 | 0.00080332 | 0.00020133
19 | 0.016285 | 0.0040813
20 | 0.0025179 | 0.00063104
21 | 0.0024659 | 0.00061802
22 | 0.0074456 | 0.001866
23 | 0.0018414 | 0.00046151
24 | 0.0012523 | 0.00031386
25 | 0.0013205 | 0.00033094
26 | 0.0021664 | 0.00054296
27 | 0.00045409 | 0.00011381
28 | 0.00099362 | 0.00024903

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1