## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2011-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2011-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2011-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2011-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2011-3_0_4_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_2011-3_0_4_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_2011-3_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2011-3_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2011-3_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2011-3_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2011-3_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2011-3_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2011-3_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2011-3_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2011-3_0_4_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_2011-3_0_4_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_2011-3_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_2011-3_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2011-3_0_4_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_2011-3_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2011-3_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2011-3_0_4_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_2011-3_0_4_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_2011-3_0_4_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_2011-3_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_2011-3_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2011-3_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2011-3_0_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_2011-3_0_4_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_2011-3_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2011-3_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2011-3_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2011-3_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2011-3_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2011-3_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_2011-3_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_2011-3_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_2011-3_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2011-3_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2011-3_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2011-3_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2011-3_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2011-3_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2011-3_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_2011-3_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2011-3_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_2011-3_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_2011-3_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_2011-3_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2011-3_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_2011-3_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_2011-3_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_2011-3_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_2011-3_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_MV_454_2_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2011-3_0_4_load_0 | 0 | 0.0049715 | 0.001246 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2011-3_0_4_load_2 | 2 | 0.0011942 | 0.0002993 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2011-3_0_4_load_19 | 4 | 0.0058458 | 0.0014651 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2011-3_0_4_load_18 | 5 | 0.0039213 | 0.00098277 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2011-3_0_4_load_4 | 6 | 0.0083254 | 0.0020865 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2011-3_0_4_load_5 | 7 | 0.012107 | 0.0030344 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2011-3_0_4_load_8 | 10 | 0.01445 | 0.0036215 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2011-3_0_4_load_9 | 11 | 0.057497 | 0.01441 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2011-3_0_4_load_55 | 15 | 0.021557 | 0.0054028 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2011-3_0_4_load_12 | 17 | 0.00495 | 0.0012406 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2011-3_0_4_load_53 | 18 | 0.0054901 | 0.0013759 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2011-3_0_4_load_13 | 19 | 0.0023168 | 0.00058065 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2011-3_0_4_load_15 | 20 | 0.0023109 | 0.00057916 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2011-3_0_4_load_49 | 21 | 0.0032931 | 0.00082534 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2011-3_0_4_load_48 | 22 | 0.0044153 | 0.0011066 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2011-3_0_4_load_21 | 24 | 0.0020289 | 0.00050849 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2011-3_0_4_load_22 | 26 | 0.0074945 | 0.0018783 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2011-3_0_4_load_52 | 27 | 0.0031931 | 0.00080027 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2011-3_0_4_load_50 | 28 | 0.00437 | 0.0010952 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2011-3_0_4_load_23 | 29 | 0.00095357 | 0.00023899 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2011-3_0_4_load_24 | 30 | 0.0015074 | 0.00037778 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2011-3_0_4_load_25 | 31 | 0.014563 | 0.0036497 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2011-3_0_4_load_33 | 33 | 0.00092389 | 0.00023155 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2011-3_0_4_load_38 | 35 | 0.00067759 | 0.00016982 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2011-3_0_4_load_51 | 37 | 0.00066318 | 0.00016621 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2011-3_0_4_load_27 | 38 | 0.0026224 | 0.00065723 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2011-3_0_4_load_29 | 40 | 0.0045422 | 0.0011384 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2011-3_0_4_load_31 | 42 | 0.0062484 | 0.001566 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2011-3_0_4_load_32 | 43 | 0.0063275 | 0.0015858 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2011-3_0_4_load_35 | 44 | 0.0032786 | 0.00082169 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2011-3_0_4_load_36 | 45 | 0.00086062 | 0.00021569 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2011-3_0_4_load_37 | 46 | 0.00069441 | 0.00017403 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2011-3_0_4_load_40 | 47 | 0.0008971 | 0.00022483 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2011-3_0_4_load_39 | 48 | 0.0020346 | 0.00050991 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2011-3_0_4_load_41 | 49 | 0.0041244 | 0.0010337 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2011-3_0_4_load_43 | 50 | 0.0075426 | 0.0018904 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2011-3_0_4_load_45 | 51 | 0.00252 | 0.00063156 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2011-3_0_4_load_44 | 52 | 0.0016628 | 0.00041674 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2011-3_0_4_load_46 | 53 | 0.0044592 | 0.0011176 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2011-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.068494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2011-3_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.054466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2011-3_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.04257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2011-3_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.086993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2011-3_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.022504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2011-3_0_4_line_5 | NAYY 4x150 SE | 5 | 25 | 0.014635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_2011-3_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.033318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2011-3_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.044797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2011-3_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.034725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2011-3_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.028107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2011-3_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.023009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2011-3_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.061305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2011-3_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.008396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_2011-3_0_4_line_13 | NAYY 4x150 SE | 9 | 14 | 0.027883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2011-3_0_4_line_14 | NAYY 4x150 SE | 12 | 15 | 0.022324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2011-3_0_4_line_15 | NAYY 4x150 SE | 13 | 16 | 0.020717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_2011-3_0_4_line_16 | NAYY 4x150 SE | 13 | 17 | 0.019567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2011-3_0_4_line_17 | NAYY 4x150 SE | 14 | 18 | 0.0056005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2011-3_0_4_line_18 | NAYY 4x150 SE | 16 | 21 | 0.012949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2011-3_0_4_line_19 | NAYY 4x150 SE | 16 | 22 | 0.012766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_2011-3_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.011669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2011-3_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.014087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2011-3_0_4_line_22 | NAYY 4x150 SE | 21 | 23 | 0.017175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2011-3_0_4_line_23 | NAYY 4x150 SE | 22 | 24 | 0.022422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_2011-3_0_4_line_24 | NAYY 4x150 SE | 23 | 51 | 0.011829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2011-3_0_4_line_25 | NAYY 4x150 SE | 23 | 50 | 0.00096709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2011-3_0_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0088443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_2011-3_0_4_line_27 | NAYY 4x150 SE | 25 | 26 | 0.015958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2011-3_0_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.017252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2011-3_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0019308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2011-3_0_4_line_30 | NAYY 4x150 SE | 28 | 37 | 0.022256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2011-3_0_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.045959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2011-3_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.010136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2011-3_0_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.014838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2011-3_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.017943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2011-3_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.006767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2011-3_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.0051611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2011-3_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.031759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2011-3_0_4_line_38 | NAYY 4x150 SE | 34 | 37 | 0.028488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2011-3_0_4_line_39 | NAYY 4x150 SE | 35 | 46 | 0.011129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2011-3_0_4_line_40 | NAYY 4x150 SE | 36 | 47 | 0.040063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2011-3_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.036111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2011-3_0_4_line_42 | NAYY 4x150 SE | 38 | 40 | 0.0037596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2011-3_0_4_line_43 | NAYY 4x150 SE | 39 | 41 | 0.039398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2011-3_0_4_line_44 | NAYY 4x150 SE | 39 | 42 | 0.016332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2011-3_0_4_line_45 | NAYY 4x150 SE | 41 | 43 | 0.05576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2011-3_0_4_line_46 | NAYY 4x150 SE | 42 | 44 | 0.0021524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2011-3_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.012631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2011-3_0_4_line_48 | NAYY 4x150 SE | 45 | 46 | 0.023206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2011-3_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.010452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2011-3_0_4_line_50 | NAYY 4x150 SE | 48 | 49 | 0.010504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2011-3_0_4_line_51 | NAYY 4x150 SE | 51 | 52 | 0.0067884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2011-3_0_4_line_52 | NAYY 4x150 SE | 52 | 53 | 0.009538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2011-3_0_4_trafo_18 | 0.25 MVA 20/0.4 kV | 54 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2558298.861 | 1184982.2188 | 2558298.9176 | 1184988.1438 | 2558300.3589 | 1184990.1682 | 2558304.8807 | 1184991.7708 | 2558323.2981 | 1184990.8307 | 2558326.5749 | 1184991.2081 | 2558329.4567 | 1184994.0451 | 2558330.7367 | 1185001.3846 | 2558332.632 | 1185008.3084 | 2558334.2765 | 1185009.9312 | 2558344.9612 | 1185015.3707 | 2558345.2441 | 1185015.8698
1 | 2558298.861 | 1184982.2188 | 2558311.4571 | 1184981.575 | 2558336.6856 | 1184982.1883 | 2558352.9967 | 1184985.3631
2 | 2558256.3377 | 1184985.9065 | 2558287.0888 | 1184982.8124 | 2558298.861 | 1184982.2188
3 | 2558256.3377 | 1184985.9065 | 2558252.4748 | 1184898.9996
4 | 2558252.4748 | 1184898.9996 | 2558251.7643 | 1184883.0163 | 2558252.882 | 1184876.6083
5 | 2558255.3967 | 1184862.1908 | 2558252.882 | 1184876.6083
6 | 2558214.8223 | 1184873.0844 | 2558215.3121 | 1184862.2042 | 2558218.0591 | 1184847.9329 | 2558219.9549 | 1184840.2702
7 | 2558185.5983 | 1184888.1816 | 2558214.09 | 1184889.3496 | 2558214.8223 | 1184873.0844
8 | 2558228.2948 | 1184806.5612 | 2558219.9549 | 1184840.2702
9 | 2558187.982 | 1184860.1832 | 2558186.1274 | 1184883.0863 | 2558185.5983 | 1184888.1816
10 | 2558185.5983 | 1184888.1816 | 2558190.2841 | 1184910.7085
11 | 2558137.4376 | 1184864.0502 | 2558136.6741 | 1184869.4584 | 2558150.2972 | 1184877.0116 | 2558155.7927 | 1184885.7556 | 2558159.1713 | 1184886.4879 | 2558173.5647 | 1184887.4321 | 2558185.5983 | 1184888.1816
12 | 2558236.0642 | 1184809.7975 | 2558228.2948 | 1184806.5612
13 | 2558202.521 | 1184795.7467 | 2558228.2948 | 1184806.5612
14 | 2558137.4376 | 1184864.0502 | 2558140.3149 | 1184864.03 | 2558143.5751 | 1184865.2967 | 2558145.4433 | 1184867.2292 | 2558152.047 | 1184868.5725 | 2558158.6268 | 1184868.6932
15 | 2558255.0136 | 1184818.292 | 2558236.0642 | 1184809.7975
16 | 2558236.0642 | 1184809.7975 | 2558246.5853 | 1184793.3002
17 | 2558202.521 | 1184795.7467 | 2558197.3522 | 1184793.5904
18 | 2558255.0136 | 1184818.292 | 2558266.8156 | 1184823.619
19 | 2558255.0136 | 1184818.292 | 2558256.3597 | 1184830.987
20 | 2558246.5853 | 1184793.3002 | 2558252.86 | 1184783.4613
21 | 2558260.4344 | 1184771.5845 | 2558252.86 | 1184783.4613
22 | 2558282.4697 | 1184830.6847 | 2558266.8156 | 1184823.619
23 | 2558256.3597 | 1184830.987 | 2558256.8276 | 1184835.3996 | 2558255.8684 | 1184853.3591
24 | 2558282.4697 | 1184830.6847 | 2558287.8087 | 1184820.1292
25 | 2558283.2734 | 1184831.2226 | 2558282.4697 | 1184830.6847
26 | 2558255.3967 | 1184862.1908 | 2558255.8684 | 1184853.3591
27 | 2558255.3967 | 1184862.1908 | 2558271.2099 | 1184864.3357
28 | 2558271.2099 | 1184864.3357 | 2558287.2764 | 1184866.515 | 2558288.3025 | 1184866.3559
29 | 2558290.2105 | 1184866.0601 | 2558288.3025 | 1184866.3559
30 | 2558290.2105 | 1184866.0601 | 2558305.6732 | 1184863.6628 | 2558312.1991 | 1184864.7037
31 | 2558338.9479 | 1184885.618 | 2558336.9931 | 1184889.5028 | 2558320.4681 | 1184927.6913
32 | 2558316.4427 | 1184936.9939 | 2558320.4681 | 1184927.6913
33 | 2558346.1565 | 1184872.6632 | 2558342.2476 | 1184879.0605 | 2558338.9479 | 1184885.618
34 | 2558346.1565 | 1184872.6632 | 2558361.5751 | 1184881.8393
35 | 2558340.3318 | 1184869.1908 | 2558346.1565 | 1184872.6632
36 | 2558366.0102 | 1184884.4788 | 2558361.5751 | 1184881.8393
37 | 2558313.7864 | 1184851.6442 | 2558340.3318 | 1184869.1908
38 | 2558340.3318 | 1184869.1908 | 2558312.1991 | 1184864.7037
39 | 2558375.5741 | 1184890.1706 | 2558366.0102 | 1184884.4788
40 | 2558313.7864 | 1184851.6442 | 2558318.8341 | 1184844.3828 | 2558327.0976 | 1184839.6782 | 2558342.8814 | 1184836.422 | 2558347.5229 | 1184833.2991
41 | 2558416.922 | 1184925.1654 | 2558391.6776 | 1184950.9865
42 | 2558389.0494 | 1184953.6748 | 2558391.6776 | 1184950.9865
43 | 2558437.3956 | 1184958.6521 | 2558426.2777 | 1184937.0289 | 2558416.922 | 1184925.1654
44 | 2558416.922 | 1184925.1654 | 2558414.3887 | 1184921.959 | 2558405.051 | 1184914.0363
45 | 2558437.3956 | 1184958.6521 | 2558410.8051 | 1184976.1799 | 2558407.6352 | 1184976.9135 | 2558403.9434 | 1184976.1165 | 2558400.8612 | 1184974.1036 | 2558391.2882 | 1184965.0151
46 | 2558405.051 | 1184914.0363 | 2558403.4098 | 1184912.6437
47 | 2558403.4098 | 1184912.6437 | 2558393.7782 | 1184904.4716
48 | 2558375.5741 | 1184890.1706 | 2558380.0929 | 1184892.8599 | 2558393.7782 | 1184904.4716
49 | 2558352.7281 | 1184824.5247 | 2558351.5211 | 1184828.7576 | 2558347.5229 | 1184833.2991
50 | 2558349.2199 | 1184815.0663 | 2558352.3015 | 1184819.1693 | 2558352.7281 | 1184824.5247
51 | 2558290.8727 | 1184814.0715 | 2558287.8087 | 1184820.1292
52 | 2558295.1777 | 1184805.5603 | 2558290.8727 | 1184814.0715

## bus_geodata
| x | y | coords
0 | 2558345.2441 | 1185015.8698
1 | 2558298.861 | 1184982.2188
2 | 2558352.9967 | 1184985.3631
3 | 2558256.3377 | 1184985.9065
4 | 2558252.4748 | 1184898.9996
5 | 2558252.882 | 1184876.6083
6 | 2558214.8223 | 1184873.0844
7 | 2558219.9549 | 1184840.2702
8 | 2558185.5983 | 1184888.1816
9 | 2558228.2948 | 1184806.5612
10 | 2558187.982 | 1184860.1832
11 | 2558190.2841 | 1184910.7085
12 | 2558137.4376 | 1184864.0502
13 | 2558236.0642 | 1184809.7975
14 | 2558202.521 | 1184795.7467
15 | 2558158.6268 | 1184868.6932
16 | 2558255.0136 | 1184818.292
17 | 2558246.5853 | 1184793.3002
18 | 2558197.3522 | 1184793.5904
19 | 2558252.86 | 1184783.4613
20 | 2558260.4344 | 1184771.5845
21 | 2558266.8156 | 1184823.619
22 | 2558256.3597 | 1184830.987
23 | 2558282.4697 | 1184830.6847
24 | 2558255.8684 | 1184853.3591
25 | 2558255.3967 | 1184862.1908
26 | 2558271.2099 | 1184864.3357
27 | 2558288.3025 | 1184866.3559
28 | 2558290.2105 | 1184866.0601
29 | 2558320.4681 | 1184927.6914
30 | 2558338.9479 | 1184885.618
31 | 2558316.4427 | 1184936.9939
32 | 2558346.1565 | 1184872.6632
33 | 2558361.5751 | 1184881.8393
34 | 2558340.3318 | 1184869.1908
35 | 2558366.0102 | 1184884.4788
36 | 2558313.7864 | 1184851.6442
37 | 2558312.1991 | 1184864.7037
38 | 2558391.6776 | 1184950.9865
39 | 2558416.922 | 1184925.1654
40 | 2558389.0494 | 1184953.6748
41 | 2558437.3956 | 1184958.6521
42 | 2558405.051 | 1184914.0363
43 | 2558391.2882 | 1184965.0151
44 | 2558403.4098 | 1184912.6437
45 | 2558393.7782 | 1184904.4716
46 | 2558375.5741 | 1184890.1706
47 | 2558347.5229 | 1184833.2991
48 | 2558352.7281 | 1184824.5247
49 | 2558349.2199 | 1184815.0663
50 | 2558283.2734 | 1184831.2226
51 | 2558287.8087 | 1184820.1292
52 | 2558290.8727 | 1184814.0715
53 | 2558295.1777 | 1184805.5602
54 | 2558255.3967 | 1184862.1908

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99799 | -0.014129 | 0.0049715 | 0.001246
1 | 0.99847 | -0.010716 | 0 | 0
2 | 0.99838 | -0.011369 | 0.0011942 | 0.0002993
3 | 0.99885 | -0.0080837 | 0 | 0
4 | 0.99961 | -0.0027046 | 0.0058458 | 0.0014651
5 | 1 | 0 | -0.23685 | -0.059562
6 | 0.9856 | -0.10033 | 0.0083254 | 0.0020865
7 | 0.99055 | -0.065637 | 0.012107 | 0.0030344
8 | 0.97949 | -0.14364 | 0 | 0
9 | 0.99343 | -0.045568 | 0 | 0
10 | 0.9789 | -0.14787 | 0.01445 | 0.0036215
11 | 0.97757 | -0.15743 | 0.057497 | 0.01441
12 | 0.97757 | -0.15742 | 0 | 0
13 | 0.99391 | -0.042189 | 0 | 0
14 | 0.99321 | -0.047117 | 0 | 0
15 | 0.97686 | -0.16245 | 0.021557 | 0.0054028
16 | 0.99521 | -0.033198 | 0 | 0
17 | 0.99364 | -0.044084 | 0.00495 | 0.0012406
18 | 0.99316 | -0.047429 | 0.0054901 | 0.0013759
19 | 0.99357 | -0.04463 | 0.0023168 | 0.00058065
20 | 0.99352 | -0.044959 | 0.0023109 | 0.00057916
21 | 0.99484 | -0.035741 | 0.0032931 | 0.00082534
22 | 0.99612 | -0.026834 | 0.0044153 | 0.0011066
23 | 0.99445 | -0.038545 | 0 | 0
24 | 0.99778 | -0.015355 | 0.0020289 | 0.00050849
25 | 0.99844 | -0.010777 | 0 | 0
26 | 0.99693 | -0.021341 | 0.0074945 | 0.0018783
27 | 0.99547 | -0.031495 | 0.0031931 | 0.00080027
28 | 0.99532 | -0.032571 | 0.00437 | 0.0010952
29 | 0.98981 | -0.071324 | 0.00095357 | 0.00023899
30 | 0.99084 | -0.064066 | 0.0015074 | 0.00037778
31 | 0.9896 | -0.072828 | 0.014563 | 0.0036497
32 | 0.9912 | -0.061498 | 0 | 0
33 | 0.99053 | -0.066276 | 0.00092389 | 0.00023155
34 | 0.99162 | -0.058528 | 0 | 0
35 | 0.99034 | -0.067603 | 0.00067759 | 0.00016982
36 | 0.9913 | -0.060806 | 0 | 0
37 | 0.99369 | -0.044016 | 0.00066318 | 0.00016621
38 | 0.98797 | -0.084343 | 0.0026224 | 0.00065723
39 | 0.98835 | -0.081698 | 0 | 0
40 | 0.98795 | -0.084518 | 0.0045422 | 0.0011384
41 | 0.98799 | -0.084249 | 0 | 0
42 | 0.98866 | -0.079445 | 0.0062484 | 0.001566
43 | 0.98748 | -0.08786 | 0.0063275 | 0.0015858
44 | 0.98872 | -0.079011 | 0.0032786 | 0.00082169
45 | 0.98914 | -0.076042 | 0.00086062 | 0.00021569
46 | 0.98994 | -0.07039 | 0.00069441 | 0.00017403
47 | 0.9909 | -0.063679 | 0.0008971 | 0.00022483
48 | 0.9908 | -0.064334 | 0.0020346 | 0.00050991
49 | 0.99074 | -0.064775 | 0.0041244 | 0.0010337
50 | 0.99444 | -0.038619 | 0.0075426 | 0.0018904
51 | 0.9943 | -0.039578 | 0.00252 | 0.00063156
52 | 0.99424 | -0.039997 | 0.0016628 | 0.00041674
53 | 0.99418 | -0.040427 | 0.0044592 | 0.0011176
54 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0049715 | -0.001246 | 0.0049739 | 0.001246 | 2.3483e-06 | 7.7944e-09 | 0.0074126 | 0.0074123 | 0.0074126 | 0.99799 | -0.014129 | 0.99847 | -0.010716 | 2.7454
1 | 0.0011943 | 0.00029863 | -0.0011942 | -0.0002993 | 1.0766e-07 | -6.709e-07 | 0.0017797 | 0.0017799 | 0.0017799 | 0.99847 | -0.010716 | 0.99838 | -0.011369 | 0.65922
2 | -0.0061682 | -0.0015446 | 0.0061704 | 0.0015449 | 2.2444e-06 | 3.0623e-07 | 0.009192 | 0.0091918 | 0.009192 | 0.99847 | -0.010716 | 0.99885 | -0.0080837 | 3.4044
3 | -0.0061704 | -0.0015449 | 0.006175 | 0.0015455 | 4.5861e-06 | 6.2437e-07 | 0.0091918 | 0.0091914 | 0.0091918 | 0.99885 | -0.0080837 | 0.99961 | -0.0027046 | 3.4044
4 | -0.012021 | -0.0030107 | 0.012025 | 0.0030121 | 4.496e-06 | 1.4341e-06 | 0.017893 | 0.017893 | 0.017893 | 0.99961 | -0.0027046 | 1 | 0 | 6.6272
5 | 0.22403 | 0.05655 | -0.22369 | -0.05642 | 0.00033857 | 0.00012964 | 0.3335 | 0.3335 | 0.3335 | 1 | 0 | 0.99844 | -0.010777 | 41.1726
6 | -0.10257 | -0.025804 | 0.10307 | 0.025995 | 0.0004988 | 0.00019142 | 0.15489 | 0.15489 | 0.15489 | 0.9856 | -0.10033 | 0.99055 | -0.065637 | 57.3673
7 | 0.094246 | 0.023717 | -0.09368 | -0.0235 | 0.00056622 | 0.00021721 | 0.14232 | 0.14232 | 0.14232 | 0.9856 | -0.10033 | 0.97949 | -0.14364 | 52.7121
8 | -0.11518 | -0.02903 | 0.1155 | 0.029154 | 0.00032456 | 0.00012393 | 0.17308 | 0.17308 | 0.17308 | 0.99055 | -0.065637 | 0.99343 | -0.045568 | 32.0518
9 | 0.014459 | 0.0036244 | -0.01445 | -0.0036215 | 8.4621e-06 | 2.9011e-06 | 0.021965 | 0.021965 | 0.021965 | 0.97949 | -0.14364 | 0.9789 | -0.14787 | 8.1353
10 | 0.057607 | 0.014452 | -0.057497 | -0.01441 | 0.00010998 | 4.201e-05 | 0.08752 | 0.087521 | 0.087521 | 0.97949 | -0.14364 | 0.97757 | -0.15743 | 32.415
11 | 0.021614 | 0.0054234 | -0.021572 | -0.0054083 | 4.1249e-05 | 1.5095e-05 | 0.032837 | 0.032837 | 0.032837 | 0.97949 | -0.14364 | 0.97757 | -0.15742 | 12.162
12 | -0.12099 | -0.03053 | 0.12105 | 0.030551 | 5.7406e-05 | 2.1753e-05 | 0.1813 | 0.1813 | 0.1813 | 0.99343 | -0.045568 | 0.99391 | -0.042189 | 22.3833
13 | 0.0054915 | 0.001376 | -0.0054903 | -0.001376 | 1.1772e-06 | 9.183e-08 | 0.0082254 | 0.0082255 | 0.0082255 | 0.99343 | -0.045568 | 0.99321 | -0.047117 | 3.0465
14 | 0.021572 | 0.0054083 | -0.021557 | -0.0054028 | 1.5021e-05 | 5.4976e-06 | 0.032837 | 0.032837 | 0.032837 | 0.97757 | -0.15742 | 0.97686 | -0.16245 | 12.162
15 | -0.13063 | -0.032952 | 0.1308 | 0.033015 | 0.00016495 | 6.2634e-05 | 0.19565 | 0.19565 | 0.19565 | 0.99391 | -0.042189 | 0.99521 | -0.033198 | 24.1541
16 | 0.0095807 | 0.002401 | -0.0095782 | -0.0024002 | 2.512e-06 | 7.1263e-07 | 0.014343 | 0.014344 | 0.014344 | 0.99391 | -0.042189 | 0.99364 | -0.044084 | 5.3124
17 | 0.0054903 | 0.001376 | -0.0054901 | -0.0013759 | 2.3645e-07 | 1.8466e-08 | 0.0082255 | 0.0082255 | 0.0082255 | 0.99321 | -0.047117 | 0.99316 | -0.047429 | 3.0465
18 | 0.019493 | 0.0048866 | -0.019486 | -0.0048841 | 6.8637e-06 | 2.4717e-06 | 0.029146 | 0.029146 | 0.029146 | 0.99521 | -0.033198 | 0.99484 | -0.035741 | 10.7948
19 | -0.15029 | -0.037902 | 0.15042 | 0.037953 | 0.00013418 | 5.111e-05 | 0.22479 | 0.22479 | 0.22479 | 0.99521 | -0.033198 | 0.99612 | -0.026834 | 27.7523
20 | 0.0046282 | 0.0011597 | -0.0046278 | -0.0011597 | 3.4978e-07 | -1.6611e-08 | 0.0069308 | 0.0069308 | 0.0069308 | 0.99364 | -0.044084 | 0.99357 | -0.04463 | 2.567
21 | 0.002311 | 0.00057902 | -0.0023109 | -0.00057916 | 1.0529e-07 | -1.4193e-07 | 0.003461 | 0.0034611 | 0.0034611 | 0.99357 | -0.04463 | 0.99352 | -0.044959 | 1.2819
22 | 0.016193 | 0.0040588 | -0.016187 | -0.0040566 | 6.2869e-06 | 2.1951e-06 | 0.02422 | 0.02422 | 0.02422 | 0.99484 | -0.035741 | 0.99445 | -0.038545 | 8.9705
23 | -0.15484 | -0.039059 | 0.15509 | 0.039154 | 0.00024971 | 9.5164e-05 | 0.23139 | 0.23139 | 0.23139 | 0.99612 | -0.026834 | 0.99778 | -0.015355 | 28.5665
24 | 0.0086439 | 0.0021662 | -0.0086426 | -0.0021659 | 1.2348e-06 | 3.2148e-07 | 0.012934 | 0.012934 | 0.012934 | 0.99445 | -0.038545 | 0.9943 | -0.039578 | 4.7904
25 | 0.0075427 | 0.0018904 | -0.0075426 | -0.0018904 | 7.687e-08 | 1.7018e-08 | 0.011286 | 0.011286 | 0.011286 | 0.99445 | -0.038545 | 0.99444 | -0.038619 | 4.1801
26 | -0.15712 | -0.039663 | 0.15722 | 0.039701 | 0.00010109 | 3.8533e-05 | 0.23441 | 0.23441 | 0.23441 | 0.99778 | -0.015355 | 0.99844 | -0.010777 | 28.94
27 | 0.06647 | 0.016719 | -0.066372 | -0.016682 | 9.7762e-05 | 3.7392e-05 | 0.099084 | 0.099084 | 0.099084 | 0.99844 | -0.010777 | 0.99693 | -0.021341 | 36.6977
28 | 0.058878 | 0.014803 | -0.058794 | -0.014771 | 8.3172e-05 | 3.1765e-05 | 0.087898 | 0.087898 | 0.087898 | 0.99693 | -0.021341 | 0.99547 | -0.031495 | 32.5547
29 | 0.055601 | 0.013971 | -0.055593 | -0.013968 | 8.325e-06 | 3.1768e-06 | 0.083125 | 0.083125 | 0.083125 | 0.99547 | -0.031495 | 0.99532 | -0.032571 | 30.7869
30 | 0.051223 | 0.012873 | -0.051142 | -0.012842 | 8.1469e-05 | 3.1045e-05 | 0.076591 | 0.076592 | 0.076592 | 0.99532 | -0.032571 | 0.99369 | -0.044016 | 28.3673
31 | -0.015519 | -0.0038898 | 0.015535 | 0.0038952 | 1.561e-05 | 5.4126e-06 | 0.023331 | 0.02333 | 0.023331 | 0.98981 | -0.071324 | 0.99084 | -0.064066 | 8.641
32 | 0.014566 | 0.0036508 | -0.014563 | -0.0036497 | 3.0327e-06 | 1.0362e-06 | 0.021897 | 0.021897 | 0.021897 | 0.98981 | -0.071324 | 0.9896 | -0.072828 | 8.1101
33 | -0.017042 | -0.004273 | 0.017048 | 0.0042751 | 6.0651e-06 | 2.1416e-06 | 0.025594 | 0.025594 | 0.025594 | 0.99084 | -0.064066 | 0.9912 | -0.061498 | 9.4793
34 | 0.026249 | 0.0065855 | -0.026231 | -0.0065791 | 1.7387e-05 | 6.4563e-06 | 0.039408 | 0.039408 | 0.039408 | 0.9912 | -0.061498 | 0.99053 | -0.066276 | 14.5955
35 | -0.043297 | -0.010861 | 0.043315 | 0.010867 | 1.7842e-05 | 6.7749e-06 | 0.065002 | 0.065002 | 0.065002 | 0.9912 | -0.061498 | 0.99162 | -0.058528 | 24.0748
36 | 0.025308 | 0.0063475 | -0.025303 | -0.0063458 | 4.6553e-06 | 1.7241e-06 | 0.03802 | 0.03802 | 0.03802 | 0.99053 | -0.066276 | 0.99034 | -0.067603 | 14.0815
37 | 0.0070619 | 0.0017695 | -0.0070596 | -0.001769 | 2.2254e-06 | 4.4634e-07 | 0.010597 | 0.010597 | 0.010597 | 0.99162 | -0.058528 | 0.9913 | -0.060806 | 3.9248
38 | -0.050377 | -0.012637 | 0.050478 | 0.012676 | 0.0001016 | 3.8707e-05 | 0.075599 | 0.075598 | 0.075599 | 0.99162 | -0.058528 | 0.99369 | -0.044016 | 27.9995
39 | 0.024625 | 0.006176 | -0.024616 | -0.0061725 | 9.5084e-06 | 3.5139e-06 | 0.037002 | 0.037002 | 0.037002 | 0.99034 | -0.067603 | 0.98994 | -0.07039 | 13.7044
40 | 0.0070596 | 0.001769 | -0.0070568 | -0.0017684 | 2.8073e-06 | 5.6346e-07 | 0.010597 | 0.010597 | 0.010597 | 0.9913 | -0.060806 | 0.9909 | -0.063679 | 3.9248
41 | -0.0071646 | -0.0017956 | 0.0071673 | 0.0017961 | 2.6238e-06 | 5.4656e-07 | 0.010791 | 0.010791 | 0.010791 | 0.98797 | -0.084343 | 0.98835 | -0.081698 | 3.9966
42 | 0.0045423 | 0.0011384 | -0.0045422 | -0.0011384 | 1.098e-07 | -5.9125e-09 | 0.0068412 | 0.0068413 | 0.0068413 | 0.98797 | -0.084343 | 0.98795 | -0.084518 | 2.5338
43 | 0.0063329 | 0.0015867 | -0.0063307 | -0.0015863 | 2.2349e-06 | 3.5487e-07 | 0.0095345 | 0.0095347 | 0.0095347 | 0.98835 | -0.081698 | 0.98799 | -0.084249 | 3.5314
44 | -0.0135 | -0.0033828 | 0.013504 | 0.0033842 | 4.2102e-06 | 1.4099e-06 | 0.020325 | 0.020325 | 0.020325 | 0.98835 | -0.081698 | 0.98866 | -0.079445 | 7.5279
45 | 0.0063307 | 0.0015863 | -0.0063275 | -0.0015858 | 3.1632e-06 | 5.0293e-07 | 0.0095347 | 0.0095349 | 0.0095349 | 0.98799 | -0.084249 | 0.98748 | -0.08786 | 3.5314
46 | -0.019753 | -0.0049502 | 0.019754 | 0.0049507 | 1.1871e-06 | 4.2897e-07 | 0.029729 | 0.029729 | 0.029729 | 0.98866 | -0.079445 | 0.98872 | -0.079011 | 11.0109
47 | -0.023033 | -0.0057724 | 0.023042 | 0.0057758 | 9.4707e-06 | 3.4805e-06 | 0.034664 | 0.034664 | 0.034664 | 0.98872 | -0.079011 | 0.98914 | -0.076042 | 12.8384
48 | -0.023903 | -0.0059915 | 0.023921 | 0.0059984 | 1.8723e-05 | 6.9032e-06 | 0.035958 | 0.035958 | 0.035958 | 0.98914 | -0.076042 | 0.98994 | -0.07039 | 13.3179
49 | 0.0061597 | 0.0015436 | -0.0061592 | -0.0015435 | 5.5805e-07 | 8.0007e-08 | 0.0092499 | 0.00925 | 0.00925 | 0.9909 | -0.063679 | 0.9908 | -0.064334 | 3.4259
50 | 0.0041246 | 0.0010336 | -0.0041244 | -0.0010337 | 2.515e-07 | -3.854e-08 | 0.0061944 | 0.0061945 | 0.0061945 | 0.9908 | -0.064334 | 0.99074 | -0.064775 | 2.2942
51 | 0.0061227 | 0.0015344 | -0.0061223 | -0.0015343 | 3.5564e-07 | 4.8744e-08 | 0.0091628 | 0.0091628 | 0.0091628 | 0.9943 | -0.039578 | 0.99424 | -0.039997 | 3.3936
52 | 0.0044595 | 0.0011176 | -0.0044592 | -0.0011176 | 2.6512e-07 | -2.1718e-08 | 0.0066742 | 0.0066742 | 0.0066742 | 0.99424 | -0.039997 | 0.99418 | -0.040427 | 2.4719

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24077 | 0.060545

## res_load
| p_mw | q_mvar
0 | 0.0049715 | 0.001246
1 | 0.0011942 | 0.0002993
2 | 0.0058458 | 0.0014651
3 | 0.0039213 | 0.00098277
4 | 0.0083254 | 0.0020865
5 | 0.012107 | 0.0030344
6 | 0.01445 | 0.0036215
7 | 0.057497 | 0.01441
8 | 0.021557 | 0.0054028
9 | 0.00495 | 0.0012406
10 | 0.0054901 | 0.0013759
11 | 0.0023168 | 0.00058065
12 | 0.0023109 | 0.00057916
13 | 0.0032931 | 0.00082534
14 | 0.0044153 | 0.0011066
15 | 0.0020289 | 0.00050849
16 | 0.0074945 | 0.0018783
17 | 0.0031931 | 0.00080027
18 | 0.00437 | 0.0010952
19 | 0.00095357 | 0.00023899
20 | 0.0015074 | 0.00037778
21 | 0.014563 | 0.0036497
22 | 0.00092389 | 0.00023155
23 | 0.00067759 | 0.00016982
24 | 0.00066318 | 0.00016621
25 | 0.0026224 | 0.00065723
26 | 0.0045422 | 0.0011384
27 | 0.0062484 | 0.001566
28 | 0.0063275 | 0.0015858
29 | 0.0032786 | 0.00082169
30 | 0.00086062 | 0.00021569
31 | 0.00069441 | 0.00017403
32 | 0.0008971 | 0.00022483
33 | 0.0020346 | 0.00050991
34 | 0.0041244 | 0.0010337
35 | 0.0075426 | 0.0018904
36 | 0.00252 | 0.00063156
37 | 0.0016628 | 0.00041674
38 | 0.0044592 | 0.0011176

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1