## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2016-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2016-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2016-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2016-1_0_2_node_61 | 0.4 | n |  | TRUE
4 | bus_LV_2016-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2016-1_0_2_node_63 | 0.4 | n |  | TRUE
6 | bus_LV_2016-1_0_2_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_2016-1_0_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_2016-1_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2016-1_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2016-1_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2016-1_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2016-1_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2016-1_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2016-1_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2016-1_0_2_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_2016-1_0_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_2016-1_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2016-1_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2016-1_0_2_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_2016-1_0_2_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2016-1_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2016-1_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2016-1_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2016-1_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2016-1_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2016-1_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2016-1_0_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_2016-1_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2016-1_0_2_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_2016-1_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2016-1_0_2_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_2016-1_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_MV_477_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2016-1_0_2_load_0 | 0 | 0.0028749 | 0.00072051 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2016-1_0_2_load_1 | 1 | 0.00065135 | 0.00016324 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2016-1_0_2_load_2 | 2 | 0.00062504 | 0.00015665 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2016-1_0_2_load_61 | 3 | 0.00079045 | 0.00019811 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2016-1_0_2_load_4 | 4 | 0.012762 | 0.0031984 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2016-1_0_2_load_63 | 5 | 0.00070482 | 0.00017664 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2016-1_0_2_load_19 | 7 | 0.006452 | 0.001617 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2016-1_0_2_load_5 | 8 | 0.00055456 | 0.00013898 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2016-1_0_2_load_6 | 9 | 0.00096394 | 0.00024159 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2016-1_0_2_load_10 | 13 | 0.0003669 | 9.1954e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2016-1_0_2_load_11 | 14 | 0.00096868 | 0.00024277 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2016-1_0_2_load_23 | 15 | 0.0031344 | 0.00078555 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2016-1_0_2_load_21 | 16 | 0.0056821 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2016-1_0_2_load_12 | 17 | 0.0013093 | 0.00032813 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2016-1_0_2_load_14 | 18 | 0.0012638 | 0.00031675 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2016-1_0_2_load_28 | 19 | 0.0010245 | 0.00025677 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2016-1_0_2_load_22 | 20 | 0.006847 | 0.001716 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2016-1_0_2_load_13 | 21 | 0.00051192 | 0.0001283 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2016-1_0_2_load_16 | 23 | 0.0088369 | 0.0022147 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2016-1_0_2_load_18 | 25 | 0.00063902 | 0.00016015 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2016-1_0_2_load_20 | 26 | 0.0038167 | 0.00095655 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2016-1_0_2_load_27 | 27 | 0.010075 | 0.0025249 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2016-1_0_2_load_24 | 28 | 0.0085729 | 0.0021486 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2016-1_0_2_load_29 | 29 | 0.00087644 | 0.00021966 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2016-1_0_2_load_26 | 30 | 0.00075044 | 0.00018808 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2016-1_0_2_load_60 | 31 | 0.00505 | 0.0012656 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2016-1_0_2_load_30 | 32 | 0.0065864 | 0.0016507 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2016-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0097685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2016-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2016-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.041195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2016-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.012195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2016-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0093755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2016-1_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2016-1_0_2_line_6 | NAYY 4x150 SE | 5 | 31 | 0.036379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2016-1_0_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.021206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2016-1_0_2_line_8 | NAYY 4x150 SE | 7 | 24 | 0.027956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2016-1_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.026746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2016-1_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.012222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2016-1_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.011172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2016-1_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.027513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2016-1_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.017117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2016-1_0_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.02691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2016-1_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.021761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2016-1_0_2_line_16 | NAYY 4x150 SE | 12 | 16 | 0.011664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2016-1_0_2_line_17 | NAYY 4x150 SE | 13 | 17 | 0.015932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2016-1_0_2_line_18 | NAYY 4x150 SE | 14 | 18 | 0.032939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2016-1_0_2_line_19 | NAYY 4x150 SE | 15 | 19 | 0.017673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2016-1_0_2_line_20 | NAYY 4x150 SE | 16 | 20 | 0.025178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2016-1_0_2_line_21 | NAYY 4x150 SE | 17 | 21 | 0.0067907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2016-1_0_2_line_22 | NAYY 4x150 SE | 18 | 22 | 0.012237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2016-1_0_2_line_23 | NAYY 4x150 SE | 19 | 29 | 0.00015377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2016-1_0_2_line_24 | NAYY 4x150 SE | 20 | 28 | 0.032673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2016-1_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.022236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2016-1_0_2_line_26 | NAYY 4x150 SE | 22 | 25 | 0.015312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2016-1_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.03779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2016-1_0_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.03385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2016-1_0_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.018239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2016-1_0_2_line_30 | NAYY 4x150 SE | 29 | 32 | 0.0075157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2016-1_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.0097572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2016-1_0_2_trafo_25 | 0.25 MVA 20/0.4 kV | 33 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2560053.4636 | 1183029.4182 | 2560057.7158 | 1183038.2126
1 | 2560053.4636 | 1183029.4182 | 2560052.5795 | 1183027.5899 | 2560049.2259 | 1183018.1406 | 2560046.1078 | 1183007.6529
2 | 2560057.7158 | 1183038.2126 | 2560023.8846 | 1183061.718
3 | 2560042.6327 | 1182995.9639 | 2560046.1078 | 1183007.6529
4 | 2560017.384 | 1183054.9621 | 2560023.8846 | 1183061.718
5 | 2560037.5885 | 1182978.9974 | 2560042.6327 | 1182995.9639
6 | 2560002.9374 | 1183021.5742 | 2560017.384 | 1183054.9621
7 | 2560037.5885 | 1182978.9974 | 2560055.6002 | 1182967.8044
8 | 2560079.3446 | 1182953.0489 | 2560055.6002 | 1182967.8044
9 | 2559996.059 | 1182884.1071 | 2560019.7269 | 1182871.6496
10 | 2559985.2435 | 1182889.7998 | 2559996.059 | 1182884.1071
11 | 2560029.6132 | 1182866.446 | 2560019.7269 | 1182871.6496
12 | 2559985.2435 | 1182889.7998 | 2559979.9051 | 1182899.8075 | 2559992.9784 | 1182909.3251
13 | 2560029.6132 | 1182866.446 | 2560038.1373 | 1182881.2901
14 | 2560029.6132 | 1182866.446 | 2560053.364 | 1182853.7956
15 | 2559992.9784 | 1182909.3251 | 2559985.0831 | 1182929.6029
16 | 2559992.9784 | 1182909.3251 | 2560000.4201 | 1182918.3071
17 | 2560038.1373 | 1182881.2901 | 2560046.0712 | 1182895.1062
18 | 2560053.364 | 1182853.7956 | 2560082.4362 | 1182838.311
19 | 2559978.6708 | 1182946.0717 | 2559985.0831 | 1182929.6029
20 | 2560015.406 | 1182938.5018 | 2560007.7257 | 1182927.1249 | 2560000.4201 | 1182918.3071
21 | 2560046.0712 | 1182895.1062 | 2560049.4528 | 1182900.995
22 | 2560093.2366 | 1182832.5584 | 2560082.4362 | 1182838.311
23 | 2559978.6151 | 1182946.215 | 2559978.6708 | 1182946.0717
24 | 2560015.406 | 1182938.5018 | 2559993.3892 | 1182962.6954
25 | 2560049.4528 | 1182900.995 | 2560060.526 | 1182920.2781
26 | 2560093.2366 | 1182832.5584 | 2560106.751 | 1182825.3587
27 | 2560079.3446 | 1182953.0489 | 2560060.526 | 1182920.2781
28 | 2560079.3446 | 1182953.0489 | 2560096.5257 | 1182950.0771 | 2560108.085 | 1182961.7303
29 | 2560120.9297 | 1182974.6794 | 2560108.085 | 1182961.7303
30 | 2559975.8882 | 1182953.2186 | 2559978.6151 | 1182946.215
31 | 2560002.9374 | 1183021.5742 | 2560011.8329 | 1183017.5651

## bus_geodata
| x | y | coords
0 | 2560053.4636 | 1183029.4182
1 | 2560057.7158 | 1183038.2126
2 | 2560046.1078 | 1183007.6529
3 | 2560023.8846 | 1183061.718
4 | 2560042.6327 | 1182995.9639
5 | 2560017.384 | 1183054.9621
6 | 2560037.5885 | 1182978.9974
7 | 2560055.6002 | 1182967.8044
8 | 2559996.059 | 1182884.1071
9 | 2560019.7269 | 1182871.6496
10 | 2559985.2435 | 1182889.7998
11 | 2560029.6132 | 1182866.446
12 | 2559992.9784 | 1182909.3251
13 | 2560038.1373 | 1182881.2901
14 | 2560053.364 | 1182853.7956
15 | 2559985.0831 | 1182929.6029
16 | 2560000.4201 | 1182918.3071
17 | 2560046.0712 | 1182895.1062
18 | 2560082.4362 | 1182838.311
19 | 2559978.6708 | 1182946.0717
20 | 2560015.406 | 1182938.5018
21 | 2560049.4528 | 1182900.995
22 | 2560093.2366 | 1182832.5584
23 | 2560060.526 | 1182920.2781
24 | 2560079.3446 | 1182953.0489
25 | 2560106.751 | 1182825.3587
26 | 2560108.085 | 1182961.7303
27 | 2560120.9297 | 1182974.6794
28 | 2559993.3892 | 1182962.6954
29 | 2559978.6151 | 1182946.215
30 | 2560011.8329 | 1183017.565
31 | 2560002.9374 | 1183021.5742
32 | 2559975.8882 | 1182953.2186
33 | 2560015.406 | 1182938.5018

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99883 | -0.0081702 | 0.0028749 | 0.00072051
1 | 0.99872 | -0.0089478 | 0.00065135 | 0.00016324
2 | 0.99919 | -0.0056786 | 0.00062504 | 0.00015665
3 | 0.99829 | -0.011959 | 0.00079045 | 0.00019811
4 | 0.99939 | -0.0042818 | 0.012762 | 0.0031984
5 | 0.99821 | -0.012571 | 0.00070482 | 0.00017664
6 | 1 | 0 | -0.094222 | -0.023504
7 | 0.99791 | -0.014534 | 0.006452 | 0.001617
8 | 0.98751 | -0.087459 | 0.00055456 | 0.00013898
9 | 0.9888 | -0.078357 | 0.00096394 | 0.00024159
10 | 0.98693 | -0.091557 | 0 | 0
11 | 0.98935 | -0.074452 | 0 | 0
12 | 0.98563 | -0.1008 | 0 | 0
13 | 0.99027 | -0.067976 | 0.0003669 | 9.1954e-05
14 | 0.98924 | -0.075242 | 0.00096868 | 0.00024277
15 | 0.98526 | -0.1034 | 0.0031344 | 0.00078555
16 | 0.98527 | -0.10333 | 0.0056821 | 0.0014241
17 | 0.99114 | -0.061899 | 0.0013093 | 0.00032813
18 | 0.98915 | -0.075883 | 0.0012638 | 0.00031675
19 | 0.98505 | -0.10494 | 0.0010245 | 0.00025677
20 | 0.98471 | -0.10732 | 0.006847 | 0.001716
21 | 0.99152 | -0.059222 | 0.00051192 | 0.0001283
22 | 0.98914 | -0.075963 | 0 | 0
23 | 0.99278 | -0.050354 | 0.0088369 | 0.0022147
24 | 0.99541 | -0.031969 | 0 | 0
25 | 0.98913 | -0.076063 | 0.00063902 | 0.00016015
26 | 0.99473 | -0.03671 | 0.0038167 | 0.00095655
27 | 0.99447 | -0.038564 | 0.010075 | 0.0025249
28 | 0.98431 | -0.11021 | 0.0085729 | 0.0021486
29 | 0.98504 | -0.10495 | 0.00087644 | 0.00021966
30 | 0.99789 | -0.014759 | 0.00075044 | 0.00018808
31 | 0.99791 | -0.014686 | 0.00505 | 0.0012656
32 | 0.98497 | -0.10546 | 0.0065864 | 0.0016507
33 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0079532 | 0.0019927 | -0.0079523 | -0.0019925 | 8.5568e-07 | 2.0126e-07 | 0.011848 | 0.011848 | 0.011848 | 0.99883 | -0.0081702 | 0.99872 | -0.0089478 | 4.3882
1 | -0.010828 | -0.0027132 | 0.010832 | 0.0027143 | 3.7343e-06 | 1.1351e-06 | 0.016131 | 0.016131 | 0.016131 | 0.99883 | -0.0081702 | 0.99919 | -0.0056786 | 5.9744
2 | 0.007301 | 0.0018292 | -0.0072979 | -0.0018286 | 3.0417e-06 | 6.3103e-07 | 0.010878 | 0.010878 | 0.010878 | 0.99872 | -0.0089478 | 0.99829 | -0.011959 | 4.0288
3 | -0.011457 | -0.002871 | 0.011459 | 0.0028717 | 2.2151e-06 | 6.9221e-07 | 0.017062 | 0.017062 | 0.017062 | 0.99919 | -0.0056786 | 0.99939 | -0.0042818 | 6.3191
4 | 0.0065075 | 0.0016305 | -0.0065069 | -0.0016304 | 5.5042e-07 | 8.9129e-08 | 0.0096996 | 0.0096997 | 0.0096997 | 0.99829 | -0.011959 | 0.99821 | -0.012571 | 3.5925
5 | -0.024221 | -0.0060701 | 0.024235 | 0.0060754 | 1.4364e-05 | 5.2927e-06 | 0.036063 | 0.036063 | 0.036063 | 0.99939 | -0.0042818 | 1 | 0 | 13.3566
6 | 0.0058021 | 0.0014538 | -0.0058004 | -0.0014536 | 1.6982e-06 | 1.7773e-07 | 0.008649 | 0.0086492 | 0.0086492 | 0.99821 | -0.012571 | 0.99791 | -0.014686 | 3.2034
7 | 0.069187 | 0.017428 | -0.069046 | -0.017374 | 0.00014034 | 5.3698e-05 | 0.10298 | 0.10298 | 0.10298 | 1 | 0 | 0.99791 | -0.014534 | 38.1415
8 | 0.062594 | 0.015757 | -0.062442 | -0.015699 | 0.00015205 | 5.8117e-05 | 0.093361 | 0.093361 | 0.093361 | 0.99791 | -0.014534 | 0.99541 | -0.031969 | 34.5783
9 | -0.033365 | -0.0083715 | 0.033407 | 0.0083874 | 4.219e-05 | 1.5884e-05 | 0.050278 | 0.050278 | 0.050278 | 0.98751 | -0.087459 | 0.9888 | -0.078357 | 18.6216
10 | 0.03281 | 0.0082326 | -0.032791 | -0.0082255 | 1.8644e-05 | 7.0145e-06 | 0.049443 | 0.049443 | 0.049443 | 0.98751 | -0.087459 | 0.98693 | -0.091557 | 18.3121
11 | -0.034371 | -0.008629 | 0.034389 | 0.008636 | 1.8655e-05 | 7.0314e-06 | 0.051729 | 0.051729 | 0.051729 | 0.9888 | -0.078357 | 0.98935 | -0.074452 | 19.1588
12 | 0.032791 | 0.0082255 | -0.032749 | -0.0082098 | 4.197e-05 | 1.5791e-05 | 0.049443 | 0.049443 | 0.049443 | 0.98693 | -0.091557 | 0.98563 | -0.1008 | 18.3122
13 | -0.037261 | -0.0093548 | 0.037295 | 0.0093675 | 3.3554e-05 | 1.2685e-05 | 0.056048 | 0.056048 | 0.056048 | 0.98935 | -0.074452 | 0.99027 | -0.067976 | 20.7585
14 | 0.002872 | 0.00071874 | -0.0028717 | -0.00071897 | 3.1327e-07 | -2.2503e-07 | 0.0043192 | 0.0043194 | 0.0043194 | 0.98935 | -0.074452 | 0.98924 | -0.075242 | 1.5998
15 | 0.011628 | 0.0029146 | -0.011624 | -0.0029132 | 4.1848e-06 | 1.3323e-06 | 0.017555 | 0.017555 | 0.017555 | 0.98563 | -0.1008 | 0.98526 | -0.1034 | 6.502
16 | 0.021121 | 0.0052952 | -0.021114 | -0.0052925 | 7.401e-06 | 2.6979e-06 | 0.031888 | 0.031888 | 0.031888 | 0.98563 | -0.1008 | 0.98527 | -0.10333 | 11.8103
17 | -0.037662 | -0.0094594 | 0.037694 | 0.0094715 | 3.1848e-05 | 1.2044e-05 | 0.056599 | 0.056599 | 0.056599 | 0.99027 | -0.067976 | 0.99114 | -0.061899 | 20.9627
18 | 0.001903 | 0.0004762 | -0.0019029 | -0.00047655 | 1.684e-07 | -3.5808e-07 | 0.0028623 | 0.0028624 | 0.0028624 | 0.98924 | -0.075242 | 0.98915 | -0.075883 | 1.0602
19 | 0.0084896 | 0.0021277 | -0.0084878 | -0.0021272 | 1.8129e-06 | 4.7226e-07 | 0.012822 | 0.012822 | 0.012822 | 0.98526 | -0.1034 | 0.98505 | -0.10494 | 4.7488
20 | 0.015432 | 0.0038684 | -0.015423 | -0.0038655 | 8.5339e-06 | 2.9618e-06 | 0.023306 | 0.023306 | 0.023306 | 0.98527 | -0.10333 | 0.98471 | -0.10732 | 8.632
21 | -0.039003 | -0.0097996 | 0.039018 | 0.0098051 | 1.4533e-05 | 5.5022e-06 | 0.058565 | 0.058565 | 0.058565 | 0.99114 | -0.061899 | 0.99152 | -0.059222 | 21.6907
22 | 0.00063904 | 0.00015981 | -0.00063903 | -0.00015996 | 7.0553e-09 | -1.5436e-07 | 0.00096121 | 0.00096126 | 0.00096126 | 0.98915 | -0.075883 | 0.98914 | -0.075963 | 0.35602
23 | 0.0074633 | 0.0018704 | -0.0074633 | -0.0018704 | 1.2196e-08 | 2.7331e-09 | 0.011274 | 0.011274 | 0.011274 | 0.98505 | -0.10494 | 0.98504 | -0.10495 | 4.1756
24 | 0.0085763 | 0.0021495 | -0.0085729 | -0.0021486 | 3.4243e-06 | 9.0158e-07 | 0.01296 | 0.01296 | 0.01296 | 0.98471 | -0.10732 | 0.98431 | -0.11021 | 4.8
25 | -0.039529 | -0.0099334 | 0.039578 | 0.0099519 | 4.8847e-05 | 1.85e-05 | 0.059333 | 0.059333 | 0.059333 | 0.99152 | -0.059222 | 0.99278 | -0.050354 | 21.9752
26 | 0.00063903 | 0.00015996 | -0.00063902 | -0.00016015 | 8.8297e-09 | -1.9315e-07 | 0.00096126 | 0.00096133 | 0.00096133 | 0.98914 | -0.075963 | 0.98913 | -0.076063 | 0.35605
27 | -0.048415 | -0.012167 | 0.048539 | 0.012214 | 0.00012421 | 4.7284e-05 | 0.072578 | 0.072578 | 0.072578 | 0.99278 | -0.050354 | 0.99541 | -0.031969 | 26.8807
28 | 0.013903 | 0.0034853 | -0.013894 | -0.0034822 | 9.1241e-06 | 3.0695e-06 | 0.020784 | 0.020784 | 0.020784 | 0.99541 | -0.031969 | 0.99473 | -0.03671 | 7.6977
29 | 0.010077 | 0.0025257 | -0.010075 | -0.0025249 | 2.5863e-06 | 7.5801e-07 | 0.015074 | 0.015075 | 0.015075 | 0.99473 | -0.03671 | 0.99447 | -0.038564 | 5.5832
30 | 0.0065868 | 0.0016508 | -0.0065864 | -0.0016507 | 4.6431e-07 | 8.2915e-08 | 0.0099501 | 0.0099501 | 0.0099501 | 0.98504 | -0.10495 | 0.98497 | -0.10546 | 3.6852
31 | -0.00075044 | -0.00018808 | 0.00075045 | 0.00018795 | 7.6239e-09 | -1.2454e-07 | 0.001119 | 0.001119 | 0.001119 | 0.99789 | -0.014759 | 0.99791 | -0.014686 | 0.41446

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.094222 | 0.023504

## res_load
| p_mw | q_mvar
0 | 0.0028749 | 0.00072051
1 | 0.00065135 | 0.00016324
2 | 0.00062504 | 0.00015665
3 | 0.00079045 | 0.00019811
4 | 0.012762 | 0.0031984
5 | 0.00070482 | 0.00017664
6 | 0.006452 | 0.001617
7 | 0.00055456 | 0.00013898
8 | 0.00096394 | 0.00024159
9 | 0.0003669 | 9.1954e-05
10 | 0.00096868 | 0.00024277
11 | 0.0031344 | 0.00078555
12 | 0.0056821 | 0.0014241
13 | 0.0013093 | 0.00032813
14 | 0.0012638 | 0.00031675
15 | 0.0010245 | 0.00025677
16 | 0.006847 | 0.001716
17 | 0.00051192 | 0.0001283
18 | 0.0088369 | 0.0022147
19 | 0.00063902 | 0.00016015
20 | 0.0038167 | 0.00095655
21 | 0.010075 | 0.0025249
22 | 0.0085729 | 0.0021486
23 | 0.00087644 | 0.00021966
24 | 0.00075044 | 0.00018808
25 | 0.00505 | 0.0012656
26 | 0.0065864 | 0.0016507

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1