## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2016-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2016-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2016-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2016-5_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2016-5_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2016-5_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2016-5_0_5_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_2016-5_0_5_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_2016-5_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2016-5_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2016-5_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2016-5_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2016-5_0_5_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_2016-5_0_5_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_2016-5_0_5_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_2016-5_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2016-5_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2016-5_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2016-5_0_5_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2016-5_0_5_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2016-5_0_5_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_2016-5_0_5_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_2016-5_0_5_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_2016-5_0_5_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_2016-5_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2016-5_0_5_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_2016-5_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2016-5_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2016-5_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2016-5_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2016-5_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2016-5_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_2016-5_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2016-5_0_5_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_2016-5_0_5_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_2016-5_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2016-5_0_5_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_2016-5_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2016-5_0_5_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2016-5_0_5_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2016-5_0_5_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_2016-5_0_5_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_2016-5_0_5_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_2016-5_0_5_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_2016-5_0_5_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_2016-5_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_2016-5_0_5_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_2016-5_0_5_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_2016-5_0_5_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_2016-5_0_5_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_2016-5_0_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_2016-5_0_5_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_2016-5_0_5_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_2016-5_0_5_node_53 | 0.4 | n |  | TRUE
54 | bus_MV_477_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2016-5_0_5_load_0 | 0 | 0.002297 | 0.00057567 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2016-5_0_5_load_1 | 1 | 0.0015507 | 0.00038863 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2016-5_0_5_load_2 | 2 | 0.0020658 | 0.00051775 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2016-5_0_5_load_5 | 3 | 0.0016922 | 0.0004241 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2016-5_0_5_load_6 | 4 | 0.0027243 | 0.00068277 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2016-5_0_5_load_4 | 5 | 0.0021178 | 0.00053076 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2016-5_0_5_load_55 | 6 | 0.00058151 | 0.00014574 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2016-5_0_5_load_7 | 8 | 0.0063132 | 0.0015822 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2016-5_0_5_load_10 | 9 | 0.0015981 | 0.00040051 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2016-5_0_5_load_9 | 10 | 0.003738 | 0.00093683 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2016-5_0_5_load_8 | 11 | 0.0021607 | 0.00054152 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2016-5_0_5_load_58 | 12 | 0.00095796 | 0.00024009 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2016-5_0_5_load_39 | 13 | 0.0028371 | 0.00071105 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2016-5_0_5_load_14 | 15 | 0.0078635 | 0.0019708 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2016-5_0_5_load_15 | 16 | 0.0021023 | 0.00052688 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2016-5_0_5_load_16 | 17 | 0.0077736 | 0.0019483 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2016-5_0_5_load_17 | 18 | 0.0025247 | 0.00063274 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2016-5_0_5_load_18 | 19 | 0.0012677 | 0.00031771 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2016-5_0_5_load_25 | 20 | 0.00060289 | 0.0001511 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2016-5_0_5_load_57 | 22 | 0.0015773 | 0.00039532 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2016-5_0_5_load_32 | 23 | 0.0012031 | 0.00030153 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2016-5_0_5_load_20 | 24 | 0.0023379 | 0.00058592 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2016-5_0_5_load_24 | 25 | 0.0036469 | 0.000914 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2016-5_0_5_load_19 | 26 | 0.0088733 | 0.0022238 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2016-5_0_5_load_22 | 28 | 0.0077073 | 0.0019316 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2016-5_0_5_load_23 | 29 | 0.0033247 | 0.00083324 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2016-5_0_5_load_28 | 30 | 0.001502 | 0.00037643 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2016-5_0_5_load_33 | 31 | 0.0023085 | 0.00057856 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2016-5_0_5_load_29 | 32 | 0.0063317 | 0.0015869 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2016-5_0_5_load_34 | 33 | 0.0012352 | 0.00030956 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2016-5_0_5_load_35 | 34 | 0.0027427 | 0.00068738 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2016-5_0_5_load_27 | 35 | 0.0023147 | 0.00058011 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2016-5_0_5_load_30 | 36 | 0.0049273 | 0.0012349 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2016-5_0_5_load_31 | 37 | 0.00092699 | 0.00023233 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2016-5_0_5_load_36 | 38 | 0.014934 | 0.0037428 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2016-5_0_5_load_59 | 40 | 0.0045589 | 0.0011426 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2016-5_0_5_load_42 | 43 | 0.0025358 | 0.00063552 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2016-5_0_5_load_41 | 44 | 0.0025395 | 0.00063645 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2016-5_0_5_load_43 | 45 | 0.0032773 | 0.00082136 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2016-5_0_5_load_46 | 47 | 0.0023927 | 0.00059966 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2016-5_0_5_load_51 | 48 | 0.0010606 | 0.00026582 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2016-5_0_5_load_47 | 49 | 0.0011323 | 0.00028379 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2016-5_0_5_load_48 | 50 | 0.0021217 | 0.00053174 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2016-5_0_5_load_50 | 51 | 0.0021728 | 0.00054457 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2016-5_0_5_load_52 | 52 | 0.00084378 | 0.00021147 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2016-5_0_5_load_53 | 53 | 0.0015234 | 0.0003818 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2016-5_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2016-5_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0080625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2016-5_0_5_line_2 | NAYY 4x150 SE | 2 | 3 | 0.015238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2016-5_0_5_line_3 | NAYY 4x150 SE | 3 | 4 | 0.014133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2016-5_0_5_line_4 | NAYY 4x150 SE | 4 | 8 | 0.012313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2016-5_0_5_line_5 | NAYY 4x150 SE | 5 | 6 | 0.015784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2016-5_0_5_line_6 | NAYY 4x150 SE | 6 | 7 | 0.041222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2016-5_0_5_line_7 | NAYY 4x150 SE | 7 | 21 | 0.028898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2016-5_0_5_line_8 | NAYY 4x150 SE | 7 | 46 | 0.029692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2016-5_0_5_line_9 | NAYY 4x150 SE | 8 | 9 | 0.042883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2016-5_0_5_line_10 | NAYY 4x150 SE | 9 | 10 | 0.021026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2016-5_0_5_line_11 | NAYY 4x150 SE | 10 | 11 | 0.037713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2016-5_0_5_line_12 | NAYY 4x150 SE | 11 | 12 | 0.051661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2016-5_0_5_line_13 | NAYY 4x150 SE | 12 | 13 | 0.032335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2016-5_0_5_line_14 | NAYY 4x150 SE | 13 | 14 | 0.037616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2016-5_0_5_line_15 | NAYY 4x150 SE | 14 | 39 | 0.028068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2016-5_0_5_line_16 | NAYY 4x150 SE | 14 | 38 | 0.023909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2016-5_0_5_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0084811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2016-5_0_5_line_18 | NAYY 4x150 SE | 15 | 17 | 0.021075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2016-5_0_5_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0048089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2016-5_0_5_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0098941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2016-5_0_5_line_21 | NAYY 4x150 SE | 17 | 20 | 0.039157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2016-5_0_5_line_22 | NAYY 4x150 SE | 18 | 24 | 0.013904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2016-5_0_5_line_23 | NAYY 4x150 SE | 20 | 25 | 0.025882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2016-5_0_5_line_24 | NAYY 4x150 SE | 21 | 22 | 0.013428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2016-5_0_5_line_25 | NAYY 4x150 SE | 21 | 23 | 0.5674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_2016-5_0_5_line_26 | NAYY 4x150 SE | 23 | 37 | 0.012234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2016-5_0_5_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0011782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2016-5_0_5_line_28 | NAYY 4x150 SE | 26 | 27 | 0.023491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2016-5_0_5_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0086379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2016-5_0_5_line_30 | NAYY 4x150 SE | 27 | 29 | 0.019748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2016-5_0_5_line_31 | NAYY 4x150 SE | 28 | 30 | 0.031514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2016-5_0_5_line_32 | NAYY 4x150 SE | 29 | 31 | 0.018457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2016-5_0_5_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0079724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2016-5_0_5_line_34 | NAYY 4x150 SE | 31 | 33 | 0.023362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2016-5_0_5_line_35 | NAYY 4x150 SE | 32 | 36 | 0.0013421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2016-5_0_5_line_36 | NAYY 4x150 SE | 33 | 34 | 0.026627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2016-5_0_5_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0049122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2016-5_0_5_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0091222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2016-5_0_5_line_39 | NAYY 4x150 SE | 39 | 40 | 0.041942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2016-5_0_5_line_40 | NAYY 4x150 SE | 39 | 41 | 0.033733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2016-5_0_5_line_41 | NAYY 4x150 SE | 41 | 42 | 0.052068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2016-5_0_5_line_42 | NAYY 4x150 SE | 41 | 43 | 0.021816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2016-5_0_5_line_43 | NAYY 4x150 SE | 42 | 46 | 0.051075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2016-5_0_5_line_44 | NAYY 4x150 SE | 42 | 47 | 0.020106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2016-5_0_5_line_45 | NAYY 4x150 SE | 43 | 44 | 0.00081081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2016-5_0_5_line_46 | NAYY 4x150 SE | 44 | 45 | 0.015847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2016-5_0_5_line_47 | NAYY 4x150 SE | 46 | 48 | 0.021964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2016-5_0_5_line_48 | NAYY 4x150 SE | 47 | 49 | 0.0066439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2016-5_0_5_line_49 | NAYY 4x150 SE | 48 | 52 | 0.0022493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2016-5_0_5_line_50 | NAYY 4x150 SE | 49 | 50 | 0.020717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2016-5_0_5_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0046947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2016-5_0_5_line_52 | NAYY 4x150 SE | 52 | 53 | 0.0266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2016-5_0_5_trafo_56 | 0.25 MVA 20/0.4 kV | 54 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2559690.7064 | 1182934.9666 | 2559674.0159 | 1182925.5672
1 | 2559674.0159 | 1182925.5672 | 2559666.9909 | 1182921.611
2 | 2559653.7136 | 1182914.1337 | 2559666.9909 | 1182921.611
3 | 2559653.7136 | 1182914.1337 | 2559641.399 | 1182907.1986
4 | 2559630.67 | 1182901.1564 | 2559641.399 | 1182907.1986
5 | 2559706.6009 | 1183016.6403 | 2559696.6781 | 1183028.7572 | 2559696.6259 | 1183028.8682
6 | 2559674.6953 | 1183063.4018 | 2559690.0107 | 1183041.9759 | 2559692.5474 | 1183038.8905 | 2559694.1702 | 1183036.1225 | 2559695.5717 | 1183031.1103 | 2559696.6259 | 1183028.8682
7 | 2559699.9769 | 1183077.5277 | 2559674.6953 | 1183063.4018
8 | 2559674.6953 | 1183063.4018 | 2559665.2058 | 1183053.2604 | 2559658.617 | 1183047.5907 | 2559652.409 | 1183044.0307
9 | 2559630.67 | 1182901.1564 | 2559630.4173 | 1182858.2744
10 | 2559630.4173 | 1182858.2744 | 2559609.4647 | 1182860.0314
11 | 2559571.8839 | 1182863.1828 | 2559609.4647 | 1182860.0314
12 | 2559530.2312 | 1182893.7435 | 2559571.8839 | 1182863.1828
13 | 2559517.4755 | 1182923.456 | 2559530.2312 | 1182893.7435
14 | 2559511.4666 | 1182960.5833 | 2559517.4755 | 1182923.456
15 | 2559511.4666 | 1182960.5833 | 2559515.9197 | 1182962.0095 | 2559537.5567 | 1182971.0789
16 | 2559511.4666 | 1182960.5833 | 2559488.7015 | 1182953.2767
17 | 2560240.0853 | 1183480.7603 | 2560240.0853 | 1183480.7603 | 2560235.1984 | 1183473.8286
18 | 2560240.0853 | 1183480.7603 | 2560254.713 | 1183495.932
19 | 2560232.4274 | 1183469.8983 | 2560235.1984 | 1183473.8286
20 | 2560261.5803 | 1183503.0547 | 2560254.713 | 1183495.932
21 | 2560254.713 | 1183495.932 | 2560222.594 | 1183518.3301
22 | 2560232.4274 | 1183469.8983 | 2560224.4158 | 1183458.5344
23 | 2560222.594 | 1183518.3301 | 2560198 | 1183526.3917
24 | 2559699.9769 | 1183077.5277 | 2559706.7595 | 1183065.9386
25 | 2559699.9769 | 1183077.5277 | 2560184.7164 | 1183372.4408
26 | 2560184.7164 | 1183372.4408 | 2560188.0697 | 1183384.2061
27 | 2560223.7368 | 1183457.5714 | 2560224.4158 | 1183458.5344
28 | 2560210.5555 | 1183438.1339 | 2560215.8474 | 1183446.3809 | 2560223.7368 | 1183457.5714
29 | 2560210.5555 | 1183438.1339 | 2560206.7352 | 1183430.3868
30 | 2560210.5555 | 1183438.1339 | 2560195.8731 | 1183451.3405
31 | 2560206.7352 | 1183430.3868 | 2560197.4308 | 1183411.5182 | 2560193.5031 | 1183401.806
32 | 2560195.8731 | 1183451.3405 | 2560182.1507 | 1183463.6835
33 | 2560190.938 | 1183394.2695 | 2560192.0906 | 1183398.3133 | 2560193.5031 | 1183401.806
34 | 2560182.1507 | 1183463.6835 | 2560164.7816 | 1183479.3067
35 | 2560190.938 | 1183394.2695 | 2560190.5701 | 1183392.9788
36 | 2560164.7816 | 1183479.3067 | 2560144.9846 | 1183497.1136
37 | 2560144.9846 | 1183497.1136 | 2560141.3325 | 1183500.3987
38 | 2560190.5701 | 1183392.9788 | 2560188.0697 | 1183384.2061
39 | 2559537.5567 | 1182971.0789 | 2559559.2019 | 1182935.1243
40 | 2559567.4915 | 1182986.7626 | 2559540.3589 | 1182972.2495 | 2559537.5567 | 1182971.0789
41 | 2559610.2833 | 1183016.0779 | 2559591.7879 | 1183006.3977 | 2559580.8796 | 1182998.7229 | 2559567.4915 | 1182986.7626
42 | 2559567.4915 | 1182986.7626 | 2559577.6948 | 1182967.4793
43 | 2559610.2833 | 1183016.0779 | 2559624.0448 | 1183022.3105 | 2559631.4422 | 1183026.7518 | 2559638.453 | 1183033.8527 | 2559642.7827 | 1183038.5149 | 2559652.409 | 1183044.0307
44 | 2559610.2833 | 1183016.0779 | 2559619.2372 | 1182998.0757
45 | 2559578.074 | 1182966.7626 | 2559577.6948 | 1182967.4793
46 | 2559585.4853 | 1182952.756 | 2559578.074 | 1182966.7626
47 | 2559652.409 | 1183044.0307 | 2559662.8288 | 1183024.6956
48 | 2559619.2372 | 1182998.0757 | 2559622.196 | 1182992.127
49 | 2559662.8288 | 1183024.6956 | 2559663.8958 | 1183022.7156
50 | 2559622.196 | 1182992.127 | 2559631.4222 | 1182973.5773
51 | 2559633.5129 | 1182969.3738 | 2559631.4222 | 1182973.5773
52 | 2559676.5148 | 1182999.2996 | 2559663.8958 | 1183022.7156

## bus_geodata
| x | y | coords
0 | 2559690.7064 | 1182934.9666
1 | 2559674.0159 | 1182925.5672
2 | 2559666.9909 | 1182921.611
3 | 2559653.7136 | 1182914.1337
4 | 2559641.399 | 1182907.1986
5 | 2559706.6009 | 1183016.6403
6 | 2559696.6259 | 1183028.8682
7 | 2559674.6953 | 1183063.4018
8 | 2559630.67 | 1182901.1564
9 | 2559630.4173 | 1182858.2744
10 | 2559609.4647 | 1182860.0314
11 | 2559571.8839 | 1182863.1828
12 | 2559530.2312 | 1182893.7435
13 | 2559517.4755 | 1182923.456
14 | 2559511.4666 | 1182960.5833
15 | 2560240.0853 | 1183480.7603
16 | 2560235.1984 | 1183473.8286
17 | 2560254.713 | 1183495.932
18 | 2560232.4274 | 1183469.8983
19 | 2560261.5803 | 1183503.0547
20 | 2560222.594 | 1183518.3301
21 | 2559699.9769 | 1183077.5277
22 | 2559706.7595 | 1183065.9386
23 | 2560184.7164 | 1183372.4408
24 | 2560224.4158 | 1183458.5344
25 | 2560198 | 1183526.3917
26 | 2560223.7368 | 1183457.5714
27 | 2560210.5555 | 1183438.1339
28 | 2560206.7352 | 1183430.3868
29 | 2560195.8731 | 1183451.3405
30 | 2560193.5031 | 1183401.806
31 | 2560182.1507 | 1183463.6835
32 | 2560190.938 | 1183394.2695
33 | 2560164.7816 | 1183479.3067
34 | 2560144.9846 | 1183497.1136
35 | 2560141.3325 | 1183500.3987
36 | 2560190.5701 | 1183392.9788
37 | 2560188.0697 | 1183384.2061
38 | 2559488.7015 | 1182953.2767
39 | 2559537.5567 | 1182971.0789
40 | 2559559.2019 | 1182935.1243
41 | 2559567.4915 | 1182986.7626
42 | 2559610.2833 | 1183016.0779
43 | 2559577.6948 | 1182967.4793
44 | 2559578.074 | 1182966.7626
45 | 2559585.4853 | 1182952.756
46 | 2559652.409 | 1183044.0307
47 | 2559619.2372 | 1182998.0757
48 | 2559662.8288 | 1183024.6956
49 | 2559622.196 | 1182992.127
50 | 2559631.4222 | 1182973.5773
51 | 2559633.5129 | 1182969.3738
52 | 2559663.8958 | 1183022.7156
53 | 2559676.5148 | 1182999.2996
54 | 2559674.6953 | 1183063.4018

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97318 | -0.18881 | 0.002297 | 0.00057567
1 | 0.97324 | -0.18835 | 0.0015507 | 0.00038863
2 | 0.97329 | -0.18802 | 0.0020658 | 0.00051775
3 | 0.97342 | -0.18707 | 0.0016922 | 0.0004241
4 | 0.97358 | -0.18594 | 0.0027243 | 0.00068277
5 | 0.99687 | -0.021645 | 0.0021178 | 0.00053076
6 | 0.99691 | -0.021309 | 0.00058151 | 0.00014574
7 | 0.99707 | -0.02019 | 0 | 0
8 | 0.97377 | -0.1846 | 0.0063132 | 0.0015822
9 | 0.97481 | -0.17709 | 0.0015981 | 0.00040051
10 | 0.97537 | -0.17306 | 0.003738 | 0.00093683
11 | 0.97658 | -0.16437 | 0.0021607 | 0.00054152
12 | 0.97841 | -0.15134 | 0.00095796 | 0.00024009
13 | 0.9796 | -0.14288 | 0.0028371 | 0.00071105
14 | 0.98113 | -0.13196 | 0 | 0
15 | 0.97169 | -0.19876 | 0.0078635 | 0.0019708
16 | 0.97196 | -0.19686 | 0.0021023 | 0.00052688
17 | 0.97128 | -0.20172 | 0.0077736 | 0.0019483
18 | 0.97212 | -0.19568 | 0.0025247 | 0.00063274
19 | 0.97126 | -0.20185 | 0.0012677 | 0.00031771
20 | 0.97104 | -0.20348 | 0.00060289 | 0.0001511
21 | 1 | 0 | -0.14679 | -0.036979
22 | 0.99997 | -0.00021148 | 0.0015773 | 0.00039532
23 | 0.9802 | -0.13793 | 0.0012031 | 0.00030153
24 | 0.97265 | -0.19189 | 0.0023379 | 0.00058592
25 | 0.9709 | -0.20448 | 0.0036469 | 0.000914
26 | 0.97269 | -0.19154 | 0.0088733 | 0.0022238
27 | 0.97397 | -0.18238 | 0 | 0
28 | 0.97459 | -0.17794 | 0.0077073 | 0.0019316
29 | 0.97362 | -0.18486 | 0.0033247 | 0.00083324
30 | 0.9772 | -0.15923 | 0.001502 | 0.00037643
31 | 0.97339 | -0.18654 | 0.0023085 | 0.00057856
32 | 0.97788 | -0.15439 | 0.0063317 | 0.0015869
33 | 0.97318 | -0.18809 | 0.0012352 | 0.00030956
34 | 0.97298 | -0.18951 | 0.0027427 | 0.00068738
35 | 0.97296 | -0.18963 | 0.0023147 | 0.00058011
36 | 0.97801 | -0.15349 | 0.0049273 | 0.0012349
37 | 0.97894 | -0.14688 | 0.00092699 | 0.00023233
38 | 0.98061 | -0.13566 | 0.014934 | 0.0037428
39 | 0.98289 | -0.11949 | 0 | 0
40 | 0.98261 | -0.12147 | 0.0045589 | 0.0011426
41 | 0.98522 | -0.10299 | 0 | 0
42 | 0.98945 | -0.073233 | 0 | 0
43 | 0.98496 | -0.10487 | 0.0025358 | 0.00063552
44 | 0.98495 | -0.10492 | 0.0025395 | 0.00063645
45 | 0.98488 | -0.10545 | 0.0032773 | 0.00082136
46 | 0.99418 | -0.040247 | 0 | 0
47 | 0.98923 | -0.074837 | 0.0023927 | 0.00059966
48 | 0.99407 | -0.041008 | 0.0010606 | 0.00026582
49 | 0.98917 | -0.075205 | 0.0011323 | 0.00028379
50 | 0.98905 | -0.076113 | 0.0021217 | 0.00053174
51 | 0.98903 | -0.076217 | 0.0021728 | 0.00054457
52 | 0.99406 | -0.041062 | 0.00084378 | 0.00021147
53 | 0.99401 | -0.041472 | 0.0015234 | 0.0003818
54 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.002297 | -0.00057567 | 0.0022971 | 0.00057549 | 1.4743e-07 | -1.8131e-07 | 0.0035121 | 0.003512 | 0.0035121 | 0.97318 | -0.18881 | 0.97324 | -0.18835 | 1.3008
1 | -0.0038478 | -0.00096413 | 0.003848 | 0.00096409 | 1.7411e-07 | -3.3228e-08 | 0.0058829 | 0.0058828 | 0.0058829 | 0.97324 | -0.18835 | 0.97329 | -0.18802 | 2.1788
2 | -0.0059138 | -0.0014818 | 0.0059146 | 0.001482 | 7.7725e-07 | 1.0954e-07 | 0.0090412 | 0.0090411 | 0.0090412 | 0.97329 | -0.18802 | 0.97342 | -0.18707 | 3.3486
3 | -0.0076067 | -0.001906 | 0.0076079 | 0.0019063 | 1.1924e-06 | 2.8289e-07 | 0.011628 | 0.011628 | 0.011628 | 0.97342 | -0.18707 | 0.97358 | -0.18594 | 4.3066
4 | -0.010332 | -0.0025891 | 0.010334 | 0.0025897 | 1.9161e-06 | 5.838e-07 | 0.015792 | 0.015792 | 0.015792 | 0.97358 | -0.18594 | 0.97377 | -0.1846 | 5.8487
5 | -0.0021178 | -0.00053076 | 0.0021179 | 0.00053059 | 9.8422e-08 | -1.6794e-07 | 0.0031612 | 0.0031611 | 0.0031612 | 0.99687 | -0.021645 | 0.99691 | -0.021309 | 1.1708
6 | -0.0026994 | -0.00067633 | 0.0026998 | 0.00067596 | 4.1754e-07 | -3.7696e-07 | 0.0040291 | 0.0040289 | 0.0040291 | 0.99691 | -0.021309 | 0.99707 | -0.02019 | 1.4923
7 | -0.070824 | -0.017887 | 0.071025 | 0.017965 | 0.00020164 | 7.7174e-05 | 0.10574 | 0.10574 | 0.10574 | 0.99707 | -0.02019 | 1 | 0 | 39.1647
8 | 0.068124 | 0.017211 | -0.067932 | -0.017138 | 0.00019169 | 7.3341e-05 | 0.10172 | 0.10172 | 0.10172 | 0.99707 | -0.02019 | 0.99418 | -0.040247 | 37.6725
9 | -0.016647 | -0.0041719 | 0.016665 | 0.004178 | 1.7316e-05 | 6.1261e-06 | 0.025439 | 0.025439 | 0.025439 | 0.97377 | -0.1846 | 0.97481 | -0.17709 | 9.4217
10 | -0.018263 | -0.0045785 | 0.018273 | 0.0045822 | 1.0197e-05 | 3.6595e-06 | 0.027878 | 0.027878 | 0.027878 | 0.97481 | -0.17709 | 0.97537 | -0.17306 | 10.3251
11 | -0.022011 | -0.005519 | 0.022037 | 0.0055288 | 2.6536e-05 | 9.735e-06 | 0.03358 | 0.03358 | 0.03358 | 0.97537 | -0.17306 | 0.97658 | -0.16437 | 12.4372
12 | -0.024198 | -0.0060703 | 0.024242 | 0.0060865 | 4.3828e-05 | 1.6209e-05 | 0.036873 | 0.036872 | 0.036873 | 0.97658 | -0.16437 | 0.97841 | -0.15134 | 13.6565
13 | -0.0252 | -0.0063266 | 0.02523 | 0.0063376 | 2.9642e-05 | 1.0994e-05 | 0.038329 | 0.038329 | 0.038329 | 0.97841 | -0.15134 | 0.9796 | -0.14288 | 14.196
14 | -0.028067 | -0.0070486 | 0.028109 | 0.0070646 | 4.2674e-05 | 1.5939e-05 | 0.042639 | 0.042638 | 0.042639 | 0.9796 | -0.14288 | 0.98113 | -0.13196 | 15.7921
15 | -0.043051 | -0.01081 | 0.043126 | 0.010838 | 7.4683e-05 | 2.8369e-05 | 0.0653 | 0.0653 | 0.0653 | 0.98113 | -0.13196 | 0.98289 | -0.11949 | 24.1851
16 | 0.014942 | 0.0037455 | -0.014934 | -0.0037428 | 7.6616e-06 | 2.645e-06 | 0.022661 | 0.022662 | 0.022662 | 0.98113 | -0.13196 | 0.98061 | -0.13566 | 8.3932
17 | -0.021162 | -0.0053034 | 0.021167 | 0.0053054 | 5.5576e-06 | 2.0325e-06 | 0.032406 | 0.032406 | 0.032406 | 0.97169 | -0.19876 | 0.97196 | -0.19686 | 12.0022
18 | 0.013298 | 0.0033326 | -0.013293 | -0.0033307 | 5.4537e-06 | 1.8366e-06 | 0.020364 | 0.020364 | 0.020364 | 0.97169 | -0.19876 | 0.97128 | -0.20172 | 7.5423
19 | -0.023269 | -0.0058323 | 0.023273 | 0.0058337 | 3.8083e-06 | 1.4051e-06 | 0.035625 | 0.035624 | 0.035625 | 0.97196 | -0.19686 | 0.97212 | -0.19568 | 13.1943
20 | 0.0012677 | 0.0003176 | -0.0012677 | -0.00031771 | 2.3287e-08 | -1.135e-07 | 0.0019421 | 0.0019421 | 0.0019421 | 0.97128 | -0.20172 | 0.97126 | -0.20185 | 0.71931
21 | 0.0042513 | 0.0010649 | -0.0042503 | -0.001065 | 1.0365e-06 | -8.5869e-08 | 0.0065129 | 0.0065131 | 0.0065131 | 0.97128 | -0.20172 | 0.97104 | -0.20348 | 2.4123
22 | -0.025798 | -0.0064664 | 0.025811 | 0.0064714 | 1.3529e-05 | 5.0311e-06 | 0.039489 | 0.039489 | 0.039489 | 0.97212 | -0.19568 | 0.97265 | -0.19189 | 14.6255
23 | 0.0036474 | 0.00091388 | -0.0036469 | -0.000914 | 5.0453e-07 | -1.2607e-07 | 0.0055892 | 0.0055893 | 0.0055893 | 0.97104 | -0.20348 | 0.9709 | -0.20448 | 2.0701
24 | 0.0015774 | 0.00039516 | -0.0015773 | -0.00039532 | 4.6161e-08 | -1.5841e-07 | 0.0023471 | 0.0023472 | 0.0023472 | 1 | 0 | 0.99997 | -0.00021148 | 0.86932
25 | 0.073391 | 0.018619 | -0.071981 | -0.018098 | 0.0014097 | 0.00052028 | 0.10929 | 0.10929 | 0.10929 | 1 | 0 | 0.9802 | -0.13793 | 13.4931
26 | 0.070778 | 0.017797 | -0.07069 | -0.017763 | 8.8166e-05 | 3.3756e-05 | 0.10747 | 0.10747 | 0.10747 | 0.9802 | -0.13793 | 0.97894 | -0.14688 | 39.8028
27 | -0.028149 | -0.0070574 | 0.028151 | 0.0070579 | 1.3636e-06 | 5.0983e-07 | 0.043066 | 0.043066 | 0.043066 | 0.97265 | -0.19189 | 0.97269 | -0.19154 | 15.9502
28 | -0.037024 | -0.0092817 | 0.037071 | 0.0092995 | 4.7024e-05 | 1.7794e-05 | 0.05664 | 0.05664 | 0.05664 | 0.97269 | -0.19154 | 0.97397 | -0.18238 | 20.9777
29 | -0.049005 | -0.01229 | 0.049035 | 0.012302 | 3.0216e-05 | 1.1514e-05 | 0.074872 | 0.074872 | 0.074872 | 0.97397 | -0.18238 | 0.97459 | -0.17794 | 27.7305
30 | 0.011934 | 0.0029909 | -0.01193 | -0.0029896 | 4.0965e-06 | 1.3299e-06 | 0.018233 | 0.018233 | 0.018233 | 0.97397 | -0.18238 | 0.97362 | -0.18486 | 6.7529
31 | -0.056743 | -0.014234 | 0.05689 | 0.01429 | 0.00014761 | 5.6381e-05 | 0.08664 | 0.08664 | 0.08664 | 0.97459 | -0.17794 | 0.9772 | -0.15923 | 32.0889
32 | 0.0086053 | 0.0021564 | -0.0086033 | -0.0021558 | 1.9921e-06 | 5.367e-07 | 0.013152 | 0.013152 | 0.013152 | 0.97362 | -0.18486 | 0.97339 | -0.18654 | 4.871
33 | -0.058392 | -0.014666 | 0.058432 | 0.014681 | 3.934e-05 | 1.5031e-05 | 0.088927 | 0.088927 | 0.088927 | 0.9772 | -0.15923 | 0.97788 | -0.15439 | 32.9359
34 | 0.0062949 | 0.0015773 | -0.0062935 | -0.001577 | 1.3499e-06 | 2.2885e-07 | 0.0096228 | 0.0096229 | 0.0096229 | 0.97339 | -0.18654 | 0.97318 | -0.18809 | 3.564
35 | -0.064763 | -0.016268 | 0.064771 | 0.016271 | 8.1353e-06 | 3.1121e-06 | 0.098562 | 0.098562 | 0.098562 | 0.97788 | -0.15439 | 0.97801 | -0.15349 | 36.5043
36 | 0.0050584 | 0.0012675 | -0.0050574 | -0.0012674 | 9.9393e-07 | 5.1509e-08 | 0.0077343 | 0.0077344 | 0.0077344 | 0.97318 | -0.18809 | 0.97298 | -0.18951 | 2.8646
37 | 0.0023147 | 0.00058006 | -0.0023147 | -0.00058011 | 3.8411e-08 | -4.6234e-08 | 0.0035399 | 0.00354 | 0.00354 | 0.97298 | -0.18951 | 0.97296 | -0.18963 | 1.3111
38 | -0.069699 | -0.017506 | 0.069763 | 0.017531 | 6.4028e-05 | 2.4512e-05 | 0.10606 | 0.10606 | 0.10606 | 0.97801 | -0.15349 | 0.97894 | -0.14688 | 39.2809
39 | 0.0045602 | 0.0011425 | -0.0045589 | -0.0011426 | 1.2474e-06 | -5.1671e-08 | 0.0069036 | 0.0069038 | 0.0069038 | 0.98289 | -0.11949 | 0.98261 | -0.12147 | 2.557
40 | -0.047686 | -0.011981 | 0.047796 | 0.012023 | 0.00010974 | 4.1778e-05 | 0.072203 | 0.072203 | 0.072203 | 0.98289 | -0.11949 | 0.98522 | -0.10299 | 26.742
41 | -0.056151 | -0.014117 | 0.056384 | 0.014206 | 0.00023376 | 8.9242e-05 | 0.084822 | 0.084822 | 0.084822 | 0.98522 | -0.10299 | 0.98945 | -0.073233 | 31.4155
42 | 0.0083549 | 0.0020938 | -0.0083528 | -0.0020932 | 2.1677e-06 | 5.5599e-07 | 0.012619 | 0.012619 | 0.012619 | 0.98522 | -0.10299 | 0.98496 | -0.10487 | 4.6736
43 | -0.064206 | -0.016166 | 0.064504 | 0.01628 | 0.00029731 | 0.00011369 | 0.096585 | 0.096585 | 0.096585 | 0.98945 | -0.073233 | 0.99418 | -0.040247 | 35.7722
44 | 0.0078221 | 0.0019601 | -0.0078204 | -0.0019597 | 1.7361e-06 | 4.0955e-07 | 0.011763 | 0.011763 | 0.011763 | 0.98945 | -0.073233 | 0.98923 | -0.074837 | 4.3568
45 | 0.005817 | 0.0014577 | -0.005817 | -0.0014577 | 3.9073e-08 | 4.7084e-09 | 0.0087879 | 0.0087879 | 0.0087879 | 0.98496 | -0.10487 | 0.98495 | -0.10492 | 3.2548
46 | 0.0032775 | 0.00082125 | -0.0032773 | -0.00082136 | 2.4243e-07 | -1.0843e-07 | 0.0049514 | 0.0049515 | 0.0049515 | 0.98495 | -0.10492 | 0.98488 | -0.10545 | 1.8339
47 | 0.0034283 | 0.00085862 | -0.0034279 | -0.00085876 | 3.6084e-07 | -1.4599e-07 | 0.005131 | 0.0051311 | 0.0051311 | 0.99418 | -0.040247 | 0.99407 | -0.041008 | 1.9004
48 | 0.0054277 | 0.00136 | -0.0054274 | -0.00136 | 2.7635e-07 | 2.0996e-08 | 0.0081644 | 0.0081644 | 0.0081644 | 0.98923 | -0.074837 | 0.98917 | -0.075205 | 3.0239
49 | 0.0023673 | 0.00059294 | -0.0023673 | -0.00059296 | 1.7623e-08 | -2.2381e-08 | 0.0035435 | 0.0035435 | 0.0035435 | 0.99407 | -0.041008 | 0.99406 | -0.041062 | 1.3124
50 | 0.0042951 | 0.0010762 | -0.0042945 | -0.0010763 | 5.3967e-07 | -5.8346e-08 | 0.006461 | 0.0064611 | 0.0064611 | 0.98917 | -0.075205 | 0.98905 | -0.076113 | 2.393
51 | 0.0021729 | 0.00054452 | -0.0021728 | -0.00054457 | 3.1307e-08 | -4.8207e-08 | 0.0032691 | 0.0032691 | 0.0032691 | 0.98905 | -0.076113 | 0.98903 | -0.076217 | 1.2108
52 | 0.0015235 | 0.00038149 | -0.0015234 | -0.0003818 | 8.632e-08 | -3.1162e-07 | 0.0022804 | 0.0022805 | 0.0022805 | 0.99406 | -0.041062 | 0.99401 | -0.041472 | 0.84464

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14679 | 0.036979

## res_load
| p_mw | q_mvar
0 | 0.002297 | 0.00057567
1 | 0.0015507 | 0.00038863
2 | 0.0020658 | 0.00051775
3 | 0.0016922 | 0.0004241
4 | 0.0027243 | 0.00068277
5 | 0.0021178 | 0.00053076
6 | 0.00058151 | 0.00014574
7 | 0.0063132 | 0.0015822
8 | 0.0015981 | 0.00040051
9 | 0.003738 | 0.00093683
10 | 0.0021607 | 0.00054152
11 | 0.00095796 | 0.00024009
12 | 0.0028371 | 0.00071105
13 | 0.0078635 | 0.0019708
14 | 0.0021023 | 0.00052688
15 | 0.0077736 | 0.0019483
16 | 0.0025247 | 0.00063274
17 | 0.0012677 | 0.00031771
18 | 0.00060289 | 0.0001511
19 | 0.0015773 | 0.00039532
20 | 0.0012031 | 0.00030153
21 | 0.0023379 | 0.00058592
22 | 0.0036469 | 0.000914
23 | 0.0088733 | 0.0022238
24 | 0.0077073 | 0.0019316
25 | 0.0033247 | 0.00083324
26 | 0.001502 | 0.00037643
27 | 0.0023085 | 0.00057856
28 | 0.0063317 | 0.0015869
29 | 0.0012352 | 0.00030956
30 | 0.0027427 | 0.00068738
31 | 0.0023147 | 0.00058011
32 | 0.0049273 | 0.0012349
33 | 0.00092699 | 0.00023233
34 | 0.014934 | 0.0037428
35 | 0.0045589 | 0.0011426
36 | 0.0025358 | 0.00063552
37 | 0.0025395 | 0.00063645
38 | 0.0032773 | 0.00082136
39 | 0.0023927 | 0.00059966
40 | 0.0010606 | 0.00026582
41 | 0.0011323 | 0.00028379
42 | 0.0021217 | 0.00053174
43 | 0.0021728 | 0.00054457
44 | 0.00084378 | 0.00021147
45 | 0.0015234 | 0.0003818

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1