## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2022-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2022-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2022-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2022-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2022-2_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2022-2_0_3_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_2022-2_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_2022-2_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2022-2_0_3_node_80 | 0.4 | n |  | TRUE
9 | bus_LV_2022-2_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_2022-2_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2022-2_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2022-2_0_3_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_2022-2_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2022-2_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2022-2_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2022-2_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2022-2_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2022-2_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2022-2_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2022-2_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_2022-2_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2022-2_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2022-2_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2022-2_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_2022-2_0_3_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_2022-2_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_2022-2_0_3_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_2022-2_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2022-2_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2022-2_0_3_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_2022-2_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2022-2_0_3_node_77 | 0.4 | n |  | TRUE
33 | bus_LV_2022-2_0_3_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_2022-2_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2022-2_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2022-2_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2022-2_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2022-2_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_2022-2_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_2022-2_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2022-2_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2022-2_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_2022-2_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_2022-2_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2022-2_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2022-2_0_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_2022-2_0_3_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_2022-2_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_2022-2_0_3_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_2022-2_0_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_2022-2_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_2022-2_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_2022-2_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2022-2_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_2022-2_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_2022-2_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_2022-2_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_2022-2_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_2022-2_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_2022-2_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_2022-2_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_2022-2_0_3_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_2022-2_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_2022-2_0_3_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_2022-2_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_2022-2_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_2022-2_0_3_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_2022-2_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_2022-2_0_3_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_2022-2_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_2022-2_0_3_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_2022-2_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_2022-2_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_2022-2_0_3_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_2022-2_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_2022-2_0_3_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_2022-2_0_3_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_2022-2_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_2022-2_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_2022-2_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_MV_377_0_node_243 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2022-2_0_3_load_0 | 0 | 0.0031664 | 0.00079357 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2022-2_0_3_load_1 | 1 | 0.0040248 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2022-2_0_3_load_79 | 5 | 0.0020727 | 0.00051947 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2022-2_0_3_load_8 | 6 | 0.0017493 | 0.00043842 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2022-2_0_3_load_5 | 7 | 0.0028953 | 0.00072564 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2022-2_0_3_load_80 | 8 | 0.00097146 | 0.00024347 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2022-2_0_3_load_4 | 9 | 0.0026181 | 0.00065615 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2022-2_0_3_load_6 | 10 | 0.0068384 | 0.0017139 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2022-2_0_3_load_73 | 12 | 0.0018893 | 0.00047351 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2022-2_0_3_load_9 | 14 | 0.0016461 | 0.00041255 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2022-2_0_3_load_10 | 15 | 0.001509 | 0.00037819 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2022-2_0_3_load_12 | 16 | 0.001728 | 0.00043308 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2022-2_0_3_load_15 | 18 | 0.0024543 | 0.00061512 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2022-2_0_3_load_20 | 20 | 0.0012324 | 0.00030886 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2022-2_0_3_load_16 | 21 | 0.0054228 | 0.0013591 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2022-2_0_3_load_17 | 23 | 0.0011148 | 0.0002794 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2022-2_0_3_load_21 | 24 | 0.0014853 | 0.00037226 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2022-2_0_3_load_72 | 25 | 0.0033025 | 0.00082768 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2022-2_0_3_load_57 | 27 | 0.002938 | 0.00073633 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2022-2_0_3_load_28 | 28 | 0.0018601 | 0.00046619 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2022-2_0_3_load_26 | 29 | 0.0011892 | 0.00029804 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2022-2_0_3_load_58 | 30 | 0.00075231 | 0.00018855 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2022-2_0_3_load_22 | 31 | 0.0011757 | 0.00029465 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2022-2_0_3_load_77 | 32 | 0.0011049 | 0.00027692 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2022-2_0_3_load_78 | 33 | 0.0011634 | 0.00029159 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2022-2_0_3_load_23 | 34 | 0.00087896 | 0.00022029 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2022-2_0_3_load_24 | 35 | 0.001549 | 0.00038821 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2022-2_0_3_load_25 | 36 | 0.0011626 | 0.00029139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2022-2_0_3_load_33 | 38 | 0.001196 | 0.00029976 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2022-2_0_3_load_30 | 39 | 0.0026339 | 0.00066012 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2022-2_0_3_load_29 | 40 | 0.002735 | 0.00068545 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2022-2_0_3_load_31 | 41 | 0.0032953 | 0.00082589 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2022-2_0_3_load_36 | 44 | 0.002345 | 0.00058771 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2022-2_0_3_load_37 | 45 | 0.002072 | 0.0005193 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2022-2_0_3_load_54 | 46 | 0.0013211 | 0.0003311 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2022-2_0_3_load_51 | 47 | 0.0013585 | 0.00034048 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2022-2_0_3_load_38 | 48 | 0.0011667 | 0.00029241 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2022-2_0_3_load_48 | 49 | 0.0018272 | 0.00045794 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2022-2_0_3_load_55 | 50 | 0.0016225 | 0.00040665 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2022-2_0_3_load_52 | 51 | 0.0010299 | 0.00025811 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2022-2_0_3_load_39 | 52 | 0.0027335 | 0.00068508 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2022-2_0_3_load_44 | 53 | 0.0015925 | 0.00039911 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2022-2_0_3_load_40 | 54 | 0.0013801 | 0.00034588 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2022-2_0_3_load_41 | 55 | 0.001244 | 0.00031177 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2022-2_0_3_load_45 | 58 | 0.0023919 | 0.00059946 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2022-2_0_3_load_47 | 59 | 0.0017466 | 0.00043774 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2022-2_0_3_load_49 | 60 | 0.001782 | 0.00044661 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2022-2_0_3_load_60 | 62 | 0.0032488 | 0.00081424 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2022-2_0_3_load_59 | 63 | 0.0086753 | 0.0021742 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2022-2_0_3_load_75 | 64 | 0.001931 | 0.00048396 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2022-2_0_3_load_61 | 66 | 0.0061912 | 0.0015517 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2022-2_0_3_load_76 | 67 | 0.0026226 | 0.00065728 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2022-2_0_3_load_56 | 68 | 0.0012847 | 0.00032198 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2022-2_0_3_load_70 | 70 | 0.012081 | 0.0030278 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2022-2_0_3_load_53 | 71 | 0.0021497 | 0.00053876 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2022-2_0_3_load_62 | 72 | 0.00085287 | 0.00021375 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2022-2_0_3_load_63 | 73 | 0.0014781 | 0.00037046 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2022-2_0_3_load_65 | 75 | 0.0020494 | 0.00051362 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2022-2_0_3_load_66 | 76 | 0.0014016 | 0.00035128 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2022-2_0_3_load_67 | 77 | 0.00037839 | 9.4834e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2022-2_0_3_load_68 | 78 | 0.002482 | 0.00062204 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2022-2_0_3_load_69 | 79 | 0.0010931 | 0.00027395 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2022-2_0_3_load_74 | 80 | 0.0027364 | 0.0006858 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2022-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.059713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2022-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.046862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2022-2_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.065751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2022-2_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.007496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2022-2_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.017846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2022-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.03176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2022-2_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.013294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2022-2_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.051252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2022-2_0_3_line_8 | NAYY 4x150 SE | 6 | 11 | 0.012696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2022-2_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.00091456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2022-2_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.010608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2022-2_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.035944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2022-2_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.043975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2022-2_0_3_line_13 | NAYY 4x150 SE | 12 | 25 | 0.0045494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2022-2_0_3_line_14 | NAYY 4x150 SE | 13 | 17 | 0.045366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2022-2_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.011629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2022-2_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0043412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2022-2_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.020201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2022-2_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.00069064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2022-2_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2022-2_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.016026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2022-2_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.015571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2022-2_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.036769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2022-2_0_3_line_23 | NAYY 4x150 SE | 19 | 23 | 0.064996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2022-2_0_3_line_24 | NAYY 4x150 SE | 20 | 24 | 0.0017002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2022-2_0_3_line_25 | NAYY 4x150 SE | 22 | 26 | 0.027153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2022-2_0_3_line_26 | NAYY 4x150 SE | 22 | 27 | 0.030653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2022-2_0_3_line_27 | NAYY 4x150 SE | 24 | 31 | 0.02073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2022-2_0_3_line_28 | NAYY 4x150 SE | 25 | 80 | 0.011217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2022-2_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.015386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2022-2_0_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.015696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2022-2_0_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.037957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2022-2_0_3_line_32 | NAYY 4x150 SE | 28 | 37 | 0.036768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2022-2_0_3_line_33 | NAYY 4x150 SE | 29 | 35 | 0.025408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2022-2_0_3_line_34 | NAYY 4x150 SE | 30 | 63 | 0.031781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2022-2_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.00038725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2022-2_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.015346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2022-2_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.019722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2022-2_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0036307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2022-2_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.015915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2022-2_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.022479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2022-2_0_3_line_41 | NAYY 4x150 SE | 38 | 42 | 0.03578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2022-2_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.020218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2022-2_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.016394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2022-2_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.050104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2022-2_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.01772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2022-2_0_3_line_46 | NAYY 4x150 SE | 42 | 45 | 0.022764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2022-2_0_3_line_47 | NAYY 4x150 SE | 43 | 46 | 0.018797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2022-2_0_3_line_48 | NAYY 4x150 SE | 43 | 47 | 0.022811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2022-2_0_3_line_49 | NAYY 4x150 SE | 44 | 48 | 0.0017415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2022-2_0_3_line_50 | NAYY 4x150 SE | 45 | 49 | 0.0018838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2022-2_0_3_line_51 | NAYY 4x150 SE | 46 | 50 | 0.02279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2022-2_0_3_line_52 | NAYY 4x150 SE | 47 | 51 | 0.022531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2022-2_0_3_line_53 | NAYY 4x150 SE | 48 | 52 | 0.034373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2022-2_0_3_line_54 | NAYY 4x150 SE | 49 | 53 | 0.052286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2022-2_0_3_line_55 | NAYY 4x150 SE | 51 | 71 | 0.0047694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2022-2_0_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.005272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2022-2_0_3_line_57 | NAYY 4x150 SE | 53 | 56 | 0.022372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2022-2_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.018392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2022-2_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.048742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2022-2_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.035158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2022-2_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.021539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2022-2_0_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.020384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2022-2_0_3_line_63 | NAYY 4x150 SE | 59 | 64 | 0.00096007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2022-2_0_3_line_64 | NAYY 4x150 SE | 60 | 65 | 0.047898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2022-2_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.039795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2022-2_0_3_line_66 | NAYY 4x150 SE | 61 | 63 | 0.021018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2022-2_0_3_line_67 | NAYY 4x150 SE | 62 | 66 | 0.044504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2022-2_0_3_line_68 | NAYY 4x150 SE | 64 | 67 | 0.020527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2022-2_0_3_line_69 | NAYY 4x150 SE | 65 | 68 | 0.030468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2022-2_0_3_line_70 | NAYY 4x150 SE | 65 | 69 | 0.14986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2022-2_0_3_line_71 | NAYY 4x150 SE | 66 | 72 | 0.024011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2022-2_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.016712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2022-2_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.019086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2022-2_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0059617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2022-2_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.031532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2022-2_0_3_line_76 | NAYY 4x150 SE | 74 | 76 | 0.016939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2022-2_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.0037655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2022-2_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.035077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2022-2_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.0069219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2022-2_0_3_trafo_27 | 0.25 MVA 20/0.4 kV | 81 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2561570.086 | 1193869.7578 | 2561516.0787 | 1193844.2857
1 | 2561613.6846 | 1193886.276 | 2561596.5043 | 1193882.2177 | 2561570.086 | 1193869.7578
2 | 2561613.6846 | 1193886.276 | 2561593.1192 | 1193911.5667 | 2561572.2062 | 1193937.2932
3 | 2561567.4732 | 1193943.1158 | 2561572.2062 | 1193937.2932
4 | 2561572.2062 | 1193937.2932 | 2561586.0347 | 1193948.5745
5 | 2561567.4732 | 1193943.1158 | 2561548.0686 | 1193968.259
6 | 2561567.4732 | 1193943.1158 | 2561557.3504 | 1193934.4979
7 | 2561625.7479 | 1193980.9726 | 2561586.0347 | 1193948.5745
8 | 2561540.3116 | 1193978.3101 | 2561548.0686 | 1193968.259
9 | 2561556.654 | 1193933.905 | 2561557.3504 | 1193934.4979
10 | 2561548.5769 | 1193927.0287 | 2561556.654 | 1193933.905
11 | 2561540.3116 | 1193978.3101 | 2561512.0405 | 1193956.1133
12 | 2561540.3116 | 1193978.3101 | 2561512.7714 | 1194012.6509
13 | 2561508.4622 | 1193953.3038 | 2561512.0405 | 1193956.1133
14 | 2561486.6135 | 1194049.7623 | 2561512.7714 | 1194012.6509
15 | 2561512.7714 | 1194012.6509 | 2561503.3437 | 1194005.8425
16 | 2561503.3437 | 1194005.8425 | 2561499.8243 | 1194003.3009
17 | 2561483.4474 | 1193991.4738 | 2561499.8243 | 1194003.3009
18 | 2561483.4474 | 1193991.4738 | 2561482.8875 | 1193991.0695
19 | 2561486.6135 | 1194049.7623 | 2561479.1125 | 1194060.0052 | 2561471.9208 | 1194069.7681
20 | 2561486.6135 | 1194049.7623 | 2561473.7956 | 1194040.143
21 | 2561470.2637 | 1193981.9529 | 2561482.8875 | 1193991.0695
22 | 2561500.8883 | 1194092.5158 | 2561471.9208 | 1194069.7681
23 | 2561471.9208 | 1194069.7681 | 2561436.8047 | 1194042.5245 | 2561420.5658 | 1194029.9292
24 | 2561473.7956 | 1194040.143 | 2561472.4357 | 1194039.1224
25 | 2561500.8883 | 1194092.5158 | 2561483.9329 | 1194113.7591
26 | 2561500.8883 | 1194092.5158 | 2561525.3036 | 1194111.0489
27 | 2561472.4357 | 1194039.1224 | 2561455.855 | 1194026.6793
28 | 2561499.64 | 1193946.3771 | 2561508.4622 | 1193953.3038
29 | 2561483.9329 | 1194113.7591 | 2561474.4432 | 1194125.8701
30 | 2561483.9329 | 1194113.7591 | 2561471.2861 | 1194104.4634
31 | 2561525.3036 | 1194111.0489 | 2561555.5365 | 1194133.9982
32 | 2561451.7657 | 1194154.8116 | 2561474.4432 | 1194125.8701
33 | 2561471.2861 | 1194104.4634 | 2561450.8134 | 1194089.4156
34 | 2561580.8509 | 1194153.2138 | 2561555.5365 | 1194133.9982
35 | 2561455.5453 | 1194026.4468 | 2561455.855 | 1194026.6793
36 | 2561443.2711 | 1194017.2355 | 2561455.5453 | 1194026.4468
37 | 2561434.9221 | 1194077.735 | 2561450.8134 | 1194089.4156
38 | 2561431.9967 | 1194075.5848 | 2561434.9221 | 1194077.735
39 | 2561451.7657 | 1194154.8116 | 2561442.0692 | 1194167.4317
40 | 2561451.7657 | 1194154.8116 | 2561434.077 | 1194140.9404
41 | 2561420.2692 | 1194195.8043 | 2561442.0692 | 1194167.4317
42 | 2561418.1671 | 1194128.4642 | 2561434.077 | 1194140.9404
43 | 2561405.2665 | 1194118.3478 | 2561418.1671 | 1194128.4642
44 | 2561420.2692 | 1194195.8043 | 2561404.096 | 1194215.3641 | 2561388.6838 | 1194234.7634
45 | 2561420.2692 | 1194195.8043 | 2561412.2038 | 1194188.2523 | 2561407.0356 | 1194184.0343
46 | 2561420.2692 | 1194195.8043 | 2561437.1237 | 1194211.1058
47 | 2561388.6838 | 1194234.7634 | 2561376.9861 | 1194249.4764
48 | 2561388.6838 | 1194234.7634 | 2561407.3717 | 1194247.8441
49 | 2561407.0356 | 1194184.0343 | 2561405.6864 | 1194182.9331
50 | 2561437.1237 | 1194211.1058 | 2561438.5184 | 1194212.372
51 | 2561362.8029 | 1194267.3154 | 2561376.9861 | 1194249.4764
52 | 2561407.3717 | 1194247.8441 | 2561425.83 | 1194260.7641
53 | 2561405.6864 | 1194182.9331 | 2561379.0565 | 1194161.1989
54 | 2561477.2306 | 1194247.5172 | 2561438.5184 | 1194212.372
55 | 2561429.7373 | 1194263.499 | 2561425.83 | 1194260.7641
56 | 2561374.9722 | 1194157.8655 | 2561379.0565 | 1194161.1989
57 | 2561493.7944 | 1194262.5549 | 2561477.2306 | 1194247.5172
58 | 2561493.7944 | 1194262.5549 | 2561507.1572 | 1194249.9175
59 | 2561542.5712 | 1194216.4261 | 2561507.1572 | 1194249.9175
60 | 2561493.7944 | 1194262.5549 | 2561468.7059 | 1194287.1857
61 | 2561542.5712 | 1194216.4261 | 2561525.6848 | 1194203.0559
62 | 2561468.7059 | 1194287.1857 | 2561454.1599 | 1194301.4663
63 | 2561524.9321 | 1194202.4599 | 2561525.6848 | 1194203.0559
64 | 2561414.3023 | 1194327.6708 | 2561448.0055 | 1194307.5086 | 2561454.1599 | 1194301.4663
65 | 2561597.5921 | 1194165.9218 | 2561604.6786 | 1194158.75 | 2561625.4496 | 1194137.5036
66 | 2561597.5921 | 1194165.9218 | 2561580.8509 | 1194153.2138
67 | 2561625.4496 | 1194137.5036 | 2561640.881 | 1194121.7191 | 2561648.4838 | 1194114.2439 | 2561656.5871 | 1194105.7118
68 | 2561508.839 | 1194189.7178 | 2561524.9321 | 1194202.4599
69 | 2561414.3023 | 1194327.6708 | 2561385.6806 | 1194317.2249
70 | 2561414.3023 | 1194327.6708 | 2561401.5755 | 1194476.9907
71 | 2561656.5871 | 1194105.7118 | 2561673.1226 | 1194088.3013
72 | 2561401.5755 | 1194476.9907 | 2561400.2791 | 1194475.6539 | 2561398.6277 | 1194474.8196 | 2561396.7821 | 1194474.5648 | 2561394.9633 | 1194474.9323 | 2561393.3615 | 1194475.8654 | 2561392.1514 | 1194477.274 | 2561391.4768 | 1194479.0015 | 2561391.405 | 1194480.8586 | 2561391.9499 | 1194482.6338
73 | 2561673.1226 | 1194088.3013 | 2561686.2663 | 1194074.4622
74 | 2561690.3718 | 1194070.1395 | 2561686.2663 | 1194074.4622
75 | 2561690.3718 | 1194070.1395 | 2561699.4303 | 1194059.0975 | 2561710.5086 | 1194045.8757
76 | 2561690.3718 | 1194070.1395 | 2561702.8885 | 1194081.552
77 | 2561702.8885 | 1194081.552 | 2561705.6711 | 1194084.0891
78 | 2561705.6711 | 1194084.0891 | 2561727.3724 | 1194103.8761 | 2561732.2123 | 1194106.9033
79 | 2561732.2123 | 1194106.9033 | 2561738.0807 | 1194110.574

## bus_geodata
| x | y | coords
0 | 2561570.086 | 1193869.7578
1 | 2561516.0787 | 1193844.2857
2 | 2561613.6846 | 1193886.276
3 | 2561572.2062 | 1193937.2932
4 | 2561567.4732 | 1193943.1158
5 | 2561586.0347 | 1193948.5745
6 | 2561548.0686 | 1193968.259
7 | 2561557.3504 | 1193934.4979
8 | 2561625.7479 | 1193980.9726
9 | 2561556.654 | 1193933.905
10 | 2561548.5769 | 1193927.0287
11 | 2561540.3116 | 1193978.3101
12 | 2561512.0405 | 1193956.1133
13 | 2561512.7714 | 1194012.6509
14 | 2561503.3437 | 1194005.8425
15 | 2561499.8243 | 1194003.3009
16 | 2561483.4474 | 1193991.4738
17 | 2561486.6135 | 1194049.7623
18 | 2561482.8875 | 1193991.0695
19 | 2561471.9208 | 1194069.7681
20 | 2561473.7956 | 1194040.143
21 | 2561470.2637 | 1193981.9529
22 | 2561500.8883 | 1194092.5158
23 | 2561420.5658 | 1194029.9292
24 | 2561472.4357 | 1194039.1224
25 | 2561508.4622 | 1193953.3038
26 | 2561483.9329 | 1194113.7591
27 | 2561525.3036 | 1194111.0489
28 | 2561474.4432 | 1194125.8701
29 | 2561471.2861 | 1194104.4634
30 | 2561555.5365 | 1194133.9982
31 | 2561455.855 | 1194026.6793
32 | 2561455.5453 | 1194026.4468
33 | 2561443.2711 | 1194017.2355
34 | 2561434.9221 | 1194077.735
35 | 2561450.8134 | 1194089.4156
36 | 2561431.9967 | 1194075.5848
37 | 2561451.7657 | 1194154.8116
38 | 2561442.0692 | 1194167.4317
39 | 2561434.077 | 1194140.9404
40 | 2561418.1671 | 1194128.4642
41 | 2561405.2665 | 1194118.3478
42 | 2561420.2692 | 1194195.8043
43 | 2561388.6838 | 1194234.7634
44 | 2561407.0356 | 1194184.0343
45 | 2561437.1237 | 1194211.1058
46 | 2561376.9861 | 1194249.4764
47 | 2561407.3717 | 1194247.8441
48 | 2561405.6864 | 1194182.9331
49 | 2561438.5184 | 1194212.372
50 | 2561362.8029 | 1194267.3154
51 | 2561425.83 | 1194260.7641
52 | 2561379.0565 | 1194161.1989
53 | 2561477.2306 | 1194247.5172
54 | 2561374.9722 | 1194157.8655
55 | 2561507.1572 | 1194249.9175
56 | 2561493.7944 | 1194262.5549
57 | 2561542.5712 | 1194216.4261
58 | 2561468.7059 | 1194287.1857
59 | 2561525.6848 | 1194203.0559
60 | 2561454.1599 | 1194301.4663
61 | 2561597.5921 | 1194165.9218
62 | 2561625.4496 | 1194137.5036
63 | 2561580.8509 | 1194153.2138
64 | 2561524.9321 | 1194202.4599
65 | 2561414.3023 | 1194327.6708
66 | 2561656.5871 | 1194105.7118
67 | 2561508.839 | 1194189.7178
68 | 2561385.6806 | 1194317.2249
69 | 2561401.5755 | 1194476.9907
70 | 2561391.9499 | 1194482.6338
71 | 2561429.7373 | 1194263.499
72 | 2561673.1226 | 1194088.3013
73 | 2561686.2663 | 1194074.4622
74 | 2561690.3718 | 1194070.1395
75 | 2561710.5086 | 1194045.8757
76 | 2561702.8885 | 1194081.552
77 | 2561705.6711 | 1194084.0891
78 | 2561732.2123 | 1194106.9033
79 | 2561738.0807 | 1194110.574
80 | 2561499.64 | 1193946.3771
81 | 2561500.8883 | 1194092.5158

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98433 | -0.11007 | 0.0031664 | 0.00079357
1 | 0.98399 | -0.11255 | 0.0040248 | 0.0010087
2 | 0.98482 | -0.1066 | 0 | 0
3 | 0.98551 | -0.10173 | 0 | 0
4 | 0.98562 | -0.10094 | 0 | 0
5 | 0.98543 | -0.10229 | 0.0020727 | 0.00051947
6 | 0.98666 | -0.093567 | 0.0017493 | 0.00043842
7 | 0.98538 | -0.10263 | 0.0028953 | 0.00072564
8 | 0.98536 | -0.1028 | 0.00097146 | 0.00024347
9 | 0.98537 | -0.10271 | 0.0026181 | 0.00065615
10 | 0.98526 | -0.10346 | 0.0068384 | 0.0017139
11 | 0.9871 | -0.090396 | 0 | 0
12 | 0.98669 | -0.093318 | 0.0018893 | 0.00047351
13 | 0.98916 | -0.075877 | 0 | 0
14 | 0.98894 | -0.077392 | 0.0016461 | 0.00041255
15 | 0.98887 | -0.077884 | 0.001509 | 0.00037819
16 | 0.98859 | -0.079866 | 0.001728 | 0.00043308
17 | 0.99211 | -0.055082 | 0 | 0
18 | 0.98858 | -0.079921 | 0.0024543 | 0.00061512
19 | 0.99394 | -0.042221 | 0 | 0
20 | 0.99197 | -0.056084 | 0.0012324 | 0.00030886
21 | 0.98846 | -0.080784 | 0.0054228 | 0.0013591
22 | 0.99672 | -0.022823 | 0 | 0
23 | 0.99384 | -0.042955 | 0.0011148 | 0.0002794
24 | 0.99195 | -0.05617 | 0.0014853 | 0.00037226
25 | 0.98665 | -0.093599 | 0.0033025 | 0.00082768
26 | 1 | 0 | -0.14834 | -0.037155
27 | 0.99533 | -0.032559 | 0.002938 | 0.00073633
28 | 0.99873 | -0.0088387 | 0.0018601 | 0.00046619
29 | 0.99989 | -0.00074968 | 0.0011892 | 0.00029804
30 | 0.99376 | -0.043525 | 0.00075231 | 0.00018855
31 | 0.99185 | -0.056894 | 0.0011757 | 0.00029465
32 | 0.99185 | -0.056903 | 0.0011049 | 0.00027692
33 | 0.99182 | -0.057084 | 0.0011634 | 0.00029159
34 | 0.99971 | -0.0020637 | 0.00087896 | 0.00022029
35 | 0.99976 | -0.0016614 | 0.001549 | 0.00038821
36 | 0.9997 | -0.0021059 | 0.0011626 | 0.00029139
37 | 0.99579 | -0.029362 | 0 | 0
38 | 0.99471 | -0.036891 | 0.001196 | 0.00029976
39 | 0.99551 | -0.031324 | 0.0026339 | 0.00066012
40 | 0.99533 | -0.032553 | 0.002735 | 0.00068545
41 | 0.99526 | -0.033097 | 0.0032953 | 0.00082589
42 | 0.99235 | -0.053443 | 0 | 0
43 | 0.99181 | -0.05725 | 0 | 0
44 | 0.99216 | -0.054814 | 0.002345 | 0.00058771
45 | 0.99135 | -0.060515 | 0.002072 | 0.0005193
46 | 0.99173 | -0.057812 | 0.0013211 | 0.0003311
47 | 0.99166 | -0.058301 | 0.0013585 | 0.00034048
48 | 0.99214 | -0.054907 | 0.0011667 | 0.00029241
49 | 0.99127 | -0.061062 | 0.0018272 | 0.00045794
50 | 0.99168 | -0.058188 | 0.0016225 | 0.00040665
51 | 0.99156 | -0.059029 | 0.0010299 | 0.00025811
52 | 0.99194 | -0.056342 | 0.0027335 | 0.00068508
53 | 0.98925 | -0.075281 | 0.0015925 | 0.00039911
54 | 0.99193 | -0.056416 | 0.0013801 | 0.00034588
55 | 0.98824 | -0.082437 | 0.001244 | 0.00031177
56 | 0.98844 | -0.081018 | 0 | 0
57 | 0.9878 | -0.08558 | 0 | 0
58 | 0.98755 | -0.087332 | 0.0023919 | 0.00059946
59 | 0.9876 | -0.086969 | 0.0017466 | 0.00043774
60 | 0.9871 | -0.090499 | 0.001782 | 0.00044661
61 | 0.99191 | -0.05658 | 0 | 0
62 | 0.99081 | -0.064338 | 0.0032488 | 0.00081424
63 | 0.99249 | -0.05249 | 0.0086753 | 0.0021742
64 | 0.98759 | -0.087014 | 0.001931 | 0.00048396
65 | 0.98617 | -0.097073 | 0 | 0
66 | 0.98979 | -0.071558 | 0.0061912 | 0.0015517
67 | 0.98752 | -0.087565 | 0.0026226 | 0.00065728
68 | 0.98612 | -0.097475 | 0.0012847 | 0.00032198
69 | 0.98355 | -0.11572 | 0 | 0
70 | 0.98326 | -0.1178 | 0.012081 | 0.0030278
71 | 0.99155 | -0.059133 | 0.0021497 | 0.00053876
72 | 0.98945 | -0.073943 | 0.00085287 | 0.00021375
73 | 0.98921 | -0.075674 | 0.0014781 | 0.00037046
74 | 0.98915 | -0.076125 | 0 | 0
75 | 0.98905 | -0.076785 | 0.0020494 | 0.00051362
76 | 0.98901 | -0.077051 | 0.0014016 | 0.00035128
77 | 0.98899 | -0.077203 | 0.00037839 | 9.4834e-05
78 | 0.98881 | -0.078484 | 0.002482 | 0.00062204
79 | 0.9888 | -0.078561 | 0.0010931 | 0.00027395
80 | 0.98661 | -0.093914 | 0.0027364 | 0.0006858
81 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0040261 | 0.0010085 | -0.0040248 | -0.0010087 | 1.3802e-06 | -2.2792e-07 | 0.0060861 | 0.0060864 | 0.0060864 | 0.98433 | -0.11007 | 0.98399 | -0.11255 | 2.2542
1 | -0.0071925 | -0.001802 | 0.007196 | 0.0018028 | 3.4568e-06 | 7.3355e-07 | 0.010873 | 0.010872 | 0.010873 | 0.98433 | -0.11007 | 0.98482 | -0.1066 | 4.0269
2 | -0.007196 | -0.0018028 | 0.0072008 | 0.0018038 | 4.8499e-06 | 1.0281e-06 | 0.010872 | 0.010872 | 0.010872 | 0.98482 | -0.1066 | 0.98551 | -0.10173 | 4.0268
3 | -0.010245 | -0.002566 | 0.010246 | 0.0025663 | 1.1192e-06 | 3.3495e-07 | 0.015469 | 0.015469 | 0.015469 | 0.98551 | -0.10173 | 0.98562 | -0.10094 | 5.7292
4 | 0.0030445 | 0.00076218 | -0.0030442 | -0.00076232 | 2.3529e-07 | -1.3688e-07 | 0.0045966 | 0.0045966 | 0.0045966 | 0.98551 | -0.10173 | 0.98543 | -0.10229 | 1.7025
5 | -0.022602 | -0.0056631 | 0.022625 | 0.0056715 | 2.3075e-05 | 8.4698e-06 | 0.034122 | 0.034122 | 0.034122 | 0.98562 | -0.10094 | 0.98666 | -0.093567 | 12.6379
6 | 0.012356 | 0.0030968 | -0.012353 | -0.0030958 | 2.8865e-06 | 9.4081e-07 | 0.018654 | 0.018654 | 0.018654 | 0.98562 | -0.10094 | 0.98538 | -0.10263 | 6.9087
7 | 0.00097153 | 0.00024284 | -0.00097146 | -0.00024347 | 6.8819e-08 | -6.2642e-07 | 0.0014668 | 0.001467 | 0.001467 | 0.98543 | -0.10229 | 0.98536 | -0.1028 | 0.54335
8 | -0.024374 | -0.00611 | 0.024385 | 0.0061139 | 1.0706e-05 | 3.9554e-06 | 0.03676 | 0.03676 | 0.03676 | 0.98666 | -0.093567 | 0.9871 | -0.090396 | 13.6149
9 | 0.0094573 | 0.0023702 | -0.0094572 | -0.0023702 | 1.164e-07 | 3.3118e-08 | 0.014281 | 0.014281 | 0.014281 | 0.98538 | -0.10263 | 0.98537 | -0.10271 | 5.2894
10 | 0.0068391 | 0.001714 | -0.0068384 | -0.0017139 | 7.0603e-07 | 1.3644e-07 | 0.010328 | 0.010328 | 0.010328 | 0.98537 | -0.10271 | 0.98526 | -0.10346 | 3.8251
11 | 0.0079317 | 0.0019877 | -0.0079285 | -0.0019869 | 3.2065e-06 | 7.74e-07 | 0.011957 | 0.011957 | 0.011957 | 0.9871 | -0.090396 | 0.98669 | -0.093318 | 4.4285
12 | -0.032317 | -0.0081016 | 0.032382 | 0.0081261 | 6.5125e-05 | 2.4485e-05 | 0.048717 | 0.048717 | 0.048717 | 0.9871 | -0.090396 | 0.98916 | -0.075877 | 18.0433
13 | 0.0060392 | 0.0015134 | -0.006039 | -0.0015134 | 2.3548e-07 | 3.2463e-08 | 0.0091076 | 0.0091076 | 0.0091076 | 0.98669 | -0.093318 | 0.98665 | -0.093599 | 3.3732
14 | -0.045149 | -0.011326 | 0.04528 | 0.011376 | 0.0001306 | 4.9647e-05 | 0.067923 | 0.067922 | 0.067923 | 0.98916 | -0.075877 | 0.99211 | -0.055082 | 25.1565
15 | 0.012767 | 0.0032 | -0.012764 | -0.0031991 | 2.6767e-06 | 8.8026e-07 | 0.019206 | 0.019206 | 0.019206 | 0.98916 | -0.075877 | 0.98894 | -0.077392 | 7.1133
16 | 0.011118 | 0.0027865 | -0.011118 | -0.0027863 | 7.5813e-07 | 2.3589e-07 | 0.016729 | 0.016729 | 0.016729 | 0.98894 | -0.077392 | 0.98887 | -0.077884 | 6.196
17 | 0.0096085 | 0.0024081 | -0.0096059 | -0.0024074 | 2.6352e-06 | 7.5445e-07 | 0.014459 | 0.014459 | 0.014459 | 0.98887 | -0.077884 | 0.98859 | -0.079866 | 5.3551
18 | 0.0078779 | 0.0019743 | -0.0078778 | -0.0019743 | 6.0595e-08 | 1.4451e-08 | 0.011858 | 0.011858 | 0.011858 | 0.98859 | -0.079866 | 0.98858 | -0.079921 | 4.3917
19 | -0.051443 | -0.01292 | 0.051535 | 0.012955 | 9.2148e-05 | 3.5121e-05 | 0.077166 | 0.077166 | 0.077166 | 0.99211 | -0.055082 | 0.99394 | -0.042221 | 28.58
20 | 0.006163 | 0.0015441 | -0.0061622 | -0.001544 | 8.5444e-07 | 1.2172e-07 | 0.0092435 | 0.0092436 | 0.0092436 | 0.99211 | -0.055082 | 0.99197 | -0.056084 | 3.4235
21 | 0.0054235 | 0.0013591 | -0.0054228 | -0.0013591 | 6.4753e-07 | 4.9424e-08 | 0.0081634 | 0.0081635 | 0.0081635 | 0.98858 | -0.079921 | 0.98846 | -0.080784 | 3.0235
22 | -0.05265 | -0.013234 | 0.052792 | 0.013288 | 0.00014259 | 5.4366e-05 | 0.078835 | 0.078834 | 0.078835 | 0.99394 | -0.042221 | 0.99672 | -0.022823 | 29.198
23 | 0.0011149 | 0.0002786 | -0.0011148 | -0.0002794 | 1.1297e-07 | -7.9886e-07 | 0.0016688 | 0.0016691 | 0.0016691 | 0.99394 | -0.042221 | 0.99384 | -0.042955 | 0.6182
24 | 0.0049298 | 0.0012351 | -0.0049298 | -0.0012351 | 5.8017e-08 | 3.6594e-10 | 0.0073949 | 0.0073949 | 0.0073949 | 0.99197 | -0.056084 | 0.99195 | -0.05617 | 2.7389
25 | -0.084509 | -0.021256 | 0.084779 | 0.021359 | 0.00026982 | 0.00010342 | 0.12619 | 0.12619 | 0.12619 | 0.99672 | -0.022823 | 1 | 0 | 46.7379
26 | 0.031717 | 0.0079682 | -0.031674 | -0.0079521 | 4.2898e-05 | 1.61e-05 | 0.047358 | 0.047358 | 0.047358 | 0.99672 | -0.022823 | 0.99533 | -0.032559 | 17.54
27 | 0.0034444 | 0.00086284 | -0.0034441 | -0.00086297 | 3.4534e-07 | -1.3476e-07 | 0.0051668 | 0.0051669 | 0.0051669 | 0.99195 | -0.05617 | 0.99185 | -0.056894 | 1.9137
28 | 0.0027365 | 0.0006857 | -0.0027364 | -0.0006858 | 1.1921e-07 | -9.7394e-08 | 0.004127 | 0.004127 | 0.004127 | 0.98665 | -0.093599 | 0.98661 | -0.093914 | 1.5285
29 | 0.057981 | 0.014598 | -0.05791 | -0.01457 | 7.1505e-05 | 2.73e-05 | 0.0863 | 0.0863 | 0.0863 | 1 | 0 | 0.99873 | -0.0088387 | 31.9631
30 | 0.0047808 | 0.0011975 | -0.0047804 | -0.0011975 | 4.9563e-07 | -1.5264e-08 | 0.0071137 | 0.0071138 | 0.0071138 | 1 | 0 | 0.99989 | -0.00074968 | 2.6347
31 | 0.028736 | 0.0072158 | -0.028693 | -0.0071994 | 4.3724e-05 | 1.6324e-05 | 0.042966 | 0.042966 | 0.042966 | 0.99533 | -0.032559 | 0.99376 | -0.043525 | 15.9133
32 | 0.05605 | 0.014104 | -0.055889 | -0.014043 | 0.00016008 | 6.1088e-05 | 0.083529 | 0.083529 | 0.083529 | 0.99873 | -0.0088387 | 0.99579 | -0.029362 | 30.9367
33 | 0.0035911 | 0.00089946 | -0.0035907 | -0.00089962 | 4.528e-07 | -1.5907e-07 | 0.0053441 | 0.0053442 | 0.0053442 | 0.99989 | -0.00074968 | 0.99976 | -0.0016614 | 1.9793
34 | 0.02794 | 0.0070109 | -0.027906 | -0.006998 | 3.4716e-05 | 1.2941e-05 | 0.041839 | 0.04184 | 0.04184 | 0.99376 | -0.043525 | 0.99249 | -0.05249 | 15.4962
35 | 0.0022684 | 0.00056832 | -0.0022684 | -0.00056832 | 2.7985e-09 | -3.9216e-09 | 0.0034031 | 0.0034031 | 0.0034031 | 0.99185 | -0.056894 | 0.99185 | -0.056903 | 1.2604
36 | 0.0011635 | 0.0002914 | -0.0011634 | -0.00029159 | 2.9174e-08 | -1.8684e-07 | 0.0017454 | 0.0017455 | 0.0017455 | 0.99185 | -0.056903 | 0.99182 | -0.057084 | 0.64648
37 | -0.0020416 | -0.00051163 | 0.0020417 | 0.00051141 | 1.1364e-07 | -2.149e-07 | 0.0030388 | 0.0030387 | 0.0030388 | 0.99971 | -0.0020637 | 0.99976 | -0.0016614 | 1.1255
38 | 0.0011626 | 0.00029134 | -0.0011626 | -0.00029139 | 6.7848e-09 | -4.4994e-08 | 0.0017305 | 0.0017305 | 0.0017305 | 0.99971 | -0.0020637 | 0.9997 | -0.0021059 | 0.64094
39 | 0.047222 | 0.011871 | -0.047172 | -0.011852 | 4.9467e-05 | 1.8819e-05 | 0.070577 | 0.070577 | 0.070577 | 0.99579 | -0.029362 | 0.99471 | -0.036891 | 26.1395
40 | 0.0086678 | 0.0021721 | -0.0086655 | -0.0021715 | 2.3532e-06 | 6.1274e-07 | 0.012952 | 0.012952 | 0.012952 | 0.99579 | -0.029362 | 0.99551 | -0.031324 | 4.7972
41 | 0.045976 | 0.011552 | -0.04587 | -0.011512 | 0.00010565 | 4.017e-05 | 0.068788 | 0.068788 | 0.068788 | 0.99471 | -0.036891 | 0.99235 | -0.053443 | 25.4769
42 | 0.0060316 | 0.0015114 | -0.0060306 | -0.0015112 | 1.0255e-06 | 1.3158e-07 | 0.0090155 | 0.0090156 | 0.0090156 | 0.99551 | -0.031324 | 0.99533 | -0.032553 | 3.3391
43 | 0.0032956 | 0.00082577 | -0.0032953 | -0.00082589 | 2.4832e-07 | -1.1755e-07 | 0.0049268 | 0.0049269 | 0.0049269 | 0.99533 | -0.032553 | 0.99526 | -0.033097 | 1.8248
44 | 0.007487 | 0.0018753 | -0.0074831 | -0.0018744 | 3.9404e-06 | 8.6856e-07 | 0.011226 | 0.011226 | 0.011226 | 0.99235 | -0.053443 | 0.99181 | -0.05725 | 4.158
45 | 0.0076277 | 0.0019112 | -0.0076262 | -0.0019109 | 1.4465e-06 | 3.2745e-07 | 0.011437 | 0.011437 | 0.011437 | 0.99235 | -0.053443 | 0.99216 | -0.054814 | 4.2361
46 | 0.030756 | 0.0077257 | -0.030726 | -0.0077144 | 3.022e-05 | 1.1329e-05 | 0.046124 | 0.046124 | 0.046124 | 0.99235 | -0.053443 | 0.99135 | -0.060515 | 17.083
47 | 0.002944 | 0.00073734 | -0.0029437 | -0.00073749 | 2.288e-07 | -1.5456e-07 | 0.0044167 | 0.0044168 | 0.0044168 | 0.99181 | -0.05725 | 0.99173 | -0.057812 | 1.6358
48 | 0.0045391 | 0.0011371 | -0.0045384 | -0.0011371 | 6.601e-07 | -4.0457e-08 | 0.0068098 | 0.0068099 | 0.0068099 | 0.99181 | -0.05725 | 0.99166 | -0.058301 | 2.5222
49 | 0.0052812 | 0.0013232 | -0.0052812 | -0.0013232 | 6.8172e-08 | 3.7306e-09 | 0.0079205 | 0.0079205 | 0.0079205 | 0.99216 | -0.054814 | 0.99214 | -0.054907 | 2.9335
50 | 0.028654 | 0.0071951 | -0.028651 | -0.0071943 | 2.1749e-06 | 8.1221e-07 | 0.043014 | 0.043014 | 0.043014 | 0.99135 | -0.060515 | 0.99127 | -0.061062 | 15.9311
51 | 0.0016226 | 0.00040639 | -0.0016225 | -0.00040665 | 8.429e-08 | -2.6163e-07 | 0.0024345 | 0.0024346 | 0.0024346 | 0.99173 | -0.057812 | 0.99168 | -0.058188 | 0.90171
52 | 0.0031799 | 0.00079665 | -0.0031796 | -0.00079682 | 3.2008e-07 | -1.6754e-07 | 0.0047714 | 0.0047715 | 0.0047715 | 0.99166 | -0.058301 | 0.99156 | -0.059029 | 1.7672
53 | 0.0041144 | 0.0010308 | -0.0041136 | -0.0010309 | 8.1673e-07 | -1.2968e-07 | 0.0061707 | 0.0061708 | 0.0061708 | 0.99214 | -0.054907 | 0.99194 | -0.056342 | 2.2855
54 | 0.026824 | 0.0067364 | -0.026771 | -0.0067167 | 5.2913e-05 | 1.9678e-05 | 0.040271 | 0.040271 | 0.040271 | 0.99127 | -0.061062 | 0.98925 | -0.075281 | 14.9154
55 | 0.0021497 | 0.00053871 | -0.0021497 | -0.00053876 | 3.0972e-08 | -4.9606e-08 | 0.003226 | 0.003226 | 0.003226 | 0.99156 | -0.059029 | 0.99155 | -0.059133 | 1.1948
56 | 0.0013801 | 0.00034582 | -0.0013801 | -0.00034588 | 1.41e-08 | -6.2631e-08 | 0.0020703 | 0.0020703 | 0.0020703 | 0.99194 | -0.056342 | 0.99193 | -0.056416 | 0.76677
57 | 0.025179 | 0.0063176 | -0.025159 | -0.0063102 | 2.0027e-05 | 7.4157e-06 | 0.037876 | 0.037876 | 0.037876 | 0.98925 | -0.075281 | 0.98844 | -0.081018 | 14.0282
58 | -0.0075484 | -0.0018912 | 0.0075499 | 0.0018915 | 1.4825e-06 | 3.3449e-07 | 0.011366 | 0.011365 | 0.011366 | 0.98824 | -0.082437 | 0.98844 | -0.081018 | 4.2095
59 | 0.0063044 | 0.0015794 | -0.0063017 | -0.001579 | 2.7407e-06 | 4.2988e-07 | 0.0094925 | 0.0094927 | 0.0094927 | 0.98824 | -0.082437 | 0.9878 | -0.08558 | 3.5158
60 | 0.017609 | 0.0044186 | -0.017594 | -0.0044132 | 1.5419e-05 | 5.4802e-06 | 0.026511 | 0.026511 | 0.026511 | 0.98844 | -0.081018 | 0.98755 | -0.087332 | 9.8189
61 | 0.0063017 | 0.001579 | -0.0063005 | -0.0015788 | 1.2111e-06 | 1.9015e-07 | 0.0094927 | 0.0094928 | 0.0094928 | 0.9878 | -0.08558 | 0.9876 | -0.086969 | 3.5159
62 | 0.015202 | 0.0038137 | -0.015195 | -0.0038114 | 6.6745e-06 | 2.3064e-06 | 0.022907 | 0.022907 | 0.022907 | 0.98755 | -0.087332 | 0.9871 | -0.090499 | 8.4841
63 | 0.0045539 | 0.0011411 | -0.0045538 | -0.0011411 | 2.8203e-08 | -1.4378e-09 | 0.0068612 | 0.0068612 | 0.0068612 | 0.9876 | -0.086969 | 0.98759 | -0.087014 | 2.5412
64 | 0.013413 | 0.0033648 | -0.013401 | -0.0033607 | 1.2221e-05 | 4.0886e-06 | 0.020221 | 0.020221 | 0.020221 | 0.9871 | -0.090499 | 0.98617 | -0.097073 | 7.4892
65 | 0.019219 | 0.0048198 | -0.019199 | -0.0048124 | 2.0644e-05 | 7.427e-06 | 0.028833 | 0.028833 | 0.028833 | 0.99191 | -0.05658 | 0.99081 | -0.064338 | 10.679
66 | -0.019219 | -0.0048198 | 0.01923 | 0.0048237 | 1.0903e-05 | 3.9221e-06 | 0.028833 | 0.028833 | 0.028833 | 0.99191 | -0.05658 | 0.99249 | -0.05249 | 10.6789
67 | 0.01595 | 0.0039981 | -0.015934 | -0.0039926 | 1.5935e-05 | 5.5561e-06 | 0.023954 | 0.023954 | 0.023954 | 0.99081 | -0.064338 | 0.98979 | -0.071558 | 8.872
68 | 0.0026228 | 0.0006571 | -0.0026226 | -0.00065728 | 2.0002e-07 | -1.857e-07 | 0.0039517 | 0.0039518 | 0.0039518 | 0.98759 | -0.087014 | 0.98752 | -0.087565 | 1.4636
69 | 0.0012848 | 0.00032162 | -0.0012847 | -0.00032198 | 7.1446e-08 | -3.6124e-07 | 0.0019385 | 0.0019386 | 0.0019386 | 0.98617 | -0.097073 | 0.98612 | -0.097475 | 0.718
70 | 0.012116 | 0.0030391 | -0.012085 | -0.003029 | 3.1258e-05 | 1.0115e-05 | 0.018282 | 0.018283 | 0.018283 | 0.98617 | -0.097073 | 0.98355 | -0.11572 | 6.7715
71 | 0.0097428 | 0.0024409 | -0.0097396 | -0.00244 | 3.2143e-06 | 9.2776e-07 | 0.014647 | 0.014647 | 0.014647 | 0.98979 | -0.071558 | 0.98945 | -0.073943 | 5.4248
72 | 0.012085 | 0.003029 | -0.012081 | -0.0030278 | 3.4859e-06 | 1.1287e-06 | 0.018283 | 0.018283 | 0.018283 | 0.98355 | -0.11572 | 0.98326 | -0.1178 | 6.7716
73 | 0.0088867 | 0.0022263 | -0.0088846 | -0.0022257 | 2.1271e-06 | 5.7304e-07 | 0.013364 | 0.013364 | 0.013364 | 0.98945 | -0.073943 | 0.98921 | -0.075674 | 4.9497
74 | 0.0074065 | 0.0018552 | -0.007406 | -0.0018551 | 4.6173e-07 | 1.0106e-07 | 0.011141 | 0.011141 | 0.011141 | 0.98921 | -0.075674 | 0.98915 | -0.076125 | 4.1262
75 | 0.0020496 | 0.00051329 | -0.0020494 | -0.00051362 | 1.8704e-07 | -3.3277e-07 | 0.0030831 | 0.0030833 | 0.0030833 | 0.98915 | -0.076125 | 0.98905 | -0.076785 | 1.1419
76 | 0.0053564 | 0.0013418 | -0.0053558 | -0.0013418 | 6.8626e-07 | 4.6552e-08 | 0.0080577 | 0.0080578 | 0.0080578 | 0.98915 | -0.076125 | 0.98901 | -0.077051 | 2.9844
77 | 0.0039542 | 0.00099052 | -0.0039541 | -0.00099053 | 8.3158e-08 | -1.6337e-08 | 0.005949 | 0.005949 | 0.005949 | 0.98901 | -0.077051 | 0.98899 | -0.077203 | 2.2033
78 | 0.0035757 | 0.0008957 | -0.003575 | -0.0008959 | 6.3348e-07 | -2.0638e-07 | 0.0053797 | 0.0053799 | 0.0053799 | 0.98899 | -0.077203 | 0.98881 | -0.078484 | 1.9925
79 | 0.0010931 | 0.00027386 | -0.0010931 | -0.00027395 | 1.1686e-08 | -8.4294e-08 | 0.0016449 | 0.0016449 | 0.0016449 | 0.98881 | -0.078484 | 0.9888 | -0.078561 | 0.60922

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14834 | 0.037155

## res_load
| p_mw | q_mvar
0 | 0.0031664 | 0.00079357
1 | 0.0040248 | 0.0010087
2 | 0.0020727 | 0.00051947
3 | 0.0017493 | 0.00043842
4 | 0.0028953 | 0.00072564
5 | 0.00097146 | 0.00024347
6 | 0.0026181 | 0.00065615
7 | 0.0068384 | 0.0017139
8 | 0.0018893 | 0.00047351
9 | 0.0016461 | 0.00041255
10 | 0.001509 | 0.00037819
11 | 0.001728 | 0.00043308
12 | 0.0024543 | 0.00061512
13 | 0.0012324 | 0.00030886
14 | 0.0054228 | 0.0013591
15 | 0.0011148 | 0.0002794
16 | 0.0014853 | 0.00037226
17 | 0.0033025 | 0.00082768
18 | 0.002938 | 0.00073633
19 | 0.0018601 | 0.00046619
20 | 0.0011892 | 0.00029804
21 | 0.00075231 | 0.00018855
22 | 0.0011757 | 0.00029465
23 | 0.0011049 | 0.00027692
24 | 0.0011634 | 0.00029159
25 | 0.00087896 | 0.00022029
26 | 0.001549 | 0.00038821
27 | 0.0011626 | 0.00029139
28 | 0.001196 | 0.00029976
29 | 0.0026339 | 0.00066012
30 | 0.002735 | 0.00068545
31 | 0.0032953 | 0.00082589
32 | 0.002345 | 0.00058771
33 | 0.002072 | 0.0005193
34 | 0.0013211 | 0.0003311
35 | 0.0013585 | 0.00034048
36 | 0.0011667 | 0.00029241
37 | 0.0018272 | 0.00045794
38 | 0.0016225 | 0.00040665
39 | 0.0010299 | 0.00025811
40 | 0.0027335 | 0.00068508
41 | 0.0015925 | 0.00039911
42 | 0.0013801 | 0.00034588
43 | 0.001244 | 0.00031177
44 | 0.0023919 | 0.00059946
45 | 0.0017466 | 0.00043774
46 | 0.001782 | 0.00044661
47 | 0.0032488 | 0.00081424
48 | 0.0086753 | 0.0021742
49 | 0.001931 | 0.00048396
50 | 0.0061912 | 0.0015517
51 | 0.0026226 | 0.00065728
52 | 0.0012847 | 0.00032198
53 | 0.012081 | 0.0030278
54 | 0.0021497 | 0.00053876
55 | 0.00085287 | 0.00021375
56 | 0.0014781 | 0.00037046
57 | 0.0020494 | 0.00051362
58 | 0.0014016 | 0.00035128
59 | 0.00037839 | 9.4834e-05
60 | 0.002482 | 0.00062204
61 | 0.0010931 | 0.00027395
62 | 0.0027364 | 0.0006858

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1