## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2022-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2022-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2022-4_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2022-4_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2022-4_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_2022-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2022-4_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2022-4_0_3_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_2022-4_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_2022-4_0_3_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_2022-4_0_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_2022-4_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_2022-4_0_3_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_2022-4_0_3_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2022-4_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_2022-4_0_3_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_2022-4_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2022-4_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2022-4_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2022-4_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2022-4_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2022-4_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2022-4_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2022-4_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_2022-4_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_2022-4_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2022-4_0_3_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_2022-4_0_3_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_2022-4_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2022-4_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2022-4_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_2022-4_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2022-4_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2022-4_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2022-4_0_3_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_2022-4_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2022-4_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_2022-4_0_3_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_2022-4_0_3_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_2022-4_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2022-4_0_3_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_2022-4_0_3_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_2022-4_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2022-4_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2022-4_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2022-4_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2022-4_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_2022-4_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2022-4_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_2022-4_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_2022-4_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2022-4_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2022-4_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_2022-4_0_3_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_2022-4_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2022-4_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2022-4_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2022-4_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_2022-4_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_2022-4_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2022-4_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_2022-4_0_3_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_2022-4_0_3_node_60 | 0.4 | n |  | TRUE
63 | bus_MV_377_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2022-4_0_3_load_0 | 0 | 0.0023161 | 0.00058047 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2022-4_0_3_load_5 | 5 | 0.0046742 | 0.0011715 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2022-4_0_3_load_27 | 7 | 0.0060406 | 0.0015139 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2022-4_0_3_load_25 | 8 | 0.0030239 | 0.00075787 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2022-4_0_3_load_64 | 9 | 0.001872 | 0.00046917 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2022-4_0_3_load_31 | 11 | 0.0040172 | 0.0010068 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2022-4_0_3_load_30 | 12 | 0.007044 | 0.0017654 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2022-4_0_3_load_24 | 14 | 0.018076 | 0.0045304 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2022-4_0_3_load_32 | 15 | 0.0034011 | 0.00085239 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2022-4_0_3_load_7 | 16 | 0.0028127 | 0.00070492 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2022-4_0_3_load_8 | 17 | 0.0026843 | 0.00067274 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2022-4_0_3_load_10 | 19 | 0.0020868 | 0.00052299 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2022-4_0_3_load_11 | 20 | 0.0035706 | 0.00089487 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2022-4_0_3_load_12 | 21 | 0.0017363 | 0.00043516 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2022-4_0_3_load_13 | 22 | 0.0024274 | 0.00060836 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2022-4_0_3_load_50 | 24 | 0.0033303 | 0.00083464 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2022-4_0_3_load_59 | 26 | 0.0013547 | 0.00033952 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2022-4_0_3_load_48 | 27 | 0.0019156 | 0.00048009 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2022-4_0_3_load_18 | 28 | 0.0026493 | 0.00066398 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2022-4_0_3_load_19 | 29 | 0.0033605 | 0.00084223 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2022-4_0_3_load_14 | 30 | 0.0035773 | 0.00089656 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2022-4_0_3_load_15 | 31 | 0.0046212 | 0.0011582 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2022-4_0_3_load_17 | 32 | 0.0011765 | 0.00029486 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2022-4_0_3_load_21 | 33 | 0.0052357 | 0.0013122 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2022-4_0_3_load_45 | 34 | 0.0014209 | 0.0003561 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2022-4_0_3_load_22 | 35 | 0.0030297 | 0.00075931 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2022-4_0_3_load_44 | 36 | 0.0023689 | 0.0005937 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2022-4_0_3_load_62 | 37 | 0.0017154 | 0.00042992 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2022-4_0_3_load_56 | 38 | 0.0036365 | 0.0009114 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2022-4_0_3_load_63 | 40 | 0.0058726 | 0.0014718 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2022-4_0_3_load_58 | 41 | 0.0018911 | 0.00047395 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2022-4_0_3_load_34 | 43 | 0.0018863 | 0.00047274 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2022-4_0_3_load_35 | 44 | 0.012398 | 0.0031073 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2022-4_0_3_load_39 | 46 | 0.0035489 | 0.00088943 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2022-4_0_3_load_40 | 48 | 0.0019323 | 0.00048427 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2022-4_0_3_load_43 | 49 | 0.0028068 | 0.00070344 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2022-4_0_3_load_41 | 50 | 0.0049681 | 0.0012451 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2022-4_0_3_load_57 | 51 | 0.012774 | 0.0032014 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2022-4_0_3_load_42 | 52 | 0.010658 | 0.0026713 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2022-4_0_3_load_55 | 53 | 0.0031395 | 0.00078684 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2022-4_0_3_load_46 | 54 | 0.0032051 | 0.00080327 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2022-4_0_3_load_47 | 55 | 0.0017135 | 0.00042943 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2022-4_0_3_load_49 | 56 | 0.0027435 | 0.00068759 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2022-4_0_3_load_51 | 57 | 0.0022803 | 0.00057149 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2022-4_0_3_load_52 | 58 | 0.0019271 | 0.00048299 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2022-4_0_3_load_54 | 60 | 0.00079011 | 0.00019802 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2022-4_0_3_load_61 | 61 | 0.0044748 | 0.0011215 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2022-4_0_3_load_60 | 62 | 0.0016823 | 0.00042162 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2022-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2022-4_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.018515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2022-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2022-4_0_3_line_3 | NAYY 4x150 SE | 2 | 7 | 0.010134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2022-4_0_3_line_4 | NAYY 4x150 SE | 2 | 8 | 0.0085045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2022-4_0_3_line_5 | NAYY 4x150 SE | 3 | 9 | 0.016939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2022-4_0_3_line_6 | NAYY 4x150 SE | 4 | 5 | 0.0057807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2022-4_0_3_line_7 | NAYY 4x150 SE | 4 | 6 | 0.028124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2022-4_0_3_line_8 | NAYY 4x150 SE | 5 | 10 | 0.012349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2022-4_0_3_line_9 | NAYY 4x150 SE | 6 | 11 | 0.024677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2022-4_0_3_line_10 | NAYY 4x150 SE | 6 | 12 | 0.014821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2022-4_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.02912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2022-4_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.074057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2022-4_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.0040073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2022-4_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.0066688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2022-4_0_3_line_15 | NAYY 4x150 SE | 13 | 39 | 0.08692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2022-4_0_3_line_16 | NAYY 4x150 SE | 14 | 37 | 0.039575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2022-4_0_3_line_17 | NAYY 4x150 SE | 15 | 42 | 0.053185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2022-4_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.033745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2022-4_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0057406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2022-4_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0011366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2022-4_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.047873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2022-4_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.01954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2022-4_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.02798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2022-4_0_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.044204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2022-4_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.00071434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2022-4_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.017321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2022-4_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.036192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2022-4_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.037007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2022-4_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.065717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2022-4_0_3_line_30 | NAYY 4x150 SE | 25 | 29 | 0.055943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_2022-4_0_3_line_31 | NAYY 4x150 SE | 25 | 30 | 0.02128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2022-4_0_3_line_32 | NAYY 4x150 SE | 26 | 41 | 0.029546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2022-4_0_3_line_33 | NAYY 4x150 SE | 27 | 54 | 0.00033428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2022-4_0_3_line_34 | NAYY 4x150 SE | 28 | 33 | 0.053414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2022-4_0_3_line_35 | NAYY 4x150 SE | 29 | 34 | 0.0031847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_2022-4_0_3_line_36 | NAYY 4x150 SE | 30 | 31 | 0.0036801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2022-4_0_3_line_37 | NAYY 4x150 SE | 31 | 32 | 0.03836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2022-4_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.043284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2022-4_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.026552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_2022-4_0_3_line_40 | NAYY 4x150 SE | 36 | 49 | 0.0042294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_2022-4_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.0065589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2022-4_0_3_line_42 | NAYY 4x150 SE | 38 | 59 | 0.014119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2022-4_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.070663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2022-4_0_3_line_44 | NAYY 4x150 SE | 41 | 62 | 0.026373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2022-4_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.079872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2022-4_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.022864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2022-4_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.016854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2022-4_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.034782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_2022-4_0_3_line_49 | NAYY 4x150 SE | 45 | 48 | 0.038987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_2022-4_0_3_line_50 | NAYY 4x150 SE | 46 | 50 | 0.00071687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2022-4_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.074508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_2022-4_0_3_line_52 | NAYY 4x150 SE | 48 | 51 | 0.0035177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_2022-4_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.022399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2022-4_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.027449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_2022-4_0_3_line_55 | NAYY 4x150 SE | 53 | 59 | 0.01651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_2022-4_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0024804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2022-4_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0061698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2022-4_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.022061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_2022-4_0_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.015583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_2022-4_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.032841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_2022-4_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0022924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2022-4_0_3_trafo_54 | 0.25 MVA 20/0.4 kV | 63 | 60 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2561870.1264 | 1193901.34 | 2561890.7459 | 1193913.8878
1 | 2561870.1264 | 1193901.34 | 2561860.4577 | 1193917.1438
2 | 2561879.5992 | 1193885.8821 | 2561870.1264 | 1193901.34
3 | 2561860.4577 | 1193917.1438 | 2561868.5139 | 1193923.2914
4 | 2561860.4577 | 1193917.1438 | 2561853.3826 | 1193912.4247
5 | 2561888.4535 | 1193871.4287 | 2561879.5992 | 1193885.8821
6 | 2561915.6846 | 1193929.0642 | 2561918.7392 | 1193924.1565
7 | 2561915.6846 | 1193929.0642 | 2561906.0979 | 1193945.779 | 2561900.8397 | 1193952.9276
8 | 2561925.2646 | 1193913.6724 | 2561918.7392 | 1193924.1565
9 | 2561900.8397 | 1193952.9276 | 2561914.9882 | 1193973.146
10 | 2561900.8397 | 1193952.9276 | 2561890.3568 | 1193942.4507
11 | 2561868.5139 | 1193923.2914 | 2561879.8172 | 1193931.917 | 2561890.3568 | 1193942.4507
12 | 2561787.2511 | 1193879.8806 | 2561799.1499 | 1193883.9067 | 2561801.724 | 1193884.8351 | 2561808.8986 | 1193887.7575 | 2561823.648 | 1193894.2222 | 2561835.1328 | 1193900.252 | 2561853.3826 | 1193912.4247
13 | 2561925.2646 | 1193913.6724 | 2561927.3819 | 1193910.2701
14 | 2561914.9882 | 1193973.146 | 2561916.2213 | 1193974.9081 | 2561918.5248 | 1193978.7948
15 | 2561780.7551 | 1193961.4447 | 2561776.3808 | 1193960.2387 | 2561777.1698 | 1193953.7412 | 2561778.3616 | 1193936.3685 | 2561778.0171 | 1193907.5883 | 2561777.9185 | 1193902.9086 | 2561778.0532 | 1193901.3291 | 2561780.161 | 1193894.9009 | 2561782.3638 | 1193890.2065 | 2561784.6358 | 1193885.6116 | 2561787.2511 | 1193879.8806
16 | 2561948.2918 | 1193876.6706 | 2561927.3819 | 1193910.2701
17 | 2561945.6411 | 1194024.5476 | 2561918.5248 | 1193978.7948
18 | 2561836.8729 | 1193735.9016 | 2561856.2884 | 1193708.3018
19 | 2561833.57 | 1193740.5968 | 2561836.8729 | 1193735.9016
20 | 2561856.2884 | 1193708.3018 | 2561856.9423 | 1193707.3722
21 | 2561833.57 | 1193740.5968 | 2561820.1883 | 1193760.9269 | 2561809.9644 | 1193778.1017 | 2561808.2533 | 1193781.2085
22 | 2561833.57 | 1193740.5968 | 2561850.1512 | 1193750.9349
23 | 2561856.9423 | 1193707.3722 | 2561873.0412 | 1193684.4871
24 | 2561786.9278 | 1193819.9277 | 2561808.2533 | 1193781.2085
25 | 2561850.7573 | 1193751.3128 | 2561850.1512 | 1193750.9349
26 | 2561883.0072 | 1193670.3201 | 2561873.0412 | 1193684.4871
27 | 2561786.9278 | 1193819.9277 | 2561818.8517 | 1193836.9774
28 | 2561882.1607 | 1193770.8921 | 2561850.7573 | 1193751.3128
29 | 2561883.0072 | 1193670.3201 | 2561888.238 | 1193661.2261 | 2561915.7551 | 1193613.3433
30 | 2561883.0072 | 1193670.3201 | 2561930.5776 | 1193699.7596
31 | 2561883.0072 | 1193670.3201 | 2561866.7703 | 1193660.1294 | 2561864.983 | 1193659.0073
32 | 2561844.9134 | 1193850.8964 | 2561818.8517 | 1193836.9774
33 | 2561882.4443 | 1193771.069 | 2561882.1607 | 1193770.8921
34 | 2561915.7551 | 1193613.3433 | 2561942.369 | 1193567.0321
35 | 2561930.5776 | 1193699.7596 | 2561933.2856 | 1193701.4355
36 | 2561864.983 | 1193659.0073 | 2561861.8663 | 1193657.0506
37 | 2561829.3786 | 1193636.6539 | 2561844.894 | 1193646.395 | 2561861.8663 | 1193657.0506
38 | 2561942.369 | 1193567.0321 | 2561944.7753 | 1193562.8448 | 2561963.9347 | 1193529.5029
39 | 2561955.8634 | 1193715.408 | 2561933.2856 | 1193701.4355
40 | 2561959.4599 | 1193717.6337 | 2561955.8634 | 1193715.408
41 | 2561951.7573 | 1193871.102 | 2561948.2918 | 1193876.6706
42 | 2561959.2172 | 1193859.1148 | 2561951.7573 | 1193871.102
43 | 2561780.7551 | 1193961.4447 | 2561785.0179 | 1193961.8954 | 2561792.2695 | 1193963.7611 | 2561840.6752 | 1193985.1408 | 2561845.9988 | 1193988.2085
44 | 2561868.1762 | 1193863.3205 | 2561844.9134 | 1193850.8964
45 | 2561945.6411 | 1194024.5476 | 2561921.0326 | 1194057.6783 | 2561918.3899 | 1194059.1182 | 2561915.1234 | 1194059.5504 | 2561911.0314 | 1194059.5765 | 2561907.5423 | 1194057.3531 | 2561887.626 | 1194043.6283
46 | 2562004.9007 | 1193785.7058 | 2562024.1357 | 1193798.066
47 | 2562004.9007 | 1193785.7058 | 2561990.7129 | 1193776.6081
48 | 2562022.8164 | 1193756.8426 | 2562019.1633 | 1193762.4134 | 2562016.2541 | 1193763.9105 | 2562013.93 | 1193767.5384 | 2562013.04 | 1193772.5912 | 2562004.9007 | 1193785.7058
49 | 2562004.9007 | 1193785.7058 | 2561984.3018 | 1193818.8063
50 | 2561990.7129 | 1193776.6081 | 2561990.1094 | 1193776.2211
51 | 2562022.8164 | 1193756.8426 | 2561959.4599 | 1193717.6337
52 | 2561984.3018 | 1193818.8063 | 2561982.4431 | 1193821.793
53 | 2561971.2543 | 1193764.1306 | 2561990.1094 | 1193776.2211
54 | 2561982.4431 | 1193821.793 | 2561967.9402 | 1193845.0978
55 | 2561959.2172 | 1193859.1148 | 2561967.9402 | 1193845.0978
56 | 2561882.4443 | 1193771.069 | 2561884.5491 | 1193772.3813
57 | 2561889.7847 | 1193775.6456 | 2561884.5491 | 1193772.3813
58 | 2561945.8563 | 1193851.0955 | 2561928.3722 | 1193840.6014 | 2561929.2358 | 1193839.173
59 | 2561959.2172 | 1193859.1148 | 2561945.8563 | 1193851.0955
60 | 2561946.2276 | 1193811.0689 | 2561929.2358 | 1193839.173
61 | 2561947.4137 | 1193809.1072 | 2561946.2276 | 1193811.0689

## bus_geodata
| x | y | coords
0 | 2561890.7459 | 1193913.8878
1 | 2561870.1264 | 1193901.34
2 | 2561860.4577 | 1193917.1438
3 | 2561879.5992 | 1193885.8821
4 | 2561915.6846 | 1193929.0642
5 | 2561918.7392 | 1193924.1565
6 | 2561900.8397 | 1193952.9276
7 | 2561868.5139 | 1193923.2914
8 | 2561853.3826 | 1193912.4247
9 | 2561888.4535 | 1193871.4287
10 | 2561925.2646 | 1193913.6724
11 | 2561914.9882 | 1193973.146
12 | 2561890.3568 | 1193942.4507
13 | 2561787.2511 | 1193879.8806
14 | 2561927.3819 | 1193910.2701
15 | 2561918.5248 | 1193978.7948
16 | 2561836.8729 | 1193735.9016
17 | 2561856.2884 | 1193708.3018
18 | 2561833.57 | 1193740.5968
19 | 2561856.9423 | 1193707.3722
20 | 2561808.2533 | 1193781.2085
21 | 2561850.1512 | 1193750.9349
22 | 2561873.0412 | 1193684.4871
23 | 2561786.9278 | 1193819.9277
24 | 2561850.7573 | 1193751.3128
25 | 2561883.0072 | 1193670.3201
26 | 2561818.8517 | 1193836.9774
27 | 2561882.1607 | 1193770.8921
28 | 2561915.7551 | 1193613.3433
29 | 2561930.5776 | 1193699.7596
30 | 2561864.983 | 1193659.0073
31 | 2561861.8663 | 1193657.0506
32 | 2561829.3786 | 1193636.6539
33 | 2561942.369 | 1193567.0321
34 | 2561933.2856 | 1193701.4355
35 | 2561963.9347 | 1193529.5029
36 | 2561955.8634 | 1193715.408
37 | 2561948.2918 | 1193876.6706
38 | 2561951.7573 | 1193871.102
39 | 2561780.7551 | 1193961.4447
40 | 2561845.9988 | 1193988.2085
41 | 2561844.9134 | 1193850.8964
42 | 2561945.6411 | 1194024.5476
43 | 2561887.626 | 1194043.6283
44 | 2562024.1357 | 1193798.066
45 | 2562004.9007 | 1193785.7058
46 | 2561990.7129 | 1193776.6081
47 | 2562022.8164 | 1193756.8426
48 | 2561984.3018 | 1193818.8063
49 | 2561959.4599 | 1193717.6337
50 | 2561990.1094 | 1193776.2211
51 | 2561982.4431 | 1193821.793
52 | 2561971.2543 | 1193764.1306
53 | 2561967.9402 | 1193845.0978
54 | 2561882.4443 | 1193771.069
55 | 2561884.5491 | 1193772.3813
56 | 2561889.7847 | 1193775.6456
57 | 2561945.8563 | 1193851.0955
58 | 2561929.2358 | 1193839.173
59 | 2561959.2172 | 1193859.1148
60 | 2561946.2276 | 1193811.0689
61 | 2561947.4136 | 1193809.1072
62 | 2561868.1762 | 1193863.3205
63 | 2561947.4136 | 1193809.1072

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98116 | -0.13214 | 0.0023161 | 0.00058047
1 | 0.98124 | -0.13156 | 0 | 0
2 | 0.98135 | -0.13076 | 0 | 0
3 | 0.98119 | -0.13191 | 0 | 0
4 | 0.98436 | -0.10928 | 0 | 0
5 | 0.98466 | -0.10717 | 0.0046742 | 0.0011715
6 | 0.98291 | -0.11959 | 0 | 0
7 | 0.98154 | -0.12938 | 0.0060406 | 0.0015139
8 | 0.98124 | -0.13154 | 0.0030239 | 0.00075787
9 | 0.98114 | -0.13224 | 0.001872 | 0.00046917
10 | 0.98538 | -0.10206 | 0 | 0
11 | 0.98258 | -0.12197 | 0.0040172 | 0.0010068
12 | 0.98235 | -0.1236 | 0.007044 | 0.0017654
13 | 0.98061 | -0.13607 | 0 | 0
14 | 0.98561 | -0.10041 | 0.018076 | 0.0045304
15 | 0.98253 | -0.12233 | 0.0034011 | 0.00085239
16 | 0.97218 | -0.19589 | 0.0028127 | 0.00070492
17 | 0.97346 | -0.18665 | 0.0026843 | 0.00067274
18 | 0.97198 | -0.1973 | 0 | 0
19 | 0.97351 | -0.1863 | 0.0020868 | 0.00052299
20 | 0.97138 | -0.2016 | 0.0035706 | 0.00089487
21 | 0.97156 | -0.20032 | 0.0017363 | 0.00043516
22 | 0.97477 | -0.17725 | 0.0024274 | 0.00060836
23 | 0.97106 | -0.20391 | 0 | 0
24 | 0.97155 | -0.20042 | 0.0033303 | 0.00083464
25 | 0.97561 | -0.17122 | 0 | 0
26 | 0.9708 | -0.20581 | 0.0013547 | 0.00033952
27 | 0.97103 | -0.20417 | 0.0019156 | 0.00048009
28 | 0.97456 | -0.17876 | 0.0026493 | 0.00066398
29 | 0.9778 | -0.15556 | 0.0033605 | 0.00084223
30 | 0.97532 | -0.17331 | 0.0035773 | 0.00089656
31 | 0.97529 | -0.17354 | 0.0046212 | 0.0011582
32 | 0.97522 | -0.17401 | 0.0011765 | 0.00029486
33 | 0.97392 | -0.1834 | 0.0052357 | 0.0013122
34 | 0.97794 | -0.15462 | 0.0014209 | 0.0003561
35 | 0.97373 | -0.18479 | 0.0030297 | 0.00075931
36 | 0.97907 | -0.14655 | 0.0023689 | 0.0005937
37 | 0.98896 | -0.076791 | 0.0017154 | 0.00042992
38 | 0.98953 | -0.072778 | 0.0036365 | 0.0009114
39 | 0.97986 | -0.14138 | 0 | 0
40 | 0.97926 | -0.1457 | 0.0058726 | 0.0014718
41 | 0.97065 | -0.20692 | 0.0018911 | 0.00047395
42 | 0.98238 | -0.12337 | 0 | 0
43 | 0.98217 | -0.12494 | 0.0018863 | 0.00047274
44 | 0.98392 | -0.11222 | 0.012398 | 0.0031073
45 | 0.98433 | -0.1093 | 0 | 0
46 | 0.98386 | -0.11263 | 0.0035489 | 0.00088943
47 | 0.98271 | -0.12069 | 0 | 0
48 | 0.98703 | -0.090263 | 0.0019323 | 0.00048427
49 | 0.97926 | -0.14522 | 0.0028068 | 0.00070344
50 | 0.98384 | -0.11275 | 0.0049681 | 0.0012451
51 | 0.98728 | -0.088516 | 0.012774 | 0.0032014
52 | 0.9835 | -0.11521 | 0.010658 | 0.0026713
53 | 0.98947 | -0.073122 | 0.0031395 | 0.00078684
54 | 0.97102 | -0.2042 | 0.0032051 | 0.00080327
55 | 0.97101 | -0.20431 | 0.0017135 | 0.00042943
56 | 0.97098 | -0.20449 | 0.0027435 | 0.00068759
57 | 0.99282 | -0.049674 | 0.0022803 | 0.00057149
58 | 0.99569 | -0.029756 | 0.0019271 | 0.00048299
59 | 0.99083 | -0.063632 | 0 | 0
60 | 1 | 0 | -0.18931 | -0.04768
61 | 0.99999 | -0.00010238 | 0.0044748 | 0.0011215
62 | 0.97058 | -0.2074 | 0.0016823 | 0.00042162
63 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0023161 | -0.00058047 | 0.0023163 | 0.00058023 | 1.8583e-07 | -2.3339e-07 | 0.0035126 | 0.0035125 | 0.0035126 | 0.98116 | -0.13214 | 0.98124 | -0.13156 | 1.301
1 | -0.0041885 | -0.001049 | 0.0041889 | 0.001049 | 4.6606e-07 | -5.4645e-08 | 0.0063514 | 0.0063513 | 0.0063514 | 0.98124 | -0.13156 | 0.98135 | -0.13076 | 2.3524
2 | 0.0018722 | 0.00046879 | -0.0018721 | -0.00046899 | 9.1122e-08 | -1.938e-07 | 0.0028389 | 0.002839 | 0.002839 | 0.98124 | -0.13156 | 0.98119 | -0.13191 | 1.0515
3 | -0.013098 | -0.0032804 | 0.0131 | 0.0032812 | 2.494e-06 | 8.3117e-07 | 0.019859 | 0.019859 | 0.019859 | 0.98135 | -0.13076 | 0.98154 | -0.12938 | 7.3554
4 | 0.008909 | 0.0022314 | -0.008908 | -0.0022312 | 9.6834e-07 | 2.65e-07 | 0.013508 | 0.013508 | 0.013508 | 0.98135 | -0.13076 | 0.98124 | -0.13154 | 5.003
5 | 0.0018721 | 0.00046899 | -0.001872 | -0.00046917 | 8.5197e-08 | -1.8117e-07 | 0.002839 | 0.0028391 | 0.0028391 | 0.98119 | -0.13191 | 0.98114 | -0.13224 | 1.0515
6 | -0.035574 | -0.008922 | 0.035585 | 0.008926 | 1.0432e-05 | 3.9388e-06 | 0.053778 | 0.053778 | 0.053778 | 0.98436 | -0.10928 | 0.98466 | -0.10717 | 19.9178
7 | 0.035574 | 0.008922 | -0.035523 | -0.0089029 | 5.0754e-05 | 1.9164e-05 | 0.053778 | 0.053778 | 0.053778 | 0.98436 | -0.10928 | 0.98291 | -0.11959 | 19.9178
8 | -0.040259 | -0.010097 | 0.040287 | 0.010108 | 2.8524e-05 | 1.0814e-05 | 0.060842 | 0.060842 | 0.060842 | 0.98466 | -0.10717 | 0.98538 | -0.10206 | 22.5339
9 | 0.0093085 | 0.0023314 | -0.0093055 | -0.0023305 | 3.0577e-06 | 8.6337e-07 | 0.014091 | 0.014092 | 0.014092 | 0.98291 | -0.11959 | 0.98258 | -0.12197 | 5.2191
10 | 0.026215 | 0.0065715 | -0.0262 | -0.0065661 | 1.4566e-05 | 5.4146e-06 | 0.039687 | 0.039687 | 0.039687 | 0.98291 | -0.11959 | 0.98235 | -0.1236 | 14.6988
11 | -0.019141 | -0.0047952 | 0.019156 | 0.0048007 | 1.5299e-05 | 5.516e-06 | 0.029017 | 0.029017 | 0.029017 | 0.98154 | -0.12938 | 0.98235 | -0.1236 | 10.747
12 | 0.0058841 | 0.0014733 | -0.0058804 | -0.0014728 | 3.6791e-06 | 4.8018e-07 | 0.0089225 | 0.0089228 | 0.0089228 | 0.98124 | -0.13154 | 0.98061 | -0.13607 | 3.3048
13 | -0.040287 | -0.010108 | 0.040297 | 0.010112 | 9.2563e-06 | 3.5091e-06 | 0.060842 | 0.060841 | 0.060842 | 0.98538 | -0.10206 | 0.98561 | -0.10041 | 22.5339
14 | 0.0052883 | 0.0013237 | -0.005288 | -0.0013237 | 2.6685e-07 | 1.8173e-08 | 0.0080079 | 0.008008 | 0.008008 | 0.98258 | -0.12197 | 0.98253 | -0.12233 | 2.9659
15 | 0.0058804 | 0.0014728 | -0.0058761 | -0.0014723 | 4.3185e-06 | 5.6525e-07 | 0.0089228 | 0.0089232 | 0.0089232 | 0.98061 | -0.13607 | 0.97986 | -0.14138 | 3.3049
16 | -0.058373 | -0.014642 | 0.058565 | 0.014715 | 0.00019181 | 7.3267e-05 | 0.088132 | 0.088132 | 0.088132 | 0.98561 | -0.10041 | 0.98896 | -0.076791 | 32.6415
17 | 0.0018869 | 0.00047132 | -0.0018867 | -0.00047189 | 2.7094e-07 | -5.6927e-07 | 0.0028572 | 0.0028574 | 0.0028574 | 0.98253 | -0.12233 | 0.98238 | -0.12337 | 1.0583
18 | -0.02598 | -0.0065113 | 0.026013 | 0.0065237 | 3.3296e-05 | 1.2387e-05 | 0.039765 | 0.039765 | 0.039765 | 0.97218 | -0.19589 | 0.97346 | -0.18665 | 14.7278
19 | 0.023167 | 0.0058064 | -0.023163 | -0.0058048 | 4.5042e-06 | 1.6612e-06 | 0.03546 | 0.03546 | 0.03546 | 0.97218 | -0.19589 | 0.97198 | -0.1973 | 13.1334
20 | -0.028698 | -0.0071965 | 0.028699 | 0.007197 | 1.3648e-06 | 5.108e-07 | 0.043868 | 0.043868 | 0.043868 | 0.97346 | -0.18665 | 0.97351 | -0.1863 | 16.2475
21 | 0.0085073 | 0.002131 | -0.0085022 | -0.0021296 | 5.0668e-06 | 1.3558e-06 | 0.013023 | 0.013024 | 0.013024 | 0.97198 | -0.1973 | 0.97138 | -0.2016 | 4.8236
22 | 0.014656 | 0.0036738 | -0.014649 | -0.0036716 | 6.138e-06 | 2.1187e-06 | 0.022437 | 0.022437 | 0.022437 | 0.97198 | -0.1973 | 0.97156 | -0.20032 | 8.3099
23 | -0.030786 | -0.00772 | 0.030824 | 0.0077345 | 3.8663e-05 | 1.4522e-05 | 0.047058 | 0.047058 | 0.047058 | 0.97351 | -0.1863 | 0.97477 | -0.17725 | 17.4288
24 | 0.0049316 | 0.0012348 | -0.00493 | -0.0012347 | 1.574e-06 | 5.8373e-08 | 0.0075541 | 0.0075543 | 0.0075543 | 0.97138 | -0.2016 | 0.97106 | -0.20391 | 2.7979
25 | 0.012913 | 0.0032365 | -0.012913 | -0.0032364 | 1.7435e-07 | 5.8213e-08 | 0.019778 | 0.019778 | 0.019778 | 0.97156 | -0.20032 | 0.97155 | -0.20042 | 7.325
26 | -0.033252 | -0.0083428 | 0.03328 | 0.0083533 | 2.7852e-05 | 1.0496e-05 | 0.050763 | 0.050763 | 0.050763 | 0.97477 | -0.17725 | 0.97561 | -0.17122 | 18.8011
27 | 0.00493 | 0.0012347 | -0.0049288 | -0.0012347 | 1.2888e-06 | 4.8084e-08 | 0.0075543 | 0.0075544 | 0.0075544 | 0.97106 | -0.20391 | 0.9708 | -0.20581 | 2.7979
28 | 0.0095828 | 0.0024018 | -0.0095778 | -0.0024003 | 4.9744e-06 | 1.4552e-06 | 0.014677 | 0.014677 | 0.014677 | 0.97155 | -0.20042 | 0.97103 | -0.20417 | 5.436
29 | 0.010932 | 0.0027401 | -0.010921 | -0.0027366 | 1.1401e-05 | 3.5652e-06 | 0.016674 | 0.016674 | 0.016674 | 0.97561 | -0.17122 | 0.97456 | -0.17876 | 6.1756
30 | -0.05359 | -0.013443 | 0.053706 | 0.013487 | 0.00011662 | 4.3453e-05 | 0.08174 | 0.08174 | 0.08174 | 0.97561 | -0.17122 | 0.9778 | -0.15556 | 15.137
31 | 0.009378 | 0.00235 | -0.0093753 | -0.0023492 | 2.7166e-06 | 7.7921e-07 | 0.014303 | 0.014303 | 0.014303 | 0.97561 | -0.17122 | 0.97532 | -0.17331 | 5.2975
32 | 0.003574 | 0.00089513 | -0.0035735 | -0.00089529 | 5.5325e-07 | -1.5247e-07 | 0.0054779 | 0.0054781 | 0.0054781 | 0.9708 | -0.20581 | 0.97065 | -0.20692 | 2.0289
33 | 0.0076622 | 0.0019202 | -0.0076622 | -0.0019202 | 2.8758e-08 | 6.9255e-09 | 0.011742 | 0.011742 | 0.011742 | 0.97103 | -0.20417 | 0.97102 | -0.2042 | 4.3488
34 | 0.0082713 | 0.0020726 | -0.008266 | -0.0020712 | 5.3159e-06 | 1.3795e-06 | 0.012629 | 0.012629 | 0.012629 | 0.97456 | -0.17876 | 0.97392 | -0.1834 | 4.6775
35 | -0.057067 | -0.014329 | 0.057074 | 0.014332 | 7.4954e-06 | 2.8029e-06 | 0.086854 | 0.086854 | 0.086854 | 0.9778 | -0.15556 | 0.97794 | -0.15462 | 16.084
36 | 0.0057979 | 0.0014526 | -0.0057978 | -0.0014526 | 1.7968e-07 | 2.3181e-08 | 0.0088455 | 0.0088456 | 0.0088456 | 0.97532 | -0.17331 | 0.97529 | -0.17354 | 3.2761
37 | 0.0011766 | 0.00029441 | -0.0011765 | -0.00029486 | 7.7126e-08 | -4.4899e-07 | 0.0017949 | 0.0017951 | 0.0017951 | 0.97529 | -0.17354 | 0.97522 | -0.17401 | 0.66485
38 | 0.0030303 | 0.000759 | -0.0030297 | -0.00075931 | 5.7895e-07 | -3.1584e-07 | 0.0046297 | 0.0046299 | 0.0046299 | 0.97392 | -0.1834 | 0.97373 | -0.18479 | 1.7148
39 | -0.058495 | -0.014688 | 0.058561 | 0.014713 | 6.5641e-05 | 2.458e-05 | 0.089016 | 0.089015 | 0.089016 | 0.97794 | -0.15462 | 0.97907 | -0.14655 | 16.4844
40 | -0.06093 | -0.015306 | 0.060941 | 0.015311 | 1.1319e-05 | 4.247e-06 | 0.092616 | 0.092616 | 0.092616 | 0.97907 | -0.14655 | 0.97926 | -0.14522 | 17.151
41 | -0.06028 | -0.015145 | 0.060314 | 0.015158 | 3.3679e-05 | 1.2869e-05 | 0.090713 | 0.090713 | 0.090713 | 0.98896 | -0.076791 | 0.98953 | -0.072778 | 33.5974
42 | -0.06395 | -0.01607 | 0.064032 | 0.016101 | 8.1502e-05 | 3.1165e-05 | 0.096181 | 0.096181 | 0.096181 | 0.98953 | -0.072778 | 0.99083 | -0.063632 | 35.6228
43 | 0.0058761 | 0.0014723 | -0.0058726 | -0.0014718 | 3.511e-06 | 4.6086e-07 | 0.0089232 | 0.0089235 | 0.0089235 | 0.97986 | -0.14138 | 0.97926 | -0.1457 | 3.305
44 | 0.0016824 | 0.00042134 | -0.0016823 | -0.00042162 | 1.0947e-07 | -2.8385e-07 | 0.002579 | 0.0025792 | 0.0025792 | 0.97065 | -0.20692 | 0.97058 | -0.2074 | 0.95525
45 | 0.0018867 | 0.00047189 | -0.0018863 | -0.00047274 | 4.0698e-07 | -8.5452e-07 | 0.0028574 | 0.0028578 | 0.0028578 | 0.98238 | -0.12337 | 0.98217 | -0.12494 | 1.0584
46 | -0.012398 | -0.0031073 | 0.012403 | 0.0031089 | 5.0159e-06 | 1.6387e-06 | 0.01875 | 0.01875 | 0.01875 | 0.98392 | -0.11222 | 0.98433 | -0.1093 | 6.9445
47 | 0.019188 | 0.0048102 | -0.019179 | -0.004807 | 8.8493e-06 | 3.1894e-06 | 0.029007 | 0.029007 | 0.029007 | 0.98433 | -0.1093 | 0.98386 | -0.11263 | 10.7435
48 | 0.064068 | 0.016134 | -0.063966 | -0.016096 | 0.00010185 | 3.8292e-05 | 0.09688 | 0.09688 | 0.09688 | 0.98433 | -0.1093 | 0.98271 | -0.12069 | 17.9407
49 | -0.095659 | -0.024053 | 0.095914 | 0.02415 | 0.00025447 | 9.6877e-05 | 0.14464 | 0.14464 | 0.14464 | 0.98433 | -0.1093 | 0.98703 | -0.090263 | 26.7846
50 | 0.01563 | 0.0039176 | -0.01563 | -0.0039175 | 2.4999e-07 | 8.7046e-08 | 0.02364 | 0.02364 | 0.02364 | 0.98386 | -0.11263 | 0.98384 | -0.11275 | 8.7555
51 | 0.063966 | 0.016096 | -0.063748 | -0.016014 | 0.00021819 | 8.2036e-05 | 0.09688 | 0.096881 | 0.096881 | 0.98271 | -0.12069 | 0.97926 | -0.14522 | 17.9408
52 | -0.097846 | -0.024635 | 0.09787 | 0.024644 | 2.3894e-05 | 9.1001e-06 | 0.14755 | 0.14755 | 0.14755 | 0.98703 | -0.090263 | 0.98728 | -0.088516 | 27.324
53 | 0.010662 | 0.0026724 | -0.010658 | -0.0026713 | 3.6346e-06 | 1.1136e-06 | 0.016126 | 0.016126 | 0.016126 | 0.98384 | -0.11275 | 0.9835 | -0.11521 | 5.9726
54 | -0.11064 | -0.027845 | 0.11088 | 0.027936 | 0.00023828 | 9.0942e-05 | 0.1668 | 0.1668 | 0.1668 | 0.98728 | -0.088516 | 0.98947 | -0.073122 | 30.8893
55 | -0.11402 | -0.028723 | 0.11417 | 0.028781 | 0.00015154 | 5.7861e-05 | 0.17152 | 0.17152 | 0.17152 | 0.98947 | -0.073122 | 0.99083 | -0.063632 | 31.7636
56 | 0.0044571 | 0.001117 | -0.004457 | -0.001117 | 7.2205e-08 | -2.911e-09 | 0.0068301 | 0.0068302 | 0.0068302 | 0.97102 | -0.2042 | 0.97101 | -0.20431 | 2.5297
57 | 0.0027436 | 0.00068754 | -0.0027435 | -0.00068759 | 6.8055e-08 | -5.0141e-08 | 0.0042044 | 0.0042044 | 0.0042044 | 0.97101 | -0.20431 | 0.97098 | -0.20449 | 1.5572
58 | -0.18083 | -0.045587 | 0.18134 | 0.045781 | 0.00050595 | 0.00019402 | 0.27112 | 0.27112 | 0.27112 | 0.99282 | -0.049674 | 0.99569 | -0.029756 | 50.2078
59 | 0.17855 | 0.045015 | -0.1782 | -0.044881 | 0.00034843 | 0.00013361 | 0.2677 | 0.2677 | 0.2677 | 0.99282 | -0.049674 | 0.99083 | -0.063632 | 49.5749
60 | -0.18327 | -0.046264 | 0.18404 | 0.046559 | 0.00076928 | 0.00029502 | 0.274 | 0.274 | 0.274 | 0.99569 | -0.029756 | 1 | 0 | 50.7411
61 | 0.0044749 | 0.0011215 | -0.0044748 | -0.0011215 | 6.3424e-08 | -5.6808e-09 | 0.0066587 | 0.0066587 | 0.0066587 | 1 | 0 | 0.99999 | -0.00010238 | 2.4662

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1901 | 0.047878

## res_load
| p_mw | q_mvar
0 | 0.0023161 | 0.00058047
1 | 0.0046742 | 0.0011715
2 | 0.0060406 | 0.0015139
3 | 0.0030239 | 0.00075787
4 | 0.001872 | 0.00046917
5 | 0.0040172 | 0.0010068
6 | 0.007044 | 0.0017654
7 | 0.018076 | 0.0045304
8 | 0.0034011 | 0.00085239
9 | 0.0028127 | 0.00070492
10 | 0.0026843 | 0.00067274
11 | 0.0020868 | 0.00052299
12 | 0.0035706 | 0.00089487
13 | 0.0017363 | 0.00043516
14 | 0.0024274 | 0.00060836
15 | 0.0033303 | 0.00083464
16 | 0.0013547 | 0.00033952
17 | 0.0019156 | 0.00048009
18 | 0.0026493 | 0.00066398
19 | 0.0033605 | 0.00084223
20 | 0.0035773 | 0.00089656
21 | 0.0046212 | 0.0011582
22 | 0.0011765 | 0.00029486
23 | 0.0052357 | 0.0013122
24 | 0.0014209 | 0.0003561
25 | 0.0030297 | 0.00075931
26 | 0.0023689 | 0.0005937
27 | 0.0017154 | 0.00042992
28 | 0.0036365 | 0.0009114
29 | 0.0058726 | 0.0014718
30 | 0.0018911 | 0.00047395
31 | 0.0018863 | 0.00047274
32 | 0.012398 | 0.0031073
33 | 0.0035489 | 0.00088943
34 | 0.0019323 | 0.00048427
35 | 0.0028068 | 0.00070344
36 | 0.0049681 | 0.0012451
37 | 0.012774 | 0.0032014
38 | 0.010658 | 0.0026713
39 | 0.0031395 | 0.00078684
40 | 0.0032051 | 0.00080327
41 | 0.0017135 | 0.00042943
42 | 0.0027435 | 0.00068759
43 | 0.0022803 | 0.00057149
44 | 0.0019271 | 0.00048299
45 | 0.00079011 | 0.00019802
46 | 0.0044748 | 0.0011215
47 | 0.0016823 | 0.00042162

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1