## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2029-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2029-7_0_2_node_51 | 0.4 | n |  | TRUE
2 | bus_LV_2029-7_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2029-7_0_2_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_2029-7_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2029-7_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2029-7_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2029-7_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2029-7_0_2_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_2029-7_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2029-7_0_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_2029-7_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2029-7_0_2_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_2029-7_0_2_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_2029-7_0_2_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_2029-7_0_2_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_2029-7_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2029-7_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2029-7_0_2_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_2029-7_0_2_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_2029-7_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2029-7_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2029-7_0_2_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_2029-7_0_2_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_2029-7_0_2_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_2029-7_0_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_2029-7_0_2_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_2029-7_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2029-7_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2029-7_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2029-7_0_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2029-7_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2029-7_0_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_2029-7_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2029-7_0_2_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2029-7_0_2_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2029-7_0_2_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_2029-7_0_2_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_2029-7_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2029-7_0_2_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2029-7_0_2_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_2029-7_0_2_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2029-7_0_2_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_2029-7_0_2_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_2029-7_0_2_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2029-7_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2029-7_0_2_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2029-7_0_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2029-7_0_2_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2029-7_0_2_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_2029-7_0_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_2029-7_0_2_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_2029-7_0_2_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_2029-7_0_2_node_53 | 0.4 | n |  | TRUE
54 | bus_MV_477_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2029-7_0_2_load_0 | 0 | 0.0032835 | 0.00082292 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2029-7_0_2_load_51 | 1 | 0.0037041 | 0.00092834 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2029-7_0_2_load_2 | 2 | 0.0045485 | 0.00114 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2029-7_0_2_load_3 | 4 | 0.010541 | 0.0026418 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2029-7_0_2_load_5 | 7 | 0.0066196 | 0.001659 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2029-7_0_2_load_4 | 8 | 0.0019593 | 0.00049104 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2029-7_0_2_load_8 | 11 | 0.0024062 | 0.00060306 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2029-7_0_2_load_14 | 12 | 0.003426 | 0.00085863 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2029-7_0_2_load_44 | 14 | 0.0027238 | 0.00068266 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2029-7_0_2_load_46 | 15 | 0.0028172 | 0.00070607 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2029-7_0_2_load_9 | 16 | 0.00527 | 0.0013208 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2029-7_0_2_load_11 | 17 | 0.0017077 | 0.000428 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2029-7_0_2_load_49 | 18 | 0.0058722 | 0.0014717 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2029-7_0_2_load_13 | 20 | 0.002567 | 0.00064336 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2029-7_0_2_load_15 | 21 | 0.0039402 | 0.0009875 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2029-7_0_2_load_32 | 22 | 0.0037965 | 0.00095149 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2029-7_0_2_load_33 | 23 | 0.0022341 | 0.00055991 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2029-7_0_2_load_39 | 24 | 0.0023322 | 0.00058451 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2029-7_0_2_load_38 | 26 | 0.0028487 | 0.00071396 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2029-7_0_2_load_16 | 27 | 0.00098895 | 0.00024785 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2029-7_0_2_load_17 | 28 | 0.00093424 | 0.00023414 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2029-7_0_2_load_25 | 30 | 0.0010699 | 0.00026815 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2029-7_0_2_load_20 | 31 | 0.005197 | 0.0013025 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2029-7_0_2_load_52 | 32 | 0.0017971 | 0.00045039 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2029-7_0_2_load_19 | 33 | 0.001583 | 0.00039673 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2029-7_0_2_load_21 | 34 | 0.00068182 | 0.00017088 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2029-7_0_2_load_22 | 35 | 0.0013541 | 0.00033938 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2029-7_0_2_load_23 | 36 | 0.002744 | 0.00068772 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2029-7_0_2_load_24 | 37 | 0.003311 | 0.00082981 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2029-7_0_2_load_26 | 38 | 0.0069621 | 0.0017449 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2029-7_0_2_load_27 | 39 | 0.001674 | 0.00041956 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2029-7_0_2_load_48 | 40 | 0.0033488 | 0.00083928 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2029-7_0_2_load_30 | 42 | 0.0014546 | 0.00036455 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2029-7_0_2_load_29 | 43 | 0.0020063 | 0.00050282 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2029-7_0_2_load_37 | 44 | 0.0044477 | 0.0011147 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2029-7_0_2_load_40 | 45 | 0.0020458 | 0.00051271 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2029-7_0_2_load_34 | 46 | 0.0030022 | 0.00075241 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2029-7_0_2_load_35 | 47 | 0.001876 | 0.00047018 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2029-7_0_2_load_36 | 48 | 0.0018959 | 0.00047516 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2029-7_0_2_load_41 | 49 | 0.0036667 | 0.00091896 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2029-7_0_2_load_42 | 50 | 0.0044554 | 0.0011166 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2029-7_0_2_load_50 | 51 | 0.0020607 | 0.00051647 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2029-7_0_2_load_47 | 52 | 0.0039472 | 0.00098926 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2029-7_0_2_load_53 | 53 | 0.0057789 | 0.0014483 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2029-7_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.054453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2029-7_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.022337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2029-7_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.03028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2029-7_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.042988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2029-7_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.010261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2029-7_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.019827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2029-7_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.060582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2029-7_0_2_line_7 | NAYY 4x150 SE | 6 | 13 | 0.002251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2029-7_0_2_line_8 | NAYY 4x150 SE | 6 | 14 | 0.036036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2029-7_0_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.010071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2029-7_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.019968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2029-7_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.017717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2029-7_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.039311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2029-7_0_2_line_13 | NAYY 4x150 SE | 11 | 16 | 0.017874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2029-7_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.01946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2029-7_0_2_line_15 | NAYY 4x150 SE | 15 | 52 | 0.0061239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2029-7_0_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.050046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2029-7_0_2_line_17 | NAYY 4x150 SE | 17 | 20 | 0.047272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2029-7_0_2_line_18 | NAYY 4x150 SE | 18 | 19 | 0.041272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2029-7_0_2_line_19 | NAYY 4x150 SE | 19 | 51 | 0.037197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2029-7_0_2_line_20 | NAYY 4x150 SE | 19 | 52 | 0.015143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2029-7_0_2_line_21 | NAYY 4x150 SE | 19 | 50 | 0.017863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2029-7_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.051226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2029-7_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.05951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2029-7_0_2_line_24 | NAYY 4x150 SE | 22 | 26 | 0.014894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2029-7_0_2_line_25 | NAYY 4x150 SE | 22 | 25 | 0.0028852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2029-7_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0017677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2029-7_0_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.027126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2029-7_0_2_line_28 | NAYY 4x150 SE | 24 | 45 | 0.027096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2029-7_0_2_line_29 | NAYY 4x150 SE | 25 | 43 | 0.034448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2029-7_0_2_line_30 | NAYY 4x150 SE | 26 | 44 | 0.027736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2029-7_0_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.019185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2029-7_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.016439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2029-7_0_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.038699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2029-7_0_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.020995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2029-7_0_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.0012333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2029-7_0_2_line_36 | NAYY 4x150 SE | 31 | 33 | 0.013697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2029-7_0_2_line_37 | NAYY 4x150 SE | 32 | 40 | 0.014211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2029-7_0_2_line_38 | NAYY 4x150 SE | 33 | 34 | 0.0010098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2029-7_0_2_line_39 | NAYY 4x150 SE | 34 | 35 | 0.01705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2029-7_0_2_line_40 | NAYY 4x150 SE | 35 | 36 | 0.012023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2029-7_0_2_line_41 | NAYY 4x150 SE | 36 | 37 | 0.024224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2029-7_0_2_line_42 | NAYY 4x150 SE | 37 | 38 | 0.0061067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2029-7_0_2_line_43 | NAYY 4x150 SE | 38 | 39 | 0.019764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2029-7_0_2_line_44 | NAYY 4x150 SE | 39 | 41 | 0.024934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2029-7_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.021272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2029-7_0_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.0131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2029-7_0_2_line_47 | NAYY 4x150 SE | 44 | 48 | 0.017602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2029-7_0_2_line_48 | NAYY 4x150 SE | 45 | 49 | 0.028755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2029-7_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.095122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2029-7_0_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.02164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2029-7_0_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0033202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2029-7_0_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.0013157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2029-7_0_2_trafo_42 | 0.25 MVA 20/0.4 kV | 54 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2566345.7249 | 1185359.7673 | 2566339.4076 | 1185413.8531
1 | 2566367.4846 | 1185354.7228 | 2566345.7249 | 1185359.7673
2 | 2566396.9823 | 1185347.8843 | 2566367.4846 | 1185354.7228
3 | 2566396.9823 | 1185347.8843 | 2566431.8881 | 1185339.5948 | 2566437.8455 | 1185335.7114
4 | 2566446.4416 | 1185330.108 | 2566437.8455 | 1185335.7114
5 | 2566446.4416 | 1185330.108 | 2566457.7975 | 1185313.8355
6 | 2566446.4416 | 1185330.108 | 2566471.7243 | 1185355.8241 | 2566480.0201 | 1185374.9211 | 2566480.9581 | 1185378.4981
7 | 2566456.2012 | 1185312.2437 | 2566457.7975 | 1185313.8355
8 | 2566457.7975 | 1185313.8355 | 2566483.6676 | 1185338.9222
9 | 2566483.5126 | 1185388.2399 | 2566480.9581 | 1185378.4981
10 | 2566576.9969 | 1185379.6135 | 2566596.0264 | 1185385.8326
11 | 2566576.9969 | 1185379.6135 | 2566580.5984 | 1185362.2661
12 | 2566596.0264 | 1185385.8326 | 2566606.357 | 1185347.9036
13 | 2566580.5984 | 1185362.2661 | 2566584.2319 | 1185344.7652
14 | 2566456.2012 | 1185312.2437 | 2566468.2509 | 1185296.9627
15 | 2566468.2509 | 1185296.9627 | 2566472.0428 | 1185292.154
16 | 2566584.2319 | 1185344.7652 | 2566594.4052 | 1185295.7643
17 | 2566594.4052 | 1185295.7643 | 2566604.0146 | 1185249.4796
18 | 2566481.4195 | 1185280.2629 | 2566511.7599 | 1185308.3299
19 | 2566481.4195 | 1185280.2629 | 2566454.1158 | 1185255.0012
20 | 2566481.4195 | 1185280.2629 | 2566472.0428 | 1185292.154
21 | 2566481.4195 | 1185280.2629 | 2566493.2 | 1185266.835
22 | 2566597.2097 | 1185201.7503 | 2566607.5708 | 1185219.0016 | 2566608.892 | 1185225.9868 | 2566604.0146 | 1185249.4796
23 | 2566538.7828 | 1185190.449 | 2566597.2097 | 1185201.7503
24 | 2566542.7008 | 1185176.0799 | 2566538.7828 | 1185190.449
25 | 2566538.0238 | 1185193.2326 | 2566538.7828 | 1185190.449
26 | 2566530.3694 | 1185221.0145 | 2566531.2667 | 1185219.4915
27 | 2566538.0238 | 1185193.2326 | 2566531.4155 | 1185219.239 | 2566531.2667 | 1185219.4915
28 | 2566530.3694 | 1185221.0145 | 2566524.1733 | 1185231.5306 | 2566514.3531 | 1185242.724
29 | 2566538.0238 | 1185193.2326 | 2566516.0496 | 1185185.9963 | 2566506.3616 | 1185180.1553
30 | 2566549.9971 | 1185149.3208 | 2566542.7008 | 1185176.0799
31 | 2566350.8224 | 1185232.6452 | 2566337.6319 | 1185232.8351 | 2566331.6819 | 1185233.5548
32 | 2566367.0937 | 1185234.8035 | 2566352.8559 | 1185232.6159 | 2566350.8224 | 1185232.6452
33 | 2566367.0937 | 1185234.8035 | 2566379.7821 | 1185239.6903 | 2566393.6417 | 1185249.2618 | 2566399.4616 | 1185255.1209
34 | 2566367.0937 | 1185234.8035 | 2566378.6638 | 1185217.2846 | 2566378.6638 | 1185217.2846
35 | 2566399.4616 | 1185255.1209 | 2566400.3308 | 1185255.9959
36 | 2566378.6638 | 1185217.2846 | 2566390.4728 | 1185210.3447
37 | 2566410.3453 | 1185266.078 | 2566400.3308 | 1185255.9959
38 | 2566391.3434 | 1185209.8331 | 2566390.4728 | 1185210.3447
39 | 2566406.0433 | 1185201.1942 | 2566391.3434 | 1185209.8331
40 | 2566406.0433 | 1185201.1942 | 2566416.409 | 1185195.1025
41 | 2566416.409 | 1185195.1025 | 2566437.2936 | 1185182.829
42 | 2566442.5584 | 1185179.735 | 2566437.2936 | 1185182.829
43 | 2566442.5584 | 1185179.735 | 2566459.5974 | 1185169.7214
44 | 2566481.0943 | 1185157.0881 | 2566459.5974 | 1185169.7214
45 | 2566481.0943 | 1185157.0881 | 2566496.118 | 1185172.1475
46 | 2566506.3616 | 1185180.1553 | 2566500.7037 | 1185176.7441 | 2566496.118 | 1185172.1475
47 | 2566554.6274 | 1185132.3389 | 2566549.9971 | 1185149.3208
48 | 2566514.3531 | 1185242.724 | 2566495.3896 | 1185264.3392
49 | 2566571.1584 | 1185121.9314 | 2566554.4895 | 1185028.2817
50 | 2566571.1584 | 1185121.9314 | 2566571.1584 | 1185121.9314 | 2566561.0592 | 1185122.8885 | 2566554.9093 | 1185131.3051 | 2566554.6274 | 1185132.3389
51 | 2566495.3896 | 1185264.3392 | 2566493.2 | 1185266.835
52 | 2566453.15 | 1185254.1077 | 2566454.1158 | 1185255.0012

## bus_geodata
| x | y | coords
0 | 2566339.4076 | 1185413.8531
1 | 2566345.7249 | 1185359.7673
2 | 2566367.4846 | 1185354.7228
3 | 2566396.9823 | 1185347.8843
4 | 2566437.8455 | 1185335.7114
5 | 2566446.4416 | 1185330.108
6 | 2566457.7975 | 1185313.8355
7 | 2566480.9581 | 1185378.4981
8 | 2566483.5126 | 1185388.2399
9 | 2566576.9969 | 1185379.6135
10 | 2566596.0264 | 1185385.8326
11 | 2566580.5984 | 1185362.2661
12 | 2566606.357 | 1185347.9036
13 | 2566456.2012 | 1185312.2437
14 | 2566483.6676 | 1185338.9222
15 | 2566468.2509 | 1185296.9627
16 | 2566584.2319 | 1185344.7652
17 | 2566594.4052 | 1185295.7643
18 | 2566511.7599 | 1185308.3299
19 | 2566481.4195 | 1185280.2629
20 | 2566604.0146 | 1185249.4796
21 | 2566597.2097 | 1185201.7503
22 | 2566538.7828 | 1185190.449
23 | 2566531.2667 | 1185219.4915
24 | 2566530.3694 | 1185221.0145
25 | 2566538.0238 | 1185193.2326
26 | 2566542.7008 | 1185176.0799
27 | 2566331.6819 | 1185233.5548
28 | 2566350.8224 | 1185232.6452
29 | 2566367.0937 | 1185234.8035
30 | 2566399.4616 | 1185255.1209
31 | 2566378.6638 | 1185217.2846
32 | 2566400.3308 | 1185255.9959
33 | 2566390.4728 | 1185210.3447
34 | 2566391.3434 | 1185209.8331
35 | 2566406.0433 | 1185201.1942
36 | 2566416.409 | 1185195.1025
37 | 2566437.2936 | 1185182.829
38 | 2566442.5584 | 1185179.735
39 | 2566459.5974 | 1185169.7214
40 | 2566410.3453 | 1185266.078
41 | 2566481.0943 | 1185157.0881
42 | 2566496.118 | 1185172.1475
43 | 2566506.3616 | 1185180.1553
44 | 2566549.9971 | 1185149.3208
45 | 2566514.3531 | 1185242.724
46 | 2566554.4895 | 1185028.2817
47 | 2566571.1584 | 1185121.9314
48 | 2566554.6274 | 1185132.3389
49 | 2566495.3896 | 1185264.3392
50 | 2566493.2 | 1185266.835
51 | 2566454.1158 | 1185255.0012
52 | 2566472.0428 | 1185292.154
53 | 2566453.15 | 1185254.1077
54 | 2566481.4195 | 1185280.2629

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99351 | -0.045551 | 0.0032835 | 0.00082292
1 | 0.99376 | -0.043742 | 0.0037041 | 0.00092834
2 | 0.99399 | -0.042164 | 0.0045485 | 0.00114
3 | 0.99449 | -0.038635 | 0 | 0
4 | 0.9952 | -0.033628 | 0.010541 | 0.0026418
5 | 0.99553 | -0.031345 | 0 | 0
6 | 0.9964 | -0.025225 | 0 | 0
7 | 0.99478 | -0.036585 | 0.0066196 | 0.001659
8 | 0.99475 | -0.036784 | 0.0019593 | 0.00049104
9 | 0.98542 | -0.10229 | 0 | 0
10 | 0.98532 | -0.103 | 0 | 0
11 | 0.98551 | -0.10167 | 0.0024062 | 0.00060306
12 | 0.98513 | -0.10438 | 0.003426 | 0.00085863
13 | 0.9965 | -0.024469 | 0 | 0
14 | 0.99626 | -0.026212 | 0.0027238 | 0.00068266
15 | 0.99743 | -0.017941 | 0.0028172 | 0.00070607
16 | 0.98566 | -0.1006 | 0.00527 | 0.0013208
17 | 0.98646 | -0.094887 | 0.0017077 | 0.000428
18 | 0.99828 | -0.012049 | 0.0058722 | 0.0014717
19 | 0.99862 | -0.0096219 | 0 | 0
20 | 0.98734 | -0.088675 | 0.002567 | 0.00064336
21 | 0.98848 | -0.080608 | 0.0039402 | 0.0009875
22 | 0.99014 | -0.06887 | 0.0037965 | 0.00095149
23 | 0.99313 | -0.047857 | 0.0022341 | 0.00055991
24 | 0.99332 | -0.046522 | 0.0023322 | 0.00058451
25 | 0.99029 | -0.067777 | 0 | 0
26 | 0.98984 | -0.071007 | 0.0028487 | 0.00071396
27 | 0.98275 | -0.12119 | 0.00098895 | 0.00024785
28 | 0.98278 | -0.12099 | 0.00093424 | 0.00023414
29 | 0.98282 | -0.12066 | 0 | 0
30 | 0.98248 | -0.12315 | 0.0010699 | 0.00026815
31 | 0.98307 | -0.1189 | 0.005197 | 0.0013025
32 | 0.98247 | -0.12322 | 0.0017971 | 0.00045039
33 | 0.98334 | -0.11701 | 0.001583 | 0.00039673
34 | 0.98336 | -0.11685 | 0.00068182 | 0.00017088
35 | 0.98375 | -0.11411 | 0.0013541 | 0.00033938
36 | 0.98404 | -0.112 | 0.002744 | 0.00068772
37 | 0.98473 | -0.10708 | 0.003311 | 0.00082981
38 | 0.98494 | -0.10564 | 0.0069621 | 0.0017449
39 | 0.98579 | -0.099545 | 0.001674 | 0.00041956
40 | 0.9824 | -0.12371 | 0.0033488 | 0.00083928
41 | 0.98694 | -0.091446 | 0 | 0
42 | 0.98791 | -0.08455 | 0.0014546 | 0.00036455
43 | 0.98854 | -0.080116 | 0.0020063 | 0.00050282
44 | 0.98939 | -0.074183 | 0.0044477 | 0.0011147
45 | 0.99633 | -0.025499 | 0.0020458 | 0.00051271
46 | 0.98865 | -0.079399 | 0.0030022 | 0.00075241
47 | 0.98906 | -0.07648 | 0.001876 | 0.00047018
48 | 0.98922 | -0.075401 | 0.0018959 | 0.00047516
49 | 0.9996 | -0.0027399 | 0.0036667 | 0.00091896
50 | 1 | 0 | -0.13846 | -0.034651
51 | 0.99821 | -0.012542 | 0.0020607 | 0.00051647
52 | 0.99775 | -0.015716 | 0.0039472 | 0.00098926
53 | 0.9982 | -0.012618 | 0.0057789 | 0.0014483
54 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0032835 | -0.00082292 | 0.0032843 | 0.00082253 | 8.2173e-07 | -3.8928e-07 | 0.0049178 | 0.0049175 | 0.0049178 | 0.99351 | -0.045551 | 0.99376 | -0.043742 | 1.8214
1 | -0.0069884 | -0.0017509 | 0.00699 | 0.0017512 | 1.5261e-06 | 2.9751e-07 | 0.010464 | 0.010464 | 0.010464 | 0.99376 | -0.043742 | 0.99399 | -0.042164 | 3.8755
2 | -0.011538 | -0.0028911 | 0.011544 | 0.0028929 | 5.6373e-06 | 1.7755e-06 | 0.017273 | 0.017273 | 0.017273 | 0.99399 | -0.042164 | 0.99449 | -0.038635 | 6.3974
3 | -0.011544 | -0.0028929 | 0.011552 | 0.0028954 | 8.003e-06 | 2.5199e-06 | 0.017273 | 0.017273 | 0.017273 | 0.99449 | -0.038635 | 0.9952 | -0.033628 | 6.3973
4 | -0.022093 | -0.0055372 | 0.0221 | 0.0055398 | 6.9869e-06 | 2.5539e-06 | 0.033033 | 0.033033 | 0.033033 | 0.9952 | -0.033628 | 0.99553 | -0.031345 | 12.2346
5 | -0.030685 | -0.0076913 | 0.030711 | 0.0077011 | 2.6026e-05 | 9.7521e-06 | 0.045865 | 0.045865 | 0.045865 | 0.99553 | -0.031345 | 0.9964 | -0.025225 | 16.9872
6 | 0.0085851 | 0.0021516 | -0.0085789 | -0.00215 | 6.225e-06 | 1.6071e-06 | 0.012832 | 0.012832 | 0.012832 | 0.99553 | -0.031345 | 0.99478 | -0.036585 | 4.7528
7 | -0.033435 | -0.0083834 | 0.033439 | 0.0083847 | 3.5022e-06 | 1.3177e-06 | 0.049934 | 0.049934 | 0.049934 | 0.9964 | -0.025225 | 0.9965 | -0.024469 | 18.4939
8 | 0.0027242 | 0.00068233 | -0.0027238 | -0.00068266 | 3.7217e-07 | -3.2616e-07 | 0.0040682 | 0.0040684 | 0.0040684 | 0.9964 | -0.025225 | 0.99626 | -0.026212 | 1.5068
9 | 0.0019593 | 0.00049093 | -0.0019593 | -0.00049104 | 5.3979e-08 | -1.0999e-07 | 0.0029307 | 0.0029308 | 0.0029308 | 0.99478 | -0.036585 | 0.99475 | -0.036784 | 1.0855
10 | 0.003427 | 0.00085825 | -0.0034266 | -0.00085838 | 3.3364e-07 | -1.2603e-07 | 0.0051746 | 0.0051747 | 0.0051747 | 0.98542 | -0.10229 | 0.98532 | -0.103 | 1.9165
11 | -0.003427 | -0.00085825 | 0.0034272 | 0.00085814 | 2.9602e-07 | -1.1187e-07 | 0.0051746 | 0.0051745 | 0.0051746 | 0.98542 | -0.10229 | 0.98551 | -0.10167 | 1.9165
12 | 0.0034266 | 0.00085838 | -0.003426 | -0.00085863 | 6.5687e-07 | -2.4796e-07 | 0.0051747 | 0.0051749 | 0.0051749 | 0.98532 | -0.103 | 0.98513 | -0.10438 | 1.9166
13 | -0.0058335 | -0.0014612 | 0.0058343 | 0.0014613 | 8.6522e-07 | 1.0499e-07 | 0.0088077 | 0.0088076 | 0.0088077 | 0.98551 | -0.10167 | 0.98566 | -0.1006 | 3.2621
14 | -0.033439 | -0.0083847 | 0.033469 | 0.0083961 | 3.0277e-05 | 1.1391e-05 | 0.049934 | 0.049933 | 0.049934 | 0.9965 | -0.024469 | 0.99743 | -0.017941 | 18.4939
15 | -0.036286 | -0.0091022 | 0.036298 | 0.0091064 | 1.1199e-05 | 4.2274e-06 | 0.054136 | 0.054136 | 0.054136 | 0.99743 | -0.017941 | 0.99775 | -0.015716 | 20.0505
16 | -0.011104 | -0.0027821 | 0.011113 | 0.0027848 | 8.7757e-06 | 2.7369e-06 | 0.016764 | 0.016763 | 0.016764 | 0.98566 | -0.1006 | 0.98646 | -0.094887 | 6.2087
17 | -0.012821 | -0.0032128 | 0.012832 | 0.0032165 | 1.1032e-05 | 3.6392e-06 | 0.019339 | 0.019339 | 0.019339 | 0.98646 | -0.094887 | 0.98734 | -0.088675 | 7.1627
18 | -0.0058722 | -0.0014717 | 0.0058742 | 0.0014719 | 1.9731e-06 | 2.1911e-07 | 0.0087531 | 0.0087529 | 0.0087531 | 0.99828 | -0.012049 | 0.99862 | -0.0096219 | 3.2419
19 | 0.0078429 | 0.0019655 | -0.0078397 | -0.0019648 | 3.17e-06 | 7.3279e-07 | 0.011686 | 0.011687 | 0.011687 | 0.99862 | -0.0096219 | 0.99821 | -0.012542 | 4.3284
20 | 0.040279 | 0.010109 | -0.040245 | -0.010096 | 3.4044e-05 | 1.2896e-05 | 0.060023 | 0.060023 | 0.060023 | 0.99862 | -0.0096219 | 0.99775 | -0.015716 | 22.2308
21 | -0.053996 | -0.013546 | 0.054068 | 0.013574 | 7.2165e-05 | 2.7522e-05 | 0.080462 | 0.080462 | 0.080462 | 0.99862 | -0.0096219 | 1 | 0 | 29.8008
22 | -0.015399 | -0.0038598 | 0.015416 | 0.0038658 | 1.7217e-05 | 5.9659e-06 | 0.023208 | 0.023208 | 0.023208 | 0.98734 | -0.088675 | 0.98848 | -0.080608 | 8.5955
23 | -0.019356 | -0.0048533 | 0.019388 | 0.0048647 | 3.153e-05 | 1.1363e-05 | 0.029139 | 0.029139 | 0.029139 | 0.98848 | -0.080608 | 0.99014 | -0.06887 | 10.7923
24 | 0.014083 | 0.0035288 | -0.014079 | -0.0035274 | 4.1627e-06 | 1.4095e-06 | 0.021164 | 0.021164 | 0.021164 | 0.99014 | -0.06887 | 0.98984 | -0.071007 | 7.8385
25 | -0.037267 | -0.009345 | 0.037273 | 0.0093471 | 5.6476e-06 | 2.135e-06 | 0.056008 | 0.056008 | 0.056008 | 0.99014 | -0.06887 | 0.99029 | -0.067777 | 20.7438
26 | -0.075025 | -0.01886 | 0.075039 | 0.018865 | 1.3943e-05 | 5.3398e-06 | 0.11243 | 0.11243 | 0.11243 | 0.99313 | -0.047857 | 0.99332 | -0.046522 | 41.641
27 | 0.072791 | 0.0183 | -0.072589 | -0.018223 | 0.00020141 | 7.7116e-05 | 0.10908 | 0.10908 | 0.10908 | 0.99313 | -0.047857 | 0.99029 | -0.067777 | 40.4013
28 | -0.077371 | -0.019449 | 0.077598 | 0.019537 | 0.00022722 | 8.704e-05 | 0.11592 | 0.11592 | 0.11592 | 0.99332 | -0.046522 | 0.99633 | -0.025499 | 42.935
29 | 0.035317 | 0.0088755 | -0.035256 | -0.0088526 | 6.0552e-05 | 2.2847e-05 | 0.053075 | 0.053076 | 0.053076 | 0.99029 | -0.067777 | 0.98854 | -0.080116 | 19.6576
30 | 0.01123 | 0.0028135 | -0.011225 | -0.0028119 | 4.9323e-06 | 1.5407e-06 | 0.016881 | 0.016882 | 0.016882 | 0.98984 | -0.071007 | 0.98939 | -0.074183 | 6.2524
31 | -0.00098895 | -0.00024785 | 0.00098898 | 0.00024762 | 2.6841e-08 | -2.3277e-07 | 0.0014974 | 0.0014973 | 0.0014974 | 0.98275 | -0.12119 | 0.98278 | -0.12099 | 0.55459
32 | -0.0019232 | -0.00048176 | 0.0019233 | 0.00048159 | 8.6971e-08 | -1.7486e-07 | 0.0029118 | 0.0029118 | 0.0029118 | 0.98278 | -0.12099 | 0.98282 | -0.12066 | 1.0785
33 | 0.0062181 | 0.0015581 | -0.006216 | -0.0015577 | 2.1402e-06 | 3.3293e-07 | 0.0094143 | 0.0094144 | 0.0094144 | 0.98282 | -0.12066 | 0.98248 | -0.12315 | 3.4868
34 | -0.0081414 | -0.0020396 | 0.0081434 | 0.0020401 | 1.9904e-06 | 4.9941e-07 | 0.012326 | 0.012326 | 0.012326 | 0.98282 | -0.12066 | 0.98307 | -0.1189 | 4.5652
35 | 0.0051461 | 0.0012896 | -0.005146 | -0.0012896 | 4.6751e-08 | 2.3627e-09 | 0.007794 | 0.007794 | 0.007794 | 0.98248 | -0.12315 | 0.98247 | -0.12322 | 2.8867
36 | -0.01334 | -0.0033426 | 0.013344 | 0.0033438 | 3.4849e-06 | 1.1666e-06 | 0.020192 | 0.020192 | 0.020192 | 0.98307 | -0.1189 | 0.98334 | -0.11701 | 7.4786
37 | 0.003349 | 0.00083919 | -0.0033488 | -0.00083928 | 2.2814e-07 | -9.2194e-08 | 0.0050722 | 0.0050723 | 0.0050723 | 0.98247 | -0.12322 | 0.9824 | -0.12371 | 1.8786
38 | -0.014927 | -0.0037405 | 0.014927 | 0.0037406 | 3.215e-07 | 1.1084e-07 | 0.022588 | 0.022588 | 0.022588 | 0.98334 | -0.11701 | 0.98336 | -0.11685 | 8.3658
39 | -0.015609 | -0.0039115 | 0.015615 | 0.0039136 | 5.9355e-06 | 2.0665e-06 | 0.023619 | 0.023619 | 0.023619 | 0.98336 | -0.11685 | 0.98375 | -0.11411 | 8.7479
40 | -0.016969 | -0.004253 | 0.016974 | 0.0042547 | 4.9428e-06 | 1.7484e-06 | 0.025668 | 0.025668 | 0.025668 | 0.98375 | -0.11411 | 0.98404 | -0.112 | 9.5065
41 | -0.019718 | -0.0049424 | 0.019732 | 0.0049473 | 1.3439e-05 | 4.8607e-06 | 0.029817 | 0.029817 | 0.029817 | 0.98404 | -0.112 | 0.98473 | -0.10708 | 11.0433
42 | -0.023043 | -0.0057771 | 0.023047 | 0.0057788 | 4.6201e-06 | 1.6992e-06 | 0.03482 | 0.03482 | 0.03482 | 0.98473 | -0.10708 | 0.98494 | -0.10564 | 12.8963
43 | -0.030009 | -0.0075237 | 0.030035 | 0.0075332 | 2.535e-05 | 9.4982e-06 | 0.045338 | 0.045338 | 0.045338 | 0.98494 | -0.10564 | 0.98579 | -0.099545 | 16.7919
44 | -0.031709 | -0.0079527 | 0.031744 | 0.0079661 | 3.5646e-05 | 1.3392e-05 | 0.047865 | 0.047865 | 0.047865 | 0.98579 | -0.099545 | 0.98694 | -0.091446 | 17.7278
45 | -0.031744 | -0.0079661 | 0.031775 | 0.0079775 | 3.0411e-05 | 1.1424e-05 | 0.047865 | 0.047865 | 0.047865 | 0.98694 | -0.091446 | 0.98791 | -0.08455 | 17.7277
46 | -0.033229 | -0.0083421 | 0.03325 | 0.0083498 | 2.0481e-05 | 7.7094e-06 | 0.050056 | 0.050056 | 0.050056 | 0.98791 | -0.08455 | 0.98854 | -0.080116 | 18.5391
47 | 0.0067772 | 0.0016972 | -0.0067761 | -0.001697 | 1.141e-06 | 2.1284e-07 | 0.010192 | 0.010192 | 0.010192 | 0.98939 | -0.074183 | 0.98922 | -0.075401 | 3.775
48 | -0.079644 | -0.020049 | 0.079898 | 0.020147 | 0.000254 | 9.7317e-05 | 0.11898 | 0.11898 | 0.11898 | 0.99633 | -0.025499 | 0.9996 | -0.0027399 | 44.0665
49 | -0.0030022 | -0.00075241 | 0.0030034 | 0.00075166 | 1.2118e-06 | -7.5421e-07 | 0.0045185 | 0.0045181 | 0.0045185 | 0.98865 | -0.079399 | 0.98906 | -0.07648 | 1.6735
50 | -0.0048794 | -0.0012218 | 0.0048801 | 0.0012218 | 7.276e-07 | 2.079e-09 | 0.0073406 | 0.0073405 | 0.0073406 | 0.98906 | -0.07648 | 0.98922 | -0.075401 | 2.7187
51 | -0.083565 | -0.021065 | 0.083597 | 0.021078 | 3.2081e-05 | 1.2295e-05 | 0.12444 | 0.12444 | 0.12444 | 0.9996 | -0.0027399 | 1 | 0 | 46.0881
52 | 0.005779 | 0.0014483 | -0.0057789 | -0.0014483 | 6.0929e-08 | 6.235e-09 | 0.0086147 | 0.0086147 | 0.0086147 | 0.99821 | -0.012542 | 0.9982 | -0.012618 | 3.1906

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14292 | 0.035768

## res_load
| p_mw | q_mvar
0 | 0.0032835 | 0.00082292
1 | 0.0037041 | 0.00092834
2 | 0.0045485 | 0.00114
3 | 0.010541 | 0.0026418
4 | 0.0066196 | 0.001659
5 | 0.0019593 | 0.00049104
6 | 0.0024062 | 0.00060306
7 | 0.003426 | 0.00085863
8 | 0.0027238 | 0.00068266
9 | 0.0028172 | 0.00070607
10 | 0.00527 | 0.0013208
11 | 0.0017077 | 0.000428
12 | 0.0058722 | 0.0014717
13 | 0.002567 | 0.00064336
14 | 0.0039402 | 0.0009875
15 | 0.0037965 | 0.00095149
16 | 0.0022341 | 0.00055991
17 | 0.0023322 | 0.00058451
18 | 0.0028487 | 0.00071396
19 | 0.00098895 | 0.00024785
20 | 0.00093424 | 0.00023414
21 | 0.0010699 | 0.00026815
22 | 0.005197 | 0.0013025
23 | 0.0017971 | 0.00045039
24 | 0.001583 | 0.00039673
25 | 0.00068182 | 0.00017088
26 | 0.0013541 | 0.00033938
27 | 0.002744 | 0.00068772
28 | 0.003311 | 0.00082981
29 | 0.0069621 | 0.0017449
30 | 0.001674 | 0.00041956
31 | 0.0033488 | 0.00083928
32 | 0.0014546 | 0.00036455
33 | 0.0020063 | 0.00050282
34 | 0.0044477 | 0.0011147
35 | 0.0020458 | 0.00051271
36 | 0.0030022 | 0.00075241
37 | 0.001876 | 0.00047018
38 | 0.0018959 | 0.00047516
39 | 0.0036667 | 0.00091896
40 | 0.0044554 | 0.0011166
41 | 0.0020607 | 0.00051647
42 | 0.0039472 | 0.00098926
43 | 0.0057789 | 0.0014483

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1