## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2035-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2035-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2035-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2035-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2035-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2035-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2035-2_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2035-2_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2035-2_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_2035-2_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2035-2_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2035-2_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2035-2_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_2035-2_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_2035-2_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2035-2_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2035-2_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2035-2_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2035-2_0_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_2035-2_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_2035-2_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2035-2_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2035-2_0_3_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_2035-2_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2035-2_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_2035-2_0_3_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_2035-2_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_2035-2_0_3_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_2035-2_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_2035-2_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2035-2_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2035-2_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_2035-2_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2035-2_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2035-2_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_2035-2_0_3_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_2035-2_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2035-2_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_2035-2_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_2035-2_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2035-2_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2035-2_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2035-2_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2035-2_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2035-2_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2035-2_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2035-2_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2035-2_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_2035-2_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_2035-2_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_2035-2_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_2035-2_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_2035-2_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_2035-2_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_2035-2_0_3_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_2035-2_0_3_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_2035-2_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_MV_478_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2035-2_0_3_load_0 | 0 | 0.0018743 | 0.00046974 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2035-2_0_3_load_1 | 1 | 0.0021316 | 0.00053422 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2035-2_0_3_load_2 | 2 | 0.00092687 | 0.00023229 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2035-2_0_3_load_3 | 3 | 0.00055489 | 0.00013907 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2035-2_0_3_load_4 | 4 | 0.0011413 | 0.00028603 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2035-2_0_3_load_5 | 5 | 0.0025128 | 0.00062978 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2035-2_0_3_load_6 | 7 | 0.0013568 | 0.00034004 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2035-2_0_3_load_12 | 8 | 0.0018616 | 0.00046655 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2035-2_0_3_load_7 | 9 | 0.004336 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2035-2_0_3_load_10 | 11 | 0.00090406 | 0.00022658 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2035-2_0_3_load_19 | 12 | 0.00083881 | 0.00021023 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2035-2_0_3_load_20 | 13 | 0.014332 | 0.0035919 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2035-2_0_3_load_14 | 15 | 0.0021871 | 0.00054813 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2035-2_0_3_load_15 | 16 | 0.0013055 | 0.00032718 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2035-2_0_3_load_51 | 18 | 0.0035833 | 0.00089807 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2035-2_0_3_load_21 | 19 | 0.0053121 | 0.0013313 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2035-2_0_3_load_22 | 20 | 0.0011767 | 0.0002949 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2035-2_0_3_load_17 | 21 | 0.030764 | 0.0077101 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2035-2_0_3_load_52 | 22 | 0.00086413 | 0.00021657 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2035-2_0_3_load_16 | 23 | 0.02132 | 0.0053432 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2035-2_0_3_load_23 | 24 | 0.012835 | 0.0032168 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2035-2_0_3_load_58 | 25 | 0.0012764 | 0.00031989 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2035-2_0_3_load_24 | 26 | 0.0013129 | 0.00032903 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2035-2_0_3_load_26 | 29 | 0.0015169 | 0.00038017 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2035-2_0_3_load_27 | 30 | 0.0067746 | 0.0016979 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2035-2_0_3_load_30 | 33 | 0.0027322 | 0.00068476 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2035-2_0_3_load_31 | 34 | 0.005173 | 0.0012965 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2035-2_0_3_load_32 | 36 | 0.025068 | 0.0062826 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2035-2_0_3_load_40 | 37 | 0.002779 | 0.00069649 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2035-2_0_3_load_43 | 38 | 0.0011293 | 0.00028302 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2035-2_0_3_load_33 | 39 | 0.0026992 | 0.00067647 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2035-2_0_3_load_34 | 40 | 0.00749 | 0.0018772 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2035-2_0_3_load_35 | 41 | 0.0090289 | 0.0022629 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2035-2_0_3_load_36 | 42 | 0.0093813 | 0.0023512 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2035-2_0_3_load_37 | 43 | 0.0030073 | 0.00075371 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2035-2_0_3_load_38 | 44 | 0.0030731 | 0.00077019 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2035-2_0_3_load_41 | 45 | 0.0014701 | 0.00036844 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2035-2_0_3_load_42 | 46 | 0.0017372 | 0.00043539 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2035-2_0_3_load_46 | 48 | 0.0012155 | 0.00030463 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2035-2_0_3_load_47 | 49 | 0.00047335 | 0.00011863 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2035-2_0_3_load_48 | 50 | 0.0059586 | 0.0014934 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2035-2_0_3_load_50 | 52 | 0.0005528 | 0.00013854 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2035-2_0_3_load_53 | 53 | 0.003552 | 0.00089021 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2035-2_0_3_load_54 | 54 | 0.002506 | 0.00062806 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2035-2_0_3_load_56 | 55 | 0.0044277 | 0.0011097 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2035-2_0_3_load_57 | 56 | 0.0014973 | 0.00037526 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2035-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0018033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2035-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2035-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2035-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2035-2_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.005367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2035-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.039962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2035-2_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0063745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2035-2_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.045005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2035-2_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2035-2_0_3_line_9 | NAYY 4x150 SE | 8 | 14 | 0.0037888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2035-2_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.018725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2035-2_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.017027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2035-2_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.013377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2035-2_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.01143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2035-2_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.0021124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2035-2_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.019047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2035-2_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.04835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2035-2_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0097024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2035-2_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.024287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_2035-2_0_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.01934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2035-2_0_3_line_20 | NAYY 4x150 SE | 17 | 21 | 0.051109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2035-2_0_3_line_21 | NAYY 4x150 SE | 18 | 22 | 0.014831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2035-2_0_3_line_22 | NAYY 4x150 SE | 19 | 24 | 0.011551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_2035-2_0_3_line_23 | NAYY 4x150 SE | 20 | 25 | 0.021887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2035-2_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0076193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2035-2_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.023095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2035-2_0_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.034547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2035-2_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.021795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2035-2_0_3_line_28 | NAYY 4x150 SE | 27 | 56 | 0.0078412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2035-2_0_3_line_29 | NAYY 4x150 SE | 27 | 53 | 0.031058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2035-2_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.014079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2035-2_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.009139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2035-2_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0065619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2035-2_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.013845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2035-2_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.0072574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2035-2_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0062262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2035-2_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.016294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2035-2_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.025738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2035-2_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.042193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2035-2_0_3_line_39 | NAYY 4x150 SE | 35 | 38 | 0.0090627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2035-2_0_3_line_40 | NAYY 4x150 SE | 36 | 39 | 0.00043597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2035-2_0_3_line_41 | NAYY 4x150 SE | 37 | 44 | 0.00083185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2035-2_0_3_line_42 | NAYY 4x150 SE | 38 | 45 | 0.033209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2035-2_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.016713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2035-2_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.044201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2035-2_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.023292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2035-2_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.0044621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2035-2_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.024808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2035-2_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.028944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2035-2_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.019721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2035-2_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.013255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2035-2_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.01334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2035-2_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.04551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2035-2_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.069067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2035-2_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.014051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2035-2_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.025683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2035-2_0_3_trafo_23 | 0.25 MVA 20/0.4 kV | 57 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2553656.5181 | 1181371.6431 | 2553656.7551 | 1181369.8555
1 | 2553656.5181 | 1181371.6431 | 2553653.9683 | 1181390.8683 | 2553654.279 | 1181397.1954
2 | 2553656.7551 | 1181369.8555 | 2553659.4662 | 1181349.4144 | 2553660.3693 | 1181344.4953
3 | 2553655.2171 | 1181416.2998 | 2553654.279 | 1181397.1954
4 | 2553661.3384 | 1181339.2165 | 2553660.3693 | 1181344.4953
5 | 2553666.2992 | 1181454.5851 | 2553655.392 | 1181419.8619 | 2553655.2171 | 1181416.2998
6 | 2553661.3384 | 1181339.2165 | 2553662.4895 | 1181332.9468
7 | 2553666.2992 | 1181454.5851 | 2553707.5869 | 1181440.2687 | 2553708.8424 | 1181439.9114
8 | 2553662.4895 | 1181332.9468 | 2553665.2402 | 1181317.9638 | 2553665.3663 | 1181317.6197
9 | 2553712.4865 | 1181438.8745 | 2553708.8424 | 1181439.9114
10 | 2553671.8065 | 1181300.0365 | 2553665.3663 | 1181317.6197
11 | 2553671.8065 | 1181300.0365 | 2553683.3053 | 1181312.5946
12 | 2553692.339 | 1181322.4605 | 2553683.3053 | 1181312.5946
13 | 2553700.0576 | 1181330.89 | 2553692.339 | 1181322.4605
14 | 2553712.4865 | 1181438.8745 | 2553714.5188 | 1181438.298
15 | 2553712.4865 | 1181438.8745 | 2553721.8204 | 1181455.4777
16 | 2553761.0336 | 1181425.1026 | 2553714.5188 | 1181438.298
17 | 2553721.8204 | 1181455.4777 | 2553726.575 | 1181463.9353
18 | 2553761.0336 | 1181425.1026 | 2553764.9634 | 1181422.7265 | 2553781.5708 | 1181417.462 | 2553783.6934 | 1181416.6482
19 | 2553761.0336 | 1181425.1026 | 2553768.0397 | 1181443.1285
20 | 2553761.0336 | 1181425.1026 | 2553754.8343 | 1181410.5204 | 2553742.2077 | 1181377.5951
21 | 2553733.8427 | 1181476.8631 | 2553726.575 | 1181463.9353
22 | 2553794.4789 | 1181412.513 | 2553783.6934 | 1181416.6482
23 | 2553775.9686 | 1181463.5285 | 2553768.0397 | 1181443.1285
24 | 2553742.2077 | 1181377.5951 | 2553739.4794 | 1181370.481
25 | 2553794.4789 | 1181412.513 | 2553806.0733 | 1181408.0676 | 2553816.4911 | 1181405.7281
26 | 2553788.4839 | 1181495.7287 | 2553775.9686 | 1181463.5285
27 | 2553837.7568 | 1181400.9525 | 2553816.4911 | 1181405.7281
28 | 2553788.4839 | 1181495.7287 | 2553791.3605 | 1181503.0232
29 | 2553788.4839 | 1181495.7287 | 2553760.7099 | 1181509.6287 | 2553760.7099 | 1181509.6287
30 | 2553837.7568 | 1181400.9525 | 2553847.9994 | 1181400.1841 | 2553851.7878 | 1181399.7997
31 | 2553837.7568 | 1181400.9525 | 2553839.2081 | 1181391.9295
32 | 2553858.3162 | 1181399.1373 | 2553851.7878 | 1181399.7997
33 | 2553858.3162 | 1181399.1373 | 2553858.7899 | 1181385.3039
34 | 2553858.3162 | 1181399.1373 | 2553865.5442 | 1181399.7905
35 | 2553858.7899 | 1181385.3039 | 2553858.9847 | 1181379.0808
36 | 2553881.791 | 1181401.0239 | 2553870.3296 | 1181400.223 | 2553865.5442 | 1181399.7905
37 | 2553849.1442 | 1181356.8819 | 2553859.28 | 1181369.6472 | 2553858.9847 | 1181379.0808
38 | 2553881.791 | 1181401.0239 | 2553906.2485 | 1181387.7504 | 2553916.7196 | 1181377.9152
39 | 2553881.791 | 1181401.0239 | 2553889.3095 | 1181406.084
40 | 2553848.8731 | 1181356.5405 | 2553849.1442 | 1181356.8819
41 | 2553917.326 | 1181377.3457 | 2553916.7196 | 1181377.9152
42 | 2553912.7563 | 1181429.502 | 2553907.3772 | 1181423.2053 | 2553891.2793 | 1181407.4098 | 2553889.3095 | 1181406.084
43 | 2553842.9274 | 1181342.0845 | 2553842.4528 | 1181348.4545 | 2553848.8731 | 1181356.5405
44 | 2553844.065 | 1181299.1042 | 2553848.1259 | 1181309.7342 | 2553845.9592 | 1181318.9226 | 2553843.5807 | 1181333.3154 | 2553842.9274 | 1181342.0845
45 | 2553920.5784 | 1181374.2909 | 2553921.4881 | 1181373.4364 | 2553939.4893 | 1181360.713
46 | 2553920.5784 | 1181374.2909 | 2553917.326 | 1181377.3457
47 | 2553912.7563 | 1181429.502 | 2553928.87 | 1181448.3645
48 | 2553954.9399 | 1181458.0467 | 2553946.5655 | 1181458.4336 | 2553939.5824 | 1181456.0417 | 2553928.87 | 1181448.3645 | 2553928.87 | 1181448.3645
49 | 2553954.9399 | 1181458.0467 | 2553960.1845 | 1181477.058
50 | 2553954.9399 | 1181458.0467 | 2553967.989 | 1181455.7172
51 | 2553964.934 | 1181489.4459 | 2553962.0889 | 1181483.9613 | 2553960.1845 | 1181477.058
52 | 2554011.2293 | 1181442.0717 | 2553981.7537 | 1181453.26 | 2553967.989 | 1181455.7172
53 | 2554011.2293 | 1181442.0717 | 2553956.1818 | 1181400.1614
54 | 2553760.7099 | 1181509.6287 | 2553767.4889 | 1181521.9364
55 | 2553779.8797 | 1181544.4327 | 2553767.4889 | 1181521.9364

## bus_geodata
| x | y | coords
0 | 2553656.5181 | 1181371.6431
1 | 2553656.7551 | 1181369.8555
2 | 2553654.279 | 1181397.1954
3 | 2553660.3693 | 1181344.4953
4 | 2553655.2171 | 1181416.2998
5 | 2553661.3384 | 1181339.2165
6 | 2553666.2992 | 1181454.5851
7 | 2553662.4895 | 1181332.9468
8 | 2553708.8424 | 1181439.9114
9 | 2553665.3663 | 1181317.6197
10 | 2553671.8065 | 1181300.0365
11 | 2553683.3053 | 1181312.5946
12 | 2553692.339 | 1181322.4605
13 | 2553700.0576 | 1181330.89
14 | 2553712.4865 | 1181438.8745
15 | 2553714.5188 | 1181438.298
16 | 2553721.8204 | 1181455.4777
17 | 2553761.0336 | 1181425.1026
18 | 2553726.575 | 1181463.9353
19 | 2553783.6934 | 1181416.6482
20 | 2553768.0398 | 1181443.1285
21 | 2553742.2077 | 1181377.5951
22 | 2553733.8427 | 1181476.8631
23 | 2553739.4794 | 1181370.481
24 | 2553794.4789 | 1181412.513
25 | 2553775.9686 | 1181463.5285
26 | 2553816.4911 | 1181405.7281
27 | 2553788.4839 | 1181495.7287
28 | 2553837.7568 | 1181400.9525
29 | 2553851.7878 | 1181399.7997
30 | 2553839.2081 | 1181391.9295
31 | 2553858.3162 | 1181399.1373
32 | 2553858.7899 | 1181385.3039
33 | 2553865.5442 | 1181399.7905
34 | 2553858.9847 | 1181379.0808
35 | 2553881.791 | 1181401.0239
36 | 2553849.1442 | 1181356.8819
37 | 2553916.7196 | 1181377.9152
38 | 2553889.3095 | 1181406.084
39 | 2553848.8731 | 1181356.5405
40 | 2553842.9274 | 1181342.0845
41 | 2553844.065 | 1181299.1042
42 | 2553920.5784 | 1181374.2909
43 | 2553939.4893 | 1181360.713
44 | 2553917.326 | 1181377.3457
45 | 2553912.7563 | 1181429.502
46 | 2553928.87 | 1181448.3645
47 | 2553954.9399 | 1181458.0467
48 | 2553960.1845 | 1181477.058
49 | 2553967.989 | 1181455.7172
50 | 2553964.934 | 1181489.4459
51 | 2554011.2293 | 1181442.0717
52 | 2553956.1818 | 1181400.1614
53 | 2553760.7099 | 1181509.6287
54 | 2553767.4889 | 1181521.9364
55 | 2553779.8797 | 1181544.4327
56 | 2553791.3605 | 1181503.0232
57 | 2553761.0336 | 1181425.1026

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98837 | -0.081474 | 0.0018743 | 0.00046974
1 | 0.9883 | -0.081971 | 0.0021316 | 0.00053422
2 | 0.98944 | -0.073898 | 0.00092687 | 0.00023229
3 | 0.98738 | -0.088482 | 0.00055489 | 0.00013907
4 | 0.99026 | -0.068095 | 0.0011413 | 0.00028603
5 | 0.98719 | -0.089816 | 0.0025128 | 0.00062978
6 | 0.99205 | -0.05554 | 0 | 0
7 | 0.98699 | -0.091238 | 0.0013568 | 0.00034004
8 | 0.99406 | -0.041452 | 0.0018616 | 0.00046655
9 | 0.98653 | -0.094503 | 0.004336 | 0.0010867
10 | 0.98609 | -0.097592 | 0 | 0
11 | 0.9857 | -0.1004 | 0.00090406 | 0.00022658
12 | 0.9854 | -0.10249 | 0.00083881 | 0.00021023
13 | 0.98517 | -0.10417 | 0.014332 | 0.0035919
14 | 0.99424 | -0.040197 | 0 | 0
15 | 0.99436 | -0.039375 | 0.0021871 | 0.00054813
16 | 0.99408 | -0.041304 | 0.0013055 | 0.00032718
17 | 0.99719 | -0.019548 | 0 | 0
18 | 0.99402 | -0.04174 | 0.0035833 | 0.00089807
19 | 0.99907 | -0.0064966 | 0.0053121 | 0.0013313
20 | 0.99679 | -0.022354 | 0.0011767 | 0.0002949
21 | 0.99337 | -0.046369 | 0.030764 | 0.0077101
22 | 0.994 | -0.04187 | 0.00086413 | 0.00021657
23 | 0.99314 | -0.048012 | 0.02132 | 0.0053432
24 | 1 | 0 | -0.20776 | -0.052102
25 | 0.99638 | -0.025273 | 0.0012764 | 0.00031989
26 | 0.99692 | -0.021415 | 0.0013129 | 0.00032903
27 | 0.99579 | -0.02944 | 0 | 0
28 | 0.99405 | -0.041457 | 0 | 0
29 | 0.99234 | -0.053498 | 0.0015169 | 0.00038017
30 | 0.99396 | -0.042083 | 0.0067746 | 0.0016979
31 | 0.99155 | -0.059024 | 0 | 0
32 | 0.99057 | -0.065983 | 0 | 0
33 | 0.9912 | -0.061496 | 0.0027322 | 0.00068476
34 | 0.99012 | -0.069117 | 0.005173 | 0.0012965
35 | 0.99048 | -0.066599 | 0 | 0
36 | 0.98848 | -0.080742 | 0.025068 | 0.0062826
37 | 0.98937 | -0.074439 | 0.002779 | 0.00069649
38 | 0.99032 | -0.067757 | 0.0011293 | 0.00028302
39 | 0.98847 | -0.080828 | 0.0026992 | 0.00067647
40 | 0.98807 | -0.08365 | 0.00749 | 0.0018772
41 | 0.98749 | -0.087733 | 0.0090289 | 0.0022629
42 | 0.98927 | -0.075134 | 0.0093813 | 0.0023512
43 | 0.98917 | -0.075849 | 0.0030073 | 0.00075371
44 | 0.98935 | -0.07457 | 0.0030731 | 0.00077019
45 | 0.98977 | -0.071622 | 0.0014701 | 0.00036844
46 | 0.98942 | -0.074139 | 0.0017372 | 0.00043539
47 | 0.98907 | -0.076565 | 0 | 0
48 | 0.98887 | -0.078009 | 0.0012155 | 0.00030463
49 | 0.98905 | -0.076705 | 0.00047335 | 0.00011863
50 | 0.98876 | -0.07882 | 0.0059586 | 0.0014934
51 | 0.98902 | -0.076966 | 0 | 0
52 | 0.98896 | -0.077358 | 0.0005528 | 0.00013854
53 | 0.99532 | -0.032721 | 0.003552 | 0.00089021
54 | 0.99518 | -0.033703 | 0.002506 | 0.00062806
55 | 0.99502 | -0.03485 | 0.0044277 | 0.0011097
56 | 0.99577 | -0.029559 | 0.0014973 | 0.00037526
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.02703 | 0.0067814 | -0.027028 | -0.0067807 | 1.8637e-06 | 6.9369e-07 | 0.040697 | 0.040697 | 0.040697 | 0.98837 | -0.081474 | 0.9883 | -0.081971 | 15.0729
1 | -0.028904 | -0.0072511 | 0.028935 | 0.0072625 | 3.0405e-05 | 1.1364e-05 | 0.043519 | 0.043519 | 0.043519 | 0.98837 | -0.081474 | 0.98944 | -0.073898 | 16.118
2 | 0.024897 | 0.0062464 | -0.024874 | -0.0062381 | 2.2468e-05 | 8.3135e-06 | 0.037488 | 0.037488 | 0.037488 | 0.9883 | -0.081971 | 0.98738 | -0.088482 | 13.8843
3 | -0.029862 | -0.0074947 | 0.029886 | 0.0075038 | 2.4075e-05 | 9.0139e-06 | 0.044912 | 0.044912 | 0.044912 | 0.98944 | -0.073898 | 0.99026 | -0.068095 | 16.6342
4 | 0.024319 | 0.0060991 | -0.024315 | -0.0060974 | 4.4988e-06 | 1.6617e-06 | 0.036651 | 0.036651 | 0.036651 | 0.98738 | -0.088482 | 0.98719 | -0.089816 | 13.5746
5 | -0.031027 | -0.0077898 | 0.031081 | 0.0078101 | 5.4214e-05 | 2.0337e-05 | 0.046627 | 0.046627 | 0.046627 | 0.99026 | -0.068095 | 0.99205 | -0.05554 | 17.2694
6 | 0.021802 | 0.0054676 | -0.021798 | -0.005466 | 4.296e-06 | 1.5708e-06 | 0.032864 | 0.032864 | 0.032864 | 0.98719 | -0.089816 | 0.98699 | -0.091238 | 12.1718
7 | -0.031081 | -0.0078101 | 0.031142 | 0.007833 | 6.1055e-05 | 2.29e-05 | 0.046627 | 0.046627 | 0.046627 | 0.99205 | -0.05554 | 0.99406 | -0.041452 | 17.2693
8 | 0.020441 | 0.005126 | -0.020432 | -0.0051226 | 9.2453e-06 | 3.3566e-06 | 0.030818 | 0.030818 | 0.030818 | 0.98699 | -0.091238 | 0.98653 | -0.094503 | 11.4142
9 | -0.033004 | -0.0082996 | 0.033009 | 0.0083018 | 5.7726e-06 | 2.1711e-06 | 0.049414 | 0.049413 | 0.049414 | 0.99406 | -0.041452 | 0.99424 | -0.040197 | 18.3013
10 | 0.016096 | 0.004036 | -0.016089 | -0.0040335 | 6.8874e-06 | 2.41e-06 | 0.024278 | 0.024278 | 0.024278 | 0.98653 | -0.094503 | 0.98609 | -0.097592 | 8.992
11 | 0.016089 | 0.0040335 | -0.016082 | -0.0040314 | 6.2628e-06 | 2.1916e-06 | 0.024278 | 0.024278 | 0.024278 | 0.98609 | -0.097592 | 0.9857 | -0.1004 | 8.992
12 | 0.015178 | 0.0038048 | -0.015174 | -0.0038033 | 4.3826e-06 | 1.5152e-06 | 0.022914 | 0.022914 | 0.022914 | 0.9857 | -0.1004 | 0.9854 | -0.10249 | 8.4866
13 | 0.014335 | 0.003593 | -0.014332 | -0.0035919 | 3.342e-06 | 1.1398e-06 | 0.021647 | 0.021647 | 0.021647 | 0.9854 | -0.10249 | 0.98517 | -0.10417 | 8.0174
14 | -0.038764 | -0.0097435 | 0.038768 | 0.0097451 | 4.4381e-06 | 1.6796e-06 | 0.058025 | 0.058025 | 0.058025 | 0.99424 | -0.040197 | 0.99436 | -0.039375 | 21.4908
15 | 0.0057541 | 0.0014417 | -0.0057532 | -0.0014416 | 8.8143e-07 | 9.204e-08 | 0.0086117 | 0.0086117 | 0.0086117 | 0.99424 | -0.040197 | 0.99408 | -0.041304 | 3.1895
16 | -0.040955 | -0.010293 | 0.041068 | 0.010336 | 0.00011336 | 4.2973e-05 | 0.061298 | 0.061298 | 0.061298 | 0.99436 | -0.039375 | 0.99719 | -0.019548 | 22.703
17 | 0.0044477 | 0.0011144 | -0.0044475 | -0.0011145 | 2.6835e-07 | -2.2566e-08 | 0.0066576 | 0.0066577 | 0.0066577 | 0.99408 | -0.041304 | 0.99402 | -0.04174 | 2.4658
18 | -0.10781 | -0.027091 | 0.10801 | 0.027165 | 0.00019618 | 7.4818e-05 | 0.1609 | 0.1609 | 0.1609 | 0.99719 | -0.019548 | 0.99907 | -0.0064966 | 29.7964
19 | 0.01446 | 0.0036254 | -0.014455 | -0.0036235 | 5.6191e-06 | 1.909e-06 | 0.021578 | 0.021578 | 0.021578 | 0.99719 | -0.019548 | 0.99679 | -0.022354 | 7.992
20 | 0.052282 | 0.013129 | -0.052088 | -0.013055 | 0.00019415 | 7.401e-05 | 0.078025 | 0.078025 | 0.078025 | 0.99719 | -0.019548 | 0.99337 | -0.046369 | 28.8981
21 | 0.00086415 | 0.00021639 | -0.00086413 | -0.00021657 | 1.5485e-08 | -1.8629e-07 | 0.0012935 | 0.0012936 | 0.0012936 | 0.99402 | -0.04174 | 0.994 | -0.04187 | 0.47911
22 | -0.11332 | -0.028497 | 0.11342 | 0.028536 | 0.0001027 | 3.9198e-05 | 0.16881 | 0.16881 | 0.16881 | 0.99907 | -0.0064966 | 1 | 0 | 31.2615
23 | 0.013278 | 0.0033286 | -0.013273 | -0.0033268 | 5.366e-06 | 1.7787e-06 | 0.019822 | 0.019822 | 0.019822 | 0.99679 | -0.022354 | 0.99638 | -0.025273 | 7.3415
24 | 0.021324 | 0.0053449 | -0.02132 | -0.0053432 | 4.8512e-06 | 1.7672e-06 | 0.031943 | 0.031943 | 0.031943 | 0.99337 | -0.046369 | 0.99314 | -0.048012 | 11.8307
25 | 0.093539 | 0.023566 | -0.09326 | -0.023459 | 0.00027936 | 0.00010714 | 0.13923 | 0.13923 | 0.13923 | 1 | 0 | 0.99692 | -0.021415 | 51.567
26 | 0.011996 | 0.0030069 | -0.011989 | -0.0030047 | 6.9194e-06 | 2.2116e-06 | 0.017916 | 0.017916 | 0.017916 | 0.99638 | -0.025273 | 0.99579 | -0.02944 | 6.6355
27 | 0.091947 | 0.023129 | -0.091691 | -0.023031 | 0.00025627 | 9.8284e-05 | 0.13727 | 0.13727 | 0.13727 | 0.99692 | -0.021415 | 0.99405 | -0.041457 | 50.8412
28 | 0.0014973 | 0.00037517 | -0.0014973 | -0.00037526 | 2.4496e-08 | -9.2583e-08 | 0.0022375 | 0.0022375 | 0.0022375 | 0.99579 | -0.02944 | 0.99577 | -0.029559 | 0.8287
29 | 0.010492 | 0.0026295 | -0.010487 | -0.0026281 | 4.764e-06 | 1.4284e-06 | 0.015678 | 0.015679 | 0.015679 | 0.99579 | -0.02944 | 0.99532 | -0.032721 | 5.8069
30 | 0.084915 | 0.021333 | -0.084773 | -0.021279 | 0.00014199 | 5.4429e-05 | 0.12713 | 0.12713 | 0.12713 | 0.99405 | -0.041457 | 0.99234 | -0.053498 | 47.085
31 | 0.0067751 | 0.001698 | -0.0067746 | -0.0016979 | 5.8656e-07 | 1.0714e-07 | 0.010142 | 0.010142 | 0.010142 | 0.99405 | -0.041457 | 0.99396 | -0.042083 | 3.7562
32 | 0.083256 | 0.020899 | -0.083193 | -0.020874 | 6.383e-05 | 2.4465e-05 | 0.12485 | 0.12485 | 0.12485 | 0.99234 | -0.053498 | 0.99155 | -0.059024 | 46.2426
33 | 0.049612 | 0.012453 | -0.049564 | -0.012435 | 4.7897e-05 | 1.8243e-05 | 0.074459 | 0.074459 | 0.074459 | 0.99155 | -0.059024 | 0.99057 | -0.065983 | 27.5773
34 | 0.033581 | 0.0084212 | -0.033569 | -0.0084169 | 1.1502e-05 | 4.3302e-06 | 0.050396 | 0.050396 | 0.050396 | 0.99155 | -0.059024 | 0.9912 | -0.061496 | 18.6653
35 | 0.049564 | 0.012435 | -0.049542 | -0.012426 | 2.1539e-05 | 8.2043e-06 | 0.074459 | 0.074459 | 0.074459 | 0.99057 | -0.065983 | 0.99012 | -0.069117 | 27.5773
36 | 0.030837 | 0.0077321 | -0.030815 | -0.0077239 | 2.1791e-05 | 8.1714e-06 | 0.046295 | 0.046295 | 0.046295 | 0.9912 | -0.061496 | 0.99048 | -0.066599 | 17.1462
37 | 0.044369 | 0.01113 | -0.044298 | -0.011103 | 7.1418e-05 | 2.7138e-05 | 0.066684 | 0.066684 | 0.066684 | 0.99012 | -0.069117 | 0.98848 | -0.080742 | 24.6979
38 | 0.018262 | 0.0045789 | -0.018242 | -0.0045718 | 1.9819e-05 | 7.0801e-06 | 0.027436 | 0.027436 | 0.027436 | 0.99048 | -0.066599 | 0.98937 | -0.074439 | 10.1616
39 | 0.012553 | 0.0031451 | -0.012551 | -0.0031444 | 2.0112e-06 | 6.5693e-07 | 0.018859 | 0.018859 | 0.018859 | 0.99048 | -0.066599 | 0.99032 | -0.067757 | 6.9847
40 | 0.01923 | 0.0048203 | -0.01923 | -0.0048202 | 2.2797e-07 | 8.2093e-08 | 0.028948 | 0.028948 | 0.028948 | 0.98848 | -0.080742 | 0.98847 | -0.080828 | 10.7216
41 | 0.015463 | 0.0038753 | -0.015463 | -0.0038752 | 2.8076e-07 | 9.7301e-08 | 0.023257 | 0.023257 | 0.023257 | 0.98937 | -0.074439 | 0.98935 | -0.07457 | 8.6136
42 | 0.011422 | 0.0028614 | -0.011416 | -0.0028595 | 6.1034e-06 | 1.9204e-06 | 0.017162 | 0.017162 | 0.017162 | 0.99032 | -0.067757 | 0.98977 | -0.071622 | 6.3563
43 | 0.016531 | 0.0041437 | -0.016524 | -0.0041414 | 6.4581e-06 | 2.2697e-06 | 0.024885 | 0.024885 | 0.024885 | 0.98847 | -0.080828 | 0.98807 | -0.08365 | 9.2167
44 | 0.009034 | 0.0022643 | -0.0090289 | -0.0022629 | 5.1054e-06 | 1.3978e-06 | 0.013605 | 0.013605 | 0.013605 | 0.98807 | -0.08365 | 0.98749 | -0.087733 | 5.039
45 | 0.0030076 | 0.00075352 | -0.0030073 | -0.00075371 | 2.9745e-07 | -1.8462e-07 | 0.0045238 | 0.0045239 | 0.0045239 | 0.98927 | -0.075134 | 0.98917 | -0.075849 | 1.6755
46 | -0.012389 | -0.0031047 | 0.01239 | 0.003105 | 9.6688e-07 | 3.1458e-07 | 0.018635 | 0.018635 | 0.018635 | 0.98927 | -0.075134 | 0.98935 | -0.07457 | 6.9018
47 | 0.0099458 | 0.002491 | -0.0099424 | -0.00249 | 3.4608e-06 | 1.0123e-06 | 0.014952 | 0.014952 | 0.014952 | 0.98977 | -0.071622 | 0.98942 | -0.074139 | 5.5378
48 | 0.0082051 | 0.0020546 | -0.0082024 | -0.0020539 | 2.75e-06 | 6.861e-07 | 0.012339 | 0.012339 | 0.012339 | 0.98942 | -0.074139 | 0.98907 | -0.076565 | 4.5702
49 | 0.0071762 | 0.0017984 | -0.0071747 | -0.0017981 | 1.4344e-06 | 2.9863e-07 | 0.010796 | 0.010796 | 0.010796 | 0.98907 | -0.076565 | 0.98887 | -0.078009 | 3.9986
50 | 0.0010262 | 0.00025556 | -0.0010262 | -0.00025573 | 1.9702e-08 | -1.6254e-07 | 0.0015433 | 0.0015434 | 0.0015434 | 0.98907 | -0.076565 | 0.98905 | -0.076705 | 0.57162
51 | 0.0059593 | 0.0014935 | -0.0059586 | -0.0014934 | 6.6936e-07 | 8.6329e-08 | 0.0089673 | 0.0089673 | 0.0089673 | 0.98887 | -0.078009 | 0.98876 | -0.07882 | 3.3212
52 | 0.00055285 | 0.00013709 | -0.00055283 | -0.00013767 | 1.9627e-08 | -5.7649e-07 | 0.00083123 | 0.00083144 | 0.00083144 | 0.98905 | -0.076705 | 0.98902 | -0.076966 | 0.30794
53 | 0.00055283 | 0.00013767 | -0.0005528 | -0.00013854 | 2.9804e-08 | -8.7481e-07 | 0.00083144 | 0.00083175 | 0.00083175 | 0.98902 | -0.076966 | 0.98896 | -0.077358 | 0.30806
54 | 0.0069353 | 0.0017379 | -0.0069344 | -0.0017377 | 9.4257e-07 | 1.7993e-07 | 0.010368 | 0.010368 | 0.010368 | 0.99532 | -0.032721 | 0.99518 | -0.033703 | 3.8401
55 | 0.0044284 | 0.0011096 | -0.0044277 | -0.0011097 | 7.0264e-07 | -6.3401e-08 | 0.0066214 | 0.0066215 | 0.0066215 | 0.99518 | -0.033703 | 0.99502 | -0.03485 | 2.4524

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.2206 | 0.055319

## res_load
| p_mw | q_mvar
0 | 0.0018743 | 0.00046974
1 | 0.0021316 | 0.00053422
2 | 0.00092687 | 0.00023229
3 | 0.00055489 | 0.00013907
4 | 0.0011413 | 0.00028603
5 | 0.0025128 | 0.00062978
6 | 0.0013568 | 0.00034004
7 | 0.0018616 | 0.00046655
8 | 0.004336 | 0.0010867
9 | 0.00090406 | 0.00022658
10 | 0.00083881 | 0.00021023
11 | 0.014332 | 0.0035919
12 | 0.0021871 | 0.00054813
13 | 0.0013055 | 0.00032718
14 | 0.0035833 | 0.00089807
15 | 0.0053121 | 0.0013313
16 | 0.0011767 | 0.0002949
17 | 0.030764 | 0.0077101
18 | 0.00086413 | 0.00021657
19 | 0.02132 | 0.0053432
20 | 0.012835 | 0.0032168
21 | 0.0012764 | 0.00031989
22 | 0.0013129 | 0.00032903
23 | 0.0015169 | 0.00038017
24 | 0.0067746 | 0.0016979
25 | 0.0027322 | 0.00068476
26 | 0.005173 | 0.0012965
27 | 0.025068 | 0.0062826
28 | 0.002779 | 0.00069649
29 | 0.0011293 | 0.00028302
30 | 0.0026992 | 0.00067647
31 | 0.00749 | 0.0018772
32 | 0.0090289 | 0.0022629
33 | 0.0093813 | 0.0023512
34 | 0.0030073 | 0.00075371
35 | 0.0030731 | 0.00077019
36 | 0.0014701 | 0.00036844
37 | 0.0017372 | 0.00043539
38 | 0.0012155 | 0.00030463
39 | 0.00047335 | 0.00011863
40 | 0.0059586 | 0.0014934
41 | 0.0005528 | 0.00013854
42 | 0.003552 | 0.00089021
43 | 0.002506 | 0.00062806
44 | 0.0044277 | 0.0011097
45 | 0.0014973 | 0.00037526

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1