## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2041-1_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2041-1_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2041-1_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2041-1_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2041-1_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2041-1_0_1_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2041-1_0_1_node_131 | 0.4 | n |  | TRUE
7 | bus_LV_2041-1_0_1_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2041-1_0_1_node_128 | 0.4 | n |  | TRUE
9 | bus_LV_2041-1_0_1_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2041-1_0_1_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2041-1_0_1_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2041-1_0_1_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2041-1_0_1_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2041-1_0_1_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_2041-1_0_1_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2041-1_0_1_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2041-1_0_1_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2041-1_0_1_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2041-1_0_1_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2041-1_0_1_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2041-1_0_1_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2041-1_0_1_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_2041-1_0_1_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_2041-1_0_1_node_80 | 0.4 | n |  | TRUE
25 | bus_LV_2041-1_0_1_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_2041-1_0_1_node_130 | 0.4 | n |  | TRUE
27 | bus_LV_2041-1_0_1_node_129 | 0.4 | n |  | TRUE
28 | bus_LV_2041-1_0_1_node_132 | 0.4 | n |  | TRUE
29 | bus_LV_2041-1_0_1_node_141 | 0.4 | n |  | TRUE
30 | bus_LV_2041-1_0_1_node_140 | 0.4 | n |  | TRUE
31 | bus_LV_2041-1_0_1_node_142 | 0.4 | n |  | TRUE
32 | bus_LV_2041-1_0_1_node_137 | 0.4 | n |  | TRUE
33 | bus_LV_2041-1_0_1_node_104 | 0.4 | n |  | TRUE
34 | bus_LV_2041-1_0_1_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2041-1_0_1_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2041-1_0_1_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2041-1_0_1_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_2041-1_0_1_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_2041-1_0_1_node_133 | 0.4 | n |  | TRUE
40 | bus_LV_2041-1_0_1_node_134 | 0.4 | n |  | TRUE
41 | bus_LV_2041-1_0_1_node_135 | 0.4 | n |  | TRUE
42 | bus_LV_2041-1_0_1_node_136 | 0.4 | n |  | TRUE
43 | bus_LV_2041-1_0_1_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_2041-1_0_1_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_2041-1_0_1_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_2041-1_0_1_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_2041-1_0_1_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_2041-1_0_1_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_2041-1_0_1_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_2041-1_0_1_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_2041-1_0_1_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_2041-1_0_1_node_103 | 0.4 | n |  | TRUE
53 | bus_LV_2041-1_0_1_node_138 | 0.4 | n |  | TRUE
54 | bus_LV_2041-1_0_1_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2041-1_0_1_node_139 | 0.4 | n |  | TRUE
56 | bus_LV_2041-1_0_1_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_2041-1_0_1_node_106 | 0.4 | n |  | TRUE
58 | bus_LV_2041-1_0_1_node_107 | 0.4 | n |  | TRUE
59 | bus_LV_2041-1_0_1_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_2041-1_0_1_node_109 | 0.4 | n |  | TRUE
61 | bus_LV_2041-1_0_1_node_111 | 0.4 | n |  | TRUE
62 | bus_MV_0_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2041-1_0_1_load_0 | 0 | 0.0046283 | 0.00116 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2041-1_0_1_load_1 | 1 | 0.0021654 | 0.0005427 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2041-1_0_1_load_3 | 3 | 0.0012553 | 0.00031462 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2041-1_0_1_load_5 | 5 | 0.0010524 | 0.00026375 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2041-1_0_1_load_128 | 8 | 0.0014781 | 0.00037046 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2041-1_0_1_load_7 | 9 | 0.00065519 | 0.00016421 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2041-1_0_1_load_8 | 10 | 0.00070712 | 0.00017722 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2041-1_0_1_load_9 | 11 | 0.0020625 | 0.0005169 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2041-1_0_1_load_10 | 12 | 0.00097982 | 0.00024557 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2041-1_0_1_load_12 | 13 | 0.0014513 | 0.00036372 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2041-1_0_1_load_51 | 14 | 0.00059379 | 0.00014882 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2041-1_0_1_load_13 | 15 | 0.0028068 | 0.00070344 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2041-1_0_1_load_14 | 16 | 0.00093637 | 0.00023468 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2041-1_0_1_load_15 | 17 | 0.00063567 | 0.00015931 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2041-1_0_1_load_16 | 18 | 0.0037096 | 0.00092972 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2041-1_0_1_load_33 | 22 | 0.0014385 | 0.00036053 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2041-1_0_1_load_30 | 23 | 0.0029801 | 0.00074688 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2041-1_0_1_load_80 | 24 | 0.0010869 | 0.0002724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2041-1_0_1_load_130 | 26 | 0.00053513 | 0.00013412 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2041-1_0_1_load_129 | 27 | 0.0004916 | 0.00012321 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2041-1_0_1_load_132 | 28 | 0.0011127 | 0.00027886 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2041-1_0_1_load_141 | 29 | 0.0013573 | 0.00034017 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2041-1_0_1_load_140 | 30 | 0.0010429 | 0.00026138 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2041-1_0_1_load_142 | 31 | 0.0015385 | 0.00038557 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2041-1_0_1_load_137 | 32 | 0.0013963 | 0.00034994 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2041-1_0_1_load_29 | 34 | 0.0067974 | 0.0017036 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2041-1_0_1_load_34 | 37 | 0.0015701 | 0.00039351 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2041-1_0_1_load_53 | 38 | 0.0019137 | 0.00047961 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2041-1_0_1_load_133 | 39 | 0.001586 | 0.00039748 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2041-1_0_1_load_135 | 41 | 0.00056682 | 0.00014206 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2041-1_0_1_load_136 | 42 | 0.0023279 | 0.00058342 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2041-1_0_1_load_110 | 43 | 0.00058097 | 0.0001456 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2041-1_0_1_load_42 | 44 | 0.0014328 | 0.00035909 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2041-1_0_1_load_43 | 45 | 0.00087512 | 0.00021933 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2041-1_0_1_load_45 | 47 | 0.0010135 | 0.00025402 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2041-1_0_1_load_49 | 50 | 0.00090714 | 0.00022735 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2041-1_0_1_load_103 | 52 | 0.00047429 | 0.00011887 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2041-1_0_1_load_138 | 53 | 0.00093873 | 0.00023527 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2041-1_0_1_load_52 | 54 | 0.00026074 | 6.5347e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2041-1_0_1_load_139 | 55 | 0.0014615 | 0.00036629 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2041-1_0_1_load_105 | 56 | 0.00059783 | 0.00014983 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2041-1_0_1_load_106 | 57 | 0.00075809 | 0.00018999 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2041-1_0_1_load_108 | 59 | 0.0011336 | 0.00028411 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2041-1_0_1_load_109 | 60 | 0.00066593 | 0.0001669 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2041-1_0_1_load_111 | 61 | 0.00023022 | 5.7698e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2041-1_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.056429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2041-1_0_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.051625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2041-1_0_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0091479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2041-1_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2041-1_0_1_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0085779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2041-1_0_1_line_5 | NAYY 4x150 SE | 5 | 6 | 0.066419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2041-1_0_1_line_6 | NAYY 4x150 SE | 6 | 28 | 0.016428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2041-1_0_1_line_7 | NAYY 4x150 SE | 6 | 7 | 0.013102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2041-1_0_1_line_8 | NAYY 4x150 SE | 7 | 8 | 0.027124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2041-1_0_1_line_9 | NAYY 4x150 SE | 8 | 33 | 0.047749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2041-1_0_1_line_10 | NAYY 4x150 SE | 9 | 10 | 0.010922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2041-1_0_1_line_11 | NAYY 4x150 SE | 9 | 11 | 0.058347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2041-1_0_1_line_12 | NAYY 4x150 SE | 10 | 12 | 0.019812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2041-1_0_1_line_13 | NAYY 4x150 SE | 12 | 13 | 0.00071873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2041-1_0_1_line_14 | NAYY 4x150 SE | 13 | 14 | 0.017853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2041-1_0_1_line_15 | NAYY 4x150 SE | 14 | 54 | 0.00082375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2041-1_0_1_line_16 | NAYY 4x150 SE | 15 | 16 | 0.020617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2041-1_0_1_line_17 | NAYY 4x150 SE | 15 | 17 | 0.040542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2041-1_0_1_line_18 | NAYY 4x150 SE | 16 | 18 | 0.044092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2041-1_0_1_line_19 | NAYY 4x150 SE | 17 | 19 | 0.048987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2041-1_0_1_line_20 | NAYY 4x150 SE | 18 | 20 | 0.010976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2041-1_0_1_line_21 | NAYY 4x150 SE | 19 | 21 | 0.03132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2041-1_0_1_line_22 | NAYY 4x150 SE | 20 | 22 | 0.036056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2041-1_0_1_line_23 | NAYY 4x150 SE | 20 | 23 | 0.01715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2041-1_0_1_line_24 | NAYY 4x150 SE | 21 | 24 | 0.0084206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2041-1_0_1_line_25 | NAYY 4x150 SE | 21 | 25 | 0.019826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2041-1_0_1_line_26 | NAYY 4x150 SE | 22 | 38 | 0.017989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2041-1_0_1_line_27 | NAYY 4x150 SE | 23 | 34 | 0.044923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2041-1_0_1_line_28 | NAYY 4x150 SE | 24 | 50 | 0.021786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2041-1_0_1_line_29 | NAYY 4x150 SE | 25 | 39 | 0.039058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2041-1_0_1_line_30 | NAYY 4x150 SE | 26 | 27 | 0.023432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2041-1_0_1_line_31 | NAYY 4x150 SE | 27 | 33 | 0.019145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2041-1_0_1_line_32 | NAYY 4x150 SE | 29 | 30 | 0.006621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2041-1_0_1_line_33 | NAYY 4x150 SE | 30 | 51 | 0.013089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2041-1_0_1_line_34 | NAYY 4x150 SE | 31 | 32 | 0.020287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2041-1_0_1_line_35 | NAYY 4x150 SE | 32 | 42 | 0.010521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2041-1_0_1_line_36 | NAYY 4x150 SE | 33 | 52 | 0.027112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2041-1_0_1_line_37 | NAYY 4x150 SE | 34 | 35 | 0.084055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2041-1_0_1_line_38 | NAYY 4x150 SE | 35 | 36 | 0.040153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2041-1_0_1_line_39 | NAYY 4x150 SE | 36 | 37 | 0.085948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2041-1_0_1_line_40 | NAYY 4x150 SE | 38 | 54 | 0.00013091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2041-1_0_1_line_41 | NAYY 4x150 SE | 39 | 40 | 0.02289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2041-1_0_1_line_42 | NAYY 4x150 SE | 40 | 41 | 0.011566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2041-1_0_1_line_43 | NAYY 4x150 SE | 40 | 42 | 0.028586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2041-1_0_1_line_44 | NAYY 4x150 SE | 41 | 43 | 0.0090608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2041-1_0_1_line_45 | NAYY 4x150 SE | 43 | 59 | 0.00083676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2041-1_0_1_line_46 | NAYY 4x150 SE | 44 | 45 | 0.035427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2041-1_0_1_line_47 | NAYY 4x150 SE | 44 | 46 | 0.066784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2041-1_0_1_line_48 | NAYY 4x150 SE | 45 | 47 | 0.016061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2041-1_0_1_line_49 | NAYY 4x150 SE | 46 | 48 | 0.004991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2041-1_0_1_line_50 | NAYY 4x150 SE | 47 | 49 | 0.031011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2041-1_0_1_line_51 | NAYY 4x150 SE | 48 | 50 | 0.023115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2041-1_0_1_line_52 | NAYY 4x150 SE | 48 | 51 | 0.084262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2041-1_0_1_line_53 | NAYY 4x150 SE | 49 | 52 | 0.0046913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2041-1_0_1_line_54 | NAYY 4x150 SE | 51 | 53 | 0.012068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2041-1_0_1_line_55 | NAYY 4x150 SE | 53 | 55 | 0.011129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2041-1_0_1_line_56 | NAYY 4x150 SE | 56 | 57 | 0.021741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2041-1_0_1_line_57 | NAYY 4x150 SE | 56 | 58 | 0.0015007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2041-1_0_1_line_58 | NAYY 4x150 SE | 57 | 59 | 0.010874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2041-1_0_1_line_59 | NAYY 4x150 SE | 58 | 60 | 0.03899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2041-1_0_1_line_60 | NAYY 4x150 SE | 60 | 61 | 0.031754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2041-1_0_1_trafo_139 | 0.25 MVA 20/0.4 kV | 62 | 55 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2564403.9872 | 1193865.9697 | 2564419.0652 | 1193879.7491 | 2564443.9597 | 1193905.7585
1 | 2564363.9347 | 1193833.4085 | 2564401.3956 | 1193863.6013 | 2564403.9872 | 1193865.9697
2 | 2564443.9597 | 1193905.7585 | 2564450.2851 | 1193912.3671
3 | 2564363.9347 | 1193833.4085 | 2564353.0604 | 1193824.5797
4 | 2564353.0604 | 1193824.5797 | 2564360.638 | 1193820.5596
5 | 2564419.3112 | 1193789.4317 | 2564360.638 | 1193820.5596
6 | 2564419.3112 | 1193789.4317 | 2564404.4406 | 1193782.4499
7 | 2564419.3112 | 1193789.4317 | 2564430.8652 | 1193783.1928
8 | 2564430.8652 | 1193783.1928 | 2564454.7352 | 1193770.312
9 | 2564496.7563 | 1193747.6365 | 2564454.7352 | 1193770.312
10 | 2564694.7807 | 1193893.3487 | 2564695.0493 | 1193891.5603 | 2564696.307 | 1193882.534
11 | 2564694.7807 | 1193893.3487 | 2564692.2266 | 1193910.3539 | 2564686.1272 | 1193951.0503
12 | 2564699.0412 | 1193862.9113 | 2564696.307 | 1193882.534
13 | 2564699.1404 | 1193862.1994 | 2564699.0412 | 1193862.9113
14 | 2564699.1404 | 1193862.1994 | 2564701.6042 | 1193844.5171
15 | 2564701.7179 | 1193843.7012 | 2564701.6042 | 1193844.5171
16 | 2564719.0213 | 1193714.9992 | 2564716.3443 | 1193735.4421
17 | 2564724.2853 | 1193674.8003 | 2564719.0213 | 1193714.9992
18 | 2564710.6195 | 1193779.1606 | 2564716.3443 | 1193735.4421
19 | 2564730.6458 | 1193626.2275 | 2564724.2853 | 1193674.8003
20 | 2564709.1944 | 1193790.0436 | 2564710.6195 | 1193779.1606
21 | 2564730.6458 | 1193626.2275 | 2564708.0476 | 1193633.6319 | 2564701.1315 | 1193636.8301
22 | 2564709.1944 | 1193790.0436 | 2564704.2185 | 1193825.7544
23 | 2564709.1944 | 1193790.0436 | 2564725.3658 | 1193795.7542
24 | 2564701.1315 | 1193636.8301 | 2564698.0151 | 1193644.6528 | 2564698.0151 | 1193644.6528
25 | 2564682.3058 | 1193632.6614 | 2564699.4376 | 1193637.7851 | 2564701.1315 | 1193636.8301
26 | 2564701.7359 | 1193843.5716 | 2564704.2185 | 1193825.7544
27 | 2564767.7249 | 1193810.7125 | 2564725.3658 | 1193795.7542
28 | 2564678.8486 | 1193655.0095 | 2564698.0151 | 1193644.6528
29 | 2564682.3058 | 1193632.6614 | 2564646.9436 | 1193616.0768
30 | 2564489.5383 | 1193709.0584 | 2564484.27 | 1193724.0424 | 2564487.8012 | 1193730.715
31 | 2564496.7563 | 1193747.6365 | 2564487.8012 | 1193730.715
32 | 2564692.3103 | 1193735.3137 | 2564685.9909 | 1193733.3382
33 | 2564673.4977 | 1193729.4329 | 2564685.9909 | 1193733.3382
34 | 2564667.1447 | 1193591.1205 | 2564648.1189 | 1193584.0791
35 | 2564638.2516 | 1193580.4273 | 2564638.2516 | 1193580.4273 | 2564648.1189 | 1193584.0791
36 | 2564496.7563 | 1193747.6365 | 2564520.6135 | 1193734.757
37 | 2564846.9831 | 1193838.701 | 2564767.7249 | 1193810.7125
38 | 2564846.9831 | 1193838.701 | 2564865.9176 | 1193803.2702
39 | 2564865.9176 | 1193803.2702 | 2564795.5892 | 1193776.7926 | 2564799.4821 | 1193766.7176
40 | 2564701.7359 | 1193843.5716 | 2564701.7179 | 1193843.7012
41 | 2564626.2193 | 1193606.3572 | 2564646.9436 | 1193616.0768
42 | 2564626.2193 | 1193606.3572 | 2564615.7468 | 1193601.4477
43 | 2564626.2193 | 1193606.3572 | 2564638.2516 | 1193580.4273
44 | 2564607.5428 | 1193597.6017 | 2564615.7468 | 1193601.4477
45 | 2564606.7851 | 1193597.2465 | 2564607.5428 | 1193597.6017
46 | 2564566.1643 | 1193710.17 | 2564597.3396 | 1193693.3427
47 | 2564656.1089 | 1193661.6212 | 2564597.3396 | 1193693.3427
48 | 2564552.0307 | 1193717.7988 | 2564566.1643 | 1193710.17
49 | 2564656.1089 | 1193661.6212 | 2564658.5125 | 1193665.9983
50 | 2564524.7416 | 1193732.5284 | 2564552.0307 | 1193717.7988
51 | 2564658.5125 | 1193665.9983 | 2564678.8486 | 1193655.0095
52 | 2564658.5125 | 1193665.9983 | 2564659.8453 | 1193668.425 | 2564661.3478 | 1193669.8947 | 2564663.4654 | 1193671.0161 | 2564684.5089 | 1193677.7952 | 2564688.2289 | 1193684.399 | 2564673.4977 | 1193729.4329
53 | 2564524.7416 | 1193732.5284 | 2564520.6135 | 1193734.757
54 | 2564673.4977 | 1193729.4329 | 2564661.979 | 1193725.8345
55 | 2564651.3562 | 1193722.5159 | 2564661.979 | 1193725.8345
56 | 2564596.939 | 1193592.6307 | 2564577.2535 | 1193583.4021
57 | 2564575.8947 | 1193582.7652 | 2564577.2535 | 1193583.4021
58 | 2564606.7851 | 1193597.2465 | 2564596.939 | 1193592.6307
59 | 2564575.8947 | 1193582.7652 | 2564540.56 | 1193566.2832
60 | 2564511.7826 | 1193552.8598 | 2564540.56 | 1193566.2832

## bus_geodata
| x | y | coords
0 | 2564403.9872 | 1193865.9697
1 | 2564443.9597 | 1193905.7585
2 | 2564363.9347 | 1193833.4085
3 | 2564450.2851 | 1193912.3671
4 | 2564353.0604 | 1193824.5797
5 | 2564360.638 | 1193820.5596
6 | 2564419.3112 | 1193789.4317
7 | 2564430.8652 | 1193783.1928
8 | 2564454.7352 | 1193770.312
9 | 2564694.7807 | 1193893.3487
10 | 2564696.307 | 1193882.534
11 | 2564686.1272 | 1193951.0503
12 | 2564699.0412 | 1193862.9113
13 | 2564699.1404 | 1193862.1994
14 | 2564701.6042 | 1193844.5171
15 | 2564719.0213 | 1193714.9992
16 | 2564716.3443 | 1193735.4421
17 | 2564724.2853 | 1193674.8003
18 | 2564710.6195 | 1193779.1606
19 | 2564730.6458 | 1193626.2275
20 | 2564709.1944 | 1193790.0436
21 | 2564701.1315 | 1193636.8301
22 | 2564704.2185 | 1193825.7544
23 | 2564725.3658 | 1193795.7542
24 | 2564698.0151 | 1193644.6528
25 | 2564682.3058 | 1193632.6614
26 | 2564489.5383 | 1193709.0584
27 | 2564487.8012 | 1193730.715
28 | 2564404.4406 | 1193782.4499
29 | 2564692.3103 | 1193735.3137
30 | 2564685.9909 | 1193733.3382
31 | 2564667.1447 | 1193591.1205
32 | 2564648.1189 | 1193584.0791
33 | 2564496.7563 | 1193747.6365
34 | 2564767.7249 | 1193810.7125
35 | 2564846.9831 | 1193838.701
36 | 2564865.9176 | 1193803.2702
37 | 2564799.4821 | 1193766.7176
38 | 2564701.7359 | 1193843.5716
39 | 2564646.9436 | 1193616.0768
40 | 2564626.2193 | 1193606.3572
41 | 2564615.7468 | 1193601.4477
42 | 2564638.2516 | 1193580.4273
43 | 2564607.5428 | 1193597.6017
44 | 2564597.3396 | 1193693.3427
45 | 2564566.1643 | 1193710.17
46 | 2564656.1089 | 1193661.6212
47 | 2564552.0307 | 1193717.7988
48 | 2564658.5125 | 1193665.9983
49 | 2564524.7416 | 1193732.5284
50 | 2564678.8486 | 1193655.0095
51 | 2564673.4977 | 1193729.4329
52 | 2564520.6135 | 1193734.757
53 | 2564661.979 | 1193725.8345
54 | 2564701.7179 | 1193843.7012
55 | 2564651.3562 | 1193722.5159
56 | 2564577.2535 | 1193583.4021
57 | 2564596.939 | 1193592.6307
58 | 2564575.8947 | 1193582.7652
59 | 2564606.7851 | 1193597.2465
60 | 2564540.56 | 1193566.2832
61 | 2564511.7826 | 1193552.8598
62 | 2564651.3562 | 1193722.5159

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9835 | -0.11579 | 0.0046283 | 0.00116
1 | 0.98322 | -0.11778 | 0.0021654 | 0.0005427
2 | 0.9841 | -0.1115 | 0 | 0
3 | 0.9832 | -0.1179 | 0.0012553 | 0.00031462
4 | 0.98427 | -0.11034 | 0 | 0
5 | 0.98437 | -0.10963 | 0.0010524 | 0.00026375
6 | 0.98524 | -0.10339 | 0 | 0
7 | 0.98544 | -0.10201 | 0 | 0
8 | 0.98584 | -0.099162 | 0.0014781 | 0.00037046
9 | 0.97843 | -0.15175 | 0.00065519 | 0.00016421
10 | 0.97847 | -0.15144 | 0.00070712 | 0.00017722
11 | 0.97825 | -0.15301 | 0.0020625 | 0.0005169
12 | 0.97857 | -0.15073 | 0.00097982 | 0.00024557
13 | 0.97858 | -0.1507 | 0.0014513 | 0.00036372
14 | 0.97873 | -0.14961 | 0.00059379 | 0.00014882
15 | 0.98223 | -0.12461 | 0.0028068 | 0.00070344
16 | 0.98145 | -0.13018 | 0.00093637 | 0.00023468
17 | 0.98393 | -0.1125 | 0.00063567 | 0.00015931
18 | 0.97983 | -0.14169 | 0.0037096 | 0.00092972
19 | 0.98603 | -0.09761 | 0 | 0
20 | 0.97949 | -0.14414 | 0 | 0
21 | 0.98738 | -0.088121 | 0 | 0
22 | 0.97896 | -0.14792 | 0.0014385 | 0.00036053
23 | 0.97921 | -0.14617 | 0.0029801 | 0.00074688
24 | 0.98788 | -0.084591 | 0.0010869 | 0.0002724
25 | 0.98705 | -0.090437 | 0 | 0
26 | 0.9866 | -0.093751 | 0.00053513 | 0.00013412
27 | 0.98662 | -0.093622 | 0.0004916 | 0.00012321
28 | 0.98522 | -0.10358 | 0.0011127 | 0.00027886
29 | 0.99785 | -0.01488 | 0.0013573 | 0.00034017
30 | 0.99786 | -0.01479 | 0.0010429 | 0.00026138
31 | 0.98578 | -0.099491 | 0.0015385 | 0.00038557
32 | 0.98582 | -0.099171 | 0.0013963 | 0.00034994
33 | 0.98665 | -0.09342 | 0 | 0
34 | 0.97866 | -0.1501 | 0.0067974 | 0.0017036
35 | 0.97847 | -0.15149 | 0 | 0
36 | 0.97838 | -0.15215 | 0 | 0
37 | 0.97818 | -0.15356 | 0.0015701 | 0.00039351
38 | 0.97874 | -0.14954 | 0.0019137 | 0.00047961
39 | 0.98641 | -0.095002 | 0.001586 | 0.00039748
40 | 0.98609 | -0.097308 | 0 | 0
41 | 0.98601 | -0.097847 | 0.00056682 | 0.00014206
42 | 0.98587 | -0.098853 | 0.0023279 | 0.00058342
43 | 0.98596 | -0.098217 | 0.00058097 | 0.0001456
44 | 0.98893 | -0.07723 | 0.0014328 | 0.00035909
45 | 0.98816 | -0.082703 | 0.00087512 | 0.00021933
46 | 0.99053 | -0.065961 | 0 | 0
47 | 0.98783 | -0.085042 | 0.0010135 | 0.00025402
48 | 0.99065 | -0.06512 | 0 | 0
49 | 0.98724 | -0.089241 | 0 | 0
50 | 0.98921 | -0.075234 | 0.00090714 | 0.00022735
51 | 0.99791 | -0.014475 | 0 | 0
52 | 0.98715 | -0.089877 | 0.00047429 | 0.00011887
53 | 0.99899 | -0.0069914 | 0.00093873 | 0.00023527
54 | 0.97874 | -0.14955 | 0.00026074 | 6.5347e-05
55 | 1 | 0 | -0.064559 | -0.016097
56 | 0.98587 | -0.098834 | 0.00059783 | 0.00014983
57 | 0.98592 | -0.098499 | 0.00075809 | 0.00018999
58 | 0.98587 | -0.098848 | 0 | 0
59 | 0.98595 | -0.098246 | 0.0011336 | 0.00028411
60 | 0.98582 | -0.099209 | 0.00066593 | 0.0001669
61 | 0.98581 | -0.099284 | 0.00023022 | 5.7698e-05
62 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0034217 | 0.00085686 | -0.0034208 | -0.00085721 | 9.4367e-07 | -3.5293e-07 | 0.0051767 | 0.005177 | 0.005177 | 0.9835 | -0.11579 | 0.98322 | -0.11778 | 1.9174
1 | -0.00805 | -0.0020168 | 0.0080548 | 0.002018 | 4.7783e-06 | 1.1823e-06 | 0.012179 | 0.012179 | 0.012179 | 0.9835 | -0.11579 | 0.9841 | -0.1115 | 4.5108
2 | 0.0012554 | 0.00031451 | -0.0012553 | -0.00031462 | 2.0604e-08 | -1.0809e-07 | 0.0018998 | 0.0018999 | 0.0018999 | 0.98322 | -0.11778 | 0.9832 | -0.1179 | 0.70366
3 | -0.0080548 | -0.002018 | 0.0080561 | 0.0020183 | 1.2943e-06 | 3.2011e-07 | 0.012179 | 0.012179 | 0.012179 | 0.9841 | -0.1115 | 0.98427 | -0.11034 | 4.5107
4 | -0.0080561 | -0.0020183 | 0.0080569 | 0.0020185 | 7.9393e-07 | 1.9633e-07 | 0.012179 | 0.012179 | 0.012179 | 0.98427 | -0.11034 | 0.98437 | -0.10963 | 4.5107
5 | -0.0091092 | -0.0022823 | 0.0091171 | 0.0022844 | 7.8581e-06 | 2.1772e-06 | 0.01377 | 0.013769 | 0.01377 | 0.98437 | -0.10963 | 0.98524 | -0.10339 | 5.0999
6 | 0.0011127 | 0.00027866 | -0.0011127 | -0.00027886 | 2.8948e-08 | -1.9807e-07 | 0.0016804 | 0.0016805 | 0.0016805 | 0.98524 | -0.10339 | 0.98522 | -0.10358 | 0.6224
7 | -0.01023 | -0.0025631 | 0.010232 | 0.0025637 | 1.9515e-06 | 5.8369e-07 | 0.01545 | 0.01545 | 0.01545 | 0.98524 | -0.10339 | 0.98544 | -0.10201 | 5.7221
8 | -0.010232 | -0.0025637 | 0.010236 | 0.0025649 | 4.0399e-06 | 1.2081e-06 | 0.01545 | 0.01545 | 0.01545 | 0.98544 | -0.10201 | 0.98584 | -0.099162 | 5.7221
9 | -0.011714 | -0.0029353 | 0.011723 | 0.0029383 | 9.3141e-06 | 2.973e-06 | 0.017681 | 0.017681 | 0.017681 | 0.98584 | -0.099162 | 0.98665 | -0.09342 | 6.5484
10 | -0.002718 | -0.00068052 | 0.0027181 | 0.00068042 | 1.1644e-07 | -9.2395e-08 | 0.0041334 | 0.0041333 | 0.0041334 | 0.97843 | -0.15175 | 0.97847 | -0.15144 | 1.5309
11 | 0.0020628 | 0.00051631 | -0.0020625 | -0.0005169 | 3.5831e-07 | -5.9486e-07 | 0.0031369 | 0.0031372 | 0.0031372 | 0.97843 | -0.15175 | 0.97825 | -0.15301 | 1.1619
12 | -0.0034253 | -0.00085764 | 0.0034256 | 0.00085752 | 3.354e-07 | -1.1988e-07 | 0.0052087 | 0.0052086 | 0.0052087 | 0.97847 | -0.15144 | 0.97857 | -0.15073 | 1.9291
13 | -0.0044054 | -0.0011031 | 0.0044054 | 0.0011031 | 2.0124e-08 | -1.2897e-09 | 0.0066985 | 0.0066985 | 0.0066985 | 0.97857 | -0.15073 | 0.97858 | -0.1507 | 2.4809
14 | -0.0058567 | -0.0014668 | 0.0058576 | 0.0014669 | 8.8347e-07 | 1.1547e-07 | 0.0089053 | 0.0089052 | 0.0089053 | 0.97858 | -0.1507 | 0.97873 | -0.14961 | 3.2983
15 | -0.0064514 | -0.0016157 | 0.0064514 | 0.0016158 | 4.9447e-08 | 8.6657e-09 | 0.009808 | 0.009808 | 0.009808 | 0.97873 | -0.14961 | 0.97874 | -0.14955 | 3.6326
16 | 0.026141 | 0.0065566 | -0.026121 | -0.0065491 | 2.0179e-05 | 7.5004e-06 | 0.039604 | 0.039604 | 0.039604 | 0.98223 | -0.12461 | 0.98145 | -0.13018 | 14.6682
17 | -0.028948 | -0.00726 | 0.028997 | 0.0072782 | 4.8658e-05 | 1.82e-05 | 0.043856 | 0.043856 | 0.043856 | 0.98223 | -0.12461 | 0.98393 | -0.1125 | 16.2431
18 | 0.025185 | 0.0063144 | -0.025145 | -0.0062995 | 4.0116e-05 | 1.4873e-05 | 0.038185 | 0.038185 | 0.038185 | 0.98145 | -0.13018 | 0.97983 | -0.14169 | 14.1425
19 | -0.029632 | -0.0074375 | 0.029694 | 0.0074605 | 6.1399e-05 | 2.2991e-05 | 0.044817 | 0.044817 | 0.044817 | 0.98393 | -0.1125 | 0.98603 | -0.09761 | 16.599
20 | 0.021435 | 0.0053698 | -0.021428 | -0.0053672 | 7.257e-06 | 2.653e-06 | 0.032551 | 0.032551 | 0.032551 | 0.97983 | -0.14169 | 0.97949 | -0.14414 | 12.056
21 | -0.029694 | -0.0074605 | 0.029733 | 0.0074752 | 3.9255e-05 | 1.4698e-05 | 0.044817 | 0.044817 | 0.044817 | 0.98603 | -0.09761 | 0.98738 | -0.088121 | 16.599
22 | 0.010072 | 0.0025233 | -0.010066 | -0.0025218 | 5.2669e-06 | 1.5722e-06 | 0.0153 | 0.0153 | 0.0153 | 0.97949 | -0.14414 | 0.97896 | -0.14792 | 5.6668
23 | 0.011356 | 0.0028438 | -0.011353 | -0.0028428 | 3.1848e-06 | 1.0091e-06 | 0.017251 | 0.017251 | 0.017251 | 0.97949 | -0.14414 | 0.97921 | -0.14617 | 6.3893
24 | -0.041131 | -0.010331 | 0.041151 | 0.010338 | 2.0194e-05 | 7.6592e-06 | 0.061994 | 0.061994 | 0.061994 | 0.98738 | -0.088121 | 0.98788 | -0.084591 | 22.9607
25 | 0.011398 | 0.0028554 | -0.011394 | -0.0028542 | 3.6502e-06 | 1.1504e-06 | 0.017177 | 0.017177 | 0.017177 | 0.98738 | -0.088121 | 0.98705 | -0.090437 | 6.3618
26 | 0.0086278 | 0.0021612 | -0.0086258 | -0.0021607 | 1.9304e-06 | 5.1635e-07 | 0.013114 | 0.013114 | 0.013114 | 0.97896 | -0.14792 | 0.97874 | -0.14954 | 4.857
27 | 0.0083729 | 0.0020959 | -0.0083683 | -0.0020948 | 4.5374e-06 | 1.1804e-06 | 0.012723 | 0.012723 | 0.012723 | 0.97921 | -0.14617 | 0.97866 | -0.1501 | 4.7121
28 | -0.042238 | -0.010611 | 0.042293 | 0.010632 | 5.5042e-05 | 2.0891e-05 | 0.063631 | 0.063631 | 0.063631 | 0.98788 | -0.084591 | 0.98921 | -0.075234 | 23.567
29 | 0.011394 | 0.0028542 | -0.011387 | -0.0028519 | 7.1911e-06 | 2.2669e-06 | 0.017177 | 0.017177 | 0.017177 | 0.98705 | -0.090437 | 0.98641 | -0.095002 | 6.3619
30 | -0.00053513 | -0.00013412 | 0.00053514 | 0.00013382 | 9.5236e-09 | -2.9558e-07 | 0.0008071 | 0.00080699 | 0.0008071 | 0.9866 | -0.093751 | 0.98662 | -0.093622 | 0.29893
31 | -0.0010267 | -0.00025703 | 0.0010268 | 0.00025679 | 2.8641e-08 | -2.3348e-07 | 0.0015484 | 0.0015483 | 0.0015484 | 0.98662 | -0.093622 | 0.98665 | -0.09342 | 0.57349
32 | -0.0013573 | -0.00034017 | 0.0013573 | 0.00034009 | 1.6925e-08 | -7.9981e-08 | 0.002024 | 0.002024 | 0.002024 | 0.99785 | -0.01488 | 0.99786 | -0.01479 | 0.74964
33 | -0.0024002 | -0.00060147 | 0.0024003 | 0.00060134 | 1.0463e-07 | -1.3075e-07 | 0.0035792 | 0.0035791 | 0.0035792 | 0.99786 | -0.01479 | 0.99791 | -0.014475 | 1.3256
34 | -0.0015385 | -0.00038557 | 0.0015385 | 0.00038534 | 6.8267e-08 | -2.3239e-07 | 0.0023223 | 0.0023222 | 0.0023223 | 0.98578 | -0.099491 | 0.98582 | -0.099171 | 0.8601
35 | -0.0029348 | -0.00073528 | 0.0029349 | 0.00073519 | 1.2883e-07 | -8.4605e-08 | 0.0044297 | 0.0044297 | 0.0044297 | 0.98582 | -0.099171 | 0.98587 | -0.098853 | 1.6406
36 | -0.01275 | -0.0031951 | 0.012756 | 0.0031972 | 6.2553e-06 | 2.0594e-06 | 0.019229 | 0.019229 | 0.019229 | 0.98665 | -0.09342 | 0.98715 | -0.089877 | 7.1218
37 | 0.0015709 | 0.00039116 | -0.0015706 | -0.0003921 | 2.9904e-07 | -9.4096e-07 | 0.0023876 | 0.0023879 | 0.0023879 | 0.97866 | -0.1501 | 0.97847 | -0.15149 | 0.88442
38 | 0.0015706 | 0.0003921 | -0.0015704 | -0.00039255 | 1.4288e-07 | -4.4934e-07 | 0.0023879 | 0.0023881 | 0.0023881 | 0.97847 | -0.15149 | 0.97838 | -0.15215 | 0.88449
39 | 0.0015704 | 0.00039255 | -0.0015701 | -0.00039351 | 3.0592e-07 | -9.6147e-07 | 0.0023881 | 0.0023885 | 0.0023885 | 0.97838 | -0.15215 | 0.97818 | -0.15356 | 0.88463
40 | 0.0067122 | 0.0016811 | -0.0067122 | -0.0016811 | 8.5073e-09 | 1.6264e-09 | 0.010204 | 0.010204 | 0.010204 | 0.97874 | -0.14954 | 0.97874 | -0.14955 | 3.7794
41 | 0.0098013 | 0.0024545 | -0.0097982 | -0.0024536 | 3.1222e-06 | 9.0875e-07 | 0.014785 | 0.014785 | 0.014785 | 0.98641 | -0.095002 | 0.98609 | -0.097308 | 5.4758
42 | 0.0045342 | 0.0011349 | -0.0045339 | -0.0011349 | 3.3783e-07 | -1.76e-08 | 0.0068417 | 0.0068417 | 0.0068417 | 0.98609 | -0.097308 | 0.98601 | -0.097847 | 2.534
43 | 0.0052639 | 0.0013187 | -0.0052628 | -0.0013186 | 1.1254e-06 | 6.8281e-08 | 0.0079431 | 0.0079433 | 0.0079433 | 0.98609 | -0.097308 | 0.98587 | -0.098853 | 2.9419
44 | 0.0039671 | 0.00099283 | -0.0039669 | -0.00099287 | 2.0262e-07 | -3.7634e-08 | 0.0059863 | 0.0059864 | 0.0059864 | 0.98601 | -0.097847 | 0.98596 | -0.098217 | 2.2172
45 | 0.0033859 | 0.00084727 | -0.0033859 | -0.00084727 | 1.3632e-08 | -5.4285e-09 | 0.0051096 | 0.0051096 | 0.0051096 | 0.98596 | -0.098217 | 0.98595 | -0.098246 | 1.8924
46 | 0.015144 | 0.0037979 | -0.015133 | -0.0037939 | 1.148e-05 | 3.961e-06 | 0.022788 | 0.022788 | 0.022788 | 0.98893 | -0.07723 | 0.98816 | -0.082703 | 8.44
47 | -0.016577 | -0.004157 | 0.016603 | 0.0041661 | 2.5928e-05 | 9.1141e-06 | 0.024944 | 0.024943 | 0.024944 | 0.98893 | -0.07723 | 0.99053 | -0.065961 | 9.2384
48 | 0.014258 | 0.0035746 | -0.014253 | -0.003573 | 4.6199e-06 | 1.5712e-06 | 0.02147 | 0.02147 | 0.02147 | 0.98816 | -0.082703 | 0.98783 | -0.085042 | 7.9519
49 | -0.016603 | -0.0041661 | 0.016605 | 0.0041668 | 1.9377e-06 | 6.8101e-07 | 0.024943 | 0.024943 | 0.024943 | 0.99053 | -0.065961 | 0.99065 | -0.06512 | 9.2383
50 | 0.013239 | 0.003319 | -0.013232 | -0.0033164 | 7.6966e-06 | 2.5635e-06 | 0.019943 | 0.019944 | 0.019944 | 0.98783 | -0.085042 | 0.98724 | -0.089241 | 7.3865
51 | 0.043261 | 0.010882 | -0.0432 | -0.010859 | 6.0932e-05 | 2.3138e-05 | 0.064995 | 0.064996 | 0.064996 | 0.99065 | -0.06512 | 0.98921 | -0.075234 | 24.0724
52 | -0.059866 | -0.015049 | 0.060291 | 0.015211 | 0.00042531 | 0.00016249 | 0.089939 | 0.089938 | 0.089939 | 0.99065 | -0.06512 | 0.99791 | -0.014475 | 33.3107
53 | 0.013232 | 0.0033164 | -0.013231 | -0.003316 | 1.1644e-06 | 3.8785e-07 | 0.019944 | 0.019944 | 0.019944 | 0.98724 | -0.089241 | 0.98715 | -0.089877 | 7.3865
54 | -0.062692 | -0.015813 | 0.062758 | 0.015838 | 6.5856e-05 | 2.5171e-05 | 0.093517 | 0.093517 | 0.093517 | 0.99791 | -0.014475 | 0.99899 | -0.0069914 | 34.6361
55 | -0.063696 | -0.016073 | 0.063759 | 0.016097 | 6.2563e-05 | 2.3917e-05 | 0.094916 | 0.094916 | 0.094916 | 0.99899 | -0.0069914 | 1 | 0 | 35.154
56 | -0.001494 | -0.00037352 | 0.0014941 | 0.00037327 | 6.8963e-08 | -2.5072e-07 | 0.0022547 | 0.0022546 | 0.0022547 | 0.98587 | -0.098834 | 0.98592 | -0.098499 | 0.83506
57 | 0.00089619 | 0.00022369 | -0.00089619 | -0.00022371 | 1.7125e-09 | -1.8477e-08 | 0.0013523 | 0.0013523 | 0.0013523 | 0.98587 | -0.098834 | 0.98587 | -0.098848 | 0.50087
58 | -0.0022522 | -0.00056327 | 0.0022523 | 0.00056316 | 7.8381e-08 | -1.0853e-07 | 0.0033987 | 0.0033987 | 0.0033987 | 0.98592 | -0.098499 | 0.98595 | -0.098246 | 1.2588
59 | 0.00089619 | 0.00022371 | -0.00089615 | -0.00022419 | 4.4501e-08 | -4.8002e-07 | 0.0013523 | 0.0013525 | 0.0013525 | 0.98587 | -0.098848 | 0.98582 | -0.099209 | 0.50093
60 | 0.00023022 | 5.7294e-05 | -0.00023022 | -5.7698e-05 | 2.3917e-09 | -4.0394e-07 | 0.00034735 | 0.0003475 | 0.0003475 | 0.98582 | -0.099209 | 0.98581 | -0.099284 | 0.1287

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.06602 | 0.016463

## res_load
| p_mw | q_mvar
0 | 0.0046283 | 0.00116
1 | 0.0021654 | 0.0005427
2 | 0.0012553 | 0.00031462
3 | 0.0010524 | 0.00026375
4 | 0.0014781 | 0.00037046
5 | 0.00065519 | 0.00016421
6 | 0.00070712 | 0.00017722
7 | 0.0020625 | 0.0005169
8 | 0.00097982 | 0.00024557
9 | 0.0014513 | 0.00036372
10 | 0.00059379 | 0.00014882
11 | 0.0028068 | 0.00070344
12 | 0.00093637 | 0.00023468
13 | 0.00063567 | 0.00015931
14 | 0.0037096 | 0.00092972
15 | 0.0014385 | 0.00036053
16 | 0.0029801 | 0.00074688
17 | 0.0010869 | 0.0002724
18 | 0.00053513 | 0.00013412
19 | 0.0004916 | 0.00012321
20 | 0.0011127 | 0.00027886
21 | 0.0013573 | 0.00034017
22 | 0.0010429 | 0.00026138
23 | 0.0015385 | 0.00038557
24 | 0.0013963 | 0.00034994
25 | 0.0067974 | 0.0017036
26 | 0.0015701 | 0.00039351
27 | 0.0019137 | 0.00047961
28 | 0.001586 | 0.00039748
29 | 0.00056682 | 0.00014206
30 | 0.0023279 | 0.00058342
31 | 0.00058097 | 0.0001456
32 | 0.0014328 | 0.00035909
33 | 0.00087512 | 0.00021933
34 | 0.0010135 | 0.00025402
35 | 0.00090714 | 0.00022735
36 | 0.00047429 | 0.00011887
37 | 0.00093873 | 0.00023527
38 | 0.00026074 | 6.5347e-05
39 | 0.0014615 | 0.00036629
40 | 0.00059783 | 0.00014983
41 | 0.00075809 | 0.00018999
42 | 0.0011336 | 0.00028411
43 | 0.00066593 | 0.0001669
44 | 0.00023022 | 5.7698e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1