## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2041-1_1_2_node_20 | 0.4 | n |  | TRUE
1 | bus_LV_2041-1_1_2_node_21 | 0.4 | n |  | TRUE
2 | bus_LV_2041-1_1_2_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_2041-1_1_2_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_2041-1_1_2_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_2041-1_1_2_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_2041-1_1_2_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_2041-1_1_2_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_2041-1_1_2_node_96 | 0.4 | n |  | TRUE
9 | bus_LV_2041-1_1_2_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_2041-1_1_2_node_97 | 0.4 | n |  | TRUE
11 | bus_LV_2041-1_1_2_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_2041-1_1_2_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_2041-1_1_2_node_125 | 0.4 | n |  | TRUE
14 | bus_LV_2041-1_1_2_node_124 | 0.4 | n |  | TRUE
15 | bus_LV_2041-1_1_2_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_2041-1_1_2_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_2041-1_1_2_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_2041-1_1_2_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_2041-1_1_2_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_2041-1_1_2_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_2041-1_1_2_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_2041-1_1_2_node_126 | 0.4 | n |  | TRUE
23 | bus_LV_2041-1_1_2_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_2041-1_1_2_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_2041-1_1_2_node_77 | 0.4 | n |  | TRUE
26 | bus_LV_2041-1_1_2_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_2041-1_1_2_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_2041-1_1_2_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_2041-1_1_2_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_2041-1_1_2_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_2041-1_1_2_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_2041-1_1_2_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_2041-1_1_2_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_2041-1_1_2_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_2041-1_1_2_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_2041-1_1_2_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_2041-1_1_2_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_2041-1_1_2_node_119 | 0.4 | n |  | TRUE
39 | bus_LV_2041-1_1_2_node_113 | 0.4 | n |  | TRUE
40 | bus_LV_2041-1_1_2_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_2041-1_1_2_node_91 | 0.4 | n |  | TRUE
42 | bus_LV_2041-1_1_2_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_2041-1_1_2_node_112 | 0.4 | n |  | TRUE
44 | bus_LV_2041-1_1_2_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_2041-1_1_2_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_2041-1_1_2_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_2041-1_1_2_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_2041-1_1_2_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_2041-1_1_2_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_2041-1_1_2_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_2041-1_1_2_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_2041-1_1_2_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_2041-1_1_2_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_2041-1_1_2_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_2041-1_1_2_node_76 | 0.4 | n |  | TRUE
56 | bus_LV_2041-1_1_2_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_2041-1_1_2_node_87 | 0.4 | n |  | TRUE
58 | bus_LV_2041-1_1_2_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_2041-1_1_2_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_2041-1_1_2_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_2041-1_1_2_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_2041-1_1_2_node_115 | 0.4 | n |  | TRUE
63 | bus_LV_2041-1_1_2_node_116 | 0.4 | n |  | TRUE
64 | bus_LV_2041-1_1_2_node_117 | 0.4 | n |  | TRUE
65 | bus_LV_2041-1_1_2_node_88 | 0.4 | n |  | TRUE
66 | bus_LV_2041-1_1_2_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_2041-1_1_2_node_94 | 0.4 | n |  | TRUE
68 | bus_LV_2041-1_1_2_node_100 | 0.4 | n |  | TRUE
69 | bus_LV_2041-1_1_2_node_101 | 0.4 | n |  | TRUE
70 | bus_LV_2041-1_1_2_node_98 | 0.4 | n |  | TRUE
71 | bus_LV_2041-1_1_2_node_99 | 0.4 | n |  | TRUE
72 | bus_LV_2041-1_1_2_node_102 | 0.4 | n |  | TRUE
73 | bus_LV_2041-1_1_2_node_118 | 0.4 | n |  | TRUE
74 | bus_LV_2041-1_1_2_node_123 | 0.4 | n |  | TRUE
75 | bus_LV_2041-1_1_2_node_122 | 0.4 | n |  | TRUE
76 | bus_LV_2041-1_1_2_node_120 | 0.4 | n |  | TRUE
77 | bus_LV_2041-1_1_2_node_121 | 0.4 | n |  | TRUE
78 | bus_MV_377_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2041-1_1_2_load_20 | 0 | 0.0038834 | 0.00097326 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2041-1_1_2_load_21 | 1 | 0.0029197 | 0.00073174 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2041-1_1_2_load_24 | 4 | 0.0020346 | 0.00050992 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2041-1_1_2_load_25 | 5 | 0.0019588 | 0.00049093 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2041-1_1_2_load_26 | 6 | 0.0038709 | 0.00097014 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2041-1_1_2_load_27 | 7 | 0.0025592 | 0.00064139 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2041-1_1_2_load_96 | 8 | 0.0026755 | 0.00067055 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2041-1_1_2_load_97 | 10 | 0.0025368 | 0.00063578 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2041-1_1_2_load_68 | 12 | 0.0029156 | 0.00073072 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2041-1_1_2_load_125 | 13 | 0.0039345 | 0.00098609 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2041-1_1_2_load_124 | 14 | 0.0051766 | 0.0012974 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2041-1_1_2_load_35 | 15 | 0.0014876 | 0.00037283 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2041-1_1_2_load_36 | 16 | 0.0019939 | 0.00049971 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2041-1_1_2_load_37 | 17 | 0.00067083 | 0.00016813 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2041-1_1_2_load_38 | 18 | 0.0019433 | 0.00048703 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2041-1_1_2_load_41 | 21 | 0.0021371 | 0.00053561 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2041-1_1_2_load_126 | 22 | 0.0014401 | 0.00036092 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2041-1_1_2_load_90 | 24 | 0.0034223 | 0.00085771 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2041-1_1_2_load_77 | 25 | 0.0012912 | 0.00032362 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2041-1_1_2_load_54 | 26 | 0.0031218 | 0.00078241 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2041-1_1_2_load_55 | 27 | 0.0036451 | 0.00091355 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2041-1_1_2_load_58 | 30 | 0.0029249 | 0.00073305 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2041-1_1_2_load_59 | 31 | 0.0015848 | 0.00039719 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2041-1_1_2_load_60 | 32 | 0.0017189 | 0.0004308 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2041-1_1_2_load_61 | 33 | 0.0026979 | 0.00067616 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2041-1_1_2_load_62 | 34 | 0.0038965 | 0.00097655 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2041-1_1_2_load_63 | 35 | 0.001658 | 0.00041553 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2041-1_1_2_load_64 | 36 | 0.0038454 | 0.00096375 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2041-1_1_2_load_65 | 37 | 0.0032324 | 0.00081011 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2041-1_1_2_load_119 | 38 | 0.0032114 | 0.00080485 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2041-1_1_2_load_113 | 39 | 0.002654 | 0.00066516 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2041-1_1_2_load_95 | 40 | 0.0016758 | 0.00041999 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2041-1_1_2_load_91 | 41 | 0.0062713 | 0.0015717 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2041-1_1_2_load_83 | 42 | 0.0037342 | 0.00093589 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2041-1_1_2_load_112 | 43 | 0.0027659 | 0.00069319 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2041-1_1_2_load_92 | 44 | 0.0046206 | 0.001158 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2041-1_1_2_load_81 | 45 | 0.0015323 | 0.00038403 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2041-1_1_2_load_89 | 46 | 0.0026469 | 0.00066337 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2041-1_1_2_load_67 | 47 | 0.0026611 | 0.00066692 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2041-1_1_2_load_69 | 48 | 0.0017721 | 0.00044412 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2041-1_1_2_load_71 | 49 | 0.0017707 | 0.00044378 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2041-1_1_2_load_72 | 50 | 0.0025245 | 0.00063269 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2041-1_1_2_load_114 | 51 | 0.0025903 | 0.00064919 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2041-1_1_2_load_78 | 52 | 0.0019601 | 0.00049124 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2041-1_1_2_load_73 | 53 | 0.0027455 | 0.00068808 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2041-1_1_2_load_74 | 54 | 0.0031058 | 0.00077838 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2041-1_1_2_load_76 | 55 | 0.0028462 | 0.00071333 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2041-1_1_2_load_79 | 56 | 0.0020785 | 0.00052092 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2041-1_1_2_load_87 | 57 | 0.0011219 | 0.00028117 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2041-1_1_2_load_86 | 58 | 0.0013313 | 0.00033367 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2041-1_1_2_load_82 | 59 | 0.0032384 | 0.00081162 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2041-1_1_2_load_84 | 60 | 0.0033256 | 0.00083348 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2041-1_1_2_load_85 | 61 | 0.0026546 | 0.00066532 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2041-1_1_2_load_116 | 63 | 0.0026181 | 0.00065615 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2041-1_1_2_load_117 | 64 | 0.0017053 | 0.00042739 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2041-1_1_2_load_88 | 65 | 0.00147 | 0.00036842 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2041-1_1_2_load_93 | 66 | 0.0014062 | 0.00035242 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2041-1_1_2_load_94 | 67 | 0.0014113 | 0.00035372 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2041-1_1_2_load_100 | 68 | 0.0025365 | 0.0006357 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2041-1_1_2_load_101 | 69 | 0.0020941 | 0.00052484 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2041-1_1_2_load_98 | 70 | 0.0024463 | 0.00061309 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2041-1_1_2_load_99 | 71 | 0.0018911 | 0.00047395 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2041-1_1_2_load_102 | 72 | 0.0051024 | 0.0012788 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2041-1_1_2_load_118 | 73 | 0.0022982 | 0.00057598 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2041-1_1_2_load_123 | 74 | 0.0038577 | 0.00096683 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2041-1_1_2_load_120 | 76 | 0.0030277 | 0.00075881 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2041-1_1_2_load_121 | 77 | 0.0023224 | 0.00058205 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2041-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2041-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2041-1_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2041-1_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2041-1_1_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.035597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2041-1_1_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.040398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2041-1_1_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.026972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2041-1_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.017129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2041-1_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.048091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2041-1_1_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0088203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2041-1_1_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.064563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2041-1_1_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.016263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2041-1_1_2_line_12 | NAYY 4x150 SE | 10 | 70 | 0.024892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2041-1_1_2_line_13 | NAYY 4x150 SE | 11 | 24 | 0.029439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2041-1_1_2_line_14 | NAYY 4x150 SE | 12 | 47 | 0.011916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2041-1_1_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.033569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2041-1_1_2_line_16 | NAYY 4x150 SE | 14 | 75 | 0.014771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2041-1_1_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.039277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2041-1_1_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.011508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2041-1_1_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.041332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2041-1_1_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.051024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2041-1_1_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.022849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2041-1_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.022724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2041-1_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.14618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2041-1_1_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.041424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2041-1_1_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.016866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2041-1_1_2_line_26 | NAYY 4x150 SE | 24 | 46 | 0.020554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2041-1_1_2_line_27 | NAYY 4x150 SE | 25 | 56 | 0.033409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2041-1_1_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.027164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2041-1_1_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.020537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2041-1_1_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.017082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2041-1_1_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.017098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2041-1_1_2_line_32 | NAYY 4x150 SE | 28 | 31 | 0.038367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2041-1_1_2_line_33 | NAYY 4x150 SE | 28 | 32 | 0.017805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2041-1_1_2_line_34 | NAYY 4x150 SE | 29 | 33 | 0.016825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2041-1_1_2_line_35 | NAYY 4x150 SE | 29 | 34 | 0.002858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2041-1_1_2_line_36 | NAYY 4x150 SE | 30 | 35 | 3.4271e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2041-1_1_2_line_37 | NAYY 4x150 SE | 31 | 36 | 0.0040179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2041-1_1_2_line_38 | NAYY 4x150 SE | 32 | 37 | 0.020018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2041-1_1_2_line_39 | NAYY 4x150 SE | 33 | 38 | 0.01851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2041-1_1_2_line_40 | NAYY 4x150 SE | 34 | 39 | 0.028691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2041-1_1_2_line_41 | NAYY 4x150 SE | 35 | 40 | 0.045836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2041-1_1_2_line_42 | NAYY 4x150 SE | 36 | 41 | 0.013692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2041-1_1_2_line_43 | NAYY 4x150 SE | 37 | 42 | 0.0080073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2041-1_1_2_line_44 | NAYY 4x150 SE | 39 | 43 | 0.004012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2041-1_1_2_line_45 | NAYY 4x150 SE | 41 | 44 | 0.021138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2041-1_1_2_line_46 | NAYY 4x150 SE | 42 | 45 | 0.014337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2041-1_1_2_line_47 | NAYY 4x150 SE | 43 | 71 | 0.026419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2041-1_1_2_line_48 | NAYY 4x150 SE | 44 | 66 | 0.018165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2041-1_1_2_line_49 | NAYY 4x150 SE | 45 | 59 | 0.011146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2041-1_1_2_line_50 | NAYY 4x150 SE | 46 | 65 | 0.025277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2041-1_1_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.026074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2041-1_1_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.010106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2041-1_1_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.01668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2041-1_1_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.020017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2041-1_1_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.016978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2041-1_1_2_line_56 | NAYY 4x150 SE | 52 | 55 | 0.017229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2041-1_1_2_line_57 | NAYY 4x150 SE | 53 | 54 | 0.016146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2041-1_1_2_line_58 | NAYY 4x150 SE | 54 | 55 | 0.022332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2041-1_1_2_line_59 | NAYY 4x150 SE | 56 | 57 | 0.0061247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2041-1_1_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.027534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2041-1_1_2_line_61 | NAYY 4x150 SE | 58 | 65 | 0.017543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2041-1_1_2_line_62 | NAYY 4x150 SE | 59 | 60 | 0.01924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2041-1_1_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.022579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2041-1_1_2_line_64 | NAYY 4x150 SE | 61 | 62 | 0.017474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2041-1_1_2_line_65 | NAYY 4x150 SE | 62 | 63 | 0.030131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2041-1_1_2_line_66 | NAYY 4x150 SE | 62 | 64 | 0.011711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2041-1_1_2_line_67 | NAYY 4x150 SE | 64 | 73 | 0.0076039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2041-1_1_2_line_68 | NAYY 4x150 SE | 66 | 67 | 9.6735e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2041-1_1_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.002627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2041-1_1_2_line_70 | NAYY 4x150 SE | 68 | 69 | 0.024137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2041-1_1_2_line_71 | NAYY 4x150 SE | 69 | 72 | 0.00048787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2041-1_1_2_line_72 | NAYY 4x150 SE | 70 | 71 | 0.0020056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2041-1_1_2_line_73 | NAYY 4x150 SE | 73 | 74 | 0.019801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2041-1_1_2_line_74 | NAYY 4x150 SE | 74 | 75 | 0.016052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2041-1_1_2_line_75 | NAYY 4x150 SE | 75 | 76 | 0.015461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2041-1_1_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.013812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2041-1_1_2_trafo_112 | 0.25 MVA 20/0.4 kV | 78 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2565358.1086 | 1193633.2327 | 2565374.0429 | 1193649.0042
1 | 2565340.1863 | 1193615.4937 | 2565358.1086 | 1193633.2327
2 | 2565385.7579 | 1193666.3457 | 2565374.0429 | 1193649.0042 | 2565374.0429 | 1193649.0042
3 | 2565340.1863 | 1193615.4937 | 2565325.1115 | 1193603.0739
4 | 2565340.1863 | 1193615.4937 | 2565369.0576 | 1193594.6706
5 | 2565385.7579 | 1193666.3457 | 2565409.1444 | 1193699.2863
6 | 2565385.7579 | 1193666.3457 | 2565366.1464 | 1193684.8631
7 | 2565419.0603 | 1193713.2531 | 2565409.1444 | 1193699.2863
8 | 2565331.1792 | 1193717.8795 | 2565366.1464 | 1193684.8631
9 | 2565419.0603 | 1193713.2531 | 2565424.1663 | 1193720.4452
10 | 2565284.8478 | 1193762.9735 | 2565331.1792 | 1193717.8795
11 | 2565331.1792 | 1193717.8795 | 2565340.6458 | 1193731.1033
12 | 2565438.5765 | 1193740.7424 | 2565424.1663 | 1193720.4452
13 | 2565284.8478 | 1193762.9735 | 2565301.6595 | 1193787.1402
14 | 2565347.5822 | 1193740.7927 | 2565340.6458 | 1193731.1033
15 | 2565477.0765 | 1193575.0419 | 2565496.681 | 1193602.2914
16 | 2565501.5127 | 1193615.0584 | 2565502.523 | 1193613.1626 | 2565502.4283 | 1193611.2844 | 2565501.754 | 1193609.3428 | 2565496.681 | 1193602.2914
17 | 2565297.3424 | 1193894.2162 | 2565274.6318 | 1193862.1712
18 | 2565303.9963 | 1193903.6049 | 2565297.3424 | 1193894.2162
19 | 2565250.7328 | 1193828.4496 | 2565274.6318 | 1193862.1712
20 | 2565333.4995 | 1193945.2342 | 2565303.9963 | 1193903.6049
21 | 2565237.5212 | 1193809.8079 | 2565250.7328 | 1193828.4496
22 | 2565333.4995 | 1193945.2342 | 2565352.0202 | 1193932.0675
23 | 2565237.5212 | 1193809.8079 | 2565145.9111 | 1193695.8919
24 | 2565385.7819 | 1193908.0659 | 2565352.0202 | 1193932.0675
25 | 2565385.7819 | 1193908.0659 | 2565376.15 | 1193894.2201
26 | 2565313.397 | 1193804.0129 | 2565301.6595 | 1193787.1402
27 | 2565376.15 | 1193894.2201 | 2565357.0711 | 1193866.7943
28 | 2565491.005 | 1193785.4986 | 2565515.4748 | 1193773.7032
29 | 2565533.9749 | 1193764.7855 | 2565515.4748 | 1193773.7032
30 | 2565475.6176 | 1193792.916 | 2565491.005 | 1193785.4986
31 | 2565533.9749 | 1193764.7855 | 2565549.2998 | 1193757.2035
32 | 2565533.9749 | 1193764.7855 | 2565550.9108 | 1193799.212
33 | 2565533.9749 | 1193764.7855 | 2565525.6791 | 1193749.0312
34 | 2565475.6176 | 1193792.916 | 2565484.2028 | 1193807.3861
35 | 2565475.6176 | 1193792.916 | 2565473.9631 | 1193790.5856
36 | 2565549.3306 | 1193757.1883 | 2565549.2998 | 1193757.2035
37 | 2565552.6844 | 1193802.8172 | 2565550.9108 | 1193799.212
38 | 2565525.6791 | 1193749.0312 | 2565516.3521 | 1193731.3187
39 | 2565493.6474 | 1193823.3047 | 2565484.2028 | 1193807.3861
40 | 2565473.9631 | 1193790.5856 | 2565457.3541 | 1193767.1913
41 | 2565590.3824 | 1193736.8013 | 2565579.0604 | 1193742.4797 | 2565549.3306 | 1193757.1883
42 | 2565552.6844 | 1193802.8172 | 2565558.7283 | 1193815.1032 | 2565558.7283 | 1193815.1032
43 | 2565512.6213 | 1193724.2336 | 2565516.3521 | 1193731.3187
44 | 2565457.3541 | 1193767.1913 | 2565455.0316 | 1193763.9199
45 | 2565558.7283 | 1193815.1032 | 2565577.6154 | 1193805.6119
46 | 2565505.9414 | 1193711.5481 | 2565512.6213 | 1193724.2336
47 | 2565439.7376 | 1193742.3778 | 2565455.0316 | 1193763.9199
48 | 2565593.8459 | 1193797.4555 | 2565577.6154 | 1193805.6119
49 | 2565505.9414 | 1193711.5481 | 2565500.7484 | 1193701.6863
50 | 2565313.397 | 1193804.0129 | 2565327.8316 | 1193824.7626
51 | 2565362.7597 | 1193761.9941 | 2565347.5822 | 1193740.7927
52 | 2565362.7597 | 1193761.9941 | 2565368.6425 | 1193770.2118
53 | 2565378.3516 | 1193783.7744 | 2565368.6425 | 1193770.2118
54 | 2565390.0032 | 1193800.0504 | 2565378.3516 | 1193783.7744
55 | 2565390.0032 | 1193800.0504 | 2565399.8863 | 1193813.856
56 | 2565399.8863 | 1193813.856 | 2565409.9152 | 1193827.8653
57 | 2565432.3129 | 1193859.1525 | 2565422.9146 | 1193846.0241
58 | 2565422.9146 | 1193846.0241 | 2565409.9152 | 1193827.8653
59 | 2565353.5736 | 1193861.7666 | 2565357.0711 | 1193866.7943
60 | 2565337.8497 | 1193839.1635 | 2565353.5736 | 1193861.7666
61 | 2565337.8497 | 1193839.1635 | 2565327.8316 | 1193824.7626
62 | 2565492.4999 | 1193684.3973 | 2565492.4809 | 1193684.6818 | 2565493.4363 | 1193687.8002 | 2565500.7484 | 1193701.6863
63 | 2565509.8425 | 1193671.9214 | 2565497.6761 | 1193677.7146 | 2565494.4262 | 1193679.7567 | 2565492.6632 | 1193681.957 | 2565492.4999 | 1193684.3973
64 | 2565525.7141 | 1193664.6343 | 2565523.2957 | 1193665.5154 | 2565509.8425 | 1193671.9214
65 | 2565525.7141 | 1193664.6343 | 2565528.2895 | 1193664.5527 | 2565530.4826 | 1193665.5739 | 2565532.2145 | 1193667.2315 | 2565542.1334 | 1193687.7187
66 | 2565525.7141 | 1193664.6343 | 2565520.5765 | 1193654.1101
67 | 2565520.5765 | 1193654.1101 | 2565517.2407 | 1193647.2769
68 | 2565593.9324 | 1193797.4121 | 2565593.8459 | 1193797.4555
69 | 2565593.9324 | 1193797.4121 | 2565596.2797 | 1193796.2325
70 | 2565596.2797 | 1193796.2325 | 2565617.8467 | 1193785.3944
71 | 2565618.2826 | 1193785.1754 | 2565617.8467 | 1193785.3944
72 | 2565438.5765 | 1193740.7424 | 2565439.7376 | 1193742.3778
73 | 2565508.5543 | 1193629.4829 | 2565517.2407 | 1193647.2769
74 | 2565501.5127 | 1193615.0584 | 2565508.5543 | 1193629.4829
75 | 2565501.5127 | 1193615.0584 | 2565499.3954 | 1193616.6048 | 2565487.7181 | 1193621.9424
76 | 2565475.1562 | 1193627.6844 | 2565487.7181 | 1193621.9424

## bus_geodata
| x | y | coords
0 | 2565358.1086 | 1193633.2327
1 | 2565374.0429 | 1193649.0042
2 | 2565340.1863 | 1193615.4937
3 | 2565385.7579 | 1193666.3457
4 | 2565325.1115 | 1193603.0739
5 | 2565369.0576 | 1193594.6706
6 | 2565409.1444 | 1193699.2863
7 | 2565366.1464 | 1193684.8631
8 | 2565419.0603 | 1193713.2531
9 | 2565331.1792 | 1193717.8795
10 | 2565424.1663 | 1193720.4452
11 | 2565284.8478 | 1193762.9735
12 | 2565340.6458 | 1193731.1033
13 | 2565477.0765 | 1193575.0419
14 | 2565496.681 | 1193602.2914
15 | 2565297.3424 | 1193894.2162
16 | 2565274.6318 | 1193862.1712
17 | 2565303.9963 | 1193903.6049
18 | 2565250.7328 | 1193828.4496
19 | 2565333.4995 | 1193945.2342
20 | 2565237.5212 | 1193809.8079
21 | 2565352.0202 | 1193932.0675
22 | 2565145.9111 | 1193695.8919
23 | 2565385.7819 | 1193908.0659
24 | 2565301.6595 | 1193787.1402
25 | 2565376.15 | 1193894.2201
26 | 2565515.4748 | 1193773.7032
27 | 2565491.005 | 1193785.4986
28 | 2565533.9749 | 1193764.7855
29 | 2565475.6176 | 1193792.916
30 | 2565549.2998 | 1193757.2035
31 | 2565550.9108 | 1193799.212
32 | 2565525.6791 | 1193749.0312
33 | 2565484.2028 | 1193807.3861
34 | 2565473.9631 | 1193790.5856
35 | 2565549.3306 | 1193757.1883
36 | 2565552.6844 | 1193802.8172
37 | 2565516.3521 | 1193731.3187
38 | 2565493.6474 | 1193823.3047
39 | 2565457.3541 | 1193767.1913
40 | 2565590.3824 | 1193736.8013
41 | 2565558.7283 | 1193815.1032
42 | 2565512.6213 | 1193724.2336
43 | 2565455.0316 | 1193763.9199
44 | 2565577.6154 | 1193805.6119
45 | 2565505.9414 | 1193711.5481
46 | 2565313.397 | 1193804.0129
47 | 2565347.5822 | 1193740.7927
48 | 2565362.7597 | 1193761.9941
49 | 2565368.6425 | 1193770.2118
50 | 2565378.3516 | 1193783.7744
51 | 2565390.0032 | 1193800.0504
52 | 2565399.8863 | 1193813.856
53 | 2565432.3129 | 1193859.1525
54 | 2565422.9146 | 1193846.0241
55 | 2565409.9152 | 1193827.8653
56 | 2565357.0711 | 1193866.7943
57 | 2565353.5736 | 1193861.7666
58 | 2565337.8497 | 1193839.1635
59 | 2565500.7484 | 1193701.6863
60 | 2565492.4999 | 1193684.3973
61 | 2565509.8425 | 1193671.9214
62 | 2565525.7141 | 1193664.6343
63 | 2565542.1334 | 1193687.7187
64 | 2565520.5765 | 1193654.1101
65 | 2565327.8316 | 1193824.7626
66 | 2565593.8459 | 1193797.4555
67 | 2565593.9324 | 1193797.4121
68 | 2565596.2797 | 1193796.2325
69 | 2565617.8467 | 1193785.3944
70 | 2565438.5765 | 1193740.7424
71 | 2565439.7376 | 1193742.3778
72 | 2565618.2826 | 1193785.1754
73 | 2565517.2407 | 1193647.2769
74 | 2565508.5543 | 1193629.4829
75 | 2565501.5127 | 1193615.0584
76 | 2565487.7181 | 1193621.9424
77 | 2565475.1562 | 1193627.6844
78 | 2565475.6176 | 1193792.916

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98772 | -0.085644 | 0.0038834 | 0.00097326
1 | 0.98797 | -0.083836 | 0.0029197 | 0.00073174
2 | 0.98757 | -0.086676 | 0 | 0
3 | 0.9883 | -0.081524 | 0 | 0
4 | 0.98751 | -0.087083 | 0.0020346 | 0.00050992
5 | 0.98747 | -0.08739 | 0.0019588 | 0.00049093
6 | 0.9919 | -0.05628 | 0.0038709 | 0.00097014
7 | 0.98632 | -0.095489 | 0.0025592 | 0.00064139
8 | 0.99352 | -0.044961 | 0.0026755 | 0.00067055
9 | 0.98296 | -0.11925 | 0 | 0
10 | 0.99438 | -0.038908 | 0.0025368 | 0.00063578
11 | 0.98079 | -0.13469 | 0 | 0
12 | 0.98237 | -0.12344 | 0.0029156 | 0.00073072
13 | 0.97888 | -0.14846 | 0.0039345 | 0.00098609
14 | 0.97908 | -0.14709 | 0.0051766 | 0.0012974
15 | 0.97522 | -0.17463 | 0.0014876 | 0.00037283
16 | 0.97491 | -0.17685 | 0.0019939 | 0.00049971
17 | 0.97533 | -0.1738 | 0.00067083 | 0.00016813
18 | 0.9747 | -0.17833 | 0.0019433 | 0.00048703
19 | 0.97589 | -0.16975 | 0 | 0
20 | 0.97466 | -0.17868 | 0 | 0
21 | 0.97614 | -0.16795 | 0.0021371 | 0.00053561
22 | 0.97435 | -0.1809 | 0.0014401 | 0.00036092
23 | 0.97673 | -0.16374 | 0 | 0
24 | 0.9798 | -0.14174 | 0.0034223 | 0.00085771
25 | 0.97697 | -0.16203 | 0.0012912 | 0.00032362
26 | 0.98966 | -0.071991 | 0.0031218 | 0.00078241
27 | 0.99292 | -0.04918 | 0.0036451 | 0.00091355
28 | 0.9873 | -0.088679 | 0 | 0
29 | 0.99505 | -0.034285 | 0 | 0
30 | 0.98714 | -0.089776 | 0.0029249 | 0.00073305
31 | 0.98569 | -0.10004 | 0.0015848 | 0.00039719
32 | 0.98615 | -0.096784 | 0.0017189 | 0.0004308
33 | 0.99491 | -0.035287 | 0.0026979 | 0.00067616
34 | 0.99544 | -0.031628 | 0.0038965 | 0.00097655
35 | 0.98714 | -0.089777 | 0.001658 | 0.00041553
36 | 0.98553 | -0.10117 | 0.0038454 | 0.00096375
37 | 0.98491 | -0.10556 | 0.0032324 | 0.00081011
38 | 0.99483 | -0.035887 | 0.0032114 | 0.00080485
39 | 0.99943 | -0.003958 | 0.002654 | 0.00066516
40 | 0.98703 | -0.090565 | 0.0016758 | 0.00041999
41 | 0.98507 | -0.10447 | 0.0062713 | 0.0015717
42 | 0.98445 | -0.10881 | 0.0037342 | 0.00093589
43 | 1 | 0 | -0.17692 | -0.044477
44 | 0.98454 | -0.10821 | 0.0046206 | 0.001158
45 | 0.98371 | -0.11409 | 0.0015323 | 0.00038403
46 | 0.97921 | -0.14595 | 0.0026469 | 0.00066337
47 | 0.98199 | -0.12615 | 0.0026611 | 0.00066692
48 | 0.98126 | -0.13137 | 0.0017721 | 0.00044412
49 | 0.981 | -0.13321 | 0.0017707 | 0.00044378
50 | 0.98062 | -0.13594 | 0.0025245 | 0.00063269
51 | 0.98023 | -0.1387 | 0.0025903 | 0.00064919
52 | 0.97997 | -0.14058 | 0.0019601 | 0.00049124
53 | 0.9795 | -0.14396 | 0.0027455 | 0.00068808
54 | 0.97956 | -0.14349 | 0.0031058 | 0.00077838
55 | 0.97975 | -0.14213 | 0.0028462 | 0.00071333
56 | 0.9775 | -0.15819 | 0.0020785 | 0.00052092
57 | 0.97762 | -0.15735 | 0.0011219 | 0.00028117
58 | 0.97819 | -0.15327 | 0.0013313 | 0.00033367
59 | 0.98315 | -0.11802 | 0.0032384 | 0.00081162
60 | 0.98229 | -0.12418 | 0.0033256 | 0.00083348
61 | 0.98138 | -0.13063 | 0.0026546 | 0.00066532
62 | 0.98075 | -0.13515 | 0 | 0
63 | 0.98063 | -0.13597 | 0.0026181 | 0.00065615
64 | 0.98037 | -0.13787 | 0.0017053 | 0.00042739
65 | 0.97859 | -0.15043 | 0.00147 | 0.00036842
66 | 0.98421 | -0.11056 | 0.0014062 | 0.00035242
67 | 0.98421 | -0.11057 | 0.0014113 | 0.00035372
68 | 0.98418 | -0.11083 | 0.0025365 | 0.0006357
69 | 0.98392 | -0.11262 | 0.0020941 | 0.00052484
70 | 0.99693 | -0.021249 | 0.0024463 | 0.00061309
71 | 0.99714 | -0.019781 | 0.0018911 | 0.00047395
72 | 0.98392 | -0.11265 | 0.0051024 | 0.0012788
73 | 0.98014 | -0.1395 | 0.0022982 | 0.00057598
74 | 0.97961 | -0.14327 | 0.0038577 | 0.00096683
75 | 0.97927 | -0.14569 | 0 | 0
76 | 0.97915 | -0.14655 | 0.0030277 | 0.00075881
77 | 0.9791 | -0.14688 | 0.0023224 | 0.00058205
78 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0078777 | -0.0019734 | 0.0078797 | 0.0019739 | 1.9703e-06 | 4.7079e-07 | 0.011868 | 0.011867 | 0.011868 | 0.98772 | -0.085644 | 0.98797 | -0.083836 | 4.3954
1 | 0.0039943 | 0.0010002 | -0.0039937 | -0.0010003 | 5.6973e-07 | -1.0357e-07 | 0.0060172 | 0.0060173 | 0.0060173 | 0.98772 | -0.085644 | 0.98757 | -0.086676 | 2.2286
2 | -0.010799 | -0.0027056 | 0.010803 | 0.0027067 | 3.4547e-06 | 1.0606e-06 | 0.016265 | 0.016265 | 0.016265 | 0.98797 | -0.083836 | 0.9883 | -0.081524 | 6.024
3 | 0.0020347 | 0.00050972 | -0.0020346 | -0.00050992 | 1.1456e-07 | -2.0584e-07 | 0.0030657 | 0.0030658 | 0.0030658 | 0.98757 | -0.086676 | 0.98751 | -0.087083 | 1.1355
4 | 0.001959 | 0.00049055 | -0.0019588 | -0.00049093 | 1.9352e-07 | -3.8099e-07 | 0.0029516 | 0.0029517 | 0.0029517 | 0.98757 | -0.086676 | 0.98747 | -0.08739 | 1.0932
5 | -0.061738 | -0.015522 | 0.061956 | 0.015605 | 0.0002179 | 8.3288e-05 | 0.092973 | 0.092973 | 0.092973 | 0.9883 | -0.081524 | 0.9919 | -0.05628 | 34.4344
6 | 0.050936 | 0.012815 | -0.050837 | -0.012777 | 9.9034e-05 | 3.7745e-05 | 0.076708 | 0.076708 | 0.076708 | 0.9883 | -0.081524 | 0.98632 | -0.095489 | 28.4104
7 | -0.065827 | -0.016575 | 0.065931 | 0.016615 | 0.00010429 | 3.9891e-05 | 0.09878 | 0.09878 | 0.09878 | 0.9919 | -0.05628 | 0.99352 | -0.044961 | 36.5851
8 | 0.048277 | 0.012136 | -0.048118 | -0.012075 | 0.00015925 | 6.0638e-05 | 0.072847 | 0.072847 | 0.072847 | 0.98632 | -0.095489 | 0.98296 | -0.11925 | 26.9805
9 | -0.068607 | -0.017286 | 0.068665 | 0.017308 | 5.8149e-05 | 2.2251e-05 | 0.10279 | 0.10279 | 0.10279 | 0.99352 | -0.044961 | 0.99438 | -0.038908 | 38.0692
10 | 0.023168 | 0.0058166 | -0.023119 | -0.0057984 | 4.9567e-05 | 1.8248e-05 | 0.035076 | 0.035076 | 0.035076 | 0.98296 | -0.11925 | 0.98079 | -0.13469 | 12.9912
11 | 0.02495 | 0.0062586 | -0.024935 | -0.0062533 | 1.4478e-05 | 5.3625e-06 | 0.037771 | 0.037772 | 0.037772 | 0.98296 | -0.11925 | 0.98237 | -0.12344 | 13.9895
12 | -0.071202 | -0.017944 | 0.071378 | 0.018011 | 0.00017645 | 6.7542e-05 | 0.10658 | 0.10658 | 0.10658 | 0.99438 | -0.038908 | 0.99693 | -0.021249 | 39.4751
13 | 0.023119 | 0.0057984 | -0.023096 | -0.0057901 | 2.2602e-05 | 8.3218e-06 | 0.035076 | 0.035076 | 0.035076 | 0.98079 | -0.13469 | 0.9798 | -0.14174 | 12.9913
14 | 0.02202 | 0.0055225 | -0.022012 | -0.0055195 | 8.2728e-06 | 3.031e-06 | 0.033355 | 0.033355 | 0.033355 | 0.98237 | -0.12344 | 0.98199 | -0.12615 | 12.3538
15 | -0.0039345 | -0.00098609 | 0.0039353 | 0.00098595 | 7.4929e-07 | -1.3389e-07 | 0.0059809 | 0.0059808 | 0.0059809 | 0.97888 | -0.14846 | 0.97908 | -0.14709 | 2.2152
16 | -0.0091119 | -0.0022833 | 0.0091137 | 0.0022838 | 1.7676e-06 | 4.9405e-07 | 0.013848 | 0.013848 | 0.013848 | 0.97908 | -0.14709 | 0.97927 | -0.14569 | 5.129
17 | 0.0053801 | 0.0013456 | -0.0053784 | -0.0013455 | 1.6513e-06 | 1.452e-07 | 0.0082081 | 0.0082083 | 0.0082083 | 0.97522 | -0.17463 | 0.97491 | -0.17685 | 3.0401
18 | -0.0068677 | -0.0017185 | 0.0068685 | 0.0017186 | 7.8835e-07 | 1.5961e-07 | 0.010478 | 0.010478 | 0.010478 | 0.97522 | -0.17463 | 0.97533 | -0.1738 | 3.8807
19 | 0.0033846 | 0.00084579 | -0.0033839 | -0.00084604 | 6.8807e-07 | -2.5062e-07 | 0.005165 | 0.0051652 | 0.0051652 | 0.97491 | -0.17685 | 0.9747 | -0.17833 | 1.913
20 | -0.0075393 | -0.0018868 | 0.0075435 | 0.0018877 | 4.2116e-06 | 9.827e-07 | 0.011501 | 0.011501 | 0.011501 | 0.97533 | -0.1738 | 0.97589 | -0.16975 | 4.2598
21 | 0.0014406 | 0.00035901 | -0.0014405 | -0.00035927 | 6.8918e-08 | -2.5826e-07 | 0.0021985 | 0.0021986 | 0.0021986 | 0.9747 | -0.17833 | 0.97466 | -0.17868 | 0.81431
22 | -0.0075435 | -0.0018877 | 0.0075454 | 0.0018882 | 1.8756e-06 | 4.374e-07 | 0.011501 | 0.011501 | 0.011501 | 0.97589 | -0.16975 | 0.97614 | -0.16795 | 4.2597
23 | 0.0014405 | 0.00035927 | -0.0014401 | -0.00036092 | 4.4108e-07 | -1.6516e-06 | 0.0021986 | 0.0021993 | 0.0021993 | 0.97466 | -0.17868 | 0.97435 | -0.1809 | 0.81456
24 | -0.0096825 | -0.0024238 | 0.0096881 | 0.0024254 | 5.6303e-06 | 1.6474e-06 | 0.014759 | 0.014759 | 0.014759 | 0.97614 | -0.16795 | 0.97673 | -0.16374 | 5.4662
25 | -0.0096881 | -0.0024254 | 0.0096904 | 0.0024261 | 2.2924e-06 | 6.7056e-07 | 0.014759 | 0.014759 | 0.014759 | 0.97673 | -0.16374 | 0.97697 | -0.16203 | 5.4662
26 | 0.019674 | 0.0049324 | -0.019662 | -0.0049282 | 1.145e-05 | 4.1452e-06 | 0.029879 | 0.029879 | 0.029879 | 0.9798 | -0.14174 | 0.97921 | -0.14595 | 11.0663
27 | -0.010982 | -0.0027497 | 0.010988 | 0.0027516 | 5.8317e-06 | 1.8244e-06 | 0.016725 | 0.016725 | 0.016725 | 0.97697 | -0.16203 | 0.9775 | -0.15819 | 6.1945
28 | -0.083156 | -0.020905 | 0.083421 | 0.021007 | 0.00026507 | 0.0001016 | 0.12505 | 0.12505 | 0.12505 | 0.98966 | -0.071991 | 0.99292 | -0.04918 | 46.3157
29 | 0.080034 | 0.020123 | -0.079849 | -0.020051 | 0.00018564 | 7.1138e-05 | 0.12036 | 0.12036 | 0.12036 | 0.98966 | -0.071991 | 0.9873 | -0.088679 | 44.5773
30 | -0.087066 | -0.02192 | 0.087248 | 0.02199 | 0.00018157 | 6.9613e-05 | 0.13052 | 0.13051 | 0.13052 | 0.99292 | -0.04918 | 0.99505 | -0.034285 | 48.3389
31 | 0.0062598 | 0.0015682 | -0.0062588 | -0.0015681 | 9.4962e-07 | 1.4662e-07 | 0.0094343 | 0.0094344 | 0.0094344 | 0.9873 | -0.088679 | 0.98714 | -0.089776 | 3.4942
32 | 0.028948 | 0.0072637 | -0.028903 | -0.0072467 | 4.5579e-05 | 1.7041e-05 | 0.043633 | 0.043633 | 0.043633 | 0.9873 | -0.088679 | 0.98569 | -0.10004 | 16.1604
33 | 0.04464 | 0.01122 | -0.04459 | -0.0112 | 5.0309e-05 | 1.9122e-05 | 0.067292 | 0.067292 | 0.067292 | 0.9873 | -0.088679 | 0.98615 | -0.096784 | 24.9228
34 | 0.0059104 | 0.001481 | -0.0059096 | -0.0014809 | 8.2016e-07 | 9.6919e-08 | 0.0088384 | 0.0088385 | 0.0088385 | 0.99505 | -0.034285 | 0.99491 | -0.035287 | 3.2735
35 | -0.093158 | -0.023471 | 0.093193 | 0.023484 | 3.4632e-05 | 1.3283e-05 | 0.13935 | 0.13935 | 0.13935 | 0.99505 | -0.034285 | 0.99544 | -0.031628 | 51.6123
36 | 0.0033339 | 0.000835 | -0.0033339 | -0.000835 | 5.3938e-10 | -2.3041e-10 | 0.0050254 | 0.0050254 | 0.0050254 | 0.98714 | -0.089776 | 0.98714 | -0.089777 | 1.8613
37 | 0.027318 | 0.0068495 | -0.027314 | -0.0068479 | 4.2641e-06 | 1.5888e-06 | 0.041241 | 0.041241 | 0.041241 | 0.98569 | -0.10004 | 0.98553 | -0.10117 | 15.2743
38 | 0.042871 | 0.01077 | -0.042819 | -0.01075 | 5.2287e-05 | 1.9855e-05 | 0.064698 | 0.064698 | 0.064698 | 0.98615 | -0.096784 | 0.98491 | -0.10556 | 23.9622
39 | 0.0032117 | 0.00080472 | -0.0032114 | -0.00080485 | 2.6649e-07 | -1.3785e-07 | 0.0048034 | 0.0048035 | 0.0048035 | 0.99491 | -0.035287 | 0.99483 | -0.035887 | 1.7791
40 | -0.097089 | -0.024461 | 0.097467 | 0.024605 | 0.00037733 | 0.00014475 | 0.14518 | 0.14518 | 0.14518 | 0.99544 | -0.031628 | 0.99943 | -0.003958 | 53.7696
41 | 0.0016759 | 0.00041947 | -0.0016758 | -0.00041999 | 1.8253e-07 | -5.157e-07 | 0.0025261 | 0.0025263 | 0.0025263 | 0.98714 | -0.089777 | 0.98703 | -0.090565 | 0.93568
42 | 0.023468 | 0.0058841 | -0.023458 | -0.0058802 | 1.0728e-05 | 3.9517e-06 | 0.035435 | 0.035435 | 0.035435 | 0.98553 | -0.10117 | 0.98507 | -0.10447 | 13.1239
43 | 0.039587 | 0.0099396 | -0.039569 | -0.0099329 | 1.7877e-05 | 6.7737e-06 | 0.059814 | 0.059815 | 0.059815 | 0.98491 | -0.10556 | 0.98445 | -0.10881 | 22.1535
44 | -0.10012 | -0.02527 | 0.10018 | 0.025292 | 5.5676e-05 | 2.1361e-05 | 0.14913 | 0.14913 | 0.14913 | 0.99943 | -0.003958 | 1 | 0 | 55.2331
45 | 0.017186 | 0.0043085 | -0.017177 | -0.0043053 | 8.89e-06 | 3.1503e-06 | 0.025961 | 0.025961 | 0.025961 | 0.98507 | -0.10447 | 0.98454 | -0.10821 | 9.6154
46 | 0.035834 | 0.008997 | -0.035808 | -0.008987 | 2.6252e-05 | 9.9146e-06 | 0.05417 | 0.05417 | 0.05417 | 0.98445 | -0.10881 | 0.98371 | -0.11409 | 20.063
47 | 0.075942 | 0.019185 | -0.075731 | -0.019104 | 0.00021071 | 8.0698e-05 | 0.11306 | 0.11306 | 0.11306 | 1 | 0 | 0.99714 | -0.019781 | 41.8726
48 | 0.012557 | 0.0031473 | -0.012553 | -0.0031459 | 4.0824e-06 | 1.3392e-06 | 0.018978 | 0.018978 | 0.018978 | 0.98454 | -0.10821 | 0.98421 | -0.11056 | 7.029
49 | 0.034276 | 0.008603 | -0.034257 | -0.008596 | 1.8699e-05 | 7.0506e-06 | 0.051852 | 0.051852 | 0.051852 | 0.98371 | -0.11409 | 0.98315 | -0.11802 | 19.2046
50 | 0.017015 | 0.0042648 | -0.017005 | -0.0042611 | 1.0545e-05 | 3.7381e-06 | 0.025857 | 0.025857 | 0.025857 | 0.97921 | -0.14595 | 0.97859 | -0.15043 | 9.5767
51 | 0.01935 | 0.0048526 | -0.019336 | -0.0048475 | 1.399e-05 | 5.0511e-06 | 0.029323 | 0.029323 | 0.029323 | 0.98199 | -0.12615 | 0.98126 | -0.13137 | 10.8604
52 | 0.017564 | 0.0044034 | -0.01756 | -0.0044018 | 4.4741e-06 | 1.5932e-06 | 0.026636 | 0.026636 | 0.026636 | 0.98126 | -0.13137 | 0.981 | -0.13321 | 9.8651
53 | 0.015789 | 0.0039581 | -0.015783 | -0.003956 | 5.9701e-06 | 2.0857e-06 | 0.02395 | 0.02395 | 0.02395 | 0.981 | -0.13321 | 0.98062 | -0.13594 | 8.8704
54 | 0.013259 | 0.0033233 | -0.013254 | -0.0033216 | 5.056e-06 | 1.6922e-06 | 0.020119 | 0.02012 | 0.02012 | 0.98062 | -0.13594 | 0.98023 | -0.1387 | 7.4517
55 | 0.010663 | 0.0026724 | -0.010661 | -0.0026715 | 2.7761e-06 | 8.5377e-07 | 0.016187 | 0.016187 | 0.016187 | 0.98023 | -0.1387 | 0.97997 | -0.14058 | 5.9954
56 | 0.0087006 | 0.0021803 | -0.0086988 | -0.0021798 | 1.8764e-06 | 5.0469e-07 | 0.013211 | 0.013211 | 0.013211 | 0.97997 | -0.14058 | 0.97975 | -0.14213 | 4.8931
57 | -0.0027455 | -0.00068808 | 0.0027456 | 0.00068794 | 1.7526e-07 | -1.3583e-07 | 0.0041708 | 0.0041707 | 0.0041708 | 0.9795 | -0.14396 | 0.97956 | -0.14349 | 1.5447
58 | -0.0058514 | -0.0014663 | 0.0058525 | 0.0014665 | 1.101e-06 | 1.4227e-07 | 0.0088886 | 0.0088885 | 0.0088886 | 0.97956 | -0.14349 | 0.97975 | -0.14213 | 3.2921
59 | -0.013066 | -0.0032725 | 0.013068 | 0.003273 | 1.5118e-06 | 5.0468e-07 | 0.019889 | 0.019889 | 0.019889 | 0.9775 | -0.15819 | 0.97762 | -0.15735 | 7.3663
60 | -0.014189 | -0.0035542 | 0.014197 | 0.0035569 | 8.0137e-06 | 2.7367e-06 | 0.021597 | 0.021597 | 0.021597 | 0.97762 | -0.15735 | 0.97819 | -0.15327 | 7.9988
61 | -0.015529 | -0.0038906 | 0.015535 | 0.0038927 | 6.1081e-06 | 2.129e-06 | 0.023622 | 0.023622 | 0.023622 | 0.97819 | -0.15327 | 0.97859 | -0.15043 | 8.7488
62 | 0.031019 | 0.0077843 | -0.030992 | -0.0077744 | 2.6466e-05 | 9.9354e-06 | 0.046951 | 0.046951 | 0.046951 | 0.98315 | -0.11802 | 0.98229 | -0.12418 | 17.3893
63 | 0.027667 | 0.0069409 | -0.027642 | -0.0069317 | 2.4751e-05 | 9.234e-06 | 0.041913 | 0.041913 | 0.041913 | 0.98229 | -0.12418 | 0.98138 | -0.13063 | 15.5235
64 | 0.024987 | 0.0062664 | -0.024972 | -0.0062606 | 1.5653e-05 | 5.7997e-06 | 0.037888 | 0.037888 | 0.037888 | 0.98138 | -0.13063 | 0.98075 | -0.13515 | 14.0327
65 | 0.0026184 | 0.00065588 | -0.0026181 | -0.00065615 | 2.9672e-07 | -2.6606e-07 | 0.0039725 | 0.0039727 | 0.0039727 | 0.98075 | -0.13515 | 0.98063 | -0.13597 | 1.4714
66 | 0.022353 | 0.0056047 | -0.022345 | -0.0056016 | 8.4061e-06 | 3.0854e-06 | 0.033916 | 0.033916 | 0.033916 | 0.98075 | -0.13515 | 0.98037 | -0.13787 | 12.5614
67 | 0.02064 | 0.0051742 | -0.020635 | -0.0051725 | 4.6567e-06 | 1.6952e-06 | 0.031328 | 0.031328 | 0.031328 | 0.98037 | -0.13787 | 0.98014 | -0.1395 | 11.6028
68 | 0.011147 | 0.0027935 | -0.011147 | -0.0027935 | 1.7142e-08 | 5.3644e-09 | 0.016852 | 0.016852 | 0.016852 | 0.98421 | -0.11056 | 0.98421 | -0.11057 | 6.2416
69 | 0.0097352 | 0.0024398 | -0.0097348 | -0.0024397 | 3.5512e-07 | 1.032e-07 | 0.014718 | 0.014718 | 0.014718 | 0.98421 | -0.11057 | 0.98418 | -0.11083 | 5.4513
70 | 0.0071984 | 0.001804 | -0.0071966 | -0.0018036 | 1.7841e-06 | 3.7953e-07 | 0.010883 | 0.010884 | 0.010884 | 0.98418 | -0.11083 | 0.98392 | -0.11262 | 4.031
71 | 0.0051024 | 0.0012788 | -0.0051024 | -0.0012788 | 1.8128e-08 | 7.7566e-10 | 0.0077166 | 0.0077166 | 0.0077166 | 0.98392 | -0.11262 | 0.98392 | -0.11265 | 2.858
72 | -0.073825 | -0.018624 | 0.07384 | 0.01863 | 1.5208e-05 | 5.823e-06 | 0.11023 | 0.11023 | 0.11023 | 0.99693 | -0.021249 | 0.99714 | -0.019781 | 40.8274
73 | 0.018337 | 0.0045966 | -0.018327 | -0.0045931 | 9.5756e-06 | 3.4335e-06 | 0.027839 | 0.027839 | 0.027839 | 0.98014 | -0.1395 | 0.97961 | -0.14327 | 10.3106
74 | 0.014469 | 0.0036263 | -0.014465 | -0.0036246 | 4.8385e-06 | 1.659e-06 | 0.021979 | 0.021979 | 0.021979 | 0.97961 | -0.14327 | 0.97927 | -0.14569 | 8.1403
75 | 0.0053509 | 0.0013408 | -0.0053502 | -0.0013407 | 6.378e-07 | 5.0811e-08 | 0.0081306 | 0.0081307 | 0.0081307 | 0.97927 | -0.14569 | 0.97915 | -0.14655 | 3.0114
76 | 0.0023225 | 0.00058192 | -0.0023224 | -0.00058205 | 1.0737e-07 | -1.3242e-07 | 0.0035295 | 0.0035296 | 0.0035296 | 0.97915 | -0.14655 | 0.9791 | -0.14688 | 1.3072

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17968 | 0.04517

## res_load
| p_mw | q_mvar
0 | 0.0038834 | 0.00097326
1 | 0.0029197 | 0.00073174
2 | 0.0020346 | 0.00050992
3 | 0.0019588 | 0.00049093
4 | 0.0038709 | 0.00097014
5 | 0.0025592 | 0.00064139
6 | 0.0026755 | 0.00067055
7 | 0.0025368 | 0.00063578
8 | 0.0029156 | 0.00073072
9 | 0.0039345 | 0.00098609
10 | 0.0051766 | 0.0012974
11 | 0.0014876 | 0.00037283
12 | 0.0019939 | 0.00049971
13 | 0.00067083 | 0.00016813
14 | 0.0019433 | 0.00048703
15 | 0.0021371 | 0.00053561
16 | 0.0014401 | 0.00036092
17 | 0.0034223 | 0.00085771
18 | 0.0012912 | 0.00032362
19 | 0.0031218 | 0.00078241
20 | 0.0036451 | 0.00091355
21 | 0.0029249 | 0.00073305
22 | 0.0015848 | 0.00039719
23 | 0.0017189 | 0.0004308
24 | 0.0026979 | 0.00067616
25 | 0.0038965 | 0.00097655
26 | 0.001658 | 0.00041553
27 | 0.0038454 | 0.00096375
28 | 0.0032324 | 0.00081011
29 | 0.0032114 | 0.00080485
30 | 0.002654 | 0.00066516
31 | 0.0016758 | 0.00041999
32 | 0.0062713 | 0.0015717
33 | 0.0037342 | 0.00093589
34 | 0.0027659 | 0.00069319
35 | 0.0046206 | 0.001158
36 | 0.0015323 | 0.00038403
37 | 0.0026469 | 0.00066337
38 | 0.0026611 | 0.00066692
39 | 0.0017721 | 0.00044412
40 | 0.0017707 | 0.00044378
41 | 0.0025245 | 0.00063269
42 | 0.0025903 | 0.00064919
43 | 0.0019601 | 0.00049124
44 | 0.0027455 | 0.00068808
45 | 0.0031058 | 0.00077838
46 | 0.0028462 | 0.00071333
47 | 0.0020785 | 0.00052092
48 | 0.0011219 | 0.00028117
49 | 0.0013313 | 0.00033367
50 | 0.0032384 | 0.00081162
51 | 0.0033256 | 0.00083348
52 | 0.0026546 | 0.00066532
53 | 0.0026181 | 0.00065615
54 | 0.0017053 | 0.00042739
55 | 0.00147 | 0.00036842
56 | 0.0014062 | 0.00035242
57 | 0.0014113 | 0.00035372
58 | 0.0025365 | 0.0006357
59 | 0.0020941 | 0.00052484
60 | 0.0024463 | 0.00061309
61 | 0.0018911 | 0.00047395
62 | 0.0051024 | 0.0012788
63 | 0.0022982 | 0.00057598
64 | 0.0038577 | 0.00096683
65 | 0.0030277 | 0.00075881
66 | 0.0023224 | 0.00058205

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1