## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2041-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2041-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2041-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2041-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2041-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2041-6_0_4_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_2041-6_0_4_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_2041-6_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2041-6_0_4_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2041-6_0_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_2041-6_0_4_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_2041-6_0_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_2041-6_0_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_2041-6_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_2041-6_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2041-6_0_4_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_2041-6_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2041-6_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2041-6_0_4_node_5 | 0.4 | n |  | TRUE
19 | bus_LV_2041-6_0_4_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_2041-6_0_4_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_2041-6_0_4_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_2041-6_0_4_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_2041-6_0_4_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_2041-6_0_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_2041-6_0_4_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_2041-6_0_4_node_9 | 0.4 | n |  | TRUE
27 | bus_LV_2041-6_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_2041-6_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_2041-6_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2041-6_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_2041-6_0_4_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_2041-6_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_2041-6_0_4_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_2041-6_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_2041-6_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_2041-6_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_2041-6_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_2041-6_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_2041-6_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2041-6_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2041-6_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2041-6_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2041-6_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_2041-6_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2041-6_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2041-6_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2041-6_0_4_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_2041-6_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2041-6_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_2041-6_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_2041-6_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_2041-6_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_2041-6_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_2041-6_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2041-6_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_2041-6_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_MV_377_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2041-6_0_4_load_0 | 0 | 0.0062405 | 0.001564 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2041-6_0_4_load_1 | 1 | 0.0049249 | 0.0012343 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2041-6_0_4_load_2 | 2 | 0.0025406 | 0.00063674 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2041-6_0_4_load_3 | 3 | 0.0049937 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2041-6_0_4_load_4 | 4 | 0.0026059 | 0.00065309 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2041-6_0_4_load_26 | 5 | 0.0014513 | 0.00036373 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2041-6_0_4_load_25 | 6 | 0.0021098 | 0.00052876 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2041-6_0_4_load_17 | 7 | 0.0081399 | 0.0020401 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2041-6_0_4_load_24 | 10 | 0.0048167 | 0.0012072 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2041-6_0_4_load_27 | 11 | 0.0011732 | 0.00029403 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2041-6_0_4_load_20 | 12 | 0.0038244 | 0.00095849 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2041-6_0_4_load_16 | 13 | 0.0037634 | 0.0009432 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2041-6_0_4_load_12 | 14 | 0.0041688 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2041-6_0_4_load_40 | 15 | 0.0013279 | 0.00033281 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2041-6_0_4_load_10 | 16 | 0.0013848 | 0.00034705 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2041-6_0_4_load_15 | 17 | 0.0023362 | 0.00058552 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2041-6_0_4_load_5 | 18 | 0.003438 | 0.00086164 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2041-6_0_4_load_7 | 20 | 0.0038667 | 0.00096908 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2041-6_0_4_load_45 | 22 | 0.00079017 | 0.00019804 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2041-6_0_4_load_47 | 23 | 0.0009604 | 0.0002407 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2041-6_0_4_load_44 | 24 | 0.00073143 | 0.00018331 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2041-6_0_4_load_9 | 26 | 0.0012988 | 0.0003255 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2041-6_0_4_load_11 | 27 | 0.0015225 | 0.00038158 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2041-6_0_4_load_37 | 30 | 0.0024154 | 0.00060536 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2041-6_0_4_load_46 | 31 | 0.007074 | 0.0017729 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2041-6_0_4_load_55 | 33 | 0.0010431 | 0.00026143 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2041-6_0_4_load_49 | 35 | 0.0010289 | 0.00025788 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2041-6_0_4_load_23 | 36 | 0.0013607 | 0.00034103 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2041-6_0_4_load_36 | 37 | 0.0014155 | 0.00035475 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2041-6_0_4_load_35 | 38 | 0.0025642 | 0.00064264 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2041-6_0_4_load_29 | 39 | 0.0026082 | 0.00065367 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2041-6_0_4_load_30 | 41 | 0.003673 | 0.00092055 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2041-6_0_4_load_31 | 42 | 0.0026927 | 0.00067484 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2041-6_0_4_load_32 | 43 | 0.0034544 | 0.00086576 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2041-6_0_4_load_33 | 44 | 0.0031596 | 0.00079186 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2041-6_0_4_load_41 | 46 | 0.0038875 | 0.0009743 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2041-6_0_4_load_50 | 47 | 0.0063433 | 0.0015898 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2041-6_0_4_load_43 | 48 | 0.0022081 | 0.00055341 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2041-6_0_4_load_39 | 51 | 0.0012197 | 0.00030567 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2041-6_0_4_load_42 | 52 | 0.0017359 | 0.00043506 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2041-6_0_4_load_54 | 53 | 0.0048573 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2041-6_0_4_load_52 | 54 | 0.0033217 | 0.00083251 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2041-6_0_4_load_53 | 55 | 0.0024219 | 0.00060698 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2041-6_0_4_load_56 | 56 | 0.0013987 | 0.00035055 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2041-6_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_2041-6_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_2041-6_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_2041-6_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.037107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_2041-6_0_4_line_4 | NAYY 4x150 SE | 3 | 7 | 0.03156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_2041-6_0_4_line_5 | NAYY 4x150 SE | 4 | 8 | 0.021171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_2041-6_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.00061179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2041-6_0_4_line_7 | NAYY 4x150 SE | 6 | 36 | 0.017085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2041-6_0_4_line_8 | NAYY 4x150 SE | 7 | 13 | 0.039188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2041-6_0_4_line_9 | NAYY 4x150 SE | 8 | 17 | 0.016643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_2041-6_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.036463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2041-6_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.097871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_2041-6_0_4_line_12 | NAYY 4x150 SE | 9 | 12 | 0.014727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_2041-6_0_4_line_13 | NAYY 4x150 SE | 11 | 40 | 0.034602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_2041-6_0_4_line_14 | NAYY 4x150 SE | 12 | 29 | 0.034831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_2041-6_0_4_line_15 | NAYY 4x150 SE | 13 | 34 | 0.019461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2041-6_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.014019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_2041-6_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.02183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2041-6_0_4_line_18 | NAYY 4x150 SE | 15 | 31 | 0.036513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_2041-6_0_4_line_19 | NAYY 4x150 SE | 16 | 26 | 0.0080973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2041-6_0_4_line_20 | NAYY 4x150 SE | 17 | 38 | 0.018152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_2041-6_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.018802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2041-6_0_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.02818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2041-6_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.03155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2041-6_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.051905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2041-6_0_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.024943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2041-6_0_4_line_26 | NAYY 4x150 SE | 22 | 24 | 0.009795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2041-6_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.040732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2041-6_0_4_line_28 | NAYY 4x150 SE | 25 | 35 | 0.027211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2041-6_0_4_line_29 | NAYY 4x150 SE | 25 | 32 | 0.015875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2041-6_0_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.024499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2041-6_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.040526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_2041-6_0_4_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_2041-6_0_4_line_33 | NAYY 4x150 SE | 29 | 36 | 0.020396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2041-6_0_4_line_34 | NAYY 4x150 SE | 30 | 37 | 0.034022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_2041-6_0_4_line_35 | NAYY 4x150 SE | 31 | 45 | 0.037911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_2041-6_0_4_line_36 | NAYY 4x150 SE | 32 | 33 | 0.023482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2041-6_0_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.042182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2041-6_0_4_line_38 | NAYY 4x150 SE | 35 | 53 | 0.0068038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2041-6_0_4_line_39 | NAYY 4x150 SE | 37 | 50 | 0.024738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_2041-6_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.022174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_2041-6_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.016268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_2041-6_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.012786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_2041-6_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.014206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_2041-6_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.016724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_2041-6_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.016514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_2041-6_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_2041-6_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.0002744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2041-6_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.019135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_2041-6_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.022995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2041-6_0_4_line_50 | NAYY 4x150 SE | 48 | 52 | 0.0081893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_2041-6_0_4_line_51 | NAYY 4x150 SE | 49 | 54 | 0.031316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2041-6_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.017005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_2041-6_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.030739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_2041-6_0_4_line_54 | NAYY 4x150 SE | 54 | 55 | 0.020518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2041-6_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.059428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2041-6_0_4_trafo_12 | 0.25 MVA 20/0.4 kV | 57 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2564797.798 | 1193271.2268 | 2564809.6269 | 1193274.7077
1 | 2564797.798 | 1193271.2268 | 2564791.6866 | 1193269.4284 | 2564774.3149 | 1193271.4419
2 | 2564832.1457 | 1193281.3343 | 2564809.6269 | 1193274.7077
3 | 2564774.3149 | 1193271.4419 | 2564755.7075 | 1193273.5987 | 2564737.6856 | 1193270.0118
4 | 2564862.4219 | 1193290.2436 | 2564832.1457 | 1193281.3343
5 | 2564716.9221 | 1193265.8793 | 2564737.6856 | 1193270.0118
6 | 2564811.872 | 1193165.3978 | 2564812.2707 | 1193165.8618
7 | 2564811.872 | 1193165.3978 | 2564800.737 | 1193152.4396
8 | 2564862.4219 | 1193290.2436 | 2564900.0155 | 1193301.3063
9 | 2564716.9221 | 1193265.8793 | 2564701.2798 | 1193260.1941
10 | 2564749.4327 | 1193168.7676 | 2564735.9707 | 1193134.8732
11 | 2564749.4327 | 1193168.7676 | 2564659.9215 | 1193208.3456
12 | 2564749.4327 | 1193168.7676 | 2564760.7286 | 1193159.3185
13 | 2564648.0892 | 1193240.862 | 2564659.9215 | 1193208.3456
14 | 2564787.4443 | 1193136.9703 | 2564760.7286 | 1193159.3185
15 | 2564916.925 | 1193310.0572 | 2564910.1309 | 1193304.2829 | 2564900.0155 | 1193301.3063
16 | 2564899.7503 | 1193186.0165 | 2564895.277 | 1193186.5174 | 2564890.5653 | 1193186.2449 | 2564885.8573 | 1193185.3166
17 | 2564869.8726 | 1193170.9635 | 2564878.554 | 1193181.124 | 2564882.0978 | 1193183.66 | 2564885.8573 | 1193185.3166 | 2564885.8573 | 1193185.3166
18 | 2564899.7503 | 1193186.0165 | 2564936.0367 | 1193181.9533
19 | 2564869.8726 | 1193170.9635 | 2564864.6126 | 1193164.8073
20 | 2564684.2195 | 1193253.9935 | 2564701.2798 | 1193260.1941
21 | 2564796.1532 | 1193402.4633 | 2564810.5598 | 1193414.5456
22 | 2564830.1877 | 1193434.4133 | 2564827.8156 | 1193430.2028 | 2564823.5194 | 1193425.4144 | 2564810.5598 | 1193414.5456
23 | 2564796.1532 | 1193402.4633 | 2564817.6458 | 1193379.3128
24 | 2564817.6458 | 1193379.3128 | 2564787.8051 | 1193361.9794 | 2564778.8449 | 1193376.8898
25 | 2564817.6458 | 1193379.3128 | 2564835.2183 | 1193361.611
26 | 2564773.7996 | 1193385.2854 | 2564778.8449 | 1193376.8898
27 | 2564863.9145 | 1193332.7037 | 2564835.2183 | 1193361.611
28 | 2564863.9145 | 1193332.7037 | 2564885.9936 | 1193348.6086
29 | 2564863.9145 | 1193332.7037 | 2564872.1429 | 1193327.0744 | 2564877.0927 | 1193323.799
30 | 2564848.698 | 1193146.1812 | 2564864.6126 | 1193164.8073
31 | 2564818.7846 | 1193111.1714 | 2564787.4443 | 1193136.9703
32 | 2564818.7846 | 1193111.1714 | 2564832.6383 | 1193099.5237
33 | 2564787.4443 | 1193136.9703 | 2564800.737 | 1193152.4396
34 | 2564858.6794 | 1193077.629 | 2564832.6383 | 1193099.5237
35 | 2564972.9168 | 1193174.6768 | 2564968.4949 | 1193177.0374 | 2564963.6335 | 1193178.5334 | 2564955.4248 | 1193179.7823 | 2564936.0367 | 1193181.9533
36 | 2564877.0927 | 1193323.799 | 2564861.3887 | 1193306.3042
37 | 2564916.925 | 1193310.0572 | 2564894.4307 | 1193315.9149 | 2564877.0927 | 1193323.799
38 | 2564891.5142 | 1193352.5854 | 2564885.9936 | 1193348.6086
39 | 2564877.6144 | 1193061.709 | 2564858.6794 | 1193077.629
40 | 2564684.2195 | 1193253.9935 | 2564663.3788 | 1193246.419
41 | 2564648.0892 | 1193240.862 | 2564663.3788 | 1193246.419
42 | 2564953.1083 | 1193151.1966 | 2564944.8637 | 1193141.4238
43 | 2564953.1083 | 1193151.1966 | 2564962.2685 | 1193162.0547
44 | 2564944.8637 | 1193141.4238 | 2564934.0798 | 1193128.6409
45 | 2564972.9168 | 1193174.6768 | 2564962.2685 | 1193162.0547
46 | 2564934.0798 | 1193128.6409 | 2564926.0196 | 1193119.0867
47 | 2564972.9168 | 1193174.6768 | 2564973.1263 | 1193174.4997
48 | 2564913.6808 | 1193104.4608 | 2564926.0196 | 1193119.0867
49 | 2564990.6859 | 1193159.6533 | 2564973.1263 | 1193174.4997
50 | 2564913.6808 | 1193104.4608 | 2564908.4003 | 1193098.2014
51 | 2564990.6859 | 1193159.6533 | 2565013.4617 | 1193138.1597
52 | 2564877.6144 | 1193061.709 | 2564888.5796 | 1193074.7067
53 | 2564888.5796 | 1193074.7067 | 2564908.4003 | 1193098.2014
54 | 2565013.4617 | 1193138.1597 | 2565028.384 | 1193124.0776
55 | 2565028.384 | 1193124.0776 | 2564983.102 | 1193085.5909

## bus_geodata
| x | y | coords
0 | 2564797.798 | 1193271.2268
1 | 2564809.6269 | 1193274.7077
2 | 2564774.3149 | 1193271.4419
3 | 2564832.1457 | 1193281.3343
4 | 2564737.6856 | 1193270.0118
5 | 2564812.2707 | 1193165.8618
6 | 2564811.872 | 1193165.3978
7 | 2564862.4219 | 1193290.2436
8 | 2564716.9221 | 1193265.8793
9 | 2564749.4327 | 1193168.7676
10 | 2564735.9707 | 1193134.8732
11 | 2564659.9215 | 1193208.3456
12 | 2564760.7286 | 1193159.3185
13 | 2564900.0155 | 1193301.3063
14 | 2564885.8573 | 1193185.3166
15 | 2564899.7503 | 1193186.0165
16 | 2564869.8726 | 1193170.9635
17 | 2564701.2798 | 1193260.1941
18 | 2564810.5598 | 1193414.5456
19 | 2564796.1532 | 1193402.4633
20 | 2564830.1877 | 1193434.4133
21 | 2564817.6458 | 1193379.3128
22 | 2564778.8449 | 1193376.8898
23 | 2564835.2183 | 1193361.611
24 | 2564773.7996 | 1193385.2854
25 | 2564863.9145 | 1193332.7037
26 | 2564864.6126 | 1193164.8073
27 | 2564848.698 | 1193146.1812
28 | 2564818.7846 | 1193111.1714
29 | 2564787.4443 | 1193136.9703
30 | 2564832.6383 | 1193099.5237
31 | 2564936.0367 | 1193181.9533
32 | 2564877.0927 | 1193323.799
33 | 2564861.3887 | 1193306.3042
34 | 2564916.925 | 1193310.0572
35 | 2564885.9936 | 1193348.6086
36 | 2564800.737 | 1193152.4396
37 | 2564858.6794 | 1193077.629
38 | 2564684.2195 | 1193253.9935
39 | 2564663.3788 | 1193246.419
40 | 2564648.0892 | 1193240.862
41 | 2564953.1083 | 1193151.1966
42 | 2564944.8637 | 1193141.4238
43 | 2564962.2685 | 1193162.0547
44 | 2564934.0798 | 1193128.6409
45 | 2564972.9168 | 1193174.6768
46 | 2564926.0196 | 1193119.0867
47 | 2564973.1263 | 1193174.4997
48 | 2564913.6808 | 1193104.4608
49 | 2564990.6859 | 1193159.6533
50 | 2564877.6144 | 1193061.709
51 | 2564888.5796 | 1193074.7067
52 | 2564908.4003 | 1193098.2014
53 | 2564891.5142 | 1193352.5854
54 | 2565013.4617 | 1193138.1597
55 | 2565028.384 | 1193124.0776
56 | 2564983.102 | 1193085.5909
57 | 2564972.9168 | 1193174.6768

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97558 | -0.17165 | 0.0062405 | 0.001564
1 | 0.97535 | -0.17331 | 0.0049249 | 0.0012343
2 | 0.97611 | -0.16791 | 0.0025406 | 0.00063674
3 | 0.97497 | -0.17608 | 0.0049937 | 0.0012515
4 | 0.97696 | -0.16178 | 0.0026059 | 0.00065309
5 | 0.98452 | -0.10806 | 0.0014513 | 0.00036373
6 | 0.98452 | -0.10805 | 0.0021098 | 0.00052876
7 | 0.97453 | -0.17924 | 0.0081399 | 0.0020401
8 | 0.97748 | -0.15809 | 0 | 0
9 | 0.98316 | -0.11767 | 0 | 0
10 | 0.9829 | -0.11948 | 0.0048167 | 0.0012072
11 | 0.98036 | -0.13751 | 0.0011732 | 0.00029403
12 | 0.98361 | -0.11445 | 0.0038244 | 0.00095849
13 | 0.97394 | -0.18347 | 0.0037634 | 0.0009432
14 | 1 | 0 | -0.12693 | -0.031842
15 | 0.99919 | -0.0056102 | 0.0013279 | 0.00033281
16 | 0.99987 | -0.00091743 | 0.0013848 | 0.00034705
17 | 0.97788 | -0.15519 | 0.0023362 | 0.00058552
18 | 0.97061 | -0.20743 | 0.003438 | 0.00086164
19 | 0.97081 | -0.20597 | 0 | 0
20 | 0.97045 | -0.20858 | 0.0038667 | 0.00096908
21 | 0.97115 | -0.20353 | 0 | 0
22 | 0.97103 | -0.20437 | 0.00079017 | 0.00019804
23 | 0.97147 | -0.2012 | 0.0009604 | 0.0002407
24 | 0.97102 | -0.20444 | 0.00073143 | 0.00018331
25 | 0.97206 | -0.19698 | 0 | 0
26 | 0.99984 | -0.0011457 | 0.0012988 | 0.0003255
27 | 0.99978 | -0.0015184 | 0.0015225 | 0.00038158
28 | 0.98618 | -0.096345 | 0 | 0
29 | 0.98476 | -0.10639 | 0 | 0
30 | 0.98681 | -0.091869 | 0.0024154 | 0.00060536
31 | 0.99709 | -0.020102 | 0.007074 | 0.0017729
32 | 0.97242 | -0.19435 | 0 | 0
33 | 0.97239 | -0.19461 | 0.0010431 | 0.00026143
34 | 0.97346 | -0.1869 | 0 | 0
35 | 0.97182 | -0.19867 | 0.0010289 | 0.00025788
36 | 0.98461 | -0.10742 | 0.0013607 | 0.00034103
37 | 0.98805 | -0.08319 | 0.0014155 | 0.00035475
38 | 0.97835 | -0.15189 | 0.0025642 | 0.00064264
39 | 0.97894 | -0.14766 | 0.0026082 | 0.00065367
40 | 0.97939 | -0.14441 | 0 | 0
41 | 0.99361 | -0.044302 | 0.003673 | 0.00092055
42 | 0.99305 | -0.048231 | 0.0026927 | 0.00067484
43 | 0.99426 | -0.039767 | 0.0034544 | 0.00086576
44 | 0.99233 | -0.053223 | 0.0031596 | 0.00079186
45 | 0.99505 | -0.03431 | 0 | 0
46 | 0.99182 | -0.056826 | 0.0038875 | 0.0009743
47 | 0.99504 | -0.034347 | 0.0063433 | 0.0015898
48 | 0.99106 | -0.062096 | 0.0022081 | 0.00055341
49 | 0.99481 | -0.036006 | 0 | 0
50 | 0.98896 | -0.076773 | 0 | 0
51 | 0.98959 | -0.072368 | 0.0012197 | 0.00030567
52 | 0.99075 | -0.064293 | 0.0017359 | 0.00043506
53 | 0.97178 | -0.19902 | 0.0048573 | 0.0012174
54 | 0.99449 | -0.038265 | 0.0033217 | 0.00083251
55 | 0.99437 | -0.039058 | 0.0024219 | 0.00060698
56 | 0.99426 | -0.039899 | 0.0013987 | 0.00035055
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.03863 | 0.0096863 | -0.038621 | -0.0096834 | 8.9045e-06 | 2.963e-06 | 0.058923 | 0.058923 | 0.058923 | 0.97558 | -0.17165 | 0.97535 | -0.17331 | 7.2744
1 | -0.044871 | -0.01125 | 0.044894 | 0.011258 | 2.3246e-05 | 8.0464e-06 | 0.068441 | 0.068441 | 0.068441 | 0.97558 | -0.17165 | 0.97611 | -0.16791 | 8.4495
2 | 0.033696 | 0.0084491 | -0.033684 | -0.008445 | 1.2904e-05 | 4.0846e-06 | 0.051409 | 0.05141 | 0.05141 | 0.97535 | -0.17331 | 0.97497 | -0.17608 | 6.3469
3 | -0.047435 | -0.011895 | 0.047475 | 0.011909 | 4.0361e-05 | 1.4131e-05 | 0.072314 | 0.072313 | 0.072314 | 0.97611 | -0.16791 | 0.97696 | -0.16178 | 8.9276
4 | 0.02869 | 0.0071934 | -0.028677 | -0.0071898 | 1.2587e-05 | 3.6609e-06 | 0.043788 | 0.043789 | 0.043789 | 0.97497 | -0.17608 | 0.97453 | -0.17924 | 5.406
5 | -0.050081 | -0.012562 | 0.050106 | 0.012571 | 2.5624e-05 | 9.0597e-06 | 0.076282 | 0.076282 | 0.076282 | 0.97696 | -0.16178 | 0.97748 | -0.15809 | 9.4176
6 | -0.0014513 | -0.00036373 | 0.0014513 | 0.00036372 | 1.8367e-09 | -7.0733e-09 | 0.0021935 | 0.0021935 | 0.0021935 | 0.98452 | -0.10806 | 0.98452 | -0.10805 | 0.8124
7 | -0.0035611 | -0.00089248 | 0.0035614 | 0.00089238 | 3.0883e-07 | -9.8498e-08 | 0.0053822 | 0.0053822 | 0.0053822 | 0.98452 | -0.10805 | 0.98461 | -0.10742 | 1.9934
8 | 0.020537 | 0.0051497 | -0.020525 | -0.0051461 | 1.2024e-05 | 3.6487e-06 | 0.03136 | 0.03136 | 0.03136 | 0.97453 | -0.17924 | 0.97394 | -0.18347 | 5.8074
9 | -0.050106 | -0.012571 | 0.050127 | 0.012579 | 2.0144e-05 | 7.1216e-06 | 0.076282 | 0.076282 | 0.076282 | 0.97748 | -0.15809 | 0.97788 | -0.15519 | 9.4175
10 | 0.0048179 | 0.0012072 | -0.0048167 | -0.0012072 | 1.2098e-06 | 3.0403e-09 | 0.0072918 | 0.007292 | 0.007292 | 0.98316 | -0.11767 | 0.9829 | -0.11948 | 2.7007
11 | 0.059109 | 0.014863 | -0.058946 | -0.014804 | 0.00016299 | 5.8977e-05 | 0.089479 | 0.089481 | 0.089481 | 0.98316 | -0.11767 | 0.98036 | -0.13751 | 11.047
12 | -0.063927 | -0.01607 | 0.063956 | 0.016081 | 2.8686e-05 | 1.0473e-05 | 0.096771 | 0.096771 | 0.096771 | 0.98316 | -0.11767 | 0.98361 | -0.11445 | 11.9471
13 | 0.057773 | 0.01451 | -0.057718 | -0.01449 | 5.5357e-05 | 1.9983e-05 | 0.0877 | 0.087701 | 0.087701 | 0.98036 | -0.13751 | 0.97939 | -0.14441 | 10.8272
14 | -0.06778 | -0.017039 | 0.067856 | 0.017067 | 7.6199e-05 | 2.798e-05 | 0.10256 | 0.10256 | 0.10256 | 0.98361 | -0.11445 | 0.98476 | -0.10639 | 12.6613
15 | 0.016762 | 0.0042029 | -0.016754 | -0.0042 | 7.9647e-06 | 2.8213e-06 | 0.02561 | 0.02561 | 0.02561 | 0.97394 | -0.18347 | 0.97346 | -0.1869 | 9.4853
16 | 0.12192 | 0.030788 | -0.12183 | -0.030752 | 9.6065e-05 | 3.6397e-05 | 0.1815 | 0.1815 | 0.1815 | 1 | 0 | 0.99919 | -0.0056102 | 22.4078
17 | 0.0042067 | 0.0010537 | -0.0042062 | -0.0010538 | 5.3374e-07 | -8.1077e-08 | 0.0062595 | 0.0062596 | 0.0062596 | 1 | 0 | 0.99987 | -0.00091743 | 2.3184
18 | 0.1205 | 0.030419 | -0.12025 | -0.030326 | 0.00024478 | 9.2713e-05 | 0.17953 | 0.17953 | 0.17953 | 0.99919 | -0.0056102 | 0.99709 | -0.020102 | 22.1638
19 | 0.0028214 | 0.00070672 | -0.0028214 | -0.00070679 | 8.9079e-08 | -7.1939e-08 | 0.0041988 | 0.0041988 | 0.0041988 | 0.99987 | -0.00091743 | 0.99984 | -0.0011457 | 1.5551
20 | -0.052463 | -0.013164 | 0.052487 | 0.013173 | 2.4066e-05 | 8.5725e-06 | 0.079837 | 0.079837 | 0.079837 | 0.97788 | -0.15519 | 0.97835 | -0.15189 | 9.8564
21 | -0.0073053 | -0.0018306 | 0.0073068 | 0.0018309 | 1.4716e-06 | 3.3356e-07 | 0.011199 | 0.011199 | 0.011199 | 0.97061 | -0.20743 | 0.97081 | -0.20597 | 4.1479
22 | 0.0038673 | 0.00096897 | -0.0038667 | -0.00096908 | 6.181e-07 | -1.105e-07 | 0.0059287 | 0.0059289 | 0.0059289 | 0.97061 | -0.20743 | 0.97045 | -0.20858 | 2.1959
23 | -0.0073068 | -0.0018309 | 0.0073092 | 0.0018315 | 2.4693e-06 | 5.5947e-07 | 0.011199 | 0.011199 | 0.011199 | 0.97081 | -0.20597 | 0.97115 | -0.20353 | 4.1479
24 | 0.0015218 | 0.00038066 | -0.0015216 | -0.00038123 | 1.7607e-07 | -5.7444e-07 | 0.0023315 | 0.0023317 | 0.0023317 | 0.97115 | -0.20353 | 0.97103 | -0.20437 | 0.86359
25 | -0.008831 | -0.0022122 | 0.0088339 | 0.002213 | 2.8495e-06 | 7.8723e-07 | 0.013531 | 0.013531 | 0.013531 | 0.97115 | -0.20353 | 0.97147 | -0.2012 | 5.0114
26 | 0.00073144 | 0.0001832 | -0.00073143 | -0.00018331 | 7.6785e-09 | -1.1821e-07 | 0.0011208 | 0.0011209 | 0.0011209 | 0.97103 | -0.20437 | 0.97102 | -0.20444 | 0.41513
27 | -0.0097943 | -0.0024537 | 0.0098 | 0.0024553 | 5.7199e-06 | 1.6954e-06 | 0.015002 | 0.015001 | 0.015002 | 0.97147 | -0.2012 | 0.97206 | -0.19698 | 5.5562
28 | 0.0058878 | 0.0014754 | -0.0058865 | -0.0014752 | 1.3793e-06 | 1.9328e-07 | 0.0090129 | 0.0090131 | 0.0090131 | 0.97206 | -0.19698 | 0.97182 | -0.19867 | 3.3382
29 | -0.015688 | -0.0039308 | 0.015694 | 0.0039328 | 5.7127e-06 | 2.0003e-06 | 0.024014 | 0.024014 | 0.024014 | 0.97206 | -0.19698 | 0.97242 | -0.19435 | 8.8942
30 | 0.0015226 | 0.00038129 | -0.0015225 | -0.00038158 | 7.8496e-08 | -2.911e-07 | 0.0022659 | 0.002266 | 0.002266 | 0.99984 | -0.0011457 | 0.99978 | -0.0015184 | 0.83927
31 | 0.072881 | 0.018338 | -0.072779 | -0.0183 | 0.00010199 | 3.7676e-05 | 0.10999 | 0.10999 | 0.10999 | 0.98618 | -0.096345 | 0.98476 | -0.10639 | 13.5796
32 | -0.072881 | -0.018338 | 0.072927 | 0.018355 | 4.5548e-05 | 1.6825e-05 | 0.10999 | 0.10999 | 0.10999 | 0.98618 | -0.096345 | 0.98681 | -0.091869 | 13.5795
33 | 0.0049228 | 0.0012334 | -0.0049221 | -0.0012334 | 7.0421e-07 | 1.1406e-08 | 0.0074385 | 0.0074386 | 0.0074386 | 0.98476 | -0.10639 | 0.98461 | -0.10742 | 2.755
34 | -0.075342 | -0.01896 | 0.075434 | 0.018994 | 9.1381e-05 | 3.3841e-05 | 0.11364 | 0.11364 | 0.11364 | 0.98681 | -0.091869 | 0.98805 | -0.08319 | 14.0292
35 | 0.11318 | 0.028553 | -0.11295 | -0.028468 | 0.00022514 | 8.5111e-05 | 0.16897 | 0.16897 | 0.16897 | 0.99709 | -0.020102 | 0.99505 | -0.03431 | 20.8605
36 | 0.0010431 | 0.00026115 | -0.0010431 | -0.00026143 | 3.7333e-08 | -2.7694e-07 | 0.0015961 | 0.0015962 | 0.0015962 | 0.97242 | -0.19435 | 0.97239 | -0.19461 | 0.5912
37 | -0.016737 | -0.0041939 | 0.016754 | 0.0042 | 1.7264e-05 | 6.1162e-06 | 0.02561 | 0.02561 | 0.02561 | 0.97242 | -0.19435 | 0.97346 | -0.1869 | 9.4853
38 | 0.0048575 | 0.0012174 | -0.0048573 | -0.0012174 | 2.3486e-07 | 6.032e-09 | 0.0074376 | 0.0074376 | 0.0074376 | 0.97182 | -0.19867 | 0.97178 | -0.19902 | 2.7547
39 | -0.076849 | -0.019349 | 0.076918 | 0.019374 | 6.8961e-05 | 2.5572e-05 | 0.11577 | 0.11577 | 0.11577 | 0.98805 | -0.08319 | 0.98896 | -0.076773 | 14.2923
40 | -0.055051 | -0.013815 | 0.055083 | 0.013827 | 3.234e-05 | 1.1603e-05 | 0.083737 | 0.083736 | 0.083737 | 0.97835 | -0.15189 | 0.97894 | -0.14766 | 10.3378
41 | -0.057692 | -0.014481 | 0.057718 | 0.01449 | 2.6026e-05 | 9.3961e-06 | 0.087701 | 0.087701 | 0.087701 | 0.97894 | -0.14766 | 0.97939 | -0.14441 | 10.8273
42 | 0.092199 | 0.02325 | -0.092149 | -0.023231 | 5.0741e-05 | 1.9019e-05 | 0.13813 | 0.13813 | 0.13813 | 0.99361 | -0.044302 | 0.99305 | -0.048231 | 17.0527
43 | -0.095872 | -0.024171 | 0.095933 | 0.024194 | 6.0955e-05 | 2.2892e-05 | 0.14363 | 0.14363 | 0.14363 | 0.99361 | -0.044302 | 0.99426 | -0.039767 | 17.7318
44 | 0.089456 | 0.022557 | -0.089393 | -0.022533 | 6.2548e-05 | 2.3408e-05 | 0.13409 | 0.13409 | 0.13409 | 0.99305 | -0.048231 | 0.99233 | -0.053223 | 16.5546
45 | -0.099388 | -0.02506 | 0.099464 | 0.025088 | 7.605e-05 | 2.8607e-05 | 0.1488 | 0.1488 | 0.1488 | 0.99426 | -0.039767 | 0.99505 | -0.03431 | 18.37
46 | 0.086234 | 0.021741 | -0.08619 | -0.021725 | 4.3505e-05 | 1.6248e-05 | 0.12935 | 0.12935 | 0.12935 | 0.99233 | -0.053223 | 0.99182 | -0.056826 | 15.9697
47 | 0.01349 | 0.0033798 | -0.01349 | -0.0033798 | 6.9681e-08 | 2.3236e-08 | 0.020173 | 0.020173 | 0.020173 | 0.99505 | -0.03431 | 0.99504 | -0.034347 | 7.4715
48 | 0.082303 | 0.020751 | -0.082242 | -0.020728 | 6.0729e-05 | 2.2617e-05 | 0.12352 | 0.12352 | 0.12352 | 0.99182 | -0.056826 | 0.99106 | -0.062096 | 15.2497
49 | 0.0071468 | 0.00179 | -0.0071451 | -0.0017897 | 1.6388e-06 | 3.317e-07 | 0.010687 | 0.010687 | 0.010687 | 0.99504 | -0.034347 | 0.99481 | -0.036006 | 3.9582
50 | 0.080034 | 0.020175 | -0.080009 | -0.020166 | 2.4614e-05 | 9.1503e-06 | 0.12021 | 0.12021 | 0.12021 | 0.99106 | -0.062096 | 0.99075 | -0.064293 | 14.8404
51 | 0.0071451 | 0.0017897 | -0.0071429 | -0.0017892 | 2.232e-06 | 4.5199e-07 | 0.010687 | 0.010687 | 0.010687 | 0.99481 | -0.036006 | 0.99449 | -0.038265 | 3.9583
52 | -0.076918 | -0.019374 | 0.076965 | 0.019392 | 4.7404e-05 | 1.7577e-05 | 0.11577 | 0.11577 | 0.11577 | 0.98896 | -0.076773 | 0.98959 | -0.072368 | 14.2922
53 | -0.078185 | -0.019698 | 0.078273 | 0.019731 | 8.8423e-05 | 3.2823e-05 | 0.1176 | 0.1176 | 0.1176 | 0.98959 | -0.072368 | 0.99075 | -0.064293 | 14.5186
54 | 0.0038212 | 0.00095671 | -0.0038207 | -0.00095682 | 4.1848e-07 | -1.0523e-07 | 0.0057171 | 0.0057172 | 0.0057172 | 0.99449 | -0.038265 | 0.99437 | -0.039058 | 2.1175
55 | 0.0013989 | 0.00034984 | -0.0013987 | -0.00035055 | 1.6248e-07 | -7.0832e-07 | 0.002093 | 0.0020933 | 0.0020933 | 0.99437 | -0.039058 | 0.99426 | -0.039899 | 0.7753

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1311 | 0.032887

## res_load
| p_mw | q_mvar
0 | 0.0062405 | 0.001564
1 | 0.0049249 | 0.0012343
2 | 0.0025406 | 0.00063674
3 | 0.0049937 | 0.0012515
4 | 0.0026059 | 0.00065309
5 | 0.0014513 | 0.00036373
6 | 0.0021098 | 0.00052876
7 | 0.0081399 | 0.0020401
8 | 0.0048167 | 0.0012072
9 | 0.0011732 | 0.00029403
10 | 0.0038244 | 0.00095849
11 | 0.0037634 | 0.0009432
12 | 0.0041688 | 0.0010448
13 | 0.0013279 | 0.00033281
14 | 0.0013848 | 0.00034705
15 | 0.0023362 | 0.00058552
16 | 0.003438 | 0.00086164
17 | 0.0038667 | 0.00096908
18 | 0.00079017 | 0.00019804
19 | 0.0009604 | 0.0002407
20 | 0.00073143 | 0.00018331
21 | 0.0012988 | 0.0003255
22 | 0.0015225 | 0.00038158
23 | 0.0024154 | 0.00060536
24 | 0.007074 | 0.0017729
25 | 0.0010431 | 0.00026143
26 | 0.0010289 | 0.00025788
27 | 0.0013607 | 0.00034103
28 | 0.0014155 | 0.00035475
29 | 0.0025642 | 0.00064264
30 | 0.0026082 | 0.00065367
31 | 0.003673 | 0.00092055
32 | 0.0026927 | 0.00067484
33 | 0.0034544 | 0.00086576
34 | 0.0031596 | 0.00079186
35 | 0.0038875 | 0.0009743
36 | 0.0063433 | 0.0015898
37 | 0.0022081 | 0.00055341
38 | 0.0012197 | 0.00030567
39 | 0.0017359 | 0.00043506
40 | 0.0048573 | 0.0012174
41 | 0.0033217 | 0.00083251
42 | 0.0024219 | 0.00060698
43 | 0.0013987 | 0.00035055

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1