## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2041-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2041-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2041-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2041-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2041-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2041-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2041-8_0_3_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_2041-8_0_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_2041-8_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_2041-8_0_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_2041-8_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_2041-8_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2041-8_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2041-8_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2041-8_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2041-8_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2041-8_0_3_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_2041-8_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2041-8_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_2041-8_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_2041-8_0_3_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_2041-8_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2041-8_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2041-8_0_3_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_2041-8_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_2041-8_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_2041-8_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_2041-8_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2041-8_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2041-8_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2041-8_0_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_2041-8_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2041-8_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2041-8_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2041-8_0_3_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_2041-8_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2041-8_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2041-8_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2041-8_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2041-8_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_2041-8_0_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_2041-8_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_2041-8_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2041-8_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2041-8_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2041-8_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2041-8_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2041-8_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2041-8_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2041-8_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_2041-8_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_2041-8_0_3_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_2041-8_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_MV_377_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2041-8_0_3_load_0 | 0 | 0.0033333 | 0.0008354 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2041-8_0_3_load_1 | 1 | 0.001116 | 0.0002797 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2041-8_0_3_load_3 | 3 | 0.00064998 | 0.0001629 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2041-8_0_3_load_4 | 4 | 0.0013714 | 0.00034371 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2041-8_0_3_load_35 | 6 | 0.0030865 | 0.00077356 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2041-8_0_3_load_20 | 7 | 0.0015131 | 0.00037922 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2041-8_0_3_load_33 | 9 | 0.0023041 | 0.00057747 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2041-8_0_3_load_18 | 10 | 0.0045331 | 0.0011361 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2041-8_0_3_load_14 | 11 | 0.0019507 | 0.0004889 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2041-8_0_3_load_6 | 12 | 0.0029733 | 0.00074517 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2041-8_0_3_load_7 | 13 | 0.005345 | 0.0013396 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2041-8_0_3_load_10 | 15 | 0.0071598 | 0.0017944 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2041-8_0_3_load_32 | 16 | 0.0031503 | 0.00078955 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2041-8_0_3_load_13 | 17 | 0.0037502 | 0.0009399 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2041-8_0_3_load_25 | 18 | 0.0038986 | 0.00097708 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2041-8_0_3_load_24 | 19 | 0.0013684 | 0.00034295 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2041-8_0_3_load_26 | 20 | 0.0043969 | 0.001102 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2041-8_0_3_load_11 | 21 | 0.0059869 | 0.0015005 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2041-8_0_3_load_12 | 22 | 0.0017832 | 0.00044691 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2041-8_0_3_load_49 | 23 | 0.0018118 | 0.00045408 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2041-8_0_3_load_50 | 24 | 0.0040373 | 0.0010118 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2041-8_0_3_load_15 | 27 | 0.0053875 | 0.0013502 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2041-8_0_3_load_17 | 28 | 0.00083458 | 0.00020917 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2041-8_0_3_load_19 | 29 | 0.00083576 | 0.00020946 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2041-8_0_3_load_34 | 30 | 0.0017176 | 0.00043048 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2041-8_0_3_load_21 | 31 | 0.0016664 | 0.00041763 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2041-8_0_3_load_22 | 32 | 0.0010497 | 0.00026309 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2041-8_0_3_load_23 | 33 | 0.0019334 | 0.00048455 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2041-8_0_3_load_52 | 34 | 0.0019907 | 0.00049891 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2041-8_0_3_load_29 | 36 | 0.00085882 | 0.00021524 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2041-8_0_3_load_30 | 37 | 0.0073013 | 0.0018299 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2041-8_0_3_load_31 | 38 | 0.0053833 | 0.0013492 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2041-8_0_3_load_48 | 40 | 0.0023942 | 0.00060004 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2041-8_0_3_load_36 | 41 | 0.0013996 | 0.00035077 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2041-8_0_3_load_40 | 45 | 0.0013996 | 0.00035076 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2041-8_0_3_load_41 | 46 | 0.0013641 | 0.00034187 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2041-8_0_3_load_44 | 48 | 0.00086568 | 0.00021696 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2041-8_0_3_load_45 | 49 | 0.00135 | 0.00033835 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2041-8_0_3_load_46 | 50 | 0.011921 | 0.0029878 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2041-8_0_3_load_53 | 52 | 0.0022363 | 0.00056048 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2041-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2041-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2041-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0083748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2041-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.032295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2041-8_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.02228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2041-8_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0036558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2041-8_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.040601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2041-8_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.028169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2041-8_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.023756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2041-8_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.016027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2041-8_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.02169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2041-8_0_3_line_11 | NAYY 4x150 SE | 9 | 30 | 0.0029745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2041-8_0_3_line_12 | NAYY 4x150 SE | 11 | 27 | 0.010796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2041-8_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.028811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2041-8_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.038511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2041-8_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.028432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2041-8_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.047031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2041-8_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.03956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2041-8_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0054549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2041-8_0_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.0016635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2041-8_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.013966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2041-8_0_3_line_21 | NAYY 4x150 SE | 19 | 32 | 0.0036049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2041-8_0_3_line_22 | NAYY 4x150 SE | 20 | 26 | 0.034668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2041-8_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0061937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2041-8_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.043697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_2041-8_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.01281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2041-8_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.025943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_2041-8_0_3_line_27 | NAYY 4x150 SE | 24 | 51 | 0.02003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2041-8_0_3_line_28 | NAYY 4x150 SE | 25 | 34 | 0.013205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_2041-8_0_3_line_29 | NAYY 4x150 SE | 25 | 44 | 0.035313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2041-8_0_3_line_30 | NAYY 4x150 SE | 26 | 35 | 0.024564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2041-8_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0090992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2041-8_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.00067205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2041-8_0_3_line_33 | NAYY 4x150 SE | 30 | 36 | 0.027016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2041-8_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.020295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2041-8_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.00084283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2041-8_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.057666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2041-8_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.029075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2041-8_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.013374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2041-8_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.03517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2041-8_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.021611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2041-8_0_3_line_41 | NAYY 4x150 SE | 40 | 51 | 0.016462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2041-8_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.032839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2041-8_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.00095118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2041-8_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.019455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2041-8_0_3_line_45 | NAYY 4x150 SE | 42 | 45 | 0.011996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2041-8_0_3_line_46 | NAYY 4x150 SE | 43 | 46 | 0.012508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2041-8_0_3_line_47 | NAYY 4x150 SE | 43 | 47 | 0.041244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2041-8_0_3_line_48 | NAYY 4x150 SE | 44 | 48 | 0.011845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2041-8_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.031381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2041-8_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.016627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2041-8_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.022618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2041-8_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 53 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2565091.6249 | 1192883.4118 | 2565102.1669 | 1192888.3129
1 | 2565069.1693 | 1192901.3974 | 2565091.6249 | 1192883.4118 | 2565091.6249 | 1192883.4118
2 | 2565109.7611 | 1192891.8436 | 2565102.1669 | 1192888.3129
3 | 2565069.1693 | 1192901.3974 | 2565044.1816 | 1192880.9386
4 | 2565069.1693 | 1192901.3974 | 2565085.7884 | 1192916.286
5 | 2565044.1816 | 1192880.9386 | 2565041.3529 | 1192878.6227
6 | 2565085.7884 | 1192916.286 | 2565116.0278 | 1192943.3785
7 | 2565065.6374 | 1192936.0258 | 2565085.7884 | 1192916.286
8 | 2565133.7215 | 1192959.231 | 2565116.0278 | 1192943.3785
9 | 2565065.6374 | 1192936.0258 | 2565054.4933 | 1192926.7638 | 2565053.2811 | 1192925.8204
10 | 2565065.6374 | 1192936.0258 | 2565081.6733 | 1192950.6316
11 | 2565135.9369 | 1192961.2158 | 2565133.7215 | 1192959.231
12 | 2565081.6733 | 1192950.6316 | 2565089.6544 | 1192957.901
13 | 2565133.0923 | 1193121.6045 | 2565135.367 | 1193128.4669 | 2565139.6431 | 1193149.6207
14 | 2565120.975 | 1193085.0496 | 2565133.0923 | 1193121.6045
15 | 2565120.975 | 1193085.0496 | 2565141.5116 | 1193065.3863
16 | 2565120.975 | 1193085.0496 | 2565074.127 | 1193080.9099
17 | 2565170.3683 | 1193038.3285 | 2565155.3091 | 1193052.1756 | 2565141.5116 | 1193065.3863
18 | 2565070.1597 | 1193084.6538 | 2565074.127 | 1193080.9099
19 | 2565170.3683 | 1193038.3285 | 2565171.5927 | 1193037.2025
20 | 2565070.1597 | 1193084.6538 | 2565060.0028 | 1193094.2389
21 | 2565057.381 | 1193096.7131 | 2565060.0028 | 1193094.2389
22 | 2565197.1492 | 1193013.7772 | 2565190.8868 | 1193019.4613 | 2565171.5927 | 1193037.2025
23 | 2565070.52 | 1193025.0667 | 2565074.5464 | 1193029.773
24 | 2565026.9822 | 1193028.7915 | 2565070.52 | 1193025.0667
25 | 2565026.9822 | 1193028.7915 | 2565018.0567 | 1193019.6028
26 | 2565007.7096 | 1193046.1584 | 2565026.9822 | 1193028.7915
27 | 2565004.1007 | 1193005.2351 | 2565018.0567 | 1193019.6028
28 | 2565016.5854 | 1193055.9561 | 2565007.7096 | 1193046.1584
29 | 2565007.7096 | 1193046.1584 | 2564981.4394 | 1193069.8365
30 | 2565197.1492 | 1193013.7772 | 2565178.489 | 1192997.7441
31 | 2565096.3815 | 1192964.0281 | 2565089.6544 | 1192957.901
32 | 2565096.3815 | 1192964.0281 | 2565096.8783 | 1192964.4806
33 | 2565135.9369 | 1192961.2158 | 2565154.2331 | 1192977.6081 | 2565156.1183 | 1192979.1731
34 | 2565042.6207 | 1193110.6424 | 2565057.381 | 1193096.7131
35 | 2565042.6207 | 1193110.6424 | 2565042.0077 | 1193111.2209
36 | 2565016.5854 | 1193055.9561 | 2565057.381 | 1193096.7131
37 | 2565178.489 | 1192997.7441 | 2565156.1183 | 1192979.1731
38 | 2565017.4501 | 1192967.5314 | 2565013.0692 | 1192963.282 | 2565009.4175 | 1192960.5352 | 2565007.0019 | 1192959.3265
39 | 2564978.1071 | 1192977.417 | 2564997.3219 | 1192961.8736 | 2565001.7433 | 1192959.4018 | 2565004.3234 | 1192958.7752 | 2565007.0019 | 1192959.3265 | 2565007.0019 | 1192959.3265
40 | 2564978.1071 | 1192977.417 | 2564992.8617 | 1192993.2073
41 | 2565004.1007 | 1193005.2351 | 2564992.8617 | 1192993.2073
42 | 2564968.0185 | 1193055.7187 | 2564945.3904 | 1193031.9204
43 | 2564944.735 | 1193031.2311 | 2564945.3904 | 1193031.9204
44 | 2564968.0185 | 1193055.7187 | 2564981.4394 | 1193069.8365
45 | 2564959.0566 | 1193063.7202 | 2564968.0185 | 1193055.7187
46 | 2564935.6088 | 1193039.8116 | 2564944.735 | 1193031.2311
47 | 2564915.0432 | 1193030.3718 | 2564928.1607 | 1193018.7884 | 2564930.7387 | 1193016.5164 | 2564944.735 | 1193031.2311
48 | 2564981.4394 | 1193069.8365 | 2564989.6069 | 1193078.4155
49 | 2564915.0432 | 1193030.3718 | 2564891.5893 | 1193009.523
50 | 2564879.1627 | 1192998.4767 | 2564891.5893 | 1193009.523
51 | 2565004.1007 | 1193005.2351 | 2565020.0272 | 1192989.1758

## bus_geodata
| x | y | coords
0 | 2565091.6249 | 1192883.4118
1 | 2565102.1669 | 1192888.3129
2 | 2565069.1693 | 1192901.3974
3 | 2565109.7611 | 1192891.8436
4 | 2565044.1816 | 1192880.9386
5 | 2565085.7884 | 1192916.286
6 | 2565041.3529 | 1192878.6227
7 | 2565116.0278 | 1192943.3785
8 | 2565065.6374 | 1192936.0258
9 | 2565133.7215 | 1192959.231
10 | 2565053.2811 | 1192925.8204
11 | 2565081.6733 | 1192950.6316
12 | 2565133.0923 | 1193121.6045
13 | 2565139.6432 | 1193149.6207
14 | 2565120.975 | 1193085.0496
15 | 2565141.5116 | 1193065.3863
16 | 2565074.127 | 1193080.9099
17 | 2565170.3683 | 1193038.3285
18 | 2565070.1597 | 1193084.6538
19 | 2565060.0028 | 1193094.2389
20 | 2565171.5927 | 1193037.2025
21 | 2565074.5465 | 1193029.773
22 | 2565070.52 | 1193025.0667
23 | 2565026.9822 | 1193028.7915
24 | 2565018.0567 | 1193019.6028
25 | 2565007.7096 | 1193046.1584
26 | 2565197.1492 | 1193013.7772
27 | 2565089.6544 | 1192957.901
28 | 2565096.3815 | 1192964.0281
29 | 2565096.8783 | 1192964.4806
30 | 2565135.9369 | 1192961.2158
31 | 2565042.6207 | 1193110.6424
32 | 2565057.381 | 1193096.7131
33 | 2565042.0077 | 1193111.2209
34 | 2565016.5854 | 1193055.9561
35 | 2565178.489 | 1192997.7441
36 | 2565156.1183 | 1192979.1731
37 | 2565017.4501 | 1192967.5314
38 | 2565007.0019 | 1192959.3265
39 | 2564978.1071 | 1192977.417
40 | 2564992.8617 | 1192993.2073
41 | 2564945.3904 | 1193031.9204
42 | 2564968.0185 | 1193055.7187
43 | 2564944.735 | 1193031.2311
44 | 2564981.4394 | 1193069.8365
45 | 2564959.0566 | 1193063.7202
46 | 2564935.6088 | 1193039.8116
47 | 2564915.0432 | 1193030.3718
48 | 2564989.6069 | 1193078.4155
49 | 2564891.5893 | 1193009.523
50 | 2564879.1627 | 1192998.4767
51 | 2565004.1007 | 1193005.2351
52 | 2565020.0272 | 1192989.1758
53 | 2565120.975 | 1193085.0496

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97107 | -0.20378 | 0.0033333 | 0.0008354
1 | 0.97104 | -0.204 | 0.001116 | 0.0002797
2 | 0.97129 | -0.20223 | 0 | 0
3 | 0.97103 | -0.20406 | 0.00064998 | 0.0001629
4 | 0.97107 | -0.20375 | 0.0013714 | 0.00034371
5 | 0.9716 | -0.19997 | 0 | 0
6 | 0.97106 | -0.20387 | 0.0030865 | 0.00077356
7 | 0.97297 | -0.19007 | 0.0015131 | 0.00037922
8 | 0.97104 | -0.20401 | 0 | 0
9 | 0.97383 | -0.1839 | 0.0023041 | 0.00057747
10 | 0.97093 | -0.20478 | 0.0045331 | 0.0011361
11 | 0.97075 | -0.20608 | 0.0019507 | 0.0004889
12 | 0.98257 | -0.12171 | 0.0029733 | 0.00074517
13 | 0.98235 | -0.1233 | 0.005345 | 0.0013396
14 | 0.98303 | -0.1184 | 0 | 0
15 | 0.98117 | -0.13159 | 0.0071598 | 0.0017944
16 | 0.98668 | -0.092667 | 0.0031503 | 0.00078955
17 | 0.97899 | -0.14707 | 0.0037502 | 0.0009399
18 | 0.98713 | -0.089519 | 0.0038986 | 0.00097708
19 | 0.98836 | -0.080916 | 0.0013684 | 0.00034295
20 | 0.97891 | -0.14766 | 0.0043969 | 0.001102
21 | 0.99995 | -0.00037012 | 0.0059869 | 0.0015005
22 | 1 | 0 | -0.11814 | -0.029625
23 | 0.99653 | -0.024014 | 0.0018118 | 0.00045408
24 | 0.99614 | -0.026766 | 0.0040373 | 0.0010118
25 | 0.9949 | -0.035317 | 0 | 0
26 | 0.97741 | -0.15834 | 0 | 0
27 | 0.97064 | -0.20689 | 0.0053875 | 0.0013502
28 | 0.97062 | -0.20705 | 0.00083458 | 0.00020917
29 | 0.97062 | -0.20706 | 0.00083576 | 0.00020946
30 | 0.97395 | -0.18306 | 0.0017176 | 0.00043048
31 | 0.98858 | -0.079394 | 0.0016664 | 0.00041763
32 | 0.98868 | -0.078648 | 0.0010497 | 0.00026309
33 | 0.98857 | -0.079411 | 0.0019334 | 0.00048455
34 | 0.99424 | -0.039863 | 0.0019907 | 0.00049891
35 | 0.97634 | -0.16592 | 0 | 0
36 | 0.97509 | -0.17492 | 0.00085882 | 0.00021524
37 | 0.99411 | -0.041012 | 0.0073013 | 0.0018299
38 | 0.99425 | -0.040026 | 0.0053833 | 0.0013492
39 | 0.99489 | -0.035524 | 0 | 0
40 | 0.99529 | -0.03276 | 0.0023942 | 0.00060004
41 | 0.99273 | -0.05061 | 0.0013996 | 0.00035077
42 | 0.99348 | -0.045277 | 0 | 0
43 | 0.99271 | -0.050751 | 0 | 0
44 | 0.99397 | -0.041846 | 0 | 0
45 | 0.99346 | -0.045447 | 0.0013996 | 0.00035076
46 | 0.99268 | -0.050924 | 0.0013641 | 0.00034187
47 | 0.99192 | -0.056301 | 0 | 0
48 | 0.99396 | -0.04195 | 0.00086568 | 0.00021696
49 | 0.99132 | -0.060529 | 0.00135 | 0.00033835
50 | 0.99104 | -0.062543 | 0.011921 | 0.0029878
51 | 0.99564 | -0.030258 | 0 | 0
52 | 0.99557 | -0.030768 | 0.0022363 | 0.00056048
53 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0017661 | 0.00044238 | -0.001766 | -0.0004425 | 5.3127e-08 | -1.2338e-07 | 0.0027061 | 0.0027062 | 0.0027062 | 0.97107 | -0.20378 | 0.97104 | -0.204 | 1.0023
1 | -0.0050993 | -0.0012778 | 0.0051004 | 0.0012778 | 1.0961e-06 | 6.5579e-08 | 0.0078139 | 0.0078137 | 0.0078139 | 0.97107 | -0.20378 | 0.97129 | -0.20223 | 2.894
2 | 0.00064999 | 0.0001628 | -0.00064998 | -0.0001629 | 5.1843e-09 | -1.0161e-07 | 0.000996 | 0.00099603 | 0.00099603 | 0.97104 | -0.204 | 0.97103 | -0.20406 | 0.3689
3 | 0.0044589 | 0.0011172 | -0.004458 | -0.0011172 | 9.4036e-07 | -3.7936e-08 | 0.006831 | 0.0068312 | 0.0068312 | 0.97129 | -0.20223 | 0.97107 | -0.20375 | 2.5301
4 | -0.0095594 | -0.002395 | 0.0095624 | 0.0023959 | 2.9817e-06 | 8.7096e-07 | 0.014645 | 0.014645 | 0.014645 | 0.97129 | -0.20223 | 0.9716 | -0.19997 | 5.424
5 | 0.0030866 | 0.00077353 | -0.0030865 | -0.00077356 | 5.1031e-08 | -2.5599e-08 | 0.0047297 | 0.0047297 | 0.0047297 | 0.97107 | -0.20375 | 0.97106 | -0.20387 | 1.7517
6 | -0.023115 | -0.0057931 | 0.023147 | 0.0058048 | 3.1751e-05 | 1.1709e-05 | 0.035402 | 0.035401 | 0.035402 | 0.9716 | -0.19997 | 0.97297 | -0.19007 | 13.1117
7 | 0.013553 | 0.0033972 | -0.013546 | -0.0033946 | 7.5733e-06 | 2.5641e-06 | 0.020757 | 0.020757 | 0.020757 | 0.9716 | -0.19997 | 0.97104 | -0.20401 | 7.6878
8 | -0.02466 | -0.006184 | 0.024681 | 0.0061919 | 2.1086e-05 | 7.8149e-06 | 0.037715 | 0.037715 | 0.037715 | 0.97297 | -0.19007 | 0.97383 | -0.1839 | 13.9687
9 | 0.0045336 | 0.0011361 | -0.0045331 | -0.0011361 | 4.8267e-07 | -1.2592e-08 | 0.0069472 | 0.0069473 | 0.0069473 | 0.97104 | -0.20401 | 0.97093 | -0.20478 | 2.5731
10 | 0.0090119 | 0.0022585 | -0.0090094 | -0.0022578 | 2.5813e-06 | 7.2456e-07 | 0.01381 | 0.01381 | 0.01381 | 0.97104 | -0.20401 | 0.97075 | -0.20608 | 5.1148
11 | -0.026986 | -0.0067693 | 0.026989 | 0.0067705 | 3.1561e-06 | 1.1769e-06 | 0.041236 | 0.041236 | 0.041236 | 0.97383 | -0.1839 | 0.97395 | -0.18306 | 15.2726
12 | 0.0070586 | 0.0017689 | -0.0070578 | -0.0017687 | 7.8862e-07 | 1.6986e-07 | 0.01082 | 0.01082 | 0.01082 | 0.97075 | -0.20608 | 0.97064 | -0.20689 | 4.0073
13 | 0.0053462 | 0.0013397 | -0.005345 | -0.0013396 | 1.1785e-06 | 8.8424e-08 | 0.0080963 | 0.0080964 | 0.0080964 | 0.98257 | -0.12171 | 0.98235 | -0.1233 | 2.9987
14 | -0.0083194 | -0.0020848 | 0.0083233 | 0.0020858 | 3.8145e-06 | 9.791e-07 | 0.012599 | 0.012599 | 0.012599 | 0.98257 | -0.12171 | 0.98303 | -0.1184 | 4.6663
15 | 0.045184 | 0.01137 | -0.045101 | -0.011339 | 8.3036e-05 | 3.1577e-05 | 0.068412 | 0.068412 | 0.068412 | 0.98303 | -0.1184 | 0.98117 | -0.13159 | 25.3379
16 | -0.053508 | -0.013456 | 0.0537 | 0.01353 | 0.0001926 | 7.3477e-05 | 0.081011 | 0.081011 | 0.081011 | 0.98303 | -0.1184 | 0.98668 | -0.092667 | 30.004
17 | 0.037942 | 0.0095444 | -0.03786 | -0.0095134 | 8.177e-05 | 3.0951e-05 | 0.057554 | 0.057554 | 0.057554 | 0.98117 | -0.13159 | 0.97899 | -0.14707 | 21.3163
18 | -0.056851 | -0.014319 | 0.056876 | 0.014329 | 2.5036e-05 | 9.5594e-06 | 0.085762 | 0.085762 | 0.085762 | 0.98668 | -0.092667 | 0.98713 | -0.089519 | 31.7636
19 | 0.03411 | 0.0085735 | -0.034107 | -0.0085725 | 2.791e-06 | 1.0525e-06 | 0.051854 | 0.051854 | 0.051854 | 0.97899 | -0.14707 | 0.97891 | -0.14766 | 19.2052
20 | -0.060774 | -0.015306 | 0.060847 | 0.015334 | 7.3181e-05 | 2.7968e-05 | 0.091638 | 0.091638 | 0.091638 | 0.98713 | -0.089519 | 0.98836 | -0.080916 | 33.9402
21 | -0.062216 | -0.015677 | 0.062236 | 0.015684 | 1.9749e-05 | 7.5495e-06 | 0.093699 | 0.093699 | 0.093699 | 0.98836 | -0.080916 | 0.98868 | -0.078648 | 34.7032
22 | 0.02971 | 0.0074705 | -0.029666 | -0.007454 | 4.4139e-05 | 1.6541e-05 | 0.04517 | 0.045171 | 0.045171 | 0.97891 | -0.14766 | 0.97741 | -0.15834 | 16.7298
23 | -0.0059869 | -0.0015005 | 0.0059872 | 0.0015005 | 3.0676e-07 | 3.6732e-08 | 0.0089091 | 0.0089091 | 0.0089091 | 0.99995 | -0.00037012 | 1 | 0 | 3.2997
24 | 0.11136 | 0.028124 | -0.11098 | -0.027981 | 0.00037468 | 0.00014296 | 0.16578 | 0.16578 | 0.16578 | 1 | 0 | 0.99653 | -0.024014 | 30.6997
25 | 0.021388 | 0.0053633 | -0.02138 | -0.0053603 | 8.1536e-06 | 2.9692e-06 | 0.031938 | 0.031938 | 0.031938 | 0.99653 | -0.024014 | 0.99614 | -0.026766 | 11.8288
26 | 0.087783 | 0.022164 | -0.087644 | -0.022111 | 0.00013919 | 5.2861e-05 | 0.13114 | 0.13114 | 0.13114 | 0.99653 | -0.024014 | 0.9949 | -0.035317 | 24.2843
27 | 0.017343 | 0.0043485 | -0.017334 | -0.0043455 | 8.3888e-06 | 2.9658e-06 | 0.025907 | 0.025907 | 0.025907 | 0.99614 | -0.026766 | 0.99564 | -0.030258 | 9.5952
28 | 0.069285 | 0.017505 | -0.069241 | -0.017488 | 4.4284e-05 | 1.669e-05 | 0.10368 | 0.10368 | 0.10368 | 0.9949 | -0.035317 | 0.99424 | -0.039863 | 19.1992
29 | 0.018359 | 0.0046062 | -0.018342 | -0.0046003 | 1.6616e-05 | 5.9325e-06 | 0.02746 | 0.02746 | 0.02746 | 0.9949 | -0.035317 | 0.99397 | -0.041846 | 10.1704
30 | 0.029666 | 0.007454 | -0.029635 | -0.0074422 | 3.1275e-05 | 1.1721e-05 | 0.045171 | 0.045171 | 0.045171 | 0.97741 | -0.15834 | 0.97634 | -0.16592 | 16.7299
31 | 0.0016704 | 0.00041852 | -0.0016703 | -0.00041862 | 3.7231e-08 | -9.8145e-08 | 0.0025607 | 0.0025607 | 0.0025607 | 0.97064 | -0.20689 | 0.97062 | -0.20705 | 0.94842
32 | 0.00083576 | 0.00020945 | -0.00083576 | -0.00020946 | 6.8843e-10 | -8.0415e-09 | 0.0012813 | 0.0012813 | 0.0012813 | 0.97062 | -0.20705 | 0.97062 | -0.20706 | 0.47454
33 | -0.028706 | -0.007201 | 0.028739 | 0.0072131 | 3.2429e-05 | 1.2136e-05 | 0.04386 | 0.04386 | 0.04386 | 0.97395 | -0.18306 | 0.97509 | -0.17492 | 16.2446
34 | -0.0035997 | -0.00090217 | 0.0036001 | 0.00090205 | 3.7179e-07 | -1.1724e-07 | 0.0054183 | 0.0054182 | 0.0054183 | 0.98858 | -0.079394 | 0.98868 | -0.078648 | 2.0068
35 | 0.0019334 | 0.00048454 | -0.0019334 | -0.00048455 | 4.4541e-09 | -9.093e-09 | 0.0029101 | 0.0029101 | 0.0029101 | 0.98858 | -0.079394 | 0.98857 | -0.079411 | 1.0778
36 | -0.066885 | -0.016849 | 0.06725 | 0.016989 | 0.00036487 | 0.00013959 | 0.1007 | 0.1007 | 0.1007 | 0.98868 | -0.078648 | 0.99424 | -0.039863 | 37.2951
37 | 0.029635 | 0.0074422 | -0.029598 | -0.0074284 | 3.7018e-05 | 1.3875e-05 | 0.045171 | 0.045171 | 0.045171 | 0.97634 | -0.16592 | 0.97509 | -0.17492 | 16.7299
38 | -0.0073013 | -0.0018299 | 0.0073023 | 0.0018301 | 9.9675e-07 | 2.0995e-07 | 0.010929 | 0.010929 | 0.010929 | 0.99411 | -0.041012 | 0.99425 | -0.040026 | 4.0477
39 | -0.012686 | -0.0031793 | 0.012694 | 0.0031819 | 7.9104e-06 | 2.586e-06 | 0.018986 | 0.018985 | 0.018986 | 0.99425 | -0.040026 | 0.99489 | -0.035524 | 7.0317
40 | -0.012694 | -0.0031819 | 0.012698 | 0.0031835 | 4.8607e-06 | 1.5887e-06 | 0.018985 | 0.018985 | 0.018985 | 0.99489 | -0.035524 | 0.99529 | -0.03276 | 7.0316
41 | -0.015093 | -0.0037835 | 0.015098 | 0.0037853 | 5.2302e-06 | 1.7976e-06 | 0.022565 | 0.022565 | 0.022565 | 0.99529 | -0.03276 | 0.99564 | -0.030258 | 8.3573
42 | -0.016057 | -0.0040257 | 0.016068 | 0.0040299 | 1.187e-05 | 4.1405e-06 | 0.024068 | 0.024068 | 0.024068 | 0.99273 | -0.05061 | 0.99348 | -0.045277 | 8.9141
43 | 0.014657 | 0.003675 | -0.014657 | -0.0036749 | 2.8649e-07 | 9.7892e-08 | 0.02197 | 0.02197 | 0.02197 | 0.99273 | -0.05061 | 0.99271 | -0.050751 | 8.1371
44 | -0.017468 | -0.0043805 | 0.017476 | 0.0043834 | 8.3105e-06 | 2.9443e-06 | 0.026164 | 0.026164 | 0.026164 | 0.99348 | -0.045277 | 0.99397 | -0.041846 | 9.6904
45 | 0.0013996 | 0.00035062 | -0.0013996 | -0.00035076 | 3.2894e-08 | -1.4268e-07 | 0.0020962 | 0.0020963 | 0.0020963 | 0.99348 | -0.045277 | 0.99346 | -0.045447 | 0.7764
46 | 0.0013641 | 0.00034172 | -0.0013641 | -0.00034187 | 3.2632e-08 | -1.4916e-07 | 0.0020447 | 0.0020447 | 0.0020447 | 0.99271 | -0.050751 | 0.99268 | -0.050924 | 0.75731
47 | 0.013293 | 0.0033331 | -0.013282 | -0.0033298 | 1.0218e-05 | 3.3972e-06 | 0.019926 | 0.019926 | 0.019926 | 0.99271 | -0.050751 | 0.99192 | -0.056301 | 7.3799
48 | 0.00086569 | 0.00021681 | -0.00086568 | -0.00021696 | 1.2414e-08 | -1.4875e-07 | 0.0012959 | 0.001296 | 0.001296 | 0.99397 | -0.041846 | 0.99396 | -0.04195 | 0.47999
49 | 0.013282 | 0.0033298 | -0.013275 | -0.0033272 | 7.7747e-06 | 2.5854e-06 | 0.019926 | 0.019926 | 0.019926 | 0.99192 | -0.056301 | 0.99132 | -0.060529 | 7.38
50 | 0.011925 | 0.0029888 | -0.011921 | -0.0029878 | 3.324e-06 | 1.0642e-06 | 0.017899 | 0.0179 | 0.0179 | 0.99132 | -0.060529 | 0.99104 | -0.062543 | 6.6294
51 | 0.0022365 | 0.00056024 | -0.0022363 | -0.00056048 | 1.5767e-07 | -2.3348e-07 | 0.0033424 | 0.0033425 | 0.0033425 | 0.99564 | -0.030258 | 0.99557 | -0.030768 | 1.238

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11993 | 0.030071

## res_load
| p_mw | q_mvar
0 | 0.0033333 | 0.0008354
1 | 0.001116 | 0.0002797
2 | 0.00064998 | 0.0001629
3 | 0.0013714 | 0.00034371
4 | 0.0030865 | 0.00077356
5 | 0.0015131 | 0.00037922
6 | 0.0023041 | 0.00057747
7 | 0.0045331 | 0.0011361
8 | 0.0019507 | 0.0004889
9 | 0.0029733 | 0.00074517
10 | 0.005345 | 0.0013396
11 | 0.0071598 | 0.0017944
12 | 0.0031503 | 0.00078955
13 | 0.0037502 | 0.0009399
14 | 0.0038986 | 0.00097708
15 | 0.0013684 | 0.00034295
16 | 0.0043969 | 0.001102
17 | 0.0059869 | 0.0015005
18 | 0.0017832 | 0.00044691
19 | 0.0018118 | 0.00045408
20 | 0.0040373 | 0.0010118
21 | 0.0053875 | 0.0013502
22 | 0.00083458 | 0.00020917
23 | 0.00083576 | 0.00020946
24 | 0.0017176 | 0.00043048
25 | 0.0016664 | 0.00041763
26 | 0.0010497 | 0.00026309
27 | 0.0019334 | 0.00048455
28 | 0.0019907 | 0.00049891
29 | 0.00085882 | 0.00021524
30 | 0.0073013 | 0.0018299
31 | 0.0053833 | 0.0013492
32 | 0.0023942 | 0.00060004
33 | 0.0013996 | 0.00035077
34 | 0.0013996 | 0.00035076
35 | 0.0013641 | 0.00034187
36 | 0.00086568 | 0.00021696
37 | 0.00135 | 0.00033835
38 | 0.011921 | 0.0029878
39 | 0.0022363 | 0.00056048

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1