## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2044-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2044-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2044-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2044-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2044-2_0_2_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_2044-2_0_2_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_2044-2_0_2_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_2044-2_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2044-2_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2044-2_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2044-2_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2044-2_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2044-2_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2044-2_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2044-2_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2044-2_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_2044-2_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2044-2_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2044-2_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_2044-2_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2044-2_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2044-2_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2044-2_0_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_2044-2_0_2_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_2044-2_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_2044-2_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2044-2_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_2044-2_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2044-2_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_2044-2_0_2_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_2044-2_0_2_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_2044-2_0_2_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_2044-2_0_2_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_2044-2_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_2044-2_0_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_2044-2_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2044-2_0_2_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_2044-2_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_2044-2_0_2_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2044-2_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2044-2_0_2_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2044-2_0_2_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_2044-2_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_2044-2_0_2_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_2044-2_0_2_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_2044-2_0_2_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2044-2_0_2_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_2044-2_0_2_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_2044-2_0_2_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2044-2_0_2_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_2044-2_0_2_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_2044-2_0_2_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_2044-2_0_2_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2044-2_0_2_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_2044-2_0_2_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_2044-2_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_2044-2_0_2_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_2044-2_0_2_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_2044-2_0_2_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_2044-2_0_2_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_2044-2_0_2_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_2044-2_0_2_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_2044-2_0_2_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_2044-2_0_2_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_2044-2_0_2_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_2044-2_0_2_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_2044-2_0_2_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_2044-2_0_2_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_2044-2_0_2_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_2044-2_0_2_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_2044-2_0_2_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_2044-2_0_2_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_2044-2_0_2_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_2044-2_0_2_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_2044-2_0_2_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_2044-2_0_2_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_2044-2_0_2_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_2044-2_0_2_node_75 | 0.4 | n |  | TRUE
78 | bus_MV_478_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2044-2_0_2_load_0 | 0 | 0.0005307 | 0.00013301 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2044-2_0_2_load_2 | 2 | 0.00091265 | 0.00022873 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2044-2_0_2_load_3 | 3 | 0.0037828 | 0.00094806 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2044-2_0_2_load_17 | 5 | 0.007048 | 0.0017664 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2044-2_0_2_load_4 | 7 | 0.0064946 | 0.0016277 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2044-2_0_2_load_5 | 8 | 0.00281 | 0.00070426 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2044-2_0_2_load_6 | 9 | 0.0014481 | 0.00036292 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2044-2_0_2_load_8 | 11 | 0.0012607 | 0.00031596 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2044-2_0_2_load_9 | 12 | 0.010571 | 0.0026494 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2044-2_0_2_load_13 | 13 | 0.0015735 | 0.00039435 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2044-2_0_2_load_10 | 14 | 0.0018704 | 0.00046876 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2044-2_0_2_load_15 | 15 | 0.0021867 | 0.00054804 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2044-2_0_2_load_11 | 16 | 0.0051609 | 0.0012935 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2044-2_0_2_load_18 | 17 | 0.0021239 | 0.00053229 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2044-2_0_2_load_12 | 19 | 0.0015352 | 0.00038476 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2044-2_0_2_load_21 | 20 | 0.0048782 | 0.0012226 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2044-2_0_2_load_19 | 21 | 0.0012738 | 0.00031923 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2044-2_0_2_load_27 | 22 | 0.0013581 | 0.00034036 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2044-2_0_2_load_28 | 23 | 0.00061357 | 0.00015378 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2044-2_0_2_load_23 | 25 | 0.0014933 | 0.00037426 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2044-2_0_2_load_24 | 26 | 0.0069078 | 0.0017313 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2044-2_0_2_load_25 | 27 | 0.0015705 | 0.0003936 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2044-2_0_2_load_26 | 28 | 0.0032475 | 0.00081391 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2044-2_0_2_load_37 | 29 | 0.00067613 | 0.00016945 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2044-2_0_2_load_41 | 30 | 0.00065501 | 0.00016416 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2044-2_0_2_load_38 | 31 | 0.00071774 | 0.00017988 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2044-2_0_2_load_42 | 32 | 0.0051169 | 0.0012824 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2044-2_0_2_load_30 | 34 | 0.00044811 | 0.00011231 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2044-2_0_2_load_35 | 36 | 0.00204 | 0.00051127 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2044-2_0_2_load_33 | 37 | 0.00049889 | 0.00012503 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2044-2_0_2_load_36 | 38 | 0.0020758 | 0.00052025 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2044-2_0_2_load_32 | 39 | 0.0023884 | 0.00059859 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2044-2_0_2_load_34 | 40 | 0.0003812 | 9.5538e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2044-2_0_2_load_39 | 41 | 0.0011018 | 0.00027614 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2044-2_0_2_load_55 | 43 | 0.00082844 | 0.00020763 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2044-2_0_2_load_54 | 44 | 0.0013123 | 0.0003289 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2044-2_0_2_load_56 | 45 | 0.00084778 | 0.00021247 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2044-2_0_2_load_52 | 46 | 0.0024562 | 0.00061558 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2044-2_0_2_load_43 | 47 | 0.0034944 | 0.00087578 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2044-2_0_2_load_44 | 48 | 0.00060354 | 0.00015126 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2044-2_0_2_load_45 | 49 | 0.0012577 | 0.0003152 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2044-2_0_2_load_46 | 50 | 0.00081602 | 0.00020452 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2044-2_0_2_load_47 | 51 | 0.0008736 | 0.00021895 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2044-2_0_2_load_48 | 52 | 0.00246 | 0.00061654 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2044-2_0_2_load_49 | 53 | 0.0014605 | 0.00036605 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2044-2_0_2_load_50 | 54 | 0.0013959 | 0.00034985 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2044-2_0_2_load_53 | 55 | 0.00060973 | 0.00015281 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2044-2_0_2_load_51 | 56 | 0.0026876 | 0.00067357 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2044-2_0_2_load_57 | 57 | 0.0036493 | 0.0009146 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2044-2_0_2_load_58 | 58 | 0.0005361 | 0.00013436 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2044-2_0_2_load_59 | 59 | 0.00061321 | 0.00015369 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2044-2_0_2_load_60 | 60 | 0.00072144 | 0.00018081 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2044-2_0_2_load_61 | 61 | 0.0010742 | 0.00026921 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2044-2_0_2_load_62 | 62 | 0.0020377 | 0.00051069 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2044-2_0_2_load_63 | 63 | 0.00071618 | 0.00017949 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2044-2_0_2_load_64 | 64 | 0.0048104 | 0.0012056 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2044-2_0_2_load_65 | 65 | 0.001051 | 0.00026342 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2044-2_0_2_load_77 | 68 | 0.0027019 | 0.00067717 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2044-2_0_2_load_69 | 70 | 0.0032669 | 0.00081877 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2044-2_0_2_load_71 | 71 | 0.0034429 | 0.00086288 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2044-2_0_2_load_72 | 72 | 0.00056921 | 0.00014266 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2044-2_0_2_load_70 | 73 | 0.0023031 | 0.0005772 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2044-2_0_2_load_76 | 74 | 0.0013232 | 0.00033162 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2044-2_0_2_load_74 | 75 | 0.00098264 | 0.00024627 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2044-2_0_2_load_73 | 76 | 0.0015298 | 0.0003834 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2044-2_0_2_load_75 | 77 | 0.0012394 | 0.00031062 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2044-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2044-2_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.16498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2044-2_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.02479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2044-2_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.028205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2044-2_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0062113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2044-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.038158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2044-2_0_2_line_6 | NAYY 4x150 SE | 5 | 21 | 0.011055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2044-2_0_2_line_7 | NAYY 4x150 SE | 6 | 17 | 0.026437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2044-2_0_2_line_8 | NAYY 4x150 SE | 6 | 12 | 0.021491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2044-2_0_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.029929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2044-2_0_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.011826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2044-2_0_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.02177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2044-2_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.036685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2044-2_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.021527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2044-2_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0023414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2044-2_0_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.011594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2044-2_0_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.014576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2044-2_0_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.0034418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2044-2_0_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.0077841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2044-2_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.02537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2044-2_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.012742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2044-2_0_2_line_21 | NAYY 4x150 SE | 20 | 24 | 0.01719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2044-2_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0030537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2044-2_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.013053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2044-2_0_2_line_24 | NAYY 4x150 SE | 23 | 33 | 0.012133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2044-2_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0023677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2044-2_0_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.024709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2044-2_0_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.013022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2044-2_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.00047268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2044-2_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.026485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2044-2_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.013021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2044-2_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.03064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2044-2_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.0035358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2044-2_0_2_line_33 | NAYY 4x150 SE | 31 | 41 | 0.0018563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2044-2_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.024425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2044-2_0_2_line_35 | NAYY 4x150 SE | 33 | 35 | 0.020864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2044-2_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.06362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2044-2_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.065173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2044-2_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.027818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2044-2_0_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.0071331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2044-2_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.05231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2044-2_0_2_line_41 | NAYY 4x150 SE | 41 | 42 | 0.010865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2044-2_0_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.013508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2044-2_0_2_line_43 | NAYY 4x150 SE | 42 | 44 | 0.020117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2044-2_0_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.00015035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2044-2_0_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2044-2_0_2_line_46 | NAYY 4x150 SE | 45 | 57 | 0.018756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2044-2_0_2_line_47 | NAYY 4x150 SE | 46 | 55 | 0.0047097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2044-2_0_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.0024268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2044-2_0_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.0011945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2044-2_0_2_line_50 | NAYY 4x150 SE | 48 | 50 | 0.011439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2044-2_0_2_line_51 | NAYY 4x150 SE | 49 | 51 | 0.004263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2044-2_0_2_line_52 | NAYY 4x150 SE | 50 | 52 | 0.002499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2044-2_0_2_line_53 | NAYY 4x150 SE | 51 | 53 | 0.018444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2044-2_0_2_line_54 | NAYY 4x150 SE | 52 | 54 | 0.0041734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2044-2_0_2_line_55 | NAYY 4x150 SE | 53 | 55 | 9.3121e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2044-2_0_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.015195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2044-2_0_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.027001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2044-2_0_2_line_58 | NAYY 4x150 SE | 58 | 59 | 0.0065704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2044-2_0_2_line_59 | NAYY 4x150 SE | 59 | 60 | 0.0055395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2044-2_0_2_line_60 | NAYY 4x150 SE | 60 | 61 | 0.006313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2044-2_0_2_line_61 | NAYY 4x150 SE | 61 | 62 | 0.023823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2044-2_0_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0024235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2044-2_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.02847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2044-2_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.015426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2044-2_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.022938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2044-2_0_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.006189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2044-2_0_2_line_67 | NAYY 4x150 SE | 66 | 68 | 0.040864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2044-2_0_2_line_68 | NAYY 4x150 SE | 67 | 69 | 0.011074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2044-2_0_2_line_69 | NAYY 4x150 SE | 67 | 70 | 0.045328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2044-2_0_2_line_70 | NAYY 4x150 SE | 69 | 71 | 0.021747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2044-2_0_2_line_71 | NAYY 4x150 SE | 69 | 72 | 0.036736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2044-2_0_2_line_72 | NAYY 4x150 SE | 70 | 73 | 0.038188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2044-2_0_2_line_73 | NAYY 4x150 SE | 71 | 74 | 0.002128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2044-2_0_2_line_74 | NAYY 4x150 SE | 72 | 75 | 0.012443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2044-2_0_2_line_75 | NAYY 4x150 SE | 75 | 76 | 0.025775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2044-2_0_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.036963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2044-2_0_2_trafo_37 | 0.25 MVA 20/0.4 kV | 78 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2553817.3083 | 1177473.4715 | 2553816.7965 | 1177457.0265
1 | 2553846.8833 | 1177635.7758 | 2553817.3083 | 1177473.4715
2 | 2553846.8833 | 1177635.7758 | 2553852.659 | 1177659.8835
3 | 2553857.7956 | 1177687.5852 | 2553855.6296 | 1177672.2826 | 2553852.659 | 1177659.8835
4 | 2553857.7956 | 1177687.5852 | 2553863.6751 | 1177685.5824
5 | 2553829.0801 | 1177711.5084 | 2553846.0212 | 1177702.5952 | 2553857.7956 | 1177687.5852
6 | 2553863.6751 | 1177685.5824 | 2553874.1396 | 1177682.0176
7 | 2553829.0801 | 1177711.5084 | 2553821.2374 | 1177730.9794 | 2553820.7715 | 1177736.4055
8 | 2553829.0801 | 1177711.5084 | 2553811.8889 | 1177716.7328 | 2553808.3733 | 1177716.4941
9 | 2553742.8523 | 1177741.2687 | 2553755.5523 | 1177730.0972 | 2553767.1933 | 1177724.2772
10 | 2553742.8523 | 1177741.2687 | 2553733.9729 | 1177749.0793
11 | 2553786.8958 | 1177715.0359 | 2553777.4826 | 1177719.133 | 2553767.1933 | 1177724.2772
12 | 2553786.8958 | 1177715.0359 | 2553764.4187 | 1177686.0434
13 | 2553786.8958 | 1177715.0359 | 2553808.3733 | 1177716.4941
14 | 2553762.9841 | 1177684.1929 | 2553762.9841 | 1177684.1929 | 2553764.4187 | 1177686.0434
15 | 2553754.5982 | 1177676.1862 | 2553762.9841 | 1177684.1929
16 | 2553806.1597 | 1177748.6497 | 2553816.2247 | 1177759.1933
17 | 2553818.6013 | 1177761.6829 | 2553816.2247 | 1177759.1933
18 | 2553754.5982 | 1177676.1862 | 2553748.9683 | 1177670.8108
19 | 2553818.6013 | 1177761.6829 | 2553820.7715 | 1177736.4055
20 | 2553818.6013 | 1177761.6829 | 2553822.7381 | 1177766.0089 | 2553827.5866 | 1177770.7141
21 | 2553839.9224 | 1177782.6853 | 2553827.5866 | 1177770.7141
22 | 2553877.0302 | 1177681.033 | 2553874.1396 | 1177682.0176
23 | 2553877.0302 | 1177681.033 | 2553882.9389 | 1177679.0202 | 2553888.8384 | 1177675.6175
24 | 2553899.3487 | 1177669.5553 | 2553888.8384 | 1177675.6175
25 | 2553839.9224 | 1177782.6853 | 2553841.6215 | 1177784.3341
26 | 2553839.9224 | 1177782.6853 | 2553822.5605 | 1177800.2664
27 | 2553841.6215 | 1177784.3341 | 2553850.9662 | 1177793.4026
28 | 2553822.2283 | 1177800.6027 | 2553822.5605 | 1177800.2664
29 | 2553869.9727 | 1177811.8473 | 2553850.9662 | 1177793.4026
30 | 2553813.0793 | 1177809.8672 | 2553822.2283 | 1177800.6027
31 | 2553869.9727 | 1177811.8473 | 2553891.9613 | 1177833.186
32 | 2553810.5949 | 1177812.383 | 2553813.0793 | 1177809.8672
33 | 2553891.9613 | 1177833.186 | 2553893.2934 | 1177834.4788
34 | 2553899.3487 | 1177669.5553 | 2553882.2421 | 1177652.0777
35 | 2553915.6855 | 1177656.5559 | 2553900.9007 | 1177668.6651 | 2553899.3487 | 1177669.5553
36 | 2553915.6855 | 1177656.5559 | 2553971.8321 | 1177686.4743
37 | 2553915.6855 | 1177656.5559 | 2553957.3882 | 1177606.4721
38 | 2553993.9585 | 1177703.3343 | 2553971.8321 | 1177686.4743
39 | 2553961.9525 | 1177600.9905 | 2553957.3882 | 1177606.4721
40 | 2553961.9525 | 1177600.9905 | 2553976.6897 | 1177583.2915 | 2553991.2324 | 1177584.3692 | 2554005.1188 | 1177589.1815
41 | 2553901.0908 | 1177842.0456 | 2553893.2934 | 1177834.4788
42 | 2553901.0908 | 1177842.0456 | 2553910.7852 | 1177851.4518
43 | 2553901.0908 | 1177842.0456 | 2553885.4742 | 1177854.7265
44 | 2553910.8931 | 1177851.5565 | 2553910.7852 | 1177851.4518
45 | 2553872.4067 | 1177864.3453 | 2553875.3403 | 1177862.9553 | 2553885.4742 | 1177854.7265
46 | 2553924.3544 | 1177864.6174 | 2553910.8931 | 1177851.5565
47 | 2553872.4067 | 1177864.3453 | 2553868.1506 | 1177866.362
48 | 2553846.3663 | 1177876.4169 | 2553844.1451 | 1177877.3946
49 | 2553846.3663 | 1177876.4169 | 2553847.4596 | 1177875.9357
50 | 2553833.6756 | 1177882.0029 | 2553844.1451 | 1177877.3946
51 | 2553851.3613 | 1177874.2182 | 2553847.4596 | 1177875.9357
52 | 2553833.6756 | 1177882.0029 | 2553831.3884 | 1177883.0097
53 | 2553851.3613 | 1177874.2182 | 2553854.3043 | 1177872.9228 | 2553868.0665 | 1177866.4019
54 | 2553827.5686 | 1177884.691 | 2553831.3884 | 1177883.0097
55 | 2553868.0665 | 1177866.4019 | 2553868.1506 | 1177866.362
56 | 2553827.5686 | 1177884.691 | 2553813.661 | 1177890.8126
57 | 2553924.3544 | 1177864.6174 | 2553929.9076 | 1177870.0054 | 2553944.0727 | 1177883.0604
58 | 2553948.9042 | 1177887.5132 | 2553944.0727 | 1177883.0604
59 | 2553948.9042 | 1177887.5132 | 2553952.9776 | 1177891.2674
60 | 2553952.9776 | 1177891.2674 | 2553957.6198 | 1177895.5457
61 | 2553957.6198 | 1177895.5457 | 2553974.2049 | 1177910.8309 | 2553975.0426 | 1177911.7837
62 | 2553975.0426 | 1177911.7837 | 2553976.6427 | 1177913.6038
63 | 2553995.415 | 1177935.008 | 2553988.9516 | 1177927.6043 | 2553976.6427 | 1177913.6038
64 | 2553995.415 | 1177935.008 | 2554005.56 | 1177946.629
65 | 2554022.7348 | 1177961.5852 | 2554012.1174 | 1177954.1405 | 2554005.56 | 1177946.629
66 | 2554022.7348 | 1177961.5852 | 2554021.9873 | 1177967.7275
67 | 2554022.7348 | 1177961.5852 | 2554046.7567 | 1177928.5273
68 | 2554025.2932 | 1177977.3184 | 2554021.3765 | 1177972.7572 | 2554021.9873 | 1177967.7275
69 | 2554021.9873 | 1177967.7275 | 2554015.4417 | 1177970.0902 | 2554000.0967 | 1177979.8245 | 2553982.9343 | 1177990.4713
70 | 2554025.2932 | 1177977.3184 | 2554030.675 | 1177983.5915 | 2554042.3891 | 1177990.2659
71 | 2554025.2932 | 1177977.3184 | 2554014.0803 | 1177999.7388 | 2554006.6516 | 1178008.7371
72 | 2553948.8639 | 1178006.7441 | 2553961.7912 | 1178003.5874 | 2553982.9343 | 1177990.4713
73 | 2554042.3891 | 1177990.2659 | 2554044.2381 | 1177991.3194
74 | 2553998.7297 | 1178018.3328 | 2554006.6516 | 1178008.7371
75 | 2553977.0319 | 1178031.4784 | 2553995.1084 | 1178022.7192 | 2553998.7297 | 1178018.3328
76 | 2553977.0319 | 1178031.4784 | 2553976.0386 | 1178031.9597 | 2553940.4637 | 1178036.4664

## bus_geodata
| x | y | coords
0 | 2553816.7965 | 1177457.0265
1 | 2553817.3083 | 1177473.4715
2 | 2553846.8833 | 1177635.7758
3 | 2553852.659 | 1177659.8835
4 | 2553857.7956 | 1177687.5852
5 | 2553863.6751 | 1177685.5824
6 | 2553829.0801 | 1177711.5084
7 | 2553742.8523 | 1177741.2687
8 | 2553767.1933 | 1177724.2772
9 | 2553733.9729 | 1177749.0793
10 | 2553786.8958 | 1177715.0359
11 | 2553764.4187 | 1177686.0434
12 | 2553808.3733 | 1177716.4941
13 | 2553762.9841 | 1177684.1929
14 | 2553806.1597 | 1177748.6497
15 | 2553816.2247 | 1177759.1933
16 | 2553754.5982 | 1177676.1862
17 | 2553820.7715 | 1177736.4055
18 | 2553818.6013 | 1177761.6829
19 | 2553748.9683 | 1177670.8108
20 | 2553827.5866 | 1177770.7141
21 | 2553874.1396 | 1177682.0176
22 | 2553877.0302 | 1177681.033
23 | 2553888.8384 | 1177675.6175
24 | 2553839.9224 | 1177782.6853
25 | 2553841.6215 | 1177784.3341
26 | 2553822.5605 | 1177800.2664
27 | 2553850.9662 | 1177793.4026
28 | 2553822.2283 | 1177800.6027
29 | 2553869.9727 | 1177811.8473
30 | 2553813.0793 | 1177809.8672
31 | 2553891.9613 | 1177833.186
32 | 2553810.5949 | 1177812.383
33 | 2553899.3487 | 1177669.5553
34 | 2553882.2421 | 1177652.0777
35 | 2553915.6855 | 1177656.5559
36 | 2553971.8321 | 1177686.4743
37 | 2553957.3882 | 1177606.4721
38 | 2553993.9585 | 1177703.3343
39 | 2553961.9525 | 1177600.9905
40 | 2554005.1188 | 1177589.1815
41 | 2553893.2934 | 1177834.4788
42 | 2553901.0908 | 1177842.0456
43 | 2553910.7852 | 1177851.4518
44 | 2553885.4742 | 1177854.7265
45 | 2553910.8931 | 1177851.5565
46 | 2553872.4067 | 1177864.3453
47 | 2553846.3663 | 1177876.4169
48 | 2553844.1451 | 1177877.3946
49 | 2553847.4596 | 1177875.9357
50 | 2553833.6756 | 1177882.0029
51 | 2553851.3613 | 1177874.2183
52 | 2553831.3883 | 1177883.0097
53 | 2553868.0665 | 1177866.4019
54 | 2553827.5686 | 1177884.691
55 | 2553868.1506 | 1177866.362
56 | 2553813.661 | 1177890.8126
57 | 2553924.3544 | 1177864.6174
58 | 2553944.0727 | 1177883.0604
59 | 2553948.9042 | 1177887.5132
60 | 2553952.9776 | 1177891.2674
61 | 2553957.6198 | 1177895.5457
62 | 2553975.0426 | 1177911.7837
63 | 2553976.6427 | 1177913.6038
64 | 2553995.415 | 1177935.008
65 | 2554005.56 | 1177946.629
66 | 2554022.7348 | 1177961.5852
67 | 2554021.9873 | 1177967.7275
68 | 2554046.7567 | 1177928.5273
69 | 2554025.2932 | 1177977.3184
70 | 2553982.9343 | 1177990.4713
71 | 2554042.3891 | 1177990.2659
72 | 2554006.6517 | 1178008.7371
73 | 2553948.8639 | 1178006.7441
74 | 2554044.2381 | 1177991.3194
75 | 2553998.7297 | 1178018.3328
76 | 2553977.0319 | 1178031.4784
77 | 2553940.4637 | 1178036.4664
78 | 2553839.9224 | 1177782.6853

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9864 | -0.095502 | 0.0005307 | 0.00013301
1 | 0.98641 | -0.095413 | 0 | 0
2 | 0.98653 | -0.094499 | 0.00091265 | 0.00022873
3 | 0.98659 | -0.094127 | 0.0037828 | 0.00094806
4 | 0.9868 | -0.09261 | 0 | 0
5 | 0.98664 | -0.093766 | 0.007048 | 0.0017664
6 | 0.98809 | -0.083469 | 0 | 0
7 | 0.98582 | -0.099578 | 0.0064946 | 0.0016277
8 | 0.98616 | -0.097137 | 0.00281 | 0.00070426
9 | 0.98579 | -0.099754 | 0.0014481 | 0.00036292
10 | 0.9865 | -0.094734 | 0 | 0
11 | 0.98599 | -0.098323 | 0.0012607 | 0.00031596
12 | 0.98713 | -0.090257 | 0.010571 | 0.0026494
13 | 0.98596 | -0.098522 | 0.0015735 | 0.00039435
14 | 0.99216 | -0.054712 | 0.0018704 | 0.00046876
15 | 0.9922 | -0.054435 | 0.0021867 | 0.00054804
16 | 0.98585 | -0.099319 | 0.0051609 | 0.0012935
17 | 0.99016 | -0.06883 | 0.0021239 | 0.00053229
18 | 0.99222 | -0.054294 | 0 | 0
19 | 0.98583 | -0.099442 | 0.0015352 | 0.00038476
20 | 0.99333 | -0.046492 | 0.0048782 | 0.0012226
21 | 0.98646 | -0.095025 | 0.0012738 | 0.00031923
22 | 0.98642 | -0.095333 | 0.0013581 | 0.00034036
23 | 0.98626 | -0.096467 | 0.00061357 | 0.00015378
24 | 0.99495 | -0.035149 | 0 | 0
25 | 0.99523 | -0.03321 | 0.0014933 | 0.00037426
26 | 0.99439 | -0.03912 | 0.0069078 | 0.0017313
27 | 0.99678 | -0.022366 | 0.0015705 | 0.0003936
28 | 0.99438 | -0.039163 | 0.0032475 | 0.00081391
29 | 1 | 0 | -0.14185 | -0.035504
30 | 0.99428 | -0.039922 | 0.00065501 | 0.00016416
31 | 0.99756 | -0.017028 | 0.00071774 | 0.00017988
32 | 0.99425 | -0.040104 | 0.0051169 | 0.0012824
33 | 0.98612 | -0.097446 | 0 | 0
34 | 0.9861 | -0.097558 | 0.00044811 | 0.00011231
35 | 0.9859 | -0.099032 | 0 | 0
36 | 0.98552 | -0.10173 | 0.00204 | 0.00051127
37 | 0.98559 | -0.10123 | 0.00049889 | 0.00012503
38 | 0.98543 | -0.10232 | 0.0020758 | 0.00052025
39 | 0.98556 | -0.10143 | 0.0023884 | 0.00059859
40 | 0.98553 | -0.10164 | 0.0003812 | 9.5538e-05
41 | 0.99741 | -0.018049 | 0.0011018 | 0.00027614
42 | 0.99658 | -0.02391 | 0 | 0
43 | 0.99591 | -0.028567 | 0.00082844 | 0.00020763
44 | 0.99602 | -0.027841 | 0.0013123 | 0.0003289
45 | 0.9959 | -0.028618 | 0.00084778 | 0.00021247
46 | 0.99559 | -0.030815 | 0.0024562 | 0.00061558
47 | 0.99503 | -0.034782 | 0.0034944 | 0.00087578
48 | 0.995 | -0.034977 | 0.00060354 | 0.00015126
49 | 0.99505 | -0.034644 | 0.0012577 | 0.0003152
50 | 0.99488 | -0.035826 | 0.00081602 | 0.00020452
51 | 0.99513 | -0.034098 | 0.0008736 | 0.00021895
52 | 0.99486 | -0.035991 | 0.00246 | 0.00061654
53 | 0.99549 | -0.031572 | 0.0014605 | 0.00036605
54 | 0.99483 | -0.036163 | 0.0013959 | 0.00034985
55 | 0.99549 | -0.031557 | 0.00060973 | 0.00015281
56 | 0.99477 | -0.036575 | 0.0026876 | 0.00067357
57 | 0.99503 | -0.034778 | 0.0036493 | 0.0009146
58 | 0.9939 | -0.042669 | 0.0005361 | 0.00013436
59 | 0.99363 | -0.044556 | 0.00061321 | 0.00015369
60 | 0.99341 | -0.046113 | 0.00072144 | 0.00018081
61 | 0.99317 | -0.047843 | 0.0010742 | 0.00026921
62 | 0.99228 | -0.054118 | 0.0020377 | 0.00051069
63 | 0.99219 | -0.054707 | 0.00071618 | 0.00017949
64 | 0.99124 | -0.061424 | 0.0048104 | 0.0012056
65 | 0.99083 | -0.064315 | 0.001051 | 0.00026342
66 | 0.99026 | -0.068371 | 0 | 0
67 | 0.99013 | -0.069296 | 0 | 0
68 | 0.9901 | -0.069496 | 0.0027019 | 0.00067717
69 | 0.98998 | -0.070322 | 0 | 0
70 | 0.98976 | -0.07187 | 0.0032669 | 0.00081877
71 | 0.98983 | -0.071378 | 0.0034429 | 0.00086288
72 | 0.98975 | -0.071943 | 0.00056921 | 0.00014266
73 | 0.98964 | -0.072767 | 0.0023031 | 0.0005772
74 | 0.98983 | -0.071407 | 0.0013232 | 0.00033162
75 | 0.98969 | -0.072419 | 0.00098264 | 0.00024627
76 | 0.98958 | -0.073148 | 0.0015298 | 0.0003834
77 | 0.98952 | -0.073615 | 0.0012394 | 0.00031062
78 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0005307 | -0.00013301 | 0.00053071 | 0.0001328 | 6.5796e-09 | -2.0749e-07 | 0.00080058 | 0.00080051 | 0.00080058 | 0.9864 | -0.095502 | 0.98641 | -0.095413 | 0.29651
1 | -0.00053071 | -0.0001328 | 0.00053077 | 0.00013072 | 6.5907e-08 | -2.0809e-06 | 0.00080051 | 0.00079976 | 0.00080051 | 0.98641 | -0.095413 | 0.98653 | -0.094499 | 0.29648
2 | -0.0014434 | -0.00035945 | 0.0014435 | 0.00035916 | 7.3264e-08 | -2.8837e-07 | 0.0021763 | 0.0021762 | 0.0021763 | 0.98653 | -0.094499 | 0.98659 | -0.094127 | 0.80605
3 | -0.0052263 | -0.0013072 | 0.0052274 | 0.0013073 | 1.0933e-06 | 6.0246e-08 | 0.0078816 | 0.0078815 | 0.0078816 | 0.98659 | -0.094127 | 0.9868 | -0.09261 | 2.9191
4 | 0.018138 | 0.0045435 | -0.018135 | -0.0045424 | 2.8992e-06 | 1.0357e-06 | 0.02735 | 0.02735 | 0.02735 | 0.9868 | -0.09261 | 0.98664 | -0.093766 | 10.1295
5 | -0.023365 | -0.0058508 | 0.023395 | 0.0058616 | 2.9554e-05 | 1.0879e-05 | 0.035231 | 0.035231 | 0.035231 | 0.9868 | -0.09261 | 0.98809 | -0.083469 | 13.0486
6 | 0.011087 | 0.002776 | -0.011085 | -0.0027754 | 1.9285e-06 | 6.0058e-07 | 0.01672 | 0.01672 | 0.01672 | 0.98664 | -0.093766 | 0.98646 | -0.095025 | 6.1926
7 | -0.054303 | -0.013613 | 0.054413 | 0.013655 | 0.00011033 | 4.2094e-05 | 0.081779 | 0.081778 | 0.081779 | 0.98809 | -0.083469 | 0.99016 | -0.06883 | 30.2883
8 | 0.030908 | 0.0077513 | -0.030879 | -0.0077404 | 2.9056e-05 | 1.09e-05 | 0.046548 | 0.046548 | 0.046548 | 0.98809 | -0.083469 | 0.98713 | -0.090257 | 17.2399
9 | -0.0079427 | -0.0019905 | 0.0079454 | 0.0019911 | 2.6843e-06 | 6.5069e-07 | 0.011989 | 0.011989 | 0.011989 | 0.98582 | -0.099578 | 0.98616 | -0.097137 | 4.4403
10 | 0.0014481 | 0.00036278 | -0.0014481 | -0.00036292 | 3.5255e-08 | -1.3721e-07 | 0.0021857 | 0.0021858 | 0.0021858 | 0.98582 | -0.099578 | 0.98579 | -0.099754 | 0.80956
11 | -0.010755 | -0.0026954 | 0.010759 | 0.0026965 | 3.5777e-06 | 1.0982e-06 | 0.016229 | 0.016229 | 0.016229 | 0.98616 | -0.097137 | 0.9865 | -0.094734 | 6.0106
12 | 0.009536 | 0.00239 | -0.0095313 | -0.0023886 | 4.7363e-06 | 1.3535e-06 | 0.014384 | 0.014384 | 0.014384 | 0.9865 | -0.094734 | 0.98599 | -0.098323 | 5.3275
13 | -0.020295 | -0.0050865 | 0.020308 | 0.005091 | 1.2588e-05 | 4.5666e-06 | 0.030613 | 0.030613 | 0.030613 | 0.9865 | -0.094734 | 0.98713 | -0.090257 | 11.338
14 | 0.0082706 | 0.0020727 | -0.0082704 | -0.0020726 | 2.2762e-07 | 5.7682e-08 | 0.012482 | 0.012482 | 0.012482 | 0.98599 | -0.098323 | 0.98596 | -0.098522 | 4.6228
15 | 0.0066969 | 0.0016783 | -0.0066962 | -0.0016781 | 7.3905e-07 | 1.364e-07 | 0.010107 | 0.010107 | 0.010107 | 0.98596 | -0.098522 | 0.98585 | -0.099319 | 3.7433
16 | -0.0018704 | -0.00046876 | 0.0018705 | 0.0004686 | 7.1571e-08 | -1.6073e-07 | 0.0028052 | 0.0028051 | 0.0028052 | 0.99216 | -0.054712 | 0.9922 | -0.054435 | 1.0389
17 | -0.0040572 | -0.0010166 | 0.0040573 | 0.0010166 | 7.9511e-08 | -1.3873e-08 | 0.0060845 | 0.0060845 | 0.0060845 | 0.9922 | -0.054435 | 0.99222 | -0.054294 | 2.2535
18 | 0.0015352 | 0.00038467 | -0.0015352 | -0.00038476 | 2.6081e-08 | -8.9219e-08 | 0.0023172 | 0.0023172 | 0.0023172 | 0.98585 | -0.099319 | 0.98583 | -0.099442 | 0.85824
19 | -0.056537 | -0.014187 | 0.056651 | 0.014231 | 0.0001143 | 4.3634e-05 | 0.08497 | 0.08497 | 0.08497 | 0.99016 | -0.06883 | 0.99222 | -0.054294 | 31.4704
20 | -0.060708 | -0.015248 | 0.060774 | 0.015273 | 6.5921e-05 | 2.5189e-05 | 0.091055 | 0.091054 | 0.091055 | 0.99222 | -0.054294 | 0.99333 | -0.046492 | 33.7239
21 | -0.065652 | -0.016495 | 0.065756 | 0.016535 | 0.00010378 | 3.9692e-05 | 0.098362 | 0.098362 | 0.098362 | 0.99333 | -0.046492 | 0.99495 | -0.035149 | 36.4304
22 | 0.0098113 | 0.0024562 | -0.0098108 | -0.0024561 | 4.1731e-07 | 1.2152e-07 | 0.014799 | 0.014799 | 0.014799 | 0.98646 | -0.095025 | 0.98642 | -0.095333 | 5.481
23 | 0.0084528 | 0.0021157 | -0.0084514 | -0.0021154 | 1.3241e-06 | 3.4266e-07 | 0.01275 | 0.01275 | 0.01275 | 0.98642 | -0.095333 | 0.98626 | -0.096467 | 4.7223
24 | 0.0078379 | 0.0019616 | -0.0078368 | -0.0019613 | 1.0586e-06 | 2.5233e-07 | 0.011824 | 0.011824 | 0.011824 | 0.98626 | -0.096467 | 0.98612 | -0.097446 | 4.3794
25 | -0.081693 | -0.02053 | 0.081715 | 0.020538 | 2.2061e-05 | 8.4542e-06 | 0.1222 | 0.1222 | 0.1222 | 0.99495 | -0.035149 | 0.99523 | -0.03321 | 45.258
26 | 0.015937 | 0.0039949 | -0.015928 | -0.0039918 | 8.7592e-06 | 3.0482e-06 | 0.023835 | 0.023835 | 0.023835 | 0.99495 | -0.035149 | 0.99439 | -0.03912 | 8.8277
27 | -0.083208 | -0.020913 | 0.083334 | 0.020961 | 0.0001258 | 4.8216e-05 | 0.12443 | 0.12443 | 0.12443 | 0.99523 | -0.03321 | 0.99678 | -0.022366 | 46.085
28 | 0.0090202 | 0.0022606 | -0.0090202 | -0.0022605 | 5.3738e-08 | 1.4537e-08 | 0.013498 | 0.013498 | 0.013498 | 0.99439 | -0.03912 | 0.99438 | -0.039163 | 4.9992
29 | -0.084905 | -0.021354 | 0.08517 | 0.021456 | 0.00026561 | 0.00010181 | 0.12677 | 0.12677 | 0.12677 | 0.99678 | -0.022366 | 1 | 0 | 46.9533
30 | 0.0057726 | 0.0014466 | -0.005772 | -0.0014466 | 6.0627e-07 | 6.4291e-08 | 0.0086382 | 0.0086383 | 0.0086383 | 0.99438 | -0.039163 | 0.99428 | -0.039922 | 3.1994
31 | 0.055877 | 0.014048 | -0.055744 | -0.013997 | 0.00013223 | 5.0455e-05 | 0.083161 | 0.083161 | 0.083161 | 1 | 0 | 0.99756 | -0.017028 | 30.8003
32 | 0.005117 | 0.0012824 | -0.0051169 | -0.0012824 | 1.2939e-07 | 3.9093e-09 | 0.007658 | 0.007658 | 0.007658 | 0.99428 | -0.039922 | 0.99425 | -0.040104 | 2.8363
33 | 0.055027 | 0.013818 | -0.055019 | -0.013815 | 7.8056e-06 | 2.9779e-06 | 0.08209 | 0.08209 | 0.08209 | 0.99756 | -0.017028 | 0.99741 | -0.018049 | 30.4038
34 | 0.00044811 | 0.000112 | -0.00044811 | -0.00011231 | 6.9675e-09 | -3.0892e-07 | 0.00067607 | 0.00067619 | 0.00067619 | 0.98612 | -0.097446 | 0.9861 | -0.097558 | 0.25044
35 | 0.0073887 | 0.0018494 | -0.0073871 | -0.001849 | 1.6181e-06 | 3.5624e-07 | 0.011148 | 0.011148 | 0.011148 | 0.98612 | -0.097446 | 0.9859 | -0.099032 | 4.1291
36 | 0.0041175 | 0.001031 | -0.004116 | -0.0010312 | 1.5331e-06 | -2.213e-07 | 0.0062142 | 0.0062145 | 0.0062145 | 0.9859 | -0.099032 | 0.98552 | -0.10173 | 2.3017
37 | 0.0032696 | 0.00081799 | -0.0032686 | -0.00081844 | 9.9019e-07 | -4.4997e-07 | 0.0049342 | 0.0049345 | 0.0049345 | 0.9859 | -0.099032 | 0.98559 | -0.10123 | 1.8276
38 | 0.002076 | 0.00051996 | -0.0020758 | -0.00052025 | 1.7054e-07 | -2.8883e-07 | 0.0031344 | 0.0031345 | 0.0031345 | 0.98552 | -0.10173 | 0.98543 | -0.10232 | 1.1609
39 | 0.0027697 | 0.0006934 | -0.0027696 | -0.00069346 | 7.7821e-08 | -6.097e-08 | 0.0041813 | 0.0041814 | 0.0041814 | 0.98559 | -0.10123 | 0.98556 | -0.10143 | 1.5487
40 | 0.00038121 | 9.4875e-05 | -0.0003812 | -9.5538e-05 | 1.0809e-08 | -6.6242e-07 | 0.00057532 | 0.00057556 | 0.00057556 | 0.98556 | -0.10143 | 0.98553 | -0.10164 | 0.21317
41 | 0.053917 | 0.013538 | -0.053873 | -0.013522 | 4.3878e-05 | 1.6734e-05 | 0.080446 | 0.080446 | 0.080446 | 0.99741 | -0.018049 | 0.99658 | -0.02391 | 29.795
42 | 0.034418 | 0.0086436 | -0.034396 | -0.0086352 | 2.2266e-05 | 8.3881e-06 | 0.051397 | 0.051397 | 0.051397 | 0.99658 | -0.02391 | 0.99591 | -0.028567 | 19.0361
43 | 0.019455 | 0.0048781 | -0.019444 | -0.0048743 | 1.0593e-05 | 3.8122e-06 | 0.029049 | 0.029049 | 0.029049 | 0.99658 | -0.02391 | 0.99602 | -0.027841 | 10.759
44 | 0.033568 | 0.0084276 | -0.033568 | -0.0084275 | 2.3604e-07 | 8.8828e-08 | 0.05016 | 0.05016 | 0.05016 | 0.99591 | -0.028567 | 0.9959 | -0.028618 | 18.5776
45 | 0.018132 | 0.0045454 | -0.018124 | -0.0045427 | 7.4637e-06 | 2.6586e-06 | 0.027089 | 0.027089 | 0.027089 | 0.99602 | -0.027841 | 0.99559 | -0.030815 | 10.0328
46 | 0.03272 | 0.008215 | -0.032692 | -0.0082045 | 2.7978e-05 | 1.0517e-05 | 0.048893 | 0.048893 | 0.048893 | 0.9959 | -0.028618 | 0.99503 | -0.034778 | 18.1085
47 | 0.015668 | 0.0039272 | -0.015666 | -0.0039266 | 1.6116e-06 | 5.5862e-07 | 0.023418 | 0.023418 | 0.023418 | 0.99559 | -0.030815 | 0.99549 | -0.031557 | 8.6732
48 | 0.0079645 | 0.0019958 | -0.0079643 | -0.0019958 | 2.1483e-07 | 5.1103e-08 | 0.01191 | 0.01191 | 0.01191 | 0.99503 | -0.034782 | 0.995 | -0.034977 | 4.4113
49 | -0.011459 | -0.0028716 | 0.011459 | 0.0028717 | 2.1887e-07 | 6.8665e-08 | 0.017136 | 0.017136 | 0.017136 | 0.99503 | -0.034782 | 0.99505 | -0.034644 | 6.3467
50 | 0.0073608 | 0.0018445 | -0.0073599 | -0.0018443 | 8.6492e-07 | 1.8411e-07 | 0.011008 | 0.011008 | 0.011008 | 0.995 | -0.034977 | 0.99488 | -0.035826 | 4.077
51 | -0.012717 | -0.0031869 | 0.012718 | 0.0031872 | 9.62e-07 | 3.1462e-07 | 0.019017 | 0.019017 | 0.019017 | 0.99505 | -0.034644 | 0.99513 | -0.034098 | 7.0433
52 | 0.0065439 | 0.0016398 | -0.0065437 | -0.0016398 | 1.4938e-07 | 2.5004e-08 | 0.0097874 | 0.0097874 | 0.0097874 | 0.99488 | -0.035826 | 0.99486 | -0.035991 | 3.625
53 | -0.013591 | -0.0034061 | 0.013596 | 0.0034077 | 4.7537e-06 | 1.5886e-06 | 0.020323 | 0.020323 | 0.020323 | 0.99513 | -0.034098 | 0.99549 | -0.031572 | 7.5271
54 | 0.0040837 | 0.0010233 | -0.0040836 | -0.0010233 | 9.7157e-08 | -1.6821e-08 | 0.006108 | 0.006108 | 0.006108 | 0.99486 | -0.035991 | 0.99483 | -0.036163 | 2.2622
55 | -0.015057 | -0.0037738 | 0.015057 | 0.0037738 | 2.9433e-08 | 1.011e-08 | 0.022506 | 0.022506 | 0.022506 | 0.99549 | -0.031572 | 0.99549 | -0.031557 | 8.3357
56 | 0.0026877 | 0.00067343 | -0.0026876 | -0.00067357 | 1.5324e-07 | -1.3835e-07 | 0.0040201 | 0.0040202 | 0.0040202 | 0.99483 | -0.036163 | 0.99477 | -0.036575 | 1.4889
57 | 0.029042 | 0.0072899 | -0.029011 | -0.007278 | 3.1788e-05 | 1.1876e-05 | 0.043436 | 0.043436 | 0.043436 | 0.99503 | -0.034778 | 0.9939 | -0.042669 | 16.0873
58 | 0.028475 | 0.0071437 | -0.028467 | -0.0071409 | 7.452e-06 | 2.781e-06 | 0.042633 | 0.042633 | 0.042633 | 0.9939 | -0.042669 | 0.99363 | -0.044556 | 15.7901
59 | 0.027854 | 0.0069872 | -0.027848 | -0.0069849 | 6.0151e-06 | 2.2418e-06 | 0.041715 | 0.041715 | 0.041715 | 0.99363 | -0.044556 | 0.99341 | -0.046113 | 15.45
60 | 0.027126 | 0.0068041 | -0.02712 | -0.0068017 | 6.5044e-06 | 2.42e-06 | 0.040634 | 0.040634 | 0.040634 | 0.99341 | -0.046113 | 0.99317 | -0.047843 | 15.0498
61 | 0.026046 | 0.0065325 | -0.026023 | -0.0065241 | 2.264e-05 | 8.3995e-06 | 0.039025 | 0.039025 | 0.039025 | 0.99317 | -0.047843 | 0.99228 | -0.054118 | 14.4537
62 | 0.023985 | 0.0060134 | -0.023984 | -0.0060127 | 1.9565e-06 | 7.2121e-07 | 0.035969 | 0.035969 | 0.035969 | 0.99228 | -0.054118 | 0.99219 | -0.054707 | 13.322
63 | 0.023267 | 0.0058332 | -0.023246 | -0.0058252 | 2.1633e-05 | 7.9529e-06 | 0.034895 | 0.034895 | 0.034895 | 0.99219 | -0.054707 | 0.99124 | -0.061424 | 12.9242
64 | 0.018435 | 0.0046197 | -0.018428 | -0.004617 | 7.3722e-06 | 2.6367e-06 | 0.027674 | 0.027674 | 0.027674 | 0.99124 | -0.061424 | 0.99083 | -0.064315 | 10.2498
65 | 0.017377 | 0.0043536 | -0.017367 | -0.0043501 | 9.7475e-06 | 3.4538e-06 | 0.026096 | 0.026096 | 0.026096 | 0.99083 | -0.064315 | 0.99026 | -0.068371 | 9.6652
66 | 0.014665 | 0.0036733 | -0.014663 | -0.0036727 | 1.8752e-06 | 6.4162e-07 | 0.022035 | 0.022035 | 0.022035 | 0.99026 | -0.068371 | 0.99013 | -0.069296 | 8.1613
67 | 0.0027024 | 0.00067681 | -0.0027019 | -0.00067717 | 4.2045e-07 | -3.6392e-07 | 0.0040605 | 0.0040607 | 0.0040607 | 0.99026 | -0.068371 | 0.9901 | -0.069496 | 1.504
68 | 0.0090907 | 0.0022769 | -0.0090894 | -0.0022766 | 1.2897e-06 | 3.5363e-07 | 0.013661 | 0.013662 | 0.013662 | 0.99013 | -0.069296 | 0.98998 | -0.070322 | 5.0598
69 | 0.0055723 | 0.0013958 | -0.0055703 | -0.0013956 | 1.9835e-06 | 1.801e-07 | 0.008374 | 0.0083742 | 0.0083742 | 0.99013 | -0.069296 | 0.98976 | -0.07187 | 3.1016
70 | 0.0047668 | 0.0011945 | -0.0047661 | -0.0011945 | 6.9664e-07 | -1.1645e-08 | 0.0071648 | 0.0071649 | 0.0071649 | 0.98998 | -0.070322 | 0.98983 | -0.071378 | 2.6537
71 | 0.0043226 | 0.0010821 | -0.0043216 | -0.0010822 | 9.6757e-07 | -1.001e-07 | 0.0064967 | 0.0064969 | 0.0064969 | 0.98998 | -0.070322 | 0.98975 | -0.071943 | 2.4063
72 | 0.0023033 | 0.00057682 | -0.0023031 | -0.0005772 | 2.8574e-07 | -3.8084e-07 | 0.0034627 | 0.0034629 | 0.0034629 | 0.98976 | -0.07187 | 0.98964 | -0.072767 | 1.2825
73 | 0.0013232 | 0.0003316 | -0.0013232 | -0.00033162 | 5.254e-09 | -2.5332e-08 | 0.0019891 | 0.0019892 | 0.0019892 | 0.98983 | -0.071378 | 0.98983 | -0.071407 | 0.73672
74 | 0.0037524 | 0.00093956 | -0.0037522 | -0.00093962 | 2.4709e-07 | -6.4874e-08 | 0.0056411 | 0.0056412 | 0.0056412 | 0.98975 | -0.071943 | 0.98969 | -0.072419 | 2.0893
75 | 0.0027695 | 0.00069335 | -0.0027692 | -0.00069357 | 2.7885e-07 | -2.2393e-07 | 0.0041638 | 0.0041639 | 0.0041639 | 0.98969 | -0.072419 | 0.98958 | -0.073148 | 1.5422
76 | 0.0012395 | 0.00031017 | -0.0012394 | -0.00031062 | 8.0109e-08 | -4.4404e-07 | 0.0018636 | 0.0018637 | 0.0018637 | 0.98958 | -0.073148 | 0.98952 | -0.073615 | 0.69027

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14252 | 0.035674

## res_load
| p_mw | q_mvar
0 | 0.0005307 | 0.00013301
1 | 0.00091265 | 0.00022873
2 | 0.0037828 | 0.00094806
3 | 0.007048 | 0.0017664
4 | 0.0064946 | 0.0016277
5 | 0.00281 | 0.00070426
6 | 0.0014481 | 0.00036292
7 | 0.0012607 | 0.00031596
8 | 0.010571 | 0.0026494
9 | 0.0015735 | 0.00039435
10 | 0.0018704 | 0.00046876
11 | 0.0021867 | 0.00054804
12 | 0.0051609 | 0.0012935
13 | 0.0021239 | 0.00053229
14 | 0.0015352 | 0.00038476
15 | 0.0048782 | 0.0012226
16 | 0.0012738 | 0.00031923
17 | 0.0013581 | 0.00034036
18 | 0.00061357 | 0.00015378
19 | 0.0014933 | 0.00037426
20 | 0.0069078 | 0.0017313
21 | 0.0015705 | 0.0003936
22 | 0.0032475 | 0.00081391
23 | 0.00067613 | 0.00016945
24 | 0.00065501 | 0.00016416
25 | 0.00071774 | 0.00017988
26 | 0.0051169 | 0.0012824
27 | 0.00044811 | 0.00011231
28 | 0.00204 | 0.00051127
29 | 0.00049889 | 0.00012503
30 | 0.0020758 | 0.00052025
31 | 0.0023884 | 0.00059859
32 | 0.0003812 | 9.5538e-05
33 | 0.0011018 | 0.00027614
34 | 0.00082844 | 0.00020763
35 | 0.0013123 | 0.0003289
36 | 0.00084778 | 0.00021247
37 | 0.0024562 | 0.00061558
38 | 0.0034944 | 0.00087578
39 | 0.00060354 | 0.00015126
40 | 0.0012577 | 0.0003152
41 | 0.00081602 | 0.00020452
42 | 0.0008736 | 0.00021895
43 | 0.00246 | 0.00061654
44 | 0.0014605 | 0.00036605
45 | 0.0013959 | 0.00034985
46 | 0.00060973 | 0.00015281
47 | 0.0026876 | 0.00067357
48 | 0.0036493 | 0.0009146
49 | 0.0005361 | 0.00013436
50 | 0.00061321 | 0.00015369
51 | 0.00072144 | 0.00018081
52 | 0.0010742 | 0.00026921
53 | 0.0020377 | 0.00051069
54 | 0.00071618 | 0.00017949
55 | 0.0048104 | 0.0012056
56 | 0.001051 | 0.00026342
57 | 0.0027019 | 0.00067717
58 | 0.0032669 | 0.00081877
59 | 0.0034429 | 0.00086288
60 | 0.00056921 | 0.00014266
61 | 0.0023031 | 0.0005772
62 | 0.0013232 | 0.00033162
63 | 0.00098264 | 0.00024627
64 | 0.0015298 | 0.0003834
65 | 0.0012394 | 0.00031062

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1