## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2044-4_1_4_node_59 | 0.4 | n |  | TRUE
1 | bus_LV_2044-4_1_4_node_60 | 0.4 | n |  | TRUE
2 | bus_LV_2044-4_1_4_node_61 | 0.4 | n |  | TRUE
3 | bus_LV_2044-4_1_4_node_72 | 0.4 | n |  | TRUE
4 | bus_LV_2044-4_1_4_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_2044-4_1_4_node_71 | 0.4 | n |  | TRUE
6 | bus_LV_2044-4_1_4_node_62 | 0.4 | n |  | TRUE
7 | bus_LV_2044-4_1_4_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_2044-4_1_4_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_2044-4_1_4_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_2044-4_1_4_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_2044-4_1_4_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_2044-4_1_4_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_2044-4_1_4_node_132 | 0.4 | n |  | TRUE
14 | bus_LV_2044-4_1_4_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_2044-4_1_4_node_117 | 0.4 | n |  | TRUE
16 | bus_LV_2044-4_1_4_node_120 | 0.4 | n |  | TRUE
17 | bus_LV_2044-4_1_4_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_2044-4_1_4_node_115 | 0.4 | n |  | TRUE
19 | bus_LV_2044-4_1_4_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_2044-4_1_4_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_2044-4_1_4_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_2044-4_1_4_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_2044-4_1_4_node_78 | 0.4 | n |  | TRUE
24 | bus_LV_2044-4_1_4_node_99 | 0.4 | n |  | TRUE
25 | bus_LV_2044-4_1_4_node_116 | 0.4 | n |  | TRUE
26 | bus_LV_2044-4_1_4_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_2044-4_1_4_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_2044-4_1_4_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_2044-4_1_4_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_2044-4_1_4_node_100 | 0.4 | n |  | TRUE
31 | bus_LV_2044-4_1_4_node_101 | 0.4 | n |  | TRUE
32 | bus_LV_2044-4_1_4_node_102 | 0.4 | n |  | TRUE
33 | bus_LV_2044-4_1_4_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_2044-4_1_4_node_104 | 0.4 | n |  | TRUE
35 | bus_LV_2044-4_1_4_node_105 | 0.4 | n |  | TRUE
36 | bus_LV_2044-4_1_4_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_2044-4_1_4_node_107 | 0.4 | n |  | TRUE
38 | bus_LV_2044-4_1_4_node_108 | 0.4 | n |  | TRUE
39 | bus_LV_2044-4_1_4_node_109 | 0.4 | n |  | TRUE
40 | bus_LV_2044-4_1_4_node_110 | 0.4 | n |  | TRUE
41 | bus_LV_2044-4_1_4_node_111 | 0.4 | n |  | TRUE
42 | bus_LV_2044-4_1_4_node_112 | 0.4 | n |  | TRUE
43 | bus_LV_2044-4_1_4_node_113 | 0.4 | n |  | TRUE
44 | bus_LV_2044-4_1_4_node_118 | 0.4 | n |  | TRUE
45 | bus_LV_2044-4_1_4_node_119 | 0.4 | n |  | TRUE
46 | bus_LV_2044-4_1_4_node_127 | 0.4 | n |  | TRUE
47 | bus_LV_2044-4_1_4_node_122 | 0.4 | n |  | TRUE
48 | bus_LV_2044-4_1_4_node_123 | 0.4 | n |  | TRUE
49 | bus_LV_2044-4_1_4_node_124 | 0.4 | n |  | TRUE
50 | bus_LV_2044-4_1_4_node_125 | 0.4 | n |  | TRUE
51 | bus_LV_2044-4_1_4_node_126 | 0.4 | n |  | TRUE
52 | bus_LV_2044-4_1_4_node_128 | 0.4 | n |  | TRUE
53 | bus_LV_2044-4_1_4_node_129 | 0.4 | n |  | TRUE
54 | bus_LV_2044-4_1_4_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_2044-4_1_4_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_2044-4_1_4_node_85 | 0.4 | n |  | TRUE
57 | bus_LV_2044-4_1_4_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_2044-4_1_4_node_92 | 0.4 | n |  | TRUE
59 | bus_LV_2044-4_1_4_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_2044-4_1_4_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_2044-4_1_4_node_94 | 0.4 | n |  | TRUE
62 | bus_LV_2044-4_1_4_node_90 | 0.4 | n |  | TRUE
63 | bus_LV_2044-4_1_4_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_2044-4_1_4_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_2044-4_1_4_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_2044-4_1_4_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_2044-4_1_4_node_95 | 0.4 | n |  | TRUE
68 | bus_MV_0_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2044-4_1_4_load_59 | 0 | 0.00013143 | 3.2939e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2044-4_1_4_load_60 | 1 | 0.00044698 | 0.00011202 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2044-4_1_4_load_61 | 2 | 0.00024292 | 6.0881e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2044-4_1_4_load_71 | 5 | 0.00010826 | 2.7133e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2044-4_1_4_load_62 | 6 | 0.00024589 | 6.1626e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2044-4_1_4_load_67 | 8 | 0.00024522 | 6.1459e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2044-4_1_4_load_64 | 9 | 0.0010046 | 0.00025179 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2044-4_1_4_load_65 | 10 | 0.00033185 | 8.317e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2044-4_1_4_load_66 | 11 | 0.00072987 | 0.00018292 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2044-4_1_4_load_68 | 12 | 0.00018613 | 4.6648e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2044-4_1_4_load_132 | 13 | 0.00011329 | 2.8392e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2044-4_1_4_load_69 | 14 | 0.00048067 | 0.00012047 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2044-4_1_4_load_117 | 15 | 0.0024775 | 0.00062091 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2044-4_1_4_load_120 | 16 | 0.00033429 | 8.3781e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2044-4_1_4_load_115 | 18 | 0.00053228 | 0.0001334 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2044-4_1_4_load_76 | 19 | 0.00018775 | 4.7055e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2044-4_1_4_load_74 | 20 | 0.00020944 | 5.249e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2044-4_1_4_load_79 | 21 | 0.0017665 | 0.00044272 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2044-4_1_4_load_80 | 22 | 0.00076498 | 0.00019172 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2044-4_1_4_load_78 | 23 | 0.00040136 | 0.00010059 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2044-4_1_4_load_99 | 24 | 0.00032852 | 8.2335e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2044-4_1_4_load_97 | 26 | 0.0004293 | 0.00010759 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2044-4_1_4_load_81 | 27 | 0.00018274 | 4.5798e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2044-4_1_4_load_96 | 28 | 0.0018871 | 0.00047295 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2044-4_1_4_load_100 | 30 | 0.00057158 | 0.00014325 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2044-4_1_4_load_101 | 31 | 0.00017954 | 4.4998e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2044-4_1_4_load_102 | 32 | 0.0026852 | 0.00067297 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2044-4_1_4_load_103 | 33 | 0.000997 | 0.00024987 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2044-4_1_4_load_104 | 34 | 0.0010384 | 0.00026025 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2044-4_1_4_load_105 | 35 | 0.0033446 | 0.00083823 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2044-4_1_4_load_106 | 36 | 0.0010278 | 0.00025759 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2044-4_1_4_load_107 | 37 | 0.0037124 | 0.00093041 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2044-4_1_4_load_108 | 38 | 0.0057124 | 0.0014317 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2044-4_1_4_load_109 | 39 | 0.0051212 | 0.0012835 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2044-4_1_4_load_110 | 40 | 0.0038343 | 0.00096097 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2044-4_1_4_load_112 | 42 | 0.0029505 | 0.00073947 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2044-4_1_4_load_113 | 43 | 0.0014806 | 0.00037107 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2044-4_1_4_load_118 | 44 | 0.00045163 | 0.00011319 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2044-4_1_4_load_119 | 45 | 7.0916e-05 | 1.7773e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2044-4_1_4_load_122 | 47 | 0.0010825 | 0.0002713 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2044-4_1_4_load_123 | 48 | 8.8929e-05 | 2.2288e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2044-4_1_4_load_125 | 50 | 0.0022611 | 0.00056667 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2044-4_1_4_load_126 | 51 | 0.00046607 | 0.00011681 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2044-4_1_4_load_128 | 52 | 0.00027773 | 6.9606e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2044-4_1_4_load_129 | 53 | 0.00022115 | 5.5424e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2044-4_1_4_load_82 | 54 | 0.00082667 | 0.00020718 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2044-4_1_4_load_85 | 56 | 0.00025739 | 6.4508e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2044-4_1_4_load_92 | 58 | 0.00059891 | 0.0001501 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2044-4_1_4_load_91 | 59 | 0.00085742 | 0.00021489 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2044-4_1_4_load_86 | 60 | 0.00023673 | 5.9331e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2044-4_1_4_load_94 | 61 | 0.00010598 | 2.656e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2044-4_1_4_load_90 | 62 | 0.00029759 | 7.4583e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2044-4_1_4_load_88 | 64 | 0.001113 | 0.00027894 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2044-4_1_4_load_89 | 65 | 0.00045793 | 0.00011477 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2044-4_1_4_load_93 | 66 | 0.00053852 | 0.00013496 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2044-4_1_4_load_95 | 67 | 0.00097772 | 0.00024504 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2044-4_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.14924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2044-4_1_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0090748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2044-4_1_4_line_2 | NAYY 4x150 SE | 2 | 6 | 0.019778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2044-4_1_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.047507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2044-4_1_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.19385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2044-4_1_4_line_5 | NAYY 4x150 SE | 4 | 27 | 0.037886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2044-4_1_4_line_6 | NAYY 4x150 SE | 4 | 23 | 0.04019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2044-4_1_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.024191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2044-4_1_4_line_8 | NAYY 4x150 SE | 6 | 7 | 0.046768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2044-4_1_4_line_9 | NAYY 4x150 SE | 7 | 8 | 0.04351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2044-4_1_4_line_10 | NAYY 4x150 SE | 7 | 9 | 0.023811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2044-4_1_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.006444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2044-4_1_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.04394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2044-4_1_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.023357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2044-4_1_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.47072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_2044-4_1_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.12399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2044-4_1_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.34897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_2044-4_1_4_line_17 | NAYY 4x150 SE | 13 | 16 | 0.35542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_2044-4_1_4_line_18 | NAYY 4x150 SE | 14 | 17 | 0.069543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2044-4_1_4_line_19 | NAYY 4x150 SE | 15 | 18 | 0.16817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_2044-4_1_4_line_20 | NAYY 4x150 SE | 16 | 44 | 0.031078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_2044-4_1_4_line_21 | NAYY 4x150 SE | 17 | 19 | 0.015049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2044-4_1_4_line_22 | NAYY 4x150 SE | 17 | 20 | 0.0034988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2044-4_1_4_line_23 | NAYY 4x150 SE | 18 | 25 | 0.040091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_2044-4_1_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.041547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2044-4_1_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.053621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2044-4_1_4_line_26 | NAYY 4x150 SE | 22 | 54 | 0.029235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2044-4_1_4_line_27 | NAYY 4x150 SE | 24 | 25 | 0.030843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_2044-4_1_4_line_28 | NAYY 4x150 SE | 24 | 26 | 0.049951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_2044-4_1_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.034425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_2044-4_1_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0049861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_2044-4_1_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.093988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_2044-4_1_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.015446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_2044-4_1_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0029907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_2044-4_1_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.024407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_2044-4_1_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0058934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_2044-4_1_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.01143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_2044-4_1_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.01526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_2044-4_1_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.020007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_2044-4_1_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.01054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2044-4_1_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.023001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2044-4_1_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.034875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2044-4_1_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.004822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2044-4_1_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.01994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2044-4_1_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0050612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2044-4_1_4_line_45 | NAYY 4x150 SE | 44 | 45 | 0.0049721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_2044-4_1_4_line_46 | NAYY 4x150 SE | 45 | 46 | 0.13439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_2044-4_1_4_line_47 | NAYY 4x150 SE | 46 | 49 | 0.054995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2044-4_1_4_line_48 | NAYY 4x150 SE | 47 | 48 | 0.053172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2044-4_1_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.026668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2044-4_1_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.022919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2044-4_1_4_line_51 | NAYY 4x150 SE | 49 | 51 | 0.046407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2044-4_1_4_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0093747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2044-4_1_4_line_53 | NAYY 4x150 SE | 52 | 53 | 0.10902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2044-4_1_4_line_54 | NAYY 4x150 SE | 54 | 55 | 0.014431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2044-4_1_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.027295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2044-4_1_4_line_56 | NAYY 4x150 SE | 56 | 60 | 0.0033191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2044-4_1_4_line_57 | NAYY 4x150 SE | 57 | 58 | 0.0052137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2044-4_1_4_line_58 | NAYY 4x150 SE | 57 | 59 | 0.050629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2044-4_1_4_line_59 | NAYY 4x150 SE | 58 | 61 | 0.014197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2044-4_1_4_line_60 | NAYY 4x150 SE | 59 | 62 | 0.0047009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2044-4_1_4_line_61 | NAYY 4x150 SE | 60 | 63 | 0.031134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2044-4_1_4_line_62 | NAYY 4x150 SE | 61 | 66 | 0.0015939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2044-4_1_4_line_63 | NAYY 4x150 SE | 62 | 65 | 0.0047334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2044-4_1_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.013283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2044-4_1_4_line_65 | NAYY 4x150 SE | 63 | 65 | 0.036515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2044-4_1_4_line_66 | NAYY 4x150 SE | 66 | 67 | 0.023241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2044-4_1_4_trafo_127 | 0.25 MVA 20/0.4 kV | 68 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2555298.0404 | 1178833.0357 | 2555410.9953 | 1178930.5759
1 | 2555417.8636 | 1178936.507 | 2555410.9953 | 1178930.5759
2 | 2555417.8636 | 1178936.507 | 2555432.8327 | 1178949.4333
3 | 2555561.4691 | 1178744.9914 | 2555564.5346 | 1178743.1788 | 2555574.2516 | 1178740.961 | 2555590.1148 | 1178739.209 | 2555602.4193 | 1178739.729 | 2555607.8519 | 1178741.8565
4 | 2555561.4691 | 1178744.9914 | 2555517.4907 | 1178933.7896
5 | 2555607.8519 | 1178741.8565 | 2555616.8338 | 1178705.0501
6 | 2555607.8519 | 1178741.8565 | 2555615.5963 | 1178745.6011 | 2555641.2586 | 1178764.0194
7 | 2555498.8607 | 1178949.1647 | 2555508.8209 | 1178940.0984 | 2555517.4907 | 1178933.7896
8 | 2555468.2294 | 1178979.9996 | 2555432.8327 | 1178949.4333
9 | 2555468.2294 | 1178979.9996 | 2555480.7526 | 1178967.8888 | 2555484.7157 | 1178963.5125 | 2555490.6086 | 1178956.6761 | 2555498.8607 | 1178949.1647
10 | 2555468.2294 | 1178979.9996 | 2555453.9853 | 1178999.0803
11 | 2555453.9853 | 1178999.0803 | 2555450.1304 | 1179004.2441
12 | 2555451.4826 | 1179043.0866 | 2555442.339 | 1179030.3638 | 2555441.9605 | 1179019.5608 | 2555446.5727 | 1179009.0097 | 2555450.1304 | 1179004.2441
13 | 2555451.4826 | 1179043.0866 | 2555465.1135 | 1179062.0532
14 | 2555451.4826 | 1179043.0866 | 2555061.6418 | 1179306.904
15 | 2555465.1135 | 1179062.0532 | 2555482.0107 | 1179085.5647 | 2555506.545 | 1179113.7196 | 2555549.0014 | 1179149.0451 | 2555551.0063 | 1179150.4767
16 | 2554846.2154 | 1179581.4405 | 2555061.6418 | 1179306.904
17 | 2555169.5057 | 1179645.5656 | 2555061.6418 | 1179306.904
18 | 2555607.6023 | 1179190.888 | 2555551.0063 | 1179150.4767
19 | 2554957.5364 | 1179707.4951 | 2554846.2154 | 1179581.4405
20 | 2555169.5057 | 1179645.5656 | 2555193.9467 | 1179664.7607
21 | 2555607.6023 | 1179190.888 | 2555614.3808 | 1179177.4521
22 | 2555607.6023 | 1179190.888 | 2555607.6866 | 1179194.3858
23 | 2554978.1846 | 1179741.6096 | 2554966.5373 | 1179718.5404 | 2554957.5364 | 1179707.4951
24 | 2555686.2767 | 1178792.9755 | 2555693.2056 | 1178796.253 | 2555704.8115 | 1178799.4355 | 2555713.2014 | 1178798.5507 | 2555724.9591 | 1178794.3836 | 2555725.8851 | 1178794.2374
25 | 2555641.2586 | 1178764.0194 | 2555642.1496 | 1178764.6588 | 2555677.8871 | 1178789.007 | 2555686.2767 | 1178792.9755
26 | 2555725.8851 | 1178794.2374 | 2555750.7448 | 1178790.3129 | 2555754.7977 | 1178789.9676
27 | 2554978.1846 | 1179741.6096 | 2554977.4138 | 1179748.797 | 2554979.2639 | 1179764.2247 | 2554980.9966 | 1179772.1127
28 | 2554993.2093 | 1179820.5153 | 2554987.0948 | 1179799.8739 | 2554980.9966 | 1179772.1127
29 | 2554993.2093 | 1179820.5153 | 2554993.5219 | 1179821.5705 | 2555001.7054 | 1179837.1062 | 2555011.1379 | 1179849.7378
30 | 2555014.1212 | 1179853.7329 | 2555011.1379 | 1179849.7378
31 | 2555014.1212 | 1179853.7329 | 2555068.6562 | 1179930.2816
32 | 2555068.6562 | 1179930.2816 | 2555071.9683 | 1179934.9307 | 2555078.6783 | 1179941.9882
33 | 2555078.6783 | 1179941.9882 | 2555080.739 | 1179944.1556
34 | 2555080.739 | 1179944.1556 | 2555097.5563 | 1179961.8438
35 | 2555101.6171 | 1179966.1149 | 2555097.5563 | 1179961.8438
36 | 2555101.6171 | 1179966.1149 | 2555109.4927 | 1179974.3983
37 | 2555109.4927 | 1179974.3983 | 2555120.0078 | 1179985.4579
38 | 2555120.0078 | 1179985.4579 | 2555120.3283 | 1179985.7951 | 2555132.9746 | 1180000.693
39 | 2555132.9746 | 1180000.693 | 2555139.7954 | 1180008.7281
40 | 2555139.7954 | 1180008.7281 | 2555139.7954 | 1180008.7281 | 2555153.4825 | 1180027.2133
41 | 2555176.9994 | 1180052.7153 | 2555170.0408 | 1180047.0219 | 2555162.6753 | 1180039.6287 | 2555153.4825 | 1180027.2133
42 | 2555180.7315 | 1180055.7687 | 2555176.9994 | 1180052.7153
43 | 2555180.7315 | 1180055.7687 | 2555185.4 | 1180049.8417 | 2555190.482 | 1180042.0105 | 2555191.7537 | 1180039.2277
44 | 2555191.7537 | 1180039.2277 | 2555193.8573 | 1180034.6244
45 | 2555193.9467 | 1179664.7607 | 2555197.1842 | 1179667.3033 | 2555197.7319 | 1179667.9606
46 | 2555197.7319 | 1179667.9606 | 2555331.2668 | 1179683.1203
47 | 2555331.2668 | 1179683.1203 | 2555340.6721 | 1179701.7712 | 2555360.2648 | 1179726.1825 | 2555362.046 | 1179728.4037
48 | 2555413.9713 | 1179669.0219 | 2555387.6392 | 1179689.8921 | 2555376.8065 | 1179706.1927
49 | 2555362.046 | 1179728.4037 | 2555376.8065 | 1179706.1927
50 | 2555435.1606 | 1179661.1447 | 2555422.4775 | 1179663.8963 | 2555414.8259 | 1179668.3446 | 2555413.9713 | 1179669.0219
51 | 2555362.046 | 1179728.4037 | 2555376.3184 | 1179745.1729 | 2555384.6131 | 1179753.2154 | 2555394.2597 | 1179761.679
52 | 2555394.2597 | 1179761.679 | 2555401.3066 | 1179767.8618
53 | 2555491.0338 | 1179747.5863 | 2555479.0333 | 1179745.5523 | 2555467.8425 | 1179745.5689 | 2555460.5178 | 1179748.7807 | 2555448.809 | 1179764.3652 | 2555438.8463 | 1179775.4231 | 2555434.3206 | 1179778.0249 | 2555429.5043 | 1179780.5732 | 2555423.7525 | 1179781.6278 | 2555418.5025 | 1179780.3218 | 2555410.2564 | 1179775.7141 | 2555401.3066 | 1179767.8618
54 | 2555769.1763 | 1178788.7425 | 2555754.7977 | 1178789.9676
55 | 2555769.1763 | 1178788.7425 | 2555786.8191 | 1178791.0689 | 2555795.32 | 1178795.3095
56 | 2555798.2901 | 1178796.7911 | 2555795.32 | 1178795.3095
57 | 2555797.3286 | 1178735.8394 | 2555799.7505 | 1178731.2224
58 | 2555797.3286 | 1178735.8394 | 2555826.6881 | 1178751.153 | 2555832.1599 | 1178756.5266 | 2555834.4801 | 1178766.0959
59 | 2555799.7505 | 1178731.2224 | 2555802.6325 | 1178725.7281 | 2555802.5734 | 1178717.7354
60 | 2555834.4801 | 1178766.0959 | 2555835.5878 | 1178770.6644 | 2555835.5878 | 1178770.6644
61 | 2555826.15 | 1178810.6889 | 2555798.2901 | 1178796.7911
62 | 2555802.5616 | 1178716.1416 | 2555802.5734 | 1178717.7354
63 | 2555834.8424 | 1178775.3388 | 2555835.5878 | 1178770.6644
64 | 2555826.15 | 1178810.6889 | 2555837.879 | 1178816.9225
65 | 2555826.15 | 1178810.6889 | 2555832.1267 | 1178792.3683 | 2555834.8424 | 1178775.3388
66 | 2555802.3899 | 1178692.9012 | 2555802.5616 | 1178716.1416

## bus_geodata
| x | y | coords
0 | 2555298.0404 | 1178833.0357
1 | 2555410.9953 | 1178930.5759
2 | 2555417.8636 | 1178936.507
3 | 2555561.4691 | 1178744.9914
4 | 2555607.8519 | 1178741.8565
5 | 2555517.4907 | 1178933.7896
6 | 2555432.8327 | 1178949.4333
7 | 2555468.2294 | 1178979.9996
8 | 2555498.8607 | 1178949.1647
9 | 2555453.9853 | 1178999.0803
10 | 2555450.1304 | 1179004.2441
11 | 2555451.4826 | 1179043.0866
12 | 2555465.1135 | 1179062.0532
13 | 2555061.6418 | 1179306.904
14 | 2555551.0063 | 1179150.4767
15 | 2554846.2154 | 1179581.4405
16 | 2555169.5057 | 1179645.5656
17 | 2555607.6023 | 1179190.888
18 | 2554957.5364 | 1179707.4951
19 | 2555614.3808 | 1179177.4521
20 | 2555607.6866 | 1179194.3858
21 | 2555686.2767 | 1178792.9755
22 | 2555725.8851 | 1178794.2374
23 | 2555641.2586 | 1178764.0194
24 | 2554980.9966 | 1179772.1127
25 | 2554978.1846 | 1179741.6096
26 | 2554993.2093 | 1179820.5153
27 | 2555616.8338 | 1178705.0501
28 | 2555011.1379 | 1179849.7378
29 | 2555014.1212 | 1179853.7329
30 | 2555068.6562 | 1179930.2816
31 | 2555078.6783 | 1179941.9882
32 | 2555080.739 | 1179944.1556
33 | 2555097.5563 | 1179961.8438
34 | 2555101.6171 | 1179966.1149
35 | 2555109.4927 | 1179974.3983
36 | 2555120.0078 | 1179985.4579
37 | 2555132.9746 | 1180000.693
38 | 2555139.7954 | 1180008.7281
39 | 2555153.4825 | 1180027.2133
40 | 2555176.9994 | 1180052.7153
41 | 2555180.7315 | 1180055.7687
42 | 2555191.7537 | 1180039.2277
43 | 2555193.8573 | 1180034.6244
44 | 2555193.9467 | 1179664.7607
45 | 2555197.7319 | 1179667.9606
46 | 2555331.2668 | 1179683.1203
47 | 2555376.8065 | 1179706.1927
48 | 2555413.9713 | 1179669.0219
49 | 2555362.046 | 1179728.4037
50 | 2555435.1606 | 1179661.1447
51 | 2555394.2597 | 1179761.679
52 | 2555401.3066 | 1179767.8618
53 | 2555491.0338 | 1179747.5863
54 | 2555754.7977 | 1178789.9676
55 | 2555769.1763 | 1178788.7425
56 | 2555795.32 | 1178795.3095
57 | 2555797.3286 | 1178735.8394
58 | 2555799.7505 | 1178731.2224
59 | 2555834.4801 | 1178766.0959
60 | 2555798.2901 | 1178796.7911
61 | 2555802.5734 | 1178717.7354
62 | 2555835.5878 | 1178770.6644
63 | 2555826.15 | 1178810.6889
64 | 2555837.879 | 1178816.9225
65 | 2555834.8424 | 1178775.3388
66 | 2555802.5616 | 1178716.1416
67 | 2555802.3899 | 1178692.9012
68 | 2555331.2668 | 1179683.1203

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98031 | -0.13846 | 0.00013143 | 3.2939e-05
1 | 0.98034 | -0.13825 | 0.00044698 | 0.00011202
2 | 0.98035 | -0.13819 | 0.00024292 | 6.0881e-05
3 | 0.97683 | -0.16341 | 0 | 0
4 | 0.97618 | -0.1681 | 0 | 0
5 | 0.97949 | -0.14433 | 0.00010826 | 2.7133e-05
6 | 0.98037 | -0.13802 | 0.00024589 | 6.1626e-05
7 | 0.98045 | -0.13749 | 0 | 0
8 | 0.97983 | -0.14192 | 0.00024522 | 6.1459e-05
9 | 0.98082 | -0.1348 | 0.0010046 | 0.00025179
10 | 0.98093 | -0.134 | 0.00033185 | 8.317e-05
11 | 0.98171 | -0.12843 | 0.00072987 | 0.00018292
12 | 0.98168 | -0.12869 | 0.00018613 | 4.6648e-05
13 | 0.9865 | -0.094236 | 0.00011329 | 2.8392e-05
14 | 0.98152 | -0.12984 | 0.00048067 | 0.00012047
15 | 0.97996 | -0.14048 | 0.0024775 | 0.00062091
16 | 0.99558 | -0.030587 | 0.00033429 | 8.3781e-05
17 | 0.98148 | -0.13013 | 0 | 0
18 | 0.97702 | -0.1615 | 0.00053228 | 0.0001334
19 | 0.98147 | -0.13016 | 0.00018775 | 4.7055e-05
20 | 0.98148 | -0.13014 | 0.00020944 | 5.249e-05
21 | 0.97495 | -0.17695 | 0.0017665 | 0.00044272
22 | 0.97452 | -0.18003 | 0.00076498 | 0.00019172
23 | 0.97564 | -0.17199 | 0.00040136 | 0.00010059
24 | 0.97579 | -0.17026 | 0.00032852 | 8.2335e-05
25 | 0.97633 | -0.16645 | 0 | 0
26 | 0.97494 | -0.17638 | 0.0004293 | 0.00010759
27 | 0.97617 | -0.16817 | 0.00018274 | 4.5798e-05
28 | 0.97436 | -0.18055 | 0.0018871 | 0.00047295
29 | 0.97428 | -0.18112 | 0 | 0
30 | 0.97278 | -0.19191 | 0.00057158 | 0.00014325
31 | 0.97253 | -0.19366 | 0.00017954 | 4.4998e-05
32 | 0.97249 | -0.19399 | 0.0026852 | 0.00067297
33 | 0.97214 | -0.19651 | 0.000997 | 0.00024987
34 | 0.97206 | -0.19709 | 0.0010384 | 0.00026025
35 | 0.9719 | -0.19819 | 0.0033446 | 0.00083823
36 | 0.97173 | -0.19947 | 0.0010278 | 0.00025759
37 | 0.97139 | -0.20188 | 0.0037124 | 0.00093041
38 | 0.9711 | -0.20401 | 0.0057124 | 0.0014317
39 | 0.97064 | -0.20728 | 0.0051212 | 0.0012835
40 | 0.97022 | -0.21033 | 0.0038343 | 0.00096097
41 | 0.97019 | -0.21056 | 0 | 0
42 | 0.97006 | -0.2115 | 0.0029505 | 0.00073947
43 | 0.97005 | -0.21158 | 0.0014806 | 0.00037107
44 | 0.99638 | -0.025036 | 0.00045163 | 0.00011319
45 | 0.99651 | -0.024141 | 7.0916e-05 | 1.7773e-05
46 | 1 | 0 | -0.059816 | -0.014893
47 | 0.99952 | -0.003347 | 0.0010825 | 0.0002713
48 | 0.99935 | -0.004598 | 8.8929e-05 | 2.2288e-05
49 | 0.99966 | -0.0024303 | 0 | 0
50 | 0.99927 | -0.0051162 | 0.0022611 | 0.00056667
51 | 0.99959 | -0.002884 | 0.00046607 | 0.00011681
52 | 0.99958 | -0.0029317 | 0.00027773 | 6.9606e-05
53 | 0.99955 | -0.0031784 | 0.00022115 | 5.5424e-05
54 | 0.97425 | -0.18197 | 0.00082667 | 0.00020718
55 | 0.97414 | -0.1828 | 0 | 0
56 | 0.97392 | -0.18436 | 0.00025739 | 6.4508e-05
57 | 0.97325 | -0.18916 | 0 | 0
58 | 0.97324 | -0.18928 | 0.00059891 | 0.0001501
59 | 0.97342 | -0.18797 | 0.00085742 | 0.00021489
60 | 0.97389 | -0.18455 | 0.00023673 | 5.9331e-05
61 | 0.9732 | -0.18953 | 0.00010598 | 2.656e-05
62 | 0.97344 | -0.18782 | 0.00029759 | 7.4583e-05
63 | 0.97367 | -0.18617 | 0 | 0
64 | 0.97365 | -0.18633 | 0.001113 | 0.00027894
65 | 0.97346 | -0.18765 | 0.00045793 | 0.00011477
66 | 0.9732 | -0.18955 | 0.00053852 | 0.00013496
67 | 0.97317 | -0.18979 | 0.00097772 | 0.00024504
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00013143 | -3.2939e-05 | 0.00013143 | 3.1058e-05 | 3.6938e-09 | -1.8802e-06 | 0.00019949 | 0.00019884 | 0.00019949 | 0.98031 | -0.13846 | 0.98034 | -0.13825 | 0.073886
1 | -0.00057841 | -0.00014308 | 0.00057841 | 0.00014297 | 4.3578e-09 | -1.1275e-07 | 0.00087727 | 0.00087723 | 0.00087727 | 0.98034 | -0.13825 | 0.98035 | -0.13819 | 0.32491
2 | -0.00082133 | -0.00020385 | 0.00082135 | 0.00020361 | 1.9157e-08 | -2.4201e-07 | 0.0012459 | 0.0012458 | 0.0012459 | 0.98035 | -0.13819 | 0.98037 | -0.13802 | 0.46146
3 | 0.0094096 | 0.0023558 | -0.0094036 | -0.0023541 | 6.09e-06 | 1.748e-06 | 0.014333 | 0.014333 | 0.014333 | 0.97683 | -0.16341 | 0.97618 | -0.1681 | 5.3086
4 | -0.0094096 | -0.0023558 | 0.0094345 | 0.0023629 | 2.4849e-05 | 7.1238e-06 | 0.014333 | 0.014332 | 0.014333 | 0.97683 | -0.16341 | 0.97949 | -0.14433 | 5.3085
5 | 0.00018274 | 4.5325e-05 | -0.00018274 | -4.5798e-05 | 1.8333e-09 | -4.7293e-07 | 0.00027839 | 0.00027855 | 0.00027855 | 0.97618 | -0.1681 | 0.97617 | -0.16817 | 0.10317
6 | 0.0092208 | 0.0023087 | -0.0092159 | -0.0023073 | 4.954e-06 | 1.4032e-06 | 0.014055 | 0.014055 | 0.014055 | 0.97618 | -0.1681 | 0.97564 | -0.17199 | 5.2055
7 | -0.0095428 | -0.0023901 | 0.0095459 | 0.002391 | 3.1722e-06 | 9.1549e-07 | 0.014497 | 0.014496 | 0.014497 | 0.97949 | -0.14433 | 0.97983 | -0.14192 | 5.3691
8 | -0.0010672 | -0.00026523 | 0.0010673 | 0.00026467 | 7.6489e-08 | -5.6034e-07 | 0.0016191 | 0.0016189 | 0.0016191 | 0.98037 | -0.13802 | 0.98045 | -0.13749 | 0.59965
9 | 0.0097972 | 0.0024542 | -0.0097912 | -0.0024524 | 6.0023e-06 | 1.7602e-06 | 0.014869 | 0.014869 | 0.014869 | 0.98045 | -0.13749 | 0.97983 | -0.14192 | 5.507
10 | -0.010864 | -0.0027189 | 0.010869 | 0.0027201 | 4.039e-06 | 1.253e-06 | 0.016487 | 0.016487 | 0.016487 | 0.98045 | -0.13749 | 0.98082 | -0.1348 | 6.1065
11 | -0.011873 | -0.0029719 | 0.011874 | 0.0029723 | 1.3045e-06 | 4.2039e-07 | 0.018012 | 0.018012 | 0.018012 | 0.98082 | -0.1348 | 0.98093 | -0.134 | 6.6709
12 | -0.012206 | -0.0030555 | 0.012216 | 0.0030586 | 9.3989e-06 | 3.0599e-06 | 0.018515 | 0.018515 | 0.018515 | 0.98093 | -0.134 | 0.98171 | -0.12843 | 6.8574
13 | 0.0010642 | 0.00026376 | -0.0010641 | -0.00026404 | 3.7873e-08 | -2.8074e-07 | 0.001612 | 0.0016121 | 0.0016121 | 0.98171 | -0.12843 | 0.98168 | -0.12869 | 0.59706
14 | -0.01401 | -0.0035052 | 0.014076 | 0.0035187 | 6.6199e-05 | 1.35e-05 | 0.021233 | 0.021229 | 0.021233 | 0.98171 | -0.12843 | 0.9865 | -0.094236 | 3.932
15 | 0.00087801 | 0.00021739 | -0.00087787 | -0.0002189 | 1.3691e-07 | -1.5147e-06 | 0.0013299 | 0.0013305 | 0.0013305 | 0.98168 | -0.12869 | 0.98152 | -0.12984 | 0.49277
16 | 0.038863 | 0.0097805 | -0.038614 | -0.0096978 | 0.00024957 | 8.2712e-05 | 0.058635 | 0.05864 | 0.05864 | 0.9865 | -0.094236 | 0.97996 | -0.14048 | 7.2395
17 | -0.053052 | -0.013328 | 0.053526 | 0.013496 | 0.00047352 | 0.00016838 | 0.080035 | 0.08003 | 0.080035 | 0.9865 | -0.094236 | 0.99558 | -0.030587 | 9.8808
18 | 0.0003972 | 9.8438e-05 | -0.00039719 | -9.9311e-05 | 1.5723e-08 | -8.7286e-07 | 0.00060178 | 0.00060209 | 0.00060209 | 0.98152 | -0.12984 | 0.98148 | -0.13013 | 0.223
19 | 0.036136 | 0.0090769 | -0.036031 | -0.0090427 | 0.00010535 | 3.4182e-05 | 0.054878 | 0.05488 | 0.05488 | 0.97996 | -0.14048 | 0.97702 | -0.1615 | 6.7753
20 | -0.05386 | -0.01358 | 0.053902 | 0.013595 | 4.1919e-05 | 1.491e-05 | 0.080529 | 0.080529 | 0.080529 | 0.99558 | -0.030587 | 0.99638 | -0.025036 | 9.9419
21 | 0.00018775 | 4.6865e-05 | -0.00018775 | -4.7055e-05 | 7.607e-10 | -1.8989e-07 | 0.00028458 | 0.00028465 | 0.00028465 | 0.98148 | -0.13013 | 0.98147 | -0.13016 | 0.10543
22 | 0.00020944 | 5.2446e-05 | -0.00020944 | -5.249e-05 | 2.2013e-10 | -4.4132e-08 | 0.00031751 | 0.00031753 | 0.00031753 | 0.98148 | -0.13013 | 0.98148 | -0.13014 | 0.1176
23 | 0.035499 | 0.0089093 | -0.035474 | -0.0089014 | 2.4379e-05 | 7.8715e-06 | 0.054069 | 0.05407 | 0.05407 | 0.97702 | -0.1615 | 0.97633 | -0.16645 | 6.6753
24 | 0.007042 | 0.0017624 | -0.007039 | -0.0017617 | 2.9944e-06 | 6.3381e-07 | 0.010747 | 0.010747 | 0.010747 | 0.97495 | -0.17695 | 0.97452 | -0.18003 | 3.9804
25 | -0.0088085 | -0.0022051 | 0.0088145 | 0.0022067 | 6.0466e-06 | 1.6565e-06 | 0.013443 | 0.013443 | 0.013443 | 0.97495 | -0.17695 | 0.97564 | -0.17199 | 4.9789
26 | 0.006274 | 0.00157 | -0.0062723 | -0.0015697 | 1.674e-06 | 2.7968e-07 | 0.0095791 | 0.0095792 | 0.0095792 | 0.97452 | -0.18003 | 0.97425 | -0.18197 | 3.5479
27 | -0.035455 | -0.0088954 | 0.035474 | 0.0089014 | 1.8756e-05 | 6.0573e-06 | 0.05407 | 0.05407 | 0.05407 | 0.97579 | -0.17026 | 0.97633 | -0.16645 | 6.6754
28 | 0.035127 | 0.008813 | -0.035097 | -0.0088034 | 2.9816e-05 | 9.5973e-06 | 0.053569 | 0.05357 | 0.05357 | 0.97579 | -0.17026 | 0.97494 | -0.17638 | 6.6136
29 | 0.034668 | 0.0086958 | -0.034648 | -0.0086894 | 2.0049e-05 | 6.4241e-06 | 0.052915 | 0.052915 | 0.052915 | 0.97494 | -0.17638 | 0.97436 | -0.18055 | 6.5328
30 | 0.032761 | 0.0082165 | -0.032758 | -0.0082157 | 2.5962e-06 | 8.1226e-07 | 0.050033 | 0.050033 | 0.050033 | 0.97436 | -0.18055 | 0.97428 | -0.18112 | 6.177
31 | 0.032758 | 0.0082157 | -0.032709 | -0.0082003 | 4.894e-05 | 1.5317e-05 | 0.050033 | 0.050035 | 0.050035 | 0.97428 | -0.18112 | 0.97278 | -0.19191 | 6.1771
32 | 0.032137 | 0.0080571 | -0.03213 | -0.0080547 | 7.7647e-06 | 2.4113e-06 | 0.04916 | 0.049161 | 0.049161 | 0.97278 | -0.19191 | 0.97253 | -0.19366 | 6.0692
33 | 0.03195 | 0.0080097 | -0.031949 | -0.0080092 | 1.4866e-06 | 4.6046e-07 | 0.048886 | 0.048886 | 0.048886 | 0.97253 | -0.19366 | 0.97249 | -0.19399 | 6.0353
34 | 0.029264 | 0.0073363 | -0.029253 | -0.0073332 | 1.0179e-05 | 3.0068e-06 | 0.044777 | 0.044778 | 0.044778 | 0.97249 | -0.19399 | 0.97214 | -0.19651 | 5.5281
35 | 0.028256 | 0.0070834 | -0.028254 | -0.0070827 | 2.2931e-06 | 6.6279e-07 | 0.043252 | 0.043252 | 0.043252 | 0.97214 | -0.19651 | 0.97206 | -0.19709 | 5.3397
36 | 0.027216 | 0.0068225 | -0.027212 | -0.0068213 | 4.1265e-06 | 1.1621e-06 | 0.041662 | 0.041662 | 0.041662 | 0.97206 | -0.19709 | 0.9719 | -0.19819 | 5.1435
37 | 0.023867 | 0.0059831 | -0.023863 | -0.005982 | 4.2385e-06 | 1.0629e-06 | 0.036542 | 0.036542 | 0.036542 | 0.9719 | -0.19819 | 0.97173 | -0.19947 | 4.5113
38 | 0.022835 | 0.0057244 | -0.022827 | -0.005722 | 7.6326e-06 | 2.4401e-06 | 0.034968 | 0.034968 | 0.034968 | 0.97173 | -0.19947 | 0.97139 | -0.20188 | 6.4756
39 | 0.019115 | 0.0047916 | -0.019109 | -0.0047895 | 5.6389e-06 | 2.0384e-06 | 0.029281 | 0.029281 | 0.029281 | 0.97139 | -0.20188 | 0.9711 | -0.20401 | 10.8449
40 | 0.013397 | 0.0033579 | -0.013391 | -0.0033558 | 6.0483e-06 | 2.0418e-06 | 0.020528 | 0.020528 | 0.020528 | 0.9711 | -0.20401 | 0.97064 | -0.20728 | 7.6031
41 | 0.0082697 | 0.0020723 | -0.0082662 | -0.0020714 | 3.4976e-06 | 9.1436e-07 | 0.012677 | 0.012678 | 0.012678 | 0.97064 | -0.20728 | 0.97022 | -0.21033 | 4.6954
42 | 0.0044318 | 0.0011105 | -0.0044317 | -0.0011105 | 1.3901e-07 | -6.0826e-09 | 0.006797 | 0.006797 | 0.006797 | 0.97022 | -0.21033 | 0.97019 | -0.21056 | 2.5174
43 | 0.0044317 | 0.0011105 | -0.0044311 | -0.0011105 | 5.7484e-07 | -2.5108e-08 | 0.006797 | 0.0067971 | 0.0067971 | 0.97019 | -0.21056 | 0.97006 | -0.2115 | 2.5174
44 | 0.0014806 | 0.00037101 | -0.0014806 | -0.00037107 | 1.629e-08 | -5.6217e-08 | 0.0022711 | 0.0022711 | 0.0022711 | 0.97006 | -0.2115 | 0.97005 | -0.21158 | 0.84117
45 | -0.054354 | -0.013708 | 0.054361 | 0.01371 | 6.8195e-06 | 2.4286e-06 | 0.081203 | 0.081203 | 0.081203 | 0.99638 | -0.025036 | 0.99651 | -0.024141 | 10.0251
46 | -0.054432 | -0.013728 | 0.054616 | 0.013794 | 0.0001848 | 6.5807e-05 | 0.081309 | 0.081307 | 0.081309 | 0.99651 | -0.024141 | 1 | 0 | 10.0382
47 | 0.0044 | 0.0010989 | -0.0043985 | -0.001099 | 1.4705e-06 | -1.5567e-07 | 0.0065459 | 0.0065461 | 0.0065461 | 1 | 0 | 0.99966 | -0.0024303 | 2.4245
48 | 0.0023506 | 0.00058818 | -0.0023501 | -0.00058872 | 4.0624e-07 | -5.4054e-07 | 0.003499 | 0.0034992 | 0.0034992 | 0.99952 | -0.003347 | 0.99935 | -0.004598 | 1.296
49 | -0.0034331 | -0.00085949 | 0.0034335 | 0.0008593 | 4.3462e-07 | -1.8242e-07 | 0.0051106 | 0.0051104 | 0.0051106 | 0.99952 | -0.003347 | 0.99966 | -0.0024303 | 1.8928
50 | 0.0022612 | 0.00056644 | -0.0022611 | -0.00056667 | 1.6212e-07 | -2.3791e-07 | 0.0033668 | 0.0033669 | 0.0033669 | 0.99935 | -0.004598 | 0.99927 | -0.0051162 | 1.247
51 | 0.00096502 | 0.00023971 | -0.00096496 | -0.00024029 | 5.9699e-08 | -5.8541e-07 | 0.0014357 | 0.0014359 | 0.0014359 | 0.99966 | -0.0024303 | 0.99959 | -0.002884 | 0.53182
52 | 0.00049889 | 0.00012348 | -0.00049888 | -0.0001236 | 3.2219e-09 | -1.2165e-07 | 0.00074211 | 0.00074216 | 0.00074216 | 0.99959 | -0.002884 | 0.99958 | -0.0029317 | 0.27487
53 | 0.00022115 | 5.3998e-05 | -0.00022115 | -5.5424e-05 | 7.3617e-09 | -1.4261e-06 | 0.00032872 | 0.00032922 | 0.00032922 | 0.99958 | -0.0029317 | 0.99955 | -0.0031784 | 0.12193
54 | 0.0054457 | 0.0013626 | -0.005445 | -0.0013625 | 6.2283e-07 | 5.9874e-08 | 0.0083166 | 0.0083167 | 0.0083167 | 0.97425 | -0.18197 | 0.97414 | -0.1828 | 3.0802
55 | 0.005445 | 0.0013625 | -0.0054439 | -0.0013624 | 1.1781e-06 | 1.1338e-07 | 0.0083167 | 0.0083168 | 0.0083168 | 0.97414 | -0.1828 | 0.97392 | -0.18436 | 3.0803
56 | 0.0051865 | 0.0012979 | -0.0051864 | -0.0012979 | 1.3003e-07 | 8.7102e-09 | 0.0079235 | 0.0079235 | 0.0079235 | 0.97392 | -0.18436 | 0.97389 | -0.18455 | 2.9346
57 | 0.0022213 | 0.00055617 | -0.0022212 | -0.00055622 | 3.7518e-08 | -5.0359e-08 | 0.0033959 | 0.0033959 | 0.0033959 | 0.97325 | -0.18916 | 0.97324 | -0.18928 | 1.2578
58 | -0.0022213 | -0.00055617 | 0.0022216 | 0.00055568 | 3.6431e-07 | -4.8915e-07 | 0.0033959 | 0.0033957 | 0.0033959 | 0.97325 | -0.18916 | 0.97342 | -0.18797 | 1.2577
59 | 0.0016223 | 0.00040612 | -0.0016223 | -0.00040627 | 5.4498e-08 | -1.5545e-07 | 0.0024802 | 0.0024803 | 0.0024803 | 0.97324 | -0.18928 | 0.9732 | -0.18953 | 0.91863
60 | -0.003079 | -0.00077057 | 0.0030791 | 0.00077053 | 6.4973e-08 | -3.3449e-08 | 0.0047064 | 0.0047064 | 0.0047064 | 0.97342 | -0.18797 | 0.97344 | -0.18782 | 1.7431
61 | 0.0049496 | 0.0012385 | -0.0049485 | -0.0012385 | 1.1109e-06 | 3.9959e-08 | 0.0075618 | 0.007562 | 0.007562 | 0.97389 | -0.18455 | 0.97367 | -0.18617 | 2.8007
62 | 0.0015163 | 0.00037971 | -0.0015163 | -0.00037973 | 5.3451e-09 | -1.7749e-08 | 0.0023183 | 0.0023183 | 0.0023183 | 0.9732 | -0.18953 | 0.9732 | -0.18955 | 0.85862
63 | -0.0033767 | -0.00084512 | 0.0033768 | 0.00084509 | 7.8681e-08 | -2.8584e-08 | 0.0051613 | 0.0051612 | 0.0051613 | 0.97344 | -0.18782 | 0.97346 | -0.18765 | 1.9116
64 | 0.001113 | 0.00027879 | -0.001113 | -0.00027894 | 2.398e-08 | -1.5598e-07 | 0.0017009 | 0.001701 | 0.001701 | 0.97367 | -0.18617 | 0.97365 | -0.18633 | 0.63
65 | 0.0038355 | 0.0009597 | -0.0038347 | -0.00095986 | 7.8275e-07 | -1.5301e-07 | 0.0058611 | 0.0058612 | 0.0058612 | 0.97367 | -0.18617 | 0.97346 | -0.18765 | 2.1708
66 | 0.00097775 | 0.00024476 | -0.00097772 | -0.00024504 | 3.241e-08 | -2.7631e-07 | 0.0014949 | 0.001495 | 0.001495 | 0.9732 | -0.18955 | 0.97317 | -0.18979 | 0.5537

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.059816 | 0.014893

## res_load
| p_mw | q_mvar
0 | 0.00013143 | 3.2939e-05
1 | 0.00044698 | 0.00011202
2 | 0.00024292 | 6.0881e-05
3 | 0.00010826 | 2.7133e-05
4 | 0.00024589 | 6.1626e-05
5 | 0.00024522 | 6.1459e-05
6 | 0.0010046 | 0.00025179
7 | 0.00033185 | 8.317e-05
8 | 0.00072987 | 0.00018292
9 | 0.00018613 | 4.6648e-05
10 | 0.00011329 | 2.8392e-05
11 | 0.00048067 | 0.00012047
12 | 0.0024775 | 0.00062091
13 | 0.00033429 | 8.3781e-05
14 | 0.00053228 | 0.0001334
15 | 0.00018775 | 4.7055e-05
16 | 0.00020944 | 5.249e-05
17 | 0.0017665 | 0.00044272
18 | 0.00076498 | 0.00019172
19 | 0.00040136 | 0.00010059
20 | 0.00032852 | 8.2335e-05
21 | 0.0004293 | 0.00010759
22 | 0.00018274 | 4.5798e-05
23 | 0.0018871 | 0.00047295
24 | 0.00057158 | 0.00014325
25 | 0.00017954 | 4.4998e-05
26 | 0.0026852 | 0.00067297
27 | 0.000997 | 0.00024987
28 | 0.0010384 | 0.00026025
29 | 0.0033446 | 0.00083823
30 | 0.0010278 | 0.00025759
31 | 0.0037124 | 0.00093041
32 | 0.0057124 | 0.0014317
33 | 0.0051212 | 0.0012835
34 | 0.0038343 | 0.00096097
35 | 0.0029505 | 0.00073947
36 | 0.0014806 | 0.00037107
37 | 0.00045163 | 0.00011319
38 | 7.0916e-05 | 1.7773e-05
39 | 0.0010825 | 0.0002713
40 | 8.8929e-05 | 2.2288e-05
41 | 0.0022611 | 0.00056667
42 | 0.00046607 | 0.00011681
43 | 0.00027773 | 6.9606e-05
44 | 0.00022115 | 5.5424e-05
45 | 0.00082667 | 0.00020718
46 | 0.00025739 | 6.4508e-05
47 | 0.00059891 | 0.0001501
48 | 0.00085742 | 0.00021489
49 | 0.00023673 | 5.9331e-05
50 | 0.00010598 | 2.656e-05
51 | 0.00029759 | 7.4583e-05
52 | 0.001113 | 0.00027894
53 | 0.00045793 | 0.00011477
54 | 0.00053852 | 0.00013496
55 | 0.00097772 | 0.00024504

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1