## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2044-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2044-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2044-5_0_2_node_12 | 0.4 | n |  | TRUE
3 | bus_LV_2044-5_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2044-5_0_2_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_2044-5_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2044-5_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2044-5_0_2_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_2044-5_0_2_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_2044-5_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2044-5_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2044-5_0_2_node_142 | 0.4 | n |  | TRUE
12 | bus_LV_2044-5_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2044-5_0_2_node_143 | 0.4 | n |  | TRUE
14 | bus_LV_2044-5_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2044-5_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2044-5_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2044-5_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2044-5_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2044-5_0_2_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_2044-5_0_2_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_2044-5_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2044-5_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_2044-5_0_2_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_2044-5_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2044-5_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2044-5_0_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_2044-5_0_2_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_2044-5_0_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2044-5_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2044-5_0_2_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_2044-5_0_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_2044-5_0_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_2044-5_0_2_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2044-5_0_2_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2044-5_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2044-5_0_2_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2044-5_0_2_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2044-5_0_2_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_2044-5_0_2_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_2044-5_0_2_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_2044-5_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2044-5_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2044-5_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2044-5_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2044-5_0_2_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_2044-5_0_2_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2044-5_0_2_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_2044-5_0_2_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_2044-5_0_2_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_2044-5_0_2_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_2044-5_0_2_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2044-5_0_2_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_2044-5_0_2_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2044-5_0_2_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2044-5_0_2_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2044-5_0_2_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2044-5_0_2_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2044-5_0_2_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2044-5_0_2_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2044-5_0_2_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_2044-5_0_2_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_2044-5_0_2_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_2044-5_0_2_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_2044-5_0_2_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_2044-5_0_2_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_2044-5_0_2_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_2044-5_0_2_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_2044-5_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_2044-5_0_2_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_2044-5_0_2_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_2044-5_0_2_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_2044-5_0_2_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_2044-5_0_2_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_2044-5_0_2_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_2044-5_0_2_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_2044-5_0_2_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_2044-5_0_2_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_2044-5_0_2_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_2044-5_0_2_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_2044-5_0_2_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_2044-5_0_2_node_78 | 0.4 | n |  | TRUE
82 | bus_MV_478_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2044-5_0_2_load_0 | 0 | 0.00073495 | 0.00018419 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2044-5_0_2_load_1 | 1 | 0.00033008 | 8.2727e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2044-5_0_2_load_12 | 2 | 0.0020829 | 0.00052203 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2044-5_0_2_load_14 | 4 | 0.0010437 | 0.00026157 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2044-5_0_2_load_6 | 6 | 0.00054541 | 0.00013669 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2044-5_0_2_load_3 | 7 | 0.00053974 | 0.00013527 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2044-5_0_2_load_4 | 8 | 0.00029993 | 7.517e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2044-5_0_2_load_8 | 9 | 0.00083421 | 0.00020907 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2044-5_0_2_load_5 | 10 | 0.00043049 | 0.00010789 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2044-5_0_2_load_142 | 11 | 0.0013932 | 0.00034916 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2044-5_0_2_load_7 | 12 | 0.0014968 | 0.00037514 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2044-5_0_2_load_143 | 13 | 0.00099699 | 0.00024987 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2044-5_0_2_load_11 | 15 | 0.00036093 | 9.0457e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2044-5_0_2_load_13 | 16 | 0.00030851 | 7.732e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2044-5_0_2_load_18 | 17 | 0.00033798 | 8.4705e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2044-5_0_2_load_15 | 18 | 0.00034819 | 8.7265e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2044-5_0_2_load_20 | 19 | 0.0022488 | 0.0005636 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2044-5_0_2_load_27 | 20 | 0.0018492 | 0.00046347 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2044-5_0_2_load_19 | 21 | 0.0028928 | 0.000725 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2044-5_0_2_load_30 | 23 | 0.0020857 | 0.00052273 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2044-5_0_2_load_17 | 24 | 0.0038496 | 0.00096481 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2044-5_0_2_load_16 | 25 | 0.00037731 | 9.4562e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2044-5_0_2_load_25 | 26 | 0.001953 | 0.00048947 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2044-5_0_2_load_22 | 28 | 0.005237 | 0.0013125 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2044-5_0_2_load_32 | 31 | 0.0084316 | 0.0021132 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2044-5_0_2_load_37 | 32 | 0.0027855 | 0.0006981 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2044-5_0_2_load_33 | 33 | 0.0020848 | 0.0005225 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2044-5_0_2_load_24 | 34 | 0.002217 | 0.00055562 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2044-5_0_2_load_26 | 35 | 0.0010469 | 0.00026237 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2044-5_0_2_load_29 | 36 | 0.001776 | 0.0004451 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2044-5_0_2_load_31 | 37 | 0.0015089 | 0.00037816 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2044-5_0_2_load_57 | 39 | 0.0026731 | 0.00066995 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2044-5_0_2_load_34 | 41 | 0.0010364 | 0.00025975 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2044-5_0_2_load_38 | 43 | 0.00096716 | 0.00024239 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2044-5_0_2_load_39 | 44 | 0.00099922 | 0.00025043 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2044-5_0_2_load_79 | 45 | 0.0045948 | 0.0011516 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2044-5_0_2_load_40 | 46 | 0.0018863 | 0.00047274 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2044-5_0_2_load_41 | 47 | 0.0013938 | 0.00034931 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2044-5_0_2_load_80 | 48 | 0.0016735 | 0.00041941 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2044-5_0_2_load_42 | 49 | 0.002634 | 0.00066014 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2044-5_0_2_load_46 | 51 | 0.0015955 | 0.00039987 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2044-5_0_2_load_43 | 52 | 0.0020564 | 0.00051538 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2044-5_0_2_load_44 | 53 | 0.0017758 | 0.00044507 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2044-5_0_2_load_45 | 54 | 0.0019598 | 0.00049117 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2044-5_0_2_load_48 | 55 | 0.0013238 | 0.00033177 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2044-5_0_2_load_49 | 56 | 0.00080824 | 0.00020256 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2044-5_0_2_load_50 | 57 | 0.0023592 | 0.00059127 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2044-5_0_2_load_51 | 58 | 0.0025355 | 0.00063546 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2044-5_0_2_load_53 | 59 | 0.0010605 | 0.00026578 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2044-5_0_2_load_54 | 60 | 0.0051238 | 0.0012841 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2044-5_0_2_load_56 | 61 | 0.0032787 | 0.00082172 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2044-5_0_2_load_58 | 62 | 0.0034852 | 0.00087347 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2044-5_0_2_load_59 | 63 | 0.0027701 | 0.00069424 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2044-5_0_2_load_60 | 64 | 0.0032274 | 0.00080887 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2044-5_0_2_load_61 | 65 | 0.0027154 | 0.00068053 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2044-5_0_2_load_62 | 66 | 0.0015634 | 0.00039183 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2044-5_0_2_load_63 | 67 | 0.00091329 | 0.00022889 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2044-5_0_2_load_65 | 68 | 0.001287 | 0.00032256 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2044-5_0_2_load_66 | 69 | 0.0012152 | 0.00030456 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2044-5_0_2_load_64 | 70 | 0.00224 | 0.00056139 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2044-5_0_2_load_67 | 71 | 0.0030904 | 0.00077452 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2044-5_0_2_load_70 | 72 | 0.002108 | 0.00052832 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2044-5_0_2_load_71 | 73 | 0.0016479 | 0.00041301 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2044-5_0_2_load_75 | 74 | 0.00049052 | 0.00012294 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2044-5_0_2_load_76 | 75 | 0.0015177 | 0.00038036 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2044-5_0_2_load_69 | 77 | 0.00096397 | 0.00024159 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2044-5_0_2_load_77 | 79 | 0.0012597 | 0.0003157 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2044-5_0_2_load_72 | 80 | 0.00057074 | 0.00014304 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2044-5_0_2_load_78 | 81 | 0.0015821 | 0.0003965 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2044-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.053208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2044-5_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.049879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2044-5_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.050206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2044-5_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.06907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2044-5_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.096238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2044-5_0_2_line_5 | NAYY 4x150 SE | 3 | 7 | 0.03145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2044-5_0_2_line_6 | NAYY 4x150 SE | 3 | 8 | 0.20738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2044-5_0_2_line_7 | NAYY 4x150 SE | 4 | 6 | 0.25886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2044-5_0_2_line_8 | NAYY 4x150 SE | 5 | 14 | 0.020796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2044-5_0_2_line_9 | NAYY 4x150 SE | 5 | 15 | 0.032203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2044-5_0_2_line_10 | NAYY 4x150 SE | 6 | 12 | 0.0060788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2044-5_0_2_line_11 | NAYY 4x150 SE | 7 | 9 | 0.0025634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2044-5_0_2_line_12 | NAYY 4x150 SE | 8 | 10 | 0.020012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2044-5_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.020809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2044-5_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.030791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2044-5_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.012194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2044-5_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.016415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2044-5_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.024878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2044-5_0_2_line_18 | NAYY 4x150 SE | 17 | 21 | 0.03092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2044-5_0_2_line_19 | NAYY 4x150 SE | 18 | 25 | 0.0081001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2044-5_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.036496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2044-5_0_2_line_21 | NAYY 4x150 SE | 20 | 26 | 0.020308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2044-5_0_2_line_22 | NAYY 4x150 SE | 22 | 23 | 0.039533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2044-5_0_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.051636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2044-5_0_2_line_24 | NAYY 4x150 SE | 23 | 27 | 0.025397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2044-5_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.023698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2044-5_0_2_line_26 | NAYY 4x150 SE | 26 | 34 | 0.0053528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2044-5_0_2_line_27 | NAYY 4x150 SE | 27 | 36 | 0.012783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2044-5_0_2_line_28 | NAYY 4x150 SE | 27 | 35 | 0.012327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2044-5_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0059355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_2044-5_0_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.029013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_2044-5_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.021868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2044-5_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.041951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2044-5_0_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.02469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2044-5_0_2_line_34 | NAYY 4x150 SE | 32 | 45 | 0.0025988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_2044-5_0_2_line_35 | NAYY 4x150 SE | 33 | 41 | 0.009209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2044-5_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.027854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2044-5_0_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.01161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2044-5_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0055844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2044-5_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.022115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2044-5_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.012381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2044-5_0_2_line_41 | NAYY 4x150 SE | 40 | 60 | 0.039947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2044-5_0_2_line_42 | NAYY 4x150 SE | 40 | 57 | 0.014315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_2044-5_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0015979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2044-5_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.022101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2044-5_0_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.025358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2044-5_0_2_line_46 | NAYY 4x150 SE | 43 | 46 | 0.021562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2044-5_0_2_line_47 | NAYY 4x150 SE | 44 | 47 | 0.012749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2044-5_0_2_line_48 | NAYY 4x150 SE | 45 | 48 | 0.026711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_2044-5_0_2_line_49 | NAYY 4x150 SE | 46 | 49 | 0.021607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2044-5_0_2_line_50 | NAYY 4x150 SE | 47 | 50 | 0.0090341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2044-5_0_2_line_51 | NAYY 4x150 SE | 48 | 81 | 0.0019947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_2044-5_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0097438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2044-5_0_2_line_53 | NAYY 4x150 SE | 51 | 53 | 0.0068114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2044-5_0_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.022877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2044-5_0_2_line_55 | NAYY 4x150 SE | 52 | 54 | 0.0026773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2044-5_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.044057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2044-5_0_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0042602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2044-5_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0030246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_2044-5_0_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.022331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_2044-5_0_2_line_60 | NAYY 4x150 SE | 59 | 61 | 8.5544e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_2044-5_0_2_line_61 | NAYY 4x150 SE | 61 | 62 | 0.01824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_2044-5_0_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.019494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_2044-5_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.00032745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_2044-5_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.026436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_2044-5_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.0041876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_2044-5_0_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.023437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_2044-5_0_2_line_67 | NAYY 4x150 SE | 67 | 70 | 0.0057636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_2044-5_0_2_line_68 | NAYY 4x150 SE | 68 | 69 | 0.023881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2044-5_0_2_line_69 | NAYY 4x150 SE | 69 | 71 | 0.038064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2044-5_0_2_line_70 | NAYY 4x150 SE | 70 | 72 | 0.0036083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_2044-5_0_2_line_71 | NAYY 4x150 SE | 71 | 72 | 0.05576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2044-5_0_2_line_72 | NAYY 4x150 SE | 72 | 73 | 0.023429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_2044-5_0_2_line_73 | NAYY 4x150 SE | 73 | 80 | 0.022702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_2044-5_0_2_line_74 | NAYY 4x150 SE | 74 | 75 | 0.0038283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2044-5_0_2_line_75 | NAYY 4x150 SE | 74 | 76 | 0.065284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2044-5_0_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.027385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2044-5_0_2_line_77 | NAYY 4x150 SE | 76 | 78 | 0.059654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2044-5_0_2_line_78 | NAYY 4x150 SE | 78 | 79 | 0.013952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_2044-5_0_2_line_79 | NAYY 4x150 SE | 78 | 80 | 0.029915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_2044-5_0_2_line_80 | NAYY 4x150 SE | 79 | 81 | 0.023806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2044-5_0_2_trafo_22 | 0.25 MVA 20/0.4 kV | 82 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2556393.2901 | 1178194.559 | 2556354.5186 | 1178158.119
1 | 2556393.2901 | 1178194.559 | 2556415.9081 | 1178150.1033
2 | 2556324.8979 | 1178117.9569 | 2556336.6549 | 1178137.5149 | 2556345.5384 | 1178149.6788 | 2556354.5186 | 1178158.119
3 | 2556415.9081 | 1178150.1033 | 2556463.9693 | 1178199.7093
4 | 2556415.9081 | 1178150.1033 | 2556433.2109 | 1178055.4339
5 | 2556324.8979 | 1178117.9569 | 2556335.6505 | 1178123.4369 | 2556344.3465 | 1178128.7652 | 2556352.7723 | 1178125.1143
6 | 2556324.8979 | 1178117.9569 | 2556117.726 | 1178108.6203
7 | 2556463.9693 | 1178199.7093 | 2556577.4369 | 1178432.3715
8 | 2556453.7488 | 1178058.4415 | 2556450.1051 | 1178058.5792 | 2556437.292 | 1178056.5937 | 2556433.2109 | 1178055.4339
9 | 2556433.2109 | 1178055.4339 | 2556425.7677 | 1178045.883 | 2556424.2151 | 1178029.9524 | 2556424.3145 | 1178025.8649
10 | 2556577.4369 | 1178432.3715 | 2556582.4125 | 1178435.8638
11 | 2556355.1243 | 1178124.0952 | 2556352.7723 | 1178125.1143
12 | 2556103.0926 | 1178094.9694 | 2556117.726 | 1178108.6203
13 | 2556087.8763 | 1178080.7749 | 2556103.0926 | 1178094.9694
14 | 2556612.5393 | 1178442.2264 | 2556582.4125 | 1178435.8638
15 | 2556453.7488 | 1178058.4415 | 2556456.7324 | 1178046.6185
16 | 2556424.3145 | 1178025.8649 | 2556424.7136 | 1178009.4547
17 | 2556462.8194 | 1178022.4969 | 2556456.7324 | 1178046.6185
18 | 2556424.7136 | 1178009.4547 | 2556425.1617 | 1177991.0247 | 2556421.6965 | 1177980.0219 | 2556421.285 | 1177979.1666
19 | 2556462.8194 | 1178022.4969 | 2556464.8014 | 1178014.643
20 | 2556573.0872 | 1178012.3385 | 2556536.6387 | 1178010.4705
21 | 2556573.0872 | 1178012.3385 | 2556570.3113 | 1177992.2208
22 | 2556549.9732 | 1177948.8743 | 2556515.8605 | 1177968.8531
23 | 2556515.8605 | 1177968.8531 | 2556469.4097 | 1177991.4048
24 | 2556568.7987 | 1177947.9019 | 2556562.6865 | 1177943.7885 | 2556555.0467 | 1177941.8652 | 2556549.5386 | 1177945.1736 | 2556549.9732 | 1177948.8743
25 | 2556464.8014 | 1178014.643 | 2556465.9213 | 1178010.205 | 2556469.4097 | 1177991.4048
26 | 2556570.3113 | 1177992.2208 | 2556569.5796 | 1177986.9182
27 | 2556568.7987 | 1177947.9019 | 2556580.7864 | 1177943.4631
28 | 2556568.7987 | 1177947.9019 | 2556565.6562 | 1177952.8829 | 2556565.8801 | 1177959.3167
29 | 2556529.6223 | 1177893.1794 | 2556528.5603 | 1177899.0191
30 | 2556529.6223 | 1177893.1794 | 2556533.7111 | 1177869.1035 | 2556534.8096 | 1177864.6487
31 | 2556529.6223 | 1177893.1794 | 2556518.6108 | 1177891.0027 | 2556509.1687 | 1177886.0909
32 | 2556534.8096 | 1177864.6487 | 2556541.6997 | 1177865.3879 | 2556554.8743 | 1177853.9639 | 2556566.4219 | 1177840.7042
33 | 2556509.1687 | 1177886.0909 | 2556503.0176 | 1177875.5855 | 2556499.4653 | 1177863.5842
34 | 2556568.1287 | 1177838.7444 | 2556566.4219 | 1177840.7042
35 | 2556496.8516 | 1177854.7539 | 2556499.4653 | 1177863.5842
36 | 2556565.8801 | 1177959.3167 | 2556565.9169 | 1177960.3739 | 2556569.5796 | 1177986.9182
37 | 2556580.7864 | 1177943.4631 | 2556591.6744 | 1177939.4315
38 | 2556596.9113 | 1177937.4924 | 2556591.6744 | 1177939.4315
39 | 2556605.5865 | 1177957.8403 | 2556596.9113 | 1177937.4924
40 | 2556608.548 | 1177933.1723 | 2556596.9113 | 1177937.4924
41 | 2556608.548 | 1177933.1723 | 2556594.9492 | 1177895.6065
42 | 2556608.548 | 1177933.1723 | 2556621.9654 | 1177928.1824
43 | 2556496.3981 | 1177853.2217 | 2556496.8516 | 1177854.7539
44 | 2556496.3981 | 1177853.2217 | 2556490.1272 | 1177832.0288
45 | 2556496.3981 | 1177853.2217 | 2556510.3696 | 1177832.0603
46 | 2556490.1272 | 1177832.0288 | 2556484.0094 | 1177811.3533
47 | 2556516.268 | 1177821.0157 | 2556515.3653 | 1177825.0688 | 2556512.2623 | 1177829.1936 | 2556510.3696 | 1177832.0603
48 | 2556568.1287 | 1177838.7444 | 2556570.6973 | 1177835.7949 | 2556574.93 | 1177823.0908 | 2556576.4696 | 1177813.8086
49 | 2556477.8787 | 1177790.6341 | 2556484.0094 | 1177811.3533
50 | 2556514.2175 | 1177812.237 | 2556515.7064 | 1177817.34 | 2556516.268 | 1177821.0157
51 | 2556576.4696 | 1177813.8086 | 2556576.796 | 1177811.8408
52 | 2556514.2175 | 1177812.237 | 2556511.3269 | 1177802.9318
53 | 2556511.3269 | 1177802.9318 | 2556509.3063 | 1177796.427
54 | 2556502.5198 | 1177774.5797 | 2556502.5198 | 1177774.5797 | 2556509.3063 | 1177796.427
55 | 2556501.7574 | 1177772.0132 | 2556502.5198 | 1177774.5797
56 | 2556501.7574 | 1177772.0132 | 2556526.9527 | 1177735.8713
57 | 2556526.3637 | 1177731.652 | 2556526.9527 | 1177735.8713
58 | 2556624.8003 | 1177927.1282 | 2556621.9654 | 1177928.1824
59 | 2556624.8003 | 1177927.1282 | 2556645.7309 | 1177919.3441
60 | 2556645.7309 | 1177919.3441 | 2556645.8111 | 1177919.3143
61 | 2556645.8111 | 1177919.3143 | 2556656.2911 | 1177915.4168 | 2556660.2681 | 1177909.5849
62 | 2556654.901 | 1177891.3468 | 2556660.4655 | 1177903.08 | 2556660.2681 | 1177909.5849 | 2556660.2681 | 1177909.5849
63 | 2556654.901 | 1177891.3468 | 2556654.7606 | 1177891.051
64 | 2556643.4326 | 1177867.1649 | 2556654.7606 | 1177891.051
65 | 2556643.4326 | 1177867.1649 | 2556641.6382 | 1177863.3813
66 | 2556641.6382 | 1177863.3813 | 2556631.5951 | 1177842.2047
67 | 2556629.1254 | 1177836.9971 | 2556631.5951 | 1177842.2047
68 | 2556707.6537 | 1177849.8197 | 2556693.7422 | 1177830.4095
69 | 2556693.7422 | 1177830.4095 | 2556671.5685 | 1177799.4713
70 | 2556629.1254 | 1177836.9971 | 2556627.5792 | 1177833.7368
71 | 2556627.5792 | 1177833.7368 | 2556671.5685 | 1177799.4713
72 | 2556627.5792 | 1177833.7368 | 2556627.5792 | 1177833.7368 | 2556617.0794 | 1177818.8939 | 2556613.7395 | 1177814.8458
73 | 2556613.7395 | 1177814.8458 | 2556599.2914 | 1177797.3344
74 | 2556691.7978 | 1177719.2773 | 2556695.3415 | 1177717.8288
75 | 2556630.8386 | 1177742.6424 | 2556691.7978 | 1177719.2773
76 | 2556630.8386 | 1177742.6424 | 2556614.8804 | 1177720.3876
77 | 2556580.253 | 1177774.2594 | 2556630.8386 | 1177742.6424
78 | 2556580.253 | 1177774.2594 | 2556578.8105 | 1177788.1362
79 | 2556580.253 | 1177774.2594 | 2556599.2914 | 1177797.3344
80 | 2556576.796 | 1177811.8408 | 2556577.258 | 1177809.0553 | 2556577.9816 | 1177796.1098 | 2556578.8105 | 1177788.1362

## bus_geodata
| x | y | coords
0 | 2556393.2901 | 1178194.559
1 | 2556354.5186 | 1178158.119
2 | 2556415.9081 | 1178150.1033
3 | 2556324.8979 | 1178117.9569
4 | 2556463.9693 | 1178199.7093
5 | 2556433.2109 | 1178055.4339
6 | 2556577.4369 | 1178432.3715
7 | 2556352.7723 | 1178125.1143
8 | 2556117.726 | 1178108.6203
9 | 2556355.1243 | 1178124.0952
10 | 2556103.0926 | 1178094.9694
11 | 2556087.8763 | 1178080.7749
12 | 2556582.4125 | 1178435.8638
13 | 2556612.5393 | 1178442.2264
14 | 2556453.7488 | 1178058.4415
15 | 2556424.3145 | 1178025.8649
16 | 2556456.7324 | 1178046.6185
17 | 2556424.7136 | 1178009.4547
18 | 2556462.8194 | 1178022.4969
19 | 2556536.6387 | 1178010.4705
20 | 2556573.0872 | 1178012.3385
21 | 2556421.285 | 1177979.1666
22 | 2556515.8605 | 1177968.8531
23 | 2556549.9733 | 1177948.8743
24 | 2556469.4097 | 1177991.4048
25 | 2556464.8014 | 1178014.643
26 | 2556570.3113 | 1177992.2208
27 | 2556568.7987 | 1177947.9019
28 | 2556528.5603 | 1177899.0191
29 | 2556529.6223 | 1177893.1794
30 | 2556534.8096 | 1177864.6487
31 | 2556509.1687 | 1177886.0909
32 | 2556566.4219 | 1177840.7042
33 | 2556499.4653 | 1177863.5842
34 | 2556569.5796 | 1177986.9182
35 | 2556565.8801 | 1177959.3167
36 | 2556580.7864 | 1177943.4631
37 | 2556591.6744 | 1177939.4315
38 | 2556596.9113 | 1177937.4924
39 | 2556605.5865 | 1177957.8403
40 | 2556608.548 | 1177933.1723
41 | 2556496.8516 | 1177854.7539
42 | 2556496.3981 | 1177853.2217
43 | 2556490.1272 | 1177832.0288
44 | 2556510.3696 | 1177832.0603
45 | 2556568.1287 | 1177838.7444
46 | 2556484.0094 | 1177811.3533
47 | 2556516.268 | 1177821.0157
48 | 2556576.4696 | 1177813.8086
49 | 2556477.8787 | 1177790.6341
50 | 2556514.2175 | 1177812.237
51 | 2556511.3269 | 1177802.9318
52 | 2556502.5198 | 1177774.5797
53 | 2556509.3063 | 1177796.427
54 | 2556501.7574 | 1177772.0132
55 | 2556526.9527 | 1177735.8713
56 | 2556526.3637 | 1177731.652
57 | 2556621.9654 | 1177928.1824
58 | 2556624.8003 | 1177927.1282
59 | 2556645.7309 | 1177919.3441
60 | 2556594.9492 | 1177895.6065
61 | 2556645.8111 | 1177919.3143
62 | 2556660.2681 | 1177909.5849
63 | 2556654.901 | 1177891.3468
64 | 2556654.7606 | 1177891.051
65 | 2556643.4326 | 1177867.1649
66 | 2556641.6382 | 1177863.3813
67 | 2556631.5951 | 1177842.2047
68 | 2556707.6537 | 1177849.8197
69 | 2556693.7422 | 1177830.4095
70 | 2556629.1254 | 1177836.9971
71 | 2556671.5685 | 1177799.4713
72 | 2556627.5792 | 1177833.7368
73 | 2556613.7395 | 1177814.8458
74 | 2556691.7978 | 1177719.2773
75 | 2556695.3415 | 1177717.8288
76 | 2556630.8386 | 1177742.6424
77 | 2556614.8804 | 1177720.3876
78 | 2556580.253 | 1177774.2594
79 | 2556578.8105 | 1177788.1362
80 | 2556599.2914 | 1177797.3344
81 | 2556576.796 | 1177811.8408
82 | 2556529.6223 | 1177893.1794

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97139 | -0.20228 | 0.00073495 | 0.00018419
1 | 0.97109 | -0.20446 | 0.00033008 | 8.2727e-05
2 | 0.97172 | -0.19986 | 0.0020829 | 0.00052203
3 | 0.97083 | -0.20633 | 0 | 0
4 | 0.97131 | -0.20286 | 0.0010437 | 0.00026157
5 | 0.97324 | -0.18888 | 0 | 0
6 | 0.97015 | -0.21124 | 0.00054541 | 0.00013669
7 | 0.97077 | -0.20679 | 0.00053974 | 0.00013527
8 | 0.97018 | -0.21103 | 0.00029993 | 7.517e-05
9 | 0.97076 | -0.20681 | 0.00083421 | 0.00020907
10 | 0.97013 | -0.21141 | 0.00043049 | 0.00010789
11 | 0.97009 | -0.21172 | 0.0013932 | 0.00034916
12 | 0.97013 | -0.2114 | 0.0014968 | 0.00037514
13 | 0.97008 | -0.21172 | 0.00099699 | 0.00024987
14 | 0.97367 | -0.18573 | 0 | 0
15 | 0.97307 | -0.1901 | 0.00036093 | 9.0457e-05
16 | 0.97393 | -0.18388 | 0.00030851 | 7.732e-05
17 | 0.97299 | -0.19066 | 0.00033798 | 8.4705e-05
18 | 0.97446 | -0.18002 | 0.00034819 | 8.7265e-05
19 | 0.97774 | -0.15647 | 0.0022488 | 0.0005636
20 | 0.97786 | -0.15561 | 0.0018492 | 0.00046347
21 | 0.97286 | -0.19161 | 0.0028928 | 0.000725
22 | 0.97663 | -0.16445 | 0 | 0
23 | 0.97774 | -0.15647 | 0.0020857 | 0.00052273
24 | 0.97517 | -0.1749 | 0.0038496 | 0.00096481
25 | 0.97464 | -0.17874 | 0.00037731 | 9.4562e-05
26 | 0.97798 | -0.15474 | 0.001953 | 0.00048947
27 | 0.97853 | -0.1508 | 0 | 0
28 | 1 | 0 | -0.12412 | -0.031107
29 | 0.99948 | -0.0036102 | 0 | 0
30 | 0.99753 | -0.017092 | 0 | 0
31 | 0.99857 | -0.0099467 | 0.0084316 | 0.0021132
32 | 0.99471 | -0.036678 | 0.0027855 | 0.0006981
33 | 0.99785 | -0.015027 | 0.0020848 | 0.0005225
34 | 0.97803 | -0.15441 | 0.002217 | 0.00055562
35 | 0.97837 | -0.152 | 0.0010469 | 0.00026237
36 | 0.97911 | -0.14671 | 0.001776 | 0.0004451
37 | 0.97965 | -0.14279 | 0.0015089 | 0.00037816
38 | 0.97993 | -0.14081 | 0 | 0
39 | 0.97985 | -0.14143 | 0.0026731 | 0.00066995
40 | 0.98059 | -0.13609 | 0 | 0
41 | 0.99761 | -0.016731 | 0.0010364 | 0.00025975
42 | 0.99757 | -0.01701 | 0 | 0
43 | 0.99739 | -0.018228 | 0.00096716 | 0.00024239
44 | 0.99713 | -0.020044 | 0.00099922 | 0.00025043
45 | 0.99454 | -0.037859 | 0.0045948 | 0.0011516
46 | 0.99725 | -0.019206 | 0.0018863 | 0.00047274
47 | 0.99694 | -0.021442 | 0.0013938 | 0.00034931
48 | 0.99288 | -0.049393 | 0.0016735 | 0.00041941
49 | 0.99717 | -0.019778 | 0.002634 | 0.00066014
50 | 0.99681 | -0.022307 | 0 | 0
51 | 0.99668 | -0.023239 | 0.0015955 | 0.00039987
52 | 0.9964 | -0.025197 | 0.0020564 | 0.00051538
53 | 0.9966 | -0.023782 | 0.0017758 | 0.00044507
54 | 0.99639 | -0.025308 | 0.0019598 | 0.00049117
55 | 0.99625 | -0.026253 | 0.0013238 | 0.00033177
56 | 0.99625 | -0.026288 | 0.00080824 | 0.00020256
57 | 0.98103 | -0.13299 | 0.0023592 | 0.00059127
58 | 0.98113 | -0.1323 | 0.0025355 | 0.00063546
59 | 0.98189 | -0.12689 | 0.0010605 | 0.00026578
60 | 0.9803 | -0.13822 | 0.0051238 | 0.0012841
61 | 0.98189 | -0.12687 | 0.0032787 | 0.00082172
62 | 0.98257 | -0.12205 | 0.0034852 | 0.00087347
63 | 0.98334 | -0.11656 | 0.0027701 | 0.00069424
64 | 0.98335 | -0.11647 | 0.0032274 | 0.00080887
65 | 0.98452 | -0.10822 | 0.0027154 | 0.00068053
66 | 0.98471 | -0.10685 | 0.0015634 | 0.00039183
67 | 0.98581 | -0.09904 | 0.00091329 | 0.00022889
68 | 0.98563 | -0.10034 | 0.001287 | 0.00032256
69 | 0.98568 | -0.10002 | 0.0012152 | 0.00030456
70 | 0.98609 | -0.097095 | 0.00224 | 0.00056139
71 | 0.98582 | -0.099042 | 0.0030904 | 0.00077452
72 | 0.98627 | -0.095836 | 0.002108 | 0.00052832
73 | 0.98756 | -0.086749 | 0.0016479 | 0.00041301
74 | 0.99008 | -0.069045 | 0.00049052 | 0.00012294
75 | 0.99007 | -0.069104 | 0.0015177 | 0.00038036
76 | 0.99027 | -0.067708 | 0 | 0
77 | 0.99023 | -0.067977 | 0.00096397 | 0.00024159
78 | 0.99052 | -0.065897 | 0 | 0
79 | 0.99134 | -0.060159 | 0.0012597 | 0.0003157
80 | 0.98883 | -0.077775 | 0.00057074 | 0.00014304
81 | 0.99276 | -0.050239 | 0.0015821 | 0.0003965
82 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0038313 | 0.00095593 | -0.0038301 | -0.00095615 | 1.1431e-06 | -2.1884e-07 | 0.0058674 | 0.0058676 | 0.0058676 | 0.97139 | -0.20228 | 0.97109 | -0.20446 | 2.1732
1 | -0.0045662 | -0.0011401 | 0.0045677 | 0.0011401 | 1.5221e-06 | -3.2256e-08 | 0.0069932 | 0.006993 | 0.0069932 | 0.97139 | -0.20228 | 0.97172 | -0.19986 | 2.5901
2 | 0.0035 | 0.00087342 | -0.0034991 | -0.0008737 | 9.0071e-07 | -2.7454e-07 | 0.0053618 | 0.0053621 | 0.0053621 | 0.97109 | -0.20446 | 0.97083 | -0.20633 | 1.9859
3 | 0.0040882 | 0.0010208 | -0.0040865 | -0.001021 | 1.6885e-06 | -2.0583e-07 | 0.006259 | 0.0062593 | 0.0062593 | 0.97172 | -0.19986 | 0.97131 | -0.20286 | 2.3183
4 | -0.010739 | -0.0026829 | 0.010755 | 0.002688 | 1.6233e-05 | 5.0495e-06 | 0.016442 | 0.016441 | 0.016442 | 0.97172 | -0.19986 | 0.97324 | -0.18888 | 6.0895
5 | 0.001374 | 0.00034396 | -0.0013739 | -0.00034431 | 8.7035e-08 | -3.5538e-07 | 0.0021059 | 0.002106 | 0.002106 | 0.97083 | -0.20633 | 0.97077 | -0.20679 | 0.78001
6 | 0.0021251 | 0.00052974 | -0.0021237 | -0.00053178 | 1.3724e-06 | -2.0347e-06 | 0.0032562 | 0.0032571 | 0.0032571 | 0.97083 | -0.20633 | 0.97018 | -0.21103 | 1.2063
7 | 0.0030428 | 0.00075943 | -0.0030393 | -0.00076128 | 3.5091e-06 | -1.8505e-06 | 0.0046604 | 0.0046615 | 0.0046615 | 0.97131 | -0.20286 | 0.97015 | -0.21124 | 1.7265
8 | -0.014348 | -0.0035876 | 0.014354 | 0.0035898 | 6.2432e-06 | 2.1427e-06 | 0.021934 | 0.021934 | 0.021934 | 0.97324 | -0.18888 | 0.97367 | -0.18573 | 8.1238
9 | 0.0035929 | 0.00089965 | -0.0035923 | -0.00089981 | 6.0635e-07 | -1.6689e-07 | 0.005493 | 0.0054932 | 0.0054932 | 0.97324 | -0.18888 | 0.97307 | -0.1901 | 2.0345
10 | 0.0024939 | 0.00062459 | -0.0024938 | -0.00062464 | 5.5497e-08 | -5.3713e-08 | 0.003825 | 0.003825 | 0.003825 | 0.97015 | -0.21124 | 0.97013 | -0.2114 | 1.4167
11 | 0.00083421 | 0.00020904 | -0.00083421 | -0.00020907 | 2.6154e-09 | -3.0686e-08 | 0.0012787 | 0.0012787 | 0.0012787 | 0.97077 | -0.20679 | 0.97076 | -0.20681 | 0.47359
12 | 0.0018238 | 0.00045661 | -0.0018237 | -0.00045681 | 9.7702e-08 | -2.0953e-07 | 0.0027971 | 0.0027972 | 0.0027972 | 0.97018 | -0.21103 | 0.97013 | -0.21141 | 1.036
13 | 0.0013932 | 0.00034892 | -0.0013932 | -0.00034916 | 5.9295e-08 | -2.3412e-07 | 0.0021369 | 0.002137 | 0.002137 | 0.97013 | -0.21141 | 0.97009 | -0.21172 | 0.79147
14 | 0.00099703 | 0.00024951 | -0.00099699 | -0.00024987 | 4.4931e-08 | -3.6289e-07 | 0.0015291 | 0.0015293 | 0.0015293 | 0.97013 | -0.2114 | 0.97008 | -0.21172 | 0.5664
15 | -0.014354 | -0.0035898 | 0.014358 | 0.003591 | 3.6607e-06 | 1.2562e-06 | 0.021934 | 0.021934 | 0.021934 | 0.97367 | -0.18573 | 0.97393 | -0.18388 | 8.1237
16 | 0.0032314 | 0.00080936 | -0.0032311 | -0.00080946 | 2.501e-07 | -1.077e-07 | 0.0049413 | 0.0049413 | 0.0049413 | 0.97307 | -0.1901 | 0.97299 | -0.19066 | 1.8301
17 | -0.014666 | -0.0036683 | 0.014674 | 0.003671 | 7.7929e-06 | 2.6875e-06 | 0.022405 | 0.022405 | 0.022405 | 0.97393 | -0.18388 | 0.97446 | -0.18002 | 8.2983
18 | 0.0028932 | 0.00072476 | -0.0028928 | -0.000725 | 3.7771e-07 | -2.3871e-07 | 0.0044245 | 0.0044246 | 0.0044246 | 0.97299 | -0.19066 | 0.97286 | -0.19161 | 1.6387
19 | -0.015022 | -0.0037583 | 0.015025 | 0.0037592 | 2.6592e-06 | 9.2183e-07 | 0.022937 | 0.022937 | 0.022937 | 0.97446 | -0.18002 | 0.97464 | -0.17874 | 8.4952
20 | -0.0022488 | -0.0005636 | 0.0022491 | 0.00056325 | 2.6674e-07 | -3.5519e-07 | 0.0034224 | 0.0034223 | 0.0034224 | 0.97774 | -0.15647 | 0.97786 | -0.15561 | 1.2676
21 | -0.0040983 | -0.0010267 | 0.0040988 | 0.0010266 | 4.9284e-07 | -6.5244e-08 | 0.0062363 | 0.0062362 | 0.0062363 | 0.97786 | -0.15561 | 0.97798 | -0.15474 | 2.3097
22 | -0.019288 | -0.0048315 | 0.019309 | 0.0048392 | 2.1303e-05 | 7.6983e-06 | 0.029387 | 0.029387 | 0.029387 | 0.97663 | -0.16445 | 0.97774 | -0.15647 | 10.884
23 | 0.019288 | 0.0048315 | -0.01926 | -0.0048214 | 2.7826e-05 | 1.0057e-05 | 0.029387 | 0.029387 | 0.029387 | 0.97663 | -0.16445 | 0.97517 | -0.1749 | 10.8841
24 | -0.021395 | -0.0053619 | 0.021412 | 0.0053681 | 1.6802e-05 | 6.1435e-06 | 0.032561 | 0.032561 | 0.032561 | 0.97774 | -0.15647 | 0.97853 | -0.1508 | 12.0596
25 | 0.015411 | 0.0038566 | -0.015402 | -0.0038538 | 8.1755e-06 | 2.8489e-06 | 0.023513 | 0.023513 | 0.023513 | 0.97517 | -0.1749 | 0.97464 | -0.17874 | 8.7085
26 | -0.0060518 | -0.0015161 | 0.0060521 | 0.0015162 | 2.8318e-07 | 4.1747e-08 | 0.0092077 | 0.0092077 | 0.0092077 | 0.97798 | -0.15474 | 0.97803 | -0.15441 | 3.4103
27 | -0.030732 | -0.0077034 | 0.030749 | 0.0077099 | 1.7421e-05 | 6.5397e-06 | 0.046733 | 0.046733 | 0.046733 | 0.97853 | -0.1508 | 0.97911 | -0.14671 | 17.3087
28 | 0.0093202 | 0.0023353 | -0.0093187 | -0.0023349 | 1.5451e-06 | 4.3944e-07 | 0.014173 | 0.014173 | 0.014173 | 0.97853 | -0.1508 | 0.97837 | -0.152 | 5.2492
29 | 0.12332 | 0.031107 | -0.12326 | -0.031083 | 6.2405e-05 | 2.3846e-05 | 0.18357 | 0.18357 | 0.18357 | 1 | 0 | 0.99948 | -0.0036102 | 33.9946
30 | 0.094245 | 0.023808 | -0.094067 | -0.02374 | 0.00017838 | 6.7849e-05 | 0.14038 | 0.14038 | 0.14038 | 0.99948 | -0.0036102 | 0.99753 | -0.017092 | 25.996
31 | 0.029011 | 0.0072753 | -0.028986 | -0.0072658 | 2.5458e-05 | 9.5051e-06 | 0.043193 | 0.043193 | 0.043193 | 0.99948 | -0.0036102 | 0.99857 | -0.0099467 | 15.9975
32 | 0.094067 | 0.02374 | -0.093809 | -0.023642 | 0.00025793 | 9.811e-05 | 0.14038 | 0.14038 | 0.14038 | 0.99753 | -0.017092 | 0.99471 | -0.036678 | 25.996
33 | 0.020554 | 0.0051526 | -0.02054 | -0.0051474 | 1.4453e-05 | 5.2362e-06 | 0.030629 | 0.030629 | 0.030629 | 0.99857 | -0.0099467 | 0.99785 | -0.015027 | 11.344
34 | 0.091024 | 0.022944 | -0.091009 | -0.022938 | 1.5044e-05 | 5.7187e-06 | 0.13621 | 0.13621 | 0.13621 | 0.99471 | -0.036678 | 0.99454 | -0.037859 | 25.2244
35 | 0.018455 | 0.0046249 | -0.01845 | -0.0046233 | 4.3521e-06 | 1.5536e-06 | 0.02752 | 0.02752 | 0.02752 | 0.99785 | -0.015027 | 0.99761 | -0.016731 | 10.1926
36 | -0.0082691 | -0.0020718 | 0.0082718 | 0.0020725 | 2.7509e-06 | 7.0837e-07 | 0.012581 | 0.012581 | 0.012581 | 0.97803 | -0.15441 | 0.97837 | -0.152 | 4.6595
37 | -0.032525 | -0.008155 | 0.032543 | 0.0081617 | 1.7703e-05 | 6.6629e-06 | 0.049432 | 0.049432 | 0.049432 | 0.97911 | -0.14671 | 0.97965 | -0.14279 | 18.3083
38 | -0.034052 | -0.0085398 | 0.034061 | 0.0085433 | 9.3229e-06 | 3.5154e-06 | 0.051724 | 0.051724 | 0.051724 | 0.97965 | -0.14279 | 0.97993 | -0.14081 | 19.1571
39 | 0.0026734 | 0.00066976 | -0.0026731 | -0.00066995 | 2.2741e-07 | -1.9112e-07 | 0.0040594 | 0.0040595 | 0.0040595 | 0.97993 | -0.14081 | 0.97985 | -0.14143 | 1.5035
40 | -0.036735 | -0.0092131 | 0.036759 | 0.0092222 | 2.4041e-05 | 9.0905e-06 | 0.055784 | 0.055784 | 0.055784 | 0.97993 | -0.14081 | 0.98059 | -0.13609 | 20.6606
41 | 0.0051253 | 0.0012842 | -0.0051238 | -0.0012841 | 1.5078e-06 | 7.6147e-08 | 0.0077774 | 0.0077776 | 0.0077776 | 0.98059 | -0.13609 | 0.9803 | -0.13822 | 2.8806
42 | -0.041884 | -0.010506 | 0.041902 | 0.010513 | 1.8044e-05 | 6.5787e-06 | 0.063561 | 0.063561 | 0.063561 | 0.98059 | -0.13609 | 0.98103 | -0.13299 | 11.7705
43 | 0.017414 | 0.0043636 | -0.017413 | -0.0043633 | 6.727e-07 | 2.3787e-07 | 0.025974 | 0.025974 | 0.025974 | 0.99761 | -0.016731 | 0.99757 | -0.01701 | 9.6201
44 | 0.0054891 | 0.0013751 | -0.0054882 | -0.001375 | 9.2453e-07 | 6.7097e-08 | 0.0081876 | 0.0081877 | 0.0081877 | 0.99757 | -0.01701 | 0.99739 | -0.018228 | 3.0325
45 | 0.011924 | 0.0029882 | -0.011919 | -0.0029866 | 5.0059e-06 | 1.5944e-06 | 0.017787 | 0.017787 | 0.017787 | 0.99757 | -0.01701 | 0.99713 | -0.020044 | 6.5877
46 | 0.0045211 | 0.0011326 | -0.0045204 | -0.0011327 | 6.1209e-07 | -4.5943e-08 | 0.0067448 | 0.0067449 | 0.0067449 | 0.99739 | -0.018228 | 0.99725 | -0.019206 | 2.4981
47 | 0.01092 | 0.0027362 | -0.010918 | -0.0027356 | 2.1125e-06 | 6.4625e-07 | 0.016296 | 0.016296 | 0.016296 | 0.99713 | -0.020044 | 0.99694 | -0.021442 | 6.0354
48 | 0.086414 | 0.021786 | -0.086274 | -0.021733 | 0.00013941 | 5.2927e-05 | 0.12934 | 0.12934 | 0.12934 | 0.99454 | -0.037859 | 0.99288 | -0.049393 | 23.9514
49 | 0.0026342 | 0.00065993 | -0.002634 | -0.00066014 | 2.0829e-07 | -2.0178e-07 | 0.0039304 | 0.0039305 | 0.0039305 | 0.99725 | -0.019206 | 0.99717 | -0.019778 | 1.4557
50 | 0.009524 | 0.0023863 | -0.0095229 | -0.0023859 | 1.1391e-06 | 3.2035e-07 | 0.014215 | 0.014215 | 0.014215 | 0.99694 | -0.021442 | 0.99681 | -0.022307 | 5.2649
51 | 0.084601 | 0.021314 | -0.084591 | -0.02131 | 1.0011e-05 | 3.7987e-06 | 0.12683 | 0.12683 | 0.12683 | 0.99288 | -0.049393 | 0.99276 | -0.050239 | 23.4869
52 | 0.0095229 | 0.0023859 | -0.0095217 | -0.0023856 | 1.2286e-06 | 3.4555e-07 | 0.014215 | 0.014215 | 0.014215 | 0.99681 | -0.022307 | 0.99668 | -0.023239 | 5.2649
53 | 0.0079262 | 0.0019857 | -0.0079256 | -0.0019856 | 5.9516e-07 | 1.4015e-07 | 0.011833 | 0.011833 | 0.011833 | 0.99668 | -0.023239 | 0.9966 | -0.023782 | 4.3827
54 | -0.0061485 | -0.0015403 | 0.0061497 | 0.0015405 | 1.2035e-06 | 1.6485e-07 | 0.0091819 | 0.0091818 | 0.0091819 | 0.9964 | -0.025197 | 0.9966 | -0.023782 | 3.4007
55 | 0.0040922 | 0.001025 | -0.0040921 | -0.001025 | 6.2389e-08 | -1.0876e-08 | 0.006111 | 0.006111 | 0.006111 | 0.9964 | -0.025197 | 0.99639 | -0.025308 | 2.2633
56 | 0.0021323 | 0.00053382 | -0.002132 | -0.00053428 | 2.7876e-07 | -4.6654e-07 | 0.0031842 | 0.0031844 | 0.0031844 | 0.99639 | -0.025308 | 0.99625 | -0.026253 | 1.1794
57 | 0.00080825 | 0.00020251 | -0.00080824 | -0.00020256 | 3.8741e-09 | -5.3983e-08 | 0.0012072 | 0.0012072 | 0.0012072 | 0.99625 | -0.026253 | 0.99625 | -0.026288 | 0.44712
58 | -0.044261 | -0.011104 | 0.044266 | 0.011106 | 4.2538e-06 | 1.5597e-06 | 0.067139 | 0.067139 | 0.067139 | 0.98103 | -0.13299 | 0.98113 | -0.1323 | 12.4332
59 | -0.046801 | -0.011741 | 0.046836 | 0.011754 | 3.5107e-05 | 1.2938e-05 | 0.070985 | 0.070984 | 0.070985 | 0.98113 | -0.1323 | 0.98189 | -0.12689 | 13.1453
60 | -0.047897 | -0.01202 | 0.047897 | 0.01202 | 1.4064e-07 | 5.1929e-08 | 0.072592 | 0.072592 | 0.072592 | 0.98189 | -0.12689 | 0.98189 | -0.12687 | 13.4429
61 | -0.051176 | -0.012842 | 0.05121 | 0.012854 | 3.4234e-05 | 1.2705e-05 | 0.07756 | 0.07756 | 0.07756 | 0.98189 | -0.12687 | 0.98257 | -0.12205 | 14.363
62 | -0.054695 | -0.013728 | 0.054737 | 0.013744 | 4.1736e-05 | 1.5558e-05 | 0.082838 | 0.082838 | 0.082838 | 0.98257 | -0.12205 | 0.98334 | -0.11656 | 15.3404
63 | -0.057507 | -0.014438 | 0.057508 | 0.014438 | 7.738e-07 | 2.8931e-07 | 0.08703 | 0.08703 | 0.08703 | 0.98334 | -0.11656 | 0.98335 | -0.11647 | 16.1166
64 | -0.060735 | -0.015247 | 0.060805 | 0.015273 | 6.968e-05 | 2.6129e-05 | 0.091914 | 0.091913 | 0.091914 | 0.98335 | -0.11647 | 0.98452 | -0.10822 | 17.021
65 | -0.06352 | -0.015954 | 0.063532 | 0.015958 | 1.2045e-05 | 4.5263e-06 | 0.096017 | 0.096017 | 0.096017 | 0.98452 | -0.10822 | 0.98471 | -0.10685 | 17.781
66 | -0.065095 | -0.01635 | 0.065166 | 0.016377 | 7.0774e-05 | 2.6624e-05 | 0.09838 | 0.09838 | 0.09838 | 0.98471 | -0.10685 | 0.98581 | -0.09904 | 18.2185
67 | -0.06608 | -0.016605 | 0.066097 | 0.016612 | 1.7895e-05 | 6.7359e-06 | 0.099758 | 0.099758 | 0.099758 | 0.98581 | -0.09904 | 0.98609 | -0.097095 | 18.4737
68 | -0.001287 | -0.00032256 | 0.0012871 | 0.00032228 | 5.6255e-08 | -2.8274e-07 | 0.001943 | 0.0019429 | 0.001943 | 0.98563 | -0.10034 | 0.98568 | -0.10002 | 0.71964
69 | -0.0025023 | -0.00062684 | 0.0025026 | 0.00062648 | 3.389e-07 | -3.5489e-07 | 0.0037775 | 0.0037773 | 0.0037775 | 0.98568 | -0.10002 | 0.98582 | -0.099042 | 1.3991
70 | -0.068337 | -0.017174 | 0.068349 | 0.017178 | 1.1976e-05 | 4.5139e-06 | 0.10314 | 0.10314 | 0.10314 | 0.98609 | -0.097095 | 0.98627 | -0.095836 | 19.0997
71 | -0.005593 | -0.001401 | 0.0055955 | 0.0014012 | 2.4796e-06 | 2.4244e-07 | 0.008442 | 0.0084417 | 0.008442 | 0.98582 | -0.099042 | 0.98627 | -0.095836 | 3.1267
72 | -0.076053 | -0.019108 | 0.076149 | 0.019144 | 9.6272e-05 | 3.6429e-05 | 0.11476 | 0.11476 | 0.11476 | 0.98627 | -0.095836 | 0.98756 | -0.086749 | 21.2519
73 | -0.077797 | -0.019557 | 0.077894 | 0.019594 | 9.7364e-05 | 3.6866e-05 | 0.11724 | 0.11724 | 0.11724 | 0.98756 | -0.086749 | 0.98883 | -0.077775 | 21.7117
74 | 0.0015177 | 0.00038032 | -0.0015177 | -0.00038036 | 1.2428e-08 | -4.4452e-08 | 0.0022809 | 0.0022809 | 0.0022809 | 0.99008 | -0.069045 | 0.99007 | -0.069104 | 0.84479
75 | -0.0020082 | -0.00050325 | 0.0020086 | 0.00050255 | 3.7104e-07 | -6.9701e-07 | 0.0030181 | 0.0030178 | 0.0030181 | 0.99008 | -0.069045 | 0.99027 | -0.067708 | 1.1178
76 | 0.00096401 | 0.00024126 | -0.00096397 | -0.00024159 | 3.5853e-08 | -3.3851e-07 | 0.0014484 | 0.0014486 | 0.0014486 | 0.99027 | -0.067708 | 0.99023 | -0.067977 | 0.5365
77 | -0.0029726 | -0.00074381 | 0.0029733 | 0.00074333 | 7.4248e-07 | -4.8208e-07 | 0.0044663 | 0.004466 | 0.0044663 | 0.99027 | -0.067708 | 0.99052 | -0.065897 | 1.6542
78 | -0.081569 | -0.02053 | 0.081634 | 0.020554 | 6.5393e-05 | 2.4792e-05 | 0.12257 | 0.12257 | 0.12257 | 0.99052 | -0.065897 | 0.99134 | -0.060159 | 22.6977
79 | 0.078595 | 0.019786 | -0.078465 | -0.019737 | 0.00013018 | 4.9302e-05 | 0.1181 | 0.1181 | 0.1181 | 0.99052 | -0.065897 | 0.98883 | -0.077775 | 21.8707
80 | -0.082894 | -0.02087 | 0.083009 | 0.020914 | 0.00011505 | 4.3635e-05 | 0.12446 | 0.12446 | 0.12446 | 0.99134 | -0.060159 | 0.99276 | -0.050239 | 23.0478

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12936 | 0.032419

## res_load
| p_mw | q_mvar
0 | 0.00073495 | 0.00018419
1 | 0.00033008 | 8.2727e-05
2 | 0.0020829 | 0.00052203
3 | 0.0010437 | 0.00026157
4 | 0.00054541 | 0.00013669
5 | 0.00053974 | 0.00013527
6 | 0.00029993 | 7.517e-05
7 | 0.00083421 | 0.00020907
8 | 0.00043049 | 0.00010789
9 | 0.0013932 | 0.00034916
10 | 0.0014968 | 0.00037514
11 | 0.00099699 | 0.00024987
12 | 0.00036093 | 9.0457e-05
13 | 0.00030851 | 7.732e-05
14 | 0.00033798 | 8.4705e-05
15 | 0.00034819 | 8.7265e-05
16 | 0.0022488 | 0.0005636
17 | 0.0018492 | 0.00046347
18 | 0.0028928 | 0.000725
19 | 0.0020857 | 0.00052273
20 | 0.0038496 | 0.00096481
21 | 0.00037731 | 9.4562e-05
22 | 0.001953 | 0.00048947
23 | 0.005237 | 0.0013125
24 | 0.0084316 | 0.0021132
25 | 0.0027855 | 0.0006981
26 | 0.0020848 | 0.0005225
27 | 0.002217 | 0.00055562
28 | 0.0010469 | 0.00026237
29 | 0.001776 | 0.0004451
30 | 0.0015089 | 0.00037816
31 | 0.0026731 | 0.00066995
32 | 0.0010364 | 0.00025975
33 | 0.00096716 | 0.00024239
34 | 0.00099922 | 0.00025043
35 | 0.0045948 | 0.0011516
36 | 0.0018863 | 0.00047274
37 | 0.0013938 | 0.00034931
38 | 0.0016735 | 0.00041941
39 | 0.002634 | 0.00066014
40 | 0.0015955 | 0.00039987
41 | 0.0020564 | 0.00051538
42 | 0.0017758 | 0.00044507
43 | 0.0019598 | 0.00049117
44 | 0.0013238 | 0.00033177
45 | 0.00080824 | 0.00020256
46 | 0.0023592 | 0.00059127
47 | 0.0025355 | 0.00063546
48 | 0.0010605 | 0.00026578
49 | 0.0051238 | 0.0012841
50 | 0.0032787 | 0.00082172
51 | 0.0034852 | 0.00087347
52 | 0.0027701 | 0.00069424
53 | 0.0032274 | 0.00080887
54 | 0.0027154 | 0.00068053
55 | 0.0015634 | 0.00039183
56 | 0.00091329 | 0.00022889
57 | 0.001287 | 0.00032256
58 | 0.0012152 | 0.00030456
59 | 0.00224 | 0.00056139
60 | 0.0030904 | 0.00077452
61 | 0.002108 | 0.00052832
62 | 0.0016479 | 0.00041301
63 | 0.00049052 | 0.00012294
64 | 0.0015177 | 0.00038036
65 | 0.00096397 | 0.00024159
66 | 0.0012597 | 0.0003157
67 | 0.00057074 | 0.00014304
68 | 0.0015821 | 0.0003965

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1