## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2044-5_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2044-5_1_2_node_129 | 0.4 | n |  | TRUE
2 | bus_LV_2044-5_1_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_2044-5_1_2_node_131 | 0.4 | n |  | TRUE
4 | bus_LV_2044-5_1_2_node_132 | 0.4 | n |  | TRUE
5 | bus_LV_2044-5_1_2_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_2044-5_1_2_node_134 | 0.4 | n |  | TRUE
7 | bus_LV_2044-5_1_2_node_135 | 0.4 | n |  | TRUE
8 | bus_LV_2044-5_1_2_node_139 | 0.4 | n |  | TRUE
9 | bus_LV_2044-5_1_2_node_136 | 0.4 | n |  | TRUE
10 | bus_LV_2044-5_1_2_node_116 | 0.4 | n |  | TRUE
11 | bus_LV_2044-5_1_2_node_137 | 0.4 | n |  | TRUE
12 | bus_LV_2044-5_1_2_node_138 | 0.4 | n |  | TRUE
13 | bus_LV_2044-5_1_2_node_140 | 0.4 | n |  | TRUE
14 | bus_LV_2044-5_1_2_node_141 | 0.4 | n |  | TRUE
15 | bus_LV_2044-5_1_2_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_2044-5_1_2_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_2044-5_1_2_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_2044-5_1_2_node_84 | 0.4 | n |  | TRUE
19 | bus_LV_2044-5_1_2_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_2044-5_1_2_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_2044-5_1_2_node_87 | 0.4 | n |  | TRUE
22 | bus_LV_2044-5_1_2_node_88 | 0.4 | n |  | TRUE
23 | bus_LV_2044-5_1_2_node_89 | 0.4 | n |  | TRUE
24 | bus_LV_2044-5_1_2_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_2044-5_1_2_node_99 | 0.4 | n |  | TRUE
26 | bus_LV_2044-5_1_2_node_92 | 0.4 | n |  | TRUE
27 | bus_LV_2044-5_1_2_node_91 | 0.4 | n |  | TRUE
28 | bus_LV_2044-5_1_2_node_94 | 0.4 | n |  | TRUE
29 | bus_LV_2044-5_1_2_node_95 | 0.4 | n |  | TRUE
30 | bus_LV_2044-5_1_2_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_2044-5_1_2_node_97 | 0.4 | n |  | TRUE
32 | bus_LV_2044-5_1_2_node_98 | 0.4 | n |  | TRUE
33 | bus_LV_2044-5_1_2_node_118 | 0.4 | n |  | TRUE
34 | bus_LV_2044-5_1_2_node_110 | 0.4 | n |  | TRUE
35 | bus_LV_2044-5_1_2_node_100 | 0.4 | n |  | TRUE
36 | bus_LV_2044-5_1_2_node_101 | 0.4 | n |  | TRUE
37 | bus_LV_2044-5_1_2_node_102 | 0.4 | n |  | TRUE
38 | bus_LV_2044-5_1_2_node_105 | 0.4 | n |  | TRUE
39 | bus_LV_2044-5_1_2_node_103 | 0.4 | n |  | TRUE
40 | bus_LV_2044-5_1_2_node_104 | 0.4 | n |  | TRUE
41 | bus_LV_2044-5_1_2_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_2044-5_1_2_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_2044-5_1_2_node_108 | 0.4 | n |  | TRUE
44 | bus_LV_2044-5_1_2_node_109 | 0.4 | n |  | TRUE
45 | bus_LV_2044-5_1_2_node_113 | 0.4 | n |  | TRUE
46 | bus_LV_2044-5_1_2_node_111 | 0.4 | n |  | TRUE
47 | bus_LV_2044-5_1_2_node_114 | 0.4 | n |  | TRUE
48 | bus_LV_2044-5_1_2_node_112 | 0.4 | n |  | TRUE
49 | bus_LV_2044-5_1_2_node_115 | 0.4 | n |  | TRUE
50 | bus_LV_2044-5_1_2_node_117 | 0.4 | n |  | TRUE
51 | bus_LV_2044-5_1_2_node_120 | 0.4 | n |  | TRUE
52 | bus_LV_2044-5_1_2_node_126 | 0.4 | n |  | TRUE
53 | bus_LV_2044-5_1_2_node_127 | 0.4 | n |  | TRUE
54 | bus_LV_2044-5_1_2_node_119 | 0.4 | n |  | TRUE
55 | bus_LV_2044-5_1_2_node_121 | 0.4 | n |  | TRUE
56 | bus_LV_2044-5_1_2_node_122 | 0.4 | n |  | TRUE
57 | bus_LV_2044-5_1_2_node_123 | 0.4 | n |  | TRUE
58 | bus_LV_2044-5_1_2_node_124 | 0.4 | n |  | TRUE
59 | bus_LV_2044-5_1_2_node_125 | 0.4 | n |  | TRUE
60 | bus_MV_478_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2044-5_1_2_load_128 | 0 | 0.0016971 | 0.00042533 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2044-5_1_2_load_129 | 1 | 0.0011436 | 0.00028662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2044-5_1_2_load_132 | 4 | 0.00063316 | 0.00015869 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2044-5_1_2_load_133 | 5 | 0.0004751 | 0.00011907 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2044-5_1_2_load_134 | 6 | 0.0011435 | 0.00028659 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2044-5_1_2_load_135 | 7 | 0.00063002 | 0.0001579 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2044-5_1_2_load_139 | 8 | 0.0012737 | 0.00031922 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2044-5_1_2_load_136 | 9 | 0.0017427 | 0.00043675 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2044-5_1_2_load_137 | 11 | 0.0017127 | 0.00042924 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2044-5_1_2_load_138 | 12 | 0.00059892 | 0.0001501 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2044-5_1_2_load_140 | 13 | 0.0018247 | 0.00045731 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2044-5_1_2_load_141 | 14 | 0.00096421 | 0.00024165 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2044-5_1_2_load_81 | 15 | 0.00106 | 0.00026567 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2044-5_1_2_load_82 | 16 | 0.0018191 | 0.00045591 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2044-5_1_2_load_83 | 17 | 0.0013694 | 0.0003432 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2044-5_1_2_load_85 | 19 | 0.0034506 | 0.0008648 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2044-5_1_2_load_87 | 21 | 0.0022228 | 0.00055709 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2044-5_1_2_load_88 | 22 | 0.00088981 | 0.00022301 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2044-5_1_2_load_89 | 23 | 0.0029872 | 0.00074866 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2044-5_1_2_load_90 | 24 | 0.0046375 | 0.0011623 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2044-5_1_2_load_99 | 25 | 0.0010763 | 0.00026975 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2044-5_1_2_load_92 | 26 | 0.0029737 | 0.00074529 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2044-5_1_2_load_91 | 27 | 0.0039597 | 0.00099241 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2044-5_1_2_load_94 | 28 | 0.0012977 | 0.00032523 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2044-5_1_2_load_95 | 29 | 0.0026457 | 0.00066308 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2044-5_1_2_load_98 | 32 | 0.0029089 | 0.00072903 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2044-5_1_2_load_118 | 33 | 0.0014263 | 0.00035747 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2044-5_1_2_load_110 | 34 | 0.00091916 | 0.00023036 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2044-5_1_2_load_100 | 35 | 0.0013612 | 0.00034116 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2044-5_1_2_load_101 | 36 | 0.001999 | 0.00050099 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2044-5_1_2_load_105 | 38 | 0.00099492 | 0.00024935 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2044-5_1_2_load_103 | 39 | 0.0026457 | 0.00066308 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2044-5_1_2_load_106 | 41 | 0.0036666 | 0.00091894 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2044-5_1_2_load_107 | 42 | 0.00088707 | 0.00022232 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2044-5_1_2_load_108 | 43 | 0.0014834 | 0.00037178 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2044-5_1_2_load_109 | 44 | 0.00086398 | 0.00021653 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2044-5_1_2_load_113 | 45 | 0.00251 | 0.00062907 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2044-5_1_2_load_114 | 47 | 0.00070268 | 0.00017611 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2044-5_1_2_load_115 | 49 | 0.0010154 | 0.00025448 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2044-5_1_2_load_117 | 50 | 0.0006754 | 0.00016927 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2044-5_1_2_load_120 | 51 | 0.0012579 | 0.00031526 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2044-5_1_2_load_126 | 52 | 0.0021368 | 0.00053553 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2044-5_1_2_load_127 | 53 | 0.002241 | 0.00056165 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2044-5_1_2_load_119 | 54 | 0.0017876 | 0.00044801 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2044-5_1_2_load_121 | 55 | 0.0031165 | 0.00078108 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2044-5_1_2_load_123 | 57 | 0.0016789 | 0.00042078 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2044-5_1_2_load_124 | 58 | 0.0004213 | 0.00010559 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2044-5_1_2_load_125 | 59 | 0.00056519 | 0.00014165 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2044-5_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0031221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2044-5_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2044-5_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.011624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2044-5_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00099347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2044-5_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2044-5_1_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0081503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2044-5_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.012631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2044-5_1_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.01499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2044-5_1_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.024745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2044-5_1_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.022951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2044-5_1_2_line_10 | NAYY 4x150 SE | 8 | 13 | 0.017746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2044-5_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0030796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2044-5_1_2_line_12 | NAYY 4x150 SE | 10 | 52 | 0.023482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2044-5_1_2_line_13 | NAYY 4x150 SE | 10 | 48 | 0.007577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2044-5_1_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.022294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2044-5_1_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.01707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2044-5_1_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.042835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2044-5_1_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0062788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2044-5_1_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.047432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2044-5_1_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.027608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2044-5_1_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.049836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2044-5_1_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.041909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2044-5_1_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.029607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2044-5_1_2_line_23 | NAYY 4x150 SE | 20 | 23 | 0.025355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2044-5_1_2_line_24 | NAYY 4x150 SE | 21 | 24 | 0.021031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2044-5_1_2_line_25 | NAYY 4x150 SE | 22 | 25 | 0.01134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2044-5_1_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.00085131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2044-5_1_2_line_27 | NAYY 4x150 SE | 24 | 27 | 0.032244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2044-5_1_2_line_28 | NAYY 4x150 SE | 25 | 35 | 0.0097808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2044-5_1_2_line_29 | NAYY 4x150 SE | 25 | 29 | 0.028822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2044-5_1_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.023168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2044-5_1_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.029721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2044-5_1_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.034924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2044-5_1_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.012629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2044-5_1_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.044968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2044-5_1_2_line_35 | NAYY 4x150 SE | 34 | 42 | 0.00094767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2044-5_1_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.039127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2044-5_1_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.00155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2044-5_1_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0082723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2044-5_1_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.020631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2044-5_1_2_line_40 | NAYY 4x150 SE | 38 | 43 | 0.0095637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2044-5_1_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.017561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2044-5_1_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.021239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2044-5_1_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.011396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2044-5_1_2_line_44 | NAYY 4x150 SE | 41 | 44 | 0.0015524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2044-5_1_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0061157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2044-5_1_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.022362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2044-5_1_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.01884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2044-5_1_2_line_48 | NAYY 4x150 SE | 47 | 50 | 0.010336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2044-5_1_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.016665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2044-5_1_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.0049524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2044-5_1_2_line_51 | NAYY 4x150 SE | 50 | 53 | 0.0022194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2044-5_1_2_line_52 | NAYY 4x150 SE | 51 | 54 | 0.00020166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2044-5_1_2_line_53 | NAYY 4x150 SE | 52 | 58 | 0.012523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2044-5_1_2_line_54 | NAYY 4x150 SE | 53 | 59 | 0.0078895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2044-5_1_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.017545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2044-5_1_2_line_56 | NAYY 4x150 SE | 55 | 57 | 0.050407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2044-5_1_2_line_57 | NAYY 4x150 SE | 56 | 58 | 0.0075268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2044-5_1_2_line_58 | NAYY 4x150 SE | 56 | 59 | 0.015252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2044-5_1_2_trafo_103 | 0.25 MVA 20/0.4 kV | 60 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2556387.4055 | 1177344.2444 | 2556390.3157 | 1177343.1139
1 | 2556403.6827 | 1177337.9214 | 2556390.3157 | 1177343.1139
2 | 2556396.8434 | 1177328.5107 | 2556403.6827 | 1177337.9214
3 | 2556404.2664 | 1177338.7253 | 2556403.6827 | 1177337.9214
4 | 2556396.8434 | 1177328.5107 | 2556405.2993 | 1177319.6221 | 2556405.2993 | 1177319.6221
5 | 2556396.8434 | 1177328.5107 | 2556392.0528 | 1177321.9169
6 | 2556404.2664 | 1177338.7253 | 2556411.688 | 1177348.9463
7 | 2556404.1551 | 1177304.6757 | 2556405.2993 | 1177319.6221
8 | 2556392.0528 | 1177321.9169 | 2556377.5083 | 1177301.8976
9 | 2556424.8236 | 1177367.7612 | 2556418.859 | 1177358.8221 | 2556411.688 | 1177348.9463
10 | 2556404.1551 | 1177304.6757 | 2556403.8466 | 1177300.6448 | 2556403.6004 | 1177286.9437
11 | 2556377.5083 | 1177301.8976 | 2556375.6982 | 1177299.4061
12 | 2556424.8236 | 1177367.7612 | 2556404.0552 | 1177378.7199
13 | 2556424.8236 | 1177367.7612 | 2556429.0344 | 1177374.0672
14 | 2556362.6201 | 1177281.3517 | 2556362.955 | 1177281.8661 | 2556375.6982 | 1177299.4061
15 | 2556403.2937 | 1177269.8769 | 2556403.6004 | 1177286.9437
16 | 2556576.3548 | 1177659.1254 | 2556567.1757 | 1177643.3845 | 2556554.7768 | 1177622.1222
17 | 2556554.7768 | 1177622.1222 | 2556551.6138 | 1177616.6982
18 | 2556527.7199 | 1177575.7238 | 2556551.6138 | 1177616.6982
19 | 2556527.7199 | 1177575.7238 | 2556552.3819 | 1177563.3145
20 | 2556502.602 | 1177532.65 | 2556527.7199 | 1177575.7238
21 | 2556552.3819 | 1177563.3145 | 2556562.7585 | 1177558.0932 | 2556576.2229 | 1177550.7138 | 2556586.9014 | 1177540.2665
22 | 2556502.602 | 1177532.65 | 2556488.1602 | 1177506.8045
23 | 2556502.602 | 1177532.65 | 2556524.908 | 1177520.5948
24 | 2556603.2199 | 1177527.0925 | 2556592.6049 | 1177534.6864 | 2556586.9014 | 1177540.2665
25 | 2556488.1602 | 1177506.8045 | 2556487.9764 | 1177506.4757 | 2556482.63 | 1177496.9039
26 | 2556524.908 | 1177520.5948 | 2556525.6569 | 1177520.1901
27 | 2556603.2199 | 1177527.0925 | 2556629.4441 | 1177508.3317
28 | 2556482.63 | 1177496.9039 | 2556477.8603 | 1177488.3649
29 | 2556482.63 | 1177496.9039 | 2556505.9325 | 1177479.9421
30 | 2556505.9325 | 1177479.9421 | 2556526.7108 | 1177469.6946
31 | 2556520.7069 | 1177331.0664 | 2556535.6959 | 1177356.749
32 | 2556535.6959 | 1177356.749 | 2556518.0971 | 1177370.4842 | 2556507.6346 | 1177377.5043
33 | 2556520.7069 | 1177331.0664 | 2556509.4144 | 1177336.7213
34 | 2556491.1548 | 1177416.0129 | 2556495.4025 | 1177411.6933 | 2556496.9743 | 1177410.3034 | 2556498.0301 | 1177388.4174 | 2556502.3857 | 1177381.0262 | 2556507.6346 | 1177377.5043
35 | 2556491.1548 | 1177416.0129 | 2556490.4903 | 1177416.6886
36 | 2556477.8603 | 1177488.3649 | 2556467.9077 | 1177470.5469 | 2556459.3389 | 1177453.9051
37 | 2556458.6293 | 1177452.527 | 2556459.3389 | 1177453.9051
38 | 2556458.6293 | 1177452.527 | 2556455.7708 | 1177444.7643
39 | 2556458.6293 | 1177452.527 | 2556475.9712 | 1177441.3504
40 | 2556455.7708 | 1177444.7643 | 2556452.4661 | 1177435.7897
41 | 2556484.8732 | 1177426.5445 | 2556481.6031 | 1177435.0394 | 2556475.9712 | 1177441.3504
42 | 2556484.8732 | 1177426.5445 | 2556468.5301 | 1177412.9803
43 | 2556484.8732 | 1177426.5445 | 2556485.9906 | 1177423.6348 | 2556490.4035 | 1177416.7768 | 2556490.4903 | 1177416.6886
44 | 2556467.3356 | 1177411.9889 | 2556468.5301 | 1177412.9803
45 | 2556452.4661 | 1177435.7897 | 2556450.3528 | 1177430.0507
46 | 2556443.7144 | 1177408.701 | 2556449.5003 | 1177427.7357 | 2556450.3528 | 1177430.0507
47 | 2556443.7144 | 1177408.701 | 2556425.6103 | 1177408.6106 | 2556424.9077 | 1177408.3927
48 | 2556424.9077 | 1177408.3927 | 2556415.035 | 1177405.3315
49 | 2556429.0344 | 1177374.0672 | 2556444.2366 | 1177367.2389
50 | 2556448.7542 | 1177365.2098 | 2556444.2366 | 1177367.2389
51 | 2556412.9152 | 1177404.6742 | 2556415.035 | 1177405.3315
52 | 2556448.7542 | 1177365.2098 | 2556448.9382 | 1177365.1272
53 | 2556404.0552 | 1177378.7199 | 2556397.2432 | 1177382.3143 | 2556395.4829 | 1177386.8018
54 | 2556405.382 | 1177402.3326 | 2556405.3979 | 1177402.3433 | 2556412.9152 | 1177404.6742
55 | 2556392.7343 | 1177393.8088 | 2556375.3026 | 1177395.8018
56 | 2556325.2215 | 1177401.5275 | 2556375.3026 | 1177395.8018
57 | 2556392.7343 | 1177393.8088 | 2556395.4829 | 1177386.8018
58 | 2556392.7343 | 1177393.8088 | 2556405.382 | 1177402.3326

## bus_geodata
| x | y | coords
0 | 2556390.3157 | 1177343.1139
1 | 2556387.4055 | 1177344.2444
2 | 2556403.6827 | 1177337.9214
3 | 2556396.8434 | 1177328.5107
4 | 2556404.2664 | 1177338.7253
5 | 2556405.2993 | 1177319.6221
6 | 2556392.0528 | 1177321.9169
7 | 2556411.688 | 1177348.9463
8 | 2556404.1551 | 1177304.6757
9 | 2556377.5083 | 1177301.8976
10 | 2556424.8236 | 1177367.7612
11 | 2556375.6982 | 1177299.4061
12 | 2556362.6201 | 1177281.3517
13 | 2556403.6004 | 1177286.9437
14 | 2556403.2937 | 1177269.8769
15 | 2556576.3548 | 1177659.1254
16 | 2556554.7768 | 1177622.1222
17 | 2556551.6138 | 1177616.6982
18 | 2556527.7199 | 1177575.7238
19 | 2556552.3819 | 1177563.3145
20 | 2556502.602 | 1177532.65
21 | 2556586.9014 | 1177540.2665
22 | 2556488.1602 | 1177506.8045
23 | 2556524.908 | 1177520.5948
24 | 2556603.2199 | 1177527.0925
25 | 2556482.63 | 1177496.9039
26 | 2556525.6569 | 1177520.1901
27 | 2556629.4441 | 1177508.3317
28 | 2556526.7108 | 1177469.6946
29 | 2556505.9325 | 1177479.9421
30 | 2556535.6959 | 1177356.749
31 | 2556520.7069 | 1177331.0664
32 | 2556507.6346 | 1177377.5043
33 | 2556509.4144 | 1177336.7213
34 | 2556491.1548 | 1177416.0129
35 | 2556477.8603 | 1177488.3649
36 | 2556459.3389 | 1177453.9051
37 | 2556458.6293 | 1177452.527
38 | 2556455.7708 | 1177444.7643
39 | 2556475.9712 | 1177441.3504
40 | 2556484.8732 | 1177426.5445
41 | 2556468.5301 | 1177412.9803
42 | 2556490.4903 | 1177416.6886
43 | 2556452.4661 | 1177435.7897
44 | 2556467.3356 | 1177411.9889
45 | 2556450.3528 | 1177430.0507
46 | 2556443.7144 | 1177408.701
47 | 2556424.9077 | 1177408.3927
48 | 2556429.0344 | 1177374.0672
49 | 2556444.2366 | 1177367.2389
50 | 2556415.035 | 1177405.3315
51 | 2556448.7542 | 1177365.2098
52 | 2556404.0552 | 1177378.7199
53 | 2556412.9152 | 1177404.6742
54 | 2556448.9382 | 1177365.1272
55 | 2556375.3026 | 1177395.8018
56 | 2556392.7343 | 1177393.8088
57 | 2556325.2215 | 1177401.5275
58 | 2556395.4829 | 1177386.8018
59 | 2556405.382 | 1177402.3326
60 | 2556484.8732 | 1177426.5445

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99177 | -0.057737 | 0.0016971 | 0.00042533
1 | 0.99177 | -0.057773 | 0.0011436 | 0.00028662
2 | 0.99183 | -0.057324 | 0 | 0
3 | 0.99167 | -0.058473 | 0 | 0
4 | 0.99185 | -0.057197 | 0.00063316 | 0.00015869
5 | 0.99159 | -0.059039 | 0.0004751 | 0.00011907
6 | 0.99161 | -0.058904 | 0.0011435 | 0.00028659
7 | 0.99209 | -0.055502 | 0.00063002 | 0.0001579
8 | 0.9915 | -0.059658 | 0.0012737 | 0.00031922
9 | 0.99146 | -0.059923 | 0.0017427 | 0.00043675
10 | 0.99254 | -0.052279 | 0 | 0
11 | 0.99145 | -0.059995 | 0.0017127 | 0.00042924
12 | 0.99143 | -0.060131 | 0.00059892 | 0.0001501
13 | 0.99143 | -0.060161 | 0.0018247 | 0.00045731
14 | 0.9914 | -0.060328 | 0.00096421 | 0.00024165
15 | 0.99254 | -0.052343 | 0.00106 | 0.00026567
16 | 0.9926 | -0.051882 | 0.0018191 | 0.00045591
17 | 0.99263 | -0.051699 | 0.0013694 | 0.0003432
18 | 0.99292 | -0.049655 | 0 | 0
19 | 0.99235 | -0.053648 | 0.0034506 | 0.0008648
20 | 0.99424 | -0.040312 | 0 | 0
21 | 0.9917 | -0.05825 | 0.0022228 | 0.00055709
22 | 0.99528 | -0.032994 | 0.00088981 | 0.00022301
23 | 0.99403 | -0.041839 | 0.0029872 | 0.00074866
24 | 0.99144 | -0.060086 | 0.0046375 | 0.0011623
25 | 0.9957 | -0.030093 | 0.0010763 | 0.00026975
26 | 0.99402 | -0.041865 | 0.0029737 | 0.00074529
27 | 0.99126 | -0.061384 | 0.0039597 | 0.00099241
28 | 0.99549 | -0.031541 | 0.0012977 | 0.00032523
29 | 0.99553 | -0.031238 | 0.0026457 | 0.00066308
30 | 0.99928 | -0.0050759 | 0 | 0
31 | 0.99922 | -0.0055004 | 0 | 0
32 | 0.99935 | -0.004576 | 0.0029089 | 0.00072903
33 | 0.99919 | -0.0056805 | 0.0014263 | 0.00035747
34 | 0.99963 | -0.002624 | 0.00091916 | 0.00023036
35 | 0.99612 | -0.027098 | 0.0013612 | 0.00034116
36 | 0.99791 | -0.014609 | 0.001999 | 0.00050099
37 | 0.99798 | -0.014084 | 0 | 0
38 | 0.99757 | -0.016942 | 0.00099492 | 0.00024935
39 | 1 | 0 | -0.080098 | -0.01992
40 | 0.99973 | -0.0018738 | 0 | 0
41 | 0.9996 | -0.002835 | 0.0036666 | 0.00091894
42 | 0.99963 | -0.0025742 | 0.00088707 | 0.00022232
43 | 0.99711 | -0.020154 | 0.0014834 | 0.00037178
44 | 0.99959 | -0.0028484 | 0.00086398 | 0.00021653
45 | 0.99683 | -0.022118 | 0.00251 | 0.00062907
46 | 0.99589 | -0.028745 | 0 | 0
47 | 0.99509 | -0.034337 | 0.00070268 | 0.00017611
48 | 0.9925 | -0.052591 | 0 | 0
49 | 0.9924 | -0.053277 | 0.0010154 | 0.00025448
50 | 0.99467 | -0.037336 | 0.0006754 | 0.00016927
51 | 0.99238 | -0.05343 | 0.0012579 | 0.00031526
52 | 0.99315 | -0.048018 | 0.0021368 | 0.00053553
53 | 0.99458 | -0.037965 | 0.002241 | 0.00056165
54 | 0.99238 | -0.053434 | 0.0017876 | 0.00044801
55 | 0.99361 | -0.04477 | 0.0031165 | 0.00078108
56 | 0.99373 | -0.043919 | 0 | 0
57 | 0.99349 | -0.045627 | 0.0016789 | 0.00042078
58 | 0.99351 | -0.045477 | 0.0004213 | 0.00010559
59 | 0.99428 | -0.040023 | 0.00056519 | 0.00014165
60 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0011436 | 0.00028658 | -0.0011436 | -0.00028661 | 5.7356e-09 | -3.8082e-08 | 0.0017158 | 0.0017158 | 0.0017158 | 0.99177 | -0.057737 | 0.99177 | -0.057773 | 0.63549
1 | -0.0028407 | -0.00071191 | 0.0028409 | 0.00071178 | 1.6254e-07 | -1.2254e-07 | 0.0042621 | 0.004262 | 0.0042621 | 0.99177 | -0.057737 | 0.99183 | -0.057324 | 1.5785
2 | 0.0097388 | 0.0024395 | -0.0097373 | -0.0024391 | 1.5484e-06 | 4.4553e-07 | 0.01461 | 0.014611 | 0.014611 | 0.99183 | -0.057324 | 0.99167 | -0.058473 | 5.4113
3 | -0.01258 | -0.0031513 | 0.01258 | 0.0031514 | 2.208e-07 | 7.2101e-08 | 0.018872 | 0.018872 | 0.018872 | 0.99183 | -0.057324 | 0.99185 | -0.057197 | 6.9898
4 | 0.0045386 | 0.0011368 | -0.0045383 | -0.0011368 | 3.5503e-07 | -2.1716e-08 | 0.00681 | 0.0068101 | 0.0068101 | 0.99167 | -0.058473 | 0.99159 | -0.059039 | 2.5223
5 | 0.0051987 | 0.0013023 | -0.0051984 | -0.0013023 | 3.0946e-07 | 1.3878e-08 | 0.0078005 | 0.0078005 | 0.0078005 | 0.99167 | -0.058473 | 0.99161 | -0.058904 | 2.8891
6 | -0.013213 | -0.0033101 | 0.013216 | 0.0033111 | 3.097e-06 | 1.0281e-06 | 0.019822 | 0.019822 | 0.019822 | 0.99185 | -0.057197 | 0.99209 | -0.055502 | 7.3416
7 | 0.0040632 | 0.0010178 | -0.0040628 | -0.0010178 | 3.4773e-07 | -5.9605e-08 | 0.0060971 | 0.0060972 | 0.0060972 | 0.99159 | -0.059039 | 0.9915 | -0.059658 | 2.2582
8 | 0.0040549 | 0.0010157 | -0.0040543 | -0.0010158 | 5.7166e-07 | -9.9292e-08 | 0.0060846 | 0.0060847 | 0.0060847 | 0.99161 | -0.058904 | 0.99146 | -0.059923 | 2.2536
9 | -0.013846 | -0.003469 | 0.013852 | 0.0034711 | 6.1765e-06 | 2.0791e-06 | 0.020767 | 0.020767 | 0.020767 | 0.99209 | -0.055502 | 0.99254 | -0.052279 | 7.6916
10 | 0.0027891 | 0.00069859 | -0.0027889 | -0.00069875 | 1.9401e-07 | -1.5424e-07 | 0.0041857 | 0.0041858 | 0.0041858 | 0.9915 | -0.059658 | 0.99143 | -0.060161 | 1.5503
11 | 0.0023116 | 0.00057903 | -0.0023116 | -0.00057906 | 2.3129e-08 | -3.0819e-08 | 0.0034693 | 0.0034693 | 0.0034693 | 0.99146 | -0.059923 | 0.99145 | -0.059995 | 1.2849
12 | -0.017914 | -0.0044887 | 0.017924 | 0.0044924 | 1.0568e-05 | 3.7611e-06 | 0.026856 | 0.026856 | 0.026856 | 0.99254 | -0.052279 | 0.99315 | -0.048018 | 9.9467
13 | 0.0040615 | 0.0010176 | -0.0040613 | -0.0010176 | 1.7529e-07 | -3.0505e-08 | 0.0060888 | 0.0060889 | 0.0060889 | 0.99254 | -0.052279 | 0.9925 | -0.052591 | 2.2551
14 | 0.00059893 | 0.00014982 | -0.00059892 | -0.0001501 | 1.124e-08 | -2.8318e-07 | 0.0008988 | 0.0008989 | 0.0008989 | 0.99145 | -0.059995 | 0.99143 | -0.060131 | 0.33293
15 | 0.00096423 | 0.00024144 | -0.00096421 | -0.00024165 | 2.2307e-08 | -2.1153e-07 | 0.0014471 | 0.0014472 | 0.0014472 | 0.99143 | -0.060161 | 0.9914 | -0.060328 | 0.536
16 | -0.00106 | -0.00026567 | 0.0010601 | 0.00026514 | 6.7498e-08 | -5.2768e-07 | 0.0015892 | 0.001589 | 0.0015892 | 0.99254 | -0.052343 | 0.9926 | -0.051882 | 0.5886
17 | -0.0028792 | -0.00072106 | 0.0028793 | 0.000721 | 7.2986e-08 | -5.309e-08 | 0.0043161 | 0.004316 | 0.0043161 | 0.9926 | -0.051882 | 0.99263 | -0.051699 | 1.5985
18 | -0.0042487 | -0.0010642 | 0.0042499 | 0.0010641 | 1.2005e-06 | -1.5158e-07 | 0.0063688 | 0.0063686 | 0.0063688 | 0.99263 | -0.051699 | 0.99292 | -0.049655 | 2.3588
19 | 0.014288 | 0.0035818 | -0.01428 | -0.0035791 | 7.8993e-06 | 2.6813e-06 | 0.021413 | 0.021413 | 0.021413 | 0.99292 | -0.049655 | 0.99235 | -0.053648 | 7.9309
20 | -0.018538 | -0.0046458 | 0.018562 | 0.0046544 | 2.4002e-05 | 8.5861e-06 | 0.027782 | 0.027782 | 0.027782 | 0.99292 | -0.049655 | 0.99424 | -0.040312 | 10.2896
21 | 0.01083 | 0.0027143 | -0.010823 | -0.0027122 | 6.8965e-06 | 2.1114e-06 | 0.016239 | 0.016239 | 0.016239 | 0.99235 | -0.053648 | 0.9917 | -0.05825 | 6.0146
22 | -0.024524 | -0.0061485 | 0.024549 | 0.0061577 | 2.4889e-05 | 9.1885e-06 | 0.036705 | 0.036705 | 0.036705 | 0.99424 | -0.040312 | 0.99528 | -0.032994 | 13.5944
23 | 0.0059622 | 0.0014941 | -0.0059609 | -0.0014939 | 1.2598e-06 | 1.5577e-07 | 0.0089231 | 0.0089232 | 0.0089232 | 0.99424 | -0.040312 | 0.99403 | -0.041839 | 3.3049
24 | 0.0086001 | 0.0021551 | -0.008598 | -0.0021545 | 2.1853e-06 | 5.6921e-07 | 0.012904 | 0.012904 | 0.012904 | 0.9917 | -0.05825 | 0.99144 | -0.060086 | 4.7794
25 | -0.025439 | -0.0063807 | 0.025449 | 0.0063845 | 1.0237e-05 | 3.7899e-06 | 0.038035 | 0.038035 | 0.038035 | 0.99528 | -0.032994 | 0.9957 | -0.030093 | 14.087
26 | 0.0029737 | 0.00074528 | -0.0029737 | -0.00074528 | 1.0527e-08 | -6.9868e-09 | 0.0044516 | 0.0044516 | 0.0044516 | 0.99403 | -0.041839 | 0.99402 | -0.041865 | 1.6487
27 | 0.0039605 | 0.00099226 | -0.0039597 | -0.0009924 | 7.1089e-07 | -1.4231e-07 | 0.005944 | 0.0059441 | 0.0059441 | 0.99144 | -0.060086 | 0.99126 | -0.061384 | 2.2015
28 | -0.03047 | -0.0076421 | 0.030482 | 0.0076469 | 1.2656e-05 | 4.7404e-06 | 0.045537 | 0.045537 | 0.045537 | 0.9957 | -0.030093 | 0.99612 | -0.027098 | 16.8657
29 | 0.0039441 | 0.0009879 | -0.0039435 | -0.00098803 | 6.2481e-07 | -1.3451e-07 | 0.005894 | 0.0058942 | 0.0058942 | 0.9957 | -0.030093 | 0.99553 | -0.031238 | 2.183
30 | -0.0012977 | -0.00032523 | 0.0012977 | 0.00032495 | 5.4391e-08 | -2.803e-07 | 0.0019397 | 0.0019396 | 0.0019397 | 0.99549 | -0.031541 | 0.99553 | -0.031238 | 0.71842
31 | 0.0014265 | 0.00035696 | -0.0014264 | -0.00035732 | 8.3668e-08 | -3.5715e-07 | 0.0021239 | 0.0021241 | 0.0021241 | 0.99928 | -0.0050759 | 0.99922 | -0.0055004 | 0.78669
32 | -0.0014265 | -0.00035696 | 0.0014266 | 0.00035655 | 9.8301e-08 | -4.1974e-07 | 0.0021239 | 0.0021238 | 0.0021239 | 0.99928 | -0.0050759 | 0.99935 | -0.004576 | 0.78664
33 | 0.0014264 | 0.00035732 | -0.0014263 | -0.00035747 | 3.5556e-08 | -1.5175e-07 | 0.0021241 | 0.0021241 | 0.0021241 | 0.99922 | -0.0055004 | 0.99919 | -0.0056805 | 0.78672
34 | -0.0043354 | -0.0010856 | 0.0043366 | 0.0010854 | 1.1692e-06 | -1.3967e-07 | 0.006455 | 0.0064548 | 0.006455 | 0.99935 | -0.004576 | 0.99963 | -0.002624 | 2.3908
35 | -0.0052558 | -0.0013158 | 0.0052558 | 0.0013158 | 3.6191e-08 | 1.4959e-09 | 0.0078231 | 0.0078231 | 0.0078231 | 0.99963 | -0.002624 | 0.99963 | -0.0025742 | 2.8974
36 | -0.031844 | -0.007988 | 0.031899 | 0.0080088 | 5.5252e-05 | 2.074e-05 | 0.047571 | 0.047571 | 0.047571 | 0.99612 | -0.027098 | 0.99791 | -0.014609 | 17.6188
37 | -0.033898 | -0.0085098 | 0.0339 | 0.0085107 | 2.4717e-06 | 9.3039e-07 | 0.050551 | 0.050551 | 0.050551 | 0.99791 | -0.014609 | 0.99798 | -0.014084 | 18.7227
38 | 0.034586 | 0.0086839 | -0.034572 | -0.0086787 | 1.373e-05 | 5.1727e-06 | 0.051574 | 0.051574 | 0.051574 | 0.99798 | -0.014084 | 0.99757 | -0.016942 | 19.1015
39 | -0.068486 | -0.017195 | 0.06862 | 0.017246 | 0.00013427 | 5.1372e-05 | 0.10213 | 0.10213 | 0.10213 | 0.99798 | -0.014084 | 1 | 0 | 37.8242
40 | 0.033577 | 0.0084293 | -0.033562 | -0.0084237 | 1.4973e-05 | 5.6341e-06 | 0.05009 | 0.05009 | 0.05009 | 0.99757 | -0.016942 | 0.99711 | -0.020154 | 18.5518
41 | 0.010677 | 0.0026744 | -0.010675 | -0.0026736 | 2.766e-06 | 8.3353e-07 | 0.015888 | 0.015888 | 0.015888 | 1 | 0 | 0.99973 | -0.0018738 | 5.8843
42 | 0.0045312 | 0.0011354 | -0.0045306 | -0.0011355 | 6.0281e-07 | -4.6598e-08 | 0.0067442 | 0.0067443 | 0.0067443 | 0.99973 | -0.0018738 | 0.9996 | -0.002835 | 2.4979
43 | 0.0061435 | 0.0015382 | -0.0061429 | -0.0015381 | 5.945e-07 | 7.9245e-08 | 0.0091435 | 0.0091435 | 0.0091435 | 0.99973 | -0.0018738 | 0.99963 | -0.0025742 | 3.3865
44 | 0.00086398 | 0.00021651 | -0.00086398 | -0.00021653 | 1.6023e-09 | -1.9733e-08 | 0.0012861 | 0.0012861 | 0.0012861 | 0.9996 | -0.002835 | 0.99959 | -0.0028484 | 0.47635
45 | 0.032079 | 0.0080519 | -0.03207 | -0.0080486 | 8.7472e-06 | 3.2846e-06 | 0.047876 | 0.047876 | 0.047876 | 0.99711 | -0.020154 | 0.99683 | -0.022118 | 17.7319
46 | 0.02956 | 0.0074196 | -0.029533 | -0.0074094 | 2.7173e-05 | 1.016e-05 | 0.044129 | 0.04413 | 0.04413 | 0.99683 | -0.022118 | 0.99589 | -0.028745 | 16.3443
47 | 0.029533 | 0.0074094 | -0.02951 | -0.0074008 | 2.2894e-05 | 8.5605e-06 | 0.04413 | 0.04413 | 0.04413 | 0.99589 | -0.028745 | 0.99509 | -0.034337 | 16.3443
48 | 0.028807 | 0.0072247 | -0.028795 | -0.0072203 | 1.197e-05 | 4.4695e-06 | 0.043079 | 0.043079 | 0.043079 | 0.99509 | -0.034337 | 0.99467 | -0.037336 | 15.9551
49 | 0.0040613 | 0.0010176 | -0.0040609 | -0.0010177 | 3.8555e-07 | -6.7061e-08 | 0.0060889 | 0.006089 | 0.006089 | 0.9925 | -0.052591 | 0.9924 | -0.053277 | 2.2552
50 | 0.0030455 | 0.00076323 | -0.0030455 | -0.00076326 | 6.4441e-08 | -3.9202e-08 | 0.0045665 | 0.0045665 | 0.0045665 | 0.9924 | -0.053277 | 0.99238 | -0.05343 | 1.6913
51 | 0.02812 | 0.007051 | -0.028117 | -0.0070501 | 2.4509e-06 | 9.1385e-07 | 0.042068 | 0.042068 | 0.042068 | 0.99467 | -0.037336 | 0.99458 | -0.037965 | 15.5809
52 | 0.0017876 | 0.000448 | -0.0017876 | -0.00044801 | 9.043e-10 | -2.258e-09 | 0.0026804 | 0.0026804 | 0.0026804 | 0.99238 | -0.05343 | 0.99238 | -0.053434 | 0.99272
53 | -0.020061 | -0.005028 | 0.020068 | 0.0050305 | 7.0596e-06 | 2.5531e-06 | 0.030057 | 0.030057 | 0.030057 | 0.99315 | -0.048018 | 0.99351 | -0.045477 | 11.1324
54 | 0.025876 | 0.0064884 | -0.025869 | -0.0064857 | 7.3792e-06 | 2.7358e-06 | 0.038716 | 0.038716 | 0.038716 | 0.99458 | -0.037965 | 0.99428 | -0.040023 | 14.3392
55 | -0.0047957 | -0.0012013 | 0.0047962 | 0.0012013 | 5.6467e-07 | -1.0095e-08 | 0.0071817 | 0.0071816 | 0.0071817 | 0.99361 | -0.04477 | 0.99373 | -0.043919 | 2.6599
56 | 0.0016791 | 0.0004202 | -0.0016789 | -0.00042078 | 1.9888e-07 | -5.7631e-07 | 0.0025144 | 0.0025147 | 0.0025147 | 0.99361 | -0.04477 | 0.99349 | -0.045627 | 0.93135
57 | 0.020494 | 0.0051377 | -0.02049 | -0.0051361 | 4.4233e-06 | 1.6038e-06 | 0.030688 | 0.030688 | 0.030688 | 0.99373 | -0.043919 | 0.99351 | -0.045477 | 11.3661
58 | -0.02529 | -0.006339 | 0.025304 | 0.006344 | 1.3649e-05 | 5.0519e-06 | 0.03787 | 0.03787 | 0.03787 | 0.99373 | -0.043919 | 0.99428 | -0.040023 | 14.0259

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.082744 | 0.020584

## res_load
| p_mw | q_mvar
0 | 0.0016971 | 0.00042533
1 | 0.0011436 | 0.00028662
2 | 0.00063316 | 0.00015869
3 | 0.0004751 | 0.00011907
4 | 0.0011435 | 0.00028659
5 | 0.00063002 | 0.0001579
6 | 0.0012737 | 0.00031922
7 | 0.0017427 | 0.00043675
8 | 0.0017127 | 0.00042924
9 | 0.00059892 | 0.0001501
10 | 0.0018247 | 0.00045731
11 | 0.00096421 | 0.00024165
12 | 0.00106 | 0.00026567
13 | 0.0018191 | 0.00045591
14 | 0.0013694 | 0.0003432
15 | 0.0034506 | 0.0008648
16 | 0.0022228 | 0.00055709
17 | 0.00088981 | 0.00022301
18 | 0.0029872 | 0.00074866
19 | 0.0046375 | 0.0011623
20 | 0.0010763 | 0.00026975
21 | 0.0029737 | 0.00074529
22 | 0.0039597 | 0.00099241
23 | 0.0012977 | 0.00032523
24 | 0.0026457 | 0.00066308
25 | 0.0029089 | 0.00072903
26 | 0.0014263 | 0.00035747
27 | 0.00091916 | 0.00023036
28 | 0.0013612 | 0.00034116
29 | 0.001999 | 0.00050099
30 | 0.00099492 | 0.00024935
31 | 0.0026457 | 0.00066308
32 | 0.0036666 | 0.00091894
33 | 0.00088707 | 0.00022232
34 | 0.0014834 | 0.00037178
35 | 0.00086398 | 0.00021653
36 | 0.00251 | 0.00062907
37 | 0.00070268 | 0.00017611
38 | 0.0010154 | 0.00025448
39 | 0.0006754 | 0.00016927
40 | 0.0012579 | 0.00031526
41 | 0.0021368 | 0.00053553
42 | 0.002241 | 0.00056165
43 | 0.0017876 | 0.00044801
44 | 0.0031165 | 0.00078108
45 | 0.0016789 | 0.00042078
46 | 0.0004213 | 0.00010559
47 | 0.00056519 | 0.00014165

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1